## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-73_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-73_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-73_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_230-73_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_230-73_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_230-73_0_4_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_230-73_0_4_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_230-73_0_4_node_55 | 0.4 | n |  | TRUE
8 | bus_LV_230-73_0_4_node_61 | 0.4 | n |  | TRUE
9 | bus_LV_230-73_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_230-73_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_230-73_0_4_node_67 | 0.4 | n |  | TRUE
12 | bus_LV_230-73_0_4_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_230-73_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_230-73_0_4_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_230-73_0_4_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_230-73_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_230-73_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_230-73_0_4_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_230-73_0_4_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_230-73_0_4_node_64 | 0.4 | n |  | TRUE
21 | bus_LV_230-73_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_230-73_0_4_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_230-73_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_230-73_0_4_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_230-73_0_4_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_230-73_0_4_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_230-73_0_4_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_230-73_0_4_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_230-73_0_4_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_230-73_0_4_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_230-73_0_4_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_230-73_0_4_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_230-73_0_4_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_230-73_0_4_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_230-73_0_4_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_230-73_0_4_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_230-73_0_4_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_230-73_0_4_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_230-73_0_4_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_230-73_0_4_node_66 | 0.4 | n |  | TRUE
41 | bus_LV_230-73_0_4_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_230-73_0_4_node_19 | 0.4 | n |  | TRUE
43 | bus_LV_230-73_0_4_node_17 | 0.4 | n |  | TRUE
44 | bus_LV_230-73_0_4_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_230-73_0_4_node_18 | 0.4 | n |  | TRUE
46 | bus_LV_230-73_0_4_node_20 | 0.4 | n |  | TRUE
47 | bus_LV_230-73_0_4_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_230-73_0_4_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_230-73_0_4_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_230-73_0_4_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_230-73_0_4_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_230-73_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_230-73_0_4_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_230-73_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_230-73_0_4_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_230-73_0_4_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_230-73_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_230-73_0_4_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_230-73_0_4_node_56 | 0.4 | n |  | TRUE
60 | bus_MV_369_1_node_133 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-73_0_4_load_0 | 0 | 0.035579 | 0.0089168 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-73_0_4_load_3 | 2 | 0.012338 | 0.0030923 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-73_0_4_load_5 | 4 | 0.012331 | 0.0030903 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-73_0_4_load_32 | 5 | 0.071351 | 0.017882 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-73_0_4_load_55 | 7 | 0.0023745 | 0.00059511 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-73_0_4_load_61 | 8 | 0.011088 | 0.0027789 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-73_0_4_load_67 | 11 | 0.0369 | 0.0092481 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-73_0_4_load_16 | 12 | 0.012324 | 0.0030888 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-73_0_4_load_25 | 15 | 0.0053606 | 0.0013435 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-73_0_4_load_65 | 18 | 0.0019898 | 0.00049869 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-73_0_4_load_64 | 20 | 0.0097311 | 0.0024389 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-73_0_4_load_22 | 22 | 0.01488 | 0.0037294 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-73_0_4_load_21 | 23 | 0.0062444 | 0.001565 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-73_0_4_load_33 | 24 | 0.024673 | 0.0061837 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-73_0_4_load_28 | 26 | 0.0017357 | 0.000435 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-73_0_4_load_44 | 27 | 0.0012584 | 0.00031538 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-73_0_4_load_60 | 28 | 0.0016516 | 0.00041393 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-73_0_4_load_15 | 29 | 0.016291 | 0.004083 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-73_0_4_load_50 | 30 | 0.0069697 | 0.0017468 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-73_0_4_load_49 | 31 | 0.0016377 | 0.00041045 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-73_0_4_load_35 | 34 | 0.0025101 | 0.0006291 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-73_0_4_load_39 | 37 | 0.0012491 | 0.00031304 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-73_0_4_load_58 | 38 | 0.0018096 | 0.00045352 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-73_0_4_load_66 | 40 | 0.011098 | 0.0027815 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-73_0_4_load_63 | 41 | 0.0016534 | 0.00041438 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-73_0_4_load_19 | 42 | 0.010424 | 0.0026125 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-73_0_4_load_23 | 44 | 0.024837 | 0.0062246 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-73_0_4_load_18 | 45 | 0.015073 | 0.0037776 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-73_0_4_load_27 | 47 | 0.0071244 | 0.0017856 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-73_0_4_load_29 | 48 | 0.0016493 | 0.00041335 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-73_0_4_load_34 | 49 | 0.0025306 | 0.00063423 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_230-73_0_4_load_36 | 50 | 0.0025297 | 0.000634 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_230-73_0_4_load_38 | 51 | 0.0025072 | 0.00062836 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_230-73_0_4_load_42 | 52 | 0.0025469 | 0.00063832 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_230-73_0_4_load_51 | 53 | 0.0025314 | 0.00063442 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_230-73_0_4_load_40 | 54 | 0.0024915 | 0.00062444 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_230-73_0_4_load_62 | 55 | 0.022187 | 0.0055606 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_230-73_0_4_load_59 | 56 | 0.0040005 | 0.0010026 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_230-73_0_4_load_52 | 57 | 0.0025191 | 0.00063134 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_230-73_0_4_load_57 | 58 | 0.001822 | 0.00045663 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_230-73_0_4_load_56 | 59 | 0.0029325 | 0.00073496 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-73_0_4_line_0 |  | 0 | 1 | 0.062607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-73_0_4_line_1 |  | 1 | 2 | 0.022955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_230-73_0_4_line_2 |  | 1 | 3 | 0.005534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-73_0_4_line_3 |  | 1 | 4 | 0.012341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_230-73_0_4_line_4 |  | 2 | 5 | 0.0079617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_230-73_0_4_line_5 |  | 3 | 6 | 0.003038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_230-73_0_4_line_6 |  | 3 | 7 | 0.019307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-73_0_4_line_7 |  | 4 | 8 | 0.018338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-73_0_4_line_8 |  | 5 | 24 | 0.010279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_230-73_0_4_line_9 |  | 6 | 25 | 0.019545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-73_0_4_line_10 |  | 6 | 26 | 0.014139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-73_0_4_line_11 |  | 7 | 27 | 0.018367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-73_0_4_line_12 |  | 8 | 28 | 0.016247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-73_0_4_line_13 |  | 9 | 10 | 0.004843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-73_0_4_line_14 |  | 9 | 11 | 0.022111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-73_0_4_line_15 |  | 10 | 12 | 0.01645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-73_0_4_line_16 |  | 12 | 29 | 0.028706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-73_0_4_line_17 |  | 13 | 14 | 0.004125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-73_0_4_line_18 |  | 13 | 15 | 0.037801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-73_0_4_line_19 |  | 14 | 30 | 0.019814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-73_0_4_line_20 |  | 14 | 31 | 0.031098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-73_0_4_line_21 |  | 16 | 17 | 0.004076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-73_0_4_line_22 |  | 16 | 18 | 0.011951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-73_0_4_line_23 |  | 17 | 19 | 0.015364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-73_0_4_line_24 |  | 17 | 20 | 0.014229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-73_0_4_line_25 |  | 19 | 40 | 0.011566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-73_0_4_line_26 |  | 20 | 41 | 0.018647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-73_0_4_line_27 |  | 21 | 22 | 0.016851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-73_0_4_line_28 |  | 21 | 23 | 0.038847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-73_0_4_line_29 |  | 22 | 44 | 0.0026281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-73_0_4_line_30 |  | 24 | 46 | 0.021645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-73_0_4_line_31 |  | 25 | 31 | 0.021701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-73_0_4_line_32 |  | 25 | 48 | 0.014174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-73_0_4_line_33 |  | 26 | 47 | 0.0057453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-73_0_4_line_34 |  | 28 | 36 | 0.010562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-73_0_4_line_35 |  | 29 | 43 | 0.016994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-73_0_4_line_36 |  | 32 | 33 | 0.006043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-73_0_4_line_37 |  | 32 | 34 | 0.0047443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-73_0_4_line_38 |  | 33 | 52 | 0.010817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-73_0_4_line_39 |  | 33 | 53 | 0.058124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-73_0_4_line_40 |  | 34 | 49 | 0.0094264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-73_0_4_line_41 |  | 35 | 36 | 0.005368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-73_0_4_line_42 |  | 35 | 37 | 0.014207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-73_0_4_line_43 |  | 36 | 55 | 0.030343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-73_0_4_line_44 |  | 37 | 54 | 0.034559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-73_0_4_line_45 |  | 38 | 39 | 0.012723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-73_0_4_line_46 |  | 39 | 58 | 0.020238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_230-73_0_4_line_47 |  | 39 | 56 | 0.022813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_230-73_0_4_line_48 |  | 39 | 57 | 0.012122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_230-73_0_4_line_49 |  | 41 | 55 | 0.00028322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_230-73_0_4_line_50 |  | 42 | 43 | 0.010929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_230-73_0_4_line_51 |  | 43 | 45 | 0.02912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_230-73_0_4_line_52 |  | 43 | 46 | 0.003252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_230-73_0_4_line_53 |  | 44 | 45 | 0.012455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_230-73_0_4_line_54 |  | 49 | 50 | 0.023539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_230-73_0_4_line_55 |  | 50 | 51 | 0.0094445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_230-73_0_4_line_56 |  | 52 | 54 | 0.009421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_230-73_0_4_line_57 |  | 53 | 57 | 7.2832e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_230-73_0_4_line_58 |  | 58 | 59 | 0.0027239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-73_0_4_trafo_32 | 0.63 MVA 20/0.4 kV | 60 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2696025.1457 | 1262407.0817 | 2696030.354 | 1262404.6643 | 2696081.9163 | 1262380.6847
1 | 2696025.1457 | 1262407.0817 | 2696034.9538 | 1262427.8355
2 | 2696022.7857 | 1262402.0727 | 2696025.1457 | 1262407.0817
3 | 2696025.1457 | 1262407.0817 | 2696013.93 | 1262412.2302
4 | 2696034.9538 | 1262427.8355 | 2696038.3557 | 1262435.0338
5 | 2696022.7857 | 1262402.0727 | 2696025.5492 | 1262400.7943
6 | 2696022.7857 | 1262402.0727 | 2696005.2626 | 1262410.1778
7 | 2695997.2645 | 1262419.8803 | 2696013.93 | 1262412.2302
8 | 2696042.7478 | 1262444.3275 | 2696038.3557 | 1262435.0338
9 | 2696043.3299 | 1262392.5651 | 2696025.5492 | 1262400.7943
10 | 2696025.5492 | 1262400.7943 | 2696019.6747 | 1262387.9336
11 | 2695988.5922 | 1262417.8886 | 2696005.2626 | 1262410.1778
12 | 2695982.4992 | 1262426.6582 | 2695997.2645 | 1262419.8803
13 | 2696107.4914 | 1262435.6089 | 2696109.5601 | 1262439.9905
14 | 2696107.4914 | 1262435.6089 | 2696087.7919 | 1262445.6506
15 | 2696109.5601 | 1262439.9905 | 2696094.7186 | 1262447.0839
16 | 2696068.8192 | 1262459.4623 | 2696094.7186 | 1262447.0839
17 | 2696095.0237 | 1262368.7075 | 2696091.2731 | 1262370.448
18 | 2696095.0237 | 1262368.7075 | 2696083.9471 | 1262344.608 | 2696094.1778 | 1262339.8617
19 | 2696091.2731 | 1262370.448 | 2696082.9439 | 1262352.47
20 | 2696091.2731 | 1262370.448 | 2696063.0354 | 1262383.4746
21 | 2695996.4018 | 1262489.9937 | 2696000.1286 | 1262488.3195
22 | 2695996.4018 | 1262489.9937 | 2695991.2377 | 1262479.2158
23 | 2696000.1286 | 1262488.3195 | 2696014.1782 | 1262482.009
24 | 2696000.1286 | 1262488.3195 | 2695997.2766 | 1262482.524 | 2695997.184 | 1262481.733 | 2695994.2163 | 1262475.4225
25 | 2696014.1782 | 1262482.009 | 2696024.6098 | 1262477.0132
26 | 2695986.2808 | 1262458.5488 | 2695994.2163 | 1262475.4225
27 | 2696080.8704 | 1262521.3573 | 2696079.6813 | 1262518.9582 | 2696073.3884 | 1262506.2583
28 | 2696080.8704 | 1262521.3573 | 2696116.1419 | 1262505.0771
29 | 2696073.3884 | 1262506.2583 | 2696072.2215 | 1262503.9034
30 | 2696051.9964 | 1262463.8972 | 2696042.7478 | 1262444.3275
31 | 2696043.3299 | 1262392.5651 | 2696063.0354 | 1262383.4746
32 | 2696043.3299 | 1262392.5651 | 2696037.4395 | 1262379.6726
33 | 2696019.6747 | 1262387.9336 | 2696017.2876 | 1262382.7077
34 | 2695972.9004 | 1262431.0644 | 2695982.4992 | 1262426.6582
35 | 2696053.4865 | 1262466.7904 | 2696068.8192 | 1262459.4623
36 | 2695941.2687 | 1262363.7522 | 2695938.6901 | 1262358.2837
37 | 2695938.6901 | 1262358.2837 | 2695936.6704 | 1262353.9907
38 | 2695941.2687 | 1262363.7522 | 2695945.8734 | 1262373.5396
39 | 2695941.2687 | 1262363.7522 | 2695993.7724 | 1262338.8163
40 | 2695936.6704 | 1262353.9907 | 2695932.6575 | 1262345.4612
41 | 2695970.6437 | 1262426.1905 | 2695972.9004 | 1262431.0644
42 | 2695970.6437 | 1262426.1905 | 2695964.5958 | 1262413.3352
43 | 2695972.9004 | 1262431.0644 | 2695975.2809 | 1262436.2072 | 2695976.368 | 1262437.4704 | 2695986.1603 | 1262458.2925
44 | 2695964.5958 | 1262413.3352 | 2695949.884 | 1262382.0644
45 | 2696004.7287 | 1262333.6128 | 2696016.2206 | 1262328.154
46 | 2696004.7287 | 1262333.6128 | 2696013.4089 | 1262351.8949
47 | 2696004.7287 | 1262333.6128 | 2695994.9279 | 1262313.0119
48 | 2696004.7287 | 1262333.6128 | 2695993.779 | 1262338.8132
49 | 2695986.2808 | 1262458.5488 | 2695986.1603 | 1262458.2925
50 | 2696053.4865 | 1262466.7904 | 2696043.6254 | 1262471.5014
51 | 2696053.4865 | 1262466.7904 | 2696062.0114 | 1262483.2978 | 2696066.6916 | 1262492.7432
52 | 2696051.9964 | 1262463.8972 | 2696053.4865 | 1262466.7904
53 | 2696066.6916 | 1262492.7432 | 2696072.2215 | 1262503.9034
54 | 2695922.6368 | 1262324.162 | 2695932.6575 | 1262345.4612
55 | 2695918.6162 | 1262315.6161 | 2695922.6368 | 1262324.162
56 | 2695945.8734 | 1262373.5396 | 2695949.884 | 1262382.0644
57 | 2695993.7724 | 1262338.8163 | 2695993.779 | 1262338.8132
58 | 2696014.5772 | 1262354.3555 | 2696013.4089 | 1262351.8949

## bus_geodata
| x | y | coords
0 | 2696081.9163 | 1262380.6847
1 | 2696025.1457 | 1262407.0817
2 | 2696034.9538 | 1262427.8355
3 | 2696022.7857 | 1262402.0727
4 | 2696013.93 | 1262412.2302
5 | 2696038.3557 | 1262435.0338
6 | 2696025.5492 | 1262400.7943
7 | 2696005.2626 | 1262410.1778
8 | 2695997.2645 | 1262419.8803
9 | 2696107.4914 | 1262435.6089
10 | 2696109.5601 | 1262439.9905
11 | 2696087.7919 | 1262445.6506
12 | 2696094.7186 | 1262447.0839
13 | 2696095.0237 | 1262368.7075
14 | 2696091.2731 | 1262370.448
15 | 2696094.1778 | 1262339.8617
16 | 2695996.4018 | 1262489.9937
17 | 2696000.1286 | 1262488.3195
18 | 2695991.2377 | 1262479.2158
19 | 2696014.1782 | 1262482.009
20 | 2695994.2163 | 1262475.4225
21 | 2696080.8704 | 1262521.3573
22 | 2696073.3884 | 1262506.2583
23 | 2696116.1419 | 1262505.0771
24 | 2696042.7478 | 1262444.3275
25 | 2696043.3299 | 1262392.5651
26 | 2696019.6747 | 1262387.9336
27 | 2695988.5922 | 1262417.8886
28 | 2695982.4992 | 1262426.6582
29 | 2696068.8192 | 1262459.4623
30 | 2696082.9439 | 1262352.47
31 | 2696063.0354 | 1262383.4746
32 | 2695938.6901 | 1262358.2837
33 | 2695941.2687 | 1262363.7522
34 | 2695936.6704 | 1262353.9907
35 | 2695970.6437 | 1262426.1905
36 | 2695972.9004 | 1262431.0644
37 | 2695964.5958 | 1262413.3352
38 | 2696016.2206 | 1262328.154
39 | 2696004.7287 | 1262333.6128
40 | 2696024.6098 | 1262477.0132
41 | 2695986.2808 | 1262458.5488
42 | 2696043.6254 | 1262471.5014
43 | 2696053.4865 | 1262466.7904
44 | 2696072.2215 | 1262503.9034
45 | 2696066.6916 | 1262492.7432
46 | 2696051.9964 | 1262463.8972
47 | 2696017.2876 | 1262382.7077
48 | 2696037.4395 | 1262379.6726
49 | 2695932.6575 | 1262345.4612
50 | 2695922.6368 | 1262324.162
51 | 2695918.6162 | 1262315.6161
52 | 2695945.8734 | 1262373.5396
53 | 2695993.7724 | 1262338.8163
54 | 2695949.884 | 1262382.0644
55 | 2695986.1603 | 1262458.2925
56 | 2695994.9279 | 1262313.0119
57 | 2695993.779 | 1262338.8132
58 | 2696013.4089 | 1262351.8949
59 | 2696014.5772 | 1262354.3555
60 | 2696025.1457 | 1262407.0817

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99556 | -0.085167 | 0.035579 | 0.0089168
1 | 0.99759 | -0.046075 | 0 | 0
2 | 0.99935 | -0.012481 | 0.012338 | 0.0030923
3 | 0.99745 | -0.048801 | 0 | 0
4 | 0.99642 | -0.06852 | 0.012331 | 0.0030903
5 | 1 | 0 | -0.34482 | -0.086688
6 | 0.99738 | -0.050104 | 0 | 0
7 | 0.99739 | -0.05003 | 0.0023745 | 0.00059511
8 | 0.99489 | -0.097985 | 0.011088 | 0.0027789
9 | 0.99311 | -0.13257 | 0 | 0
10 | 0.99327 | -0.12941 | 0 | 0
11 | 0.99236 | -0.147 | 0.0369 | 0.0092481
12 | 0.99382 | -0.11869 | 0.012324 | 0.0030888
13 | 0.99646 | -0.06789 | 0 | 0
14 | 0.99648 | -0.067501 | 0 | 0
15 | 0.99628 | -0.071448 | 0.0053606 | 0.0013435
16 | 0.99107 | -0.17184 | 0 | 0
17 | 0.99108 | -0.1717 | 0 | 0
18 | 0.99105 | -0.17226 | 0.0019898 | 0.00049869
19 | 0.99092 | -0.17472 | 0 | 0
20 | 0.99125 | -0.16839 | 0.0097311 | 0.0024389
21 | 0.99384 | -0.11841 | 0 | 0
22 | 0.99394 | -0.11655 | 0.01488 | 0.0037294
23 | 0.99362 | -0.12269 | 0.0062444 | 0.001565
24 | 0.99924 | -0.014492 | 0.024673 | 0.0061837
25 | 0.99711 | -0.055455 | 0 | 0
26 | 0.99727 | -0.052299 | 0.0017357 | 0.000435
27 | 0.99737 | -0.050435 | 0.0012584 | 0.00031538
28 | 0.9937 | -0.12099 | 0.0016516 | 0.00041393
29 | 0.99511 | -0.093787 | 0.016291 | 0.004083
30 | 0.99636 | -0.069926 | 0.0069697 | 0.0017468
31 | 0.99683 | -0.060772 | 0.0016377 | 0.00041045
32 | 0.99084 | -0.17629 | 0 | 0
33 | 0.99089 | -0.17521 | 0 | 0
34 | 0.99079 | -0.17714 | 0.0025101 | 0.0006291
35 | 0.99278 | -0.1387 | 0 | 0
36 | 0.99294 | -0.13566 | 0 | 0
37 | 0.99236 | -0.14674 | 0.0012491 | 0.00031304
38 | 0.98992 | -0.19403 | 0.0018096 | 0.00045352
39 | 0.98994 | -0.19362 | 0 | 0
40 | 0.9908 | -0.177 | 0.011098 | 0.0027815
41 | 0.99164 | -0.16085 | 0.0016534 | 0.00041438
42 | 0.99603 | -0.076211 | 0.010424 | 0.0026125
43 | 0.99613 | -0.07421 | 0 | 0
44 | 0.99399 | -0.11557 | 0.024837 | 0.0062246
45 | 0.99451 | -0.10548 | 0.015073 | 0.0037776
46 | 0.99654 | -0.066389 | 0 | 0
47 | 0.99723 | -0.053017 | 0.0071244 | 0.0017856
48 | 0.99709 | -0.055865 | 0.0016493 | 0.00041335
49 | 0.99073 | -0.17841 | 0.0025306 | 0.00063423
50 | 0.99062 | -0.18051 | 0.0025297 | 0.000634
51 | 0.9906 | -0.18093 | 0.0025072 | 0.00062836
52 | 0.99115 | -0.17028 | 0.0025469 | 0.00063832
53 | 0.99006 | -0.19134 | 0.0025314 | 0.00063442
54 | 0.99139 | -0.16556 | 0.0024915 | 0.00062444
55 | 0.99164 | -0.16072 | 0.022187 | 0.0055606
56 | 0.98986 | -0.19524 | 0.0040005 | 0.0010026
57 | 0.99006 | -0.19134 | 0.0025191 | 0.00063134
58 | 0.98986 | -0.19533 | 0.001822 | 0.00045663
59 | 0.98985 | -0.19547 | 0.0029325 | 0.00073496
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.035579 | -0.0089168 | 0.035645 | 0.0089585 | 6.6391e-05 | 4.1674e-05 | 0.053177 | 0.053177 | 0.053177 | 0.99556 | -0.085167 | 0.99759 | -0.046075 | 14.6091
1 | -0.16801 | -0.042338 | 0.16828 | 0.04251 | 0.00027049 | 0.00017251 | 0.25069 | 0.25069 | 0.25069 | 0.99759 | -0.046075 | 0.99935 | -0.012481 | 34.4353
2 | 0.02813 | 0.0070551 | -0.028127 | -0.0070528 | 3.6539e-06 | 2.2663e-06 | 0.041961 | 0.041961 | 0.041961 | 0.99759 | -0.046075 | 0.99745 | -0.048801 | 11.5277
3 | 0.10424 | 0.026324 | -0.10412 | -0.026253 | 0.00011198 | 7.1503e-05 | 0.15555 | 0.15555 | 0.15555 | 0.99759 | -0.046075 | 0.99642 | -0.06852 | 42.7338
4 | -0.18062 | -0.045602 | 0.18073 | 0.045671 | 0.00010807 | 6.8956e-05 | 0.26906 | 0.26906 | 0.26906 | 0.99935 | -0.012481 | 1 | 0 | 36.9588
5 | 0.024493 | 0.0061426 | -0.024492 | -0.0061417 | 1.5212e-06 | 9.3391e-07 | 0.036541 | 0.036541 | 0.036541 | 0.99745 | -0.048801 | 0.99738 | -0.050104 | 10.0388
6 | 0.0036332 | 0.00091016 | -0.003633 | -0.00091027 | 2.1268e-07 | -1.1587e-07 | 0.0054199 | 0.00542 | 0.00542 | 0.99745 | -0.048801 | 0.99739 | -0.05003 | 1.489
7 | 0.091794 | 0.023162 | -0.091665 | -0.02308 | 0.00012932 | 8.2529e-05 | 0.13714 | 0.13714 | 0.13714 | 0.99642 | -0.06852 | 0.99489 | -0.097985 | 37.675
8 | 0.16244 | 0.041017 | -0.16233 | -0.040945 | 0.00011271 | 7.1863e-05 | 0.24182 | 0.24182 | 0.24182 | 1 | 0 | 0.99924 | -0.014492 | 33.2171
9 | 0.015631 | 0.0039207 | -0.015627 | -0.0039184 | 3.9861e-06 | 2.2961e-06 | 0.023321 | 0.023321 | 0.023321 | 0.99738 | -0.050104 | 0.99711 | -0.055455 | 6.4068
10 | 0.0088613 | 0.002221 | -0.0088604 | -0.0022206 | 9.2669e-07 | 4.0858e-07 | 0.01322 | 0.01322 | 0.01322 | 0.99738 | -0.050104 | 0.99727 | -0.052299 | 3.632
11 | 0.0012584 | 0.00031516 | -0.0012584 | -0.00031538 | 2.4277e-08 | -2.2417e-07 | 0.0018774 | 0.0018775 | 0.0018775 | 0.99739 | -0.05003 | 0.99737 | -0.050435 | 0.51579
12 | 0.080577 | 0.020301 | -0.080489 | -0.020244 | 8.8543e-05 | 5.6457e-05 | 0.12055 | 0.12055 | 0.12055 | 0.99489 | -0.097985 | 0.9937 | -0.12099 | 33.1191
13 | -0.036926 | -0.0092641 | 0.036931 | 0.0092676 | 5.5601e-06 | 3.4958e-06 | 0.055331 | 0.055331 | 0.055331 | 0.99311 | -0.13257 | 0.99327 | -0.12941 | 15.2008
14 | 0.036926 | 0.0092641 | -0.0369 | -0.0092481 | 2.5385e-05 | 1.5961e-05 | 0.055331 | 0.055331 | 0.055331 | 0.99311 | -0.13257 | 0.99236 | -0.147 | 15.2008
15 | -0.036931 | -0.0092676 | 0.03695 | 0.0092794 | 1.8885e-05 | 1.1873e-05 | 0.055331 | 0.055331 | 0.055331 | 0.99327 | -0.12941 | 0.99382 | -0.11869 | 15.2008
16 | -0.049275 | -0.012368 | 0.049333 | 0.012405 | 5.8603e-05 | 3.7133e-05 | 0.073784 | 0.073784 | 0.073784 | 0.99382 | -0.11869 | 0.99511 | -0.093787 | 20.2703
17 | -0.0053615 | -0.0013436 | 0.0053616 | 0.0013436 | 9.9156e-08 | 9.7237e-09 | 0.0080063 | 0.0080063 | 0.0080063 | 0.99646 | -0.06789 | 0.99648 | -0.067501 | 2.1995
18 | 0.0053615 | 0.0013436 | -0.0053606 | -0.0013435 | 9.0868e-07 | 8.9223e-08 | 0.0080063 | 0.0080065 | 0.0080065 | 0.99646 | -0.06789 | 0.99628 | -0.071448 | 2.1996
19 | 0.0069705 | 0.001747 | -0.0069697 | -0.0017468 | 8.0501e-07 | 2.5713e-07 | 0.010409 | 0.010409 | 0.010409 | 0.99648 | -0.067501 | 0.99636 | -0.069926 | 2.8596
20 | -0.012332 | -0.0030906 | 0.012336 | 0.0030927 | 3.9546e-06 | 2.1257e-06 | 0.018415 | 0.018415 | 0.018415 | 0.99648 | -0.067501 | 0.99683 | -0.060772 | 5.0591
21 | -0.0019899 | -0.00049857 | 0.0019899 | 0.00049852 | 1.3643e-08 | -4.3792e-08 | 0.0029876 | 0.0029876 | 0.0029876 | 0.99107 | -0.17184 | 0.99108 | -0.1717 | 0.82076
22 | 0.0019899 | 0.00049857 | -0.0019898 | -0.00049869 | 4.0003e-08 | -1.284e-07 | 0.0029876 | 0.0029876 | 0.0029876 | 0.99107 | -0.17184 | 0.99105 | -0.17226 | 0.82078
23 | 0.011101 | 0.0027829 | -0.011099 | -0.0027821 | 1.6006e-06 | 8.2643e-07 | 0.016668 | 0.016668 | 0.016668 | 0.99108 | -0.1717 | 0.99092 | -0.17472 | 4.579
24 | -0.013091 | -0.0032815 | 0.013093 | 0.0032826 | 2.0614e-06 | 1.1359e-06 | 0.019655 | 0.019655 | 0.019655 | 0.99108 | -0.1717 | 0.99125 | -0.16839 | 5.3998
25 | 0.011099 | 0.0027821 | -0.011098 | -0.0027815 | 1.205e-06 | 6.2219e-07 | 0.016668 | 0.016668 | 0.016668 | 0.99092 | -0.17472 | 0.9908 | -0.177 | 4.579
26 | -0.022824 | -0.0057215 | 0.022832 | 0.0057265 | 8.2088e-06 | 5.0132e-06 | 0.034263 | 0.034263 | 0.034263 | 0.99125 | -0.16839 | 0.99164 | -0.16085 | 9.4129
27 | -0.0062456 | -0.0015653 | 0.0062462 | 0.0015654 | 5.5258e-07 | 1.3527e-07 | 0.0093512 | 0.0093511 | 0.0093512 | 0.99384 | -0.11841 | 0.99394 | -0.11655 | 2.569
28 | 0.0062456 | 0.0015653 | -0.0062444 | -0.001565 | 1.2739e-06 | 3.1202e-07 | 0.0093512 | 0.0093514 | 0.0093514 | 0.99384 | -0.11841 | 0.99362 | -0.12269 | 2.5691
29 | -0.021127 | -0.0052948 | 0.021128 | 0.0052954 | 9.8591e-07 | 5.9692e-07 | 0.031629 | 0.031629 | 0.031629 | 0.99394 | -0.11655 | 0.99399 | -0.11557 | 8.6892
30 | 0.13765 | 0.034761 | -0.13731 | -0.034543 | 0.00034137 | 0.0002182 | 0.20508 | 0.20508 | 0.20508 | 0.99924 | -0.014492 | 0.99654 | -0.066389 | 56.3404
31 | 0.013977 | 0.0035052 | -0.013974 | -0.0035032 | 3.541e-06 | 1.9833e-06 | 0.02086 | 0.02086 | 0.02086 | 0.99711 | -0.055455 | 0.99683 | -0.060772 | 5.7307
32 | 0.0016493 | 0.00041318 | -0.0016493 | -0.00041335 | 3.22e-08 | -1.6427e-07 | 0.0024613 | 0.0024613 | 0.0024613 | 0.99711 | -0.055455 | 0.99709 | -0.055865 | 0.67619
33 | 0.0071247 | 0.0017856 | -0.0071244 | -0.0017856 | 2.4348e-07 | 8.0868e-08 | 0.010631 | 0.010631 | 0.010631 | 0.99727 | -0.052299 | 0.99723 | -0.053017 | 2.9205
34 | 0.078837 | 0.01983 | -0.078782 | -0.019795 | 5.5223e-05 | 3.5206e-05 | 0.11808 | 0.11808 | 0.11808 | 0.9937 | -0.12099 | 0.99294 | -0.13566 | 32.4397
35 | -0.065625 | -0.016488 | 0.065686 | 0.016527 | 6.1384e-05 | 3.9065e-05 | 0.098145 | 0.098144 | 0.098145 | 0.99511 | -0.093787 | 0.99613 | -0.07421 | 26.9628
36 | -0.010079 | -0.002526 | 0.01008 | 0.0025262 | 5.1919e-07 | 2.5445e-07 | 0.015136 | 0.015136 | 0.015136 | 0.99084 | -0.17629 | 0.99089 | -0.17521 | 4.1584
37 | 0.010079 | 0.002526 | -0.010079 | -0.0025258 | 4.0762e-07 | 1.9977e-07 | 0.015136 | 0.015136 | 0.015136 | 0.99084 | -0.17629 | 0.99079 | -0.17714 | 4.1584
38 | -0.025708 | -0.006447 | 0.025714 | 0.0064507 | 6.0459e-06 | 3.73e-06 | 0.038607 | 0.038607 | 0.038607 | 0.99089 | -0.17521 | 0.99115 | -0.17028 | 10.6064
39 | 0.015629 | 0.0039207 | -0.015617 | -0.0039138 | 1.2008e-05 | 6.9368e-06 | 0.023471 | 0.023471 | 0.023471 | 0.99089 | -0.17521 | 0.99006 | -0.19134 | 6.4482
40 | 0.0075685 | 0.0018967 | -0.007568 | -0.0018965 | 4.5671e-07 | 1.709e-07 | 0.011367 | 0.011367 | 0.011367 | 0.99079 | -0.17714 | 0.99073 | -0.17841 | 3.1227
41 | -0.032048 | -0.0080554 | 0.032053 | 0.0080583 | 4.6464e-06 | 2.9042e-06 | 0.048043 | 0.048043 | 0.048043 | 0.99278 | -0.1387 | 0.99294 | -0.13566 | 13.1988
42 | 0.032048 | 0.0080554 | -0.032036 | -0.0080477 | 1.2297e-05 | 7.6865e-06 | 0.048043 | 0.048044 | 0.048044 | 0.99278 | -0.1387 | 0.99236 | -0.14674 | 13.1988
43 | 0.046729 | 0.011737 | -0.046673 | -0.011702 | 5.5815e-05 | 3.533e-05 | 0.070037 | 0.070037 | 0.070037 | 0.99294 | -0.13566 | 0.99164 | -0.16072 | 19.241
44 | 0.030787 | 0.0077346 | -0.030759 | -0.0077174 | 2.7626e-05 | 1.7235e-05 | 0.046171 | 0.046171 | 0.046171 | 0.99236 | -0.14674 | 0.99139 | -0.16556 | 12.6843
45 | -0.0018096 | -0.00045352 | 0.0018096 | 0.00045338 | 3.5298e-08 | -1.4098e-07 | 0.0027201 | 0.00272 | 0.0027201 | 0.98992 | -0.19403 | 0.98994 | -0.19362 | 0.74727
46 | 0.0047549 | 0.0011915 | -0.0047545 | -0.0011916 | 3.8768e-07 | -1.2058e-08 | 0.0071472 | 0.0071473 | 0.0071473 | 0.98994 | -0.19362 | 0.98986 | -0.19533 | 1.9635
47 | 0.0040008 | 0.0010025 | -0.0040005 | -0.0010026 | 3.0939e-07 | -9.5272e-08 | 0.0060137 | 0.0060138 | 0.0060138 | 0.98994 | -0.19362 | 0.98986 | -0.19524 | 1.6521
48 | -0.010565 | -0.0026474 | 0.010566 | 0.002648 | 1.1464e-06 | 5.7784e-07 | 0.015881 | 0.015881 | 0.015881 | 0.98994 | -0.19362 | 0.99006 | -0.19134 | 4.3629
49 | -0.024486 | -0.0061408 | 0.024486 | 0.0061409 | 1.4339e-07 | 8.8117e-08 | 0.036744 | 0.036744 | 0.036744 | 0.99164 | -0.16085 | 0.99164 | -0.16072 | 10.0945
50 | -0.010424 | -0.0026125 | 0.010425 | 0.002613 | 9.939e-07 | 4.9384e-07 | 0.015573 | 0.015573 | 0.015573 | 0.99603 | -0.076211 | 0.99613 | -0.07421 | 4.2783
51 | 0.06115 | 0.01537 | -0.061059 | -0.015312 | 9.1149e-05 | 5.7957e-05 | 0.091361 | 0.091362 | 0.091362 | 0.99613 | -0.07421 | 0.99451 | -0.10548 | 25.0993
52 | -0.13726 | -0.03451 | 0.13731 | 0.034543 | 5.1289e-05 | 3.2783e-05 | 0.20508 | 0.20508 | 0.20508 | 0.99613 | -0.07421 | 0.99654 | -0.066389 | 56.3404
53 | -0.045964 | -0.01152 | 0.045986 | 0.011534 | 2.2114e-05 | 1.3992e-05 | 0.068809 | 0.068809 | 0.068809 | 0.99399 | -0.11557 | 0.99451 | -0.10548 | 18.9037
54 | 0.0050374 | 0.0012623 | -0.0050369 | -0.0012623 | 5.0528e-07 | 2.0303e-08 | 0.0075658 | 0.007566 | 0.007566 | 0.99073 | -0.17841 | 0.99062 | -0.18051 | 2.0786
55 | 0.0025072 | 0.00062827 | -0.0025072 | -0.00062836 | 5.0233e-08 | -8.944e-08 | 0.0037661 | 0.0037661 | 0.0037661 | 0.99062 | -0.18051 | 0.9906 | -0.18093 | 1.0346
56 | -0.028261 | -0.007089 | 0.028268 | 0.007093 | 6.3606e-06 | 3.9493e-06 | 0.042431 | 0.042431 | 0.042431 | 0.99115 | -0.17028 | 0.99139 | -0.16556 | 11.6569
57 | 0.013086 | 0.0032794 | -0.013086 | -0.0032794 | 1.0561e-09 | 5.8964e-10 | 0.019667 | 0.019667 | 0.019667 | 0.99006 | -0.19134 | 0.99006 | -0.19134 | 5.403
58 | 0.0029325 | 0.00073493 | -0.0029325 | -0.00073496 | 1.9851e-08 | -2.231e-08 | 0.0044084 | 0.0044084 | 0.0044084 | 0.98986 | -0.19533 | 0.98985 | -0.19547 | 1.2111

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41617 | 0.10457

## res_load
| p_mw | q_mvar
0 | 0.035579 | 0.0089168
1 | 0.012338 | 0.0030923
2 | 0.012331 | 0.0030903
3 | 0.071351 | 0.017882
4 | 0.0023745 | 0.00059511
5 | 0.011088 | 0.0027789
6 | 0.0369 | 0.0092481
7 | 0.012324 | 0.0030888
8 | 0.0053606 | 0.0013435
9 | 0.0019898 | 0.00049869
10 | 0.0097311 | 0.0024389
11 | 0.01488 | 0.0037294
12 | 0.0062444 | 0.001565
13 | 0.024673 | 0.0061837
14 | 0.0017357 | 0.000435
15 | 0.0012584 | 0.00031538
16 | 0.0016516 | 0.00041393
17 | 0.016291 | 0.004083
18 | 0.0069697 | 0.0017468
19 | 0.0016377 | 0.00041045
20 | 0.0025101 | 0.0006291
21 | 0.0012491 | 0.00031304
22 | 0.0018096 | 0.00045352
23 | 0.011098 | 0.0027815
24 | 0.0016534 | 0.00041438
25 | 0.010424 | 0.0026125
26 | 0.024837 | 0.0062246
27 | 0.015073 | 0.0037776
28 | 0.0071244 | 0.0017856
29 | 0.0016493 | 0.00041335
30 | 0.0025306 | 0.00063423
31 | 0.0025297 | 0.000634
32 | 0.0025072 | 0.00062836
33 | 0.0025469 | 0.00063832
34 | 0.0025314 | 0.00063442
35 | 0.0024915 | 0.00062444
36 | 0.022187 | 0.0055606
37 | 0.0040005 | 0.0010026
38 | 0.0025191 | 0.00063134
39 | 0.001822 | 0.00045663
40 | 0.0029325 | 0.00073496

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1