## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-82_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-82_0_2_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_230-82_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_230-82_0_2_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_230-82_0_2_node_41 | 0.4 | n |  | TRUE
5 | bus_LV_230-82_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_230-82_0_2_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_230-82_0_2_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_230-82_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_230-82_0_2_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_230-82_0_2_node_45 | 0.4 | n |  | TRUE
11 | bus_LV_230-82_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_230-82_0_2_node_52 | 0.4 | n |  | TRUE
13 | bus_LV_230-82_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_230-82_0_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_230-82_0_2_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_230-82_0_2_node_48 | 0.4 | n |  | TRUE
17 | bus_LV_230-82_0_2_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_230-82_0_2_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_230-82_0_2_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_230-82_0_2_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_230-82_0_2_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_230-82_0_2_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_230-82_0_2_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_230-82_0_2_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_230-82_0_2_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_230-82_0_2_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_230-82_0_2_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_230-82_0_2_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_230-82_0_2_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_230-82_0_2_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_230-82_0_2_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_230-82_0_2_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_230-82_0_2_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_230-82_0_2_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_230-82_0_2_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_230-82_0_2_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_230-82_0_2_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_230-82_0_2_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_230-82_0_2_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_230-82_0_2_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_230-82_0_2_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_230-82_0_2_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_230-82_0_2_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_230-82_0_2_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_230-82_0_2_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_230-82_0_2_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_230-82_0_2_node_39 | 0.4 | n |  | TRUE
48 | bus_MV_371_0_node_101 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-82_0_2_load_0 | 0 | 0.0035069 | 0.0008789 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-82_0_2_load_41 | 4 | 0.010384 | 0.0026024 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-82_0_2_load_36 | 7 | 0.0064909 | 0.0016268 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-82_0_2_load_45 | 10 | 0.010861 | 0.002722 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-82_0_2_load_52 | 12 | 0.014841 | 0.0037194 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-82_0_2_load_48 | 16 | 0.0043335 | 0.0010861 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-82_0_2_load_34 | 21 | 0.0073326 | 0.0018377 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-82_0_2_load_27 | 24 | 0.0079506 | 0.0019926 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-82_0_2_load_38 | 27 | 0.012617 | 0.003162 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-82_0_2_load_46 | 30 | 0.0017429 | 0.00043682 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-82_0_2_load_31 | 31 | 0.0086738 | 0.0021738 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-82_0_2_load_30 | 32 | 0.031696 | 0.0079437 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-82_0_2_load_35 | 33 | 0.0073517 | 0.0018425 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-82_0_2_load_33 | 34 | 0.0029428 | 0.00073753 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-82_0_2_load_42 | 36 | 0.010861 | 0.002722 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-82_0_2_load_53 | 37 | 0.010865 | 0.0027231 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-82_0_2_load_50 | 38 | 0.0045918 | 0.0011508 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-82_0_2_load_51 | 39 | 0.0045215 | 0.0011332 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-82_0_2_load_40 | 40 | 0.0071673 | 0.0017963 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-82_0_2_load_43 | 41 | 0.0020822 | 0.00052185 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-82_0_2_load_24 | 42 | 0.0022737 | 0.00056984 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-82_0_2_load_49 | 43 | 0.01827 | 0.004579 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-82_0_2_load_37 | 44 | 0.0068289 | 0.0017115 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-82_0_2_load_47 | 45 | 0.0046273 | 0.0011597 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-82_0_2_load_32 | 46 | 0.0025552 | 0.00064039 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-82_0_2_load_39 | 47 | 0.014303 | 0.0035846 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-82_0_2_line_0 |  | 0 | 1 | 0.0089193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-82_0_2_line_1 |  | 1 | 2 | 0.067739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-82_0_2_line_2 |  | 2 | 3 | 0.070494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-82_0_2_line_3 |  | 2 | 4 | 0.040889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_230-82_0_2_line_4 |  | 3 | 33 | 0.064245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-82_0_2_line_5 |  | 5 | 6 | 0.042212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_230-82_0_2_line_6 |  | 5 | 7 | 0.017972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-82_0_2_line_7 |  | 6 | 40 | 0.018713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-82_0_2_line_8 |  | 8 | 9 | 0.015924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-82_0_2_line_9 |  | 8 | 10 | 0.013722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-82_0_2_line_10 |  | 9 | 41 | 0.0017273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-82_0_2_line_11 |  | 9 | 29 | 0.008489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-82_0_2_line_12 |  | 10 | 35 | 0.022234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-82_0_2_line_13 |  | 11 | 12 | 0.013095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-82_0_2_line_14 |  | 11 | 13 | 0.041604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-82_0_2_line_15 |  | 11 | 14 | 0.022659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-82_0_2_line_16 |  | 11 | 15 | 0.057177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-82_0_2_line_17 |  | 13 | 16 | 0.032331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-82_0_2_line_18 |  | 13 | 17 | 0.021984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-82_0_2_line_19 |  | 13 | 18 | 0.01337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-82_0_2_line_20 |  | 14 | 31 | 0.027049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-82_0_2_line_21 |  | 14 | 32 | 0.0091335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-82_0_2_line_22 |  | 15 | 42 | 0.014976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_230-82_0_2_line_23 |  | 15 | 25 | 0.073811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-82_0_2_line_24 |  | 17 | 43 | 0.011092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-82_0_2_line_25 |  | 18 | 24 | 0.010725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-82_0_2_line_26 |  | 19 | 20 | 0.007408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-82_0_2_line_27 |  | 19 | 21 | 0.029517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-82_0_2_line_28 |  | 20 | 38 | 0.012589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-82_0_2_line_29 |  | 20 | 23 | 0.014777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-82_0_2_line_30 |  | 21 | 33 | 0.028086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-82_0_2_line_31 |  | 22 | 23 | 0.04206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-82_0_2_line_32 |  | 22 | 24 | 0.016416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-82_0_2_line_33 |  | 23 | 39 | 0.009147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-82_0_2_line_34 |  | 25 | 26 | 0.047622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-82_0_2_line_35 |  | 25 | 27 | 0.020177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-82_0_2_line_36 |  | 26 | 34 | 0.01402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-82_0_2_line_37 |  | 26 | 28 | 0.012004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-82_0_2_line_38 |  | 27 | 44 | 0.0012807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-82_0_2_line_39 |  | 28 | 29 | 0.033517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-82_0_2_line_40 |  | 28 | 30 | 0.038299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-82_0_2_line_41 |  | 29 | 37 | 0.018675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-82_0_2_line_42 |  | 30 | 45 | 0.012543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-82_0_2_line_43 |  | 34 | 46 | 0.023716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-82_0_2_line_44 |  | 35 | 36 | 0.010171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-82_0_2_line_45 |  | 40 | 47 | 0.00062411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-82_0_2_line_46 |  | 44 | 47 | 0.025907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-82_0_2_trafo_24 | 0.63 MVA 20/0.4 kV | 48 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2694261.5968 | 1263217.2279 | 2694258.7057 | 1263208.7902
1 | 2694261.5968 | 1263217.2279 | 2694270.0279 | 1263214.827 | 2694274.335 | 1263213.5502 | 2694274.4726 | 1263211.5396 | 2694285.6851 | 1263218.4907 | 2694313.5192 | 1263218.2454 | 2694324.4446 | 1263214.8613
2 | 2694324.4446 | 1263214.8613 | 2694319.3565 | 1263197.5661 | 2694318.0061 | 1263192.9631 | 2694333.2499 | 1263190.9045 | 2694360.0078 | 1263183.9924 | 2694359.0559 | 1263179.4402
3 | 2694324.4446 | 1263214.8613 | 2694335.9695 | 1263254.092
4 | 2694359.0559 | 1263179.4402 | 2694332.5779 | 1263186.2789 | 2694323.6856 | 1263187.8384 | 2694314.3601 | 1263188.2122 | 2694302.6081 | 1263188.1581 | 2694295.9311 | 1263186.9498
5 | 2694163.3479 | 1263210.5798 | 2694166.0138 | 1263214.4253 | 2694171.3838 | 1263210.7523 | 2694173.7522 | 1263214.3596 | 2694164.6333 | 1263220.6862 | 2694173.3546 | 1263233.6356
6 | 2694173.3546 | 1263233.6356 | 2694168.1426 | 1263236.8552 | 2694159.6836 | 1263245.1483
7 | 2694163.3479 | 1263210.5798 | 2694152.6946 | 1263195.1957
8 | 2694042.3463 | 1263148.0706 | 2694051.8231 | 1263152.8585 | 2694056.6074 | 1263150.4771
9 | 2694042.3463 | 1263148.0706 | 2694030.7022 | 1263142.1696 | 2694030.7033 | 1263141.5014
10 | 2694056.6074 | 1263150.4771 | 2694058.0895 | 1263149.5899
11 | 2694060.9209 | 1263157.7961 | 2694056.6074 | 1263150.4771
12 | 2694037.701 | 1263122.2981 | 2694032.3646 | 1263126.2387 | 2694030.7214 | 1263130.0712 | 2694030.7033 | 1263141.5014
13 | 2694234.0897 | 1263082.625 | 2694236.47 | 1263086.4326 | 2694241.6006 | 1263082.6558 | 2694242.8592 | 1263084.5218
14 | 2694234.0897 | 1263082.625 | 2694239.5474 | 1263078.6532 | 2694242.8336 | 1263075.7365 | 2694245.7181 | 1263073.4361 | 2694260.5971 | 1263095.6913
15 | 2694234.0897 | 1263082.625 | 2694239.5474 | 1263078.6532 | 2694242.8336 | 1263075.7365 | 2694239.3505 | 1263070.688 | 2694236.2944 | 1263066.2579
16 | 2694234.0897 | 1263082.625 | 2694224.6453 | 1263089.5023 | 2694216.0244 | 1263095.7701 | 2694203.5426 | 1263102.2543 | 2694186.3452 | 1263113.9009
17 | 2694260.5971 | 1263095.6913 | 2694250.3013 | 1263103.0443 | 2694243.8595 | 1263101.6405 | 2694232.6887 | 1263108.5904
18 | 2694260.5971 | 1263095.6913 | 2694261.7291 | 1263096.9881 | 2694278.6035 | 1263085.7702
19 | 2694260.5971 | 1263095.6913 | 2694261.7291 | 1263096.9881 | 2694268.9592 | 1263106.1219
20 | 2694236.2944 | 1263066.2579 | 2694226.2557 | 1263073.0813 | 2694213.9692 | 1263081.5295
21 | 2694236.2944 | 1263066.2579 | 2694243.7918 | 1263061.0415
22 | 2694186.3452 | 1263113.9009 | 2694194.1326 | 1263126.6933
23 | 2694125.3765 | 1263155.7421 | 2694140.6385 | 1263145.9214 | 2694145.8603 | 1263142.0903 | 2694184.2278 | 1263115.3351 | 2694186.3452 | 1263113.9009
24 | 2694278.6035 | 1263085.7702 | 2694272.5971 | 1263076.4336
25 | 2694268.9592 | 1263106.1219 | 2694274.2497 | 1263115.4518
26 | 2694241.3567 | 1263173.5478 | 2694243.0988 | 1263166.3475
27 | 2694241.3567 | 1263173.5478 | 2694245.1183 | 1263173.8858 | 2694250.8723 | 1263179.671 | 2694261.9514 | 1263180.8263 | 2694268.2906 | 1263181.9683
28 | 2694243.0988 | 1263166.3475 | 2694236.0478 | 1263155.9044
29 | 2694243.0988 | 1263166.3475 | 2694253.1119 | 1263155.4538
30 | 2694295.9311 | 1263186.9498 | 2694293.4431 | 1263186.4995 | 2694268.2906 | 1263181.9683
31 | 2694253.1119 | 1263155.4538 | 2694263.0026 | 1263147.0379 | 2694266.9382 | 1263144.4986 | 2694283.9824 | 1263133.4946 | 2694282.3472 | 1263129.7322
32 | 2694282.3472 | 1263129.7322 | 2694274.2497 | 1263115.4518
33 | 2694253.1119 | 1263155.4538 | 2694248.2405 | 1263147.7032
34 | 2694086.2794 | 1263182.9309 | 2694087.2089 | 1263182.2785 | 2694101.7455 | 1263172.1126 | 2694125.3765 | 1263155.7421
35 | 2694125.3765 | 1263155.7421 | 2694129.913 | 1263162.2973 | 2694136.8614 | 1263172.3313
36 | 2694086.2794 | 1263182.9309 | 2694094.1647 | 1263194.5229
37 | 2694080.9241 | 1263173.3824 | 2694084.0258 | 1263177.7798 | 2694083.1194 | 1263178.3992 | 2694086.2794 | 1263182.9309
38 | 2694137.5905 | 1263173.3842 | 2694136.8614 | 1263172.3313
39 | 2694060.9209 | 1263157.7961 | 2694064.5005 | 1263163.8913 | 2694072.0121 | 1263176.6544 | 2694073.1636 | 1263178.6188 | 2694080.9241 | 1263173.3824
40 | 2694080.9241 | 1263173.3824 | 2694112.4158 | 1263151.5862
41 | 2694060.9209 | 1263157.7961 | 2694076.0215 | 1263146.7495
42 | 2694112.4158 | 1263151.5862 | 2694119.1507 | 1263146.9247 | 2694122.6995 | 1263144.4044
43 | 2694107.5038 | 1263214.1324 | 2694094.1647 | 1263194.5229
44 | 2694037.701 | 1263122.2981 | 2694045.8623 | 1263118.3914 | 2694046.3609 | 1263119.3971
45 | 2694152.6946 | 1263195.1957 | 2694152.3393 | 1263194.6826
46 | 2694137.5905 | 1263173.3842 | 2694152.3393 | 1263194.6826

## bus_geodata
| x | y | coords
0 | 2694258.7057 | 1263208.7902
1 | 2694261.5968 | 1263217.2279
2 | 2694324.4446 | 1263214.8613
3 | 2694359.0559 | 1263179.4402
4 | 2694335.9695 | 1263254.092
5 | 2694173.3546 | 1263233.6356
6 | 2694163.3479 | 1263210.5798
7 | 2694159.6836 | 1263245.1483
8 | 2694042.3463 | 1263148.0706
9 | 2694056.6074 | 1263150.4771
10 | 2694030.7033 | 1263141.5014
11 | 2694234.0897 | 1263082.625
12 | 2694242.8592 | 1263084.5218
13 | 2694260.5971 | 1263095.6913
14 | 2694236.2944 | 1263066.258
15 | 2694186.3452 | 1263113.9009
16 | 2694232.6887 | 1263108.5904
17 | 2694278.6035 | 1263085.7702
18 | 2694268.9592 | 1263106.1219
19 | 2694241.3567 | 1263173.5478
20 | 2694243.0988 | 1263166.3475
21 | 2694268.2906 | 1263181.9683
22 | 2694282.3472 | 1263129.7322
23 | 2694253.1119 | 1263155.4538
24 | 2694274.2497 | 1263115.4518
25 | 2694125.3765 | 1263155.7421
26 | 2694086.2794 | 1263182.9309
27 | 2694136.8614 | 1263172.3313
28 | 2694080.9241 | 1263173.3824
29 | 2694060.9209 | 1263157.7961
30 | 2694112.4158 | 1263151.5862
31 | 2694213.9692 | 1263081.5295
32 | 2694243.7918 | 1263061.0415
33 | 2694295.9311 | 1263186.9498
34 | 2694094.1647 | 1263194.5229
35 | 2694037.7011 | 1263122.2981
36 | 2694046.3609 | 1263119.3971
37 | 2694076.0215 | 1263146.7495
38 | 2694236.0478 | 1263155.9044
39 | 2694248.2405 | 1263147.7032
40 | 2694152.6946 | 1263195.1957
41 | 2694058.0895 | 1263149.5899
42 | 2694194.1326 | 1263126.6933
43 | 2694272.5971 | 1263076.4336
44 | 2694137.5905 | 1263173.3842
45 | 2694122.6995 | 1263144.4044
46 | 2694107.5038 | 1263214.1324
47 | 2694152.3393 | 1263194.6826
48 | 2694186.3452 | 1263113.9009

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98242 | -0.33915 | 0.0035069 | 0.0008789
1 | 0.98245 | -0.33858 | 0 | 0
2 | 0.98267 | -0.33429 | 0 | 0
3 | 0.98357 | -0.31663 | 0 | 0
4 | 0.98228 | -0.34196 | 0.010384 | 0.0026024
5 | 0.9902 | -0.18822 | 0 | 0
6 | 0.99045 | -0.18335 | 0 | 0
7 | 0.99009 | -0.19029 | 0.0064909 | 0.0016268
8 | 0.9881 | -0.22901 | 0 | 0
9 | 0.98841 | -0.22283 | 0 | 0
10 | 0.98782 | -0.23433 | 0.010861 | 0.002722
11 | 0.99203 | -0.15265 | 0 | 0
12 | 0.99185 | -0.15609 | 0.014841 | 0.0037194
13 | 0.98942 | -0.20307 | 0 | 0
14 | 0.99119 | -0.16886 | 0 | 0
15 | 0.99851 | -0.028421 | 0 | 0
16 | 0.98929 | -0.20557 | 0.0043335 | 0.0010861
17 | 0.98905 | -0.21023 | 0 | 0
18 | 0.98885 | -0.21395 | 0 | 0
19 | 0.98573 | -0.27468 | 0 | 0
20 | 0.98592 | -0.27088 | 0 | 0
21 | 0.98495 | -0.28982 | 0.0073326 | 0.0018377
22 | 0.98783 | -0.23373 | 0 | 0
23 | 0.98637 | -0.26209 | 0 | 0
24 | 0.9884 | -0.22268 | 0.0079506 | 0.0019926
25 | 0.99215 | -0.15044 | 0 | 0
26 | 0.99012 | -0.18976 | 0 | 0
27 | 0.99127 | -0.16739 | 0.012617 | 0.003162
28 | 0.98966 | -0.19853 | 0 | 0
29 | 0.9886 | -0.21923 | 0 | 0
30 | 0.98944 | -0.20287 | 0.0017429 | 0.00043682
31 | 0.99098 | -0.17302 | 0.0086738 | 0.0021738
32 | 0.99093 | -0.174 | 0.031696 | 0.0079437
33 | 0.9844 | -0.30055 | 0.0073517 | 0.0018425
34 | 0.99005 | -0.19113 | 0.0029428 | 0.00073753
35 | 0.9876 | -0.23864 | 0 | 0
36 | 0.9875 | -0.24062 | 0.010861 | 0.002722
37 | 0.98841 | -0.22285 | 0.010865 | 0.0027231
38 | 0.98587 | -0.27192 | 0.0045918 | 0.0011508
39 | 0.98633 | -0.26283 | 0.0045215 | 0.0011332
40 | 0.99056 | -0.18119 | 0.0071673 | 0.0017963
41 | 0.98841 | -0.2229 | 0.0020822 | 0.00052185
42 | 1 | 0 | -0.22127 | -0.055894
43 | 0.98886 | -0.21384 | 0.01827 | 0.004579
44 | 0.99123 | -0.16818 | 0.0068289 | 0.0017115
45 | 0.98939 | -0.2039 | 0.0046273 | 0.0011597
46 | 0.98999 | -0.19221 | 0.0025552 | 0.00064039
47 | 0.99057 | -0.18104 | 0.014303 | 0.0035846
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0035069 | -0.0008789 | 0.003507 | 0.00087885 | 9.4366e-08 | -5.2547e-08 | 0.0053116 | 0.0053116 | 0.0053116 | 0.98242 | -0.33915 | 0.98245 | -0.33858 | 1.4592
1 | -0.003507 | -0.00087885 | 0.0035077 | 0.00087845 | 7.1663e-07 | -3.9932e-07 | 0.0053116 | 0.0053113 | 0.0053116 | 0.98245 | -0.33858 | 0.98267 | -0.33429 | 1.4592
2 | -0.013895 | -0.0034828 | 0.013907 | 0.0034894 | 1.1703e-05 | 6.5964e-06 | 0.021041 | 0.021041 | 0.021041 | 0.98267 | -0.33429 | 0.98357 | -0.31663 | 5.7805
3 | 0.010388 | 0.0026043 | -0.010384 | -0.0026024 | 3.7939e-06 | 1.9103e-06 | 0.01573 | 0.01573 | 0.01573 | 0.98267 | -0.33429 | 0.98228 | -0.34196 | 4.3214
4 | -0.013907 | -0.0034894 | 0.013918 | 0.0034954 | 1.0666e-05 | 6.01e-06 | 0.021041 | 0.021041 | 0.021041 | 0.98357 | -0.31663 | 0.9844 | -0.30055 | 5.7804
5 | -0.0064916 | -0.001627 | 0.0064931 | 0.0016274 | 1.5063e-06 | 4.2094e-07 | 0.0097552 | 0.009755 | 0.0097552 | 0.9902 | -0.18822 | 0.99045 | -0.18335 | 2.68
6 | 0.0064916 | 0.001627 | -0.0064909 | -0.0016268 | 6.4138e-07 | 1.7932e-07 | 0.0097552 | 0.0097553 | 0.0097553 | 0.9902 | -0.18822 | 0.99009 | -0.19029 | 2.68
7 | -0.0064931 | -0.0016274 | 0.0064938 | 0.0016276 | 6.6775e-07 | 1.865e-07 | 0.009755 | 0.0097549 | 0.009755 | 0.99045 | -0.18335 | 0.99056 | -0.18119 | 2.6799
8 | -0.02173 | -0.0054489 | 0.021737 | 0.0054528 | 6.3952e-06 | 3.8889e-06 | 0.032726 | 0.032726 | 0.032726 | 0.9881 | -0.22901 | 0.98841 | -0.22283 | 8.9905
9 | 0.02173 | 0.0054489 | -0.021725 | -0.0054456 | 5.511e-06 | 3.3513e-06 | 0.032726 | 0.032726 | 0.032726 | 0.9881 | -0.22901 | 0.98782 | -0.23433 | 8.9906
10 | 0.0020822 | 0.00052184 | -0.0020822 | -0.00052185 | 6.3652e-09 | -1.8066e-08 | 0.0031347 | 0.0031347 | 0.0031347 | 0.98841 | -0.22283 | 0.98841 | -0.2229 | 0.86119
11 | -0.023819 | -0.0059747 | 0.023823 | 0.0059772 | 4.0937e-06 | 2.5111e-06 | 0.03586 | 0.03586 | 0.03586 | 0.98841 | -0.22283 | 0.9886 | -0.21923 | 9.8517
12 | 0.010864 | 0.0027236 | -0.010862 | -0.0027225 | 2.2331e-06 | 1.1446e-06 | 0.016365 | 0.016366 | 0.016366 | 0.98782 | -0.23433 | 0.9876 | -0.23864 | 4.496
13 | 0.014843 | 0.0037208 | -0.014841 | -0.0037194 | 2.4342e-06 | 1.3889e-06 | 0.022264 | 0.022264 | 0.022264 | 0.99203 | -0.15265 | 0.99185 | -0.15609 | 6.1166
14 | 0.06861 | 0.017332 | -0.068445 | -0.017226 | 0.00016539 | 0.00010532 | 0.10296 | 0.10296 | 0.10296 | 0.99203 | -0.15265 | 0.98942 | -0.20307 | 28.2863
15 | 0.04041 | 0.010143 | -0.040379 | -0.010123 | 3.1225e-05 | 1.9692e-05 | 0.06062 | 0.06062 | 0.06062 | 0.99203 | -0.15265 | 0.99119 | -0.16886 | 16.6537
16 | -0.12386 | -0.031195 | 0.1246 | 0.031668 | 0.00074056 | 0.00047322 | 0.18585 | 0.18585 | 0.18585 | 0.99203 | -0.15265 | 0.99851 | -0.028421 | 51.0566
17 | 0.004334 | 0.001086 | -0.0043335 | -0.0010861 | 5.151e-07 | -8.5514e-08 | 0.006518 | 0.0065181 | 0.0065181 | 0.98942 | -0.20307 | 0.98929 | -0.20557 | 1.7907
18 | 0.01828 | 0.0045846 | -0.018274 | -0.0045809 | 6.2314e-06 | 3.7059e-06 | 0.027493 | 0.027493 | 0.027493 | 0.98942 | -0.20307 | 0.98905 | -0.21023 | 7.553
19 | 0.045831 | 0.011556 | -0.045807 | -0.011541 | 2.3838e-05 | 1.5085e-05 | 0.068951 | 0.068952 | 0.068952 | 0.98942 | -0.20307 | 0.98885 | -0.21395 | 18.9427
20 | 0.0086755 | 0.0021746 | -0.0086738 | -0.0021738 | 1.7206e-06 | 7.5262e-07 | 0.013024 | 0.013024 | 0.013024 | 0.99119 | -0.16886 | 0.99098 | -0.17302 | 3.5781
21 | 0.031703 | 0.0079485 | -0.031696 | -0.0079437 | 7.7589e-06 | 4.848e-06 | 0.047596 | 0.047596 | 0.047596 | 0.99119 | -0.16886 | 0.99093 | -0.174 | 13.0757
22 | -0.21932 | -0.055702 | 0.21962 | 0.055894 | 0.00030045 | 0.0001919 | 0.3271 | 0.3271 | 0.3271 | 0.99851 | -0.028421 | 1 | 0 | 44.9317
23 | 0.094718 | 0.024034 | -0.094166 | -0.023681 | 0.0005523 | 0.00035251 | 0.14126 | 0.14126 | 0.14126 | 0.99851 | -0.028421 | 0.99215 | -0.15044 | 38.8071
24 | 0.018274 | 0.0045809 | -0.01827 | -0.004579 | 3.144e-06 | 1.8698e-06 | 0.027493 | 0.027493 | 0.027493 | 0.98905 | -0.21023 | 0.98886 | -0.21384 | 7.553
25 | 0.045807 | 0.011541 | -0.045788 | -0.011528 | 1.9122e-05 | 1.2101e-05 | 0.068952 | 0.068952 | 0.068952 | 0.98885 | -0.21395 | 0.9884 | -0.22268 | 18.9427
26 | -0.028633 | -0.0071951 | 0.028639 | 0.0071983 | 5.1918e-06 | 3.2283e-06 | 0.043231 | 0.043231 | 0.043231 | 0.98573 | -0.27468 | 0.98592 | -0.27088 | 11.8766
27 | 0.028633 | 0.0071951 | -0.028613 | -0.0071822 | 2.0686e-05 | 1.2863e-05 | 0.043231 | 0.043231 | 0.043231 | 0.98573 | -0.27468 | 0.98495 | -0.28982 | 11.8766
28 | 0.004592 | 0.0011508 | -0.0045918 | -0.0011508 | 2.2675e-07 | -1.5409e-08 | 0.0069305 | 0.0069306 | 0.0069306 | 0.98592 | -0.27088 | 0.98587 | -0.27192 | 1.904
29 | -0.033231 | -0.0083491 | 0.033245 | 0.0083578 | 1.3943e-05 | 8.7349e-06 | 0.050161 | 0.050161 | 0.050161 | 0.98592 | -0.27088 | 0.98637 | -0.26209 | 13.7805
30 | 0.02128 | 0.0053445 | -0.021269 | -0.0053379 | 1.0888e-05 | 6.6114e-06 | 0.032153 | 0.032153 | 0.032153 | 0.98495 | -0.28982 | 0.9844 | -0.30055 | 8.8333
31 | 0.037817 | 0.0095233 | -0.037766 | -0.009491 | 5.1214e-05 | 3.2239e-05 | 0.056982 | 0.056982 | 0.056982 | 0.98783 | -0.23373 | 0.98637 | -0.26209 | 15.6545
32 | -0.037817 | -0.0095233 | 0.037837 | 0.0095358 | 1.9989e-05 | 1.2583e-05 | 0.056982 | 0.056982 | 0.056982 | 0.98783 | -0.23373 | 0.9884 | -0.22268 | 15.6545
33 | 0.0045217 | 0.0011332 | -0.0045215 | -0.0011332 | 1.596e-07 | -1.4603e-08 | 0.0068213 | 0.0068213 | 0.0068213 | 0.98637 | -0.26209 | 0.98633 | -0.26283 | 1.874
34 | 0.046699 | 0.011764 | -0.046612 | -0.011708 | 8.7657e-05 | 5.5487e-05 | 0.070061 | 0.070061 | 0.070061 | 0.99215 | -0.15044 | 0.99012 | -0.18976 | 19.2475
35 | 0.047466 | 0.011918 | -0.047428 | -0.011894 | 3.8354e-05 | 2.4286e-05 | 0.071197 | 0.071197 | 0.071197 | 0.99215 | -0.15044 | 0.99127 | -0.16739 | 19.5597
36 | 0.0054985 | 0.0013778 | -0.0054981 | -0.0013777 | 3.59e-07 | 4.9459e-08 | 0.0082634 | 0.0082634 | 0.0082634 | 0.99012 | -0.18976 | 0.99005 | -0.19113 | 2.2702
37 | 0.041113 | 0.01033 | -0.041096 | -0.01032 | 1.719e-05 | 1.0848e-05 | 0.061797 | 0.061797 | 0.061797 | 0.99012 | -0.18976 | 0.98966 | -0.19853 | 16.9773
38 | 0.034811 | 0.0087315 | -0.03481 | -0.0087307 | 1.3116e-06 | 8.2291e-07 | 0.052258 | 0.052258 | 0.052258 | 0.99127 | -0.16739 | 0.99123 | -0.16818 | 14.3567
39 | 0.034724 | 0.0087227 | -0.03469 | -0.0087012 | 3.4271e-05 | 2.1503e-05 | 0.052217 | 0.052217 | 0.052217 | 0.98966 | -0.19853 | 0.9886 | -0.21923 | 14.3454
40 | 0.0063717 | 0.0015969 | -0.0063704 | -0.0015965 | 1.3182e-06 | 3.5163e-07 | 0.0095802 | 0.0095804 | 0.0095804 | 0.98966 | -0.19853 | 0.98944 | -0.20287 | 2.632
41 | 0.010867 | 0.0027241 | -0.010865 | -0.0027231 | 1.8737e-06 | 9.5979e-07 | 0.016357 | 0.016357 | 0.016357 | 0.9886 | -0.21923 | 0.98841 | -0.22285 | 4.4937
42 | 0.0046275 | 0.0011597 | -0.0046273 | -0.0011597 | 2.2781e-07 | -1.5295e-08 | 0.0069593 | 0.0069593 | 0.0069593 | 0.98944 | -0.20287 | 0.98939 | -0.2039 | 1.9119
43 | 0.0025553 | 0.00064017 | -0.0025552 | -0.00064039 | 1.3118e-07 | -2.21e-07 | 0.0038405 | 0.0038406 | 0.0038406 | 0.99005 | -0.19113 | 0.98999 | -0.19221 | 1.0551
44 | 0.010862 | 0.0027225 | -0.010861 | -0.002722 | 1.0215e-06 | 5.2364e-07 | 0.016366 | 0.016366 | 0.016366 | 0.9876 | -0.23864 | 0.9875 | -0.24062 | 4.496
45 | -0.013661 | -0.0034239 | 0.013661 | 0.0034239 | 9.8563e-08 | 5.5046e-08 | 0.020522 | 0.020522 | 0.020522 | 0.99056 | -0.18119 | 0.99057 | -0.18104 | 5.6378
46 | 0.027981 | 0.0070192 | -0.027964 | -0.0070085 | 1.7143e-05 | 1.0638e-05 | 0.042007 | 0.042007 | 0.042007 | 0.99123 | -0.16818 | 0.99057 | -0.18104 | 11.5404

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.22355 | 0.056464

## res_load
| p_mw | q_mvar
0 | 0.0035069 | 0.0008789
1 | 0.010384 | 0.0026024
2 | 0.0064909 | 0.0016268
3 | 0.010861 | 0.002722
4 | 0.014841 | 0.0037194
5 | 0.0043335 | 0.0010861
6 | 0.0073326 | 0.0018377
7 | 0.0079506 | 0.0019926
8 | 0.012617 | 0.003162
9 | 0.0017429 | 0.00043682
10 | 0.0086738 | 0.0021738
11 | 0.031696 | 0.0079437
12 | 0.0073517 | 0.0018425
13 | 0.0029428 | 0.00073753
14 | 0.010861 | 0.002722
15 | 0.010865 | 0.0027231
16 | 0.0045918 | 0.0011508
17 | 0.0045215 | 0.0011332
18 | 0.0071673 | 0.0017963
19 | 0.0020822 | 0.00052185
20 | 0.0022737 | 0.00056984
21 | 0.01827 | 0.004579
22 | 0.0068289 | 0.0017115
23 | 0.0046273 | 0.0011597
24 | 0.0025552 | 0.00064039
25 | 0.014303 | 0.0035846

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1