## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-92_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_230-92_1_2_node_127 | 0.4 | n |  | TRUE
2 | bus_LV_230-92_1_2_node_130 | 0.4 | n |  | TRUE
3 | bus_LV_230-92_1_2_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_230-92_1_2_node_132 | 0.4 | n |  | TRUE
5 | bus_LV_230-92_1_2_node_131 | 0.4 | n |  | TRUE
6 | bus_LV_230-92_1_2_node_133 | 0.4 | n |  | TRUE
7 | bus_LV_230-92_1_2_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_230-92_1_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_230-92_1_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_230-92_1_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_230-92_1_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_230-92_1_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_230-92_1_2_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_230-92_1_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_230-92_1_2_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_230-92_1_2_node_165 | 0.4 | n |  | TRUE
17 | bus_LV_230-92_1_2_node_151 | 0.4 | n |  | TRUE
18 | bus_LV_230-92_1_2_node_169 | 0.4 | n |  | TRUE
19 | bus_LV_230-92_1_2_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_230-92_1_2_node_152 | 0.4 | n |  | TRUE
21 | bus_LV_230-92_1_2_node_160 | 0.4 | n |  | TRUE
22 | bus_LV_230-92_1_2_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_230-92_1_2_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_230-92_1_2_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_230-92_1_2_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_230-92_1_2_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_230-92_1_2_node_140 | 0.4 | n |  | TRUE
28 | bus_LV_230-92_1_2_node_141 | 0.4 | n |  | TRUE
29 | bus_LV_230-92_1_2_node_142 | 0.4 | n |  | TRUE
30 | bus_LV_230-92_1_2_node_111 | 0.4 | n |  | TRUE
31 | bus_LV_230-92_1_2_node_107 | 0.4 | n |  | TRUE
32 | bus_LV_230-92_1_2_node_143 | 0.4 | n |  | TRUE
33 | bus_LV_230-92_1_2_node_110 | 0.4 | n |  | TRUE
34 | bus_LV_230-92_1_2_node_144 | 0.4 | n |  | TRUE
35 | bus_LV_230-92_1_2_node_145 | 0.4 | n |  | TRUE
36 | bus_LV_230-92_1_2_node_135 | 0.4 | n |  | TRUE
37 | bus_LV_230-92_1_2_node_159 | 0.4 | n |  | TRUE
38 | bus_LV_230-92_1_2_node_149 | 0.4 | n |  | TRUE
39 | bus_LV_230-92_1_2_node_150 | 0.4 | n |  | TRUE
40 | bus_LV_230-92_1_2_node_153 | 0.4 | n |  | TRUE
41 | bus_LV_230-92_1_2_node_161 | 0.4 | n |  | TRUE
42 | bus_LV_230-92_1_2_node_162 | 0.4 | n |  | TRUE
43 | bus_LV_230-92_1_2_node_163 | 0.4 | n |  | TRUE
44 | bus_LV_230-92_1_2_node_166 | 0.4 | n |  | TRUE
45 | bus_LV_230-92_1_2_node_164 | 0.4 | n |  | TRUE
46 | bus_LV_230-92_1_2_node_167 | 0.4 | n |  | TRUE
47 | bus_LV_230-92_1_2_node_108 | 0.4 | n |  | TRUE
48 | bus_LV_230-92_1_2_node_109 | 0.4 | n |  | TRUE
49 | bus_MV_369_1_node_155 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-92_1_2_load_128 | 0 | 0.0066554 | 0.001668 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-92_1_2_load_127 | 1 | 0.010144 | 0.0025423 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-92_1_2_load_130 | 2 | 0.0065469 | 0.0016408 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-92_1_2_load_129 | 3 | 0.0088046 | 0.0022067 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-92_1_2_load_132 | 4 | 0.0043146 | 0.0010813 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-92_1_2_load_131 | 5 | 0.0035217 | 0.00088262 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-92_1_2_load_4 | 7 | 0.013804 | 0.0034596 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-92_1_2_load_5 | 8 | 0.085708 | 0.021481 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-92_1_2_load_9 | 11 | 0.0071627 | 0.0017951 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-92_1_2_load_10 | 12 | 0.009058 | 0.0022701 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-92_1_2_load_14 | 15 | 0.0025342 | 0.00063513 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-92_1_2_load_165 | 16 | 0.0016115 | 0.00040388 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-92_1_2_load_151 | 17 | 0.0076954 | 0.0019287 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-92_1_2_load_169 | 18 | 0.012753 | 0.0031962 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-92_1_2_load_160 | 21 | 0.0011945 | 0.00029938 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-92_1_2_load_15 | 22 | 0.0038784 | 0.00097202 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-92_1_2_load_16 | 23 | 0.0025077 | 0.0006285 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-92_1_2_load_20 | 26 | 0.0022922 | 0.00057447 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-92_1_2_load_140 | 27 | 0.0018616 | 0.00046656 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-92_1_2_load_141 | 28 | 0.0020727 | 0.00051948 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-92_1_2_load_111 | 30 | 0.0052656 | 0.0013197 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-92_1_2_load_107 | 31 | 0.0022908 | 0.00057414 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-92_1_2_load_143 | 32 | 0.0023169 | 0.00058067 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-92_1_2_load_110 | 33 | 0.0023787 | 0.00059616 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-92_1_2_load_144 | 34 | 0.003747 | 0.00093908 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-92_1_2_load_159 | 37 | 0.0012404 | 0.00031087 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-92_1_2_load_149 | 38 | 0.0016103 | 0.00040358 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-92_1_2_load_150 | 39 | 0.0037715 | 0.00094522 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-92_1_2_load_153 | 40 | 0.0056236 | 0.0014094 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-92_1_2_load_161 | 41 | 0.001741 | 0.00043632 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-92_1_2_load_162 | 42 | 0.001173 | 0.00029398 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_230-92_1_2_load_163 | 43 | 0.0016986 | 0.00042572 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_230-92_1_2_load_166 | 44 | 0.0016999 | 0.00042604 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_230-92_1_2_load_108 | 47 | 0.0025731 | 0.00064487 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-92_1_2_line_0 |  | 0 | 1 | 0.017826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-92_1_2_line_1 |  | 0 | 2 | 0.018329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-92_1_2_line_2 |  | 1 | 3 | 0.013492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-92_1_2_line_3 |  | 2 | 4 | 0.00028743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_230-92_1_2_line_4 |  | 4 | 5 | 0.028089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-92_1_2_line_5 |  | 5 | 6 | 0.050435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_230-92_1_2_line_6 |  | 6 | 36 | 0.018531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-92_1_2_line_7 |  | 7 | 8 | 0.00045603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-92_1_2_line_8 |  | 7 | 9 | 0.042898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_230-92_1_2_line_9 |  | 8 | 10 | 0.033923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_230-92_1_2_line_10 |  | 9 | 11 | 0.026881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-92_1_2_line_11 |  | 10 | 12 | 0.024491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-92_1_2_line_12 |  | 10 | 13 | 0.03294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_230-92_1_2_line_13 |  | 11 | 17 | 0.03442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_230-92_1_2_line_14 |  | 13 | 18 | 0.028995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-92_1_2_line_15 |  | 14 | 15 | 0.012273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-92_1_2_line_16 |  | 14 | 16 | 0.0075239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_230-92_1_2_line_17 |  | 16 | 40 | 0.023832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_230-92_1_2_line_18 |  | 17 | 39 | 0.013893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_230-92_1_2_line_19 |  | 18 | 46 | 0.0071051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_230-92_1_2_line_20 |  | 19 | 20 | 0.029188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-92_1_2_line_21 |  | 19 | 21 | 0.020479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_230-92_1_2_line_22 |  | 20 | 40 | 0.013419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_230-92_1_2_line_23 |  | 20 | 39 | 0.027531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-92_1_2_line_24 |  | 21 | 37 | 0.0081826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-92_1_2_line_25 |  | 22 | 23 | 0.0063575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-92_1_2_line_26 |  | 22 | 24 | 0.0060849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-92_1_2_line_27 |  | 24 | 25 | 0.024836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-92_1_2_line_28 |  | 24 | 26 | 0.014415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-92_1_2_line_29 |  | 25 | 30 | 0.035893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-92_1_2_line_30 |  | 26 | 31 | 0.00068079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_230-92_1_2_line_31 |  | 27 | 28 | 0.017637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-92_1_2_line_32 |  | 27 | 29 | 0.01685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_230-92_1_2_line_33 |  | 28 | 32 | 0.018582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-92_1_2_line_34 |  | 29 | 33 | 0.029989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_230-92_1_2_line_35 |  | 29 | 34 | 0.02977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-92_1_2_line_36 |  | 29 | 35 | 0.034196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-92_1_2_line_37 |  | 31 | 47 | 0.017418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-92_1_2_line_38 |  | 32 | 36 | 0.0067403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-92_1_2_line_39 |  | 33 | 48 | 0.028478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_230-92_1_2_line_40 |  | 34 | 37 | 0.026944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-92_1_2_line_41 |  | 35 | 38 | 0.020289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-92_1_2_line_42 |  | 41 | 42 | 0.010786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-92_1_2_line_43 |  | 42 | 43 | 0.00584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-92_1_2_line_44 |  | 43 | 44 | 0.0092061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-92_1_2_line_45 |  | 44 | 45 | 0.032111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-92_1_2_line_46 |  | 45 | 46 | 0.027417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_230-92_1_2_line_47 |  | 47 | 48 | 0.013338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-92_1_2_trafo_9 | 0.63 MVA 20/0.4 kV | 49 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2695342.3051 | 1262772.4161 | 2695328.0977 | 1262778.5979 | 2695325.9494 | 1262779.5058
1 | 2695325.9494 | 1262779.5058 | 2695309.0666 | 1262786.6407
2 | 2695354.6763 | 1262767.0333 | 2695342.3051 | 1262772.4161
3 | 2695309.0666 | 1262786.6407 | 2695308.8019 | 1262786.7525
4 | 2695282.9286 | 1262797.6869 | 2695308.8019 | 1262786.7525
5 | 2695236.4722 | 1262817.32 | 2695282.9286 | 1262797.6869
6 | 2695236.4722 | 1262817.32 | 2695228.6434 | 1262800.5137
7 | 2695397.5499 | 1262710.3984 | 2695397.9615 | 1262710.202
8 | 2695358.8345 | 1262728.8752 | 2695397.5499 | 1262710.3984
9 | 2695410.3736 | 1262741.7723 | 2695397.9615 | 1262710.202 | 2695397.9615 | 1262710.202
10 | 2695358.8345 | 1262728.8752 | 2695358.0131 | 1262732.1535 | 2695335.625 | 1262739.2997
11 | 2695410.3736 | 1262741.7723 | 2695387.7515 | 1262751.1563
12 | 2695410.3736 | 1262741.7723 | 2695415.2878 | 1262754.2728 | 2695422.5678 | 1262772.3716
13 | 2695302.1645 | 1262745.3823 | 2695316.3283 | 1262745.4591 | 2695335.625 | 1262739.2997
14 | 2695422.5678 | 1262772.3716 | 2695395.7401 | 1262783.3714
15 | 2695332.0098 | 1262697.6841 | 2695331.586 | 1262695.9314 | 2695336.0784 | 1262686.4739
16 | 2695332.0098 | 1262697.6841 | 2695330.1476 | 1262698.6882 | 2695325.5769 | 1262701.5794
17 | 2695325.5769 | 1262701.5794 | 2695305.4363 | 1262714.3193
18 | 2695302.1645 | 1262745.3823 | 2695288.2722 | 1262745.3069 | 2695288.2722 | 1262745.3069
19 | 2695389.981 | 1262787.3137 | 2695392.8206 | 1262784.5684 | 2695395.7401 | 1262783.3714
20 | 2695294.0961 | 1262721.4925 | 2695277.737 | 1262697.2871
21 | 2695277.737 | 1262697.2871 | 2695260.7322 | 1262708.699
22 | 2695294.0961 | 1262721.4925 | 2695305.4363 | 1262714.3193
23 | 2695294.0961 | 1262721.4925 | 2695295.4123 | 1262725.3724 | 2695289.3354 | 1262729.3667 | 2695288.2468 | 1262731.929 | 2695288.2722 | 1262745.3069
24 | 2695253.9378 | 1262713.2587 | 2695260.7322 | 1262708.699
25 | 2695171.1176 | 1262641.7075 | 2695168.8086 | 1262635.7841
26 | 2695173.3276 | 1262647.3769 | 2695171.1176 | 1262641.7075
27 | 2695173.3276 | 1262647.3769 | 2695149.967 | 1262655.9969
28 | 2695173.3276 | 1262647.3769 | 2695178.5594 | 1262660.8085
29 | 2695149.967 | 1262655.9969 | 2695162.1524 | 1262689.7578
30 | 2695178.8064 | 1262661.4429 | 2695178.5594 | 1262660.8085
31 | 2695212.6068 | 1262760.6884 | 2695218.8276 | 1262777.1914
32 | 2695206.8461 | 1262744.862 | 2695207.4158 | 1262746.9173 | 2695212.6068 | 1262760.6884
33 | 2695225.7872 | 1262794.4085 | 2695223.3701 | 1262789.2418 | 2695218.8276 | 1262777.1914
34 | 2695206.8461 | 1262744.862 | 2695199.6265 | 1262723.4396 | 2695200.9566 | 1262716.1773
35 | 2695206.8461 | 1262744.862 | 2695231.5652 | 1262728.273
36 | 2695178.274 | 1262763.6508 | 2695202.2845 | 1262747.8688 | 2695206.8461 | 1262744.862
37 | 2695178.8064 | 1262661.4429 | 2695185.1282 | 1262677.6729
38 | 2695228.6434 | 1262800.5137 | 2695225.7872 | 1262794.4085
39 | 2695189.9692 | 1262690.1015 | 2695192.5908 | 1262693.402 | 2695200.567 | 1262715.1035 | 2695200.9566 | 1262716.1773
40 | 2695253.9378 | 1262713.2587 | 2695231.5652 | 1262728.273
41 | 2695178.274 | 1262763.6508 | 2695189.5099 | 1262780.5443
42 | 2695345.3617 | 1262835.5655 | 2695355.3132 | 1262831.4063
43 | 2695355.3132 | 1262831.4063 | 2695360.7015 | 1262829.1543
44 | 2695369.1956 | 1262825.6042 | 2695360.7015 | 1262829.1543
45 | 2695398.8227 | 1262813.2218 | 2695369.1956 | 1262825.6042
46 | 2695389.981 | 1262787.3137 | 2695393.2222 | 1262798.8976 | 2695393.621 | 1262800.3274 | 2695398.8227 | 1262813.2218
47 | 2695189.9692 | 1262690.1015 | 2695185.1282 | 1262677.6729

## bus_geodata
| x | y | coords
0 | 2695325.9494 | 1262779.5058
1 | 2695342.3051 | 1262772.4161
2 | 2695309.0666 | 1262786.6407
3 | 2695354.6763 | 1262767.0333
4 | 2695308.8019 | 1262786.7525
5 | 2695282.9286 | 1262797.6869
6 | 2695236.4722 | 1262817.32
7 | 2695397.5499 | 1262710.3984
8 | 2695397.9615 | 1262710.202
9 | 2695358.8345 | 1262728.8752
10 | 2695410.3736 | 1262741.7723
11 | 2695335.625 | 1262739.2997
12 | 2695387.7515 | 1262751.1563
13 | 2695422.5678 | 1262772.3716
14 | 2695332.0098 | 1262697.6841
15 | 2695336.0784 | 1262686.4739
16 | 2695325.5769 | 1262701.5794
17 | 2695302.1645 | 1262745.3823
18 | 2695395.7401 | 1262783.3714
19 | 2695277.737 | 1262697.2871
20 | 2695294.0961 | 1262721.4925
21 | 2695260.7322 | 1262708.699
22 | 2695171.1176 | 1262641.7075
23 | 2695168.8086 | 1262635.7841
24 | 2695173.3276 | 1262647.3769
25 | 2695149.967 | 1262655.9969
26 | 2695178.5594 | 1262660.8085
27 | 2695212.6068 | 1262760.6884
28 | 2695218.8276 | 1262777.1914
29 | 2695206.8461 | 1262744.862
30 | 2695162.1524 | 1262689.7578
31 | 2695178.8064 | 1262661.4429
32 | 2695225.7872 | 1262794.4085
33 | 2695200.9566 | 1262716.1773
34 | 2695231.5652 | 1262728.273
35 | 2695178.274 | 1262763.6508
36 | 2695228.6434 | 1262800.5137
37 | 2695253.9378 | 1262713.2587
38 | 2695189.5099 | 1262780.5443
39 | 2695288.2722 | 1262745.3069
40 | 2695305.4363 | 1262714.3193
41 | 2695345.3617 | 1262835.5655
42 | 2695355.3132 | 1262831.4063
43 | 2695360.7015 | 1262829.1543
44 | 2695369.1956 | 1262825.6042
45 | 2695398.8227 | 1262813.2218
46 | 2695389.981 | 1262787.3137
47 | 2695185.1282 | 1262677.6729
48 | 2695189.9692 | 1262690.1015
49 | 2695335.625 | 1262739.2997

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97955 | -0.3938 | 0.0066554 | 0.001668
1 | 0.97924 | -0.39994 | 0.010144 | 0.0025423
2 | 0.97999 | -0.38528 | 0.0065469 | 0.0016408
3 | 0.97913 | -0.4021 | 0.0088046 | 0.0022067
4 | 0.98 | -0.38511 | 0.0043146 | 0.0010813
5 | 0.98095 | -0.36654 | 0.0035217 | 0.00088262
6 | 0.98281 | -0.33008 | 0 | 0
7 | 0.99185 | -0.15652 | 0.013804 | 0.0034596
8 | 0.9918 | -0.15744 | 0.085708 | 0.021481
9 | 0.99686 | -0.059991 | 0 | 0
10 | 0.99093 | -0.17436 | 0 | 0
11 | 1 | 0 | -0.22809 | -0.057655
12 | 0.99073 | -0.1783 | 0.009058 | 0.0022701
13 | 0.99036 | -0.18552 | 0 | 0
14 | 0.99342 | -0.12533 | 0 | 0
15 | 0.99339 | -0.12588 | 0.0025342 | 0.00063513
16 | 0.99343 | -0.12499 | 0.0016115 | 0.00040388
17 | 0.99694 | -0.058055 | 0.0076954 | 0.0019287
18 | 0.98985 | -0.19535 | 0.012753 | 0.0031962
19 | 0.99161 | -0.15978 | 0 | 0
20 | 0.99364 | -0.12093 | 0 | 0
21 | 0.99019 | -0.18713 | 0.0011945 | 0.00029938
22 | 0.98415 | -0.30417 | 0.0038784 | 0.00097202
23 | 0.98414 | -0.30446 | 0.0025077 | 0.0006285
24 | 0.98419 | -0.30347 | 0 | 0
25 | 0.98407 | -0.30583 | 0 | 0
26 | 0.98434 | -0.30045 | 0.0022922 | 0.00057447
27 | 0.9852 | -0.28364 | 0.0018616 | 0.00046656
28 | 0.98448 | -0.29771 | 0.0020727 | 0.00051948
29 | 0.98592 | -0.26966 | 0 | 0
30 | 0.98389 | -0.30923 | 0.0052656 | 0.0013197
31 | 0.98435 | -0.30028 | 0.0022908 | 0.00057414
32 | 0.98375 | -0.31186 | 0.0023169 | 0.00058067
33 | 0.98534 | -0.28106 | 0.0023787 | 0.00059616
34 | 0.98782 | -0.23287 | 0.003747 | 0.00093908
35 | 0.98587 | -0.27065 | 0 | 0
36 | 0.9835 | -0.31671 | 0 | 0
37 | 0.98963 | -0.1979 | 0.0012404 | 0.00031087
38 | 0.98584 | -0.27123 | 0.0016103 | 0.00040358
39 | 0.9958 | -0.079708 | 0.0037715 | 0.00094522
40 | 0.99352 | -0.12325 | 0.0056236 | 0.0014094
41 | 0.98939 | -0.20423 | 0.001741 | 0.00043632
42 | 0.98941 | -0.20389 | 0.001173 | 0.00029398
43 | 0.98942 | -0.20359 | 0.0016986 | 0.00042572
44 | 0.98946 | -0.20283 | 0.0016999 | 0.00042604
45 | 0.98965 | -0.19923 | 0 | 0
46 | 0.98981 | -0.19614 | 0 | 0
47 | 0.98461 | -0.29519 | 0.0025731 | 0.00064487
48 | 0.98484 | -0.29069 | 0 | 0
49 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.018955 | 0.0047527 | -0.018949 | -0.0047493 | 5.5426e-06 | 3.3229e-06 | 0.028795 | 0.028795 | 0.028795 | 0.97955 | -0.3938 | 0.97924 | -0.39994 | 7.9106
1 | -0.02561 | -0.0064207 | 0.025621 | 0.0064271 | 1.0403e-05 | 6.4271e-06 | 0.038905 | 0.038905 | 0.038905 | 0.97955 | -0.3938 | 0.97999 | -0.38528 | 10.6881
2 | 0.0088056 | 0.0022071 | -0.0088046 | -0.0022067 | 9.0583e-07 | 4.1002e-07 | 0.013381 | 0.013381 | 0.013381 | 0.97924 | -0.39994 | 0.97913 | -0.4021 | 3.676
3 | -0.032168 | -0.0080679 | 0.032168 | 0.0080681 | 2.5716e-07 | 1.6096e-07 | 0.048845 | 0.048845 | 0.048845 | 0.97999 | -0.38528 | 0.98 | -0.38511 | 13.4191
4 | -0.036482 | -0.0091494 | 0.036515 | 0.0091697 | 3.2325e-05 | 2.0333e-05 | 0.055397 | 0.055397 | 0.055397 | 0.98 | -0.38511 | 0.98095 | -0.36654 | 15.2189
5 | -0.040036 | -0.010052 | 0.040106 | 0.010096 | 6.9773e-05 | 4.4017e-05 | 0.060739 | 0.060738 | 0.060739 | 0.98095 | -0.36654 | 0.98281 | -0.33008 | 16.6864
6 | -0.040106 | -0.010096 | 0.040132 | 0.010113 | 2.5636e-05 | 1.6172e-05 | 0.060738 | 0.060738 | 0.060738 | 0.98281 | -0.33008 | 0.9835 | -0.31671 | 16.6864
7 | 0.11388 | 0.028559 | -0.11388 | -0.028556 | 4.9922e-06 | 3.1891e-06 | 0.17086 | 0.17086 | 0.17086 | 0.99185 | -0.15652 | 0.9918 | -0.15744 | 46.9389
8 | -0.12769 | -0.032018 | 0.12828 | 0.032396 | 0.00059035 | 0.00037727 | 0.19157 | 0.19157 | 0.19157 | 0.99185 | -0.15652 | 0.99686 | -0.059991 | 52.6283
9 | 0.02817 | 0.0070751 | -0.028147 | -0.007061 | 2.2728e-05 | 1.4108e-05 | 0.042268 | 0.042269 | 0.042269 | 0.9918 | -0.15744 | 0.99093 | -0.17436 | 11.6122
10 | -0.12828 | -0.032396 | 0.12865 | 0.032632 | 0.00036992 | 0.0002364 | 0.19157 | 0.19157 | 0.19157 | 0.99686 | -0.059991 | 1 | 0 | 52.6282
11 | 0.0090597 | 0.0022709 | -0.009058 | -0.0022701 | 1.6998e-06 | 7.7246e-07 | 0.013604 | 0.013605 | 0.013605 | 0.99093 | -0.17436 | 0.99073 | -0.1783 | 3.7375
12 | 0.019087 | 0.0047901 | -0.019077 | -0.004784 | 1.0149e-05 | 6.0714e-06 | 0.028664 | 0.028664 | 0.028664 | 0.99093 | -0.17436 | 0.99036 | -0.18552 | 7.8748
13 | 0.097795 | 0.025023 | -0.097521 | -0.024848 | 0.00027401 | 0.00017492 | 0.1457 | 0.1457 | 0.1457 | 1 | 0 | 0.99694 | -0.058055 | 40.0281
14 | 0.019077 | 0.004784 | -0.019068 | -0.0047787 | 8.9339e-06 | 5.3448e-06 | 0.028664 | 0.028664 | 0.028664 | 0.99036 | -0.18552 | 0.98985 | -0.19535 | 7.8748
15 | 0.0025343 | 0.00063502 | -0.0025342 | -0.00063513 | 6.6321e-08 | -1.1646e-07 | 0.003796 | 0.003796 | 0.003796 | 0.99342 | -0.12533 | 0.99339 | -0.12588 | 1.0429
16 | -0.0025343 | -0.00063502 | 0.0025343 | 0.00063494 | 4.0656e-08 | -7.1395e-08 | 0.003796 | 0.0037959 | 0.003796 | 0.99342 | -0.12533 | 0.99343 | -0.12499 | 1.0429
17 | -0.0041458 | -0.0010388 | 0.0041461 | 0.0010387 | 3.446e-07 | -8.8043e-08 | 0.0062097 | 0.0062096 | 0.0062097 | 0.99343 | -0.12499 | 0.99352 | -0.12325 | 1.706
18 | 0.089825 | 0.02292 | -0.089731 | -0.02286 | 9.3848e-05 | 5.9882e-05 | 0.13422 | 0.13422 | 0.13422 | 0.99694 | -0.058055 | 0.9958 | -0.079708 | 36.8726
19 | 0.006315 | 0.0015825 | -0.0063147 | -0.0015824 | 2.4011e-07 | 6.2345e-08 | 0.0094931 | 0.0094931 | 0.0094931 | 0.98985 | -0.19535 | 0.98981 | -0.19614 | 2.608
20 | -0.075876 | -0.019266 | 0.076018 | 0.019357 | 0.00014212 | 9.058e-05 | 0.11395 | 0.11395 | 0.11395 | 0.99161 | -0.15978 | 0.99364 | -0.12093 | 31.3046
21 | 0.075876 | 0.019266 | -0.075777 | -0.019203 | 9.9715e-05 | 6.3554e-05 | 0.11395 | 0.11395 | 0.11395 | 0.99161 | -0.15978 | 0.99019 | -0.18713 | 31.3047
22 | 0.0097708 | 0.0024487 | -0.0097698 | -0.0024481 | 1.0773e-06 | 5.1571e-07 | 0.014632 | 0.014632 | 0.014632 | 0.99364 | -0.12093 | 0.99352 | -0.12325 | 4.0198
23 | -0.085789 | -0.021806 | 0.08596 | 0.021915 | 0.00017069 | 0.00010888 | 0.12858 | 0.12858 | 0.12858 | 0.99364 | -0.12093 | 0.9958 | -0.079708 | 35.3244
24 | 0.074582 | 0.018903 | -0.074543 | -0.018879 | 3.8597e-05 | 2.4597e-05 | 0.11215 | 0.11215 | 0.11215 | 0.99019 | -0.18713 | 0.98963 | -0.1979 | 30.8115
25 | 0.0025078 | 0.00062844 | -0.0025077 | -0.0006285 | 3.4276e-08 | -5.8845e-08 | 0.0037917 | 0.0037917 | 0.0037917 | 0.98415 | -0.30417 | 0.98414 | -0.30446 | 1.0417
26 | -0.0063862 | -0.0016005 | 0.0063864 | 0.0016005 | 2.1274e-07 | 5.8833e-08 | 0.0096557 | 0.0096557 | 0.0096557 | 0.98415 | -0.30417 | 0.98419 | -0.30347 | 2.6527
27 | 0.0052671 | 0.0013198 | -0.0052665 | -0.0013198 | 5.9062e-07 | 6.2426e-08 | 0.0079633 | 0.0079634 | 0.0079634 | 0.98419 | -0.30347 | 0.98407 | -0.30583 | 2.1878
28 | -0.011653 | -0.0029204 | 0.011655 | 0.0029212 | 1.678e-06 | 8.9072e-07 | 0.017619 | 0.017619 | 0.017619 | 0.98419 | -0.30347 | 0.98434 | -0.30045 | 4.8404
29 | 0.0052665 | 0.0013198 | -0.0052656 | -0.0013197 | 8.5358e-07 | 9.0372e-08 | 0.0079634 | 0.0079636 | 0.0079636 | 0.98407 | -0.30583 | 0.98389 | -0.30923 | 2.1878
30 | -0.013947 | -0.0034957 | 0.013947 | 0.0034958 | 1.1349e-07 | 6.3978e-08 | 0.021084 | 0.021084 | 0.021084 | 0.98434 | -0.30045 | 0.98435 | -0.30028 | 5.7923
31 | 0.04459 | 0.011256 | -0.04456 | -0.011237 | 3.0023e-05 | 1.899e-05 | 0.067376 | 0.067376 | 0.067376 | 0.9852 | -0.28364 | 0.98448 | -0.29771 | 18.5098
32 | -0.046451 | -0.011722 | 0.046482 | 0.011742 | 3.1127e-05 | 1.9707e-05 | 0.070187 | 0.070187 | 0.070187 | 0.9852 | -0.28364 | 0.98592 | -0.26966 | 19.2822
33 | 0.042487 | 0.010717 | -0.042458 | -0.010699 | 2.8759e-05 | 1.817e-05 | 0.064243 | 0.064243 | 0.064243 | 0.98448 | -0.29771 | 0.98375 | -0.31186 | 17.6491
34 | 0.021218 | 0.0053278 | -0.021207 | -0.0053208 | 1.1536e-05 | 7.0006e-06 | 0.032027 | 0.032028 | 0.032028 | 0.98592 | -0.26966 | 0.98534 | -0.28106 | 8.7988
35 | -0.069311 | -0.017473 | 0.069433 | 0.017551 | 0.00012225 | 7.7858e-05 | 0.10464 | 0.10464 | 0.10464 | 0.98592 | -0.26966 | 0.98782 | -0.23287 | 28.7486
36 | 0.0016104 | 0.00040297 | -0.0016104 | -0.00040335 | 7.5749e-08 | -3.8759e-07 | 0.0024304 | 0.0024305 | 0.0024305 | 0.98592 | -0.26966 | 0.98587 | -0.27065 | 0.66772
37 | -0.016238 | -0.0040699 | 0.016242 | 0.0040722 | 3.9357e-06 | 2.2974e-06 | 0.024547 | 0.024547 | 0.024547 | 0.98435 | -0.30028 | 0.98461 | -0.29519 | 6.7437
38 | 0.040141 | 0.010118 | -0.040132 | -0.010113 | 9.3247e-06 | 5.8823e-06 | 0.060738 | 0.060738 | 0.060738 | 0.98375 | -0.31186 | 0.9835 | -0.31671 | 16.6864
39 | 0.018828 | 0.0047247 | -0.018819 | -0.0047195 | 8.635e-06 | 5.1638e-06 | 0.028435 | 0.028435 | 0.028435 | 0.98534 | -0.28106 | 0.98484 | -0.29069 | 7.8119
40 | -0.07318 | -0.01849 | 0.073303 | 0.018568 | 0.0001229 | 7.831e-05 | 0.11029 | 0.11029 | 0.11029 | 0.98782 | -0.23287 | 0.98963 | -0.1979 | 30.2992
41 | 0.0016104 | 0.00040335 | -0.0016103 | -0.00040358 | 4.4947e-08 | -2.2993e-07 | 0.0024305 | 0.0024306 | 0.0024306 | 0.98587 | -0.27065 | 0.98584 | -0.27123 | 0.66775
42 | -0.001741 | -0.00043632 | 0.001741 | 0.0004362 | 2.7728e-08 | -1.2077e-07 | 0.0026183 | 0.0026183 | 0.0026183 | 0.98939 | -0.20423 | 0.98941 | -0.20389 | 0.71933
43 | -0.002914 | -0.00073018 | 0.002914 | 0.00073013 | 4.206e-08 | -4.8086e-08 | 0.0043824 | 0.0043824 | 0.0043824 | 0.98941 | -0.20389 | 0.98942 | -0.20359 | 1.204
44 | -0.0046126 | -0.0011559 | 0.0046128 | 0.0011558 | 1.6613e-07 | -1.1919e-08 | 0.006937 | 0.0069369 | 0.006937 | 0.98942 | -0.20359 | 0.98946 | -0.20283 | 1.9058
45 | -0.0063127 | -0.0015819 | 0.0063138 | 0.0015822 | 1.0852e-06 | 2.8202e-07 | 0.0094934 | 0.0094932 | 0.0094934 | 0.98946 | -0.20283 | 0.98965 | -0.19923 | 2.6081
46 | -0.0063138 | -0.0015822 | 0.0063147 | 0.0015824 | 9.2657e-07 | 2.4066e-07 | 0.0094932 | 0.0094931 | 0.0094932 | 0.98965 | -0.19923 | 0.98981 | -0.19614 | 2.608
47 | -0.018815 | -0.0047171 | 0.018819 | 0.0047195 | 4.0443e-06 | 2.4187e-06 | 0.028435 | 0.028435 | 0.028435 | 0.98461 | -0.29519 | 0.98484 | -0.29069 | 7.8119

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.23525 | 0.059451

## res_load
| p_mw | q_mvar
0 | 0.0066554 | 0.001668
1 | 0.010144 | 0.0025423
2 | 0.0065469 | 0.0016408
3 | 0.0088046 | 0.0022067
4 | 0.0043146 | 0.0010813
5 | 0.0035217 | 0.00088262
6 | 0.013804 | 0.0034596
7 | 0.085708 | 0.021481
8 | 0.0071627 | 0.0017951
9 | 0.009058 | 0.0022701
10 | 0.0025342 | 0.00063513
11 | 0.0016115 | 0.00040388
12 | 0.0076954 | 0.0019287
13 | 0.012753 | 0.0031962
14 | 0.0011945 | 0.00029938
15 | 0.0038784 | 0.00097202
16 | 0.0025077 | 0.0006285
17 | 0.0022922 | 0.00057447
18 | 0.0018616 | 0.00046656
19 | 0.0020727 | 0.00051948
20 | 0.0052656 | 0.0013197
21 | 0.0022908 | 0.00057414
22 | 0.0023169 | 0.00058067
23 | 0.0023787 | 0.00059616
24 | 0.003747 | 0.00093908
25 | 0.0012404 | 0.00031087
26 | 0.0016103 | 0.00040358
27 | 0.0037715 | 0.00094522
28 | 0.0056236 | 0.0014094
29 | 0.001741 | 0.00043632
30 | 0.001173 | 0.00029398
31 | 0.0016986 | 0.00042572
32 | 0.0016999 | 0.00042604
33 | 0.0025731 | 0.00064487

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1