## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_230-94_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_230-94_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_230-94_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_230-94_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_230-94_0_5_node_50 | 0.4 | n |  | TRUE
5 | bus_LV_230-94_0_5_node_68 | 0.4 | n |  | TRUE
6 | bus_LV_230-94_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_230-94_0_5_node_46 | 0.4 | n |  | TRUE
8 | bus_LV_230-94_0_5_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_230-94_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_230-94_0_5_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_230-94_0_5_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_230-94_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_230-94_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_230-94_0_5_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_230-94_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_230-94_0_5_node_64 | 0.4 | n |  | TRUE
17 | bus_LV_230-94_0_5_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_230-94_0_5_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_230-94_0_5_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_230-94_0_5_node_62 | 0.4 | n |  | TRUE
21 | bus_LV_230-94_0_5_node_60 | 0.4 | n |  | TRUE
22 | bus_LV_230-94_0_5_node_44 | 0.4 | n |  | TRUE
23 | bus_LV_230-94_0_5_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_230-94_0_5_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_230-94_0_5_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_230-94_0_5_node_69 | 0.4 | n |  | TRUE
27 | bus_LV_230-94_0_5_node_70 | 0.4 | n |  | TRUE
28 | bus_LV_230-94_0_5_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_230-94_0_5_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_230-94_0_5_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_230-94_0_5_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_230-94_0_5_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_230-94_0_5_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_230-94_0_5_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_230-94_0_5_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_230-94_0_5_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_230-94_0_5_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_230-94_0_5_node_67 | 0.4 | n |  | TRUE
39 | bus_LV_230-94_0_5_node_66 | 0.4 | n |  | TRUE
40 | bus_LV_230-94_0_5_node_76 | 0.4 | n |  | TRUE
41 | bus_LV_230-94_0_5_node_73 | 0.4 | n |  | TRUE
42 | bus_LV_230-94_0_5_node_16 | 0.4 | n |  | TRUE
43 | bus_LV_230-94_0_5_node_14 | 0.4 | n |  | TRUE
44 | bus_LV_230-94_0_5_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_230-94_0_5_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_230-94_0_5_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_230-94_0_5_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_230-94_0_5_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_230-94_0_5_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_230-94_0_5_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_230-94_0_5_node_71 | 0.4 | n |  | TRUE
52 | bus_LV_230-94_0_5_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_230-94_0_5_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_230-94_0_5_node_75 | 0.4 | n |  | TRUE
55 | bus_LV_230-94_0_5_node_24 | 0.4 | n |  | TRUE
56 | bus_LV_230-94_0_5_node_26 | 0.4 | n |  | TRUE
57 | bus_LV_230-94_0_5_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_230-94_0_5_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_230-94_0_5_node_35 | 0.4 | n |  | TRUE
60 | bus_LV_230-94_0_5_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_230-94_0_5_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_230-94_0_5_node_53 | 0.4 | n |  | TRUE
63 | bus_MV_370_0_node_167 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_230-94_0_5_load_0 | 0 | 0.0054093 | 0.0013557 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_230-94_0_5_load_2 | 2 | 0.0035931 | 0.00090051 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_230-94_0_5_load_50 | 4 | 0.0035951 | 0.00090102 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_230-94_0_5_load_68 | 5 | 0.003957 | 0.00099171 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_230-94_0_5_load_42 | 8 | 0.0066192 | 0.0016589 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_230-94_0_5_load_27 | 11 | 0.0056314 | 0.0014114 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_230-94_0_5_load_25 | 14 | 0.0020885 | 0.00052343 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_230-94_0_5_load_64 | 16 | 0.0022917 | 0.00057437 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_230-94_0_5_load_48 | 17 | 0.0060629 | 0.0015195 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_230-94_0_5_load_40 | 18 | 0.0060883 | 0.0015259 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_230-94_0_5_load_49 | 19 | 0.0087514 | 0.0021933 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_230-94_0_5_load_62 | 20 | 0.0067294 | 0.0016865 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_230-94_0_5_load_60 | 21 | 0.0029929 | 0.0007501 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_230-94_0_5_load_44 | 22 | 0.018423 | 0.0046172 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_230-94_0_5_load_43 | 23 | 0.0063939 | 0.0016025 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_230-94_0_5_load_69 | 26 | 0.0065114 | 0.0016319 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_230-94_0_5_load_51 | 31 | 0.0035931 | 0.00090051 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_230-94_0_5_load_55 | 34 | 0.018479 | 0.0046312 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_230-94_0_5_load_22 | 36 | 0.014757 | 0.0036986 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_230-94_0_5_load_56 | 37 | 0.013475 | 0.0033772 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_230-94_0_5_load_67 | 38 | 0.0063839 | 0.0016 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_230-94_0_5_load_76 | 40 | 0.0064966 | 0.0016282 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_230-94_0_5_load_14 | 43 | 0.019599 | 0.004912 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_230-94_0_5_load_61 | 46 | 0.0029104 | 0.00072941 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_230-94_0_5_load_28 | 47 | 0.0026582 | 0.00066622 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_230-94_0_5_load_23 | 48 | 0.0039707 | 0.00099515 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_230-94_0_5_load_58 | 49 | 0.0092039 | 0.0023067 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_230-94_0_5_load_39 | 50 | 0.0060987 | 0.0015285 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_230-94_0_5_load_71 | 51 | 0.0063815 | 0.0015994 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_230-94_0_5_load_65 | 52 | 0.0063802 | 0.001599 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_230-94_0_5_load_52 | 53 | 0.0035952 | 0.00090103 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_230-94_0_5_load_75 | 54 | 0.0065303 | 0.0016367 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_230-94_0_5_load_24 | 55 | 0.0011975 | 0.00030012 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_230-94_0_5_load_26 | 56 | 0.002324 | 0.00058245 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_230-94_0_5_load_32 | 57 | 0.007648 | 0.0019168 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_230-94_0_5_load_41 | 60 | 0.0060712 | 0.0015216 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_230-94_0_5_load_74 | 61 | 0.0065472 | 0.0016409 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_230-94_0_5_load_53 | 62 | 0.0035931 | 0.00090051 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_230-94_0_5_line_0 |  | 0 | 1 | 0.016856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_230-94_0_5_line_1 |  | 1 | 2 | 0.0098121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_230-94_0_5_line_2 |  | 1 | 3 | 0.11051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_230-94_0_5_line_3 |  | 2 | 4 | 0.01929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_230-94_0_5_line_4 |  | 3 | 5 | 0.1117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_230-94_0_5_line_5 |  | 4 | 19 | 0.01929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_230-94_0_5_line_6 |  | 6 | 7 | 0.015958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_230-94_0_5_line_7 |  | 6 | 8 | 0.03598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_230-94_0_5_line_8 |  | 7 | 25 | 0.023123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_230-94_0_5_line_9 |  | 7 | 17 | 0.018495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_230-94_0_5_line_10 |  | 7 | 24 | 0.023898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_230-94_0_5_line_11 |  | 8 | 23 | 0.016321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_230-94_0_5_line_12 |  | 9 | 10 | 0.28832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_230-94_0_5_line_13 |  | 9 | 11 | 0.034487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_230-94_0_5_line_14 |  | 10 | 20 | 0.06245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_230-94_0_5_line_15 |  | 10 | 21 | 0.077455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_230-94_0_5_line_16 |  | 11 | 47 | 0.029975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_230-94_0_5_line_17 |  | 12 | 13 | 0.20169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_230-94_0_5_line_18 |  | 12 | 14 | 0.028975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_230-94_0_5_line_19 |  | 13 | 15 | 0.99328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_230-94_0_5_line_20 |  | 13 | 16 | 0.077136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_230-94_0_5_line_21 |  | 14 | 48 | 0.031609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_230-94_0_5_line_22 |  | 15 | 17 | 0.015427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_230-94_0_5_line_23 |  | 15 | 18 | 0.014096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_230-94_0_5_line_24 |  | 16 | 49 | 0.13039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_230-94_0_5_line_25 |  | 18 | 50 | 0.016614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_230-94_0_5_line_26 |  | 19 | 24 | 0.013108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_230-94_0_5_line_27 |  | 20 | 44 | 0.064891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_230-94_0_5_line_28 |  | 22 | 23 | 0.02126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_230-94_0_5_line_29 |  | 25 | 26 | 0.01249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_230-94_0_5_line_30 |  | 25 | 27 | 0.016428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_230-94_0_5_line_31 |  | 27 | 61 | 0.011465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_230-94_0_5_line_32 |  | 27 | 41 | 0.016336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_230-94_0_5_line_33 |  | 28 | 29 | 0.072633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_230-94_0_5_line_34 |  | 28 | 30 | 0.070106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_230-94_0_5_line_35 |  | 28 | 31 | 0.012892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_230-94_0_5_line_36 |  | 29 | 52 | 0.011883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_230-94_0_5_line_37 |  | 29 | 39 | 0.021375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_230-94_0_5_line_38 |  | 30 | 40 | 0.011873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_230-94_0_5_line_39 |  | 30 | 41 | 0.016362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_230-94_0_5_line_40 |  | 31 | 53 | 0.019295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_230-94_0_5_line_41 |  | 32 | 33 | 0.086401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_230-94_0_5_line_42 |  | 32 | 34 | 0.0053374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_230-94_0_5_line_43 |  | 33 | 38 | 0.01758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_230-94_0_5_line_44 |  | 33 | 39 | 0.02052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_230-94_0_5_line_45 |  | 34 | 37 | 0.023945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_230-94_0_5_line_46 |  | 35 | 36 | 0.010305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_230-94_0_5_line_47 |  | 35 | 37 | 0.0069208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_230-94_0_5_line_48 |  | 36 | 42 | 0.0055057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_230-94_0_5_line_49 |  | 39 | 51 | 0.017363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_230-94_0_5_line_50 |  | 41 | 54 | 0.011457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_230-94_0_5_line_51 |  | 42 | 43 | 0.019585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_230-94_0_5_line_52 |  | 44 | 45 | 0.032753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_230-94_0_5_line_53 |  | 45 | 46 | 0.037417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_230-94_0_5_line_54 |  | 47 | 56 | 0.024686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_230-94_0_5_line_55 |  | 48 | 55 | 0.07835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_230-94_0_5_line_56 |  | 49 | 59 | 0.064174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_230-94_0_5_line_57 |  | 50 | 60 | 0.014376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_230-94_0_5_line_58 |  | 53 | 62 | 0.016228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_230-94_0_5_line_59 |  | 55 | 56 | 0.038208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_230-94_0_5_line_60 |  | 57 | 58 | 0.0057959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_230-94_0_5_line_61 |  | 58 | 59 | 0.13631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_230-94_0_5_trafo_20 | 0.63 MVA 20/0.4 kV | 63 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54
0 | 2695224.9844 | 1258863.5489 | 2695241.838 | 1258863.2464
1 | 2695224.9844 | 1258863.5489 | 2695221.1567 | 1258869.9591 | 2695221.2116 | 1258872.3045
2 | 2695155.0726 | 1258845.1654 | 2695151.0503 | 1258858.9896 | 2695194.5411 | 1258843.8101 | 2695216.0807 | 1258843.8566 | 2695216.0129 | 1258854.1526 | 2695224.7672 | 1258854.0934 | 2695224.9844 | 1258863.5489
3 | 2695221.6628 | 1258891.5891 | 2695221.2116 | 1258872.3045
4 | 2695155.0726 | 1258845.1654 | 2695163.7776 | 1258839.2673 | 2695189.4657 | 1258830.7736 | 2695202.3512 | 1258823.7197 | 2695224.8231 | 1258812.6945 | 2695229.0622 | 1258806.0241 | 2695255.8377 | 1258805.8659
5 | 2695222.114 | 1258910.8737 | 2695221.6628 | 1258891.5891
6 | 2695226.0844 | 1258946.9444 | 2695225.92 | 1258938.4239 | 2695220.0857 | 1258943.0337
7 | 2695226.0844 | 1258946.9444 | 2695232.4644 | 1258953.8637 | 2695232.6428 | 1258980.4315
8 | 2695240.5686 | 1258932.8329 | 2695239.1826 | 1258933.222 | 2695232.5645 | 1258935.9399 | 2695225.92 | 1258938.4239 | 2695220.0857 | 1258943.0337
9 | 2695220.0857 | 1258943.0337 | 2695219.6836 | 1258945.0622 | 2695217.7145 | 1258947.955 | 2695208.2343 | 1258956.7446
10 | 2695222.4206 | 1258923.9782 | 2695225.6742 | 1258925.5985 | 2695225.92 | 1258938.4239 | 2695220.0857 | 1258943.0337
11 | 2695232.6428 | 1258980.4315 | 2695232.7524 | 1258996.7522
12 | 2695378.3705 | 1258274.2588 | 2695400.6815 | 1258271.4939 | 2695403.8933 | 1258271.5123 | 2695406.9851 | 1258271.9625 | 2695409.7909 | 1258272.8418 | 2695412.2763 | 1258273.9605 | 2695417.3117 | 1258276.8551 | 2695424.4074 | 1258281.0395 | 2695430.3761 | 1258284.0381 | 2695437.7263 | 1258286.9367 | 2695436.4711 | 1258291.8315 | 2695434.5713 | 1258301.1527 | 2695432.401 | 1258318.3648 | 2695431.1078 | 1258329.3527 | 2695430.6164 | 1258334.1042 | 2695428.7144 | 1258350.5755 | 2695425.592 | 1258378.2028 | 2695420.2851 | 1258423.9205 | 2695416.2541 | 1258459.7285 | 2695414.3714 | 1258476.4115 | 2695411.6101 | 1258500.8198 | 2695410.5579 | 1258510.4217
13 | 2695410.5579 | 1258510.4217 | 2695378.2737 | 1258508.4442 | 2695376.1318 | 1258508.4764
14 | 2695378.3705 | 1258274.2588 | 2695419.2054 | 1258227.0097
15 | 2695378.3705 | 1258274.2588 | 2695371.1166 | 1258274.7423 | 2695366.3046 | 1258274.3533 | 2695361.3062 | 1258272.905 | 2695357.1613 | 1258270.8921 | 2695337.1406 | 1258258.8156 | 2695333.4735 | 1258256.1655 | 2695331.2888 | 1258253.7061 | 2695329.9408 | 1258251.2603 | 2695329.1995 | 1258248.6018 | 2695329.1147 | 1258246.3764 | 2695329.5229 | 1258243.9699 | 2695330.5366 | 1258241.4287 | 2695332.2389 | 1258238.7317 | 2695337.7059 | 1258232.6135
16 | 2695376.1318 | 1258508.4764 | 2695374.4036 | 1258508.5709 | 2695372.7009 | 1258508.9549 | 2695371.0826 | 1258509.7183 | 2695369.4704 | 1258511.0378 | 2695368.1332 | 1258512.6064 | 2695367.1599 | 1258514.5145 | 2695366.5975 | 1258516.6627 | 2695366.2885 | 1258519.4599 | 2695366.7051 | 1258532.8416
17 | 2695412.0656 | 1258714.22 | 2695417.7614 | 1258714.0117 | 2695436.7379 | 1258712.1939 | 2695445.9404 | 1258711.008 | 2695452.9148 | 1258709.1301 | 2695465.6571 | 1258703.0419 | 2695479.6823 | 1258691.7479 | 2695494.2338 | 1258676.8152 | 2695496.9983 | 1258673.2347 | 2695500.0886 | 1258677.032 | 2695503.9837 | 1258682.8217 | 2695504.876 | 1258688.2627 | 2695489.4983 | 1258736.62 | 2695485.1722 | 1258756.5995 | 2695483.6977 | 1258770.876
18 | 2695412.0656 | 1258714.22 | 2695403.8426 | 1258714.5099 | 2695392.2962 | 1258709.0973 | 2695387.4271 | 1258702.7561
19 | 2695194.8377 | 1258961.6869 | 2695171.6002 | 1258982.8413 | 2695172.9338 | 1258989.9239 | 2695176.749 | 1258993.6549 | 2695173.8101 | 1258996.3765 | 2695169.0343 | 1259000.8033 | 2695164.358 | 1259005.1427 | 2695168.5395 | 1259010.9367 | 2695170.1238 | 1259015.5548 | 2695170.448 | 1259016.4941 | 2695176.832 | 1259037.2133 | 2695181.5836 | 1259055.3709 | 2695194.0683 | 1259069.4385 | 2695209.2544 | 1259085.6958 | 2695252.4457 | 1259132.0835 | 2695259.264 | 1259138.9209 | 2695281.4196 | 1259163.3749 | 2695288.5157 | 1259173.5528 | 2695294.3309 | 1259184.622 | 2695297.7843 | 1259194.8858 | 2695303.3387 | 1259214.1796 | 2695309.2579 | 1259235.6365 | 2695311.5901 | 1259244.3589 | 2695317.6647 | 1259242.5997 | 2695322.473 | 1259259.0681 | 2695323.658 | 1259262.2564 | 2695325.9872 | 1259265.0851 | 2695329.5282 | 1259266.6323 | 2695332.7345 | 1259266.962 | 2695335.5621 | 1259266.4627 | 2695393.1993 | 1259244.8518 | 2695399.0393 | 1259242.6887 | 2695403.8021 | 1259239.5296 | 2695407.0958 | 1259235.8464 | 2695409.2614 | 1259231.0552 | 2695410.0111 | 1259226.6416 | 2695410.2329 | 1259223.1757 | 2695416.5708 | 1259223.3224 | 2695425.1991 | 1259223.5617 | 2695426.9933 | 1259154.4242 | 2695428.9002 | 1259154.4549 | 2695460.7852 | 1259155.2586 | 2695469.9364 | 1259155.8067 | 2695470.2487 | 1259132.2595 | 2695469.8717 | 1259100.9728 | 2695469.4658 | 1259056.9977 | 2695469.2958 | 1259012.4148 | 2695469.5272 | 1258991.0793 | 2695470.1038 | 1258968.9041 | 2695471.4758 | 1258925.0133 | 2695473.4791 | 1258886.3814 | 2695476.1175 | 1258849.0496 | 2695479.373 | 1258809.4482 | 2695481.258 | 1258789.8296 | 2695483.6977 | 1258770.876
20 | 2695483.6977 | 1258770.876 | 2695496.7837 | 1258770.5758 | 2695529.0899 | 1258770.6416 | 2695545.6611 | 1258764.6265 | 2695549.6629 | 1258766.1367 | 2695553.7748 | 1258771.096 | 2695553.5064 | 1258774.4766
21 | 2695376.6917 | 1258673.6721 | 2695377.4009 | 1258681.3239 | 2695382.7775 | 1258696.7006 | 2695387.4271 | 1258702.7561
22 | 2695194.8377 | 1258961.6869 | 2695202.6599 | 1258961.9129 | 2695208.2343 | 1258956.7446
23 | 2695194.8377 | 1258961.6869 | 2695180.7421 | 1258961.6826
24 | 2695553.5064 | 1258774.4766 | 2695681.6628 | 1258798.5047
25 | 2695180.7421 | 1258961.6826 | 2695164.1286 | 1258961.6775
26 | 2695222.4206 | 1258923.9782 | 2695222.114 | 1258910.8737
27 | 2695453.9366 | 1258173.9412 | 2695452.2938 | 1258182.288 | 2695451.545 | 1258186.1679 | 2695451.0398 | 1258188.039 | 2695450.4249 | 1258189.6971 | 2695449.4973 | 1258191.5725 | 2695448.2539 | 1258193.3984 | 2695419.2054 | 1258227.0097
28 | 2695232.8967 | 1259018.0122 | 2695232.8386 | 1259009.2808 | 2695232.7861 | 1259001.7739 | 2695232.7524 | 1258996.7522
29 | 2695240.5059 | 1258920.3441 | 2695240.5686 | 1258932.8329
30 | 2695256.6774 | 1258929.7341 | 2695249.1346 | 1258930.4132 | 2695240.5686 | 1258932.8329
31 | 2695256.6774 | 1258929.7341 | 2695256.7641 | 1258918.2707
32 | 2695256.6774 | 1258929.7341 | 2695272.9877 | 1258928.1731
33 | 2695310.6147 | 1258881.0523 | 2695345.8247 | 1258880.0742 | 2695359.0777 | 1258894.6549 | 2695359.0238 | 1258912.4905
34 | 2695289.3338 | 1258926.724 | 2695292.6257 | 1258926.4323 | 2695298.485 | 1258926.8269 | 2695301.5088 | 1258927.7319 | 2695308.38 | 1258930.8339 | 2695311.0442 | 1258923.1707 | 2695310.6147 | 1258881.0523
35 | 2695310.6147 | 1258881.0523 | 2695310.4852 | 1258868.1609
36 | 2695359.0238 | 1258912.4905 | 2695347.1069 | 1258912.3095
37 | 2695359.0238 | 1258912.4905 | 2695364.3616 | 1258912.4987 | 2695364.4498 | 1258928.5352
38 | 2695289.0727 | 1258914.8547 | 2695289.3338 | 1258926.724
39 | 2695272.9877 | 1258928.1731 | 2695289.3338 | 1258926.724
40 | 2695310.4852 | 1258868.1609 | 2695310.2913 | 1258848.8664
41 | 2695340.9969 | 1259011.1791 | 2695348.3334 | 1259011.1306 | 2695348.2735 | 1258991.9365 | 2695348.2502 | 1258984.4968 | 2695356.0794 | 1258989.4269 | 2695358.9863 | 1258985.4261 | 2695364.7152 | 1258977.5343 | 2695364.5638 | 1258949.0535
42 | 2695340.9969 | 1259011.1791 | 2695335.6634 | 1259011.3822
43 | 2695364.5638 | 1258949.0535 | 2695346.9324 | 1258948.8582
44 | 2695364.4498 | 1258928.5352 | 2695364.5638 | 1258949.0535
45 | 2695335.6634 | 1259011.3822 | 2695328.7172 | 1259012.9383 | 2695311.8945 | 1259013.2975
46 | 2695304.9753 | 1259013.4452 | 2695294.6731 | 1259013.6684 | 2695294.6726 | 1259013.6685
47 | 2695304.9753 | 1259013.4452 | 2695311.8945 | 1259013.2975
48 | 2695289.3431 | 1259015.0504 | 2695294.6726 | 1259013.6685
49 | 2695364.4498 | 1258928.5352 | 2695347.0348 | 1258928.4768
50 | 2695272.9877 | 1258928.1731 | 2695272.8631 | 1258916.7175
51 | 2695289.3431 | 1259015.0504 | 2695269.759 | 1259015.2731
52 | 2695453.9366 | 1258173.9412 | 2695452.7609 | 1258171.0977 | 2695451.532 | 1258167.8197 | 2695450.2585 | 1258163.5625 | 2695445.0417 | 1258142.4615
53 | 2695445.0417 | 1258142.4615 | 2695434.4741 | 1258142.2131 | 2695430.2143 | 1258142.1778 | 2695426.1597 | 1258142.5127 | 2695422.848 | 1258143.0709 | 2695419.1897 | 1258144.0794 | 2695416.2706 | 1258145.5446 | 2695414.0541 | 1258147.3881 | 2695412.0611 | 1258149.402 | 2695410.4739 | 1258151.1784
54 | 2695366.7051 | 1258532.8416 | 2695367.4733 | 1258557.5158
55 | 2695376.6917 | 1258673.6721 | 2695369.4616 | 1258595.6561
56 | 2695694.7207 | 1258847.0227 | 2695697.2334 | 1258815.6827 | 2695688.1337 | 1258814.7126 | 2695680.0276 | 1258813.8475 | 2695681.6628 | 1258798.5047
57 | 2695149.7526 | 1258961.6731 | 2695164.1286 | 1258961.6775
58 | 2695310.1283 | 1258832.6391 | 2695310.2913 | 1258848.8664
59 | 2695369.4616 | 1258595.6561 | 2695368.2555 | 1258582.6421 | 2695367.4733 | 1258557.5158
60 | 2695813.5535 | 1258820.8131 | 2695813.7094 | 1258815.0193
61 | 2695694.7207 | 1258847.0227 | 2695812.7957 | 1258838.7374 | 2695813.5535 | 1258820.8131

## bus_geodata
| x | y | coords
0 | 2695241.838 | 1258863.2464
1 | 2695224.9844 | 1258863.5489
2 | 2695221.2116 | 1258872.3045
3 | 2695155.0726 | 1258845.1654
4 | 2695221.6628 | 1258891.5891
5 | 2695255.8377 | 1258805.8659
6 | 2695226.0844 | 1258946.9444
7 | 2695220.0857 | 1258943.0337
8 | 2695232.6428 | 1258980.4315
9 | 2695410.5579 | 1258510.4217
10 | 2695378.3705 | 1258274.2588
11 | 2695376.1318 | 1258508.4764
12 | 2695412.0656 | 1258714.22
13 | 2695483.6977 | 1258770.876
14 | 2695387.4271 | 1258702.7561
15 | 2695194.8377 | 1258961.6869
16 | 2695553.5064 | 1258774.4766
17 | 2695208.2343 | 1258956.7446
18 | 2695180.7421 | 1258961.6826
19 | 2695222.114 | 1258910.8737
20 | 2695419.2054 | 1258227.0097
21 | 2695337.7059 | 1258232.6135
22 | 2695232.8967 | 1259018.0122
23 | 2695232.7524 | 1258996.7522
24 | 2695222.4206 | 1258923.9782
25 | 2695240.5686 | 1258932.8329
26 | 2695240.5059 | 1258920.3441
27 | 2695256.6774 | 1258929.7341
28 | 2695310.6147 | 1258881.0523
29 | 2695359.0238 | 1258912.4905
30 | 2695289.3338 | 1258926.724
31 | 2695310.4852 | 1258868.1609
32 | 2695340.9969 | 1259011.1791
33 | 2695364.5638 | 1258949.0535
34 | 2695335.6634 | 1259011.3822
35 | 2695304.9753 | 1259013.4452
36 | 2695294.6726 | 1259013.6685
37 | 2695311.8945 | 1259013.2975
38 | 2695346.9324 | 1258948.8582
39 | 2695364.4498 | 1258928.5352
40 | 2695289.0727 | 1258914.8547
41 | 2695272.9877 | 1258928.1731
42 | 2695289.3431 | 1259015.0504
43 | 2695269.759 | 1259015.2731
44 | 2695453.9366 | 1258173.9412
45 | 2695445.0417 | 1258142.4615
46 | 2695410.4739 | 1258151.1784
47 | 2695366.7051 | 1258532.8416
48 | 2695376.6917 | 1258673.6721
49 | 2695681.6628 | 1258798.5047
50 | 2695164.1286 | 1258961.6775
51 | 2695347.0348 | 1258928.4768
52 | 2695347.1069 | 1258912.3095
53 | 2695310.2913 | 1258848.8664
54 | 2695272.8631 | 1258916.7175
55 | 2695369.4616 | 1258595.6561
56 | 2695367.4733 | 1258557.5158
57 | 2695813.7094 | 1258815.0193
58 | 2695813.5535 | 1258820.8131
59 | 2695694.7207 | 1258847.0227
60 | 2695149.7526 | 1258961.6731
61 | 2695256.7641 | 1258918.2707
62 | 2695310.1283 | 1258832.6391
63 | 2695290.9444 | 1258881.5137

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99199 | -0.1533 | 0.0054093 | 0.0013557
1 | 0.99208 | -0.15169 | 0 | 0
2 | 0.99216 | -0.15006 | 0.0035931 | 0.00090051
3 | 0.99168 | -0.15945 | 0 | 0
4 | 0.99239 | -0.14563 | 0.0035951 | 0.00090102
5 | 0.99127 | -0.16729 | 0.003957 | 0.00099171
6 | 0.99308 | -0.13229 | 0 | 0
7 | 0.99354 | -0.12342 | 0 | 0
8 | 0.99204 | -0.1523 | 0.0066192 | 0.0016589
9 | 0.97367 | -0.50856 | 0 | 0
10 | 0.97197 | -0.54215 | 0 | 0
11 | 0.9738 | -0.50588 | 0.0056314 | 0.0014114
12 | 0.97556 | -0.47127 | 0 | 0
13 | 0.97747 | -0.43371 | 0 | 0
14 | 0.97528 | -0.47668 | 0.0020885 | 0.00052343
15 | 0.99279 | -0.13769 | 0 | 0
16 | 0.97609 | -0.46071 | 0.0022917 | 0.00057437
17 | 0.99311 | -0.1315 | 0.0060629 | 0.0015195
18 | 0.99255 | -0.14224 | 0.0060883 | 0.0015259
19 | 0.99268 | -0.13998 | 0.0087514 | 0.0021933
20 | 0.97141 | -0.55326 | 0.0067294 | 0.0016865
21 | 0.97175 | -0.54643 | 0.0029929 | 0.0007501
22 | 0.99131 | -0.16642 | 0.018423 | 0.0046172
23 | 0.99167 | -0.15947 | 0.0063939 | 0.0016025
24 | 0.99298 | -0.13411 | 0 | 0
25 | 0.99446 | -0.10562 | 0 | 0
26 | 0.99439 | -0.10706 | 0.0065114 | 0.0016319
27 | 0.99516 | -0.092369 | 0 | 0
28 | 1 | 0 | -0.25771 | -0.065265
29 | 0.99429 | -0.10882 | 0 | 0
30 | 0.99663 | -0.064167 | 0 | 0
31 | 0.99987 | -0.0024232 | 0.0035931 | 0.00090051
32 | 0.98608 | -0.26724 | 0 | 0
33 | 0.99136 | -0.16508 | 0 | 0
34 | 0.98576 | -0.27359 | 0.018479 | 0.0046312
35 | 0.98448 | -0.29843 | 0 | 0
36 | 0.98416 | -0.3048 | 0.014757 | 0.0036986
37 | 0.9847 | -0.29415 | 0.013475 | 0.0033772
38 | 0.99126 | -0.16707 | 0.0063839 | 0.0016
39 | 0.99273 | -0.13866 | 0 | 0
40 | 0.99656 | -0.06552 | 0.0064966 | 0.0016282
41 | 0.99588 | -0.078582 | 0 | 0
42 | 0.98406 | -0.30674 | 0 | 0
43 | 0.9837 | -0.31365 | 0.019599 | 0.004912
44 | 0.97123 | -0.55676 | 0 | 0
45 | 0.97114 | -0.55852 | 0 | 0
46 | 0.97104 | -0.56053 | 0.0029104 | 0.00072941
47 | 0.97397 | -0.50252 | 0.0026582 | 0.00066622
48 | 0.975 | -0.48218 | 0.0039707 | 0.00099515
49 | 0.97405 | -0.50101 | 0.0092039 | 0.0023067
50 | 0.99237 | -0.14582 | 0.0060987 | 0.0015285
51 | 0.99263 | -0.14062 | 0.0063815 | 0.0015994
52 | 0.99422 | -0.11015 | 0.0063802 | 0.001599
53 | 0.99975 | -0.0048419 | 0.0035952 | 0.00090103
54 | 0.99581 | -0.079897 | 0.0065303 | 0.0016367
55 | 0.97441 | -0.49391 | 0.0011975 | 0.00030012
56 | 0.97413 | -0.49936 | 0.002324 | 0.00058245
57 | 0.97258 | -0.53005 | 0.007648 | 0.0019168
58 | 0.97262 | -0.52923 | 0 | 0
59 | 0.97359 | -0.51004 | 0 | 0
60 | 0.99229 | -0.14736 | 0.0060712 | 0.0015216
61 | 0.99509 | -0.093691 | 0.0065472 | 0.0016409
62 | 0.9997 | -0.0058588 | 0.0035931 | 0.00090051
63 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0054093 | -0.0013557 | 0.0054097 | 0.0013558 | 4.1617e-07 | 4.8717e-08 | 0.0081141 | 0.0081141 | 0.0081141 | 0.99199 | -0.1533 | 0.99208 | -0.15169 | 2.2292
1 | -0.0093697 | -0.0023465 | 0.0093704 | 0.0023468 | 7.2665e-07 | 3.3835e-07 | 0.014053 | 0.014053 | 0.014053 | 0.99208 | -0.15169 | 0.99216 | -0.15006 | 3.8607
2 | 0.0039599 | 0.00099073 | -0.0039585 | -0.00099122 | 1.4618e-06 | -4.9081e-07 | 0.0059389 | 0.0059394 | 0.0059394 | 0.99208 | -0.15169 | 0.99168 | -0.15945 | 1.6317
3 | -0.012963 | -0.0032473 | 0.012966 | 0.0032488 | 2.7342e-06 | 1.5007e-06 | 0.019442 | 0.019442 | 0.019442 | 0.99216 | -0.15006 | 0.99239 | -0.14563 | 5.3411
4 | 0.0039585 | 0.00099122 | -0.003957 | -0.00099171 | 1.4778e-06 | -4.9477e-07 | 0.0059394 | 0.0059399 | 0.0059399 | 0.99168 | -0.15945 | 0.99127 | -0.16729 | 1.6318
5 | -0.016561 | -0.0041498 | 0.016566 | 0.0041525 | 4.4606e-06 | 2.6055e-06 | 0.024832 | 0.024832 | 0.024832 | 0.99239 | -0.14563 | 0.99268 | -0.13998 | 6.822
6 | -0.03148 | -0.0079062 | 0.031494 | 0.0079145 | 1.3318e-05 | 8.3171e-06 | 0.047176 | 0.047176 | 0.047176 | 0.99308 | -0.13229 | 0.99354 | -0.12342 | 12.9604
7 | 0.03148 | 0.0079062 | -0.03145 | -0.0078874 | 3.0029e-05 | 1.8753e-05 | 0.047176 | 0.047176 | 0.047176 | 0.99308 | -0.13229 | 0.99204 | -0.1523 | 12.9604
8 | -0.13176 | -0.033354 | 0.13187 | 0.033425 | 0.0001127 | 7.1226e-05 | 0.19746 | 0.19746 | 0.19746 | 0.99354 | -0.12342 | 0.99446 | -0.10562 | 18.0822
9 | 0.074931 | 0.019082 | -0.074902 | -0.019064 | 2.9173e-05 | 1.7952e-05 | 0.11233 | 0.11233 | 0.11233 | 0.99354 | -0.12342 | 0.99311 | -0.1315 | 10.2868
10 | 0.025337 | 0.0063581 | -0.025324 | -0.0063501 | 1.2907e-05 | 7.9512e-06 | 0.03795 | 0.03795 | 0.03795 | 0.99354 | -0.12342 | 0.99298 | -0.13411 | 10.4259
11 | 0.024831 | 0.0062285 | -0.024823 | -0.0062233 | 8.4913e-06 | 5.2238e-06 | 0.037247 | 0.037248 | 0.037248 | 0.99204 | -0.1523 | 0.99167 | -0.15947 | 10.2328
12 | 0.01266 | 0.0031728 | -0.012639 | -0.003167 | 2.0238e-05 | 5.7931e-06 | 0.019347 | 0.01935 | 0.01935 | 0.97367 | -0.50856 | 0.97197 | -0.54215 | 2.6579
13 | -0.01266 | -0.0031728 | 0.012661 | 0.0031725 | 1.6136e-06 | -2.5427e-07 | 0.019347 | 0.019347 | 0.019347 | 0.97367 | -0.50856 | 0.9738 | -0.50588 | 1.7717
14 | 0.0096459 | 0.0024174 | -0.0096408 | -0.0024149 | 5.107e-06 | 2.4949e-06 | 0.014767 | 0.014767 | 0.014767 | 0.97197 | -0.54215 | 0.97141 | -0.55326 | 4.057
15 | 0.0029935 | 0.00074953 | -0.0029929 | -0.0007501 | 6.1002e-07 | -5.6936e-07 | 0.0045826 | 0.004583 | 0.004583 | 0.97197 | -0.54215 | 0.97175 | -0.54643 | 1.2591
16 | -0.018293 | -0.0045839 | 0.018296 | 0.0045846 | 2.9274e-06 | 7.546e-07 | 0.027952 | 0.027951 | 0.027952 | 0.9738 | -0.50588 | 0.97397 | -0.50252 | 2.5597
17 | -0.030573 | -0.0076689 | 0.030628 | 0.0076964 | 5.4828e-05 | 2.752e-05 | 0.046635 | 0.046632 | 0.046635 | 0.97556 | -0.47127 | 0.97747 | -0.43371 | 4.2706
18 | 0.030573 | 0.0076689 | -0.030565 | -0.0076649 | 7.877e-06 | 3.9563e-06 | 0.046635 | 0.046635 | 0.046635 | 0.97556 | -0.47127 | 0.97528 | -0.47668 | 4.2706
19 | -0.049839 | -0.012532 | 0.050554 | 0.012952 | 0.00071487 | 0.00041957 | 0.075886 | 0.075872 | 0.075886 | 0.97747 | -0.43371 | 0.99279 | -0.13769 | 6.9493
20 | 0.019211 | 0.0048361 | -0.019187 | -0.0048212 | 2.4754e-05 | 1.4877e-05 | 0.029254 | 0.029254 | 0.029254 | 0.97747 | -0.43371 | 0.97609 | -0.46071 | 8.0368
21 | 0.028476 | 0.0071415 | -0.028469 | -0.0071379 | 7.459e-06 | 3.5908e-06 | 0.043449 | 0.043449 | 0.043449 | 0.97528 | -0.47668 | 0.975 | -0.48218 | 3.9789
22 | -0.068819 | -0.017532 | 0.068839 | 0.017544 | 2.0557e-05 | 1.2558e-05 | 0.10325 | 0.10325 | 0.10325 | 0.99279 | -0.13769 | 0.99311 | -0.1315 | 9.455
23 | 0.018265 | 0.0045795 | -0.018261 | -0.0045772 | 3.9615e-06 | 2.3531e-06 | 0.027376 | 0.027376 | 0.027376 | 0.99279 | -0.13769 | 0.99255 | -0.14224 | 7.521
24 | 0.016895 | 0.0042468 | -0.016862 | -0.0042277 | 3.2448e-05 | 1.914e-05 | 0.02576 | 0.025761 | 0.025761 | 0.97609 | -0.46071 | 0.97405 | -0.50101 | 7.0771
25 | 0.012172 | 0.0030513 | -0.01217 | -0.0030502 | 2.0747e-06 | 1.1132e-06 | 0.018249 | 0.018249 | 0.018249 | 0.99255 | -0.14224 | 0.99237 | -0.14582 | 5.0134
26 | -0.025317 | -0.0063458 | 0.025324 | 0.0063501 | 7.0796e-06 | 4.3614e-06 | 0.03795 | 0.03795 | 0.03795 | 0.99268 | -0.13998 | 0.99298 | -0.13411 | 10.426
27 | 0.0029114 | 0.00072838 | -0.0029109 | -0.00072888 | 4.8391e-07 | -4.9348e-07 | 0.0044593 | 0.0044596 | 0.0044596 | 0.97141 | -0.55326 | 0.97123 | -0.55676 | 1.2252
28 | -0.018423 | -0.0046172 | 0.018429 | 0.0046208 | 6.0968e-06 | 3.6278e-06 | 0.027653 | 0.027653 | 0.027653 | 0.99131 | -0.16642 | 0.99167 | -0.15947 | 7.5971
29 | 0.0065118 | 0.001632 | -0.0065114 | -0.0016319 | 4.4467e-07 | 1.2255e-07 | 0.0097436 | 0.0097437 | 0.0097437 | 0.99446 | -0.10562 | 0.99439 | -0.10706 | 2.6768
30 | -0.13839 | -0.035057 | 0.13847 | 0.035113 | 8.8161e-05 | 5.5783e-05 | 0.2072 | 0.2072 | 0.2072 | 0.99446 | -0.10562 | 0.99516 | -0.092369 | 18.9744
31 | 0.0065476 | 0.001641 | -0.0065472 | -0.0016409 | 4.121e-07 | 1.148e-07 | 0.0097904 | 0.0097904 | 0.0097904 | 0.99516 | -0.092369 | 0.99509 | -0.093691 | 2.6897
32 | -0.14502 | -0.036754 | 0.14512 | 0.036815 | 9.6148e-05 | 6.0897e-05 | 0.21699 | 0.21699 | 0.21699 | 0.99516 | -0.092369 | 0.99588 | -0.078582 | 19.871
33 | 0.086535 | 0.022104 | -0.086083 | -0.021815 | 0.00045265 | 0.00028875 | 0.12891 | 0.12891 | 0.12891 | 1 | 0 | 0.99429 | -0.10882 | 35.4158
34 | 0.15874 | 0.040458 | -0.15825 | -0.040147 | 0.00048994 | 0.00031081 | 0.23645 | 0.23645 | 0.23645 | 1 | 0 | 0.99663 | -0.064167 | 21.6528
35 | 0.010784 | 0.0027029 | -0.010782 | -0.0027022 | 1.2448e-06 | 6.2756e-07 | 0.016046 | 0.016046 | 0.016046 | 1 | 0 | 0.99987 | -0.0024232 | 4.4083
36 | 0.0063806 | 0.0015991 | -0.0063802 | -0.001599 | 4.0632e-07 | 1.0594e-07 | 0.009549 | 0.009549 | 0.009549 | 0.99429 | -0.10882 | 0.99422 | -0.11015 | 2.6234
37 | 0.079702 | 0.020216 | -0.079588 | -0.020143 | 0.0001142 | 7.2813e-05 | 0.11936 | 0.11936 | 0.11936 | 0.99429 | -0.10882 | 0.99273 | -0.13866 | 32.7925
38 | 0.006497 | 0.0016283 | -0.0064966 | -0.0016282 | 4.1896e-07 | 1.1343e-07 | 0.0097004 | 0.0097005 | 0.0097005 | 0.99663 | -0.064167 | 0.99656 | -0.06552 | 2.665
39 | 0.15175 | 0.038518 | -0.15165 | -0.038452 | 0.00010516 | 6.6661e-05 | 0.22675 | 0.22675 | 0.22675 | 0.99663 | -0.064167 | 0.99588 | -0.078582 | 20.7645
40 | 0.0071893 | 0.0018017 | -0.0071884 | -0.0018014 | 8.2829e-07 | 2.7706e-07 | 0.010699 | 0.010699 | 0.010699 | 0.99987 | -0.0024232 | 0.99975 | -0.0048419 | 2.9393
41 | -0.066403 | -0.016677 | 0.066728 | 0.016885 | 0.0003254 | 0.00020715 | 0.10022 | 0.10022 | 0.10022 | 0.98608 | -0.26724 | 0.99136 | -0.16508 | 27.5319
42 | 0.066403 | 0.016677 | -0.066383 | -0.016665 | 2.0102e-05 | 1.2797e-05 | 0.10022 | 0.10022 | 0.10022 | 0.98608 | -0.26724 | 0.98576 | -0.27359 | 27.5319
43 | 0.0063845 | 0.0016001 | -0.0063839 | -0.0016 | 6.0544e-07 | 1.6083e-07 | 0.0095831 | 0.0095832 | 0.0095832 | 0.99136 | -0.16508 | 0.99126 | -0.16707 | 2.6327
44 | -0.073113 | -0.018485 | 0.073206 | 0.018544 | 9.2769e-05 | 5.9107e-05 | 0.1098 | 0.1098 | 0.1098 | 0.99136 | -0.16508 | 0.99273 | -0.13866 | 30.1645
45 | 0.047904 | 0.012033 | -0.047857 | -0.012004 | 4.6966e-05 | 2.9753e-05 | 0.072322 | 0.072322 | 0.072322 | 0.98576 | -0.27359 | 0.9847 | -0.29415 | 19.8687
46 | 0.034375 | 0.0086221 | -0.034365 | -0.0086155 | 1.0433e-05 | 6.5462e-06 | 0.05196 | 0.05196 | 0.05196 | 0.98448 | -0.29843 | 0.98416 | -0.3048 | 14.2746
47 | -0.034375 | -0.0086221 | 0.034382 | 0.0086265 | 7.0067e-06 | 4.3963e-06 | 0.05196 | 0.051959 | 0.05196 | 0.98448 | -0.29843 | 0.9847 | -0.29415 | 14.2746
48 | 0.019607 | 0.0049169 | -0.019605 | -0.0049158 | 1.8147e-06 | 1.0914e-06 | 0.029647 | 0.029647 | 0.029647 | 0.98416 | -0.3048 | 0.98406 | -0.30674 | 8.1447
49 | 0.0063821 | 0.0015995 | -0.0063815 | -0.0015994 | 5.9585e-07 | 1.5688e-07 | 0.0095662 | 0.0095663 | 0.0095663 | 0.99273 | -0.13866 | 0.99263 | -0.14062 | 2.6281
50 | 0.0065307 | 0.0016368 | -0.0065303 | -0.0016367 | 4.091e-07 | 1.1277e-07 | 0.0097581 | 0.0097581 | 0.0097581 | 0.99588 | -0.078582 | 0.99581 | -0.079897 | 2.6808
51 | 0.019605 | 0.0049158 | -0.019599 | -0.004912 | 6.4553e-06 | 3.8827e-06 | 0.029647 | 0.029647 | 0.029647 | 0.98406 | -0.30674 | 0.9837 | -0.31365 | 8.1447
52 | 0.0029109 | 0.00072888 | -0.0029107 | -0.00072913 | 2.4427e-07 | -2.4895e-07 | 0.0044596 | 0.0044597 | 0.0044597 | 0.97123 | -0.55676 | 0.97114 | -0.55852 | 1.2252
53 | 0.0029107 | 0.00072913 | -0.0029104 | -0.00072941 | 2.7908e-07 | -2.843e-07 | 0.0044597 | 0.0044599 | 0.0044599 | 0.97114 | -0.55852 | 0.97104 | -0.56053 | 1.2252
54 | -0.020954 | -0.0052508 | 0.020957 | 0.0052519 | 3.1623e-06 | 1.102e-06 | 0.032013 | 0.032012 | 0.032013 | 0.97397 | -0.50252 | 0.97413 | -0.49936 | 2.9316
55 | 0.024498 | 0.0061428 | -0.024485 | -0.0061369 | 1.3692e-05 | 5.8331e-06 | 0.037389 | 0.03739 | 0.03739 | 0.975 | -0.48218 | 0.97441 | -0.49391 | 3.424
56 | 0.0076585 | 0.001921 | -0.0076552 | -0.0019197 | 3.2945e-06 | 1.3101e-06 | 0.0117 | 0.011701 | 0.011701 | 0.97405 | -0.50101 | 0.97359 | -0.51004 | 3.2144
57 | 0.0060717 | 0.0015217 | -0.0060712 | -0.0015216 | 4.4685e-07 | 1.0026e-07 | 0.0091042 | 0.0091043 | 0.0091043 | 0.99237 | -0.14582 | 0.99229 | -0.14736 | 2.5012
58 | 0.0035933 | 0.00090041 | -0.0035931 | -0.00090051 | 1.7406e-07 | -1.0138e-07 | 0.0053481 | 0.0053482 | 0.0053482 | 0.99975 | -0.0048419 | 0.9997 | -0.0058588 | 1.4693
59 | 0.023287 | 0.0058368 | -0.023281 | -0.0058344 | 6.04e-06 | 2.4382e-06 | 0.035562 | 0.035562 | 0.035562 | 0.97441 | -0.49391 | 0.97413 | -0.49936 | 3.2566
60 | -0.007648 | -0.0019168 | 0.0076483 | 0.0019169 | 2.9758e-07 | 1.1853e-07 | 0.011701 | 0.011701 | 0.011701 | 0.97258 | -0.53005 | 0.97262 | -0.52923 | 3.2146
61 | -0.0076483 | -0.0019169 | 0.0076552 | 0.0019197 | 6.9981e-06 | 2.7855e-06 | 0.011701 | 0.011701 | 0.011701 | 0.97262 | -0.52923 | 0.97359 | -0.51004 | 3.2146

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.25771 | 0.065265

## res_load
| p_mw | q_mvar
0 | 0.0054093 | 0.0013557
1 | 0.0035931 | 0.00090051
2 | 0.0035951 | 0.00090102
3 | 0.003957 | 0.00099171
4 | 0.0066192 | 0.0016589
5 | 0.0056314 | 0.0014114
6 | 0.0020885 | 0.00052343
7 | 0.0022917 | 0.00057437
8 | 0.0060629 | 0.0015195
9 | 0.0060883 | 0.0015259
10 | 0.0087514 | 0.0021933
11 | 0.0067294 | 0.0016865
12 | 0.0029929 | 0.0007501
13 | 0.018423 | 0.0046172
14 | 0.0063939 | 0.0016025
15 | 0.0065114 | 0.0016319
16 | 0.0035931 | 0.00090051
17 | 0.018479 | 0.0046312
18 | 0.014757 | 0.0036986
19 | 0.013475 | 0.0033772
20 | 0.0063839 | 0.0016
21 | 0.0064966 | 0.0016282
22 | 0.019599 | 0.004912
23 | 0.0029104 | 0.00072941
24 | 0.0026582 | 0.00066622
25 | 0.0039707 | 0.00099515
26 | 0.0092039 | 0.0023067
27 | 0.0060987 | 0.0015285
28 | 0.0063815 | 0.0015994
29 | 0.0063802 | 0.001599
30 | 0.0035952 | 0.00090103
31 | 0.0065303 | 0.0016367
32 | 0.0011975 | 0.00030012
33 | 0.002324 | 0.00058245
34 | 0.007648 | 0.0019168
35 | 0.0060712 | 0.0015216
36 | 0.0065472 | 0.0016409
37 | 0.0035931 | 0.00090051

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1