## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2407-15_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2407-15_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2407-15_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2407-15_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2407-15_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2407-15_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2407-15_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2407-15_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_2407-15_0_3_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_2407-15_0_3_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_2407-15_0_3_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_2407-15_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_2407-15_0_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_2407-15_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2407-15_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_2407-15_0_3_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_2407-15_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_2407-15_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_2407-15_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_2407-15_0_3_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_2407-15_0_3_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_2407-15_0_3_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_2407-15_0_3_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_2407-15_0_3_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_2407-15_0_3_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_2407-15_0_3_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_2407-15_0_3_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_2407-15_0_3_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_2407-15_0_3_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_2407-15_0_3_node_11 | 0.4 | n |  | TRUE
30 | bus_LV_2407-15_0_3_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_2407-15_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_2407-15_0_3_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_2407-15_0_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_2407-15_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_2407-15_0_3_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_2407-15_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_2407-15_0_3_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_2407-15_0_3_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_2407-15_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_2407-15_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_2407-15_0_3_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_2407-15_0_3_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_2407-15_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_2407-15_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_MV_479_0_node_163 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2407-15_0_3_load_0 | 0 | 0.0011554 | 0.00028956 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2407-15_0_3_load_1 | 1 | 0.0026614 | 0.00066701 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2407-15_0_3_load_3 | 3 | 0.00070617 | 0.00017698 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2407-15_0_3_load_5 | 5 | 0.0035429 | 0.00088794 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2407-15_0_3_load_18 | 7 | 0.0010424 | 0.00026125 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2407-15_0_3_load_29 | 8 | 0.0011771 | 0.00029501 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2407-15_0_3_load_26 | 9 | 0.00044948 | 0.00011265 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2407-15_0_3_load_19 | 10 | 0.01962 | 0.0049173 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2407-15_0_3_load_14 | 11 | 0.0058576 | 0.0014681 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2407-15_0_3_load_17 | 12 | 0.0011952 | 0.00029954 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2407-15_0_3_load_12 | 14 | 0.0078296 | 0.0019623 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2407-15_0_3_load_7 | 16 | 0.00064895 | 0.00016264 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2407-15_0_3_load_9 | 18 | 0.0040094 | 0.0010048 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2407-15_0_3_load_38 | 19 | 0.0014058 | 0.00035232 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2407-15_0_3_load_33 | 20 | 0.0016911 | 0.00042384 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2407-15_0_3_load_43 | 21 | 0.002123 | 0.00053208 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2407-15_0_3_load_34 | 22 | 0.0015276 | 0.00038285 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2407-15_0_3_load_46 | 25 | 0.0017655 | 0.00044249 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2407-15_0_3_load_45 | 27 | 0.0012512 | 0.00031357 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2407-15_0_3_load_44 | 28 | 0.00043617 | 0.00010931 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2407-15_0_3_load_11 | 29 | 0.0065659 | 0.0016456 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2407-15_0_3_load_13 | 30 | 0.001171 | 0.00029347 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2407-15_0_3_load_15 | 31 | 0.00067999 | 0.00017042 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2407-15_0_3_load_31 | 33 | 0.0012455 | 0.00031215 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2407-15_0_3_load_23 | 34 | 0.0025384 | 0.00063619 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2407-15_0_3_load_30 | 35 | 0.0019019 | 0.00047666 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2407-15_0_3_load_24 | 36 | 0.00047258 | 0.00011844 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2407-15_0_3_load_20 | 37 | 0.00098403 | 0.00024662 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2407-15_0_3_load_21 | 38 | 0.0057125 | 0.0014317 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2407-15_0_3_load_35 | 39 | 0.01094 | 0.0027418 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2407-15_0_3_load_25 | 40 | 0.00060047 | 0.00015049 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2407-15_0_3_load_42 | 41 | 0.00087985 | 0.00022051 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2407-15_0_3_load_39 | 44 | 0.00087653 | 0.00021968 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2407-15_0_3_line_0 |  | 0 | 1 | 0.051658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2407-15_0_3_line_1 |  | 0 | 2 | 0.029815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2407-15_0_3_line_2 |  | 1 | 3 | 0.020864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2407-15_0_3_line_3 |  | 2 | 4 | 0.064528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2407-15_0_3_line_4 |  | 2 | 5 | 0.023481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2407-15_0_3_line_5 |  | 2 | 6 | 0.005267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2407-15_0_3_line_6 |  | 3 | 7 | 0.012376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2407-15_0_3_line_7 |  | 4 | 8 | 0.00622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2407-15_0_3_line_8 |  | 4 | 9 | 0.032523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2407-15_0_3_line_9 |  | 5 | 10 | 0.029225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2407-15_0_3_line_10 |  | 6 | 11 | 0.073761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2407-15_0_3_line_11 |  | 6 | 12 | 0.043727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2407-15_0_3_line_12 |  | 9 | 13 | 0.067539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2407-15_0_3_line_13 |  | 11 | 14 | 0.0072189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2407-15_0_3_line_14 |  | 12 | 15 | 0.058915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2407-15_0_3_line_15 |  | 13 | 23 | 0.019408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2407-15_0_3_line_16 |  | 14 | 29 | 0.049725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2407-15_0_3_line_17 |  | 15 | 18 | 0.019109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2407-15_0_3_line_18 |  | 16 | 17 | 0.039954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2407-15_0_3_line_19 |  | 17 | 18 | 0.040834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2407-15_0_3_line_20 |  | 19 | 20 | 0.012738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2407-15_0_3_line_21 |  | 20 | 33 | 0.010673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2407-15_0_3_line_22 |  | 21 | 22 | 0.050139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2407-15_0_3_line_23 |  | 22 | 32 | 0.067367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2407-15_0_3_line_24 |  | 23 | 24 | 0.005089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2407-15_0_3_line_25 |  | 23 | 25 | 0.021383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2407-15_0_3_line_26 |  | 24 | 39 | 0.03224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2407-15_0_3_line_27 |  | 25 | 43 | 0.016966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2407-15_0_3_line_28 |  | 26 | 27 | 0.017866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2407-15_0_3_line_29 |  | 26 | 28 | 0.027784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2407-15_0_3_line_30 |  | 27 | 43 | 0.010566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2407-15_0_3_line_31 |  | 29 | 30 | 0.020539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2407-15_0_3_line_32 |  | 30 | 31 | 0.0022332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2407-15_0_3_line_33 |  | 30 | 32 | 0.27241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2407-15_0_3_line_34 |  | 31 | 34 | 0.00050521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2407-15_0_3_line_35 |  | 32 | 35 | 0.054901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2407-15_0_3_line_36 |  | 33 | 35 | 0.014289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2407-15_0_3_line_37 |  | 34 | 36 | 0.014358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2407-15_0_3_line_38 |  | 36 | 40 | 0.0018695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2407-15_0_3_line_39 |  | 37 | 38 | 0.025296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2407-15_0_3_line_40 |  | 37 | 39 | 0.26835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2407-15_0_3_line_41 |  | 40 | 41 | 0.071191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2407-15_0_3_line_42 |  | 41 | 42 | 0.018997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2407-15_0_3_line_43 |  | 42 | 44 | 0.00018193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2407-15_0_3_trafo_6 | 0.63 MVA 20/0.4 kV | 45 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2620083.3808 | 1238277.0319 | 2620079.2027 | 1238277.7599 | 2620069.6882 | 1238275.2929 | 2620060.5994 | 1238269.9034 | 2620054.4034 | 1238261.2994 | 2620051.7002 | 1238250.9061 | 2620053.2279 | 1238245.436
1 | 2620112.7531 | 1238271.9139 | 2620083.3808 | 1238277.0319
2 | 2620053.2279 | 1238245.436 | 2620058.8402 | 1238225.3407
3 | 2620112.7531 | 1238271.9139 | 2620114.7367 | 1238289.2758 | 2620118.1952 | 1238315.5816 | 2620120.8418 | 1238335.9254
4 | 2620112.7531 | 1238271.9139 | 2620112.3208 | 1238258.8266 | 2620112.2852 | 1238248.4404
5 | 2620117.9154 | 1238270.7973 | 2620112.7531 | 1238271.9139
6 | 2620063.6458 | 1238213.956 | 2620059.3719 | 1238223.4371 | 2620058.8402 | 1238225.3407
7 | 2620120.8418 | 1238335.9254 | 2620114.6084 | 1238336.1823
8 | 2620120.8418 | 1238335.9254 | 2620121.735 | 1238349.1588 | 2620122.3018 | 1238364.9483 | 2620122.0992 | 1238368.4018
9 | 2620117.8499 | 1238219.8569 | 2620113.2861 | 1238237.2942 | 2620112.2789 | 1238246.6077 | 2620112.2852 | 1238248.4404
10 | 2620117.9154 | 1238270.7973 | 2620116.6955 | 1238255.7616 | 2620117.8005 | 1238239.9 | 2620121.8077 | 1238224.7486 | 2620126.8577 | 1238212.1245 | 2620133.5786 | 1238200.4087
11 | 2620117.9154 | 1238270.7973 | 2620122.5718 | 1238305.2455 | 2620123.6464 | 1238314.1465
12 | 2620117.4939 | 1238435.776 | 2620117.9343 | 1238424.0814 | 2620119.9502 | 1238398.3055 | 2620121.6437 | 1238376.1642 | 2620122.0992 | 1238368.4018
13 | 2620133.5786 | 1238200.4087 | 2620134.6111 | 1238198.609 | 2620137.4011 | 1238194.2873
14 | 2620127.5471 | 1238372.8487 | 2620127.404 | 1238363.6981 | 2620127.4232 | 1238351.3127 | 2620127.0232 | 1238342.1168 | 2620123.6464 | 1238314.1465
15 | 2620106.0699 | 1238443.3422 | 2620106.5598 | 1238434.9164 | 2620114.3861 | 1238435.5321 | 2620117.4939 | 1238435.776
16 | 2620161.4126 | 1238151.0172 | 2620160.7677 | 1238153.8252 | 2620156.8933 | 1238163.218 | 2620150.1381 | 1238174.5577 | 2620137.4011 | 1238194.2873
17 | 2620127.5471 | 1238372.8487 | 2620146.5727 | 1238374.6321
18 | 2620187.2287 | 1238378.4431 | 2620192.7009 | 1238363.9971 | 2620196.1118 | 1238359.6505 | 2620203.2373 | 1238352.8371 | 2620210.6246 | 1238347.4845
19 | 2620187.2287 | 1238378.4431 | 2620146.5727 | 1238374.6321
20 | 2620440.7818 | 1238190.8027 | 2620446.0636 | 1238183.5608 | 2620447.2167 | 1238179.9672
21 | 2620447.2167 | 1238179.9672 | 2620449.7948 | 1238171.9331 | 2620450.2299 | 1238169.7405
22 | 2620520.8691 | 1238182.0283 | 2620511.8075 | 1238175.4485 | 2620498.4512 | 1238166.1523 | 2620487.5019 | 1238156.3975 | 2620481.921 | 1238150.661
23 | 2620434.8525 | 1238104.6178 | 2620445.8426 | 1238109.1806 | 2620450.909 | 1238111.8329 | 2620461.1643 | 1238123.2975 | 2620480.1002 | 1238148.7895 | 2620481.921 | 1238150.661
24 | 2620105.7729 | 1238448.4221 | 2620106.0699 | 1238443.3422
25 | 2620106.0699 | 1238443.3422 | 2620084.9523 | 1238439.9853
26 | 2620105.7729 | 1238448.4221 | 2620103.887 | 1238480.6071
27 | 2620068.1963 | 1238437.3218 | 2620084.9523 | 1238439.9853
28 | 2620086.8586 | 1238429.8023 | 2620069.2453 | 1238426.8077
29 | 2620086.8586 | 1238429.8023 | 2620090.6246 | 1238402.2742
30 | 2620068.1963 | 1238437.3218 | 2620069.2453 | 1238426.8077
31 | 2620161.4126 | 1238151.0172 | 2620163.4317 | 1238142.2271 | 2620163.6976 | 1238130.7097 | 2620163.6976 | 1238130.7097
32 | 2620163.1572 | 1238128.5429 | 2620163.6976 | 1238130.7097
33 | 2620163.6976 | 1238130.7097 | 2620434.8525 | 1238104.6178
34 | 2620163.1572 | 1238128.5429 | 2620163.035 | 1238128.0527
35 | 2620434.8525 | 1238104.6178 | 2620442.198 | 1238115.4275 | 2620447.2756 | 1238125.818 | 2620450.1689 | 1238137.9021 | 2620451.8202 | 1238150.4156 | 2620451.9473 | 1238155.6337
36 | 2620450.2299 | 1238169.7405 | 2620452.0655 | 1238160.4893 | 2620451.9473 | 1238155.6337
37 | 2620158.9197 | 1238114.3056 | 2620158.9197 | 1238114.3056 | 2620161.8245 | 1238123.1987 | 2620163.035 | 1238128.0527
38 | 2620158.9197 | 1238114.3056 | 2620158.0881 | 1238112.6313
39 | 2620350.4274 | 1238616.1556 | 2620345.3959 | 1238619.0086 | 2620341.8998 | 1238619.5525 | 2620337.5823 | 1238621.4056 | 2620330.3578 | 1238626.2395 | 2620328.2836 | 1238627.7791
40 | 2620103.887 | 1238480.6071 | 2620328.2836 | 1238627.7791
41 | 2620158.0881 | 1238112.6313 | 2620153.5706 | 1238103.5364 | 2620146.6448 | 1238091.4944 | 2620139.9937 | 1238078.764 | 2620129.2583 | 1238054.7128 | 2620126.9761 | 1238048.6879
42 | 2620120.2467 | 1238030.9231 | 2620126.9761 | 1238048.6879
43 | 2620120.1928 | 1238030.7494 | 2620120.2467 | 1238030.9231

## bus_geodata
| x | y | coords
0 | 2620083.3808 | 1238277.0319
1 | 2620053.2279 | 1238245.436
2 | 2620112.7531 | 1238271.9139
3 | 2620058.8402 | 1238225.3407
4 | 2620120.8418 | 1238335.9254
5 | 2620112.2852 | 1238248.4404
6 | 2620117.9154 | 1238270.7973
7 | 2620063.6458 | 1238213.956
8 | 2620114.6084 | 1238336.1823
9 | 2620122.0992 | 1238368.4018
10 | 2620117.8499 | 1238219.8569
11 | 2620133.5786 | 1238200.4087
12 | 2620123.6464 | 1238314.1465
13 | 2620117.4939 | 1238435.776
14 | 2620137.4011 | 1238194.2873
15 | 2620127.5471 | 1238372.8487
16 | 2620210.6246 | 1238347.4845
17 | 2620187.2287 | 1238378.4431
18 | 2620146.5727 | 1238374.6321
19 | 2620440.7818 | 1238190.8027
20 | 2620447.2167 | 1238179.9672
21 | 2620520.8691 | 1238182.0283
22 | 2620481.921 | 1238150.661
23 | 2620106.0699 | 1238443.3422
24 | 2620105.7729 | 1238448.4221
25 | 2620084.9523 | 1238439.9853
26 | 2620086.8586 | 1238429.8023
27 | 2620069.2453 | 1238426.8077
28 | 2620090.6246 | 1238402.2742
29 | 2620161.4126 | 1238151.0172
30 | 2620163.6976 | 1238130.7097
31 | 2620163.1572 | 1238128.5429
32 | 2620434.8525 | 1238104.6178
33 | 2620450.2299 | 1238169.7405
34 | 2620163.035 | 1238128.0527
35 | 2620451.9473 | 1238155.6337
36 | 2620158.9198 | 1238114.3056
37 | 2620328.2836 | 1238627.7791
38 | 2620350.4274 | 1238616.1556
39 | 2620103.887 | 1238480.6071
40 | 2620158.0881 | 1238112.6313
41 | 2620126.9761 | 1238048.6879
42 | 2620120.2467 | 1238030.9231
43 | 2620068.1963 | 1238437.3218
44 | 2620120.1928 | 1238030.7494
45 | 2620112.7531 | 1238271.9139

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9996 | -0.0076219 | 0.0011554 | 0.00028956
1 | 0.9994 | -0.011598 | 0.0026614 | 0.00066701
2 | 0.99975 | -0.0047262 | 0 | 0
3 | 0.99936 | -0.012235 | 0.00070617 | 0.00017698
4 | 0.99842 | -0.030343 | 0 | 0
5 | 0.99926 | -0.014216 | 0.0035429 | 0.00088794
6 | 1 | 0 | -0.096591 | -0.02388
7 | 0.99935 | -0.01246 | 0.0010424 | 0.00026125
8 | 0.99841 | -0.030471 | 0.0011771 | 0.00029501
9 | 0.99778 | -0.042609 | 0.00044948 | 0.00011265
10 | 0.99874 | -0.02423 | 0.01962 | 0.0049173
11 | 0.99749 | -0.04819 | 0.0058576 | 0.0014681
12 | 0.99977 | -0.0044668 | 0.0011952 | 0.00029954
13 | 0.99648 | -0.067596 | 0 | 0
14 | 0.99728 | -0.052178 | 0.0078296 | 0.0019623
15 | 0.99952 | -0.0092581 | 0 | 0
16 | 0.99939 | -0.011729 | 0.00064895 | 0.00016264
17 | 0.99941 | -0.011276 | 0 | 0
18 | 0.99944 | -0.010812 | 0.0040094 | 0.0010048
19 | 0.99301 | -0.13463 | 0.0014058 | 0.00035232
20 | 0.99303 | -0.13432 | 0.0016911 | 0.00042384
21 | 0.99311 | -0.13281 | 0.002123 | 0.00053208
22 | 0.9932 | -0.13092 | 0.0015276 | 0.00038285
23 | 0.99611 | -0.074788 | 0 | 0
24 | 0.99603 | -0.076366 | 0 | 0
25 | 0.99604 | -0.076086 | 0.0017655 | 0.00044249
26 | 0.99599 | -0.077041 | 0 | 0
27 | 0.996 | -0.076903 | 0.0012512 | 0.00031357
28 | 0.99598 | -0.077254 | 0.00043617 | 0.00010931
29 | 0.99621 | -0.072854 | 0.0065659 | 0.0016456
30 | 0.99589 | -0.079036 | 0.001171 | 0.00029347
31 | 0.99588 | -0.079274 | 0.00067999 | 0.00017042
32 | 0.99343 | -0.12658 | 0 | 0
33 | 0.99306 | -0.13373 | 0.0012455 | 0.00031215
34 | 0.99587 | -0.079321 | 0.0025384 | 0.00063619
35 | 0.99312 | -0.13264 | 0.0019019 | 0.00047666
36 | 0.99584 | -0.080036 | 0.00047258 | 0.00011844
37 | 0.99387 | -0.11805 | 0.00098403 | 0.00024662
38 | 0.99374 | -0.1206 | 0.0057125 | 0.0014317
39 | 0.99551 | -0.086367 | 0.01094 | 0.0027418
40 | 0.99583 | -0.080114 | 0.00060047 | 0.00015049
41 | 0.99572 | -0.082314 | 0.00087985 | 0.00022051
42 | 0.9957 | -0.082607 | 0 | 0
43 | 0.99602 | -0.07659 | 0 | 0
44 | 0.9957 | -0.082609 | 0.00087653 | 0.00021968
45 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0044109 | 0.0011047 | -0.00441 | -0.0011048 | 8.3513e-07 | -1.4255e-07 | 0.0065658 | 0.006566 | 0.006566 | 0.9996 | -0.0076219 | 0.9994 | -0.011598 | 1.8038
1 | -0.0055662 | -0.0013943 | 0.005567 | 0.0013944 | 7.6756e-07 | 1.0034e-07 | 0.0082857 | 0.0082855 | 0.0082857 | 0.9996 | -0.0076219 | 0.99975 | -0.0047262 | 2.2763
2 | 0.0017486 | 0.00043784 | -0.0017486 | -0.00043808 | 5.3033e-08 | -2.3944e-07 | 0.0026034 | 0.0026035 | 0.0026035 | 0.9994 | -0.011598 | 0.99936 | -0.012235 | 0.71525
3 | 0.02281 | 0.0057451 | -0.022782 | -0.0057281 | 2.7906e-05 | 1.7015e-05 | 0.033959 | 0.03396 | 0.03396 | 0.99975 | -0.0047262 | 0.99842 | -0.030343 | 9.3296
4 | 0.023183 | 0.0058172 | -0.023173 | -0.0058108 | 1.0485e-05 | 6.4028e-06 | 0.034508 | 0.034508 | 0.034508 | 0.99975 | -0.0047262 | 0.99926 | -0.014216 | 9.4802
5 | -0.05156 | -0.012957 | 0.051571 | 0.012964 | 1.1635e-05 | 7.3776e-06 | 0.076753 | 0.076753 | 0.076753 | 0.99975 | -0.0047262 | 1 | 0 | 21.0859
6 | 0.0010424 | 0.0002611 | -0.0010424 | -0.00026125 | 1.118e-08 | -1.55e-07 | 0.0015521 | 0.0015521 | 0.0015521 | 0.99936 | -0.012235 | 0.99935 | -0.01246 | 0.42641
7 | 0.0011771 | 0.00029493 | -0.0011771 | -0.00029501 | 7.1785e-09 | -7.6749e-08 | 0.0017543 | 0.0017543 | 0.0017543 | 0.99842 | -0.030343 | 0.99841 | -0.030471 | 0.48196
8 | 0.021605 | 0.0054332 | -0.021592 | -0.0054255 | 1.265e-05 | 7.6707e-06 | 0.032205 | 0.032206 | 0.032206 | 0.99842 | -0.030343 | 0.99778 | -0.042609 | 8.8477
9 | 0.01963 | 0.0049229 | -0.01962 | -0.0049173 | 9.3649e-06 | 5.6109e-06 | 0.029232 | 0.029232 | 0.029232 | 0.99926 | -0.014216 | 0.99874 | -0.02423 | 8.0308
10 | 0.037513 | 0.0094492 | -0.037427 | -0.009395 | 8.624e-05 | 5.4228e-05 | 0.055837 | 0.055838 | 0.055838 | 1 | 0 | 0.99749 | -0.04819 | 15.34
11 | 0.0058562 | 0.0014661 | -0.0058549 | -0.0014659 | 1.245e-06 | 2.2328e-07 | 0.0087135 | 0.0087137 | 0.0087137 | 1 | 0 | 0.99977 | -0.0044668 | 2.3939
12 | 0.021142 | 0.0053129 | -0.021117 | -0.0052976 | 2.5188e-05 | 1.5239e-05 | 0.031535 | 0.031536 | 0.031536 | 0.99778 | -0.042609 | 0.99648 | -0.067596 | 8.6636
13 | 0.03157 | 0.0079269 | -0.031564 | -0.0079231 | 6.0053e-06 | 3.7492e-06 | 0.047099 | 0.047099 | 0.047099 | 0.99749 | -0.04819 | 0.99728 | -0.052178 | 12.9394
14 | 0.0046597 | 0.0011663 | -0.0046587 | -0.0011664 | 1.0626e-06 | -9.2341e-08 | 0.0069349 | 0.0069351 | 0.0069351 | 0.99977 | -0.0044668 | 0.99952 | -0.0092581 | 1.9053
15 | 0.021117 | 0.0052976 | -0.02111 | -0.0052933 | 7.2379e-06 | 4.3795e-06 | 0.031536 | 0.031536 | 0.031536 | 0.99648 | -0.067596 | 0.99611 | -0.074788 | 8.6637
16 | 0.023734 | 0.0059609 | -0.023711 | -0.0059465 | 2.339e-05 | 1.4322e-05 | 0.035417 | 0.035417 | 0.035417 | 0.99728 | -0.052178 | 0.99621 | -0.072854 | 9.7301
17 | 0.0046587 | 0.0011664 | -0.0046583 | -0.0011664 | 3.4466e-07 | -2.9857e-08 | 0.0069351 | 0.0069352 | 0.0069352 | 0.99952 | -0.0092581 | 0.99944 | -0.010812 | 1.9053
18 | -0.00064895 | -0.00016264 | 0.00064896 | 0.00016213 | 1.3985e-08 | -5.1459e-07 | 0.00096623 | 0.00096605 | 0.00096623 | 0.99939 | -0.011729 | 0.99941 | -0.011276 | 0.26545
19 | -0.00064896 | -0.00016213 | 0.00064898 | 0.0001616 | 1.4288e-08 | -5.2596e-07 | 0.00096605 | 0.00096586 | 0.00096605 | 0.99941 | -0.011276 | 0.99944 | -0.010812 | 0.2654
20 | -0.0014058 | -0.00035232 | 0.0014058 | 0.00035217 | 2.1196e-08 | -1.5122e-07 | 0.0021065 | 0.0021065 | 0.0021065 | 0.99301 | -0.13463 | 0.99303 | -0.13432 | 0.57872
21 | -0.0030969 | -0.00077601 | 0.003097 | 0.00077593 | 8.6191e-08 | -8.2919e-08 | 0.0046406 | 0.0046405 | 0.0046406 | 0.99303 | -0.13432 | 0.99306 | -0.13373 | 1.2749
22 | -0.002123 | -0.00053208 | 0.0021232 | 0.00053155 | 1.9024e-07 | -5.2706e-07 | 0.003181 | 0.0031808 | 0.003181 | 0.99311 | -0.13281 | 0.9932 | -0.13092 | 0.87391
23 | -0.0036508 | -0.0009144 | 0.0036515 | 0.00091401 | 7.5567e-07 | -3.884e-07 | 0.0054694 | 0.0054691 | 0.0054694 | 0.9932 | -0.13092 | 0.99343 | -0.12658 | 1.5026
24 | 0.017657 | 0.0044289 | -0.017656 | -0.0044282 | 1.3278e-06 | 7.8356e-07 | 0.026378 | 0.026378 | 0.026378 | 0.99611 | -0.074788 | 0.99603 | -0.076366 | 7.2466
25 | 0.0034531 | 0.00086432 | -0.0034529 | -0.00086446 | 2.1334e-07 | -1.4179e-07 | 0.005158 | 0.0051581 | 0.0051581 | 0.99611 | -0.074788 | 0.99604 | -0.076086 | 1.4171
26 | 0.017656 | 0.0044282 | -0.017647 | -0.0044232 | 8.4121e-06 | 4.9644e-06 | 0.026378 | 0.026378 | 0.026378 | 0.99603 | -0.076366 | 0.99551 | -0.086367 | 7.2467
27 | 0.0016874 | 0.00042198 | -0.0016874 | -0.00042217 | 4.0422e-08 | -1.9495e-07 | 0.0025205 | 0.0025206 | 0.0025206 | 0.99604 | -0.076086 | 0.99602 | -0.07659 | 0.69247
28 | -0.00043617 | -0.00010896 | 0.00043618 | 0.00010873 | 2.8435e-09 | -2.307e-07 | 0.00065152 | 0.00065144 | 0.00065152 | 0.99599 | -0.077041 | 0.996 | -0.076903 | 0.17899
29 | 0.00043617 | 0.00010896 | -0.00043617 | -0.00010931 | 4.4236e-09 | -3.5876e-07 | 0.00065152 | 0.00065165 | 0.00065165 | 0.99599 | -0.077041 | 0.99598 | -0.077254 | 0.17902
30 | -0.0016873 | -0.00042229 | 0.0016874 | 0.00042217 | 2.5175e-08 | -1.2141e-07 | 0.0025206 | 0.0025206 | 0.0025206 | 0.996 | -0.076903 | 0.99602 | -0.07659 | 0.69249
31 | 0.017145 | 0.004301 | -0.01714 | -0.004298 | 5.0518e-06 | 2.9658e-06 | 0.02561 | 0.02561 | 0.02561 | 0.99621 | -0.072854 | 0.99589 | -0.079036 | 7.0358
32 | 0.0060482 | 0.0015146 | -0.0060482 | -0.0015145 | 6.8386e-08 | 1.471e-08 | 0.0090366 | 0.0090366 | 0.0090366 | 0.99589 | -0.079036 | 0.99588 | -0.079274 | 2.4826
33 | 0.0099204 | 0.00249 | -0.009898 | -0.0024792 | 2.245e-05 | 1.0832e-05 | 0.014824 | 0.014825 | 0.014825 | 0.99589 | -0.079036 | 0.99343 | -0.12658 | 4.0729
34 | 0.0053682 | 0.0013441 | -0.0053682 | -0.0013441 | 1.2187e-08 | 1.2267e-09 | 0.0080205 | 0.0080205 | 0.0080205 | 0.99588 | -0.079274 | 0.99587 | -0.079321 | 2.2034
35 | 0.0062465 | 0.0015651 | -0.0062446 | -0.0015647 | 1.8023e-06 | 4.4285e-07 | 0.0093562 | 0.0093564 | 0.0093564 | 0.99343 | -0.12658 | 0.99312 | -0.13264 | 2.5704
36 | -0.0043425 | -0.0010881 | 0.0043428 | 0.001088 | 2.2686e-07 | -3.9684e-08 | 0.0065068 | 0.0065068 | 0.0065068 | 0.99306 | -0.13373 | 0.99312 | -0.13264 | 1.7876
37 | 0.0028297 | 0.00070793 | -0.0028296 | -0.00070805 | 9.6237e-08 | -1.2522e-07 | 0.0042277 | 0.0042277 | 0.0042277 | 0.99587 | -0.079321 | 0.99584 | -0.080036 | 1.1615
38 | 0.0023571 | 0.00058961 | -0.002357 | -0.00058963 | 8.6942e-09 | -1.8758e-08 | 0.0035216 | 0.0035216 | 0.0035216 | 0.99584 | -0.080036 | 0.99583 | -0.080114 | 0.96748
39 | 0.0057132 | 0.0014318 | -0.0057125 | -0.0014317 | 6.9407e-07 | 1.1644e-07 | 0.0085537 | 0.0085539 | 0.0085539 | 0.99387 | -0.11805 | 0.99374 | -0.1206 | 2.35
40 | -0.0066972 | -0.0016784 | 0.0067073 | 0.0016814 | 1.0116e-05 | 2.9912e-06 | 0.010027 | 0.010026 | 0.010027 | 0.99387 | -0.11805 | 0.99551 | -0.086367 | 2.7547
41 | 0.0017566 | 0.00043914 | -0.0017564 | -0.00043995 | 1.8389e-07 | -8.0841e-07 | 0.0026244 | 0.0026247 | 0.0026247 | 0.99583 | -0.080114 | 0.99572 | -0.082314 | 0.72107
42 | 0.00087654 | 0.00021944 | -0.00087653 | -0.00021968 | 1.2223e-08 | -2.3927e-07 | 0.0013098 | 0.0013099 | 0.0013099 | 0.99572 | -0.082314 | 0.9957 | -0.082607 | 0.35987
43 | 0.00087653 | 0.00021968 | -0.00087653 | -0.00021968 | 1.1727e-10 | -2.2914e-09 | 0.0013099 | 0.0013099 | 0.0013099 | 0.9957 | -0.082607 | 0.9957 | -0.082609 | 0.35987

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.096591 | 0.02388

## res_load
| p_mw | q_mvar
0 | 0.0011554 | 0.00028956
1 | 0.0026614 | 0.00066701
2 | 0.00070617 | 0.00017698
3 | 0.0035429 | 0.00088794
4 | 0.0010424 | 0.00026125
5 | 0.0011771 | 0.00029501
6 | 0.00044948 | 0.00011265
7 | 0.01962 | 0.0049173
8 | 0.0058576 | 0.0014681
9 | 0.0011952 | 0.00029954
10 | 0.0078296 | 0.0019623
11 | 0.00064895 | 0.00016264
12 | 0.0040094 | 0.0010048
13 | 0.0014058 | 0.00035232
14 | 0.0016911 | 0.00042384
15 | 0.002123 | 0.00053208
16 | 0.0015276 | 0.00038285
17 | 0.0017655 | 0.00044249
18 | 0.0012512 | 0.00031357
19 | 0.00043617 | 0.00010931
20 | 0.0065659 | 0.0016456
21 | 0.001171 | 0.00029347
22 | 0.00067999 | 0.00017042
23 | 0.0012455 | 0.00031215
24 | 0.0025384 | 0.00063619
25 | 0.0019019 | 0.00047666
26 | 0.00047258 | 0.00011844
27 | 0.00098403 | 0.00024662
28 | 0.0057125 | 0.0014317
29 | 0.01094 | 0.0027418
30 | 0.00060047 | 0.00015049
31 | 0.00087985 | 0.00022051
32 | 0.00087653 | 0.00021968

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1