## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2407-16_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2407-16_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2407-16_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2407-16_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2407-16_0_6_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_2407-16_0_6_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_2407-16_0_6_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_2407-16_0_6_node_53 | 0.4 | n |  | TRUE
8 | bus_LV_2407-16_0_6_node_51 | 0.4 | n |  | TRUE
9 | bus_LV_2407-16_0_6_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_2407-16_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2407-16_0_6_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_2407-16_0_6_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_2407-16_0_6_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_2407-16_0_6_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_2407-16_0_6_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_2407-16_0_6_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_2407-16_0_6_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_2407-16_0_6_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_2407-16_0_6_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_2407-16_0_6_node_63 | 0.4 | n |  | TRUE
21 | bus_LV_2407-16_0_6_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_2407-16_0_6_node_62 | 0.4 | n |  | TRUE
23 | bus_LV_2407-16_0_6_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_2407-16_0_6_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_2407-16_0_6_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_2407-16_0_6_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_2407-16_0_6_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_2407-16_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_2407-16_0_6_node_66 | 0.4 | n |  | TRUE
30 | bus_LV_2407-16_0_6_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_2407-16_0_6_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_2407-16_0_6_node_69 | 0.4 | n |  | TRUE
33 | bus_LV_2407-16_0_6_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_2407-16_0_6_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_2407-16_0_6_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_2407-16_0_6_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_2407-16_0_6_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_2407-16_0_6_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_2407-16_0_6_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_2407-16_0_6_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_2407-16_0_6_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_2407-16_0_6_node_18 | 0.4 | n |  | TRUE
43 | bus_LV_2407-16_0_6_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_2407-16_0_6_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_2407-16_0_6_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_2407-16_0_6_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_2407-16_0_6_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_2407-16_0_6_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_2407-16_0_6_node_24 | 0.4 | n |  | TRUE
50 | bus_LV_2407-16_0_6_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_2407-16_0_6_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_2407-16_0_6_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_2407-16_0_6_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_2407-16_0_6_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_2407-16_0_6_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_2407-16_0_6_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_2407-16_0_6_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_2407-16_0_6_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_2407-16_0_6_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_2407-16_0_6_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_2407-16_0_6_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_2407-16_0_6_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_2407-16_0_6_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_2407-16_0_6_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_2407-16_0_6_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_2407-16_0_6_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_2407-16_0_6_node_67 | 0.4 | n |  | TRUE
68 | bus_MV_479_0_node_173 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2407-16_0_6_load_0 | 0 | 0.004273 | 0.0010709 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2407-16_0_6_load_14 | 5 | 0.0046538 | 0.0011663 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2407-16_0_6_load_15 | 6 | 0.019117 | 0.0047913 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2407-16_0_6_load_51 | 8 | 0.020623 | 0.0051687 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2407-16_0_6_load_17 | 11 | 0.0023835 | 0.00059737 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2407-16_0_6_load_32 | 12 | 0.0044812 | 0.0011231 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2407-16_0_6_load_45 | 15 | 0.0040796 | 0.0010225 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2407-16_0_6_load_26 | 19 | 0.077809 | 0.019501 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2407-16_0_6_load_63 | 20 | 0.0085111 | 0.0021331 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2407-16_0_6_load_62 | 22 | 0.017193 | 0.0043089 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2407-16_0_6_load_30 | 25 | 0.0029456 | 0.00073824 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2407-16_0_6_load_44 | 26 | 0.0035372 | 0.0008865 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2407-16_0_6_load_43 | 27 | 0.0056596 | 0.0014184 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2407-16_0_6_load_19 | 28 | 0.004658 | 0.0011674 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2407-16_0_6_load_66 | 29 | 0.014964 | 0.0037503 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2407-16_0_6_load_69 | 32 | 0.024034 | 0.0060236 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2407-16_0_6_load_16 | 34 | 0.0024519 | 0.00061449 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2407-16_0_6_load_65 | 37 | 0.0075773 | 0.001899 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2407-16_0_6_load_61 | 38 | 0.006903 | 0.00173 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2407-16_0_6_load_58 | 39 | 0.017212 | 0.0043137 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2407-16_0_6_load_18 | 42 | 0.0046585 | 0.0011675 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2407-16_0_6_load_33 | 45 | 0.011786 | 0.0029537 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2407-16_0_6_load_37 | 47 | 0.0088691 | 0.0022228 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2407-16_0_6_load_23 | 48 | 0.0033293 | 0.00083439 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2407-16_0_6_load_24 | 49 | 0.004784 | 0.001199 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2407-16_0_6_load_64 | 51 | 0.011466 | 0.0028737 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2407-16_0_6_load_59 | 52 | 0.011001 | 0.0027571 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2407-16_0_6_load_71 | 53 | 0.011773 | 0.0029507 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2407-16_0_6_load_39 | 57 | 0.0088746 | 0.0022242 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2407-16_0_6_load_70 | 58 | 0.012369 | 0.0031001 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2407-16_0_6_load_46 | 59 | 0.007068 | 0.0017714 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2407-16_0_6_load_56 | 62 | 0.018068 | 0.0045283 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2407-16_0_6_load_68 | 64 | 0.0070684 | 0.0017715 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2407-16_0_6_load_67 | 67 | 0.0080841 | 0.0020261 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2407-16_0_6_line_0 |  | 0 | 1 | 0.030614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2407-16_0_6_line_1 |  | 0 | 2 | 0.042883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2407-16_0_6_line_2 |  | 1 | 3 | 0.008142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2407-16_0_6_line_3 |  | 2 | 4 | 0.024484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2407-16_0_6_line_4 |  | 2 | 5 | 0.018187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2407-16_0_6_line_5 |  | 2 | 6 | 0.029635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2407-16_0_6_line_6 |  | 3 | 7 | 0.029842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2407-16_0_6_line_7 |  | 3 | 8 | 0.036538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2407-16_0_6_line_8 |  | 4 | 28 | 0.012174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2407-16_0_6_line_9 |  | 6 | 10 | 0.061443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2407-16_0_6_line_10 |  | 7 | 29 | 0.050336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2407-16_0_6_line_11 |  | 7 | 30 | 0.0024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2407-16_0_6_line_12 |  | 9 | 10 | 0.070065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2407-16_0_6_line_13 |  | 9 | 11 | 0.035036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2407-16_0_6_line_14 |  | 9 | 12 | 0.022518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2407-16_0_6_line_15 |  | 11 | 34 | 0.018823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2407-16_0_6_line_16 |  | 13 | 14 | 0.01564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2407-16_0_6_line_17 |  | 13 | 15 | 0.011653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2407-16_0_6_line_18 |  | 14 | 27 | 0.035656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2407-16_0_6_line_19 |  | 16 | 17 | 0.005769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2407-16_0_6_line_20 |  | 16 | 18 | 0.16094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2407-16_0_6_line_21 |  | 16 | 19 | 0.036552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2407-16_0_6_line_22 |  | 17 | 26 | 0.0089746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2407-16_0_6_line_23 |  | 18 | 20 | 0.014869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2407-16_0_6_line_24 |  | 18 | 21 | 0.03471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2407-16_0_6_line_25 |  | 18 | 22 | 0.029753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2407-16_0_6_line_26 |  | 21 | 38 | 0.014712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2407-16_0_6_line_27 |  | 21 | 39 | 0.029802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2407-16_0_6_line_28 |  | 21 | 40 | 0.031967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2407-16_0_6_line_29 |  | 22 | 36 | 0.035393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2407-16_0_6_line_30 |  | 23 | 24 | 0.15449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2407-16_0_6_line_31 |  | 23 | 25 | 0.030365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2407-16_0_6_line_32 |  | 24 | 26 | 0.0084748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2407-16_0_6_line_33 |  | 24 | 27 | 0.015637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2407-16_0_6_line_34 |  | 25 | 41 | 0.031996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2407-16_0_6_line_35 |  | 28 | 42 | 0.03585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2407-16_0_6_line_36 |  | 30 | 63 | 0.013069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2407-16_0_6_line_37 |  | 31 | 32 | 0.037756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2407-16_0_6_line_38 |  | 31 | 33 | 0.051808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2407-16_0_6_line_39 |  | 33 | 51 | 0.019703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2407-16_0_6_line_40 |  | 33 | 35 | 0.034285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2407-16_0_6_line_41 |  | 33 | 46 | 0.025371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2407-16_0_6_line_42 |  | 35 | 36 | 0.007854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2407-16_0_6_line_43 |  | 35 | 37 | 0.026933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2407-16_0_6_line_44 |  | 36 | 52 | 0.033929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2407-16_0_6_line_45 |  | 40 | 60 | 0.019363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2407-16_0_6_line_46 |  | 40 | 59 | 0.015871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2407-16_0_6_line_47 |  | 41 | 50 | 0.075934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2407-16_0_6_line_48 |  | 43 | 44 | 0.02978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2407-16_0_6_line_49 |  | 43 | 45 | 0.016849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2407-16_0_6_line_50 |  | 44 | 53 | 0.016847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2407-16_0_6_line_51 |  | 44 | 54 | 0.006284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2407-16_0_6_line_52 |  | 46 | 47 | 0.027059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2407-16_0_6_line_53 |  | 47 | 56 | 0.0085083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2407-16_0_6_line_54 |  | 48 | 49 | 0.0024587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2407-16_0_6_line_55 |  | 49 | 50 | 0.033372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2407-16_0_6_line_56 |  | 52 | 63 | 0.033445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2407-16_0_6_line_57 |  | 54 | 55 | 0.039575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2407-16_0_6_line_58 |  | 55 | 58 | 0.015245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2407-16_0_6_line_59 |  | 55 | 56 | 0.022181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2407-16_0_6_line_60 |  | 56 | 57 | 0.02075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2407-16_0_6_line_61 |  | 60 | 61 | 0.011647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2407-16_0_6_line_62 |  | 60 | 62 | 0.035003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2407-16_0_6_line_63 |  | 61 | 64 | 0.015395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2407-16_0_6_line_64 |  | 61 | 65 | 0.021017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2407-16_0_6_line_65 |  | 65 | 66 | 0.011554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2407-16_0_6_line_66 |  | 66 | 67 | 0.015829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2407-16_0_6_trafo_48 | 0.63 MVA 20/0.4 kV | 68 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2621074.099 | 1237511.4004 | 2621067.233 | 1237541.2344
1 | 2621034.9605 | 1237568.6196 | 2621066.6388 | 1237543.8163 | 2621067.233 | 1237541.2344
2 | 2621074.099 | 1237511.4004 | 2621082.1045 | 1237513.0075
3 | 2621034.9605 | 1237568.6196 | 2621037.2202 | 1237575.632 | 2621053.909 | 1237579.649
4 | 2621034.9605 | 1237568.6196 | 2621020.6166 | 1237579.8016
5 | 2621034.9605 | 1237568.6196 | 2621014.5451 | 1237547.1391
6 | 2621111.4427 | 1237518.9151 | 2621082.1045 | 1237513.0075
7 | 2621082.1045 | 1237513.0075 | 2621089.3861 | 1237477.2021
8 | 2621053.909 | 1237579.649 | 2621065.7445 | 1237582.5004
9 | 2620972.2164 | 1237502.6019 | 2621014.5451 | 1237547.1391
10 | 2621111.4427 | 1237518.9151 | 2621100.9992 | 1237562.7052 | 2621103.3425 | 1237567.4831
11 | 2621111.4427 | 1237518.9151 | 2621113.8089 | 1237519.3571
12 | 2620972.2164 | 1237502.6019 | 2620978.4335 | 1237490.0716 | 2620983.2806 | 1237492.757 | 2620989.5838 | 1237494.447 | 2620996.5231 | 1237495.9168 | 2621010.0998 | 1237498.6997 | 2621017.001 | 1237476.6993
13 | 2621017.001 | 1237476.6993 | 2621032.4075 | 1237445.2326
14 | 2621017.001 | 1237476.6993 | 2621039.1074 | 1237480.9828
15 | 2621040.6847 | 1237428.3269 | 2621032.4075 | 1237445.2326
16 | 2621131.9921 | 1237343.2682 | 2621131.2104 | 1237358.8862
17 | 2621131.2104 | 1237358.8862 | 2621142.3965 | 1237362.1534
18 | 2621131.9921 | 1237343.2682 | 2621139.7536 | 1237343.3402 | 2621166.5522 | 1237351.0797
19 | 2621176.7576 | 1237372.1895 | 2621182.3198 | 1237373.7769
20 | 2621182.3198 | 1237373.7769 | 2621177.7093 | 1237389.6148 | 2621174.1445 | 1237400.709 | 2621221.2639 | 1237414.274 | 2621226.5009 | 1237413.7034 | 2621235.7972 | 1237416.1047 | 2621230.9617 | 1237435.6106 | 2621219.2559 | 1237474.6042 | 2621211.4794 | 1237472.4196
21 | 2621182.3198 | 1237373.7769 | 2621217.4102 | 1237384.008
22 | 2621176.7576 | 1237372.1895 | 2621179.2356 | 1237363.5638
23 | 2621215.5776 | 1237458.1253 | 2621211.4794 | 1237472.4196
24 | 2621178.0161 | 1237462.8501 | 2621211.4794 | 1237472.4196
25 | 2621211.4794 | 1237472.4196 | 2621203.0271 | 1237500.9466
26 | 2621182.0078 | 1237448.6889 | 2621178.0161 | 1237462.8501
27 | 2621178.0161 | 1237462.8501 | 2621169.9382 | 1237491.5363
28 | 2621178.0161 | 1237462.8501 | 2621147.0981 | 1237454.3905
29 | 2621192.9726 | 1237534.8812 | 2621203.0271 | 1237500.9466
30 | 2621110.5439 | 1237279.6527 | 2621131.4037 | 1237285.2635 | 2621144.0113 | 1237288.3769 | 2621145.3946 | 1237288.7042 | 2621178.2488 | 1237297.5375 | 2621193.5301 | 1237301.839 | 2621191.8322 | 1237309.1597 | 2621188.8412 | 1237316.2979 | 2621197.6982 | 1237321.0435 | 2621190.6293 | 1237345.2889 | 2621187.2212 | 1237356.9729 | 2621181.5757 | 1237355.4185
31 | 2621110.5439 | 1237279.6527 | 2621081.1872 | 1237271.894
32 | 2621181.5757 | 1237355.4185 | 2621179.2356 | 1237363.5638
33 | 2621181.5757 | 1237355.4185 | 2621166.5522 | 1237351.0797
34 | 2621050.2531 | 1237263.7184 | 2621081.1872 | 1237271.894
35 | 2621084.285 | 1237600.8345 | 2621087.4906 | 1237587.7395 | 2621065.7445 | 1237582.5004
36 | 2621126.6908 | 1237521.7709 | 2621113.8089 | 1237519.3571
37 | 2621253.2044 | 1237464.7747 | 2621258.2524 | 1237466.2714 | 2621249.887 | 1237497.6832
38 | 2621234.2442 | 1237543.945 | 2621237.3735 | 1237544.6454 | 2621249.887 | 1237497.6832
39 | 2621234.2442 | 1237543.945 | 2621239.9049 | 1237525.0724
40 | 2621200.7061 | 1237536.3763 | 2621206.6851 | 1237537.7207 | 2621234.2442 | 1237543.945
41 | 2621234.2442 | 1237543.945 | 2621237.3735 | 1237544.6454 | 2621248.7191 | 1237547.2097 | 2621258.9914 | 1237549.5367
42 | 2621200.7061 | 1237536.3763 | 2621192.9726 | 1237534.8812
43 | 2621200.7061 | 1237536.3763 | 2621198.3415 | 1237548.2197 | 2621195.4336 | 1237562.7878
44 | 2621159.5975 | 1237528.2584 | 2621192.9726 | 1237534.8812
45 | 2621128.4233 | 1237449.2766 | 2621142.9492 | 1237453.1973 | 2621147.0981 | 1237454.3905
46 | 2621147.0981 | 1237454.3905 | 2621151.0432 | 1237439.0181
47 | 2621050.2531 | 1237263.7184 | 2621013.9498 | 1237323.1602 | 2621012.1657 | 1237329.2355
48 | 2621320.9475 | 1237507.1987 | 2621349.5803 | 1237515.6732
49 | 2621349.5803 | 1237515.6732 | 2621354.3949 | 1237499.5263
50 | 2621320.9475 | 1237507.1987 | 2621325.5596 | 1237490.994
51 | 2621314.8713 | 1237505.5314 | 2621320.9475 | 1237507.1987
52 | 2621258.9914 | 1237549.5367 | 2621267.3018 | 1237523.7852
53 | 2621269.9149 | 1237515.6881 | 2621267.3018 | 1237523.7852
54 | 2621034.2007 | 1237344.0113 | 2621033.0171 | 1237346.1664
55 | 2621012.1657 | 1237329.2355 | 2621035.692 | 1237335.9671 | 2621036.8151 | 1237339.2509 | 2621034.2007 | 1237344.0113
56 | 2621126.6908 | 1237521.7709 | 2621143.5184 | 1237525.0882 | 2621159.5975 | 1237528.2584
57 | 2621276.7306 | 1237494.5772 | 2621314.8713 | 1237505.5314
58 | 2621276.7306 | 1237494.5772 | 2621280.7926 | 1237479.8826
59 | 2621276.7306 | 1237494.5772 | 2621269.9149 | 1237515.6881
60 | 2621269.9149 | 1237515.6881 | 2621289.8174 | 1237521.5584
61 | 2621128.4233 | 1237449.2766 | 2621117.1472 | 1237446.2348
62 | 2621128.4233 | 1237449.2766 | 2621121.2776 | 1237483.5425
63 | 2621117.1472 | 1237446.2348 | 2621120.9977 | 1237431.3281
64 | 2621096.8019 | 1237440.737 | 2621117.1472 | 1237446.2348
65 | 2621096.8019 | 1237440.737 | 2621085.6165 | 1237437.7178
66 | 2621085.6165 | 1237437.7178 | 2621089.4307 | 1237422.3551

## bus_geodata
| x | y | coords
0 | 2621067.233 | 1237541.2344
1 | 2621074.099 | 1237511.4004
2 | 2621034.9605 | 1237568.6196
3 | 2621082.1045 | 1237513.0075
4 | 2621053.909 | 1237579.649
5 | 2621020.6166 | 1237579.8016
6 | 2621014.5451 | 1237547.1391
7 | 2621111.4427 | 1237518.9151
8 | 2621089.3861 | 1237477.2021
9 | 2621017.001 | 1237476.6993
10 | 2620972.2164 | 1237502.6019
11 | 2621032.4075 | 1237445.2326
12 | 2621039.1074 | 1237480.9828
13 | 2621131.2104 | 1237358.8862
14 | 2621131.9921 | 1237343.2682
15 | 2621142.3965 | 1237362.1534
16 | 2621182.3198 | 1237373.7769
17 | 2621176.7576 | 1237372.1895
18 | 2621211.4794 | 1237472.4196
19 | 2621217.4102 | 1237384.008
20 | 2621215.5776 | 1237458.1253
21 | 2621178.0161 | 1237462.8501
22 | 2621203.0271 | 1237500.9466
23 | 2621110.5439 | 1237279.6527
24 | 2621181.5757 | 1237355.4185
25 | 2621081.1872 | 1237271.894
26 | 2621179.2356 | 1237363.5638
27 | 2621166.5522 | 1237351.0797
28 | 2621065.7445 | 1237582.5004
29 | 2621103.3425 | 1237567.4831
30 | 2621113.8089 | 1237519.3571
31 | 2621249.887 | 1237497.6832
32 | 2621253.2044 | 1237464.7747
33 | 2621234.2442 | 1237543.945
34 | 2621040.6847 | 1237428.3269
35 | 2621200.7061 | 1237536.3763
36 | 2621192.9726 | 1237534.8812
37 | 2621195.4336 | 1237562.7878
38 | 2621182.0078 | 1237448.6889
39 | 2621169.9382 | 1237491.5363
40 | 2621147.0981 | 1237454.3905
41 | 2621050.2531 | 1237263.7184
42 | 2621084.285 | 1237600.8345
43 | 2621349.5803 | 1237515.6732
44 | 2621320.9475 | 1237507.1987
45 | 2621354.3949 | 1237499.5263
46 | 2621258.9914 | 1237549.5367
47 | 2621267.3018 | 1237523.7852
48 | 2621033.0171 | 1237346.1664
49 | 2621034.2007 | 1237344.0113
50 | 2621012.1657 | 1237329.2355
51 | 2621239.9049 | 1237525.0724
52 | 2621159.5975 | 1237528.2584
53 | 2621325.5596 | 1237490.994
54 | 2621314.8713 | 1237505.5314
55 | 2621276.7306 | 1237494.5772
56 | 2621269.9149 | 1237515.6881
57 | 2621289.8174 | 1237521.5584
58 | 2621280.7926 | 1237479.8826
59 | 2621151.0432 | 1237439.0181
60 | 2621128.4233 | 1237449.2766
61 | 2621117.1472 | 1237446.2348
62 | 2621121.2776 | 1237483.5425
63 | 2621126.6908 | 1237521.7709
64 | 2621120.9977 | 1237431.3281
65 | 2621096.8019 | 1237440.737
66 | 2621085.6165 | 1237437.7178
67 | 2621089.4307 | 1237422.3551
68 | 2621182.0078 | 1237448.6889

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98143 | -0.35705 | 0.004273 | 0.0010709
1 | 0.98275 | -0.33122 | 0 | 0
2 | 0.97974 | -0.39002 | 0 | 0
3 | 0.9831 | -0.32436 | 0 | 0
4 | 0.97953 | -0.39416 | 0 | 0
5 | 0.97966 | -0.39155 | 0.0046538 | 0.0011663
6 | 0.97896 | -0.40533 | 0.019117 | 0.0047913
7 | 0.98496 | -0.2882 | 0 | 0
8 | 0.98241 | -0.33796 | 0.020623 | 0.0051687
9 | 0.97783 | -0.42765 | 0 | 0
10 | 0.97843 | -0.41576 | 0 | 0
11 | 0.97767 | -0.43074 | 0.0023835 | 0.00059737
12 | 0.97773 | -0.42949 | 0.0044812 | 0.0011231
13 | 0.98053 | -0.37359 | 0 | 0
14 | 0.98059 | -0.37243 | 0 | 0
15 | 0.98049 | -0.37445 | 0.0040796 | 0.0010225
16 | 0.98136 | -0.35734 | 0 | 0
17 | 0.98123 | -0.35988 | 0 | 0
18 | 0.9966 | -0.064331 | 0 | 0
19 | 0.97873 | -0.40895 | 0.077809 | 0.019501
20 | 0.99649 | -0.066552 | 0.0085111 | 0.0021331
21 | 1 | 0 | -0.38901 | -0.099036
22 | 0.99471 | -0.10047 | 0.017193 | 0.0043089
23 | 0.97928 | -0.39805 | 0 | 0
24 | 0.98087 | -0.36703 | 0 | 0
25 | 0.97897 | -0.40416 | 0.0029456 | 0.00073824
26 | 0.98103 | -0.36384 | 0.0035372 | 0.0008865
27 | 0.98073 | -0.36979 | 0.0056596 | 0.0014184
28 | 0.97943 | -0.39622 | 0.004658 | 0.0011674
29 | 0.98427 | -0.30174 | 0.014964 | 0.0037503
30 | 0.98514 | -0.28465 | 0 | 0
31 | 0.98695 | -0.25007 | 0 | 0
32 | 0.98611 | -0.26632 | 0.024034 | 0.0060236
33 | 0.98809 | -0.22781 | 0 | 0
34 | 0.97763 | -0.43158 | 0.0024519 | 0.00061449
35 | 0.99091 | -0.17338 | 0 | 0
36 | 0.99161 | -0.1599 | 0 | 0
37 | 0.99072 | -0.177 | 0.0075773 | 0.001899
38 | 0.99991 | -0.0017703 | 0.006903 | 0.00173
39 | 0.99953 | -0.0089448 | 0.017212 | 0.0043137
40 | 0.99883 | -0.022477 | 0 | 0
41 | 0.97873 | -0.40889 | 0 | 0
42 | 0.97927 | -0.39926 | 0.0046585 | 0.0011675
43 | 0.98309 | -0.32513 | 0 | 0
44 | 0.98342 | -0.31881 | 0 | 0
45 | 0.98291 | -0.32872 | 0.011786 | 0.0029537
46 | 0.98684 | -0.25215 | 0 | 0
47 | 0.9855 | -0.27818 | 0.0088691 | 0.0022228
48 | 0.9779 | -0.42519 | 0.0033293 | 0.00083439
49 | 0.97791 | -0.42504 | 0.004784 | 0.001199
50 | 0.97816 | -0.42011 | 0 | 0
51 | 0.98788 | -0.23184 | 0.011466 | 0.0028737
52 | 0.98868 | -0.21617 | 0.011001 | 0.0027571
53 | 0.98323 | -0.32238 | 0.011773 | 0.0029507
54 | 0.98355 | -0.31614 | 0 | 0
55 | 0.98441 | -0.29935 | 0 | 0
56 | 0.98515 | -0.28503 | 0 | 0
57 | 0.98498 | -0.28834 | 0.0088746 | 0.0022242
58 | 0.98424 | -0.30274 | 0.012369 | 0.0031001
59 | 0.99873 | -0.024437 | 0.007068 | 0.0017714
60 | 0.99825 | -0.033722 | 0 | 0
61 | 0.99809 | -0.03681 | 0 | 0
62 | 0.99767 | -0.044791 | 0.018068 | 0.0045283
63 | 0.98614 | -0.26536 | 0 | 0
64 | 0.99799 | -0.038714 | 0.0070684 | 0.0017715
65 | 0.99793 | -0.039784 | 0 | 0
66 | 0.99785 | -0.041419 | 0 | 0
67 | 0.99773 | -0.043659 | 0.0080841 | 0.0020261
68 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.04678 | -0.011759 | 0.046837 | 0.011796 | 5.7772e-05 | 3.6587e-05 | 0.070939 | 0.070939 | 0.070939 | 0.98143 | -0.35705 | 0.98275 | -0.33122 | 19.4887
1 | 0.042507 | 0.010688 | -0.04244 | -0.010646 | 6.6819e-05 | 4.2223e-05 | 0.06446 | 0.064461 | 0.064461 | 0.98143 | -0.35705 | 0.97974 | -0.39002 | 17.709
2 | -0.046837 | -0.011796 | 0.046853 | 0.011806 | 1.5365e-05 | 9.7303e-06 | 0.070939 | 0.070939 | 0.070939 | 0.98275 | -0.33122 | 0.9831 | -0.32436 | 19.4887
3 | 0.0093199 | 0.0023362 | -0.009318 | -0.0023353 | 1.8397e-06 | 8.6912e-07 | 0.014155 | 0.014155 | 0.014155 | 0.97974 | -0.39002 | 0.97953 | -0.39416 | 3.8888
4 | 0.0046541 | 0.0011663 | -0.0046538 | -0.0011663 | 3.4078e-07 | -1.092e-08 | 0.0070686 | 0.0070687 | 0.0070687 | 0.97974 | -0.39002 | 0.97966 | -0.39155 | 1.9419
5 | 0.028466 | 0.0071437 | -0.028445 | -0.0071307 | 2.0775e-05 | 1.2923e-05 | 0.043237 | 0.043237 | 0.043237 | 0.97974 | -0.39002 | 0.97896 | -0.40533 | 11.8783
6 | -0.06749 | -0.016982 | 0.067606 | 0.017057 | 0.00011683 | 7.4393e-05 | 0.10218 | 0.10218 | 0.10218 | 0.9831 | -0.32436 | 0.98496 | -0.2882 | 28.0704
7 | 0.020637 | 0.0051768 | -0.020623 | -0.0051687 | 1.337e-05 | 8.0938e-06 | 0.031237 | 0.031237 | 0.031237 | 0.9831 | -0.32436 | 0.98241 | -0.33796 | 8.5817
8 | 0.009318 | 0.0023353 | -0.0093171 | -0.0023349 | 9.1474e-07 | 4.3221e-07 | 0.014155 | 0.014155 | 0.014155 | 0.97953 | -0.39416 | 0.97943 | -0.39622 | 3.8888
9 | 0.0093277 | 0.0023395 | -0.0093231 | -0.0023373 | 4.6322e-06 | 2.1925e-06 | 0.014179 | 0.014179 | 0.014179 | 0.97896 | -0.40533 | 0.97843 | -0.41576 | 3.8953
10 | 0.014973 | 0.0037558 | -0.014964 | -0.0037503 | 9.6599e-06 | 5.5422e-06 | 0.022622 | 0.022622 | 0.022622 | 0.98496 | -0.2882 | 0.98427 | -0.30174 | 6.2149
11 | -0.08258 | -0.020813 | 0.082594 | 0.020822 | 1.4017e-05 | 8.9404e-06 | 0.1248 | 0.1248 | 0.1248 | 0.98496 | -0.2882 | 0.98514 | -0.28465 | 34.2851
12 | -0.0093178 | -0.0023348 | 0.0093231 | 0.0023373 | 5.2824e-06 | 2.5013e-06 | 0.014179 | 0.014179 | 0.014179 | 0.97783 | -0.42765 | 0.97843 | -0.41576 | 3.8954
13 | 0.0048362 | 0.0012117 | -0.0048355 | -0.0012117 | 7.116e-07 | 1.6007e-08 | 0.0073594 | 0.0073595 | 0.0073595 | 0.97783 | -0.42765 | 0.97767 | -0.43074 | 2.0218
14 | 0.0044816 | 0.0011231 | -0.0044812 | -0.0011231 | 3.9275e-07 | -3.107e-08 | 0.0068199 | 0.00682 | 0.00682 | 0.97783 | -0.42765 | 0.97773 | -0.42949 | 1.8736
15 | 0.002452 | 0.00061432 | -0.0024519 | -0.00061449 | 9.8305e-08 | -1.7312e-07 | 0.0037318 | 0.0037319 | 0.0037319 | 0.97767 | -0.43074 | 0.97763 | -0.43158 | 1.0252
16 | -0.0040798 | -0.0010224 | 0.00408 | 0.0010224 | 2.2482e-07 | -5.3404e-08 | 0.0061913 | 0.0061913 | 0.0061913 | 0.98053 | -0.37359 | 0.98059 | -0.37243 | 1.7009
17 | 0.0040798 | 0.0010224 | -0.0040796 | -0.0010225 | 1.6752e-07 | -3.9774e-08 | 0.0061913 | 0.0061914 | 0.0061914 | 0.98053 | -0.37359 | 0.98049 | -0.37445 | 1.7009
18 | -0.00408 | -0.0010224 | 0.0040805 | 0.0010222 | 5.1251e-07 | -1.2185e-07 | 0.0061913 | 0.0061911 | 0.0061913 | 0.98059 | -0.37243 | 0.98073 | -0.36979 | 1.7009
19 | 0.024376 | 0.0061196 | -0.024373 | -0.0061178 | 2.956e-06 | 1.8189e-06 | 0.036964 | 0.036964 | 0.036964 | 0.98136 | -0.35734 | 0.98123 | -0.35988 | 10.155
20 | -0.10238 | -0.025743 | 0.10383 | 0.026672 | 0.0014548 | 0.00092903 | 0.15526 | 0.15526 | 0.15526 | 0.98136 | -0.35734 | 0.9966 | -0.064331 | 42.6542
21 | 0.078001 | 0.019623 | -0.077809 | -0.019501 | 0.00019182 | 0.0001223 | 0.1183 | 0.1183 | 0.1183 | 0.98136 | -0.35734 | 0.97873 | -0.40895 | 32.4992
22 | 0.024373 | 0.0061178 | -0.024368 | -0.0061149 | 4.5985e-06 | 2.8297e-06 | 0.036964 | 0.036964 | 0.036964 | 0.98123 | -0.35988 | 0.98103 | -0.36384 | 10.1551
23 | 0.008512 | 0.0021335 | -0.0085111 | -0.0021331 | 9.0065e-07 | 3.8269e-07 | 0.012709 | 0.012709 | 0.012709 | 0.9966 | -0.064331 | 0.99649 | -0.066552 | 3.4916
24 | -0.32187 | -0.082202 | 0.32287 | 0.082844 | 0.0010043 | 0.0006414 | 0.48112 | 0.48112 | 0.48112 | 0.9966 | -0.064331 | 1 | 0 | 44.0585
25 | 0.20952 | 0.053397 | -0.20916 | -0.053165 | 0.00036471 | 0.00023225 | 0.31315 | 0.31315 | 0.31315 | 0.9966 | -0.064331 | 0.99471 | -0.10047 | 28.6767
26 | 0.0069035 | 0.0017302 | -0.006903 | -0.00173 | 5.8219e-07 | 1.7961e-07 | 0.010273 | 0.010273 | 0.010273 | 1 | 0 | 0.99991 | -0.0017703 | 2.8222
27 | 0.017219 | 0.004318 | -0.017212 | -0.0043137 | 7.3376e-06 | 4.3053e-06 | 0.025623 | 0.025624 | 0.025624 | 1 | 0 | 0.99953 | -0.0089448 | 7.0394
28 | 0.040365 | 0.010144 | -0.040322 | -0.010117 | 4.3262e-05 | 2.7269e-05 | 0.060074 | 0.060074 | 0.060074 | 1 | 0 | 0.99883 | -0.022477 | 16.5039
29 | 0.19196 | 0.048856 | -0.19142 | -0.048506 | 0.00054825 | 0.00034997 | 0.28743 | 0.28743 | 0.28743 | 0.99471 | -0.10047 | 0.99161 | -0.1599 | 39.4822
30 | -0.01107 | -0.0027767 | 0.011087 | 0.0027852 | 1.6393e-05 | 8.5447e-06 | 0.016822 | 0.016821 | 0.016822 | 0.97928 | -0.39805 | 0.98087 | -0.36703 | 4.6214
31 | 0.01107 | 0.0027767 | -0.011067 | -0.002775 | 3.2222e-06 | 1.6803e-06 | 0.016822 | 0.016822 | 0.016822 | 0.97928 | -0.39805 | 0.97897 | -0.40416 | 4.6214
32 | -0.020828 | -0.0052265 | 0.020831 | 0.0052284 | 3.1733e-06 | 1.9239e-06 | 0.031599 | 0.031599 | 0.031599 | 0.98087 | -0.36703 | 0.98103 | -0.36384 | 8.6811
33 | 0.0097415 | 0.0024413 | -0.0097402 | -0.0024407 | 1.2807e-06 | 6.2228e-07 | 0.014778 | 0.014778 | 0.014778 | 0.98087 | -0.36703 | 0.98073 | -0.36979 | 4.0599
34 | 0.0081213 | 0.0020367 | -0.0081195 | -0.002036 | 1.8285e-06 | 7.6805e-07 | 0.012345 | 0.012345 | 0.012345 | 0.97897 | -0.40416 | 0.97873 | -0.40889 | 3.3915
35 | 0.0046591 | 0.0011675 | -0.0046585 | -0.0011675 | 6.7361e-07 | -1.9992e-08 | 0.0070785 | 0.0070786 | 0.0070786 | 0.97943 | -0.39622 | 0.97927 | -0.39926 | 1.9447
36 | -0.082594 | -0.020822 | 0.08267 | 0.02087 | 7.6329e-05 | 4.8684e-05 | 0.1248 | 0.1248 | 0.1248 | 0.98514 | -0.28465 | 0.98614 | -0.26536 | 34.2851
37 | 0.024053 | 0.006035 | -0.024034 | -0.0060236 | 1.8623e-05 | 1.1437e-05 | 0.036267 | 0.036267 | 0.036267 | 0.98695 | -0.25007 | 0.98611 | -0.26632 | 9.9636
38 | -0.024053 | -0.006035 | 0.024079 | 0.0060507 | 2.5553e-05 | 1.5691e-05 | 0.036267 | 0.036267 | 0.036267 | 0.98695 | -0.25007 | 0.98809 | -0.22781 | 9.9635
39 | 0.011468 | 0.0028749 | -0.011466 | -0.0028737 | 2.204e-06 | 1.1582e-06 | 0.017271 | 0.017271 | 0.017271 | 0.98809 | -0.22781 | 0.98788 | -0.23184 | 4.7448
40 | -0.089421 | -0.022503 | 0.089654 | 0.022652 | 0.00023326 | 0.00014885 | 0.1347 | 0.1347 | 0.1347 | 0.98809 | -0.22781 | 0.99091 | -0.17338 | 37.0044
41 | 0.053874 | 0.013578 | -0.053811 | -0.013538 | 6.2666e-05 | 3.9782e-05 | 0.081158 | 0.081158 | 0.081158 | 0.98809 | -0.22781 | 0.98684 | -0.25215 | 22.2962
42 | -0.097233 | -0.024552 | 0.097296 | 0.024592 | 6.2847e-05 | 4.0121e-05 | 0.14608 | 0.14608 | 0.14608 | 0.99091 | -0.17338 | 0.99161 | -0.1599 | 40.1309
43 | 0.0075786 | 0.0018995 | -0.0075773 | -0.001899 | 1.3081e-06 | 4.9031e-07 | 0.011381 | 0.011381 | 0.011381 | 0.99091 | -0.17338 | 0.99072 | -0.177 | 3.1266
44 | 0.094121 | 0.023914 | -0.093866 | -0.023752 | 0.00025423 | 0.00016227 | 0.14135 | 0.14135 | 0.14135 | 0.99161 | -0.1599 | 0.98868 | -0.21617 | 38.8337
45 | 0.033253 | 0.0083452 | -0.033236 | -0.008334 | 1.7823e-05 | 1.1153e-05 | 0.049543 | 0.049544 | 0.049544 | 0.99883 | -0.022477 | 0.99825 | -0.033722 | 13.6109
46 | 0.0070687 | 0.0017716 | -0.007068 | -0.0017714 | 6.5999e-07 | 2.1469e-07 | 0.010531 | 0.010531 | 0.010531 | 0.99883 | -0.022477 | 0.99873 | -0.024437 | 2.8931
47 | 0.0081195 | 0.002036 | -0.0081152 | -0.0020342 | 4.3396e-06 | 1.8237e-06 | 0.012345 | 0.012345 | 0.012345 | 0.97873 | -0.40889 | 0.97816 | -0.42011 | 3.3915
48 | -0.011788 | -0.0029548 | 0.011791 | 0.0029567 | 3.555e-06 | 1.8975e-06 | 0.017842 | 0.017842 | 0.017842 | 0.98309 | -0.32513 | 0.98342 | -0.31881 | 4.9016
49 | 0.011788 | 0.0029548 | -0.011786 | -0.0029537 | 2.0114e-06 | 1.0737e-06 | 0.017842 | 0.017842 | 0.017842 | 0.98309 | -0.32513 | 0.98291 | -0.32872 | 4.9017
50 | 0.011775 | 0.0029518 | -0.011773 | -0.0029507 | 2.0057e-06 | 1.0699e-06 | 0.017818 | 0.017818 | 0.017818 | 0.98342 | -0.31881 | 0.98323 | -0.32238 | 4.895
51 | -0.023567 | -0.0059085 | 0.02357 | 0.0059103 | 2.9965e-06 | 1.838e-06 | 0.03566 | 0.035659 | 0.03566 | 0.98342 | -0.31881 | 0.98355 | -0.31614 | 9.7966
52 | 0.053811 | 0.013538 | -0.053744 | -0.013495 | 6.6836e-05 | 4.243e-05 | 0.081158 | 0.081158 | 0.081158 | 0.98684 | -0.25215 | 0.9855 | -0.27818 | 22.2962
53 | 0.044875 | 0.011273 | -0.04486 | -0.011263 | 1.4652e-05 | 9.2691e-06 | 0.067767 | 0.067767 | 0.067767 | 0.9855 | -0.27818 | 0.98515 | -0.28503 | 18.6172
54 | -0.0033293 | -0.00083439 | 0.0033293 | 0.00083437 | 2.3662e-08 | -1.5703e-08 | 0.0050659 | 0.0050659 | 0.0050659 | 0.9779 | -0.42519 | 0.97791 | -0.42504 | 1.3917
55 | -0.0081133 | -0.0020334 | 0.0081152 | 0.0020342 | 1.9073e-06 | 8.0187e-07 | 0.012345 | 0.012345 | 0.012345 | 0.97791 | -0.42504 | 0.97816 | -0.42011 | 3.3916
56 | 0.082865 | 0.020995 | -0.08267 | -0.02087 | 0.00019533 | 0.00012459 | 0.1248 | 0.1248 | 0.1248 | 0.98868 | -0.21617 | 0.98614 | -0.26536 | 34.2851
57 | -0.02357 | -0.0059103 | 0.023588 | 0.0059219 | 1.8871e-05 | 1.1575e-05 | 0.035659 | 0.035659 | 0.035659 | 0.98355 | -0.31614 | 0.98441 | -0.29935 | 9.7966
58 | 0.012371 | 0.0031012 | -0.012369 | -0.0031001 | 1.9993e-06 | 1.0857e-06 | 0.018701 | 0.018701 | 0.018701 | 0.98441 | -0.29935 | 0.98424 | -0.30274 | 5.1375
59 | -0.03596 | -0.0090231 | 0.035984 | 0.0090385 | 2.4579e-05 | 1.5449e-05 | 0.05436 | 0.05436 | 0.05436 | 0.98441 | -0.29935 | 0.98515 | -0.28503 | 14.934
60 | 0.008876 | 0.0022248 | -0.0088746 | -0.0022242 | 1.3986e-06 | 6.3097e-07 | 0.013407 | 0.013407 | 0.013407 | 0.98515 | -0.28503 | 0.98498 | -0.28834 | 3.6832
61 | 0.015158 | 0.0038001 | -0.015156 | -0.0037988 | 2.2299e-06 | 1.2749e-06 | 0.022595 | 0.022595 | 0.022595 | 0.99825 | -0.033722 | 0.99809 | -0.03681 | 6.2075
62 | 0.018078 | 0.0045339 | -0.018068 | -0.0045283 | 9.5323e-06 | 5.6433e-06 | 0.026948 | 0.026948 | 0.026948 | 0.99825 | -0.033722 | 0.99767 | -0.044791 | 7.4034
63 | 0.007069 | 0.0017717 | -0.0070684 | -0.0017715 | 6.4123e-07 | 2.0921e-07 | 0.010539 | 0.010539 | 0.010539 | 0.99809 | -0.03681 | 0.99799 | -0.038714 | 2.8953
64 | 0.0080868 | 0.0020271 | -0.0080856 | -0.0020267 | 1.1456e-06 | 4.5857e-07 | 0.012056 | 0.012057 | 0.012057 | 0.99809 | -0.03681 | 0.99793 | -0.039784 | 3.3122
65 | 0.0080856 | 0.0020267 | -0.008085 | -0.0020264 | 6.2981e-07 | 2.5214e-07 | 0.012057 | 0.012057 | 0.012057 | 0.99793 | -0.039784 | 0.99785 | -0.041419 | 3.3123
66 | 0.008085 | 0.0020264 | -0.0080841 | -0.0020261 | 8.6286e-07 | 3.4548e-07 | 0.012057 | 0.012057 | 0.012057 | 0.99785 | -0.041419 | 0.99773 | -0.043659 | 3.3123

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38901 | 0.099036

## res_load
| p_mw | q_mvar
0 | 0.004273 | 0.0010709
1 | 0.0046538 | 0.0011663
2 | 0.019117 | 0.0047913
3 | 0.020623 | 0.0051687
4 | 0.0023835 | 0.00059737
5 | 0.0044812 | 0.0011231
6 | 0.0040796 | 0.0010225
7 | 0.077809 | 0.019501
8 | 0.0085111 | 0.0021331
9 | 0.017193 | 0.0043089
10 | 0.0029456 | 0.00073824
11 | 0.0035372 | 0.0008865
12 | 0.0056596 | 0.0014184
13 | 0.004658 | 0.0011674
14 | 0.014964 | 0.0037503
15 | 0.024034 | 0.0060236
16 | 0.0024519 | 0.00061449
17 | 0.0075773 | 0.001899
18 | 0.006903 | 0.00173
19 | 0.017212 | 0.0043137
20 | 0.0046585 | 0.0011675
21 | 0.011786 | 0.0029537
22 | 0.0088691 | 0.0022228
23 | 0.0033293 | 0.00083439
24 | 0.004784 | 0.001199
25 | 0.011466 | 0.0028737
26 | 0.011001 | 0.0027571
27 | 0.011773 | 0.0029507
28 | 0.0088746 | 0.0022242
29 | 0.012369 | 0.0031001
30 | 0.007068 | 0.0017714
31 | 0.018068 | 0.0045283
32 | 0.0070684 | 0.0017715
33 | 0.0080841 | 0.0020261

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1