## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2407-9_1_3_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_2407-9_1_3_node_127 | 0.4 | n |  | TRUE
2 | bus_LV_2407-9_1_3_node_129 | 0.4 | n |  | TRUE
3 | bus_LV_2407-9_1_3_node_120 | 0.4 | n |  | TRUE
4 | bus_LV_2407-9_1_3_node_131 | 0.4 | n |  | TRUE
5 | bus_LV_2407-9_1_3_node_130 | 0.4 | n |  | TRUE
6 | bus_LV_2407-9_1_3_node_126 | 0.4 | n |  | TRUE
7 | bus_LV_2407-9_1_3_node_136 | 0.4 | n |  | TRUE
8 | bus_LV_2407-9_1_3_node_133 | 0.4 | n |  | TRUE
9 | bus_LV_2407-9_1_3_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_2407-9_1_3_node_132 | 0.4 | n |  | TRUE
11 | bus_LV_2407-9_1_3_node_119 | 0.4 | n |  | TRUE
12 | bus_LV_2407-9_1_3_node_134 | 0.4 | n |  | TRUE
13 | bus_LV_2407-9_1_3_node_94 | 0.4 | n |  | TRUE
14 | bus_LV_2407-9_1_3_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_2407-9_1_3_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_2407-9_1_3_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_2407-9_1_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_2407-9_1_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_2407-9_1_3_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_2407-9_1_3_node_82 | 0.4 | n |  | TRUE
21 | bus_LV_2407-9_1_3_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_2407-9_1_3_node_79 | 0.4 | n |  | TRUE
23 | bus_LV_2407-9_1_3_node_78 | 0.4 | n |  | TRUE
24 | bus_LV_2407-9_1_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_2407-9_1_3_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_2407-9_1_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_2407-9_1_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_2407-9_1_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_2407-9_1_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_2407-9_1_3_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_2407-9_1_3_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_2407-9_1_3_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_2407-9_1_3_node_110 | 0.4 | n |  | TRUE
34 | bus_LV_2407-9_1_3_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_2407-9_1_3_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_2407-9_1_3_node_63 | 0.4 | n |  | TRUE
37 | bus_LV_2407-9_1_3_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_2407-9_1_3_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_2407-9_1_3_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_2407-9_1_3_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_2407-9_1_3_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_2407-9_1_3_node_93 | 0.4 | n |  | TRUE
43 | bus_LV_2407-9_1_3_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_2407-9_1_3_node_68 | 0.4 | n |  | TRUE
45 | bus_LV_2407-9_1_3_node_69 | 0.4 | n |  | TRUE
46 | bus_LV_2407-9_1_3_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_2407-9_1_3_node_71 | 0.4 | n |  | TRUE
48 | bus_LV_2407-9_1_3_node_80 | 0.4 | n |  | TRUE
49 | bus_LV_2407-9_1_3_node_81 | 0.4 | n |  | TRUE
50 | bus_LV_2407-9_1_3_node_113 | 0.4 | n |  | TRUE
51 | bus_LV_2407-9_1_3_node_111 | 0.4 | n |  | TRUE
52 | bus_LV_2407-9_1_3_node_112 | 0.4 | n |  | TRUE
53 | bus_LV_2407-9_1_3_node_114 | 0.4 | n |  | TRUE
54 | bus_LV_2407-9_1_3_node_115 | 0.4 | n |  | TRUE
55 | bus_LV_2407-9_1_3_node_122 | 0.4 | n |  | TRUE
56 | bus_LV_2407-9_1_3_node_116 | 0.4 | n |  | TRUE
57 | bus_LV_2407-9_1_3_node_117 | 0.4 | n |  | TRUE
58 | bus_LV_2407-9_1_3_node_118 | 0.4 | n |  | TRUE
59 | bus_LV_2407-9_1_3_node_121 | 0.4 | n |  | TRUE
60 | bus_LV_2407-9_1_3_node_125 | 0.4 | n |  | TRUE
61 | bus_LV_2407-9_1_3_node_123 | 0.4 | n |  | TRUE
62 | bus_MV_479_0_node_82 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2407-9_1_3_load_127 | 1 | 0.015823 | 0.0039656 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2407-9_1_3_load_120 | 3 | 0.021334 | 0.0053468 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2407-9_1_3_load_130 | 5 | 0.017012 | 0.0042635 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2407-9_1_3_load_126 | 6 | 0.016223 | 0.0040658 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2407-9_1_3_load_136 | 7 | 0.023824 | 0.005971 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2407-9_1_3_load_133 | 8 | 0.0025293 | 0.0006339 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2407-9_1_3_load_132 | 10 | 0.01733 | 0.0043433 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2407-9_1_3_load_134 | 12 | 0.0044061 | 0.0011043 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2407-9_1_3_load_14 | 14 | 0.0027772 | 0.00069604 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2407-9_1_3_load_17 | 16 | 0.0026656 | 0.00066807 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2407-9_1_3_load_20 | 19 | 0.0023316 | 0.00058434 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2407-9_1_3_load_82 | 20 | 0.036044 | 0.0090335 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2407-9_1_3_load_49 | 21 | 0.0017656 | 0.0004425 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2407-9_1_3_load_79 | 22 | 0.0018139 | 0.0004546 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2407-9_1_3_load_78 | 23 | 0.0032527 | 0.0008152 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2407-9_1_3_load_19 | 24 | 0.0023383 | 0.00058604 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2407-9_1_3_load_21 | 26 | 0.0014798 | 0.00037088 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2407-9_1_3_load_22 | 27 | 0.001371 | 0.00034359 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2407-9_1_3_load_25 | 29 | 0.00075595 | 0.00018946 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2407-9_1_3_load_31 | 31 | 0.0099392 | 0.002491 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2407-9_1_3_load_110 | 33 | 0.0033352 | 0.00083589 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2407-9_1_3_load_50 | 34 | 0.0015882 | 0.00039805 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2407-9_1_3_load_51 | 35 | 0.0026522 | 0.0006647 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2407-9_1_3_load_63 | 36 | 0.0017745 | 0.00044474 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2407-9_1_3_load_52 | 37 | 0.0016437 | 0.00041195 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2407-9_1_3_load_53 | 38 | 0.0016029 | 0.00040173 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2407-9_1_3_load_55 | 39 | 0.0013461 | 0.00033737 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2407-9_1_3_load_56 | 40 | 0.0030852 | 0.00077324 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2407-9_1_3_load_72 | 41 | 0.0013446 | 0.000337 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2407-9_1_3_load_67 | 43 | 0.0035534 | 0.00089056 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2407-9_1_3_load_68 | 44 | 0.0032399 | 0.00081199 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2407-9_1_3_load_69 | 45 | 0.0027188 | 0.00068139 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2407-9_1_3_load_70 | 46 | 0.0032228 | 0.0008077 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2407-9_1_3_load_71 | 47 | 0.0015972 | 0.00040029 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2407-9_1_3_load_80 | 48 | 0.0015742 | 0.00039453 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2407-9_1_3_load_111 | 51 | 0.013439 | 0.0033682 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2407-9_1_3_load_122 | 55 | 0.0024028 | 0.0006022 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2407-9_1_3_load_116 | 56 | 0.018752 | 0.0046997 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2407-9_1_3_load_117 | 57 | 0.01809 | 0.0045339 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2407-9_1_3_load_118 | 58 | 0.016582 | 0.0041558 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2407-9_1_3_load_121 | 59 | 0.016466 | 0.0041269 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2407-9_1_3_load_125 | 60 | 0.023824 | 0.0059708 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2407-9_1_3_load_123 | 61 | 0.015604 | 0.0039108 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2407-9_1_3_line_0 |  | 0 | 1 | 0.015914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2407-9_1_3_line_1 |  | 0 | 2 | 0.028544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2407-9_1_3_line_2 |  | 2 | 3 | 0.033596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2407-9_1_3_line_3 |  | 2 | 4 | 0.028421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2407-9_1_3_line_4 |  | 4 | 8 | 0.02243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2407-9_1_3_line_5 |  | 4 | 9 | 0.10085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2407-9_1_3_line_6 |  | 5 | 6 | 0.028708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2407-9_1_3_line_7 |  | 5 | 7 | 0.026755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2407-9_1_3_line_8 |  | 6 | 60 | 0.00038268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2407-9_1_3_line_9 |  | 8 | 10 | 0.0453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2407-9_1_3_line_10 |  | 9 | 30 | 0.013541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2407-9_1_3_line_11 |  | 9 | 27 | 0.039544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2407-9_1_3_line_12 |  | 10 | 11 | 0.018323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2407-9_1_3_line_13 |  | 11 | 54 | 0.03431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2407-9_1_3_line_14 |  | 12 | 13 | 0.014887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2407-9_1_3_line_15 |  | 13 | 19 | 0.011926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2407-9_1_3_line_16 |  | 13 | 42 | 0.013671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2407-9_1_3_line_17 |  | 14 | 15 | 0.024804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2407-9_1_3_line_18 |  | 15 | 16 | 0.014301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2407-9_1_3_line_19 |  | 15 | 17 | 0.021161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2407-9_1_3_line_20 |  | 16 | 21 | 0.00063573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2407-9_1_3_line_21 |  | 17 | 22 | 0.026584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2407-9_1_3_line_22 |  | 17 | 23 | 0.014934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2407-9_1_3_line_23 |  | 18 | 19 | 0.017421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2407-9_1_3_line_24 |  | 18 | 20 | 0.031994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2407-9_1_3_line_25 |  | 20 | 50 | 0.10037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2407-9_1_3_line_26 |  | 20 | 49 | 0.044187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2407-9_1_3_line_27 |  | 21 | 34 | 0.021048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2407-9_1_3_line_28 |  | 22 | 42 | 0.011197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2407-9_1_3_line_29 |  | 24 | 25 | 0.029161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2407-9_1_3_line_30 |  | 25 | 40 | 0.021148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2407-9_1_3_line_31 |  | 25 | 37 | 0.016095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2407-9_1_3_line_32 |  | 26 | 27 | 0.034452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2407-9_1_3_line_33 |  | 26 | 28 | 0.011388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2407-9_1_3_line_34 |  | 28 | 29 | 0.012805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2407-9_1_3_line_35 |  | 30 | 31 | 0.042115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2407-9_1_3_line_36 |  | 31 | 32 | 0.028071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2407-9_1_3_line_37 |  | 32 | 33 | 0.38327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2407-9_1_3_line_38 |  | 34 | 35 | 0.0047895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2407-9_1_3_line_39 |  | 35 | 36 | 0.019797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2407-9_1_3_line_40 |  | 37 | 38 | 0.02454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2407-9_1_3_line_41 |  | 38 | 39 | 0.0059241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2407-9_1_3_line_42 |  | 39 | 41 | 0.0053991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2407-9_1_3_line_43 |  | 40 | 42 | 0.014935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2407-9_1_3_line_44 |  | 41 | 47 | 0.0059279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2407-9_1_3_line_45 |  | 43 | 44 | 0.0059634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2407-9_1_3_line_46 |  | 43 | 45 | 0.0053804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2407-9_1_3_line_47 |  | 45 | 46 | 0.0059185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2407-9_1_3_line_48 |  | 46 | 47 | 0.015082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2407-9_1_3_line_49 |  | 48 | 49 | 0.041134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2407-9_1_3_line_50 |  | 50 | 51 | 0.052475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_2407-9_1_3_line_51 |  | 51 | 52 | 0.073638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_2407-9_1_3_line_52 |  | 52 | 53 | 0.015105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2407-9_1_3_line_53 |  | 52 | 54 | 0.049441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_2407-9_1_3_line_54 |  | 53 | 55 | 0.016871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2407-9_1_3_line_55 |  | 54 | 56 | 0.024885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_2407-9_1_3_line_56 |  | 55 | 61 | 0.0092955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2407-9_1_3_line_57 |  | 56 | 57 | 2.959e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_2407-9_1_3_line_58 |  | 57 | 58 | 0.028278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_2407-9_1_3_line_59 |  | 58 | 59 | 0.00026224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_2407-9_1_3_line_60 |  | 59 | 60 | 0.02823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2407-9_1_3_trafo_125 | 0.63 MVA 20/0.4 kV | 62 | 60 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2620186.4172 | 1237718.9205 | 2620190.8026 | 1237703.6228
1 | 2620186.4172 | 1237718.9205 | 2620176.9988 | 1237745.8719
2 | 2620176.9988 | 1237745.8719 | 2620209.6443 | 1237753.8063
3 | 2620171.1106 | 1237773.5135 | 2620172.1267 | 1237761.6318 | 2620176.9988 | 1237745.8719
4 | 2620171.1106 | 1237773.5135 | 2620193.0747 | 1237778.0598
5 | 2620171.1106 | 1237773.5135 | 2620091 | 1237834.7696
6 | 2620334.4498 | 1237783.951 | 2620362.3607 | 1237790.6687
7 | 2620362.3607 | 1237790.6687 | 2620372.372 | 1237815.4801
8 | 2620334.4498 | 1237783.951 | 2620334.0777 | 1237783.8615
9 | 2620228.5722 | 1237793.8533 | 2620197.7085 | 1237786.5895 | 2620199.125 | 1237779.3121 | 2620193.0747 | 1237778.0598
10 | 2620092.2707 | 1237848.2489 | 2620091 | 1237834.7696
11 | 2620091 | 1237834.7696 | 2620051.5881 | 1237831.5422
12 | 2620246.4075 | 1237798.0509 | 2620228.5722 | 1237793.8533
13 | 2620254.6602 | 1237764.7472 | 2620246.4075 | 1237798.0509
14 | 2620520.4727 | 1237726.6113 | 2620516.5882 | 1237740.983
15 | 2620520.4727 | 1237726.6113 | 2620508.8278 | 1237724.0366
16 | 2620533.8593 | 1237729.5704 | 2620520.4727 | 1237726.6113
17 | 2620527.1983 | 1237695.7043 | 2620502.4039 | 1237694.9962
18 | 2620527.1983 | 1237695.7043 | 2620530.1714 | 1237681.7159
19 | 2620548.3978 | 1237694.699 | 2620527.1983 | 1237695.7043
20 | 2620530.1714 | 1237681.7159 | 2620530.3036 | 1237681.094
21 | 2620548.3978 | 1237694.699 | 2620538.168 | 1237719.2358
22 | 2620548.3978 | 1237694.699 | 2620562.653 | 1237690.247
23 | 2620491.8172 | 1237720.2754 | 2620508.8278 | 1237724.0366
24 | 2620491.8172 | 1237720.2754 | 2620465.9969 | 1237701.3826
25 | 2620465.9969 | 1237701.3826 | 2620370.577 | 1237670.2396
26 | 2620476.3638 | 1237658.4284 | 2620465.9969 | 1237701.3826
27 | 2620530.3036 | 1237681.094 | 2620534.6793 | 1237660.5062
28 | 2620533.8593 | 1237729.5704 | 2620538.168 | 1237719.2358
29 | 2620519.977 | 1237762.8765 | 2620491.8428 | 1237755.2064
30 | 2620519.977 | 1237762.8765 | 2620528.1133 | 1237743.3561
31 | 2620519.977 | 1237762.8765 | 2620519.2982 | 1237764.4974 | 2620526.658 | 1237776.8023
32 | 2620051.5881 | 1237831.5422 | 2620017.2508 | 1237828.7304
33 | 2620005.9009 | 1237827.801 | 2620017.2508 | 1237828.7304
34 | 2620005.9009 | 1237827.801 | 2619993.1434 | 1237826.7001
35 | 2620092.2707 | 1237848.2489 | 2620077.4827 | 1237850.3781 | 2620079.2241 | 1237877.4962
36 | 2620085.2848 | 1237900.9802 | 2620080.7311 | 1237900.9648 | 2620079.2241 | 1237877.4962
37 | 2620463.2666 | 1237964.4468 | 2620085.2848 | 1237900.9802
38 | 2620535.675 | 1237655.8214 | 2620534.6793 | 1237660.5062
39 | 2620535.675 | 1237655.8214 | 2620539.7909 | 1237636.4566
40 | 2620526.658 | 1237776.8023 | 2620532.0991 | 1237785.8992 | 2620520.8169 | 1237794.0869
41 | 2620520.8169 | 1237794.0869 | 2620516.0223 | 1237797.5664
42 | 2620511.6526 | 1237800.7376 | 2620516.0223 | 1237797.5664
43 | 2620533.8593 | 1237729.5704 | 2620528.1133 | 1237743.3561
44 | 2620506.8549 | 1237804.2193 | 2620511.6526 | 1237800.7376
45 | 2620485.5038 | 1237819.714 | 2620480.6775 | 1237823.2166
46 | 2620485.5038 | 1237819.714 | 2620489.8584 | 1237816.5539
47 | 2620494.6484 | 1237813.0777 | 2620489.8584 | 1237816.5539
48 | 2620494.6484 | 1237813.0777 | 2620506.8549 | 1237804.2193
49 | 2620476.3638 | 1237658.4284 | 2620479.425 | 1237656.9491 | 2620484.335 | 1237654.5868 | 2620491.6816 | 1237623.1481
50 | 2620370.577 | 1237670.2396 | 2620368.5015 | 1237673.2788 | 2620357.1007 | 1237691.2287 | 2620342.1849 | 1237706.2649 | 2620336.5804 | 1237709.2524
51 | 2620267.0399 | 1237716.8819 | 2620278.851 | 1237722.7146 | 2620294.1979 | 1237723.1783 | 2620308.4483 | 1237721.3257 | 2620321.9581 | 1237717.0469 | 2620336.5804 | 1237709.2524
52 | 2620267.0399 | 1237716.8819 | 2620270.7132 | 1237702.2298
53 | 2620254.6602 | 1237764.7472 | 2620262.1319 | 1237736.4551 | 2620267.0399 | 1237716.8819
54 | 2620270.7132 | 1237702.2298 | 2620254.3053 | 1237698.3058
55 | 2620254.6602 | 1237764.7472 | 2620278.8545 | 1237770.5703
56 | 2620254.3053 | 1237698.3058 | 2620245.2647 | 1237696.1437
57 | 2620278.8833 | 1237770.5772 | 2620278.8545 | 1237770.5703
58 | 2620278.8833 | 1237770.5772 | 2620306.3764 | 1237777.1943
59 | 2620306.6314 | 1237777.2557 | 2620306.3764 | 1237777.1943
60 | 2620306.6314 | 1237777.2557 | 2620334.0777 | 1237783.8615

## bus_geodata
| x | y | coords
0 | 2620186.4172 | 1237718.9205
1 | 2620190.8026 | 1237703.6228
2 | 2620176.9988 | 1237745.8719
3 | 2620209.6443 | 1237753.8063
4 | 2620171.1106 | 1237773.5135
5 | 2620362.3607 | 1237790.6687
6 | 2620334.4498 | 1237783.951
7 | 2620372.372 | 1237815.4801
8 | 2620193.0747 | 1237778.0598
9 | 2620091 | 1237834.7696
10 | 2620228.5722 | 1237793.8533
11 | 2620246.4075 | 1237798.0509
12 | 2620516.5882 | 1237740.983
13 | 2620520.4727 | 1237726.6113
14 | 2620502.4039 | 1237694.9962
15 | 2620527.1983 | 1237695.7043
16 | 2620530.1714 | 1237681.7159
17 | 2620548.3978 | 1237694.699
18 | 2620491.8172 | 1237720.2754
19 | 2620508.8278 | 1237724.0366
20 | 2620465.9969 | 1237701.3826
21 | 2620530.3036 | 1237681.094
22 | 2620538.168 | 1237719.2358
23 | 2620562.653 | 1237690.247
24 | 2620491.8428 | 1237755.2064
25 | 2620519.977 | 1237762.8765
26 | 2620017.2508 | 1237828.7304
27 | 2620051.5881 | 1237831.5422
28 | 2620005.9009 | 1237827.801
29 | 2619993.1434 | 1237826.7002
30 | 2620092.2707 | 1237848.2489
31 | 2620079.2241 | 1237877.4962
32 | 2620085.2848 | 1237900.9802
33 | 2620463.2666 | 1237964.4468
34 | 2620534.6793 | 1237660.5062
35 | 2620535.675 | 1237655.8214
36 | 2620539.7909 | 1237636.4566
37 | 2620526.658 | 1237776.8023
38 | 2620520.8169 | 1237794.0869
39 | 2620516.0223 | 1237797.5664
40 | 2620528.1133 | 1237743.3561
41 | 2620511.6526 | 1237800.7376
42 | 2620533.8593 | 1237729.5704
43 | 2620485.5038 | 1237819.714
44 | 2620480.6775 | 1237823.2166
45 | 2620489.8584 | 1237816.5539
46 | 2620494.6484 | 1237813.0777
47 | 2620506.8549 | 1237804.2193
48 | 2620491.6816 | 1237623.1481
49 | 2620476.3638 | 1237658.4284
50 | 2620370.577 | 1237670.2396
51 | 2620336.5804 | 1237709.2524
52 | 2620267.0399 | 1237716.8819
53 | 2620270.7132 | 1237702.2298
54 | 2620254.6602 | 1237764.7472
55 | 2620254.3053 | 1237698.3058
56 | 2620278.8545 | 1237770.5703
57 | 2620278.8833 | 1237770.5772
58 | 2620306.3764 | 1237777.1943
59 | 2620306.6314 | 1237777.2557
60 | 2620334.0777 | 1237783.8615
61 | 2620245.2647 | 1237696.1437
62 | 2620377.8981 | 1237794.4082

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98283 | -0.3299 | 0 | 0
1 | 0.9826 | -0.33445 | 0.015823 | 0.0039656
2 | 0.98325 | -0.32175 | 0 | 0
3 | 0.98259 | -0.33469 | 0.021334 | 0.0053468
4 | 0.98422 | -0.30273 | 0 | 0
5 | 0.99892 | -0.020837 | 0.017012 | 0.0042635
6 | 0.99998 | -0.0003806 | 0.016223 | 0.0040658
7 | 0.99834 | -0.031978 | 0.023824 | 0.005971
8 | 0.98534 | -0.28094 | 0.0025293 | 0.0006339
9 | 0.98265 | -0.33345 | 0 | 0
10 | 0.98771 | -0.23503 | 0.01733 | 0.0043433
11 | 0.98896 | -0.21086 | 0 | 0
12 | 0.97587 | -0.46508 | 0.0044061 | 0.0011043
13 | 0.97593 | -0.46388 | 0 | 0
14 | 0.97445 | -0.49308 | 0.0027772 | 0.00069604
15 | 0.97451 | -0.49182 | 0 | 0
16 | 0.97437 | -0.49456 | 0.0026656 | 0.00066807
17 | 0.97477 | -0.48668 | 0 | 0
18 | 0.97729 | -0.43718 | 0 | 0
19 | 0.97646 | -0.45333 | 0.0023316 | 0.00058434
20 | 0.9788 | -0.40761 | 0.036044 | 0.0090335
21 | 0.97437 | -0.49465 | 0.0017656 | 0.0004425
22 | 0.97518 | -0.47865 | 0.0018139 | 0.0004546
23 | 0.97472 | -0.48757 | 0.0032527 | 0.0008152
24 | 0.9745 | -0.49195 | 0.0023383 | 0.00058604
25 | 0.97457 | -0.4907 | 0 | 0
26 | 0.98245 | -0.33742 | 0.0014798 | 0.00037088
27 | 0.98252 | -0.33603 | 0.001371 | 0.00034359
28 | 0.98244 | -0.33757 | 0 | 0
29 | 0.98243 | -0.33775 | 0.00075595 | 0.00018946
30 | 0.98249 | -0.3367 | 0 | 0
31 | 0.98197 | -0.34681 | 0.0099392 | 0.002491
32 | 0.98188 | -0.34851 | 0 | 0
33 | 0.9807 | -0.37169 | 0.0033352 | 0.00083589
34 | 0.97425 | -0.49698 | 0.0015882 | 0.00039805
35 | 0.97423 | -0.49737 | 0.0026522 | 0.0006647
36 | 0.9742 | -0.49801 | 0.0017745 | 0.00044474
37 | 0.97426 | -0.49669 | 0.0016437 | 0.00041195
38 | 0.97384 | -0.50509 | 0.0016029 | 0.00040173
39 | 0.97374 | -0.50694 | 0.0013461 | 0.00033737
40 | 0.97501 | -0.48193 | 0.0030852 | 0.00077324
41 | 0.97366 | -0.5085 | 0.0013446 | 0.000337
42 | 0.97537 | -0.4749 | 0 | 0
43 | 0.97332 | -0.5153 | 0.0035534 | 0.00089056
44 | 0.9733 | -0.51566 | 0.0032399 | 0.00081199
45 | 0.97335 | -0.51463 | 0.0027188 | 0.00068139
46 | 0.9734 | -0.51359 | 0.0032228 | 0.0008077
47 | 0.97358 | -0.51006 | 0.0015972 | 0.00040029
48 | 0.97867 | -0.41005 | 0.0015742 | 0.00039453
49 | 0.97873 | -0.40888 | 0 | 0
50 | 0.98292 | -0.32727 | 0 | 0
51 | 0.98507 | -0.28554 | 0.013439 | 0.0033682
52 | 0.98855 | -0.21845 | 0 | 0
53 | 0.9883 | -0.2233 | 0 | 0
54 | 0.9913 | -0.16577 | 0 | 0
55 | 0.98802 | -0.22872 | 0.0024028 | 0.0006022
56 | 0.99353 | -0.1231 | 0.018752 | 0.0046997
57 | 0.99353 | -0.12305 | 0.01809 | 0.0045339
58 | 0.99654 | -0.065652 | 0.016582 | 0.0041558
59 | 0.99657 | -0.065084 | 0.016466 | 0.0041269
60 | 1 | 0 | -0.32614 | -0.082796
61 | 0.98789 | -0.23131 | 0.015604 | 0.0039108
62 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.015826 | 0.0039676 | -0.015823 | -0.0039656 | 3.4264e-06 | 1.9913e-06 | 0.023962 | 0.023962 | 0.023962 | 0.98283 | -0.3299 | 0.9826 | -0.33445 | 6.5829
1 | -0.015826 | -0.0039676 | 0.015832 | 0.0039712 | 6.1457e-06 | 3.5714e-06 | 0.023962 | 0.023961 | 0.023962 | 0.98283 | -0.3299 | 0.98325 | -0.32175 | 6.5829
2 | 0.021347 | 0.0053548 | -0.021334 | -0.0053468 | 1.315e-05 | 7.9902e-06 | 0.032308 | 0.032308 | 0.032308 | 0.98325 | -0.32175 | 0.98259 | -0.33469 | 8.8758
3 | -0.03718 | -0.0093259 | 0.037213 | 0.0093472 | 3.3745e-05 | 2.1236e-05 | 0.056269 | 0.056269 | 0.056269 | 0.98325 | -0.32175 | 0.98422 | -0.30273 | 15.4585
4 | -0.054132 | -0.013594 | 0.054189 | 0.013629 | 5.635e-05 | 3.5779e-05 | 0.08185 | 0.08185 | 0.08185 | 0.98422 | -0.30273 | 0.98534 | -0.28094 | 22.4863
5 | 0.016919 | 0.0042465 | -0.016894 | -0.004232 | 2.4748e-05 | 1.4559e-05 | 0.025581 | 0.025582 | 0.025582 | 0.98422 | -0.30273 | 0.98265 | -0.33345 | 7.0279
6 | -0.040849 | -0.010242 | 0.040889 | 0.010267 | 3.9863e-05 | 2.5136e-05 | 0.060851 | 0.060851 | 0.060851 | 0.99892 | -0.020837 | 0.99998 | -0.0003806 | 16.7174
7 | 0.023837 | 0.0059787 | -0.023824 | -0.005971 | 1.2652e-05 | 7.7469e-06 | 0.03551 | 0.03551 | 0.03551 | 0.99892 | -0.020837 | 0.99834 | -0.031978 | 9.7556
8 | -0.057112 | -0.014333 | 0.057113 | 0.014334 | 1.0366e-06 | 6.5842e-07 | 0.084992 | 0.084992 | 0.084992 | 0.99998 | -0.0003806 | 1 | 0 | 23.3494
9 | -0.056718 | -0.014263 | 0.056842 | 0.014343 | 0.00012467 | 7.9213e-05 | 0.08567 | 0.085669 | 0.08567 | 0.98534 | -0.28094 | 0.98771 | -0.23503 | 23.5356
10 | 0.013287 | 0.0033289 | -0.013285 | -0.0033278 | 2.0555e-06 | 1.144e-06 | 0.02012 | 0.02012 | 0.02012 | 0.98265 | -0.33345 | 0.98249 | -0.3367 | 5.5274
11 | 0.0036073 | 0.00090307 | -0.0036069 | -0.00090329 | 4.4244e-07 | -2.1772e-07 | 0.0054622 | 0.0054623 | 0.0054623 | 0.98265 | -0.33345 | 0.98252 | -0.33603 | 1.5006
12 | -0.074173 | -0.018686 | 0.074258 | 0.018741 | 8.5847e-05 | 5.4708e-05 | 0.11178 | 0.11178 | 0.11178 | 0.98771 | -0.23503 | 0.98896 | -0.21086 | 30.7082
13 | -0.074258 | -0.018741 | 0.074419 | 0.018843 | 0.00016075 | 0.00010244 | 0.11178 | 0.11178 | 0.11178 | 0.98896 | -0.21086 | 0.9913 | -0.16577 | 30.7081
14 | -0.0044061 | -0.0011043 | 0.0044063 | 0.0011042 | 2.5199e-07 | -2.4736e-08 | 0.0067185 | 0.0067184 | 0.0067185 | 0.97587 | -0.46508 | 0.97593 | -0.46388 | 1.8457
15 | -0.048466 | -0.012172 | 0.04849 | 0.012188 | 2.4428e-05 | 1.5485e-05 | 0.073906 | 0.073906 | 0.073906 | 0.97593 | -0.46388 | 0.97646 | -0.45333 | 20.3039
16 | 0.04406 | 0.011068 | -0.044036 | -0.011053 | 2.3143e-05 | 1.4641e-05 | 0.067188 | 0.067188 | 0.067188 | 0.97593 | -0.46388 | 0.97537 | -0.4749 | 18.4582
17 | -0.0027772 | -0.00069604 | 0.0027774 | 0.00069584 | 1.6729e-07 | -2.0195e-07 | 0.0042409 | 0.0042408 | 0.0042409 | 0.97445 | -0.49308 | 0.97451 | -0.49182 | 1.1651
18 | 0.010448 | 0.0026187 | -0.010447 | -0.002618 | 1.365e-06 | 6.9547e-07 | 0.015954 | 0.015954 | 0.015954 | 0.97451 | -0.49182 | 0.97437 | -0.49456 | 4.383
19 | -0.013226 | -0.0033146 | 0.013229 | 0.0033164 | 3.2363e-06 | 1.8075e-06 | 0.020195 | 0.020195 | 0.020195 | 0.97451 | -0.49182 | 0.97477 | -0.48668 | 5.5481
20 | 0.0077814 | 0.00195 | -0.0077814 | -0.0019499 | 3.3665e-08 | 1.3628e-08 | 0.011883 | 0.011883 | 0.011883 | 0.97437 | -0.49456 | 0.97437 | -0.49465 | 3.2647
21 | -0.016482 | -0.0041315 | 0.016488 | 0.0041352 | 6.3107e-06 | 3.7073e-06 | 0.02516 | 0.02516 | 0.02516 | 0.97477 | -0.48668 | 0.97518 | -0.47865 | 6.9122
22 | 0.0032528 | 0.0008151 | -0.0032527 | -0.0008152 | 1.3808e-07 | -9.7783e-08 | 0.0049655 | 0.0049655 | 0.0049655 | 0.97477 | -0.48668 | 0.97472 | -0.48757 | 1.3642
23 | 0.050861 | 0.012797 | -0.050822 | -0.012772 | 3.9198e-05 | 2.4868e-05 | 0.077459 | 0.077459 | 0.077459 | 0.97729 | -0.43718 | 0.97646 | -0.45333 | 21.28
24 | -0.050861 | -0.012797 | 0.050933 | 0.012843 | 7.1985e-05 | 4.5669e-05 | 0.077459 | 0.077459 | 0.077459 | 0.97729 | -0.43718 | 0.9788 | -0.40761 | 21.2799
25 | -0.088552 | -0.02227 | 0.088893 | 0.022486 | 0.00034121 | 0.00021584 | 0.13465 | 0.13465 | 0.13465 | 0.9788 | -0.40761 | 0.98292 | -0.32727 | 18.4956
26 | 0.0015744 | 0.00039358 | -0.0015743 | -0.00039407 | 9.4906e-08 | -4.9461e-07 | 0.0023931 | 0.0023933 | 0.0023933 | 0.9788 | -0.40761 | 0.97873 | -0.40888 | 0.6575
27 | 0.0060158 | 0.0015074 | -0.0060151 | -0.0015073 | 6.6617e-07 | 1.6423e-07 | 0.009187 | 0.0091871 | 0.0091871 | 0.97437 | -0.49465 | 0.97425 | -0.49698 | 2.5239
28 | -0.018302 | -0.0045898 | 0.018305 | 0.0045917 | 3.275e-06 | 1.9563e-06 | 0.027928 | 0.027928 | 0.027928 | 0.97518 | -0.47865 | 0.97537 | -0.4749 | 7.6725
29 | -0.0023383 | -0.00058604 | 0.0023385 | 0.00058577 | 1.3941e-07 | -2.7411e-07 | 0.0035705 | 0.0035704 | 0.0035705 | 0.9745 | -0.49195 | 0.97457 | -0.4907 | 0.98092
30 | -0.022628 | -0.0056773 | 0.022637 | 0.0056831 | 9.4675e-06 | 5.7956e-06 | 0.034551 | 0.034551 | 0.034551 | 0.97457 | -0.4907 | 0.97501 | -0.48193 | 9.4921
31 | 0.020289 | 0.0050916 | -0.020283 | -0.0050881 | 5.7932e-06 | 3.5072e-06 | 0.030981 | 0.030981 | 0.030981 | 0.97457 | -0.4907 | 0.97426 | -0.49669 | 8.5113
32 | -0.0022358 | -0.00056004 | 0.0022359 | 0.0005597 | 1.4813e-07 | -3.4149e-07 | 0.0033862 | 0.003386 | 0.0033862 | 0.98245 | -0.33742 | 0.98252 | -0.33603 | 0.93027
33 | 0.00075596 | 0.00018916 | -0.00075595 | -0.0001893 | 5.5976e-09 | -1.4062e-07 | 0.0011449 | 0.0011449 | 0.0011449 | 0.98245 | -0.33742 | 0.98244 | -0.33757 | 0.31454
34 | 0.00075595 | 0.0001893 | -0.00075595 | -0.00018946 | 6.2948e-09 | -1.5811e-07 | 0.0011449 | 0.001145 | 0.001145 | 0.98244 | -0.33757 | 0.98243 | -0.33775 | 0.31455
35 | 0.013285 | 0.0033278 | -0.013278 | -0.0033242 | 6.393e-06 | 3.5585e-06 | 0.02012 | 0.02012 | 0.02012 | 0.98249 | -0.3367 | 0.98197 | -0.34681 | 5.5274
36 | 0.0033392 | 0.00083322 | -0.0033389 | -0.0008334 | 2.6938e-07 | -1.8267e-07 | 0.0050587 | 0.0050588 | 0.0050588 | 0.98197 | -0.34681 | 0.98188 | -0.34851 | 1.3898
37 | 0.0033389 | 0.0008334 | -0.0033352 | -0.00083589 | 3.6794e-06 | -2.4871e-06 | 0.0050588 | 0.0050605 | 0.0050605 | 0.98188 | -0.34851 | 0.9807 | -0.37169 | 1.3903
38 | 0.0044269 | 0.0011092 | -0.0044268 | -0.0011092 | 8.2106e-08 | -7.0905e-09 | 0.0067613 | 0.0067613 | 0.0067613 | 0.97425 | -0.49698 | 0.97423 | -0.49737 | 1.8575
39 | 0.0017746 | 0.00044453 | -0.0017745 | -0.00044474 | 5.454e-08 | -2.116e-07 | 0.0027104 | 0.0027105 | 0.0027105 | 0.97423 | -0.49737 | 0.9742 | -0.49801 | 0.74463
40 | 0.01864 | 0.0046761 | -0.018632 | -0.0046716 | 7.4594e-06 | 4.4686e-06 | 0.028471 | 0.028471 | 0.028471 | 0.97426 | -0.49669 | 0.97384 | -0.50509 | 7.8216
41 | 0.017029 | 0.0042699 | -0.017028 | -0.004269 | 1.5042e-06 | 8.8901e-07 | 0.026021 | 0.026021 | 0.026021 | 0.97384 | -0.50509 | 0.97374 | -0.50694 | 7.1488
42 | 0.015682 | 0.0039317 | -0.015681 | -0.003931 | 1.1628e-06 | 6.7701e-07 | 0.023964 | 0.023964 | 0.023964 | 0.97374 | -0.50694 | 0.97366 | -0.5085 | 6.5836
43 | -0.025722 | -0.0064564 | 0.025731 | 0.0064617 | 8.6326e-06 | 5.3385e-06 | 0.03926 | 0.03926 | 0.03926 | 0.97501 | -0.48193 | 0.97537 | -0.4749 | 10.7857
44 | 0.014336 | 0.003594 | -0.014335 | -0.0035934 | 1.0671e-06 | 6.0921e-07 | 0.021909 | 0.02191 | 0.02191 | 0.97366 | -0.5085 | 0.97358 | -0.51006 | 6.0191
45 | 0.0032399 | 0.00081195 | -0.0032399 | -0.00081199 | 5.4865e-08 | -3.9001e-08 | 0.0049532 | 0.0049532 | 0.0049532 | 0.97332 | -0.5153 | 0.9733 | -0.51566 | 1.3608
46 | -0.0067933 | -0.0017025 | 0.0067935 | 0.0017026 | 2.1763e-07 | 7.2408e-08 | 0.010386 | 0.010386 | 0.010386 | 0.97332 | -0.5153 | 0.97335 | -0.51463 | 2.8532
47 | -0.0095123 | -0.002384 | 0.0095128 | 0.0023842 | 4.6934e-07 | 2.2681e-07 | 0.014542 | 0.014542 | 0.014542 | 0.97335 | -0.51463 | 0.9734 | -0.51359 | 3.995
48 | -0.012736 | -0.0031919 | 0.012738 | 0.0031931 | 2.1437e-06 | 1.1844e-06 | 0.019468 | 0.019468 | 0.019468 | 0.9734 | -0.51359 | 0.97358 | -0.51006 | 5.3485
49 | -0.0015742 | -0.00039453 | 0.0015743 | 0.00039407 | 8.8362e-08 | -4.6036e-07 | 0.0023935 | 0.0023933 | 0.0023935 | 0.97867 | -0.41005 | 0.97873 | -0.40888 | 0.65755
50 | -0.088893 | -0.022486 | 0.089071 | 0.022598 | 0.00017838 | 0.00011283 | 0.13465 | 0.13465 | 0.13465 | 0.98292 | -0.32727 | 0.98507 | -0.28554 | 18.4955
51 | -0.10251 | -0.025967 | 0.10284 | 0.026177 | 0.00033149 | 0.00021027 | 0.15495 | 0.15495 | 0.15495 | 0.98507 | -0.28554 | 0.98855 | -0.21845 | 21.284
52 | 0.018018 | 0.0045194 | -0.018014 | -0.0045169 | 4.167e-06 | 2.4732e-06 | 0.027123 | 0.027123 | 0.027123 | 0.98855 | -0.21845 | 0.9883 | -0.2233 | 7.4513
53 | -0.12086 | -0.030696 | 0.12117 | 0.030892 | 0.0003073 | 0.0001954 | 0.18207 | 0.18207 | 0.18207 | 0.98855 | -0.21845 | 0.9913 | -0.16577 | 25.0095
54 | 0.018014 | 0.0045169 | -0.018009 | -0.0045141 | 4.6541e-06 | 2.7625e-06 | 0.027123 | 0.027123 | 0.027123 | 0.9883 | -0.2233 | 0.98802 | -0.22872 | 7.4513
55 | -0.19559 | -0.049735 | 0.19599 | 0.049992 | 0.00040289 | 0.0002572 | 0.29385 | 0.29385 | 0.29385 | 0.9913 | -0.16577 | 0.99353 | -0.1231 | 40.3635
56 | 0.015606 | 0.0039119 | -0.015604 | -0.0039108 | 1.9257e-06 | 1.1134e-06 | 0.023504 | 0.023504 | 0.023504 | 0.98802 | -0.22872 | 0.98789 | -0.23131 | 6.4572
57 | -0.21474 | -0.054692 | 0.21474 | 0.054692 | 5.75e-07 | 3.6724e-07 | 0.32193 | 0.32193 | 0.32193 | 0.99353 | -0.1231 | 0.99353 | -0.12305 | 44.2213
58 | -0.23283 | -0.059226 | 0.23348 | 0.059638 | 0.0006459 | 0.00041264 | 0.34902 | 0.34902 | 0.34902 | 0.99353 | -0.12305 | 0.99654 | -0.065652 | 47.9429
59 | -0.25006 | -0.063794 | 0.25007 | 0.063799 | 6.8698e-06 | 4.3898e-06 | 0.37378 | 0.37378 | 0.37378 | 0.99654 | -0.065652 | 0.99657 | -0.065084 | 51.3439
60 | -0.26653 | -0.067925 | 0.26737 | 0.068462 | 0.00084001 | 0.00053687 | 0.39837 | 0.39837 | 0.39837 | 0.99657 | -0.065084 | 1 | 0 | 54.7211

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.34996 | 0.088767

## res_load
| p_mw | q_mvar
0 | 0.015823 | 0.0039656
1 | 0.021334 | 0.0053468
2 | 0.017012 | 0.0042635
3 | 0.016223 | 0.0040658
4 | 0.023824 | 0.005971
5 | 0.0025293 | 0.0006339
6 | 0.01733 | 0.0043433
7 | 0.0044061 | 0.0011043
8 | 0.0027772 | 0.00069604
9 | 0.0026656 | 0.00066807
10 | 0.0023316 | 0.00058434
11 | 0.036044 | 0.0090335
12 | 0.0017656 | 0.0004425
13 | 0.0018139 | 0.0004546
14 | 0.0032527 | 0.0008152
15 | 0.0023383 | 0.00058604
16 | 0.0014798 | 0.00037088
17 | 0.001371 | 0.00034359
18 | 0.00075595 | 0.00018946
19 | 0.0099392 | 0.002491
20 | 0.0033352 | 0.00083589
21 | 0.0015882 | 0.00039805
22 | 0.0026522 | 0.0006647
23 | 0.0017745 | 0.00044474
24 | 0.0016437 | 0.00041195
25 | 0.0016029 | 0.00040173
26 | 0.0013461 | 0.00033737
27 | 0.0030852 | 0.00077324
28 | 0.0013446 | 0.000337
29 | 0.0035534 | 0.00089056
30 | 0.0032399 | 0.00081199
31 | 0.0027188 | 0.00068139
32 | 0.0032228 | 0.0008077
33 | 0.0015972 | 0.00040029
34 | 0.0015742 | 0.00039453
35 | 0.013439 | 0.0033682
36 | 0.0024028 | 0.0006022
37 | 0.018752 | 0.0046997
38 | 0.01809 | 0.0045339
39 | 0.016582 | 0.0041558
40 | 0.016466 | 0.0041269
41 | 0.023824 | 0.0059708
42 | 0.015604 | 0.0039108

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1