## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_243-11_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_243-11_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_243-11_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_243-11_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_243-11_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_243-11_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_243-11_0_3_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_243-11_0_3_node_51 | 0.4 | n |  | TRUE
8 | bus_LV_243-11_0_3_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_243-11_0_3_node_57 | 0.4 | n |  | TRUE
10 | bus_LV_243-11_0_3_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_243-11_0_3_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_243-11_0_3_node_52 | 0.4 | n |  | TRUE
13 | bus_LV_243-11_0_3_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_243-11_0_3_node_43 | 0.4 | n |  | TRUE
15 | bus_LV_243-11_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_243-11_0_3_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_243-11_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_243-11_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_243-11_0_3_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_243-11_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_243-11_0_3_node_62 | 0.4 | n |  | TRUE
22 | bus_LV_243-11_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_243-11_0_3_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_243-11_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_243-11_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_243-11_0_3_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_243-11_0_3_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_243-11_0_3_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_243-11_0_3_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_243-11_0_3_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_243-11_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_243-11_0_3_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_243-11_0_3_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_243-11_0_3_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_243-11_0_3_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_243-11_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_243-11_0_3_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_243-11_0_3_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_243-11_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_243-11_0_3_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_243-11_0_3_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_243-11_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_243-11_0_3_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_243-11_0_3_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_243-11_0_3_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_243-11_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_243-11_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_243-11_0_3_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_243-11_0_3_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_243-11_0_3_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_243-11_0_3_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_243-11_0_3_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_243-11_0_3_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_243-11_0_3_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_243-11_0_3_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_243-11_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_243-11_0_3_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_243-11_0_3_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_243-11_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_MV_388_0_node_151 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_243-11_0_3_load_0 | 0 | 0.014392 | 0.0036069 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_243-11_0_3_load_1 | 1 | 0.0010905 | 0.00027331 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_243-11_0_3_load_3 | 3 | 0.0076545 | 0.0019184 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_243-11_0_3_load_4 | 4 | 0.005705 | 0.0014298 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_243-11_0_3_load_51 | 7 | 0.01216 | 0.0030476 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_243-11_0_3_load_57 | 9 | 0.0070858 | 0.0017759 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_243-11_0_3_load_25 | 10 | 0.0021513 | 0.00053917 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_243-11_0_3_load_23 | 11 | 0.0004515 | 0.00011316 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_243-11_0_3_load_52 | 12 | 0.0017036 | 0.00042697 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_243-11_0_3_load_46 | 13 | 0.00317 | 0.00079449 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_243-11_0_3_load_43 | 14 | 0.0020048 | 0.00050244 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_243-11_0_3_load_6 | 16 | 0.012828 | 0.003215 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_243-11_0_3_load_7 | 17 | 0.065005 | 0.016292 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_243-11_0_3_load_9 | 18 | 0.073652 | 0.018459 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_243-11_0_3_load_20 | 19 | 0.0019994 | 0.00050109 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_243-11_0_3_load_62 | 21 | 0.022746 | 0.0057008 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_243-11_0_3_load_40 | 26 | 0.0056007 | 0.0014037 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_243-11_0_3_load_35 | 27 | 0.0073363 | 0.0018386 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_243-11_0_3_load_60 | 29 | 0.00048748 | 0.00012217 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_243-11_0_3_load_59 | 30 | 0.00044987 | 0.00011275 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_243-11_0_3_load_61 | 33 | 0.00048207 | 0.00012082 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_243-11_0_3_load_42 | 35 | 0.0027755 | 0.0006956 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_243-11_0_3_load_37 | 36 | 0.012432 | 0.0031157 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_243-11_0_3_load_19 | 37 | 0.0041386 | 0.0010372 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_243-11_0_3_load_55 | 38 | 0.012103 | 0.0030333 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_243-11_0_3_load_33 | 39 | 0.0040991 | 0.0010273 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_243-11_0_3_load_58 | 40 | 0.00048618 | 0.00012185 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_243-11_0_3_load_22 | 41 | 0.00044817 | 0.00011232 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_243-11_0_3_load_38 | 42 | 0.011749 | 0.0029447 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_243-11_0_3_load_26 | 44 | 0.011591 | 0.0029051 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_243-11_0_3_load_27 | 45 | 0.0035452 | 0.00088851 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_243-11_0_3_load_45 | 49 | 0.011367 | 0.002849 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_243-11_0_3_load_49 | 51 | 0.0023736 | 0.00059488 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_243-11_0_3_load_53 | 52 | 0.0072137 | 0.0018079 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_243-11_0_3_load_34 | 54 | 0.0046385 | 0.0011625 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_243-11_0_3_load_39 | 55 | 0.021109 | 0.0052905 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_243-11_0_3_load_47 | 56 | 0.0016664 | 0.00041765 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_243-11_0_3_load_54 | 57 | 0.004029 | 0.0010098 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_243-11_0_3_load_48 | 58 | 0.0016131 | 0.00040427 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_243-11_0_3_load_50 | 59 | 0.0016317 | 0.00040894 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_243-11_0_3_line_0 |  | 0 | 1 | 0.010736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_243-11_0_3_line_1 |  | 0 | 2 | 0.029844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_243-11_0_3_line_2 |  | 1 | 3 | 0.022895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_243-11_0_3_line_3 |  | 2 | 4 | 0.017363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_243-11_0_3_line_4 |  | 2 | 5 | 0.025457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_243-11_0_3_line_5 |  | 3 | 6 | 0.01743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_243-11_0_3_line_6 |  | 4 | 7 | 0.015618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_243-11_0_3_line_7 |  | 5 | 8 | 0.039185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_243-11_0_3_line_8 |  | 5 | 9 | 0.020327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_243-11_0_3_line_9 |  | 6 | 10 | 0.011874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_243-11_0_3_line_10 |  | 6 | 11 | 0.026474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_243-11_0_3_line_11 |  | 7 | 12 | 0.016302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_243-11_0_3_line_12 |  | 8 | 13 | 0.019416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_243-11_0_3_line_13 |  | 8 | 14 | 0.011509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_243-11_0_3_line_14 |  | 9 | 15 | 0.028194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_243-11_0_3_line_15 |  | 11 | 43 | 0.0028735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_243-11_0_3_line_16 |  | 13 | 57 | 0.025099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_243-11_0_3_line_17 |  | 14 | 48 | 0.012233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_243-11_0_3_line_18 |  | 16 | 17 | 0.016624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_243-11_0_3_line_19 |  | 17 | 18 | 0.015203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_243-11_0_3_line_20 |  | 18 | 19 | 0.047707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_243-11_0_3_line_21 |  | 19 | 37 | 0.037436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_243-11_0_3_line_22 |  | 20 | 21 | 0.008668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_243-11_0_3_line_23 |  | 20 | 22 | 0.008281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_243-11_0_3_line_24 |  | 20 | 23 | 0.053427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_243-11_0_3_line_25 |  | 22 | 27 | 0.03885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_243-11_0_3_line_26 |  | 22 | 26 | 0.0082563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_243-11_0_3_line_27 |  | 23 | 38 | 0.022788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_243-11_0_3_line_28 |  | 24 | 25 | 0.041043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_243-11_0_3_line_29 |  | 24 | 26 | 0.019242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_243-11_0_3_line_30 |  | 25 | 36 | 0.04163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_243-11_0_3_line_31 |  | 25 | 34 | 0.29383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_243-11_0_3_line_32 |  | 27 | 39 | 0.043783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_243-11_0_3_line_33 |  | 28 | 29 | 0.027974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_243-11_0_3_line_34 |  | 28 | 30 | 0.044783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_243-11_0_3_line_35 |  | 29 | 31 | 0.015991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_243-11_0_3_line_36 |  | 30 | 40 | 0.016613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_243-11_0_3_line_37 |  | 31 | 32 | 0.011705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_243-11_0_3_line_38 |  | 32 | 33 | 0.057865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_243-11_0_3_line_39 |  | 33 | 41 | 0.013387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_243-11_0_3_line_40 |  | 34 | 35 | 0.039698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_243-11_0_3_line_41 |  | 36 | 42 | 0.052554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_243-11_0_3_line_42 |  | 37 | 43 | 0.042212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_243-11_0_3_line_43 |  | 39 | 54 | 0.015499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_243-11_0_3_line_44 |  | 41 | 43 | 0.0097243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_243-11_0_3_line_45 |  | 42 | 55 | 0.060311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_243-11_0_3_line_46 |  | 44 | 45 | 0.021423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_243-11_0_3_line_47 |  | 45 | 46 | 0.010596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_243-11_0_3_line_48 |  | 46 | 47 | 0.008427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_243-11_0_3_line_49 |  | 47 | 53 | 0.011445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_243-11_0_3_line_50 |  | 47 | 54 | 0.011481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_243-11_0_3_line_51 |  | 48 | 49 | 0.022808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_243-11_0_3_line_52 |  | 49 | 53 | 0.0010657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_243-11_0_3_line_53 |  | 50 | 51 | 0.05486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_243-11_0_3_line_54 |  | 50 | 52 | 0.038271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_243-11_0_3_line_55 |  | 51 | 56 | 0.05479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_243-11_0_3_line_56 |  | 52 | 57 | 0.014357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_243-11_0_3_line_57 |  | 56 | 58 | 0.016684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_243-11_0_3_line_58 |  | 58 | 59 | 0.019054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_243-11_0_3_trafo_10 | 0.63 MVA 20/0.4 kV | 60 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2674242.1229 | 1249983.4258 | 2674233.976 | 1249976.434
1 | 2674262.15 | 1250005.1984 | 2674254.7521 | 1249994.2645 | 2674242.1229 | 1249983.4258
2 | 2674233.976 | 1249976.434 | 2674221.1459 | 1249965.4229 | 2674216.2393 | 1249961.9916
3 | 2674262.15 | 1250005.1984 | 2674275.2763 | 1249993.8333
4 | 2674276.4419 | 1250026.2927 | 2674262.15 | 1250005.1984
5 | 2674201.7018 | 1249952.3811 | 2674211.9176 | 1249958.9693 | 2674216.2393 | 1249961.9916
6 | 2674288.9618 | 1249986.999 | 2674288.9618 | 1249986.999 | 2674282.821 | 1249988.4119 | 2674278.1256 | 1249991.3663 | 2674275.2763 | 1249993.8333
7 | 2674276.4419 | 1250026.2927 | 2674280.5054 | 1250032.1924 | 2674298.032 | 1250059.0314
8 | 2674276.4419 | 1250026.2927 | 2674262.3339 | 1250035.1002 | 2674259.1145 | 1250036.9138
9 | 2674201.7018 | 1249952.3811 | 2674207.0498 | 1249946.7551 | 2674210.5222 | 1249944.5535
10 | 2674201.7018 | 1249952.3811 | 2674186.9269 | 1249943.2897 | 2674179.2015 | 1249938.432
11 | 2674288.9618 | 1249986.999 | 2674296.642 | 1249984.4489 | 2674302.7863 | 1249979.0043
12 | 2674298.032 | 1250059.0314 | 2674313.273 | 1250047.0025
13 | 2674298.032 | 1250059.0314 | 2674303.5599 | 1250069.1264
14 | 2674234.5502 | 1250050.7524 | 2674259.1145 | 1250036.9138
15 | 2674176.769 | 1249936.9024 | 2674179.2015 | 1249938.432
16 | 2674313.273 | 1250047.0025 | 2674332.975 | 1250031.4529
17 | 2674309.4354 | 1250079.8561 | 2674303.5599 | 1250069.1264
18 | 2674180.2238 | 1250057.4542 | 2674186.3467 | 1250055.3412 | 2674182.8451 | 1250045.8173
19 | 2674176.2151 | 1250034.5129 | 2674177.684 | 1250038.6875 | 2674179.9433 | 1250037.9374 | 2674181.0898 | 1250041.0429 | 2674182.8451 | 1250045.8173
20 | 2674176.2151 | 1250034.5129 | 2674160.3798 | 1249989.5108
21 | 2674144.3714 | 1249962.2488 | 2674144.3714 | 1249962.2488 | 2674153.6868 | 1249990.1077 | 2674159.8658 | 1249988.0501 | 2674160.3798 | 1249989.5108
22 | 2674182.2892 | 1250142.4201 | 2674178.0351 | 1250134.8614
23 | 2674186.4272 | 1250149.5993 | 2674182.2892 | 1250142.4201
24 | 2674182.2892 | 1250142.4201 | 2674229.2912 | 1250116.7677
25 | 2674186.4272 | 1250149.5993 | 2674220.9427 | 1250131.7669
26 | 2674186.4272 | 1250149.5993 | 2674190.6188 | 1250156.7125
27 | 2674229.2912 | 1250116.7677 | 2674227.6513 | 1250106.6509 | 2674235.5382 | 1250104.4592 | 2674236.7763 | 1250102.6512 | 2674236.539 | 1250100.5022
28 | 2674178.6694 | 1250170.4284 | 2674191.4191 | 1250198.9086 | 2674194.9203 | 1250208.1035
29 | 2674178.6694 | 1250170.4284 | 2674186.608 | 1250165.9023 | 2674188.5783 | 1250159.8893 | 2674190.6188 | 1250156.7125
30 | 2674194.9203 | 1250208.1035 | 2674198.9474 | 1250207.2533 | 2674235.6503 | 1250199.4948
31 | 2674275.27 | 1250228.758 | 2674149.6148 | 1250258.1285 | 2674153.5085 | 1250289.6444 | 2674195.1265 | 1250285.6734 | 2674200.7469 | 1250285.3991 | 2674203.3304 | 1250285.2758 | 2674207.9965 | 1250285.2453 | 2674207.4789 | 1250280.1573 | 2674204.5351 | 1250256.003 | 2674200.287 | 1250230.498 | 2674195.9083 | 1250211.1959 | 2674194.9203 | 1250208.1035
32 | 2674220.9427 | 1250131.7669 | 2674259.8411 | 1250111.67
33 | 2674080.3111 | 1249855.8266 | 2674087.6258 | 1249876.4663 | 2674089.0596 | 1249882.3714
34 | 2674080.3111 | 1249855.8266 | 2674086.6677 | 1249854.0714 | 2674105.6502 | 1249862.4147 | 2674122.0346 | 1249868.4292
35 | 2674092.6725 | 1249897.9449 | 2674092.2212 | 1249895.3929 | 2674089.0596 | 1249882.3714
36 | 2674122.0346 | 1249868.4292 | 2674126.1905 | 1249869.9547 | 2674137.0765 | 1249875.4309
37 | 2674092.6725 | 1249897.9449 | 2674103.3169 | 1249902.8815
38 | 2674103.3169 | 1249902.8815 | 2674156.1967 | 1249926.3776
39 | 2674168.1305 | 1249932.4371 | 2674157.7 | 1249927.0456 | 2674156.1967 | 1249926.3776
40 | 2674275.27 | 1250228.758 | 2674282.4113 | 1250265.5407 | 2674284.6174 | 1250265.8567
41 | 2674287.0676 | 1250188.626 | 2674235.6503 | 1250199.4948
42 | 2674176.769 | 1249936.9024 | 2674159.2879 | 1249956.4089 | 2674144.3714 | 1249962.2488
43 | 2674273.7252 | 1250104.7835 | 2674265.4116 | 1250108.792 | 2674259.8411 | 1250111.67
44 | 2674176.769 | 1249936.9024 | 2674168.1305 | 1249932.4371
45 | 2674346.0745 | 1250176.1527 | 2674287.0676 | 1250188.626
46 | 2674301.7512 | 1250100.1967 | 2674321.8169 | 1250092.6926
47 | 2674291.8321 | 1250096.4697 | 2674301.7512 | 1250100.1967
48 | 2674291.8321 | 1250096.4697 | 2674284.0668 | 1250099.797
49 | 2674287.3075 | 1250088.8186 | 2674284.0668 | 1250099.797
50 | 2674284.0668 | 1250099.797 | 2674273.7252 | 1250104.7835
51 | 2674309.4354 | 1250079.8561 | 2674288.2953 | 1250088.4185
52 | 2674287.3075 | 1250088.8186 | 2674288.2953 | 1250088.4185
53 | 2674373.7952 | 1249998.3263 | 2674325.2643 | 1249972.746
54 | 2674373.7952 | 1249998.3263 | 2674371.7186 | 1250000.7576 | 2674369.0634 | 1250002.9703 | 2674344.2449 | 1250022.5582
55 | 2674276.6299 | 1249947.516 | 2674301.8135 | 1249960.3852 | 2674325.2643 | 1249972.746
56 | 2674344.2449 | 1250022.5582 | 2674332.975 | 1250031.4529
57 | 2674276.6299 | 1249947.516 | 2674261.7737 | 1249939.9242
58 | 2674261.7737 | 1249939.9242 | 2674244.8067 | 1249931.2538

## bus_geodata
| x | y | coords
0 | 2674242.1229 | 1249983.4258
1 | 2674233.976 | 1249976.434
2 | 2674262.15 | 1250005.1984
3 | 2674216.2393 | 1249961.9916
4 | 2674275.2763 | 1249993.8334
5 | 2674276.4419 | 1250026.2927
6 | 2674201.7018 | 1249952.3811
7 | 2674288.9618 | 1249986.999
8 | 2674298.032 | 1250059.0314
9 | 2674259.1145 | 1250036.9138
10 | 2674210.5222 | 1249944.5535
11 | 2674179.2015 | 1249938.432
12 | 2674302.7863 | 1249979.0043
13 | 2674313.273 | 1250047.0025
14 | 2674303.5599 | 1250069.1264
15 | 2674234.5502 | 1250050.7524
16 | 2674180.2238 | 1250057.4542
17 | 2674182.8451 | 1250045.8173
18 | 2674176.2151 | 1250034.5129
19 | 2674160.3798 | 1249989.5108
20 | 2674182.2892 | 1250142.4201
21 | 2674178.0351 | 1250134.8614
22 | 2674186.4272 | 1250149.5993
23 | 2674229.2912 | 1250116.7677
24 | 2674178.6694 | 1250170.4284
25 | 2674194.9203 | 1250208.1035
26 | 2674190.6188 | 1250156.7125
27 | 2674220.9427 | 1250131.7669
28 | 2674080.3111 | 1249855.8266
29 | 2674089.0596 | 1249882.3714
30 | 2674122.0346 | 1249868.4292
31 | 2674092.6725 | 1249897.9449
32 | 2674103.3169 | 1249902.8815
33 | 2674156.1967 | 1249926.3776
34 | 2674275.27 | 1250228.758
35 | 2674284.6174 | 1250265.8567
36 | 2674235.6503 | 1250199.4948
37 | 2674144.3714 | 1249962.2488
38 | 2674236.539 | 1250100.5022
39 | 2674259.8411 | 1250111.67
40 | 2674137.0765 | 1249875.4309
41 | 2674168.1305 | 1249932.4371
42 | 2674287.0676 | 1250188.626
43 | 2674176.769 | 1249936.9024
44 | 2674321.8169 | 1250092.6926
45 | 2674301.7512 | 1250100.1967
46 | 2674291.8321 | 1250096.4697
47 | 2674284.0668 | 1250099.797
48 | 2674309.4354 | 1250079.8561
49 | 2674288.2953 | 1250088.4185
50 | 2674373.7952 | 1249998.3263
51 | 2674325.2643 | 1249972.746
52 | 2674344.2449 | 1250022.5582
53 | 2674287.3075 | 1250088.8186
54 | 2674273.7252 | 1250104.7835
55 | 2674346.0745 | 1250176.1527
56 | 2674276.6299 | 1249947.516
57 | 2674332.975 | 1250031.4529
58 | 2674261.7737 | 1249939.9242
59 | 2674244.8067 | 1249931.2538
60 | 2674276.4419 | 1250026.2927

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99123 | -0.16672 | 0.014392 | 0.0036069
1 | 0.99067 | -0.17761 | 0.0010905 | 0.00027331
2 | 0.99294 | -0.134 | 0 | 0
3 | 0.98946 | -0.20071 | 0.0076545 | 0.0019184
4 | 0.99263 | -0.14001 | 0.005705 | 0.0014298
5 | 0.99455 | -0.10325 | 0 | 0
6 | 0.98859 | -0.21754 | 0 | 0
7 | 0.99243 | -0.14384 | 0.01216 | 0.0030476
8 | 0.99268 | -0.13895 | 0 | 0
9 | 0.99681 | -0.060349 | 0.0070858 | 0.0017759
10 | 0.98857 | -0.218 | 0.0021513 | 0.00053917
11 | 0.98728 | -0.24283 | 0.0004515 | 0.00011316
12 | 0.99241 | -0.14433 | 0.0017036 | 0.00042697
13 | 0.9923 | -0.14641 | 0.00317 | 0.00079449
14 | 0.99221 | -0.14799 | 0.0020048 | 0.00050244
15 | 1 | 0 | -0.37494 | -0.095909
16 | 0.97867 | -0.41053 | 0.012828 | 0.003215
17 | 0.97887 | -0.40665 | 0.065005 | 0.016292
18 | 0.97996 | -0.38515 | 0.073652 | 0.018459
19 | 0.98331 | -0.31979 | 0.0019994 | 0.00050109
20 | 0.97902 | -0.40287 | 0 | 0
21 | 0.97883 | -0.40645 | 0.022746 | 0.0057008
22 | 0.97928 | -0.39762 | 0 | 0
23 | 0.97842 | -0.41463 | 0 | 0
24 | 0.97801 | -0.42252 | 0 | 0
25 | 0.97617 | -0.45855 | 0 | 0
26 | 0.97887 | -0.40568 | 0.0056007 | 0.0014037
27 | 0.98248 | -0.33531 | 0.0073363 | 0.0018386
28 | 0.98696 | -0.24909 | 0 | 0
29 | 0.98698 | -0.24862 | 0.00048748 | 0.00012217
30 | 0.98692 | -0.24984 | 0.00044987 | 0.00011275
31 | 0.987 | -0.24821 | 0 | 0
32 | 0.98702 | -0.24791 | 0 | 0
33 | 0.98709 | -0.24644 | 0.00048207 | 0.00012082
34 | 0.97541 | -0.47351 | 0 | 0
35 | 0.97531 | -0.47553 | 0.0027755 | 0.0006956
36 | 0.97441 | -0.4931 | 0.012432 | 0.0031157
37 | 0.98508 | -0.28532 | 0.0041386 | 0.0010372
38 | 0.97816 | -0.41966 | 0.012103 | 0.0030333
39 | 0.98638 | -0.25981 | 0.0040991 | 0.0010273
40 | 0.98691 | -0.24999 | 0.00048618 | 0.00012185
41 | 0.98711 | -0.24598 | 0.00044817 | 0.00011232
42 | 0.9728 | -0.52485 | 0.011749 | 0.0029447
43 | 0.98714 | -0.24557 | 0 | 0
44 | 0.98845 | -0.22023 | 0.011591 | 0.0029051
45 | 0.98867 | -0.2158 | 0.0035452 | 0.00088851
46 | 0.98882 | -0.21294 | 0 | 0
47 | 0.98894 | -0.21066 | 0 | 0
48 | 0.99171 | -0.15746 | 0 | 0
49 | 0.99033 | -0.184 | 0.011367 | 0.002849
50 | 0.99143 | -0.16329 | 0 | 0
51 | 0.99106 | -0.17038 | 0.0023736 | 0.00059488
52 | 0.99168 | -0.15834 | 0.0072137 | 0.0018079
53 | 0.99021 | -0.18627 | 0 | 0
54 | 0.98782 | -0.23209 | 0.0046385 | 0.0011625
55 | 0.97161 | -0.54833 | 0.021109 | 0.0052905
56 | 0.99081 | -0.17516 | 0.0016664 | 0.00041765
57 | 0.99187 | -0.15465 | 0.004029 | 0.0010098
58 | 0.99077 | -0.17612 | 0.0016131 | 0.00040427
59 | 0.99074 | -0.17667 | 0.0016317 | 0.00040894
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.17307 | 0.044045 | -0.17298 | -0.043987 | 9.0751e-05 | 5.7666e-05 | 0.26005 | 0.26005 | 0.26005 | 0.99123 | -0.16672 | 0.99067 | -0.17761 | 23.8139
1 | -0.18746 | -0.047652 | 0.18776 | 0.04784 | 0.00029593 | 0.00018824 | 0.28165 | 0.28165 | 0.28165 | 0.99123 | -0.16672 | 0.99294 | -0.134 | 25.7923
2 | 0.17189 | 0.043714 | -0.1717 | -0.043592 | 0.0001911 | 0.00012142 | 0.25841 | 0.25841 | 0.25841 | 0.99067 | -0.17761 | 0.98946 | -0.20071 | 23.6639
3 | 0.019577 | 0.004909 | -0.019571 | -0.0049056 | 5.6045e-06 | 3.3624e-06 | 0.029339 | 0.029339 | 0.029339 | 0.99294 | -0.134 | 0.99263 | -0.14001 | 8.0601
4 | -0.20734 | -0.052749 | 0.20764 | 0.052945 | 0.00030776 | 0.00019598 | 0.31099 | 0.31099 | 0.31099 | 0.99294 | -0.134 | 0.99455 | -0.10325 | 28.479
5 | 0.16404 | 0.041674 | -0.16391 | -0.04159 | 0.00013281 | 8.4328e-05 | 0.2469 | 0.2469 | 0.2469 | 0.98946 | -0.20071 | 0.98859 | -0.21754 | 22.6098
6 | 0.013866 | 0.0034758 | -0.013864 | -0.0034744 | 2.5306e-06 | 1.4177e-06 | 0.020787 | 0.020787 | 0.020787 | 0.99263 | -0.14001 | 0.99243 | -0.14384 | 5.7107
7 | 0.15672 | 0.040008 | -0.15645 | -0.039837 | 0.00026989 | 0.00017121 | 0.23473 | 0.23473 | 0.23473 | 0.99455 | -0.10325 | 0.99268 | -0.13895 | 21.4958
8 | -0.36436 | -0.092953 | 0.36512 | 0.093437 | 0.00075669 | 0.00048349 | 0.54572 | 0.54572 | 0.54572 | 0.99455 | -0.10325 | 0.99681 | -0.060349 | 49.9747
9 | 0.0021514 | 0.00053905 | -0.0021513 | -0.00053917 | 4.669e-08 | -1.2236e-07 | 0.0032381 | 0.0032382 | 0.0032382 | 0.98859 | -0.21754 | 0.98857 | -0.218 | 0.88962
10 | 0.16176 | 0.041051 | -0.16156 | -0.040926 | 0.00019647 | 0.00012472 | 0.24366 | 0.24366 | 0.24366 | 0.98859 | -0.21754 | 0.98728 | -0.24283 | 22.3133
11 | 0.0017037 | 0.00042679 | -0.0017036 | -0.00042697 | 3.9889e-08 | -1.8511e-07 | 0.0025544 | 0.0025544 | 0.0025544 | 0.99243 | -0.14384 | 0.99241 | -0.14433 | 0.70177
12 | 0.021721 | 0.0054495 | -0.021713 | -0.0054448 | 7.7194e-06 | 4.6895e-06 | 0.032561 | 0.032561 | 0.032561 | 0.99268 | -0.13895 | 0.9923 | -0.14641 | 8.9453
13 | 0.13473 | 0.034387 | -0.13467 | -0.03435 | 5.8805e-05 | 3.7189e-05 | 0.20217 | 0.20217 | 0.20217 | 0.99268 | -0.13895 | 0.99221 | -0.14799 | 18.5141
14 | -0.3722 | -0.095212 | 0.37329 | 0.095909 | 0.0010907 | 0.00069692 | 0.5563 | 0.5563 | 0.5563 | 0.99681 | -0.060349 | 1 | 0 | 50.9433
15 | 0.16111 | 0.040813 | -0.16109 | -0.040799 | 2.1206e-05 | 1.3462e-05 | 0.24298 | 0.24298 | 0.24298 | 0.98728 | -0.24283 | 0.98714 | -0.24557 | 22.251
16 | 0.018543 | 0.0046504 | -0.018536 | -0.004646 | 7.2779e-06 | 4.3338e-06 | 0.027807 | 0.027807 | 0.027807 | 0.9923 | -0.14641 | 0.99187 | -0.15465 | 7.6394
17 | 0.13266 | 0.033848 | -0.1326 | -0.033809 | 6.0657e-05 | 3.8347e-05 | 0.19917 | 0.19917 | 0.19917 | 0.99221 | -0.14799 | 0.99171 | -0.15746 | 18.2388
18 | -0.012828 | -0.003215 | 0.012831 | 0.0032164 | 2.3717e-06 | 1.3089e-06 | 0.019505 | 0.019505 | 0.019505 | 0.97867 | -0.41053 | 0.97887 | -0.40665 | 5.3584
19 | -0.077835 | -0.019508 | 0.077915 | 0.019559 | 7.9817e-05 | 5.0891e-05 | 0.11832 | 0.11832 | 0.11832 | 0.97887 | -0.40665 | 0.97996 | -0.38515 | 32.5058
20 | -0.15157 | -0.038018 | 0.15204 | 0.03832 | 0.00047384 | 0.00030205 | 0.23016 | 0.23016 | 0.23016 | 0.97996 | -0.38515 | 0.98331 | -0.31979 | 31.615
21 | -0.15404 | -0.038821 | 0.15429 | 0.038983 | 0.00025444 | 0.00016142 | 0.23318 | 0.23318 | 0.23318 | 0.98331 | -0.31979 | 0.98508 | -0.28532 | 21.3537
22 | 0.02275 | 0.0057032 | -0.022746 | -0.0057008 | 3.8866e-06 | 2.3785e-06 | 0.034579 | 0.034579 | 0.034579 | 0.97902 | -0.40287 | 0.97883 | -0.40645 | 9.4997
23 | -0.034863 | -0.0087417 | 0.034872 | 0.0087472 | 8.7198e-06 | 5.4765e-06 | 0.05299 | 0.05299 | 0.05299 | 0.97902 | -0.40287 | 0.97928 | -0.39762 | 14.5578
24 | 0.012113 | 0.0030386 | -0.012106 | -0.0030349 | 6.7915e-06 | 3.6752e-06 | 0.018411 | 0.018412 | 0.018412 | 0.97902 | -0.40287 | 0.97842 | -0.41463 | 5.0581
25 | -0.088832 | -0.022378 | 0.089098 | 0.022548 | 0.0002656 | 0.00016949 | 0.13502 | 0.13502 | 0.13502 | 0.97928 | -0.39762 | 0.98248 | -0.33531 | 37.0937
26 | 0.05396 | 0.013631 | -0.053939 | -0.013618 | 2.0834e-05 | 1.323e-05 | 0.082031 | 0.082031 | 0.082031 | 0.97928 | -0.39762 | 0.97887 | -0.40568 | 22.536
27 | 0.012106 | 0.0030349 | -0.012103 | -0.0030333 | 2.8968e-06 | 1.5678e-06 | 0.018412 | 0.018412 | 0.018412 | 0.97842 | -0.41463 | 0.97816 | -0.41966 | 5.0582
28 | 0.0483 | 0.01219 | -0.048217 | -0.012137 | 8.3185e-05 | 5.2725e-05 | 0.073517 | 0.073517 | 0.073517 | 0.97801 | -0.42252 | 0.97617 | -0.45855 | 20.1971
29 | -0.0483 | -0.01219 | 0.048339 | 0.012214 | 3.8999e-05 | 2.4717e-05 | 0.073517 | 0.073517 | 0.073517 | 0.97801 | -0.42252 | 0.97887 | -0.40568 | 20.197
30 | 0.045439 | 0.011444 | -0.045364 | -0.011396 | 7.4939e-05 | 4.7441e-05 | 0.069284 | 0.069285 | 0.069285 | 0.97617 | -0.45855 | 0.97441 | -0.4931 | 19.0342
31 | 0.0027777 | 0.00069287 | -0.0027758 | -0.00069528 | 1.975e-06 | -2.4064e-06 | 0.004233 | 0.0042343 | 0.0042343 | 0.97617 | -0.45855 | 0.97541 | -0.47351 | 1.1633
32 | -0.096434 | -0.024386 | 0.096785 | 0.02461 | 0.00035061 | 0.00022384 | 0.14613 | 0.14613 | 0.14613 | 0.98248 | -0.33531 | 0.98638 | -0.25981 | 40.1462
33 | -0.00093609 | -0.00023384 | 0.00093611 | 0.00023349 | 2.0885e-08 | -3.4413e-07 | 0.001411 | 0.0014109 | 0.001411 | 0.98696 | -0.24909 | 0.98698 | -0.24862 | 0.38765
34 | 0.00093609 | 0.00023384 | -0.00093605 | -0.00023439 | 3.3442e-08 | -5.5087e-07 | 0.001411 | 0.0014113 | 0.0014113 | 0.98696 | -0.24909 | 0.98692 | -0.24984 | 0.38771
35 | -0.0014236 | -0.00035567 | 0.0014236 | 0.00035548 | 2.7613e-08 | -1.867e-07 | 0.0021459 | 0.0021458 | 0.0021459 | 0.98698 | -0.24862 | 0.987 | -0.24821 | 0.58953
36 | 0.00048619 | 0.00012164 | -0.00048618 | -0.00012185 | 3.3473e-09 | -2.1014e-07 | 0.00073297 | 0.00073304 | 0.00073304 | 0.98692 | -0.24984 | 0.98691 | -0.24999 | 0.20139
37 | -0.0014236 | -0.00035548 | 0.0014236 | 0.00035534 | 2.021e-08 | -1.3666e-07 | 0.0021458 | 0.0021457 | 0.0021458 | 0.987 | -0.24821 | 0.98702 | -0.24791 | 0.58951
38 | -0.0014236 | -0.00035534 | 0.0014237 | 0.00035467 | 9.9897e-08 | -6.7568e-07 | 0.0021457 | 0.0021455 | 0.0021457 | 0.98702 | -0.24791 | 0.98709 | -0.24644 | 0.58949
39 | -0.0019058 | -0.00047549 | 0.0019059 | 0.00047534 | 4.1411e-08 | -1.4462e-07 | 0.0028722 | 0.0028721 | 0.0028722 | 0.98709 | -0.24644 | 0.98711 | -0.24598 | 0.78907
40 | 0.0027758 | 0.00069528 | -0.0027755 | -0.0006956 | 2.6693e-07 | -3.2463e-07 | 0.0042343 | 0.0042345 | 0.0042345 | 0.97541 | -0.47351 | 0.97531 | -0.47553 | 1.1633
41 | 0.032932 | 0.0082808 | -0.032882 | -0.0082495 | 4.9862e-05 | 3.1258e-05 | 0.0503 | 0.0503 | 0.0503 | 0.97441 | -0.4931 | 0.9728 | -0.52485 | 13.8188
42 | -0.15843 | -0.04002 | 0.15874 | 0.040212 | 0.0003025 | 0.00019198 | 0.23943 | 0.23943 | 0.23943 | 0.98508 | -0.28532 | 0.98714 | -0.24557 | 21.9262
43 | -0.10088 | -0.025638 | 0.10102 | 0.025724 | 0.00013485 | 8.6103e-05 | 0.15232 | 0.15232 | 0.15232 | 0.98638 | -0.25981 | 0.98782 | -0.23209 | 41.8449
44 | -0.002354 | -0.00058766 | 0.0023541 | 0.00058757 | 4.5897e-08 | -9.4938e-08 | 0.0035477 | 0.0035477 | 0.0035477 | 0.98711 | -0.24598 | 0.98714 | -0.24557 | 0.97465
45 | 0.021133 | 0.0053049 | -0.021109 | -0.0052905 | 2.3637e-05 | 1.438e-05 | 0.032328 | 0.032329 | 0.032329 | 0.9728 | -0.52485 | 0.97161 | -0.54833 | 8.8815
46 | -0.011591 | -0.0029051 | 0.011594 | 0.0029064 | 2.4462e-06 | 1.2909e-06 | 0.01745 | 0.01745 | 0.01745 | 0.98845 | -0.22023 | 0.98867 | -0.2158 | 4.7939
47 | -0.015139 | -0.0037949 | 0.015141 | 0.0037961 | 2.063e-06 | 1.1844e-06 | 0.022785 | 0.022785 | 0.022785 | 0.98867 | -0.2158 | 0.98882 | -0.21294 | 6.2597
48 | -0.015141 | -0.0037961 | 0.015143 | 0.003797 | 1.6406e-06 | 9.419e-07 | 0.022785 | 0.022785 | 0.022785 | 0.98882 | -0.21294 | 0.98894 | -0.21066 | 6.2597
49 | -0.12091 | -0.030753 | 0.12105 | 0.030844 | 0.0001423 | 9.0926e-05 | 0.18209 | 0.18209 | 0.18209 | 0.98894 | -0.21066 | 0.99021 | -0.18627 | 50.0241
50 | 0.10577 | 0.026956 | -0.10566 | -0.026886 | 0.00010926 | 6.9779e-05 | 0.1593 | 0.1593 | 0.1593 | 0.98894 | -0.21066 | 0.98782 | -0.23209 | 43.7644
51 | 0.1326 | 0.033809 | -0.13243 | -0.033701 | 0.00016964 | 0.00010798 | 0.19917 | 0.19917 | 0.19917 | 0.99171 | -0.15746 | 0.99033 | -0.184 | 27.3582
52 | 0.12106 | 0.030852 | -0.12105 | -0.030844 | 1.3251e-05 | 8.4668e-06 | 0.18209 | 0.18209 | 0.18209 | 0.99033 | -0.184 | 0.99021 | -0.18627 | 50.0241
53 | 0.0072885 | 0.0018263 | -0.0072861 | -0.0018254 | 2.4618e-06 | 8.6839e-07 | 0.010939 | 0.010939 | 0.010939 | 0.99143 | -0.16329 | 0.99106 | -0.17038 | 3.0053
54 | -0.0072885 | -0.0018263 | 0.0072902 | 0.0018269 | 1.7173e-06 | 6.0545e-07 | 0.010939 | 0.010939 | 0.010939 | 0.99143 | -0.16329 | 0.99168 | -0.15834 | 3.0052
55 | 0.0049125 | 0.0012305 | -0.0049114 | -0.0012305 | 1.1177e-06 | 9.5057e-09 | 0.0073755 | 0.0073758 | 0.0073758 | 0.99106 | -0.17038 | 0.99081 | -0.17516 | 2.0263
56 | -0.014504 | -0.0036348 | 0.014507 | 0.0036363 | 2.55e-06 | 1.4467e-06 | 0.021763 | 0.021763 | 0.021763 | 0.99168 | -0.15834 | 0.99187 | -0.15465 | 5.9789
57 | 0.0032449 | 0.00081287 | -0.0032448 | -0.00081299 | 1.4857e-07 | -1.1978e-07 | 0.0048731 | 0.0048732 | 0.0048732 | 0.99081 | -0.17516 | 0.99077 | -0.17612 | 1.3388
58 | 0.0016317 | 0.00040872 | -0.0016317 | -0.00040894 | 4.2911e-08 | -2.1791e-07 | 0.0024506 | 0.0024507 | 0.0024507 | 0.99077 | -0.17612 | 0.99074 | -0.17667 | 0.67326

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.37494 | 0.095909

## res_load
| p_mw | q_mvar
0 | 0.014392 | 0.0036069
1 | 0.0010905 | 0.00027331
2 | 0.0076545 | 0.0019184
3 | 0.005705 | 0.0014298
4 | 0.01216 | 0.0030476
5 | 0.0070858 | 0.0017759
6 | 0.0021513 | 0.00053917
7 | 0.0004515 | 0.00011316
8 | 0.0017036 | 0.00042697
9 | 0.00317 | 0.00079449
10 | 0.0020048 | 0.00050244
11 | 0.012828 | 0.003215
12 | 0.065005 | 0.016292
13 | 0.073652 | 0.018459
14 | 0.0019994 | 0.00050109
15 | 0.022746 | 0.0057008
16 | 0.0056007 | 0.0014037
17 | 0.0073363 | 0.0018386
18 | 0.00048748 | 0.00012217
19 | 0.00044987 | 0.00011275
20 | 0.00048207 | 0.00012082
21 | 0.0027755 | 0.0006956
22 | 0.012432 | 0.0031157
23 | 0.0041386 | 0.0010372
24 | 0.012103 | 0.0030333
25 | 0.0040991 | 0.0010273
26 | 0.00048618 | 0.00012185
27 | 0.00044817 | 0.00011232
28 | 0.011749 | 0.0029447
29 | 0.011591 | 0.0029051
30 | 0.0035452 | 0.00088851
31 | 0.011367 | 0.002849
32 | 0.0023736 | 0.00059488
33 | 0.0072137 | 0.0018079
34 | 0.0046385 | 0.0011625
35 | 0.021109 | 0.0052905
36 | 0.0016664 | 0.00041765
37 | 0.004029 | 0.0010098
38 | 0.0016131 | 0.00040427
39 | 0.0016317 | 0.00040894

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1