## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_243-23_1_5_node_14 | 0.4 | n |  | TRUE
1 | bus_LV_243-23_1_5_node_69 | 0.4 | n |  | TRUE
2 | bus_LV_243-23_1_5_node_52 | 0.4 | n |  | TRUE
3 | bus_LV_243-23_1_5_node_17 | 0.4 | n |  | TRUE
4 | bus_LV_243-23_1_5_node_39 | 0.4 | n |  | TRUE
5 | bus_LV_243-23_1_5_node_42 | 0.4 | n |  | TRUE
6 | bus_LV_243-23_1_5_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_243-23_1_5_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_243-23_1_5_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_243-23_1_5_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_243-23_1_5_node_31 | 0.4 | n |  | TRUE
11 | bus_LV_243-23_1_5_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_243-23_1_5_node_38 | 0.4 | n |  | TRUE
13 | bus_LV_243-23_1_5_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_243-23_1_5_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_243-23_1_5_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_243-23_1_5_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_243-23_1_5_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_243-23_1_5_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_243-23_1_5_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_243-23_1_5_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_243-23_1_5_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_243-23_1_5_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_243-23_1_5_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_243-23_1_5_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_243-23_1_5_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_243-23_1_5_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_243-23_1_5_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_243-23_1_5_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_243-23_1_5_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_243-23_1_5_node_55 | 0.4 | n |  | TRUE
31 | bus_LV_243-23_1_5_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_243-23_1_5_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_243-23_1_5_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_243-23_1_5_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_243-23_1_5_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_243-23_1_5_node_65 | 0.4 | n |  | TRUE
37 | bus_LV_243-23_1_5_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_243-23_1_5_node_100 | 0.4 | n |  | TRUE
39 | bus_LV_243-23_1_5_node_97 | 0.4 | n |  | TRUE
40 | bus_LV_243-23_1_5_node_96 | 0.4 | n |  | TRUE
41 | bus_LV_243-23_1_5_node_98 | 0.4 | n |  | TRUE
42 | bus_MV_515_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_243-23_1_5_load_69 | 1 | 0.026138 | 0.0065508 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_243-23_1_5_load_52 | 2 | 0.0049638 | 0.001244 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_243-23_1_5_load_42 | 5 | 0.0070628 | 0.0017701 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_243-23_1_5_load_27 | 6 | 0.077736 | 0.019483 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_243-23_1_5_load_28 | 7 | 0.015137 | 0.0037938 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_243-23_1_5_load_29 | 8 | 0.0061602 | 0.0015439 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_243-23_1_5_load_30 | 9 | 0.011859 | 0.0029721 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_243-23_1_5_load_38 | 12 | 0.008384 | 0.0021012 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_243-23_1_5_load_33 | 13 | 0.073871 | 0.018514 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_243-23_1_5_load_34 | 14 | 0.012164 | 0.0030486 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_243-23_1_5_load_35 | 15 | 0.011843 | 0.002968 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_243-23_1_5_load_36 | 16 | 0.0021661 | 0.00054289 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_243-23_1_5_load_37 | 17 | 0.0022082 | 0.00055344 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_243-23_1_5_load_40 | 18 | 0.0061619 | 0.0015443 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_243-23_1_5_load_47 | 19 | 0.0062503 | 0.0015665 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_243-23_1_5_load_43 | 20 | 0.003101 | 0.00077719 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_243-23_1_5_load_41 | 21 | 0.0066754 | 0.001673 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_243-23_1_5_load_46 | 24 | 0.005487 | 0.0013752 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_243-23_1_5_load_49 | 25 | 0.0083779 | 0.0020997 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_243-23_1_5_load_50 | 26 | 0.0031445 | 0.00078808 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_243-23_1_5_load_53 | 28 | 0.010031 | 0.0025141 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_243-23_1_5_load_54 | 29 | 0.0020358 | 0.00051021 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_243-23_1_5_load_55 | 30 | 0.0024387 | 0.0006112 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_243-23_1_5_load_58 | 31 | 0.016603 | 0.0041612 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_243-23_1_5_load_60 | 32 | 0.0036231 | 0.00090804 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_243-23_1_5_load_56 | 34 | 0.0076013 | 0.0019051 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_243-23_1_5_load_57 | 35 | 0.0024869 | 0.00062328 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_243-23_1_5_load_68 | 37 | 0.0036004 | 0.00090236 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_243-23_1_5_load_100 | 38 | 0.0028965 | 0.00072593 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_243-23_1_5_load_97 | 39 | 0.0029192 | 0.00073161 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_243-23_1_5_load_96 | 40 | 0.028665 | 0.0071841 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_243-23_1_5_load_98 | 41 | 0.0093904 | 0.0023534 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_243-23_1_5_line_0 |  | 0 | 1 | 0.025042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_243-23_1_5_line_1 |  | 0 | 2 | 0.042739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_243-23_1_5_line_2 |  | 1 | 40 | 0.00014552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_243-23_1_5_line_3 |  | 2 | 31 | 0.057605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_243-23_1_5_line_4 |  | 2 | 26 | 0.021845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_243-23_1_5_line_5 |  | 3 | 4 | 0.035427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_243-23_1_5_line_6 |  | 3 | 5 | 0.007441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_243-23_1_5_line_7 |  | 4 | 20 | 0.012487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_243-23_1_5_line_8 |  | 4 | 10 | 0.015031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_243-23_1_5_line_9 |  | 6 | 7 | 0.028018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_243-23_1_5_line_10 |  | 6 | 8 | 0.026496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_243-23_1_5_line_11 |  | 7 | 9 | 0.0024332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_243-23_1_5_line_12 |  | 8 | 10 | 0.015884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_243-23_1_5_line_13 |  | 9 | 11 | 0.026036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_243-23_1_5_line_14 |  | 10 | 12 | 0.048073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_243-23_1_5_line_15 |  | 11 | 13 | 0.0019492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_243-23_1_5_line_16 |  | 11 | 14 | 0.038562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_243-23_1_5_line_17 |  | 12 | 19 | 0.00072724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_243-23_1_5_line_18 |  | 13 | 15 | 0.0039491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_243-23_1_5_line_19 |  | 15 | 16 | 0.022918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_243-23_1_5_line_20 |  | 16 | 17 | 0.018724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_243-23_1_5_line_21 |  | 17 | 18 | 0.00097476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_243-23_1_5_line_22 |  | 18 | 21 | 0.0043783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_243-23_1_5_line_23 |  | 20 | 23 | 0.016549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_243-23_1_5_line_24 |  | 21 | 22 | 0.0263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_243-23_1_5_line_25 |  | 22 | 39 | 0.019631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_243-23_1_5_line_26 |  | 22 | 33 | 0.008998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_243-23_1_5_line_27 |  | 23 | 24 | 0.016462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_243-23_1_5_line_28 |  | 25 | 26 | 0.049998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_243-23_1_5_line_29 |  | 25 | 27 | 0.017987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_243-23_1_5_line_30 |  | 27 | 28 | 0.057408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_243-23_1_5_line_31 |  | 27 | 29 | 0.01048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_243-23_1_5_line_32 |  | 27 | 30 | 0.015516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_243-23_1_5_line_33 |  | 28 | 32 | 0.0036837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_243-23_1_5_line_34 |  | 29 | 33 | 0.043325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_243-23_1_5_line_35 |  | 31 | 34 | 0.0069106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_243-23_1_5_line_36 |  | 33 | 37 | 0.036298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_243-23_1_5_line_37 |  | 34 | 35 | 0.0017886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_243-23_1_5_line_38 |  | 36 | 37 | 0.041237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_243-23_1_5_line_39 |  | 36 | 38 | 0.041977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_243-23_1_5_line_40 |  | 39 | 41 | 0.044749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_243-23_1_5_trafo_32 | 0.63 MVA 20/0.4 kV | 42 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2672464.392 | 1250736.1457 | 2672466.3104 | 1250734.8349 | 2672484.7405 | 1250721.5503
1 | 2672464.392 | 1250736.1457 | 2672459.3117 | 1250727.4885 | 2672454.8677 | 1250720.5069 | 2672443.534 | 1250707.1365 | 2672438.0933 | 1250702.8968
2 | 2672484.8585 | 1250721.4652 | 2672484.7405 | 1250721.5503
3 | 2672438.0933 | 1250702.8968 | 2672470.2675 | 1250655.1146
4 | 2672419.9671 | 1250690.7812 | 2672430.7918 | 1250697.207 | 2672438.0933 | 1250702.8968
5 | 2672485.5971 | 1250824.3687 | 2672494.0206 | 1250831.8549 | 2672510.5323 | 1250849.5585
6 | 2672510.5323 | 1250849.5585 | 2672515.138 | 1250855.4029
7 | 2672485.5971 | 1250824.3687 | 2672477.0558 | 1250833.4775
8 | 2672474.2969 | 1250814.4567 | 2672481.3772 | 1250820.67 | 2672485.5971 | 1250824.3687
9 | 2672412.5793 | 1250787.8857 | 2672415.3289 | 1250790.0295 | 2672422.7266 | 1250792.5217 | 2672439.4457 | 1250792.059
10 | 2672462.4683 | 1250803.8559 | 2672455.3156 | 1250797.4457 | 2672448.5706 | 1250794.0497 | 2672439.4457 | 1250792.059 | 2672439.4457 | 1250792.059
11 | 2672412.5793 | 1250787.8857 | 2672410.6604 | 1250786.3897
12 | 2672474.2969 | 1250814.4567 | 2672462.4683 | 1250803.8559
13 | 2672392.89 | 1250767.4614 | 2672406.7371 | 1250783.3308 | 2672410.6604 | 1250786.3897
14 | 2672474.2969 | 1250814.4567 | 2672452.9958 | 1250834.0438 | 2672437.6946 | 1250845.5343
15 | 2672392.89 | 1250767.4614 | 2672391.6088 | 1250765.9923
16 | 2672392.89 | 1250767.4614 | 2672389.971 | 1250769.7274 | 2672362.4269 | 1250791.1051
17 | 2672437.1131 | 1250845.971 | 2672437.6946 | 1250845.5343
18 | 2672389.0132 | 1250763.0161 | 2672391.6088 | 1250765.9923
19 | 2672389.0132 | 1250763.0161 | 2672379.8246 | 1250752.4799 | 2672374.6433 | 1250745.1966
20 | 2672363.7895 | 1250729.9396 | 2672364.7514 | 1250731.2917 | 2672374.6433 | 1250745.1966
21 | 2672363.7895 | 1250729.9396 | 2672363.2245 | 1250729.1454
22 | 2672363.2245 | 1250729.1454 | 2672360.6864 | 1250725.5778
23 | 2672464.5272 | 1250844.1921 | 2672472.6708 | 1250838.1539 | 2672477.0558 | 1250833.4775
24 | 2672345.4404 | 1250704.1475 | 2672360.6864 | 1250725.5778
25 | 2672345.4404 | 1250704.1475 | 2672330.2305 | 1250716.5587
26 | 2672340.2154 | 1250696.8118 | 2672345.4404 | 1250704.1475
27 | 2672464.5272 | 1250844.1921 | 2672459.9875 | 1250842.5687 | 2672450.5467 | 1250849.3786
28 | 2672379.5466 | 1250661.5125 | 2672406.599 | 1250682.8455 | 2672419.9671 | 1250690.7812
29 | 2672365.4228 | 1250650.3748 | 2672379.5466 | 1250661.5125
30 | 2672365.4228 | 1250650.3748 | 2672367.1216 | 1250644.18 | 2672389.5754 | 1250619.8699 | 2672403.4535 | 1250608.5776
31 | 2672365.4228 | 1250650.3748 | 2672363.7257 | 1250655.8247 | 2672361.2506 | 1250659.9041
32 | 2672365.4228 | 1250650.3748 | 2672353.5204 | 1250640.4218
33 | 2672403.4535 | 1250608.5776 | 2672406.3108 | 1250606.2527
34 | 2672340.2154 | 1250696.8118 | 2672344.9603 | 1250693.3895 | 2672346.3752 | 1250686.9465 | 2672348.2506 | 1250682.9665 | 2672358.0939 | 1250665.1071 | 2672361.2506 | 1250659.9041
35 | 2672470.2675 | 1250655.1146 | 2672475.1243 | 1250650.1986
36 | 2672340.2154 | 1250696.8118 | 2672318.1967 | 1250667.9548
37 | 2672475.1243 | 1250650.1986 | 2672476.3814 | 1250648.9262
38 | 2672293.1821 | 1250635.1713 | 2672318.1967 | 1250667.9548
39 | 2672293.1821 | 1250635.1713 | 2672279.3904 | 1250647.501 | 2672270.9345 | 1250669.4026
40 | 2672330.2305 | 1250716.5587 | 2672295.5597 | 1250744.8498

## bus_geodata
| x | y | coords
0 | 2672464.392 | 1250736.1457
1 | 2672484.7405 | 1250721.5503
2 | 2672438.0933 | 1250702.8968
3 | 2672510.5323 | 1250849.5585
4 | 2672485.5971 | 1250824.3687
5 | 2672515.138 | 1250855.4029
6 | 2672439.4457 | 1250792.059
7 | 2672412.5793 | 1250787.8857
8 | 2672462.4683 | 1250803.8559
9 | 2672410.6604 | 1250786.3897
10 | 2672474.2969 | 1250814.4567
11 | 2672392.89 | 1250767.4614
12 | 2672437.6946 | 1250845.5343
13 | 2672391.6088 | 1250765.9923
14 | 2672362.4269 | 1250791.1051
15 | 2672389.0132 | 1250763.0161
16 | 2672374.6433 | 1250745.1966
17 | 2672363.7895 | 1250729.9396
18 | 2672363.2245 | 1250729.1454
19 | 2672437.1131 | 1250845.971
20 | 2672477.0558 | 1250833.4775
21 | 2672360.6864 | 1250725.5778
22 | 2672345.4404 | 1250704.1475
23 | 2672464.5272 | 1250844.1921
24 | 2672450.5467 | 1250849.3786
25 | 2672379.5466 | 1250661.5125
26 | 2672419.9671 | 1250690.7812
27 | 2672365.4228 | 1250650.3748
28 | 2672403.4535 | 1250608.5776
29 | 2672361.2506 | 1250659.9041
30 | 2672353.5204 | 1250640.4218
31 | 2672470.2675 | 1250655.1146
32 | 2672406.3108 | 1250606.2527
33 | 2672340.2154 | 1250696.8118
34 | 2672475.1243 | 1250650.1986
35 | 2672476.3814 | 1250648.9262
36 | 2672293.1821 | 1250635.1713
37 | 2672318.1967 | 1250667.9548
38 | 2672270.9345 | 1250669.4026
39 | 2672330.2305 | 1250716.5587
40 | 2672484.8585 | 1250721.4652
41 | 2672295.5597 | 1250744.8498
42 | 2672357.5732 | 1250794.8722

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9764 | -0.45407 | 0 | 0
1 | 0.97513 | -0.47919 | 0.026138 | 0.0065508
2 | 0.97858 | -0.41134 | 0.0049638 | 0.001244
3 | 0.99336 | -0.12781 | 0 | 0
4 | 0.99359 | -0.12339 | 0 | 0
5 | 0.99331 | -0.12874 | 0.0070628 | 0.0017701
6 | 0.99512 | -0.093739 | 0.077736 | 0.019483
7 | 0.99804 | -0.037593 | 0.015137 | 0.0037938
8 | 0.99424 | -0.11075 | 0.0061602 | 0.0015439
9 | 0.99833 | -0.032089 | 0.011859 | 0.0029721
10 | 0.9938 | -0.11924 | 0 | 0
11 | 1 | 0 | -0.39603 | -0.10007
12 | 0.99316 | -0.13166 | 0.008384 | 0.0021012
13 | 0.99979 | -0.0040414 | 0.073871 | 0.018514
14 | 0.99957 | -0.0081796 | 0.012164 | 0.0030486
15 | 0.99949 | -0.0096893 | 0.011843 | 0.002968
16 | 0.99788 | -0.040158 | 0.0021661 | 0.00054289
17 | 0.99658 | -0.064767 | 0.0022082 | 0.00055344
18 | 0.99651 | -0.066031 | 0.0061619 | 0.0015443
19 | 0.99316 | -0.13174 | 0.0062503 | 0.0015665
20 | 0.99349 | -0.12529 | 0.003101 | 0.00077719
21 | 0.99622 | -0.071473 | 0.0066754 | 0.001673
22 | 0.99294 | -0.134 | 0 | 0
23 | 0.99341 | -0.12689 | 0 | 0
24 | 0.99332 | -0.12849 | 0.005487 | 0.0013752
25 | 0.9845 | -0.29612 | 0.0083779 | 0.0020997
26 | 0.98033 | -0.37702 | 0.0031445 | 0.00078808
27 | 0.98614 | -0.26447 | 0 | 0
28 | 0.98541 | -0.27853 | 0.010031 | 0.0025141
29 | 0.98724 | -0.24307 | 0.0020358 | 0.00051021
30 | 0.9861 | -0.26515 | 0.0024387 | 0.0006112
31 | 0.97715 | -0.43937 | 0.016603 | 0.0041612
32 | 0.9854 | -0.27877 | 0.0036231 | 0.00090804
33 | 0.99191 | -0.15353 | 0 | 0
34 | 0.97709 | -0.44064 | 0.0076013 | 0.0019051
35 | 0.97708 | -0.44072 | 0.0024869 | 0.00062328
36 | 0.99159 | -0.15983 | 0 | 0
37 | 0.9917 | -0.15771 | 0.0036004 | 0.00090236
38 | 0.99148 | -0.16198 | 0.0028965 | 0.00072593
39 | 0.99272 | -0.13828 | 0.0029192 | 0.00073161
40 | 0.97512 | -0.47927 | 0.028665 | 0.0071841
41 | 0.99233 | -0.14571 | 0.0093904 | 0.0023534
42 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.054869 | 0.013777 | -0.054803 | -0.013735 | 6.5676e-05 | 4.172e-05 | 0.083628 | 0.083628 | 0.083628 | 0.9764 | -0.45407 | 0.97513 | -0.47919 | 22.9747
1 | -0.054869 | -0.013777 | 0.054981 | 0.013848 | 0.00011209 | 7.12e-05 | 0.083628 | 0.083628 | 0.083628 | 0.9764 | -0.45407 | 0.97858 | -0.41134 | 22.9746
2 | 0.028665 | 0.0071842 | -0.028665 | -0.0071841 | 1.0441e-07 | 6.5008e-08 | 0.043742 | 0.043742 | 0.043742 | 0.97513 | -0.47919 | 0.97512 | -0.47927 | 12.017
3 | 0.026728 | 0.006712 | -0.026692 | -0.0066898 | 3.569e-05 | 2.2119e-05 | 0.040647 | 0.040647 | 0.040647 | 0.97858 | -0.41134 | 0.97715 | -0.43937 | 11.1668
4 | -0.086672 | -0.021804 | 0.086815 | 0.021895 | 0.00014235 | 9.083e-05 | 0.13182 | 0.13182 | 0.13182 | 0.97858 | -0.41134 | 0.98033 | -0.37702 | 36.2149
5 | -0.0070631 | -0.0017702 | 0.0070645 | 0.0017707 | 1.4871e-06 | 4.9303e-07 | 0.01058 | 0.01058 | 0.01058 | 0.99336 | -0.12781 | 0.99359 | -0.12339 | 2.9067
6 | 0.0070631 | 0.0017702 | -0.0070628 | -0.0017701 | 3.1236e-07 | 1.0359e-07 | 0.01058 | 0.01058 | 0.01058 | 0.99336 | -0.12781 | 0.99331 | -0.12874 | 2.9067
7 | 0.0085896 | 0.0021528 | -0.0085888 | -0.0021525 | 7.7489e-07 | 3.3422e-07 | 0.012864 | 0.012864 | 0.012864 | 0.99359 | -0.12339 | 0.99349 | -0.12529 | 3.5341
8 | -0.015654 | -0.0039235 | 0.015657 | 0.0039253 | 3.0981e-06 | 1.7881e-06 | 0.023444 | 0.023444 | 0.023444 | 0.99359 | -0.12339 | 0.9938 | -0.11924 | 6.4407
9 | -0.11424 | -0.028651 | 0.11455 | 0.028846 | 0.00030662 | 0.00019587 | 0.17083 | 0.17083 | 0.17083 | 0.99512 | -0.093739 | 0.99804 | -0.037593 | 46.931
10 | 0.036502 | 0.009168 | -0.036473 | -0.0091494 | 2.9609e-05 | 1.8606e-05 | 0.054589 | 0.054589 | 0.054589 | 0.99512 | -0.093739 | 0.99424 | -0.11075 | 14.9971
11 | -0.12968 | -0.03264 | 0.12972 | 0.032662 | 3.4127e-05 | 2.181e-05 | 0.1934 | 0.1934 | 0.1934 | 0.99804 | -0.037593 | 0.99833 | -0.032089 | 53.1312
12 | 0.030312 | 0.0076055 | -0.0303 | -0.0075979 | 1.2261e-05 | 7.641e-06 | 0.04537 | 0.04537 | 0.04537 | 0.99424 | -0.11075 | 0.9938 | -0.11924 | 12.4642
13 | -0.14158 | -0.035634 | 0.14179 | 0.035773 | 0.00021749 | 0.00013851 | 0.21107 | 0.21107 | 0.21107 | 0.99833 | -0.032089 | 1 | 0 | 28.9936
14 | 0.014643 | 0.0036726 | -0.014634 | -0.0036677 | 8.6666e-06 | 4.9242e-06 | 0.021926 | 0.021926 | 0.021926 | 0.9938 | -0.11924 | 0.99316 | -0.13166 | 6.0237
15 | 0.24042 | 0.061251 | -0.24037 | -0.061221 | 4.6868e-05 | 2.9944e-05 | 0.3581 | 0.3581 | 0.3581 | 1 | 0 | 0.99979 | -0.0040414 | 49.1898
16 | 0.012169 | 0.0030512 | -0.012164 | -0.0030486 | 4.7418e-06 | 2.529e-06 | 0.018108 | 0.018108 | 0.018108 | 1 | 0 | 0.99957 | -0.0081796 | 4.9748
17 | 0.0062504 | 0.0015665 | -0.0062503 | -0.0015665 | 2.3917e-08 | 5.8959e-09 | 0.0093647 | 0.0093647 | 0.0093647 | 0.99316 | -0.13166 | 0.99316 | -0.13174 | 2.5727
18 | 0.1665 | 0.042707 | -0.16646 | -0.042678 | 4.5599e-05 | 2.908e-05 | 0.24816 | 0.24816 | 0.24816 | 0.99979 | -0.0040414 | 0.99949 | -0.0096893 | 34.0876
19 | 0.15461 | 0.03971 | -0.15439 | -0.039564 | 0.00022836 | 0.00014555 | 0.23053 | 0.23053 | 0.23053 | 0.99949 | -0.0096893 | 0.99788 | -0.040158 | 31.6659
20 | 0.15222 | 0.039021 | -0.15204 | -0.038906 | 0.00018138 | 0.00011559 | 0.2273 | 0.2273 | 0.2273 | 0.99788 | -0.040158 | 0.99658 | -0.064767 | 31.2222
21 | 0.14983 | 0.038352 | -0.14982 | -0.038346 | 9.1706e-06 | 5.8438e-06 | 0.224 | 0.224 | 0.224 | 0.99658 | -0.064767 | 0.99651 | -0.066031 | 30.7693
22 | 0.14366 | 0.036802 | -0.14362 | -0.036778 | 3.7877e-05 | 2.4127e-05 | 0.2148 | 0.2148 | 0.2148 | 0.99651 | -0.066031 | 0.99622 | -0.071473 | 29.5054
23 | 0.0054878 | 0.0013753 | -0.0054874 | -0.0013752 | 4.1925e-07 | 5.4052e-08 | 0.0082194 | 0.0082195 | 0.0082195 | 0.99349 | -0.12529 | 0.99341 | -0.12689 | 2.2581
24 | 0.13695 | 0.035105 | -0.13653 | -0.03484 | 0.00041378 | 0.00026448 | 0.20483 | 0.20483 | 0.20483 | 0.99622 | -0.071473 | 0.99294 | -0.134 | 56.2717
25 | 0.012315 | 0.003088 | -0.012313 | -0.0030866 | 2.5077e-06 | 1.351e-06 | 0.018456 | 0.018456 | 0.018456 | 0.99294 | -0.134 | 0.99272 | -0.13828 | 5.0705
26 | 0.12422 | 0.031752 | -0.1241 | -0.031678 | 0.0001172 | 7.4894e-05 | 0.18637 | 0.18637 | 0.18637 | 0.99294 | -0.134 | 0.99191 | -0.15353 | 51.2013
27 | 0.0054874 | 0.0013752 | -0.005487 | -0.0013752 | 4.1706e-07 | 5.3809e-08 | 0.0082195 | 0.0082196 | 0.0082196 | 0.99341 | -0.12689 | 0.99332 | -0.12849 | 2.2581
28 | 0.090309 | 0.022906 | -0.089959 | -0.022683 | 0.00034983 | 0.00022326 | 0.13659 | 0.1366 | 0.1366 | 0.9845 | -0.29612 | 0.98033 | -0.37702 | 37.5261
29 | -0.098687 | -0.025006 | 0.098837 | 0.025102 | 0.00015027 | 9.5941e-05 | 0.14926 | 0.14926 | 0.14926 | 0.9845 | -0.29612 | 0.98614 | -0.26447 | 41.0048
30 | 0.013664 | 0.0034272 | -0.013654 | -0.0034221 | 9.1522e-06 | 5.1255e-06 | 0.020618 | 0.020619 | 0.020619 | 0.98614 | -0.26447 | 0.98541 | -0.27853 | 5.6645
31 | -0.11494 | -0.02914 | 0.11506 | 0.029216 | 0.00011837 | 7.5625e-05 | 0.17356 | 0.17356 | 0.17356 | 0.98614 | -0.26447 | 0.98724 | -0.24307 | 47.6802
32 | 0.0024388 | 0.00061105 | -0.0024387 | -0.0006112 | 7.8792e-08 | -1.4751e-07 | 0.0036799 | 0.00368 | 0.00368 | 0.98614 | -0.26447 | 0.9861 | -0.26515 | 1.011
33 | 0.0036232 | 0.00090802 | -0.0036231 | -0.00090804 | 4.135e-08 | -2.0464e-08 | 0.0054711 | 0.0054712 | 0.0054712 | 0.98541 | -0.27853 | 0.9854 | -0.27877 | 1.5031
34 | -0.11709 | -0.029726 | 0.1176 | 0.03005 | 0.00050683 | 0.00032382 | 0.17662 | 0.17662 | 0.17662 | 0.98724 | -0.24307 | 0.99191 | -0.15353 | 48.5231
35 | 0.010089 | 0.0025286 | -0.010088 | -0.0025283 | 6.1167e-07 | 3.0491e-07 | 0.015363 | 0.015363 | 0.015363 | 0.97715 | -0.43937 | 0.97709 | -0.44064 | 4.2207
36 | 0.0064988 | 0.001628 | -0.0064975 | -0.0016276 | 1.2937e-06 | 3.5954e-07 | 0.0097489 | 0.0097491 | 0.0097491 | 0.99191 | -0.15353 | 0.9917 | -0.15771 | 2.6783
37 | 0.0024869 | 0.00062327 | -0.0024869 | -0.00062328 | 9.621e-09 | -1.6245e-08 | 0.0037874 | 0.0037874 | 0.0037874 | 0.97709 | -0.44064 | 0.97708 | -0.44072 | 1.0405
38 | -0.0028968 | -0.00072558 | 0.0028971 | 0.00072524 | 2.9219e-07 | -3.45e-07 | 0.0043469 | 0.0043467 | 0.0043469 | 0.99159 | -0.15983 | 0.9917 | -0.15771 | 1.1942
39 | 0.0028968 | 0.00072558 | -0.0028965 | -0.00072593 | 2.9745e-07 | -3.5105e-07 | 0.0043469 | 0.0043471 | 0.0043471 | 0.99159 | -0.15983 | 0.99148 | -0.16198 | 1.1943
40 | 0.0093937 | 0.002355 | -0.0093904 | -0.0023534 | 3.3272e-06 | 1.5511e-06 | 0.014081 | 0.014081 | 0.014081 | 0.99272 | -0.13828 | 0.99233 | -0.14571 | 3.8684

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39603 | 0.10007

## res_load
| p_mw | q_mvar
0 | 0.026138 | 0.0065508
1 | 0.0049638 | 0.001244
2 | 0.0070628 | 0.0017701
3 | 0.077736 | 0.019483
4 | 0.015137 | 0.0037938
5 | 0.0061602 | 0.0015439
6 | 0.011859 | 0.0029721
7 | 0.008384 | 0.0021012
8 | 0.073871 | 0.018514
9 | 0.012164 | 0.0030486
10 | 0.011843 | 0.002968
11 | 0.0021661 | 0.00054289
12 | 0.0022082 | 0.00055344
13 | 0.0061619 | 0.0015443
14 | 0.0062503 | 0.0015665
15 | 0.003101 | 0.00077719
16 | 0.0066754 | 0.001673
17 | 0.005487 | 0.0013752
18 | 0.0083779 | 0.0020997
19 | 0.0031445 | 0.00078808
20 | 0.010031 | 0.0025141
21 | 0.0020358 | 0.00051021
22 | 0.0024387 | 0.0006112
23 | 0.016603 | 0.0041612
24 | 0.0036231 | 0.00090804
25 | 0.0076013 | 0.0019051
26 | 0.0024869 | 0.00062328
27 | 0.0036004 | 0.00090236
28 | 0.0028965 | 0.00072593
29 | 0.0029192 | 0.00073161
30 | 0.028665 | 0.0071841
31 | 0.0093904 | 0.0023534

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1