## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_243-24_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_243-24_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_243-24_0_4_node_15 | 0.4 | n |  | TRUE
3 | bus_LV_243-24_0_4_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_243-24_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_243-24_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_243-24_0_4_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_243-24_0_4_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_243-24_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_243-24_0_4_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_243-24_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_243-24_0_4_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_243-24_0_4_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_243-24_0_4_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_243-24_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_243-24_0_4_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_243-24_0_4_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_243-24_0_4_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_243-24_0_4_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_243-24_0_4_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_243-24_0_4_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_243-24_0_4_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_243-24_0_4_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_243-24_0_4_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_243-24_0_4_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_243-24_0_4_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_243-24_0_4_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_243-24_0_4_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_243-24_0_4_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_243-24_0_4_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_243-24_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_243-24_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_243-24_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_243-24_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_243-24_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_243-24_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_243-24_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_243-24_0_4_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_243-24_0_4_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_243-24_0_4_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_243-24_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_243-24_0_4_node_26 | 0.4 | n |  | TRUE
42 | bus_MV_515_0_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_243-24_0_4_load_0 | 0 | 0.01223 | 0.0030652 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_243-24_0_4_load_15 | 2 | 0.016564 | 0.0041514 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_243-24_0_4_load_47 | 7 | 0.07448 | 0.018667 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_243-24_0_4_load_17 | 9 | 0.03132 | 0.0078495 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_243-24_0_4_load_29 | 13 | 0.011885 | 0.0029788 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_243-24_0_4_load_45 | 15 | 0.015598 | 0.0039093 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_243-24_0_4_load_43 | 16 | 0.05479 | 0.013732 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_243-24_0_4_load_41 | 17 | 0.019164 | 0.0048029 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_243-24_0_4_load_49 | 18 | 0.047199 | 0.011829 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_243-24_0_4_load_48 | 19 | 0.015883 | 0.0039805 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_243-24_0_4_load_44 | 21 | 0.0066137 | 0.0016575 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_243-24_0_4_load_27 | 23 | 0.013578 | 0.0034031 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_243-24_0_4_load_36 | 25 | 0.0091194 | 0.0022855 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_243-24_0_4_load_35 | 26 | 0.011682 | 0.0029277 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_243-24_0_4_load_31 | 27 | 0.01713 | 0.0042931 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_243-24_0_4_load_32 | 28 | 0.068432 | 0.017151 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_243-24_0_4_load_40 | 29 | 0.0014287 | 0.00035807 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_243-24_0_4_load_18 | 30 | 0.0070668 | 0.0017711 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_243-24_0_4_load_25 | 34 | 0.024713 | 0.0061936 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_243-24_0_4_load_42 | 37 | 0.021892 | 0.0054866 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_243-24_0_4_load_39 | 38 | 0.013213 | 0.0033116 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_243-24_0_4_load_38 | 39 | 0.0067631 | 0.001695 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_243-24_0_4_load_30 | 40 | 0.0051963 | 0.0013023 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_243-24_0_4_load_26 | 41 | 0.0080298 | 0.0020125 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_243-24_0_4_line_0 |  | 0 | 1 | 0.045549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_243-24_0_4_line_1 |  | 1 | 2 | 0.025742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_243-24_0_4_line_2 |  | 1 | 3 | 0.014434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_243-24_0_4_line_3 |  | 2 | 4 | 0.045197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_243-24_0_4_line_4 |  | 3 | 18 | 0.029454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_243-24_0_4_line_5 |  | 3 | 8 | 0.014261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_243-24_0_4_line_6 |  | 4 | 5 | 0.021505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_243-24_0_4_line_7 |  | 5 | 6 | 0.034085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_243-24_0_4_line_8 |  | 5 | 7 | 0.0064176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_243-24_0_4_line_9 |  | 6 | 14 | 0.012687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_243-24_0_4_line_10 |  | 6 | 15 | 0.041959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_243-24_0_4_line_11 |  | 8 | 9 | 0.02269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_243-24_0_4_line_12 |  | 10 | 11 | 0.004992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_243-24_0_4_line_13 |  | 10 | 12 | 0.01494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_243-24_0_4_line_14 |  | 10 | 13 | 0.003966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_243-24_0_4_line_15 |  | 11 | 15 | 0.013391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_243-24_0_4_line_16 |  | 11 | 22 | 0.025153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_243-24_0_4_line_17 |  | 12 | 17 | 0.025122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_243-24_0_4_line_18 |  | 13 | 23 | 0.028857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_243-24_0_4_line_19 |  | 14 | 16 | 0.013518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_243-24_0_4_line_20 |  | 17 | 29 | 0.032969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_243-24_0_4_line_21 |  | 19 | 20 | 0.0028554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_243-24_0_4_line_22 |  | 20 | 36 | 0.02599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_243-24_0_4_line_23 |  | 21 | 22 | 0.016814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_243-24_0_4_line_24 |  | 22 | 28 | 0.013779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_243-24_0_4_line_25 |  | 23 | 41 | 0.0080612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_243-24_0_4_line_26 |  | 24 | 25 | 0.014969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_243-24_0_4_line_27 |  | 24 | 26 | 0.044267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_243-24_0_4_line_28 |  | 26 | 33 | 0.020703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_243-24_0_4_line_29 |  | 27 | 28 | 0.03703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_243-24_0_4_line_30 |  | 29 | 37 | 0.0044023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_243-24_0_4_line_31 |  | 30 | 31 | 0.1013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_243-24_0_4_line_32 |  | 31 | 32 | 0.050935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_243-24_0_4_line_33 |  | 32 | 33 | 0.046646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_243-24_0_4_line_34 |  | 32 | 34 | 0.014267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_243-24_0_4_line_35 |  | 33 | 35 | 0.006404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_243-24_0_4_line_36 |  | 35 | 40 | 0.015077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_243-24_0_4_line_37 |  | 35 | 41 | 0.019305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_243-24_0_4_line_38 |  | 36 | 37 | 0.027607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_243-24_0_4_line_39 |  | 38 | 39 | 0.023609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_243-24_0_4_line_40 |  | 39 | 40 | 0.02135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_243-24_0_4_trafo_45 | 0.63 MVA 20/0.4 kV | 42 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2672778.3512 | 1250919.0019 | 2672813.8726 | 1250947.5143
1 | 2672778.3512 | 1250919.0019 | 2672773.5252 | 1250913.661 | 2672785.4921 | 1250899.4951
2 | 2672768.1705 | 1250929.2399 | 2672774.3978 | 1250922.5114 | 2672778.3512 | 1250919.0019
3 | 2672757.4018 | 1250877.9484 | 2672759.3809 | 1250877.2277 | 2672764.9011 | 1250875.8389 | 2672770.7593 | 1250875.8108 | 2672788.5393 | 1250895.888 | 2672785.4921 | 1250899.4951
4 | 2672768.1705 | 1250929.2399 | 2672747.2821 | 1250908.4129
5 | 2672768.1705 | 1250929.2399 | 2672758.903 | 1250940.1006
6 | 2672747.9767 | 1250858.6187 | 2672750.6127 | 1250864.0328 | 2672752.9764 | 1250868.8764 | 2672755.075 | 1250873.1719 | 2672757.4018 | 1250877.9484
7 | 2672747.9767 | 1250858.6187 | 2672755.1958 | 1250854.7378 | 2672758.1214 | 1250853.1615 | 2672759.0614 | 1250852.2279 | 2672759.6421 | 1250851.0453 | 2672759.8044 | 1250849.5129 | 2672759.5445 | 1250847.9307 | 2672767.2849 | 1250844.0118 | 2672774.509 | 1250840.3423
8 | 2672747.9767 | 1250858.6187 | 2672742.3236 | 1250861.6564
9 | 2672785.2862 | 1250844.2441 | 2672782.9635 | 1250845.283 | 2672781.763 | 1250845.3016 | 2672780.588 | 1250845.087 | 2672779.3188 | 1250844.5488 | 2672778.2039 | 1250843.7457 | 2672774.509 | 1250840.3423
10 | 2672774.509 | 1250840.3423 | 2672772.0748 | 1250837.5548 | 2672766.0816 | 1250828.8972 | 2672760.4487 | 1250818.5651 | 2672753.5446 | 1250804.175
11 | 2672758.903 | 1250940.1006 | 2672773.933 | 1250953.5838 | 2672775.7693 | 1250955.2785
12 | 2672747.7518 | 1250792.1012 | 2672743.5589 | 1250794.8295
13 | 2672742.6257 | 1250805.6592 | 2672745.7082 | 1250804.2182 | 2672747.5979 | 1250803.4075 | 2672743.5589 | 1250794.8295
14 | 2672743.5589 | 1250794.8295 | 2672741.8388 | 1250791.256
15 | 2672747.7518 | 1250792.1012 | 2672753.5446 | 1250804.175
16 | 2672747.7518 | 1250792.1012 | 2672752.0132 | 1250789.3404 | 2672768.6023 | 1250777.9469
17 | 2672742.6257 | 1250805.6592 | 2672720.8462 | 1250818.1802
18 | 2672741.8388 | 1250791.256 | 2672738.9287 | 1250785.2102 | 2672729.4904 | 1250765.1748
19 | 2672785.2862 | 1250844.2441 | 2672790.8431 | 1250841.0989 | 2672796.5538 | 1250836.8259
20 | 2672692.3825 | 1250834.8149 | 2672708.5965 | 1250825.2225 | 2672720.8462 | 1250818.1802
21 | 2672676.3507 | 1250874.1847 | 2672677.8669 | 1250876.6043
22 | 2672664.724 | 1250850.9254 | 2672675.1798 | 1250871.7909 | 2672676.3507 | 1250874.1847
23 | 2672768.6023 | 1250777.9469 | 2672778.7311 | 1250790.3914 | 2672779.3842 | 1250790.796
24 | 2672768.6023 | 1250777.9469 | 2672772.1347 | 1250775.533 | 2672779.5738 | 1250769.6238
25 | 2672729.4904 | 1250765.1748 | 2672726.055 | 1250757.8823
26 | 2672779.1476 | 1250725.772 | 2672778.4394 | 1250731.1894 | 2672771.3781 | 1250737.574
27 | 2672779.1476 | 1250725.772 | 2672763.4121 | 1250726.6573 | 2672742.5556 | 1250728.9919 | 2672735.0835 | 1250729.8377
28 | 2672715.1821 | 1250734.5823 | 2672722.4397 | 1250731.2689 | 2672735.0835 | 1250729.8377
29 | 2672779.5738 | 1250769.6238 | 2672794.921 | 1250757.433 | 2672808.8321 | 1250746.9302
30 | 2672692.3825 | 1250834.8149 | 2672688.5936 | 1250837.0564
31 | 2672678.7171 | 1250667.7757 | 2672699.4044 | 1250655.2537 | 2672721.7538 | 1250643.2414 | 2672762.7346 | 1250622.0178 | 2672767.7721 | 1250619.582
32 | 2672678.7171 | 1250667.7757 | 2672689.6687 | 1250681.4866 | 2672701.0152 | 1250698.6937 | 2672703.927 | 1250702.5544 | 2672706.0415 | 1250701.2683 | 2672710.8002 | 1250698.5803
33 | 2672715.1821 | 1250734.5823 | 2672703.0534 | 1250711.6169 | 2672699.2323 | 1250705.5657 | 2672703.927 | 1250702.5544 | 2672706.0415 | 1250701.2683 | 2672710.8002 | 1250698.5803
34 | 2672710.8002 | 1250698.5803 | 2672716.5013 | 1250695.3813 | 2672723.2918 | 1250691.6891
35 | 2672717.8964 | 1250740.3864 | 2672715.1821 | 1250734.5823
36 | 2672717.8964 | 1250740.3864 | 2672716.2697 | 1250741.3005 | 2672704.7224 | 1250747.7176
37 | 2672717.8964 | 1250740.3864 | 2672720.668 | 1250746.447 | 2672726.055 | 1250757.8823
38 | 2672664.724 | 1250850.9254 | 2672675.435 | 1250844.8412 | 2672688.5936 | 1250837.0564
39 | 2672686.0607 | 1250758.0884 | 2672678.5467 | 1250762.2641 | 2672665.3869 | 1250769.4883
40 | 2672686.0607 | 1250758.0884 | 2672704.7224 | 1250747.7176

## bus_geodata
| x | y | coords
0 | 2672813.8726 | 1250947.5143
1 | 2672778.3512 | 1250919.0019
2 | 2672785.4921 | 1250899.4951
3 | 2672768.1705 | 1250929.2399
4 | 2672757.4018 | 1250877.9484
5 | 2672747.9767 | 1250858.6187
6 | 2672774.509 | 1250840.3423
7 | 2672742.3236 | 1250861.6564
8 | 2672758.903 | 1250940.1006
9 | 2672775.7693 | 1250955.2785
10 | 2672743.5589 | 1250794.8295
11 | 2672747.7518 | 1250792.1012
12 | 2672742.6257 | 1250805.6592
13 | 2672741.8388 | 1250791.256
14 | 2672785.2862 | 1250844.2441
15 | 2672753.5446 | 1250804.175
16 | 2672796.5538 | 1250836.8259
17 | 2672720.8462 | 1250818.1802
18 | 2672747.2821 | 1250908.4129
19 | 2672677.8669 | 1250876.6043
20 | 2672676.3507 | 1250874.1847
21 | 2672779.3842 | 1250790.796
22 | 2672768.6023 | 1250777.9469
23 | 2672729.4904 | 1250765.1748
24 | 2672779.1476 | 1250725.772
25 | 2672771.3781 | 1250737.574
26 | 2672735.0835 | 1250729.8377
27 | 2672808.8321 | 1250746.9302
28 | 2672779.5738 | 1250769.6238
29 | 2672692.3825 | 1250834.8149
30 | 2672767.7721 | 1250619.582
31 | 2672678.7171 | 1250667.7757
32 | 2672710.8002 | 1250698.5803
33 | 2672715.1821 | 1250734.5823
34 | 2672723.2918 | 1250691.6891
35 | 2672717.8964 | 1250740.3864
36 | 2672664.724 | 1250850.9254
37 | 2672688.5936 | 1250837.0564
38 | 2672665.3869 | 1250769.4883
39 | 2672686.0607 | 1250758.0884
40 | 2672704.7224 | 1250747.7176
41 | 2672726.055 | 1250757.8823
42 | 2672747.7518 | 1250792.1012

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98331 | -0.32106 | 0.01223 | 0.0030652
1 | 0.98382 | -0.31103 | 0 | 0
2 | 0.98598 | -0.26905 | 0.016564 | 0.0041514
3 | 0.98278 | -0.33146 | 0 | 0
4 | 0.99046 | -0.18248 | 0 | 0
5 | 0.99259 | -0.14156 | 0 | 0
6 | 0.99544 | -0.086909 | 0 | 0
7 | 0.99216 | -0.15002 | 0.07448 | 0.018667
8 | 0.98236 | -0.33952 | 0 | 0
9 | 0.98171 | -0.35236 | 0.03132 | 0.0078495
10 | 0.99801 | -0.038009 | 0 | 0
11 | 0.9984 | -0.030603 | 0 | 0
12 | 0.99722 | -0.053282 | 0 | 0
13 | 0.99761 | -0.045734 | 0.011885 | 0.0029788
14 | 0.99481 | -0.099144 | 0 | 0
15 | 1 | 0 | -0.50403 | -0.12746
16 | 0.99413 | -0.1122 | 0.05479 | 0.013732
17 | 0.99588 | -0.079017 | 0.019164 | 0.0048029
18 | 0.98149 | -0.35658 | 0.047199 | 0.011829
19 | 0.99373 | -0.1205 | 0.015883 | 0.0039805
20 | 0.99378 | -0.1197 | 0 | 0
21 | 0.99619 | -0.073182 | 0.0066137 | 0.0016575
22 | 0.99629 | -0.071229 | 0 | 0
23 | 0.99499 | -0.096087 | 0.013578 | 0.0034031
24 | 0.99192 | -0.1555 | 0 | 0
25 | 0.99179 | -0.15791 | 0.0091194 | 0.0022855
26 | 0.99228 | -0.14835 | 0.011682 | 0.0029277
27 | 0.99464 | -0.10312 | 0.01713 | 0.0042931
28 | 0.99521 | -0.091954 | 0.068432 | 0.017151
29 | 0.9947 | -0.10176 | 0.0014287 | 0.00035807
30 | 0.99034 | -0.18609 | 0.0070668 | 0.0017711
31 | 0.99099 | -0.17338 | 0 | 0
32 | 0.99132 | -0.16699 | 0 | 0
33 | 0.99268 | -0.14073 | 0 | 0
34 | 0.991 | -0.17324 | 0.024713 | 0.0061936
35 | 0.99299 | -0.13477 | 0 | 0
36 | 0.99415 | -0.11242 | 0 | 0
37 | 0.99455 | -0.10469 | 0.021892 | 0.0054866
38 | 0.99196 | -0.15455 | 0.013213 | 0.0033116
39 | 0.99225 | -0.14903 | 0.0067631 | 0.001695
40 | 0.99264 | -0.14148 | 0.0051963 | 0.0013023
41 | 0.99436 | -0.10827 | 0.0080298 | 0.0020125
42 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.01223 | -0.0030652 | 0.012236 | 0.0030684 | 5.8509e-06 | 3.1665e-06 | 0.018508 | 0.018508 | 0.018508 | 0.98331 | -0.32106 | 0.98382 | -0.31103 | 5.0846
1 | -0.09092 | -0.022851 | 0.091102 | 0.022968 | 0.00018261 | 0.00011654 | 0.13754 | 0.13754 | 0.13754 | 0.98382 | -0.31103 | 0.98598 | -0.26905 | 37.785
2 | 0.078683 | 0.019783 | -0.078607 | -0.019734 | 7.6688e-05 | 4.8897e-05 | 0.11903 | 0.11903 | 0.11903 | 0.98382 | -0.31103 | 0.98278 | -0.33146 | 32.7004
3 | -0.10767 | -0.027119 | 0.10811 | 0.027405 | 0.00044775 | 0.00028598 | 0.16254 | 0.16254 | 0.16254 | 0.98598 | -0.26905 | 0.99046 | -0.18248 | 44.6526
4 | 0.047256 | 0.011865 | -0.047199 | -0.011829 | 5.6556e-05 | 3.5823e-05 | 0.071557 | 0.071557 | 0.071557 | 0.98278 | -0.33146 | 0.98149 | -0.35658 | 19.6586
5 | 0.031351 | 0.007869 | -0.031339 | -0.0078615 | 1.2052e-05 | 7.5328e-06 | 0.047472 | 0.047473 | 0.047473 | 0.98278 | -0.33146 | 0.98236 | -0.33952 | 13.0419
6 | -0.10811 | -0.027405 | 0.10833 | 0.027541 | 0.00021304 | 0.00013607 | 0.16254 | 0.16254 | 0.16254 | 0.99046 | -0.18248 | 0.99259 | -0.14156 | 44.6525
7 | -0.18284 | -0.046227 | 0.18332 | 0.046534 | 0.00048064 | 0.00030673 | 0.27424 | 0.27424 | 0.27424 | 0.99259 | -0.14156 | 0.99544 | -0.086909 | 37.6702
8 | 0.074511 | 0.018686 | -0.07448 | -0.018667 | 3.0029e-05 | 1.9136e-05 | 0.1117 | 0.1117 | 0.1117 | 0.99259 | -0.14156 | 0.99216 | -0.15002 | 30.688
9 | 0.054856 | 0.013774 | -0.054824 | -0.013753 | 3.1998e-05 | 2.0314e-05 | 0.08201 | 0.08201 | 0.08201 | 0.99544 | -0.086909 | 0.99481 | -0.099144 | 22.5301
10 | -0.23817 | -0.060307 | 0.23917 | 0.060945 | 0.00099846 | 0.00063792 | 0.35625 | 0.35625 | 0.35625 | 0.99544 | -0.086909 | 1 | 0 | 48.9352
11 | 0.031339 | 0.0078615 | -0.03132 | -0.0078495 | 1.9176e-05 | 1.1986e-05 | 0.047473 | 0.047473 | 0.047473 | 0.98236 | -0.33952 | 0.98171 | -0.35236 | 13.0419
12 | -0.17032 | -0.042952 | 0.17038 | 0.042991 | 6.0402e-05 | 3.8527e-05 | 0.25403 | 0.25403 | 0.25403 | 0.99801 | -0.038009 | 0.9984 | -0.030603 | 34.8946
13 | 0.058541 | 0.014738 | -0.058498 | -0.014711 | 4.2706e-05 | 2.7136e-05 | 0.087307 | 0.087307 | 0.087307 | 0.99801 | -0.038009 | 0.99722 | -0.053282 | 23.9853
14 | 0.11178 | 0.028214 | -0.11173 | -0.028188 | 4.1342e-05 | 2.6407e-05 | 0.16673 | 0.16673 | 0.16673 | 0.99801 | -0.038009 | 0.99761 | -0.045734 | 45.8039
15 | -0.26283 | -0.066266 | 0.26321 | 0.066512 | 0.00038555 | 0.0002464 | 0.39186 | 0.39185 | 0.39186 | 0.9984 | -0.030603 | 1 | 0 | 53.8262
16 | 0.092449 | 0.023275 | -0.092269 | -0.023161 | 0.00017917 | 0.00011434 | 0.13782 | 0.13782 | 0.13782 | 0.9984 | -0.030603 | 0.99629 | -0.071229 | 37.8634
17 | 0.058498 | 0.014711 | -0.058426 | -0.014665 | 7.1809e-05 | 4.5631e-05 | 0.087307 | 0.087307 | 0.087307 | 0.99722 | -0.053282 | 0.99588 | -0.079017 | 23.9854
18 | 0.099849 | 0.025209 | -0.099609 | -0.025056 | 0.00024024 | 0.00015338 | 0.149 | 0.149 | 0.149 | 0.99761 | -0.045734 | 0.99499 | -0.096087 | 40.9336
19 | 0.054824 | 0.013753 | -0.05479 | -0.013732 | 3.4093e-05 | 2.1644e-05 | 0.08201 | 0.08201 | 0.08201 | 0.99481 | -0.099144 | 0.99413 | -0.1122 | 22.5301
20 | 0.039263 | 0.0098623 | -0.03922 | -0.0098355 | 4.2561e-05 | 2.6811e-05 | 0.058673 | 0.058673 | 0.058673 | 0.99588 | -0.079017 | 0.9947 | -0.10176 | 16.119
21 | -0.015883 | -0.0039805 | 0.015883 | 0.0039809 | 6.0564e-07 | 3.5061e-07 | 0.023783 | 0.023782 | 0.023783 | 0.99373 | -0.1205 | 0.99378 | -0.1197 | 6.5337
22 | -0.015883 | -0.0039809 | 0.015889 | 0.0039841 | 5.5125e-06 | 3.1911e-06 | 0.023782 | 0.023782 | 0.023782 | 0.99378 | -0.1197 | 0.99415 | -0.11242 | 6.5337
23 | -0.0066137 | -0.0016575 | 0.0066143 | 0.0016577 | 6.1533e-07 | 1.7489e-07 | 0.0098789 | 0.0098788 | 0.0098789 | 0.99619 | -0.073182 | 0.99629 | -0.071229 | 2.714
24 | 0.085655 | 0.021503 | -0.085571 | -0.021449 | 8.4583e-05 | 5.3954e-05 | 0.12794 | 0.12794 | 0.12794 | 0.99629 | -0.071229 | 0.99521 | -0.091954 | 35.1494
25 | 0.086031 | 0.021653 | -0.085981 | -0.021621 | 5.0065e-05 | 3.1937e-05 | 0.12869 | 0.12869 | 0.12869 | 0.99499 | -0.096087 | 0.99436 | -0.10827 | 35.3549
26 | 0.0091204 | 0.002286 | -0.0091194 | -0.0022855 | 1.0508e-06 | 4.7933e-07 | 0.013682 | 0.013682 | 0.013682 | 0.99192 | -0.1555 | 0.99179 | -0.15791 | 3.7588
27 | -0.0091204 | -0.002286 | 0.0091236 | 0.0022874 | 3.1075e-06 | 1.4172e-06 | 0.013682 | 0.013682 | 0.013682 | 0.99192 | -0.1555 | 0.99228 | -0.14835 | 3.7588
28 | -0.020805 | -0.0052151 | 0.020813 | 0.0052197 | 7.557e-06 | 4.5689e-06 | 0.031199 | 0.031199 | 0.031199 | 0.99228 | -0.14835 | 0.99268 | -0.14073 | 8.5713
29 | -0.01713 | -0.0042931 | 0.017139 | 0.0042985 | 9.1195e-06 | 5.3556e-06 | 0.025627 | 0.025627 | 0.025627 | 0.99464 | -0.10312 | 0.99521 | -0.091954 | 7.0403
30 | 0.037792 | 0.0094774 | -0.037786 | -0.0094741 | 5.2767e-06 | 3.32e-06 | 0.056536 | 0.056536 | 0.056536 | 0.9947 | -0.10176 | 0.99455 | -0.10469 | 15.5319
31 | -0.0070668 | -0.0017711 | 0.0070711 | 0.0017725 | 4.2827e-06 | 1.4367e-06 | 0.010618 | 0.010618 | 0.010618 | 0.99034 | -0.18609 | 0.99099 | -0.17338 | 2.9171
32 | -0.0070711 | -0.0017725 | 0.0070732 | 0.0017733 | 2.1533e-06 | 7.2162e-07 | 0.010618 | 0.010617 | 0.010618 | 0.99099 | -0.17338 | 0.99132 | -0.16699 | 2.9169
33 | -0.031793 | -0.0079714 | 0.031833 | 0.0079963 | 3.984e-05 | 2.4895e-05 | 0.047724 | 0.047724 | 0.047724 | 0.99132 | -0.16699 | 0.99268 | -0.14073 | 13.1111
34 | 0.02472 | 0.0061981 | -0.024713 | -0.0061936 | 7.3665e-06 | 4.5307e-06 | 0.037107 | 0.037107 | 0.037107 | 0.99132 | -0.16699 | 0.991 | -0.17324 | 10.1942
35 | -0.052646 | -0.013216 | 0.052661 | 0.013225 | 1.4959e-05 | 9.4907e-06 | 0.078923 | 0.078923 | 0.078923 | 0.99268 | -0.14073 | 0.99299 | -0.13477 | 21.6822
36 | 0.025191 | 0.0063201 | -0.025183 | -0.0063151 | 8.0579e-06 | 4.9621e-06 | 0.037752 | 0.037752 | 0.037752 | 0.99299 | -0.13477 | 0.99264 | -0.14148 | 10.3715
37 | -0.077852 | -0.019546 | 0.077951 | 0.019608 | 9.855e-05 | 6.2822e-05 | 0.11668 | 0.11668 | 0.11668 | 0.99299 | -0.13477 | 0.99436 | -0.10827 | 32.0537
38 | -0.015889 | -0.0039841 | 0.015895 | 0.0039875 | 5.8555e-06 | 3.3894e-06 | 0.023782 | 0.023782 | 0.023782 | 0.99415 | -0.11242 | 0.99455 | -0.10469 | 6.5336
39 | -0.013213 | -0.0033116 | 0.013217 | 0.0033135 | 3.4781e-06 | 1.9211e-06 | 0.019821 | 0.019821 | 0.019821 | 0.99196 | -0.15455 | 0.99225 | -0.14903 | 5.4453
40 | -0.01998 | -0.0050085 | 0.019987 | 0.0050128 | 7.1877e-06 | 4.3243e-06 | 0.029963 | 0.029963 | 0.029963 | 0.99225 | -0.14903 | 0.99264 | -0.14148 | 8.2316

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51963 | 0.13137

## res_load
| p_mw | q_mvar
0 | 0.01223 | 0.0030652
1 | 0.016564 | 0.0041514
2 | 0.07448 | 0.018667
3 | 0.03132 | 0.0078495
4 | 0.011885 | 0.0029788
5 | 0.015598 | 0.0039093
6 | 0.05479 | 0.013732
7 | 0.019164 | 0.0048029
8 | 0.047199 | 0.011829
9 | 0.015883 | 0.0039805
10 | 0.0066137 | 0.0016575
11 | 0.013578 | 0.0034031
12 | 0.0091194 | 0.0022855
13 | 0.011682 | 0.0029277
14 | 0.01713 | 0.0042931
15 | 0.068432 | 0.017151
16 | 0.0014287 | 0.00035807
17 | 0.0070668 | 0.0017711
18 | 0.024713 | 0.0061936
19 | 0.021892 | 0.0054866
20 | 0.013213 | 0.0033116
21 | 0.0067631 | 0.001695
22 | 0.0051963 | 0.0013023
23 | 0.0080298 | 0.0020125

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1