## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_243-26_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_243-26_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_243-26_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_243-26_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_243-26_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_243-26_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_243-26_0_4_node_42 | 0.4 | n |  | TRUE
7 | bus_LV_243-26_0_4_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_243-26_0_4_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_243-26_0_4_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_243-26_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_243-26_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_243-26_0_4_node_61 | 0.4 | n |  | TRUE
13 | bus_LV_243-26_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_243-26_0_4_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_243-26_0_4_node_59 | 0.4 | n |  | TRUE
16 | bus_LV_243-26_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_243-26_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_243-26_0_4_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_243-26_0_4_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_243-26_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_243-26_0_4_node_62 | 0.4 | n |  | TRUE
22 | bus_LV_243-26_0_4_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_243-26_0_4_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_243-26_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_243-26_0_4_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_243-26_0_4_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_243-26_0_4_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_243-26_0_4_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_243-26_0_4_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_243-26_0_4_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_243-26_0_4_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_243-26_0_4_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_243-26_0_4_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_243-26_0_4_node_73 | 0.4 | n |  | TRUE
35 | bus_LV_243-26_0_4_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_243-26_0_4_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_243-26_0_4_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_243-26_0_4_node_16 | 0.4 | n |  | TRUE
39 | bus_LV_243-26_0_4_node_17 | 0.4 | n |  | TRUE
40 | bus_LV_243-26_0_4_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_243-26_0_4_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_243-26_0_4_node_19 | 0.4 | n |  | TRUE
43 | bus_LV_243-26_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_243-26_0_4_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_243-26_0_4_node_69 | 0.4 | n |  | TRUE
46 | bus_LV_243-26_0_4_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_243-26_0_4_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_243-26_0_4_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_243-26_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_243-26_0_4_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_243-26_0_4_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_243-26_0_4_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_243-26_0_4_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_243-26_0_4_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_243-26_0_4_node_26 | 0.4 | n |  | TRUE
56 | bus_LV_243-26_0_4_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_243-26_0_4_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_243-26_0_4_node_30 | 0.4 | n |  | TRUE
59 | bus_LV_243-26_0_4_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_243-26_0_4_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_243-26_0_4_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_243-26_0_4_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_243-26_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_243-26_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_243-26_0_4_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_243-26_0_4_node_71 | 0.4 | n |  | TRUE
67 | bus_MV_515_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_243-26_0_4_load_0 | 0 | 0.011419 | 0.0028618 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_243-26_0_4_load_1 | 2 | 0.0030442 | 0.00076295 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_243-26_0_4_load_4 | 4 | 0.0036128 | 0.00090546 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_243-26_0_4_load_5 | 5 | 0.003087 | 0.00077367 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_243-26_0_4_load_42 | 6 | 0.0018137 | 0.00045456 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_243-26_0_4_load_41 | 7 | 0.0036552 | 0.00091607 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_243-26_0_4_load_24 | 8 | 0.0050863 | 0.0012747 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_243-26_0_4_load_23 | 9 | 0.0027205 | 0.00068181 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_243-26_0_4_load_61 | 12 | 0.013133 | 0.0032914 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_243-26_0_4_load_59 | 15 | 0.0076144 | 0.0019084 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_243-26_0_4_load_32 | 18 | 0.011378 | 0.0028517 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_243-26_0_4_load_62 | 21 | 0.0052067 | 0.0013049 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_243-26_0_4_load_46 | 22 | 0.0080163 | 0.0020091 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_243-26_0_4_load_25 | 23 | 0.0050142 | 0.0012567 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_243-26_0_4_load_57 | 25 | 0.015557 | 0.003899 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_243-26_0_4_load_35 | 27 | 0.01716 | 0.0043006 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_243-26_0_4_load_33 | 28 | 0.0059019 | 0.0014792 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_243-26_0_4_load_44 | 29 | 0.0072789 | 0.0018243 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_243-26_0_4_load_43 | 30 | 0.012152 | 0.0030456 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_243-26_0_4_load_47 | 32 | 0.01324 | 0.0033184 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_243-26_0_4_load_73 | 34 | 0.011287 | 0.0028289 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_243-26_0_4_load_63 | 35 | 0.011888 | 0.0029795 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_243-26_0_4_load_54 | 36 | 0.0027544 | 0.00069033 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_243-26_0_4_load_53 | 37 | 0.0030171 | 0.00075617 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_243-26_0_4_load_16 | 38 | 0.006264 | 0.0015699 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_243-26_0_4_load_20 | 40 | 0.018696 | 0.0046856 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_243-26_0_4_load_19 | 42 | 0.012345 | 0.0030938 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_243-26_0_4_load_51 | 44 | 0.036593 | 0.0091711 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_243-26_0_4_load_68 | 46 | 0.0045513 | 0.0011407 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_243-26_0_4_load_28 | 47 | 0.016791 | 0.0042083 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_243-26_0_4_load_52 | 48 | 0.0059708 | 0.0014964 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_243-26_0_4_load_50 | 50 | 0.026306 | 0.0065928 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_243-26_0_4_load_66 | 52 | 0.033525 | 0.0084021 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_243-26_0_4_load_72 | 54 | 0.019388 | 0.0048591 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_243-26_0_4_load_31 | 56 | 0.0036231 | 0.00090803 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_243-26_0_4_load_60 | 57 | 0.0053083 | 0.0013304 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_243-26_0_4_load_30 | 58 | 0.016545 | 0.0041466 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_243-26_0_4_load_34 | 59 | 0.0056758 | 0.0014225 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_243-26_0_4_load_49 | 60 | 0.017278 | 0.0043303 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_243-26_0_4_load_70 | 62 | 0.010099 | 0.002531 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_243-26_0_4_load_55 | 63 | 0.0037909 | 0.00095009 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_243-26_0_4_load_56 | 64 | 0.0032248 | 0.00080822 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_243-26_0_4_load_64 | 65 | 0.0039898 | 0.00099994 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_243-26_0_4_line_0 |  | 0 | 1 | 0.035842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_243-26_0_4_line_1 |  | 1 | 4 | 0.014087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_243-26_0_4_line_2 |  | 1 | 5 | 0.034189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_243-26_0_4_line_3 |  | 2 | 3 | 0.0056471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_243-26_0_4_line_4 |  | 3 | 6 | 0.027216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_243-26_0_4_line_5 |  | 3 | 7 | 0.035148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_243-26_0_4_line_6 |  | 4 | 8 | 0.022113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_243-26_0_4_line_7 |  | 5 | 9 | 0.016242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_243-26_0_4_line_8 |  | 7 | 10 | 0.0044481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_243-26_0_4_line_9 |  | 8 | 23 | 0.016385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_243-26_0_4_line_10 |  | 9 | 24 | 0.00076186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_243-26_0_4_line_11 |  | 10 | 11 | 0.024882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_243-26_0_4_line_12 |  | 11 | 12 | 0.027077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_243-26_0_4_line_13 |  | 12 | 13 | 0.023581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_243-26_0_4_line_14 |  | 13 | 14 | 0.034263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_243-26_0_4_line_15 |  | 13 | 15 | 0.0092968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_243-26_0_4_line_16 |  | 14 | 27 | 0.036329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_243-26_0_4_line_17 |  | 16 | 17 | 0.038659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_243-26_0_4_line_18 |  | 16 | 18 | 0.018804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_243-26_0_4_line_19 |  | 17 | 19 | 0.032725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_243-26_0_4_line_20 |  | 17 | 20 | 0.031442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_243-26_0_4_line_21 |  | 17 | 21 | 0.018989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_243-26_0_4_line_22 |  | 18 | 28 | 0.04271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_243-26_0_4_line_23 |  | 19 | 34 | 0.017062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_243-26_0_4_line_24 |  | 20 | 22 | 0.021459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_243-26_0_4_line_25 |  | 21 | 35 | 0.028818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_243-26_0_4_line_26 |  | 22 | 31 | 0.018359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_243-26_0_4_line_27 |  | 23 | 55 | 0.0099959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_243-26_0_4_line_28 |  | 24 | 41 | 0.016386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_243-26_0_4_line_29 |  | 24 | 38 | 0.023182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_243-26_0_4_line_30 |  | 25 | 26 | 0.018385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_243-26_0_4_line_31 |  | 26 | 61 | 0.027298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_243-26_0_4_line_32 |  | 26 | 51 | 0.036398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_243-26_0_4_line_33 |  | 27 | 51 | 0.014383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_243-26_0_4_line_34 |  | 28 | 59 | 0.017814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_243-26_0_4_line_35 |  | 29 | 30 | 0.036635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_243-26_0_4_line_36 |  | 30 | 31 | 0.054056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_243-26_0_4_line_37 |  | 32 | 33 | 0.0066385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_243-26_0_4_line_38 |  | 33 | 60 | 0.033451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_243-26_0_4_line_39 |  | 33 | 43 | 0.037106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_243-26_0_4_line_40 |  | 35 | 65 | 0.031441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_243-26_0_4_line_41 |  | 36 | 37 | 0.024751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_243-26_0_4_line_42 |  | 37 | 63 | 0.022626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_243-26_0_4_line_43 |  | 38 | 39 | 0.019586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_243-26_0_4_line_44 |  | 39 | 40 | 0.025002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_243-26_0_4_line_45 |  | 40 | 44 | 0.023454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_243-26_0_4_line_46 |  | 41 | 45 | 0.005042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_243-26_0_4_line_47 |  | 41 | 46 | 0.0084298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_243-26_0_4_line_48 |  | 42 | 43 | 0.0019299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_243-26_0_4_line_49 |  | 43 | 47 | 0.03318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_243-26_0_4_line_50 |  | 44 | 48 | 0.0034406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_243-26_0_4_line_51 |  | 45 | 54 | 0.019555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_243-26_0_4_line_52 |  | 46 | 53 | 0.027798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_243-26_0_4_line_53 |  | 47 | 58 | 0.0027645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_243-26_0_4_line_54 |  | 49 | 50 | 0.0018398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_243-26_0_4_line_55 |  | 49 | 51 | 0.021874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_243-26_0_4_line_56 |  | 52 | 53 | 0.0021031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_243-26_0_4_line_57 |  | 54 | 66 | 0.017198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_243-26_0_4_line_58 |  | 55 | 56 | 0.0115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_243-26_0_4_line_59 |  | 55 | 57 | 0.018258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_243-26_0_4_line_60 |  | 56 | 58 | 0.047096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_243-26_0_4_line_61 |  | 57 | 59 | 0.016902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_243-26_0_4_line_62 |  | 61 | 62 | 0.020621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_243-26_0_4_line_63 |  | 62 | 66 | 0.012687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_243-26_0_4_line_64 |  | 63 | 64 | 0.01163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_243-26_0_4_line_65 |  | 64 | 65 | 0.012026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_243-26_0_4_trafo_23 | 0.63 MVA 20/0.4 kV | 67 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2672097.8858 | 1251192.7397 | 2672066.7853 | 1251210.5561
1 | 2672097.8858 | 1251192.7397 | 2672110.007 | 1251185.561
2 | 2672097.8858 | 1251192.7397 | 2672095.4505 | 1251189.4077 | 2672077.9134 | 1251164.9905
3 | 2672020.4111 | 1251240.3545 | 2672025.2336 | 1251237.4162
4 | 2672020.4111 | 1251240.3545 | 2672001.3615 | 1251220.9164
5 | 2672020.4111 | 1251240.3545 | 2671991.1649 | 1251256.1995 | 2671989.4414 | 1251256.9629
6 | 2672129.0339 | 1251174.2925 | 2672110.007 | 1251185.561
7 | 2672077.9134 | 1251164.9905 | 2672068.4384 | 1251151.7983
8 | 2671985.3743 | 1251258.7644 | 2671989.4414 | 1251256.9629
9 | 2672129.0339 | 1251174.2925 | 2672143.1315 | 1251165.9433
10 | 2672067.994 | 1251151.1795 | 2672068.4384 | 1251151.7983
11 | 2671962.4068 | 1251264.1894 | 2671970.1425 | 1251260.5696 | 2671977.0734 | 1251257.3403 | 2671979.4816 | 1251258.5593 | 2671982.1158 | 1251259.1918 | 2671985.3743 | 1251258.7644
12 | 2671962.4068 | 1251264.1894 | 2671962.3392 | 1251262.2983 | 2671961.9617 | 1251260.4369 | 2671960.6769 | 1251256.8409 | 2671957.3859 | 1251251.2413 | 2671951.9255 | 1251245.2707 | 2671948.402 | 1251241.8939
13 | 2671939.0328 | 1251226.6341 | 2671934.7676 | 1251229.7735 | 2671938.2709 | 1251232.1844 | 2671948.402 | 1251241.8939
14 | 2671929.0616 | 1251194.9124 | 2671929.0219 | 1251201.2943 | 2671930.1553 | 1251211.1485 | 2671933.3542 | 1251218.7373 | 2671939.0328 | 1251226.6341
15 | 2671939.0328 | 1251226.6341 | 2671943.7245 | 1251223.1886 | 2671945.7964 | 1251225.9794
16 | 2671929.0616 | 1251194.9124 | 2671948.9124 | 1251196.2877 | 2671960.7275 | 1251184.8698
17 | 2672245.7324 | 1251130.5949 | 2672249.5832 | 1251128.6516 | 2672245.4481 | 1251122.3411 | 2672243.6053 | 1251118.0933 | 2672243.0218 | 1251115.1841 | 2672242.6661 | 1251113.4007 | 2672242.9658 | 1251108.6342 | 2672250.3257 | 1251103.0532 | 2672248.5871 | 1251100.1633
18 | 2672248.5871 | 1251100.1633 | 2672244.0266 | 1251103.3545 | 2672234.7164 | 1251111.0132 | 2672233.7833 | 1251111.7398
19 | 2672263.659 | 1251157.911 | 2672257.7818 | 1251148.3769 | 2672247.5371 | 1251132.4071 | 2672246.7569 | 1251131.3858 | 2672245.7324 | 1251130.5949
20 | 2672245.7324 | 1251130.5949 | 2672249.5832 | 1251128.6516 | 2672251.4936 | 1251131.6993 | 2672264.3574 | 1251151.4037
21 | 2672245.7324 | 1251130.5949 | 2672244.207 | 1251130.0315 | 2672242.0813 | 1251129.7832 | 2672240.1476 | 1251129.893 | 2672237.9762 | 1251130.3002 | 2672236.1327 | 1251131.056 | 2672228.3084 | 1251135.6714
22 | 2672197.3175 | 1251133.8646 | 2672211.6389 | 1251125.3868 | 2672214.9788 | 1251123.8709 | 2672230.2734 | 1251114.4727 | 2672233.7833 | 1251111.7398
23 | 2672263.659 | 1251157.911 | 2672269.0638 | 1251167.8062 | 2672263.8911 | 1251170.4451
24 | 2672264.3574 | 1251151.4037 | 2672273.9475 | 1251170.6005
25 | 2672228.3084 | 1251135.6714 | 2672203.487 | 1251150.3127
26 | 2672282.1523 | 1251187.0242 | 2672273.9475 | 1251170.6005
27 | 2672151.7322 | 1251160.8496 | 2672143.1315 | 1251165.9433
28 | 2672067.994 | 1251151.1795 | 2672054.0151 | 1251159.7936
29 | 2672067.994 | 1251151.1795 | 2672054.7312 | 1251132.1656
30 | 2671998.4923 | 1251198.6136 | 2671985.5785 | 1251211.6994
31 | 2671998.4923 | 1251198.6136 | 2672005.3014 | 1251198.5741 | 2672011.1335 | 1251203.1593 | 2672017.7222 | 1251208.2097 | 2672022.3869 | 1251209.4673
32 | 2671971.0705 | 1251174.8746 | 2671984.0175 | 1251184.0717 | 2671989.3996 | 1251188.418 | 2671998.4923 | 1251198.6136
33 | 2671971.0705 | 1251174.8746 | 2671960.7275 | 1251184.8698
34 | 2672181.9879 | 1251142.9393 | 2672197.3175 | 1251133.8646
35 | 2672233.7835 | 1251211.1604 | 2672201.0033 | 1251227.5178
36 | 2672282.1523 | 1251187.0242 | 2672233.7835 | 1251211.1604
37 | 2672131.1741 | 1251066.9316 | 2672136.7103 | 1251063.2682
38 | 2672131.1741 | 1251066.9316 | 2672149.7371 | 1251094.7595
39 | 2672131.1741 | 1251066.9316 | 2672098.2406 | 1251084.2101
40 | 2672203.487 | 1251150.3127 | 2672176.4062 | 1251166.2868
41 | 2672136.5419 | 1251189.8015 | 2672120.611 | 1251199.1986 | 2672115.2601 | 1251202.437
42 | 2672136.5419 | 1251189.8015 | 2672156.0302 | 1251178.3059
43 | 2672043.5258 | 1251116.1012 | 2672054.7312 | 1251132.1656
44 | 2672043.5258 | 1251116.1012 | 2672027.5587 | 1251096.8617
45 | 2672012.5804 | 1251078.8138 | 2672027.5587 | 1251096.8617
46 | 2672054.0151 | 1251159.7936 | 2672051.8236 | 1251164.3369
47 | 2672054.0151 | 1251159.7936 | 2672050.2369 | 1251154.5327 | 2672048.4931 | 1251153.6537
48 | 2672098.2406 | 1251084.2101 | 2672096.5733 | 1251085.1819
49 | 2672098.2406 | 1251084.2101 | 2672116.4765 | 1251111.9299
50 | 2672012.5804 | 1251078.8138 | 2672010.3831 | 1251076.1662
51 | 2672051.8236 | 1251164.3369 | 2672062.4001 | 1251180.7843
52 | 2672024.389 | 1251164.0032 | 2672045.0377 | 1251151.9121 | 2672048.4931 | 1251153.6537
53 | 2672116.4765 | 1251111.9299 | 2672117.9958 | 1251114.2395
54 | 2671974.8176 | 1251153.5046 | 2671973.0006 | 1251153.7937
55 | 2671974.8176 | 1251153.5046 | 2671972.9321 | 1251170.7609 | 2671971.0705 | 1251174.8746
56 | 2672024.389 | 1251164.0032 | 2672022.5636 | 1251165.0476
57 | 2672050.9176 | 1251192.2794 | 2672055.6855 | 1251189.4019 | 2672062.9361 | 1251181.6178 | 2672062.4001 | 1251180.7843
58 | 2672151.7322 | 1251160.8496 | 2672149.0402 | 1251156.2802 | 2672146.005 | 1251150.878
59 | 2672151.7322 | 1251160.8496 | 2672167.4433 | 1251151.5492
60 | 2672146.005 | 1251150.878 | 2672144.3413 | 1251147.917 | 2672141.9138 | 1251143.3175 | 2672134.7194 | 1251139.6606 | 2672117.9958 | 1251114.2395
61 | 2672167.4433 | 1251151.5492 | 2672181.9879 | 1251142.9393
62 | 2672022.3869 | 1251209.4673 | 2672040.05 | 1251198.8264
63 | 2672050.9176 | 1251192.2794 | 2672040.05 | 1251198.8264
64 | 2672166.0475 | 1251172.397 | 2672156.0302 | 1251178.3059
65 | 2672166.0475 | 1251172.397 | 2672176.4062 | 1251166.2868

## bus_geodata
| x | y | coords
0 | 2672066.7853 | 1251210.5561
1 | 2672097.8858 | 1251192.7397
2 | 2672025.2336 | 1251237.4162
3 | 2672020.4111 | 1251240.3545
4 | 2672110.007 | 1251185.561
5 | 2672077.9134 | 1251164.9905
6 | 2672001.3615 | 1251220.9164
7 | 2671989.4414 | 1251256.9629
8 | 2672129.0339 | 1251174.2925
9 | 2672068.4384 | 1251151.7983
10 | 2671985.3743 | 1251258.7644
11 | 2671962.4068 | 1251264.1894
12 | 2671948.402 | 1251241.8939
13 | 2671939.0328 | 1251226.6341
14 | 2671929.0616 | 1251194.9124
15 | 2671945.7964 | 1251225.9794
16 | 2672248.5871 | 1251100.1633
17 | 2672245.7324 | 1251130.5949
18 | 2672233.7833 | 1251111.7398
19 | 2672263.659 | 1251157.911
20 | 2672264.3574 | 1251151.4037
21 | 2672228.3084 | 1251135.6714
22 | 2672273.9475 | 1251170.6005
23 | 2672143.1315 | 1251165.9433
24 | 2672067.994 | 1251151.1795
25 | 2671985.5785 | 1251211.6994
26 | 2671998.4923 | 1251198.6136
27 | 2671960.7276 | 1251184.8698
28 | 2672197.3175 | 1251133.8646
29 | 2672201.0033 | 1251227.5178
30 | 2672233.7835 | 1251211.1604
31 | 2672282.1523 | 1251187.0242
32 | 2672136.7103 | 1251063.2682
33 | 2672131.1741 | 1251066.9316
34 | 2672263.8911 | 1251170.4451
35 | 2672203.487 | 1251150.3127
36 | 2672115.2601 | 1251202.437
37 | 2672136.5419 | 1251189.8015
38 | 2672054.7312 | 1251132.1656
39 | 2672043.5258 | 1251116.1012
40 | 2672027.5587 | 1251096.8617
41 | 2672054.0151 | 1251159.7936
42 | 2672096.5733 | 1251085.1819
43 | 2672098.2406 | 1251084.2101
44 | 2672012.5804 | 1251078.8138
45 | 2672051.8236 | 1251164.3369
46 | 2672048.4931 | 1251153.6537
47 | 2672116.4765 | 1251111.9299
48 | 2672010.3831 | 1251076.1662
49 | 2671974.8176 | 1251153.5046
50 | 2671973.0006 | 1251153.7937
51 | 2671971.0705 | 1251174.8746
52 | 2672022.5636 | 1251165.0476
53 | 2672024.389 | 1251164.0032
54 | 2672062.4001 | 1251180.7843
55 | 2672151.7322 | 1251160.8496
56 | 2672146.005 | 1251150.878
57 | 2672167.4434 | 1251151.5492
58 | 2672117.9958 | 1251114.2395
59 | 2672181.9879 | 1251142.9393
60 | 2672149.7371 | 1251094.7595
61 | 2672022.3869 | 1251209.4673
62 | 2672040.05 | 1251198.8264
63 | 2672156.0302 | 1251178.3059
64 | 2672166.0475 | 1251172.397
65 | 2672176.4062 | 1251166.2868
66 | 2672050.9176 | 1251192.2794
67 | 2672067.994 | 1251151.1795

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99481 | -0.098556 | 0.011419 | 0.0028618
1 | 0.99518 | -0.09135 | 0 | 0
2 | 0.98346 | -0.31884 | 0.0030442 | 0.00076295
3 | 0.98347 | -0.31853 | 0 | 0
4 | 0.99391 | -0.11548 | 0.0036128 | 0.00090546
5 | 0.99843 | -0.029622 | 0.003087 | 0.00077367
6 | 0.98343 | -0.31942 | 0.0018137 | 0.00045456
7 | 0.98363 | -0.31545 | 0.0036552 | 0.00091607
8 | 0.99196 | -0.15278 | 0.0050863 | 0.0012747
9 | 1 | 0 | -0.4389 | -0.1115
10 | 0.98367 | -0.31477 | 0 | 0
11 | 0.98386 | -0.31095 | 0 | 0
12 | 0.98407 | -0.3068 | 0.013133 | 0.0032914
13 | 0.98455 | -0.29761 | 0 | 0
14 | 0.98547 | -0.2796 | 0 | 0
15 | 0.98448 | -0.29889 | 0.0076144 | 0.0019084
16 | 0.98043 | -0.37566 | 0 | 0
17 | 0.97782 | -0.4267 | 0 | 0
18 | 0.9817 | -0.35094 | 0.011378 | 0.0028517
19 | 0.97748 | -0.43344 | 0 | 0
20 | 0.97702 | -0.44245 | 0 | 0
21 | 0.97722 | -0.43844 | 0.0052067 | 0.0013049
22 | 0.97647 | -0.45321 | 0.0080163 | 0.0020091
23 | 0.99056 | -0.17977 | 0.0050142 | 0.0012567
24 | 0.99992 | -0.0014833 | 0 | 0
25 | 0.98924 | -0.20643 | 0.015557 | 0.003899
26 | 0.9895 | -0.20134 | 0 | 0
27 | 0.98645 | -0.26054 | 0.01716 | 0.0043006
28 | 0.98503 | -0.28627 | 0.0059019 | 0.0014792
29 | 0.97491 | -0.48386 | 0.0072789 | 0.0018243
30 | 0.97516 | -0.47897 | 0.012152 | 0.0030456
31 | 0.97614 | -0.45974 | 0 | 0
32 | 0.98298 | -0.32687 | 0.01324 | 0.0033184
33 | 0.98306 | -0.32528 | 0 | 0
34 | 0.9773 | -0.43695 | 0.011287 | 0.0028289
35 | 0.97646 | -0.45353 | 0.011888 | 0.0029795
36 | 0.97553 | -0.47167 | 0.0027544 | 0.00069033
37 | 0.9756 | -0.47042 | 0.0030171 | 0.00075617
38 | 0.9985 | -0.028811 | 0.006264 | 0.0015699
39 | 0.9974 | -0.049811 | 0 | 0
40 | 0.99601 | -0.076683 | 0.018696 | 0.0046856
41 | 0.99875 | -0.02377 | 0 | 0
42 | 0.98408 | -0.30531 | 0.012345 | 0.0030938
43 | 0.9841 | -0.30488 | 0 | 0
44 | 0.9951 | -0.094239 | 0.036593 | 0.0091711
45 | 0.99821 | -0.034152 | 0 | 0
46 | 0.99846 | -0.02938 | 0.0045513 | 0.0011407
47 | 0.98542 | -0.27932 | 0.016791 | 0.0042083
48 | 0.99508 | -0.0946 | 0.0059708 | 0.0014964
49 | 0.98653 | -0.25888 | 0 | 0
50 | 0.98649 | -0.25975 | 0.026306 | 0.0065928
51 | 0.98706 | -0.24858 | 0 | 0
52 | 0.99755 | -0.046922 | 0.033525 | 0.0084021
53 | 0.99761 | -0.045687 | 0 | 0
54 | 0.99609 | -0.074525 | 0.019388 | 0.0048591
55 | 0.98972 | -0.19583 | 0 | 0
56 | 0.98888 | -0.21218 | 0.0036231 | 0.00090803
57 | 0.98801 | -0.22866 | 0.0053083 | 0.0013304
58 | 0.98557 | -0.27636 | 0.016545 | 0.0041466
59 | 0.98651 | -0.25755 | 0.0056758 | 0.0014225
60 | 0.98253 | -0.33571 | 0.017278 | 0.0043303
61 | 0.99172 | -0.15853 | 0 | 0
62 | 0.99339 | -0.12632 | 0.010099 | 0.002531
63 | 0.97572 | -0.46803 | 0.0037909 | 0.00095009
64 | 0.97582 | -0.46599 | 0.0032248 | 0.00080822
65 | 0.97597 | -0.46318 | 0.0039898 | 0.00099994
66 | 0.99454 | -0.1043 | 0 | 0
67 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.011419 | -0.0028618 | 0.011423 | 0.0028638 | 3.9209e-06 | 2.0438e-06 | 0.01708 | 0.01708 | 0.01708 | 0.99481 | -0.098556 | 0.99518 | -0.09135 | 4.6922
1 | 0.19683 | 0.050262 | -0.1966 | -0.050116 | 0.0002293 | 0.00014638 | 0.29463 | 0.29463 | 0.29463 | 0.99518 | -0.09135 | 0.99391 | -0.11548 | 40.4716
2 | -0.20825 | -0.053126 | 0.20887 | 0.053524 | 0.00062288 | 0.00039775 | 0.31171 | 0.31171 | 0.31171 | 0.99518 | -0.09135 | 0.99843 | -0.029622 | 42.8177
3 | -0.0030442 | -0.00076295 | 0.0030443 | 0.00076291 | 4.4927e-08 | -4.2903e-08 | 0.004606 | 0.004606 | 0.004606 | 0.98346 | -0.31884 | 0.98347 | -0.31853 | 1.2654
4 | 0.0018138 | 0.00045426 | -0.0018137 | -0.00045456 | 7.6861e-08 | -2.9615e-07 | 0.0027442 | 0.0027443 | 0.0027443 | 0.98347 | -0.31853 | 0.98343 | -0.31942 | 0.75393
5 | -0.0048581 | -0.0012172 | 0.0048588 | 0.0012172 | 7.1206e-07 | 9.6494e-09 | 0.0073502 | 0.00735 | 0.0073502 | 0.98347 | -0.31853 | 0.98363 | -0.31545 | 2.0193
6 | 0.19299 | 0.04921 | -0.19264 | -0.048989 | 0.00034684 | 0.00022141 | 0.28922 | 0.28922 | 0.28922 | 0.99391 | -0.11548 | 0.99196 | -0.15278 | 39.7287
7 | -0.21196 | -0.054297 | 0.21227 | 0.054492 | 0.00030471 | 0.00019459 | 0.31631 | 0.31631 | 0.31631 | 0.99843 | -0.029622 | 1 | 0 | 43.4496
8 | -0.0085139 | -0.0021333 | 0.0085142 | 0.0021334 | 2.767e-07 | 1.2062e-07 | 0.012879 | 0.012879 | 0.012879 | 0.98363 | -0.31545 | 0.98367 | -0.31477 | 3.5383
9 | 0.18755 | 0.047714 | -0.18731 | -0.047559 | 0.0002436 | 0.00015548 | 0.2816 | 0.2816 | 0.2816 | 0.99196 | -0.15278 | 0.99056 | -0.17977 | 38.6807
10 | 0.22499 | 0.057009 | -0.22497 | -0.056999 | 1.6032e-05 | 1.024e-05 | 0.335 | 0.335 | 0.335 | 1 | 0 | 0.99992 | -0.0014833 | 46.017
11 | -0.0085142 | -0.0021334 | 0.0085158 | 0.002134 | 1.5478e-06 | 6.7465e-07 | 0.012879 | 0.012879 | 0.012879 | 0.98367 | -0.31477 | 0.98386 | -0.31095 | 3.5383
12 | -0.0085158 | -0.002134 | 0.0085174 | 0.0021348 | 1.6843e-06 | 7.34e-07 | 0.012879 | 0.012879 | 0.012879 | 0.98386 | -0.31095 | 0.98407 | -0.3068 | 3.5383
13 | -0.02165 | -0.0054262 | 0.02166 | 0.0054319 | 9.4772e-06 | 5.7657e-06 | 0.032737 | 0.032737 | 0.032737 | 0.98407 | -0.3068 | 0.98455 | -0.29761 | 8.9937
14 | -0.029275 | -0.0073405 | 0.0293 | 0.0073561 | 2.5154e-05 | 1.5662e-05 | 0.044246 | 0.044246 | 0.044246 | 0.98455 | -0.29761 | 0.98547 | -0.2796 | 12.1555
15 | 0.0076149 | 0.0019085 | -0.0076144 | -0.0019084 | 4.6178e-07 | 1.7732e-07 | 0.011509 | 0.011509 | 0.011509 | 0.98455 | -0.29761 | 0.98448 | -0.29889 | 3.1618
16 | -0.0293 | -0.0073561 | 0.029326 | 0.0073727 | 2.667e-05 | 1.6606e-05 | 0.044246 | 0.044246 | 0.044246 | 0.98547 | -0.2796 | 0.98645 | -0.26054 | 12.1555
17 | 0.072901 | 0.01838 | -0.072723 | -0.018267 | 0.0001776 | 0.00011318 | 0.11068 | 0.11068 | 0.11068 | 0.98043 | -0.37566 | 0.97782 | -0.4267 | 30.4074
18 | -0.072901 | -0.01838 | 0.072987 | 0.018435 | 8.6387e-05 | 5.505e-05 | 0.11068 | 0.11068 | 0.11068 | 0.98043 | -0.37566 | 0.9817 | -0.35094 | 30.4074
19 | 0.011293 | 0.0028318 | -0.011289 | -0.0028299 | 3.6245e-06 | 1.9093e-06 | 0.017186 | 0.017186 | 0.017186 | 0.97782 | -0.4267 | 0.97748 | -0.43344 | 4.7214
20 | 0.027508 | 0.0069156 | -0.027487 | -0.0069027 | 2.0669e-05 | 1.2834e-05 | 0.041868 | 0.041868 | 0.041868 | 0.97782 | -0.4267 | 0.97702 | -0.44245 | 11.5023
21 | 0.033923 | 0.0085198 | -0.033904 | -0.0085079 | 1.8981e-05 | 1.191e-05 | 0.051629 | 0.051629 | 0.051629 | 0.97782 | -0.4267 | 0.97722 | -0.43844 | 14.1839
22 | -0.084366 | -0.021287 | 0.084628 | 0.021454 | 0.00026212 | 0.00016722 | 0.12793 | 0.12793 | 0.12793 | 0.9817 | -0.35094 | 0.98503 | -0.28627 | 35.1454
23 | 0.011289 | 0.0028299 | -0.011287 | -0.0028289 | 1.8897e-06 | 9.956e-07 | 0.017186 | 0.017186 | 0.017186 | 0.97748 | -0.43344 | 0.9773 | -0.43695 | 4.7214
24 | 0.027487 | 0.0069027 | -0.027473 | -0.006894 | 1.4106e-05 | 8.7594e-06 | 0.041868 | 0.041868 | 0.041868 | 0.97702 | -0.44245 | 0.97647 | -0.45321 | 11.5023
25 | 0.028697 | 0.0072029 | -0.028677 | -0.0071901 | 2.0638e-05 | 1.2848e-05 | 0.043701 | 0.043701 | 0.043701 | 0.97722 | -0.43844 | 0.97646 | -0.45353 | 12.0058
26 | 0.019457 | 0.0048849 | -0.019451 | -0.0048812 | 6.0535e-06 | 3.6447e-06 | 0.029652 | 0.029653 | 0.029653 | 0.97647 | -0.45321 | 0.97614 | -0.45974 | 8.1463
27 | 0.18229 | 0.046302 | -0.18215 | -0.046212 | 0.00014077 | 8.9839e-05 | 0.27406 | 0.27406 | 0.27406 | 0.99056 | -0.17977 | 0.98972 | -0.19583 | 37.646
28 | 0.15718 | 0.039908 | -0.15701 | -0.039801 | 0.00016836 | 0.00010732 | 0.23409 | 0.23409 | 0.23409 | 0.99992 | -0.0014833 | 0.99875 | -0.02377 | 32.1552
29 | 0.067788 | 0.017091 | -0.0677 | -0.017035 | 8.8531e-05 | 5.6356e-05 | 0.10091 | 0.10091 | 0.10091 | 0.99992 | -0.0014833 | 0.9985 | -0.028811 | 27.7236
30 | -0.015557 | -0.003899 | 0.015561 | 0.0039012 | 3.7754e-06 | 2.1802e-06 | 0.023401 | 0.023401 | 0.023401 | 0.98924 | -0.20643 | 0.9895 | -0.20134 | 6.4289
31 | -0.088558 | -0.022298 | 0.088739 | 0.022414 | 0.00018165 | 0.00011591 | 0.13321 | 0.13321 | 0.13321 | 0.9895 | -0.20134 | 0.99172 | -0.15853 | 36.5962
32 | 0.072997 | 0.018396 | -0.072832 | -0.018292 | 0.00016458 | 0.00010487 | 0.10981 | 0.10981 | 0.10981 | 0.9895 | -0.20134 | 0.98706 | -0.24858 | 30.1674
33 | -0.046486 | -0.011673 | 0.046513 | 0.01169 | 2.6528e-05 | 1.6794e-05 | 0.07013 | 0.07013 | 0.07013 | 0.98645 | -0.26054 | 0.98706 | -0.24858 | 19.2666
34 | -0.09053 | -0.022933 | 0.090655 | 0.023013 | 0.0001251 | 7.9837e-05 | 0.13684 | 0.13684 | 0.13684 | 0.98503 | -0.28627 | 0.98651 | -0.25755 | 37.5947
35 | -0.0072789 | -0.0018243 | 0.0072806 | 0.0018249 | 1.6956e-06 | 6.2828e-07 | 0.01111 | 0.01111 | 0.01111 | 0.97491 | -0.48386 | 0.97516 | -0.47897 | 3.0522
36 | -0.019433 | -0.0048705 | 0.019451 | 0.0048812 | 1.7824e-05 | 1.0732e-05 | 0.029653 | 0.029653 | 0.029653 | 0.97516 | -0.47897 | 0.97614 | -0.45974 | 8.1464
37 | -0.01324 | -0.0033184 | 0.013241 | 0.0033189 | 1.0001e-06 | 5.5589e-07 | 0.020043 | 0.020043 | 0.020043 | 0.98298 | -0.32687 | 0.98306 | -0.32528 | 5.5063
38 | 0.017287 | 0.0043353 | -0.017278 | -0.0043303 | 8.5892e-06 | 5.0732e-06 | 0.026167 | 0.026167 | 0.026167 | 0.98306 | -0.32528 | 0.98253 | -0.33571 | 7.1888
39 | -0.030528 | -0.0076543 | 0.030558 | 0.0076728 | 2.9713e-05 | 1.8545e-05 | 0.04621 | 0.04621 | 0.04621 | 0.98306 | -0.32528 | 0.9841 | -0.30488 | 12.6951
40 | 0.016788 | 0.0042106 | -0.016781 | -0.0042061 | 7.7178e-06 | 4.5463e-06 | 0.025585 | 0.025585 | 0.025585 | 0.97646 | -0.45353 | 0.97597 | -0.46318 | 7.0288
41 | -0.0027544 | -0.00069033 | 0.0027546 | 0.00069012 | 1.6383e-07 | -2.0418e-07 | 0.0042014 | 0.0042013 | 0.0042014 | 0.97553 | -0.47167 | 0.9756 | -0.47042 | 1.1542
42 | -0.0057718 | -0.0014463 | 0.0057724 | 0.0014464 | 6.5753e-07 | 1.3826e-07 | 0.0088032 | 0.0088031 | 0.0088032 | 0.9756 | -0.47042 | 0.97572 | -0.46803 | 2.4185
43 | 0.061436 | 0.015465 | -0.061374 | -0.015426 | 6.16e-05 | 3.9168e-05 | 0.091579 | 0.091579 | 0.091579 | 0.9985 | -0.028811 | 0.9974 | -0.049811 | 25.1591
44 | 0.061374 | 0.015426 | -0.061296 | -0.015376 | 7.8632e-05 | 4.9999e-05 | 0.091579 | 0.091579 | 0.091579 | 0.9974 | -0.049811 | 0.99601 | -0.076683 | 25.1591
45 | 0.0426 | 0.01069 | -0.042564 | -0.010668 | 3.563e-05 | 2.2498e-05 | 0.063648 | 0.063648 | 0.063648 | 0.99601 | -0.076683 | 0.9951 | -0.094239 | 17.4858
46 | 0.1189 | 0.030234 | -0.11884 | -0.030196 | 5.9436e-05 | 3.7973e-05 | 0.1773 | 0.1773 | 0.1773 | 0.99875 | -0.02377 | 0.99821 | -0.034152 | 48.7087
47 | 0.038114 | 0.0095667 | -0.038104 | -0.0095603 | 1.0195e-05 | 6.4147e-06 | 0.05679 | 0.056791 | 0.056791 | 0.99875 | -0.02377 | 0.99846 | -0.02938 | 15.6018
48 | -0.012345 | -0.0030938 | 0.012345 | 0.003094 | 2.5216e-07 | 1.3686e-07 | 0.018666 | 0.018666 | 0.018666 | 0.98408 | -0.30531 | 0.9841 | -0.30488 | 5.128
49 | -0.042903 | -0.010767 | 0.042955 | 0.0108 | 5.2369e-05 | 3.3094e-05 | 0.064876 | 0.064876 | 0.064876 | 0.9841 | -0.30488 | 0.98542 | -0.27932 | 17.8231
50 | 0.0059709 | 0.0014964 | -0.0059708 | -0.0014964 | 1.0286e-07 | 2.1132e-08 | 0.0089286 | 0.0089286 | 0.0089286 | 0.9951 | -0.094239 | 0.99508 | -0.0946 | 2.4529
51 | 0.11884 | 0.030196 | -0.11861 | -0.030049 | 0.00023051 | 0.00014727 | 0.1773 | 0.1773 | 0.1773 | 0.99821 | -0.034152 | 0.99609 | -0.074525 | 48.7087
52 | 0.033553 | 0.0084196 | -0.033527 | -0.0084033 | 2.6069e-05 | 1.6321e-05 | 0.050008 | 0.050008 | 0.050008 | 0.99846 | -0.02938 | 0.99761 | -0.045687 | 13.7384
53 | -0.059746 | -0.015008 | 0.059755 | 0.015014 | 8.4405e-06 | 5.3667e-06 | 0.090231 | 0.090231 | 0.090231 | 0.98542 | -0.27932 | 0.98557 | -0.27636 | 24.7888
54 | 0.026307 | 0.0065935 | -0.026306 | -0.0065928 | 1.0862e-06 | 6.717e-07 | 0.039679 | 0.039679 | 0.039679 | 0.98653 | -0.25888 | 0.98649 | -0.25975 | 10.9009
55 | -0.026307 | -0.0065935 | 0.02632 | 0.0066015 | 1.2915e-05 | 7.986e-06 | 0.039679 | 0.039679 | 0.039679 | 0.98653 | -0.25888 | 0.98706 | -0.24858 | 10.9009
56 | -0.033525 | -0.0084021 | 0.033527 | 0.0084033 | 1.9723e-06 | 1.2348e-06 | 0.050008 | 0.050008 | 0.050008 | 0.99755 | -0.046922 | 0.99761 | -0.045687 | 13.7384
57 | 0.099222 | 0.02519 | -0.09908 | -0.025099 | 0.00014191 | 9.0596e-05 | 0.14834 | 0.14834 | 0.14834 | 0.99609 | -0.074525 | 0.99454 | -0.1043 | 40.752
58 | 0.08022 | 0.020258 | -0.080157 | -0.020218 | 6.2788e-05 | 4.0036e-05 | 0.12066 | 0.12066 | 0.12066 | 0.98972 | -0.19583 | 0.98888 | -0.21218 | 33.1491
59 | 0.10193 | 0.025955 | -0.10177 | -0.025852 | 0.00016111 | 0.00010288 | 0.1534 | 0.1534 | 0.1534 | 0.98972 | -0.19583 | 0.98801 | -0.22866 | 42.143
60 | 0.076534 | 0.01931 | -0.0763 | -0.01916 | 0.00023443 | 0.00014943 | 0.11521 | 0.11521 | 0.11521 | 0.98888 | -0.21218 | 0.98557 | -0.27636 | 31.6514
61 | 0.096465 | 0.024521 | -0.096331 | -0.024436 | 0.00013401 | 8.5549e-05 | 0.14541 | 0.14541 | 0.14541 | 0.98801 | -0.22866 | 0.98651 | -0.25755 | 39.9467
62 | -0.088739 | -0.022414 | 0.088877 | 0.022501 | 0.00013722 | 8.7553e-05 | 0.13321 | 0.13321 | 0.13321 | 0.99172 | -0.15853 | 0.99339 | -0.12632 | 36.5962
63 | -0.098975 | -0.025032 | 0.09908 | 0.025099 | 0.00010469 | 6.6837e-05 | 0.14834 | 0.14834 | 0.14834 | 0.99339 | -0.12632 | 0.99454 | -0.1043 | 40.752
64 | -0.0095633 | -0.0023965 | 0.0095643 | 0.002397 | 9.2767e-07 | 4.4844e-07 | 0.014584 | 0.014584 | 0.014584 | 0.97572 | -0.46803 | 0.97582 | -0.46599 | 4.0067
65 | -0.012789 | -0.0032052 | 0.012791 | 0.0032061 | 1.7152e-06 | 9.4748e-07 | 0.019502 | 0.019502 | 0.019502 | 0.97582 | -0.46599 | 0.97597 | -0.46318 | 5.3577

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44162 | 0.11218

## res_load
| p_mw | q_mvar
0 | 0.011419 | 0.0028618
1 | 0.0030442 | 0.00076295
2 | 0.0036128 | 0.00090546
3 | 0.003087 | 0.00077367
4 | 0.0018137 | 0.00045456
5 | 0.0036552 | 0.00091607
6 | 0.0050863 | 0.0012747
7 | 0.0027205 | 0.00068181
8 | 0.013133 | 0.0032914
9 | 0.0076144 | 0.0019084
10 | 0.011378 | 0.0028517
11 | 0.0052067 | 0.0013049
12 | 0.0080163 | 0.0020091
13 | 0.0050142 | 0.0012567
14 | 0.015557 | 0.003899
15 | 0.01716 | 0.0043006
16 | 0.0059019 | 0.0014792
17 | 0.0072789 | 0.0018243
18 | 0.012152 | 0.0030456
19 | 0.01324 | 0.0033184
20 | 0.011287 | 0.0028289
21 | 0.011888 | 0.0029795
22 | 0.0027544 | 0.00069033
23 | 0.0030171 | 0.00075617
24 | 0.006264 | 0.0015699
25 | 0.018696 | 0.0046856
26 | 0.012345 | 0.0030938
27 | 0.036593 | 0.0091711
28 | 0.0045513 | 0.0011407
29 | 0.016791 | 0.0042083
30 | 0.0059708 | 0.0014964
31 | 0.026306 | 0.0065928
32 | 0.033525 | 0.0084021
33 | 0.019388 | 0.0048591
34 | 0.0036231 | 0.00090803
35 | 0.0053083 | 0.0013304
36 | 0.016545 | 0.0041466
37 | 0.0056758 | 0.0014225
38 | 0.017278 | 0.0043303
39 | 0.010099 | 0.002531
40 | 0.0037909 | 0.00095009
41 | 0.0032248 | 0.00080822
42 | 0.0039898 | 0.00099994

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1