## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_243-29_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_243-29_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_243-29_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_243-29_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_243-29_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_243-29_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_243-29_0_4_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_243-29_0_4_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_243-29_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_243-29_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_243-29_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_243-29_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_243-29_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_243-29_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_243-29_0_4_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_243-29_0_4_node_50 | 0.4 | n |  | TRUE
16 | bus_LV_243-29_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_243-29_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_243-29_0_4_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_243-29_0_4_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_243-29_0_4_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_243-29_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_243-29_0_4_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_243-29_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_243-29_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_243-29_0_4_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_243-29_0_4_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_243-29_0_4_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_243-29_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_243-29_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_243-29_0_4_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_243-29_0_4_node_53 | 0.4 | n |  | TRUE
32 | bus_LV_243-29_0_4_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_243-29_0_4_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_243-29_0_4_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_243-29_0_4_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_243-29_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_243-29_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_243-29_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_243-29_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_243-29_0_4_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_243-29_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_243-29_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_243-29_0_4_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_243-29_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_243-29_0_4_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_243-29_0_4_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_243-29_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_243-29_0_4_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_243-29_0_4_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_243-29_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_MV_515_0_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_243-29_0_4_load_0 | 0 | 0.0090045 | 0.0022567 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_243-29_0_4_load_1 | 1 | 0.0050397 | 0.0012631 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_243-29_0_4_load_3 | 3 | 0.0044277 | 0.0011097 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_243-29_0_4_load_4 | 4 | 0.0094005 | 0.002356 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_243-29_0_4_load_5 | 5 | 0.013061 | 0.0032735 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_243-29_0_4_load_37 | 6 | 0.010553 | 0.0026447 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_243-29_0_4_load_38 | 7 | 0.012952 | 0.003246 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_243-29_0_4_load_6 | 9 | 0.022221 | 0.005569 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_243-29_0_4_load_9 | 12 | 0.0096625 | 0.0024217 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_243-29_0_4_load_19 | 14 | 0.0087691 | 0.0021977 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_243-29_0_4_load_50 | 15 | 0.007114 | 0.0017829 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_243-29_0_4_load_31 | 18 | 0.016686 | 0.0041819 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_243-29_0_4_load_21 | 19 | 0.032122 | 0.0080505 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_243-29_0_4_load_54 | 20 | 0.0028104 | 0.00070435 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_243-29_0_4_load_22 | 22 | 0.0072344 | 0.0018131 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_243-29_0_4_load_20 | 23 | 0.015329 | 0.0038418 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_243-29_0_4_load_51 | 25 | 0.0054132 | 0.0013567 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_243-29_0_4_load_48 | 26 | 0.0022452 | 0.00056271 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_243-29_0_4_load_49 | 27 | 0.086375 | 0.021648 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_243-29_0_4_load_18 | 28 | 0.0088171 | 0.0022098 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_243-29_0_4_load_32 | 30 | 0.010486 | 0.0026281 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_243-29_0_4_load_53 | 31 | 0.0042615 | 0.001068 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_243-29_0_4_load_56 | 33 | 0.0044564 | 0.0011169 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_243-29_0_4_load_52 | 34 | 0.0048472 | 0.0012148 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_243-29_0_4_load_28 | 36 | 0.010302 | 0.002582 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_243-29_0_4_load_30 | 38 | 0.0087525 | 0.0021936 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_243-29_0_4_load_34 | 39 | 0.015213 | 0.0038128 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_243-29_0_4_load_35 | 40 | 0.014212 | 0.0035618 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_243-29_0_4_load_33 | 41 | 0.008175 | 0.0020489 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_243-29_0_4_load_29 | 42 | 0.0088463 | 0.0022171 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_243-29_0_4_load_39 | 43 | 0.0051469 | 0.0012899 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_243-29_0_4_load_45 | 46 | 0.011672 | 0.0029253 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_243-29_0_4_load_40 | 47 | 0.028455 | 0.0071315 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_243-29_0_4_load_47 | 48 | 0.009278 | 0.0023253 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_243-29_0_4_load_44 | 49 | 0.0023461 | 0.000588 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_243-29_0_4_load_43 | 50 | 0.010914 | 0.0027352 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_243-29_0_4_line_0 |  | 0 | 1 | 0.037871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_243-29_0_4_line_1 |  | 0 | 2 | 0.010979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_243-29_0_4_line_2 |  | 1 | 3 | 0.0015194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_243-29_0_4_line_3 |  | 2 | 4 | 0.032271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_243-29_0_4_line_4 |  | 2 | 5 | 0.02595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_243-29_0_4_line_5 |  | 4 | 6 | 0.017338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_243-29_0_4_line_6 |  | 5 | 7 | 0.0010052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_243-29_0_4_line_7 |  | 6 | 8 | 0.045987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_243-29_0_4_line_8 |  | 8 | 16 | 0.031168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_243-29_0_4_line_9 |  | 9 | 10 | 0.030195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_243-29_0_4_line_10 |  | 9 | 11 | 0.0031665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_243-29_0_4_line_11 |  | 10 | 12 | 0.023489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_243-29_0_4_line_12 |  | 10 | 13 | 0.03677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_243-29_0_4_line_13 |  | 11 | 14 | 0.017517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_243-29_0_4_line_14 |  | 12 | 15 | 0.014422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_243-29_0_4_line_15 |  | 13 | 19 | 0.0016647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_243-29_0_4_line_16 |  | 14 | 30 | 0.012434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_243-29_0_4_line_17 |  | 15 | 27 | 0.034916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_243-29_0_4_line_18 |  | 16 | 17 | 0.041576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_243-29_0_4_line_19 |  | 16 | 18 | 0.013229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_243-29_0_4_line_20 |  | 17 | 20 | 0.042246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_243-29_0_4_line_21 |  | 19 | 23 | 0.042458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_243-29_0_4_line_22 |  | 20 | 31 | 0.04112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_243-29_0_4_line_23 |  | 21 | 22 | 0.024934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_243-29_0_4_line_24 |  | 21 | 23 | 0.018901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_243-29_0_4_line_25 |  | 22 | 34 | 0.016818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_243-29_0_4_line_26 |  | 22 | 32 | 0.043557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_243-29_0_4_line_27 |  | 24 | 25 | 0.011956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_243-29_0_4_line_28 |  | 24 | 26 | 0.029895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_243-29_0_4_line_29 |  | 24 | 27 | 0.036234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_243-29_0_4_line_30 |  | 26 | 35 | 0.013203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_243-29_0_4_line_31 |  | 28 | 29 | 0.016668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_243-29_0_4_line_32 |  | 29 | 36 | 0.018715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_243-29_0_4_line_33 |  | 29 | 37 | 0.033498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_243-29_0_4_line_34 |  | 30 | 38 | 0.019032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_243-29_0_4_line_35 |  | 31 | 34 | 0.030461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_243-29_0_4_line_36 |  | 32 | 33 | 0.009018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_243-29_0_4_line_37 |  | 35 | 48 | 0.00629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_243-29_0_4_line_38 |  | 35 | 47 | 0.02592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_243-29_0_4_line_39 |  | 36 | 42 | 0.030547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_243-29_0_4_line_40 |  | 37 | 39 | 0.021012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_243-29_0_4_line_41 |  | 37 | 40 | 0.075828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_243-29_0_4_line_42 |  | 37 | 41 | 0.016752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_243-29_0_4_line_43 |  | 38 | 42 | 0.026949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_243-29_0_4_line_44 |  | 39 | 43 | 0.025985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_243-29_0_4_line_45 |  | 40 | 44 | 0.017319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_243-29_0_4_line_46 |  | 44 | 45 | 0.038174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_243-29_0_4_line_47 |  | 45 | 46 | 0.010605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_243-29_0_4_line_48 |  | 46 | 49 | 0.017588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_243-29_0_4_line_49 |  | 49 | 50 | 0.019086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_243-29_0_4_trafo_8 | 0.63 MVA 20/0.4 kV | 51 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2672189.3149 | 1251012.3681 | 2672167.4838 | 1250981.4226
1 | 2672195.6436 | 1251021.3391 | 2672189.3149 | 1251012.3681
2 | 2672167.4838 | 1250981.4226 | 2672166.608 | 1250980.1811
3 | 2672195.6436 | 1251021.3391 | 2672215.0039 | 1251047.1579
4 | 2672195.6436 | 1251021.3391 | 2672183.3756 | 1251030.752 | 2672174.8457 | 1251036.8524
5 | 2672215.0039 | 1251047.1579 | 2672223.1342 | 1251058.0004 | 2672225.6548 | 1251060.8255
6 | 2672174.0281 | 1251037.4371 | 2672174.8457 | 1251036.8524
7 | 2672254.8552 | 1251096.2146 | 2672252.1442 | 1251091.3558 | 2672237.7076 | 1251074.3343 | 2672225.6548 | 1251060.8255
8 | 2672254.8552 | 1251096.2146 | 2672248.5871 | 1251100.1633 | 2672250.3257 | 1251103.0532 | 2672255.1054 | 1251110.9839 | 2672258.4792 | 1251116.5846 | 2672260.8467 | 1251120.5163
9 | 2672310.6426 | 1251062.5372 | 2672308.2129 | 1251058.1266 | 2672293.4293 | 1251037.7693
10 | 2672291.5687 | 1251035.2071 | 2672293.4293 | 1251037.7693
11 | 2672310.6426 | 1251062.5372 | 2672314.9608 | 1251060.6441 | 2672324.5024 | 1251056.3018 | 2672331.6933 | 1251052.1756
12 | 2672310.038 | 1251088.5598 | 2672308.2548 | 1251085.6137 | 2672304.7401 | 1251079.8111 | 2672299.8489 | 1251071.7456 | 2672312.1936 | 1251065.336 | 2672310.6426 | 1251062.5372
13 | 2672291.5687 | 1251035.2071 | 2672277.1565 | 1251045.1629
14 | 2672331.6933 | 1251052.1756 | 2672338.3911 | 1251048.3322 | 2672338.7311 | 1251045.2119 | 2672341.7407 | 1251043.3091
15 | 2672310.038 | 1251088.5598 | 2672311.4453 | 1251087.6705
16 | 2672277.1565 | 1251045.1629 | 2672266.9261 | 1251052.23 | 2672266.9261 | 1251052.23
17 | 2672371.2534 | 1251024.6504 | 2672341.7407 | 1251043.3091
18 | 2672260.8467 | 1251120.5163 | 2672256.7633 | 1251122.9683 | 2672255.7885 | 1251125.5249 | 2672249.5832 | 1251128.6516 | 2672251.4936 | 1251131.6993 | 2672264.3574 | 1251151.4037
19 | 2672260.8467 | 1251120.5163 | 2672264.4816 | 1251118.3257 | 2672267.3025 | 1251118.5158 | 2672272.5915 | 1251115.3631
20 | 2672264.3574 | 1251151.4037 | 2672292.0071 | 1251131.0261 | 2672298.2842 | 1251126.2323
21 | 2672311.4453 | 1251087.6705 | 2672314.0775 | 1251086.0072 | 2672321.1919 | 1251080.1453 | 2672331.2964 | 1251071.1177 | 2672345.1658 | 1251062.0396
22 | 2672330.9641 | 1251101.2752 | 2672298.2842 | 1251126.2323
23 | 2672360.9808 | 1251051.6881 | 2672363.778 | 1251056.9038 | 2672369.8078 | 1251074.946
24 | 2672360.9808 | 1251051.6881 | 2672345.1658 | 1251062.0396
25 | 2672369.8078 | 1251074.946 | 2672361.8407 | 1251077.6952 | 2672355.1727 | 1251082.7875
26 | 2672379.4656 | 1251117.3168 | 2672378.182 | 1251106.838 | 2672376.0624 | 1251096.2155 | 2672369.8078 | 1251074.946
27 | 2672412.0058 | 1250998.8842 | 2672401.8802 | 1251005.2874
28 | 2672401.8802 | 1251005.2874 | 2672385.5876 | 1250980.2218
29 | 2672401.8802 | 1251005.2874 | 2672371.2534 | 1251024.6504
30 | 2672378.3925 | 1250969.1522 | 2672385.5876 | 1250980.2218
31 | 2672254.9988 | 1250981.7226 | 2672264.4067 | 1250995.4819
32 | 2672254.9988 | 1250981.7226 | 2672239.5972 | 1250992.3552
33 | 2672254.9988 | 1250981.7226 | 2672253.1019 | 1250978.8084 | 2672274.8828 | 1250958.1479
34 | 2672256.0649 | 1251036.6014 | 2672266.9261 | 1251052.23
35 | 2672355.1727 | 1251082.7875 | 2672330.9641 | 1251101.2752
36 | 2672379.4656 | 1251117.3168 | 2672372.5172 | 1251123.0652
37 | 2672378.3925 | 1250969.1522 | 2672383.4136 | 1250965.3441
38 | 2672378.3925 | 1250969.1522 | 2672356.6545 | 1250983.2696
39 | 2672240.6855 | 1251014.4712 | 2672239.4779 | 1251012.7336 | 2672229.9451 | 1250999.0186 | 2672239.5972 | 1250992.3552
40 | 2672274.8828 | 1250958.1479 | 2672288.5369 | 1250974.1184
41 | 2672274.8828 | 1250958.1479 | 2672283.0544 | 1250950.4087 | 2672333.9554 | 1250910.6755
42 | 2672274.8828 | 1250958.1479 | 2672265.0657 | 1250944.5746
43 | 2672256.0649 | 1251036.6014 | 2672240.6855 | 1251014.4712
44 | 2672288.5369 | 1250974.1184 | 2672293.0202 | 1250979.3622 | 2672303.6708 | 1250985.5966 | 2672307.8423 | 1250990.8964
45 | 2672347.6968 | 1250900.1387 | 2672344.8487 | 1250902.1721 | 2672333.9554 | 1250910.6755
46 | 2672347.6968 | 1250900.1387 | 2672354.1605 | 1250895.6588 | 2672366.123 | 1250888.433 | 2672369.3752 | 1250892.2532 | 2672371.7566 | 1250895.051 | 2672375.9512 | 1250901.4401
47 | 2672375.9512 | 1250901.4401 | 2672382.4105 | 1250909.8507
48 | 2672393.1232 | 1250923.7993 | 2672382.4105 | 1250909.8507
49 | 2672408.6526 | 1250912.7038 | 2672393.1232 | 1250923.7993 | 2672393.1232 | 1250923.7993

## bus_geodata
| x | y | coords
0 | 2672189.3149 | 1251012.3681
1 | 2672167.4838 | 1250981.4226
2 | 2672195.6436 | 1251021.3391
3 | 2672166.608 | 1250980.1811
4 | 2672215.0039 | 1251047.1579
5 | 2672174.8457 | 1251036.8524
6 | 2672225.6548 | 1251060.8255
7 | 2672174.0281 | 1251037.4371
8 | 2672254.8552 | 1251096.2146
9 | 2672293.4293 | 1251037.7693
10 | 2672310.6426 | 1251062.5372
11 | 2672291.5687 | 1251035.2071
12 | 2672331.6933 | 1251052.1756
13 | 2672310.038 | 1251088.5598
14 | 2672277.1565 | 1251045.1629
15 | 2672341.7407 | 1251043.3091
16 | 2672260.8467 | 1251120.5163
17 | 2672264.3574 | 1251151.4037
18 | 2672272.5915 | 1251115.3631
19 | 2672311.4453 | 1251087.6705
20 | 2672298.2842 | 1251126.2323
21 | 2672360.9808 | 1251051.6881
22 | 2672369.8078 | 1251074.946
23 | 2672345.1658 | 1251062.0396
24 | 2672401.8802 | 1251005.2874
25 | 2672412.0058 | 1250998.8842
26 | 2672385.5876 | 1250980.2218
27 | 2672371.2534 | 1251024.6504
28 | 2672264.4067 | 1250995.4819
29 | 2672254.9988 | 1250981.7226
30 | 2672266.9261 | 1251052.23
31 | 2672330.9641 | 1251101.2752
32 | 2672379.4656 | 1251117.3168
33 | 2672372.5172 | 1251123.0652
34 | 2672355.1727 | 1251082.7875
35 | 2672378.3925 | 1250969.1522
36 | 2672239.5972 | 1250992.3552
37 | 2672274.8828 | 1250958.1479
38 | 2672256.0649 | 1251036.6014
39 | 2672288.5369 | 1250974.1184
40 | 2672333.9554 | 1250910.6755
41 | 2672265.0657 | 1250944.5746
42 | 2672240.6855 | 1251014.4712
43 | 2672307.8423 | 1250990.8964
44 | 2672347.6968 | 1250900.1387
45 | 2672375.9512 | 1250901.4401
46 | 2672382.4105 | 1250909.8507
47 | 2672356.6545 | 1250983.2696
48 | 2672383.4136 | 1250965.3441
49 | 2672393.1232 | 1250923.7993
50 | 2672408.6526 | 1250912.7038
51 | 2672310.6426 | 1251062.5372

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97112 | -0.55693 | 0.0090045 | 0.0022567
1 | 0.97079 | -0.56356 | 0.0050397 | 0.0012631
2 | 0.97131 | -0.55319 | 0 | 0
3 | 0.97078 | -0.56369 | 0.0044277 | 0.0011097
4 | 0.97265 | -0.5267 | 0.0094005 | 0.002356
5 | 0.97068 | -0.56567 | 0.013061 | 0.0032735
6 | 0.97352 | -0.5095 | 0.010553 | 0.0026447
7 | 0.97067 | -0.56591 | 0.012952 | 0.003246
8 | 0.97629 | -0.45516 | 0 | 0
9 | 0.99969 | -0.0059438 | 0.022221 | 0.005569
10 | 0.9969 | -0.058886 | 0 | 0
11 | 1 | 0 | -0.45365 | -0.11537
12 | 0.9953 | -0.089532 | 0.0096625 | 0.0024217
13 | 0.99517 | -0.091661 | 0 | 0
14 | 0.99801 | -0.037831 | 0.0087691 | 0.0021977
15 | 0.99346 | -0.12484 | 0.007114 | 0.0017829
16 | 0.97817 | -0.4185 | 0 | 0
17 | 0.98131 | -0.35725 | 0 | 0
18 | 0.97796 | -0.42252 | 0.016686 | 0.0041819
19 | 0.9951 | -0.093147 | 0.032122 | 0.0080505
20 | 0.98451 | -0.29541 | 0.0028104 | 0.00070435
21 | 0.99291 | -0.13477 | 0 | 0
22 | 0.99169 | -0.15789 | 0.0072344 | 0.0018131
23 | 0.99352 | -0.12311 | 0.015329 | 0.0038418
24 | 0.98772 | -0.23578 | 0 | 0
25 | 0.98766 | -0.23693 | 0.0054132 | 0.0013567
26 | 0.98662 | -0.25715 | 0.0022452 | 0.00056271
27 | 0.98924 | -0.20644 | 0.086375 | 0.021648
28 | 0.98861 | -0.21844 | 0.0088171 | 0.0022098
29 | 0.98874 | -0.21582 | 0 | 0
30 | 0.9967 | -0.062863 | 0.010486 | 0.0026281
31 | 0.98773 | -0.23354 | 0.0042615 | 0.001068
32 | 0.99151 | -0.16133 | 0 | 0
33 | 0.99148 | -0.16204 | 0.0044564 | 0.0011169
34 | 0.99023 | -0.18566 | 0.0048472 | 0.0012148
35 | 0.98617 | -0.26608 | 0 | 0
36 | 0.99006 | -0.19033 | 0.010302 | 0.002582
37 | 0.98665 | -0.25633 | 0 | 0
38 | 0.99487 | -0.097791 | 0.0087525 | 0.0021936
39 | 0.98626 | -0.264 | 0.015213 | 0.0038128
40 | 0.98391 | -0.30963 | 0.014212 | 0.0035618
41 | 0.98653 | -0.25879 | 0.008175 | 0.0020489
42 | 0.9925 | -0.14329 | 0.0088463 | 0.0022171
43 | 0.98614 | -0.26639 | 0.0051469 | 0.0012899
44 | 0.98351 | -0.31741 | 0 | 0
45 | 0.98264 | -0.33457 | 0 | 0
46 | 0.98239 | -0.33935 | 0.011672 | 0.0029253
47 | 0.98549 | -0.27931 | 0.028455 | 0.0071315
48 | 0.98611 | -0.26712 | 0.009278 | 0.0023253
49 | 0.98218 | -0.34356 | 0.0023461 | 0.000588
50 | 0.98198 | -0.34733 | 0.010914 | 0.0027352
51 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0094705 | 0.0023742 | -0.0094675 | -0.0023728 | 2.9907e-06 | 1.4456e-06 | 0.014512 | 0.014512 | 0.014512 | 0.97112 | -0.55693 | 0.97079 | -0.56356 | 3.9867
1 | -0.018475 | -0.004631 | 0.018478 | 0.0046329 | 3.2993e-06 | 1.9757e-06 | 0.028309 | 0.028309 | 0.028309 | 0.97112 | -0.55693 | 0.97131 | -0.55319 | 7.7772
2 | 0.0044278 | 0.0011097 | -0.0044277 | -0.0011097 | 2.6244e-08 | -1.9892e-09 | 0.0067868 | 0.0067868 | 0.0067868 | 0.97079 | -0.56356 | 0.97078 | -0.56369 | 1.8645
3 | -0.044507 | -0.011162 | 0.044563 | 0.011198 | 5.6265e-05 | 3.5609e-05 | 0.068186 | 0.068186 | 0.068186 | 0.97131 | -0.55319 | 0.97265 | -0.5267 | 18.7324
4 | 0.026029 | 0.0065292 | -0.026013 | -0.0065196 | 1.5475e-05 | 9.5827e-06 | 0.039877 | 0.039877 | 0.039877 | 0.97131 | -0.55319 | 0.97068 | -0.56567 | 10.9553
5 | -0.053964 | -0.013554 | 0.054008 | 0.013582 | 4.4325e-05 | 2.8153e-05 | 0.082567 | 0.082567 | 0.082567 | 0.97265 | -0.5267 | 0.97352 | -0.5095 | 22.6833
6 | 0.012952 | 0.0032461 | -0.012952 | -0.003246 | 1.4859e-07 | 8.2674e-08 | 0.019855 | 0.019855 | 0.019855 | 0.97068 | -0.56567 | 0.97067 | -0.56591 | 5.4546
7 | -0.064561 | -0.016227 | 0.064729 | 0.016334 | 0.00016799 | 0.00010694 | 0.098697 | 0.098697 | 0.098697 | 0.97352 | -0.5095 | 0.97629 | -0.45516 | 27.1145
8 | -0.064729 | -0.016334 | 0.064843 | 0.016406 | 0.00011385 | 7.2476e-05 | 0.098697 | 0.098696 | 0.098697 | 0.97629 | -0.45516 | 0.97817 | -0.4185 | 27.1144
9 | 0.30471 | 0.077904 | -0.30393 | -0.077407 | 0.00077829 | 0.00049692 | 0.4541 | 0.4541 | 0.4541 | 0.99969 | -0.0059438 | 0.9969 | -0.058886 | 41.5843
10 | -0.32693 | -0.083473 | 0.32702 | 0.083533 | 9.3943e-05 | 5.9999e-05 | 0.48717 | 0.48717 | 0.48717 | 0.99969 | -0.0059438 | 1 | 0 | 44.6131
11 | 0.14965 | 0.037937 | -0.14943 | -0.037797 | 0.00022006 | 0.00014023 | 0.22353 | 0.22353 | 0.22353 | 0.9969 | -0.058886 | 0.9953 | -0.089532 | 30.7052
12 | 0.15428 | 0.03947 | -0.15403 | -0.039315 | 0.00024434 | 0.00015494 | 0.23057 | 0.23057 | 0.23057 | 0.9969 | -0.058886 | 0.99517 | -0.091661 | 21.1143
13 | 0.12498 | 0.031834 | -0.12475 | -0.031688 | 0.00022762 | 0.00014545 | 0.18615 | 0.18615 | 0.18615 | 1 | 0 | 0.99801 | -0.037831 | 51.1405
14 | 0.13977 | 0.035375 | -0.13954 | -0.035224 | 0.00023643 | 0.00015113 | 0.20909 | 0.20909 | 0.20909 | 0.9953 | -0.089532 | 0.99346 | -0.12484 | 57.4417
15 | 0.15403 | 0.039315 | -0.15402 | -0.039308 | 1.1062e-05 | 7.0148e-06 | 0.23057 | 0.23057 | 0.23057 | 0.99517 | -0.091661 | 0.9951 | -0.093147 | 21.1143
16 | 0.11598 | 0.029491 | -0.11584 | -0.029401 | 0.00013968 | 8.9231e-05 | 0.17308 | 0.17308 | 0.17308 | 0.99801 | -0.037831 | 0.9967 | -0.062863 | 47.5486
17 | 0.13242 | 0.033441 | -0.13191 | -0.033111 | 0.00051557 | 0.00032951 | 0.19843 | 0.19843 | 0.19843 | 0.99346 | -0.12484 | 0.98924 | -0.20644 | 54.5144
18 | -0.081532 | -0.02059 | 0.081772 | 0.020743 | 0.00024006 | 0.00015311 | 0.12408 | 0.12408 | 0.12408 | 0.97817 | -0.4185 | 0.98131 | -0.35725 | 34.0892
19 | 0.016689 | 0.0041838 | -0.016686 | -0.0041819 | 3.1976e-06 | 1.8804e-06 | 0.025388 | 0.025388 | 0.025388 | 0.97817 | -0.4185 | 0.97796 | -0.42252 | 6.9749
20 | -0.081772 | -0.020743 | 0.082016 | 0.020898 | 0.00024392 | 0.00015557 | 0.12408 | 0.12408 | 0.12408 | 0.98131 | -0.35725 | 0.98451 | -0.29541 | 34.0892
21 | 0.1219 | 0.031258 | -0.12172 | -0.031146 | 0.00017683 | 0.00011152 | 0.18254 | 0.18254 | 0.18254 | 0.9951 | -0.093147 | 0.99352 | -0.12311 | 16.7157
22 | -0.084826 | -0.021603 | 0.08508 | 0.021765 | 0.00025395 | 0.000162 | 0.12833 | 0.12833 | 0.12833 | 0.98451 | -0.29541 | 0.98773 | -0.23354 | 35.256
23 | 0.10633 | 0.027267 | -0.10622 | -0.027191 | 0.00011905 | 7.555e-05 | 0.15958 | 0.15958 | 0.15958 | 0.99291 | -0.13477 | 0.99169 | -0.15789 | 21.9201
24 | -0.10633 | -0.027267 | 0.10639 | 0.027304 | 6.0166e-05 | 3.7772e-05 | 0.15958 | 0.15958 | 0.15958 | 0.99291 | -0.13477 | 0.99352 | -0.12311 | 14.6134
25 | 0.094523 | 0.024261 | -0.094396 | -0.02418 | 0.00012723 | 8.1213e-05 | 0.14204 | 0.14204 | 0.14204 | 0.99169 | -0.15789 | 0.99023 | -0.18566 | 39.0207
26 | 0.0044573 | 0.0011168 | -0.0044566 | -0.0011169 | 7.3062e-07 | -9.4282e-08 | 0.006688 | 0.0066882 | 0.0066882 | 0.99169 | -0.15789 | 0.99151 | -0.16133 | 1.8374
27 | 0.0054135 | 0.0013567 | -0.0054132 | -0.0013567 | 2.9821e-07 | 3.7834e-08 | 0.0081554 | 0.0081555 | 0.0081555 | 0.98772 | -0.23578 | 0.98766 | -0.23693 | 2.2405
28 | 0.040054 | 0.010067 | -0.040013 | -0.010041 | 4.0833e-05 | 2.5751e-05 | 0.060351 | 0.060351 | 0.060351 | 0.98772 | -0.23578 | 0.98662 | -0.25715 | 16.58
29 | -0.045467 | -0.011423 | 0.045531 | 0.011464 | 6.377e-05 | 4.0348e-05 | 0.068507 | 0.068506 | 0.068507 | 0.98772 | -0.23578 | 0.98924 | -0.20644 | 18.8205
30 | 0.037767 | 0.0094783 | -0.037751 | -0.0094681 | 1.6066e-05 | 1.0114e-05 | 0.056965 | 0.056965 | 0.056965 | 0.98662 | -0.25715 | 0.98617 | -0.26608 | 15.6498
31 | -0.0088171 | -0.0022098 | 0.0088182 | 0.0022103 | 1.1009e-06 | 4.9081e-07 | 0.013271 | 0.013271 | 0.013271 | 0.98861 | -0.21844 | 0.98874 | -0.21582 | 3.6459
32 | -0.076777 | -0.019348 | 0.076871 | 0.019408 | 9.3761e-05 | 5.9767e-05 | 0.11558 | 0.11558 | 0.11558 | 0.98874 | -0.21582 | 0.99006 | -0.19033 | 31.7539
33 | 0.067959 | 0.017138 | -0.067827 | -0.017054 | 0.0001315 | 8.373e-05 | 0.10231 | 0.10231 | 0.10231 | 0.98874 | -0.21582 | 0.98665 | -0.25633 | 28.108
34 | 0.10536 | 0.026773 | -0.10518 | -0.02666 | 0.00017687 | 0.00011295 | 0.15742 | 0.15742 | 0.15742 | 0.9967 | -0.062863 | 0.99487 | -0.097791 | 43.2477
35 | -0.089342 | -0.022833 | 0.089549 | 0.022965 | 0.00020741 | 0.00013235 | 0.13475 | 0.13475 | 0.13475 | 0.98773 | -0.23354 | 0.99023 | -0.18566 | 37.0197
36 | 0.0044566 | 0.0011169 | -0.0044564 | -0.0011169 | 1.5127e-07 | -1.9492e-08 | 0.0066882 | 0.0066882 | 0.0066882 | 0.99151 | -0.16133 | 0.99148 | -0.16204 | 1.8374
37 | 0.0092785 | 0.0023255 | -0.009278 | -0.0023253 | 4.6233e-07 | 2.1564e-07 | 0.014 | 0.014 | 0.014 | 0.98617 | -0.26608 | 0.98611 | -0.26712 | 3.8462
38 | 0.028473 | 0.0071426 | -0.028455 | -0.0071315 | 1.7943e-05 | 1.1153e-05 | 0.042965 | 0.042965 | 0.042965 | 0.98617 | -0.26608 | 0.98549 | -0.27931 | 11.8036
39 | -0.087173 | -0.02199 | 0.08737 | 0.022115 | 0.00019679 | 0.00012555 | 0.13107 | 0.13107 | 0.13107 | 0.99006 | -0.19033 | 0.9925 | -0.14329 | 36.0077
40 | 0.020368 | 0.0051072 | -0.020361 | -0.0051028 | 7.4354e-06 | 4.4904e-06 | 0.030719 | 0.030719 | 0.030719 | 0.98665 | -0.25633 | 0.98626 | -0.264 | 8.4393
41 | 0.039283 | 0.0098975 | -0.039183 | -0.0098346 | 9.9871e-05 | 6.2951e-05 | 0.059264 | 0.059264 | 0.059264 | 0.98665 | -0.25633 | 0.98391 | -0.30963 | 16.2813
42 | 0.008176 | 0.0020493 | -0.008175 | -0.0020489 | 9.5512e-07 | 3.9737e-07 | 0.012331 | 0.012331 | 0.012331 | 0.98665 | -0.25633 | 0.98653 | -0.25879 | 3.3876
43 | 0.096427 | 0.024467 | -0.096216 | -0.024332 | 0.00021052 | 0.00013439 | 0.14433 | 0.14433 | 0.14433 | 0.99487 | -0.097791 | 0.9925 | -0.14329 | 39.6513
44 | 0.0051475 | 0.00129 | -0.0051469 | -0.0012899 | 5.8773e-07 | 4.4592e-08 | 0.0077662 | 0.0077664 | 0.0077664 | 0.98626 | -0.264 | 0.98614 | -0.26639 | 2.1336
45 | 0.024972 | 0.0062727 | -0.024962 | -0.006267 | 9.2653e-06 | 5.7099e-06 | 0.037771 | 0.037771 | 0.037771 | 0.98391 | -0.30963 | 0.98351 | -0.31741 | 10.3766
46 | 0.024962 | 0.006267 | -0.024942 | -0.0062544 | 2.0423e-05 | 1.2587e-05 | 0.037771 | 0.037771 | 0.037771 | 0.98351 | -0.31741 | 0.98264 | -0.33457 | 10.3767
47 | 0.024942 | 0.0062544 | -0.024936 | -0.0062509 | 5.6735e-06 | 3.4967e-06 | 0.037771 | 0.037771 | 0.037771 | 0.98264 | -0.33457 | 0.98239 | -0.33935 | 10.3767
48 | 0.013264 | 0.0033257 | -0.013262 | -0.0033242 | 2.6624e-06 | 1.4813e-06 | 0.020092 | 0.020092 | 0.020092 | 0.98239 | -0.33935 | 0.98218 | -0.34356 | 5.5197
49 | 0.010915 | 0.0027362 | -0.010914 | -0.0027352 | 1.9574e-06 | 1.0112e-06 | 0.016537 | 0.016537 | 0.016537 | 0.98218 | -0.34356 | 0.98198 | -0.34733 | 4.5433

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.45365 | 0.11537

## res_load
| p_mw | q_mvar
0 | 0.0090045 | 0.0022567
1 | 0.0050397 | 0.0012631
2 | 0.0044277 | 0.0011097
3 | 0.0094005 | 0.002356
4 | 0.013061 | 0.0032735
5 | 0.010553 | 0.0026447
6 | 0.012952 | 0.003246
7 | 0.022221 | 0.005569
8 | 0.0096625 | 0.0024217
9 | 0.0087691 | 0.0021977
10 | 0.007114 | 0.0017829
11 | 0.016686 | 0.0041819
12 | 0.032122 | 0.0080505
13 | 0.0028104 | 0.00070435
14 | 0.0072344 | 0.0018131
15 | 0.015329 | 0.0038418
16 | 0.0054132 | 0.0013567
17 | 0.0022452 | 0.00056271
18 | 0.086375 | 0.021648
19 | 0.0088171 | 0.0022098
20 | 0.010486 | 0.0026281
21 | 0.0042615 | 0.001068
22 | 0.0044564 | 0.0011169
23 | 0.0048472 | 0.0012148
24 | 0.010302 | 0.002582
25 | 0.0087525 | 0.0021936
26 | 0.015213 | 0.0038128
27 | 0.014212 | 0.0035618
28 | 0.008175 | 0.0020489
29 | 0.0088463 | 0.0022171
30 | 0.0051469 | 0.0012899
31 | 0.011672 | 0.0029253
32 | 0.028455 | 0.0071315
33 | 0.009278 | 0.0023253
34 | 0.0023461 | 0.000588
35 | 0.010914 | 0.0027352

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1