## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_243-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_243-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_243-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_243-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_243-2_0_3_node_46 | 0.4 | n |  | TRUE
5 | bus_LV_243-2_0_3_node_44 | 0.4 | n |  | TRUE
6 | bus_LV_243-2_0_3_node_54 | 0.4 | n |  | TRUE
7 | bus_LV_243-2_0_3_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_243-2_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_243-2_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_243-2_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_243-2_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_243-2_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_243-2_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_243-2_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_243-2_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_243-2_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_243-2_0_3_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_243-2_0_3_node_63 | 0.4 | n |  | TRUE
19 | bus_LV_243-2_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_243-2_0_3_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_243-2_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_243-2_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_243-2_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_243-2_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_243-2_0_3_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_243-2_0_3_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_243-2_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_243-2_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_243-2_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_243-2_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_243-2_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_243-2_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_243-2_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_243-2_0_3_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_243-2_0_3_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_243-2_0_3_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_243-2_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_243-2_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_243-2_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_243-2_0_3_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_243-2_0_3_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_243-2_0_3_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_243-2_0_3_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_243-2_0_3_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_243-2_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_243-2_0_3_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_243-2_0_3_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_243-2_0_3_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_243-2_0_3_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_243-2_0_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_243-2_0_3_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_243-2_0_3_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_243-2_0_3_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_243-2_0_3_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_243-2_0_3_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_243-2_0_3_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_243-2_0_3_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_243-2_0_3_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_243-2_0_3_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_243-2_0_3_node_51 | 0.4 | n |  | TRUE
61 | bus_MV_515_0_node_120 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_243-2_0_3_load_0 | 0 | 0.012707 | 0.0031846 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_243-2_0_3_load_1 | 1 | 0.014107 | 0.0035355 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_243-2_0_3_load_46 | 4 | 0.0051615 | 0.0012936 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_243-2_0_3_load_44 | 5 | 0.0046499 | 0.0011654 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_243-2_0_3_load_54 | 6 | 0.0055539 | 0.0013919 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_243-2_0_3_load_4 | 8 | 0.0099109 | 0.0024839 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_243-2_0_3_load_8 | 12 | 0.0055449 | 0.0013897 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_243-2_0_3_load_12 | 13 | 0.015276 | 0.0038285 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_243-2_0_3_load_9 | 14 | 0.0062075 | 0.0015557 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_243-2_0_3_load_10 | 15 | 0.0031014 | 0.00077727 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_243-2_0_3_load_11 | 16 | 0.00093921 | 0.00023539 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_243-2_0_3_load_63 | 18 | 0.0025285 | 0.00063369 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_243-2_0_3_load_14 | 19 | 0.012636 | 0.0031669 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_243-2_0_3_load_16 | 21 | 0.01706 | 0.0042757 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_243-2_0_3_load_17 | 23 | 0.013826 | 0.0034651 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_243-2_0_3_load_18 | 24 | 0.011492 | 0.0028802 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_243-2_0_3_load_50 | 26 | 0.003517 | 0.00088145 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_243-2_0_3_load_21 | 27 | 0.0042391 | 0.0010624 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_243-2_0_3_load_22 | 28 | 0.0036545 | 0.0009159 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_243-2_0_3_load_24 | 30 | 0.0037423 | 0.00093792 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_243-2_0_3_load_25 | 31 | 0.0021024 | 0.00052692 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_243-2_0_3_load_26 | 32 | 0.0021606 | 0.0005415 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_243-2_0_3_load_27 | 33 | 0.018532 | 0.0046445 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_243-2_0_3_load_43 | 35 | 0.0029117 | 0.00072973 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_243-2_0_3_load_39 | 36 | 0.0026628 | 0.00066736 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_243-2_0_3_load_28 | 37 | 0.0019019 | 0.00047665 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_243-2_0_3_load_29 | 38 | 0.0022991 | 0.00057622 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_243-2_0_3_load_30 | 39 | 0.001893 | 0.00047443 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_243-2_0_3_load_32 | 41 | 0.0019254 | 0.00048255 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_243-2_0_3_load_42 | 42 | 0.0020856 | 0.00052271 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_243-2_0_3_load_56 | 43 | 0.0021187 | 0.000531 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_243-2_0_3_load_62 | 44 | 0.0016181 | 0.00040555 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_243-2_0_3_load_40 | 45 | 0.0022263 | 0.00055797 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_243-2_0_3_load_57 | 46 | 0.0033905 | 0.00084974 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_243-2_0_3_load_53 | 47 | 0.0017853 | 0.00044744 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_243-2_0_3_load_33 | 48 | 0.0099949 | 0.002505 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_243-2_0_3_load_34 | 49 | 0.0074478 | 0.0018666 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_243-2_0_3_load_36 | 51 | 0.0070897 | 0.0017768 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_243-2_0_3_load_38 | 53 | 0.0014074 | 0.00035273 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_243-2_0_3_load_58 | 54 | 0.0035801 | 0.00089725 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_243-2_0_3_load_59 | 56 | 0.0008411 | 0.0002108 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_243-2_0_3_load_55 | 58 | 0.01345 | 0.0033709 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_243-2_0_3_load_49 | 59 | 0.0016562 | 0.00041509 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_243-2_0_3_load_51 | 60 | 0.0017019 | 0.00042655 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_243-2_0_3_line_0 |  | 0 | 1 | 0.050858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_243-2_0_3_line_1 |  | 0 | 2 | 0.025182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_243-2_0_3_line_2 |  | 2 | 3 | 0.027297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_243-2_0_3_line_3 |  | 3 | 4 | 0.022192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_243-2_0_3_line_4 |  | 3 | 5 | 0.015089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_243-2_0_3_line_5 |  | 4 | 6 | 0.011144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_243-2_0_3_line_6 |  | 5 | 7 | 0.022848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_243-2_0_3_line_7 |  | 6 | 58 | 0.014952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_243-2_0_3_line_8 |  | 7 | 57 | 0.006658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_243-2_0_3_line_9 |  | 7 | 17 | 0.013644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_243-2_0_3_line_10 |  | 8 | 9 | 0.032571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_243-2_0_3_line_11 |  | 8 | 10 | 0.012642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_243-2_0_3_line_12 |  | 9 | 11 | 0.050721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_243-2_0_3_line_13 |  | 10 | 12 | 0.0156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_243-2_0_3_line_14 |  | 11 | 13 | 0.0080809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_243-2_0_3_line_15 |  | 12 | 14 | 0.02793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_243-2_0_3_line_16 |  | 14 | 15 | 0.039036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_243-2_0_3_line_17 |  | 15 | 16 | 0.014318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_243-2_0_3_line_18 |  | 16 | 17 | 0.0062689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_243-2_0_3_line_19 |  | 17 | 18 | 0.0069354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_243-2_0_3_line_20 |  | 19 | 20 | 0.027657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_243-2_0_3_line_21 |  | 20 | 21 | 0.045278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_243-2_0_3_line_22 |  | 21 | 22 | 0.023152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_243-2_0_3_line_23 |  | 22 | 23 | 0.074719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_243-2_0_3_line_24 |  | 22 | 24 | 0.026187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_243-2_0_3_line_25 |  | 24 | 25 | 0.012488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_243-2_0_3_line_26 |  | 25 | 26 | 0.01994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_243-2_0_3_line_27 |  | 26 | 59 | 0.0068546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_243-2_0_3_line_28 |  | 27 | 28 | 0.016977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_243-2_0_3_line_29 |  | 27 | 29 | 0.010883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_243-2_0_3_line_30 |  | 28 | 30 | 0.0038253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_243-2_0_3_line_31 |  | 29 | 31 | 0.0096373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_243-2_0_3_line_32 |  | 31 | 32 | 0.019259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_243-2_0_3_line_33 |  | 32 | 33 | 0.00012824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_243-2_0_3_line_34 |  | 33 | 34 | 0.028458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_243-2_0_3_line_35 |  | 34 | 35 | 0.015065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_243-2_0_3_line_36 |  | 34 | 36 | 0.012909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_243-2_0_3_line_37 |  | 36 | 45 | 0.026484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_243-2_0_3_line_38 |  | 37 | 38 | 0.00081303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_243-2_0_3_line_39 |  | 37 | 39 | 0.017187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_243-2_0_3_line_40 |  | 38 | 40 | 0.02888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_243-2_0_3_line_41 |  | 39 | 41 | 0.0020081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_243-2_0_3_line_42 |  | 40 | 42 | 0.015297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_243-2_0_3_line_43 |  | 40 | 43 | 0.014363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_243-2_0_3_line_44 |  | 41 | 44 | 0.0069572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_243-2_0_3_line_45 |  | 42 | 45 | 0.0013117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_243-2_0_3_line_46 |  | 43 | 46 | 0.028124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_243-2_0_3_line_47 |  | 44 | 47 | 0.013448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_243-2_0_3_line_48 |  | 46 | 54 | 0.026083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_243-2_0_3_line_49 |  | 47 | 60 | 0.0032121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_243-2_0_3_line_50 |  | 48 | 49 | 0.033485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_243-2_0_3_line_51 |  | 48 | 50 | 0.031718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_243-2_0_3_line_52 |  | 49 | 51 | 0.0053637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_243-2_0_3_line_53 |  | 50 | 52 | 0.032199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_243-2_0_3_line_54 |  | 50 | 53 | 0.049434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_243-2_0_3_line_55 |  | 52 | 54 | 0.037779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_243-2_0_3_line_56 |  | 53 | 55 | 0.0072997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_243-2_0_3_line_57 |  | 55 | 56 | 0.0085295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_243-2_0_3_line_58 |  | 56 | 57 | 0.01457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_243-2_0_3_line_59 |  | 59 | 60 | 0.0088586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_243-2_0_3_trafo_52 | 0.63 MVA 20/0.4 kV | 61 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2673474.1899 | 1250312.8962 | 2673466.0091 | 1250300.5927 | 2673458.3469 | 1250280.4498 | 2673454.4872 | 1250266.4393
1 | 2673487.3563 | 1250334.315 | 2673486.4774 | 1250332.1358 | 2673480.0092 | 1250321.6481 | 2673474.1899 | 1250312.8962
2 | 2673487.3563 | 1250334.315 | 2673500.1139 | 1250331.371 | 2673514.0656 | 1250328.3196
3 | 2673514.0656 | 1250328.3196 | 2673511.9636 | 1250321.8888 | 2673502.697 | 1250309.5553
4 | 2673514.0656 | 1250328.3196 | 2673521.9141 | 1250326.738 | 2673528.741 | 1250324.8516
5 | 2673502.697 | 1250309.5553 | 2673496.0028 | 1250300.6455
6 | 2673551.1193 | 1250320.3845 | 2673535.7395 | 1250322.9178 | 2673528.741 | 1250324.8516
7 | 2673487.0213 | 1250288.6914 | 2673496.0028 | 1250300.6455
8 | 2673551.1193 | 1250320.3845 | 2673557.75 | 1250319.5996
9 | 2673552.9899 | 1250333.8953 | 2673552.3427 | 1250328.8614 | 2673551.7844 | 1250325.7967 | 2673551.1193 | 1250320.3845
10 | 2673420.9711 | 1250376.5007 | 2673425.3816 | 1250377.5894 | 2673430.1767 | 1250378.7163 | 2673432.5048 | 1250378.4894 | 2673441.2071 | 1250375.0169 | 2673449.6911 | 1250368.4506 | 2673450.0612 | 1250367.8976
11 | 2673452.6721 | 1250356.3566 | 2673453.5064 | 1250362.7493 | 2673450.0612 | 1250367.8976
12 | 2673405.4692 | 1250335.9016 | 2673405.1088 | 1250346.1045 | 2673406.0864 | 1250351.287 | 2673407.3267 | 1250357.2067 | 2673408.4405 | 1250362.3575 | 2673407.8715 | 1250363.8071 | 2673407.4804 | 1250367.9497 | 2673408.7827 | 1250371.9131 | 2673411.56 | 1250375.0275 | 2673415.3509 | 1250376.7757 | 2673418.1787 | 1250377.0332 | 2673420.9711 | 1250376.5007
13 | 2673452.6721 | 1250356.3566 | 2673462.2516 | 1250352.7727 | 2673467.4172 | 1250351.2967
14 | 2673405.4692 | 1250335.9016 | 2673404.3804 | 1250327.8944
15 | 2673494.3364 | 1250343.8678 | 2673488.6932 | 1250345.2172 | 2673467.4172 | 1250351.2967
16 | 2673494.3364 | 1250343.8678 | 2673521.4498 | 1250337.3844 | 2673532.5568 | 1250336.3145
17 | 2673546.8089 | 1250334.9416 | 2673532.5568 | 1250336.3145
18 | 2673552.9899 | 1250333.8953 | 2673546.8089 | 1250334.9416
19 | 2673552.9899 | 1250333.8953 | 2673559.8612 | 1250332.954
20 | 2673375.6497 | 1250206.5835 | 2673378.8818 | 1250215.0518 | 2673385.3233 | 1250232.493
21 | 2673375.6497 | 1250206.5835 | 2673385.4394 | 1250201.8901 | 2673408.2424 | 1250192.5212 | 2673417.2595 | 1250189.2639 | 2673417.4302 | 1250189.2023
22 | 2673439.2066 | 1250181.3411 | 2673417.4302 | 1250189.2023
23 | 2673439.2066 | 1250181.3411 | 2673437.8015 | 1250176.5425 | 2673442.9688 | 1250174.4494 | 2673440.7667 | 1250123.7077 | 2673441.7144 | 1250110.3873
24 | 2673439.2066 | 1250181.3411 | 2673463.699 | 1250172.0728
25 | 2673475.5343 | 1250168.0928 | 2673465.2396 | 1250171.4899 | 2673463.699 | 1250172.0728
26 | 2673475.5343 | 1250168.0928 | 2673494.2886 | 1250161.3181
27 | 2673500.7355 | 1250158.9893 | 2673494.2886 | 1250161.3181
28 | 2673479.2209 | 1250108.5981 | 2673494.9489 | 1250102.2057
29 | 2673505.0314 | 1250098.1079 | 2673494.9489 | 1250102.2057
30 | 2673475.6938 | 1250110.0782 | 2673477.3423 | 1250109.3617 | 2673479.2209 | 1250108.5981
31 | 2673505.0314 | 1250098.1079 | 2673514.0823 | 1250094.7976
32 | 2673514.0823 | 1250094.7976 | 2673532.1699 | 1250088.1822
33 | 2673532.2903 | 1250088.1381 | 2673532.1699 | 1250088.1822
34 | 2673559.0165 | 1250078.3632 | 2673532.2903 | 1250088.1381
35 | 2673559.0165 | 1250078.3632 | 2673573.6374 | 1250074.7308
36 | 2673559.0165 | 1250078.3632 | 2673563.2707 | 1250090.5511
37 | 2673563.2707 | 1250090.5511 | 2673571.9984 | 1250115.5554
38 | 2673550.0577 | 1250141.0558 | 2673549.2984 | 1250141.3463
39 | 2673549.2984 | 1250141.3463 | 2673540.1014 | 1250144.8655 | 2673533.1925 | 1250147.342
40 | 2673577.2335 | 1250131.3164 | 2673567.4029 | 1250134.4189 | 2673550.0577 | 1250141.0558
41 | 2673531.3022 | 1250148.0196 | 2673533.1925 | 1250147.342
42 | 2673577.2335 | 1250131.3164 | 2673573.5756 | 1250120.074 | 2673572.4306 | 1250116.7938
43 | 2673577.2335 | 1250131.3164 | 2673582.1058 | 1250144.8272
44 | 2673524.7531 | 1250150.3672 | 2673531.3022 | 1250148.0196
45 | 2673571.9984 | 1250115.5554 | 2673572.4306 | 1250116.7938
46 | 2673582.1058 | 1250144.8272 | 2673591.6467 | 1250171.2837
47 | 2673512.0942 | 1250154.905 | 2673524.7531 | 1250150.3672
48 | 2673591.6467 | 1250171.2837 | 2673592.2172 | 1250172.8657 | 2673599.6605 | 1250192.9838 | 2673600.9159 | 1250195.6541
49 | 2673512.0942 | 1250154.905 | 2673509.0705 | 1250155.9888
50 | 2673576.0857 | 1250235.147 | 2673563.1911 | 1250225.5324 | 2673547.5486 | 1250217.9098
51 | 2673601.5133 | 1250254.1065 | 2673576.0857 | 1250235.147
52 | 2673542.7269 | 1250215.5602 | 2673547.5486 | 1250217.9098
53 | 2673601.5133 | 1250254.1065 | 2673620.2677 | 1250227.8982
54 | 2673601.5133 | 1250254.1065 | 2673579.1975 | 1250283.195 | 2673571.9835 | 1250293.7344
55 | 2673620.2677 | 1250227.8982 | 2673615.7875 | 1250221.4713 | 2673608.4575 | 1250211.6954 | 2673600.9159 | 1250195.6541
56 | 2673567.714 | 1250299.6532 | 2673570.232 | 1250296.2932 | 2673571.9835 | 1250293.7344
57 | 2673567.714 | 1250299.6532 | 2673562.7493 | 1250303.6723 | 2673562.1876 | 1250305.7393
58 | 2673557.75 | 1250319.5996 | 2673558.8078 | 1250317.0998 | 2673560.819 | 1250310.7757 | 2673562.1876 | 1250305.7393
59 | 2673500.7355 | 1250158.9893 | 2673505.3233 | 1250157.3321 | 2673509.0705 | 1250155.9888

## bus_geodata
| x | y | coords
0 | 2673474.1899 | 1250312.8962
1 | 2673454.4872 | 1250266.4393
2 | 2673487.3563 | 1250334.315
3 | 2673514.0656 | 1250328.3196
4 | 2673502.697 | 1250309.5553
5 | 2673528.741 | 1250324.8516
6 | 2673496.0028 | 1250300.6455
7 | 2673551.1193 | 1250320.3845
8 | 2673450.0612 | 1250367.8976
9 | 2673420.9711 | 1250376.5007
10 | 2673452.6721 | 1250356.3566
11 | 2673405.4692 | 1250335.9016
12 | 2673467.4172 | 1250351.2967
13 | 2673404.3804 | 1250327.8944
14 | 2673494.3364 | 1250343.8678
15 | 2673532.5568 | 1250336.3145
16 | 2673546.8089 | 1250334.9416
17 | 2673552.9899 | 1250333.8953
18 | 2673559.8612 | 1250332.954
19 | 2673385.3233 | 1250232.493
20 | 2673375.6497 | 1250206.5835
21 | 2673417.4302 | 1250189.2023
22 | 2673439.2066 | 1250181.3411
23 | 2673441.7144 | 1250110.3873
24 | 2673463.699 | 1250172.0728
25 | 2673475.5343 | 1250168.0928
26 | 2673494.2886 | 1250161.3181
27 | 2673494.9489 | 1250102.2057
28 | 2673479.2209 | 1250108.5981
29 | 2673505.0314 | 1250098.1079
30 | 2673475.6938 | 1250110.0782
31 | 2673514.0823 | 1250094.7976
32 | 2673532.1699 | 1250088.1822
33 | 2673532.2903 | 1250088.1381
34 | 2673559.0165 | 1250078.3632
35 | 2673573.6374 | 1250074.7308
36 | 2673563.2707 | 1250090.5511
37 | 2673549.2984 | 1250141.3463
38 | 2673550.0577 | 1250141.0558
39 | 2673533.1925 | 1250147.342
40 | 2673577.2335 | 1250131.3164
41 | 2673531.3022 | 1250148.0196
42 | 2673572.4306 | 1250116.7938
43 | 2673582.1058 | 1250144.8272
44 | 2673524.7531 | 1250150.3672
45 | 2673571.9984 | 1250115.5554
46 | 2673591.6467 | 1250171.2837
47 | 2673512.0942 | 1250154.905
48 | 2673576.0857 | 1250235.147
49 | 2673547.5486 | 1250217.9098
50 | 2673601.5133 | 1250254.1065
51 | 2673542.7269 | 1250215.5602
52 | 2673620.2677 | 1250227.8982
53 | 2673571.9835 | 1250293.7344
54 | 2673600.9159 | 1250195.6541
55 | 2673567.714 | 1250299.6532
56 | 2673562.1876 | 1250305.7393
57 | 2673557.75 | 1250319.5996
58 | 2673487.0213 | 1250288.6914
59 | 2673500.7355 | 1250158.9893
60 | 2673509.0705 | 1250155.9888
61 | 2673439.2066 | 1250181.3411

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9733 | -0.51431 | 0.012707 | 0.0031846
1 | 0.97263 | -0.52752 | 0.014107 | 0.0035355
2 | 0.97392 | -0.5019 | 0 | 0
3 | 0.97461 | -0.48846 | 0 | 0
4 | 0.97411 | -0.4983 | 0.0051615 | 0.0012936
5 | 0.97532 | -0.47435 | 0.0046499 | 0.0011654
6 | 0.97391 | -0.50219 | 0.0055539 | 0.0013919
7 | 0.97651 | -0.45109 | 0 | 0
8 | 0.97237 | -0.53252 | 0.0099109 | 0.0024839
9 | 0.97191 | -0.54169 | 0 | 0
10 | 0.97267 | -0.52665 | 0 | 0
11 | 0.97118 | -0.556 | 0 | 0
12 | 0.97303 | -0.51941 | 0.0055449 | 0.0013897
13 | 0.97107 | -0.55828 | 0.015276 | 0.0038285
14 | 0.97383 | -0.50362 | 0.0062075 | 0.0015557
15 | 0.97518 | -0.47715 | 0.0031014 | 0.00077727
16 | 0.97571 | -0.46665 | 0.00093921 | 0.00023539
17 | 0.97595 | -0.46195 | 0 | 0
18 | 0.97594 | -0.46227 | 0.0025285 | 0.00063369
19 | 0.99688 | -0.06008 | 0.012636 | 0.0031669
20 | 0.99719 | -0.053953 | 0 | 0
21 | 0.99771 | -0.043928 | 0.01706 | 0.0042757
22 | 0.99834 | -0.031896 | 0 | 0
23 | 0.9974 | -0.04998 | 0.013826 | 0.0034651
24 | 0.99938 | -0.011983 | 0.011492 | 0.0028802
25 | 1 | 0 | -0.25805 | -0.065705
26 | 0.99817 | -0.034412 | 0.003517 | 0.00088145
27 | 0.98714 | -0.24553 | 0.0042391 | 0.0010624
28 | 0.98703 | -0.24778 | 0.0036545 | 0.0009159
29 | 0.98726 | -0.24326 | 0 | 0
30 | 0.98701 | -0.24803 | 0.0037423 | 0.00093792
31 | 0.98736 | -0.24126 | 0.0021024 | 0.00052692
32 | 0.9876 | -0.23653 | 0.0021606 | 0.0005415
33 | 0.98761 | -0.23649 | 0.018532 | 0.0046445
34 | 0.98851 | -0.219 | 0 | 0
35 | 0.98847 | -0.21978 | 0.0029117 | 0.00072973
36 | 0.98895 | -0.2104 | 0.0026628 | 0.00066736
37 | 0.99307 | -0.13131 | 0.0019019 | 0.00047665
38 | 0.993 | -0.13261 | 0.0022991 | 0.00057622
39 | 0.99453 | -0.10347 | 0.001893 | 0.00047443
40 | 0.99059 | -0.1785 | 0 | 0
41 | 0.9947 | -0.10019 | 0.0019254 | 0.00048255
42 | 0.98997 | -0.19055 | 0.0020856 | 0.00052271
43 | 0.98969 | -0.19574 | 0.0021187 | 0.000531
44 | 0.9953 | -0.088713 | 0.0016181 | 0.00040555
45 | 0.98992 | -0.19154 | 0.0022263 | 0.00055797
46 | 0.98795 | -0.22906 | 0.0033905 | 0.00084974
47 | 0.99648 | -0.066381 | 0.0017853 | 0.00044744
48 | 0.98156 | -0.35261 | 0.0099949 | 0.002505
49 | 0.98111 | -0.36142 | 0.0074478 | 0.0018666
50 | 0.98228 | -0.33854 | 0 | 0
51 | 0.98108 | -0.36211 | 0.0070897 | 0.0017768
52 | 0.98417 | -0.30199 | 0 | 0
53 | 0.97994 | -0.38392 | 0.0014074 | 0.00035273
54 | 0.98638 | -0.25927 | 0.0035801 | 0.00089725
55 | 0.97926 | -0.39718 | 0 | 0
56 | 0.97847 | -0.41269 | 0.0008411 | 0.0002108
57 | 0.97712 | -0.43903 | 0 | 0
58 | 0.97372 | -0.50589 | 0.01345 | 0.0033709
59 | 0.99756 | -0.046059 | 0.0016562 | 0.00041509
60 | 0.99677 | -0.061004 | 0.0017019 | 0.00042655
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.014116 | 0.0035406 | -0.014107 | -0.0035355 | 8.8834e-06 | 5.0537e-06 | 0.021582 | 0.021582 | 0.021582 | 0.9733 | -0.51431 | 0.97263 | -0.52752 | 5.9292
1 | -0.026822 | -0.0067252 | 0.026838 | 0.006735 | 1.588e-05 | 9.8502e-06 | 0.041008 | 0.041008 | 0.041008 | 0.9733 | -0.51431 | 0.97392 | -0.5019 | 11.266
2 | -0.026838 | -0.006735 | 0.026856 | 0.0067457 | 1.7214e-05 | 1.0677e-05 | 0.041008 | 0.041008 | 0.041008 | 0.97392 | -0.5019 | 0.97461 | -0.48846 | 11.266
3 | 0.024183 | 0.0060668 | -0.024171 | -0.0060599 | 1.1346e-05 | 6.9851e-06 | 0.036924 | 0.036924 | 0.036924 | 0.97461 | -0.48846 | 0.97411 | -0.4983 | 10.144
4 | -0.051038 | -0.012813 | 0.051073 | 0.012834 | 3.4365e-05 | 2.1806e-05 | 0.077932 | 0.077932 | 0.077932 | 0.97461 | -0.48846 | 0.97532 | -0.47435 | 21.4099
5 | 0.01901 | 0.0047663 | -0.019006 | -0.0047642 | 3.5243e-06 | 2.1168e-06 | 0.02904 | 0.02904 | 0.02904 | 0.97411 | -0.4983 | 0.97391 | -0.50219 | 7.9779
6 | -0.055722 | -0.014 | 0.055784 | 0.014039 | 6.1941e-05 | 3.9357e-05 | 0.085026 | 0.085026 | 0.085026 | 0.97532 | -0.47435 | 0.97651 | -0.45109 | 23.3588
7 | 0.013452 | 0.0033722 | -0.01345 | -0.0033709 | 2.3688e-06 | 1.33e-06 | 0.020554 | 0.020554 | 0.020554 | 0.97391 | -0.50219 | 0.97372 | -0.50589 | 5.6467
8 | -0.099449 | -0.025041 | 0.099507 | 0.025077 | 5.737e-05 | 3.6633e-05 | 0.15158 | 0.15158 | 0.15158 | 0.97651 | -0.45109 | 0.97712 | -0.43903 | 41.644
9 | 0.043665 | 0.011002 | -0.043642 | -0.010987 | 2.2666e-05 | 1.4336e-05 | 0.066558 | 0.066558 | 0.066558 | 0.97651 | -0.45109 | 0.97595 | -0.46195 | 18.2852
10 | 0.015295 | 0.0038394 | -0.015288 | -0.0038355 | 6.6923e-06 | 3.8793e-06 | 0.023408 | 0.023408 | 0.023408 | 0.97237 | -0.53252 | 0.97191 | -0.54169 | 6.4307
11 | -0.025206 | -0.0063233 | 0.025213 | 0.0063276 | 7.0539e-06 | 4.3576e-06 | 0.038574 | 0.038574 | 0.038574 | 0.97237 | -0.53252 | 0.97267 | -0.52665 | 10.5973
12 | 0.015288 | 0.0038355 | -0.015278 | -0.0038295 | 1.0422e-05 | 6.0419e-06 | 0.023408 | 0.023408 | 0.023408 | 0.97191 | -0.54169 | 0.97118 | -0.556 | 6.4308
13 | -0.025213 | -0.0063276 | 0.025221 | 0.006333 | 8.7048e-06 | 5.3773e-06 | 0.038574 | 0.038574 | 0.038574 | 0.97267 | -0.52665 | 0.97303 | -0.51941 | 10.5973
14 | 0.015278 | 0.0038295 | -0.015276 | -0.0038285 | 1.6604e-06 | 9.6268e-07 | 0.023408 | 0.023408 | 0.023408 | 0.97118 | -0.556 | 0.97107 | -0.55828 | 6.4308
15 | -0.030766 | -0.0077227 | 0.030789 | 0.0077372 | 2.3189e-05 | 1.4494e-05 | 0.047054 | 0.047053 | 0.047054 | 0.97303 | -0.51941 | 0.97383 | -0.50362 | 12.9268
16 | -0.036997 | -0.0092929 | 0.037044 | 0.0093224 | 4.6794e-05 | 2.9462e-05 | 0.056539 | 0.056538 | 0.056539 | 0.97383 | -0.50362 | 0.97518 | -0.47715 | 15.5326
17 | -0.040145 | -0.0101 | 0.040165 | 0.010112 | 2.0157e-05 | 1.2722e-05 | 0.061271 | 0.061271 | 0.061271 | 0.97518 | -0.47715 | 0.97571 | -0.46665 | 16.8326
18 | -0.041104 | -0.010348 | 0.041114 | 0.010354 | 9.2427e-06 | 5.837e-06 | 0.062703 | 0.062703 | 0.062703 | 0.97571 | -0.46665 | 0.97595 | -0.46195 | 17.2261
19 | 0.0025285 | 0.00063363 | -0.0025285 | -0.00063369 | 3.8653e-08 | -6.1925e-08 | 0.0038551 | 0.0038552 | 0.0038552 | 0.97595 | -0.46195 | 0.97594 | -0.46227 | 1.0591
20 | -0.012636 | -0.0031669 | 0.01264 | 0.0031689 | 3.6897e-06 | 2.0007e-06 | 0.018862 | 0.018862 | 0.018862 | 0.99688 | -0.06008 | 0.99719 | -0.053953 | 5.1818
21 | -0.01264 | -0.0031689 | 0.012646 | 0.0031722 | 6.0405e-06 | 3.2749e-06 | 0.018862 | 0.018861 | 0.018862 | 0.99719 | -0.053953 | 0.99771 | -0.043928 | 5.1817
22 | -0.029706 | -0.0074479 | 0.029723 | 0.0074585 | 1.7043e-05 | 1.0605e-05 | 0.044306 | 0.044306 | 0.044306 | 0.99771 | -0.043928 | 0.99834 | -0.031896 | 12.1719
23 | 0.013838 | 0.0034717 | -0.013826 | -0.0034651 | 1.1921e-05 | 6.6534e-06 | 0.020626 | 0.020627 | 0.020627 | 0.99834 | -0.031896 | 0.9974 | -0.04998 | 5.6667
24 | -0.043561 | -0.01093 | 0.043602 | 0.010956 | 4.1404e-05 | 2.6156e-05 | 0.064932 | 0.064932 | 0.064932 | 0.99834 | -0.031896 | 0.99938 | -0.011983 | 17.8384
25 | -0.055095 | -0.013837 | 0.055126 | 0.013857 | 3.1521e-05 | 2.001e-05 | 0.082043 | 0.082043 | 0.082043 | 0.99938 | -0.011983 | 1 | 0 | 22.5393
26 | 0.20127 | 0.051848 | -0.20093 | -0.051633 | 0.00033648 | 0.00021483 | 0.29999 | 0.29999 | 0.29999 | 1 | 0 | 0.99817 | -0.034412 | 41.208
27 | 0.19742 | 0.050752 | -0.19731 | -0.05068 | 0.00011166 | 7.1283e-05 | 0.29475 | 0.29475 | 0.29475 | 0.99817 | -0.034412 | 0.99756 | -0.046059 | 40.4878
28 | 0.0073977 | 0.0018541 | -0.0073969 | -0.0018538 | 7.9168e-07 | 2.8966e-07 | 0.011151 | 0.011151 | 0.011151 | 0.98714 | -0.24553 | 0.98703 | -0.24778 | 3.0635
29 | -0.011637 | -0.0029165 | 0.011638 | 0.0029172 | 1.2558e-06 | 6.6455e-07 | 0.017541 | 0.017541 | 0.017541 | 0.98714 | -0.24553 | 0.98726 | -0.24326 | 4.819
30 | 0.0037424 | 0.0009379 | -0.0037423 | -0.00093792 | 4.5662e-08 | -1.9668e-08 | 0.0056419 | 0.0056419 | 0.0056419 | 0.98703 | -0.24778 | 0.98701 | -0.24803 | 1.55
31 | -0.011638 | -0.0029172 | 0.011639 | 0.0029177 | 1.112e-06 | 5.8843e-07 | 0.017541 | 0.017541 | 0.017541 | 0.98726 | -0.24326 | 0.98736 | -0.24126 | 4.819
32 | -0.013742 | -0.0034447 | 0.013745 | 0.0034464 | 3.0975e-06 | 1.736e-06 | 0.02071 | 0.02071 | 0.02071 | 0.98736 | -0.24126 | 0.9876 | -0.23653 | 5.6895
33 | -0.015905 | -0.0039879 | 0.015905 | 0.0039879 | 2.7619e-08 | 1.6035e-08 | 0.023965 | 0.023965 | 0.023965 | 0.9876 | -0.23653 | 0.98761 | -0.23649 | 6.5838
34 | -0.034437 | -0.0086324 | 0.034466 | 0.0086505 | 2.873e-05 | 1.8023e-05 | 0.051887 | 0.051886 | 0.051887 | 0.98761 | -0.23649 | 0.98851 | -0.219 | 14.2546
35 | 0.0029118 | 0.00072961 | -0.0029117 | -0.00072973 | 1.0854e-07 | -1.2366e-07 | 0.0043831 | 0.0043832 | 0.0043832 | 0.98851 | -0.219 | 0.98847 | -0.21978 | 1.2042
36 | -0.037378 | -0.0093801 | 0.037393 | 0.0093897 | 1.5328e-05 | 9.6441e-06 | 0.05627 | 0.05627 | 0.05627 | 0.98851 | -0.219 | 0.98895 | -0.2104 | 15.4587
37 | -0.040056 | -0.010057 | 0.040092 | 0.01008 | 3.6083e-05 | 2.2753e-05 | 0.060276 | 0.060276 | 0.060276 | 0.98895 | -0.2104 | 0.98992 | -0.19154 | 16.5594
38 | 0.18404 | 0.04705 | -0.18403 | -0.047043 | 1.162e-05 | 7.416e-06 | 0.27609 | 0.27609 | 0.27609 | 0.99307 | -0.13131 | 0.993 | -0.13261 | 37.9249
39 | -0.18594 | -0.047527 | 0.18619 | 0.047687 | 0.00025074 | 0.00016003 | 0.27894 | 0.27894 | 0.27894 | 0.99307 | -0.13131 | 0.99453 | -0.10347 | 38.3164
40 | 0.18173 | 0.046466 | -0.18132 | -0.046209 | 0.00040254 | 0.00025688 | 0.27265 | 0.27265 | 0.27265 | 0.993 | -0.13261 | 0.99059 | -0.1785 | 37.4517
41 | -0.18808 | -0.048161 | 0.18811 | 0.04818 | 2.9894e-05 | 1.908e-05 | 0.28178 | 0.28178 | 0.28178 | 0.99453 | -0.10347 | 0.9947 | -0.10019 | 38.7054
42 | 0.044431 | 0.011178 | -0.044406 | -0.011162 | 2.5564e-05 | 1.6164e-05 | 0.066757 | 0.066757 | 0.066757 | 0.99059 | -0.1785 | 0.98997 | -0.19055 | 18.34
43 | 0.13689 | 0.035032 | -0.13678 | -0.034959 | 0.00011416 | 7.2692e-05 | 0.20589 | 0.20589 | 0.20589 | 0.99059 | -0.1785 | 0.98969 | -0.19574 | 28.2818
44 | -0.19004 | -0.048663 | 0.19014 | 0.04873 | 0.0001057 | 6.7467e-05 | 0.28466 | 0.28466 | 0.28466 | 0.9947 | -0.10019 | 0.9953 | -0.088713 | 39.101
45 | 0.04232 | 0.010639 | -0.042318 | -0.010638 | 1.991e-06 | 1.2574e-06 | 0.063623 | 0.063623 | 0.063623 | 0.98997 | -0.19055 | 0.98992 | -0.19154 | 17.4787
46 | 0.13466 | 0.034428 | -0.13444 | -0.03429 | 0.00021668 | 0.00013795 | 0.20271 | 0.20271 | 0.20271 | 0.98969 | -0.19574 | 0.98795 | -0.22906 | 27.8443
47 | -0.19176 | -0.049136 | 0.19197 | 0.049268 | 0.0002078 | 0.00013264 | 0.28707 | 0.28707 | 0.28707 | 0.9953 | -0.088713 | 0.99648 | -0.066381 | 39.4333
48 | 0.13105 | 0.03344 | -0.13086 | -0.033319 | 0.00019096 | 0.00012155 | 0.1976 | 0.1976 | 0.1976 | 0.98795 | -0.22906 | 0.98638 | -0.25927 | 27.1429
49 | -0.19376 | -0.049716 | 0.19381 | 0.049748 | 5.056e-05 | 3.2275e-05 | 0.28974 | 0.28974 | 0.28974 | 0.99648 | -0.066381 | 0.99677 | -0.061004 | 39.7995
50 | 0.014544 | 0.003647 | -0.014538 | -0.0036435 | 6.1046e-06 | 3.4839e-06 | 0.022049 | 0.022049 | 0.022049 | 0.98156 | -0.35261 | 0.98111 | -0.36142 | 6.0574
51 | -0.024539 | -0.006152 | 0.024555 | 0.0061621 | 1.646e-05 | 1.0133e-05 | 0.037201 | 0.037201 | 0.037201 | 0.98156 | -0.35261 | 0.98228 | -0.33854 | 10.22
52 | 0.0070899 | 0.0017769 | -0.0070897 | -0.0017768 | 2.3257e-07 | 8.1113e-08 | 0.010753 | 0.010753 | 0.010753 | 0.98111 | -0.36142 | 0.98108 | -0.36211 | 2.9541
53 | -0.1268 | -0.032113 | 0.12702 | 0.032255 | 0.00022302 | 0.00014192 | 0.1922 | 0.1922 | 0.1922 | 0.98228 | -0.33854 | 0.98417 | -0.30199 | 26.4011
54 | 0.10224 | 0.025951 | -0.10202 | -0.02581 | 0.00022269 | 0.00014127 | 0.155 | 0.155 | 0.155 | 0.98228 | -0.33854 | 0.97994 | -0.38392 | 21.2912
55 | -0.12702 | -0.032255 | 0.12728 | 0.032421 | 0.00026167 | 0.00016651 | 0.1922 | 0.1922 | 0.1922 | 0.98417 | -0.30199 | 0.98638 | -0.25927 | 26.4011
56 | 0.10061 | 0.025457 | -0.10055 | -0.025416 | 6.3965e-05 | 4.0846e-05 | 0.15286 | 0.15286 | 0.15286 | 0.97994 | -0.38392 | 0.97926 | -0.39718 | 41.9954
57 | 0.10055 | 0.025416 | -0.10047 | -0.025368 | 7.4741e-05 | 4.7727e-05 | 0.15286 | 0.15286 | 0.15286 | 0.97926 | -0.39718 | 0.97847 | -0.41269 | 41.9954
58 | 0.099632 | 0.025157 | -0.099507 | -0.025077 | 0.00012554 | 8.0164e-05 | 0.15158 | 0.15158 | 0.15158 | 0.97847 | -0.41269 | 0.97712 | -0.43903 | 41.644
59 | 0.19565 | 0.050265 | -0.19551 | -0.050175 | 0.00014189 | 9.0582e-05 | 0.29228 | 0.29228 | 0.29228 | 0.99756 | -0.046059 | 0.99677 | -0.061004 | 40.1485

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.25805 | 0.065705

## res_load
| p_mw | q_mvar
0 | 0.012707 | 0.0031846
1 | 0.014107 | 0.0035355
2 | 0.0051615 | 0.0012936
3 | 0.0046499 | 0.0011654
4 | 0.0055539 | 0.0013919
5 | 0.0099109 | 0.0024839
6 | 0.0055449 | 0.0013897
7 | 0.015276 | 0.0038285
8 | 0.0062075 | 0.0015557
9 | 0.0031014 | 0.00077727
10 | 0.00093921 | 0.00023539
11 | 0.0025285 | 0.00063369
12 | 0.012636 | 0.0031669
13 | 0.01706 | 0.0042757
14 | 0.013826 | 0.0034651
15 | 0.011492 | 0.0028802
16 | 0.003517 | 0.00088145
17 | 0.0042391 | 0.0010624
18 | 0.0036545 | 0.0009159
19 | 0.0037423 | 0.00093792
20 | 0.0021024 | 0.00052692
21 | 0.0021606 | 0.0005415
22 | 0.018532 | 0.0046445
23 | 0.0029117 | 0.00072973
24 | 0.0026628 | 0.00066736
25 | 0.0019019 | 0.00047665
26 | 0.0022991 | 0.00057622
27 | 0.001893 | 0.00047443
28 | 0.0019254 | 0.00048255
29 | 0.0020856 | 0.00052271
30 | 0.0021187 | 0.000531
31 | 0.0016181 | 0.00040555
32 | 0.0022263 | 0.00055797
33 | 0.0033905 | 0.00084974
34 | 0.0017853 | 0.00044744
35 | 0.0099949 | 0.002505
36 | 0.0074478 | 0.0018666
37 | 0.0070897 | 0.0017768
38 | 0.0014074 | 0.00035273
39 | 0.0035801 | 0.00089725
40 | 0.0008411 | 0.0002108
41 | 0.01345 | 0.0033709
42 | 0.0016562 | 0.00041509
43 | 0.0017019 | 0.00042655

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1