## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_243-41_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_243-41_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_243-41_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_243-41_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_243-41_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_243-41_0_5_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_243-41_0_5_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_243-41_0_5_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_243-41_0_5_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_243-41_0_5_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_243-41_0_5_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_243-41_0_5_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_243-41_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_243-41_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_243-41_0_5_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_243-41_0_5_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_243-41_0_5_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_243-41_0_5_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_243-41_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_243-41_0_5_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_243-41_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_243-41_0_5_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_243-41_0_5_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_243-41_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_243-41_0_5_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_243-41_0_5_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_243-41_0_5_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_243-41_0_5_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_243-41_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_243-41_0_5_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_243-41_0_5_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_243-41_0_5_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_243-41_0_5_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_243-41_0_5_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_243-41_0_5_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_243-41_0_5_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_243-41_0_5_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_243-41_0_5_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_243-41_0_5_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_243-41_0_5_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_243-41_0_5_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_243-41_0_5_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_243-41_0_5_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_243-41_0_5_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_243-41_0_5_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_243-41_0_5_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_243-41_0_5_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_243-41_0_5_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_243-41_0_5_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_243-41_0_5_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_243-41_0_5_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_243-41_0_5_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_243-41_0_5_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_243-41_0_5_node_55 | 0.4 | n |  | TRUE
54 | bus_MV_515_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_243-41_0_5_load_0 | 0 | 0.052072 | 0.01305 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_243-41_0_5_load_1 | 1 | 0.036886 | 0.0092445 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_243-41_0_5_load_2 | 2 | 0.017131 | 0.0042934 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_243-41_0_5_load_3 | 3 | 0.036124 | 0.0090535 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_243-41_0_5_load_10 | 5 | 0.0044317 | 0.0011107 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_243-41_0_5_load_11 | 8 | 0.0013154 | 0.00032968 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_243-41_0_5_load_9 | 9 | 0.025907 | 0.0064928 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_243-41_0_5_load_5 | 11 | 0.026117 | 0.0065455 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_243-41_0_5_load_6 | 12 | 0.016792 | 0.0042084 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_243-41_0_5_load_8 | 13 | 0.015554 | 0.0038981 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_243-41_0_5_load_20 | 14 | 0.01346 | 0.0033735 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_243-41_0_5_load_36 | 15 | 0.0093312 | 0.0023386 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_243-41_0_5_load_19 | 16 | 0.014379 | 0.0036037 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_243-41_0_5_load_33 | 17 | 0.01042 | 0.0026115 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_243-41_0_5_load_13 | 19 | 0.0024072 | 0.00060331 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_243-41_0_5_load_14 | 20 | 0.027243 | 0.0068277 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_243-41_0_5_load_15 | 23 | 0.0019541 | 0.00048975 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_243-41_0_5_load_25 | 25 | 0.0036892 | 0.0009246 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_243-41_0_5_load_22 | 26 | 0.020242 | 0.0050731 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_243-41_0_5_load_56 | 27 | 0.0019406 | 0.00048637 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_243-41_0_5_load_21 | 28 | 0.0060486 | 0.0015159 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_243-41_0_5_load_43 | 30 | 0.021672 | 0.0054316 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_243-41_0_5_load_41 | 31 | 0.008383 | 0.002101 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_243-41_0_5_load_46 | 33 | 0.020248 | 0.0050745 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_243-41_0_5_load_42 | 34 | 0.006981 | 0.0017496 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_243-41_0_5_load_39 | 35 | 0.0042697 | 0.0010701 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_243-41_0_5_load_26 | 36 | 0.006976 | 0.0017483 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_243-41_0_5_load_27 | 37 | 0.0012582 | 0.00031533 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_243-41_0_5_load_28 | 38 | 0.004337 | 0.0010869 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_243-41_0_5_load_29 | 39 | 0.001787 | 0.00044785 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_243-41_0_5_load_30 | 40 | 0.0093697 | 0.0023483 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_243-41_0_5_load_37 | 41 | 0.0042912 | 0.0010755 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_243-41_0_5_load_38 | 42 | 0.0045889 | 0.0011501 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_243-41_0_5_load_31 | 43 | 0.016371 | 0.0041029 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_243-41_0_5_load_32 | 44 | 0.0018194 | 0.00045598 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_243-41_0_5_load_40 | 45 | 0.0031519 | 0.00078994 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_243-41_0_5_load_53 | 46 | 0.0045716 | 0.0011457 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_243-41_0_5_load_47 | 47 | 0.020578 | 0.0051573 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_243-41_0_5_load_48 | 48 | 0.015151 | 0.0037972 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_243-41_0_5_load_54 | 51 | 0.0019864 | 0.00049783 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_243-41_0_5_load_50 | 52 | 0.01272 | 0.003188 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_243-41_0_5_load_55 | 53 | 0.0072803 | 0.0018246 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_243-41_0_5_line_0 |  | 0 | 1 | 0.031527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_243-41_0_5_line_1 |  | 0 | 2 | 0.0084586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_243-41_0_5_line_2 |  | 1 | 3 | 0.012135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_243-41_0_5_line_3 |  | 2 | 4 | 0.022876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_243-41_0_5_line_4 |  | 3 | 5 | 0.034118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_243-41_0_5_line_5 |  | 4 | 6 | 0.039277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_243-41_0_5_line_6 |  | 4 | 7 | 0.061994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_243-41_0_5_line_7 |  | 5 | 8 | 0.012985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_243-41_0_5_line_8 |  | 6 | 9 | 0.028663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_243-41_0_5_line_9 |  | 7 | 10 | 0.010563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_243-41_0_5_line_10 |  | 8 | 18 | 0.010158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_243-41_0_5_line_11 |  | 9 | 15 | 0.033475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_243-41_0_5_line_12 |  | 10 | 27 | 0.0030125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_243-41_0_5_line_13 |  | 11 | 12 | 0.00093023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_243-41_0_5_line_14 |  | 12 | 13 | 0.014668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_243-41_0_5_line_15 |  | 13 | 14 | 0.0018691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_243-41_0_5_line_16 |  | 14 | 16 | 0.0054823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_243-41_0_5_line_17 |  | 15 | 17 | 0.00029922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_243-41_0_5_line_18 |  | 16 | 28 | 0.014423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_243-41_0_5_line_19 |  | 17 | 44 | 0.035854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_243-41_0_5_line_20 |  | 18 | 19 | 0.030047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_243-41_0_5_line_21 |  | 18 | 20 | 0.02396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_243-41_0_5_line_22 |  | 19 | 21 | 0.028672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_243-41_0_5_line_23 |  | 20 | 22 | 0.036941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_243-41_0_5_line_24 |  | 21 | 23 | 0.013249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_243-41_0_5_line_25 |  | 22 | 24 | 0.029405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_243-41_0_5_line_26 |  | 22 | 25 | 0.020899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_243-41_0_5_line_27 |  | 22 | 26 | 0.017839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_243-41_0_5_line_28 |  | 24 | 29 | 0.006437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_243-41_0_5_line_29 |  | 24 | 30 | 0.025184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_243-41_0_5_line_30 |  | 25 | 31 | 0.0046325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_243-41_0_5_line_31 |  | 26 | 28 | 0.015098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_243-41_0_5_line_32 |  | 29 | 32 | 0.055306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_243-41_0_5_line_33 |  | 29 | 33 | 0.023392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_243-41_0_5_line_34 |  | 30 | 34 | 0.022389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_243-41_0_5_line_35 |  | 31 | 35 | 0.027211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_243-41_0_5_line_36 |  | 32 | 46 | 0.010353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_243-41_0_5_line_37 |  | 33 | 47 | 0.01366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_243-41_0_5_line_38 |  | 35 | 45 | 0.002295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_243-41_0_5_line_39 |  | 36 | 37 | 0.0054894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_243-41_0_5_line_40 |  | 36 | 38 | 0.031092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_243-41_0_5_line_41 |  | 37 | 39 | 0.015184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_243-41_0_5_line_42 |  | 38 | 40 | 0.027235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_243-41_0_5_line_43 |  | 39 | 41 | 0.028033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_243-41_0_5_line_44 |  | 41 | 42 | 0.018495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_243-41_0_5_line_45 |  | 42 | 45 | 0.017147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_243-41_0_5_line_46 |  | 43 | 44 | 0.0055416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_243-41_0_5_line_47 |  | 46 | 51 | 0.010506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_243-41_0_5_line_48 |  | 47 | 48 | 0.03131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_243-41_0_5_line_49 |  | 48 | 49 | 0.017367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_243-41_0_5_line_50 |  | 49 | 50 | 0.047287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_243-41_0_5_line_51 |  | 50 | 52 | 0.038153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_243-41_0_5_line_52 |  | 51 | 53 | 0.0056413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_243-41_0_5_trafo_19 | 0.63 MVA 20/0.4 kV | 54 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2672389.742 | 1250538.3394 | 2672375.9289 | 1250558.5035 | 2672371.1984 | 1250563.7783
1 | 2672389.742 | 1250538.3394 | 2672394.5224 | 1250531.3611
2 | 2672371.1984 | 1250563.7783 | 2672365.3747 | 1250570.272 | 2672362.6936 | 1250572.3835
3 | 2672407.4507 | 1250512.4886 | 2672394.5224 | 1250531.3611
4 | 2672337.3617 | 1250595.1252 | 2672348.8719 | 1250583.2689 | 2672362.6936 | 1250572.3835
5 | 2672377.7947 | 1250486.7301 | 2672385.984 | 1250494.2911 | 2672396.8192 | 1250504.6309 | 2672404.7266 | 1250510.5428 | 2672407.4507 | 1250512.4886
6 | 2672407.4507 | 1250512.4886 | 2672424.3649 | 1250524.5372 | 2672442.0035 | 1250536.5948 | 2672450.4092 | 1250542.4906 | 2672458.1919 | 1250548.1009
7 | 2672337.3617 | 1250595.1252 | 2672328.317 | 1250604.4418
8 | 2672377.7947 | 1250486.7301 | 2672373.1227 | 1250482.937 | 2672367.5798 | 1250476.8983 | 2672358.7093 | 1250465.494
9 | 2672467.275 | 1250553.5381 | 2672458.1919 | 1250548.1009
10 | 2672321.2416 | 1250611.73 | 2672328.317 | 1250604.4418
11 | 2672338.1566 | 1250439.0711 | 2672338.6519 | 1250439.7073 | 2672358.7093 | 1250465.494
12 | 2672467.275 | 1250553.5381 | 2672469.7965 | 1250555.1864
13 | 2672331.5462 | 1250518.0186 | 2672332.3163 | 1250517.4968
14 | 2672331.5462 | 1250518.0186 | 2672319.4025 | 1250526.2459
15 | 2672319.4025 | 1250526.2459 | 2672317.8551 | 1250527.2943
16 | 2672317.8551 | 1250527.2943 | 2672313.3163 | 1250530.3693
17 | 2672337.9729 | 1250438.835 | 2672338.1566 | 1250439.0711
18 | 2672301.6207 | 1250538.7937 | 2672301.6207 | 1250538.7937 | 2672306.3313 | 1250535.0929 | 2672312.6798 | 1250530.8006 | 2672313.3163 | 1250530.3693
19 | 2672337.9729 | 1250438.835 | 2672315.9493 | 1250410.5424
20 | 2672321.2416 | 1250611.73 | 2672338.6104 | 1250627.9536 | 2672343.4274 | 1250631.9818
21 | 2672321.2416 | 1250611.73 | 2672314.2525 | 1250603.5722 | 2672305.3799 | 1250593.7744
22 | 2672365.4228 | 1250650.3748 | 2672343.4274 | 1250631.9818
23 | 2672282.3335 | 1250565.2998 | 2672284.5019 | 1250570.719 | 2672305.3799 | 1250593.7744
24 | 2672365.4228 | 1250650.3748 | 2672367.1216 | 1250644.18 | 2672371.7524 | 1250639.1664
25 | 2672282.3335 | 1250565.2998 | 2672277.8824 | 1250571.8614 | 2672270.4998 | 1250579.2433 | 2672266.3575 | 1250583.3958 | 2672262.9277 | 1250587.3124
26 | 2672282.3335 | 1250565.2998 | 2672280.1553 | 1250558.2014 | 2672271.0782 | 1250548.2439
27 | 2672282.3335 | 1250565.2998 | 2672287.2147 | 1250556.275 | 2672291.7964 | 1250550.238
28 | 2672258.6862 | 1250592.1642 | 2672262.9277 | 1250587.3124
29 | 2672262.9277 | 1250587.3124 | 2672256.825 | 1250578.2648 | 2672247.9001 | 1250567.1294
30 | 2672267.9574 | 1250544.8204 | 2672271.0782 | 1250548.2439
31 | 2672301.6207 | 1250538.7937 | 2672297.8945 | 1250542.8623 | 2672296.7623 | 1250544.0827 | 2672295.0408 | 1250545.963 | 2672291.7964 | 1250550.238
32 | 2672293.1821 | 1250635.1713 | 2672274.5956 | 1250607.9918 | 2672265.937 | 1250599.3022 | 2672258.6862 | 1250592.1642
33 | 2672258.6862 | 1250592.1642 | 2672248.9229 | 1250603.4867 | 2672243.769 | 1250610.1718
34 | 2672234.0335 | 1250549.5523 | 2672241.9752 | 1250559.7372 | 2672247.9001 | 1250567.1294
35 | 2672251.3668 | 1250523.3292 | 2672260.5779 | 1250536.7251 | 2672267.9574 | 1250544.8204
36 | 2672293.1821 | 1250635.1713 | 2672285.4636 | 1250642.0716
37 | 2672243.769 | 1250610.1718 | 2672235.4284 | 1250620.9901
38 | 2672251.3668 | 1250523.3292 | 2672250.0664 | 1250521.4381
39 | 2672237.4243 | 1250440.3917 | 2672236.8573 | 1250445.8518
40 | 2672237.4243 | 1250440.3917 | 2672237.5749 | 1250438.9409 | 2672241.0298 | 1250419.9693 | 2672243.4637 | 1250409.9095
41 | 2672236.8573 | 1250445.8518 | 2672236.1036 | 1250453.111 | 2672235.3125 | 1250460.9568
42 | 2672243.4637 | 1250409.9095 | 2672244.5597 | 1250405.3796 | 2672249.2425 | 1250387.8685 | 2672250.6478 | 1250383.6485
43 | 2672235.3125 | 1250460.9568 | 2672234.1799 | 1250472.1902 | 2672235.6492 | 1250487.2856 | 2672236.1282 | 1250488.7874
44 | 2672236.1282 | 1250488.7874 | 2672240.4628 | 1250502.3774 | 2672242.2764 | 1250506.1992
45 | 2672250.0664 | 1250521.4381 | 2672248.2645 | 1250518.8176 | 2672242.2764 | 1250506.1992
46 | 2672312.416 | 1250406.2769 | 2672314.1756 | 1250408.2638 | 2672315.9493 | 1250410.5424
47 | 2672285.4636 | 1250642.0716 | 2672279.3904 | 1250647.501 | 2672278.5405 | 1250649.7022
48 | 2672235.4284 | 1250620.9901 | 2672216.3117 | 1250645.7862
49 | 2672207.3474 | 1250660.6436 | 2672215.0885 | 1250647.3727 | 2672216.3117 | 1250645.7862
50 | 2672165.3964 | 1250639.006 | 2672167.5184 | 1250640.8109 | 2672184.1117 | 1250649.4525 | 2672197.0601 | 1250655.5146 | 2672207.3474 | 1250660.6436
51 | 2672165.3964 | 1250639.006 | 2672179.1988 | 1250622.0618 | 2672188.301 | 1250608.542
52 | 2672276.5087 | 1250654.9649 | 2672278.5405 | 1250649.7022

## bus_geodata
| x | y | coords
0 | 2672389.742 | 1250538.3394
1 | 2672371.1984 | 1250563.7783
2 | 2672394.5224 | 1250531.3611
3 | 2672362.6936 | 1250572.3835
4 | 2672407.4507 | 1250512.4886
5 | 2672337.3617 | 1250595.1252
6 | 2672377.7947 | 1250486.7301
7 | 2672458.1919 | 1250548.1009
8 | 2672328.317 | 1250604.4418
9 | 2672358.7093 | 1250465.494
10 | 2672467.275 | 1250553.5381
11 | 2672332.3163 | 1250517.4968
12 | 2672331.5462 | 1250518.0186
13 | 2672319.4025 | 1250526.2459
14 | 2672317.8551 | 1250527.2943
15 | 2672338.1566 | 1250439.0711
16 | 2672313.3163 | 1250530.3693
17 | 2672337.9729 | 1250438.835
18 | 2672321.2416 | 1250611.73
19 | 2672343.4274 | 1250631.9818
20 | 2672305.3799 | 1250593.7744
21 | 2672365.4228 | 1250650.3748
22 | 2672282.3335 | 1250565.2998
23 | 2672371.7524 | 1250639.1664
24 | 2672262.9277 | 1250587.3124
25 | 2672271.0782 | 1250548.2439
26 | 2672291.7964 | 1250550.238
27 | 2672469.7965 | 1250555.1864
28 | 2672301.6207 | 1250538.7937
29 | 2672258.6862 | 1250592.1642
30 | 2672247.9001 | 1250567.1294
31 | 2672267.9574 | 1250544.8204
32 | 2672293.1821 | 1250635.1713
33 | 2672243.769 | 1250610.1718
34 | 2672234.0335 | 1250549.5523
35 | 2672251.3668 | 1250523.3292
36 | 2672237.4243 | 1250440.3917
37 | 2672236.8573 | 1250445.8518
38 | 2672243.4637 | 1250409.9095
39 | 2672235.3125 | 1250460.9568
40 | 2672250.6478 | 1250383.6485
41 | 2672236.1282 | 1250488.7874
42 | 2672242.2764 | 1250506.1992
43 | 2672312.416 | 1250406.2769
44 | 2672315.9493 | 1250410.5424
45 | 2672250.0664 | 1250521.4381
46 | 2672285.4636 | 1250642.0716
47 | 2672235.4284 | 1250620.9901
48 | 2672216.3117 | 1250645.7862
49 | 2672207.3474 | 1250660.6436
50 | 2672165.3964 | 1250639.006
51 | 2672278.5405 | 1250649.7022
52 | 2672188.301 | 1250608.542
53 | 2672276.5087 | 1250654.9649
54 | 2672282.3335 | 1250565.2998

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98443 | -0.29901 | 0.052072 | 0.01305
1 | 0.98837 | -0.22276 | 0.036886 | 0.0092445
2 | 0.98378 | -0.31163 | 0.017131 | 0.0042934
3 | 0.98933 | -0.20417 | 0.036124 | 0.0090535
4 | 0.98239 | -0.33877 | 0 | 0
5 | 0.99097 | -0.17263 | 0.0044317 | 0.0011107
6 | 0.98006 | -0.38417 | 0 | 0
7 | 0.98228 | -0.34095 | 0 | 0
8 | 0.9916 | -0.1604 | 0.0013154 | 0.00032968
9 | 0.97836 | -0.41744 | 0.025907 | 0.0064928
10 | 0.98226 | -0.34132 | 0 | 0
11 | 0.99895 | -0.020192 | 0.026117 | 0.0065455
12 | 0.99897 | -0.019768 | 0.016792 | 0.0042084
13 | 0.99954 | -0.0087812 | 0.015554 | 0.0038981
14 | 0.99964 | -0.006875 | 0.01346 | 0.0033735
15 | 0.97718 | -0.4406 | 0.0093312 | 0.0023386
16 | 1 | 0 | -0.51339 | -0.13013
17 | 0.97718 | -0.44075 | 0.01042 | 0.0026115
18 | 0.99211 | -0.15078 | 0 | 0
19 | 0.99199 | -0.1531 | 0.0024072 | 0.00060331
20 | 0.99331 | -0.12767 | 0.027243 | 0.0068277
21 | 0.99193 | -0.1541 | 0 | 0
22 | 0.9954 | -0.087726 | 0 | 0
23 | 0.99191 | -0.15456 | 0.0019541 | 0.00048975
24 | 0.9924 | -0.14542 | 0 | 0
25 | 0.9944 | -0.1069 | 0.0036892 | 0.0009246
26 | 0.99707 | -0.055718 | 0.020242 | 0.0050731
27 | 0.98225 | -0.34142 | 0.0019406 | 0.00048637
28 | 0.99856 | -0.027376 | 0.0060486 | 0.0015159
29 | 0.99192 | -0.15483 | 0 | 0
30 | 0.99174 | -0.1582 | 0.021672 | 0.0054316
31 | 0.9942 | -0.11086 | 0.008383 | 0.002101
32 | 0.99122 | -0.1684 | 0 | 0
33 | 0.99044 | -0.18334 | 0.020248 | 0.0050745
34 | 0.9916 | -0.16097 | 0.006981 | 0.0017496
35 | 0.9932 | -0.13008 | 0.0042697 | 0.0010701
36 | 0.99112 | -0.1703 | 0.006976 | 0.0017483
37 | 0.99123 | -0.16829 | 0.0012582 | 0.00031533
38 | 0.99073 | -0.17787 | 0.004337 | 0.0010869
39 | 0.99153 | -0.16238 | 0.001787 | 0.00044785
40 | 0.9905 | -0.1824 | 0.0093697 | 0.0023483
41 | 0.99214 | -0.1506 | 0.0042912 | 0.0010755
42 | 0.99261 | -0.14142 | 0.0045889 | 0.0011501
43 | 0.97649 | -0.45432 | 0.016371 | 0.0041029
44 | 0.97657 | -0.45267 | 0.0018194 | 0.00045598
45 | 0.99313 | -0.13154 | 0.0031519 | 0.00078994
46 | 0.99108 | -0.17094 | 0.0045716 | 0.0011457
47 | 0.98984 | -0.1951 | 0.020578 | 0.0051573
48 | 0.98904 | -0.21064 | 0.015151 | 0.0037972
49 | 0.98883 | -0.21458 | 0 | 0
50 | 0.98828 | -0.22531 | 0 | 0
51 | 0.991 | -0.17266 | 0.0019864 | 0.00049783
52 | 0.98784 | -0.23398 | 0.01272 | 0.003188
53 | 0.99096 | -0.17339 | 0.0072803 | 0.0018246
54 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.13542 | -0.034105 | 0.13592 | 0.034422 | 0.00049566 | 0.00031682 | 0.20476 | 0.20476 | 0.20476 | 0.98443 | -0.29901 | 0.98837 | -0.22276 | 56.2515
1 | 0.08335 | 0.021054 | -0.0833 | -0.021022 | 5.0396e-05 | 3.2146e-05 | 0.12605 | 0.12605 | 0.12605 | 0.98443 | -0.29901 | 0.98378 | -0.31163 | 34.6282
2 | -0.1728 | -0.043666 | 0.17296 | 0.043764 | 0.00015416 | 9.8349e-05 | 0.26029 | 0.26029 | 0.26029 | 0.98837 | -0.22276 | 0.98933 | -0.20417 | 35.7538
3 | 0.066169 | 0.016729 | -0.066083 | -0.016674 | 8.6019e-05 | 5.4762e-05 | 0.10014 | 0.10014 | 0.10014 | 0.98378 | -0.31163 | 0.98239 | -0.33877 | 27.5099
4 | -0.20908 | -0.052818 | 0.2094 | 0.053019 | 0.00031661 | 0.00020088 | 0.31462 | 0.31462 | 0.31462 | 0.98933 | -0.20417 | 0.99097 | -0.17263 | 21.6085
5 | 0.064142 | 0.016188 | -0.064003 | -0.0161 | 0.00013915 | 8.8557e-05 | 0.097196 | 0.097197 | 0.097197 | 0.98239 | -0.33877 | 0.98006 | -0.38417 | 26.7024
6 | 0.0019409 | 0.00048557 | -0.0019407 | -0.00048623 | 2.009e-07 | -6.5626e-07 | 0.0029395 | 0.0029398 | 0.0029398 | 0.98239 | -0.33877 | 0.98228 | -0.34095 | 0.80764
7 | -0.21383 | -0.054129 | 0.21396 | 0.054209 | 0.00012565 | 7.9746e-05 | 0.32127 | 0.32127 | 0.32127 | 0.99097 | -0.17263 | 0.9916 | -0.1604 | 22.0655
8 | 0.064003 | 0.0161 | -0.063902 | -0.016035 | 0.00010154 | 6.4627e-05 | 0.097197 | 0.097197 | 0.097197 | 0.98006 | -0.38417 | 0.97836 | -0.41744 | 26.7024
9 | 0.0019407 | 0.00048623 | -0.0019407 | -0.00048634 | 3.4235e-08 | -1.118e-07 | 0.0029398 | 0.0029399 | 0.0029399 | 0.98228 | -0.34095 | 0.98226 | -0.34132 | 0.80766
10 | -0.21527 | -0.054539 | 0.21537 | 0.054602 | 9.9503e-05 | 6.3158e-05 | 0.32325 | 0.32325 | 0.32325 | 0.9916 | -0.1604 | 0.99211 | -0.15078 | 22.2011
11 | 0.037995 | 0.0095425 | -0.037953 | -0.009516 | 4.1931e-05 | 2.6416e-05 | 0.057795 | 0.057795 | 0.057795 | 0.97836 | -0.41744 | 0.97718 | -0.4406 | 15.8777
12 | 0.0019407 | 0.00048634 | -0.0019406 | -0.00048637 | 9.7636e-09 | -3.1883e-08 | 0.0029399 | 0.0029399 | 0.0029399 | 0.98226 | -0.34132 | 0.98225 | -0.34142 | 0.80766
13 | -0.026117 | -0.0065455 | 0.026118 | 0.0065459 | 5.2796e-07 | 3.2571e-07 | 0.038903 | 0.038903 | 0.038903 | 0.99895 | -0.020192 | 0.99897 | -0.019768 | 10.6877
14 | -0.042909 | -0.010754 | 0.042932 | 0.010768 | 2.2471e-05 | 1.4189e-05 | 0.063916 | 0.063916 | 0.063916 | 0.99897 | -0.019768 | 0.99954 | -0.0087812 | 17.5593
15 | -0.058486 | -0.014667 | 0.058491 | 0.01467 | 5.3139e-06 | 3.3764e-06 | 0.08707 | 0.08707 | 0.08707 | 0.99954 | -0.0087812 | 0.99964 | -0.006875 | 23.9204
16 | -0.071951 | -0.018043 | 0.071975 | 0.018059 | 2.3585e-05 | 1.5022e-05 | 0.10711 | 0.10711 | 0.10711 | 0.99964 | -0.006875 | 1 | 0 | 29.4249
17 | 0.028622 | 0.0071774 | -0.028622 | -0.0071773 | 2.1316e-07 | 1.3267e-07 | 0.043586 | 0.043586 | 0.043586 | 0.97718 | -0.4406 | 0.97718 | -0.44075 | 11.9741
18 | 0.43976 | 0.11208 | -0.43918 | -0.11171 | 0.00058016 | 0.00037055 | 0.65503 | 0.65503 | 0.65503 | 1 | 0 | 0.99856 | -0.027376 | 44.9886
19 | 0.018202 | 0.0045658 | -0.018191 | -0.0045596 | 1.033e-05 | 6.1624e-06 | 0.027718 | 0.027719 | 0.027719 | 0.97718 | -0.44075 | 0.97657 | -0.45267 | 7.615
20 | 0.004362 | 0.0010925 | -0.0043615 | -0.0010926 | 4.8225e-07 | -7.9304e-08 | 0.0065421 | 0.0065422 | 0.0065422 | 0.99211 | -0.15078 | 0.99199 | -0.1531 | 1.7973
21 | -0.21973 | -0.055695 | 0.21998 | 0.05585 | 0.00024431 | 0.00015512 | 0.32979 | 0.32979 | 0.32979 | 0.99211 | -0.15078 | 0.99331 | -0.12767 | 22.6504
22 | 0.0019543 | 0.00048929 | -0.0019542 | -0.0004896 | 9.2391e-08 | -3.1101e-07 | 0.0029313 | 0.0029314 | 0.0029314 | 0.99199 | -0.1531 | 0.99193 | -0.1541 | 0.80533
23 | -0.24722 | -0.062677 | 0.2477 | 0.06298 | 0.00047565 | 0.0003025 | 0.3706 | 0.3706 | 0.3706 | 0.99331 | -0.12767 | 0.9954 | -0.087726 | 25.4533
24 | 0.0019542 | 0.0004896 | -0.0019541 | -0.00048975 | 4.2694e-08 | -1.4369e-07 | 0.0029314 | 0.0029315 | 0.0029315 | 0.99193 | -0.1541 | 0.99191 | -0.15456 | 0.80535
25 | 0.11172 | 0.028202 | -0.11141 | -0.028005 | 0.00030782 | 0.00019663 | 0.16708 | 0.16708 | 0.16708 | 0.9954 | -0.087726 | 0.9924 | -0.14542 | 45.901
26 | 0.052254 | 0.013153 | -0.052206 | -0.013123 | 4.7846e-05 | 3.035e-05 | 0.078135 | 0.078135 | 0.078135 | 0.9954 | -0.087726 | 0.9944 | -0.1069 | 21.4656
27 | -0.41167 | -0.10433 | 0.4123 | 0.10474 | 0.00063422 | 0.00040497 | 0.61581 | 0.61581 | 0.61581 | 0.9954 | -0.087726 | 0.99707 | -0.055718 | 42.2949
28 | 0.082739 | 0.020813 | -0.082702 | -0.020789 | 3.7168e-05 | 2.3704e-05 | 0.12409 | 0.12409 | 0.12409 | 0.9924 | -0.14542 | 0.99192 | -0.15483 | 34.0899
29 | 0.028672 | 0.0071923 | -0.028654 | -0.0071815 | 1.7456e-05 | 1.0847e-05 | 0.042993 | 0.042993 | 0.042993 | 0.9924 | -0.14542 | 0.99174 | -0.1582 | 11.8112
30 | 0.048517 | 0.012198 | -0.048508 | -0.012192 | 9.1598e-06 | 5.8022e-06 | 0.072614 | 0.072614 | 0.072614 | 0.9944 | -0.1069 | 0.9942 | -0.11086 | 19.949
31 | -0.43254 | -0.10981 | 0.43314 | 0.11019 | 0.00059072 | 0.00037727 | 0.64602 | 0.64602 | 0.64602 | 0.99707 | -0.055718 | 0.99856 | -0.027376 | 44.3696
32 | 0.01385 | 0.0034746 | -0.013841 | -0.0034696 | 8.9541e-06 | 5.0172e-06 | 0.020778 | 0.020778 | 0.020778 | 0.99192 | -0.15483 | 0.99122 | -0.1684 | 5.7083
33 | 0.068852 | 0.017314 | -0.068759 | -0.017255 | 9.3621e-05 | 5.9616e-05 | 0.10331 | 0.10331 | 0.10331 | 0.99192 | -0.15483 | 0.99044 | -0.18334 | 28.3817
34 | 0.0069819 | 0.0017499 | -0.006981 | -0.0017496 | 9.2137e-07 | 3.0083e-07 | 0.010476 | 0.010476 | 0.010476 | 0.99174 | -0.1582 | 0.9916 | -0.16097 | 2.878
35 | 0.040125 | 0.010091 | -0.040088 | -0.010068 | 3.6818e-05 | 2.3211e-05 | 0.060067 | 0.060067 | 0.060067 | 0.9942 | -0.11086 | 0.9932 | -0.13008 | 16.502
36 | 0.013841 | 0.0034696 | -0.013839 | -0.0034686 | 1.6762e-06 | 9.3934e-07 | 0.020778 | 0.020778 | 0.020778 | 0.99122 | -0.1684 | 0.99108 | -0.17094 | 5.7083
37 | 0.048511 | 0.01218 | -0.048484 | -0.012163 | 2.7216e-05 | 1.7242e-05 | 0.07289 | 0.07289 | 0.07289 | 0.99044 | -0.18334 | 0.98984 | -0.1951 | 20.0247
38 | 0.035818 | 0.0089979 | -0.035816 | -0.0089963 | 2.4791e-06 | 1.5569e-06 | 0.053671 | 0.053671 | 0.053671 | 0.9932 | -0.13008 | 0.99313 | -0.13154 | 14.7447
39 | -0.02069 | -0.0051873 | 0.020692 | 0.0051885 | 1.9863e-06 | 1.2005e-06 | 0.031063 | 0.031063 | 0.031063 | 0.99112 | -0.1703 | 0.99123 | -0.16829 | 8.5338
40 | 0.013714 | 0.0034389 | -0.013709 | -0.0034362 | 4.9429e-06 | 2.7629e-06 | 0.02059 | 0.02059 | 0.02059 | 0.99112 | -0.1703 | 0.99073 | -0.17787 | 5.6565
41 | -0.02195 | -0.0055038 | 0.021956 | 0.0055076 | 6.1825e-06 | 3.761e-06 | 0.032952 | 0.032952 | 0.032952 | 0.99123 | -0.16829 | 0.99153 | -0.16238 | 9.0526
42 | 0.0093717 | 0.0023492 | -0.0093697 | -0.0023483 | 2.0235e-06 | 9.4444e-07 | 0.014076 | 0.014076 | 0.014076 | 0.99073 | -0.17787 | 0.9905 | -0.1824 | 3.867
43 | -0.023743 | -0.0059554 | 0.023756 | 0.0059636 | 1.3348e-05 | 8.1809e-06 | 0.035633 | 0.035633 | 0.035633 | 0.99153 | -0.16238 | 0.99214 | -0.1506 | 9.7894
44 | -0.028047 | -0.0070391 | 0.02806 | 0.0070467 | 1.2275e-05 | 7.6168e-06 | 0.042069 | 0.042069 | 0.042069 | 0.99214 | -0.1506 | 0.99261 | -0.14142 | 11.5574
45 | -0.032649 | -0.0081968 | 0.032664 | 0.0082064 | 1.5406e-05 | 9.6383e-06 | 0.048948 | 0.048948 | 0.048948 | 0.99261 | -0.14142 | 0.99313 | -0.13154 | 13.4473
46 | -0.016371 | -0.0041029 | 0.016372 | 0.0041036 | 1.2932e-06 | 7.5835e-07 | 0.024946 | 0.024946 | 0.024946 | 0.97649 | -0.45432 | 0.97657 | -0.45267 | 6.8534
47 | 0.0092677 | 0.0023229 | -0.0092669 | -0.0023225 | 7.6279e-07 | 3.5282e-07 | 0.013915 | 0.013915 | 0.013915 | 0.99108 | -0.17094 | 0.991 | -0.17266 | 3.8227
48 | 0.027906 | 0.0070058 | -0.027885 | -0.0069929 | 2.0667e-05 | 1.2825e-05 | 0.041955 | 0.041955 | 0.041955 | 0.98984 | -0.1951 | 0.98904 | -0.21064 | 11.5262
49 | 0.012735 | 0.0031958 | -0.012732 | -0.0031945 | 2.391e-06 | 1.3074e-06 | 0.019161 | 0.019161 | 0.019161 | 0.98904 | -0.21064 | 0.98883 | -0.21458 | 5.264
50 | 0.012732 | 0.0031945 | -0.012726 | -0.0031909 | 6.5104e-06 | 3.5604e-06 | 0.019161 | 0.019161 | 0.019161 | 0.98883 | -0.21458 | 0.98828 | -0.22531 | 5.264
51 | 0.012726 | 0.0031909 | -0.01272 | -0.003188 | 5.2529e-06 | 2.8732e-06 | 0.019161 | 0.019161 | 0.019161 | 0.98828 | -0.22531 | 0.98784 | -0.23398 | 5.2641
52 | 0.0072805 | 0.0018247 | -0.0072803 | -0.0018246 | 2.5282e-07 | 8.9124e-08 | 0.010932 | 0.010932 | 0.010932 | 0.991 | -0.17266 | 0.99096 | -0.17339 | 3.0033

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52777 | 0.13374

## res_load
| p_mw | q_mvar
0 | 0.052072 | 0.01305
1 | 0.036886 | 0.0092445
2 | 0.017131 | 0.0042934
3 | 0.036124 | 0.0090535
4 | 0.0044317 | 0.0011107
5 | 0.0013154 | 0.00032968
6 | 0.025907 | 0.0064928
7 | 0.026117 | 0.0065455
8 | 0.016792 | 0.0042084
9 | 0.015554 | 0.0038981
10 | 0.01346 | 0.0033735
11 | 0.0093312 | 0.0023386
12 | 0.014379 | 0.0036037
13 | 0.01042 | 0.0026115
14 | 0.0024072 | 0.00060331
15 | 0.027243 | 0.0068277
16 | 0.0019541 | 0.00048975
17 | 0.0036892 | 0.0009246
18 | 0.020242 | 0.0050731
19 | 0.0019406 | 0.00048637
20 | 0.0060486 | 0.0015159
21 | 0.021672 | 0.0054316
22 | 0.008383 | 0.002101
23 | 0.020248 | 0.0050745
24 | 0.006981 | 0.0017496
25 | 0.0042697 | 0.0010701
26 | 0.006976 | 0.0017483
27 | 0.0012582 | 0.00031533
28 | 0.004337 | 0.0010869
29 | 0.001787 | 0.00044785
30 | 0.0093697 | 0.0023483
31 | 0.0042912 | 0.0010755
32 | 0.0045889 | 0.0011501
33 | 0.016371 | 0.0041029
34 | 0.0018194 | 0.00045598
35 | 0.0031519 | 0.00078994
36 | 0.0045716 | 0.0011457
37 | 0.020578 | 0.0051573
38 | 0.015151 | 0.0037972
39 | 0.0019864 | 0.00049783
40 | 0.01272 | 0.003188
41 | 0.0072803 | 0.0018246

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1