## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_243-6_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_243-6_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_243-6_0_5_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_243-6_0_5_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_243-6_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_243-6_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_243-6_0_5_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_243-6_0_5_node_50 | 0.4 | n |  | TRUE
8 | bus_LV_243-6_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_243-6_0_5_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_243-6_0_5_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_243-6_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_243-6_0_5_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_243-6_0_5_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_243-6_0_5_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_243-6_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_243-6_0_5_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_243-6_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_243-6_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_243-6_0_5_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_243-6_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_243-6_0_5_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_243-6_0_5_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_243-6_0_5_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_243-6_0_5_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_243-6_0_5_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_243-6_0_5_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_243-6_0_5_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_243-6_0_5_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_243-6_0_5_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_243-6_0_5_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_243-6_0_5_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_243-6_0_5_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_243-6_0_5_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_243-6_0_5_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_243-6_0_5_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_243-6_0_5_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_243-6_0_5_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_243-6_0_5_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_243-6_0_5_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_243-6_0_5_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_243-6_0_5_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_243-6_0_5_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_243-6_0_5_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_243-6_0_5_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_243-6_0_5_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_243-6_0_5_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_243-6_0_5_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_243-6_0_5_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_243-6_0_5_node_44 | 0.4 | n |  | TRUE
50 | bus_MV_388_0_node_152 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_243-6_0_5_load_0 | 0 | 0.0036463 | 0.00091386 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_243-6_0_5_load_50 | 7 | 0.00028824 | 7.2241e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_243-6_0_5_load_15 | 9 | 0.00044955 | 0.00011267 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_243-6_0_5_load_53 | 10 | 0.0022531 | 0.00056467 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_243-6_0_5_load_7 | 11 | 0.0033491 | 0.00083937 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_243-6_0_5_load_41 | 12 | 0.0044337 | 0.0011112 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_243-6_0_5_load_35 | 13 | 0.0083437 | 0.0020911 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_243-6_0_5_load_32 | 14 | 0.0028329 | 0.00070999 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_243-6_0_5_load_42 | 16 | 0.0026664 | 0.00066826 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_243-6_0_5_load_10 | 17 | 0.023029 | 0.0057716 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_243-6_0_5_load_11 | 18 | 0.003023 | 0.00075763 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_243-6_0_5_load_16 | 22 | 0.026792 | 0.0067148 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_243-6_0_5_load_20 | 23 | 0.019935 | 0.0049962 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_243-6_0_5_load_48 | 24 | 0.0069122 | 0.0017324 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_243-6_0_5_load_49 | 25 | 0.018245 | 0.0045726 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_243-6_0_5_load_27 | 26 | 0.015579 | 0.0039044 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_243-6_0_5_load_17 | 27 | 0.013965 | 0.0035 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_243-6_0_5_load_18 | 28 | 0.011406 | 0.0028586 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_243-6_0_5_load_46 | 29 | 0.013134 | 0.0032916 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_243-6_0_5_load_30 | 33 | 0.002383 | 0.00059723 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_243-6_0_5_load_28 | 34 | 0.0013839 | 0.00034684 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_243-6_0_5_load_51 | 35 | 0.026453 | 0.0066297 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_243-6_0_5_load_33 | 36 | 0.0022499 | 0.00056389 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_243-6_0_5_load_24 | 37 | 0.015915 | 0.0039886 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_243-6_0_5_load_54 | 38 | 0.039404 | 0.0098755 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_243-6_0_5_load_39 | 42 | 0.002744 | 0.0006877 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_243-6_0_5_load_37 | 43 | 0.0028764 | 0.00072088 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_243-6_0_5_load_57 | 44 | 0.00096844 | 0.00024271 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_243-6_0_5_load_36 | 45 | 0.0038191 | 0.00095717 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_243-6_0_5_load_38 | 46 | 0.0029121 | 0.00072984 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_243-6_0_5_load_40 | 47 | 0.0050981 | 0.0012777 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_243-6_0_5_load_43 | 48 | 0.013213 | 0.0033116 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_243-6_0_5_load_44 | 49 | 0.0071199 | 0.0017844 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_243-6_0_5_line_0 |  | 0 | 1 | 0.0014585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_243-6_0_5_line_1 |  | 1 | 2 | 0.030869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_243-6_0_5_line_2 |  | 1 | 3 | 0.039669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_243-6_0_5_line_3 |  | 2 | 10 | 0.0041423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_243-6_0_5_line_4 |  | 2 | 4 | 0.011904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_243-6_0_5_line_5 |  | 3 | 11 | 0.017663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_243-6_0_5_line_6 |  | 4 | 5 | 0.04216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_243-6_0_5_line_7 |  | 4 | 6 | 0.01581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_243-6_0_5_line_8 |  | 4 | 7 | 0.0051173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_243-6_0_5_line_9 |  | 5 | 8 | 0.036666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_243-6_0_5_line_10 |  | 5 | 9 | 0.019579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_243-6_0_5_line_11 |  | 6 | 13 | 0.020675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_243-6_0_5_line_12 |  | 6 | 14 | 0.016009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_243-6_0_5_line_13 |  | 8 | 12 | 0.003402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_243-6_0_5_line_14 |  | 9 | 15 | 0.014648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_243-6_0_5_line_15 |  | 12 | 16 | 0.021536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_243-6_0_5_line_16 |  | 13 | 44 | 0.00061561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_243-6_0_5_line_17 |  | 14 | 36 | 0.019748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_243-6_0_5_line_18 |  | 15 | 20 | 0.03706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_243-6_0_5_line_19 |  | 15 | 17 | 0.036763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_243-6_0_5_line_20 |  | 16 | 40 | 0.028905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_243-6_0_5_line_21 |  | 17 | 18 | 0.022373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_243-6_0_5_line_22 |  | 18 | 19 | 0.030126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_243-6_0_5_line_23 |  | 19 | 21 | 0.030422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_243-6_0_5_line_24 |  | 19 | 22 | 0.034767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_243-6_0_5_line_25 |  | 20 | 23 | 0.023697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_243-6_0_5_line_26 |  | 21 | 24 | 0.050171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_243-6_0_5_line_27 |  | 21 | 25 | 0.041456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_243-6_0_5_line_28 |  | 21 | 26 | 0.027539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_243-6_0_5_line_29 |  | 22 | 27 | 0.024642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_243-6_0_5_line_30 |  | 24 | 29 | 0.02259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_243-6_0_5_line_31 |  | 25 | 30 | 0.039496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_243-6_0_5_line_32 |  | 27 | 28 | 0.01103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_243-6_0_5_line_33 |  | 29 | 49 | 0.0076173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_243-6_0_5_line_34 |  | 30 | 31 | 0.016619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_243-6_0_5_line_35 |  | 31 | 35 | 0.080102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_243-6_0_5_line_36 |  | 32 | 33 | 0.016749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_243-6_0_5_line_37 |  | 32 | 34 | 0.016405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_243-6_0_5_line_38 |  | 33 | 36 | 0.023865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_243-6_0_5_line_39 |  | 37 | 38 | 0.037701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_243-6_0_5_line_40 |  | 38 | 41 | 0.054289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_243-6_0_5_line_41 |  | 39 | 40 | 0.032914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_243-6_0_5_line_42 |  | 39 | 41 | 0.040784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_243-6_0_5_line_43 |  | 40 | 42 | 0.019079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_243-6_0_5_line_44 |  | 42 | 43 | 7.0134e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_243-6_0_5_line_45 |  | 43 | 45 | 0.013945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_243-6_0_5_line_46 |  | 45 | 46 | 0.0077262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_243-6_0_5_line_47 |  | 46 | 47 | 0.0037024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_243-6_0_5_line_48 |  | 48 | 49 | 0.028517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_243-6_0_5_trafo_19 | 0.63 MVA 20/0.4 kV | 50 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2674078.5916 | 1250233.645 | 2674077.1697 | 1250233.9698
1 | 2674068.2239 | 1250204.8169 | 2674072.1659 | 1250212.5828 | 2674075.5289 | 1250219.5521 | 2674077.0853 | 1250226.7101 | 2674078.2204 | 1250231.928 | 2674078.5916 | 1250233.645
2 | 2674078.5916 | 1250233.645 | 2674095.1578 | 1250269.6893
3 | 2674068.2239 | 1250204.8169 | 2674071.8756 | 1250202.8616
4 | 2674068.2239 | 1250204.8169 | 2674056.4376 | 1250206.7154
5 | 2674095.1578 | 1250269.6893 | 2674112.4348 | 1250266.0165
6 | 2674033.5107 | 1250230.146 | 2674039.4614 | 1250227.6074 | 2674052.7496 | 1250221.5134 | 2674060.9783 | 1250217.9247 | 2674056.4376 | 1250206.7154
7 | 2674056.4376 | 1250206.7154 | 2674059.6962 | 1250191.2449
8 | 2674056.4376 | 1250206.7154 | 2674053.071 | 1250210.5693
9 | 2674033.5107 | 1250230.146 | 2674014.1331 | 1250238.3989 | 2673999.382 | 1250243.7631
10 | 2674033.5107 | 1250230.146 | 2674026.2276 | 1250211.9723
11 | 2674059.6962 | 1250191.2449 | 2674039.0218 | 1250191.3771
12 | 2674059.6962 | 1250191.2449 | 2674059.6226 | 1250175.2357
13 | 2673999.382 | 1250243.7631 | 2673996.1659 | 1250244.8723
14 | 2674020.7787 | 1250198.3752 | 2674026.2276 | 1250211.9723
15 | 2673996.1659 | 1250244.8723 | 2673989.7372 | 1250247.0896 | 2673975.705 | 1250251.5879
16 | 2674038.4062 | 1250191.381 | 2674039.0218 | 1250191.3771
17 | 2674059.5317 | 1250155.488 | 2674059.6226 | 1250175.2357
18 | 2674007.5102 | 1250164.2181 | 2674020.6499 | 1250192.3692 | 2674020.7787 | 1250198.3752
19 | 2674020.7787 | 1250198.3752 | 2673988.6733 | 1250197.4737 | 2673984.4262 | 1250199.3536
20 | 2673948.0312 | 1250259.9118 | 2673959.3565 | 1250256.8286 | 2673975.705 | 1250251.5879
21 | 2673984.4262 | 1250199.3536 | 2673975.0158 | 1250203.5188 | 2673962.9579 | 1250202.7604
22 | 2673932.8911 | 1250200.8692 | 2673962.9579 | 1250202.7604
23 | 2673932.8911 | 1250200.8692 | 2673903.0347 | 1250194.5924
24 | 2673932.8911 | 1250200.8692 | 2673933.2797 | 1250166.1044
25 | 2674007.5102 | 1250164.2181 | 2674025.3192 | 1250148.5847
26 | 2673903.0347 | 1250194.5924 | 2673852.9202 | 1250196.9684
27 | 2673903.0347 | 1250194.5924 | 2673902.2674 | 1250166.5292 | 2673902.0367 | 1250153.1484
28 | 2673903.0347 | 1250194.5924 | 2673904.9118 | 1250210.5495 | 2673906.4346 | 1250221.9197
29 | 2673933.2797 | 1250166.1044 | 2673953.6263 | 1250152.2037
30 | 2673830.3555 | 1250198.0383 | 2673852.9202 | 1250196.9684
31 | 2673901.8698 | 1250113.6749 | 2673901.3704 | 1250122.2304 | 2673901.641 | 1250130.1951 | 2673902.0367 | 1250153.1484
32 | 2673964.6558 | 1250152.2636 | 2673953.6263 | 1250152.2037
33 | 2673822.7468 | 1250198.399 | 2673830.3555 | 1250198.0383
34 | 2673885.2043 | 1250113.9118 | 2673893.7132 | 1250113.8956 | 2673901.8698 | 1250113.6749
35 | 2673885.2043 | 1250113.9118 | 2673874.817 | 1250113.8045 | 2673862.1727 | 1250113.669 | 2673843.1833 | 1250113.1877 | 2673810.7902 | 1250112.9174 | 2673805.1107 | 1250112.8523
36 | 2674059.3448 | 1250114.8742 | 2674059.4219 | 1250131.623
37 | 2674059.3448 | 1250114.8742 | 2674059.4842 | 1250098.47
38 | 2674059.4219 | 1250131.623 | 2674059.5317 | 1250155.488
39 | 2673845.8825 | 1250280.5881 | 2673850.1012 | 1250318.0525
40 | 2673903.1556 | 1250306.5415 | 2673850.1012 | 1250318.0525
41 | 2673915.9898 | 1250267.8291 | 2673948.0312 | 1250259.9118
42 | 2673915.9898 | 1250267.8291 | 2673903.1556 | 1250306.5415
43 | 2673948.0312 | 1250259.9118 | 2673943.166 | 1250241.4637
44 | 2673943.166 | 1250241.4637 | 2673943.1481 | 1250241.3959
45 | 2673939.5922 | 1250227.9122 | 2673943.1481 | 1250241.3959
46 | 2673939.5922 | 1250227.9122 | 2673937.6219 | 1250220.4413
47 | 2673936.6778 | 1250216.8613 | 2673937.6219 | 1250220.4413
48 | 2673794.2752 | 1250199.9941 | 2673810.3747 | 1250198.9856 | 2673822.7468 | 1250198.399

## bus_geodata
| x | y | coords
0 | 2674077.1697 | 1250233.9698
1 | 2674078.5916 | 1250233.645
2 | 2674068.2239 | 1250204.8169
3 | 2674095.1578 | 1250269.6893
4 | 2674056.4376 | 1250206.7154
5 | 2674033.5107 | 1250230.146
6 | 2674059.6962 | 1250191.2449
7 | 2674053.071 | 1250210.5693
8 | 2673999.382 | 1250243.7631
9 | 2674026.2276 | 1250211.9723
10 | 2674071.8756 | 1250202.8616
11 | 2674112.4348 | 1250266.0165
12 | 2673996.1659 | 1250244.8723
13 | 2674039.0218 | 1250191.3771
14 | 2674059.6226 | 1250175.2358
15 | 2674020.7787 | 1250198.3752
16 | 2673975.705 | 1250251.5879
17 | 2673984.4262 | 1250199.3536
18 | 2673962.9579 | 1250202.7604
19 | 2673932.8911 | 1250200.8692
20 | 2674007.5102 | 1250164.2181
21 | 2673903.0347 | 1250194.5924
22 | 2673933.2797 | 1250166.1044
23 | 2674025.3192 | 1250148.5847
24 | 2673852.9202 | 1250196.9684
25 | 2673902.0367 | 1250153.1484
26 | 2673906.4346 | 1250221.9197
27 | 2673953.6263 | 1250152.2037
28 | 2673964.6558 | 1250152.2636
29 | 2673830.3555 | 1250198.0383
30 | 2673901.8698 | 1250113.6749
31 | 2673885.2043 | 1250113.9118
32 | 2674059.3448 | 1250114.8742
33 | 2674059.4219 | 1250131.623
34 | 2674059.4842 | 1250098.47
35 | 2673805.1107 | 1250112.8523
36 | 2674059.5317 | 1250155.488
37 | 2673845.8825 | 1250280.5881
38 | 2673850.1012 | 1250318.0525
39 | 2673915.9898 | 1250267.8291
40 | 2673948.0312 | 1250259.9118
41 | 2673903.1556 | 1250306.5415
42 | 2673943.166 | 1250241.4637
43 | 2673943.1481 | 1250241.3959
44 | 2674038.4062 | 1250191.381
45 | 2673939.5922 | 1250227.9122
46 | 2673937.6219 | 1250220.4413
47 | 2673936.6778 | 1250216.8613
48 | 2673794.2752 | 1250199.9941
49 | 2673822.7468 | 1250198.399
50 | 2673932.8911 | 1250200.8692

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98423 | -0.30173 | 0.0036463 | 0.00091386
1 | 0.98423 | -0.30164 | 0 | 0
2 | 0.98443 | -0.29775 | 0 | 0
3 | 0.98411 | -0.30403 | 0 | 0
4 | 0.98453 | -0.29577 | 0 | 0
5 | 0.98561 | -0.27479 | 0 | 0
6 | 0.98427 | -0.30094 | 0 | 0
7 | 0.98453 | -0.2958 | 0.00028824 | 7.2241e-05
8 | 0.98288 | -0.32748 | 0 | 0
9 | 0.98757 | -0.23707 | 0.00044955 | 0.00011267
10 | 0.98442 | -0.29792 | 0.0022531 | 0.00056467
11 | 0.98406 | -0.3051 | 0.0033491 | 0.00083937
12 | 0.98263 | -0.33239 | 0.0044337 | 0.0011112
13 | 0.98409 | -0.3044 | 0.0083437 | 0.0020911
14 | 0.98414 | -0.30349 | 0.0028329 | 0.00070999
15 | 0.98904 | -0.20883 | 0 | 0
16 | 0.98112 | -0.36176 | 0.0026664 | 0.00066826
17 | 0.9934 | -0.12537 | 0.023029 | 0.0057716
18 | 0.99496 | -0.095587 | 0.003023 | 0.00075763
19 | 0.99711 | -0.054825 | 0 | 0
20 | 0.98836 | -0.22201 | 0 | 0
21 | 1 | 0 | -0.31165 | -0.078914
22 | 0.99546 | -0.086672 | 0.026792 | 0.0067148
23 | 0.98792 | -0.23044 | 0.019935 | 0.0049962
24 | 0.99816 | -0.035377 | 0.0069122 | 0.0017324
25 | 0.99831 | -0.032355 | 0.018245 | 0.0045726
26 | 0.99961 | -0.0074806 | 0.015579 | 0.0039044
27 | 0.99489 | -0.097675 | 0.013965 | 0.0035
28 | 0.99477 | -0.09989 | 0.011406 | 0.0028586
29 | 0.99747 | -0.048612 | 0.013134 | 0.0032916
30 | 0.99736 | -0.050647 | 0 | 0
31 | 0.99696 | -0.058354 | 0 | 0
32 | 0.98393 | -0.30766 | 0 | 0
33 | 0.98395 | -0.30725 | 0.002383 | 0.00059723
34 | 0.9839 | -0.30807 | 0.0013839 | 0.00034684
35 | 0.99503 | -0.095585 | 0.026453 | 0.0066297
36 | 0.98403 | -0.30563 | 0.0022499 | 0.00056389
37 | 0.97199 | -0.54058 | 0.015915 | 0.0039886
38 | 0.97255 | -0.52952 | 0.039404 | 0.0098755
39 | 0.97746 | -0.43309 | 0 | 0
40 | 0.97916 | -0.39993 | 0 | 0
41 | 0.97535 | -0.47434 | 0 | 0
42 | 0.97885 | -0.40598 | 0.002744 | 0.0006877
43 | 0.97885 | -0.406 | 0.0028764 | 0.00072088
44 | 0.98409 | -0.30441 | 0.00096844 | 0.00024271
45 | 0.9787 | -0.409 | 0.0038191 | 0.00095717
46 | 0.97864 | -0.41013 | 0.0029121 | 0.00072984
47 | 0.97862 | -0.41047 | 0.0050981 | 0.0012777
48 | 0.99699 | -0.057931 | 0.013213 | 0.0033116
49 | 0.99733 | -0.051326 | 0.0071199 | 0.0017844
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0036463 | -0.00091386 | 0.0036463 | 0.00091385 | 1.6622e-08 | -7.8981e-09 | 0.0055127 | 0.0055127 | 0.0055127 | 0.98423 | -0.30173 | 0.98423 | -0.30164 | 1.5145
1 | -0.006996 | -0.0017528 | 0.0069973 | 0.0017533 | 1.295e-06 | 4.3639e-07 | 0.010577 | 0.010577 | 0.010577 | 0.98423 | -0.30164 | 0.98443 | -0.29775 | 2.9057
2 | 0.0033497 | 0.000839 | -0.0033493 | -0.00083926 | 3.815e-07 | -2.5992e-07 | 0.0050641 | 0.0050642 | 0.0050642 | 0.98423 | -0.30164 | 0.98411 | -0.30403 | 1.3913
3 | 0.0022531 | 0.00056463 | -0.0022531 | -0.00056467 | 1.8016e-08 | -4.1134e-08 | 0.0034056 | 0.0034056 | 0.0034056 | 0.98443 | -0.29775 | 0.98442 | -0.29792 | 0.93561
4 | -0.0092504 | -0.0023179 | 0.0092513 | 0.0023183 | 8.7272e-07 | 4.0718e-07 | 0.013982 | 0.013982 | 0.013982 | 0.98443 | -0.29775 | 0.98453 | -0.29577 | 3.8413
5 | 0.0033493 | 0.00083926 | -0.0033491 | -0.00083937 | 1.6988e-07 | -1.1569e-07 | 0.0050642 | 0.0050643 | 0.0050643 | 0.98411 | -0.30403 | 0.98406 | -0.3051 | 1.3913
6 | -0.027709 | -0.0069458 | 0.027737 | 0.006963 | 2.773e-05 | 1.721e-05 | 0.04188 | 0.04188 | 0.04188 | 0.98453 | -0.29577 | 0.98561 | -0.27479 | 11.5055
7 | 0.01817 | 0.0045553 | -0.018165 | -0.0045526 | 4.4714e-06 | 2.6607e-06 | 0.027462 | 0.027462 | 0.027462 | 0.98453 | -0.29577 | 0.98427 | -0.30094 | 7.5446
8 | 0.00028824 | 7.2176e-05 | -0.00028824 | -7.2241e-05 | 3.642e-10 | -6.4841e-08 | 0.00043563 | 0.00043565 | 0.00043565 | 0.98453 | -0.29577 | 0.98453 | -0.2958 | 0.11968
9 | 0.080692 | 0.020541 | -0.080488 | -0.02041 | 0.00020444 | 0.00013038 | 0.12194 | 0.12194 | 0.12194 | 0.98561 | -0.27479 | 0.98288 | -0.32748 | 33.4995
10 | -0.10843 | -0.027503 | 0.10863 | 0.027629 | 0.00019703 | 0.00012585 | 0.16382 | 0.16382 | 0.16382 | 0.98561 | -0.27479 | 0.98757 | -0.23707 | 45.0049
11 | 0.0093137 | 0.0023346 | -0.0093121 | -0.0023338 | 1.5371e-06 | 7.2105e-07 | 0.014081 | 0.014081 | 0.014081 | 0.98427 | -0.30094 | 0.98409 | -0.3044 | 3.8683
12 | 0.0088517 | 0.0022181 | -0.0088507 | -0.0022176 | 1.0751e-06 | 4.8461e-07 | 0.013382 | 0.013382 | 0.013382 | 0.98427 | -0.30094 | 0.98414 | -0.30349 | 3.6764
13 | 0.080488 | 0.02041 | -0.080469 | -0.020398 | 1.8969e-05 | 1.2097e-05 | 0.12194 | 0.12194 | 0.12194 | 0.98288 | -0.32748 | 0.98263 | -0.33239 | 33.4995
14 | -0.10908 | -0.027742 | 0.10922 | 0.027837 | 0.00014864 | 9.4939e-05 | 0.1645 | 0.16449 | 0.1645 | 0.98757 | -0.23707 | 0.98904 | -0.20883 | 45.191
15 | 0.076035 | 0.019287 | -0.075928 | -0.019218 | 0.00010722 | 6.8349e-05 | 0.11522 | 0.11522 | 0.11522 | 0.98263 | -0.33239 | 0.98112 | -0.36176 | 31.655
16 | 0.00096844 | 0.00024271 | -0.00096844 | -0.00024271 | 4.9486e-10 | -7.5046e-09 | 0.0014643 | 0.0014644 | 0.0014644 | 0.98409 | -0.3044 | 0.98409 | -0.30441 | 0.40229
17 | 0.0060178 | 0.0015076 | -0.0060172 | -0.0015075 | 6.1307e-07 | 1.4147e-07 | 0.0090987 | 0.0090987 | 0.0090987 | 0.98414 | -0.30349 | 0.98403 | -0.30563 | 2.4997
18 | 0.019956 | 0.0050086 | -0.019943 | -0.0050011 | 1.253e-05 | 7.5437e-06 | 0.030026 | 0.030026 | 0.030026 | 0.98904 | -0.20883 | 0.98836 | -0.22201 | 8.249
19 | -0.12918 | -0.032846 | 0.1297 | 0.033179 | 0.00052164 | 0.00033337 | 0.19452 | 0.19452 | 0.19452 | 0.98904 | -0.20883 | 0.9934 | -0.12537 | 53.4398
20 | 0.073261 | 0.01855 | -0.073127 | -0.018465 | 0.00013399 | 8.5388e-05 | 0.11118 | 0.11118 | 0.11118 | 0.98112 | -0.36176 | 0.97916 | -0.39993 | 30.544
21 | -0.15273 | -0.038951 | 0.15295 | 0.039091 | 0.00022001 | 0.00014023 | 0.22902 | 0.22902 | 0.22902 | 0.9934 | -0.12537 | 0.99496 | -0.095587 | 31.4582
22 | -0.15597 | -0.039848 | 0.15628 | 0.040045 | 0.00030807 | 0.00019638 | 0.23354 | 0.23354 | 0.23354 | 0.99496 | -0.095587 | 0.99711 | -0.054825 | 32.0792
23 | -0.20854 | -0.053177 | 0.20909 | 0.053531 | 0.0005536 | 0.00035351 | 0.31153 | 0.31153 | 0.31153 | 0.99711 | -0.054825 | 1 | 0 | 42.793
24 | 0.052257 | 0.013132 | -0.052178 | -0.013082 | 7.9316e-05 | 5.0309e-05 | 0.077997 | 0.077998 | 0.077998 | 0.99711 | -0.054825 | 0.99546 | -0.086672 | 21.4279
25 | 0.019943 | 0.0050011 | -0.019935 | -0.0049962 | 8.0119e-06 | 4.8241e-06 | 0.030026 | 0.030026 | 0.030026 | 0.98836 | -0.22201 | 0.98792 | -0.23044 | 8.249
26 | 0.040475 | 0.01018 | -0.040407 | -0.010137 | 6.8275e-05 | 4.3039e-05 | 0.060241 | 0.060241 | 0.060241 | 1 | 0 | 0.99816 | -0.035377 | 16.5497
27 | 0.044847 | 0.011295 | -0.044778 | -0.011252 | 6.9272e-05 | 4.3791e-05 | 0.066752 | 0.066753 | 0.066753 | 1 | 0 | 0.99831 | -0.032355 | 18.3386
28 | 0.015584 | 0.0039075 | -0.015579 | -0.0039044 | 5.5537e-06 | 3.1932e-06 | 0.02319 | 0.02319 | 0.02319 | 1 | 0 | 0.99961 | -0.0074806 | 6.3709
29 | 0.025385 | 0.0063674 | -0.025372 | -0.0063592 | 1.3307e-05 | 8.1964e-06 | 0.037948 | 0.037948 | 0.037948 | 0.99546 | -0.086672 | 0.99489 | -0.097675 | 10.4253
30 | 0.033495 | 0.0084047 | -0.033474 | -0.0083915 | 2.1124e-05 | 1.3225e-05 | 0.049937 | 0.049937 | 0.049937 | 0.99816 | -0.035377 | 0.99747 | -0.048612 | 13.7189
31 | 0.026533 | 0.0066791 | -0.02651 | -0.0066648 | 2.3177e-05 | 1.4317e-05 | 0.039558 | 0.039558 | 0.039558 | 0.99831 | -0.032355 | 0.99736 | -0.050647 | 10.8677
32 | 0.011407 | 0.0028592 | -0.011406 | -0.0028586 | 1.204e-06 | 6.2733e-07 | 0.017061 | 0.017061 | 0.017061 | 0.99489 | -0.097675 | 0.99477 | -0.09989 | 4.6872
33 | 0.02034 | 0.0050999 | -0.020338 | -0.0050983 | 2.6301e-06 | 1.5839e-06 | 0.030344 | 0.030344 | 0.030344 | 0.99747 | -0.048612 | 0.99733 | -0.051326 | 8.3363
34 | 0.02651 | 0.0066648 | -0.0265 | -0.0066587 | 9.7525e-06 | 6.0248e-06 | 0.039558 | 0.039558 | 0.039558 | 0.99736 | -0.050647 | 0.99696 | -0.058354 | 10.8677
35 | 0.0265 | 0.0066587 | -0.026453 | -0.0066297 | 4.7007e-05 | 2.9042e-05 | 0.039558 | 0.039559 | 0.039559 | 0.99696 | -0.058354 | 0.99503 | -0.095585 | 10.8678
36 | -0.0013839 | -0.00034665 | 0.001384 | 0.00034645 | 2.751e-08 | -1.9513e-07 | 0.0020929 | 0.0020928 | 0.0020929 | 0.98393 | -0.30766 | 0.98395 | -0.30725 | 0.57497
37 | 0.0013839 | 0.00034665 | -0.0013839 | -0.00034684 | 2.6947e-08 | -1.911e-07 | 0.0020929 | 0.002093 | 0.002093 | 0.98393 | -0.30766 | 0.9839 | -0.30807 | 0.57499
38 | -0.0037669 | -0.00094369 | 0.0037672 | 0.00094357 | 2.9041e-07 | -1.1728e-07 | 0.0056966 | 0.0056965 | 0.0056966 | 0.98395 | -0.30725 | 0.98403 | -0.30563 | 1.565
39 | -0.015915 | -0.0039886 | 0.015923 | 0.0039935 | 8.3918e-06 | 4.9032e-06 | 0.024363 | 0.024363 | 0.024363 | 0.97199 | -0.54058 | 0.97255 | -0.52952 | 6.6932
40 | -0.055327 | -0.013869 | 0.055472 | 0.013962 | 0.00014588 | 9.269e-05 | 0.084651 | 0.084651 | 0.084651 | 0.97255 | -0.52952 | 0.97535 | -0.47434 | 23.2558
41 | -0.055582 | -0.014031 | 0.05567 | 0.014087 | 8.8445e-05 | 5.6191e-05 | 0.084651 | 0.084651 | 0.084651 | 0.97746 | -0.43309 | 0.97916 | -0.39993 | 23.2557
42 | 0.055582 | 0.014031 | -0.055472 | -0.013962 | 0.00010959 | 6.963e-05 | 0.084651 | 0.084651 | 0.084651 | 0.97746 | -0.43309 | 0.97535 | -0.47434 | 23.2557
43 | 0.017457 | 0.0043774 | -0.017452 | -0.0043744 | 5.0357e-06 | 2.9829e-06 | 0.02653 | 0.02653 | 0.02653 | 0.97916 | -0.39993 | 0.97885 | -0.40598 | 7.2884
44 | 0.014708 | 0.0036867 | -0.014708 | -0.0036867 | 1.3149e-08 | 7.5332e-09 | 0.022359 | 0.022359 | 0.022359 | 0.97885 | -0.40598 | 0.97885 | -0.406 | 6.1425
45 | 0.011832 | 0.0029658 | -0.01183 | -0.0029649 | 1.6917e-06 | 9.0741e-07 | 0.017986 | 0.017986 | 0.017986 | 0.97885 | -0.406 | 0.9787 | -0.409 | 4.9413
46 | 0.0080107 | 0.0020077 | -0.0080102 | -0.0020075 | 4.2979e-07 | 1.7798e-07 | 0.01218 | 0.01218 | 0.01218 | 0.9787 | -0.409 | 0.97864 | -0.41013 | 3.346
47 | 0.0050981 | 0.0012777 | -0.0050981 | -0.0012777 | 8.3429e-08 | 6.8749e-09 | 0.0077517 | 0.0077517 | 0.0077517 | 0.97864 | -0.41013 | 0.97862 | -0.41047 | 2.1296
48 | -0.013213 | -0.0033116 | 0.013218 | 0.0033139 | 4.1591e-06 | 2.2898e-06 | 0.019721 | 0.019721 | 0.019721 | 0.99699 | -0.057931 | 0.99733 | -0.051326 | 5.4179

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.31165 | 0.078914

## res_load
| p_mw | q_mvar
0 | 0.0036463 | 0.00091386
1 | 0.00028824 | 7.2241e-05
2 | 0.00044955 | 0.00011267
3 | 0.0022531 | 0.00056467
4 | 0.0033491 | 0.00083937
5 | 0.0044337 | 0.0011112
6 | 0.0083437 | 0.0020911
7 | 0.0028329 | 0.00070999
8 | 0.0026664 | 0.00066826
9 | 0.023029 | 0.0057716
10 | 0.003023 | 0.00075763
11 | 0.026792 | 0.0067148
12 | 0.019935 | 0.0049962
13 | 0.0069122 | 0.0017324
14 | 0.018245 | 0.0045726
15 | 0.015579 | 0.0039044
16 | 0.013965 | 0.0035
17 | 0.011406 | 0.0028586
18 | 0.013134 | 0.0032916
19 | 0.002383 | 0.00059723
20 | 0.0013839 | 0.00034684
21 | 0.026453 | 0.0066297
22 | 0.0022499 | 0.00056389
23 | 0.015915 | 0.0039886
24 | 0.039404 | 0.0098755
25 | 0.002744 | 0.0006877
26 | 0.0028764 | 0.00072088
27 | 0.00096844 | 0.00024271
28 | 0.0038191 | 0.00095717
29 | 0.0029121 | 0.00072984
30 | 0.0050981 | 0.0012777
31 | 0.013213 | 0.0033116
32 | 0.0071199 | 0.0017844

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1