## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_245-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_245-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_245-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_245-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_245-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_245-2_0_4_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_245-2_0_4_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_245-2_0_4_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_245-2_0_4_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_245-2_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_245-2_0_4_node_61 | 0.4 | n |  | TRUE
11 | bus_LV_245-2_0_4_node_62 | 0.4 | n |  | TRUE
12 | bus_LV_245-2_0_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_245-2_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_245-2_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_245-2_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_245-2_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_245-2_0_4_node_63 | 0.4 | n |  | TRUE
18 | bus_LV_245-2_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_245-2_0_4_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_245-2_0_4_node_64 | 0.4 | n |  | TRUE
21 | bus_LV_245-2_0_4_node_6 | 0.4 | n |  | TRUE
22 | bus_LV_245-2_0_4_node_95 | 0.4 | n |  | TRUE
23 | bus_LV_245-2_0_4_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_245-2_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_245-2_0_4_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_245-2_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_245-2_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_245-2_0_4_node_67 | 0.4 | n |  | TRUE
29 | bus_LV_245-2_0_4_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_245-2_0_4_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_245-2_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_245-2_0_4_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_245-2_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_245-2_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_245-2_0_4_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_245-2_0_4_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_245-2_0_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_245-2_0_4_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_245-2_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_245-2_0_4_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_245-2_0_4_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_245-2_0_4_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_245-2_0_4_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_245-2_0_4_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_245-2_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_245-2_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_245-2_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_245-2_0_4_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_245-2_0_4_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_245-2_0_4_node_71 | 0.4 | n |  | TRUE
51 | bus_LV_245-2_0_4_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_245-2_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_245-2_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_245-2_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_245-2_0_4_node_88 | 0.4 | n |  | TRUE
56 | bus_LV_245-2_0_4_node_91 | 0.4 | n |  | TRUE
57 | bus_LV_245-2_0_4_node_92 | 0.4 | n |  | TRUE
58 | bus_LV_245-2_0_4_node_89 | 0.4 | n |  | TRUE
59 | bus_LV_245-2_0_4_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_245-2_0_4_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_245-2_0_4_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_245-2_0_4_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_245-2_0_4_node_86 | 0.4 | n |  | TRUE
64 | bus_LV_245-2_0_4_node_85 | 0.4 | n |  | TRUE
65 | bus_LV_245-2_0_4_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_245-2_0_4_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_245-2_0_4_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_245-2_0_4_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_245-2_0_4_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_245-2_0_4_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_245-2_0_4_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_245-2_0_4_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_245-2_0_4_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_245-2_0_4_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_245-2_0_4_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_245-2_0_4_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_245-2_0_4_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_245-2_0_4_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_245-2_0_4_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_245-2_0_4_node_82 | 0.4 | n |  | TRUE
81 | bus_LV_245-2_0_4_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_245-2_0_4_node_87 | 0.4 | n |  | TRUE
83 | bus_LV_245-2_0_4_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_245-2_0_4_node_90 | 0.4 | n |  | TRUE
85 | bus_LV_245-2_0_4_node_93 | 0.4 | n |  | TRUE
86 | bus_LV_245-2_0_4_node_94 | 0.4 | n |  | TRUE
87 | bus_MV_518_0_node_148 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_245-2_0_4_load_0 | 0 | 0.0080439 | 0.002016 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_245-2_0_4_load_1 | 1 | 0.0087805 | 0.0022006 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_245-2_0_4_load_3 | 3 | 0.0095404 | 0.002391 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_245-2_0_4_load_18 | 6 | 0.0038958 | 0.00097639 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_245-2_0_4_load_15 | 8 | 0.024652 | 0.0061783 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_245-2_0_4_load_61 | 10 | 0.0040572 | 0.0010168 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_245-2_0_4_load_62 | 11 | 0.0014073 | 0.00035271 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_245-2_0_4_load_13 | 12 | 0.017026 | 0.0042671 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_245-2_0_4_load_14 | 13 | 0.0089922 | 0.0022537 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_245-2_0_4_load_8 | 15 | 0.0067685 | 0.0016963 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_245-2_0_4_load_9 | 16 | 0.0050394 | 0.001263 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_245-2_0_4_load_63 | 17 | 0.0047985 | 0.0012026 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_245-2_0_4_load_12 | 18 | 0.0082929 | 0.0020784 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_245-2_0_4_load_7 | 19 | 0.0093277 | 0.0023378 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_245-2_0_4_load_64 | 20 | 0.0044024 | 0.0011033 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_245-2_0_4_load_6 | 21 | 0.009313 | 0.0023341 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_245-2_0_4_load_95 | 22 | 0.013915 | 0.0034873 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_245-2_0_4_load_26 | 25 | 0.014209 | 0.0035611 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_245-2_0_4_load_22 | 26 | 0.013829 | 0.0034658 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_245-2_0_4_load_67 | 28 | 0.0024146 | 0.00060516 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_245-2_0_4_load_65 | 29 | 0.0028406 | 0.00071193 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_245-2_0_4_load_31 | 30 | 0.0031434 | 0.00078782 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_245-2_0_4_load_38 | 35 | 0.0070082 | 0.0017564 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_245-2_0_4_load_36 | 36 | 0.0074915 | 0.0018775 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_245-2_0_4_load_43 | 38 | 0.0051298 | 0.0012856 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_245-2_0_4_load_29 | 39 | 0.0055095 | 0.0013808 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_245-2_0_4_load_44 | 44 | 0.004963 | 0.0012439 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_245-2_0_4_load_30 | 45 | 0.011757 | 0.0029465 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_245-2_0_4_load_35 | 47 | 0.0032494 | 0.00081436 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_245-2_0_4_load_66 | 48 | 0.0030241 | 0.00075792 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_245-2_0_4_load_71 | 50 | 0.0027414 | 0.00068707 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_245-2_0_4_load_53 | 51 | 0.0010137 | 0.00025405 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_245-2_0_4_load_50 | 52 | 0.0038246 | 0.00095853 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_245-2_0_4_load_39 | 53 | 0.0059391 | 0.0014885 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_245-2_0_4_load_88 | 55 | 0.015567 | 0.0039014 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_245-2_0_4_load_91 | 56 | 0.028132 | 0.0070506 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_245-2_0_4_load_59 | 60 | 0.0045156 | 0.0011317 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_245-2_0_4_load_49 | 61 | 0.0058666 | 0.0014703 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_245-2_0_4_load_56 | 62 | 0.0045073 | 0.0011296 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_245-2_0_4_load_86 | 63 | 0.010142 | 0.0025419 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_245-2_0_4_load_85 | 64 | 0.013189 | 0.0033056 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_245-2_0_4_load_54 | 65 | 0.0069826 | 0.00175 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_245-2_0_4_load_57 | 67 | 0.0049474 | 0.0012399 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_245-2_0_4_load_70 | 69 | 0.0052537 | 0.0013167 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_245-2_0_4_load_73 | 71 | 0.0069025 | 0.0017299 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_245-2_0_4_load_80 | 72 | 0.0055615 | 0.0013938 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_245-2_0_4_load_79 | 73 | 0.0023961 | 0.00060051 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_245-2_0_4_load_72 | 74 | 0.0036954 | 0.00092615 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_245-2_0_4_load_75 | 75 | 0.0021878 | 0.00054831 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_245-2_0_4_load_77 | 77 | 0.0023484 | 0.00058856 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_245-2_0_4_load_78 | 78 | 0.0066128 | 0.0016573 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_245-2_0_4_load_81 | 79 | 0.0043729 | 0.001096 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_245-2_0_4_load_82 | 80 | 0.007219 | 0.0018092 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_245-2_0_4_load_87 | 82 | 0.002999 | 0.00075161 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_245-2_0_4_load_84 | 83 | 0.0058034 | 0.0014545 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_245-2_0_4_load_90 | 84 | 0.035272 | 0.00884 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_245-2_0_4_load_93 | 85 | 0.023633 | 0.0059229 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_245-2_0_4_load_94 | 86 | 0.016281 | 0.0040803 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_245-2_0_4_line_0 |  | 0 | 1 | 0.036205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_245-2_0_4_line_1 |  | 0 | 2 | 0.018142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_245-2_0_4_line_2 |  | 1 | 3 | 0.04086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_245-2_0_4_line_3 |  | 2 | 4 | 0.003949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_245-2_0_4_line_4 |  | 3 | 9 | 0.039307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_245-2_0_4_line_5 |  | 4 | 13 | 0.04243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_245-2_0_4_line_6 |  | 5 | 6 | 0.020213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_245-2_0_4_line_7 |  | 5 | 7 | 0.034003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_245-2_0_4_line_8 |  | 5 | 8 | 0.036056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_245-2_0_4_line_9 |  | 6 | 10 | 0.02809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_245-2_0_4_line_10 |  | 7 | 22 | 0.047832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_245-2_0_4_line_11 |  | 7 | 23 | 0.03231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_245-2_0_4_line_12 |  | 9 | 14 | 0.003981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_245-2_0_4_line_13 |  | 9 | 15 | 0.0354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_245-2_0_4_line_14 |  | 9 | 16 | 0.014166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_245-2_0_4_line_15 |  | 10 | 11 | 0.026083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_245-2_0_4_line_16 |  | 10 | 12 | 0.059008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_245-2_0_4_line_17 |  | 11 | 17 | 0.016957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_245-2_0_4_line_18 |  | 12 | 13 | 0.03542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_245-2_0_4_line_19 |  | 14 | 18 | 0.0045687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_245-2_0_4_line_20 |  | 15 | 19 | 0.035045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_245-2_0_4_line_21 |  | 17 | 20 | 0.03585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_245-2_0_4_line_22 |  | 19 | 21 | 0.036049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_245-2_0_4_line_23 |  | 23 | 30 | 0.016579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_245-2_0_4_line_24 |  | 24 | 25 | 0.026145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_245-2_0_4_line_25 |  | 24 | 26 | 0.049178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_245-2_0_4_line_26 |  | 25 | 31 | 0.023545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_245-2_0_4_line_27 |  | 27 | 28 | 0.031312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_245-2_0_4_line_28 |  | 27 | 29 | 0.0172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_245-2_0_4_line_29 |  | 29 | 32 | 0.012927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_245-2_0_4_line_30 |  | 30 | 45 | 0.0075194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_245-2_0_4_line_31 |  | 31 | 39 | 0.013361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_245-2_0_4_line_32 |  | 31 | 34 | 0.030962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_245-2_0_4_line_33 |  | 32 | 48 | 0.0073555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_245-2_0_4_line_34 |  | 32 | 46 | 0.025416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_245-2_0_4_line_35 |  | 33 | 34 | 0.032663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_245-2_0_4_line_36 |  | 33 | 35 | 0.011801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_245-2_0_4_line_37 |  | 34 | 38 | 0.015036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_245-2_0_4_line_38 |  | 36 | 37 | 0.014192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_245-2_0_4_line_39 |  | 37 | 53 | 0.019899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_245-2_0_4_line_40 |  | 38 | 40 | 0.035794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_245-2_0_4_line_41 |  | 40 | 44 | 0.018685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_245-2_0_4_line_42 |  | 40 | 53 | 0.015387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_245-2_0_4_line_43 |  | 41 | 42 | 0.017537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_245-2_0_4_line_44 |  | 41 | 43 | 0.002921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_245-2_0_4_line_45 |  | 41 | 44 | 0.015348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_245-2_0_4_line_46 |  | 42 | 59 | 0.040297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_245-2_0_4_line_47 |  | 42 | 60 | 0.011346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_245-2_0_4_line_48 |  | 43 | 54 | 0.018261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_245-2_0_4_line_49 |  | 45 | 46 | 0.006067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_245-2_0_4_line_50 |  | 46 | 47 | 0.016215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_245-2_0_4_line_51 |  | 47 | 49 | 0.0041681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_245-2_0_4_line_52 |  | 48 | 50 | 0.020164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_245-2_0_4_line_53 |  | 49 | 51 | 0.0090883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_245-2_0_4_line_54 |  | 49 | 52 | 0.042981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_245-2_0_4_line_55 |  | 50 | 74 | 0.023444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_245-2_0_4_line_56 |  | 51 | 65 | 0.008752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_245-2_0_4_line_57 |  | 52 | 61 | 0.028518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_245-2_0_4_line_58 |  | 54 | 55 | 0.041432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_245-2_0_4_line_59 |  | 55 | 58 | 0.042028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_245-2_0_4_line_60 |  | 56 | 57 | 0.044168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_245-2_0_4_line_61 |  | 57 | 85 | 0.031652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_245-2_0_4_line_62 |  | 57 | 84 | 0.0029165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_245-2_0_4_line_63 |  | 58 | 84 | 0.029243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_245-2_0_4_line_64 |  | 58 | 82 | 0.013232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_245-2_0_4_line_65 |  | 59 | 61 | 0.010014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_245-2_0_4_line_66 |  | 60 | 62 | 0.031011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_245-2_0_4_line_67 |  | 63 | 64 | 0.010451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_245-2_0_4_line_68 |  | 64 | 83 | 0.020405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_245-2_0_4_line_69 |  | 65 | 66 | 0.029687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_245-2_0_4_line_70 |  | 66 | 67 | 0.015885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_245-2_0_4_line_71 |  | 66 | 68 | 0.006972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_245-2_0_4_line_72 |  | 67 | 69 | 0.035057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_245-2_0_4_line_73 |  | 68 | 70 | 0.004144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_245-2_0_4_line_74 |  | 68 | 71 | 0.044243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_245-2_0_4_line_75 |  | 70 | 72 | 0.027833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_245-2_0_4_line_76 |  | 70 | 73 | 0.026916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_245-2_0_4_line_77 |  | 75 | 76 | 0.044799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_245-2_0_4_line_78 |  | 76 | 77 | 0.016183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_245-2_0_4_line_79 |  | 76 | 78 | 0.010847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_245-2_0_4_line_80 |  | 78 | 79 | 0.014637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_245-2_0_4_line_81 |  | 79 | 80 | 0.027151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_245-2_0_4_line_82 |  | 80 | 81 | 0.020721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_245-2_0_4_line_83 |  | 81 | 82 | 0.021069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_245-2_0_4_line_84 |  | 81 | 83 | 0.017193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_245-2_0_4_line_85 |  | 85 | 86 | 0.13511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_245-2_0_4_trafo_51 | 0.63 MVA 20/0.4 kV | 87 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2678196.4744 | 1250961.4822 | 2678177.5969 | 1250963.6964 | 2678160.6769 | 1250966.7768
1 | 2678214.4927 | 1250959.3688 | 2678196.4744 | 1250961.4822
2 | 2678160.6769 | 1250966.7768 | 2678147.6993 | 1250969.1394 | 2678131.2966 | 1250973.0594 | 2678120.7485 | 1250975.4003
3 | 2678214.8711 | 1250963.2989 | 2678214.4927 | 1250959.3688
4 | 2678082.4583 | 1250984.2797 | 2678102.1825 | 1250979.7807 | 2678117.6763 | 1250976.0821 | 2678120.7485 | 1250975.4003
5 | 2678214.8711 | 1250963.2989 | 2678174.5139 | 1250967.9255 | 2678172.7403 | 1250968.2772
6 | 2678201.6995 | 1251027.2388 | 2678186.18 | 1251029.4579 | 2678181.6483 | 1251029.2574
7 | 2678201.6995 | 1251027.2388 | 2678202.4604 | 1251033.0753 | 2678203.1661 | 1251038.5109 | 2678188.6521 | 1251040.6209 | 2678181.0563 | 1251043.0336
8 | 2678201.6995 | 1251027.2388 | 2678237.5283 | 1251023.1965
9 | 2678181.6483 | 1251029.2574 | 2678172.9245 | 1251028.8715 | 2678153.8756 | 1251032.3138
10 | 2678209.6252 | 1251069.0185 | 2678192.8785 | 1251071.5661 | 2678186.0476 | 1251057.7881 | 2678181.0563 | 1251043.0336
11 | 2678149.4342 | 1251049.9106 | 2678167.2608 | 1251046.7544 | 2678175.7727 | 1251044.7096 | 2678181.0563 | 1251043.0336
12 | 2678083.2978 | 1250988.1714 | 2678082.4583 | 1250984.2797
13 | 2678082.4583 | 1250984.2797 | 2678083.1142 | 1250979.7628 | 2678097.8605 | 1250958.3302 | 2678101.2648 | 1250954.917
14 | 2678082.4583 | 1250984.2797 | 2678068.6796 | 1250987.5697
15 | 2678153.8756 | 1251032.3138 | 2678151.3059 | 1251032.7782 | 2678135.4379 | 1251038.5288 | 2678129.0774 | 1251040.266
16 | 2678153.8756 | 1251032.3138 | 2678138.0604 | 1250975.4647
17 | 2678112.7197 | 1251044.7336 | 2678129.0774 | 1251040.266
18 | 2678138.0604 | 1250975.4647 | 2678147.751 | 1250973.232 | 2678172.7403 | 1250968.2772
19 | 2678083.2978 | 1250988.1714 | 2678087.7434 | 1250987.1176
20 | 2678134.8189 | 1250945.1721 | 2678107.507 | 1250952.1083 | 2678105.0959 | 1250952.9104 | 2678101.2648 | 1250954.917 | 2678101.2648 | 1250954.917
21 | 2678112.7197 | 1251044.7336 | 2678078.1363 | 1251054.1791
22 | 2678169.759 | 1250936.2986 | 2678134.8189 | 1250945.1721
23 | 2678149.4342 | 1251049.9106 | 2678149.7354 | 1251051.1154 | 2678144.7623 | 1251053.8519 | 2678146.8421 | 1251063.2862
24 | 2678234.7497 | 1251035.1363 | 2678236.0551 | 1251039.7458 | 2678240.8245 | 1251060.5606
25 | 2678234.7497 | 1251035.1363 | 2678272.0011 | 1251031.2919 | 2678277.0447 | 1251032.9264 | 2678283.4364 | 1251032.2561
26 | 2678246.083 | 1251083.5103 | 2678240.8245 | 1251060.5606
27 | 2678117.8166 | 1251054.7306 | 2678087.7156 | 1251063.3528
28 | 2678117.8166 | 1251054.7306 | 2678122.6542 | 1251071.236
29 | 2678126.29 | 1251083.6413 | 2678122.6542 | 1251071.236
30 | 2678150.3704 | 1251069.9265 | 2678150.3704 | 1251069.9265 | 2678146.8421 | 1251063.2862
31 | 2678246.083 | 1251083.5103 | 2678248.1172 | 1251092.3881 | 2678248.2441 | 1251096.6395
32 | 2678246.083 | 1251083.5103 | 2678276.2398 | 1251076.1253
33 | 2678126.29 | 1251083.6413 | 2678119.1605 | 1251085.4505
34 | 2678150.5923 | 1251075.9894 | 2678139.1575 | 1251079.8749 | 2678126.29 | 1251083.6413
35 | 2678276.2398 | 1251076.1253 | 2678308.0551 | 1251068.3398
36 | 2678308.0551 | 1251068.3398 | 2678310.4146 | 1251079.9025
37 | 2678276.2398 | 1251076.1253 | 2678279.6815 | 1251090.7622
38 | 2678330.7946 | 1251112.6729 | 2678344.4811 | 1251108.9194
39 | 2678330.7946 | 1251112.6729 | 2678311.5623 | 1251117.7798
40 | 2678296.6905 | 1251121.7289 | 2678281.8288 | 1251099.8944 | 2678279.6815 | 1251090.7622
41 | 2678296.6905 | 1251121.7289 | 2678278.6439 | 1251126.5696
42 | 2678296.6905 | 1251121.7289 | 2678311.5623 | 1251117.7798
43 | 2678246.8357 | 1251135.1026 | 2678263.8201 | 1251130.5457
44 | 2678265.4716 | 1251132.9582 | 2678263.8201 | 1251130.5457
45 | 2678263.8201 | 1251130.5457 | 2678278.6439 | 1251126.5696
46 | 2678223.0505 | 1251104.7553 | 2678239.3606 | 1251117.5355 | 2678242.7529 | 1251120.7382 | 2678244.2061 | 1251124.449 | 2678246.8357 | 1251135.1026
47 | 2678246.8357 | 1251135.1026 | 2678235.8426 | 1251137.9104
48 | 2678265.4716 | 1251132.9582 | 2678283.3396 | 1251128.9468
49 | 2678150.5923 | 1251075.9894 | 2678150.3704 | 1251069.9265
50 | 2678150.5923 | 1251075.9894 | 2678154.5102 | 1251091.7243
51 | 2678155.5173 | 1251095.7689 | 2678154.5102 | 1251091.7243
52 | 2678119.1605 | 1251085.4505 | 2678099.6156 | 1251090.4102
53 | 2678155.5173 | 1251095.7689 | 2678157.7104 | 1251104.5886
54 | 2678155.5173 | 1251095.7689 | 2678197.833 | 1251088.2374
55 | 2678099.6156 | 1251090.4102 | 2678080.4289 | 1251095.2789 | 2678076.9897 | 1251096.4992
56 | 2678158.7207 | 1251113.2122 | 2678158.7574 | 1251108.799 | 2678157.7104 | 1251104.5886
57 | 2678220.9143 | 1251094.9713 | 2678220.7228 | 1251094.0945 | 2678214.3168 | 1251085.3035 | 2678197.833 | 1251088.2374
58 | 2678283.3396 | 1251128.9468 | 2678289.4204 | 1251138.3451 | 2678285.5622 | 1251168.3361
59 | 2678281.8213 | 1251210.1198 | 2678281.7476 | 1251197.9876 | 2678285.5622 | 1251168.3361
60 | 2678313.9776 | 1251210.1779 | 2678315.6869 | 1251166.0435
61 | 2678313.9776 | 1251210.1779 | 2678345.6271 | 1251210.5757
62 | 2678313.9776 | 1251210.1779 | 2678311.0613 | 1251210.141
63 | 2678281.8213 | 1251210.1198 | 2678293.4639 | 1251209.9178 | 2678311.0613 | 1251210.141
64 | 2678281.8213 | 1251210.1198 | 2678268.6002 | 1251210.6485
65 | 2678223.0505 | 1251104.7553 | 2678220.9143 | 1251094.9713
66 | 2678235.8426 | 1251137.9104 | 2678234.9972 | 1251138.1264 | 2678219.3572 | 1251141.4891 | 2678205.3342 | 1251143.3115
67 | 2678245.3361 | 1251173.9578 | 2678244.7214 | 1251163.5245
68 | 2678246.5364 | 1251194.3275 | 2678245.3361 | 1251173.9578
69 | 2678158.4735 | 1251142.8981 | 2678158.7207 | 1251113.2122
70 | 2678158.4735 | 1251142.8981 | 2678143.9967 | 1251143.352 | 2678142.5974 | 1251143.4173
71 | 2678158.4193 | 1251149.8692 | 2678158.4735 | 1251142.8981
72 | 2678142.5974 | 1251143.4173 | 2678129.5094 | 1251144.0282 | 2678113.4937 | 1251146.1186 | 2678107.7903 | 1251147.1897
73 | 2678162.5729 | 1251149.7238 | 2678158.4193 | 1251149.8692
74 | 2678158.4193 | 1251149.8692 | 2678132.9608 | 1251150.2004 | 2678114.3723 | 1251152.8918
75 | 2678162.5729 | 1251149.7238 | 2678190.3905 | 1251148.8004
76 | 2678162.5729 | 1251149.7238 | 2678162.549 | 1251151.536 | 2678167.9086 | 1251152.1071 | 2678167.6023 | 1251159.8754 | 2678163.1467 | 1251160.0167 | 2678162.9547 | 1251167.4963
77 | 2678174.3527 | 1251216.3504 | 2678129.652 | 1251219.3179
78 | 2678174.3527 | 1251216.3504 | 2678173.5184 | 1251200.1891
79 | 2678174.3527 | 1251216.3504 | 2678185.1756 | 1251215.6318
80 | 2678199.78 | 1251214.6621 | 2678185.1756 | 1251215.6318
81 | 2678199.78 | 1251214.6621 | 2678226.8718 | 1251212.8633
82 | 2678247.5476 | 1251211.4904 | 2678226.8718 | 1251212.8633
83 | 2678247.5476 | 1251211.4904 | 2678268.6002 | 1251210.6485
84 | 2678247.5476 | 1251211.4904 | 2678246.5364 | 1251194.3275
85 | 2678345.6271 | 1251210.5757 | 2678395.276 | 1251336.2369

## bus_geodata
| x | y | coords
0 | 2678196.4744 | 1250961.4822
1 | 2678160.6769 | 1250966.7768
2 | 2678214.4927 | 1250959.3688
3 | 2678120.7485 | 1250975.4003
4 | 2678214.8711 | 1250963.2989
5 | 2678201.6995 | 1251027.2388
6 | 2678181.6484 | 1251029.2574
7 | 2678181.0563 | 1251043.0336
8 | 2678237.5283 | 1251023.1965
9 | 2678082.4583 | 1250984.2797
10 | 2678153.8756 | 1251032.3138
11 | 2678129.0774 | 1251040.266
12 | 2678138.0604 | 1250975.4647
13 | 2678172.7403 | 1250968.2772
14 | 2678083.2978 | 1250988.1714
15 | 2678101.2648 | 1250954.917
16 | 2678068.6796 | 1250987.5697
17 | 2678112.7197 | 1251044.7336
18 | 2678087.7434 | 1250987.1176
19 | 2678134.8189 | 1250945.1721
20 | 2678078.1363 | 1251054.1791
21 | 2678169.759 | 1250936.2986
22 | 2678209.6252 | 1251069.0185
23 | 2678149.4342 | 1251049.9106
24 | 2678234.7497 | 1251035.1363
25 | 2678240.8245 | 1251060.5606
26 | 2678283.4364 | 1251032.2561
27 | 2678117.8166 | 1251054.7306
28 | 2678087.7156 | 1251063.3528
29 | 2678122.6542 | 1251071.236
30 | 2678146.8421 | 1251063.2862
31 | 2678246.083 | 1251083.5103
32 | 2678126.29 | 1251083.6413
33 | 2678308.0552 | 1251068.3398
34 | 2678276.2398 | 1251076.1253
35 | 2678310.4146 | 1251079.9025
36 | 2678344.4811 | 1251108.9194
37 | 2678330.7946 | 1251112.6729
38 | 2678279.6815 | 1251090.7622
39 | 2678248.2441 | 1251096.6395
40 | 2678296.6905 | 1251121.7289
41 | 2678263.8201 | 1251130.5457
42 | 2678246.8357 | 1251135.1026
43 | 2678265.4716 | 1251132.9582
44 | 2678278.6439 | 1251126.5696
45 | 2678150.3704 | 1251069.9265
46 | 2678150.5923 | 1251075.9894
47 | 2678154.5102 | 1251091.7243
48 | 2678119.1605 | 1251085.4505
49 | 2678155.5173 | 1251095.7689
50 | 2678099.6156 | 1251090.4102
51 | 2678157.7104 | 1251104.5886
52 | 2678197.833 | 1251088.2374
53 | 2678311.5623 | 1251117.7798
54 | 2678283.3395 | 1251128.9468
55 | 2678285.5622 | 1251168.3361
56 | 2678315.6869 | 1251166.0435
57 | 2678313.9776 | 1251210.1779
58 | 2678281.8213 | 1251210.1198
59 | 2678223.0505 | 1251104.7553
60 | 2678235.8426 | 1251137.9104
61 | 2678220.9143 | 1251094.9713
62 | 2678205.3342 | 1251143.3115
63 | 2678244.7214 | 1251163.5245
64 | 2678245.3361 | 1251173.9578
65 | 2678158.7207 | 1251113.2122
66 | 2678158.4735 | 1251142.8981
67 | 2678142.5974 | 1251143.4173
68 | 2678158.4193 | 1251149.8692
69 | 2678107.7903 | 1251147.1897
70 | 2678162.5729 | 1251149.7238
71 | 2678114.3723 | 1251152.8918
72 | 2678190.3905 | 1251148.8004
73 | 2678162.9547 | 1251167.4963
74 | 2678076.9897 | 1251096.4992
75 | 2678129.652 | 1251219.3179
76 | 2678174.3527 | 1251216.3504
77 | 2678173.5184 | 1251200.1891
78 | 2678185.1756 | 1251215.6318
79 | 2678199.78 | 1251214.6621
80 | 2678226.8718 | 1251212.8633
81 | 2678247.5476 | 1251211.4904
82 | 2678268.6002 | 1251210.6485
83 | 2678246.5364 | 1251194.3275
84 | 2678311.0613 | 1251210.141
85 | 2678345.6271 | 1251210.5757
86 | 2678395.276 | 1251336.2369
87 | 2678220.3982 | 1251125.5355

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97557 | -0.4703 | 0.0080439 | 0.002016
1 | 0.97461 | -0.48924 | 0.0087805 | 0.0022006
2 | 0.97612 | -0.45949 | 0 | 0
3 | 0.97369 | -0.50736 | 0.0095404 | 0.002391
4 | 0.97624 | -0.45714 | 0 | 0
5 | 0.98367 | -0.31234 | 0 | 0
6 | 0.98264 | -0.33233 | 0.0038958 | 0.00097639
7 | 0.98579 | -0.27127 | 0 | 0
8 | 0.98285 | -0.32836 | 0.024652 | 0.0061783
9 | 0.97227 | -0.5354 | 0 | 0
10 | 0.98126 | -0.35919 | 0.0040572 | 0.0010168
11 | 0.981 | -0.3642 | 0.0014073 | 0.00035271
12 | 0.97875 | -0.40799 | 0.017026 | 0.0042671
13 | 0.97753 | -0.43191 | 0.0089922 | 0.0022537
14 | 0.97224 | -0.53601 | 0 | 0
15 | 0.97143 | -0.552 | 0.0067685 | 0.0016963
16 | 0.9722 | -0.53671 | 0.0050394 | 0.001263
17 | 0.98086 | -0.36703 | 0.0047985 | 0.0012026
18 | 0.9722 | -0.53671 | 0.0082929 | 0.0020784
19 | 0.97082 | -0.56407 | 0.0093277 | 0.0023378
20 | 0.98071 | -0.36989 | 0.0044024 | 0.0011033
21 | 0.9705 | -0.57028 | 0.009313 | 0.0023341
22 | 0.98518 | -0.28322 | 0.013915 | 0.0034873
23 | 0.98802 | -0.22841 | 0 | 0
24 | 0.98762 | -0.23745 | 0 | 0
25 | 0.98796 | -0.23099 | 0.014209 | 0.0035611
26 | 0.987 | -0.24961 | 0.013829 | 0.0034658
27 | 0.9897 | -0.19614 | 0 | 0
28 | 0.98963 | -0.19749 | 0.0024146 | 0.00060516
29 | 0.98974 | -0.19541 | 0.0028406 | 0.00071193
30 | 0.98916 | -0.20648 | 0.0031434 | 0.00078782
31 | 0.98856 | -0.21921 | 0 | 0
32 | 0.9898 | -0.1942 | 0 | 0
33 | 0.98931 | -0.20478 | 0 | 0
34 | 0.98952 | -0.2007 | 0 | 0
35 | 0.98923 | -0.20625 | 0.0070082 | 0.0017564
36 | 0.99115 | -0.16901 | 0.0074915 | 0.0018775
37 | 0.99125 | -0.16712 | 0 | 0
38 | 0.99008 | -0.18985 | 0.0051298 | 0.0012856
39 | 0.9885 | -0.22052 | 0.0055095 | 0.0013808
40 | 0.99158 | -0.16081 | 0 | 0
41 | 0.99349 | -0.12386 | 0 | 0
42 | 0.99541 | -0.087104 | 0 | 0
43 | 0.99326 | -0.12835 | 0 | 0
44 | 0.99259 | -0.14125 | 0.004963 | 0.0012439
45 | 0.98969 | -0.19635 | 0.011757 | 0.0029465
46 | 0.99014 | -0.18754 | 0 | 0
47 | 0.99148 | -0.16193 | 0.0032494 | 0.00081436
48 | 0.98974 | -0.19543 | 0.0030241 | 0.00075792
49 | 0.99183 | -0.15524 | 0 | 0
50 | 0.98962 | -0.19774 | 0.0027414 | 0.00068707
51 | 0.99156 | -0.16057 | 0.0010137 | 0.00025405
52 | 0.99609 | -0.074023 | 0.0038246 | 0.00095853
53 | 0.99139 | -0.16448 | 0.0059391 | 0.0014885
54 | 0.99179 | -0.15642 | 0 | 0
55 | 0.98847 | -0.22042 | 0.015567 | 0.0039014
56 | 0.98127 | -0.36035 | 0.028132 | 0.0070506
57 | 0.98242 | -0.33789 | 0 | 0
58 | 0.9854 | -0.27992 | 0 | 0
59 | 1 | 0 | -0.47962 | -0.12257
60 | 0.99532 | -0.088905 | 0.0045156 | 0.0011317
61 | 0.99896 | -0.019562 | 0.0058666 | 0.0014703
62 | 0.99519 | -0.091365 | 0.0045073 | 0.0011296
63 | 0.98272 | -0.33215 | 0.010142 | 0.0025419
64 | 0.98282 | -0.33024 | 0.013189 | 0.0033056
65 | 0.9913 | -0.16554 | 0.0069826 | 0.00175
66 | 0.99062 | -0.17875 | 0 | 0
67 | 0.99047 | -0.18163 | 0.0049474 | 0.0012399
68 | 0.99052 | -0.18059 | 0 | 0
69 | 0.9903 | -0.1849 | 0.0052537 | 0.0013167
70 | 0.99049 | -0.18118 | 0 | 0
71 | 0.99024 | -0.18602 | 0.0069025 | 0.0017299
72 | 0.99035 | -0.18393 | 0.0055615 | 0.0013938
73 | 0.99043 | -0.18232 | 0.0023961 | 0.00060051
74 | 0.98954 | -0.19929 | 0.0036954 | 0.00092615
75 | 0.98261 | -0.33432 | 0.0021878 | 0.00054831
76 | 0.9827 | -0.33256 | 0 | 0
77 | 0.98266 | -0.33324 | 0.0023484 | 0.00058856
78 | 0.98274 | -0.33167 | 0.0066128 | 0.0016573
79 | 0.9829 | -0.32872 | 0.0043729 | 0.001096
80 | 0.98328 | -0.32112 | 0.007219 | 0.0018092
81 | 0.98372 | -0.31263 | 0 | 0
82 | 0.98473 | -0.29296 | 0.002999 | 0.00075161
83 | 0.98326 | -0.32165 | 0.0058034 | 0.0014545
84 | 0.9826 | -0.33431 | 0.035272 | 0.00884
85 | 0.98125 | -0.36073 | 0.023633 | 0.0059229
86 | 0.97922 | -0.40064 | 0.016281 | 0.0040803
87 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.057243 | 0.014412 | -0.057191 | -0.01438 | 5.1778e-05 | 3.2235e-05 | 0.087334 | 0.087335 | 0.087335 | 0.97557 | -0.4703 | 0.97461 | -0.48924 | 11.9965
1 | -0.065286 | -0.016428 | 0.06532 | 0.01645 | 3.3747e-05 | 2.1145e-05 | 0.099604 | 0.099603 | 0.099604 | 0.97557 | -0.4703 | 0.97612 | -0.45949 | 13.6818
2 | 0.04841 | 0.01218 | -0.048368 | -0.012154 | 4.1873e-05 | 2.5781e-05 | 0.073929 | 0.073929 | 0.073929 | 0.97461 | -0.48924 | 0.97369 | -0.50736 | 10.1551
3 | -0.06532 | -0.01645 | 0.065328 | 0.016454 | 7.3458e-06 | 4.6025e-06 | 0.099603 | 0.099603 | 0.099603 | 0.97612 | -0.45949 | 0.97624 | -0.45714 | 13.6818
4 | 0.038828 | 0.0097628 | -0.038776 | -0.00973 | 5.192e-05 | 3.274e-05 | 0.059349 | 0.059349 | 0.059349 | 0.97369 | -0.50736 | 0.97227 | -0.5354 | 16.3048
5 | -0.065328 | -0.016454 | 0.065407 | 0.016504 | 7.8926e-05 | 4.945e-05 | 0.099603 | 0.099603 | 0.099603 | 0.97624 | -0.45714 | 0.97753 | -0.43191 | 13.6818
6 | 0.11053 | 0.028022 | -0.11043 | -0.027955 | 0.00010611 | 6.7395e-05 | 0.16732 | 0.16732 | 0.16732 | 0.98367 | -0.31234 | 0.98264 | -0.33233 | 22.9835
7 | -0.1352 | -0.034212 | 0.13547 | 0.034382 | 0.000267 | 0.00017002 | 0.20464 | 0.20464 | 0.20464 | 0.98367 | -0.31234 | 0.98579 | -0.27127 | 28.1102
8 | 0.024671 | 0.0061899 | -0.024652 | -0.0061783 | 1.8834e-05 | 1.1596e-05 | 0.037322 | 0.037322 | 0.037322 | 0.98367 | -0.31234 | 0.98285 | -0.32836 | 10.2534
9 | 0.10653 | 0.026978 | -0.10639 | -0.026891 | 0.00013724 | 8.712e-05 | 0.16142 | 0.16142 | 0.16142 | 0.98264 | -0.33233 | 0.98126 | -0.35919 | 22.1732
10 | 0.013923 | 0.0034918 | -0.013915 | -0.0034873 | 7.9227e-06 | 4.4611e-06 | 0.021016 | 0.021017 | 0.021017 | 0.98579 | -0.27127 | 0.98518 | -0.28322 | 5.7738
11 | -0.14939 | -0.037874 | 0.1497 | 0.03807 | 0.00030849 | 0.00019661 | 0.22566 | 0.22566 | 0.22566 | 0.98579 | -0.27127 | 0.98802 | -0.22841 | 30.997
12 | 0.0082935 | 0.0020786 | -0.0082932 | -0.0020785 | 2.4051e-07 | 1.0456e-07 | 0.012693 | 0.012693 | 0.012693 | 0.97227 | -0.5354 | 0.97224 | -0.53601 | 3.4871
13 | 0.025443 | 0.0063884 | -0.025423 | -0.0063759 | 2.0133e-05 | 1.2447e-05 | 0.038944 | 0.038944 | 0.038944 | 0.97227 | -0.5354 | 0.97143 | -0.552 | 10.6988
14 | 0.0050397 | 0.001263 | -0.0050394 | -0.001263 | 3.1603e-07 | 2.6591e-08 | 0.007713 | 0.0077131 | 0.0077131 | 0.97227 | -0.5354 | 0.9722 | -0.53671 | 2.119
15 | 0.010613 | 0.0026605 | -0.01061 | -0.0026592 | 2.5333e-06 | 1.2919e-06 | 0.016093 | 0.016094 | 0.016094 | 0.98126 | -0.35919 | 0.981 | -0.3642 | 4.4213
16 | 0.091724 | 0.023214 | -0.09151 | -0.023078 | 0.00021431 | 0.00013567 | 0.13917 | 0.13918 | 0.13918 | 0.98126 | -0.35919 | 0.97875 | -0.40799 | 19.1175
17 | 0.0092027 | 0.0023065 | -0.0092014 | -0.0023059 | 1.239e-06 | 5.7893e-07 | 0.013959 | 0.013959 | 0.013959 | 0.981 | -0.3642 | 0.98086 | -0.36703 | 3.8349
18 | 0.074484 | 0.018811 | -0.074399 | -0.018757 | 8.524e-05 | 5.3664e-05 | 0.11329 | 0.11329 | 0.11329 | 0.97875 | -0.40799 | 0.97753 | -0.43191 | 15.562
19 | 0.0082932 | 0.0020785 | -0.0082929 | -0.0020784 | 2.7602e-07 | 1.2e-07 | 0.012693 | 0.012693 | 0.012693 | 0.97224 | -0.53601 | 0.9722 | -0.53671 | 3.4871
20 | 0.018654 | 0.0046796 | -0.018644 | -0.0046731 | 1.0731e-05 | 6.4345e-06 | 0.028576 | 0.028576 | 0.028576 | 0.97143 | -0.552 | 0.97082 | -0.56407 | 7.8505
21 | 0.004403 | 0.0011033 | -0.0044024 | -0.0011033 | 5.9981e-07 | -6.8548e-08 | 0.0066794 | 0.0066796 | 0.0066796 | 0.98086 | -0.36703 | 0.98071 | -0.36989 | 1.8351
22 | 0.0093158 | 0.0023354 | -0.009313 | -0.0023341 | 2.7563e-06 | 1.3184e-06 | 0.014279 | 0.014279 | 0.014279 | 0.97082 | -0.56407 | 0.9705 | -0.57028 | 3.9228
23 | -0.1497 | -0.03807 | 0.14986 | 0.038171 | 0.00015829 | 0.00010088 | 0.22566 | 0.22566 | 0.22566 | 0.98802 | -0.22841 | 0.98916 | -0.20648 | 30.9969
24 | -0.013837 | -0.0034703 | 0.013841 | 0.0034727 | 4.2615e-06 | 2.3927e-06 | 0.020848 | 0.020848 | 0.020848 | 0.98762 | -0.23745 | 0.98796 | -0.23099 | 5.7276
25 | 0.013837 | 0.0034703 | -0.013829 | -0.0034658 | 8.0159e-06 | 4.5012e-06 | 0.020848 | 0.020849 | 0.020849 | 0.98762 | -0.23745 | 0.987 | -0.24961 | 5.7276
26 | -0.02805 | -0.0070338 | 0.028066 | 0.0070436 | 1.576e-05 | 9.7848e-06 | 0.042249 | 0.042249 | 0.042249 | 0.98796 | -0.23099 | 0.98856 | -0.21921 | 11.6069
27 | 0.0024148 | 0.00060485 | -0.0024146 | -0.00060516 | 1.5477e-07 | -3.0329e-07 | 0.0036305 | 0.0036306 | 0.0036306 | 0.9897 | -0.19614 | 0.98963 | -0.19749 | 0.99742
28 | -0.0024148 | -0.00060485 | 0.0024148 | 0.00060469 | 8.501e-08 | -1.6663e-07 | 0.0036305 | 0.0036304 | 0.0036305 | 0.9897 | -0.19614 | 0.98974 | -0.19541 | 0.99738
29 | -0.0052555 | -0.0013166 | 0.0052558 | 0.0013166 | 3.0263e-07 | 2.754e-08 | 0.0079011 | 0.0079011 | 0.0079011 | 0.98974 | -0.19541 | 0.9898 | -0.1942 | 2.1706
30 | -0.153 | -0.038959 | 0.15308 | 0.039007 | 7.4834e-05 | 4.7701e-05 | 0.23039 | 0.23039 | 0.23039 | 0.98916 | -0.20648 | 0.98969 | -0.19635 | 31.6465
31 | 0.0055098 | 0.0013809 | -0.0055095 | -0.0013808 | 3.4463e-07 | 4.9276e-08 | 0.0082935 | 0.0082936 | 0.0082936 | 0.98856 | -0.21921 | 0.9885 | -0.22052 | 2.2785
32 | -0.033576 | -0.0084245 | 0.033605 | 0.0084431 | 2.966e-05 | 1.8585e-05 | 0.050543 | 0.050543 | 0.050543 | 0.98856 | -0.21921 | 0.98952 | -0.2007 | 13.8853
33 | 0.0094625 | 0.0023715 | -0.0094619 | -0.0023712 | 5.5818e-07 | 2.627e-07 | 0.014225 | 0.014225 | 0.014225 | 0.9898 | -0.1942 | 0.98974 | -0.19543 | 3.9081
34 | -0.014718 | -0.0036881 | 0.014723 | 0.0036908 | 4.6662e-06 | 2.6596e-06 | 0.022126 | 0.022126 | 0.022126 | 0.9898 | -0.1942 | 0.99014 | -0.18754 | 6.0787
35 | -0.0070087 | -0.0017566 | 0.0070101 | 0.001757 | 1.3612e-06 | 4.5166e-07 | 0.010542 | 0.010542 | 0.010542 | 0.98931 | -0.20478 | 0.98952 | -0.2007 | 2.8961
36 | 0.0070087 | 0.0017566 | -0.0070082 | -0.0017564 | 4.9179e-07 | 1.6323e-07 | 0.010542 | 0.010542 | 0.010542 | 0.98931 | -0.20478 | 0.98923 | -0.20625 | 2.8961
37 | -0.040615 | -0.0102 | 0.040637 | 0.010213 | 2.1039e-05 | 1.3272e-05 | 0.061084 | 0.061084 | 0.061084 | 0.98952 | -0.2007 | 0.99008 | -0.18985 | 16.7814
38 | -0.0074915 | -0.0018775 | 0.0074921 | 0.0018778 | 6.7319e-07 | 2.4791e-07 | 0.011247 | 0.011247 | 0.011247 | 0.99115 | -0.16901 | 0.99125 | -0.16712 | 3.0898
39 | -0.0074921 | -0.0018778 | 0.0074931 | 0.0018781 | 9.4388e-07 | 3.4754e-07 | 0.011247 | 0.011247 | 0.011247 | 0.99125 | -0.16712 | 0.99139 | -0.16448 | 3.0898
40 | -0.045766 | -0.011499 | 0.04583 | 0.011539 | 6.3524e-05 | 4.0194e-05 | 0.068794 | 0.068794 | 0.068794 | 0.99008 | -0.18985 | 0.99158 | -0.16081 | 18.8994
41 | -0.059264 | -0.014907 | 0.05932 | 0.014942 | 5.5444e-05 | 3.5243e-05 | 0.088955 | 0.088955 | 0.088955 | 0.99158 | -0.16081 | 0.99259 | -0.14125 | 24.4381
42 | 0.013435 | 0.0033679 | -0.013432 | -0.0033666 | 2.3454e-06 | 1.3026e-06 | 0.020161 | 0.020161 | 0.020161 | 0.99158 | -0.16081 | 0.99139 | -0.16448 | 5.5388
43 | -0.23987 | -0.060895 | 0.24029 | 0.061167 | 0.00042507 | 0.00027159 | 0.35955 | 0.35955 | 0.35955 | 0.99349 | -0.12386 | 0.99541 | -0.087104 | 49.3881
44 | 0.17553 | 0.044675 | -0.1755 | -0.044651 | 3.7926e-05 | 2.4197e-05 | 0.26315 | 0.26315 | 0.26315 | 0.99349 | -0.12386 | 0.99326 | -0.12835 | 36.1471
45 | 0.064336 | 0.01622 | -0.064283 | -0.016186 | 5.3479e-05 | 3.4028e-05 | 0.096395 | 0.096395 | 0.096395 | 0.99349 | -0.12386 | 0.99259 | -0.14125 | 26.4821
46 | -0.24932 | -0.063429 | 0.25037 | 0.064101 | 0.0010514 | 0.00067185 | 0.37303 | 0.37303 | 0.37303 | 0.99541 | -0.087104 | 1 | 0 | 51.2411
47 | 0.0090242 | 0.0022616 | -0.0090235 | -0.0022613 | 7.7429e-07 | 3.4807e-07 | 0.01349 | 0.01349 | 0.01349 | 0.99541 | -0.087104 | 0.99532 | -0.088905 | 3.7061
48 | 0.1755 | 0.044651 | -0.17526 | -0.0445 | 0.0002371 | 0.00015127 | 0.26315 | 0.26315 | 0.26315 | 0.99326 | -0.12835 | 0.99179 | -0.15642 | 36.1471
49 | -0.16483 | -0.041953 | 0.1649 | 0.041998 | 7e-05 | 4.4644e-05 | 0.24806 | 0.24806 | 0.24806 | 0.98969 | -0.19635 | 0.99014 | -0.18754 | 34.0745
50 | -0.17963 | -0.045689 | 0.17985 | 0.04583 | 0.00022195 | 0.00014163 | 0.27019 | 0.27019 | 0.27019 | 0.99014 | -0.18754 | 0.99148 | -0.16193 | 37.1138
51 | -0.1831 | -0.046645 | 0.18316 | 0.046682 | 5.9131e-05 | 3.7736e-05 | 0.27506 | 0.27506 | 0.27506 | 0.99148 | -0.16193 | 0.99183 | -0.15524 | 37.7836
52 | 0.0064378 | 0.0016133 | -0.0064371 | -0.0016131 | 7.0837e-07 | 1.9425e-07 | 0.0096788 | 0.0096789 | 0.0096789 | 0.98974 | -0.19543 | 0.98962 | -0.19774 | 2.659
53 | 0.033096 | 0.0083067 | -0.033087 | -0.0083014 | 8.4037e-06 | 5.2611e-06 | 0.049657 | 0.049657 | 0.049657 | 0.99183 | -0.15524 | 0.99156 | -0.16057 | 13.6419
54 | -0.21625 | -0.054989 | 0.2171 | 0.055532 | 0.00084976 | 0.00054273 | 0.32472 | 0.32472 | 0.32472 | 0.99183 | -0.15524 | 0.99609 | -0.074023 | 44.6046
55 | 0.0036956 | 0.00092602 | -0.0036954 | -0.00092615 | 2.7147e-07 | -1.2745e-07 | 0.0055568 | 0.0055569 | 0.0055569 | 0.98962 | -0.19774 | 0.98954 | -0.19929 | 1.5266
56 | 0.032073 | 0.0080474 | -0.032066 | -0.0080426 | 7.6044e-06 | 4.754e-06 | 0.048135 | 0.048135 | 0.048135 | 0.99156 | -0.16057 | 0.9913 | -0.16554 | 13.224
57 | -0.22093 | -0.05649 | 0.22151 | 0.056863 | 0.00058383 | 0.00037291 | 0.33043 | 0.33043 | 0.33043 | 0.99609 | -0.074023 | 0.99896 | -0.019562 | 45.3893
58 | 0.17526 | 0.0445 | -0.17472 | -0.044156 | 0.00053796 | 0.00034323 | 0.26315 | 0.26315 | 0.26315 | 0.99179 | -0.15642 | 0.98847 | -0.22042 | 36.1471
59 | 0.15915 | 0.040255 | -0.1587 | -0.039966 | 0.00045284 | 0.00028874 | 0.23972 | 0.23972 | 0.23972 | 0.98847 | -0.22042 | 0.9854 | -0.27992 | 32.9283
60 | -0.028132 | -0.0070506 | 0.028162 | 0.0070694 | 3.0142e-05 | 1.8733e-05 | 0.04266 | 0.04266 | 0.04266 | 0.98127 | -0.36035 | 0.98242 | -0.33789 | 11.7198
61 | 0.039988 | 0.010049 | -0.039944 | -0.010021 | 4.3556e-05 | 2.7476e-05 | 0.060577 | 0.060577 | 0.060577 | 0.98242 | -0.33789 | 0.98125 | -0.36073 | 16.6421
62 | -0.06815 | -0.017118 | 0.068162 | 0.017126 | 1.1657e-05 | 7.4233e-06 | 0.10324 | 0.10324 | 0.10324 | 0.98242 | -0.33789 | 0.9826 | -0.33431 | 28.3618
63 | 0.1037 | 0.026137 | -0.10343 | -0.025966 | 0.00026911 | 0.00017186 | 0.15665 | 0.15665 | 0.15665 | 0.9854 | -0.27992 | 0.9826 | -0.33431 | 43.0361
64 | 0.054998 | 0.013829 | -0.054964 | -0.013807 | 3.4237e-05 | 2.1743e-05 | 0.083067 | 0.083067 | 0.083067 | 0.9854 | -0.27992 | 0.98473 | -0.29296 | 22.8205
65 | 0.22759 | 0.058471 | -0.22738 | -0.058333 | 0.00021601 | 0.00013798 | 0.33917 | 0.33917 | 0.33917 | 1 | 0 | 0.99896 | -0.019562 | 46.5896
66 | 0.0045079 | 0.0011296 | -0.0045073 | -0.0011296 | 5.2817e-07 | -6.4961e-08 | 0.0067392 | 0.0067394 | 0.0067394 | 0.99532 | -0.088905 | 0.99519 | -0.091365 | 1.8515
67 | -0.010142 | -0.0025419 | 0.010143 | 0.0025424 | 9.2436e-07 | 4.5916e-07 | 0.015357 | 0.015357 | 0.015357 | 0.98272 | -0.33215 | 0.98282 | -0.33024 | 4.2191
68 | -0.023333 | -0.005848 | 0.023342 | 0.0058538 | 9.5493e-06 | 5.8528e-06 | 0.035327 | 0.035326 | 0.035327 | 0.98282 | -0.33024 | 0.98326 | -0.32165 | 9.7051
69 | 0.025083 | 0.0062926 | -0.025067 | -0.0062829 | 1.5784e-05 | 9.7194e-06 | 0.037654 | 0.037654 | 0.037654 | 0.9913 | -0.16554 | 0.99062 | -0.17875 | 10.3446
70 | 0.010203 | 0.0025574 | -0.010202 | -0.0025567 | 1.3993e-06 | 6.9106e-07 | 0.015327 | 0.015327 | 0.015327 | 0.99062 | -0.17875 | 0.99047 | -0.18163 | 4.2106
71 | 0.014864 | 0.0037255 | -0.014863 | -0.0037248 | 1.3034e-06 | 7.4442e-07 | 0.022328 | 0.022328 | 0.022328 | 0.99062 | -0.17875 | 0.99052 | -0.18059 | 6.134
72 | 0.0052545 | 0.0013168 | -0.0052537 | -0.0013167 | 8.1922e-07 | 7.318e-08 | 0.0078939 | 0.0078941 | 0.0078941 | 0.99047 | -0.18163 | 0.9903 | -0.1849 | 2.1687
73 | 0.0079586 | 0.0019943 | -0.0079584 | -0.0019942 | 2.2213e-07 | 8.8823e-08 | 0.011956 | 0.011956 | 0.011956 | 0.99052 | -0.18059 | 0.99049 | -0.18118 | 3.2846
74 | 0.0069042 | 0.0017305 | -0.0069025 | -0.0017299 | 1.7849e-06 | 5.7299e-07 | 0.010372 | 0.010372 | 0.010372 | 0.99052 | -0.18059 | 0.99024 | -0.18602 | 2.8495
75 | 0.0055622 | 0.0013939 | -0.0055615 | -0.0013938 | 7.2879e-07 | 1.0824e-07 | 0.0083561 | 0.0083562 | 0.0083562 | 0.99049 | -0.18118 | 0.99035 | -0.18393 | 2.2957
76 | 0.0023962 | 0.00060025 | -0.0023961 | -0.00060051 | 1.308e-07 | -2.6271e-07 | 0.0035997 | 0.0035998 | 0.0035998 | 0.99049 | -0.18118 | 0.99043 | -0.18232 | 0.98896
77 | -0.0021878 | -0.00054831 | 0.002188 | 0.00054786 | 1.8439e-07 | -4.4951e-07 | 0.0033131 | 0.0033128 | 0.0033131 | 0.98261 | -0.33432 | 0.9827 | -0.33256 | 0.91018
78 | 0.0023485 | 0.0005884 | -0.0023484 | -0.00058856 | 7.6739e-08 | -1.559e-07 | 0.003556 | 0.0035561 | 0.0035561 | 0.9827 | -0.33256 | 0.98266 | -0.33324 | 0.97694
79 | -0.0045364 | -0.0011363 | 0.0045366 | 0.0011362 | 1.9191e-07 | -1.4605e-08 | 0.0068688 | 0.0068688 | 0.0068688 | 0.9827 | -0.33256 | 0.98274 | -0.33167 | 1.887
80 | -0.011149 | -0.0027936 | 0.011151 | 0.0027944 | 1.5642e-06 | 8.1561e-07 | 0.016882 | 0.016881 | 0.016882 | 0.98274 | -0.33167 | 0.9829 | -0.32872 | 4.6378
81 | -0.015524 | -0.0038903 | 0.01553 | 0.0038936 | 5.6237e-06 | 3.2549e-06 | 0.023502 | 0.023502 | 0.023502 | 0.9829 | -0.32872 | 0.98328 | -0.32112 | 6.4565
82 | -0.022748 | -0.0057028 | 0.022758 | 0.0057085 | 9.2093e-06 | 5.631e-06 | 0.034426 | 0.034426 | 0.034426 | 0.98328 | -0.32112 | 0.98372 | -0.31263 | 9.4577
83 | -0.051916 | -0.013025 | 0.051965 | 0.013055 | 4.8731e-05 | 3.092e-05 | 0.078535 | 0.078535 | 0.078535 | 0.98372 | -0.31263 | 0.98473 | -0.29296 | 21.5755
84 | 0.029158 | 0.0073161 | -0.029146 | -0.0073083 | 1.2544e-05 | 7.8099e-06 | 0.044109 | 0.044109 | 0.044109 | 0.98372 | -0.31263 | 0.98326 | -0.32165 | 12.1179
85 | 0.016312 | 0.0040985 | -0.016281 | -0.0040803 | 3.1012e-05 | 1.8144e-05 | 0.02474 | 0.02474 | 0.02474 | 0.98125 | -0.36073 | 0.97922 | -0.40064 | 6.7967

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.47962 | 0.12257

## res_load
| p_mw | q_mvar
0 | 0.0080439 | 0.002016
1 | 0.0087805 | 0.0022006
2 | 0.0095404 | 0.002391
3 | 0.0038958 | 0.00097639
4 | 0.024652 | 0.0061783
5 | 0.0040572 | 0.0010168
6 | 0.0014073 | 0.00035271
7 | 0.017026 | 0.0042671
8 | 0.0089922 | 0.0022537
9 | 0.0067685 | 0.0016963
10 | 0.0050394 | 0.001263
11 | 0.0047985 | 0.0012026
12 | 0.0082929 | 0.0020784
13 | 0.0093277 | 0.0023378
14 | 0.0044024 | 0.0011033
15 | 0.009313 | 0.0023341
16 | 0.013915 | 0.0034873
17 | 0.014209 | 0.0035611
18 | 0.013829 | 0.0034658
19 | 0.0024146 | 0.00060516
20 | 0.0028406 | 0.00071193
21 | 0.0031434 | 0.00078782
22 | 0.0070082 | 0.0017564
23 | 0.0074915 | 0.0018775
24 | 0.0051298 | 0.0012856
25 | 0.0055095 | 0.0013808
26 | 0.004963 | 0.0012439
27 | 0.011757 | 0.0029465
28 | 0.0032494 | 0.00081436
29 | 0.0030241 | 0.00075792
30 | 0.0027414 | 0.00068707
31 | 0.0010137 | 0.00025405
32 | 0.0038246 | 0.00095853
33 | 0.0059391 | 0.0014885
34 | 0.015567 | 0.0039014
35 | 0.028132 | 0.0070506
36 | 0.0045156 | 0.0011317
37 | 0.0058666 | 0.0014703
38 | 0.0045073 | 0.0011296
39 | 0.010142 | 0.0025419
40 | 0.013189 | 0.0033056
41 | 0.0069826 | 0.00175
42 | 0.0049474 | 0.0012399
43 | 0.0052537 | 0.0013167
44 | 0.0069025 | 0.0017299
45 | 0.0055615 | 0.0013938
46 | 0.0023961 | 0.00060051
47 | 0.0036954 | 0.00092615
48 | 0.0021878 | 0.00054831
49 | 0.0023484 | 0.00058856
50 | 0.0066128 | 0.0016573
51 | 0.0043729 | 0.001096
52 | 0.007219 | 0.0018092
53 | 0.002999 | 0.00075161
54 | 0.0058034 | 0.0014545
55 | 0.035272 | 0.00884
56 | 0.023633 | 0.0059229
57 | 0.016281 | 0.0040803

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1