## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_245-7_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_245-7_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_245-7_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_245-7_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_245-7_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_245-7_0_7_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_245-7_0_7_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_245-7_0_7_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_245-7_0_7_node_83 | 0.4 | n |  | TRUE
9 | bus_LV_245-7_0_7_node_80 | 0.4 | n |  | TRUE
10 | bus_LV_245-7_0_7_node_79 | 0.4 | n |  | TRUE
11 | bus_LV_245-7_0_7_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_245-7_0_7_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_245-7_0_7_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_245-7_0_7_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_245-7_0_7_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_245-7_0_7_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_245-7_0_7_node_58 | 0.4 | n |  | TRUE
18 | bus_LV_245-7_0_7_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_245-7_0_7_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_245-7_0_7_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_245-7_0_7_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_245-7_0_7_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_245-7_0_7_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_245-7_0_7_node_77 | 0.4 | n |  | TRUE
25 | bus_LV_245-7_0_7_node_85 | 0.4 | n |  | TRUE
26 | bus_LV_245-7_0_7_node_70 | 0.4 | n |  | TRUE
27 | bus_LV_245-7_0_7_node_76 | 0.4 | n |  | TRUE
28 | bus_LV_245-7_0_7_node_67 | 0.4 | n |  | TRUE
29 | bus_LV_245-7_0_7_node_74 | 0.4 | n |  | TRUE
30 | bus_LV_245-7_0_7_node_84 | 0.4 | n |  | TRUE
31 | bus_LV_245-7_0_7_node_81 | 0.4 | n |  | TRUE
32 | bus_LV_245-7_0_7_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_245-7_0_7_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_245-7_0_7_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_245-7_0_7_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_245-7_0_7_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_245-7_0_7_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_245-7_0_7_node_75 | 0.4 | n |  | TRUE
39 | bus_LV_245-7_0_7_node_86 | 0.4 | n |  | TRUE
40 | bus_LV_245-7_0_7_node_82 | 0.4 | n |  | TRUE
41 | bus_LV_245-7_0_7_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_245-7_0_7_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_245-7_0_7_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_245-7_0_7_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_245-7_0_7_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_245-7_0_7_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_245-7_0_7_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_245-7_0_7_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_245-7_0_7_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_245-7_0_7_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_245-7_0_7_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_245-7_0_7_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_245-7_0_7_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_245-7_0_7_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_245-7_0_7_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_245-7_0_7_node_32 | 0.4 | n |  | TRUE
57 | bus_LV_245-7_0_7_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_245-7_0_7_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_245-7_0_7_node_33 | 0.4 | n |  | TRUE
60 | bus_LV_245-7_0_7_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_245-7_0_7_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_245-7_0_7_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_245-7_0_7_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_245-7_0_7_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_245-7_0_7_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_245-7_0_7_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_245-7_0_7_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_245-7_0_7_node_38 | 0.4 | n |  | TRUE
69 | bus_LV_245-7_0_7_node_39 | 0.4 | n |  | TRUE
70 | bus_LV_245-7_0_7_node_40 | 0.4 | n |  | TRUE
71 | bus_LV_245-7_0_7_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_245-7_0_7_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_245-7_0_7_node_43 | 0.4 | n |  | TRUE
74 | bus_LV_245-7_0_7_node_44 | 0.4 | n |  | TRUE
75 | bus_LV_245-7_0_7_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_245-7_0_7_node_46 | 0.4 | n |  | TRUE
77 | bus_LV_245-7_0_7_node_53 | 0.4 | n |  | TRUE
78 | bus_LV_245-7_0_7_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_245-7_0_7_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_245-7_0_7_node_55 | 0.4 | n |  | TRUE
81 | bus_LV_245-7_0_7_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_245-7_0_7_node_89 | 0.4 | n |  | TRUE
83 | bus_LV_245-7_0_7_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_245-7_0_7_node_88 | 0.4 | n |  | TRUE
85 | bus_LV_245-7_0_7_node_73 | 0.4 | n |  | TRUE
86 | bus_MV_517_0_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_245-7_0_7_load_0 | 0 | 0.0027646 | 0.00069287 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_245-7_0_7_load_1 | 1 | 0.0029654 | 0.0007432 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_245-7_0_7_load_2 | 2 | 0.0011476 | 0.00028762 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_245-7_0_7_load_4 | 4 | 0.0015291 | 0.00038324 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_245-7_0_7_load_83 | 8 | 0.0029967 | 0.00075105 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_245-7_0_7_load_80 | 9 | 0.00065051 | 0.00016303 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_245-7_0_7_load_79 | 10 | 0.000603 | 0.00015113 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_245-7_0_7_load_20 | 13 | 0.0022528 | 0.00056461 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_245-7_0_7_load_58 | 17 | 0.0066634 | 0.00167 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_245-7_0_7_load_15 | 19 | 0.038234 | 0.0095825 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_245-7_0_7_load_18 | 20 | 0.0031242 | 0.00078299 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_245-7_0_7_load_77 | 24 | 0.0029552 | 0.00074064 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_245-7_0_7_load_70 | 26 | 0.005606 | 0.001405 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_245-7_0_7_load_74 | 29 | 0.0067013 | 0.0016795 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_245-7_0_7_load_84 | 30 | 0.0072612 | 0.0018198 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_245-7_0_7_load_81 | 31 | 0.00069413 | 0.00017397 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_245-7_0_7_load_66 | 33 | 0.0062325 | 0.001562 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_245-7_0_7_load_19 | 34 | 0.0063492 | 0.0015913 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_245-7_0_7_load_36 | 35 | 0.0081015 | 0.0020304 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_245-7_0_7_load_45 | 37 | 0.0022154 | 0.00055523 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_245-7_0_7_load_75 | 38 | 0.0066872 | 0.001676 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_245-7_0_7_load_86 | 39 | 0.0023284 | 0.00058354 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_245-7_0_7_load_82 | 40 | 0.0016742 | 0.00041959 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_245-7_0_7_load_37 | 41 | 0.01775 | 0.0044485 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_245-7_0_7_load_21 | 42 | 0.0021732 | 0.00054466 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_245-7_0_7_load_22 | 43 | 0.0036999 | 0.00092727 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_245-7_0_7_load_24 | 45 | 0.0057846 | 0.0014498 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_245-7_0_7_load_25 | 46 | 0.0073552 | 0.0018434 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_245-7_0_7_load_26 | 47 | 0.0062073 | 0.0015557 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_245-7_0_7_load_27 | 48 | 0.0076986 | 0.0019294 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_245-7_0_7_load_51 | 50 | 0.0052359 | 0.0013122 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_245-7_0_7_load_49 | 51 | 0.0030851 | 0.00077319 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_245-7_0_7_load_28 | 52 | 0.00075936 | 0.00019031 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_245-7_0_7_load_29 | 53 | 0.0017927 | 0.00044928 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_245-7_0_7_load_31 | 55 | 0.00080172 | 0.00020093 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_245-7_0_7_load_32 | 56 | 0.000827 | 0.00020727 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_245-7_0_7_load_56 | 58 | 0.0026687 | 0.00066885 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_245-7_0_7_load_42 | 62 | 0.023337 | 0.0058489 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_245-7_0_7_load_63 | 63 | 0.088245 | 0.022116 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_245-7_0_7_load_69 | 65 | 0.047788 | 0.011977 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_245-7_0_7_load_68 | 66 | 0.0084617 | 0.0021207 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_245-7_0_7_load_41 | 67 | 0.055177 | 0.013829 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_245-7_0_7_load_38 | 68 | 0.023806 | 0.0059663 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_245-7_0_7_load_39 | 69 | 0.0097738 | 0.0024495 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_245-7_0_7_load_40 | 70 | 0.0073664 | 0.0018462 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_245-7_0_7_load_64 | 71 | 0.0059658 | 0.0014952 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_245-7_0_7_load_65 | 72 | 0.0050679 | 0.0012701 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_245-7_0_7_load_43 | 73 | 0.019846 | 0.0049738 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_245-7_0_7_load_44 | 74 | 0.01264 | 0.0031678 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_245-7_0_7_load_57 | 75 | 0.0041553 | 0.0010414 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_245-7_0_7_load_46 | 76 | 0.0042813 | 0.001073 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_245-7_0_7_load_53 | 77 | 0.00099849 | 0.00025024 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_245-7_0_7_load_72 | 79 | 0.015005 | 0.0037605 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_245-7_0_7_load_55 | 80 | 0.0027747 | 0.0006954 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_245-7_0_7_load_89 | 82 | 0.01247 | 0.0031252 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_245-7_0_7_load_87 | 83 | 0.0063969 | 0.0016032 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_245-7_0_7_load_88 | 84 | 0.0062013 | 0.0015542 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_245-7_0_7_load_73 | 85 | 0.0029483 | 0.00073891 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_245-7_0_7_line_0 |  | 0 | 1 | 0.01431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_245-7_0_7_line_1 |  | 0 | 2 | 0.0086069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_245-7_0_7_line_2 |  | 1 | 3 | 0.017469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_245-7_0_7_line_3 |  | 3 | 4 | 0.017868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_245-7_0_7_line_4 |  | 4 | 5 | 0.058738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_245-7_0_7_line_5 |  | 5 | 20 | 0.019247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_245-7_0_7_line_6 |  | 5 | 7 | 0.031081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_245-7_0_7_line_7 |  | 6 | 7 | 0.039584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_245-7_0_7_line_8 |  | 6 | 8 | 0.042958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_245-7_0_7_line_9 |  | 7 | 9 | 0.038424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_245-7_0_7_line_10 |  | 7 | 10 | 0.0099147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_245-7_0_7_line_11 |  | 8 | 30 | 0.021104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_245-7_0_7_line_12 |  | 9 | 31 | 0.0085868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_245-7_0_7_line_13 |  | 11 | 12 | 0.017586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_245-7_0_7_line_14 |  | 11 | 13 | 0.026375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_245-7_0_7_line_15 |  | 12 | 32 | 0.003671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_245-7_0_7_line_16 |  | 12 | 33 | 0.01578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_245-7_0_7_line_17 |  | 13 | 34 | 0.021611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_245-7_0_7_line_18 |  | 14 | 15 | 0.013018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_245-7_0_7_line_19 |  | 14 | 16 | 0.021667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_245-7_0_7_line_20 |  | 14 | 17 | 0.029738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_245-7_0_7_line_21 |  | 15 | 35 | 0.0088777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_245-7_0_7_line_22 |  | 15 | 18 | 0.004315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_245-7_0_7_line_23 |  | 16 | 36 | 0.026966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_245-7_0_7_line_24 |  | 16 | 37 | 0.018825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_245-7_0_7_line_25 |  | 17 | 32 | 0.042614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_245-7_0_7_line_26 |  | 18 | 19 | 0.034125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_245-7_0_7_line_27 |  | 21 | 22 | 0.062089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_245-7_0_7_line_28 |  | 21 | 23 | 0.17469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_245-7_0_7_line_29 |  | 21 | 24 | 0.045237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_245-7_0_7_line_30 |  | 22 | 25 | 0.023418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_245-7_0_7_line_31 |  | 23 | 26 | 0.026988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_245-7_0_7_line_32 |  | 24 | 38 | 0.024196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_245-7_0_7_line_33 |  | 25 | 39 | 0.033506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_245-7_0_7_line_34 |  | 25 | 30 | 0.017703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_245-7_0_7_line_35 |  | 27 | 28 | 0.075223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_245-7_0_7_line_36 |  | 27 | 29 | 0.017243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_245-7_0_7_line_37 |  | 28 | 81 | 0.054473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_245-7_0_7_line_38 |  | 28 | 82 | 0.024517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_245-7_0_7_line_39 |  | 28 | 72 | 0.02695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_245-7_0_7_line_40 |  | 29 | 85 | 0.010137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_245-7_0_7_line_41 |  | 31 | 40 | 0.036012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_245-7_0_7_line_42 |  | 32 | 44 | 0.008738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_245-7_0_7_line_43 |  | 34 | 42 | 0.0055984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_245-7_0_7_line_44 |  | 35 | 41 | 0.055838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_245-7_0_7_line_45 |  | 36 | 77 | 0.014906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_245-7_0_7_line_46 |  | 37 | 76 | 0.02804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_245-7_0_7_line_47 |  | 38 | 85 | 0.024432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_245-7_0_7_line_48 |  | 42 | 43 | 0.012347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_245-7_0_7_line_49 |  | 44 | 79 | 0.035813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_245-7_0_7_line_50 |  | 45 | 46 | 0.0040979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_245-7_0_7_line_51 |  | 45 | 47 | 0.016342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_245-7_0_7_line_52 |  | 46 | 48 | 0.0039431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_245-7_0_7_line_53 |  | 48 | 49 | 0.012712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_245-7_0_7_line_54 |  | 49 | 50 | 0.0050349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_245-7_0_7_line_55 |  | 49 | 51 | 0.016381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_245-7_0_7_line_56 |  | 50 | 75 | 0.025642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_245-7_0_7_line_57 |  | 51 | 59 | 0.016147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_245-7_0_7_line_58 |  | 52 | 53 | 0.027525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_245-7_0_7_line_59 |  | 52 | 54 | 0.026349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_245-7_0_7_line_60 |  | 53 | 55 | 0.0022619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_245-7_0_7_line_61 |  | 54 | 56 | 0.033935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_245-7_0_7_line_62 |  | 54 | 57 | 0.025222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_245-7_0_7_line_63 |  | 55 | 58 | 0.0090327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_245-7_0_7_line_64 |  | 57 | 61 | 0.052706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_245-7_0_7_line_65 |  | 57 | 62 | 0.029478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_245-7_0_7_line_66 |  | 59 | 60 | 0.006798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_245-7_0_7_line_67 |  | 60 | 64 | 0.003777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_245-7_0_7_line_68 |  | 61 | 65 | 0.021997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_245-7_0_7_line_69 |  | 61 | 66 | 0.021818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_245-7_0_7_line_70 |  | 62 | 67 | 0.01168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_245-7_0_7_line_71 |  | 63 | 64 | 0.025025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_245-7_0_7_line_72 |  | 64 | 79 | 0.052641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_245-7_0_7_line_73 |  | 65 | 81 | 0.024713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_245-7_0_7_line_74 |  | 67 | 73 | 0.029354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_245-7_0_7_line_75 |  | 68 | 69 | 0.079898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_245-7_0_7_line_76 |  | 69 | 70 | 0.03867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_245-7_0_7_line_77 |  | 70 | 71 | 0.034042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_245-7_0_7_line_78 |  | 71 | 72 | 0.045409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_245-7_0_7_line_79 |  | 73 | 74 | 0.028941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_245-7_0_7_line_80 |  | 74 | 75 | 0.014562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_245-7_0_7_line_81 |  | 77 | 78 | 0.012443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_245-7_0_7_line_82 |  | 78 | 80 | 0.018454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_245-7_0_7_line_83 |  | 81 | 83 | 0.019463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_245-7_0_7_line_84 |  | 82 | 84 | 0.014447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_245-7_0_7_trafo_50 | 0.63 MVA 20/0.4 kV | 86 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2677021.649 | 1251275.4024 | 2677024.0145 | 1251275.2665 | 2677035.7877 | 1251273.2752
1 | 2677021.649 | 1251275.4024 | 2677013.2801 | 1251275.883 | 2677013.0572 | 1251275.9069
2 | 2677053.0116 | 1251270.362 | 2677035.7877 | 1251273.2752
3 | 2677053.0116 | 1251270.362 | 2677051.5173 | 1251261.058 | 2677051.8668 | 1251255.0804 | 2677052.232 | 1251252.6513
4 | 2677072.7445 | 1251198.3436 | 2677072.2825 | 1251204.8423 | 2677071.1727 | 1251209.498 | 2677069.3425 | 1251213.8218 | 2677066.0822 | 1251220.7289 | 2677062.6772 | 1251226.5778 | 2677057.6069 | 1251235.6852 | 2677054.9444 | 1251241.3214 | 2677052.9245 | 1251248.0445 | 2677052.232 | 1251252.6513
5 | 2677072.7445 | 1251198.3436 | 2677053.4797 | 1251199.5718
6 | 2677072.7445 | 1251198.3436 | 2677077.3228 | 1251198.0473 | 2677078.0768 | 1251208.5537 | 2677089.295 | 1251213.1141 | 2677088.8075 | 1251216.9328
7 | 2677088.8075 | 1251216.9328 | 2677089.295 | 1251213.1141 | 2677124.8126 | 1251217.0457
8 | 2677124.8126 | 1251217.0457 | 2677124.2981 | 1251239.7445 | 2677122.7535 | 1251255.7584 | 2677122.3523 | 1251259.9042
9 | 2677088.8075 | 1251216.9328 | 2677082.5959 | 1251216.2848 | 2677080.301 | 1251216.8777 | 2677077.9308 | 1251218.6148 | 2677073.1001 | 1251226.7023 | 2677066.5892 | 1251238.0371 | 2677064.7919 | 1251242.0292
10 | 2677088.8075 | 1251216.9328 | 2677088.2672 | 1251226.8327
11 | 2677122.3523 | 1251259.9042 | 2677122.0034 | 1251263.5099 | 2677121.9383 | 1251269.0909 | 2677122.1593 | 1251271.2509 | 2677121.6152 | 1251280.9644
12 | 2677061.855 | 1251250.0422 | 2677062.314 | 1251247.5329 | 2677064.7919 | 1251242.0292
13 | 2677119.2585 | 1251099.2315 | 2677107.3319 | 1251103.8464 | 2677102.8688 | 1251105.7231
14 | 2677102.8688 | 1251105.7231 | 2677104.0976 | 1251108.7524 | 2677106.6639 | 1251118.0481 | 2677109.057 | 1251126.7301 | 2677110.8342 | 1251130.8169
15 | 2677119.2585 | 1251099.2315 | 2677118.3158 | 1251095.6833
16 | 2677119.2585 | 1251099.2315 | 2677133.9765 | 1251093.5409
17 | 2677119.2701 | 1251150.7113 | 2677116.1957 | 1251143.1461 | 2677110.8342 | 1251130.8169
18 | 2677039.9597 | 1251129.3891 | 2677051.3282 | 1251122.9877
19 | 2677044.8411 | 1251102.3105 | 2677051.3282 | 1251122.9877
20 | 2677051.3282 | 1251122.9877 | 2677059.5155 | 1251119.158 | 2677071.9766 | 1251114.0718 | 2677078.7062 | 1251111.4014
21 | 2677039.9597 | 1251129.3891 | 2677032.5381 | 1251134.2608
22 | 2677039.9597 | 1251129.3891 | 2677042.2065 | 1251133.0765
23 | 2677044.8411 | 1251102.3105 | 2677038.0773 | 1251076.2034
24 | 2677044.8411 | 1251102.3105 | 2677034.127 | 1251103.0829 | 2677026.044 | 1251103.0277
25 | 2677118.3158 | 1251095.6833 | 2677078.7062 | 1251111.4014
26 | 2677042.2065 | 1251133.0765 | 2677014.5446 | 1251149.6069 | 2677012.9479 | 1251150.637
27 | 2677109.9676 | 1251318.8605 | 2677113.2381 | 1251321.6051 | 2677123.6087 | 1251330.3687 | 2677133.3456 | 1251338.5236 | 2677136.5351 | 1251341.6896 | 2677142.0791 | 1251337.9479 | 2677160.7538 | 1251329.8406
28 | 2677160.7538 | 1251329.8406 | 2677177.2282 | 1251326.0746 | 2677190.7933 | 1251324.8726 | 2677197.6774 | 1251325.4515 | 2677205.9277 | 1251331.2521 | 2677212.167 | 1251335.5588 | 2677228.6231 | 1251349.4056 | 2677236.3094 | 1251337.6749 | 2677234.3231 | 1251331.3889 | 2677242.609 | 1251322.3013 | 2677254.9076 | 1251317.5025 | 2677260.553 | 1251315.8304 | 2677262.6296 | 1251314.6121 | 2677263.1767 | 1251310.861 | 2677284.1061 | 1251300.0592 | 2677298.1789 | 1251291.77
29 | 2677160.7538 | 1251329.8406 | 2677163.0499 | 1251322.1982 | 2677178.453 | 1251288.2739
30 | 2677109.9676 | 1251318.8605 | 2677116.283 | 1251310.948 | 2677119.9769 | 1251304.3579 | 2677120.6251 | 1251298.6399
31 | 2677298.1789 | 1251291.77 | 2677297.6278 | 1251287.7265 | 2677297.7095 | 1251281.4674 | 2677301.2037 | 1251277.4767 | 2677312.1716 | 1251274.5843
32 | 2677178.453 | 1251288.2739 | 2677189.7476 | 1251281.7384 | 2677190.3121 | 1251270.6064
33 | 2677120.6251 | 1251298.6399 | 2677143.8994 | 1251293.2388 | 2677153.4553 | 1251291.5286
34 | 2677120.6251 | 1251298.6399 | 2677121.6152 | 1251280.9644
35 | 2677189.3902 | 1251218.8098 | 2677209.4807 | 1251216.2029 | 2677221.1342 | 1251213.9976 | 2677259.8074 | 1251205.7511 | 2677259.098 | 1251202.2615
36 | 2677189.3902 | 1251218.8098 | 2677189.7668 | 1251236.0488
37 | 2677259.098 | 1251202.2615 | 2677259.8074 | 1251205.7511 | 2677309.6573 | 1251195.4046
38 | 2677259.098 | 1251202.2615 | 2677254.0412 | 1251178.2714
39 | 2677259.098 | 1251202.2615 | 2677232.7216 | 1251207.7911
40 | 2677189.9883 | 1251246.1835 | 2677189.7668 | 1251236.0488
41 | 2677061.855 | 1251250.0422 | 2677060.7293 | 1251256.1964 | 2677061.321 | 1251265.2552 | 2677062.5388 | 1251271.4422 | 2677065.8893 | 1251279.0692 | 2677069.7765 | 1251283.6944
42 | 2677116.0706 | 1251087.2368 | 2677117.6678 | 1251093.2731 | 2677118.3158 | 1251095.6833
43 | 2677121.3778 | 1251155.8979 | 2677119.2701 | 1251150.7113
44 | 2677032.5381 | 1251134.2608 | 2677014.5301 | 1251146.0819 | 2676985.7639 | 1251164.757
45 | 2677038.0773 | 1251076.2034 | 2677052.5403 | 1251072.5979
46 | 2677026.044 | 1251103.0277 | 2677017.9289 | 1251102.9723 | 2676999.2666 | 1251109.9523
47 | 2677189.9883 | 1251246.1835 | 2677190.4588 | 1251267.7152 | 2677190.3121 | 1251270.6064
48 | 2677126.0261 | 1251167.3362 | 2677121.3778 | 1251155.8979
49 | 2677116.0706 | 1251087.2368 | 2677150.4328 | 1251077.1476
50 | 2677184.6896 | 1251117.0342 | 2677180.6009 | 1251116.7605
51 | 2677164.338 | 1251117.2981 | 2677173.0552 | 1251116.2553 | 2677180.6009 | 1251116.7605
52 | 2677188.624 | 1251117.2976 | 2677184.6896 | 1251117.0342
53 | 2677201.308 | 1251118.1468 | 2677188.624 | 1251117.2976
54 | 2677201.308 | 1251118.1468 | 2677206.3316 | 1251118.4825
55 | 2677201.308 | 1251118.1468 | 2677203.0978 | 1251101.864
56 | 2677206.3316 | 1251118.4825 | 2677212.8851 | 1251118.9204 | 2677231.9183 | 1251120.16
57 | 2677204.8621 | 1251085.8139 | 2677203.0978 | 1251101.864
58 | 2677361.2691 | 1251063.0307 | 2677358.0198 | 1251069.5099 | 2677352.2729 | 1251088.9547
59 | 2677343.5451 | 1251113.153 | 2677345.3835 | 1251112.2653 | 2677352.2729 | 1251088.9547
60 | 2677361.2691 | 1251063.0307 | 2677362.283 | 1251061.0088
61 | 2677343.5451 | 1251113.153 | 2677338.765 | 1251105.7741 | 2677333.6685 | 1251100.6594 | 2677327.9834 | 1251096.6824 | 2677322.1798 | 1251094.2604 | 2677317.6597 | 1251092.9894
62 | 2677344.9711 | 1251134.5985 | 2677342.2696 | 1251122.9658 | 2677339.0556 | 1251115.3183 | 2677343.5451 | 1251113.153
63 | 2677362.283 | 1251061.0088 | 2677366.2355 | 1251053.1274 | 2677366.3476 | 1251052.9431
64 | 2677355.461 | 1251186.251 | 2677347.0167 | 1251145.0106 | 2677344.9711 | 1251134.5985
65 | 2677344.9711 | 1251134.5985 | 2677317.8022 | 1251130.6411 | 2677315.7996 | 1251130.3612
66 | 2677204.8621 | 1251085.8139 | 2677198.077 | 1251085.1472
67 | 2677198.077 | 1251085.1472 | 2677197.4991 | 1251081.4147
68 | 2677355.461 | 1251186.251 | 2677347.0979 | 1251187.9209 | 2677333.8906 | 1251190.5608
69 | 2677355.461 | 1251186.251 | 2677376.8344 | 1251181.8683
70 | 2677304.2324 | 1251128.7445 | 2677315.7996 | 1251130.3612
71 | 2677197.4991 | 1251081.4147 | 2677222.4128 | 1251083.7695
72 | 2677197.4991 | 1251081.4147 | 2677196.5871 | 1251075.5096 | 2677175.2864 | 1251073.0527 | 2677154.2546 | 1251076.0255 | 2677150.4328 | 1251077.1476
73 | 2677309.6573 | 1251195.4046 | 2677333.8906 | 1251190.5608
74 | 2677304.2324 | 1251128.7445 | 2677295.5139 | 1251127.5259 | 2677275.1723 | 1251124.6031
75 | 2677069.3185 | 1251158.4439 | 2677086.4744 | 1251203.0589 | 2677088.4304 | 1251206.4646 | 2677090.1105 | 1251208.4546 | 2677091.8522 | 1251209.1889 | 2677095.5707 | 1251209.9934 | 2677115.3257 | 1251212.1439
76 | 2677153.8466 | 1251215.3939 | 2677141.3205 | 1251214.7922 | 2677138.4631 | 1251214.5215 | 2677127.2449 | 1251213.4414 | 2677115.3257 | 1251212.1439
77 | 2677153.8466 | 1251215.3939 | 2677157.2002 | 1251215.555 | 2677171.0909 | 1251215.458 | 2677185.4028 | 1251214.8884 | 2677187.8598 | 1251214.6316
78 | 2677187.8598 | 1251214.6316 | 2677200.067 | 1251213.356 | 2677214.5345 | 1251211.2763 | 2677228.3895 | 1251208.6993 | 2677232.7216 | 1251207.7911
79 | 2677246.4491 | 1251121.1064 | 2677248.1075 | 1251121.2144 | 2677265.3833 | 1251123.1965 | 2677275.1723 | 1251124.6031
80 | 2677246.4491 | 1251121.1064 | 2677231.9183 | 1251120.16
81 | 2677064.6142 | 1251069.588 | 2677052.5403 | 1251072.5979
82 | 2677064.6142 | 1251069.588 | 2677069.0982 | 1251068.4232 | 2677082.008 | 1251063.487
83 | 2677309.6573 | 1251195.4046 | 2677305.3218 | 1251176.4303
84 | 2677254.0412 | 1251178.2714 | 2677251.0614 | 1251164.135

## bus_geodata
| x | y | coords
0 | 2677021.649 | 1251275.4024
1 | 2677035.7877 | 1251273.2752
2 | 2677013.0572 | 1251275.9069
3 | 2677053.0116 | 1251270.362
4 | 2677052.232 | 1251252.6513
5 | 2677072.7445 | 1251198.3436
6 | 2677124.8126 | 1251217.0457
7 | 2677088.8075 | 1251216.9328
8 | 2677122.3523 | 1251259.9042
9 | 2677064.7919 | 1251242.0292
10 | 2677088.2672 | 1251226.8327
11 | 2677102.8688 | 1251105.7231
12 | 2677119.2585 | 1251099.2315
13 | 2677110.8342 | 1251130.8169
14 | 2677051.3282 | 1251122.9877
15 | 2677039.9596 | 1251129.3891
16 | 2677044.8411 | 1251102.3105
17 | 2677078.7062 | 1251111.4014
18 | 2677042.2065 | 1251133.0765
19 | 2677012.9479 | 1251150.637
20 | 2677053.4797 | 1251199.5718
21 | 2677160.7538 | 1251329.8406
22 | 2677109.9676 | 1251318.8605
23 | 2677298.1789 | 1251291.77
24 | 2677178.453 | 1251288.2739
25 | 2677120.6251 | 1251298.6399
26 | 2677312.1716 | 1251274.5843
27 | 2677189.3902 | 1251218.8098
28 | 2677259.098 | 1251202.2615
29 | 2677189.7668 | 1251236.0488
30 | 2677121.6152 | 1251280.9644
31 | 2677061.855 | 1251250.0422
32 | 2677118.3158 | 1251095.6833
33 | 2677133.9765 | 1251093.5409
34 | 2677119.2701 | 1251150.7113
35 | 2677032.5381 | 1251134.2608
36 | 2677038.0773 | 1251076.2034
37 | 2677026.044 | 1251103.0277
38 | 2677190.3121 | 1251270.6064
39 | 2677153.4553 | 1251291.5286
40 | 2677069.7765 | 1251283.6944
41 | 2676985.7639 | 1251164.757
42 | 2677121.3778 | 1251155.8979
43 | 2677126.0261 | 1251167.3362
44 | 2677116.0706 | 1251087.2368
45 | 2677180.6009 | 1251116.7605
46 | 2677184.6896 | 1251117.0342
47 | 2677164.338 | 1251117.2981
48 | 2677188.624 | 1251117.2976
49 | 2677201.308 | 1251118.1468
50 | 2677206.3316 | 1251118.4825
51 | 2677203.0978 | 1251101.864
52 | 2677352.2729 | 1251088.9547
53 | 2677361.2691 | 1251063.0307
54 | 2677343.5451 | 1251113.153
55 | 2677362.283 | 1251061.0088
56 | 2677317.6597 | 1251092.9894
57 | 2677344.9711 | 1251134.5985
58 | 2677366.3476 | 1251052.9431
59 | 2677204.8621 | 1251085.8139
60 | 2677198.077 | 1251085.1472
61 | 2677355.461 | 1251186.251
62 | 2677315.7996 | 1251130.3612
63 | 2677222.4128 | 1251083.7695
64 | 2677197.4991 | 1251081.4147
65 | 2677333.8906 | 1251190.5608
66 | 2677376.8344 | 1251181.8683
67 | 2677304.2324 | 1251128.7445
68 | 2677069.3185 | 1251158.4439
69 | 2677115.3257 | 1251212.1439
70 | 2677153.8466 | 1251215.3939
71 | 2677187.8598 | 1251214.6316
72 | 2677232.7216 | 1251207.7911
73 | 2677275.1723 | 1251124.6031
74 | 2677246.4491 | 1251121.1064
75 | 2677231.9183 | 1251120.16
76 | 2676999.2666 | 1251109.9523
77 | 2677052.5403 | 1251072.5979
78 | 2677064.6142 | 1251069.588
79 | 2677150.4328 | 1251077.1476
80 | 2677082.008 | 1251063.487
81 | 2677309.6573 | 1251195.4046
82 | 2677254.0412 | 1251178.2714
83 | 2677305.3218 | 1251176.4303
84 | 2677251.0614 | 1251164.1351
85 | 2677189.9883 | 1251246.1835
86 | 2677204.8621 | 1251085.8139

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97031 | -0.57479 | 0.0027646 | 0.00069287
1 | 0.97036 | -0.57375 | 0.0029654 | 0.0007432
2 | 0.9703 | -0.57497 | 0.0011476 | 0.00028762
3 | 0.97047 | -0.57153 | 0 | 0
4 | 0.97059 | -0.56925 | 0.0015291 | 0.00038324
5 | 0.97105 | -0.56012 | 0 | 0
6 | 0.97194 | -0.54241 | 0 | 0
7 | 0.97138 | -0.55349 | 0 | 0
8 | 0.97255 | -0.5304 | 0.0029967 | 0.00075105
9 | 0.97127 | -0.55564 | 0.00065051 | 0.00016303
10 | 0.97138 | -0.5536 | 0.000603 | 0.00015113
11 | 0.987 | -0.24899 | 0 | 0
12 | 0.98723 | -0.24444 | 0 | 0
13 | 0.98665 | -0.25583 | 0.0022528 | 0.00056461
14 | 0.98206 | -0.3449 | 0 | 0
15 | 0.98129 | -0.35999 | 0 | 0
16 | 0.98186 | -0.34893 | 0 | 0
17 | 0.98411 | -0.30502 | 0.0066634 | 0.00167
18 | 0.98114 | -0.36298 | 0 | 0
19 | 0.97993 | -0.38663 | 0.038234 | 0.0095825
20 | 0.97099 | -0.56123 | 0.0031242 | 0.00078299
21 | 0.97554 | -0.4715 | 0 | 0
22 | 0.97393 | -0.50311 | 0 | 0
23 | 0.97463 | -0.48946 | 0 | 0
24 | 0.97695 | -0.44389 | 0.0029552 | 0.00074064
25 | 0.97333 | -0.51506 | 0 | 0
26 | 0.97449 | -0.49224 | 0.005606 | 0.001405
27 | 0.9796 | -0.392 | 0 | 0
28 | 0.98083 | -0.36804 | 0 | 0
29 | 0.97918 | -0.40025 | 0.0067013 | 0.0016795
30 | 0.97291 | -0.52334 | 0.0072612 | 0.0018198
31 | 0.97125 | -0.55601 | 0.00069413 | 0.00017397
32 | 0.9873 | -0.24308 | 0 | 0
33 | 0.98714 | -0.2462 | 0.0062325 | 0.001562
34 | 0.9864 | -0.26056 | 0.0063492 | 0.0015913
35 | 0.98108 | -0.36415 | 0.0081015 | 0.0020304
36 | 0.98176 | -0.35077 | 0 | 0
37 | 0.98174 | -0.35114 | 0.0022154 | 0.00055523
38 | 0.97777 | -0.42786 | 0.0066872 | 0.001676
39 | 0.97325 | -0.5165 | 0.0023284 | 0.00058354
40 | 0.9712 | -0.55713 | 0.0016742 | 0.00041959
41 | 0.98016 | -0.38211 | 0.01775 | 0.0044485
42 | 0.98637 | -0.26115 | 0.0021732 | 0.00054466
43 | 0.98633 | -0.26197 | 0.0036999 | 0.00092727
44 | 0.98812 | -0.2272 | 0 | 0
45 | 0.99957 | -0.0081825 | 0.0057846 | 0.0014498
46 | 0.99962 | -0.0073252 | 0.0073552 | 0.0018434
47 | 0.99948 | -0.0099522 | 0.0062073 | 0.0015557
48 | 0.99969 | -0.0059946 | 0.0076986 | 0.0019294
49 | 1 | 0 | -0.55689 | -0.14183
50 | 0.99951 | -0.0091676 | 0.0052359 | 0.0013122
51 | 0.99896 | -0.019824 | 0.0030851 | 0.00077319
52 | 0.98784 | -0.2323 | 0.00075936 | 0.00019031
53 | 0.9877 | -0.23489 | 0.0017927 | 0.00044928
54 | 0.98798 | -0.22946 | 0 | 0
55 | 0.9877 | -0.23503 | 0.00080172 | 0.00020093
56 | 0.98796 | -0.22997 | 0.000827 | 0.00020727
57 | 0.98814 | -0.22638 | 0 | 0
58 | 0.98767 | -0.23546 | 0.0026687 | 0.00066885
59 | 0.99794 | -0.039114 | 0 | 0
60 | 0.99752 | -0.047248 | 0 | 0
61 | 0.98511 | -0.28489 | 0 | 0
62 | 0.9899 | -0.19261 | 0.023337 | 0.0058489
63 | 0.99515 | -0.092819 | 0.088245 | 0.022116
64 | 0.99716 | -0.054031 | 0 | 0
65 | 0.9839 | -0.30829 | 0.047788 | 0.011977
66 | 0.98494 | -0.2882 | 0.0084617 | 0.0021207
67 | 0.99068 | -0.17765 | 0.055177 | 0.013829
68 | 0.97327 | -0.51641 | 0.023806 | 0.0059663
69 | 0.97504 | -0.48148 | 0.0097738 | 0.0024495
70 | 0.97625 | -0.4577 | 0.0073664 | 0.0018462
71 | 0.97754 | -0.43224 | 0.0059658 | 0.0014952
72 | 0.97953 | -0.39346 | 0.0050679 | 0.0012701
73 | 0.99313 | -0.13062 | 0.019846 | 0.0049738
74 | 0.99572 | -0.081102 | 0.01264 | 0.0031678
75 | 0.99708 | -0.05521 | 0.0041553 | 0.0010414
76 | 0.98163 | -0.35331 | 0.0042813 | 0.001073
77 | 0.98171 | -0.35179 | 0.00099849 | 0.00025024
78 | 0.98168 | -0.35241 | 0 | 0
79 | 0.99149 | -0.16237 | 0.015005 | 0.0037605
80 | 0.98163 | -0.35334 | 0.0027747 | 0.0006954
81 | 0.98291 | -0.32755 | 0 | 0
82 | 0.98041 | -0.37634 | 0.01247 | 0.0031252
83 | 0.9828 | -0.3298 | 0.0063969 | 0.0016032
84 | 0.98032 | -0.37796 | 0.0062013 | 0.0015542
85 | 0.97875 | -0.40872 | 0.0029483 | 0.00073891
86 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0039122 | -0.00098039 | 0.0039124 | 0.00098033 | 1.9315e-07 | -5.3145e-08 | 0.0059995 | 0.0059995 | 0.0059995 | 0.97031 | -0.57479 | 0.97036 | -0.57375 | 1.6482
1 | 0.0011476 | 0.00028752 | -0.0011476 | -0.00028762 | 9.9971e-09 | -9.9911e-08 | 0.0017599 | 0.00176 | 0.00176 | 0.97031 | -0.57479 | 0.9703 | -0.57497 | 0.4835
2 | -0.0068778 | -0.0017235 | 0.0068785 | 0.0017238 | 7.2866e-07 | 2.5053e-07 | 0.010547 | 0.010547 | 0.010547 | 0.97036 | -0.57375 | 0.97047 | -0.57153 | 2.8975
3 | -0.0068785 | -0.0017238 | 0.0068793 | 0.001724 | 7.453e-07 | 2.5619e-07 | 0.010547 | 0.010547 | 0.010547 | 0.97047 | -0.57153 | 0.97059 | -0.56925 | 2.8975
4 | -0.0084084 | -0.0021073 | 0.0084121 | 0.0021089 | 3.6603e-06 | 1.6163e-06 | 0.012891 | 0.012891 | 0.012891 | 0.97059 | -0.56925 | 0.97105 | -0.56012 | 3.5415
5 | 0.0031243 | 0.00078286 | -0.0031242 | -0.00078299 | 1.6544e-07 | -1.322e-07 | 0.0047876 | 0.0047877 | 0.0047877 | 0.97105 | -0.56012 | 0.97099 | -0.56123 | 1.3153
6 | -0.011536 | -0.0028918 | 0.01154 | 0.0028937 | 3.6425e-06 | 1.9466e-06 | 0.017678 | 0.017678 | 0.017678 | 0.97105 | -0.56012 | 0.97138 | -0.55349 | 4.8567
7 | 0.01517 | 0.0038052 | -0.015162 | -0.0038005 | 8.008e-06 | 4.6348e-06 | 0.023226 | 0.023227 | 0.023227 | 0.97194 | -0.54241 | 0.97138 | -0.55349 | 6.3809
8 | -0.01517 | -0.0038052 | 0.015179 | 0.0038102 | 8.6904e-06 | 5.0291e-06 | 0.023226 | 0.023226 | 0.023226 | 0.97194 | -0.54241 | 0.97255 | -0.5304 | 6.3809
9 | 0.0030193 | 0.00075584 | -0.003019 | -0.00075612 | 3.082e-07 | -2.7836e-07 | 0.0046248 | 0.0046249 | 0.0046249 | 0.97138 | -0.55349 | 0.97127 | -0.55564 | 1.2706
10 | 0.000603 | 0.000151 | -0.000603 | -0.00015113 | 3.1722e-09 | -1.207e-07 | 0.00092366 | 0.00092371 | 0.00092371 | 0.97138 | -0.55349 | 0.97138 | -0.5536 | 0.25377
11 | -0.018176 | -0.0045613 | 0.018182 | 0.0045649 | 6.1212e-06 | 3.6556e-06 | 0.027811 | 0.027811 | 0.027811 | 0.97255 | -0.5304 | 0.97291 | -0.52334 | 7.6405
12 | 0.0023684 | 0.00059309 | -0.0023684 | -0.00059317 | 4.2392e-08 | -7.914e-08 | 0.0036283 | 0.0036284 | 0.0036284 | 0.97127 | -0.55564 | 0.97125 | -0.55601 | 0.99681
13 | -0.014483 | -0.0036319 | 0.014486 | 0.0036337 | 3.1443e-06 | 1.7875e-06 | 0.021835 | 0.021835 | 0.021835 | 0.987 | -0.24899 | 0.98723 | -0.24444 | 5.9988
14 | 0.014483 | 0.0036319 | -0.014478 | -0.0036293 | 4.7157e-06 | 2.6811e-06 | 0.021835 | 0.021836 | 0.021836 | 0.987 | -0.24899 | 0.98665 | -0.25583 | 5.9988
15 | -0.020719 | -0.0051959 | 0.02072 | 0.0051967 | 1.3427e-06 | 8.1236e-07 | 0.03123 | 0.03123 | 0.03123 | 0.98723 | -0.24444 | 0.9873 | -0.24308 | 8.5797
16 | 0.006233 | 0.0015621 | -0.0062325 | -0.001562 | 5.2229e-07 | 1.3252e-07 | 0.0093948 | 0.0093949 | 0.0093949 | 0.98723 | -0.24444 | 0.98714 | -0.2462 | 2.581
17 | 0.012225 | 0.0030646 | -0.012223 | -0.0030632 | 2.755e-06 | 1.4873e-06 | 0.018438 | 0.018438 | 0.018438 | 0.98665 | -0.25583 | 0.9864 | -0.26056 | 5.0654
18 | 0.064201 | 0.016134 | -0.064155 | -0.016104 | 4.621e-05 | 2.941e-05 | 0.097293 | 0.097293 | 0.097293 | 0.98206 | -0.3449 | 0.98129 | -0.35999 | 26.7288
19 | 0.010274 | 0.0025745 | -0.010272 | -0.0025735 | 1.9689e-06 | 9.8599e-07 | 0.015567 | 0.015567 | 0.015567 | 0.98206 | -0.3449 | 0.98186 | -0.34893 | 4.2766
20 | -0.074475 | -0.018708 | 0.074617 | 0.018799 | 0.00014204 | 9.053e-05 | 0.11286 | 0.11286 | 0.11286 | 0.98206 | -0.3449 | 0.98411 | -0.30502 | 31.0053
21 | 0.025872 | 0.0064912 | -0.025867 | -0.006488 | 5.1246e-06 | 3.1676e-06 | 0.039234 | 0.039234 | 0.039234 | 0.98129 | -0.35999 | 0.98108 | -0.36415 | 10.7786
22 | 0.038283 | 0.0096131 | -0.038278 | -0.0096096 | 5.4544e-06 | 3.4363e-06 | 0.058059 | 0.058059 | 0.058059 | 0.98129 | -0.35999 | 0.98114 | -0.36298 | 15.9502
23 | 0.0037739 | 0.00094519 | -0.0037736 | -0.00094531 | 3.3077e-07 | -1.2933e-07 | 0.0057192 | 0.0057193 | 0.0057193 | 0.98186 | -0.34893 | 0.98176 | -0.35077 | 1.5712
24 | 0.0064978 | 0.0016284 | -0.0064972 | -0.0016282 | 6.8458e-07 | 2.0007e-07 | 0.0098475 | 0.0098476 | 0.0098476 | 0.98186 | -0.34893 | 0.98174 | -0.35114 | 2.7054
25 | -0.08128 | -0.020469 | 0.081522 | 0.020623 | 0.00024151 | 0.00015402 | 0.12293 | 0.12293 | 0.12293 | 0.98411 | -0.30502 | 0.9873 | -0.24308 | 33.7732
26 | 0.038278 | 0.0096096 | -0.038234 | -0.0095825 | 4.3136e-05 | 2.7176e-05 | 0.058059 | 0.058059 | 0.058059 | 0.98114 | -0.36298 | 0.97993 | -0.38663 | 15.9502
27 | 0.027839 | 0.0070101 | -0.027797 | -0.006984 | 4.2009e-05 | 2.6112e-05 | 0.042476 | 0.042476 | 0.042476 | 0.97554 | -0.4715 | 0.97393 | -0.50311 | 11.6693
28 | 0.0056115 | 0.001406 | -0.0056067 | -0.0014051 | 4.7996e-06 | 8.9272e-07 | 0.0085592 | 0.00856 | 0.00856 | 0.97554 | -0.4715 | 0.97463 | -0.48946 | 2.3517
29 | -0.033451 | -0.0084162 | 0.033495 | 0.0084439 | 4.4184e-05 | 2.7712e-05 | 0.051035 | 0.051035 | 0.051035 | 0.97554 | -0.4715 | 0.97695 | -0.44389 | 14.0207
30 | 0.027797 | 0.006984 | -0.027782 | -0.0069742 | 1.5844e-05 | 9.8492e-06 | 0.042476 | 0.042477 | 0.042477 | 0.97393 | -0.50311 | 0.97333 | -0.51506 | 11.6694
31 | 0.0056067 | 0.0014051 | -0.005606 | -0.001405 | 7.4157e-07 | 1.3833e-07 | 0.00856 | 0.0085601 | 0.0085601 | 0.97463 | -0.48946 | 0.97449 | -0.49224 | 2.3517
32 | -0.03645 | -0.0091845 | 0.036478 | 0.0092021 | 2.7985e-05 | 1.7607e-05 | 0.055536 | 0.055536 | 0.055536 | 0.97695 | -0.44389 | 0.97777 | -0.42786 | 15.2572
33 | 0.0023285 | 0.00058323 | -0.0023284 | -0.00058354 | 1.5922e-07 | -3.1451e-07 | 0.0035597 | 0.0035598 | 0.0035598 | 0.97333 | -0.51506 | 0.97325 | -0.5165 | 0.97798
34 | 0.025453 | 0.006391 | -0.025443 | -0.0063847 | 1.0054e-05 | 6.2149e-06 | 0.038917 | 0.038917 | 0.038917 | 0.97333 | -0.51506 | 0.97291 | -0.52334 | 10.6915
35 | -0.052894 | -0.013346 | 0.052955 | 0.013382 | 6.0749e-05 | 3.6035e-05 | 0.080379 | 0.080378 | 0.080379 | 0.9796 | -0.392 | 0.98083 | -0.36804 | 7.3607
36 | 0.052894 | 0.013346 | -0.052873 | -0.013333 | 2.0888e-05 | 1.2934e-05 | 0.080379 | 0.080379 | 0.080379 | 0.9796 | -0.392 | 0.97918 | -0.40025 | 11.0411
37 | -0.12389 | -0.031269 | 0.12413 | 0.031421 | 0.00024075 | 0.00015202 | 0.18804 | 0.18804 | 0.18804 | 0.98083 | -0.36804 | 0.98291 | -0.32755 | 17.2194
38 | 0.018679 | 0.004684 | -0.018672 | -0.0046795 | 7.3836e-06 | 4.4162e-06 | 0.028339 | 0.028339 | 0.028339 | 0.98083 | -0.36804 | 0.98041 | -0.37634 | 7.7854
39 | 0.052259 | 0.013203 | -0.052195 | -0.013163 | 6.3584e-05 | 4.0354e-05 | 0.079319 | 0.07932 | 0.07932 | 0.98083 | -0.36804 | 0.97953 | -0.39346 | 21.7911
40 | 0.046172 | 0.011654 | -0.046153 | -0.011642 | 1.8731e-05 | 1.186e-05 | 0.070195 | 0.070195 | 0.070195 | 0.97918 | -0.40025 | 0.97875 | -0.40872 | 19.2844
41 | 0.0016743 | 0.0004192 | -0.0016742 | -0.00041959 | 8.885e-08 | -3.8879e-07 | 0.0025649 | 0.0025651 | 0.0025651 | 0.97125 | -0.55601 | 0.9712 | -0.55713 | 0.70469
42 | -0.10224 | -0.025819 | 0.10232 | 0.025869 | 7.7877e-05 | 4.973e-05 | 0.15416 | 0.15416 | 0.15416 | 0.9873 | -0.24308 | 0.98812 | -0.2272 | 42.3529
43 | 0.0058734 | 0.0014719 | -0.0058732 | -0.0014719 | 1.6481e-07 | 3.4015e-08 | 0.0088601 | 0.0088601 | 0.0088601 | 0.9864 | -0.26056 | 0.98637 | -0.26115 | 2.4341
44 | 0.017765 | 0.0044576 | -0.01775 | -0.0044485 | 1.5204e-05 | 9.0264e-06 | 0.026947 | 0.026947 | 0.026947 | 0.98108 | -0.36415 | 0.98016 | -0.38211 | 7.403
45 | 0.0037736 | 0.00094531 | -0.0037734 | -0.00094539 | 1.8284e-07 | -7.1457e-08 | 0.0057193 | 0.0057193 | 0.0057193 | 0.98176 | -0.35077 | 0.98171 | -0.35179 | 1.5712
46 | 0.0042818 | 0.0010729 | -0.0042813 | -0.001073 | 4.4288e-07 | -7.1077e-08 | 0.0064898 | 0.0064899 | 0.0064899 | 0.98174 | -0.35114 | 0.98163 | -0.35331 | 1.7829
47 | -0.043166 | -0.010878 | 0.043205 | 0.010903 | 3.9563e-05 | 2.5014e-05 | 0.065713 | 0.065713 | 0.065713 | 0.97777 | -0.42786 | 0.97875 | -0.40872 | 18.053
48 | 0.0037 | 0.00092721 | -0.0036999 | -0.00092727 | 1.4425e-07 | -6.5268e-08 | 0.0055817 | 0.0055818 | 0.0055818 | 0.98637 | -0.26115 | 0.98633 | -0.26197 | 1.5334
49 | -0.10232 | -0.025869 | 0.10264 | 0.026073 | 0.00031918 | 0.00020382 | 0.15416 | 0.15416 | 0.15416 | 0.98812 | -0.2272 | 0.99149 | -0.16237 | 42.3529
50 | -0.011992 | -0.0030056 | 0.011993 | 0.0030058 | 4.8977e-07 | 2.5973e-07 | 0.017852 | 0.017852 | 0.017852 | 0.99957 | -0.0081825 | 0.99962 | -0.0073252 | 4.9045
51 | 0.0062078 | 0.0015558 | -0.0062073 | -0.0015557 | 5.2335e-07 | 1.2075e-07 | 0.0092412 | 0.0092413 | 0.0092413 | 0.99957 | -0.0081825 | 0.99948 | -0.0099522 | 2.5388
52 | -0.019348 | -0.0048492 | 0.019349 | 0.00485 | 1.2266e-06 | 7.3332e-07 | 0.028801 | 0.028801 | 0.028801 | 0.99962 | -0.0073252 | 0.99969 | -0.0059946 | 7.9125
53 | -0.027048 | -0.0067794 | 0.027056 | 0.0067842 | 7.7271e-06 | 4.7786e-06 | 0.04026 | 0.04026 | 0.04026 | 0.99969 | -0.0059946 | 1 | 0 | 11.0606
54 | 0.31789 | 0.081477 | -0.31775 | -0.081387 | 0.0001412 | 9.0172e-05 | 0.47367 | 0.47367 | 0.47367 | 1 | 0 | 0.99951 | -0.0091676 | 43.3761
55 | 0.2103 | 0.053566 | -0.21009 | -0.053438 | 0.00020089 | 0.00012793 | 0.31323 | 0.31323 | 0.31323 | 1 | 0 | 0.99896 | -0.019824 | 28.6839
56 | 0.31251 | 0.080075 | -0.31182 | -0.07963 | 0.00069565 | 0.00044421 | 0.46587 | 0.46587 | 0.46587 | 0.99951 | -0.0091676 | 0.99708 | -0.05521 | 42.6624
57 | 0.20701 | 0.052665 | -0.20682 | -0.052542 | 0.00019226 | 0.00012241 | 0.30863 | 0.30863 | 0.30863 | 0.99896 | -0.019824 | 0.99794 | -0.039114 | 28.2631
58 | 0.0052639 | 0.001319 | -0.0052632 | -0.001319 | 6.4894e-07 | 6.2997e-08 | 0.0079291 | 0.0079292 | 0.0079292 | 0.98784 | -0.2323 | 0.9877 | -0.23489 | 2.1784
59 | -0.0060232 | -0.0015093 | 0.006024 | 0.0015095 | 8.1336e-07 | 1.8318e-07 | 0.0090729 | 0.0090728 | 0.0090729 | 0.98784 | -0.2323 | 0.98798 | -0.22946 | 2.4926
60 | 0.0034705 | 0.00086969 | -0.0034705 | -0.0008697 | 2.3188e-08 | -1.4109e-08 | 0.0052285 | 0.0052285 | 0.0052285 | 0.9877 | -0.23489 | 0.9877 | -0.23503 | 1.4364
61 | 0.00082702 | 0.00020684 | -0.000827 | -0.00020727 | 1.9741e-08 | -4.2192e-07 | 0.0012454 | 0.0012456 | 0.0012456 | 0.98798 | -0.22946 | 0.98796 | -0.22997 | 0.3422
62 | -0.0068511 | -0.0017164 | 0.0068521 | 0.0017167 | 1.007e-06 | 3.2142e-07 | 0.010318 | 0.010318 | 0.010318 | 0.98798 | -0.22946 | 0.98814 | -0.22638 | 2.8347
63 | 0.0026688 | 0.00066877 | -0.0026687 | -0.00066885 | 5.4758e-08 | -8.0557e-08 | 0.0040207 | 0.0040207 | 0.0040207 | 0.9877 | -0.23503 | 0.98767 | -0.23546 | 1.1046
64 | 0.18763 | 0.047662 | -0.1871 | -0.047327 | 0.00052681 | 0.00033514 | 0.28277 | 0.28278 | 0.28278 | 0.98814 | -0.22638 | 0.98511 | -0.28489 | 25.8952
65 | -0.19448 | -0.049378 | 0.1948 | 0.04958 | 0.00031653 | 0.00020144 | 0.29309 | 0.29309 | 0.29309 | 0.98814 | -0.22638 | 0.9899 | -0.19261 | 26.84
66 | 0.20682 | 0.052542 | -0.20674 | -0.052491 | 8.0942e-05 | 5.1537e-05 | 0.30863 | 0.30863 | 0.30863 | 0.99794 | -0.039114 | 0.99752 | -0.047248 | 28.2631
67 | 0.20674 | 0.052491 | -0.20667 | -0.052448 | 6.7458e-05 | 4.3074e-05 | 0.30863 | 0.30863 | 0.30863 | 0.99752 | -0.047248 | 0.99716 | -0.054031 | 42.3946
68 | 0.17864 | 0.045205 | -0.17844 | -0.045078 | 0.00020043 | 0.00012744 | 0.26999 | 0.26999 | 0.26999 | 0.98511 | -0.28489 | 0.9839 | -0.30829 | 24.7246
69 | 0.008463 | 0.0021213 | -0.0084617 | -0.0021207 | 1.3371e-06 | 5.7799e-07 | 0.012784 | 0.012784 | 0.012784 | 0.98511 | -0.28489 | 0.98494 | -0.2882 | 3.512
70 | -0.21814 | -0.055429 | 0.21829 | 0.055529 | 0.00015723 | 0.00010018 | 0.32817 | 0.32817 | 0.32817 | 0.9899 | -0.19261 | 0.99068 | -0.17765 | 30.0525
71 | -0.088245 | -0.022116 | 0.088409 | 0.022221 | 0.00016339 | 0.00010424 | 0.13195 | 0.13195 | 0.13195 | 0.99515 | -0.092819 | 0.99716 | -0.054031 | 36.2502
72 | 0.11826 | 0.030227 | -0.11764 | -0.029834 | 0.00061623 | 0.00039371 | 0.17668 | 0.17668 | 0.17668 | 0.99716 | -0.054031 | 0.99149 | -0.16237 | 48.5393
73 | 0.13065 | 0.033101 | -0.13053 | -0.033025 | 0.00012076 | 7.6347e-05 | 0.19772 | 0.19772 | 0.19772 | 0.9839 | -0.30829 | 0.98291 | -0.32755 | 18.1063
74 | -0.27347 | -0.069358 | 0.27409 | 0.069753 | 0.00061996 | 0.00039563 | 0.41105 | 0.41105 | 0.41105 | 0.99068 | -0.17765 | 0.99313 | -0.13062 | 37.6419
75 | -0.023806 | -0.0059663 | 0.023846 | 0.0059908 | 3.9691e-05 | 2.4407e-05 | 0.036397 | 0.036396 | 0.036397 | 0.97327 | -0.51641 | 0.97504 | -0.48148 | 9.9991
76 | -0.033619 | -0.0084403 | 0.033658 | 0.0084643 | 3.8181e-05 | 2.3953e-05 | 0.051312 | 0.051312 | 0.051312 | 0.97504 | -0.48148 | 0.97625 | -0.4577 | 14.0968
77 | -0.041024 | -0.01031 | 0.041074 | 0.010342 | 4.993e-05 | 3.1529e-05 | 0.06254 | 0.06254 | 0.06254 | 0.97625 | -0.4577 | 0.97754 | -0.43224 | 17.1814
78 | -0.04704 | -0.011837 | 0.047127 | 0.011892 | 8.7348e-05 | 5.5332e-05 | 0.071621 | 0.071621 | 0.071621 | 0.97754 | -0.43224 | 0.97953 | -0.39346 | 19.6761
79 | -0.29394 | -0.074727 | 0.29464 | 0.075176 | 0.00070286 | 0.0004487 | 0.44078 | 0.44078 | 0.44078 | 0.99313 | -0.13062 | 0.99572 | -0.081102 | 40.3648
80 | -0.30728 | -0.078343 | 0.30766 | 0.078589 | 0.00038461 | 0.00024558 | 0.45967 | 0.45967 | 0.45967 | 0.99572 | -0.081102 | 0.99708 | -0.05521 | 42.0945
81 | 0.0027749 | 0.00069514 | -0.0027748 | -0.00069525 | 8.2545e-08 | -1.045e-07 | 0.0042059 | 0.0042059 | 0.0042059 | 0.98171 | -0.35179 | 0.98168 | -0.35241 | 1.1555
82 | 0.0027748 | 0.00069525 | -0.0027747 | -0.0006954 | 1.2242e-07 | -1.5495e-07 | 0.0042059 | 0.004206 | 0.004206 | 0.98168 | -0.35241 | 0.98163 | -0.35334 | 1.1555
83 | 0.0063976 | 0.0016034 | -0.0063969 | -0.0016032 | 6.8465e-07 | 1.9152e-07 | 0.0096852 | 0.0096853 | 0.0096853 | 0.98291 | -0.32755 | 0.9828 | -0.3298 | 2.6608
84 | 0.0062018 | 0.0015543 | -0.0062013 | -0.0015542 | 4.8e-07 | 1.2504e-07 | 0.0094127 | 0.0094128 | 0.0094128 | 0.98041 | -0.37634 | 0.98032 | -0.37796 | 2.5859

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.55689 | 0.14183

## res_load
| p_mw | q_mvar
0 | 0.0027646 | 0.00069287
1 | 0.0029654 | 0.0007432
2 | 0.0011476 | 0.00028762
3 | 0.0015291 | 0.00038324
4 | 0.0029967 | 0.00075105
5 | 0.00065051 | 0.00016303
6 | 0.000603 | 0.00015113
7 | 0.0022528 | 0.00056461
8 | 0.0066634 | 0.00167
9 | 0.038234 | 0.0095825
10 | 0.0031242 | 0.00078299
11 | 0.0029552 | 0.00074064
12 | 0.005606 | 0.001405
13 | 0.0067013 | 0.0016795
14 | 0.0072612 | 0.0018198
15 | 0.00069413 | 0.00017397
16 | 0.0062325 | 0.001562
17 | 0.0063492 | 0.0015913
18 | 0.0081015 | 0.0020304
19 | 0.0022154 | 0.00055523
20 | 0.0066872 | 0.001676
21 | 0.0023284 | 0.00058354
22 | 0.0016742 | 0.00041959
23 | 0.01775 | 0.0044485
24 | 0.0021732 | 0.00054466
25 | 0.0036999 | 0.00092727
26 | 0.0057846 | 0.0014498
27 | 0.0073552 | 0.0018434
28 | 0.0062073 | 0.0015557
29 | 0.0076986 | 0.0019294
30 | 0.0052359 | 0.0013122
31 | 0.0030851 | 0.00077319
32 | 0.00075936 | 0.00019031
33 | 0.0017927 | 0.00044928
34 | 0.00080172 | 0.00020093
35 | 0.000827 | 0.00020727
36 | 0.0026687 | 0.00066885
37 | 0.023337 | 0.0058489
38 | 0.088245 | 0.022116
39 | 0.047788 | 0.011977
40 | 0.0084617 | 0.0021207
41 | 0.055177 | 0.013829
42 | 0.023806 | 0.0059663
43 | 0.0097738 | 0.0024495
44 | 0.0073664 | 0.0018462
45 | 0.0059658 | 0.0014952
46 | 0.0050679 | 0.0012701
47 | 0.019846 | 0.0049738
48 | 0.01264 | 0.0031678
49 | 0.0041553 | 0.0010414
50 | 0.0042813 | 0.001073
51 | 0.00099849 | 0.00025024
52 | 0.015005 | 0.0037605
53 | 0.0027747 | 0.0006954
54 | 0.01247 | 0.0031252
55 | 0.0063969 | 0.0016032
56 | 0.0062013 | 0.0015542
57 | 0.0029483 | 0.00073891

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1