## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_246-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_246-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_246-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_246-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_246-1_0_4_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_246-1_0_4_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_246-1_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_246-1_0_4_node_93 | 0.4 | n |  | TRUE
8 | bus_LV_246-1_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_246-1_0_4_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_246-1_0_4_node_51 | 0.4 | n |  | TRUE
11 | bus_LV_246-1_0_4_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_246-1_0_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_246-1_0_4_node_58 | 0.4 | n |  | TRUE
14 | bus_LV_246-1_0_4_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_246-1_0_4_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_246-1_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_246-1_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_246-1_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_246-1_0_4_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_246-1_0_4_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_246-1_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_246-1_0_4_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_246-1_0_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_246-1_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_246-1_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_246-1_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_246-1_0_4_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_246-1_0_4_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_246-1_0_4_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_246-1_0_4_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_246-1_0_4_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_246-1_0_4_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_246-1_0_4_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_246-1_0_4_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_246-1_0_4_node_76 | 0.4 | n |  | TRUE
36 | bus_LV_246-1_0_4_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_246-1_0_4_node_84 | 0.4 | n |  | TRUE
38 | bus_LV_246-1_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_246-1_0_4_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_246-1_0_4_node_73 | 0.4 | n |  | TRUE
41 | bus_LV_246-1_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_246-1_0_4_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_246-1_0_4_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_246-1_0_4_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_246-1_0_4_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_246-1_0_4_node_95 | 0.4 | n |  | TRUE
47 | bus_LV_246-1_0_4_node_85 | 0.4 | n |  | TRUE
48 | bus_LV_246-1_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_246-1_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_246-1_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_246-1_0_4_node_86 | 0.4 | n |  | TRUE
52 | bus_LV_246-1_0_4_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_246-1_0_4_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_246-1_0_4_node_87 | 0.4 | n |  | TRUE
55 | bus_LV_246-1_0_4_node_92 | 0.4 | n |  | TRUE
56 | bus_MV_519_0_node_162 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_246-1_0_4_load_0 | 0 | 0.0011162 | 0.00027975 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_246-1_0_4_load_1 | 1 | 0.0033922 | 0.00085017 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_246-1_0_4_load_14 | 4 | 0.0043898 | 0.0011002 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_246-1_0_4_load_12 | 5 | 0.001411 | 0.00035364 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_246-1_0_4_load_93 | 7 | 0.0062351 | 0.0015627 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_246-1_0_4_load_51 | 10 | 0.0049696 | 0.0012455 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_246-1_0_4_load_49 | 11 | 0.0060052 | 0.0015051 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_246-1_0_4_load_13 | 12 | 0.0081815 | 0.0020505 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_246-1_0_4_load_58 | 13 | 0.006592 | 0.0016521 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_246-1_0_4_load_6 | 15 | 0.012303 | 0.0030834 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_246-1_0_4_load_10 | 17 | 0.00047065 | 0.00011796 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_246-1_0_4_load_11 | 18 | 0.0023451 | 0.00058774 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_246-1_0_4_load_24 | 20 | 0.0076887 | 0.001927 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_246-1_0_4_load_23 | 23 | 0.0039818 | 0.00099793 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_246-1_0_4_load_18 | 24 | 0.0049455 | 0.0012394 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_246-1_0_4_load_19 | 25 | 0.0066834 | 0.001675 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_246-1_0_4_load_21 | 26 | 0.002465 | 0.0006178 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_246-1_0_4_load_68 | 30 | 0.00451 | 0.0011303 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_246-1_0_4_load_46 | 33 | 0.010495 | 0.0026303 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_246-1_0_4_load_84 | 37 | 0.018302 | 0.0045868 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_246-1_0_4_load_61 | 39 | 0.0083334 | 0.0020885 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_246-1_0_4_load_73 | 40 | 0.017141 | 0.0042959 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_246-1_0_4_load_60 | 42 | 0.012889 | 0.0032304 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_246-1_0_4_load_59 | 43 | 0.01293 | 0.0032405 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_246-1_0_4_load_48 | 44 | 0.0061077 | 0.0015307 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_246-1_0_4_load_43 | 45 | 0.013251 | 0.003321 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_246-1_0_4_load_95 | 46 | 0.022847 | 0.0057261 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_246-1_0_4_load_40 | 48 | 0.011498 | 0.0028817 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_246-1_0_4_load_44 | 50 | 0.018149 | 0.0045485 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_246-1_0_4_load_53 | 52 | 0.0023544 | 0.00059007 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_246-1_0_4_load_57 | 53 | 0.0021042 | 0.00052737 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_246-1_0_4_load_92 | 55 | 0.021571 | 0.0054061 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_246-1_0_4_line_0 |  | 0 | 1 | 0.013701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_246-1_0_4_line_1 |  | 0 | 2 | 0.017631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_246-1_0_4_line_2 |  | 2 | 3 | 0.032253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_246-1_0_4_line_3 |  | 3 | 4 | 0.011823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_246-1_0_4_line_4 |  | 3 | 5 | 0.010372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_246-1_0_4_line_5 |  | 4 | 11 | 0.027156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_246-1_0_4_line_6 |  | 5 | 12 | 0.014521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_246-1_0_4_line_7 |  | 6 | 7 | 0.045607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_246-1_0_4_line_8 |  | 6 | 8 | 0.092784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_246-1_0_4_line_9 |  | 8 | 9 | 0.005519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_246-1_0_4_line_10 |  | 8 | 10 | 0.02267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_246-1_0_4_line_11 |  | 9 | 13 | 0.034947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_246-1_0_4_line_12 |  | 9 | 14 | 0.012052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_246-1_0_4_line_13 |  | 11 | 22 | 0.0017205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_246-1_0_4_line_14 |  | 12 | 17 | 0.0081388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_246-1_0_4_line_15 |  | 13 | 27 | 0.016092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_246-1_0_4_line_16 |  | 14 | 39 | 0.019091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_246-1_0_4_line_17 |  | 14 | 41 | 0.091458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_246-1_0_4_line_18 |  | 15 | 16 | 0.0036764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_246-1_0_4_line_19 |  | 16 | 17 | 0.027235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_246-1_0_4_line_20 |  | 16 | 18 | 0.017981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_246-1_0_4_line_21 |  | 18 | 19 | 0.016495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_246-1_0_4_line_22 |  | 19 | 20 | 0.013416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_246-1_0_4_line_23 |  | 19 | 21 | 0.029289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_246-1_0_4_line_24 |  | 21 | 23 | 0.024559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_246-1_0_4_line_25 |  | 21 | 24 | 0.0095157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_246-1_0_4_line_26 |  | 22 | 52 | 0.022354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_246-1_0_4_line_27 |  | 22 | 29 | 0.010374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_246-1_0_4_line_28 |  | 25 | 26 | 0.0064253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_246-1_0_4_line_29 |  | 26 | 27 | 0.026645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_246-1_0_4_line_30 |  | 27 | 28 | 0.017198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_246-1_0_4_line_31 |  | 28 | 52 | 0.0077034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_246-1_0_4_line_32 |  | 29 | 30 | 0.011507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_246-1_0_4_line_33 |  | 30 | 53 | 0.0128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_246-1_0_4_line_34 |  | 31 | 32 | 0.013015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_246-1_0_4_line_35 |  | 31 | 33 | 0.044165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_246-1_0_4_line_36 |  | 32 | 44 | 0.023884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_246-1_0_4_line_37 |  | 32 | 38 | 0.005661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_246-1_0_4_line_38 |  | 33 | 45 | 0.001795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_246-1_0_4_line_39 |  | 34 | 35 | 0.046321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_246-1_0_4_line_40 |  | 34 | 36 | 0.050676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_246-1_0_4_line_41 |  | 34 | 37 | 0.019059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_246-1_0_4_line_42 |  | 35 | 46 | 0.004136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_246-1_0_4_line_43 |  | 36 | 40 | 0.026783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_246-1_0_4_line_44 |  | 37 | 47 | 0.036789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_246-1_0_4_line_45 |  | 38 | 39 | 0.039103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_246-1_0_4_line_46 |  | 41 | 42 | 0.013421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_246-1_0_4_line_47 |  | 41 | 43 | 0.059782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_246-1_0_4_line_48 |  | 45 | 49 | 0.061611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_246-1_0_4_line_49 |  | 47 | 54 | 0.021826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_246-1_0_4_line_50 |  | 47 | 51 | 0.032761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_246-1_0_4_line_51 |  | 48 | 49 | 0.02202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_246-1_0_4_line_52 |  | 49 | 50 | 0.054899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_246-1_0_4_line_53 |  | 50 | 51 | 0.035218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_246-1_0_4_line_54 |  | 54 | 55 | 0.02533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_246-1_0_4_trafo_37 | 0.63 MVA 20/0.4 kV | 56 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2672181.9729 | 1253600.699 | 2672186.8068 | 1253613.5185
1 | 2672175.8992 | 1253584.1475 | 2672179.3365 | 1253593.7074 | 2672181.9729 | 1253600.699
2 | 2672175.8992 | 1253584.1475 | 2672168.0765 | 1253585.2307 | 2672159.039 | 1253585.0761 | 2672144.185 | 1253589.176
3 | 2672144.185 | 1253589.176 | 2672140.9148 | 1253580.1407 | 2672139.9654 | 1253578.1406
4 | 2672144.185 | 1253589.176 | 2672138.7588 | 1253591.1225 | 2672134.4987 | 1253592.8759
5 | 2672139.9654 | 1253578.1406 | 2672135.059 | 1253567.8049 | 2672128.6301 | 1253553.4653
6 | 2672134.4987 | 1253592.8759 | 2672121.0703 | 1253598.4031
7 | 2672210.3667 | 1253525.9694 | 2672207.3807 | 1253527.0449 | 2672202.3686 | 1253531.5316 | 2672197.3133 | 1253536.4736 | 2672193.9616 | 1253543.4045 | 2672191.6234 | 1253550.1364 | 2672178.9462 | 1253555.7861
8 | 2672150.7354 | 1253472.0704 | 2672153.1751 | 1253474.3351 | 2672163.1222 | 1253482.2175 | 2672162.8878 | 1253508.2558 | 2672193.2574 | 1253520.7127 | 2672210.3667 | 1253525.9694
9 | 2672150.7354 | 1253472.0704 | 2672147.9524 | 1253472.5813 | 2672145.3821 | 1253471.7383
10 | 2672150.7354 | 1253472.0704 | 2672151.253 | 1253477.892 | 2672160.1675 | 1253487.5298 | 2672160.5292 | 1253491.2089
11 | 2672145.3821 | 1253471.7383 | 2672139.1169 | 1253483.0814 | 2672131.4757 | 1253490.9385 | 2672122.9647 | 1253497.9517
12 | 2672141.5369 | 1253460.9614 | 2672141.7185 | 1253466.4898 | 2672142.8399 | 1253469.2055 | 2672145.3821 | 1253471.7383
13 | 2672127.9262 | 1253551.8953 | 2672128.6301 | 1253553.4653
14 | 2672113.5441 | 1253601.5009 | 2672121.0703 | 1253598.4031
15 | 2672110.5457 | 1253508.1852 | 2672122.9647 | 1253497.9517
16 | 2672141.5369 | 1253460.9614 | 2672135.5282 | 1253459.3092 | 2672128.8981 | 1253448.2913
17 | 2672087.0213 | 1253452.8364 | 2672094.6811 | 1253445.313 | 2672102.4896 | 1253439.8262 | 2672103.73 | 1253438.9629 | 2672113.2994 | 1253433.253 | 2672124.6029 | 1253430.7554 | 2672133.136 | 1253431.4598 | 2672139.3128 | 1253432.3245 | 2672143.29 | 1253432.8845 | 2672142.3241 | 1253448.3729 | 2672141.5369 | 1253460.9614
18 | 2672087.4334 | 1253609.2443 | 2672083.8513 | 1253610.0717
19 | 2672087.4334 | 1253609.2443 | 2672113.5441 | 1253601.5009
20 | 2672087.4334 | 1253609.2443 | 2672080.7123 | 1253592.5665
21 | 2672073.6399 | 1253577.6869 | 2672074.8021 | 1253579.5246 | 2672079.8457 | 1253590.4161 | 2672080.7123 | 1253592.5665
22 | 2672073.6399 | 1253577.6869 | 2672085.7566 | 1253571.9279
23 | 2672052.6042 | 1253558.3947 | 2672057.1532 | 1253560.3292 | 2672062.39 | 1253563.4063 | 2672067.9771 | 1253568.7003 | 2672073.6399 | 1253577.6869
24 | 2672052.6042 | 1253558.3947 | 2672049.7304 | 1253561.4175 | 2672047.3848 | 1253563.813 | 2672038.5786 | 1253571.3114 | 2672035.6509 | 1253575.9317
25 | 2672052.6042 | 1253558.3947 | 2672059.6789 | 1253552.031
26 | 2672127.9262 | 1253551.8953 | 2672121.6913 | 1253530.4286
27 | 2672127.9262 | 1253551.8953 | 2672118.5307 | 1253556.3509
28 | 2672085.4541 | 1253529.7269 | 2672090.3293 | 1253525.5416
29 | 2672110.5457 | 1253508.1852 | 2672100.4957 | 1253516.8137 | 2672090.3293 | 1253525.5416
30 | 2672110.5457 | 1253508.1852 | 2672118.4711 | 1253523.4595
31 | 2672118.4711 | 1253523.4595 | 2672121.1914 | 1253528.7075 | 2672121.6913 | 1253530.4286
32 | 2672118.5307 | 1253556.3509 | 2672113.0312 | 1253546.2432
33 | 2672113.0312 | 1253546.2432 | 2672106.9136 | 1253534.9993
34 | 2672104.435 | 1253410.8177 | 2672092.9876 | 1253417.0718
35 | 2672092.9876 | 1253417.0718 | 2672086.2171 | 1253407.3268 | 2672073.4152 | 1253387.868 | 2672065.8226 | 1253383.0228
36 | 2672104.435 | 1253410.8177 | 2672117.7777 | 1253400.1167 | 2672122.3617 | 1253395.1203
37 | 2672104.435 | 1253410.8177 | 2672107.6682 | 1253415.4715
38 | 2672065.8226 | 1253383.0228 | 2672064.3094 | 1253382.0572
39 | 2672013.3361 | 1253414.6126 | 2671998.5317 | 1253427.6421 | 2671992.2523 | 1253427.7659 | 2671974.4608 | 1253417.7536
40 | 2672013.3361 | 1253414.6126 | 2672038.5572 | 1253441.5943 | 2672027.8286 | 1253450.1813
41 | 2672013.3361 | 1253414.6126 | 2672000.8729 | 1253400.1931
42 | 2671971.7676 | 1253414.6075 | 2671974.4608 | 1253417.7536
43 | 2672027.8286 | 1253450.1813 | 2672006.9201 | 1253466.9187
44 | 2671976.816 | 1253372.3603 | 2672000.8729 | 1253400.1931
45 | 2672107.6682 | 1253415.4715 | 2672108.4217 | 1253416.7928 | 2672121.9124 | 1253436.6826 | 2672128.8981 | 1253448.2913
46 | 2672091.9701 | 1253465.3168 | 2672087.0213 | 1253452.8364
47 | 2672087.0213 | 1253452.8364 | 2672082.2479 | 1253458.1711 | 2672069.2698 | 1253484.8104 | 2672057.9951 | 1253504.8469
48 | 2672048.3297 | 1253326.7962 | 2672046.4404 | 1253349.3563 | 2672048.3858 | 1253360.6326 | 2672052.1193 | 1253369.44 | 2672057.3396 | 1253377.6094 | 2672064.3094 | 1253382.0572
49 | 2671959.0581 | 1253378.1933 | 2671962.0362 | 1253381.4985 | 2671976.816 | 1253372.3603
50 | 2671976.816 | 1253372.3603 | 2671973.8385 | 1253367.1425 | 2671963.5448 | 1253342.4328
51 | 2672048.3297 | 1253326.7962 | 2672059.949 | 1253329.9843 | 2672069.7887 | 1253328.3694
52 | 2672048.3297 | 1253326.7962 | 2672032.3315 | 1253320.0746 | 2672023.5139 | 1253320.4232 | 2671996.4038 | 1253329.9092
53 | 2671963.5448 | 1253342.4328 | 2671969.8015 | 1253339.2176 | 2671996.4038 | 1253329.9092
54 | 2671959.0581 | 1253378.1933 | 2671944.9431 | 1253391.6205 | 2671940.8749 | 1253387.3681

## bus_geodata
| x | y | coords
0 | 2672181.9729 | 1253600.699
1 | 2672186.8068 | 1253613.5185
2 | 2672175.8992 | 1253584.1475
3 | 2672144.185 | 1253589.176
4 | 2672139.9654 | 1253578.1406
5 | 2672134.4987 | 1253592.8759
6 | 2672210.3667 | 1253525.9694
7 | 2672178.9462 | 1253555.7861
8 | 2672150.7354 | 1253472.0704
9 | 2672145.3821 | 1253471.7383
10 | 2672160.5292 | 1253491.2089
11 | 2672128.6301 | 1253553.4653
12 | 2672121.0703 | 1253598.4031
13 | 2672122.9647 | 1253497.9517
14 | 2672141.5369 | 1253460.9614
15 | 2672083.8513 | 1253610.0717
16 | 2672087.4334 | 1253609.2443
17 | 2672113.5441 | 1253601.5009
18 | 2672080.7123 | 1253592.5665
19 | 2672073.6399 | 1253577.6869
20 | 2672085.7566 | 1253571.9279
21 | 2672052.6042 | 1253558.3947
22 | 2672127.9262 | 1253551.8953
23 | 2672035.6509 | 1253575.9317
24 | 2672059.6789 | 1253552.031
25 | 2672085.4541 | 1253529.7269
26 | 2672090.3293 | 1253525.5416
27 | 2672110.5457 | 1253508.1852
28 | 2672118.4711 | 1253523.4595
29 | 2672118.5307 | 1253556.3509
30 | 2672113.0312 | 1253546.2432
31 | 2672092.9876 | 1253417.0718
32 | 2672104.435 | 1253410.8177
33 | 2672065.8226 | 1253383.0228
34 | 2672013.3361 | 1253414.6126
35 | 2671974.4608 | 1253417.7536
36 | 2672027.8286 | 1253450.1813
37 | 2672000.8729 | 1253400.1931
38 | 2672107.6682 | 1253415.4715
39 | 2672128.8981 | 1253448.2913
40 | 2672006.9201 | 1253466.9187
41 | 2672087.0213 | 1253452.8364
42 | 2672091.9701 | 1253465.3168
43 | 2672057.9951 | 1253504.8469
44 | 2672122.3617 | 1253395.1203
45 | 2672064.3094 | 1253382.0572
46 | 2671971.7676 | 1253414.6075
47 | 2671976.816 | 1253372.3603
48 | 2672069.7887 | 1253328.3694
49 | 2672048.3297 | 1253326.7962
50 | 2671996.4038 | 1253329.9092
51 | 2671963.5448 | 1253342.4328
52 | 2672121.6913 | 1253530.4286
53 | 2672106.9136 | 1253534.9993
54 | 2671959.0581 | 1253378.1933
55 | 2671940.8749 | 1253387.3681
56 | 2672025.0617 | 1253446.8897

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97297 | -0.52118 | 0.0011162 | 0.00027975
1 | 0.97293 | -0.52203 | 0.0033922 | 0.00085017
2 | 0.97304 | -0.51971 | 0 | 0
3 | 0.97318 | -0.51704 | 0 | 0
4 | 0.97368 | -0.50707 | 0.0043898 | 0.0011002
5 | 0.97278 | -0.52493 | 0.001411 | 0.00035364
6 | 0.97686 | -0.44465 | 0 | 0
7 | 0.9766 | -0.44985 | 0.0062351 | 0.0015627
8 | 0.9774 | -0.43409 | 0 | 0
9 | 0.97746 | -0.43296 | 0 | 0
10 | 0.9773 | -0.43614 | 0.0049696 | 0.0012455
11 | 0.97496 | -0.48202 | 0.0060052 | 0.0015051
12 | 0.97224 | -0.53561 | 0.0081815 | 0.0020505
13 | 0.97658 | -0.45018 | 0.006592 | 0.0016521
14 | 0.9778 | -0.42621 | 0 | 0
15 | 0.97116 | -0.55694 | 0.012303 | 0.0030834
16 | 0.9712 | -0.5561 | 0 | 0
17 | 0.972 | -0.54038 | 0.00047065 | 0.00011796
18 | 0.97088 | -0.5624 | 0.0023451 | 0.00058774
19 | 0.97063 | -0.56747 | 0 | 0
20 | 0.97053 | -0.56938 | 0.0076887 | 0.001927
21 | 0.97038 | -0.57231 | 0 | 0
22 | 0.97505 | -0.48025 | 0 | 0
23 | 0.97029 | -0.57412 | 0.0039818 | 0.00099793
24 | 0.97034 | -0.57318 | 0.0049455 | 0.0012394
25 | 0.97594 | -0.46272 | 0.0066834 | 0.001675
26 | 0.97598 | -0.46193 | 0.002465 | 0.0006178
27 | 0.97621 | -0.45747 | 0 | 0
28 | 0.97586 | -0.46431 | 0 | 0
29 | 0.97498 | -0.48151 | 0 | 0
30 | 0.97491 | -0.4829 | 0.00451 | 0.0011303
31 | 0.98079 | -0.36786 | 0 | 0
32 | 0.98026 | -0.37828 | 0 | 0
33 | 0.98261 | -0.33259 | 0.010495 | 0.0026303
34 | 0.99612 | -0.073475 | 0 | 0
35 | 0.99515 | -0.092084 | 0 | 0
36 | 1 | 0 | -0.27158 | -0.069284
37 | 0.99479 | -0.0987 | 0.018302 | 0.0045868
38 | 0.98003 | -0.3826 | 0 | 0
39 | 0.9785 | -0.41253 | 0.0083334 | 0.0020885
40 | 0.99958 | -0.0080049 | 0.017141 | 0.0042959
41 | 0.97561 | -0.46936 | 0 | 0
42 | 0.97545 | -0.47253 | 0.012889 | 0.0032304
43 | 0.97489 | -0.48352 | 0.01293 | 0.0032405
44 | 0.98012 | -0.38092 | 0.0061077 | 0.0015307
45 | 0.98269 | -0.33105 | 0.013251 | 0.003321
46 | 0.99507 | -0.093747 | 0.022847 | 0.0057261
47 | 0.99243 | -0.14361 | 0 | 0
48 | 0.98543 | -0.27787 | 0.011498 | 0.0028817
49 | 0.98567 | -0.27333 | 0 | 0
50 | 0.98852 | -0.21843 | 0.018149 | 0.0045485
51 | 0.99054 | -0.17959 | 0 | 0
52 | 0.9757 | -0.46738 | 0.0023544 | 0.00059007
53 | 0.97489 | -0.4834 | 0.0021042 | 0.00052737
54 | 0.992 | -0.15194 | 0 | 0
55 | 0.9915 | -0.16163 | 0.021571 | 0.0054061
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0033923 | 0.00085009 | -0.0033922 | -0.00085017 | 1.3829e-07 | -8.1644e-08 | 0.0051881 | 0.0051881 | 0.0051881 | 0.97297 | -0.52118 | 0.97293 | -0.52203 | 1.4253
1 | -0.0045086 | -0.0011298 | 0.0045089 | 0.0011298 | 3.1434e-07 | -1.7813e-08 | 0.0068952 | 0.0068951 | 0.0068952 | 0.97297 | -0.52118 | 0.97304 | -0.51971 | 1.8943
2 | -0.0045089 | -0.0011298 | 0.0045095 | 0.0011298 | 5.75e-07 | -3.2683e-08 | 0.0068951 | 0.0068949 | 0.0068951 | 0.97304 | -0.51971 | 0.97318 | -0.51704 | 1.8943
3 | -0.045917 | -0.011536 | 0.045939 | 0.01155 | 2.186e-05 | 1.3844e-05 | 0.070218 | 0.070218 | 0.070218 | 0.97318 | -0.51704 | 0.97368 | -0.50707 | 19.2907
4 | 0.041407 | 0.010407 | -0.041392 | -0.010397 | 1.5596e-05 | 9.8525e-06 | 0.063323 | 0.063323 | 0.063323 | 0.97318 | -0.51704 | 0.97278 | -0.52493 | 17.3965
5 | -0.050328 | -0.01265 | 0.050389 | 0.012689 | 6.0263e-05 | 3.823e-05 | 0.076927 | 0.076927 | 0.076927 | 0.97368 | -0.50707 | 0.97496 | -0.48202 | 21.1338
6 | 0.039981 | 0.010043 | -0.03996 | -0.01003 | 2.0373e-05 | 1.2858e-05 | 0.061165 | 0.061165 | 0.061165 | 0.97278 | -0.52493 | 0.97224 | -0.53561 | 16.8036
7 | 0.0062366 | 0.0015631 | -0.0062351 | -0.0015627 | 1.5435e-06 | 4.1705e-07 | 0.0095 | 0.0095002 | 0.0095002 | 0.97686 | -0.44465 | 0.9766 | -0.44985 | 2.6099
8 | -0.0062366 | -0.0015631 | 0.0062397 | 0.0015639 | 3.14e-06 | 8.4737e-07 | 0.0095 | 0.0094995 | 0.0095 | 0.97686 | -0.44465 | 0.9774 | -0.43409 | 2.6099
9 | -0.01121 | -0.0028094 | 0.01121 | 0.0028098 | 6.0278e-07 | 3.1661e-07 | 0.017066 | 0.017066 | 0.017066 | 0.9774 | -0.43409 | 0.97746 | -0.43296 | 4.6885
10 | 0.0049701 | 0.0012455 | -0.0049696 | -0.0012455 | 4.8673e-07 | 2.7413e-08 | 0.0075666 | 0.0075667 | 0.0075667 | 0.9774 | -0.43409 | 0.9773 | -0.43614 | 2.0788
11 | 0.081274 | 0.020491 | -0.081207 | -0.02045 | 6.6918e-05 | 4.1515e-05 | 0.12377 | 0.12377 | 0.12377 | 0.97746 | -0.43296 | 0.97658 | -0.45018 | 11.3342
12 | -0.092484 | -0.023301 | 0.092514 | 0.02332 | 2.9881e-05 | 1.867e-05 | 0.14084 | 0.14084 | 0.14084 | 0.97746 | -0.43296 | 0.9778 | -0.42621 | 12.897
13 | -0.056394 | -0.014194 | 0.056399 | 0.014197 | 4.7822e-06 | 3.0391e-06 | 0.086092 | 0.086092 | 0.086092 | 0.97496 | -0.48202 | 0.97505 | -0.48025 | 23.6517
14 | 0.031779 | 0.0079799 | -0.031772 | -0.0079753 | 7.2216e-06 | 4.5209e-06 | 0.048643 | 0.048643 | 0.048643 | 0.97224 | -0.53561 | 0.972 | -0.54038 | 13.3635
15 | 0.074615 | 0.018798 | -0.074589 | -0.018782 | 2.6016e-05 | 1.6046e-05 | 0.11373 | 0.11373 | 0.11373 | 0.97658 | -0.45018 | 0.97621 | -0.45747 | 10.4145
16 | -0.1184 | -0.02983 | 0.11847 | 0.029878 | 7.7517e-05 | 4.8892e-05 | 0.18023 | 0.18023 | 0.18023 | 0.9778 | -0.42621 | 0.9785 | -0.41253 | 16.5048
17 | 0.025883 | 0.0065098 | -0.02583 | -0.0064768 | 5.3234e-05 | 3.2925e-05 | 0.039397 | 0.039398 | 0.039398 | 0.9778 | -0.42621 | 0.97561 | -0.46936 | 10.8235
18 | -0.012303 | -0.0030834 | 0.012303 | 0.0030837 | 4.899e-07 | 2.6805e-07 | 0.018851 | 0.018851 | 0.018851 | 0.97116 | -0.55694 | 0.9712 | -0.5561 | 5.1787
19 | -0.031277 | -0.0078427 | 0.031301 | 0.0078574 | 2.3455e-05 | 1.4674e-05 | 0.047923 | 0.047923 | 0.047923 | 0.9712 | -0.5561 | 0.972 | -0.54038 | 13.1656
20 | 0.018974 | 0.004759 | -0.018968 | -0.0047556 | 5.6991e-06 | 3.425e-06 | 0.029072 | 0.029072 | 0.029072 | 0.9712 | -0.5561 | 0.97088 | -0.5624 | 7.9869
21 | 0.016623 | 0.0041679 | -0.016619 | -0.0041655 | 4.0154e-06 | 2.3659e-06 | 0.025478 | 0.025478 | 0.025478 | 0.97088 | -0.5624 | 0.97063 | -0.56747 | 6.9995
22 | 0.0076894 | 0.0019272 | -0.0076887 | -0.001927 | 6.9911e-07 | 2.8163e-07 | 0.011788 | 0.011788 | 0.011788 | 0.97063 | -0.56747 | 0.97053 | -0.56938 | 3.2385
23 | 0.0089299 | 0.0022383 | -0.0089278 | -0.0022373 | 2.0585e-06 | 9.5551e-07 | 0.01369 | 0.01369 | 0.01369 | 0.97063 | -0.56747 | 0.97038 | -0.57231 | 3.761
24 | 0.0039821 | 0.00099785 | -0.0039818 | -0.00099793 | 3.4341e-07 | -8.3589e-08 | 0.0061063 | 0.0061064 | 0.0061064 | 0.97038 | -0.57231 | 0.97029 | -0.57412 | 1.6776
25 | 0.0049457 | 0.0012395 | -0.0049455 | -0.0012394 | 2.0523e-07 | 1.3802e-08 | 0.0075838 | 0.0075839 | 0.0075839 | 0.97038 | -0.57231 | 0.97034 | -0.57318 | 2.0835
26 | -0.063014 | -0.015855 | 0.063053 | 0.015879 | 3.8778e-05 | 2.426e-05 | 0.096187 | 0.096187 | 0.096187 | 0.97505 | -0.48025 | 0.9757 | -0.46738 | 13.2126
27 | 0.0066152 | 0.0016578 | -0.0066148 | -0.0016577 | 3.9648e-07 | 1.2436e-07 | 0.010095 | 0.010095 | 0.010095 | 0.97505 | -0.48025 | 0.97498 | -0.48151 | 2.7735
28 | -0.0066834 | -0.001675 | 0.0066837 | 0.0016751 | 2.502e-07 | 7.9837e-08 | 0.01019 | 0.01019 | 0.01019 | 0.97594 | -0.46272 | 0.97598 | -0.46193 | 2.7995
29 | -0.0091487 | -0.0022929 | 0.0091506 | 0.0022938 | 1.944e-06 | 9.111e-07 | 0.013948 | 0.013948 | 0.013948 | 0.97598 | -0.46193 | 0.97621 | -0.45747 | 3.832
30 | 0.065438 | 0.016488 | -0.065417 | -0.016475 | 2.1402e-05 | 1.3052e-05 | 0.099778 | 0.099778 | 0.099778 | 0.97621 | -0.45747 | 0.97586 | -0.46431 | 9.1372
31 | 0.065417 | 0.016475 | -0.065407 | -0.016469 | 9.5866e-06 | 5.8467e-06 | 0.099778 | 0.099778 | 0.099778 | 0.97586 | -0.46431 | 0.9757 | -0.46738 | 9.1372
32 | 0.0066148 | 0.0016577 | -0.0066143 | -0.0016576 | 4.3978e-07 | 1.3797e-07 | 0.010095 | 0.010095 | 0.010095 | 0.97498 | -0.48151 | 0.97491 | -0.4829 | 2.7735
33 | 0.0021043 | 0.00052724 | -0.0021042 | -0.00052737 | 4.9515e-08 | -1.2792e-07 | 0.0032117 | 0.0032118 | 0.0032118 | 0.97491 | -0.4829 | 0.97489 | -0.4834 | 0.88236
34 | 0.13319 | 0.033672 | -0.13312 | -0.033629 | 6.6499e-05 | 4.2067e-05 | 0.20218 | 0.20218 | 0.20218 | 0.98079 | -0.36786 | 0.98026 | -0.37828 | 18.5144
35 | -0.13319 | -0.033672 | 0.13342 | 0.033814 | 0.00022566 | 0.00014275 | 0.20218 | 0.20218 | 0.20218 | 0.98079 | -0.36786 | 0.98261 | -0.33259 | 18.5143
36 | 0.0061085 | 0.0015309 | -0.0061077 | -0.0015307 | 7.7011e-07 | 1.9182e-07 | 0.0092726 | 0.0092727 | 0.0092727 | 0.98026 | -0.37828 | 0.98012 | -0.38092 | 2.5474
37 | 0.12702 | 0.032099 | -0.12699 | -0.032082 | 2.6332e-05 | 1.6639e-05 | 0.1929 | 0.1929 | 0.1929 | 0.98026 | -0.37828 | 0.98003 | -0.3826 | 17.6652
38 | -0.14391 | -0.036445 | 0.14392 | 0.036451 | 1.067e-05 | 6.7606e-06 | 0.21807 | 0.21807 | 0.21807 | 0.98261 | -0.33259 | 0.98269 | -0.33105 | 19.9697
39 | 0.02287 | 0.0057396 | -0.022849 | -0.0057272 | 2.0277e-05 | 1.2375e-05 | 0.034166 | 0.034166 | 0.034166 | 0.99612 | -0.073475 | 0.99515 | -0.092084 | 9.3863
40 | -0.25188 | -0.064411 | 0.25278 | 0.064984 | 0.000899 | 0.00057337 | 0.37672 | 0.37672 | 0.37672 | 0.99612 | -0.073475 | 1 | 0 | 34.4986
41 | 0.22901 | 0.058671 | -0.22873 | -0.058493 | 0.00027957 | 0.00017818 | 0.34256 | 0.34256 | 0.34256 | 0.99612 | -0.073475 | 0.99479 | -0.0987 | 31.3699
42 | 0.022849 | 0.0057272 | -0.022847 | -0.0057261 | 1.8105e-06 | 1.105e-06 | 0.034166 | 0.034166 | 0.034166 | 0.99515 | -0.092084 | 0.99507 | -0.093747 | 9.3863
43 | 0.017147 | 0.0042997 | -0.017141 | -0.0042959 | 6.539e-06 | 3.8338e-06 | 0.025516 | 0.025516 | 0.025516 | 1 | 0 | 0.99958 | -0.0080049 | 7.0099
44 | 0.21043 | 0.053906 | -0.20998 | -0.053615 | 0.00045683 | 0.00029094 | 0.31518 | 0.31518 | 0.31518 | 0.99479 | -0.0987 | 0.99243 | -0.14361 | 28.8631
45 | 0.12699 | 0.032082 | -0.12681 | -0.031967 | 0.00018189 | 0.00011493 | 0.1929 | 0.1929 | 0.1929 | 0.98003 | -0.3826 | 0.9785 | -0.41253 | 17.6653
46 | 0.012891 | 0.0032315 | -0.012889 | -0.0032304 | 1.9458e-06 | 1.0777e-06 | 0.019662 | 0.019662 | 0.019662 | 0.97561 | -0.46936 | 0.97545 | -0.47253 | 5.4018
47 | 0.012939 | 0.0032454 | -0.01293 | -0.0032405 | 8.7315e-06 | 4.8422e-06 | 0.019735 | 0.019735 | 0.019735 | 0.97561 | -0.46936 | 0.97489 | -0.48352 | 5.4218
48 | -0.15717 | -0.039772 | 0.15761 | 0.04005 | 0.00043673 | 0.00027716 | 0.23813 | 0.23813 | 0.23813 | 0.98269 | -0.33105 | 0.98567 | -0.27333 | 21.8072
49 | 0.021589 | 0.0054174 | -0.021581 | -0.0054122 | 8.5774e-06 | 5.2077e-06 | 0.032373 | 0.032373 | 0.032373 | 0.99243 | -0.14361 | 0.992 | -0.15194 | 8.8936
50 | 0.18839 | 0.048198 | -0.18806 | -0.04799 | 0.00032754 | 0.00020836 | 0.28281 | 0.28281 | 0.28281 | 0.99243 | -0.14361 | 0.99054 | -0.17959 | 25.8986
51 | -0.011498 | -0.0028817 | 0.0115 | 0.002883 | 2.4891e-06 | 1.3125e-06 | 0.017362 | 0.017362 | 0.017362 | 0.98543 | -0.27787 | 0.98567 | -0.27333 | 4.7698
52 | -0.16911 | -0.042932 | 0.16956 | 0.043217 | 0.00044796 | 0.00028459 | 0.2555 | 0.25549 | 0.2555 | 0.98567 | -0.27333 | 0.98852 | -0.21843 | 23.397
53 | -0.18771 | -0.047766 | 0.18806 | 0.04799 | 0.00035211 | 0.00022399 | 0.28281 | 0.28281 | 0.28281 | 0.98852 | -0.21843 | 0.99054 | -0.17959 | 25.8987
54 | 0.021581 | 0.0054122 | -0.021571 | -0.0054061 | 9.9547e-06 | 6.0441e-06 | 0.032373 | 0.032373 | 0.032373 | 0.992 | -0.15194 | 0.9915 | -0.16163 | 8.8936

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.27158 | 0.069284

## res_load
| p_mw | q_mvar
0 | 0.0011162 | 0.00027975
1 | 0.0033922 | 0.00085017
2 | 0.0043898 | 0.0011002
3 | 0.001411 | 0.00035364
4 | 0.0062351 | 0.0015627
5 | 0.0049696 | 0.0012455
6 | 0.0060052 | 0.0015051
7 | 0.0081815 | 0.0020505
8 | 0.006592 | 0.0016521
9 | 0.012303 | 0.0030834
10 | 0.00047065 | 0.00011796
11 | 0.0023451 | 0.00058774
12 | 0.0076887 | 0.001927
13 | 0.0039818 | 0.00099793
14 | 0.0049455 | 0.0012394
15 | 0.0066834 | 0.001675
16 | 0.002465 | 0.0006178
17 | 0.00451 | 0.0011303
18 | 0.010495 | 0.0026303
19 | 0.018302 | 0.0045868
20 | 0.0083334 | 0.0020885
21 | 0.017141 | 0.0042959
22 | 0.012889 | 0.0032304
23 | 0.01293 | 0.0032405
24 | 0.0061077 | 0.0015307
25 | 0.013251 | 0.003321
26 | 0.022847 | 0.0057261
27 | 0.011498 | 0.0028817
28 | 0.018149 | 0.0045485
29 | 0.0023544 | 0.00059007
30 | 0.0021042 | 0.00052737
31 | 0.021571 | 0.0054061

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1