## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_246-1_1_2_node_7 | 0.4 | n |  | TRUE
1 | bus_LV_246-1_1_2_node_9 | 0.4 | n |  | TRUE
2 | bus_LV_246-1_1_2_node_15 | 0.4 | n |  | TRUE
3 | bus_LV_246-1_1_2_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_246-1_1_2_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_246-1_1_2_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_246-1_1_2_node_66 | 0.4 | n |  | TRUE
7 | bus_LV_246-1_1_2_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_246-1_1_2_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_246-1_1_2_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_246-1_1_2_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_246-1_1_2_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_246-1_1_2_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_246-1_1_2_node_64 | 0.4 | n |  | TRUE
14 | bus_LV_246-1_1_2_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_246-1_1_2_node_83 | 0.4 | n |  | TRUE
16 | bus_LV_246-1_1_2_node_82 | 0.4 | n |  | TRUE
17 | bus_LV_246-1_1_2_node_62 | 0.4 | n |  | TRUE
18 | bus_LV_246-1_1_2_node_63 | 0.4 | n |  | TRUE
19 | bus_LV_246-1_1_2_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_246-1_1_2_node_67 | 0.4 | n |  | TRUE
21 | bus_LV_246-1_1_2_node_69 | 0.4 | n |  | TRUE
22 | bus_LV_246-1_1_2_node_70 | 0.4 | n |  | TRUE
23 | bus_LV_246-1_1_2_node_71 | 0.4 | n |  | TRUE
24 | bus_LV_246-1_1_2_node_72 | 0.4 | n |  | TRUE
25 | bus_LV_246-1_1_2_node_74 | 0.4 | n |  | TRUE
26 | bus_LV_246-1_1_2_node_75 | 0.4 | n |  | TRUE
27 | bus_LV_246-1_1_2_node_78 | 0.4 | n |  | TRUE
28 | bus_LV_246-1_1_2_node_77 | 0.4 | n |  | TRUE
29 | bus_LV_246-1_1_2_node_79 | 0.4 | n |  | TRUE
30 | bus_LV_246-1_1_2_node_80 | 0.4 | n |  | TRUE
31 | bus_LV_246-1_1_2_node_81 | 0.4 | n |  | TRUE
32 | bus_LV_246-1_1_2_node_89 | 0.4 | n |  | TRUE
33 | bus_LV_246-1_1_2_node_91 | 0.4 | n |  | TRUE
34 | bus_LV_246-1_1_2_node_94 | 0.4 | n |  | TRUE
35 | bus_MV_519_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_246-1_1_2_load_7 | 0 | 0.0022729 | 0.00056965 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_246-1_1_2_load_9 | 1 | 0.0030083 | 0.00075396 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_246-1_1_2_load_17 | 4 | 0.011978 | 0.0030019 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_246-1_1_2_load_66 | 6 | 0.012542 | 0.0031433 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_246-1_1_2_load_25 | 7 | 0.0077225 | 0.0019355 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_246-1_1_2_load_26 | 9 | 0.0085553 | 0.0021442 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_246-1_1_2_load_29 | 10 | 0.010332 | 0.0025895 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_246-1_1_2_load_64 | 13 | 0.0045399 | 0.0011378 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_246-1_1_2_load_83 | 15 | 0.018864 | 0.0047276 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_246-1_1_2_load_82 | 16 | 0.0051382 | 0.0012877 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_246-1_1_2_load_62 | 17 | 0.00585 | 0.0014661 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_246-1_1_2_load_63 | 18 | 0.010564 | 0.0026477 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_246-1_1_2_load_65 | 19 | 0.024792 | 0.0062135 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_246-1_1_2_load_67 | 20 | 0.020981 | 0.0052583 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_246-1_1_2_load_69 | 21 | 0.014147 | 0.0035456 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_246-1_1_2_load_72 | 24 | 0.012486 | 0.0031292 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_246-1_1_2_load_74 | 25 | 0.014592 | 0.0036572 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_246-1_1_2_load_75 | 26 | 0.025189 | 0.006313 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_246-1_1_2_load_77 | 28 | 0.0099531 | 0.0024945 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_246-1_1_2_load_80 | 30 | 0.0084319 | 0.0021132 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_246-1_1_2_load_81 | 31 | 0.0069009 | 0.0017295 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_246-1_1_2_load_94 | 34 | 0.016074 | 0.0040284 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_246-1_1_2_line_0 |  | 0 | 1 | 0.0012356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_246-1_1_2_line_1 |  | 1 | 2 | 0.026832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_246-1_1_2_line_2 |  | 2 | 3 | 0.052594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_246-1_1_2_line_3 |  | 2 | 4 | 0.014547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_246-1_1_2_line_4 |  | 3 | 5 | 0.054918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_246-1_1_2_line_5 |  | 3 | 6 | 0.047547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_246-1_1_2_line_6 |  | 5 | 10 | 0.031542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_246-1_1_2_line_7 |  | 5 | 12 | 0.10241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_246-1_1_2_line_8 |  | 5 | 9 | 0.02168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_246-1_1_2_line_9 |  | 6 | 20 | 0.037835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_246-1_1_2_line_10 |  | 7 | 8 | 0.021741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_246-1_1_2_line_11 |  | 8 | 10 | 0.0055256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_246-1_1_2_line_12 |  | 8 | 11 | 0.053996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_246-1_1_2_line_13 |  | 11 | 16 | 0.046745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_246-1_1_2_line_14 |  | 11 | 14 | 0.009905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_246-1_1_2_line_15 |  | 12 | 13 | 0.026041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_246-1_1_2_line_16 |  | 13 | 17 | 0.015894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_246-1_1_2_line_17 |  | 14 | 15 | 0.022492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_246-1_1_2_line_18 |  | 16 | 29 | 0.023264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_246-1_1_2_line_19 |  | 17 | 18 | 0.026621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_246-1_1_2_line_20 |  | 18 | 19 | 0.0041668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_246-1_1_2_line_21 |  | 21 | 22 | 0.02448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_246-1_1_2_line_22 |  | 21 | 23 | 0.028423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_246-1_1_2_line_23 |  | 22 | 24 | 0.024837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_246-1_1_2_line_24 |  | 23 | 25 | 0.028015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_246-1_1_2_line_25 |  | 23 | 26 | 0.035113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_246-1_1_2_line_26 |  | 25 | 27 | 0.03948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_246-1_1_2_line_27 |  | 27 | 30 | 0.025999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_246-1_1_2_line_28 |  | 27 | 28 | 0.022124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_246-1_1_2_line_29 |  | 28 | 29 | 0.019488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_246-1_1_2_line_30 |  | 29 | 31 | 0.051949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_246-1_1_2_line_31 |  | 30 | 32 | 0.0076981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_246-1_1_2_line_32 |  | 32 | 33 | 0.02658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_246-1_1_2_line_33 |  | 33 | 34 | 0.00665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_246-1_1_2_trafo_83 | 0.63 MVA 20/0.4 kV | 35 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2672045.4424 | 1253618.5444 | 2672044.2318 | 1253618.7917
1 | 2672017.6143 | 1253621.8267 | 2672026.9597 | 1253621.4734 | 2672043.5602 | 1253618.9289 | 2672044.2318 | 1253618.7917
2 | 2671967.2649 | 1253635.436 | 2671980.0912 | 1253629.2873 | 2671991.9329 | 1253625.306 | 2671999.7378 | 1253623.1993 | 2672008.607 | 1253622.2954 | 2672017.6143 | 1253621.8267
3 | 2672017.6143 | 1253621.8267 | 2672017.8366 | 1253615.3358 | 2672021.7168 | 1253608.2795
4 | 2671967.2649 | 1253635.436 | 2671951.9315 | 1253644.8566 | 2671942.2209 | 1253651.0543 | 2671925.3113 | 1253663.5248 | 2671923.2609 | 1253659.6415
5 | 2671967.2649 | 1253635.436 | 2671953.7975 | 1253611.7663 | 2671954.0192 | 1253600.9722 | 2671959.8167 | 1253593.424
6 | 2671923.2609 | 1253659.6415 | 2671908.5501 | 1253631.74
7 | 2671848.7577 | 1253724.4071 | 2671859.3696 | 1253717.9088 | 2671869.8169 | 1253710.6858 | 2671896.3972 | 1253686.5685 | 2671914.3392 | 1253671.7087 | 2671925.3113 | 1253663.5248 | 2671923.2609 | 1253659.6415
8 | 2671923.2609 | 1253659.6415 | 2671941.7379 | 1253648.2994
9 | 2671987.8489 | 1253568.3816 | 2671966.1019 | 1253585.2408 | 2671959.8167 | 1253593.424
10 | 2671905.973 | 1253626.8522 | 2671923.8654 | 1253614.5013
11 | 2671905.973 | 1253626.8522 | 2671908.5501 | 1253631.74
12 | 2671878.6105 | 1253582.9883 | 2671882.1189 | 1253586.7336 | 2671887.7054 | 1253592.7057 | 2671891.4264 | 1253596.965 | 2671889.694 | 1253598.5785 | 2671896.4365 | 1253608.7678 | 2671905.973 | 1253626.8522
13 | 2671878.6105 | 1253582.9883 | 2671847.2892 | 1253548.2053
14 | 2671885.9427 | 1253576.3057 | 2671878.6105 | 1253582.9883
15 | 2671848.7577 | 1253724.4071 | 2671835.9748 | 1253701.719
16 | 2671843.7932 | 1253689.899 | 2671834.628 | 1253699.3286 | 2671835.9748 | 1253701.719
17 | 2671885.9427 | 1253576.3057 | 2671902.4988 | 1253561.0805
18 | 2671831.1115 | 1253531.4413 | 2671847.2892 | 1253548.2053
19 | 2671843.7932 | 1253689.899 | 2671862.3475 | 1253670.8094
20 | 2671865.2517 | 1253667.8214 | 2671862.3475 | 1253670.8094
21 | 2671956.0761 | 1253511.81 | 2671943.6115 | 1253498.1042 | 2671939.7419 | 1253493.5798
22 | 2671916.6941 | 1253477.8293 | 2671921.5757 | 1253481.5802 | 2671934.4531 | 1253487.3963 | 2671939.7419 | 1253493.5798
23 | 2671956.0761 | 1253511.81 | 2671937.7945 | 1253528.622
24 | 2671916.6941 | 1253477.8293 | 2671904.8873 | 1253488.8496 | 2671898.8291 | 1253488.1645 | 2671894.7258 | 1253492.2169
25 | 2671916.6941 | 1253477.8293 | 2671894.1256 | 1253450.9301
26 | 2671859.8632 | 1253501.924 | 2671863.2058 | 1253503.7881 | 2671884.6929 | 1253502.1254 | 2671894.7258 | 1253492.2169
27 | 2671859.8632 | 1253501.924 | 2671841.9602 | 1253483.071
28 | 2671859.8632 | 1253501.924 | 2671853.2585 | 1253508.3375 | 2671850.763 | 1253513.7667 | 2671845.6013 | 1253518.4092
29 | 2671831.1115 | 1253531.4413 | 2671845.6013 | 1253518.4092
30 | 2671831.1115 | 1253531.4413 | 2671795.2239 | 1253493.8807
31 | 2671839.1304 | 1253477.4882 | 2671843.1926 | 1253481.6182 | 2671841.9602 | 1253483.071
32 | 2671839.1304 | 1253477.4882 | 2671858.7558 | 1253459.5019
33 | 2671854.0976 | 1253454.742 | 2671858.7558 | 1253459.5019

## bus_geodata
| x | y | coords
0 | 2672045.4424 | 1253618.5444
1 | 2672044.2318 | 1253618.7917
2 | 2672017.6143 | 1253621.8267
3 | 2671967.2649 | 1253635.436
4 | 2672021.7168 | 1253608.2795
5 | 2671923.2609 | 1253659.6415
6 | 2671959.8167 | 1253593.424
7 | 2671923.8654 | 1253614.5013
8 | 2671905.973 | 1253626.8522
9 | 2671941.7379 | 1253648.2994
10 | 2671908.5501 | 1253631.74
11 | 2671878.6105 | 1253582.9883
12 | 2671848.7577 | 1253724.4071
13 | 2671835.9748 | 1253701.719
14 | 2671885.9427 | 1253576.3057
15 | 2671902.4988 | 1253561.0805
16 | 2671847.2892 | 1253548.2053
17 | 2671843.7932 | 1253689.899
18 | 2671862.3475 | 1253670.8094
19 | 2671865.2517 | 1253667.8214
20 | 2671987.8489 | 1253568.3816
21 | 2671939.7419 | 1253493.5798
22 | 2671956.0761 | 1253511.81
23 | 2671916.6941 | 1253477.8293
24 | 2671937.7945 | 1253528.622
25 | 2671894.7258 | 1253492.2169
26 | 2671894.1256 | 1253450.9301
27 | 2671859.8632 | 1253501.924
28 | 2671845.6013 | 1253518.4092
29 | 2671831.1115 | 1253531.4413
30 | 2671841.9602 | 1253483.071
31 | 2671795.2239 | 1253493.8807
32 | 2671839.1304 | 1253477.4882
33 | 2671858.7558 | 1253459.5019
34 | 2671854.0976 | 1253454.742
35 | 2671885.9427 | 1253576.3057

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98313 | -0.32387 | 0.0022729 | 0.00056965
1 | 0.98314 | -0.32382 | 0.0030083 | 0.00075396
2 | 0.98327 | -0.32127 | 0 | 0
3 | 0.9841 | -0.30491 | 0 | 0
4 | 0.98311 | -0.32441 | 0.011978 | 0.0030019
5 | 0.98668 | -0.25485 | 0 | 0
6 | 0.98263 | -0.33364 | 0.012542 | 0.0031433
7 | 0.99018 | -0.18732 | 0.0077225 | 0.0019355
8 | 0.99033 | -0.18434 | 0 | 0
9 | 0.98651 | -0.25817 | 0.0085553 | 0.0021442
10 | 0.98974 | -0.19568 | 0.010332 | 0.0025895
11 | 0.99647 | -0.06689 | 0 | 0
12 | 0.98234 | -0.3391 | 0 | 0
13 | 0.98124 | -0.36064 | 0.0045399 | 0.0011378
14 | 0.99755 | -0.046389 | 0 | 0
15 | 1 | 0 | -0.24138 | -0.061504
16 | 0.9916 | -0.16 | 0.0051382 | 0.0012877
17 | 0.98063 | -0.37251 | 0.00585 | 0.0014661
18 | 0.97976 | -0.38958 | 0.010564 | 0.0026477
19 | 0.97967 | -0.39146 | 0.024792 | 0.0062135
20 | 0.9819 | -0.34798 | 0.020981 | 0.0052583
21 | 0.98115 | -0.36273 | 0.014147 | 0.0035456
22 | 0.98087 | -0.36827 | 0 | 0
23 | 0.98185 | -0.34904 | 0 | 0
24 | 0.98058 | -0.37389 | 0.012486 | 0.0031292
25 | 0.98319 | -0.32282 | 0.014592 | 0.0036572
26 | 0.98103 | -0.36504 | 0.025189 | 0.006313
27 | 0.98561 | -0.27566 | 0 | 0
28 | 0.98747 | -0.23963 | 0.0099531 | 0.0024945
29 | 0.98928 | -0.20455 | 0 | 0
30 | 0.98503 | -0.2871 | 0.0084319 | 0.0021132
31 | 0.98896 | -0.21094 | 0.0069009 | 0.0017295
32 | 0.98491 | -0.28932 | 0 | 0
33 | 0.98452 | -0.297 | 0 | 0
34 | 0.98442 | -0.29892 | 0.016074 | 0.0040284
35 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0022729 | -0.00056965 | 0.002273 | 0.00056964 | 5.4838e-09 | -1.2158e-08 | 0.0034402 | 0.0034402 | 0.0034402 | 0.98313 | -0.32387 | 0.98314 | -0.32382 | 0.94511
1 | -0.0052813 | -0.0013236 | 0.0052819 | 0.0013237 | 6.429e-07 | 7.1167e-08 | 0.0079934 | 0.0079933 | 0.0079934 | 0.98314 | -0.32382 | 0.98327 | -0.32127 | 2.196
2 | -0.017261 | -0.0043265 | 0.017275 | 0.0043344 | 1.3458e-05 | 7.9456e-06 | 0.026122 | 0.026122 | 0.026122 | 0.98327 | -0.32127 | 0.9841 | -0.30491 | 7.1765
3 | 0.011979 | 0.0030028 | -0.011978 | -0.0030019 | 1.793e-06 | 9.63e-07 | 0.018129 | 0.018129 | 0.018129 | 0.98327 | -0.32127 | 0.98311 | -0.32441 | 4.9805
4 | -0.050858 | -0.012774 | 0.05098 | 0.012851 | 0.00012182 | 7.7263e-05 | 0.07691 | 0.076909 | 0.07691 | 0.9841 | -0.30491 | 0.98668 | -0.25485 | 21.129
5 | 0.033583 | 0.0084391 | -0.033537 | -0.0084103 | 4.5991e-05 | 2.8831e-05 | 0.050788 | 0.050788 | 0.050788 | 0.9841 | -0.30491 | 0.98263 | -0.33364 | 13.9527
6 | -0.10557 | -0.026642 | 0.10587 | 0.026834 | 0.00030007 | 0.00019164 | 0.15928 | 0.15928 | 0.15928 | 0.98668 | -0.25485 | 0.98974 | -0.19568 | 43.7572
7 | 0.046033 | 0.011646 | -0.045848 | -0.011529 | 0.0001853 | 0.00011729 | 0.069462 | 0.069463 | 0.069463 | 0.98668 | -0.25485 | 0.98234 | -0.3391 | 19.0832
8 | 0.0085567 | 0.0021448 | -0.0085553 | -0.0021442 | 1.3539e-06 | 5.8964e-07 | 0.012905 | 0.012905 | 0.012905 | 0.98668 | -0.25485 | 0.98651 | -0.25817 | 3.5452
9 | 0.020995 | 0.005267 | -0.020981 | -0.0052583 | 1.4343e-05 | 8.7008e-06 | 0.031795 | 0.031795 | 0.031795 | 0.98263 | -0.33364 | 0.9819 | -0.34798 | 8.735
10 | -0.0077225 | -0.0019355 | 0.0077236 | 0.0019359 | 1.0981e-06 | 4.2306e-07 | 0.011605 | 0.011605 | 0.011605 | 0.99018 | -0.18732 | 0.99033 | -0.18434 | 3.1883
11 | 0.11627 | 0.029464 | -0.1162 | -0.029423 | 6.332e-05 | 4.0454e-05 | 0.17481 | 0.17481 | 0.17481 | 0.99033 | -0.18434 | 0.98974 | -0.19568 | 48.0247
12 | -0.12399 | -0.0314 | 0.12469 | 0.031849 | 0.00070364 | 0.00044963 | 0.18642 | 0.18641 | 0.18642 | 0.99033 | -0.18434 | 0.99647 | -0.06689 | 51.213
13 | 0.11427 | 0.02916 | -0.11375 | -0.028833 | 0.00051149 | 0.00032675 | 0.17082 | 0.17082 | 0.17082 | 0.99647 | -0.06689 | 0.9916 | -0.16 | 46.9281
14 | -0.23896 | -0.061009 | 0.2392 | 0.061161 | 0.00023701 | 0.00015143 | 0.35723 | 0.35723 | 0.35723 | 0.99647 | -0.06689 | 0.99755 | -0.046389 | 49.0704
15 | 0.045848 | 0.011529 | -0.045801 | -0.011499 | 4.712e-05 | 2.9827e-05 | 0.069463 | 0.069463 | 0.069463 | 0.98234 | -0.3391 | 0.98124 | -0.36064 | 19.0833
16 | 0.041261 | 0.010362 | -0.041238 | -0.010347 | 2.334e-05 | 1.4737e-05 | 0.062578 | 0.062579 | 0.062579 | 0.98124 | -0.36064 | 0.98063 | -0.37251 | 17.1919
17 | -0.2392 | -0.061161 | 0.23973 | 0.061504 | 0.0005382 | 0.00034386 | 0.35723 | 0.35723 | 0.35723 | 0.99755 | -0.046389 | 1 | 0 | 49.0704
18 | 0.10862 | 0.027545 | -0.10838 | -0.027397 | 0.00023209 | 0.00014824 | 0.16311 | 0.16311 | 0.16311 | 0.9916 | -0.16 | 0.98928 | -0.20455 | 44.8098
19 | 0.035388 | 0.0088807 | -0.035359 | -0.0088626 | 2.8789e-05 | 1.809e-05 | 0.053702 | 0.053702 | 0.053702 | 0.98063 | -0.37251 | 0.97976 | -0.38958 | 14.7532
20 | 0.024795 | 0.0062149 | -0.024792 | -0.0062135 | 2.2158e-06 | 1.3656e-06 | 0.037657 | 0.037657 | 0.037657 | 0.97976 | -0.38958 | 0.97967 | -0.39146 | 10.3454
21 | 0.012492 | 0.0031328 | -0.012489 | -0.003131 | 3.2954e-06 | 1.8e-06 | 0.018947 | 0.018947 | 0.018947 | 0.98115 | -0.36273 | 0.98087 | -0.36827 | 5.2052
22 | -0.02664 | -0.0066785 | 0.026657 | 0.0066893 | 1.7399e-05 | 1.0776e-05 | 0.040403 | 0.040402 | 0.040403 | 0.98115 | -0.36273 | 0.98185 | -0.34904 | 11.0996
23 | 0.012489 | 0.003131 | -0.012486 | -0.0031292 | 3.3435e-06 | 1.8264e-06 | 0.018947 | 0.018947 | 0.018947 | 0.98087 | -0.36827 | 0.98058 | -0.37389 | 5.2052
24 | -0.051865 | -0.013014 | 0.05193 | 0.013055 | 6.4917e-05 | 4.1192e-05 | 0.078609 | 0.078609 | 0.078609 | 0.98185 | -0.34904 | 0.98319 | -0.32282 | 21.5958
25 | 0.025208 | 0.0063248 | -0.025189 | -0.006313 | 1.9221e-05 | 1.1857e-05 | 0.038206 | 0.038206 | 0.038206 | 0.98185 | -0.34904 | 0.98103 | -0.36504 | 10.4963
26 | -0.066523 | -0.016712 | 0.066673 | 0.016808 | 0.00015011 | 9.5567e-05 | 0.10069 | 0.10069 | 0.10069 | 0.98319 | -0.32282 | 0.98561 | -0.27566 | 27.663
27 | 0.024528 | 0.0061552 | -0.024515 | -0.0061469 | 1.3372e-05 | 8.2266e-06 | 0.037034 | 0.037034 | 0.037034 | 0.98561 | -0.27566 | 0.98503 | -0.2871 | 10.1741
28 | -0.091201 | -0.022963 | 0.091358 | 0.023064 | 0.00015737 | 0.00010044 | 0.13773 | 0.13773 | 0.13773 | 0.98561 | -0.27566 | 0.98747 | -0.23963 | 37.837
29 | -0.10131 | -0.025558 | 0.10148 | 0.025667 | 0.00017046 | 0.00010885 | 0.15272 | 0.15272 | 0.15272 | 0.98747 | -0.23963 | 0.98928 | -0.20455 | 41.9574
30 | 0.006903 | 0.0017302 | -0.0069009 | -0.0017295 | 2.1002e-06 | 6.7736e-07 | 0.010383 | 0.010383 | 0.010383 | 0.98928 | -0.20455 | 0.98896 | -0.21094 | 2.8525
31 | 0.016083 | 0.0040337 | -0.016081 | -0.0040327 | 1.7041e-06 | 9.9263e-07 | 0.024296 | 0.024296 | 0.024296 | 0.98503 | -0.2871 | 0.98491 | -0.28932 | 6.6748
32 | 0.016081 | 0.0040327 | -0.016075 | -0.0040293 | 5.8839e-06 | 3.4276e-06 | 0.024296 | 0.024296 | 0.024296 | 0.98491 | -0.28932 | 0.98452 | -0.297 | 6.6748
33 | 0.016075 | 0.0040293 | -0.016074 | -0.0040284 | 1.4721e-06 | 8.5758e-07 | 0.024296 | 0.024296 | 0.024296 | 0.98452 | -0.297 | 0.98442 | -0.29892 | 6.6748

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.26025 | 0.066232

## res_load
| p_mw | q_mvar
0 | 0.0022729 | 0.00056965
1 | 0.0030083 | 0.00075396
2 | 0.011978 | 0.0030019
3 | 0.012542 | 0.0031433
4 | 0.0077225 | 0.0019355
5 | 0.0085553 | 0.0021442
6 | 0.010332 | 0.0025895
7 | 0.0045399 | 0.0011378
8 | 0.018864 | 0.0047276
9 | 0.0051382 | 0.0012877
10 | 0.00585 | 0.0014661
11 | 0.010564 | 0.0026477
12 | 0.024792 | 0.0062135
13 | 0.020981 | 0.0052583
14 | 0.014147 | 0.0035456
15 | 0.012486 | 0.0031292
16 | 0.014592 | 0.0036572
17 | 0.025189 | 0.006313
18 | 0.0099531 | 0.0024945
19 | 0.0084319 | 0.0021132
20 | 0.0069009 | 0.0017295
21 | 0.016074 | 0.0040284

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1