## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_247-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_247-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_247-10_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_247-10_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_247-10_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_247-10_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_247-10_0_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_247-10_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_247-10_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_247-10_0_3_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_247-10_0_3_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_247-10_0_3_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_247-10_0_3_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_247-10_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_247-10_0_3_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_247-10_0_3_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_247-10_0_3_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_247-10_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_247-10_0_3_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_247-10_0_3_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_247-10_0_3_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_247-10_0_3_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_247-10_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_247-10_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_247-10_0_3_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_247-10_0_3_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_247-10_0_3_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_247-10_0_3_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_247-10_0_3_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_247-10_0_3_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_247-10_0_3_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_247-10_0_3_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_247-10_0_3_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_247-10_0_3_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_247-10_0_3_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_247-10_0_3_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_247-10_0_3_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_247-10_0_3_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_247-10_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_247-10_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_247-10_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_247-10_0_3_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_247-10_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_247-10_0_3_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_247-10_0_3_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_247-10_0_3_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_247-10_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_247-10_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_247-10_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_247-10_0_3_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_247-10_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_247-10_0_3_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_247-10_0_3_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_247-10_0_3_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_247-10_0_3_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_247-10_0_3_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_247-10_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_247-10_0_3_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_247-10_0_3_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_247-10_0_3_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_247-10_0_3_node_58 | 0.4 | n |  | TRUE
61 | bus_MV_517_0_node_141 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_247-10_0_3_load_0 | 0 | 0.0049849 | 0.0012493 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_247-10_0_3_load_1 | 1 | 0.0056444 | 0.0014146 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_247-10_0_3_load_3 | 3 | 0.0045878 | 0.0011498 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_247-10_0_3_load_4 | 4 | 0.0016411 | 0.00041131 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_247-10_0_3_load_5 | 5 | 0.0038368 | 0.00096159 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_247-10_0_3_load_35 | 9 | 0.01267 | 0.0031754 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_247-10_0_3_load_22 | 11 | 0.0070984 | 0.001779 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_247-10_0_3_load_56 | 12 | 0.0015763 | 0.00039507 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_247-10_0_3_load_27 | 15 | 0.024045 | 0.0060262 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_247-10_0_3_load_29 | 18 | 0.0049811 | 0.0012484 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_247-10_0_3_load_21 | 19 | 0.0031239 | 0.00078293 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_247-10_0_3_load_8 | 20 | 0.024553 | 0.0061535 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_247-10_0_3_load_63 | 25 | 0.0016983 | 0.00042564 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_247-10_0_3_load_41 | 28 | 0.0018472 | 0.00046295 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_247-10_0_3_load_50 | 29 | 0.0017154 | 0.00042991 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_247-10_0_3_load_64 | 30 | 0.0016492 | 0.00041334 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_247-10_0_3_load_31 | 31 | 0.024029 | 0.0060223 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_247-10_0_3_load_16 | 33 | 0.0059537 | 0.0014921 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_247-10_0_3_load_17 | 34 | 0.0029248 | 0.00073302 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_247-10_0_3_load_20 | 37 | 0.00076554 | 0.00019186 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_247-10_0_3_load_26 | 38 | 0.010466 | 0.0026231 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_247-10_0_3_load_33 | 40 | 0.083148 | 0.020839 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_247-10_0_3_load_36 | 41 | 0.022225 | 0.0055702 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_247-10_0_3_load_38 | 42 | 0.0032296 | 0.00080941 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_247-10_0_3_load_39 | 43 | 0.0040653 | 0.0010188 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_247-10_0_3_load_55 | 44 | 0.015073 | 0.0037778 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_247-10_0_3_load_42 | 46 | 0.012551 | 0.0031456 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_247-10_0_3_load_45 | 49 | 0.0029422 | 0.0007374 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_247-10_0_3_load_47 | 51 | 0.010636 | 0.0026657 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_247-10_0_3_load_53 | 52 | 0.0032287 | 0.00080919 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_247-10_0_3_load_51 | 53 | 0.0032139 | 0.00080548 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_247-10_0_3_load_48 | 54 | 0.0093745 | 0.0023495 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_247-10_0_3_load_60 | 55 | 0.025263 | 0.0063316 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_247-10_0_3_load_52 | 56 | 0.002648 | 0.00066364 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_247-10_0_3_load_57 | 57 | 0.0025679 | 0.00064358 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_247-10_0_3_load_49 | 58 | 0.0019927 | 0.00049943 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_247-10_0_3_load_58 | 60 | 0.0018615 | 0.00046654 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_247-10_0_3_line_0 |  | 0 | 1 | 0.00090046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_247-10_0_3_line_1 |  | 0 | 2 | 0.021912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_247-10_0_3_line_2 |  | 1 | 3 | 0.031662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_247-10_0_3_line_3 |  | 2 | 4 | 0.032023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_247-10_0_3_line_4 |  | 2 | 5 | 0.020178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_247-10_0_3_line_5 |  | 4 | 6 | 0.010383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_247-10_0_3_line_6 |  | 6 | 12 | 0.0050755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_247-10_0_3_line_7 |  | 6 | 13 | 0.023779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_247-10_0_3_line_8 |  | 7 | 8 | 0.031362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_247-10_0_3_line_9 |  | 7 | 9 | 0.013523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_247-10_0_3_line_10 |  | 8 | 10 | 0.020782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_247-10_0_3_line_11 |  | 8 | 11 | 0.012486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_247-10_0_3_line_12 |  | 9 | 17 | 0.013827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_247-10_0_3_line_13 |  | 10 | 18 | 0.02093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_247-10_0_3_line_14 |  | 10 | 19 | 0.011007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_247-10_0_3_line_15 |  | 11 | 16 | 0.028436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_247-10_0_3_line_16 |  | 12 | 30 | 0.015826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_247-10_0_3_line_17 |  | 13 | 17 | 0.007498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_247-10_0_3_line_18 |  | 13 | 20 | 0.021273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_247-10_0_3_line_19 |  | 14 | 15 | 0.01186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_247-10_0_3_line_20 |  | 14 | 16 | 0.021885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_247-10_0_3_line_21 |  | 15 | 26 | 0.016765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_247-10_0_3_line_22 |  | 16 | 38 | 0.01611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_247-10_0_3_line_23 |  | 19 | 36 | 0.016283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_247-10_0_3_line_24 |  | 20 | 21 | 0.017663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_247-10_0_3_line_25 |  | 21 | 22 | 0.020876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_247-10_0_3_line_26 |  | 22 | 28 | 0.0047486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_247-10_0_3_line_27 |  | 23 | 24 | 0.003304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_247-10_0_3_line_28 |  | 23 | 25 | 0.005453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_247-10_0_3_line_29 |  | 24 | 29 | 0.0068997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_247-10_0_3_line_30 |  | 25 | 30 | 0.016298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_247-10_0_3_line_31 |  | 26 | 27 | 0.023334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_247-10_0_3_line_32 |  | 27 | 31 | 0.034601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_247-10_0_3_line_33 |  | 28 | 32 | 0.019827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_247-10_0_3_line_34 |  | 29 | 58 | 0.008228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_247-10_0_3_line_35 |  | 32 | 43 | 0.030857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_247-10_0_3_line_36 |  | 33 | 34 | 0.02408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_247-10_0_3_line_37 |  | 33 | 35 | 0.018582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_247-10_0_3_line_38 |  | 34 | 36 | 0.0061707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_247-10_0_3_line_39 |  | 35 | 37 | 0.061415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_247-10_0_3_line_40 |  | 39 | 40 | 0.016747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_247-10_0_3_line_41 |  | 39 | 41 | 0.13471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_247-10_0_3_line_42 |  | 40 | 42 | 0.030883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_247-10_0_3_line_43 |  | 42 | 43 | 0.023501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_247-10_0_3_line_44 |  | 44 | 45 | 0.013932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_247-10_0_3_line_45 |  | 45 | 56 | 0.019189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_247-10_0_3_line_46 |  | 46 | 47 | 0.016112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_247-10_0_3_line_47 |  | 46 | 48 | 0.0052825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_247-10_0_3_line_48 |  | 47 | 49 | 0.03939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_247-10_0_3_line_49 |  | 48 | 50 | 0.026563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_247-10_0_3_line_50 |  | 48 | 51 | 0.018563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_247-10_0_3_line_51 |  | 49 | 52 | 0.023805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_247-10_0_3_line_52 |  | 50 | 53 | 0.01414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_247-10_0_3_line_53 |  | 50 | 54 | 0.008762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_247-10_0_3_line_54 |  | 51 | 55 | 0.058937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_247-10_0_3_line_55 |  | 52 | 56 | 0.018699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_247-10_0_3_line_56 |  | 53 | 57 | 0.02094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_247-10_0_3_line_57 |  | 54 | 58 | 0.007342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_247-10_0_3_line_58 |  | 55 | 59 | 0.02591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_247-10_0_3_line_59 |  | 59 | 60 | 0.0096235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_247-10_0_3_trafo_40 | 0.63 MVA 20/0.4 kV | 61 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2676721.619 | 1250093.8075 | 2676720.7191 | 1250093.84
1 | 2676698.8196 | 1250094.5869 | 2676713.7598 | 1250094.0909 | 2676720.7191 | 1250093.84
2 | 2676753.2603 | 1250092.6664 | 2676721.619 | 1250093.8075
3 | 2676698.8196 | 1250094.5869 | 2676687.2317 | 1250094.4813 | 2676672.7224 | 1250094.3491 | 2676666.8037 | 1250094.0867
4 | 2676698.8196 | 1250094.5869 | 2676699.6168 | 1250074.4241
5 | 2676656.4313 | 1250093.6268 | 2676666.8037 | 1250094.0867
6 | 2676656.4313 | 1250093.6268 | 2676651.361 | 1250093.3985
7 | 2676655.5048 | 1250117.3877 | 2676655.8649 | 1250108.2301 | 2676656.4313 | 1250093.6268
8 | 2676690.3132 | 1250119.4727 | 2676701.8467 | 1250116.7755 | 2676705.8651 | 1250135.8748
9 | 2676690.3132 | 1250119.4727 | 2676676.8139 | 1250118.6658
10 | 2676705.8651 | 1250135.8748 | 2676710.1468 | 1250156.2117
11 | 2676705.8651 | 1250135.8748 | 2676699.293 | 1250137.3242 | 2676693.6727 | 1250138.5679
12 | 2676663.0111 | 1250117.8407 | 2676676.8139 | 1250118.6658
13 | 2676710.1468 | 1250156.2117 | 2676714.7787 | 1250155.3377 | 2676730.7161 | 1250152.3442
14 | 2676710.1468 | 1250156.2117 | 2676712.6634 | 1250166.9271
15 | 2676682.2568 | 1250159.1864 | 2676681.7167 | 1250147.2485 | 2676682.373 | 1250143.2096 | 2676685.8709 | 1250140.6974 | 2676693.1222 | 1250138.6898 | 2676693.6727 | 1250138.5679
16 | 2676635.5654 | 1250092.442 | 2676643.2643 | 1250093.0339 | 2676651.361 | 1250093.3985
17 | 2676663.0111 | 1250117.8407 | 2676655.5048 | 1250117.3877
18 | 2676655.5048 | 1250117.3877 | 2676634.2693 | 1250116.1167
19 | 2676660.3589 | 1250157.6798 | 2676658.3675 | 1250157.5429 | 2676648.5263 | 1250156.8747
20 | 2676660.3589 | 1250157.6798 | 2676682.2568 | 1250159.1864
21 | 2676631.8002 | 1250155.7314 | 2676638.9436 | 1250156.2241 | 2676648.5263 | 1250156.8747
22 | 2676682.2568 | 1250159.1864 | 2676682.9817 | 1250175.2803
23 | 2676716.3863 | 1250182.7785 | 2676712.6634 | 1250166.9271
24 | 2676616.6376 | 1250115.0613 | 2676634.2693 | 1250116.1167
25 | 2676616.6376 | 1250115.0613 | 2676614.9141 | 1250126.3139 | 2676609.0156 | 1250118.8767
26 | 2676609.0156 | 1250118.8767 | 2676608.7528 | 1250123.6181
27 | 2676613.8788 | 1250090.7747 | 2676610.5752 | 1250090.5207
28 | 2676613.8788 | 1250090.7747 | 2676619.3158 | 1250091.1927
29 | 2676610.5752 | 1250090.5207 | 2676603.7087 | 1250089.8448
30 | 2676619.3158 | 1250091.1927 | 2676635.5654 | 1250092.442
31 | 2676631.8002 | 1250155.7314 | 2676631.0079 | 1250179.0493
32 | 2676631.0079 | 1250179.0493 | 2676630.1116 | 1250191.7247 | 2676625.3244 | 1250195.8547 | 2676619.5828 | 1250195.5581 | 2676609.7823 | 1250194.9074
33 | 2676601.1631 | 1250139.9462 | 2676604.8324 | 1250138.7705 | 2676607.3424 | 1250134.422 | 2676608.3559 | 1250130.7769 | 2676608.7528 | 1250123.6181
34 | 2676603.7087 | 1250089.8448 | 2676595.5203 | 1250089.0388
35 | 2676601.1631 | 1250139.9462 | 2676589.5174 | 1250141.3968 | 2676583.0793 | 1250147.0844 | 2676578.4948 | 1250156.5654
36 | 2676723.0853 | 1250212.2776 | 2676717.7528 | 1250188.7959
37 | 2676725.9062 | 1250230.6143 | 2676724.693 | 1250219.3571 | 2676723.0853 | 1250212.2776
38 | 2676716.3863 | 1250182.7785 | 2676717.7528 | 1250188.7959
39 | 2676725.9062 | 1250230.6143 | 2676707.5546 | 1250232.2114 | 2676701.8736 | 1250232.4825 | 2676698.1136 | 1250232.5005 | 2676688.0262 | 1250232.5701 | 2676664.5825 | 1250231.7201
40 | 2676572.9878 | 1250227.4793 | 2676574.0572 | 1250210.7666
41 | 2676572.9878 | 1250227.4793 | 2676609.9835 | 1250357.009
42 | 2676574.0572 | 1250210.7666 | 2676574.4921 | 1250203.9705 | 2676576.5175 | 1250179.9828
43 | 2676578.4948 | 1250156.5654 | 2676578.4948 | 1250156.5654 | 2676576.5175 | 1250179.9828
44 | 2676516.1806 | 1250175.6525 | 2676514.1048 | 1250189.429
45 | 2676516.1806 | 1250175.6525 | 2676519.3539 | 1250156.7282
46 | 2676532.9004 | 1250075.9624 | 2676544.6517 | 1250078.616 | 2676548.6159 | 1250079.5134
47 | 2676553.7681 | 1250080.6797 | 2676548.6159 | 1250079.5134
48 | 2676532.9004 | 1250075.9624 | 2676531.0847 | 1250086.769 | 2676526.3829 | 1250114.8094
49 | 2676579.4938 | 1250087.4613 | 2676577.2241 | 1250087.2429 | 2676553.7681 | 1250080.6797
50 | 2676553.7681 | 1250080.6797 | 2676559.2627 | 1250062.9485
51 | 2676522.4461 | 1250138.2871 | 2676526.3829 | 1250114.8094
52 | 2676579.4938 | 1250087.4613 | 2676578.8802 | 1250101.5875
53 | 2676579.4938 | 1250087.4613 | 2676588.2136 | 1250088.3196
54 | 2676577.3664 | 1250006.8644 | 2676573.09 | 1250019.2289 | 2676559.7636 | 1250061.3319 | 2676559.2627 | 1250062.9485
55 | 2676519.3539 | 1250156.7282 | 2676522.4461 | 1250138.2871
56 | 2676578.8802 | 1250101.5875 | 2676577.9714 | 1250122.5077
57 | 2676588.2136 | 1250088.3196 | 2676595.5203 | 1250089.0388
58 | 2676585.8353 | 1249982.3778 | 2676577.3664 | 1250006.8644
59 | 2676585.8353 | 1249982.3778 | 2676577.7459 | 1249977.165

## bus_geodata
| x | y | coords
0 | 2676720.7191 | 1250093.84
1 | 2676721.619 | 1250093.8075
2 | 2676698.8196 | 1250094.5869
3 | 2676753.2603 | 1250092.6664
4 | 2676666.8037 | 1250094.0867
5 | 2676699.6168 | 1250074.4241
6 | 2676656.4313 | 1250093.6268
7 | 2676690.3132 | 1250119.4727
8 | 2676705.8651 | 1250135.8748
9 | 2676676.8139 | 1250118.6658
10 | 2676710.1468 | 1250156.2117
11 | 2676693.6727 | 1250138.5679
12 | 2676651.361 | 1250093.3985
13 | 2676655.5048 | 1250117.3877
14 | 2676660.3589 | 1250157.6798
15 | 2676648.5263 | 1250156.8747
16 | 2676682.2568 | 1250159.1864
17 | 2676663.0111 | 1250117.8407
18 | 2676730.7161 | 1250152.3442
19 | 2676712.6634 | 1250166.9271
20 | 2676634.2693 | 1250116.1167
21 | 2676616.6376 | 1250115.0613
22 | 2676609.0156 | 1250118.8767
23 | 2676613.8788 | 1250090.7747
24 | 2676610.5752 | 1250090.5207
25 | 2676619.3158 | 1250091.1927
26 | 2676631.8002 | 1250155.7314
27 | 2676631.0079 | 1250179.0493
28 | 2676608.7528 | 1250123.6181
29 | 2676603.7087 | 1250089.8448
30 | 2676635.5654 | 1250092.442
31 | 2676609.7823 | 1250194.9074
32 | 2676601.1631 | 1250139.9462
33 | 2676723.0853 | 1250212.2776
34 | 2676717.7528 | 1250188.7959
35 | 2676725.9062 | 1250230.6143
36 | 2676716.3863 | 1250182.7785
37 | 2676664.5825 | 1250231.7201
38 | 2676682.9817 | 1250175.2803
39 | 2676572.9878 | 1250227.4793
40 | 2676574.0572 | 1250210.7666
41 | 2676609.9835 | 1250357.009
42 | 2676576.5175 | 1250179.9828
43 | 2676578.4948 | 1250156.5654
44 | 2676514.1048 | 1250189.429
45 | 2676516.1806 | 1250175.6525
46 | 2676548.6159 | 1250079.5134
47 | 2676532.9004 | 1250075.9624
48 | 2676553.7681 | 1250080.6797
49 | 2676526.3829 | 1250114.8094
50 | 2676579.4938 | 1250087.4613
51 | 2676559.2627 | 1250062.9485
52 | 2676522.4461 | 1250138.2871
53 | 2676578.8802 | 1250101.5875
54 | 2676588.2136 | 1250088.3196
55 | 2676577.3664 | 1250006.8644
56 | 2676519.3539 | 1250156.7282
57 | 2676577.9714 | 1250122.5077
58 | 2676595.5203 | 1250089.0388
59 | 2676585.8353 | 1249982.3778
60 | 2676577.7459 | 1249977.165
61 | 2676598.4388 | 1250161.4489

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98722 | -0.24429 | 0.0049849 | 0.0012493
1 | 0.98721 | -0.24446 | 0.0056444 | 0.0014146
2 | 0.98753 | -0.23833 | 0 | 0
3 | 0.98708 | -0.24705 | 0.0045878 | 0.0011498
4 | 0.98809 | -0.22743 | 0.0016411 | 0.00041131
5 | 0.98746 | -0.23971 | 0.0038368 | 0.00096159
6 | 0.98829 | -0.22359 | 0 | 0
7 | 0.98797 | -0.22991 | 0 | 0
8 | 0.98555 | -0.27673 | 0 | 0
9 | 0.98901 | -0.20979 | 0.01267 | 0.0031754
10 | 0.98521 | -0.28335 | 0 | 0
11 | 0.98479 | -0.29145 | 0.0070984 | 0.001779
12 | 0.98783 | -0.23247 | 0.0015763 | 0.00039507
13 | 0.9909 | -0.17336 | 0 | 0
14 | 0.98228 | -0.3404 | 0 | 0
15 | 0.98176 | -0.35071 | 0.024045 | 0.0060262
16 | 0.98326 | -0.32142 | 0 | 0
17 | 0.99023 | -0.18615 | 0 | 0
18 | 0.98512 | -0.28523 | 0.0049811 | 0.0012484
19 | 0.98508 | -0.28588 | 0.0031239 | 0.00078293
20 | 0.99301 | -0.13289 | 0.024553 | 0.0061535
21 | 0.99496 | -0.095601 | 0 | 0
22 | 0.99727 | -0.051719 | 0 | 0
23 | 0.98451 | -0.2966 | 0 | 0
24 | 0.98423 | -0.30214 | 0 | 0
25 | 0.98498 | -0.28748 | 0.0016983 | 0.00042564
26 | 0.98138 | -0.358 | 0 | 0
27 | 0.98086 | -0.36815 | 0 | 0
28 | 0.99779 | -0.041766 | 0.0018472 | 0.00046295
29 | 0.98363 | -0.3137 | 0.0017154 | 0.00042991
30 | 0.98641 | -0.25977 | 0.0016492 | 0.00041334
31 | 0.9801 | -0.38322 | 0.024029 | 0.0060223
32 | 1 | 0 | -0.36017 | -0.091671
33 | 0.98473 | -0.29268 | 0.0059537 | 0.0014921
34 | 0.98488 | -0.28977 | 0.0029248 | 0.00073302
35 | 0.98472 | -0.29294 | 0 | 0
36 | 0.98494 | -0.2887 | 0 | 0
37 | 0.98468 | -0.29378 | 0.00076554 | 0.00019186
38 | 0.9831 | -0.32446 | 0.010466 | 0.0026231
39 | 0.99116 | -0.1698 | 0 | 0
40 | 0.9915 | -0.1632 | 0.083148 | 0.020839
41 | 0.98842 | -0.22307 | 0.022225 | 0.0055702
42 | 0.99448 | -0.10567 | 0.0032296 | 0.00080941
43 | 0.99682 | -0.060793 | 0.0040653 | 0.0010188
44 | 0.97721 | -0.43933 | 0.015073 | 0.0037778
45 | 0.9774 | -0.4355 | 0 | 0
46 | 0.97967 | -0.39098 | 0.012551 | 0.0031456
47 | 0.97931 | -0.39797 | 0 | 0
48 | 0.97985 | -0.38748 | 0 | 0
49 | 0.97844 | -0.41509 | 0.0029422 | 0.0007374
50 | 0.98168 | -0.35176 | 0 | 0
51 | 0.9792 | -0.40022 | 0.010636 | 0.0026657
52 | 0.97798 | -0.42418 | 0.0032287 | 0.00080919
53 | 0.9816 | -0.35324 | 0.0032139 | 0.00080548
54 | 0.98233 | -0.33909 | 0.0093745 | 0.0023495
55 | 0.97772 | -0.42932 | 0.025263 | 0.0063316
56 | 0.97767 | -0.43022 | 0.002648 | 0.00066364
57 | 0.98155 | -0.35422 | 0.0025679 | 0.00064358
58 | 0.98293 | -0.32725 | 0.0019927 | 0.00049943
59 | 0.97767 | -0.4302 | 0 | 0
60 | 0.97766 | -0.43053 | 0.0018615 | 0.00046654
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.010233 | 0.0025644 | -0.010233 | -0.0025644 | 8.033e-08 | 3.9898e-08 | 0.015424 | 0.015424 | 0.015424 | 0.98722 | -0.24429 | 0.98721 | -0.24446 | 4.2373
1 | -0.015218 | -0.0038138 | 0.015222 | 0.0038163 | 4.3232e-06 | 2.4866e-06 | 0.022937 | 0.022937 | 0.022937 | 0.98722 | -0.24429 | 0.98753 | -0.23833 | 6.3015
2 | 0.0045884 | 0.0011498 | -0.0045878 | -0.0011498 | 5.6791e-07 | -4.1309e-08 | 0.0069159 | 0.0069161 | 0.0069161 | 0.98721 | -0.24446 | 0.98708 | -0.24705 | 1.9
3 | -0.019059 | -0.0047778 | 0.019069 | 0.0047837 | 9.9043e-06 | 5.9288e-06 | 0.028719 | 0.028719 | 0.028719 | 0.98753 | -0.23833 | 0.98809 | -0.22743 | 7.8898
4 | 0.0038371 | 0.0009615 | -0.0038368 | -0.00096159 | 2.5295e-07 | -9.626e-08 | 0.0057817 | 0.0057818 | 0.0057818 | 0.98753 | -0.23833 | 0.98746 | -0.23971 | 1.5884
5 | -0.02071 | -0.005195 | 0.020714 | 0.0051973 | 3.7877e-06 | 2.2911e-06 | 0.03119 | 0.03119 | 0.03119 | 0.98809 | -0.22743 | 0.98829 | -0.22359 | 8.5687
6 | 0.098808 | 0.025076 | -0.098766 | -0.025049 | 4.2189e-05 | 2.6936e-05 | 0.14888 | 0.14888 | 0.14888 | 0.98829 | -0.22359 | 0.98783 | -0.23247 | 40.9018
7 | -0.11952 | -0.030273 | 0.11981 | 0.030458 | 0.00028915 | 0.00018475 | 0.18007 | 0.18007 | 0.18007 | 0.98829 | -0.22359 | 0.9909 | -0.17336 | 49.4705
8 | 0.083822 | 0.021172 | -0.083635 | -0.021053 | 0.00018762 | 0.00011968 | 0.12631 | 0.12631 | 0.12631 | 0.98797 | -0.22991 | 0.98555 | -0.27673 | 34.6997
9 | -0.083822 | -0.021172 | 0.083903 | 0.021224 | 8.0904e-05 | 5.1605e-05 | 0.12631 | 0.12631 | 0.12631 | 0.98797 | -0.22991 | 0.98901 | -0.20979 | 34.6996
10 | 0.017759 | 0.0044527 | -0.017754 | -0.0044494 | 5.6034e-06 | 3.3215e-06 | 0.026814 | 0.026814 | 0.026814 | 0.98555 | -0.27673 | 0.98521 | -0.28335 | 7.3666
11 | 0.065875 | 0.0166 | -0.065829 | -0.01657 | 4.635e-05 | 2.9505e-05 | 0.099493 | 0.099493 | 0.099493 | 0.98555 | -0.27673 | 0.98479 | -0.29145 | 27.3331
12 | -0.096573 | -0.024399 | 0.096683 | 0.024469 | 0.00010958 | 6.9952e-05 | 0.14537 | 0.14537 | 0.14537 | 0.98901 | -0.20979 | 0.99023 | -0.18615 | 39.9367
13 | 0.0049816 | 0.0012484 | -0.0049811 | -0.0012484 | 4.4431e-07 | 1.7861e-08 | 0.0075239 | 0.007524 | 0.007524 | 0.98521 | -0.28335 | 0.98512 | -0.28523 | 2.067
14 | 0.012772 | 0.003201 | -0.012771 | -0.0032001 | 1.536e-06 | 8.4289e-07 | 0.019291 | 0.019291 | 0.019291 | 0.98521 | -0.28335 | 0.98508 | -0.28588 | 5.2996
15 | 0.05873 | 0.014791 | -0.058646 | -0.014738 | 8.4025e-05 | 5.3415e-05 | 0.088767 | 0.088767 | 0.088767 | 0.98479 | -0.29145 | 0.98326 | -0.32142 | 24.3866
16 | 0.09719 | 0.024654 | -0.097062 | -0.024573 | 0.00012739 | 8.1328e-05 | 0.14651 | 0.14651 | 0.14651 | 0.98783 | -0.23247 | 0.98641 | -0.25977 | 40.2494
17 | 0.096742 | 0.024507 | -0.096683 | -0.024469 | 5.9419e-05 | 3.7931e-05 | 0.14537 | 0.14537 | 0.14537 | 0.9909 | -0.17336 | 0.99023 | -0.18615 | 39.9367
18 | -0.21655 | -0.054965 | 0.21698 | 0.055235 | 0.00042246 | 0.00026983 | 0.32544 | 0.32544 | 0.32544 | 0.9909 | -0.17336 | 0.99301 | -0.13289 | 44.7035
19 | 0.048135 | 0.012086 | -0.048111 | -0.012071 | 2.3653e-05 | 1.4988e-05 | 0.072926 | 0.072926 | 0.072926 | 0.98228 | -0.3404 | 0.98176 | -0.35071 | 20.0345
20 | -0.048135 | -0.012086 | 0.048179 | 0.012114 | 4.3645e-05 | 2.7656e-05 | 0.072926 | 0.072926 | 0.072926 | 0.98228 | -0.3404 | 0.98326 | -0.32142 | 20.0345
21 | 0.024067 | 0.0060452 | -0.024058 | -0.0060401 | 8.3673e-06 | 5.1432e-06 | 0.036482 | 0.036482 | 0.036482 | 0.98176 | -0.35071 | 0.98138 | -0.358 | 10.0225
22 | 0.010468 | 0.0026238 | -0.010466 | -0.0026231 | 1.5161e-06 | 7.66e-07 | 0.015841 | 0.015842 | 0.015842 | 0.98326 | -0.32142 | 0.9831 | -0.32446 | 4.3521
23 | 0.0096468 | 0.0024172 | -0.0096455 | -0.0024166 | 1.2965e-06 | 6.2252e-07 | 0.014572 | 0.014572 | 0.014572 | 0.98508 | -0.28588 | 0.98494 | -0.2887 | 4.0033
24 | -0.24153 | -0.061389 | 0.24196 | 0.061666 | 0.00043456 | 0.00027766 | 0.36223 | 0.36223 | 0.36223 | 0.99301 | -0.13289 | 0.99496 | -0.095601 | 49.7574
25 | -0.24196 | -0.061666 | 0.24248 | 0.061995 | 0.0005136 | 0.00032816 | 0.36223 | 0.36223 | 0.36223 | 0.99496 | -0.095601 | 0.99727 | -0.051719 | 49.7574
26 | -0.24248 | -0.061995 | 0.24259 | 0.062069 | 0.00011683 | 7.4646e-05 | 0.36223 | 0.36223 | 0.36223 | 0.99727 | -0.051719 | 0.99779 | -0.041766 | 49.7573
27 | 0.093547 | 0.023627 | -0.093522 | -0.023611 | 2.4792e-05 | 1.5825e-05 | 0.14145 | 0.14145 | 0.14145 | 0.98451 | -0.2966 | 0.98423 | -0.30214 | 38.8611
28 | -0.093547 | -0.023627 | 0.093588 | 0.023653 | 4.0917e-05 | 2.6117e-05 | 0.14145 | 0.14145 | 0.14145 | 0.98451 | -0.2966 | 0.98498 | -0.28748 | 38.8611
29 | 0.093522 | 0.023611 | -0.09347 | -0.023578 | 5.1772e-05 | 3.3046e-05 | 0.14145 | 0.14145 | 0.14145 | 0.98423 | -0.30214 | 0.98363 | -0.3137 | 38.8611
30 | -0.095286 | -0.024079 | 0.095413 | 0.02416 | 0.00012676 | 8.0922e-05 | 0.14402 | 0.14402 | 0.14402 | 0.98498 | -0.28748 | 0.98641 | -0.25977 | 39.566
31 | 0.024058 | 0.0060401 | -0.024047 | -0.0060329 | 1.1646e-05 | 7.1587e-06 | 0.036482 | 0.036482 | 0.036482 | 0.98138 | -0.358 | 0.98086 | -0.36815 | 10.0225
32 | 0.024047 | 0.0060329 | -0.024029 | -0.0060223 | 1.7269e-05 | 1.0616e-05 | 0.036482 | 0.036482 | 0.036482 | 0.98086 | -0.36815 | 0.9801 | -0.38322 | 10.0225
33 | -0.24444 | -0.062532 | 0.24494 | 0.062849 | 0.00049524 | 0.00031644 | 0.36499 | 0.36499 | 0.36499 | 0.99779 | -0.041766 | 1 | 0 | 50.1357
34 | 0.091755 | 0.023148 | -0.091695 | -0.02311 | 5.9494e-05 | 3.7972e-05 | 0.13886 | 0.13886 | 0.13886 | 0.98363 | -0.3137 | 0.98293 | -0.32725 | 38.1482
35 | 0.11359 | 0.028822 | -0.11326 | -0.028611 | 0.00033106 | 0.00021147 | 0.16914 | 0.16914 | 0.16914 | 1 | 0 | 0.99682 | -0.060793 | 46.4682
36 | -0.0067193 | -0.001683 | 0.0067202 | 0.0016833 | 9.3083e-07 | 2.8935e-07 | 0.010153 | 0.010153 | 0.010153 | 0.98473 | -0.29268 | 0.98488 | -0.28977 | 2.7893
37 | 0.00076558 | 0.00019087 | -0.00076557 | -0.0001911 | 9.3207e-09 | -2.3043e-07 | 0.0011565 | 0.0011566 | 0.0011566 | 0.98473 | -0.29268 | 0.98472 | -0.29294 | 0.31774
38 | -0.009645 | -0.0024163 | 0.0096455 | 0.0024166 | 4.9135e-07 | 2.3594e-07 | 0.014572 | 0.014572 | 0.014572 | 0.98488 | -0.28977 | 0.98494 | -0.2887 | 4.0033
39 | 0.00076557 | 0.0001911 | -0.00076554 | -0.00019186 | 3.0815e-08 | -7.6154e-07 | 0.0011566 | 0.0011569 | 0.0011569 | 0.98472 | -0.29294 | 0.98468 | -0.29378 | 0.31782
40 | -0.022282 | -0.0056047 | 0.022289 | 0.005609 | 7.0305e-06 | 4.2836e-06 | 0.033459 | 0.033459 | 0.033459 | 0.99116 | -0.1698 | 0.9915 | -0.1632 | 9.192
41 | 0.022282 | 0.0056047 | -0.022225 | -0.0055702 | 5.6553e-05 | 3.4463e-05 | 0.033459 | 0.033459 | 0.033459 | 0.99116 | -0.1698 | 0.98842 | -0.22307 | 9.1921
42 | -0.10544 | -0.026448 | 0.10573 | 0.026633 | 0.00029 | 0.0001852 | 0.15824 | 0.15824 | 0.15824 | 0.9915 | -0.1632 | 0.99448 | -0.10567 | 43.4736
43 | -0.10896 | -0.027442 | 0.10919 | 0.027592 | 0.00023436 | 0.00014969 | 0.16308 | 0.16308 | 0.16308 | 0.99448 | -0.10567 | 0.99682 | -0.060793 | 44.8011
44 | -0.015073 | -0.0037778 | 0.015076 | 0.0037793 | 2.7524e-06 | 1.587e-06 | 0.022953 | 0.022953 | 0.022953 | 0.97721 | -0.43933 | 0.9774 | -0.4355 | 6.3057
45 | -0.015076 | -0.0037793 | 0.01508 | 0.0037815 | 3.7908e-06 | 2.1856e-06 | 0.022953 | 0.022952 | 0.022953 | 0.9774 | -0.4355 | 0.97767 | -0.43022 | 6.3057
46 | 0.023941 | 0.0060172 | -0.023933 | -0.0060123 | 7.9918e-06 | 4.912e-06 | 0.036369 | 0.036369 | 0.036369 | 0.97967 | -0.39098 | 0.97931 | -0.39797 | 9.9916
47 | -0.036492 | -0.0091628 | 0.036498 | 0.0091667 | 6.0871e-06 | 3.8292e-06 | 0.055433 | 0.055433 | 0.055433 | 0.97967 | -0.39098 | 0.97985 | -0.38748 | 15.2289
48 | 0.023933 | 0.0060123 | -0.023913 | -0.0060003 | 1.9539e-05 | 1.201e-05 | 0.036369 | 0.03637 | 0.03637 | 0.97931 | -0.39797 | 0.97844 | -0.41509 | 9.9917
49 | -0.07432 | -0.018668 | 0.074446 | 0.018749 | 0.00012692 | 8.0893e-05 | 0.11288 | 0.11288 | 0.11288 | 0.97985 | -0.38748 | 0.98168 | -0.35176 | 31.0104
50 | 0.037822 | 0.0095012 | -0.037799 | -0.0094868 | 2.2971e-05 | 1.4468e-05 | 0.057445 | 0.057445 | 0.057445 | 0.97985 | -0.38748 | 0.9792 | -0.40022 | 15.7815
51 | 0.020971 | 0.0052629 | -0.020962 | -0.0052574 | 9.0815e-06 | 5.5133e-06 | 0.031895 | 0.031895 | 0.031895 | 0.97844 | -0.41509 | 0.97798 | -0.42418 | 8.7624
52 | 0.0057824 | 0.001449 | -0.0057819 | -0.0014489 | 4.0733e-07 | 8.1942e-08 | 0.0087648 | 0.0087648 | 0.0087648 | 0.98168 | -0.35176 | 0.9816 | -0.35324 | 2.4079
53 | -0.080229 | -0.020198 | 0.080277 | 0.020229 | 4.8619e-05 | 3.1005e-05 | 0.12164 | 0.12164 | 0.12164 | 0.98168 | -0.35176 | 0.98233 | -0.33909 | 33.4183
54 | 0.027163 | 0.0068211 | -0.027125 | -0.0067978 | 3.7665e-05 | 2.3366e-05 | 0.041282 | 0.041282 | 0.041282 | 0.9792 | -0.40022 | 0.97772 | -0.42932 | 11.3413
55 | 0.017733 | 0.0044482 | -0.017728 | -0.0044452 | 5.1052e-06 | 3.0328e-06 | 0.026983 | 0.026983 | 0.026983 | 0.97798 | -0.42418 | 0.97767 | -0.43022 | 7.4128
56 | 0.002568 | 0.00064339 | -0.0025679 | -0.00064358 | 1.19e-07 | -1.8853e-07 | 0.0038928 | 0.0038929 | 0.0038929 | 0.9816 | -0.35324 | 0.98155 | -0.35422 | 1.0695
57 | -0.089652 | -0.022578 | 0.089703 | 0.022611 | 5.0807e-05 | 3.2423e-05 | 0.13584 | 0.13584 | 0.13584 | 0.98233 | -0.33909 | 0.98293 | -0.32725 | 37.3195
58 | 0.0018616 | 0.00046616 | -0.0018615 | -0.00046644 | 7.799e-08 | -2.7501e-07 | 0.0028331 | 0.0028332 | 0.0028332 | 0.97772 | -0.42932 | 0.97767 | -0.4302 | 0.77836
59 | 0.0018615 | 0.00046644 | -0.0018615 | -0.00046654 | 2.8969e-08 | -1.0214e-07 | 0.0028332 | 0.0028333 | 0.0028333 | 0.97767 | -0.4302 | 0.97766 | -0.43053 | 0.77837

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36017 | 0.091671

## res_load
| p_mw | q_mvar
0 | 0.0049849 | 0.0012493
1 | 0.0056444 | 0.0014146
2 | 0.0045878 | 0.0011498
3 | 0.0016411 | 0.00041131
4 | 0.0038368 | 0.00096159
5 | 0.01267 | 0.0031754
6 | 0.0070984 | 0.001779
7 | 0.0015763 | 0.00039507
8 | 0.024045 | 0.0060262
9 | 0.0049811 | 0.0012484
10 | 0.0031239 | 0.00078293
11 | 0.024553 | 0.0061535
12 | 0.0016983 | 0.00042564
13 | 0.0018472 | 0.00046295
14 | 0.0017154 | 0.00042991
15 | 0.0016492 | 0.00041334
16 | 0.024029 | 0.0060223
17 | 0.0059537 | 0.0014921
18 | 0.0029248 | 0.00073302
19 | 0.00076554 | 0.00019186
20 | 0.010466 | 0.0026231
21 | 0.083148 | 0.020839
22 | 0.022225 | 0.0055702
23 | 0.0032296 | 0.00080941
24 | 0.0040653 | 0.0010188
25 | 0.015073 | 0.0037778
26 | 0.012551 | 0.0031456
27 | 0.0029422 | 0.0007374
28 | 0.010636 | 0.0026657
29 | 0.0032287 | 0.00080919
30 | 0.0032139 | 0.00080548
31 | 0.0093745 | 0.0023495
32 | 0.025263 | 0.0063316
33 | 0.002648 | 0.00066364
34 | 0.0025679 | 0.00064358
35 | 0.0019927 | 0.00049943
36 | 0.0018615 | 0.00046654

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1