## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_247-21_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_247-21_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_247-21_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_247-21_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_247-21_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_247-21_0_5_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_247-21_0_5_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_247-21_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_247-21_0_5_node_72 | 0.4 | n |  | TRUE
9 | bus_LV_247-21_0_5_node_69 | 0.4 | n |  | TRUE
10 | bus_LV_247-21_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_247-21_0_5_node_67 | 0.4 | n |  | TRUE
12 | bus_LV_247-21_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_247-21_0_5_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_247-21_0_5_node_86 | 0.4 | n |  | TRUE
15 | bus_LV_247-21_0_5_node_85 | 0.4 | n |  | TRUE
16 | bus_LV_247-21_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_247-21_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_247-21_0_5_node_82 | 0.4 | n |  | TRUE
19 | bus_LV_247-21_0_5_node_81 | 0.4 | n |  | TRUE
20 | bus_LV_247-21_0_5_node_80 | 0.4 | n |  | TRUE
21 | bus_LV_247-21_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_247-21_0_5_node_74 | 0.4 | n |  | TRUE
23 | bus_LV_247-21_0_5_node_73 | 0.4 | n |  | TRUE
24 | bus_LV_247-21_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_247-21_0_5_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_247-21_0_5_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_247-21_0_5_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_247-21_0_5_node_75 | 0.4 | n |  | TRUE
29 | bus_LV_247-21_0_5_node_70 | 0.4 | n |  | TRUE
30 | bus_LV_247-21_0_5_node_79 | 0.4 | n |  | TRUE
31 | bus_LV_247-21_0_5_node_78 | 0.4 | n |  | TRUE
32 | bus_LV_247-21_0_5_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_247-21_0_5_node_87 | 0.4 | n |  | TRUE
34 | bus_LV_247-21_0_5_node_68 | 0.4 | n |  | TRUE
35 | bus_LV_247-21_0_5_node_77 | 0.4 | n |  | TRUE
36 | bus_LV_247-21_0_5_node_76 | 0.4 | n |  | TRUE
37 | bus_LV_247-21_0_5_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_247-21_0_5_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_247-21_0_5_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_247-21_0_5_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_247-21_0_5_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_247-21_0_5_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_247-21_0_5_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_247-21_0_5_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_247-21_0_5_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_247-21_0_5_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_247-21_0_5_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_247-21_0_5_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_247-21_0_5_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_247-21_0_5_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_247-21_0_5_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_247-21_0_5_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_247-21_0_5_node_64 | 0.4 | n |  | TRUE
54 | bus_LV_247-21_0_5_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_247-21_0_5_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_247-21_0_5_node_29 | 0.4 | n |  | TRUE
57 | bus_LV_247-21_0_5_node_30 | 0.4 | n |  | TRUE
58 | bus_LV_247-21_0_5_node_31 | 0.4 | n |  | TRUE
59 | bus_LV_247-21_0_5_node_32 | 0.4 | n |  | TRUE
60 | bus_LV_247-21_0_5_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_247-21_0_5_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_247-21_0_5_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_247-21_0_5_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_247-21_0_5_node_33 | 0.4 | n |  | TRUE
65 | bus_LV_247-21_0_5_node_34 | 0.4 | n |  | TRUE
66 | bus_LV_247-21_0_5_node_35 | 0.4 | n |  | TRUE
67 | bus_LV_247-21_0_5_node_36 | 0.4 | n |  | TRUE
68 | bus_LV_247-21_0_5_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_247-21_0_5_node_39 | 0.4 | n |  | TRUE
70 | bus_LV_247-21_0_5_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_247-21_0_5_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_247-21_0_5_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_247-21_0_5_node_45 | 0.4 | n |  | TRUE
74 | bus_LV_247-21_0_5_node_47 | 0.4 | n |  | TRUE
75 | bus_LV_247-21_0_5_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_247-21_0_5_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_247-21_0_5_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_247-21_0_5_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_247-21_0_5_node_52 | 0.4 | n |  | TRUE
80 | bus_LV_247-21_0_5_node_53 | 0.4 | n |  | TRUE
81 | bus_MV_514_0_node_89 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_247-21_0_5_load_0 | 0 | 0.045866 | 0.011495 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_247-21_0_5_load_3 | 3 | 0.042648 | 0.010689 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_247-21_0_5_load_16 | 6 | 0.014737 | 0.0036935 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_247-21_0_5_load_69 | 9 | 0.010755 | 0.0026955 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_247-21_0_5_load_67 | 11 | 0.015884 | 0.0039808 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_247-21_0_5_load_40 | 13 | 0.01093 | 0.0027393 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_247-21_0_5_load_86 | 14 | 0.016038 | 0.0040196 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_247-21_0_5_load_82 | 18 | 0.034683 | 0.0086925 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_247-21_0_5_load_81 | 19 | 0.033606 | 0.0084225 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_247-21_0_5_load_73 | 23 | 0.0097495 | 0.0024434 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_247-21_0_5_load_65 | 26 | 0.010059 | 0.0025211 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_247-21_0_5_load_75 | 28 | 0.010525 | 0.0026377 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_247-21_0_5_load_70 | 29 | 0.0005939 | 0.00014885 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_247-21_0_5_load_79 | 30 | 0.032931 | 0.0082533 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_247-21_0_5_load_78 | 31 | 0.010142 | 0.0025418 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_247-21_0_5_load_87 | 33 | 0.0082126 | 0.0020583 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_247-21_0_5_load_20 | 37 | 0.0026743 | 0.00067025 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_247-21_0_5_load_37 | 38 | 0.0040578 | 0.001017 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_247-21_0_5_load_21 | 39 | 0.001916 | 0.00048019 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_247-21_0_5_load_62 | 40 | 0.0034684 | 0.00086926 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_247-21_0_5_load_55 | 41 | 0.002929 | 0.00073407 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_247-21_0_5_load_38 | 43 | 0.0015377 | 0.00038539 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_247-21_0_5_load_22 | 44 | 0.0048169 | 0.0012072 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_247-21_0_5_load_23 | 45 | 0.0019282 | 0.00048325 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_247-21_0_5_load_24 | 46 | 0.0016605 | 0.00041616 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_247-21_0_5_load_26 | 48 | 0.0016043 | 0.00040208 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_247-21_0_5_load_42 | 49 | 0.0018675 | 0.00046804 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_247-21_0_5_load_43 | 50 | 0.0016863 | 0.00042263 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_247-21_0_5_load_84 | 51 | 0.0063244 | 0.0015851 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_247-21_0_5_load_41 | 52 | 0.0017754 | 0.00044495 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_247-21_0_5_load_64 | 53 | 0.0016907 | 0.00042372 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_247-21_0_5_load_27 | 54 | 0.0017129 | 0.00042929 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_247-21_0_5_load_28 | 55 | 0.0040371 | 0.0010118 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_247-21_0_5_load_30 | 57 | 0.0014055 | 0.00035225 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_247-21_0_5_load_31 | 58 | 0.0030857 | 0.00077335 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_247-21_0_5_load_32 | 59 | 0.0028191 | 0.00070653 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_247-21_0_5_load_46 | 60 | 0.0031637 | 0.0007929 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_247-21_0_5_load_48 | 61 | 0.0021583 | 0.00054093 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_247-21_0_5_load_44 | 62 | 0.0017051 | 0.00042733 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_247-21_0_5_load_33 | 64 | 0.0018516 | 0.00046407 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_247-21_0_5_load_34 | 65 | 0.0017675 | 0.00044298 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_247-21_0_5_load_35 | 66 | 0.0043535 | 0.0010911 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_247-21_0_5_load_66 | 68 | 0.002178 | 0.00054586 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_247-21_0_5_load_39 | 69 | 0.0098354 | 0.002465 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_247-21_0_5_load_51 | 70 | 0.0061166 | 0.001533 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_247-21_0_5_load_50 | 71 | 0.0018581 | 0.00046567 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_247-21_0_5_load_63 | 72 | 0.0012344 | 0.00030937 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_247-21_0_5_load_45 | 73 | 0.00228 | 0.00057141 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_247-21_0_5_load_47 | 74 | 0.0030215 | 0.00075726 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_247-21_0_5_load_57 | 75 | 0.0022685 | 0.00056855 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_247-21_0_5_load_56 | 76 | 0.0050793 | 0.001273 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_247-21_0_5_load_59 | 78 | 0.0051519 | 0.0012912 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_247-21_0_5_load_52 | 79 | 0.0062001 | 0.0015539 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_247-21_0_5_load_53 | 80 | 0.0072637 | 0.0018205 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_247-21_0_5_line_0 |  | 0 | 1 | 0.036423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_247-21_0_5_line_1 |  | 0 | 2 | 0.021745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_247-21_0_5_line_2 |  | 1 | 3 | 0.017692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_247-21_0_5_line_3 |  | 2 | 4 | 0.051247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_247-21_0_5_line_4 |  | 3 | 5 | 0.010362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_247-21_0_5_line_5 |  | 4 | 6 | 0.032468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_247-21_0_5_line_6 |  | 5 | 20 | 0.014148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_247-21_0_5_line_7 |  | 6 | 27 | 0.034466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_247-21_0_5_line_8 |  | 7 | 8 | 0.028596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_247-21_0_5_line_9 |  | 7 | 9 | 0.019225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_247-21_0_5_line_10 |  | 8 | 28 | 0.026418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_247-21_0_5_line_11 |  | 9 | 29 | 0.0051892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_247-21_0_5_line_12 |  | 10 | 11 | 0.007559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_247-21_0_5_line_13 |  | 10 | 12 | 0.050899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_247-21_0_5_line_14 |  | 10 | 13 | 0.027098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_247-21_0_5_line_15 |  | 12 | 14 | 0.023465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_247-21_0_5_line_16 |  | 12 | 15 | 0.029148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_247-21_0_5_line_17 |  | 13 | 32 | 0.018123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_247-21_0_5_line_18 |  | 15 | 33 | 0.022941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_247-21_0_5_line_19 |  | 15 | 34 | 0.031107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_247-21_0_5_line_20 |  | 16 | 17 | 0.013039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_247-21_0_5_line_21 |  | 16 | 18 | 0.032795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_247-21_0_5_line_22 |  | 17 | 19 | 0.025599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_247-21_0_5_line_23 |  | 19 | 35 | 0.018474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_247-21_0_5_line_24 |  | 20 | 35 | 0.018394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_247-21_0_5_line_25 |  | 20 | 30 | 0.022752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_247-21_0_5_line_26 |  | 21 | 22 | 0.018831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_247-21_0_5_line_27 |  | 21 | 23 | 0.021896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_247-21_0_5_line_28 |  | 22 | 36 | 0.019421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_247-21_0_5_line_29 |  | 22 | 31 | 0.022386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_247-21_0_5_line_30 |  | 24 | 25 | 0.015764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_247-21_0_5_line_31 |  | 24 | 26 | 0.01466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_247-21_0_5_line_32 |  | 25 | 40 | 0.022237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_247-21_0_5_line_33 |  | 25 | 41 | 0.0011518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_247-21_0_5_line_34 |  | 26 | 42 | 0.014017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_247-21_0_5_line_35 |  | 27 | 32 | 0.041009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_247-21_0_5_line_36 |  | 27 | 37 | 0.011212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_247-21_0_5_line_37 |  | 28 | 36 | 0.02192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_247-21_0_5_line_38 |  | 32 | 38 | 0.014251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_247-21_0_5_line_39 |  | 34 | 51 | 0.023541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_247-21_0_5_line_40 |  | 35 | 36 | 0.018557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_247-21_0_5_line_41 |  | 37 | 39 | 0.01749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_247-21_0_5_line_42 |  | 38 | 43 | 0.020771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_247-21_0_5_line_43 |  | 41 | 74 | 0.024437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_247-21_0_5_line_44 |  | 42 | 68 | 0.004279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_247-21_0_5_line_45 |  | 42 | 67 | 0.006065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_247-21_0_5_line_46 |  | 43 | 69 | 0.0020936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_247-21_0_5_line_47 |  | 44 | 45 | 0.0030505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_247-21_0_5_line_48 |  | 44 | 46 | 0.021929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_247-21_0_5_line_49 |  | 45 | 47 | 0.023273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_247-21_0_5_line_50 |  | 46 | 48 | 0.0017167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_247-21_0_5_line_51 |  | 47 | 49 | 0.025289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_247-21_0_5_line_52 |  | 48 | 50 | 0.0055993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_247-21_0_5_line_53 |  | 49 | 52 | 0.0019557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_247-21_0_5_line_54 |  | 50 | 53 | 0.00020338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_247-21_0_5_line_55 |  | 52 | 58 | 0.020449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_247-21_0_5_line_56 |  | 53 | 72 | 0.0006276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_247-21_0_5_line_57 |  | 54 | 55 | 0.0019723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_247-21_0_5_line_58 |  | 54 | 56 | 0.016245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_247-21_0_5_line_59 |  | 55 | 57 | 0.023516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_247-21_0_5_line_60 |  | 56 | 58 | 0.043034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_247-21_0_5_line_61 |  | 56 | 59 | 0.034598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_247-21_0_5_line_62 |  | 57 | 60 | 0.0033892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_247-21_0_5_line_63 |  | 59 | 61 | 0.01823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_247-21_0_5_line_64 |  | 60 | 62 | 0.00097009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_247-21_0_5_line_65 |  | 61 | 63 | 0.028584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_247-21_0_5_line_66 |  | 62 | 73 | 0.015999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_247-21_0_5_line_67 |  | 63 | 75 | 0.012502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_247-21_0_5_line_68 |  | 64 | 65 | 0.01117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_247-21_0_5_line_69 |  | 64 | 66 | 0.0082603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_247-21_0_5_line_70 |  | 65 | 67 | 0.0098793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_247-21_0_5_line_71 |  | 69 | 70 | 0.021923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_247-21_0_5_line_72 |  | 70 | 71 | 0.00059886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_247-21_0_5_line_73 |  | 71 | 79 | 0.020839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_247-21_0_5_line_74 |  | 72 | 80 | 0.014005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_247-21_0_5_line_75 |  | 73 | 74 | 0.0075214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_247-21_0_5_line_76 |  | 75 | 76 | 0.031696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_247-21_0_5_line_77 |  | 76 | 77 | 0.029025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_247-21_0_5_line_78 |  | 77 | 78 | 0.043783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_247-21_0_5_line_79 |  | 79 | 80 | 0.0088542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_247-21_0_5_trafo_17 | 0.63 MVA 20/0.4 kV | 81 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2675878.0899 | 1250180.9437 | 2675877.1811 | 1250173.5045 | 2675878.622 | 1250158.8567 | 2675879.9811 | 1250144.7121
1 | 2675883.4763 | 1250123.5154 | 2675882.9773 | 1250131.2257 | 2675880.8607 | 1250135.5573 | 2675879.9811 | 1250144.7121
2 | 2675878.0899 | 1250180.9437 | 2675864.3294 | 1250178.9551 | 2675860.5766 | 1250178.4397
3 | 2675883.4763 | 1250123.5154 | 2675887.6383 | 1250123.9467 | 2675891.5062 | 1250124.3521 | 2675894.8202 | 1250120.2582 | 2675899.3157 | 1250115.2899 | 2675901.5825 | 1250112.7838 | 2675906.4685 | 1250107.3869 | 2675901.9674 | 1250103.9601 | 2675890.1162 | 1250094.9462
4 | 2675850.3114 | 1250177.0299 | 2675860.5766 | 1250178.4397
5 | 2675890.1162 | 1250094.9462 | 2675884.8333 | 1250091.843 | 2675877.8288 | 1250089.3404 | 2675869.392 | 1250087.2532 | 2675860.4442 | 1250085.5708 | 2675859.3557 | 1250085.3698
6 | 2675836.2641 | 1250175.0265 | 2675850.3114 | 1250177.0299
7 | 2675825.4651 | 1250079.0964 | 2675830.3608 | 1250080.0152 | 2675859.3557 | 1250085.3698
8 | 2675794.1057 | 1250218.1075 | 2675808.2425 | 1250220.1898 | 2675806.2116 | 1250234.3519
9 | 2675806.2116 | 1250234.3519 | 2675806.0672 | 1250236.1959 | 2675788.8207 | 1250234.0837
10 | 2675794.1057 | 1250218.1075 | 2675797.0741 | 1250191.8565
11 | 2675788.8207 | 1250234.0837 | 2675783.67 | 1250233.453
12 | 2675744.4625 | 1250049.4949 | 2675742.2636 | 1250056.7276
13 | 2675727.369 | 1250019.3991 | 2675724.2827 | 1250041.1199 | 2675722.8225 | 1250049.0404 | 2675742.2636 | 1250056.7276
14 | 2675742.2636 | 1250056.7276 | 2675762.5497 | 1250064.4591 | 2675767.7486 | 1250065.8763
15 | 2675727.369 | 1250019.3991 | 2675735.6667 | 1250021.1508 | 2675746.1746 | 1250021.2852 | 2675750.2324 | 1250019.2466
16 | 2675727.369 | 1250019.3991 | 2675733.4337 | 1249990.8892
17 | 2675785.2338 | 1250070.6424 | 2675767.7486 | 1250065.8763
18 | 2675733.4337 | 1249990.8892 | 2675749.2587 | 1249993.2486 | 2675755.4538 | 1249989.981
19 | 2675733.4337 | 1249990.8892 | 2675735.78 | 1249980.4004 | 2675740.2243 | 1249960.5317
20 | 2675824.0428 | 1250130.6379 | 2675825.6957 | 1250117.7052
21 | 2675825.6957 | 1250117.7052 | 2675793.3392 | 1250112.3584
22 | 2675824.0428 | 1250130.6379 | 2675825.8849 | 1250144.8051 | 2675819.4316 | 1250154.0959
23 | 2675817.9879 | 1250172.5131 | 2675819.4316 | 1250154.0959
24 | 2675817.9879 | 1250172.5131 | 2675836.2641 | 1250175.0265
25 | 2675836.2641 | 1250175.0265 | 2675833.4606 | 1250197.6047
26 | 2675761.5049 | 1250165.0411 | 2675780.2354 | 1250167.4601
27 | 2675761.5049 | 1250165.0411 | 2675758.989 | 1250186.792
28 | 2675780.2354 | 1250167.4601 | 2675799.5371 | 1250170.0754
29 | 2675780.2354 | 1250167.4601 | 2675782.1758 | 1250149.7498 | 2675782.6006 | 1250145.1996
30 | 2675894.9061 | 1250009.2453 | 2675893.5648 | 1250024.9506
31 | 2675893.5648 | 1250024.9506 | 2675879.2062 | 1250021.9942
32 | 2675894.9061 | 1250009.2453 | 2675904.7953 | 1250009.939 | 2675917.1249 | 1250008.7294
33 | 2675894.9061 | 1250009.2453 | 2675894.9663 | 1250008.095
34 | 2675865.4692 | 1250019.2091 | 2675874.7921 | 1250021.0853 | 2675879.2062 | 1250021.9942
35 | 2675825.4651 | 1250079.0964 | 2675799.8868 | 1250074.2991 | 2675785.2338 | 1250070.6424
36 | 2675825.4651 | 1250079.0964 | 2675827.2554 | 1250068.0286
37 | 2675799.5371 | 1250170.0754 | 2675797.0741 | 1250191.8565
38 | 2675785.2338 | 1250070.6424 | 2675788.2352 | 1250056.7113
39 | 2675740.2243 | 1249960.5317 | 2675753.2883 | 1249962.122 | 2675760.1554 | 1249962.9881 | 2675762.7007 | 1249960.5522
40 | 2675799.5371 | 1250170.0754 | 2675817.9879 | 1250172.5131
41 | 2675820.2531 | 1250057.3947 | 2675828.6708 | 1250059.2785 | 2675827.2554 | 1250068.0286
42 | 2675792.6099 | 1250036.4061 | 2675788.2352 | 1250056.7113
43 | 2675894.9663 | 1250008.095 | 2675896.2453 | 1249983.6911
44 | 2675862.3738 | 1250016.2451 | 2675865.4692 | 1250019.2091
45 | 2675860.5462 | 1250022.7709 | 2675865.4692 | 1250019.2091
46 | 2675793.0509 | 1250034.3594 | 2675792.6099 | 1250036.4061
47 | 2675810.7707 | 1249939.7509 | 2675811.1484 | 1249936.7239
48 | 2675810.7707 | 1249939.7509 | 2675810.3203 | 1249943.3596 | 2675807.54 | 1249961.439
49 | 2675814.0304 | 1249913.6299 | 2675811.1484 | 1249936.7239
50 | 2675807.2791 | 1249963.1358 | 2675807.54 | 1249961.439
51 | 2675814.0304 | 1249913.6299 | 2675839.3172 | 1249913.9975
52 | 2675806.428 | 1249968.67 | 2675807.2791 | 1249963.1358
53 | 2675839.3172 | 1249913.9975 | 2675841.2727 | 1249914.0259
54 | 2675806.428 | 1249968.67 | 2675806.3971 | 1249968.871
55 | 2675861.7197 | 1249914.3232 | 2675841.2727 | 1249914.0259
56 | 2675806.3971 | 1249968.871 | 2675806.3017 | 1249969.4914
57 | 2675902.1767 | 1249932.6816 | 2675902.4551 | 1249930.729
58 | 2675904.7478 | 1249914.6469 | 2675902.4551 | 1249930.729
59 | 2675898.8578 | 1249955.9619 | 2675902.1767 | 1249932.6816
60 | 2675904.7478 | 1249914.6469 | 2675897.3915 | 1249914.8418 | 2675861.7197 | 1249914.3232
61 | 2675904.7478 | 1249914.6469 | 2675939.3455 | 1249914.7166
62 | 2675898.8578 | 1249955.9619 | 2675898.3794 | 1249959.3172
63 | 2675939.3455 | 1249914.7166 | 2675947.979 | 1249914.734 | 2675957.5752 | 1249914.7509
64 | 2675898.3794 | 1249959.3172 | 2675898.2425 | 1249960.2775
65 | 2675986.1594 | 1249914.8011 | 2675957.5752 | 1249914.7509
66 | 2675898.2425 | 1249960.2775 | 2675897.0246 | 1249968.8208 | 2675896.6389 | 1249976.18
67 | 2675986.1594 | 1249914.8011 | 2675993.2383 | 1249925.1055
68 | 2675851.0498 | 1250020.8774 | 2675843.6336 | 1250020.4528 | 2675841.5178 | 1250023.5391
69 | 2675841.5334 | 1250031.1671 | 2675840.6566 | 1250030.6555 | 2675840.4148 | 1250028.9067 | 2675841.5178 | 1250023.5391
70 | 2675860.5462 | 1250022.7709 | 2675857.6438 | 1250021.2549 | 2675851.0498 | 1250020.8774
71 | 2675793.0509 | 1250034.3594 | 2675795.853 | 1250021.3535 | 2675797.3466 | 1250012.8657
72 | 2675797.4504 | 1250012.2759 | 2675797.3466 | 1250012.8657
73 | 2675797.4504 | 1250012.2759 | 2675799.289 | 1250001.8277 | 2675801.4684 | 1249991.8321
74 | 2675806.3017 | 1249969.4914 | 2675806.2109 | 1249970.082 | 2675803.3547 | 1249983.1812
75 | 2675896.6389 | 1249976.18 | 2675896.2453 | 1249983.6911
76 | 2676011.1855 | 1249951.2305 | 2675993.2383 | 1249925.1055
77 | 2676027.6206 | 1249975.1543 | 2676011.1855 | 1249951.2305
78 | 2676027.6206 | 1249975.1543 | 2675999.124 | 1249991.8232 | 2675989.2347 | 1249996.0862
79 | 2675803.3547 | 1249983.1812 | 2675801.4684 | 1249991.8321

## bus_geodata
| x | y | coords
0 | 2675879.9811 | 1250144.7121
1 | 2675878.0899 | 1250180.9437
2 | 2675883.4763 | 1250123.5154
3 | 2675860.5766 | 1250178.4397
4 | 2675890.1162 | 1250094.9462
5 | 2675850.3114 | 1250177.0299
6 | 2675859.3557 | 1250085.3698
7 | 2675806.2116 | 1250234.3519
8 | 2675794.1057 | 1250218.1075
9 | 2675788.8207 | 1250234.0837
10 | 2675742.2636 | 1250056.7276
11 | 2675744.4625 | 1250049.4949
12 | 2675727.369 | 1250019.3991
13 | 2675767.7486 | 1250065.8763
14 | 2675750.2324 | 1250019.2466
15 | 2675733.4337 | 1249990.8892
16 | 2675825.6957 | 1250117.7052
17 | 2675824.0428 | 1250130.6379
18 | 2675793.3392 | 1250112.3584
19 | 2675819.4316 | 1250154.0959
20 | 2675836.2641 | 1250175.0265
21 | 2675761.5049 | 1250165.0411
22 | 2675780.2354 | 1250167.4601
23 | 2675758.989 | 1250186.792
24 | 2675893.5648 | 1250024.9506
25 | 2675894.9061 | 1250009.2453
26 | 2675879.2062 | 1250021.9942
27 | 2675825.4651 | 1250079.0964
28 | 2675797.0741 | 1250191.8565
29 | 2675783.67 | 1250233.453
30 | 2675833.4606 | 1250197.6047
31 | 2675782.6006 | 1250145.1996
32 | 2675785.2338 | 1250070.6424
33 | 2675755.4538 | 1249989.981
34 | 2675740.2243 | 1249960.5317
35 | 2675817.9879 | 1250172.5131
36 | 2675799.5371 | 1250170.0754
37 | 2675827.2554 | 1250068.0286
38 | 2675788.2352 | 1250056.7113
39 | 2675820.2531 | 1250057.3947
40 | 2675917.1249 | 1250008.7294
41 | 2675894.9663 | 1250008.095
42 | 2675865.4692 | 1250019.2091
43 | 2675792.6099 | 1250036.4061
44 | 2675810.7707 | 1249939.7509
45 | 2675811.1484 | 1249936.7239
46 | 2675807.54 | 1249961.439
47 | 2675814.0304 | 1249913.6299
48 | 2675807.2791 | 1249963.1358
49 | 2675839.3172 | 1249913.9975
50 | 2675806.428 | 1249968.67
51 | 2675762.7007 | 1249960.5522
52 | 2675841.2727 | 1249914.0259
53 | 2675806.3971 | 1249968.871
54 | 2675902.4551 | 1249930.729
55 | 2675902.1767 | 1249932.6816
56 | 2675904.7478 | 1249914.6469
57 | 2675898.8578 | 1249955.9619
58 | 2675861.7197 | 1249914.3232
59 | 2675939.3455 | 1249914.7166
60 | 2675898.3794 | 1249959.3172
61 | 2675957.5752 | 1249914.7509
62 | 2675898.2425 | 1249960.2775
63 | 2675986.1594 | 1249914.8011
64 | 2675841.5178 | 1250023.5391
65 | 2675851.0498 | 1250020.8774
66 | 2675841.5334 | 1250031.1671
67 | 2675860.5462 | 1250022.7709
68 | 2675862.3738 | 1250016.2451
69 | 2675793.0509 | 1250034.3594
70 | 2675797.3466 | 1250012.8657
71 | 2675797.4504 | 1250012.2759
72 | 2675806.3017 | 1249969.4913
73 | 2675896.6389 | 1249976.18
74 | 2675896.2453 | 1249983.6911
75 | 2675993.2383 | 1249925.1055
76 | 2676011.1855 | 1249951.2305
77 | 2676027.6206 | 1249975.1543
78 | 2675989.2347 | 1249996.0862
79 | 2675801.4684 | 1249991.8321
80 | 2675803.3547 | 1249983.1812
81 | 2675814.7582 | 1250056.165

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98473 | -0.29119 | 0.045866 | 0.011495
1 | 0.98159 | -0.35215 | 0 | 0
2 | 0.98707 | -0.24605 | 0 | 0
3 | 0.98007 | -0.3819 | 0.042648 | 0.010689
4 | 0.99257 | -0.14052 | 0 | 0
5 | 0.97938 | -0.39536 | 0 | 0
6 | 0.99606 | -0.07426 | 0.014737 | 0.0036935
7 | 0.9748 | -0.48509 | 0 | 0
8 | 0.97511 | -0.47914 | 0 | 0
9 | 0.9746 | -0.48909 | 0.010755 | 0.0026955
10 | 0.99456 | -0.10392 | 0 | 0
11 | 0.99445 | -0.10603 | 0.015884 | 0.0039808
12 | 0.99314 | -0.13138 | 0 | 0
13 | 0.99571 | -0.081755 | 0.01093 | 0.0027393
14 | 0.99279 | -0.13804 | 0.016038 | 0.0040196
15 | 0.99275 | -0.13887 | 0 | 0
16 | 0.97413 | -0.49836 | 0 | 0
17 | 0.97455 | -0.49005 | 0 | 0
18 | 0.97307 | -0.51927 | 0.034683 | 0.0086925
19 | 0.97538 | -0.47377 | 0.033606 | 0.0084225
20 | 0.97844 | -0.41376 | 0 | 0
21 | 0.9753 | -0.4753 | 0 | 0
22 | 0.97547 | -0.47194 | 0 | 0
23 | 0.9751 | -0.47921 | 0.0097495 | 0.0024434
24 | 0.97426 | -0.49655 | 0 | 0
25 | 0.97456 | -0.49071 | 0 | 0
26 | 0.97399 | -0.502 | 0.010059 | 0.0025211
27 | 1 | 0 | -0.4367 | -0.11181
28 | 0.97539 | -0.47364 | 0.010525 | 0.0026377
29 | 0.9746 | -0.48915 | 0.0005939 | 0.00014885
30 | 0.97774 | -0.42741 | 0.032931 | 0.0082533
31 | 0.97526 | -0.4761 | 0.010142 | 0.0025418
32 | 0.99666 | -0.063486 | 0 | 0
33 | 0.99258 | -0.14221 | 0.0082126 | 0.0020583
34 | 0.99257 | -0.14236 | 0 | 0
35 | 0.97655 | -0.45069 | 0 | 0
36 | 0.97583 | -0.46486 | 0 | 0
37 | 0.99995 | -0.00089719 | 0.0026743 | 0.00067025
38 | 0.99508 | -0.093452 | 0.0040578 | 0.001017
39 | 0.99992 | -0.0014814 | 0.001916 | 0.00048019
40 | 0.97449 | -0.49212 | 0.0034684 | 0.00086926
41 | 0.97458 | -0.49021 | 0.002929 | 0.00073407
42 | 0.97385 | -0.50461 | 0 | 0
43 | 0.99286 | -0.13581 | 0.0015377 | 0.00038539
44 | 0.98467 | -0.29311 | 0.0048169 | 0.0012072
45 | 0.98448 | -0.29696 | 0.0019282 | 0.00048325
46 | 0.9862 | -0.26363 | 0.0016605 | 0.00041616
47 | 0.983 | -0.32552 | 0 | 0
48 | 0.98632 | -0.26128 | 0.0016043 | 0.00040208
49 | 0.9814 | -0.35666 | 0.0018675 | 0.00046804
50 | 0.98673 | -0.25344 | 0.0016863 | 0.00042263
51 | 0.99243 | -0.14499 | 0.0063244 | 0.0015851
52 | 0.98128 | -0.35901 | 0.0017754 | 0.00044495
53 | 0.98674 | -0.25315 | 0.0016907 | 0.00042372
54 | 0.97693 | -0.44403 | 0.0017129 | 0.00042929
55 | 0.97685 | -0.44555 | 0.0040371 | 0.0010118
56 | 0.97759 | -0.431 | 0 | 0
57 | 0.97602 | -0.46197 | 0.0014055 | 0.00035225
58 | 0.98005 | -0.38292 | 0.0030857 | 0.00077335
59 | 0.97703 | -0.44204 | 0.0028191 | 0.00070653
60 | 0.9759 | -0.46425 | 0.0031637 | 0.0007929
61 | 0.97679 | -0.44692 | 0.0021583 | 0.00054093
62 | 0.97587 | -0.46485 | 0.0017051 | 0.00042733
63 | 0.97645 | -0.45345 | 0 | 0
64 | 0.97367 | -0.50822 | 0.0018516 | 0.00046407
65 | 0.97374 | -0.50695 | 0.0017675 | 0.00044298
66 | 0.97364 | -0.50888 | 0.0043535 | 0.0010911
67 | 0.97381 | -0.5055 | 0 | 0
68 | 0.97385 | -0.50478 | 0.002178 | 0.00054586
69 | 0.99264 | -0.14003 | 0.0098354 | 0.002465
70 | 0.99052 | -0.18053 | 0.0061166 | 0.001533
71 | 0.99047 | -0.18158 | 0.0018581 | 0.00046567
72 | 0.98679 | -0.25223 | 0.0012344 | 0.00030937
73 | 0.9754 | -0.4742 | 0.00228 | 0.00057141
74 | 0.97519 | -0.47828 | 0.0030215 | 0.00075726
75 | 0.97631 | -0.45631 | 0.0022685 | 0.00056855
76 | 0.97601 | -0.46225 | 0.0050793 | 0.001273
77 | 0.97587 | -0.46498 | 0 | 0
78 | 0.97566 | -0.46911 | 0.0051519 | 0.0012912
79 | 0.98861 | -0.21728 | 0.0062001 | 0.0015539
80 | 0.98787 | -0.2315 | 0.0072637 | 0.0018205
81 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.18709 | 0.047449 | -0.18654 | -0.047101 | 0.0005466 | 0.0003489 | 0.28291 | 0.28291 | 0.28291 | 0.98473 | -0.29119 | 0.98159 | -0.35215 | 38.8611
1 | -0.23296 | -0.058945 | 0.23346 | 0.059268 | 0.00050579 | 0.00032315 | 0.35222 | 0.35222 | 0.35222 | 0.98473 | -0.29119 | 0.98707 | -0.24605 | 48.3813
2 | 0.18654 | 0.047101 | -0.18628 | -0.046931 | 0.0002655 | 0.00016947 | 0.28291 | 0.28291 | 0.28291 | 0.98159 | -0.35215 | 0.98007 | -0.3819 | 38.8611
3 | -0.23346 | -0.059268 | 0.23465 | 0.060029 | 0.001192 | 0.00076158 | 0.35222 | 0.35222 | 0.35222 | 0.98707 | -0.24605 | 0.99257 | -0.14052 | 48.3813
4 | 0.14363 | 0.036243 | -0.14354 | -0.036184 | 9.2463e-05 | 5.8915e-05 | 0.21816 | 0.21816 | 0.21816 | 0.98007 | -0.3819 | 0.97938 | -0.39536 | 29.9667
5 | -0.23465 | -0.060029 | 0.23541 | 0.060512 | 0.00075521 | 0.00048249 | 0.35222 | 0.35222 | 0.35222 | 0.99257 | -0.14052 | 0.99606 | -0.07426 | 48.3813
6 | 0.14354 | 0.036184 | -0.14341 | -0.036103 | 0.00012625 | 8.0445e-05 | 0.21816 | 0.21816 | 0.21816 | 0.97938 | -0.39536 | 0.97844 | -0.41376 | 29.9667
7 | -0.25015 | -0.064205 | 0.25105 | 0.064784 | 0.00090506 | 0.00057834 | 0.37423 | 0.37423 | 0.37423 | 0.99606 | -0.07426 | 1 | 0 | 51.4054
8 | -0.011351 | -0.0028454 | 0.011354 | 0.0028471 | 3.2196e-06 | 1.7039e-06 | 0.017327 | 0.017327 | 0.017327 | 0.9748 | -0.48509 | 0.97511 | -0.47914 | 4.7603
9 | 0.011351 | 0.0028454 | -0.011349 | -0.0028442 | 2.1645e-06 | 1.1457e-06 | 0.017327 | 0.017327 | 0.017327 | 0.9748 | -0.48509 | 0.9746 | -0.48909 | 4.7603
10 | -0.011354 | -0.0028471 | 0.011357 | 0.0028487 | 2.9743e-06 | 1.5739e-06 | 0.017327 | 0.017327 | 0.017327 | 0.97511 | -0.47914 | 0.97539 | -0.47364 | 4.7602
11 | 0.0005939 | 0.00014878 | -0.0005939 | -0.00014885 | 1.6e-09 | -6.364e-08 | 0.00090675 | 0.00090677 | 0.00090677 | 0.9746 | -0.48909 | 0.9746 | -0.48915 | 0.24911
12 | 0.015885 | 0.0039817 | -0.015884 | -0.0039808 | 1.6012e-06 | 9.2667e-07 | 0.023767 | 0.023767 | 0.023767 | 0.99456 | -0.10392 | 0.99445 | -0.10603 | 6.5294
13 | 0.030629 | 0.0076948 | -0.030589 | -0.0076698 | 4.0094e-05 | 2.5001e-05 | 0.045832 | 0.045833 | 0.045833 | 0.99456 | -0.10392 | 0.99314 | -0.13138 | 12.5914
14 | -0.046514 | -0.011677 | 0.046563 | 0.011708 | 4.9224e-05 | 3.1151e-05 | 0.069599 | 0.069599 | 0.069599 | 0.99456 | -0.10392 | 0.99571 | -0.081755 | 19.1206
15 | 0.016044 | 0.0040226 | -0.016038 | -0.0040196 | 5.0848e-06 | 2.9507e-06 | 0.024039 | 0.024039 | 0.024039 | 0.99314 | -0.13138 | 0.99279 | -0.13804 | 6.6041
16 | 0.014545 | 0.0036473 | -0.01454 | -0.0036443 | 5.1918e-06 | 2.9457e-06 | 0.021794 | 0.021794 | 0.021794 | 0.99314 | -0.13138 | 0.99275 | -0.13887 | 5.9874
17 | -0.057493 | -0.014447 | 0.057544 | 0.014479 | 5.0186e-05 | 3.1883e-05 | 0.085933 | 0.085933 | 0.085933 | 0.99571 | -0.081755 | 0.99666 | -0.063486 | 23.608
18 | 0.0082139 | 0.0020588 | -0.0082126 | -0.0020583 | 1.304e-06 | 5.38e-07 | 0.012312 | 0.012312 | 0.012312 | 0.99275 | -0.13887 | 0.99258 | -0.14221 | 3.3824
19 | 0.0063263 | 0.0015855 | -0.0063252 | -0.0015853 | 1.0489e-06 | 2.6916e-07 | 0.0094824 | 0.0094825 | 0.0094825 | 0.99275 | -0.13887 | 0.99257 | -0.14236 | 2.6051
20 | -0.034718 | -0.0087142 | 0.034732 | 0.0087228 | 1.3754e-05 | 8.6404e-06 | 0.053038 | 0.053038 | 0.053038 | 0.97413 | -0.49836 | 0.97455 | -0.49005 | 14.5708
21 | 0.034718 | 0.0087142 | -0.034683 | -0.0086925 | 3.4595e-05 | 2.1733e-05 | 0.053038 | 0.053038 | 0.053038 | 0.97413 | -0.49836 | 0.97307 | -0.51927 | 14.5708
22 | -0.034732 | -0.0087228 | 0.034759 | 0.0087398 | 2.7003e-05 | 1.6963e-05 | 0.053038 | 0.053037 | 0.053038 | 0.97455 | -0.49005 | 0.97538 | -0.47377 | 14.5708
23 | -0.068365 | -0.017162 | 0.06844 | 0.01721 | 7.5371e-05 | 4.8007e-05 | 0.10431 | 0.10431 | 0.10431 | 0.97538 | -0.47377 | 0.97655 | -0.45069 | 28.6556
24 | 0.11046 | 0.027837 | -0.11026 | -0.027712 | 0.00019478 | 0.00012443 | 0.16804 | 0.16804 | 0.16804 | 0.97844 | -0.41376 | 0.97655 | -0.45069 | 46.165
25 | 0.032952 | 0.0082667 | -0.032931 | -0.0082533 | 2.143e-05 | 1.343e-05 | 0.050117 | 0.050117 | 0.050117 | 0.97844 | -0.41376 | 0.97774 | -0.42741 | 13.7685
26 | -0.0097513 | -0.0024443 | 0.0097529 | 0.0024451 | 1.5631e-06 | 7.6532e-07 | 0.014878 | 0.014878 | 0.014878 | 0.9753 | -0.4753 | 0.97547 | -0.47194 | 4.0873
27 | 0.0097513 | 0.0024443 | -0.0097495 | -0.0024434 | 1.8175e-06 | 8.9e-07 | 0.014878 | 0.014878 | 0.014878 | 0.9753 | -0.4753 | 0.9751 | -0.47921 | 4.0873
28 | -0.019897 | -0.0049879 | 0.019903 | 0.0049919 | 6.709e-06 | 4.0512e-06 | 0.030351 | 0.030351 | 0.030351 | 0.97547 | -0.47194 | 0.97583 | -0.46486 | 8.3383
29 | 0.010144 | 0.0025428 | -0.010142 | -0.0025418 | 2.01e-06 | 1.007e-06 | 0.015474 | 0.015474 | 0.015474 | 0.97547 | -0.47194 | 0.97526 | -0.4761 | 4.2511
30 | -0.020218 | -0.0050693 | 0.020223 | 0.0050727 | 5.637e-06 | 3.4113e-06 | 0.03088 | 0.03088 | 0.03088 | 0.97426 | -0.49655 | 0.97456 | -0.49071 | 8.4835
31 | 0.020218 | 0.0050693 | -0.020213 | -0.0050661 | 5.2422e-06 | 3.1725e-06 | 0.03088 | 0.03088 | 0.03088 | 0.97426 | -0.49655 | 0.97399 | -0.502 | 8.4835
32 | 0.0034686 | 0.00086913 | -0.0034684 | -0.00086926 | 2.3389e-07 | -1.2737e-07 | 0.005296 | 0.0052961 | 0.0052961 | 0.97456 | -0.49071 | 0.97449 | -0.49212 | 1.455
33 | -0.023692 | -0.0059418 | 0.023693 | 0.0059422 | 5.6526e-07 | 3.4742e-07 | 0.036176 | 0.036176 | 0.036176 | 0.97456 | -0.49071 | 0.97458 | -0.49021 | 9.9385
34 | 0.010153 | 0.002545 | -0.010152 | -0.0025444 | 1.2648e-06 | 6.3503e-07 | 0.015512 | 0.015512 | 0.015512 | 0.97399 | -0.502 | 0.97385 | -0.50461 | 4.2616
35 | 0.17941 | 0.04588 | -0.17886 | -0.04553 | 0.00054932 | 0.00035049 | 0.26728 | 0.26728 | 0.26728 | 1 | 0 | 0.99666 | -0.063486 | 36.7148
36 | 0.0045905 | 0.0011502 | -0.0045904 | -0.0011502 | 1.9617e-07 | -2.1532e-08 | 0.0068307 | 0.0068308 | 0.0068308 | 1 | 0 | 0.99995 | -0.00089719 | 1.8766
37 | -0.021882 | -0.0054864 | 0.021891 | 0.005492 | 9.1606e-06 | 5.5891e-06 | 0.033383 | 0.033383 | 0.033383 | 0.97539 | -0.47364 | 0.97583 | -0.46486 | 9.1712
38 | 0.12131 | 0.031051 | -0.12114 | -0.030939 | 0.00017576 | 0.0001123 | 0.18135 | 0.18135 | 0.18135 | 0.99666 | -0.063486 | 0.99508 | -0.093452 | 49.8217
39 | 0.0063252 | 0.0015853 | -0.0063244 | -0.0015851 | 7.9379e-07 | 2.038e-07 | 0.0094825 | 0.0094826 | 0.0094826 | 0.99257 | -0.14236 | 0.99243 | -0.14499 | 2.6051
40 | 0.041823 | 0.010502 | -0.041794 | -0.010484 | 2.8267e-05 | 1.7859e-05 | 0.063734 | 0.063734 | 0.063734 | 0.97655 | -0.45069 | 0.97583 | -0.46486 | 17.5094
41 | 0.001916 | 0.00048 | -0.001916 | -0.00048019 | 5.3317e-08 | -1.953e-07 | 0.0028512 | 0.0028512 | 0.0028512 | 0.99995 | -0.00089719 | 0.99992 | -0.0014814 | 0.78331
42 | 0.11708 | 0.029922 | -0.11684 | -0.029769 | 0.00023932 | 0.00015289 | 0.17528 | 0.17528 | 0.17528 | 0.99508 | -0.093452 | 0.99286 | -0.13581 | 48.1547
43 | -0.026622 | -0.0066763 | 0.026637 | 0.0066856 | 1.5141e-05 | 9.3857e-06 | 0.040648 | 0.040648 | 0.040648 | 0.97458 | -0.49021 | 0.97519 | -0.47828 | 11.167
44 | 0.002178 | 0.00054582 | -0.002178 | -0.00054586 | 1.7772e-08 | -4.1866e-08 | 0.003328 | 0.003328 | 0.003328 | 0.97385 | -0.50461 | 0.97385 | -0.50478 | 0.91428
45 | 0.0079741 | 0.0019986 | -0.0079737 | -0.0019985 | 3.3764e-07 | 1.4063e-07 | 0.012184 | 0.012184 | 0.012184 | 0.97385 | -0.50461 | 0.97381 | -0.5055 | 3.3473
46 | 0.1153 | 0.029383 | -0.11528 | -0.029368 | 2.3492e-05 | 1.5008e-05 | 0.17298 | 0.17298 | 0.17298 | 0.99286 | -0.13581 | 0.99264 | -0.14003 | 47.5216
47 | 0.070638 | 0.017919 | -0.070625 | -0.017911 | 1.3054e-05 | 8.3155e-06 | 0.10682 | 0.10682 | 0.10682 | 0.98467 | -0.29311 | 0.98448 | -0.29696 | 29.3471
48 | -0.075455 | -0.019126 | 0.075562 | 0.019195 | 0.00010706 | 6.824e-05 | 0.1141 | 0.1141 | 0.1141 | 0.98467 | -0.29311 | 0.9862 | -0.26363 | 31.3468
49 | 0.068696 | 0.017428 | -0.068602 | -0.017368 | 9.4231e-05 | 6.0012e-05 | 0.10391 | 0.10391 | 0.10391 | 0.98448 | -0.29696 | 0.983 | -0.32552 | 28.5464
50 | -0.077222 | -0.019611 | 0.077231 | 0.019616 | 8.7536e-06 | 5.5804e-06 | 0.11661 | 0.11661 | 0.11661 | 0.9862 | -0.26363 | 0.98632 | -0.26128 | 32.0351
51 | 0.068602 | 0.017368 | -0.0685 | -0.017302 | 0.00010239 | 6.5213e-05 | 0.10391 | 0.10391 | 0.10391 | 0.983 | -0.32552 | 0.9814 | -0.35666 | 28.5465
52 | -0.078835 | -0.020019 | 0.078865 | 0.020038 | 2.9748e-05 | 1.8967e-05 | 0.11903 | 0.11903 | 0.11903 | 0.98632 | -0.26128 | 0.98673 | -0.25344 | 32.7
53 | 0.066632 | 0.016834 | -0.066625 | -0.01683 | 7.4929e-06 | 4.7707e-06 | 0.10108 | 0.10108 | 0.10108 | 0.9814 | -0.35666 | 0.98128 | -0.35901 | 27.7686
54 | -0.080551 | -0.02046 | 0.080552 | 0.020461 | 1.1272e-06 | 7.1882e-07 | 0.12157 | 0.12157 | 0.12157 | 0.98673 | -0.25344 | 0.98674 | -0.25315 | 33.3986
55 | 0.064849 | 0.016385 | -0.064775 | -0.016337 | 7.4228e-05 | 4.7248e-05 | 0.098385 | 0.098386 | 0.098386 | 0.98128 | -0.35901 | 0.98005 | -0.38292 | 27.029
56 | -0.082243 | -0.020885 | 0.082247 | 0.020887 | 3.6258e-06 | 2.3125e-06 | 0.12412 | 0.12412 | 0.12412 | 0.98674 | -0.25315 | 0.98679 | -0.25223 | 34.0991
57 | 0.042308 | 0.010635 | -0.042305 | -0.010633 | 3.0724e-06 | 1.9416e-06 | 0.064452 | 0.064452 | 0.064452 | 0.97693 | -0.44403 | 0.97685 | -0.44555 | 17.7067
58 | -0.04402 | -0.011064 | 0.044048 | 0.011082 | 2.7396e-05 | 1.733e-05 | 0.067061 | 0.067061 | 0.067061 | 0.97693 | -0.44403 | 0.97759 | -0.431 | 18.4235
59 | 0.038267 | 0.0096213 | -0.038238 | -0.0096025 | 2.9976e-05 | 1.889e-05 | 0.058303 | 0.058303 | 0.058303 | 0.97685 | -0.44555 | 0.97602 | -0.46197 | 16.0173
60 | -0.061548 | -0.015474 | 0.06169 | 0.015564 | 0.00014169 | 9.0139e-05 | 0.093701 | 0.093701 | 0.093701 | 0.97759 | -0.431 | 0.98005 | -0.38292 | 25.742
61 | 0.0175 | 0.0043923 | -0.017491 | -0.0043868 | 9.2072e-06 | 5.4591e-06 | 0.026639 | 0.02664 | 0.02664 | 0.97759 | -0.431 | 0.97703 | -0.44204 | 7.3185
62 | 0.036832 | 0.0092502 | -0.036828 | -0.0092477 | 4.0085e-06 | 2.5231e-06 | 0.05616 | 0.05616 | 0.05616 | 0.97602 | -0.46197 | 0.9759 | -0.46425 | 15.4286
63 | 0.014672 | 0.0036803 | -0.014668 | -0.0036784 | 3.4136e-06 | 1.9565e-06 | 0.022346 | 0.022346 | 0.022346 | 0.97703 | -0.44204 | 0.97679 | -0.44692 | 6.139
64 | 0.033664 | 0.0084548 | -0.033663 | -0.0084542 | 9.5872e-07 | 6.0146e-07 | 0.051336 | 0.051336 | 0.051336 | 0.9759 | -0.46425 | 0.97587 | -0.46485 | 14.1034
65 | 0.01251 | 0.0031374 | -0.012506 | -0.0031353 | 3.8933e-06 | 2.1341e-06 | 0.019058 | 0.019058 | 0.019058 | 0.97679 | -0.44692 | 0.97645 | -0.45345 | 5.2358
66 | 0.031958 | 0.0080268 | -0.031944 | -0.0080179 | 1.4251e-05 | 8.9205e-06 | 0.048736 | 0.048737 | 0.048737 | 0.97587 | -0.46485 | 0.9754 | -0.4742 | 13.3892
67 | 0.012506 | 0.0031353 | -0.012504 | -0.0031344 | 1.7028e-06 | 9.3345e-07 | 0.019058 | 0.019058 | 0.019058 | 0.97645 | -0.45345 | 0.97631 | -0.45631 | 5.2358
68 | -0.0062053 | -0.0015551 | 0.0062057 | 0.0015552 | 3.7671e-07 | 1.0215e-07 | 0.0094832 | 0.0094832 | 0.0094832 | 0.97367 | -0.50822 | 0.97374 | -0.50695 | 2.6053
69 | 0.0043536 | 0.0010911 | -0.0043535 | -0.0010911 | 1.3713e-07 | -1.4973e-08 | 0.0066535 | 0.0066535 | 0.0066535 | 0.97367 | -0.50822 | 0.97364 | -0.50888 | 1.8279
70 | -0.0079732 | -0.0019982 | 0.0079737 | 0.0019985 | 5.4998e-07 | 2.2909e-07 | 0.012184 | 0.012184 | 0.012184 | 0.97374 | -0.50695 | 0.97381 | -0.5055 | 3.3473
71 | 0.10544 | 0.026904 | -0.10524 | -0.026772 | 0.00020584 | 0.00013145 | 0.15823 | 0.15824 | 0.15824 | 0.99264 | -0.14003 | 0.99052 | -0.18053 | 43.4712
72 | 0.099121 | 0.025239 | -0.099116 | -0.025236 | 4.9889e-06 | 3.1852e-06 | 0.14905 | 0.14905 | 0.14905 | 0.99052 | -0.18053 | 0.99047 | -0.18158 | 40.9468
73 | 0.097258 | 0.02477 | -0.097091 | -0.024664 | 0.00016716 | 0.00010671 | 0.14626 | 0.14626 | 0.14626 | 0.99047 | -0.18158 | 0.98861 | -0.21728 | 40.18
74 | -0.083481 | -0.021196 | 0.083564 | 0.021249 | 8.3352e-05 | 5.3166e-05 | 0.12598 | 0.12598 | 0.12598 | 0.98679 | -0.25223 | 0.98787 | -0.2315 | 34.6104
75 | 0.029664 | 0.0074465 | -0.029658 | -0.0074429 | 5.7774e-06 | 3.6037e-06 | 0.045258 | 0.045258 | 0.045258 | 0.9754 | -0.4742 | 0.97519 | -0.47828 | 12.4336
76 | 0.010236 | 0.0025658 | -0.010233 | -0.0025644 | 2.8929e-06 | 1.4552e-06 | 0.015601 | 0.015601 | 0.015601 | 0.97631 | -0.45631 | 0.97601 | -0.46225 | 4.286
77 | 0.0051536 | 0.0012914 | -0.0051529 | -0.0012913 | 6.7193e-07 | 6.7354e-08 | 0.007857 | 0.0078571 | 0.0078571 | 0.97601 | -0.46225 | 0.97587 | -0.46498 | 2.1586
78 | 0.0051529 | 0.0012913 | -0.0051519 | -0.0012912 | 1.0136e-06 | 1.0182e-07 | 0.0078571 | 0.0078573 | 0.0078573 | 0.97587 | -0.46498 | 0.97566 | -0.46911 | 2.1586
79 | 0.09089 | 0.02311 | -0.090828 | -0.02307 | 6.2249e-05 | 3.9726e-05 | 0.13692 | 0.13692 | 0.13692 | 0.98861 | -0.21728 | 0.98787 | -0.2315 | 37.6162

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.4367 | 0.11181

## res_load
| p_mw | q_mvar
0 | 0.045866 | 0.011495
1 | 0.042648 | 0.010689
2 | 0.014737 | 0.0036935
3 | 0.010755 | 0.0026955
4 | 0.015884 | 0.0039808
5 | 0.01093 | 0.0027393
6 | 0.016038 | 0.0040196
7 | 0.034683 | 0.0086925
8 | 0.033606 | 0.0084225
9 | 0.0097495 | 0.0024434
10 | 0.010059 | 0.0025211
11 | 0.010525 | 0.0026377
12 | 0.0005939 | 0.00014885
13 | 0.032931 | 0.0082533
14 | 0.010142 | 0.0025418
15 | 0.0082126 | 0.0020583
16 | 0.0026743 | 0.00067025
17 | 0.0040578 | 0.001017
18 | 0.001916 | 0.00048019
19 | 0.0034684 | 0.00086926
20 | 0.002929 | 0.00073407
21 | 0.0015377 | 0.00038539
22 | 0.0048169 | 0.0012072
23 | 0.0019282 | 0.00048325
24 | 0.0016605 | 0.00041616
25 | 0.0016043 | 0.00040208
26 | 0.0018675 | 0.00046804
27 | 0.0016863 | 0.00042263
28 | 0.0063244 | 0.0015851
29 | 0.0017754 | 0.00044495
30 | 0.0016907 | 0.00042372
31 | 0.0017129 | 0.00042929
32 | 0.0040371 | 0.0010118
33 | 0.0014055 | 0.00035225
34 | 0.0030857 | 0.00077335
35 | 0.0028191 | 0.00070653
36 | 0.0031637 | 0.0007929
37 | 0.0021583 | 0.00054093
38 | 0.0017051 | 0.00042733
39 | 0.0018516 | 0.00046407
40 | 0.0017675 | 0.00044298
41 | 0.0043535 | 0.0010911
42 | 0.002178 | 0.00054586
43 | 0.0098354 | 0.002465
44 | 0.0061166 | 0.001533
45 | 0.0018581 | 0.00046567
46 | 0.0012344 | 0.00030937
47 | 0.00228 | 0.00057141
48 | 0.0030215 | 0.00075726
49 | 0.0022685 | 0.00056855
50 | 0.0050793 | 0.001273
51 | 0.0051519 | 0.0012912
52 | 0.0062001 | 0.0015539
53 | 0.0072637 | 0.0018205

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1