## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_247-28_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_247-28_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_247-28_0_5_node_58 | 0.4 | n |  | TRUE
3 | bus_LV_247-28_0_5_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_247-28_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_247-28_0_5_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_247-28_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_247-28_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_247-28_0_5_node_53 | 0.4 | n |  | TRUE
9 | bus_LV_247-28_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_247-28_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_247-28_0_5_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_247-28_0_5_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_247-28_0_5_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_247-28_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_247-28_0_5_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_247-28_0_5_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_247-28_0_5_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_247-28_0_5_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_247-28_0_5_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_247-28_0_5_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_247-28_0_5_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_247-28_0_5_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_247-28_0_5_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_247-28_0_5_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_247-28_0_5_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_247-28_0_5_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_247-28_0_5_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_247-28_0_5_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_247-28_0_5_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_247-28_0_5_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_247-28_0_5_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_247-28_0_5_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_247-28_0_5_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_247-28_0_5_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_247-28_0_5_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_247-28_0_5_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_247-28_0_5_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_247-28_0_5_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_247-28_0_5_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_247-28_0_5_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_247-28_0_5_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_247-28_0_5_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_247-28_0_5_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_247-28_0_5_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_247-28_0_5_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_247-28_0_5_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_247-28_0_5_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_247-28_0_5_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_247-28_0_5_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_247-28_0_5_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_247-28_0_5_node_51 | 0.4 | n |  | TRUE
52 | bus_MV_514_0_node_99 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_247-28_0_5_load_0 | 0 | 0.00092434 | 0.00023166 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_247-28_0_5_load_58 | 2 | 0.003901 | 0.00097768 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_247-28_0_5_load_5 | 6 | 0.0012374 | 0.00031012 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_247-28_0_5_load_6 | 7 | 0.0013358 | 0.0003348 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_247-28_0_5_load_7 | 9 | 0.014746 | 0.0036958 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_247-28_0_5_load_8 | 10 | 0.020491 | 0.0051354 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_247-28_0_5_load_39 | 13 | 0.012827 | 0.0032147 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_247-28_0_5_load_56 | 16 | 0.010289 | 0.0025786 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_247-28_0_5_load_40 | 19 | 0.045678 | 0.011448 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_247-28_0_5_load_38 | 22 | 0.027793 | 0.0069656 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_247-28_0_5_load_47 | 25 | 0.0038096 | 0.00095477 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_247-28_0_5_load_29 | 27 | 0.031481 | 0.0078898 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_247-28_0_5_load_34 | 29 | 0.014753 | 0.0036973 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_247-28_0_5_load_59 | 32 | 0.016708 | 0.0041875 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_247-28_0_5_load_54 | 33 | 0.0066481 | 0.0016662 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_247-28_0_5_load_52 | 34 | 0.0085652 | 0.0021466 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_247-28_0_5_load_57 | 35 | 0.0032955 | 0.00082594 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_247-28_0_5_load_20 | 37 | 0.019043 | 0.0047727 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_247-28_0_5_load_48 | 38 | 0.0037508 | 0.00094004 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_247-28_0_5_load_24 | 39 | 0.017981 | 0.0045064 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_247-28_0_5_load_36 | 40 | 0.0078295 | 0.0019623 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_247-28_0_5_load_25 | 42 | 0.028114 | 0.0070461 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_247-28_0_5_load_26 | 43 | 0.028935 | 0.0072519 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_247-28_0_5_load_28 | 44 | 0.018009 | 0.0045134 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_247-28_0_5_load_30 | 46 | 0.015968 | 0.0040019 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_247-28_0_5_load_33 | 48 | 0.016753 | 0.0041986 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_247-28_0_5_load_49 | 50 | 0.0075923 | 0.0019028 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_247-28_0_5_load_51 | 51 | 0.0080108 | 0.0020077 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_247-28_0_5_line_0 |  | 0 | 1 | 0.12364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_247-28_0_5_line_1 |  | 0 | 2 | 0.11057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_247-28_0_5_line_2 |  | 1 | 3 | 0.056293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_247-28_0_5_line_3 |  | 1 | 4 | 0.041172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_247-28_0_5_line_4 |  | 2 | 5 | 0.058967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_247-28_0_5_line_5 |  | 3 | 6 | 0.077619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_247-28_0_5_line_6 |  | 4 | 7 | 0.031961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_247-28_0_5_line_7 |  | 5 | 8 | 0.022117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_247-28_0_5_line_8 |  | 8 | 34 | 0.041312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_247-28_0_5_line_9 |  | 8 | 49 | 0.013533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_247-28_0_5_line_10 |  | 9 | 10 | 0.044938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_247-28_0_5_line_11 |  | 10 | 11 | 0.013773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_247-28_0_5_line_12 |  | 11 | 12 | 0.037754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_247-28_0_5_line_13 |  | 11 | 13 | 0.038956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_247-28_0_5_line_14 |  | 12 | 25 | 0.038893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_247-28_0_5_line_15 |  | 13 | 26 | 0.067576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_247-28_0_5_line_16 |  | 14 | 15 | 0.071524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_247-28_0_5_line_17 |  | 14 | 16 | 0.016547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_247-28_0_5_line_18 |  | 15 | 17 | 0.057832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_247-28_0_5_line_19 |  | 15 | 18 | 0.038727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_247-28_0_5_line_20 |  | 15 | 19 | 0.035477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_247-28_0_5_line_21 |  | 17 | 33 | 0.010746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_247-28_0_5_line_22 |  | 17 | 34 | 0.038297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_247-28_0_5_line_23 |  | 18 | 22 | 0.0042885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_247-28_0_5_line_24 |  | 19 | 20 | 0.023128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_247-28_0_5_line_25 |  | 20 | 21 | 0.201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_247-28_0_5_line_26 |  | 21 | 29 | 0.019704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_247-28_0_5_line_27 |  | 22 | 23 | 0.034192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_247-28_0_5_line_28 |  | 23 | 24 | 0.027324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_247-28_0_5_line_29 |  | 24 | 37 | 0.017687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_247-28_0_5_line_30 |  | 25 | 38 | 0.029626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_247-28_0_5_line_31 |  | 26 | 36 | 0.011669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_247-28_0_5_line_32 |  | 27 | 28 | 0.0431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_247-28_0_5_line_33 |  | 28 | 42 | 0.062288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_247-28_0_5_line_34 |  | 30 | 31 | 0.05672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_247-28_0_5_line_35 |  | 30 | 32 | 0.0081747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_247-28_0_5_line_36 |  | 31 | 35 | 0.03799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_247-28_0_5_line_37 |  | 35 | 49 | 0.024771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_247-28_0_5_line_38 |  | 36 | 39 | 0.024043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_247-28_0_5_line_39 |  | 36 | 37 | 0.048276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_247-28_0_5_line_40 |  | 38 | 50 | 0.029481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_247-28_0_5_line_41 |  | 39 | 40 | 0.01026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_247-28_0_5_line_42 |  | 40 | 41 | 0.022501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_247-28_0_5_line_43 |  | 41 | 45 | 0.005465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_247-28_0_5_line_44 |  | 41 | 44 | 0.072188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_247-28_0_5_line_45 |  | 42 | 43 | 0.062256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_247-28_0_5_line_46 |  | 43 | 44 | 0.05137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_247-28_0_5_line_47 |  | 45 | 48 | 0.033171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_247-28_0_5_line_48 |  | 46 | 47 | 0.03952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_247-28_0_5_line_49 |  | 47 | 48 | 0.011183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_247-28_0_5_line_50 |  | 50 | 51 | 0.021191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_247-28_0_5_trafo_10 | 0.63 MVA 20/0.4 kV | 52 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2675048.1943 | 1250348.1345 | 2675054.6293 | 1250340.7661 | 2675087.5007 | 1250303.2107 | 2675088.832 | 1250299.4359 | 2675089.4653 | 1250295.9303 | 2675087.6798 | 1250290.2702 | 2675082.4323 | 1250284.355 | 2675074.5963 | 1250281.3314 | 2675041.5932 | 1250272.6034
1 | 2675022.5068 | 1250163.6946 | 2675041.5932 | 1250272.6034
2 | 2675048.1943 | 1250348.1345 | 2675029.1747 | 1250374.5351 | 2675025.386 | 1250379.8021 | 2675018.0571 | 1250374.3053 | 2675014.3133 | 1250373.6464 | 2675010.6502 | 1250371.3873
3 | 2675014.113 | 1250325.0752 | 2675029.1111 | 1250336.0397 | 2675043.3333 | 1250345.0818 | 2675048.1943 | 1250348.1345
4 | 2674963.9717 | 1250156.5743 | 2675022.5068 | 1250163.6946
5 | 2675010.6502 | 1250371.3873 | 2674974.6503 | 1250343.6339 | 2674948.6394 | 1250324.7157
6 | 2675014.113 | 1250325.0752 | 2675000.2146 | 1250314.9031 | 2674991.3824 | 1250326.7017
7 | 2674963.9717 | 1250156.5743 | 2674964.686 | 1250150.8347 | 2674966.2805 | 1250136.3999 | 2674966.4845 | 1250134.6012
8 | 2674966.4845 | 1250134.6012 | 2674925.4441 | 1250129.8673
9 | 2674966.4845 | 1250134.6012 | 2674966.7463 | 1250121.0725
10 | 2674940.0018 | 1249996.3266 | 2674981.621 | 1249995.6919 | 2674984.9351 | 1249995.6433
11 | 2674926.2307 | 1249996.5367 | 2674940.0018 | 1249996.3266
12 | 2674927.6793 | 1250034.2267 | 2674926.8863 | 1250028.2791 | 2674926.2307 | 1249996.5367
13 | 2674926.2307 | 1249996.5367 | 2674887.3191 | 1249998.3939
14 | 2674927.6793 | 1250034.2267 | 2674949.405 | 1250041.0396 | 2674965.5276 | 1250040.8291
15 | 2674820.6582 | 1249995.3692 | 2674841.3069 | 1249996.0192 | 2674850.715 | 1250000.1409 | 2674887.3191 | 1249998.3939
16 | 2674875.8126 | 1250080.6829 | 2674876.1295 | 1250078.3074 | 2674880.7058 | 1250079.4216 | 2674901.2933 | 1250079.515 | 2674917.858 | 1250079.5021 | 2674925.1678 | 1250079.3833 | 2674938.1111 | 1250079.169 | 2674945.119 | 1250079.0463
17 | 2674945.119 | 1250079.0463 | 2674955.2461 | 1250078.8409 | 2674961.6623 | 1250078.7076
18 | 2674875.8126 | 1250080.6829 | 2674875.2183 | 1250098.4327 | 2674874.7708 | 1250118.9086 | 2674880.2429 | 1250119.0333 | 2674882.8997 | 1250119.0892 | 2674894.3571 | 1250119.3563
19 | 2674865.9597 | 1250049.636 | 2674866.1762 | 1250055.2094 | 2674866.1472 | 1250061.6804 | 2674866.1094 | 1250064.671 | 2674865.9076 | 1250071.6846 | 2674865.8641 | 1250075.1199 | 2674867.9846 | 1250075.2023 | 2674876.1295 | 1250078.3074 | 2674875.8126 | 1250080.6829
20 | 2674875.8126 | 1250080.6829 | 2674869.2047 | 1250080.8218 | 2674840.3404 | 1250080.3551
21 | 2674894.3571 | 1250119.3563 | 2674905.1001 | 1250119.6104
22 | 2674894.3571 | 1250119.3563 | 2674894.2696 | 1250126.2713 | 2674925.4441 | 1250129.8673
23 | 2674865.9597 | 1250049.636 | 2674861.6722 | 1250049.5397
24 | 2674823.2454 | 1250070.2895 | 2674828.3075 | 1250080.1605 | 2674840.3404 | 1250080.3551
25 | 2674654.038 | 1250028.2036 | 2674654.4122 | 1250035.0577 | 2674655.4963 | 1250038.8964 | 2674657.9994 | 1250042.1636 | 2674662.9606 | 1250045.0949 | 2674662.8182 | 1250051.5978 | 2674662.7875 | 1250061.827 | 2674665.3535 | 1250061.9038 | 2674719.8206 | 1250063.5579 | 2674787.4132 | 1250066.1121 | 2674822.2374 | 1250066.4073 | 2674823.2454 | 1250070.2895
26 | 2674654.038 | 1250028.2036 | 2674673.7403 | 1250028.4519
27 | 2674827.4884 | 1250048.7719 | 2674861.6722 | 1250049.5397
28 | 2674802.3852 | 1250049.9337 | 2674811.1084 | 1250047.3085 | 2674814.7766 | 1250046.1985 | 2674821.0216 | 1250044.3092 | 2674827.4884 | 1250048.7719
29 | 2674802.3852 | 1250049.9337 | 2674788.8637 | 1250038.5326
30 | 2674965.5276 | 1250040.8291 | 2674995.1514 | 1250040.4423
31 | 2674808.9602 | 1249995.0102 | 2674820.6582 | 1249995.3692
32 | 2675053.0551 | 1249898.8923 | 2675086.3123 | 1249926.3073
33 | 2675053.0551 | 1249898.8923 | 2675040.7638 | 1249914.9595 | 2675023.352 | 1249931.1508 | 2675009.4838 | 1249937.6023 | 2675006.6245 | 1249938.4658
34 | 2675029.4896 | 1250122.5562 | 2675029.0946 | 1250108.441 | 2675029.033 | 1250105.5603 | 2675029.2292 | 1250100.2034 | 2675028.6029 | 1250085.8628 | 2675041.2779 | 1250085.3784 | 2675048.5901 | 1250085.0708
35 | 2675048.5901 | 1250085.0708 | 2675056.7586 | 1250084.7549
36 | 2675029.4896 | 1250122.5562 | 2674991.5105 | 1250121.6581
37 | 2674966.7463 | 1250121.0725 | 2674991.5105 | 1250121.6581
38 | 2674808.9602 | 1249995.0102 | 2674809.7695 | 1249970.9808
39 | 2674808.9602 | 1249995.0102 | 2674800.8611 | 1250010.9862 | 2674793.8466 | 1250031.9574 | 2674792.6628 | 1250033.6325 | 2674788.8637 | 1250038.5326
40 | 2674995.1514 | 1250040.4423 | 2675024.6299 | 1250040.0573
41 | 2674817.7855 | 1249964.5773 | 2674809.7695 | 1249970.9808
42 | 2674821.3461 | 1249942.6952 | 2674820.6795 | 1249953.6281 | 2674818.2087 | 1249958.5672 | 2674817.7855 | 1249964.5773
43 | 2674815.865 | 1249942.6705 | 2674821.3461 | 1249942.6952
44 | 2674821.3461 | 1249942.6952 | 2674893.5334 | 1249942.9769
45 | 2674944.9032 | 1249943.1774 | 2674977.8143 | 1249943.3058 | 2674996.622 | 1249941.4868 | 2675006.6245 | 1249938.4658
46 | 2674893.5334 | 1249942.9769 | 2674944.9032 | 1249943.1774
47 | 2674815.865 | 1249942.6705 | 2674813.6496 | 1249921.4049 | 2674813.3877 | 1249909.6175
48 | 2674813.1393 | 1249898.4374 | 2674806.7145 | 1249897.211 | 2674798.1248 | 1249896.4243 | 2674773.8717 | 1249894.2163
49 | 2674813.1393 | 1249898.4374 | 2674813.3877 | 1249909.6175
50 | 2675045.8192 | 1250039.7806 | 2675024.6299 | 1250040.0573

## bus_geodata
| x | y | coords
0 | 2675041.5932 | 1250272.6034
1 | 2675048.1943 | 1250348.1345
2 | 2675022.5068 | 1250163.6946
3 | 2675010.6502 | 1250371.3873
4 | 2675014.113 | 1250325.0752
5 | 2674963.9717 | 1250156.5743
6 | 2674948.6394 | 1250324.7157
7 | 2674991.3824 | 1250326.7017
8 | 2674966.4845 | 1250134.6012
9 | 2674984.9351 | 1249995.6433
10 | 2674940.0018 | 1249996.3266
11 | 2674926.2307 | 1249996.5367
12 | 2674927.6793 | 1250034.2267
13 | 2674887.3191 | 1249998.3939
14 | 2674945.119 | 1250079.0463
15 | 2674875.8126 | 1250080.6829
16 | 2674961.6623 | 1250078.7076
17 | 2674894.3571 | 1250119.3563
18 | 2674865.9597 | 1250049.636
19 | 2674840.3404 | 1250080.3551
20 | 2674823.2454 | 1250070.2895
21 | 2674654.038 | 1250028.2036
22 | 2674861.6722 | 1250049.5397
23 | 2674827.4884 | 1250048.7719
24 | 2674802.3852 | 1250049.9337
25 | 2674965.5276 | 1250040.8291
26 | 2674820.6582 | 1249995.3692
27 | 2675086.3123 | 1249926.3073
28 | 2675053.0551 | 1249898.8923
29 | 2674673.7403 | 1250028.4519
30 | 2675048.5901 | 1250085.0708
31 | 2675029.4896 | 1250122.5562
32 | 2675056.7586 | 1250084.7549
33 | 2674905.1001 | 1250119.6104
34 | 2674925.4441 | 1250129.8673
35 | 2674991.5105 | 1250121.6581
36 | 2674808.9602 | 1249995.0102
37 | 2674788.8637 | 1250038.5326
38 | 2674995.1514 | 1250040.4423
39 | 2674809.7695 | 1249970.9808
40 | 2674817.7855 | 1249964.5773
41 | 2674821.3461 | 1249942.6952
42 | 2675006.6245 | 1249938.4658
43 | 2674944.9032 | 1249943.1774
44 | 2674893.5334 | 1249942.9769
45 | 2674815.865 | 1249942.6705
46 | 2674773.8717 | 1249894.2163
47 | 2674813.1393 | 1249898.4374
48 | 2674813.3877 | 1249909.6175
49 | 2674966.7463 | 1250121.0725
50 | 2675024.6299 | 1250040.0573
51 | 2675045.8192 | 1250039.7806
52 | 2674927.6793 | 1250034.2267

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97145 | -0.55069 | 0.00092434 | 0.00023166
1 | 0.97115 | -0.55659 | 0 | 0
2 | 0.97181 | -0.54352 | 0.003901 | 0.00097768
3 | 0.97109 | -0.55788 | 0 | 0
4 | 0.9711 | -0.5576 | 0 | 0
5 | 0.97222 | -0.53546 | 0 | 0
6 | 0.971 | -0.55965 | 0.0012374 | 0.00031012
7 | 0.97106 | -0.55839 | 0.0013358 | 0.0003348
8 | 0.97237 | -0.53244 | 0 | 0
9 | 0.99896 | -0.020031 | 0.014746 | 0.0036958
10 | 0.99956 | -0.0084628 | 0.020491 | 0.0051354
11 | 1 | 0 | -0.40508 | -0.10379
12 | 0.99921 | -0.015257 | 0 | 0
13 | 0.99592 | -0.076845 | 0.012827 | 0.0032147
14 | 0.97633 | -0.45457 | 0 | 0
15 | 0.97701 | -0.44112 | 0 | 0
16 | 0.97617 | -0.45768 | 0.010289 | 0.0025786
17 | 0.97471 | -0.48625 | 0 | 0
18 | 0.9811 | -0.36129 | 0 | 0
19 | 0.97502 | -0.48035 | 0.045678 | 0.011448
20 | 0.9747 | -0.48661 | 0 | 0
21 | 0.97193 | -0.54118 | 0 | 0
22 | 0.98133 | -0.35689 | 0.027793 | 0.0069656
23 | 0.98358 | -0.31331 | 0 | 0
24 | 0.98477 | -0.29017 | 0 | 0
25 | 0.99839 | -0.031 | 0.0038096 | 0.00095477
26 | 0.98912 | -0.2065 | 0 | 0
27 | 0.97091 | -0.56146 | 0.031481 | 0.0078898
28 | 0.97217 | -0.5364 | 0 | 0
29 | 0.97166 | -0.54655 | 0.014753 | 0.0036973
30 | 0.97018 | -0.57583 | 0 | 0
31 | 0.97106 | -0.5583 | 0 | 0
32 | 0.97005 | -0.57836 | 0.016708 | 0.0041875
33 | 0.97465 | -0.48757 | 0.0066481 | 0.0016662
34 | 0.97343 | -0.51157 | 0.0085652 | 0.0021466
35 | 0.97166 | -0.54657 | 0.0032955 | 0.00082594
36 | 0.98794 | -0.22907 | 0 | 0
37 | 0.98555 | -0.27522 | 0.019043 | 0.0047727
38 | 0.99787 | -0.041032 | 0.0037508 | 0.00094004
39 | 0.98672 | -0.25272 | 0.017981 | 0.0045064
40 | 0.98625 | -0.26174 | 0.0078295 | 0.0019623
41 | 0.98528 | -0.28047 | 0 | 0
42 | 0.97401 | -0.50031 | 0.028114 | 0.0070461
43 | 0.97747 | -0.43238 | 0.028935 | 0.0072519
44 | 0.9817 | -0.34977 | 0.018009 | 0.0045134
45 | 0.98511 | -0.28368 | 0 | 0
46 | 0.98337 | -0.31778 | 0.015968 | 0.0040019
47 | 0.98395 | -0.30641 | 0 | 0
48 | 0.98411 | -0.3032 | 0.016753 | 0.0041986
49 | 0.97212 | -0.53743 | 0 | 0
50 | 0.99745 | -0.049088 | 0.0075923 | 0.0019028
51 | 0.99729 | -0.052062 | 0.0080108 | 0.0020077
52 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0025743 | 0.00064148 | -0.0025735 | -0.00064255 | 7.2049e-07 | -1.0691e-06 | 0.0039418 | 0.0039423 | 0.0039423 | 0.97145 | -0.55069 | 0.97115 | -0.55659 | 1.0831
1 | -0.0034986 | -0.00087314 | 0.0034998 | 0.00087253 | 1.1901e-06 | -6.078e-07 | 0.0053577 | 0.0053572 | 0.0053577 | 0.97145 | -0.55069 | 0.97181 | -0.54352 | 1.4719
2 | 0.0012376 | 0.00030858 | -0.0012375 | -0.00030923 | 7.587e-08 | -6.4792e-07 | 0.0018957 | 0.0018959 | 0.0018959 | 0.97115 | -0.55659 | 0.97109 | -0.55788 | 0.52086
3 | 0.001336 | 0.00033396 | -0.0013359 | -0.00033443 | 6.468e-08 | -4.6801e-07 | 0.0020467 | 0.0020469 | 0.0020469 | 0.97115 | -0.55659 | 0.9711 | -0.5576 | 0.56232
4 | -0.0074008 | -0.0018502 | 0.0074036 | 0.0018513 | 2.8386e-06 | 1.0858e-06 | 0.01133 | 0.01133 | 0.01133 | 0.97181 | -0.54352 | 0.97222 | -0.53546 | 3.1127
5 | 0.0012375 | 0.00030923 | -0.0012374 | -0.00031012 | 1.0465e-07 | -8.9322e-07 | 0.0018959 | 0.0018963 | 0.0018963 | 0.97109 | -0.55788 | 0.971 | -0.55965 | 0.52095
6 | 0.0013359 | 0.00033443 | -0.0013358 | -0.0003348 | 5.0218e-08 | -3.6327e-07 | 0.0020469 | 0.002047 | 0.002047 | 0.9711 | -0.5576 | 0.97106 | -0.55839 | 0.56236
7 | -0.0074036 | -0.0018513 | 0.0074047 | 0.0018517 | 1.0647e-06 | 4.0708e-07 | 0.01133 | 0.01133 | 0.01133 | 0.97222 | -0.53546 | 0.97237 | -0.53244 | 3.1126
8 | -0.027447 | -0.0068882 | 0.027475 | 0.0069052 | 2.7336e-05 | 1.6982e-05 | 0.042006 | 0.042006 | 0.042006 | 0.97237 | -0.53244 | 0.97343 | -0.51157 | 11.5401
9 | 0.020043 | 0.0050365 | -0.020038 | -0.0050336 | 4.7755e-06 | 2.8885e-06 | 0.030676 | 0.030676 | 0.030676 | 0.97237 | -0.53244 | 0.97212 | -0.53743 | 8.4275
10 | -0.014746 | -0.0036958 | 0.014754 | 0.0037004 | 8.1308e-06 | 4.615e-06 | 0.021966 | 0.021965 | 0.021966 | 0.99896 | -0.020031 | 0.99956 | -0.0084628 | 6.0345
11 | -0.035245 | -0.0088358 | 0.035259 | 0.0088448 | 1.4219e-05 | 8.9194e-06 | 0.052469 | 0.052469 | 0.052469 | 0.99956 | -0.0084628 | 1 | 0 | 14.4146
12 | 0.023214 | 0.0058357 | -0.023197 | -0.0058254 | 1.6899e-05 | 1.0321e-05 | 0.034549 | 0.034549 | 0.034549 | 1 | 0 | 0.99921 | -0.015257 | 9.4916
13 | 0.34496 | 0.089107 | -0.34367 | -0.088285 | 0.0012878 | 0.00082264 | 0.51425 | 0.51425 | 0.51425 | 1 | 0 | 0.99592 | -0.076845 | 47.0927
14 | 0.023197 | 0.0058254 | -0.02318 | -0.0058147 | 1.7409e-05 | 1.0633e-05 | 0.034549 | 0.03455 | 0.03455 | 0.99921 | -0.015257 | 0.99839 | -0.031 | 9.4916
15 | 0.33085 | 0.08507 | -0.32878 | -0.083748 | 0.0020705 | 0.0013225 | 0.49509 | 0.49509 | 0.49509 | 0.99592 | -0.076845 | 0.98912 | -0.2065 | 45.3378
16 | -0.01029 | -0.0025794 | 0.010297 | 0.0025827 | 6.5973e-06 | 3.3272e-06 | 0.015684 | 0.015683 | 0.015684 | 0.97633 | -0.45457 | 0.97701 | -0.44112 | 4.3087
17 | 0.01029 | 0.0025794 | -0.010289 | -0.0025786 | 1.5263e-06 | 7.6994e-07 | 0.015684 | 0.015684 | 0.015684 | 0.97633 | -0.45457 | 0.97617 | -0.45768 | 4.3087
18 | 0.042824 | 0.010804 | -0.042732 | -0.010746 | 9.2328e-05 | 5.8368e-05 | 0.065248 | 0.065248 | 0.065248 | 0.97701 | -0.44112 | 0.97471 | -0.48625 | 17.9253
19 | -0.11371 | -0.028631 | 0.11415 | 0.028909 | 0.00043582 | 0.00027844 | 0.17323 | 0.17323 | 0.17323 | 0.97701 | -0.44112 | 0.9811 | -0.36129 | 47.5916
20 | 0.060591 | 0.015244 | -0.060477 | -0.015172 | 0.00011335 | 7.2098e-05 | 0.092302 | 0.092302 | 0.092302 | 0.97701 | -0.44112 | 0.97502 | -0.48035 | 25.3577
21 | 0.0066485 | 0.0016663 | -0.0066481 | -0.0016662 | 4.1514e-07 | 1.3176e-07 | 0.01015 | 0.01015 | 0.01015 | 0.97471 | -0.48625 | 0.97465 | -0.48757 | 2.7884
22 | 0.036083 | 0.0090793 | -0.03604 | -0.0090519 | 4.3599e-05 | 2.7427e-05 | 0.055099 | 0.055099 | 0.055099 | 0.97471 | -0.48625 | 0.97343 | -0.51157 | 15.137
23 | -0.11415 | -0.028909 | 0.11417 | 0.028925 | 2.4131e-05 | 1.5335e-05 | 0.17323 | 0.17323 | 0.17323 | 0.9811 | -0.36129 | 0.98133 | -0.35689 | 23.7958
24 | 0.014799 | 0.0037242 | -0.014795 | -0.0037216 | 4.4264e-06 | 2.5445e-06 | 0.022591 | 0.022591 | 0.022591 | 0.97502 | -0.48035 | 0.9747 | -0.48661 | 6.2064
25 | 0.014795 | 0.0037216 | -0.014756 | -0.0036995 | 3.8471e-05 | 2.2123e-05 | 0.022591 | 0.022592 | 0.022592 | 0.9747 | -0.48661 | 0.97193 | -0.54118 | 6.2066
26 | 0.014756 | 0.0036995 | -0.014753 | -0.0036973 | 3.7714e-06 | 2.1696e-06 | 0.022592 | 0.022592 | 0.022592 | 0.97193 | -0.54118 | 0.97166 | -0.54655 | 6.2067
27 | -0.14196 | -0.03589 | 0.14226 | 0.03608 | 0.00029739 | 0.00018946 | 0.21538 | 0.21538 | 0.21538 | 0.98133 | -0.35689 | 0.98358 | -0.31331 | 29.5847
28 | -0.14226 | -0.03608 | 0.14242 | 0.03618 | 0.00015843 | 0.00010036 | 0.21538 | 0.21538 | 0.21538 | 0.98358 | -0.31331 | 0.98477 | -0.29017 | 19.7231
29 | -0.14242 | -0.03618 | 0.14252 | 0.036245 | 0.00010255 | 6.4958e-05 | 0.21538 | 0.21538 | 0.21538 | 0.98477 | -0.29017 | 0.98555 | -0.27522 | 19.7231
30 | 0.01937 | 0.00486 | -0.019361 | -0.0048544 | 9.261e-06 | 5.5398e-06 | 0.028872 | 0.028872 | 0.028872 | 0.99839 | -0.031 | 0.99787 | -0.041032 | 7.9318
31 | 0.32878 | 0.083748 | -0.32842 | -0.083519 | 0.00035753 | 0.00022837 | 0.49509 | 0.49509 | 0.49509 | 0.98912 | -0.2065 | 0.98794 | -0.22907 | 45.3379
32 | -0.031481 | -0.0078898 | 0.031518 | 0.0079134 | 3.7624e-05 | 2.3545e-05 | 0.048248 | 0.048247 | 0.048248 | 0.97091 | -0.56146 | 0.97217 | -0.5364 | 13.2548
33 | -0.031518 | -0.0079134 | 0.031573 | 0.0079474 | 5.4373e-05 | 3.4025e-05 | 0.048247 | 0.048247 | 0.048247 | 0.97217 | -0.5364 | 0.97401 | -0.50031 | 13.2548
34 | -0.01671 | -0.0041887 | 0.016724 | 0.0041969 | 1.3972e-05 | 8.2408e-06 | 0.02563 | 0.025629 | 0.02563 | 0.97018 | -0.57583 | 0.97106 | -0.5583 | 7.0411
35 | 0.01671 | 0.0041887 | -0.016708 | -0.0041875 | 2.0137e-06 | 1.1878e-06 | 0.02563 | 0.02563 | 0.02563 | 0.97018 | -0.57583 | 0.97005 | -0.57836 | 7.0411
36 | -0.016724 | -0.0041969 | 0.016734 | 0.0042024 | 9.3578e-06 | 5.5187e-06 | 0.025629 | 0.025629 | 0.025629 | 0.97106 | -0.5583 | 0.97166 | -0.54657 | 7.041
37 | -0.020029 | -0.0050283 | 0.020038 | 0.0050336 | 8.7413e-06 | 5.2875e-06 | 0.030676 | 0.030676 | 0.030676 | 0.97166 | -0.54657 | 0.97212 | -0.53743 | 8.4275
38 | 0.16649 | 0.042273 | -0.1663 | -0.042153 | 0.00018929 | 0.00012022 | 0.25096 | 0.25096 | 0.25096 | 0.98794 | -0.22907 | 0.98672 | -0.25272 | 22.9819
39 | 0.16193 | 0.041246 | -0.16157 | -0.041018 | 0.00035965 | 0.00022832 | 0.24413 | 0.24413 | 0.24413 | 0.98794 | -0.22907 | 0.98555 | -0.27522 | 22.356
40 | 0.01561 | 0.0039144 | -0.015604 | -0.003911 | 5.9909e-06 | 3.4492e-06 | 0.023279 | 0.023279 | 0.023279 | 0.99787 | -0.041032 | 0.99745 | -0.049088 | 6.3953
41 | 0.14832 | 0.037646 | -0.14826 | -0.037606 | 6.4261e-05 | 4.0734e-05 | 0.22385 | 0.22385 | 0.22385 | 0.98672 | -0.25272 | 0.98625 | -0.26174 | 20.4988
42 | 0.14043 | 0.035643 | -0.1403 | -0.035563 | 0.00012645 | 8.0068e-05 | 0.21203 | 0.21203 | 0.21203 | 0.98625 | -0.26174 | 0.98528 | -0.28047 | 19.4171
43 | 0.032767 | 0.0082292 | -0.032762 | -0.0082261 | 5.02e-06 | 3.1432e-06 | 0.049493 | 0.049493 | 0.049493 | 0.98528 | -0.28047 | 0.98511 | -0.28368 | 13.5969
44 | 0.10754 | 0.027334 | -0.10718 | -0.027107 | 0.0003576 | 0.00022703 | 0.16254 | 0.16254 | 0.16254 | 0.98528 | -0.28047 | 0.9817 | -0.34977 | 22.3273
45 | -0.059687 | -0.014993 | 0.059881 | 0.015117 | 0.00019417 | 0.00012349 | 0.091198 | 0.091198 | 0.091198 | 0.97401 | -0.50031 | 0.97747 | -0.43238 | 25.0544
46 | -0.088816 | -0.022369 | 0.089169 | 0.022594 | 0.00035237 | 0.00022487 | 0.13525 | 0.13525 | 0.13525 | 0.97747 | -0.43238 | 0.9817 | -0.34977 | 37.1556
47 | 0.032762 | 0.0082261 | -0.032732 | -0.008207 | 3.047e-05 | 1.9079e-05 | 0.049493 | 0.049493 | 0.049493 | 0.98511 | -0.28368 | 0.98411 | -0.3032 | 13.5969
48 | -0.015968 | -0.0040019 | 0.015977 | 0.004007 | 8.6522e-06 | 5.0357e-06 | 0.024162 | 0.024162 | 0.024162 | 0.98337 | -0.31778 | 0.98395 | -0.30641 | 6.638
49 | -0.015977 | -0.004007 | 0.015979 | 0.0040084 | 2.4483e-06 | 1.4248e-06 | 0.024162 | 0.024162 | 0.024162 | 0.98395 | -0.30641 | 0.98411 | -0.3032 | 6.638
50 | 0.008012 | 0.0020082 | -0.0080108 | -0.0020077 | 1.1353e-06 | 4.5003e-07 | 0.011952 | 0.011953 | 0.011953 | 0.99745 | -0.049088 | 0.99729 | -0.052062 | 3.2837

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40508 | 0.10379

## res_load
| p_mw | q_mvar
0 | 0.00092434 | 0.00023166
1 | 0.003901 | 0.00097768
2 | 0.0012374 | 0.00031012
3 | 0.0013358 | 0.0003348
4 | 0.014746 | 0.0036958
5 | 0.020491 | 0.0051354
6 | 0.012827 | 0.0032147
7 | 0.010289 | 0.0025786
8 | 0.045678 | 0.011448
9 | 0.027793 | 0.0069656
10 | 0.0038096 | 0.00095477
11 | 0.031481 | 0.0078898
12 | 0.014753 | 0.0036973
13 | 0.016708 | 0.0041875
14 | 0.0066481 | 0.0016662
15 | 0.0085652 | 0.0021466
16 | 0.0032955 | 0.00082594
17 | 0.019043 | 0.0047727
18 | 0.0037508 | 0.00094004
19 | 0.017981 | 0.0045064
20 | 0.0078295 | 0.0019623
21 | 0.028114 | 0.0070461
22 | 0.028935 | 0.0072519
23 | 0.018009 | 0.0045134
24 | 0.015968 | 0.0040019
25 | 0.016753 | 0.0041986
26 | 0.0075923 | 0.0019028
27 | 0.0080108 | 0.0020077

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1