## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_247-31_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_247-31_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_247-31_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_247-31_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_247-31_0_3_node_58 | 0.4 | n |  | TRUE
5 | bus_LV_247-31_0_3_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_247-31_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_247-31_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_247-31_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_247-31_0_3_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_247-31_0_3_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_247-31_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_247-31_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_247-31_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_247-31_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_247-31_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_247-31_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_247-31_0_3_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_247-31_0_3_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_247-31_0_3_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_247-31_0_3_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_247-31_0_3_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_247-31_0_3_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_247-31_0_3_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_247-31_0_3_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_247-31_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_247-31_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_247-31_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_247-31_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_247-31_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_247-31_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_247-31_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_247-31_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_247-31_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_247-31_0_3_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_247-31_0_3_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_247-31_0_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_247-31_0_3_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_247-31_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_247-31_0_3_node_66 | 0.4 | n |  | TRUE
40 | bus_LV_247-31_0_3_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_247-31_0_3_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_247-31_0_3_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_247-31_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_247-31_0_3_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_247-31_0_3_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_247-31_0_3_node_65 | 0.4 | n |  | TRUE
47 | bus_LV_247-31_0_3_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_247-31_0_3_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_247-31_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_247-31_0_3_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_247-31_0_3_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_247-31_0_3_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_247-31_0_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_247-31_0_3_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_247-31_0_3_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_247-31_0_3_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_247-31_0_3_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_247-31_0_3_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_247-31_0_3_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_247-31_0_3_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_247-31_0_3_node_62 | 0.4 | n |  | TRUE
62 | bus_MV_517_0_node_118 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_247-31_0_3_load_0 | 0 | 0.018013 | 0.0045146 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_247-31_0_3_load_1 | 1 | 0.0032668 | 0.00081875 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_247-31_0_3_load_2 | 2 | 0.0094423 | 0.0023665 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_247-31_0_3_load_3 | 3 | 0.0045205 | 0.0011329 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_247-31_0_3_load_58 | 4 | 0.0093191 | 0.0023356 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_247-31_0_3_load_4 | 6 | 0.01608 | 0.0040301 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_247-31_0_3_load_5 | 7 | 0.019372 | 0.0048551 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_247-31_0_3_load_7 | 8 | 0.0031774 | 0.00079634 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_247-31_0_3_load_37 | 9 | 0.0012659 | 0.00031727 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_247-31_0_3_load_53 | 10 | 0.0011811 | 0.00029601 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_247-31_0_3_load_8 | 11 | 0.0029286 | 0.00073398 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_247-31_0_3_load_9 | 12 | 0.0010588 | 0.00026536 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_247-31_0_3_load_12 | 15 | 0.000939 | 0.00023534 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_247-31_0_3_load_13 | 16 | 0.00093915 | 0.00023537 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_247-31_0_3_load_41 | 17 | 0.0008733 | 0.00021887 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_247-31_0_3_load_34 | 18 | 0.0010588 | 0.00026536 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_247-31_0_3_load_28 | 19 | 0.0021945 | 0.00054999 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_247-31_0_3_load_45 | 20 | 0.00096903 | 0.00024286 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_247-31_0_3_load_32 | 22 | 0.00087329 | 0.00021887 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_247-31_0_3_load_27 | 23 | 0.0006224 | 0.00015599 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_247-31_0_3_load_14 | 25 | 0.010074 | 0.0025247 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_247-31_0_3_load_15 | 26 | 0.0026302 | 0.00065919 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_247-31_0_3_load_20 | 33 | 0.00077544 | 0.00019434 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_247-31_0_3_load_50 | 34 | 0.036371 | 0.0091154 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_247-31_0_3_load_55 | 35 | 0.01531 | 0.0038371 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_247-31_0_3_load_57 | 37 | 0.032006 | 0.0080215 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_247-31_0_3_load_22 | 40 | 0.0032157 | 0.00080592 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_247-31_0_3_load_52 | 41 | 0.075558 | 0.018937 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_247-31_0_3_load_35 | 43 | 0.0044778 | 0.0011222 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_247-31_0_3_load_31 | 44 | 0.0026782 | 0.00067123 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_247-31_0_3_load_56 | 45 | 0.0056321 | 0.0014115 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_247-31_0_3_load_65 | 46 | 0.014046 | 0.0035203 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_247-31_0_3_load_29 | 47 | 0.00062231 | 0.00015597 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_247-31_0_3_load_38 | 49 | 0.004129 | 0.0010348 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_247-31_0_3_load_44 | 51 | 0.0046327 | 0.0011611 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_247-31_0_3_load_51 | 52 | 0.045202 | 0.011329 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_247-31_0_3_load_47 | 53 | 0.00049441 | 0.00012391 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_247-31_0_3_load_64 | 54 | 0.0030307 | 0.00075957 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_247-31_0_3_load_54 | 55 | 0.00074751 | 0.00018734 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_247-31_0_3_load_48 | 56 | 0.0007478 | 0.00018742 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_247-31_0_3_load_43 | 57 | 0.0019127 | 0.00047937 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_247-31_0_3_load_60 | 59 | 0.0006546 | 0.00016406 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_247-31_0_3_load_63 | 60 | 0.00065436 | 0.000164 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_247-31_0_3_load_62 | 61 | 0.011295 | 0.0028309 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_247-31_0_3_line_0 |  | 0 | 1 | 0.073902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_247-31_0_3_line_1 |  | 0 | 2 | 0.034956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_247-31_0_3_line_2 |  | 1 | 3 | 0.021795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_247-31_0_3_line_3 |  | 3 | 4 | 0.020668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_247-31_0_3_line_4 |  | 4 | 5 | 0.066375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_247-31_0_3_line_5 |  | 5 | 37 | 0.029115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_247-31_0_3_line_6 |  | 5 | 38 | 0.09372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_247-31_0_3_line_7 |  | 6 | 7 | 0.054309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_247-31_0_3_line_8 |  | 7 | 8 | 0.075599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_247-31_0_3_line_9 |  | 8 | 9 | 0.034334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_247-31_0_3_line_10 |  | 9 | 10 | 0.011211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_247-31_0_3_line_11 |  | 10 | 52 | 0.028247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_247-31_0_3_line_12 |  | 11 | 12 | 0.010382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_247-31_0_3_line_13 |  | 11 | 13 | 0.030176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_247-31_0_3_line_14 |  | 12 | 14 | 0.018861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_247-31_0_3_line_15 |  | 13 | 15 | 0.014699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_247-31_0_3_line_16 |  | 13 | 16 | 0.016787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_247-31_0_3_line_17 |  | 14 | 17 | 0.020773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_247-31_0_3_line_18 |  | 14 | 18 | 0.014527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_247-31_0_3_line_19 |  | 15 | 19 | 0.0069009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_247-31_0_3_line_20 |  | 16 | 20 | 0.011868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_247-31_0_3_line_21 |  | 17 | 21 | 0.026479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_247-31_0_3_line_22 |  | 18 | 22 | 0.00088633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_247-31_0_3_line_23 |  | 19 | 23 | 0.022076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_247-31_0_3_line_24 |  | 20 | 24 | 0.018707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_247-31_0_3_line_25 |  | 21 | 55 | 0.016248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_247-31_0_3_line_26 |  | 21 | 56 | 0.015319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_247-31_0_3_line_27 |  | 22 | 44 | 0.024807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_247-31_0_3_line_28 |  | 23 | 47 | 0.00012139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_247-31_0_3_line_29 |  | 24 | 53 | 0.013959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_247-31_0_3_line_30 |  | 25 | 26 | 0.015036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_247-31_0_3_line_31 |  | 25 | 27 | 0.07006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_247-31_0_3_line_32 |  | 26 | 28 | 0.083546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_247-31_0_3_line_33 |  | 27 | 29 | 0.11708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_247-31_0_3_line_34 |  | 27 | 30 | 0.059968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_247-31_0_3_line_35 |  | 28 | 31 | 0.007484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_247-31_0_3_line_36 |  | 28 | 32 | 0.059843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_247-31_0_3_line_37 |  | 29 | 33 | 0.037604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_247-31_0_3_line_38 |  | 30 | 34 | 0.065493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_247-31_0_3_line_39 |  | 31 | 35 | 0.019703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_247-31_0_3_line_40 |  | 32 | 36 | 0.006757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_247-31_0_3_line_41 |  | 35 | 45 | 0.025994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_247-31_0_3_line_42 |  | 36 | 41 | 0.029697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_247-31_0_3_line_43 |  | 36 | 42 | 0.055222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_247-31_0_3_line_44 |  | 37 | 45 | 0.020788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_247-31_0_3_line_45 |  | 38 | 39 | 0.037139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_247-31_0_3_line_46 |  | 38 | 40 | 0.063433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_247-31_0_3_line_47 |  | 39 | 46 | 0.037134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_247-31_0_3_line_48 |  | 41 | 52 | 0.040633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_247-31_0_3_line_49 |  | 42 | 43 | 0.028317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_247-31_0_3_line_50 |  | 42 | 44 | 0.024405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_247-31_0_3_line_51 |  | 43 | 50 | 0.018861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_247-31_0_3_line_52 |  | 47 | 48 | 0.020338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_247-31_0_3_line_53 |  | 48 | 49 | 0.022596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_247-31_0_3_line_54 |  | 50 | 51 | 0.022841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_247-31_0_3_line_55 |  | 53 | 54 | 0.0099246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_247-31_0_3_line_56 |  | 55 | 58 | 0.030821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_247-31_0_3_line_57 |  | 56 | 57 | 0.0064707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_247-31_0_3_line_58 |  | 58 | 59 | 0.015267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_247-31_0_3_line_59 |  | 59 | 60 | 0.0060708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_247-31_0_3_line_60 |  | 60 | 61 | 0.0099454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_247-31_0_3_trafo_24 | 0.63 MVA 20/0.4 kV | 62 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2677545.9858 | 1250609.8245 | 2677527.7927 | 1250617.23 | 2677514.9195 | 1250623.1215 | 2677477.5528 | 1250637.6787
1 | 2677578.3708 | 1250596.6655 | 2677572.5725 | 1250599.0024 | 2677545.9858 | 1250609.8245
2 | 2677457.2446 | 1250645.5904 | 2677477.5528 | 1250637.6787
3 | 2677438.2213 | 1250653.6486 | 2677447.7886 | 1250649.2743 | 2677457.2446 | 1250645.5904
4 | 2677376.9198 | 1250679.0261 | 2677414.3569 | 1250664.5599 | 2677438.2213 | 1250653.6486
5 | 2677376.9198 | 1250679.0261 | 2677374.6336 | 1250673.1586 | 2677366.4826 | 1250651.8466
6 | 2677376.9198 | 1250679.0261 | 2677371.5174 | 1250681.1238 | 2677398.3887 | 1250750.1807 | 2677399.8393 | 1250754.7141 | 2677397.7161 | 1250763.5261
7 | 2677572.9241 | 1250438.6348 | 2677570.9564 | 1250439.3533 | 2677521.7912 | 1250456.9353
8 | 2677521.7912 | 1250456.9353 | 2677450.6075 | 1250482.3915
9 | 2677450.6075 | 1250482.3915 | 2677445.4849 | 1250484.2234 | 2677418.226 | 1250493.8033
10 | 2677407.649 | 1250497.5205 | 2677418.226 | 1250493.8033
11 | 2677380.9998 | 1250506.8861 | 2677407.649 | 1250497.5205
12 | 2677254.5348 | 1250466.1563 | 2677264.2692 | 1250462.5473
13 | 2677226.2406 | 1250476.6464 | 2677254.5348 | 1250466.1563
14 | 2677281.9537 | 1250455.9907 | 2677264.2692 | 1250462.5473
15 | 2677226.2406 | 1250476.6464 | 2677231.2095 | 1250490.4803
16 | 2677226.2406 | 1250476.6464 | 2677210.5013 | 1250482.4844
17 | 2677281.9537 | 1250455.9907 | 2677301.453 | 1250448.8297
18 | 2677281.9537 | 1250455.9907 | 2677287.1529 | 1250469.5558
19 | 2677231.2095 | 1250490.4803 | 2677233.5422 | 1250496.9749
20 | 2677199.3656 | 1250486.5874 | 2677202.7538 | 1250485.358 | 2677210.5013 | 1250482.4844
21 | 2677326.3084 | 1250439.7017 | 2677301.453 | 1250448.8297
22 | 2677287.1529 | 1250469.5558 | 2677287.4701 | 1250470.3834
23 | 2677233.5422 | 1250496.9749 | 2677241.0048 | 1250517.7515
24 | 2677181.7803 | 1250492.9682 | 2677199.3656 | 1250486.5874
25 | 2677326.3084 | 1250439.7017 | 2677341.466 | 1250433.8505
26 | 2677326.3084 | 1250439.7017 | 2677331.7345 | 1250454.0276
27 | 2677287.4701 | 1250470.3834 | 2677296.3485 | 1250493.5477
28 | 2677241.0458 | 1250517.8658 | 2677241.0048 | 1250517.7515
29 | 2677181.7803 | 1250492.9682 | 2677186.2856 | 1250506.18
30 | 2677243.2027 | 1250626.4495 | 2677257.3232 | 1250621.282
31 | 2677177.4098 | 1250650.5265 | 2677243.2027 | 1250626.4495
32 | 2677335.7803 | 1250592.5704 | 2677257.3232 | 1250621.282
33 | 2677192.417 | 1250748.4825 | 2677189.5453 | 1250740.606 | 2677186.2648 | 1250731.6568 | 2677161.204 | 1250663.0803 | 2677158.8537 | 1250656.9007 | 2677177.4098 | 1250650.5265
34 | 2677177.4098 | 1250650.5265 | 2677156.8852 | 1250594.1626
35 | 2677342.7324 | 1250589.7479 | 2677335.7803 | 1250592.5704
36 | 2677335.7803 | 1250592.5704 | 2677328.1688 | 1250573.6239 | 2677321.1246 | 1250556.3194 | 2677316.125 | 1250543.1668 | 2677316.9738 | 1250536.5508
37 | 2677192.417 | 1250748.4825 | 2677206.2373 | 1250783.4543
38 | 2677156.8852 | 1250594.1626 | 2677218.5094 | 1250571.9856
39 | 2677342.7324 | 1250589.7479 | 2677349.7709 | 1250608.1512
40 | 2677314.6484 | 1250530.2047 | 2677315.9385 | 1250533.7352 | 2677316.9738 | 1250536.5508
41 | 2677349.7709 | 1250608.1512 | 2677359.0565 | 1250632.4299
42 | 2677314.6484 | 1250530.2047 | 2677342.6652 | 1250520.3584
43 | 2677305.083 | 1250516.3365 | 2677308.565 | 1250525.4663 | 2677292.0708 | 1250531.7225 | 2677294.1029 | 1250537.4087 | 2677314.6484 | 1250530.2047
44 | 2677366.4826 | 1250651.8466 | 2677359.0565 | 1250632.4299
45 | 2677410.016 | 1250798.5791 | 2677397.7161 | 1250763.5261
46 | 2677397.7161 | 1250763.5261 | 2677376.8044 | 1250770.5027 | 2677337.8475 | 1250784.4786
47 | 2677410.016 | 1250798.5791 | 2677375.9976 | 1250813.4674
48 | 2677380.9998 | 1250506.8861 | 2677342.6652 | 1250520.3584
49 | 2677305.083 | 1250516.3365 | 2677325.5947 | 1250509.41 | 2677331.2888 | 1250505.9407
50 | 2677305.083 | 1250516.3365 | 2677296.3485 | 1250493.5477
51 | 2677348.9103 | 1250499.3624 | 2677333.4026 | 1250504.6528 | 2677331.2888 | 1250505.9407
52 | 2677247.9208 | 1250537.0064 | 2677241.0458 | 1250517.8658
53 | 2677247.9208 | 1250537.0064 | 2677226.6731 | 1250544.6936
54 | 2677348.9103 | 1250499.3624 | 2677350.0174 | 1250498.9877 | 2677370.6347 | 1250492.3077
55 | 2677189.4889 | 1250515.5735 | 2677186.2856 | 1250506.18
56 | 2677370.2191 | 1250422.7511 | 2677341.466 | 1250433.8505
57 | 2677334.0265 | 1250460.0788 | 2677331.7345 | 1250454.0276
58 | 2677370.2191 | 1250422.7511 | 2677375.4584 | 1250437.091
59 | 2677375.4584 | 1250437.091 | 2677377.5418 | 1250442.793
60 | 2677380.9548 | 1250452.1344 | 2677377.5418 | 1250442.793

## bus_geodata
| x | y | coords
0 | 2677545.9858 | 1250609.8245
1 | 2677477.5528 | 1250637.6787
2 | 2677578.3708 | 1250596.6655
3 | 2677457.2446 | 1250645.5904
4 | 2677438.2213 | 1250653.6486
5 | 2677376.9198 | 1250679.0261
6 | 2677572.9241 | 1250438.6348
7 | 2677521.7912 | 1250456.9353
8 | 2677450.6075 | 1250482.3915
9 | 2677418.226 | 1250493.8033
10 | 2677407.649 | 1250497.5205
11 | 2677254.5348 | 1250466.1563
12 | 2677264.2692 | 1250462.5473
13 | 2677226.2406 | 1250476.6464
14 | 2677281.9537 | 1250455.9907
15 | 2677231.2095 | 1250490.4803
16 | 2677210.5013 | 1250482.4844
17 | 2677301.453 | 1250448.8297
18 | 2677287.1529 | 1250469.5558
19 | 2677233.5422 | 1250496.9749
20 | 2677199.3656 | 1250486.5874
21 | 2677326.3084 | 1250439.7017
22 | 2677287.4701 | 1250470.3834
23 | 2677241.0048 | 1250517.7515
24 | 2677181.7803 | 1250492.9682
25 | 2677243.2027 | 1250626.4495
26 | 2677257.3232 | 1250621.282
27 | 2677177.4098 | 1250650.5265
28 | 2677335.7803 | 1250592.5704
29 | 2677192.417 | 1250748.4825
30 | 2677156.8852 | 1250594.1626
31 | 2677342.7324 | 1250589.7479
32 | 2677316.9738 | 1250536.5508
33 | 2677206.2373 | 1250783.4543
34 | 2677218.5094 | 1250571.9856
35 | 2677349.7709 | 1250608.1512
36 | 2677314.6484 | 1250530.2047
37 | 2677366.4826 | 1250651.8466
38 | 2677397.7161 | 1250763.5261
39 | 2677410.016 | 1250798.5791
40 | 2677337.8475 | 1250784.4786
41 | 2677342.6652 | 1250520.3584
42 | 2677305.083 | 1250516.3364
43 | 2677331.2888 | 1250505.9407
44 | 2677296.3485 | 1250493.5477
45 | 2677359.0565 | 1250632.4299
46 | 2677375.9976 | 1250813.4674
47 | 2677241.0458 | 1250517.8658
48 | 2677247.9208 | 1250537.0064
49 | 2677226.6731 | 1250544.6936
50 | 2677348.9103 | 1250499.3624
51 | 2677370.6347 | 1250492.3077
52 | 2677380.9998 | 1250506.8861
53 | 2677186.2856 | 1250506.18
54 | 2677189.4889 | 1250515.5735
55 | 2677341.466 | 1250433.8505
56 | 2677331.7345 | 1250454.0276
57 | 2677334.0265 | 1250460.0788
58 | 2677370.2191 | 1250422.7511
59 | 2677375.4584 | 1250437.091
60 | 2677377.5418 | 1250442.793
61 | 2677380.9548 | 1250452.1344
62 | 2677335.7803 | 1250592.5704

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98625 | -0.26481 | 0.018013 | 0.0045146
1 | 0.98812 | -0.22852 | 0.0032668 | 0.00081875
2 | 0.98595 | -0.27072 | 0.0094423 | 0.0023665
3 | 0.98874 | -0.21657 | 0.0045205 | 0.0011329
4 | 0.9894 | -0.20359 | 0.0093191 | 0.0023356
5 | 0.99212 | -0.15106 | 0 | 0
6 | 0.98124 | -0.36195 | 0.01608 | 0.0040301
7 | 0.98205 | -0.34615 | 0.019372 | 0.0048551
8 | 0.98452 | -0.29783 | 0.0031774 | 0.00079634
9 | 0.98575 | -0.27401 | 0.0012659 | 0.00031727
10 | 0.98616 | -0.26599 | 0.0011811 | 0.00029601
11 | 0.98752 | -0.23981 | 0.0029286 | 0.00073398
12 | 0.98768 | -0.23667 | 0.0010588 | 0.00026536
13 | 0.98713 | -0.24733 | 0 | 0
14 | 0.98799 | -0.23063 | 0 | 0
15 | 0.98702 | -0.24957 | 0.000939 | 0.00023534
16 | 0.98705 | -0.24896 | 0.00093915 | 0.00023537
17 | 0.98767 | -0.2369 | 0.0008733 | 0.00021887
18 | 0.98846 | -0.2216 | 0.0010588 | 0.00026536
19 | 0.98697 | -0.2505 | 0.0021945 | 0.00054999
20 | 0.987 | -0.24992 | 0.00096903 | 0.00024286
21 | 0.98728 | -0.24448 | 0 | 0
22 | 0.98849 | -0.22104 | 0.00087329 | 0.00021887
23 | 0.98686 | -0.25263 | 0.0006224 | 0.00015599
24 | 0.98694 | -0.2511 | 0 | 0
25 | 0.99464 | -0.10251 | 0.010074 | 0.0025247
26 | 0.99529 | -0.090008 | 0.0026302 | 0.00065919
27 | 0.99225 | -0.14849 | 0 | 0
28 | 0.99911 | -0.01699 | 0 | 0
29 | 0.99217 | -0.1501 | 0 | 0
30 | 0.99025 | -0.18718 | 0 | 0
31 | 1 | 0 | -0.38048 | -0.096412
32 | 0.99332 | -0.12755 | 0 | 0
33 | 0.99214 | -0.15062 | 0.00077544 | 0.00019434
34 | 0.98806 | -0.22961 | 0.036371 | 0.0091154
35 | 0.99793 | -0.039503 | 0.01531 | 0.0038371
36 | 0.99267 | -0.14012 | 0 | 0
37 | 0.99377 | -0.11924 | 0.032006 | 0.0080215
38 | 0.99064 | -0.17976 | 0 | 0
39 | 0.99016 | -0.18903 | 0 | 0
40 | 0.99045 | -0.18339 | 0.0032157 | 0.00080592
41 | 0.99046 | -0.18272 | 0.075558 | 0.018937
42 | 0.99021 | -0.18766 | 0 | 0
43 | 0.98997 | -0.19225 | 0.0044778 | 0.0011222
44 | 0.98932 | -0.20478 | 0.0026782 | 0.00067123
45 | 0.99556 | -0.084867 | 0.0056321 | 0.0014115
46 | 0.98968 | -0.19831 | 0.014046 | 0.0035203
47 | 0.98686 | -0.25264 | 0.00062231 | 0.00015597
48 | 0.98678 | -0.25414 | 0 | 0
49 | 0.9867 | -0.25581 | 0.004129 | 0.0010348
50 | 0.98989 | -0.1938 | 0 | 0
51 | 0.98979 | -0.19568 | 0.0046327 | 0.0011611
52 | 0.98723 | -0.24521 | 0.045202 | 0.011329
53 | 0.9869 | -0.25198 | 0.00049441 | 0.00012391
54 | 0.98687 | -0.25252 | 0.0030307 | 0.00075957
55 | 0.98708 | -0.24836 | 0.00074751 | 0.00018734
56 | 0.98724 | -0.24521 | 0.0007478 | 0.00018742
57 | 0.98723 | -0.24543 | 0.0019127 | 0.00047937
58 | 0.98672 | -0.25531 | 0 | 0
59 | 0.98655 | -0.25876 | 0.0006546 | 0.00016406
60 | 0.98648 | -0.26006 | 0.00065436 | 0.000164
61 | 0.98638 | -0.26207 | 0.011295 | 0.0028309
62 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.027458 | -0.0068823 | 0.027506 | 0.0069118 | 4.7564e-05 | 2.9496e-05 | 0.041428 | 0.041428 | 0.041428 | 0.98625 | -0.26481 | 0.98812 | -0.22852 | 11.3814
1 | 0.009445 | 0.0023677 | -0.0094423 | -0.0023665 | 2.6621e-06 | 1.2578e-06 | 0.01425 | 0.014251 | 0.014251 | 0.98625 | -0.26481 | 0.98595 | -0.27072 | 3.915
2 | -0.030773 | -0.0077306 | 0.03079 | 0.0077415 | 1.7557e-05 | 1.0957e-05 | 0.046348 | 0.046347 | 0.046348 | 0.98812 | -0.22852 | 0.98874 | -0.21657 | 12.7328
3 | -0.035311 | -0.0088745 | 0.035333 | 0.0088882 | 2.1895e-05 | 1.3748e-05 | 0.053151 | 0.053151 | 0.053151 | 0.98874 | -0.21657 | 0.9894 | -0.20359 | 14.6018
4 | -0.044652 | -0.011224 | 0.044764 | 0.011295 | 0.00011229 | 7.101e-05 | 0.067166 | 0.067166 | 0.067166 | 0.9894 | -0.20359 | 0.99212 | -0.15106 | 18.4522
5 | -0.062063 | -0.015641 | 0.062157 | 0.015702 | 9.4662e-05 | 6.0207e-05 | 0.093114 | 0.093114 | 0.093114 | 0.99212 | -0.15106 | 0.99377 | -0.11924 | 25.5809
6 | 0.017298 | 0.0043467 | -0.017275 | -0.0043327 | 2.3665e-05 | 1.3937e-05 | 0.025949 | 0.025949 | 0.025949 | 0.99212 | -0.15106 | 0.99064 | -0.17976 | 7.1289
7 | -0.01608 | -0.0040301 | 0.016093 | 0.0040372 | 1.211e-05 | 7.0641e-06 | 0.024385 | 0.024385 | 0.024385 | 0.98124 | -0.36195 | 0.98205 | -0.34615 | 6.6993
8 | -0.035465 | -0.0088923 | 0.035547 | 0.0089438 | 8.1867e-05 | 5.1436e-05 | 0.053738 | 0.053738 | 0.053738 | 0.98205 | -0.34615 | 0.98452 | -0.29783 | 14.7632
9 | -0.038724 | -0.0097401 | 0.038768 | 0.0097679 | 4.4122e-05 | 2.7801e-05 | 0.05854 | 0.05854 | 0.05854 | 0.98452 | -0.29783 | 0.98575 | -0.27401 | 16.0825
10 | -0.040034 | -0.010085 | 0.040049 | 0.010095 | 1.5364e-05 | 9.6897e-06 | 0.060451 | 0.060451 | 0.060451 | 0.98575 | -0.27401 | 0.98616 | -0.26599 | 16.6074
11 | -0.041231 | -0.010391 | 0.041272 | 0.010417 | 4.1025e-05 | 2.5895e-05 | 0.062233 | 0.062233 | 0.062233 | 0.98616 | -0.26599 | 0.98723 | -0.24521 | 17.097
12 | -0.016878 | -0.0042308 | 0.01688 | 0.0042323 | 2.5181e-06 | 1.4787e-06 | 0.025432 | 0.025432 | 0.025432 | 0.98752 | -0.23981 | 0.98768 | -0.23667 | 6.9868
13 | 0.013949 | 0.0034968 | -0.013944 | -0.003494 | 4.9994e-06 | 2.8137e-06 | 0.021019 | 0.021019 | 0.021019 | 0.98752 | -0.23981 | 0.98713 | -0.24733 | 5.7745
14 | -0.017939 | -0.0044977 | 0.017944 | 0.0045007 | 5.1663e-06 | 3.065e-06 | 0.027027 | 0.027027 | 0.027027 | 0.98768 | -0.23667 | 0.98799 | -0.23063 | 7.425
15 | 0.0085097 | 0.0021326 | -0.0085087 | -0.0021322 | 9.07e-07 | 3.9259e-07 | 0.012827 | 0.012828 | 0.012828 | 0.98713 | -0.24733 | 0.98702 | -0.24957 | 3.5241
16 | 0.0054344 | 0.0013615 | -0.0054339 | -0.0013614 | 4.2243e-07 | 5.5767e-08 | 0.0081916 | 0.0081917 | 0.0081917 | 0.98713 | -0.24733 | 0.98705 | -0.24896 | 2.2505
17 | 0.016907 | 0.0042438 | -0.016902 | -0.0042408 | 5.0519e-06 | 2.9673e-06 | 0.025466 | 0.025466 | 0.025466 | 0.98799 | -0.23063 | 0.98767 | -0.2369 | 6.9962
18 | -0.034851 | -0.0087445 | 0.034866 | 0.0087539 | 1.5011e-05 | 9.4211e-06 | 0.052493 | 0.052493 | 0.052493 | 0.98799 | -0.23063 | 0.98846 | -0.2216 | 14.4212
19 | 0.0075697 | 0.0018968 | -0.0075694 | -0.0018967 | 3.3702e-07 | 1.275e-07 | 0.011412 | 0.011412 | 0.011412 | 0.98702 | -0.24957 | 0.98697 | -0.2505 | 3.1352
20 | 0.0044948 | 0.001126 | -0.0044946 | -0.0011261 | 2.0433e-07 | -2.091e-08 | 0.0067759 | 0.0067759 | 0.0067759 | 0.98705 | -0.24896 | 0.987 | -0.24992 | 1.8615
21 | 0.016029 | 0.004022 | -0.016023 | -0.0040186 | 5.7914e-06 | 3.3677e-06 | 0.024151 | 0.024151 | 0.024151 | 0.98767 | -0.2369 | 0.98728 | -0.24448 | 6.6348
22 | -0.035925 | -0.0090193 | 0.035926 | 0.0090199 | 9.7232e-07 | 6.1092e-07 | 0.054087 | 0.054087 | 0.054087 | 0.98846 | -0.2216 | 0.98849 | -0.22104 | 14.859
23 | 0.0053749 | 0.0013467 | -0.0053744 | -0.0013466 | 5.4362e-07 | 6.5823e-08 | 0.0081034 | 0.0081035 | 0.0081035 | 0.98697 | -0.2505 | 0.98686 | -0.25263 | 2.2262
24 | 0.0035255 | 0.0008832 | -0.0035253 | -0.00088332 | 1.9818e-07 | -1.1224e-07 | 0.005315 | 0.0053151 | 0.0053151 | 0.987 | -0.24992 | 0.98694 | -0.2511 | 1.4602
25 | 0.013362 | 0.003352 | -0.01336 | -0.0033507 | 2.4716e-06 | 1.3741e-06 | 0.020141 | 0.020141 | 0.020141 | 0.98728 | -0.24448 | 0.98708 | -0.24836 | 5.5332
26 | 0.0026606 | 0.00066658 | -0.0026605 | -0.00066672 | 9.2375e-08 | -1.3677e-07 | 0.00401 | 0.00401 | 0.00401 | 0.98728 | -0.24448 | 0.98724 | -0.24521 | 1.1017
27 | -0.036799 | -0.0092388 | 0.036828 | 0.0092567 | 2.8553e-05 | 1.7956e-05 | 0.055401 | 0.055401 | 0.055401 | 0.98849 | -0.22104 | 0.98932 | -0.20478 | 15.2202
28 | 0.004752 | 0.0011907 | -0.004752 | -0.0011907 | 2.3364e-09 | -5.621e-11 | 0.0071651 | 0.0071651 | 0.0071651 | 0.98686 | -0.25263 | 0.98686 | -0.25264 | 1.9684
29 | 0.0035253 | 0.00088332 | -0.0035252 | -0.0008834 | 1.4788e-07 | -8.3727e-08 | 0.0053151 | 0.0053152 | 0.0053152 | 0.98694 | -0.2511 | 0.9869 | -0.25198 | 1.4602
30 | -0.047443 | -0.011973 | 0.047472 | 0.011991 | 2.8429e-05 | 1.8e-05 | 0.071006 | 0.071006 | 0.071006 | 0.99464 | -0.10251 | 0.99529 | -0.090008 | 19.5073
31 | 0.03737 | 0.0094483 | -0.037288 | -0.0093966 | 8.2203e-05 | 5.1703e-05 | 0.055936 | 0.055936 | 0.055936 | 0.99464 | -0.10251 | 0.99225 | -0.14849 | 15.3671
32 | -0.050102 | -0.01265 | 0.050278 | 0.012762 | 0.00017594 | 0.00011151 | 0.074939 | 0.074938 | 0.074939 | 0.99529 | -0.090008 | 0.99911 | -0.01699 | 20.5875
33 | 0.00077552 | 0.0001924 | -0.00077546 | -0.00019387 | 5.9341e-08 | -1.4742e-06 | 0.0011623 | 0.0011628 | 0.0011628 | 0.99225 | -0.14849 | 0.99217 | -0.1501 | 0.31946
34 | 0.036512 | 0.0092042 | -0.036445 | -0.0091618 | 6.7469e-05 | 4.2407e-05 | 0.054774 | 0.054774 | 0.054774 | 0.99225 | -0.14849 | 0.99025 | -0.18718 | 15.0479
35 | -0.26292 | -0.066924 | 0.26313 | 0.067062 | 0.00021556 | 0.00013776 | 0.39194 | 0.39194 | 0.39194 | 0.99911 | -0.01699 | 1 | 0 | 53.8378
36 | 0.21264 | 0.054162 | -0.21151 | -0.053442 | 0.0011275 | 0.00072007 | 0.317 | 0.317 | 0.317 | 0.99911 | -0.01699 | 0.99332 | -0.12755 | 43.5441
37 | 0.00077546 | 0.00019387 | -0.00077544 | -0.00019434 | 1.9071e-08 | -4.7341e-07 | 0.0011628 | 0.001163 | 0.001163 | 0.99217 | -0.1501 | 0.99214 | -0.15062 | 0.31951
38 | 0.036445 | 0.0091618 | -0.036371 | -0.0091154 | 7.3686e-05 | 4.6318e-05 | 0.054774 | 0.054775 | 0.054775 | 0.99025 | -0.18718 | 0.98806 | -0.22961 | 15.048
39 | 0.1157 | 0.02935 | -0.11548 | -0.02921 | 0.00021931 | 0.0001401 | 0.17228 | 0.17228 | 0.17228 | 1 | 0 | 0.99793 | -0.039503 | 47.331
40 | 0.21151 | 0.053442 | -0.21138 | -0.053361 | 0.00012731 | 8.1306e-05 | 0.317 | 0.317 | 0.317 | 0.99332 | -0.12755 | 0.99267 | -0.14012 | 43.5441
41 | 0.10017 | 0.025373 | -0.099951 | -0.025234 | 0.00021774 | 0.00013901 | 0.14946 | 0.14946 | 0.14946 | 0.99793 | -0.039503 | 0.99556 | -0.084867 | 41.0594
42 | 0.16262 | 0.041058 | -0.16229 | -0.040847 | 0.00033117 | 0.00021118 | 0.24388 | 0.24388 | 0.24388 | 0.99267 | -0.14012 | 0.99046 | -0.18272 | 33.4997
43 | 0.048762 | 0.012303 | -0.048652 | -0.012233 | 0.00011073 | 7.0156e-05 | 0.073124 | 0.073124 | 0.073124 | 0.99267 | -0.14012 | 0.99021 | -0.18766 | 20.0891
44 | -0.094163 | -0.023723 | 0.094318 | 0.023822 | 0.00015507 | 9.8974e-05 | 0.14104 | 0.14104 | 0.14104 | 0.99377 | -0.11924 | 0.99556 | -0.084867 | 38.7467
45 | 0.014059 | 0.0035273 | -0.014052 | -0.0035238 | 6.2113e-06 | 3.4973e-06 | 0.021118 | 0.021119 | 0.021119 | 0.99064 | -0.17976 | 0.99016 | -0.18903 | 5.8018
46 | 0.0032162 | 0.00080546 | -0.0032157 | -0.00080592 | 5.5514e-07 | -4.6124e-07 | 0.0048308 | 0.0048311 | 0.0048311 | 0.99064 | -0.17976 | 0.99045 | -0.18339 | 1.3272
47 | 0.014052 | 0.0035238 | -0.014046 | -0.0035203 | 6.2105e-06 | 3.4974e-06 | 0.021119 | 0.021119 | 0.021119 | 0.99016 | -0.18903 | 0.98968 | -0.19831 | 5.8018
48 | 0.086732 | 0.021911 | -0.086473 | -0.021745 | 0.00025895 | 0.00016521 | 0.13036 | 0.13036 | 0.13036 | 0.99046 | -0.18272 | 0.98723 | -0.24521 | 35.8142
49 | 0.0091133 | 0.0022842 | -0.0091113 | -0.0022833 | 1.9916e-06 | 9.1045e-07 | 0.013695 | 0.013695 | 0.013695 | 0.99021 | -0.18766 | 0.98997 | -0.19225 | 3.7624
50 | 0.039538 | 0.0099483 | -0.039506 | -0.009928 | 3.2324e-05 | 2.0374e-05 | 0.059429 | 0.05943 | 0.05943 | 0.99021 | -0.18766 | 0.98932 | -0.20478 | 16.3268
51 | 0.0046335 | 0.001161 | -0.0046331 | -0.001161 | 3.4305e-07 | -2.2925e-08 | 0.0069644 | 0.0069645 | 0.0069645 | 0.98997 | -0.19225 | 0.98989 | -0.1938 | 1.9133
52 | 0.0041297 | 0.0010347 | -0.0041294 | -0.0010348 | 2.9571e-07 | -7.0581e-08 | 0.0062267 | 0.0062268 | 0.0062268 | 0.98686 | -0.25264 | 0.98678 | -0.25414 | 1.7107
53 | 0.0041294 | 0.0010348 | -0.004129 | -0.0010348 | 3.2854e-07 | -7.8362e-08 | 0.0062268 | 0.0062269 | 0.0062269 | 0.98678 | -0.25414 | 0.9867 | -0.25581 | 1.7107
54 | 0.0046331 | 0.001161 | -0.0046327 | -0.0011611 | 4.1547e-07 | -2.7703e-08 | 0.0069645 | 0.0069646 | 0.0069646 | 0.98989 | -0.1938 | 0.98979 | -0.19568 | 1.9134
55 | 0.0030308 | 0.00075949 | -0.0030307 | -0.00075957 | 7.7719e-08 | -7.707e-08 | 0.0045697 | 0.0045698 | 0.0045698 | 0.9869 | -0.25198 | 0.98687 | -0.25252 | 1.2554
56 | 0.012612 | 0.0031633 | -0.012608 | -0.003161 | 4.1785e-06 | 2.2804e-06 | 0.019014 | 0.019014 | 0.019014 | 0.98708 | -0.24836 | 0.98672 | -0.25531 | 5.2236
57 | 0.0019127 | 0.0004793 | -0.0019127 | -0.00047937 | 2.0167e-08 | -6.983e-08 | 0.0028829 | 0.002883 | 0.002883 | 0.98724 | -0.24521 | 0.98723 | -0.24543 | 0.79202
58 | 0.012608 | 0.003161 | -0.012606 | -0.0031599 | 2.0698e-06 | 1.1297e-06 | 0.019014 | 0.019014 | 0.019014 | 0.98672 | -0.25531 | 0.98655 | -0.25876 | 5.2237
59 | 0.011952 | 0.0029958 | -0.011951 | -0.0029954 | 7.3979e-07 | 3.9596e-07 | 0.018027 | 0.018027 | 0.018027 | 0.98655 | -0.25876 | 0.98648 | -0.26006 | 4.9524
60 | 0.011296 | 0.0028314 | -0.011295 | -0.0028309 | 1.0829e-06 | 5.6608e-07 | 0.01704 | 0.01704 | 0.01704 | 0.98648 | -0.26006 | 0.98638 | -0.26207 | 4.6813

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38048 | 0.096412

## res_load
| p_mw | q_mvar
0 | 0.018013 | 0.0045146
1 | 0.0032668 | 0.00081875
2 | 0.0094423 | 0.0023665
3 | 0.0045205 | 0.0011329
4 | 0.0093191 | 0.0023356
5 | 0.01608 | 0.0040301
6 | 0.019372 | 0.0048551
7 | 0.0031774 | 0.00079634
8 | 0.0012659 | 0.00031727
9 | 0.0011811 | 0.00029601
10 | 0.0029286 | 0.00073398
11 | 0.0010588 | 0.00026536
12 | 0.000939 | 0.00023534
13 | 0.00093915 | 0.00023537
14 | 0.0008733 | 0.00021887
15 | 0.0010588 | 0.00026536
16 | 0.0021945 | 0.00054999
17 | 0.00096903 | 0.00024286
18 | 0.00087329 | 0.00021887
19 | 0.0006224 | 0.00015599
20 | 0.010074 | 0.0025247
21 | 0.0026302 | 0.00065919
22 | 0.00077544 | 0.00019434
23 | 0.036371 | 0.0091154
24 | 0.01531 | 0.0038371
25 | 0.032006 | 0.0080215
26 | 0.0032157 | 0.00080592
27 | 0.075558 | 0.018937
28 | 0.0044778 | 0.0011222
29 | 0.0026782 | 0.00067123
30 | 0.0056321 | 0.0014115
31 | 0.014046 | 0.0035203
32 | 0.00062231 | 0.00015597
33 | 0.004129 | 0.0010348
34 | 0.0046327 | 0.0011611
35 | 0.045202 | 0.011329
36 | 0.00049441 | 0.00012391
37 | 0.0030307 | 0.00075957
38 | 0.00074751 | 0.00018734
39 | 0.0007478 | 0.00018742
40 | 0.0019127 | 0.00047937
41 | 0.0006546 | 0.00016406
42 | 0.00065436 | 0.000164
43 | 0.011295 | 0.0028309

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1