## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_247-3_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_247-3_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_247-3_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_247-3_0_6_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_247-3_0_6_node_48 | 0.4 | n |  | TRUE
5 | bus_LV_247-3_0_6_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_247-3_0_6_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_247-3_0_6_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_247-3_0_6_node_73 | 0.4 | n |  | TRUE
9 | bus_LV_247-3_0_6_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_247-3_0_6_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_247-3_0_6_node_96 | 0.4 | n |  | TRUE
12 | bus_LV_247-3_0_6_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_247-3_0_6_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_247-3_0_6_node_52 | 0.4 | n |  | TRUE
15 | bus_LV_247-3_0_6_node_97 | 0.4 | n |  | TRUE
16 | bus_LV_247-3_0_6_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_247-3_0_6_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_247-3_0_6_node_93 | 0.4 | n |  | TRUE
19 | bus_LV_247-3_0_6_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_247-3_0_6_node_94 | 0.4 | n |  | TRUE
21 | bus_LV_247-3_0_6_node_92 | 0.4 | n |  | TRUE
22 | bus_LV_247-3_0_6_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_247-3_0_6_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_247-3_0_6_node_99 | 0.4 | n |  | TRUE
25 | bus_LV_247-3_0_6_node_6 | 0.4 | n |  | TRUE
26 | bus_LV_247-3_0_6_node_10 | 0.4 | n |  | TRUE
27 | bus_LV_247-3_0_6_node_100 | 0.4 | n |  | TRUE
28 | bus_LV_247-3_0_6_node_4 | 0.4 | n |  | TRUE
29 | bus_LV_247-3_0_6_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_247-3_0_6_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_247-3_0_6_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_247-3_0_6_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_247-3_0_6_node_5 | 0.4 | n |  | TRUE
34 | bus_LV_247-3_0_6_node_7 | 0.4 | n |  | TRUE
35 | bus_LV_247-3_0_6_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_247-3_0_6_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_247-3_0_6_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_247-3_0_6_node_101 | 0.4 | n |  | TRUE
39 | bus_LV_247-3_0_6_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_247-3_0_6_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_247-3_0_6_node_98 | 0.4 | n |  | TRUE
42 | bus_LV_247-3_0_6_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_247-3_0_6_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_247-3_0_6_node_70 | 0.4 | n |  | TRUE
45 | bus_LV_247-3_0_6_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_247-3_0_6_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_247-3_0_6_node_86 | 0.4 | n |  | TRUE
48 | bus_LV_247-3_0_6_node_85 | 0.4 | n |  | TRUE
49 | bus_LV_247-3_0_6_node_74 | 0.4 | n |  | TRUE
50 | bus_LV_247-3_0_6_node_78 | 0.4 | n |  | TRUE
51 | bus_LV_247-3_0_6_node_75 | 0.4 | n |  | TRUE
52 | bus_LV_247-3_0_6_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_247-3_0_6_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_247-3_0_6_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_247-3_0_6_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_247-3_0_6_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_247-3_0_6_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_247-3_0_6_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_247-3_0_6_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_247-3_0_6_node_90 | 0.4 | n |  | TRUE
61 | bus_LV_247-3_0_6_node_88 | 0.4 | n |  | TRUE
62 | bus_LV_247-3_0_6_node_89 | 0.4 | n |  | TRUE
63 | bus_LV_247-3_0_6_node_32 | 0.4 | n |  | TRUE
64 | bus_LV_247-3_0_6_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_247-3_0_6_node_28 | 0.4 | n |  | TRUE
66 | bus_LV_247-3_0_6_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_247-3_0_6_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_247-3_0_6_node_35 | 0.4 | n |  | TRUE
69 | bus_LV_247-3_0_6_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_247-3_0_6_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_247-3_0_6_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_247-3_0_6_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_247-3_0_6_node_83 | 0.4 | n |  | TRUE
74 | bus_LV_247-3_0_6_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_247-3_0_6_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_247-3_0_6_node_81 | 0.4 | n |  | TRUE
77 | bus_LV_247-3_0_6_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_247-3_0_6_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_247-3_0_6_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_247-3_0_6_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_247-3_0_6_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_247-3_0_6_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_247-3_0_6_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_247-3_0_6_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_247-3_0_6_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_247-3_0_6_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_247-3_0_6_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_247-3_0_6_node_95 | 0.4 | n |  | TRUE
89 | bus_LV_247-3_0_6_node_103 | 0.4 | n |  | TRUE
90 | bus_LV_247-3_0_6_node_102 | 0.4 | n |  | TRUE
91 | bus_LV_247-3_0_6_node_105 | 0.4 | n |  | TRUE
92 | bus_MV_514_0_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_247-3_0_6_load_0 | 0 | 0.011671 | 0.0029251 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_247-3_0_6_load_48 | 4 | 0.010085 | 0.0025274 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_247-3_0_6_load_39 | 5 | 0.017389 | 0.0043582 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_247-3_0_6_load_73 | 8 | 0.010084 | 0.0025272 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_247-3_0_6_load_96 | 11 | 0.0061518 | 0.0015418 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_247-3_0_6_load_53 | 13 | 0.0075581 | 0.0018942 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_247-3_0_6_load_52 | 14 | 0.01321 | 0.0033106 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_247-3_0_6_load_97 | 15 | 0.0017074 | 0.00042793 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_247-3_0_6_load_93 | 18 | 0.010746 | 0.0026932 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_247-3_0_6_load_94 | 20 | 0.011233 | 0.0028154 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_247-3_0_6_load_92 | 21 | 0.029356 | 0.0073572 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_247-3_0_6_load_51 | 23 | 0.026837 | 0.006726 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_247-3_0_6_load_99 | 24 | 0.0024782 | 0.0006211 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_247-3_0_6_load_100 | 27 | 0.0058107 | 0.0014563 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_247-3_0_6_load_4 | 28 | 0.01078 | 0.0027017 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_247-3_0_6_load_38 | 30 | 0.0066917 | 0.0016771 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_247-3_0_6_load_43 | 31 | 0.0063112 | 0.0015817 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_247-3_0_6_load_47 | 32 | 0.0024794 | 0.00062139 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_247-3_0_6_load_41 | 35 | 0.004191 | 0.0010504 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_247-3_0_6_load_101 | 38 | 0.028019 | 0.0070222 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_247-3_0_6_load_50 | 40 | 0.010164 | 0.0025475 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_247-3_0_6_load_98 | 41 | 0.0065203 | 0.0016341 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_247-3_0_6_load_46 | 42 | 0.010373 | 0.0025998 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_247-3_0_6_load_79 | 45 | 0.0020358 | 0.00051021 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_247-3_0_6_load_64 | 46 | 0.0027093 | 0.00067902 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_247-3_0_6_load_86 | 47 | 0.0076245 | 0.0019109 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_247-3_0_6_load_85 | 48 | 0.00918 | 0.0023007 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_247-3_0_6_load_78 | 50 | 0.0040959 | 0.0010265 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_247-3_0_6_load_75 | 51 | 0.0046864 | 0.0011745 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_247-3_0_6_load_66 | 52 | 0.0028051 | 0.00070302 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_247-3_0_6_load_65 | 53 | 0.0063827 | 0.0015997 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_247-3_0_6_load_44 | 54 | 0.013166 | 0.0032996 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_247-3_0_6_load_36 | 56 | 0.0030881 | 0.00077395 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_247-3_0_6_load_42 | 57 | 0.0027535 | 0.00069008 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_247-3_0_6_load_55 | 58 | 0.00051887 | 0.00013004 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_247-3_0_6_load_54 | 59 | 0.00078557 | 0.00019688 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_247-3_0_6_load_88 | 61 | 0.036727 | 0.0092047 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_247-3_0_6_load_89 | 62 | 0.025866 | 0.0064825 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_247-3_0_6_load_40 | 64 | 0.003811 | 0.00095512 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_247-3_0_6_load_28 | 65 | 0.0032588 | 0.00081673 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_247-3_0_6_load_45 | 66 | 0.0057078 | 0.0014305 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_247-3_0_6_load_67 | 67 | 0.007789 | 0.0019521 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_247-3_0_6_load_35 | 68 | 0.0063467 | 0.0015906 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_247-3_0_6_load_58 | 71 | 0.0091495 | 0.0022931 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_247-3_0_6_load_83 | 73 | 0.0018827 | 0.00047185 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_247-3_0_6_load_62 | 74 | 0.0014325 | 0.00035901 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_247-3_0_6_load_60 | 75 | 0.00057461 | 0.00014401 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_247-3_0_6_load_81 | 76 | 0.00071644 | 0.00017956 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_247-3_0_6_load_63 | 77 | 0.0012551 | 0.00031456 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_247-3_0_6_load_68 | 78 | 0.0091724 | 0.0022988 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_247-3_0_6_load_69 | 79 | 0.012755 | 0.0031966 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_247-3_0_6_load_71 | 80 | 0.012523 | 0.0031385 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_247-3_0_6_load_72 | 81 | 0.0064038 | 0.0016049 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_247-3_0_6_load_87 | 83 | 0.0036579 | 0.00091675 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_247-3_0_6_load_77 | 84 | 0.0013409 | 0.00033605 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_247-3_0_6_load_76 | 85 | 0.0020977 | 0.00052573 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_247-3_0_6_load_84 | 86 | 0.0080855 | 0.0020264 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_247-3_0_6_load_82 | 87 | 0.0060884 | 0.0015259 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_247-3_0_6_load_102 | 90 | 0.012069 | 0.0030247 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_247-3_0_6_load_105 | 91 | 0.023837 | 0.0059742 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_247-3_0_6_line_0 |  | 0 | 1 | 0.012671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_247-3_0_6_line_1 |  | 1 | 2 | 0.02772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_247-3_0_6_line_2 |  | 2 | 3 | 0.045688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_247-3_0_6_line_3 |  | 2 | 4 | 0.012604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_247-3_0_6_line_4 |  | 3 | 5 | 0.027103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_247-3_0_6_line_5 |  | 5 | 36 | 0.036648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_247-3_0_6_line_6 |  | 6 | 7 | 0.025573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_247-3_0_6_line_7 |  | 6 | 8 | 0.028301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_247-3_0_6_line_8 |  | 7 | 42 | 0.038564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_247-3_0_6_line_9 |  | 7 | 43 | 0.012287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_247-3_0_6_line_10 |  | 8 | 44 | 0.011101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_247-3_0_6_line_11 |  | 9 | 10 | 0.051905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_247-3_0_6_line_12 |  | 9 | 11 | 0.021511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_247-3_0_6_line_13 |  | 10 | 15 | 0.03672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_247-3_0_6_line_14 |  | 10 | 13 | 0.0028169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_247-3_0_6_line_15 |  | 11 | 16 | 0.023754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_247-3_0_6_line_16 |  | 12 | 13 | 0.0012409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_247-3_0_6_line_17 |  | 12 | 14 | 0.033654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_247-3_0_6_line_18 |  | 15 | 26 | 0.044179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_247-3_0_6_line_19 |  | 16 | 17 | 0.10018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_247-3_0_6_line_20 |  | 17 | 18 | 0.010847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_247-3_0_6_line_21 |  | 18 | 21 | 0.01534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_247-3_0_6_line_22 |  | 19 | 20 | 0.031569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_247-3_0_6_line_23 |  | 19 | 21 | 0.038826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_247-3_0_6_line_24 |  | 20 | 60 | 0.0096403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_247-3_0_6_line_25 |  | 22 | 23 | 0.042375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_247-3_0_6_line_26 |  | 22 | 24 | 0.027597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_247-3_0_6_line_27 |  | 22 | 25 | 0.084722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_247-3_0_6_line_28 |  | 23 | 40 | 0.0077302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_247-3_0_6_line_29 |  | 24 | 41 | 0.0060046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_247-3_0_6_line_30 |  | 25 | 28 | 0.0081365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_247-3_0_6_line_31 |  | 26 | 27 | 0.028821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_247-3_0_6_line_32 |  | 27 | 41 | 0.0096466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_247-3_0_6_line_33 |  | 28 | 33 | 0.0053683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_247-3_0_6_line_34 |  | 29 | 30 | 0.031861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_247-3_0_6_line_35 |  | 29 | 31 | 0.014447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_247-3_0_6_line_36 |  | 29 | 32 | 0.03856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_247-3_0_6_line_37 |  | 30 | 56 | 0.0053185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_247-3_0_6_line_38 |  | 31 | 57 | 0.004856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_247-3_0_6_line_39 |  | 33 | 34 | 0.03305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_247-3_0_6_line_40 |  | 34 | 35 | 0.012262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_247-3_0_6_line_41 |  | 35 | 36 | 0.026937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_247-3_0_6_line_42 |  | 36 | 64 | 0.022681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_247-3_0_6_line_43 |  | 36 | 68 | 0.021242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_247-3_0_6_line_44 |  | 37 | 38 | 0.022261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_247-3_0_6_line_45 |  | 37 | 39 | 0.008514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_247-3_0_6_line_46 |  | 39 | 64 | 0.00034684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_247-3_0_6_line_47 |  | 42 | 55 | 0.014678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_247-3_0_6_line_48 |  | 43 | 65 | 0.018104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_247-3_0_6_line_49 |  | 44 | 81 | 0.026052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_247-3_0_6_line_50 |  | 44 | 78 | 0.028506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_247-3_0_6_line_51 |  | 45 | 46 | 0.024241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_247-3_0_6_line_52 |  | 46 | 77 | 0.015276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_247-3_0_6_line_53 |  | 47 | 48 | 0.0041934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_247-3_0_6_line_54 |  | 48 | 81 | 0.027879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_247-3_0_6_line_55 |  | 49 | 50 | 0.031737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_247-3_0_6_line_56 |  | 49 | 51 | 0.027034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_247-3_0_6_line_57 |  | 51 | 85 | 0.0062559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_247-3_0_6_line_58 |  | 52 | 53 | 0.0012842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_247-3_0_6_line_59 |  | 53 | 67 | 0.00011815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_247-3_0_6_line_60 |  | 54 | 55 | 0.017442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_247-3_0_6_line_61 |  | 55 | 66 | 0.018094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_247-3_0_6_line_62 |  | 55 | 63 | 0.037699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_247-3_0_6_line_63 |  | 56 | 68 | 0.0047758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_247-3_0_6_line_64 |  | 57 | 63 | 0.021791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_247-3_0_6_line_65 |  | 58 | 59 | 0.0047418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_247-3_0_6_line_66 |  | 59 | 69 | 0.021695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_247-3_0_6_line_67 |  | 60 | 88 | 0.052075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_247-3_0_6_line_68 |  | 60 | 62 | 0.021192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_247-3_0_6_line_69 |  | 61 | 62 | 0.064484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_247-3_0_6_line_70 |  | 66 | 67 | 0.027015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_247-3_0_6_line_71 |  | 69 | 70 | 0.021809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_247-3_0_6_line_72 |  | 69 | 71 | 0.017233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_247-3_0_6_line_73 |  | 70 | 72 | 0.018601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_247-3_0_6_line_74 |  | 70 | 73 | 0.025468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_247-3_0_6_line_75 |  | 72 | 74 | 0.016467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_247-3_0_6_line_76 |  | 72 | 75 | 0.018856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_247-3_0_6_line_77 |  | 73 | 76 | 0.0059787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_247-3_0_6_line_78 |  | 74 | 77 | 0.00065218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_247-3_0_6_line_79 |  | 76 | 87 | 0.016671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_247-3_0_6_line_80 |  | 78 | 79 | 0.022502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_247-3_0_6_line_81 |  | 79 | 80 | 0.017096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_247-3_0_6_line_82 |  | 80 | 82 | 0.016944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_247-3_0_6_line_83 |  | 82 | 83 | 0.013683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_247-3_0_6_line_84 |  | 82 | 84 | 0.0086532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_247-3_0_6_line_85 |  | 83 | 86 | 0.023246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_247-3_0_6_line_86 |  | 84 | 85 | 0.0060822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_247-3_0_6_line_87 |  | 86 | 87 | 0.016479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_247-3_0_6_line_88 |  | 88 | 89 | 0.082797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_247-3_0_6_line_89 |  | 88 | 90 | 0.019482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_247-3_0_6_line_90 |  | 89 | 91 | 0.01671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_247-3_0_6_trafo_39 | 0.63 MVA 20/0.4 kV | 92 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2675959.8774 | 1250075.5367 | 2675957.0711 | 1250084.1959 | 2675956.4948 | 1250087.7178
1 | 2675959.8774 | 1250075.5367 | 2675974.4959 | 1250077.1696 | 2675986.1464 | 1250071.2146
2 | 2676029.0539 | 1250075.2566 | 2676021.7778 | 1250075.6858 | 2676015.816 | 1250075.4759 | 2676008.4563 | 1250072.4126 | 2676003.7035 | 1250068.5933 | 2675997.8193 | 1250071.7535 | 2675986.1464 | 1250071.2146
3 | 2675986.1464 | 1250071.2146 | 2675986.0365 | 1250068.0109 | 2675978.5726 | 1250067.1813 | 2675978.4744 | 1250065.2955
4 | 2676029.0539 | 1250075.2566 | 2676032.4264 | 1250066.6158 | 2676035.4243 | 1250058.9264 | 2676035.7912 | 1250057.986 | 2676037.39 | 1250054.5929 | 2676041.0819 | 1250051.5036
5 | 2676066.3457 | 1250025.0873 | 2676049.4562 | 1250044.4959 | 2676041.0819 | 1250051.5036
6 | 2676109.6466 | 1249917.4314 | 2676118.8277 | 1249919.1839 | 2676129.2304 | 1249922.2308 | 2676134.2853 | 1249924.2861
7 | 2676134.2853 | 1249924.2861 | 2676142.8896 | 1249905.7164 | 2676143.6899 | 1249897.9224
8 | 2676109.6466 | 1249917.4314 | 2676103.0615 | 1249916.9465 | 2676097.4797 | 1249916.5302 | 2676071.1164 | 1249916.463
9 | 2676109.6466 | 1249917.4314 | 2676108.9755 | 1249929.6984
10 | 2676144.2946 | 1249886.8652 | 2676144.4689 | 1249890.3367 | 2676143.6899 | 1249897.9224
11 | 2675958.5781 | 1250199.8327 | 2675967.0787 | 1250200.4643 | 2675967.2556 | 1250197.2642 | 2675967.3672 | 1250194.4525 | 2675967.5405 | 1250192.1197 | 2675967.8216 | 1250188.4539 | 2675966.3861 | 1250187.357 | 2675962.498 | 1250184.405 | 2675965.2416 | 1250181.2267 | 2675969.403 | 1250176.4099 | 2675970.5602 | 1250175.0682 | 2675971.6714 | 1250173.7815 | 2675975.9785 | 1250168.7886 | 2675978.6147 | 1250165.7424
12 | 2675958.5781 | 1250199.8327 | 2675953.2379 | 1250199.4417 | 2675937.1442 | 1250198.0243
13 | 2675978.6147 | 1250165.7424 | 2675982.8514 | 1250168.5877 | 2675986.4532 | 1250170.3129 | 2675990.7798 | 1250172.0362 | 2675996.8479 | 1250173.3706 | 2676003.5492 | 1250174.1904 | 2676012.3523 | 1250174.1922 | 2676013.5492 | 1250174.14
14 | 2675978.6147 | 1250165.7424 | 2675976.3831 | 1250164.0234
15 | 2675913.4798 | 1250195.9633 | 2675914.8225 | 1250196.0583 | 2675937.1442 | 1250198.0243
16 | 2675975.4 | 1250163.2661 | 2675976.3831 | 1250164.0234
17 | 2675975.4 | 1250163.2661 | 2675968.8926 | 1250157.3339 | 2675950.0915 | 1250141.087
18 | 2676057.4983 | 1250170.235 | 2676051.9928 | 1250170.3644 | 2676043.5949 | 1250171.1462 | 2676034.8197 | 1250172.5013 | 2676027.9363 | 1250173.5137 | 2676013.5492 | 1250174.14
19 | 2675884.8913 | 1250253.5169 | 2675887.0315 | 1250232.6069 | 2675878.9322 | 1250231.3023 | 2675882.0834 | 1250192.1697 | 2675890.5611 | 1250192.8231 | 2675900.2046 | 1250194.9926 | 2675907.1665 | 1250195.5043 | 2675913.4798 | 1250195.9633
20 | 2675884.8913 | 1250253.5169 | 2675895.6632 | 1250254.7927
21 | 2675909.3148 | 1250257.8588 | 2675905.8823 | 1250257.433 | 2675906.0513 | 1250256.023 | 2675895.6632 | 1250254.7927
22 | 2675930.195 | 1250239.5646 | 2675959.5859 | 1250244.3002 | 2675961.357 | 1250244.6167
23 | 2675930.195 | 1250239.5646 | 2675927.2744 | 1250260.0866 | 2675909.3148 | 1250257.8588
24 | 2675970.8469 | 1250246.3126 | 2675961.357 | 1250244.6167
25 | 2676035.4241 | 1250108.9405 | 2675995.0583 | 1250108.0668 | 2675993.0615 | 1250107.9524
26 | 2676035.4241 | 1250108.9405 | 2676035.2266 | 1250128.4411 | 2676038.8027 | 1250135.7034
27 | 2676108.1638 | 1250094.5524 | 2676095.2304 | 1250095.1646 | 2676092.6273 | 1250096.799 | 2676083.2564 | 1250096.9121 | 2676083.3287 | 1250108.3325 | 2676035.4241 | 1250108.9405
28 | 2675985.344 | 1250107.5102 | 2675993.0615 | 1250107.9524
29 | 2676044.2748 | 1250138.1753 | 2676038.8027 | 1250135.7034 | 2676038.8027 | 1250135.7034
30 | 2676108.1638 | 1250094.5524 | 2676102.9309 | 1250088.3218
31 | 2676057.4983 | 1250170.235 | 2676057.4169 | 1250168.3437 | 2676048.0792 | 1250156.4708 | 2676043.5406 | 1250154.7891 | 2676043.8489 | 1250147.8126
32 | 2676044.2748 | 1250138.1753 | 2676044.2748 | 1250138.1753 | 2676043.8489 | 1250147.8126
33 | 2676099.4783 | 1250084.2111 | 2676102.9309 | 1250088.3218
34 | 2676027.6206 | 1249975.1543 | 2676033.7398 | 1249982.5159 | 2676047.4196 | 1250000.1126
35 | 2676027.6206 | 1249975.1543 | 2676037.5159 | 1249965.9634 | 2676038.2895 | 1249965.4253
36 | 2676027.6206 | 1249975.1543 | 2675999.124 | 1249991.8232 | 2675994.0309 | 1249994.0188
37 | 2676047.4196 | 1250000.1126 | 2676050.6839 | 1250004.3116
38 | 2676038.2895 | 1249965.4253 | 2676042.2759 | 1249962.6524
39 | 2676093.9755 | 1250052.384 | 2676095.9465 | 1250079.3845 | 2676099.4783 | 1250084.2111
40 | 2676093.9755 | 1250052.384 | 2676084.2326 | 1250044.939
41 | 2676066.3457 | 1250025.0873 | 2676077.3848 | 1250039.7063 | 2676084.2326 | 1250044.939
42 | 2676066.3457 | 1250025.0873 | 2676088.9846 | 1250023.7134
43 | 2676066.3457 | 1250025.0873 | 2676053.5713 | 1250008.1155
44 | 2676097.8699 | 1250023.6909 | 2676105.2841 | 1250023.686 | 2676119.9683 | 1250025.4981 | 2676120.0191 | 1250025.5006
45 | 2676097.8699 | 1250023.6909 | 2676089.3308 | 1250023.6924
46 | 2676088.9846 | 1250023.7134 | 2676089.3308 | 1250023.6924
47 | 2676056.4383 | 1249916.4256 | 2676071.1164 | 1249916.463
48 | 2676108.9755 | 1249929.6984 | 2676101.0605 | 1249932.2431 | 2676091.3154 | 1249933.1742
49 | 2676144.2946 | 1249886.8652 | 2676170.2829 | 1249885.0412
50 | 2676144.2946 | 1249886.8652 | 2676142.8941 | 1249858.3939
51 | 2676232.4837 | 1249829.2247 | 2676230.9776 | 1249840.59 | 2676229.0701 | 1249853.2235
52 | 2676234.4904 | 1249814.0814 | 2676232.4837 | 1249829.2247
53 | 2676198.1191 | 1249883.628 | 2676202.3119 | 1249883.5595
54 | 2676170.2829 | 1249885.0412 | 2676176.1626 | 1249884.6285 | 2676189.5904 | 1249883.7671 | 2676198.1191 | 1249883.628
55 | 2676124.9943 | 1249758.3351 | 2676128.4295 | 1249736.6078 | 2676137.4028 | 1249732.8203
56 | 2676124.9943 | 1249758.3351 | 2676139.637 | 1249781.0599
57 | 2676139.637 | 1249781.0599 | 2676139.6961 | 1249781.1515 | 2676140.4712 | 1249787.2493
58 | 2676053.8794 | 1249871.5752 | 2676053.6117 | 1249870.3192
59 | 2676053.8794 | 1249871.5752 | 2676053.904 | 1249871.6907
60 | 2676056.4383 | 1249916.4256 | 2676039.0054 | 1249915.8696
61 | 2676056.4383 | 1249916.4256 | 2676057.5339 | 1249898.3653
62 | 2676056.4383 | 1249916.4256 | 2676056.005 | 1249923.125 | 2676064.3827 | 1249933.9403 | 2676064.1607 | 1249942.9996 | 2676060.1647 | 1249950.2091
63 | 2676053.5713 | 1250008.1155 | 2676051.4468 | 1250005.2929 | 2676050.6839 | 1250004.3116
64 | 2676060.1647 | 1249950.2091 | 2676042.2759 | 1249962.6524
65 | 2676262.6297 | 1249764.9476 | 2676266.9614 | 1249766.8766
66 | 2676242.4563 | 1249757.1102 | 2676249.2726 | 1249758.9993 | 2676262.6297 | 1249764.9476
67 | 2675970.8469 | 1250246.3126 | 2675986.6345 | 1250249.1726 | 2675983.5096 | 1250265.6 | 2675980.5716 | 1250282.1744 | 2675980.095 | 1250284.6034
68 | 2675970.8469 | 1250246.3126 | 2675971.8604 | 1250240.2879 | 2675974.5954 | 1250225.4556
69 | 2676023.5489 | 1250199.2486 | 2676000.3149 | 1250197.9551 | 2675989.1458 | 1250201.1254 | 2675982.2542 | 1250207.4972 | 2675976.737 | 1250213.8422 | 2675974.5954 | 1250225.4556
70 | 2676057.5339 | 1249898.3653 | 2676057.7216 | 1249895.2712 | 2676056.3303 | 1249883.0778 | 2676053.904 | 1249871.6907
71 | 2676239.3697 | 1249778.6973 | 2676241.1279 | 1249767.0448 | 2676242.4563 | 1249757.1102
72 | 2676242.4563 | 1249757.1102 | 2676243.0503 | 1249752.6035 | 2676244.8889 | 1249740.0496
73 | 2676236.7393 | 1249797.1102 | 2676239.3697 | 1249778.6973
74 | 2676239.3697 | 1249778.6973 | 2676228.6932 | 1249778.1374 | 2676214.1182 | 1249780.5722
75 | 2676236.7393 | 1249797.1102 | 2676234.5761 | 1249813.4349
76 | 2676236.7393 | 1249797.1102 | 2676243.2094 | 1249798.3277 | 2676254.6956 | 1249802.6509
77 | 2676208.2212 | 1249781.5573 | 2676214.1182 | 1249780.5722
78 | 2676234.5761 | 1249813.4349 | 2676234.4904 | 1249814.0814
79 | 2676208.2212 | 1249781.5573 | 2676191.7785 | 1249784.3041
80 | 2676142.8941 | 1249858.3939 | 2676142.2832 | 1249845.9763 | 2676142.2937 | 1249835.9067
81 | 2676142.2937 | 1249835.9067 | 2676142.3115 | 1249818.8109
82 | 2676142.3292 | 1249801.8671 | 2676142.3115 | 1249818.8109
83 | 2676142.3292 | 1249801.8671 | 2676153.4647 | 1249793.915
84 | 2676142.3292 | 1249801.8671 | 2676141.2381 | 1249793.2829
85 | 2676175.5867 | 1249787.3621 | 2676164.7095 | 1249789.4455 | 2676155.116 | 1249792.7358 | 2676153.4647 | 1249793.915
86 | 2676140.4712 | 1249787.2493 | 2676141.2381 | 1249793.2829
87 | 2676191.7785 | 1249784.3041 | 2676190.0051 | 1249784.6004 | 2676175.5867 | 1249787.3621
88 | 2675966.1354 | 1250354.0862 | 2675960.6192 | 1250345.6427 | 2675961.6866 | 1250340.7084 | 2675962.2694 | 1250337.6469 | 2675972.0098 | 1250338.717 | 2675974.2041 | 1250320.6764 | 2675975.9546 | 1250306.0438 | 2675980.095 | 1250284.6034
89 | 2675980.095 | 1250284.6034 | 2675999.4637 | 1250286.7052
90 | 2675966.1354 | 1250354.0862 | 2675964.4501 | 1250370.7101

## bus_geodata
| x | y | coords
0 | 2675956.4948 | 1250087.7178
1 | 2675959.8774 | 1250075.5367
2 | 2675986.1464 | 1250071.2146
3 | 2676029.0539 | 1250075.2566
4 | 2675978.4744 | 1250065.2955
5 | 2676041.0819 | 1250051.5036
6 | 2676134.2853 | 1249924.2861
7 | 2676109.6466 | 1249917.4314
8 | 2676143.6899 | 1249897.9224
9 | 2675958.5781 | 1250199.8327
10 | 2675978.6147 | 1250165.7424
11 | 2675937.1442 | 1250198.0243
12 | 2675975.4 | 1250163.2661
13 | 2675976.3831 | 1250164.0234
14 | 2675950.0915 | 1250141.087
15 | 2676013.5492 | 1250174.14
16 | 2675913.4798 | 1250195.9633
17 | 2675884.8913 | 1250253.5169
18 | 2675895.6632 | 1250254.7927
19 | 2675930.195 | 1250239.5646
20 | 2675961.357 | 1250244.6167
21 | 2675909.3148 | 1250257.8588
22 | 2676035.4241 | 1250108.9405
23 | 2675993.0615 | 1250107.9524
24 | 2676038.8027 | 1250135.7034
25 | 2676108.1638 | 1250094.5524
26 | 2676057.4983 | 1250170.235
27 | 2676043.8489 | 1250147.8126
28 | 2676102.9309 | 1250088.3218
29 | 2676027.6206 | 1249975.1543
30 | 2676047.4196 | 1250000.1126
31 | 2676038.2895 | 1249965.4253
32 | 2675994.0309 | 1249994.0188
33 | 2676099.4783 | 1250084.2111
34 | 2676093.9755 | 1250052.384
35 | 2676084.2326 | 1250044.939
36 | 2676066.3457 | 1250025.0873
37 | 2676097.8699 | 1250023.6909
38 | 2676120.0191 | 1250025.5006
39 | 2676089.3308 | 1250023.6924
40 | 2675985.344 | 1250107.5102
41 | 2676044.2748 | 1250138.1753
42 | 2676071.1164 | 1249916.463
43 | 2676108.9755 | 1249929.6984
44 | 2676144.2946 | 1249886.8652
45 | 2676229.0701 | 1249853.2235
46 | 2676232.4837 | 1249829.2247
47 | 2676202.3119 | 1249883.5595
48 | 2676198.1191 | 1249883.628
49 | 2676124.9943 | 1249758.3351
50 | 2676137.4028 | 1249732.8203
51 | 2676139.637 | 1249781.0599
52 | 2676053.6117 | 1249870.3192
53 | 2676053.8794 | 1249871.5752
54 | 2676039.0054 | 1249915.8696
55 | 2676056.4383 | 1249916.4256
56 | 2676050.6839 | 1250004.3116
57 | 2676042.2759 | 1249962.6524
58 | 2676266.9614 | 1249766.8766
59 | 2676262.6297 | 1249764.9476
60 | 2675970.8469 | 1250246.3126
61 | 2676023.5489 | 1250199.2486
62 | 2675974.5954 | 1250225.4556
63 | 2676060.1647 | 1249950.2091
64 | 2676088.9846 | 1250023.7134
65 | 2676091.3154 | 1249933.1742
66 | 2676057.5339 | 1249898.3653
67 | 2676053.904 | 1249871.6907
68 | 2676053.5713 | 1250008.1155
69 | 2676242.4563 | 1249757.1102
70 | 2676239.3697 | 1249778.6973
71 | 2676244.8889 | 1249740.0496
72 | 2676236.7393 | 1249797.1102
73 | 2676214.1182 | 1249780.5722
74 | 2676234.5761 | 1249813.4349
75 | 2676254.6956 | 1249802.6509
76 | 2676208.2212 | 1249781.5573
77 | 2676234.4904 | 1249814.0814
78 | 2676142.8941 | 1249858.3939
79 | 2676142.2937 | 1249835.9067
80 | 2676142.3115 | 1249818.8109
81 | 2676170.2829 | 1249885.0412
82 | 2676142.3292 | 1249801.8671
83 | 2676153.4647 | 1249793.915
84 | 2676141.2381 | 1249793.2829
85 | 2676140.4712 | 1249787.2493
86 | 2676175.5867 | 1249787.3621
87 | 2676191.7785 | 1249784.3041
88 | 2675980.095 | 1250284.6034
89 | 2675966.1354 | 1250354.0862
90 | 2675999.4637 | 1250286.7052
91 | 2675964.4501 | 1250370.7101
92 | 2676029.0539 | 1250075.2566

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99813 | -0.035889 | 0.011671 | 0.0029251
1 | 0.99827 | -0.033302 | 0 | 0
2 | 0.99856 | -0.027645 | 0 | 0
3 | 0.99946 | -0.010285 | 0 | 0
4 | 0.99845 | -0.029867 | 0.010085 | 0.0025274
5 | 1 | 0 | -0.50415 | -0.12885
6 | 0.98678 | -0.25247 | 0 | 0
7 | 0.9896 | -0.19821 | 0 | 0
8 | 0.98366 | -0.31288 | 0.010084 | 0.0025272
9 | 0.98268 | -0.3315 | 0 | 0
10 | 0.98418 | -0.3023 | 0 | 0
11 | 0.98205 | -0.34362 | 0.0061518 | 0.0015418
12 | 0.98411 | -0.30365 | 0 | 0
13 | 0.98413 | -0.30336 | 0.0075581 | 0.0018942
14 | 0.9837 | -0.31166 | 0.01321 | 0.0033106
15 | 0.98539 | -0.27897 | 0.0017074 | 0.00042793
16 | 0.98139 | -0.3565 | 0 | 0
17 | 0.9786 | -0.41099 | 0 | 0
18 | 0.9783 | -0.41691 | 0.010746 | 0.0026932
19 | 0.97711 | -0.44023 | 0 | 0
20 | 0.97646 | -0.45289 | 0.011233 | 0.0028154
21 | 0.9779 | -0.42469 | 0.029356 | 0.0073572
22 | 0.98934 | -0.20283 | 0 | 0
23 | 0.9879 | -0.23079 | 0.026837 | 0.006726
24 | 0.98835 | -0.22185 | 0.0024782 | 0.0006211
25 | 0.99296 | -0.13357 | 0 | 0
26 | 0.98685 | -0.25069 | 0 | 0
27 | 0.98781 | -0.23229 | 0.0058107 | 0.0014563
28 | 0.99331 | -0.12695 | 0.01078 | 0.0027017
29 | 0.99462 | -0.10213 | 0 | 0
30 | 0.99568 | -0.081948 | 0.0066917 | 0.0016771
31 | 0.99414 | -0.11116 | 0.0063112 | 0.0015817
32 | 0.99453 | -0.10381 | 0.0024794 | 0.00062139
33 | 0.99355 | -0.12238 | 0 | 0
34 | 0.99502 | -0.094273 | 0 | 0
35 | 0.99557 | -0.083868 | 0.004191 | 0.0010504
36 | 0.9968 | -0.060652 | 0 | 0
37 | 0.99591 | -0.077687 | 0 | 0
38 | 0.99534 | -0.088654 | 0.028019 | 0.0070222
39 | 0.99613 | -0.073496 | 0 | 0
40 | 0.98783 | -0.23219 | 0.010164 | 0.0025475
41 | 0.98814 | -0.22594 | 0.0065203 | 0.0016341
42 | 0.99178 | -0.15639 | 0.010373 | 0.0025998
43 | 0.98956 | -0.19892 | 0 | 0
44 | 0.98254 | -0.33466 | 0 | 0
45 | 0.97394 | -0.50318 | 0.0020358 | 0.00051021
46 | 0.97398 | -0.50227 | 0.0027093 | 0.00067902
47 | 0.98151 | -0.35463 | 0.0076245 | 0.0019109
48 | 0.98154 | -0.35405 | 0.00918 | 0.0023007
49 | 0.97654 | -0.45184 | 0 | 0
50 | 0.97642 | -0.45421 | 0.0040959 | 0.0010265
51 | 0.97665 | -0.44981 | 0.0046864 | 0.0011745
52 | 0.99134 | -0.16498 | 0.0028051 | 0.00070302
53 | 0.99134 | -0.16492 | 0.0063827 | 0.0015997
54 | 0.99193 | -0.15357 | 0.013166 | 0.0032996
55 | 0.99214 | -0.1495 | 0 | 0
56 | 0.99586 | -0.078459 | 0.0030881 | 0.00077395
57 | 0.99399 | -0.1141 | 0.0027535 | 0.00069008
58 | 0.97407 | -0.50064 | 0.00051887 | 0.00013004
59 | 0.97407 | -0.50059 | 0.00078557 | 0.00019688
60 | 0.97629 | -0.45637 | 0 | 0
61 | 0.97346 | -0.51196 | 0.036727 | 0.0092047
62 | 0.97567 | -0.4685 | 0.025866 | 0.0064825
63 | 0.99331 | -0.12705 | 0 | 0
64 | 0.99614 | -0.073325 | 0.003811 | 0.00095512
65 | 0.9895 | -0.19997 | 0.0032588 | 0.00081673
66 | 0.99176 | -0.15677 | 0.0057078 | 0.0014305
67 | 0.99135 | -0.1649 | 0.007789 | 0.0019521
68 | 0.99603 | -0.075275 | 0.0063467 | 0.0015906
69 | 0.97409 | -0.50007 | 0 | 0
70 | 0.97431 | -0.49588 | 0 | 0
71 | 0.97395 | -0.50297 | 0.0091495 | 0.0022931
72 | 0.97417 | -0.49862 | 0 | 0
73 | 0.97474 | -0.48725 | 0.0018827 | 0.00047185
74 | 0.97405 | -0.50087 | 0.0014325 | 0.00035901
75 | 0.97416 | -0.49882 | 0.00057461 | 0.00014401
76 | 0.97486 | -0.48502 | 0.00071644 | 0.00017956
77 | 0.97405 | -0.50094 | 0.0012551 | 0.00031456
78 | 0.98027 | -0.3788 | 0.0091724 | 0.0022988
79 | 0.97867 | -0.41004 | 0.012755 | 0.0031966
80 | 0.97766 | -0.42986 | 0.012523 | 0.0031385
81 | 0.98198 | -0.34558 | 0.0064038 | 0.0016049
82 | 0.97686 | -0.44567 | 0 | 0
83 | 0.97636 | -0.45539 | 0.0036579 | 0.00091675
84 | 0.97676 | -0.4476 | 0.0013409 | 0.00033605
85 | 0.9767 | -0.44881 | 0.0020977 | 0.00052573
86 | 0.9756 | -0.47038 | 0.0080855 | 0.0020264
87 | 0.97518 | -0.47858 | 0.0060884 | 0.0015259
88 | 0.97542 | -0.47348 | 0 | 0
89 | 0.97358 | -0.50971 | 0 | 0
90 | 0.9752 | -0.47779 | 0.012069 | 0.0030247
91 | 0.97321 | -0.51703 | 0.023837 | 0.0059742
92 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.011671 | -0.0029251 | 0.011673 | 0.0029259 | 1.4386e-06 | 7.5505e-07 | 0.0174 | 0.0174 | 0.0174 | 0.99813 | -0.035889 | 0.99827 | -0.033302 | 4.7801
1 | -0.011673 | -0.0029259 | 0.011676 | 0.0029275 | 3.147e-06 | 1.6516e-06 | 0.0174 | 0.017399 | 0.0174 | 0.99827 | -0.033302 | 0.99856 | -0.027645 | 4.7801
2 | -0.021762 | -0.0054555 | 0.02178 | 0.0054664 | 1.8017e-05 | 1.0933e-05 | 0.032429 | 0.032428 | 0.032429 | 0.99856 | -0.027645 | 0.99946 | -0.010285 | 8.909
3 | 0.010086 | 0.0025279 | -0.010085 | -0.0025274 | 1.0676e-06 | 5.1841e-07 | 0.015029 | 0.015029 | 0.015029 | 0.99856 | -0.027645 | 0.99845 | -0.029867 | 4.1289
4 | -0.02178 | -0.0054664 | 0.02179 | 0.0054729 | 1.0688e-05 | 6.485e-06 | 0.032428 | 0.032428 | 0.032428 | 0.99946 | -0.010285 | 1 | 0 | 8.9089
5 | 0.48071 | 0.12338 | -0.4793 | -0.12248 | 0.0014104 | 0.00090025 | 0.71633 | 0.71633 | 0.71633 | 1 | 0 | 0.9968 | -0.060652 | 39.3589
6 | -0.11981 | -0.030392 | 0.12012 | 0.030592 | 0.00031347 | 0.00020029 | 0.1808 | 0.1808 | 0.1808 | 0.98678 | -0.25247 | 0.9896 | -0.19821 | 49.6696
7 | 0.11981 | 0.030392 | -0.11946 | -0.03017 | 0.00034691 | 0.00022166 | 0.1808 | 0.1808 | 0.1808 | 0.98678 | -0.25247 | 0.98366 | -0.31288 | 49.6696
8 | -0.12338 | -0.031409 | 0.12363 | 0.031567 | 0.00024934 | 0.00015858 | 0.1857 | 0.1857 | 0.1857 | 0.9896 | -0.19821 | 0.99178 | -0.15639 | 25.5079
9 | 0.0032591 | 0.00081651 | -0.003259 | -0.0008166 | 1.1065e-07 | -8.7038e-08 | 0.0049004 | 0.0049005 | 0.0049005 | 0.9896 | -0.19821 | 0.98956 | -0.19892 | 1.3463
10 | 0.10938 | 0.027643 | -0.10926 | -0.02757 | 0.00011409 | 7.2875e-05 | 0.16554 | 0.16554 | 0.16554 | 0.98366 | -0.31288 | 0.98254 | -0.33466 | 45.479
11 | -0.15702 | -0.039733 | 0.15724 | 0.039871 | 0.00022032 | 0.00013771 | 0.2379 | 0.2379 | 0.2379 | 0.98268 | -0.3315 | 0.98418 | -0.3023 | 13.0713
12 | 0.15702 | 0.039733 | -0.15692 | -0.039676 | 9.1304e-05 | 5.7073e-05 | 0.2379 | 0.2379 | 0.2379 | 0.98268 | -0.3315 | 0.98205 | -0.34362 | 13.0713
13 | -0.17801 | -0.045079 | 0.17821 | 0.045204 | 0.00019973 | 0.00012549 | 0.26931 | 0.2693 | 0.26931 | 0.98418 | -0.3023 | 0.98539 | -0.27897 | 14.797
14 | 0.020774 | 0.0052084 | -0.020773 | -0.0052078 | 1.0422e-06 | 6.3119e-07 | 0.03141 | 0.03141 | 0.03141 | 0.98418 | -0.3023 | 0.98413 | -0.30336 | 8.629
15 | 0.15077 | 0.038134 | -0.15068 | -0.038076 | 9.3081e-05 | 5.807e-05 | 0.22858 | 0.22858 | 0.22858 | 0.98205 | -0.34362 | 0.98139 | -0.3565 | 12.5592
16 | -0.013215 | -0.0033134 | 0.013215 | 0.0033135 | 1.858e-07 | 1.0314e-07 | 0.019982 | 0.019982 | 0.019982 | 0.98411 | -0.30365 | 0.98413 | -0.30336 | 5.4895
17 | 0.013215 | 0.0033134 | -0.01321 | -0.0033106 | 5.0389e-06 | 2.7974e-06 | 0.019982 | 0.019982 | 0.019982 | 0.98411 | -0.30365 | 0.9837 | -0.31166 | 5.4895
18 | -0.17992 | -0.045632 | 0.18016 | 0.045786 | 0.00024493 | 0.00015393 | 0.27188 | 0.27188 | 0.27188 | 0.98539 | -0.27897 | 0.98685 | -0.25069 | 14.9386
19 | 0.15068 | 0.038076 | -0.15029 | -0.037831 | 0.00039256 | 0.00024493 | 0.22858 | 0.22858 | 0.22858 | 0.98139 | -0.3565 | 0.9786 | -0.41099 | 12.5593
20 | 0.15029 | 0.037831 | -0.15024 | -0.037804 | 4.2506e-05 | 2.6523e-05 | 0.22858 | 0.22858 | 0.22858 | 0.9786 | -0.41099 | 0.9783 | -0.41691 | 12.5593
21 | 0.1395 | 0.035111 | -0.13945 | -0.035079 | 5.1821e-05 | 3.2203e-05 | 0.21223 | 0.21223 | 0.21223 | 0.9783 | -0.41691 | 0.9779 | -0.42469 | 11.6613
22 | 0.11001 | 0.027672 | -0.10994 | -0.027631 | 6.6482e-05 | 4.0573e-05 | 0.16757 | 0.16757 | 0.16757 | 0.97711 | -0.44023 | 0.97646 | -0.45289 | 9.207
23 | -0.11001 | -0.027672 | 0.11009 | 0.027722 | 8.1763e-05 | 4.9895e-05 | 0.16757 | 0.16757 | 0.16757 | 0.97711 | -0.44023 | 0.9779 | -0.42469 | 9.207
24 | 0.098709 | 0.024816 | -0.098693 | -0.024806 | 1.6366e-05 | 9.8712e-06 | 0.15045 | 0.15045 | 0.15045 | 0.97646 | -0.45289 | 0.97629 | -0.45637 | 8.2665
25 | 0.037052 | 0.0093049 | -0.037002 | -0.0092738 | 4.9361e-05 | 3.1048e-05 | 0.055734 | 0.055734 | 0.055734 | 0.98934 | -0.20283 | 0.9879 | -0.23079 | 15.3116
26 | 0.19541 | 0.049771 | -0.19523 | -0.049658 | 0.00017912 | 0.00011287 | 0.29418 | 0.29418 | 0.29418 | 0.98934 | -0.20283 | 0.98835 | -0.22185 | 16.1639
27 | -0.23246 | -0.059076 | 0.23323 | 0.059568 | 0.00077801 | 0.00049247 | 0.34992 | 0.34991 | 0.34992 | 0.98934 | -0.20283 | 0.99296 | -0.13357 | 19.2262
28 | 0.010165 | 0.0025478 | -0.010164 | -0.0025475 | 6.7958e-07 | 3.3596e-07 | 0.015311 | 0.015311 | 0.015311 | 0.9879 | -0.23079 | 0.98783 | -0.23219 | 4.2064
29 | 0.19275 | 0.049037 | -0.19271 | -0.049013 | 3.7992e-05 | 2.393e-05 | 0.29045 | 0.29045 | 0.29045 | 0.98835 | -0.22185 | 0.98814 | -0.22594 | 15.9589
30 | -0.23323 | -0.059568 | 0.23331 | 0.059616 | 7.4718e-05 | 4.7293e-05 | 0.34991 | 0.34991 | 0.34991 | 0.99296 | -0.13357 | 0.99331 | -0.12695 | 19.2261
31 | -0.18016 | -0.045786 | 0.18032 | 0.045887 | 0.00015978 | 0.00010042 | 0.27188 | 0.27188 | 0.27188 | 0.98685 | -0.25069 | 0.98781 | -0.23229 | 14.9386
32 | -0.18613 | -0.047343 | 0.18619 | 0.047379 | 5.6979e-05 | 3.5849e-05 | 0.28063 | 0.28063 | 0.28063 | 0.98781 | -0.23229 | 0.98814 | -0.22594 | 15.4195
33 | -0.24409 | -0.062317 | 0.24414 | 0.062351 | 5.3952e-05 | 3.4182e-05 | 0.36606 | 0.36606 | 0.36606 | 0.99331 | -0.12695 | 0.99355 | -0.12238 | 20.1134
34 | -0.18185 | -0.046329 | 0.18203 | 0.04644 | 0.00017722 | 0.00011135 | 0.27233 | 0.27233 | 0.27233 | 0.99462 | -0.10213 | 0.99568 | -0.081948 | 14.9633
35 | 0.17937 | 0.045708 | -0.1793 | -0.045659 | 7.8188e-05 | 4.9103e-05 | 0.26862 | 0.26862 | 0.26862 | 0.99462 | -0.10213 | 0.99414 | -0.11116 | 14.7595
36 | 0.0024796 | 0.00062102 | -0.0024794 | -0.00062139 | 1.9898e-07 | -3.7306e-07 | 0.0037095 | 0.0037096 | 0.0037096 | 0.99462 | -0.10213 | 0.99453 | -0.10381 | 1.0191
37 | -0.18872 | -0.048117 | 0.18875 | 0.048137 | 3.1796e-05 | 2.0004e-05 | 0.28233 | 0.28233 | 0.28233 | 0.99568 | -0.081948 | 0.99586 | -0.078459 | 15.5127
38 | 0.17298 | 0.044077 | -0.17296 | -0.044062 | 2.4464e-05 | 1.5342e-05 | 0.25918 | 0.25918 | 0.25918 | 0.99414 | -0.11116 | 0.99399 | -0.1141 | 14.2405
39 | -0.24414 | -0.062351 | 0.24448 | 0.062562 | 0.00033216 | 0.00021044 | 0.36606 | 0.36606 | 0.36606 | 0.99355 | -0.12238 | 0.99502 | -0.094273 | 20.1133
40 | -0.24448 | -0.062562 | 0.2446 | 0.06264 | 0.00012323 | 7.8072e-05 | 0.36606 | 0.36606 | 0.36606 | 0.99502 | -0.094273 | 0.99557 | -0.083868 | 20.1133
41 | -0.24879 | -0.06369 | 0.24907 | 0.063868 | 0.00028006 | 0.00017749 | 0.37233 | 0.37233 | 0.37233 | 0.99557 | -0.083868 | 0.9968 | -0.060652 | 20.4575
42 | 0.03187 | 0.0080021 | -0.031851 | -0.0079901 | 1.9255e-05 | 1.2028e-05 | 0.04758 | 0.04758 | 0.04758 | 0.9968 | -0.060652 | 0.99614 | -0.073325 | 13.0716
43 | 0.19836 | 0.050609 | -0.19822 | -0.05052 | 0.00013999 | 8.821e-05 | 0.29643 | 0.29643 | 0.29643 | 0.9968 | -0.060652 | 0.99603 | -0.075275 | 16.2872
44 | 0.028034 | 0.0070313 | -0.028019 | -0.0070222 | 1.4647e-05 | 9.0845e-06 | 0.041888 | 0.041888 | 0.041888 | 0.99591 | -0.077687 | 0.99534 | -0.088654 | 11.5076
45 | -0.028034 | -0.0070313 | 0.028039 | 0.0070348 | 5.6019e-06 | 3.4744e-06 | 0.041888 | 0.041888 | 0.041888 | 0.99591 | -0.077687 | 0.99613 | -0.073496 | 11.5076
46 | -0.028039 | -0.0070348 | 0.02804 | 0.0070349 | 2.2821e-07 | 1.4154e-07 | 0.041888 | 0.041888 | 0.041888 | 0.99613 | -0.073496 | 0.99614 | -0.073325 | 11.5076
47 | -0.134 | -0.034167 | 0.13405 | 0.034195 | 4.4591e-05 | 2.7591e-05 | 0.20126 | 0.20126 | 0.20126 | 0.99178 | -0.15639 | 0.99214 | -0.1495 | 11.0583
48 | 0.003259 | 0.0008166 | -0.0032588 | -0.00081673 | 1.6303e-07 | -1.2822e-07 | 0.0049005 | 0.0049006 | 0.0049006 | 0.98956 | -0.19892 | 0.9895 | -0.19997 | 1.3463
49 | 0.023227 | 0.005828 | -0.023215 | -0.0058206 | 1.2091e-05 | 7.4084e-06 | 0.03518 | 0.03518 | 0.03518 | 0.98254 | -0.33466 | 0.98198 | -0.34558 | 9.6647
50 | 0.086037 | 0.021742 | -0.085855 | -0.021626 | 0.00018167 | 0.00011591 | 0.13036 | 0.13036 | 0.13036 | 0.98254 | -0.33466 | 0.98027 | -0.3788 | 35.8144
51 | -0.0020358 | -0.00051021 | 0.0020359 | 0.00050997 | 8.794e-08 | -2.454e-07 | 0.0031103 | 0.0031102 | 0.0031103 | 0.97394 | -0.50318 | 0.97398 | -0.50227 | 0.85449
52 | -0.0047452 | -0.001189 | 0.0047455 | 0.001189 | 3.0105e-07 | 2.5434e-09 | 0.0072494 | 0.0072494 | 0.0072494 | 0.97398 | -0.50227 | 0.97405 | -0.50094 | 1.9916
53 | -0.0076245 | -0.0019109 | 0.0076247 | 0.001911 | 2.1011e-07 | 8.1469e-08 | 0.011559 | 0.011559 | 0.011559 | 0.98151 | -0.35463 | 0.98154 | -0.35405 | 3.1756
54 | -0.016805 | -0.0042117 | 0.016812 | 0.0042157 | 6.7854e-06 | 3.9901e-06 | 0.025476 | 0.025476 | 0.025476 | 0.98154 | -0.35405 | 0.98198 | -0.34558 | 6.9989
55 | 0.0040964 | 0.0010264 | -0.0040959 | -0.0010265 | 4.6369e-07 | -1.0025e-07 | 0.0062418 | 0.0062419 | 0.0062419 | 0.97654 | -0.45184 | 0.97642 | -0.45421 | 1.7148
56 | -0.0040964 | -0.0010264 | 0.0040968 | 0.0010263 | 3.9496e-07 | -8.5484e-08 | 0.0062418 | 0.0062417 | 0.0062418 | 0.97654 | -0.45184 | 0.97665 | -0.44981 | 1.7148
57 | -0.0087832 | -0.0022009 | 0.0087836 | 0.0022011 | 4.201e-07 | 1.9058e-07 | 0.013382 | 0.013382 | 0.013382 | 0.97665 | -0.44981 | 0.9767 | -0.44881 | 3.6764
58 | -0.0028051 | -0.00070302 | 0.0028051 | 0.00070301 | 8.5372e-09 | -1.1093e-08 | 0.0042105 | 0.0042105 | 0.0042105 | 0.99134 | -0.16498 | 0.99134 | -0.16492 | 1.1567
59 | -0.0091878 | -0.0023027 | 0.0091878 | 0.0023027 | 8.4269e-09 | 3.8703e-09 | 0.013791 | 0.013791 | 0.013791 | 0.99134 | -0.16492 | 0.99135 | -0.1649 | 3.7887
60 | -0.013166 | -0.0032996 | 0.013168 | 0.003301 | 2.5512e-06 | 1.4076e-06 | 0.01975 | 0.01975 | 0.01975 | 0.99193 | -0.15357 | 0.99214 | -0.1495 | 5.4258
61 | 0.022699 | 0.005694 | -0.022691 | -0.0056892 | 7.8648e-06 | 4.7999e-06 | 0.034046 | 0.034046 | 0.034046 | 0.99214 | -0.1495 | 0.99176 | -0.15677 | 9.3533
62 | -0.16992 | -0.04319 | 0.1701 | 0.043305 | 0.00018393 | 0.00011528 | 0.25506 | 0.25506 | 0.25506 | 0.99214 | -0.1495 | 0.99331 | -0.12705 | 14.0141
63 | -0.19184 | -0.048911 | 0.19187 | 0.04893 | 2.9492e-05 | 1.8564e-05 | 0.28695 | 0.28695 | 0.28695 | 0.99586 | -0.078459 | 0.99603 | -0.075275 | 15.7663
64 | 0.17021 | 0.043372 | -0.1701 | -0.043305 | 0.00010632 | 6.6632e-05 | 0.25505 | 0.25506 | 0.25506 | 0.99399 | -0.1141 | 0.99331 | -0.12705 | 14.014
65 | -0.00051887 | -0.00013004 | 0.00051887 | 0.00012998 | 1.1172e-09 | -5.8309e-08 | 0.00079264 | 0.00079262 | 0.00079264 | 0.97407 | -0.50064 | 0.97407 | -0.50059 | 0.21776
66 | -0.0013044 | -0.00032686 | 0.0013045 | 0.00032662 | 3.2303e-08 | -2.4939e-07 | 0.0019927 | 0.0019926 | 0.0019927 | 0.97407 | -0.50059 | 0.97409 | -0.50007 | 0.54744
67 | 0.035987 | 0.0090482 | -0.035958 | -0.0090307 | 2.9387e-05 | 1.7507e-05 | 0.054861 | 0.054861 | 0.054861 | 0.97629 | -0.45637 | 0.97542 | -0.47348 | 7.5359
68 | 0.062706 | 0.015758 | -0.062669 | -0.015735 | 3.6306e-05 | 2.2706e-05 | 0.095589 | 0.095589 | 0.095589 | 0.97629 | -0.45637 | 0.97567 | -0.4685 | 13.1303
69 | -0.036727 | -0.0092047 | 0.036804 | 0.0092527 | 7.6214e-05 | 4.7973e-05 | 0.056141 | 0.05614 | 0.056141 | 0.97346 | -0.51196 | 0.97567 | -0.4685 | 15.4233
70 | 0.016983 | 0.0042586 | -0.016977 | -0.0042548 | 6.5783e-06 | 3.8616e-06 | 0.025482 | 0.025482 | 0.025482 | 0.99176 | -0.15677 | 0.99135 | -0.1649 | 7.0006
71 | -0.010455 | -0.0026203 | 0.010457 | 0.0026214 | 2.0861e-06 | 1.0636e-06 | 0.015971 | 0.015971 | 0.015971 | 0.97409 | -0.50007 | 0.97431 | -0.49588 | 4.3877
72 | 0.0091508 | 0.0022937 | -0.0091495 | -0.0022931 | 1.2628e-06 | 5.9371e-07 | 0.013979 | 0.013979 | 0.013979 | 0.97409 | -0.50007 | 0.97395 | -0.50297 | 3.8403
73 | 0.0080096 | 0.0020071 | -0.0080085 | -0.0020067 | 1.0438e-06 | 4.3639e-07 | 0.012233 | 0.012233 | 0.012233 | 0.97431 | -0.49588 | 0.97417 | -0.49862 | 3.3606
74 | -0.018467 | -0.0046284 | 0.018474 | 0.004633 | 7.597e-06 | 4.5447e-06 | 0.028204 | 0.028204 | 0.028204 | 0.97431 | -0.49588 | 0.97474 | -0.48725 | 7.7483
75 | 0.0074339 | 0.0018629 | -0.0074331 | -0.0018626 | 7.9622e-07 | 3.0458e-07 | 0.011355 | 0.011355 | 0.011355 | 0.97417 | -0.49862 | 0.97405 | -0.50087 | 3.1195
76 | 0.00057462 | 0.00014378 | -0.00057461 | -0.00014401 | 5.447e-09 | -2.3128e-07 | 0.00087763 | 0.00087771 | 0.00087771 | 0.97417 | -0.49862 | 0.97416 | -0.49882 | 0.24113
77 | -0.020357 | -0.0051048 | 0.020359 | 0.0051062 | 2.1654e-06 | 1.3113e-06 | 0.031078 | 0.031078 | 0.031078 | 0.97474 | -0.48725 | 0.97486 | -0.48502 | 8.5378
78 | 0.0060006 | 0.0015036 | -0.0060006 | -0.0015036 | 2.0551e-08 | 5.0346e-09 | 0.0091667 | 0.0091667 | 0.0091667 | 0.97405 | -0.50087 | 0.97405 | -0.50094 | 2.5183
79 | -0.021076 | -0.0052857 | 0.021082 | 0.0052896 | 6.4702e-06 | 3.933e-06 | 0.032171 | 0.032171 | 0.032171 | 0.97486 | -0.48502 | 0.97518 | -0.47858 | 8.8383
80 | 0.076683 | 0.019327 | -0.076568 | -0.019254 | 0.00011441 | 7.294e-05 | 0.11644 | 0.11644 | 0.11644 | 0.98027 | -0.3788 | 0.97867 | -0.41004 | 31.9893
81 | 0.063814 | 0.016058 | -0.063753 | -0.016019 | 6.038e-05 | 3.8429e-05 | 0.097048 | 0.097048 | 0.097048 | 0.97867 | -0.41004 | 0.97766 | -0.42986 | 26.6616
82 | 0.05123 | 0.012881 | -0.051192 | -0.012856 | 3.8646e-05 | 2.4521e-05 | 0.077988 | 0.077988 | 0.077988 | 0.97766 | -0.42986 | 0.97686 | -0.44567 | 21.4254
83 | 0.038968 | 0.0097925 | -0.03895 | -0.0097811 | 1.8086e-05 | 1.1404e-05 | 0.059368 | 0.059368 | 0.059368 | 0.97686 | -0.44567 | 0.97636 | -0.45539 | 16.3099
84 | 0.012224 | 0.0030638 | -0.012223 | -0.0030632 | 1.1251e-06 | 6.1174e-07 | 0.01862 | 0.01862 | 0.01862 | 0.97686 | -0.44567 | 0.97676 | -0.4476 | 5.1155
85 | 0.035292 | 0.0088644 | -0.035267 | -0.0088485 | 2.5225e-05 | 1.5854e-05 | 0.053793 | 0.053793 | 0.053793 | 0.97636 | -0.45539 | 0.9756 | -0.47038 | 14.7784
86 | 0.010882 | 0.0027271 | -0.010881 | -0.0027268 | 6.2682e-07 | 3.2504e-07 | 0.016578 | 0.016578 | 0.016578 | 0.97676 | -0.4476 | 0.9767 | -0.44881 | 4.5543
87 | 0.027181 | 0.0068221 | -0.027171 | -0.0068155 | 1.0623e-05 | 6.5928e-06 | 0.041461 | 0.041461 | 0.041461 | 0.9756 | -0.47038 | 0.97518 | -0.47858 | 11.3905
88 | 0.023887 | 0.0060047 | -0.023846 | -0.0059793 | 4.1244e-05 | 2.5364e-05 | 0.036446 | 0.036447 | 0.036447 | 0.97542 | -0.47348 | 0.97358 | -0.50971 | 10.0129
89 | 0.012071 | 0.003026 | -0.012069 | -0.0030247 | 2.4775e-06 | 1.3425e-06 | 0.018415 | 0.018415 | 0.018415 | 0.97542 | -0.47348 | 0.9752 | -0.47779 | 5.0591
90 | 0.023846 | 0.0059793 | -0.023837 | -0.0059742 | 8.3239e-06 | 5.1196e-06 | 0.036447 | 0.036447 | 0.036447 | 0.97358 | -0.50971 | 0.97321 | -0.51703 | 10.0129

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52154 | 0.13321

## res_load
| p_mw | q_mvar
0 | 0.011671 | 0.0029251
1 | 0.010085 | 0.0025274
2 | 0.017389 | 0.0043582
3 | 0.010084 | 0.0025272
4 | 0.0061518 | 0.0015418
5 | 0.0075581 | 0.0018942
6 | 0.01321 | 0.0033106
7 | 0.0017074 | 0.00042793
8 | 0.010746 | 0.0026932
9 | 0.011233 | 0.0028154
10 | 0.029356 | 0.0073572
11 | 0.026837 | 0.006726
12 | 0.0024782 | 0.0006211
13 | 0.0058107 | 0.0014563
14 | 0.01078 | 0.0027017
15 | 0.0066917 | 0.0016771
16 | 0.0063112 | 0.0015817
17 | 0.0024794 | 0.00062139
18 | 0.004191 | 0.0010504
19 | 0.028019 | 0.0070222
20 | 0.010164 | 0.0025475
21 | 0.0065203 | 0.0016341
22 | 0.010373 | 0.0025998
23 | 0.0020358 | 0.00051021
24 | 0.0027093 | 0.00067902
25 | 0.0076245 | 0.0019109
26 | 0.00918 | 0.0023007
27 | 0.0040959 | 0.0010265
28 | 0.0046864 | 0.0011745
29 | 0.0028051 | 0.00070302
30 | 0.0063827 | 0.0015997
31 | 0.013166 | 0.0032996
32 | 0.0030881 | 0.00077395
33 | 0.0027535 | 0.00069008
34 | 0.00051887 | 0.00013004
35 | 0.00078557 | 0.00019688
36 | 0.036727 | 0.0092047
37 | 0.025866 | 0.0064825
38 | 0.003811 | 0.00095512
39 | 0.0032588 | 0.00081673
40 | 0.0057078 | 0.0014305
41 | 0.007789 | 0.0019521
42 | 0.0063467 | 0.0015906
43 | 0.0091495 | 0.0022931
44 | 0.0018827 | 0.00047185
45 | 0.0014325 | 0.00035901
46 | 0.00057461 | 0.00014401
47 | 0.00071644 | 0.00017956
48 | 0.0012551 | 0.00031456
49 | 0.0091724 | 0.0022988
50 | 0.012755 | 0.0031966
51 | 0.012523 | 0.0031385
52 | 0.0064038 | 0.0016049
53 | 0.0036579 | 0.00091675
54 | 0.0013409 | 0.00033605
55 | 0.0020977 | 0.00052573
56 | 0.0080855 | 0.0020264
57 | 0.0060884 | 0.0015259
58 | 0.012069 | 0.0030247
59 | 0.023837 | 0.0059742

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1