## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_247-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_247-7_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_247-7_0_5_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_247-7_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_247-7_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_247-7_0_5_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_247-7_0_5_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_247-7_0_5_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_247-7_0_5_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_247-7_0_5_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_247-7_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_247-7_0_5_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_247-7_0_5_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_247-7_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_247-7_0_5_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_247-7_0_5_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_247-7_0_5_node_52 | 0.4 | n |  | TRUE
17 | bus_LV_247-7_0_5_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_247-7_0_5_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_247-7_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_247-7_0_5_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_247-7_0_5_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_247-7_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_247-7_0_5_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_247-7_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_247-7_0_5_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_247-7_0_5_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_247-7_0_5_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_247-7_0_5_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_247-7_0_5_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_247-7_0_5_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_247-7_0_5_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_247-7_0_5_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_247-7_0_5_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_247-7_0_5_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_247-7_0_5_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_247-7_0_5_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_247-7_0_5_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_247-7_0_5_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_247-7_0_5_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_247-7_0_5_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_247-7_0_5_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_247-7_0_5_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_247-7_0_5_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_247-7_0_5_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_247-7_0_5_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_247-7_0_5_node_22 | 0.4 | n |  | TRUE
47 | bus_LV_247-7_0_5_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_247-7_0_5_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_247-7_0_5_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_247-7_0_5_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_247-7_0_5_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_247-7_0_5_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_247-7_0_5_node_53 | 0.4 | n |  | TRUE
54 | bus_MV_514_0_node_26 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_247-7_0_5_load_0 | 0 | 0.057914 | 0.014515 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_247-7_0_5_load_33 | 6 | 0.039085 | 0.0097957 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_247-7_0_5_load_34 | 9 | 0.00024253 | 6.0784e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_247-7_0_5_load_18 | 15 | 0.0064244 | 0.0016101 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_247-7_0_5_load_52 | 16 | 0.007284 | 0.0018255 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_247-7_0_5_load_38 | 17 | 0.028391 | 0.0071154 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_247-7_0_5_load_30 | 21 | 0.093388 | 0.023405 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_247-7_0_5_load_56 | 23 | 0.010127 | 0.0025381 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_247-7_0_5_load_41 | 26 | 0.0067719 | 0.0016972 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_247-7_0_5_load_42 | 28 | 0.0027099 | 0.00067916 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_247-7_0_5_load_43 | 29 | 0.00017668 | 4.428e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_247-7_0_5_load_21 | 31 | 0.0090554 | 0.0022695 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_247-7_0_5_load_20 | 32 | 0.0021197 | 0.00053124 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_247-7_0_5_load_35 | 33 | 0.00045037 | 0.00011287 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_247-7_0_5_load_58 | 34 | 0.00021244 | 5.3242e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_247-7_0_5_load_29 | 36 | 0.00022186 | 5.5604e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_247-7_0_5_load_26 | 37 | 0.019782 | 0.0049578 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_247-7_0_5_load_36 | 38 | 0.039525 | 0.0099059 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_247-7_0_5_load_54 | 40 | 0.046632 | 0.011687 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_247-7_0_5_load_50 | 41 | 0.020943 | 0.0052488 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_247-7_0_5_load_47 | 42 | 0.055485 | 0.013906 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_247-7_0_5_load_45 | 44 | 0.00032724 | 8.2015e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_247-7_0_5_load_44 | 45 | 0.0029543 | 0.00074043 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_247-7_0_5_load_22 | 46 | 0.013918 | 0.0034881 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_247-7_0_5_load_24 | 47 | 0.0087291 | 0.0021877 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_247-7_0_5_load_27 | 48 | 0.00019737 | 4.9464e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_247-7_0_5_load_57 | 50 | 0.023581 | 0.0059099 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_247-7_0_5_load_46 | 52 | 0.028389 | 0.007115 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_247-7_0_5_load_53 | 53 | 0.025782 | 0.0064616 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_247-7_0_5_line_0 |  | 0 | 1 | 0.02892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_247-7_0_5_line_1 |  | 1 | 2 | 0.012416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_247-7_0_5_line_2 |  | 1 | 3 | 0.040161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_247-7_0_5_line_3 |  | 2 | 8 | 0.10658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_247-7_0_5_line_4 |  | 2 | 9 | 0.092603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_247-7_0_5_line_5 |  | 3 | 7 | 0.016049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_247-7_0_5_line_6 |  | 3 | 4 | 0.064171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_247-7_0_5_line_7 |  | 4 | 5 | 0.086007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_247-7_0_5_line_8 |  | 4 | 6 | 0.061413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_247-7_0_5_line_9 |  | 5 | 34 | 0.062982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_247-7_0_5_line_10 |  | 5 | 35 | 0.012647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_247-7_0_5_line_11 |  | 7 | 36 | 0.019222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_247-7_0_5_line_12 |  | 7 | 37 | 0.0036593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_247-7_0_5_line_13 |  | 8 | 16 | 0.0059307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_247-7_0_5_line_14 |  | 8 | 10 | 0.091657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_247-7_0_5_line_15 |  | 9 | 33 | 0.0039993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_247-7_0_5_line_16 |  | 10 | 11 | 0.08756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_247-7_0_5_line_17 |  | 10 | 12 | 0.10665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_247-7_0_5_line_18 |  | 11 | 17 | 0.039408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_247-7_0_5_line_19 |  | 11 | 18 | 0.022214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_247-7_0_5_line_20 |  | 12 | 31 | 0.048774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_247-7_0_5_line_21 |  | 12 | 22 | 0.067905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_247-7_0_5_line_22 |  | 13 | 14 | 0.14983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_247-7_0_5_line_23 |  | 13 | 15 | 0.023897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_247-7_0_5_line_24 |  | 14 | 33 | 0.086924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_247-7_0_5_line_25 |  | 17 | 25 | 0.028746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_247-7_0_5_line_26 |  | 18 | 39 | 0.037199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_247-7_0_5_line_27 |  | 18 | 40 | 0.037584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_247-7_0_5_line_28 |  | 19 | 20 | 0.090951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_247-7_0_5_line_29 |  | 19 | 21 | 0.0086881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_247-7_0_5_line_30 |  | 20 | 39 | 0.063656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_247-7_0_5_line_31 |  | 20 | 41 | 0.039429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_247-7_0_5_line_32 |  | 22 | 23 | 0.047738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_247-7_0_5_line_33 |  | 24 | 25 | 0.005828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_247-7_0_5_line_34 |  | 24 | 26 | 0.016191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_247-7_0_5_line_35 |  | 25 | 38 | 0.029619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_247-7_0_5_line_36 |  | 26 | 43 | 0.022489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_247-7_0_5_line_37 |  | 27 | 28 | 0.026152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_247-7_0_5_line_38 |  | 27 | 29 | 0.04107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_247-7_0_5_line_39 |  | 28 | 43 | 0.012741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_247-7_0_5_line_40 |  | 29 | 45 | 0.033388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_247-7_0_5_line_41 |  | 30 | 31 | 0.045435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_247-7_0_5_line_42 |  | 30 | 32 | 0.093775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_247-7_0_5_line_43 |  | 35 | 47 | 0.01905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_247-7_0_5_line_44 |  | 35 | 46 | 0.082508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_247-7_0_5_line_45 |  | 37 | 48 | 0.020432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_247-7_0_5_line_46 |  | 39 | 42 | 0.0392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_247-7_0_5_line_47 |  | 40 | 53 | 0.047078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_247-7_0_5_line_48 |  | 42 | 52 | 0.00050277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_247-7_0_5_line_49 |  | 44 | 45 | 0.012291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_247-7_0_5_line_50 |  | 49 | 50 | 0.015428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_247-7_0_5_line_51 |  | 49 | 51 | 0.020527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_247-7_0_5_line_52 |  | 51 | 52 | 0.028005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_247-7_0_5_trafo_54 | 0.63 MVA 20/0.4 kV | 54 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2675526.8845 | 1250671.4157 | 2675541.3232 | 1250668.6866 | 2675555.5476 | 1250668.8968
1 | 2675522.1162 | 1250659.9466 | 2675526.8845 | 1250671.4157
2 | 2675514.6792 | 1250697.3346 | 2675528.4131 | 1250697.7766 | 2675527.7446 | 1250679.1545 | 2675526.8845 | 1250671.4157
3 | 2675522.1162 | 1250659.9466 | 2675521.981 | 1250652.1948 | 2675522.1556 | 1250642.6456 | 2675522.2295 | 1250629.7483 | 2675526.1644 | 1250620.1359 | 2675527.7689 | 1250609.7487 | 2675532.1306 | 1250605.7459 | 2675534.4782 | 1250584.4492 | 2675535.2954 | 1250576.6094 | 2675541.2775 | 1250576.9637 | 2675555.5122 | 1250577.8124
4 | 2675522.1162 | 1250659.9466 | 2675514.9763 | 1250659.8222 | 2675513.0241 | 1250658.3963 | 2675509.3662 | 1250656.9375 | 2675430.454 | 1250651.3976
5 | 2675514.6792 | 1250697.3346 | 2675498.591 | 1250696.8182
6 | 2675514.6792 | 1250697.3346 | 2675528.4131 | 1250697.7766 | 2675529.8536 | 1250707.9468 | 2675532.9893 | 1250747.9826
7 | 2675532.9893 | 1250747.9826 | 2675519.4432 | 1250753.5474 | 2675471.9279 | 1250754.2427 | 2675448.3996 | 1250759.4025
8 | 2675532.9893 | 1250747.9826 | 2675534.925 | 1250792.1394 | 2675534.5081 | 1250809.3482
9 | 2675452.4385 | 1250696.5748 | 2675449.55 | 1250733.6873 | 2675448.4081 | 1250751.6303 | 2675448.3996 | 1250759.4025
10 | 2675447.4238 | 1250772.0104 | 2675448.3996 | 1250759.4025
11 | 2675498.591 | 1250696.8182 | 2675500.0436 | 1250677.6509
12 | 2675498.591 | 1250696.8182 | 2675494.9335 | 1250696.7024
13 | 2675555.5122 | 1250577.8124 | 2675555.1874 | 1250583.7342
14 | 2675521.4918 | 1250520.0368 | 2675535.6456 | 1250521.3181 | 2675540.2453 | 1250521.7437 | 2675550.6697 | 1250522.4437 | 2675558.1069 | 1250522.95 | 2675557.189 | 1250540.4621 | 2675555.5122 | 1250577.8124
15 | 2675430.454 | 1250651.3976 | 2675426.4645 | 1250651.1175
16 | 2675521.4918 | 1250520.0368 | 2675535.6456 | 1250521.3181 | 2675540.2453 | 1250521.7437 | 2675550.6697 | 1250522.4437 | 2675558.1069 | 1250522.95 | 2675608.8177 | 1250526.3768
17 | 2675418.804 | 1250500.5486 | 2675437.8547 | 1250502.637 | 2675451.2437 | 1250504.1085 | 2675464.9872 | 1250505.6067 | 2675477.3811 | 1250506.9655 | 2675485.0255 | 1250507.8079 | 2675509.9868 | 1250510.5389 | 2675521.4918 | 1250520.0368
18 | 2675608.8177 | 1250526.3768 | 2675611.5632 | 1250487.0645
19 | 2675608.8177 | 1250526.3768 | 2675631.0465 | 1250527.8837
20 | 2675418.804 | 1250500.5486 | 2675413.9207 | 1250549.0774
21 | 2675356.9843 | 1250505.0991 | 2675361.2917 | 1250501.2066 | 2675364.3051 | 1250494.5845 | 2675369.0094 | 1250495.1003 | 2675373.7137 | 1250495.616 | 2675402.7913 | 1250498.7992 | 2675418.804 | 1250500.5486
22 | 2675237.4319 | 1250568.7046 | 2675247.1127 | 1250555.4289 | 2675263.1798 | 1250567.7418 | 2675271.9533 | 1250574.1801 | 2675300.6334 | 1250593.7586 | 2675304.3393 | 1250598.5759 | 2675308.4796 | 1250603.0651 | 2675311.4925 | 1250606.5726 | 2675313.92 | 1250610.3951 | 2675316.238 | 1250616.8959 | 2675320.2958 | 1250625.4982 | 2675324.9491 | 1250630.0161 | 2675330.6128 | 1250635.8146 | 2675333.5803 | 1250637.5424 | 2675340.0615 | 1250640.2045 | 2675339.7594 | 1250644.9597
23 | 2675237.4319 | 1250568.7046 | 2675236.2908 | 1250592.5741
24 | 2675339.7594 | 1250644.9597 | 2675380.9728 | 1250647.7523 | 2675423.646 | 1250650.9196 | 2675426.4645 | 1250651.1175
25 | 2675613.5659 | 1250458.3879 | 2675611.5632 | 1250487.0645
26 | 2675668.2705 | 1250530.405 | 2675631.0465 | 1250527.8837
27 | 2675631.0465 | 1250527.8837 | 2675628.4575 | 1250565.3788
28 | 2675703.1513 | 1250602.8587 | 2675705.0276 | 1250598.4016 | 2675708.1954 | 1250593.9055 | 2675710.4923 | 1250549.458 | 2675711.8834 | 1250533.3529 | 2675723.4849 | 1250534.0905 | 2675731.7814 | 1250534.697
29 | 2675703.1513 | 1250602.8587 | 2675697.7804 | 1250596.0296
30 | 2675668.2705 | 1250530.405 | 2675669.5906 | 1250530.4886 | 2675711.8834 | 1250533.3529 | 2675723.4849 | 1250534.0905 | 2675731.7814 | 1250534.697
31 | 2675731.7814 | 1250534.697 | 2675733.038 | 1250518.4901 | 2675733.8276 | 1250509.2824 | 2675734.8581 | 1250495.3885
32 | 2675356.9843 | 1250505.0991 | 2675351.7679 | 1250552.5517
33 | 2675613.5659 | 1250458.3879 | 2675613.7762 | 1250452.5641
34 | 2675613.7762 | 1250452.5641 | 2675614.3695 | 1250436.3841
35 | 2675613.5659 | 1250458.3879 | 2675584.0592 | 1250455.8166
36 | 2675614.0354 | 1250413.9171 | 2675614.6911 | 1250427.6132 | 2675614.3695 | 1250436.3841
37 | 2675576.852 | 1250425.3179 | 2675595.1916 | 1250419.8477 | 2675601.8821 | 1250417.7421
38 | 2675576.852 | 1250425.3179 | 2675580.9838 | 1250384.4557
39 | 2675614.0354 | 1250413.9171 | 2675601.8821 | 1250417.7421
40 | 2675584.3427 | 1250351.2373 | 2675580.9838 | 1250384.4557
41 | 2675368.7038 | 1250544.6324 | 2675413.9207 | 1250549.0774
42 | 2675368.7038 | 1250544.6324 | 2675362.4525 | 1250605.7863 | 2675394.5801 | 1250609.1442
43 | 2675447.4238 | 1250772.0104 | 2675447.0782 | 1250775.4307 | 2675445.7355 | 1250790.9854
44 | 2675447.4238 | 1250772.0104 | 2675408.3933 | 1250769.1895 | 2675408.9228 | 1250760.8012 | 2675411.0154 | 1250725.8928
45 | 2675494.9335 | 1250696.7024 | 2675474.5113 | 1250696.0555
46 | 2675668.2705 | 1250530.405 | 2675671.2087 | 1250491.3153
47 | 2675628.4575 | 1250565.3788 | 2675625.2145 | 1250612.3448
48 | 2675671.2087 | 1250491.3153 | 2675671.2464 | 1250490.814
49 | 2675584.3427 | 1250351.2373 | 2675583.1062 | 1250363.4657
50 | 2675681.5234 | 1250449.7488 | 2675683.069 | 1250434.3988
51 | 2675673.3456 | 1250462.8873 | 2675680.1488 | 1250463.3856 | 2675681.5234 | 1250449.7488
52 | 2675673.3456 | 1250462.8873 | 2675671.2464 | 1250490.814

## bus_geodata
| x | y | coords
0 | 2675555.5476 | 1250668.8968
1 | 2675526.8845 | 1250671.4157
2 | 2675522.1162 | 1250659.9466
3 | 2675514.6792 | 1250697.3346
4 | 2675532.9893 | 1250747.9826
5 | 2675448.3996 | 1250759.4025
6 | 2675534.5081 | 1250809.3482
7 | 2675498.591 | 1250696.8182
8 | 2675555.5122 | 1250577.8124
9 | 2675430.454 | 1250651.3976
10 | 2675521.4918 | 1250520.0368
11 | 2675608.8177 | 1250526.3768
12 | 2675418.804 | 1250500.5486
13 | 2675237.4319 | 1250568.7046
14 | 2675339.7594 | 1250644.9597
15 | 2675236.2908 | 1250592.5741
16 | 2675555.1874 | 1250583.7342
17 | 2675611.5632 | 1250487.0645
18 | 2675631.0465 | 1250527.8837
19 | 2675703.1513 | 1250602.8587
20 | 2675731.7814 | 1250534.697
21 | 2675697.7804 | 1250596.0296
22 | 2675356.9843 | 1250505.0991
23 | 2675351.7679 | 1250552.5517
24 | 2675613.7762 | 1250452.5641
25 | 2675613.5659 | 1250458.3879
26 | 2675614.3695 | 1250436.3841
27 | 2675576.852 | 1250425.3179
28 | 2675601.8821 | 1250417.7421
29 | 2675580.9838 | 1250384.4557
30 | 2675368.7038 | 1250544.6324
31 | 2675413.9207 | 1250549.0774
32 | 2675394.5801 | 1250609.1442
33 | 2675426.4645 | 1250651.1175
34 | 2675452.4385 | 1250696.5748
35 | 2675447.4238 | 1250772.0104
36 | 2675500.0436 | 1250677.6509
37 | 2675494.9335 | 1250696.7024
38 | 2675584.0592 | 1250455.8166
39 | 2675668.2705 | 1250530.405
40 | 2675628.4575 | 1250565.3788
41 | 2675734.8581 | 1250495.3885
42 | 2675671.2087 | 1250491.3153
43 | 2675614.0354 | 1250413.9171
44 | 2675583.1062 | 1250363.4657
45 | 2675584.3426 | 1250351.2373
46 | 2675411.0154 | 1250725.8928
47 | 2675445.7355 | 1250790.9854
48 | 2675474.5113 | 1250696.0555
49 | 2675681.5234 | 1250449.7488
50 | 2675683.069 | 1250434.3988
51 | 2675673.3456 | 1250462.8873
52 | 2675671.2464 | 1250490.814
53 | 2675625.2145 | 1250612.3448
54 | 2675631.0465 | 1250527.8837

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.978 | -0.42237 | 0.057914 | 0.014515
1 | 0.97955 | -0.39189 | 0 | 0
2 | 0.98036 | -0.37611 | 0 | 0
3 | 0.97802 | -0.42191 | 0 | 0
4 | 0.97431 | -0.49463 | 0 | 0
5 | 0.97247 | -0.53081 | 0 | 0
6 | 0.97207 | -0.53881 | 0.039085 | 0.0097957
7 | 0.97771 | -0.42782 | 0 | 0
8 | 0.98766 | -0.2349 | 0 | 0
9 | 0.97975 | -0.38809 | 0.00024253 | 6.0784e-05
10 | 0.99095 | -0.17185 | 0 | 0
11 | 0.99452 | -0.10378 | 0 | 0
12 | 0.98887 | -0.21228 | 0 | 0
13 | 0.97832 | -0.41626 | 0 | 0
14 | 0.97921 | -0.39874 | 0 | 0
15 | 0.97817 | -0.41906 | 0.0064244 | 0.0016101
16 | 0.98762 | -0.23567 | 0.007284 | 0.0018255
17 | 0.99161 | -0.1601 | 0.028391 | 0.0071154
18 | 0.99584 | -0.078691 | 0 | 0
19 | 0.97739 | -0.43499 | 0 | 0
20 | 0.98528 | -0.28126 | 0 | 0
21 | 0.97664 | -0.4498 | 0.093388 | 0.023405
22 | 0.98823 | -0.22455 | 0 | 0
23 | 0.98779 | -0.23318 | 0.010127 | 0.0025381
24 | 0.99015 | -0.18822 | 0 | 0
25 | 0.99022 | -0.18688 | 0 | 0
26 | 0.98996 | -0.19194 | 0.0067719 | 0.0016972
27 | 0.98968 | -0.19742 | 0 | 0
28 | 0.98976 | -0.19581 | 0.0027099 | 0.00067916
29 | 0.98955 | -0.19995 | 0.00017668 | 4.428e-05
30 | 0.98828 | -0.22373 | 0 | 0
31 | 0.98837 | -0.22201 | 0.0090554 | 0.0022695
32 | 0.98809 | -0.22728 | 0.0021197 | 0.00053124
33 | 0.97973 | -0.38859 | 0.00045037 | 0.00011287
34 | 0.97246 | -0.53106 | 0.00021244 | 5.3242e-05
35 | 0.9722 | -0.53609 | 0 | 0
36 | 0.97771 | -0.4279 | 0.00022186 | 5.5604e-05
37 | 0.97765 | -0.42915 | 0.019782 | 0.0049578
38 | 0.98915 | -0.20771 | 0.039525 | 0.0099059
39 | 0.99203 | -0.15147 | 0 | 0
40 | 1 | 0 | -0.51387 | -0.13146
41 | 0.98452 | -0.2961 | 0.020943 | 0.0052488
42 | 0.98817 | -0.22637 | 0.055485 | 0.013906
43 | 0.98984 | -0.19441 | 0 | 0
44 | 0.98945 | -0.20197 | 0.00032724 | 8.2015e-05
45 | 0.98945 | -0.2019 | 0.0029543 | 0.00074043
46 | 0.97113 | -0.55729 | 0.013918 | 0.0034881
47 | 0.97205 | -0.53916 | 0.0087291 | 0.0021877
48 | 0.97764 | -0.42923 | 0.00019737 | 4.9464e-05
49 | 0.98709 | -0.24729 | 0 | 0
50 | 0.98676 | -0.2538 | 0.023581 | 0.0059099
51 | 0.98754 | -0.23863 | 0 | 0
52 | 0.98814 | -0.22683 | 0.028389 | 0.007115
53 | 0.9989 | -0.021179 | 0.025782 | 0.0064616
54 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.057914 | -0.014515 | 0.057998 | 0.014568 | 8.4205e-05 | 5.3528e-05 | 0.088115 | 0.088115 | 0.088115 | 0.978 | -0.42237 | 0.97955 | -0.39189 | 24.2076
1 | -0.14063 | -0.03546 | 0.14074 | 0.035527 | 0.00010632 | 6.7731e-05 | 0.2137 | 0.2137 | 0.2137 | 0.97955 | -0.39189 | 0.98036 | -0.37611 | 29.3549
2 | 0.082631 | 0.020892 | -0.082512 | -0.020817 | 0.00011877 | 7.5004e-05 | 0.12559 | 0.12559 | 0.12559 | 0.97955 | -0.39189 | 0.97802 | -0.42191 | 17.2512
3 | -0.14787 | -0.037315 | 0.14887 | 0.037957 | 0.0010074 | 0.00064204 | 0.22453 | 0.22453 | 0.22453 | 0.98036 | -0.37611 | 0.98766 | -0.2349 | 30.8417
4 | 0.0071309 | 0.0017879 | -0.0071268 | -0.0017865 | 4.0684e-06 | 1.4369e-06 | 0.010824 | 0.010824 | 0.010824 | 0.98036 | -0.37611 | 0.97975 | -0.38809 | 2.9737
5 | 0.020208 | 0.0050666 | -0.020203 | -0.0050632 | 5.6896e-06 | 3.44e-06 | 0.030747 | 0.030747 | 0.030747 | 0.97802 | -0.42191 | 0.97771 | -0.42782 | 8.4469
6 | 0.062304 | 0.01575 | -0.062088 | -0.015612 | 0.00021646 | 0.00013773 | 0.094842 | 0.094842 | 0.094842 | 0.97802 | -0.42191 | 0.97431 | -0.49463 | 26.0556
7 | 0.02292 | 0.0057646 | -0.02288 | -0.0057403 | 3.9536e-05 | 2.4234e-05 | 0.035012 | 0.035012 | 0.035012 | 0.97431 | -0.49463 | 0.97247 | -0.53081 | 9.6187
8 | 0.039168 | 0.0098477 | -0.039085 | -0.0097957 | 8.244e-05 | 5.1999e-05 | 0.059831 | 0.059831 | 0.059831 | 0.97431 | -0.49463 | 0.97207 | -0.53881 | 16.437
9 | 0.00021244 | 5.2462e-05 | -0.00021244 | -5.3242e-05 | 2.4935e-09 | -7.7981e-07 | 0.00032479 | 0.00032507 | 0.00032507 | 0.97247 | -0.53081 | 0.97246 | -0.53106 | 0.089304
10 | 0.022668 | 0.0056879 | -0.022662 | -0.0056844 | 5.7064e-06 | 3.4952e-06 | 0.034687 | 0.034687 | 0.034687 | 0.97247 | -0.53081 | 0.9722 | -0.53609 | 9.5295
11 | 0.00022186 | 5.5363e-05 | -0.00022186 | -5.5604e-05 | 8.2164e-10 | -2.4054e-07 | 0.00033757 | 0.00033766 | 0.00033766 | 0.97771 | -0.42782 | 0.97771 | -0.4279 | 0.092764
12 | 0.019981 | 0.0050078 | -0.019979 | -0.0050071 | 1.2689e-06 | 7.6623e-07 | 0.030409 | 0.030409 | 0.030409 | 0.97771 | -0.42782 | 0.97765 | -0.42915 | 8.3542
13 | 0.0072843 | 0.0018256 | -0.007284 | -0.0018255 | 2.6786e-07 | 9.5538e-08 | 0.010975 | 0.010975 | 0.010975 | 0.98766 | -0.2349 | 0.98762 | -0.23567 | 3.015
14 | -0.15616 | -0.039783 | 0.15663 | 0.040083 | 0.00047656 | 0.00030029 | 0.2355 | 0.2355 | 0.2355 | 0.98766 | -0.2349 | 0.99095 | -0.17185 | 16.1745
15 | 0.0068843 | 0.0017257 | -0.0068841 | -0.0017257 | 1.6396e-07 | 5.4569e-08 | 0.010456 | 0.010456 | 0.010456 | 0.97975 | -0.38809 | 0.97973 | -0.38859 | 2.8725
16 | -0.17799 | -0.045453 | 0.17858 | 0.045825 | 0.00058772 | 0.00037162 | 0.26758 | 0.26758 | 0.26758 | 0.99095 | -0.17185 | 0.99452 | -0.10378 | 18.3776
17 | 0.021359 | 0.00537 | -0.021318 | -0.0053451 | 4.1156e-05 | 2.4969e-05 | 0.032079 | 0.03208 | 0.03208 | 0.99095 | -0.17185 | 0.98887 | -0.21228 | 8.8131
18 | 0.081186 | 0.020472 | -0.080968 | -0.020333 | 0.00021821 | 0.00013915 | 0.12152 | 0.12152 | 0.12152 | 0.99452 | -0.10378 | 0.99161 | -0.1601 | 33.3833
19 | -0.25977 | -0.066297 | 0.26008 | 0.066498 | 0.00031528 | 0.00020063 | 0.38909 | 0.38909 | 0.38909 | 0.99452 | -0.10378 | 0.99584 | -0.078691 | 26.7233
20 | 0.011181 | 0.002802 | -0.011176 | -0.0027993 | 5.1773e-06 | 2.6881e-06 | 0.016824 | 0.016825 | 0.016825 | 0.98887 | -0.21228 | 0.98837 | -0.22201 | 4.6222
21 | 0.010137 | 0.0025431 | -0.010131 | -0.0025402 | 5.9262e-06 | 2.9222e-06 | 0.015255 | 0.015255 | 0.015255 | 0.98887 | -0.21228 | 0.98823 | -0.22455 | 4.191
22 | -0.0064252 | -0.0016104 | 0.0064306 | 0.0016119 | 5.3657e-06 | 1.5511e-06 | 0.0097728 | 0.0097721 | 0.0097728 | 0.97832 | -0.41626 | 0.97921 | -0.39874 | 2.6848
23 | 0.0064252 | 0.0016104 | -0.0064244 | -0.0016101 | 8.5588e-07 | 2.4775e-07 | 0.0097728 | 0.0097729 | 0.0097729 | 0.97832 | -0.41626 | 0.97817 | -0.41906 | 2.6849
24 | -0.0064306 | -0.0016119 | 0.0064337 | 0.0016128 | 3.1127e-06 | 8.9807e-07 | 0.0097721 | 0.0097717 | 0.0097721 | 0.97921 | -0.39874 | 0.97973 | -0.38859 | 2.6846
25 | 0.052577 | 0.013217 | -0.05251 | -0.013175 | 6.7127e-05 | 4.2591e-05 | 0.078912 | 0.078912 | 0.078912 | 0.99161 | -0.1601 | 0.99022 | -0.18688 | 21.679
26 | 0.22448 | 0.057306 | -0.2237 | -0.056803 | 0.00078649 | 0.00050239 | 0.3358 | 0.3358 | 0.3358 | 0.99584 | -0.078691 | 0.99203 | -0.15147 | 46.1263
27 | -0.48457 | -0.1238 | 0.48642 | 0.12499 | 0.0018515 | 0.001183 | 0.72489 | 0.72489 | 0.72489 | 0.99584 | -0.078691 | 1 | 0 | 49.7864
28 | -0.093454 | -0.023447 | 0.094145 | 0.023888 | 0.00069051 | 0.00044078 | 0.14229 | 0.14229 | 0.14229 | 0.97739 | -0.43499 | 0.98528 | -0.28126 | 39.0899
29 | 0.093454 | 0.023447 | -0.093388 | -0.023405 | 6.5961e-05 | 4.2106e-05 | 0.14229 | 0.14229 | 0.14229 | 0.97739 | -0.43499 | 0.97664 | -0.4498 | 39.0899
30 | -0.1151 | -0.029146 | 0.11582 | 0.029607 | 0.00072222 | 0.00046141 | 0.17394 | 0.17394 | 0.17394 | 0.98528 | -0.28126 | 0.99203 | -0.15147 | 47.7858
31 | 0.020958 | 0.0052578 | -0.020943 | -0.0052488 | 1.4815e-05 | 8.9797e-06 | 0.031654 | 0.031654 | 0.031654 | 0.98528 | -0.28126 | 0.98452 | -0.2961 | 8.6961
32 | 0.010131 | 0.0025402 | -0.010127 | -0.0025381 | 4.1663e-06 | 2.0551e-06 | 0.015255 | 0.015256 | 0.015256 | 0.98823 | -0.22455 | 0.98779 | -0.23318 | 4.1911
33 | -0.012945 | -0.0032438 | 0.012945 | 0.0032443 | 8.2704e-07 | 4.5434e-07 | 0.019453 | 0.019453 | 0.019453 | 0.99015 | -0.18822 | 0.99022 | -0.18688 | 5.3442
34 | 0.012945 | 0.0032438 | -0.012942 | -0.0032425 | 2.2976e-06 | 1.2623e-06 | 0.019453 | 0.019453 | 0.019453 | 0.99015 | -0.18822 | 0.98996 | -0.19194 | 5.3443
35 | 0.039564 | 0.0099306 | -0.039525 | -0.0099059 | 3.9267e-05 | 2.475e-05 | 0.059459 | 0.059459 | 0.059459 | 0.99022 | -0.18688 | 0.98915 | -0.20771 | 16.3348
36 | 0.0061703 | 0.0015453 | -0.0061696 | -0.0015452 | 7.2535e-07 | 1.7512e-07 | 0.0092742 | 0.0092743 | 0.0092743 | 0.98996 | -0.19194 | 0.98984 | -0.19441 | 2.5479
37 | -0.003459 | -0.00086607 | 0.0034592 | 0.0008659 | 2.6521e-07 | -1.6634e-07 | 0.0052004 | 0.0052003 | 0.0052004 | 0.98968 | -0.19742 | 0.98976 | -0.19581 | 1.4287
38 | 0.003459 | 0.00086607 | -0.0034586 | -0.00086633 | 4.1653e-07 | -2.611e-07 | 0.0052004 | 0.0052006 | 0.0052006 | 0.98968 | -0.19742 | 0.98955 | -0.19995 | 1.4287
39 | -0.0061691 | -0.0015451 | 0.0061696 | 0.0015452 | 4.1096e-07 | 9.9254e-08 | 0.0092743 | 0.0092743 | 0.0092743 | 0.98976 | -0.19581 | 0.98984 | -0.19441 | 2.5479
40 | 0.0032819 | 0.00082205 | -0.0032816 | -0.00082228 | 3.0492e-07 | -2.3373e-07 | 0.0049349 | 0.004935 | 0.004935 | 0.98955 | -0.19995 | 0.98945 | -0.2019 | 1.3558
41 | -0.00212 | -0.00053027 | 0.0021202 | 0.0005298 | 1.7355e-07 | -4.7116e-07 | 0.0031917 | 0.0031915 | 0.0031917 | 0.98828 | -0.22373 | 0.98837 | -0.22201 | 0.87684
42 | 0.00212 | 0.00053027 | -0.0021197 | -0.00053124 | 3.5828e-07 | -9.7207e-07 | 0.0031917 | 0.0031921 | 0.0031921 | 0.98828 | -0.22373 | 0.98809 | -0.22728 | 0.87696
43 | 0.0087304 | 0.0021883 | -0.0087291 | -0.0021877 | 1.2756e-06 | 5.8019e-07 | 0.013363 | 0.013363 | 0.013363 | 0.9722 | -0.53609 | 0.97205 | -0.53916 | 3.671
44 | 0.013932 | 0.0034961 | -0.013918 | -0.0034881 | 1.407e-05 | 7.9831e-06 | 0.021325 | 0.021325 | 0.021325 | 0.9722 | -0.53609 | 0.97113 | -0.55729 | 5.8586
45 | 0.00019737 | 4.9209e-05 | -0.00019737 | -4.9464e-05 | 6.9122e-10 | -2.5577e-07 | 0.00030031 | 0.0003004 | 0.0003004 | 0.97765 | -0.42915 | 0.97764 | -0.42923 | 0.082527
46 | 0.10787 | 0.027196 | -0.10749 | -0.02695 | 0.00038512 | 0.00024597 | 0.16186 | 0.16186 | 0.16186 | 0.99203 | -0.15147 | 0.98817 | -0.22637 | 44.4671
47 | 0.025808 | 0.0064777 | -0.025782 | -0.0064616 | 2.6041e-05 | 1.6049e-05 | 0.038406 | 0.038407 | 0.038407 | 1 | 0 | 0.9989 | -0.021179 | 10.5513
48 | 0.052002 | 0.013044 | -0.052 | -0.013044 | 1.1562e-06 | 7.3352e-07 | 0.07831 | 0.07831 | 0.07831 | 0.98817 | -0.22637 | 0.98814 | -0.22683 | 21.5137
49 | -0.00032724 | -8.2015e-05 | 0.00032724 | 8.1858e-05 | 1.1162e-09 | -1.5715e-07 | 0.00049214 | 0.00049208 | 0.00049214 | 0.98945 | -0.20197 | 0.98945 | -0.2019 | 0.1352
50 | 0.023588 | 0.0059144 | -0.023581 | -0.0059099 | 7.3156e-06 | 4.4848e-06 | 0.03556 | 0.03556 | 0.03556 | 0.98709 | -0.24729 | 0.98676 | -0.2538 | 9.7692
51 | -0.023588 | -0.0059144 | 0.023598 | 0.0059204 | 9.7338e-06 | 5.9671e-06 | 0.03556 | 0.03556 | 0.03556 | 0.98709 | -0.24729 | 0.98754 | -0.23863 | 9.7692
52 | -0.023598 | -0.0059204 | 0.023611 | 0.0059285 | 1.328e-05 | 8.1404e-06 | 0.03556 | 0.035559 | 0.03556 | 0.98754 | -0.23863 | 0.98814 | -0.22683 | 9.7691

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.56051 | 0.14315

## res_load
| p_mw | q_mvar
0 | 0.057914 | 0.014515
1 | 0.039085 | 0.0097957
2 | 0.00024253 | 6.0784e-05
3 | 0.0064244 | 0.0016101
4 | 0.007284 | 0.0018255
5 | 0.028391 | 0.0071154
6 | 0.093388 | 0.023405
7 | 0.010127 | 0.0025381
8 | 0.0067719 | 0.0016972
9 | 0.0027099 | 0.00067916
10 | 0.00017668 | 4.428e-05
11 | 0.0090554 | 0.0022695
12 | 0.0021197 | 0.00053124
13 | 0.00045037 | 0.00011287
14 | 0.00021244 | 5.3242e-05
15 | 0.00022186 | 5.5604e-05
16 | 0.019782 | 0.0049578
17 | 0.039525 | 0.0099059
18 | 0.046632 | 0.011687
19 | 0.020943 | 0.0052488
20 | 0.055485 | 0.013906
21 | 0.00032724 | 8.2015e-05
22 | 0.0029543 | 0.00074043
23 | 0.013918 | 0.0034881
24 | 0.0087291 | 0.0021877
25 | 0.00019737 | 4.9464e-05
26 | 0.023581 | 0.0059099
27 | 0.028389 | 0.007115
28 | 0.025782 | 0.0064616

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1