## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2473-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2473-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2473-12_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2473-12_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2473-12_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2473-12_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_2473-12_0_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_2473-12_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_2473-12_0_3_node_55 | 0.4 | n |  | TRUE
9 | bus_LV_2473-12_0_3_node_78 | 0.4 | n |  | TRUE
10 | bus_LV_2473-12_0_3_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_2473-12_0_3_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_2473-12_0_3_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_2473-12_0_3_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_2473-12_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_2473-12_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_2473-12_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_2473-12_0_3_node_89 | 0.4 | n |  | TRUE
18 | bus_LV_2473-12_0_3_node_64 | 0.4 | n |  | TRUE
19 | bus_LV_2473-12_0_3_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_2473-12_0_3_node_63 | 0.4 | n |  | TRUE
21 | bus_LV_2473-12_0_3_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_2473-12_0_3_node_83 | 0.4 | n |  | TRUE
23 | bus_LV_2473-12_0_3_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_2473-12_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_2473-12_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_2473-12_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_2473-12_0_3_node_70 | 0.4 | n |  | TRUE
28 | bus_LV_2473-12_0_3_node_59 | 0.4 | n |  | TRUE
29 | bus_LV_2473-12_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_2473-12_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_2473-12_0_3_node_60 | 0.4 | n |  | TRUE
32 | bus_LV_2473-12_0_3_node_74 | 0.4 | n |  | TRUE
33 | bus_LV_2473-12_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_2473-12_0_3_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_2473-12_0_3_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_2473-12_0_3_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_2473-12_0_3_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_2473-12_0_3_node_75 | 0.4 | n |  | TRUE
39 | bus_LV_2473-12_0_3_node_72 | 0.4 | n |  | TRUE
40 | bus_LV_2473-12_0_3_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_2473-12_0_3_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_2473-12_0_3_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_2473-12_0_3_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_2473-12_0_3_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_2473-12_0_3_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_2473-12_0_3_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_2473-12_0_3_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_2473-12_0_3_node_84 | 0.4 | n |  | TRUE
49 | bus_LV_2473-12_0_3_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_2473-12_0_3_node_85 | 0.4 | n |  | TRUE
51 | bus_LV_2473-12_0_3_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_2473-12_0_3_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_2473-12_0_3_node_27 | 0.4 | n |  | TRUE
54 | bus_LV_2473-12_0_3_node_28 | 0.4 | n |  | TRUE
55 | bus_LV_2473-12_0_3_node_29 | 0.4 | n |  | TRUE
56 | bus_LV_2473-12_0_3_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_2473-12_0_3_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_2473-12_0_3_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_2473-12_0_3_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_2473-12_0_3_node_32 | 0.4 | n |  | TRUE
61 | bus_LV_2473-12_0_3_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_2473-12_0_3_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_2473-12_0_3_node_40 | 0.4 | n |  | TRUE
64 | bus_LV_2473-12_0_3_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_2473-12_0_3_node_86 | 0.4 | n |  | TRUE
66 | bus_LV_2473-12_0_3_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_2473-12_0_3_node_88 | 0.4 | n |  | TRUE
68 | bus_LV_2473-12_0_3_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_2473-12_0_3_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_2473-12_0_3_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_2473-12_0_3_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_2473-12_0_3_node_82 | 0.4 | n |  | TRUE
73 | bus_LV_2473-12_0_3_node_81 | 0.4 | n |  | TRUE
74 | bus_LV_2473-12_0_3_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_2473-12_0_3_node_51 | 0.4 | n |  | TRUE
76 | bus_LV_2473-12_0_3_node_52 | 0.4 | n |  | TRUE
77 | bus_LV_2473-12_0_3_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_2473-12_0_3_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_2473-12_0_3_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_2473-12_0_3_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_2473-12_0_3_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_2473-12_0_3_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_2473-12_0_3_node_73 | 0.4 | n |  | TRUE
84 | bus_MV_286_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2473-12_0_3_load_0 | 0 | 0.003122 | 0.00078245 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2473-12_0_3_load_4 | 3 | 0.0020619 | 0.00051675 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2473-12_0_3_load_15 | 6 | 0.0022758 | 0.00057038 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2473-12_0_3_load_78 | 9 | 0.0046236 | 0.0011588 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2473-12_0_3_load_13 | 10 | 0.0021304 | 0.00053393 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2473-12_0_3_load_16 | 12 | 0.0037432 | 0.00093814 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2473-12_0_3_load_53 | 13 | 0.0035799 | 0.0008972 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2473-12_0_3_load_6 | 14 | 0.005128 | 0.0012852 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2473-12_0_3_load_7 | 15 | 0.0054115 | 0.0013563 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2473-12_0_3_load_8 | 16 | 0.0071413 | 0.0017898 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2473-12_0_3_load_89 | 17 | 0.0027298 | 0.00068414 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2473-12_0_3_load_64 | 18 | 0.0040522 | 0.0010156 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2473-12_0_3_load_66 | 19 | 0.003479 | 0.00087192 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2473-12_0_3_load_63 | 20 | 0.0022798 | 0.00057136 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2473-12_0_3_load_49 | 21 | 0.0034115 | 0.00085501 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2473-12_0_3_load_83 | 22 | 0.0022185 | 0.00055601 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2473-12_0_3_load_48 | 23 | 0.0020725 | 0.00051941 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2473-12_0_3_load_11 | 24 | 0.006804 | 0.0017052 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2473-12_0_3_load_12 | 25 | 0.0039473 | 0.00098929 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2473-12_0_3_load_14 | 26 | 0.0048485 | 0.0012151 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2473-12_0_3_load_70 | 27 | 0.0038269 | 0.0009591 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2473-12_0_3_load_59 | 28 | 0.0034903 | 0.00087475 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2473-12_0_3_load_17 | 29 | 0.0033057 | 0.00082848 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2473-12_0_3_load_19 | 30 | 0.0036342 | 0.00091081 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2473-12_0_3_load_60 | 31 | 0.0044436 | 0.0011137 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2473-12_0_3_load_74 | 32 | 0.0034202 | 0.00085718 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2473-12_0_3_load_71 | 34 | 0.0021093 | 0.00052864 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2473-12_0_3_load_42 | 36 | 0.0052361 | 0.0013123 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2473-12_0_3_load_61 | 37 | 0.0048835 | 0.0012239 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2473-12_0_3_load_75 | 38 | 0.0016598 | 0.000416 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2473-12_0_3_load_72 | 39 | 0.0045678 | 0.0011448 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2473-12_0_3_load_44 | 40 | 0.0041776 | 0.001047 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2473-12_0_3_load_36 | 41 | 0.0047665 | 0.0011946 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2473-12_0_3_load_43 | 42 | 0.010552 | 0.0026446 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2473-12_0_3_load_22 | 43 | 0.0024256 | 0.0006079 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2473-12_0_3_load_23 | 44 | 0.0023079 | 0.00057842 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2473-12_0_3_load_24 | 45 | 0.0034159 | 0.0008561 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2473-12_0_3_load_25 | 46 | 0.0023982 | 0.00060104 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2473-12_0_3_load_26 | 47 | 0.0025306 | 0.00063422 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2473-12_0_3_load_84 | 48 | 0.0046619 | 0.0011684 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2473-12_0_3_load_35 | 49 | 0.0026352 | 0.00066044 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2473-12_0_3_load_65 | 51 | 0.0017494 | 0.00043845 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2473-12_0_3_load_33 | 52 | 0.0037614 | 0.0009427 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2473-12_0_3_load_27 | 53 | 0.0050996 | 0.0012781 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2473-12_0_3_load_28 | 54 | 0.0036959 | 0.00092628 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2473-12_0_3_load_29 | 55 | 0.0053046 | 0.0013295 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2473-12_0_3_load_30 | 56 | 0.0023665 | 0.0005931 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2473-12_0_3_load_31 | 57 | 0.0057624 | 0.0014442 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2473-12_0_3_load_38 | 58 | 0.0039576 | 0.00099187 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2473-12_0_3_load_32 | 60 | 0.0045467 | 0.0011395 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2473-12_0_3_load_67 | 61 | 0.0032246 | 0.00080815 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2473-12_0_3_load_45 | 62 | 0.010768 | 0.0026986 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2473-12_0_3_load_41 | 64 | 0.0054769 | 0.0013726 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2473-12_0_3_load_86 | 65 | 0.0033718 | 0.00084505 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2473-12_0_3_load_68 | 66 | 0.0028105 | 0.00070438 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2473-12_0_3_load_88 | 67 | 0.0018776 | 0.00047058 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2473-12_0_3_load_69 | 68 | 0.0052799 | 0.0013233 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2473-12_0_3_load_46 | 69 | 0.0073427 | 0.0018403 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2473-12_0_3_load_76 | 70 | 0.0058933 | 0.001477 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2473-12_0_3_load_47 | 71 | 0.0020668 | 0.000518 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2473-12_0_3_load_82 | 72 | 0.0034416 | 0.00086254 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2473-12_0_3_load_81 | 73 | 0.0027433 | 0.00068753 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2473-12_0_3_load_50 | 74 | 0.0022528 | 0.0005646 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2473-12_0_3_load_51 | 75 | 0.0025609 | 0.00064182 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2473-12_0_3_load_52 | 76 | 0.0035525 | 0.00089033 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2473-12_0_3_load_54 | 77 | 0.0037954 | 0.00095121 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2473-12_0_3_load_56 | 78 | 0.0036057 | 0.00090368 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2473-12_0_3_load_57 | 79 | 0.0054772 | 0.0013727 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2473-12_0_3_load_58 | 80 | 0.0028772 | 0.00072109 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2473-12_0_3_load_62 | 81 | 0.003757 | 0.00094158 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2473-12_0_3_load_77 | 82 | 0.0034725 | 0.00087029 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2473-12_0_3_load_73 | 83 | 0.0052823 | 0.0013239 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 81 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2473-12_0_3_line_0 |  | 0 | 1 | 0.030807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2473-12_0_3_line_1 |  | 0 | 2 | 0.02176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2473-12_0_3_line_2 |  | 1 | 3 | 0.027821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2473-12_0_3_line_3 |  | 2 | 4 | 0.021894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2473-12_0_3_line_4 |  | 3 | 8 | 0.050656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2473-12_0_3_line_5 |  | 4 | 9 | 0.027094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2473-12_0_3_line_6 |  | 5 | 6 | 0.016654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2473-12_0_3_line_7 |  | 5 | 7 | 0.051692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2473-12_0_3_line_8 |  | 6 | 10 | 0.02082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2473-12_0_3_line_9 |  | 7 | 11 | 0.04322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2473-12_0_3_line_10 |  | 7 | 12 | 0.021095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2473-12_0_3_line_11 |  | 8 | 13 | 0.018967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2473-12_0_3_line_12 |  | 10 | 24 | 0.0057218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2473-12_0_3_line_13 |  | 11 | 32 | 0.049051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2473-12_0_3_line_14 |  | 11 | 33 | 0.038276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_2473-12_0_3_line_15 |  | 11 | 34 | 0.022737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2473-12_0_3_line_16 |  | 12 | 29 | 0.0040362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_2473-12_0_3_line_17 |  | 13 | 75 | 0.00077788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2473-12_0_3_line_18 |  | 14 | 15 | 0.025901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2473-12_0_3_line_19 |  | 15 | 16 | 0.006282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2473-12_0_3_line_20 |  | 15 | 17 | 0.0397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2473-12_0_3_line_21 |  | 16 | 21 | 0.015198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2473-12_0_3_line_22 |  | 18 | 19 | 0.031105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2473-12_0_3_line_23 |  | 18 | 20 | 0.0081996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2473-12_0_3_line_24 |  | 19 | 22 | 0.0087153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2473-12_0_3_line_25 |  | 20 | 51 | 0.017992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2473-12_0_3_line_26 |  | 21 | 23 | 0.012162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2473-12_0_3_line_27 |  | 23 | 71 | 5.5048e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2473-12_0_3_line_28 |  | 24 | 25 | 0.01521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2473-12_0_3_line_29 |  | 25 | 26 | 0.01857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2473-12_0_3_line_30 |  | 26 | 27 | 0.0045739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2473-12_0_3_line_31 |  | 27 | 28 | 0.022367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2473-12_0_3_line_32 |  | 28 | 79 | 0.0079214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2473-12_0_3_line_33 |  | 29 | 30 | 0.017548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_2473-12_0_3_line_34 |  | 30 | 31 | 0.024323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_2473-12_0_3_line_35 |  | 31 | 37 | 0.0061151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_2473-12_0_3_line_36 |  | 32 | 38 | 0.0035366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2473-12_0_3_line_37 |  | 33 | 35 | 0.009539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2473-12_0_3_line_38 |  | 33 | 36 | 0.011495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2473-12_0_3_line_39 |  | 34 | 39 | 0.016611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2473-12_0_3_line_40 |  | 35 | 40 | 0.029125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2473-12_0_3_line_41 |  | 35 | 41 | 0.010066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_2473-12_0_3_line_42 |  | 36 | 42 | 0.028078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2473-12_0_3_line_43 |  | 37 | 81 | 0.02189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_2473-12_0_3_line_44 |  | 38 | 77 | 0.026165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2473-12_0_3_line_45 |  | 39 | 83 | 0.00090301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2473-12_0_3_line_46 |  | 40 | 62 | 0.0098529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2473-12_0_3_line_47 |  | 41 | 56 | 0.028661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_2473-12_0_3_line_48 |  | 43 | 44 | 0.0043198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2473-12_0_3_line_49 |  | 43 | 45 | 0.026693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2473-12_0_3_line_50 |  | 44 | 46 | 0.0033441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2473-12_0_3_line_51 |  | 45 | 47 | 0.018417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2473-12_0_3_line_52 |  | 46 | 48 | 0.019528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2473-12_0_3_line_53 |  | 47 | 49 | 0.030554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2473-12_0_3_line_54 |  | 48 | 50 | 0.015963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2473-12_0_3_line_55 |  | 49 | 51 | 0.036572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2473-12_0_3_line_56 |  | 49 | 52 | 0.026196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2473-12_0_3_line_57 |  | 50 | 67 | 0.0067604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2473-12_0_3_line_58 |  | 50 | 63 | 0.015052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2473-12_0_3_line_59 |  | 51 | 61 | 0.010714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2473-12_0_3_line_60 |  | 52 | 60 | 0.0046199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2473-12_0_3_line_61 |  | 53 | 54 | 0.023826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_2473-12_0_3_line_62 |  | 53 | 55 | 0.00046026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2473-12_0_3_line_63 |  | 54 | 56 | 0.011083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_2473-12_0_3_line_64 |  | 55 | 57 | 0.018759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2473-12_0_3_line_65 |  | 57 | 58 | 0.0050631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2473-12_0_3_line_66 |  | 58 | 59 | 0.037259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2473-12_0_3_line_67 |  | 59 | 63 | 0.00515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2473-12_0_3_line_68 |  | 59 | 64 | 0.021214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2473-12_0_3_line_69 |  | 62 | 69 | 0.016673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2473-12_0_3_line_70 |  | 63 | 65 | 0.024975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2473-12_0_3_line_71 |  | 64 | 66 | 0.0064633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2473-12_0_3_line_72 |  | 66 | 68 | 0.019972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2473-12_0_3_line_73 |  | 69 | 70 | 0.0010398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2473-12_0_3_line_74 |  | 71 | 72 | 0.037219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2473-12_0_3_line_75 |  | 72 | 73 | 0.016717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2473-12_0_3_line_76 |  | 73 | 82 | 0.0093798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2473-12_0_3_line_77 |  | 74 | 75 | 0.0093931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2473-12_0_3_line_78 |  | 74 | 76 | 0.031781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2473-12_0_3_line_79 |  | 76 | 77 | 0.010213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2473-12_0_3_line_80 |  | 78 | 79 | 0.0082292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2473-12_0_3_line_81 |  | 78 | 80 | 0.0095845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2473-12_0_3_line_82 |  | 81 | 82 | 0.016379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2473-12_0_3_trafo_62 | 0.63 MVA 20/0.4 kV | 84 | 81 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2613230.1012 | 1259722.8058 | 2613223.4973 | 1259716.8982 | 2613220.1064 | 1259713.2771 | 2613215.9037 | 1259708.698 | 2613209.1241 | 1259700.3293
1 | 2613195.7928 | 1259683.1694 | 2613198.3988 | 1259687.3002 | 2613202.7507 | 1259692.5579 | 2613206.9974 | 1259697.7041 | 2613209.1241 | 1259700.3293
2 | 2613230.1012 | 1259722.8058 | 2613225.8256 | 1259750.296
3 | 2613195.7928 | 1259683.1694 | 2613198.9998 | 1259681.3753 | 2613205.62 | 1259673.1956 | 2613205.7125 | 1259665.4795
4 | 2613219.0984 | 1259800.5006 | 2613224.0991 | 1259761.3963 | 2613225.8256 | 1259750.296
5 | 2613205.7125 | 1259665.4795 | 2613205.8091 | 1259649.1131 | 2613205.9416 | 1259638.3864
6 | 2613283.95 | 1259749.3883 | 2613281.8003 | 1259740.0995 | 2613280.398 | 1259733.603 | 2613280.2999 | 1259733.1394
7 | 2613335.4176 | 1259755.5299 | 2613327.5813 | 1259754.8007 | 2613295.439 | 1259751.193 | 2613283.95 | 1259749.3883
8 | 2613274.8635 | 1259713.0706 | 2613276.7992 | 1259718.4959 | 2613279.0034 | 1259727.0066 | 2613280.2999 | 1259733.1394
9 | 2613335.4176 | 1259755.5299 | 2613350.0274 | 1259756.9859 | 2613358.6247 | 1259757.7502 | 2613366.6039 | 1259758.602 | 2613366.2968 | 1259761.103 | 2613365.3026 | 1259764.2029 | 2613363.2989 | 1259767.1004 | 2613362.2041 | 1259767.9985 | 2613361.2004 | 1259768.5967
10 | 2613335.4176 | 1259755.5299 | 2613335.0982 | 1259746.701 | 2613332.279 | 1259734.7691
11 | 2613219.0984 | 1259800.5006 | 2613237.3541 | 1259805.6451
12 | 2613272.8429 | 1259707.719 | 2613273.6985 | 1259709.8053 | 2613274.8635 | 1259713.0706
13 | 2613361.2004 | 1259768.5967 | 2613360.8005 | 1259768.7959 | 2613315.3116 | 1259785.9159
14 | 2613361.2004 | 1259768.5967 | 2613362.2041 | 1259767.9985 | 2613363.2989 | 1259767.1004 | 2613365.3026 | 1259764.2029 | 2613366.2968 | 1259761.103 | 2613366.6039 | 1259758.602 | 2613371.1025 | 1259758.9012 | 2613377.5986 | 1259759.0048 | 2613385.2035 | 1259758.6995 | 2613392.9671 | 1259758.25
15 | 2613361.2004 | 1259768.5967 | 2613360.2032 | 1259772.9974 | 2613358.1988 | 1259779.5974 | 2613357.7027 | 1259785.7004 | 2613357.6986 | 1259790.9039
16 | 2613332.279 | 1259734.7691 | 2613331.3509 | 1259730.8411
17 | 2613237.3541 | 1259805.6451 | 2613238.1028 | 1259805.8561
18 | 2613288.8725 | 1259527.4015 | 2613290.7489 | 1259553.2348
19 | 2613291.204 | 1259559.5003 | 2613290.7489 | 1259553.2348
20 | 2613290.7489 | 1259553.2348 | 2613251.4261 | 1259558.6979
21 | 2613291.204 | 1259559.5003 | 2613292.305 | 1259574.6584
22 | 2613342.4906 | 1259540.3203 | 2613339.5578 | 1259509.354
23 | 2613338.7847 | 1259501.191 | 2613339.5578 | 1259509.354
24 | 2613343.3123 | 1259548.9968 | 2613342.4906 | 1259540.3203
25 | 2613338.7847 | 1259501.191 | 2613337.0882 | 1259483.2791
26 | 2613293.186 | 1259586.7887 | 2613292.305 | 1259574.6584
27 | 2613293.186 | 1259586.7887 | 2613293.19 | 1259586.8436
28 | 2613272.8429 | 1259707.719 | 2613269.8007 | 1259700.3013 | 2613266.8649 | 1259693.7354
29 | 2613266.8649 | 1259693.7354 | 2613265.9987 | 1259691.7982 | 2613263.8024 | 1259686.5008 | 2613261.7016 | 1259678.9021 | 2613261.1935 | 1259676.1189
30 | 2613260.3721 | 1259671.6193 | 2613261.1935 | 1259676.1189
31 | 2613260.3721 | 1259671.6193 | 2613259.803 | 1259668.5019 | 2613258.104 | 1259659.8033 | 2613257.0976 | 1259651.5066 | 2613256.9213 | 1259649.537
32 | 2613256.9213 | 1259649.537 | 2613256.399 | 1259643.6998 | 2613256.5205 | 1259641.6425
33 | 2613327.6817 | 1259713.6819 | 2613330.7981 | 1259728.5013 | 2613331.3509 | 1259730.8411
34 | 2613322.6761 | 1259689.8792 | 2613327.6817 | 1259713.6819
35 | 2613322.6761 | 1259689.8792 | 2613321.4176 | 1259683.895
36 | 2613312.0017 | 1259787.1616 | 2613315.3116 | 1259785.9159
37 | 2613392.9671 | 1259758.25 | 2613394.2771 | 1259748.8021
38 | 2613392.9671 | 1259758.25 | 2613393.4356 | 1259769.7352
39 | 2613357.6986 | 1259790.9039 | 2613358.6011 | 1259795.0976 | 2613360.6007 | 1259800.7059 | 2613362.5614 | 1259806.7638
40 | 2613394.2771 | 1259748.8021 | 2613398.4002 | 1259748.5001 | 2613402.9024 | 1259747.1983 | 2613408.8024 | 1259744.2985 | 2613417.901 | 1259740.005 | 2613421.0544 | 1259738.1297
41 | 2613394.2771 | 1259748.8021 | 2613395.0732 | 1259738.7677
42 | 2613393.4356 | 1259769.7352 | 2613393.5241 | 1259771.905 | 2613398.892 | 1259797.2487
43 | 2613321.4176 | 1259683.895 | 2613321.1041 | 1259682.4039 | 2613316.9233 | 1259662.4717
44 | 2613312.0017 | 1259787.1616 | 2613287.5137 | 1259796.3778
45 | 2613362.5614 | 1259806.7638 | 2613362.8395 | 1259807.623
46 | 2613421.0544 | 1259738.1297 | 2613429.5228 | 1259733.0932
47 | 2613395.0732 | 1259738.7677 | 2613396.5111 | 1259720.6437 | 2613397.2545 | 1259710.1905
48 | 2613381.8363 | 1259558.9265 | 2613382.3145 | 1259563.2197
49 | 2613381.8363 | 1259558.9265 | 2613378.8813 | 1259532.398
50 | 2613382.6847 | 1259566.5433 | 2613382.3145 | 1259563.2197
51 | 2613376.906 | 1259514.0871 | 2613378.0725 | 1259525.1366 | 2613378.8813 | 1259532.398
52 | 2613382.6847 | 1259566.5433 | 2613383.7016 | 1259575.6723 | 2613385.4799 | 1259585.861
53 | 2613376.906 | 1259514.0871 | 2613374.9953 | 1259495.9877 | 2613373.6577 | 1259483.7065
54 | 2613398.2733 | 1259594.251 | 2613392.2868 | 1259591.9693 | 2613388.3038 | 1259590.2481 | 2613385.4799 | 1259585.861
55 | 2613373.6577 | 1259483.7065 | 2613337.0882 | 1259483.2791
56 | 2613371.433 | 1259457.6092 | 2613372.6914 | 1259474.8349 | 2613373.6577 | 1259483.7065
57 | 2613398.2733 | 1259594.251 | 2613399.9997 | 1259587.7148
58 | 2613395.6774 | 1259609.0774 | 2613398.2733 | 1259594.251
59 | 2613336.0781 | 1259472.6132 | 2613337.0882 | 1259483.2791
60 | 2613371.433 | 1259457.6092 | 2613371.1633 | 1259453.9173 | 2613371.1187 | 1259453.0002
61 | 2613399.6047 | 1259675.3614 | 2613399.5502 | 1259676.3316 | 2613399.1185 | 1259683.9803 | 2613398.0406 | 1259699.1359
62 | 2613399.6047 | 1259675.3614 | 2613399.6305 | 1259674.9019
63 | 2613398.0406 | 1259699.1359 | 2613397.2545 | 1259710.1905
64 | 2613399.6305 | 1259674.9019 | 2613399.9585 | 1259669.061 | 2613399.8855 | 1259657.9867 | 2613399.5847 | 1259656.1772
65 | 2613398.7543 | 1259651.1826 | 2613399.5847 | 1259656.1772
66 | 2613394.9725 | 1259614.1793 | 2613396.0258 | 1259635.0513 | 2613397.3872 | 1259642.9597 | 2613398.7543 | 1259651.1826
67 | 2613394.9725 | 1259614.1793 | 2613395.6774 | 1259609.0774
68 | 2613394.9725 | 1259614.1793 | 2613386.9463 | 1259614.05 | 2613373.908 | 1259616.0219
69 | 2613443.3078 | 1259723.7139 | 2613438.0219 | 1259727.2974 | 2613429.5228 | 1259733.0932 | 2613429.5228 | 1259733.0932
70 | 2613395.6774 | 1259609.0774 | 2613404.8403 | 1259609.7763 | 2613420.222 | 1259606.2289
71 | 2613367.5174 | 1259616.9884 | 2613373.908 | 1259616.0219
72 | 2613347.7001 | 1259618.7983 | 2613354.2037 | 1259619.0019 | 2613367.5174 | 1259616.9884
73 | 2613444.1684 | 1259723.1305 | 2613443.3078 | 1259723.7139
74 | 2613308.2037 | 1259620.9001 | 2613293.19 | 1259586.8436
75 | 2613308.2037 | 1259620.9001 | 2613311.6354 | 1259637.2613
76 | 2613313.5609 | 1259646.4414 | 2613311.6354 | 1259637.2613
77 | 2613247.3061 | 1259807.6682 | 2613247.3061 | 1259807.6682 | 2613243.2 | 1259807.1031 | 2613239.1024 | 1259806.1378 | 2613238.1028 | 1259805.8561
78 | 2613247.3061 | 1259807.6682 | 2613251.9036 | 1259807.5339 | 2613257.2639 | 1259806.6453 | 2613263.6061 | 1259804.8026 | 2613273.9006 | 1259801.5011 | 2613277.9555 | 1259799.975
79 | 2613277.9555 | 1259799.975 | 2613287.5137 | 1259796.3778
80 | 2613257.1122 | 1259633.4371 | 2613256.9003 | 1259635.2062 | 2613256.5205 | 1259641.6425
81 | 2613258.704 | 1259624.0027 | 2613257.7988 | 1259627.7032 | 2613257.1122 | 1259633.4371
82 | 2613316.9233 | 1259662.4717 | 2613313.5609 | 1259646.4414

## bus_geodata
| x | y | coords
0 | 2613209.1241 | 1259700.3293
1 | 2613230.1012 | 1259722.8058
2 | 2613195.7928 | 1259683.1694
3 | 2613225.8256 | 1259750.296
4 | 2613205.7125 | 1259665.4795
5 | 2613283.95 | 1259749.3883
6 | 2613280.2999 | 1259733.1394
7 | 2613335.4176 | 1259755.5299
8 | 2613219.0984 | 1259800.5006
9 | 2613205.9416 | 1259638.3864
10 | 2613274.8635 | 1259713.0706
11 | 2613361.2004 | 1259768.5967
12 | 2613332.279 | 1259734.7691
13 | 2613237.3541 | 1259805.6451
14 | 2613288.8725 | 1259527.4015
15 | 2613290.7489 | 1259553.2348
16 | 2613291.204 | 1259559.5003
17 | 2613251.4261 | 1259558.6979
18 | 2613339.5578 | 1259509.354
19 | 2613342.4906 | 1259540.3203
20 | 2613338.7847 | 1259501.191
21 | 2613292.305 | 1259574.6584
22 | 2613343.3123 | 1259548.9968
23 | 2613293.186 | 1259586.7887
24 | 2613272.8429 | 1259707.719
25 | 2613266.8649 | 1259693.7354
26 | 2613261.1935 | 1259676.1189
27 | 2613260.3721 | 1259671.6193
28 | 2613256.9213 | 1259649.537
29 | 2613331.3509 | 1259730.8411
30 | 2613327.6817 | 1259713.6819
31 | 2613322.6761 | 1259689.8792
32 | 2613315.3116 | 1259785.9159
33 | 2613392.9671 | 1259758.25
34 | 2613357.6986 | 1259790.9039
35 | 2613394.2771 | 1259748.8021
36 | 2613393.4356 | 1259769.7352
37 | 2613321.4176 | 1259683.895
38 | 2613312.0017 | 1259787.1616
39 | 2613362.5614 | 1259806.7638
40 | 2613421.0544 | 1259738.1297
41 | 2613395.0732 | 1259738.7677
42 | 2613398.892 | 1259797.2487
43 | 2613381.8363 | 1259558.9265
44 | 2613382.3145 | 1259563.2197
45 | 2613378.8813 | 1259532.398
46 | 2613382.6847 | 1259566.5433
47 | 2613376.906 | 1259514.0871
48 | 2613385.4799 | 1259585.861
49 | 2613373.6577 | 1259483.7065
50 | 2613398.2733 | 1259594.251
51 | 2613337.0882 | 1259483.2791
52 | 2613371.433 | 1259457.6092
53 | 2613399.6047 | 1259675.3614
54 | 2613398.0407 | 1259699.1359
55 | 2613399.6305 | 1259674.9019
56 | 2613397.2545 | 1259710.1905
57 | 2613399.5847 | 1259656.1772
58 | 2613398.7543 | 1259651.1826
59 | 2613394.9725 | 1259614.1793
60 | 2613371.1187 | 1259453.0002
61 | 2613336.0781 | 1259472.6132
62 | 2613429.5228 | 1259733.0932
63 | 2613395.6774 | 1259609.0774
64 | 2613373.908 | 1259616.0219
65 | 2613420.222 | 1259606.2289
66 | 2613367.5174 | 1259616.9884
67 | 2613399.9997 | 1259587.7148
68 | 2613347.7001 | 1259618.7983
69 | 2613443.3078 | 1259723.7139
70 | 2613444.1684 | 1259723.1304
71 | 2613293.19 | 1259586.8436
72 | 2613308.2037 | 1259620.9001
73 | 2613311.6354 | 1259637.2613
74 | 2613247.3061 | 1259807.6682
75 | 2613238.1028 | 1259805.8561
76 | 2613277.9555 | 1259799.975
77 | 2613287.5137 | 1259796.3778
78 | 2613257.1122 | 1259633.4371
79 | 2613256.5205 | 1259641.6425
80 | 2613258.704 | 1259624.0027
81 | 2613316.9233 | 1259662.4717
82 | 2613313.5609 | 1259646.4414
83 | 2613362.8395 | 1259807.623
84 | 2613308.2037 | 1259620.9001

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98217 | -0.34214 | 0.003122 | 0.00078245
1 | 0.98239 | -0.33783 | 0 | 0
2 | 0.98207 | -0.34396 | 0 | 0
3 | 0.98259 | -0.33394 | 0.0020619 | 0.00051675
4 | 0.98198 | -0.34579 | 0 | 0
5 | 0.98797 | -0.22952 | 0 | 0
6 | 0.98737 | -0.24121 | 0.0022758 | 0.00057038
7 | 0.98984 | -0.19333 | 0 | 0
8 | 0.98305 | -0.32497 | 0 | 0
9 | 0.98187 | -0.34806 | 0.0046236 | 0.0011588
10 | 0.98666 | -0.255 | 0.0021304 | 0.00053393
11 | 0.98619 | -0.26357 | 0 | 0
12 | 0.992 | -0.15189 | 0.0037432 | 0.00093814
13 | 0.98322 | -0.32161 | 0.0035799 | 0.0008972
14 | 0.99698 | -0.058043 | 0.005128 | 0.0012852
15 | 0.9971 | -0.055714 | 0.0054115 | 0.0013563
16 | 0.99718 | -0.054253 | 0.0071413 | 0.0017898
17 | 0.997 | -0.057615 | 0.0027298 | 0.00068414
18 | 0.97059 | -0.56857 | 0.0040522 | 0.0010156
19 | 0.97043 | -0.57185 | 0.003479 | 0.00087192
20 | 0.97067 | -0.56709 | 0.0022798 | 0.00057136
21 | 0.99746 | -0.048816 | 0.0034115 | 0.00085501
22 | 0.97041 | -0.57221 | 0.0022185 | 0.00055601
23 | 0.99772 | -0.043741 | 0.0020725 | 0.00051941
24 | 0.98648 | -0.25857 | 0.006804 | 0.0017052
25 | 0.98608 | -0.26622 | 0.0039473 | 0.00098929
26 | 0.98567 | -0.27426 | 0.0048485 | 0.0012151
27 | 0.98559 | -0.27584 | 0.0038269 | 0.0009591
28 | 0.98527 | -0.28204 | 0.0034903 | 0.00087475
29 | 0.99242 | -0.14384 | 0.0033057 | 0.00082848
30 | 0.99428 | -0.10845 | 0.0036342 | 0.00091081
31 | 0.99689 | -0.058827 | 0.0044436 | 0.0011137
32 | 0.98481 | -0.29054 | 0.0034202 | 0.00085718
33 | 0.98372 | -0.31152 | 0 | 0
34 | 0.98594 | -0.26845 | 0.0021093 | 0.00052864
35 | 0.98317 | -0.32215 | 0 | 0
36 | 0.98355 | -0.31479 | 0.0052361 | 0.0013123
37 | 0.99756 | -0.046155 | 0.0048835 | 0.0012239
38 | 0.98472 | -0.29227 | 0.0016598 | 0.000416
39 | 0.98579 | -0.27138 | 0.0045678 | 0.0011448
40 | 0.98241 | -0.33696 | 0.0041776 | 0.001047
41 | 0.98272 | -0.33081 | 0.0047665 | 0.0011946
42 | 0.98328 | -0.32013 | 0.010552 | 0.0026446
43 | 0.97362 | -0.50884 | 0.0024256 | 0.0006079
44 | 0.97376 | -0.50595 | 0.0023079 | 0.00057842
45 | 0.97277 | -0.52549 | 0.0034159 | 0.0008561
46 | 0.97388 | -0.50358 | 0.0023982 | 0.00060104
47 | 0.97225 | -0.53583 | 0.0025306 | 0.00063422
48 | 0.97463 | -0.48886 | 0.0046619 | 0.0011684
49 | 0.97145 | -0.5516 | 0.0026352 | 0.00066044
50 | 0.97531 | -0.47549 | 0 | 0
51 | 0.97087 | -0.56309 | 0.0017494 | 0.00043845
52 | 0.97125 | -0.55562 | 0.0037614 | 0.0009427
53 | 0.98012 | -0.38144 | 0.0050996 | 0.0012781
54 | 0.98106 | -0.36316 | 0.0036959 | 0.00092628
55 | 0.98009 | -0.3821 | 0.0053046 | 0.0013295
56 | 0.98151 | -0.3543 | 0.0023665 | 0.0005931
57 | 0.97879 | -0.40741 | 0.0057624 | 0.0014442
58 | 0.97847 | -0.41372 | 0.0039576 | 0.00099187
59 | 0.97623 | -0.45758 | 0 | 0
60 | 0.97123 | -0.556 | 0.0045467 | 0.0011395
61 | 0.97084 | -0.56373 | 0.0032246 | 0.00080815
62 | 0.98219 | -0.34123 | 0.010768 | 0.0026986
63 | 0.97598 | -0.46238 | 0 | 0
64 | 0.97596 | -0.46284 | 0.0054769 | 0.0013726
65 | 0.9759 | -0.46392 | 0.0033718 | 0.00084505
66 | 0.97591 | -0.4638 | 0.0028105 | 0.00070438
67 | 0.9753 | -0.47572 | 0.0018776 | 0.00047058
68 | 0.97581 | -0.46573 | 0.0052799 | 0.0013233
69 | 0.98199 | -0.34522 | 0.0073427 | 0.0018403
70 | 0.98198 | -0.34533 | 0.0058933 | 0.001477
71 | 0.99773 | -0.043716 | 0.0020668 | 0.000518
72 | 0.99867 | -0.025509 | 0.0034416 | 0.00086254
73 | 0.99915 | -0.016338 | 0.0027433 | 0.00068753
74 | 0.98336 | -0.31872 | 0.0022528 | 0.0005646
75 | 0.98323 | -0.32143 | 0.0025609 | 0.00064182
76 | 0.9839 | -0.3083 | 0.0035525 | 0.00089033
77 | 0.9841 | -0.3043 | 0.0037954 | 0.00095121
78 | 0.98514 | -0.2847 | 0.0036057 | 0.00090368
79 | 0.98519 | -0.28375 | 0.0054772 | 0.0013727
80 | 0.98511 | -0.2852 | 0.0028772 | 0.00072109
81 | 1 | 0 | -0.28482 | -0.072597
82 | 0.99944 | -0.010747 | 0.0034725 | 0.00087029
83 | 0.98579 | -0.27147 | 0.0052823 | 0.0013239
84 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0077469 | -0.0019412 | 0.0077485 | 0.0019418 | 1.5914e-06 | 6.285e-07 | 0.011737 | 0.011737 | 0.011737 | 0.98217 | -0.34214 | 0.98239 | -0.33783 | 3.2244
1 | 0.0046249 | 0.0011587 | -0.0046245 | -0.0011587 | 4.0061e-07 | -1.8965e-08 | 0.0070067 | 0.0070068 | 0.0070068 | 0.98217 | -0.34214 | 0.98207 | -0.34396 | 1.925
2 | -0.0077485 | -0.0019418 | 0.0077499 | 0.0019424 | 1.4371e-06 | 5.6741e-07 | 0.011737 | 0.011736 | 0.011737 | 0.98239 | -0.33783 | 0.98259 | -0.33394 | 3.2243
3 | 0.0046245 | 0.0011587 | -0.0046241 | -0.0011588 | 4.0309e-07 | -1.9022e-08 | 0.0070068 | 0.0070069 | 0.0070069 | 0.98207 | -0.34396 | 0.98198 | -0.34579 | 1.925
4 | -0.0098118 | -0.0024591 | 0.009816 | 0.0024612 | 4.194e-06 | 2.0423e-06 | 0.014859 | 0.014859 | 0.014859 | 0.98259 | -0.33394 | 0.98305 | -0.32497 | 4.0821
5 | 0.0046241 | 0.0011588 | -0.0046236 | -0.0011588 | 4.9885e-07 | -2.3457e-08 | 0.0070069 | 0.0070071 | 0.0070071 | 0.98198 | -0.34579 | 0.98187 | -0.34806 | 1.925
6 | 0.039362 | 0.0098943 | -0.03934 | -0.0098805 | 2.1958e-05 | 1.384e-05 | 0.059295 | 0.059295 | 0.059295 | 0.98797 | -0.22952 | 0.98737 | -0.24121 | 16.29
7 | -0.039362 | -0.0098943 | 0.039431 | 0.0099373 | 6.8154e-05 | 4.2956e-05 | 0.059295 | 0.059295 | 0.059295 | 0.98797 | -0.22952 | 0.98984 | -0.19333 | 16.2899
8 | 0.037065 | 0.0093101 | -0.03704 | -0.0092947 | 2.4367e-05 | 1.5329e-05 | 0.055866 | 0.055866 | 0.055866 | 0.98737 | -0.24121 | 0.98666 | -0.255 | 15.3477
9 | 0.18384 | 0.046768 | -0.18322 | -0.046372 | 0.00062004 | 0.00039572 | 0.27661 | 0.27661 | 0.27661 | 0.98984 | -0.19333 | 0.98619 | -0.26357 | 37.9956
10 | -0.22327 | -0.056705 | 0.22371 | 0.05699 | 0.00044628 | 0.00028508 | 0.3359 | 0.3359 | 0.3359 | 0.98984 | -0.19333 | 0.992 | -0.15189 | 46.1404
11 | -0.009816 | -0.0024612 | 0.0098176 | 0.0024619 | 1.5703e-06 | 7.6448e-07 | 0.014859 | 0.014859 | 0.014859 | 0.98305 | -0.32497 | 0.98322 | -0.32161 | 4.082
12 | 0.03491 | 0.0087608 | -0.034904 | -0.0087571 | 5.9485e-06 | 3.734e-06 | 0.052653 | 0.052653 | 0.052653 | 0.98666 | -0.255 | 0.98648 | -0.25857 | 14.4651
13 | 0.030711 | 0.0077246 | -0.030671 | -0.0076999 | 3.9513e-05 | 2.4663e-05 | 0.046348 | 0.046348 | 0.046348 | 0.98619 | -0.26357 | 0.98481 | -0.29054 | 12.733
14 | 0.14054 | 0.035648 | -0.14022 | -0.035442 | 0.00032318 | 0.00020586 | 0.21221 | 0.21221 | 0.21221 | 0.98619 | -0.26357 | 0.98372 | -0.31152 | 29.1495
15 | 0.011964 | 0.0029995 | -0.011961 | -0.002998 | 2.7784e-06 | 1.4881e-06 | 0.018052 | 0.018052 | 0.018052 | 0.98619 | -0.26357 | 0.98594 | -0.26845 | 4.9593
16 | -0.22746 | -0.057928 | 0.22754 | 0.057985 | 8.8267e-05 | 5.6386e-05 | 0.34152 | 0.34152 | 0.34152 | 0.992 | -0.15189 | 0.99242 | -0.14384 | 46.9117
17 | -0.013397 | -0.0033591 | 0.013398 | 0.0033592 | 1.1993e-07 | 6.6889e-08 | 0.020276 | 0.020276 | 0.020276 | 0.98322 | -0.32161 | 0.98323 | -0.32143 | 5.5704
18 | -0.005128 | -0.0012852 | 0.0051286 | 0.0012852 | 5.6897e-07 | 2.6338e-08 | 0.0076537 | 0.0076536 | 0.0076537 | 0.99698 | -0.058043 | 0.9971 | -0.055714 | 2.1027
19 | -0.01327 | -0.0033253 | 0.013271 | 0.0033258 | 9.2386e-07 | 5.0933e-07 | 0.019803 | 0.019803 | 0.019803 | 0.9971 | -0.055714 | 0.99718 | -0.054253 | 5.4405
20 | 0.00273 | 0.00068378 | -0.0027298 | -0.00068414 | 2.471e-07 | -3.5963e-07 | 0.0040739 | 0.0040741 | 0.0040741 | 0.9971 | -0.055714 | 0.997 | -0.057615 | 1.1193
21 | -0.020412 | -0.0051156 | 0.020418 | 0.0051187 | 5.2877e-06 | 3.1858e-06 | 0.03046 | 0.03046 | 0.03046 | 0.99718 | -0.054253 | 0.99746 | -0.048816 | 8.3681
22 | 0.0056984 | 0.001428 | -0.0056975 | -0.0014278 | 8.9025e-07 | 1.854e-07 | 0.0087362 | 0.0087364 | 0.0087364 | 0.97059 | -0.56857 | 0.97043 | -0.57185 | 2.4001
23 | -0.0097506 | -0.0024436 | 0.0097513 | 0.0024439 | 6.8711e-07 | 3.384e-07 | 0.014949 | 0.014949 | 0.014949 | 0.97059 | -0.56857 | 0.97067 | -0.56709 | 4.1068
24 | 0.0022185 | 0.00055592 | -0.0022185 | -0.00055601 | 3.7821e-08 | -8.3469e-08 | 0.0034018 | 0.0034018 | 0.0034018 | 0.97043 | -0.57185 | 0.97041 | -0.57221 | 0.93456
25 | -0.012031 | -0.0030153 | 0.012033 | 0.0030166 | 2.2951e-06 | 1.2464e-06 | 0.018443 | 0.018443 | 0.018443 | 0.97067 | -0.56709 | 0.97087 | -0.56309 | 5.0669
26 | -0.023829 | -0.0059737 | 0.023835 | 0.0059773 | 5.7637e-06 | 3.53e-06 | 0.035549 | 0.035549 | 0.035549 | 0.99746 | -0.048816 | 0.99772 | -0.043741 | 9.7662
27 | -0.025907 | -0.0064967 | 0.025907 | 0.0064967 | 3.082e-08 | 1.9005e-08 | 0.03864 | 0.03864 | 0.03864 | 0.99772 | -0.043741 | 0.99773 | -0.043716 | 10.6153
28 | 0.0281 | 0.0070518 | -0.02809 | -0.0070455 | 1.0249e-05 | 6.3651e-06 | 0.04239 | 0.04239 | 0.04239 | 0.98648 | -0.25857 | 0.98608 | -0.26622 | 11.6455
29 | 0.024142 | 0.0060562 | -0.024133 | -0.0060505 | 9.2433e-06 | 5.6789e-06 | 0.036433 | 0.036433 | 0.036433 | 0.98608 | -0.26622 | 0.98567 | -0.27426 | 10.0091
30 | 0.019285 | 0.0048354 | -0.019283 | -0.0048345 | 1.4538e-06 | 8.7216e-07 | 0.029114 | 0.029114 | 0.029114 | 0.98567 | -0.27426 | 0.98559 | -0.27584 | 7.9983
31 | 0.015456 | 0.0038754 | -0.015452 | -0.0038728 | 4.5677e-06 | 2.6383e-06 | 0.023336 | 0.023336 | 0.023336 | 0.98559 | -0.27584 | 0.98527 | -0.28204 | 6.411
32 | 0.011961 | 0.002998 | -0.01196 | -0.0029975 | 9.6941e-07 | 5.1954e-07 | 0.018065 | 0.018065 | 0.018065 | 0.98527 | -0.28204 | 0.98519 | -0.28375 | 4.9629
33 | -0.23085 | -0.058813 | 0.23125 | 0.059066 | 0.00039497 | 0.00025233 | 0.34647 | 0.34647 | 0.34647 | 0.99242 | -0.14384 | 0.99428 | -0.10845 | 47.5925
34 | -0.23488 | -0.059976 | 0.23544 | 0.060337 | 0.0005648 | 0.00036084 | 0.35191 | 0.35191 | 0.35191 | 0.99428 | -0.10845 | 0.99689 | -0.058827 | 48.3396
35 | -0.23989 | -0.061451 | 0.24004 | 0.061545 | 0.0001474 | 9.4175e-05 | 0.35854 | 0.35854 | 0.35854 | 0.99689 | -0.058827 | 0.99756 | -0.046155 | 49.2506
36 | 0.027251 | 0.0068427 | -0.027249 | -0.0068413 | 2.249e-06 | 1.3944e-06 | 0.04118 | 0.04118 | 0.04118 | 0.98481 | -0.29054 | 0.98472 | -0.29227 | 11.3133
37 | 0.12443 | 0.031483 | -0.12436 | -0.031442 | 6.3429e-05 | 4.0353e-05 | 0.18832 | 0.18832 | 0.18832 | 0.98372 | -0.31152 | 0.98317 | -0.32215 | 25.8679
38 | 0.015793 | 0.0039597 | -0.015791 | -0.0039582 | 2.4602e-06 | 1.4286e-06 | 0.02389 | 0.02389 | 0.02389 | 0.98372 | -0.31152 | 0.98355 | -0.31479 | 6.5633
39 | 0.0098515 | 0.0024694 | -0.0098502 | -0.0024687 | 1.3771e-06 | 6.6952e-07 | 0.014868 | 0.014868 | 0.014868 | 0.98594 | -0.26845 | 0.98579 | -0.27138 | 4.0847
40 | 0.028208 | 0.0070796 | -0.028189 | -0.0070673 | 1.991e-05 | 1.2374e-05 | 0.042697 | 0.042697 | 0.042697 | 0.98317 | -0.32215 | 0.98241 | -0.33696 | 11.7299
41 | 0.096153 | 0.024363 | -0.096113 | -0.024337 | 4.0023e-05 | 2.5359e-05 | 0.14562 | 0.14562 | 0.14562 | 0.98317 | -0.32215 | 0.98272 | -0.33081 | 20.003
42 | 0.010555 | 0.002646 | -0.010552 | -0.0026446 | 2.6849e-06 | 1.3621e-06 | 0.015969 | 0.015969 | 0.015969 | 0.98355 | -0.31479 | 0.98328 | -0.32013 | 4.387
43 | -0.24492 | -0.062769 | 0.24547 | 0.06312 | 0.00054928 | 0.00035097 | 0.36583 | 0.36583 | 0.36583 | 0.99756 | -0.046155 | 1 | 0 | 50.2512
44 | 0.025589 | 0.0064253 | -0.025574 | -0.0064163 | 1.4674e-05 | 9.0586e-06 | 0.038672 | 0.038672 | 0.038672 | 0.98472 | -0.29227 | 0.9841 | -0.3043 | 10.6242
45 | 0.0052824 | 0.0013239 | -0.0052823 | -0.0013239 | 2.1529e-08 | 2.266e-09 | 0.0079735 | 0.0079735 | 0.0079735 | 0.98579 | -0.27138 | 0.98579 | -0.27147 | 2.1905
46 | 0.024011 | 0.0060203 | -0.024006 | -0.0060173 | 4.8872e-06 | 3.0031e-06 | 0.036369 | 0.036369 | 0.036369 | 0.98241 | -0.33696 | 0.98219 | -0.34123 | 9.9916
47 | 0.091347 | 0.023143 | -0.091244 | -0.023077 | 0.00010294 | 6.5157e-05 | 0.1384 | 0.13841 | 0.13841 | 0.98272 | -0.33081 | 0.98151 | -0.3543 | 19.0117
48 | -0.036397 | -0.0091496 | 0.036402 | 0.0091527 | 5.0144e-06 | 3.1555e-06 | 0.055637 | 0.055637 | 0.055637 | 0.97362 | -0.50884 | 0.97376 | -0.50595 | 15.2848
49 | 0.033971 | 0.0085417 | -0.033944 | -0.0085247 | 2.6993e-05 | 1.6944e-05 | 0.05193 | 0.05193 | 0.05193 | 0.97362 | -0.50884 | 0.97277 | -0.52549 | 14.2664
50 | -0.03871 | -0.0097312 | 0.038714 | 0.0097339 | 4.3896e-06 | 2.7677e-06 | 0.059163 | 0.059163 | 0.059163 | 0.97376 | -0.50595 | 0.97388 | -0.50358 | 16.2537
51 | 0.030528 | 0.0076686 | -0.030513 | -0.0076592 | 1.5065e-05 | 9.4131e-06 | 0.046705 | 0.046705 | 0.046705 | 0.97277 | -0.52549 | 0.97225 | -0.53583 | 12.8309
52 | -0.041112 | -0.010335 | 0.041141 | 0.010353 | 2.8906e-05 | 1.8257e-05 | 0.062828 | 0.062827 | 0.062828 | 0.97388 | -0.50358 | 0.97463 | -0.48886 | 17.2603
53 | 0.027983 | 0.007025 | -0.027962 | -0.0070119 | 2.102e-05 | 1.3074e-05 | 0.042832 | 0.042832 | 0.042832 | 0.97225 | -0.53583 | 0.97145 | -0.5516 | 11.767
54 | -0.045803 | -0.011522 | 0.045832 | 0.01154 | 2.9286e-05 | 1.8544e-05 | 0.069945 | 0.069945 | 0.069945 | 0.97463 | -0.48886 | 0.97531 | -0.47549 | 19.2157
55 | 0.017017 | 0.0042686 | -0.017007 | -0.0042631 | 9.3187e-06 | 5.5114e-06 | 0.026067 | 0.026067 | 0.026067 | 0.97145 | -0.5516 | 0.97087 | -0.56309 | 7.1612
56 | 0.0083098 | 0.0020829 | -0.0083082 | -0.0020822 | 1.5916e-06 | 6.9434e-07 | 0.012729 | 0.012729 | 0.012729 | 0.97145 | -0.5516 | 0.97125 | -0.55562 | 3.4969
57 | 0.0018777 | 0.00047051 | -0.0018776 | -0.00047058 | 2.0805e-08 | -7.1051e-08 | 0.0028647 | 0.0028647 | 0.0028647 | 0.97531 | -0.47549 | 0.9753 | -0.47572 | 0.78701
58 | -0.04771 | -0.012011 | 0.04774 | 0.01203 | 2.9923e-05 | 1.8963e-05 | 0.07281 | 0.07281 | 0.07281 | 0.97531 | -0.47549 | 0.97598 | -0.46238 | 20.0026
59 | 0.0032247 | 0.00080808 | -0.0032246 | -0.00080815 | 9.8135e-08 | -6.9675e-08 | 0.0049423 | 0.0049423 | 0.0049423 | 0.97087 | -0.56309 | 0.97084 | -0.56373 | 1.3578
60 | 0.0045468 | 0.0011395 | -0.0045467 | -0.0011395 | 8.4068e-08 | -3.3708e-09 | 0.0069659 | 0.006966 | 0.006966 | 0.97125 | -0.55562 | 0.97123 | -0.556 | 1.9137
61 | -0.085069 | -0.021487 | 0.085144 | 0.021534 | 7.4587e-05 | 4.7135e-05 | 0.12921 | 0.12921 | 0.12921 | 0.98012 | -0.38144 | 0.98106 | -0.36316 | 17.7489
62 | 0.07997 | 0.020209 | -0.079967 | -0.020207 | 2.5466e-06 | 1.624e-06 | 0.12147 | 0.12147 | 0.12147 | 0.98012 | -0.38144 | 0.98009 | -0.3821 | 33.3708
63 | -0.08884 | -0.02246 | 0.088878 | 0.022484 | 3.7769e-05 | 2.3892e-05 | 0.13482 | 0.13482 | 0.13482 | 0.98106 | -0.36316 | 0.98151 | -0.3543 | 18.5189
64 | 0.074663 | 0.018878 | -0.074572 | -0.01882 | 9.0488e-05 | 5.7676e-05 | 0.11342 | 0.11342 | 0.11342 | 0.98009 | -0.3821 | 0.97879 | -0.40741 | 31.1583
65 | 0.06881 | 0.017376 | -0.068789 | -0.017363 | 2.0796e-05 | 1.3246e-05 | 0.10466 | 0.10466 | 0.10466 | 0.97879 | -0.40741 | 0.97847 | -0.41372 | 28.7516
66 | 0.064831 | 0.016371 | -0.064695 | -0.016284 | 0.00013594 | 8.6534e-05 | 0.098637 | 0.098637 | 0.098637 | 0.97847 | -0.41372 | 0.97623 | -0.45758 | 27.0982
67 | 0.051124 | 0.012882 | -0.051112 | -0.012875 | 1.1735e-05 | 7.4459e-06 | 0.077951 | 0.077951 | 0.077951 | 0.97623 | -0.45758 | 0.97598 | -0.46238 | 21.415
68 | 0.013571 | 0.0034024 | -0.013568 | -0.0034005 | 3.4044e-06 | 1.9136e-06 | 0.020687 | 0.020687 | 0.020687 | 0.97623 | -0.45758 | 0.97596 | -0.46284 | 5.6832
69 | 0.013239 | 0.0033187 | -0.013236 | -0.0033173 | 2.5152e-06 | 1.3987e-06 | 0.020057 | 0.020057 | 0.020057 | 0.98219 | -0.34123 | 0.98199 | -0.34522 | 5.5101
70 | 0.003372 | 0.00084489 | -0.0033718 | -0.00084505 | 2.4754e-07 | -1.5365e-07 | 0.005141 | 0.0051412 | 0.0051412 | 0.97598 | -0.46238 | 0.9759 | -0.46392 | 1.4124
71 | 0.0080912 | 0.0020279 | -0.0080909 | -0.0020277 | 3.6887e-07 | 1.5531e-07 | 0.012336 | 0.012336 | 0.012336 | 0.97596 | -0.46284 | 0.97591 | -0.4638 | 3.3891
72 | 0.0052803 | 0.0013233 | -0.0052799 | -0.0013233 | 4.8548e-07 | 6.1189e-08 | 0.0080512 | 0.0080513 | 0.0080513 | 0.97591 | -0.4638 | 0.97581 | -0.46573 | 2.2119
73 | 0.0058933 | 0.001477 | -0.0058933 | -0.001477 | 3.1095e-08 | 6.7467e-09 | 0.0089302 | 0.0089302 | 0.0089302 | 0.98199 | -0.34522 | 0.98198 | -0.34533 | 2.4533
74 | -0.027974 | -0.0070147 | 0.027999 | 0.0070298 | 2.4296e-05 | 1.5063e-05 | 0.041722 | 0.041722 | 0.041722 | 0.99773 | -0.043716 | 0.99867 | -0.025509 | 11.4622
75 | -0.03144 | -0.0078923 | 0.031454 | 0.0079009 | 1.376e-05 | 8.5875e-06 | 0.04685 | 0.04685 | 0.04685 | 0.99867 | -0.025509 | 0.99915 | -0.016338 | 12.8709
76 | -0.034197 | -0.0085884 | 0.034206 | 0.0085941 | 9.1257e-06 | 5.7176e-06 | 0.050936 | 0.050935 | 0.050936 | 0.99915 | -0.016338 | 0.99944 | -0.010747 | 13.9933
77 | 0.015961 | 0.0040022 | -0.015958 | -0.004001 | 2.0547e-06 | 1.1959e-06 | 0.024152 | 0.024152 | 0.024152 | 0.98336 | -0.31872 | 0.98323 | -0.32143 | 6.6352
78 | -0.018213 | -0.0045668 | 0.018222 | 0.0045722 | 9.0528e-06 | 5.3904e-06 | 0.027561 | 0.027561 | 0.027561 | 0.98336 | -0.31872 | 0.9839 | -0.3083 | 7.5717
79 | -0.021775 | -0.0054625 | 0.021779 | 0.0054651 | 4.1538e-06 | 2.5287e-06 | 0.032933 | 0.032933 | 0.032933 | 0.9839 | -0.3083 | 0.9841 | -0.3043 | 9.0476
80 | -0.006483 | -0.0016247 | 0.0064832 | 0.0016248 | 2.9591e-07 | 8.4598e-08 | 0.0097922 | 0.0097922 | 0.0097922 | 0.98514 | -0.2847 | 0.98519 | -0.28375 | 2.6902
81 | 0.0028772 | 0.00072101 | -0.0028772 | -0.00072109 | 6.7884e-08 | -7.8582e-08 | 0.0043459 | 0.004346 | 0.004346 | 0.98514 | -0.2847 | 0.98511 | -0.2852 | 1.1939
82 | 0.037698 | 0.0094766 | -0.037679 | -0.0094644 | 1.9335e-05 | 1.2159e-05 | 0.056105 | 0.056105 | 0.056105 | 1 | 0 | 0.99944 | -0.010747 | 15.4136

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.28857 | 0.073538

## res_load
| p_mw | q_mvar
0 | 0.003122 | 0.00078245
1 | 0.0020619 | 0.00051675
2 | 0.0022758 | 0.00057038
3 | 0.0046236 | 0.0011588
4 | 0.0021304 | 0.00053393
5 | 0.0037432 | 0.00093814
6 | 0.0035799 | 0.0008972
7 | 0.005128 | 0.0012852
8 | 0.0054115 | 0.0013563
9 | 0.0071413 | 0.0017898
10 | 0.0027298 | 0.00068414
11 | 0.0040522 | 0.0010156
12 | 0.003479 | 0.00087192
13 | 0.0022798 | 0.00057136
14 | 0.0034115 | 0.00085501
15 | 0.0022185 | 0.00055601
16 | 0.0020725 | 0.00051941
17 | 0.006804 | 0.0017052
18 | 0.0039473 | 0.00098929
19 | 0.0048485 | 0.0012151
20 | 0.0038269 | 0.0009591
21 | 0.0034903 | 0.00087475
22 | 0.0033057 | 0.00082848
23 | 0.0036342 | 0.00091081
24 | 0.0044436 | 0.0011137
25 | 0.0034202 | 0.00085718
26 | 0.0021093 | 0.00052864
27 | 0.0052361 | 0.0013123
28 | 0.0048835 | 0.0012239
29 | 0.0016598 | 0.000416
30 | 0.0045678 | 0.0011448
31 | 0.0041776 | 0.001047
32 | 0.0047665 | 0.0011946
33 | 0.010552 | 0.0026446
34 | 0.0024256 | 0.0006079
35 | 0.0023079 | 0.00057842
36 | 0.0034159 | 0.0008561
37 | 0.0023982 | 0.00060104
38 | 0.0025306 | 0.00063422
39 | 0.0046619 | 0.0011684
40 | 0.0026352 | 0.00066044
41 | 0.0017494 | 0.00043845
42 | 0.0037614 | 0.0009427
43 | 0.0050996 | 0.0012781
44 | 0.0036959 | 0.00092628
45 | 0.0053046 | 0.0013295
46 | 0.0023665 | 0.0005931
47 | 0.0057624 | 0.0014442
48 | 0.0039576 | 0.00099187
49 | 0.0045467 | 0.0011395
50 | 0.0032246 | 0.00080815
51 | 0.010768 | 0.0026986
52 | 0.0054769 | 0.0013726
53 | 0.0033718 | 0.00084505
54 | 0.0028105 | 0.00070438
55 | 0.0018776 | 0.00047058
56 | 0.0052799 | 0.0013233
57 | 0.0073427 | 0.0018403
58 | 0.0058933 | 0.001477
59 | 0.0020668 | 0.000518
60 | 0.0034416 | 0.00086254
61 | 0.0027433 | 0.00068753
62 | 0.0022528 | 0.0005646
63 | 0.0025609 | 0.00064182
64 | 0.0035525 | 0.00089033
65 | 0.0037954 | 0.00095121
66 | 0.0036057 | 0.00090368
67 | 0.0054772 | 0.0013727
68 | 0.0028772 | 0.00072109
69 | 0.003757 | 0.00094158
70 | 0.0034725 | 0.00087029
71 | 0.0052823 | 0.0013239

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1