## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2473-8_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2473-8_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2473-8_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2473-8_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2473-8_0_2_node_68 | 0.4 | n |  | TRUE
5 | bus_LV_2473-8_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_2473-8_0_2_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_2473-8_0_2_node_51 | 0.4 | n |  | TRUE
8 | bus_LV_2473-8_0_2_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_2473-8_0_2_node_53 | 0.4 | n |  | TRUE
10 | bus_LV_2473-8_0_2_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_2473-8_0_2_node_54 | 0.4 | n |  | TRUE
12 | bus_LV_2473-8_0_2_node_79 | 0.4 | n |  | TRUE
13 | bus_LV_2473-8_0_2_node_66 | 0.4 | n |  | TRUE
14 | bus_LV_2473-8_0_2_node_65 | 0.4 | n |  | TRUE
15 | bus_LV_2473-8_0_2_node_67 | 0.4 | n |  | TRUE
16 | bus_LV_2473-8_0_2_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_2473-8_0_2_node_70 | 0.4 | n |  | TRUE
18 | bus_LV_2473-8_0_2_node_71 | 0.4 | n |  | TRUE
19 | bus_LV_2473-8_0_2_node_107 | 0.4 | n |  | TRUE
20 | bus_LV_2473-8_0_2_node_92 | 0.4 | n |  | TRUE
21 | bus_LV_2473-8_0_2_node_75 | 0.4 | n |  | TRUE
22 | bus_LV_2473-8_0_2_node_76 | 0.4 | n |  | TRUE
23 | bus_LV_2473-8_0_2_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_2473-8_0_2_node_78 | 0.4 | n |  | TRUE
25 | bus_LV_2473-8_0_2_node_80 | 0.4 | n |  | TRUE
26 | bus_LV_2473-8_0_2_node_82 | 0.4 | n |  | TRUE
27 | bus_LV_2473-8_0_2_node_98 | 0.4 | n |  | TRUE
28 | bus_LV_2473-8_0_2_node_105 | 0.4 | n |  | TRUE
29 | bus_LV_2473-8_0_2_node_81 | 0.4 | n |  | TRUE
30 | bus_LV_2473-8_0_2_node_83 | 0.4 | n |  | TRUE
31 | bus_LV_2473-8_0_2_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_2473-8_0_2_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_2473-8_0_2_node_110 | 0.4 | n |  | TRUE
34 | bus_LV_2473-8_0_2_node_111 | 0.4 | n |  | TRUE
35 | bus_LV_2473-8_0_2_node_93 | 0.4 | n |  | TRUE
36 | bus_LV_2473-8_0_2_node_94 | 0.4 | n |  | TRUE
37 | bus_LV_2473-8_0_2_node_99 | 0.4 | n |  | TRUE
38 | bus_LV_2473-8_0_2_node_106 | 0.4 | n |  | TRUE
39 | bus_LV_2473-8_0_2_node_108 | 0.4 | n |  | TRUE
40 | bus_LV_2473-8_0_2_node_109 | 0.4 | n |  | TRUE
41 | bus_MV_286_0_node_94 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2473-8_0_2_load_0 | 0 | 0.0021047 | 0.00052748 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2473-8_0_2_load_3 | 3 | 0.0030983 | 0.0007765 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2473-8_0_2_load_68 | 4 | 0.014498 | 0.0036335 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2473-8_0_2_load_4 | 5 | 0.0020955 | 0.00052519 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2473-8_0_2_load_24 | 6 | 0.0010331 | 0.00025893 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2473-8_0_2_load_51 | 7 | 0.0033613 | 0.00084242 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2473-8_0_2_load_53 | 9 | 0.0014144 | 0.00035449 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2473-8_0_2_load_79 | 12 | 0.0077003 | 0.0019299 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2473-8_0_2_load_66 | 13 | 0.0054411 | 0.0013637 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2473-8_0_2_load_65 | 14 | 0.0027341 | 0.00068524 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2473-8_0_2_load_67 | 15 | 0.015672 | 0.0039277 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2473-8_0_2_load_71 | 18 | 0.013241 | 0.0033186 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2473-8_0_2_load_107 | 19 | 0.01571 | 0.0039373 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2473-8_0_2_load_92 | 20 | 0.0035492 | 0.00088951 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2473-8_0_2_load_75 | 21 | 0.0047431 | 0.0011887 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2473-8_0_2_load_78 | 24 | 0.010898 | 0.0027312 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2473-8_0_2_load_105 | 28 | 0.0060377 | 0.0015132 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2473-8_0_2_load_81 | 29 | 0.0061402 | 0.0015389 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2473-8_0_2_load_84 | 31 | 0.0072487 | 0.0018167 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2473-8_0_2_load_110 | 33 | 0.011736 | 0.0029412 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2473-8_0_2_load_111 | 34 | 0.010901 | 0.0027321 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2473-8_0_2_load_94 | 36 | 0.0076689 | 0.001922 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2473-8_0_2_load_106 | 38 | 0.015694 | 0.0039333 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2473-8_0_2_load_109 | 40 | 0.015655 | 0.0039234 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2473-8_0_2_line_0 |  | 0 | 1 | 0.010222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2473-8_0_2_line_1 |  | 0 | 2 | 0.010404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2473-8_0_2_line_2 |  | 1 | 3 | 0.09779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2473-8_0_2_line_3 |  | 1 | 4 | 0.15395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2473-8_0_2_line_4 |  | 2 | 5 | 0.010086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2473-8_0_2_line_5 |  | 4 | 15 | 0.01353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2473-8_0_2_line_6 |  | 6 | 7 | 0.0042848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2473-8_0_2_line_7 |  | 7 | 8 | 0.019479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2473-8_0_2_line_8 |  | 8 | 9 | 0.038624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2473-8_0_2_line_9 |  | 8 | 10 | 0.012126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2473-8_0_2_line_10 |  | 10 | 13 | 0.018182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2473-8_0_2_line_11 |  | 10 | 11 | 0.034935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2473-8_0_2_line_12 |  | 11 | 12 | 0.015803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2473-8_0_2_line_13 |  | 12 | 23 | 0.030344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2473-8_0_2_line_14 |  | 13 | 14 | 0.007017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2473-8_0_2_line_15 |  | 15 | 16 | 0.051851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2473-8_0_2_line_16 |  | 16 | 17 | 0.00973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2473-8_0_2_line_17 |  | 16 | 18 | 0.026601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2473-8_0_2_line_18 |  | 17 | 19 | 0.049347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2473-8_0_2_line_19 |  | 18 | 20 | 0.018895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2473-8_0_2_line_20 |  | 19 | 38 | 0.016589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2473-8_0_2_line_21 |  | 20 | 35 | 0.010819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2473-8_0_2_line_22 |  | 21 | 22 | 0.01541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2473-8_0_2_line_23 |  | 21 | 23 | 0.015116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2473-8_0_2_line_24 |  | 22 | 24 | 0.014284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2473-8_0_2_line_25 |  | 23 | 25 | 0.020888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2473-8_0_2_line_26 |  | 24 | 26 | 0.021306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2473-8_0_2_line_27 |  | 25 | 27 | 0.013887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2473-8_0_2_line_28 |  | 25 | 28 | 0.013233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2473-8_0_2_line_29 |  | 26 | 31 | 0.022029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2473-8_0_2_line_30 |  | 26 | 29 | 0.028227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2473-8_0_2_line_31 |  | 27 | 36 | 0.018738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2473-8_0_2_line_32 |  | 28 | 37 | 0.029032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2473-8_0_2_line_33 |  | 29 | 30 | 0.027974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2473-8_0_2_line_34 |  | 30 | 32 | 0.032212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2473-8_0_2_line_35 |  | 31 | 33 | 0.010185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2473-8_0_2_line_36 |  | 32 | 34 | 0.017289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2473-8_0_2_line_37 |  | 35 | 36 | 0.021496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2473-8_0_2_line_38 |  | 38 | 39 | 0.041885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2473-8_0_2_line_39 |  | 39 | 40 | 0.007967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2473-8_0_2_trafo_99 | 0.63 MVA 20/0.4 kV | 41 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2613131.8041 | 1258122.698 | 2613140.7709 | 1258127.6055
1 | 2613149.8972 | 1258132.6002 | 2613140.7709 | 1258127.6055
2 | 2613131.8041 | 1258122.698 | 2613106.5008 | 1258100.6051 | 2613066.6449 | 1258050.2764
3 | 2612999.9667 | 1258202.1848 | 2613131.8041 | 1258122.698
4 | 2613149.8972 | 1258132.6002 | 2613148.7974 | 1258135.5998 | 2613148.0026 | 1258140.5013 | 2613147.6893 | 1258142.4019
5 | 2612986.5632 | 1258204.0283 | 2612999.9667 | 1258202.1848
6 | 2612812.9961 | 1258255.8315 | 2612811.8189 | 1258259.9513
7 | 2612818.3478 | 1258237.1021 | 2612812.9961 | 1258255.8315
8 | 2612818.3478 | 1258237.1021 | 2612840.7494 | 1258231.1909 | 2612856.0573 | 1258229.0587
9 | 2612818.3478 | 1258237.1021 | 2612820.4748 | 1258229.5683 | 2612821.4336 | 1258225.3787
10 | 2612821.4336 | 1258225.3787 | 2612803.5319 | 1258228.5571
11 | 2612821.4336 | 1258225.3787 | 2612820.4748 | 1258229.5683 | 2612830.7968 | 1258228.6455 | 2612833.2281 | 1258226.7829 | 2612850.1137 | 1258223.4504
12 | 2612850.1137 | 1258223.4504 | 2612851.842 | 1258219.0623 | 2612849.4908 | 1258208.2277
13 | 2612852.2985 | 1258178.7807 | 2612853.2728 | 1258188.3781 | 2612850.9402 | 1258193.3653 | 2612851.6873 | 1258199.9602 | 2612849.4908 | 1258208.2277
14 | 2612796.6229 | 1258229.7838 | 2612803.5319 | 1258228.5571
15 | 2612935.1961 | 1258211.0932 | 2612986.5632 | 1258204.0283
16 | 2612935.1961 | 1258211.0932 | 2612934.4013 | 1258209.1012 | 2612931.122 | 1258202.2562
17 | 2612935.1961 | 1258211.0932 | 2612926.2675 | 1258212.5192 | 2612922.1145 | 1258215.6901 | 2612909.9597 | 1258217.7882
18 | 2612931.122 | 1258202.2562 | 2612951.3737 | 1258197.1524 | 2612956.8442 | 1258191.327 | 2612953.7923 | 1258176.9552 | 2612951.2174 | 1258171.7823
19 | 2612891.3401 | 1258221.0024 | 2612909.9597 | 1258217.7882
20 | 2612943.8249 | 1258156.9311 | 2612943.8249 | 1258156.9311 | 2612951.2174 | 1258171.7823
21 | 2612881.1308 | 1258218.025 | 2612889.8005 | 1258221.2681 | 2612891.3401 | 1258221.0024
22 | 2612822.2314 | 1258184.0526 | 2612837.4098 | 1258181.3912
23 | 2612852.2985 | 1258178.7807 | 2612837.4098 | 1258181.3912
24 | 2612822.2314 | 1258184.0526 | 2612820.1561 | 1258169.92
25 | 2612872.9315 | 1258175.1562 | 2612852.2985 | 1258178.7807
26 | 2612817.0606 | 1258148.8401 | 2612820.1561 | 1258169.92
27 | 2612881.2052 | 1258180.2219 | 2612873.9126 | 1258181.5737 | 2612872.9315 | 1258175.1562
28 | 2612872.9315 | 1258175.1562 | 2612885.9649 | 1258172.8681
29 | 2612817.0606 | 1258148.8401 | 2612838.5417 | 1258143.9596
30 | 2612817.0606 | 1258148.8401 | 2612814.022 | 1258128.1307 | 2612812.0958 | 1258121.0939
31 | 2612881.2052 | 1258180.2219 | 2612884.4828 | 1258198.6713
32 | 2612912.276 | 1258174.4855 | 2612911.201 | 1258173.1044 | 2612907.4028 | 1258169.1046 | 2612885.9649 | 1258172.8681
33 | 2612804.5891 | 1258094.1543 | 2612804.9866 | 1258095.1224 | 2612812.0958 | 1258121.0939
34 | 2612804.5891 | 1258094.1543 | 2612797.6622 | 1258097.1969 | 2612793.5186 | 1258099.5007 | 2612776.3089 | 1258109.6483
35 | 2612848.4737 | 1258141.703 | 2612838.5417 | 1258143.9596
36 | 2612776.3089 | 1258109.6483 | 2612771.3658 | 1258126.2155
37 | 2612881.1308 | 1258218.025 | 2612886.6866 | 1258211.0768 | 2612884.4828 | 1258198.6713
38 | 2612927.3977 | 1258133.046 | 2612931.1286 | 1258136.8456 | 2612932.231 | 1258142.941 | 2612926.9559 | 1258152.5026 | 2612927.404 | 1258154.4271 | 2612934.1202 | 1258158.1664 | 2612943.8249 | 1258156.9311
39 | 2612927.3977 | 1258133.046 | 2612924.1709 | 1258129.7701 | 2612920.786 | 1258129.8184

## bus_geodata
| x | y | coords
0 | 2613140.7709 | 1258127.6055
1 | 2613131.8041 | 1258122.698
2 | 2613149.8972 | 1258132.6002
3 | 2613066.6449 | 1258050.2764
4 | 2612999.9667 | 1258202.1848
5 | 2613147.6893 | 1258142.4019
6 | 2612811.8189 | 1258259.9513
7 | 2612812.9961 | 1258255.8315
8 | 2612818.3478 | 1258237.1021
9 | 2612856.0573 | 1258229.0587
10 | 2612821.4336 | 1258225.3787
11 | 2612850.1137 | 1258223.4504
12 | 2612849.4908 | 1258208.2277
13 | 2612803.5319 | 1258228.5571
14 | 2612796.6229 | 1258229.7838
15 | 2612986.5632 | 1258204.0283
16 | 2612935.1961 | 1258211.0932
17 | 2612931.122 | 1258202.2562
18 | 2612909.9597 | 1258217.7882
19 | 2612951.2174 | 1258171.7823
20 | 2612891.3401 | 1258221.0024
21 | 2612837.4098 | 1258181.3912
22 | 2612822.2314 | 1258184.0526
23 | 2612852.2985 | 1258178.7807
24 | 2612820.1561 | 1258169.92
25 | 2612872.9314 | 1258175.1562
26 | 2612817.0606 | 1258148.8401
27 | 2612881.2052 | 1258180.2219
28 | 2612885.9649 | 1258172.8681
29 | 2612812.0958 | 1258121.0939
30 | 2612804.5891 | 1258094.1543
31 | 2612838.5417 | 1258143.9596
32 | 2612776.3089 | 1258109.6483
33 | 2612848.4737 | 1258141.703
34 | 2612771.3658 | 1258126.2155
35 | 2612881.1308 | 1258218.025
36 | 2612884.4828 | 1258198.6713
37 | 2612912.276 | 1258174.4855
38 | 2612943.8249 | 1258156.9311
39 | 2612927.3977 | 1258133.046
40 | 2612920.786 | 1258129.8184
41 | 2612881.2052 | 1258180.2219

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98318 | -0.32397 | 0.0021047 | 0.00052748
1 | 0.98322 | -0.32319 | 0 | 0
2 | 0.98316 | -0.32436 | 0 | 0
3 | 0.98294 | -0.32866 | 0.0030983 | 0.0007765
4 | 0.98425 | -0.30294 | 0.014498 | 0.0036335
5 | 0.98314 | -0.32474 | 0.0020955 | 0.00052519
6 | 0.99359 | -0.12284 | 0.0010331 | 0.00025893
7 | 0.99359 | -0.12276 | 0.0033613 | 0.00084242
8 | 0.99367 | -0.12125 | 0 | 0
9 | 0.99362 | -0.12221 | 0.0014144 | 0.00035449
10 | 0.99373 | -0.12 | 0 | 0
11 | 0.99418 | -0.11138 | 0 | 0
12 | 0.99438 | -0.10748 | 0.0077003 | 0.0019299
13 | 0.9936 | -0.12263 | 0.0054411 | 0.0013637
14 | 0.99358 | -0.12297 | 0.0027341 | 0.00068524
15 | 0.98452 | -0.29763 | 0.015672 | 0.0039277
16 | 0.98631 | -0.26275 | 0 | 0
17 | 0.98589 | -0.27096 | 0 | 0
18 | 0.98839 | -0.22254 | 0.013241 | 0.0033186
19 | 0.98375 | -0.3127 | 0.01571 | 0.0039373
20 | 0.99009 | -0.18964 | 0.0035492 | 0.00088951
21 | 0.99427 | -0.10965 | 0.0047431 | 0.0011887
22 | 0.99361 | -0.12241 | 0 | 0
23 | 0.99498 | -0.09589 | 0 | 0
24 | 0.99299 | -0.13425 | 0.010898 | 0.0027312
25 | 0.99638 | -0.068948 | 0 | 0
26 | 0.99229 | -0.14783 | 0 | 0
27 | 0.99499 | -0.095561 | 0 | 0
28 | 0.99749 | -0.047788 | 0.0060377 | 0.0015132
29 | 0.99185 | -0.15635 | 0.0061402 | 0.0015389
30 | 0.99157 | -0.16176 | 0 | 0
31 | 0.99191 | -0.15524 | 0.0072487 | 0.0018167
32 | 0.99125 | -0.16798 | 0 | 0
33 | 0.9918 | -0.15735 | 0.011736 | 0.0029412
34 | 0.99108 | -0.17133 | 0.010901 | 0.0027321
35 | 0.9911 | -0.17016 | 0 | 0
36 | 0.99311 | -0.13159 | 0.0076689 | 0.001922
37 | 1 | 0 | -0.19205 | -0.048493
38 | 0.98327 | -0.32207 | 0.015694 | 0.0039333
39 | 0.98266 | -0.3339 | 0 | 0
40 | 0.98255 | -0.33615 | 0.015655 | 0.0039234
41 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0042003 | -0.0010525 | 0.0042005 | 0.0010524 | 1.549e-07 | -3.0496e-08 | 0.006357 | 0.0063569 | 0.006357 | 0.98318 | -0.32397 | 0.98322 | -0.32319 | 1.7464
1 | 0.0020956 | 0.00052498 | -0.0020956 | -0.00052509 | 3.9244e-08 | -1.0682e-07 | 0.0031716 | 0.0031716 | 0.0031716 | 0.98318 | -0.32397 | 0.98316 | -0.32436 | 0.87133
2 | 0.0030991 | 0.00077577 | -0.0030983 | -0.0007765 | 8.0665e-07 | -7.2362e-07 | 0.0046899 | 0.0046903 | 0.0046903 | 0.98322 | -0.32319 | 0.98294 | -0.32866 | 1.2885
3 | -0.0072995 | -0.0018282 | 0.0073066 | 0.0018308 | 7.0444e-06 | 2.5539e-06 | 0.011047 | 0.011046 | 0.011047 | 0.98322 | -0.32319 | 0.98425 | -0.30294 | 3.0348
4 | 0.0020956 | 0.00052509 | -0.0020955 | -0.00052519 | 3.8047e-08 | -1.0355e-07 | 0.0031716 | 0.0031717 | 0.0031717 | 0.98316 | -0.32436 | 0.98314 | -0.32474 | 0.87134
5 | -0.021804 | -0.0054643 | 0.02181 | 0.0054676 | 5.5132e-06 | 3.3565e-06 | 0.032964 | 0.032964 | 0.032964 | 0.98425 | -0.30294 | 0.98452 | -0.29763 | 9.0561
6 | -0.0010331 | -0.00025893 | 0.0010331 | 0.00025888 | 3.8465e-09 | -5.3033e-08 | 0.0015472 | 0.0015472 | 0.0015472 | 0.99359 | -0.12284 | 0.99359 | -0.12276 | 0.42507
7 | -0.0043944 | -0.0011013 | 0.0043947 | 0.0011012 | 3.1637e-07 | -4.983e-08 | 0.0065811 | 0.006581 | 0.0065811 | 0.99359 | -0.12276 | 0.99367 | -0.12125 | 1.808
8 | 0.0014145 | 0.00035403 | -0.0014144 | -0.00035449 | 6.4983e-08 | -4.5871e-07 | 0.0021181 | 0.0021182 | 0.0021182 | 0.99367 | -0.12125 | 0.99362 | -0.12221 | 0.58193
9 | -0.0058092 | -0.0014553 | 0.0058096 | 0.0014553 | 3.4411e-07 | 6.3143e-08 | 0.0086991 | 0.008699 | 0.0086991 | 0.99367 | -0.12125 | 0.99373 | -0.12 | 2.3899
10 | 0.0081763 | 0.0020493 | -0.0081753 | -0.0020488 | 1.022e-06 | 4.1857e-07 | 0.012243 | 0.012243 | 0.012243 | 0.99373 | -0.12 | 0.9936 | -0.12263 | 3.3635
11 | -0.013986 | -0.0035046 | 0.013992 | 0.0035078 | 5.7456e-06 | 3.2244e-06 | 0.020942 | 0.020942 | 0.020942 | 0.99373 | -0.12 | 0.99418 | -0.11138 | 5.7534
12 | -0.013992 | -0.0035078 | 0.013994 | 0.0035093 | 2.599e-06 | 1.4584e-06 | 0.020942 | 0.020942 | 0.020942 | 0.99418 | -0.11138 | 0.99438 | -0.10748 | 5.7533
13 | -0.021695 | -0.0054392 | 0.021707 | 0.0054465 | 1.1993e-05 | 7.2817e-06 | 0.032465 | 0.032465 | 0.032465 | 0.99438 | -0.10748 | 0.99498 | -0.09589 | 8.9189
14 | 0.0027342 | 0.00068517 | -0.0027341 | -0.00068524 | 4.4119e-08 | -6.2646e-08 | 0.0040947 | 0.0040947 | 0.0040947 | 0.9936 | -0.12263 | 0.99358 | -0.12297 | 1.1249
15 | -0.037481 | -0.0093953 | 0.037544 | 0.0094345 | 6.2401e-05 | 3.9276e-05 | 0.05665 | 0.05665 | 0.05665 | 0.98452 | -0.29763 | 0.98631 | -0.26275 | 15.5633
16 | 0.047196 | 0.01188 | -0.047177 | -0.011868 | 1.8508e-05 | 1.1721e-05 | 0.071221 | 0.071221 | 0.071221 | 0.98631 | -0.26275 | 0.98589 | -0.27096 | 19.5663
17 | -0.08474 | -0.021315 | 0.084903 | 0.021419 | 0.00016311 | 0.00010405 | 0.12787 | 0.12787 | 0.12787 | 0.98631 | -0.26275 | 0.98839 | -0.22254 | 35.1295
18 | 0.047177 | 0.011868 | -0.047083 | -0.011809 | 9.3867e-05 | 5.9447e-05 | 0.071221 | 0.071221 | 0.071221 | 0.98589 | -0.27096 | 0.98375 | -0.3127 | 19.5663
19 | -0.098144 | -0.024737 | 0.098299 | 0.024836 | 0.0001548 | 9.8827e-05 | 0.14781 | 0.14781 | 0.14781 | 0.98839 | -0.22254 | 0.99009 | -0.18964 | 40.606
20 | 0.031373 | 0.0078716 | -0.031359 | -0.0078628 | 1.4011e-05 | 8.7568e-06 | 0.047458 | 0.047458 | 0.047458 | 0.98375 | -0.3127 | 0.98327 | -0.32207 | 13.038
21 | -0.10185 | -0.025726 | 0.10194 | 0.025786 | 9.5146e-05 | 6.0754e-05 | 0.15314 | 0.15314 | 0.15314 | 0.99009 | -0.18964 | 0.9911 | -0.17016 | 42.0714
22 | 0.047025 | 0.011822 | -0.046996 | -0.011804 | 2.8632e-05 | 1.8125e-05 | 0.07039 | 0.07039 | 0.07039 | 0.99427 | -0.10965 | 0.99361 | -0.12241 | 19.3379
23 | -0.051768 | -0.013011 | 0.051802 | 0.013033 | 3.4036e-05 | 2.1587e-05 | 0.077488 | 0.077488 | 0.077488 | 0.99427 | -0.10965 | 0.99498 | -0.09589 | 21.288
24 | 0.046996 | 0.011804 | -0.04697 | -0.011788 | 2.6541e-05 | 1.6801e-05 | 0.07039 | 0.07039 | 0.07039 | 0.99361 | -0.12241 | 0.99299 | -0.13425 | 19.3379
25 | -0.073508 | -0.018479 | 0.073603 | 0.01854 | 9.4699e-05 | 6.0335e-05 | 0.10995 | 0.10995 | 0.10995 | 0.99498 | -0.09589 | 0.99638 | -0.068948 | 30.2069
26 | 0.036072 | 0.0090563 | -0.036048 | -0.0090416 | 2.335e-05 | 1.4668e-05 | 0.05406 | 0.05406 | 0.05406 | 0.99299 | -0.13425 | 0.99229 | -0.14783 | 14.8516
27 | 0.11013 | 0.028041 | -0.10999 | -0.027951 | 0.00014114 | 9.0151e-05 | 0.16463 | 0.16463 | 0.16463 | 0.99638 | -0.068948 | 0.99499 | -0.095561 | 45.2281
28 | -0.18374 | -0.04658 | 0.18392 | 0.0467 | 0.00018707 | 0.00011938 | 0.27458 | 0.27458 | 0.27458 | 0.99638 | -0.068948 | 0.99749 | -0.047788 | 37.7175
29 | 0.018992 | 0.0047626 | -0.018986 | -0.0047586 | 6.7009e-06 | 4.0042e-06 | 0.028481 | 0.028481 | 0.028481 | 0.99229 | -0.14783 | 0.99191 | -0.15524 | 7.8245
30 | 0.017056 | 0.004279 | -0.017049 | -0.004275 | 6.9254e-06 | 4.0678e-06 | 0.025578 | 0.025579 | 0.025579 | 0.99229 | -0.14783 | 0.99185 | -0.15635 | 7.0271
31 | 0.10999 | 0.027951 | -0.1098 | -0.027829 | 0.00019045 | 0.00012164 | 0.16463 | 0.16463 | 0.16463 | 0.99499 | -0.095561 | 0.99311 | -0.13159 | 45.2281
32 | -0.18996 | -0.048213 | 0.1904 | 0.048492 | 0.00043778 | 0.00027942 | 0.28359 | 0.28359 | 0.28359 | 0.99749 | -0.047788 | 1 | 0 | 38.9546
33 | 0.010909 | 0.0027361 | -0.010906 | -0.0027347 | 2.8101e-06 | 1.4375e-06 | 0.016367 | 0.016367 | 0.016367 | 0.99185 | -0.15635 | 0.99157 | -0.16176 | 4.4964
34 | 0.010906 | 0.0027347 | -0.010903 | -0.002733 | 3.2359e-06 | 1.6556e-06 | 0.016367 | 0.016367 | 0.016367 | 0.99157 | -0.16176 | 0.99125 | -0.16798 | 4.4965
35 | 0.011737 | 0.0029419 | -0.011736 | -0.0029412 | 1.1841e-06 | 6.2635e-07 | 0.017607 | 0.017607 | 0.017607 | 0.99191 | -0.15524 | 0.9918 | -0.15735 | 4.8371
36 | 0.010903 | 0.002733 | -0.010901 | -0.0027321 | 1.7368e-06 | 8.8872e-07 | 0.016367 | 0.016367 | 0.016367 | 0.99125 | -0.16798 | 0.99108 | -0.17133 | 4.4965
37 | -0.10194 | -0.025786 | 0.10213 | 0.025907 | 0.00018904 | 0.00012071 | 0.15314 | 0.15314 | 0.15314 | 0.9911 | -0.17016 | 0.99311 | -0.13159 | 42.0714
38 | 0.015665 | 0.0039295 | -0.015656 | -0.0039244 | 8.8285e-06 | 5.1193e-06 | 0.023708 | 0.023708 | 0.023708 | 0.98327 | -0.32207 | 0.98266 | -0.3339 | 6.5132
39 | 0.015656 | 0.0039244 | -0.015655 | -0.0039234 | 1.6793e-06 | 9.7382e-07 | 0.023708 | 0.023708 | 0.023708 | 0.98266 | -0.3339 | 0.98255 | -0.33615 | 6.5132

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.19205 | 0.048493

## res_load
| p_mw | q_mvar
0 | 0.0021047 | 0.00052748
1 | 0.0030983 | 0.0007765
2 | 0.014498 | 0.0036335
3 | 0.0020955 | 0.00052519
4 | 0.0010331 | 0.00025893
5 | 0.0033613 | 0.00084242
6 | 0.0014144 | 0.00035449
7 | 0.0077003 | 0.0019299
8 | 0.0054411 | 0.0013637
9 | 0.0027341 | 0.00068524
10 | 0.015672 | 0.0039277
11 | 0.013241 | 0.0033186
12 | 0.01571 | 0.0039373
13 | 0.0035492 | 0.00088951
14 | 0.0047431 | 0.0011887
15 | 0.010898 | 0.0027312
16 | 0.0060377 | 0.0015132
17 | 0.0061402 | 0.0015389
18 | 0.0072487 | 0.0018167
19 | 0.011736 | 0.0029412
20 | 0.010901 | 0.0027321
21 | 0.0076689 | 0.001922
22 | 0.015694 | 0.0039333
23 | 0.015655 | 0.0039234

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1