## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2473-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2473-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2473-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2473-9_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2473-9_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2473-9_0_3_node_63 | 0.4 | n |  | TRUE
6 | bus_LV_2473-9_0_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_2473-9_0_3_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_2473-9_0_3_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_2473-9_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2473-9_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2473-9_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2473-9_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2473-9_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2473-9_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2473-9_0_3_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_2473-9_0_3_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_2473-9_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2473-9_0_3_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_2473-9_0_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_2473-9_0_3_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_2473-9_0_3_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_2473-9_0_3_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_2473-9_0_3_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_2473-9_0_3_node_71 | 0.4 | n |  | TRUE
25 | bus_LV_2473-9_0_3_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_2473-9_0_3_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_2473-9_0_3_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_2473-9_0_3_node_72 | 0.4 | n |  | TRUE
29 | bus_LV_2473-9_0_3_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_2473-9_0_3_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_2473-9_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_2473-9_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_2473-9_0_3_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_2473-9_0_3_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_2473-9_0_3_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_2473-9_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_2473-9_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_2473-9_0_3_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_2473-9_0_3_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_2473-9_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_2473-9_0_3_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_2473-9_0_3_node_69 | 0.4 | n |  | TRUE
43 | bus_LV_2473-9_0_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_2473-9_0_3_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_2473-9_0_3_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_2473-9_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_2473-9_0_3_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_2473-9_0_3_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_2473-9_0_3_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_2473-9_0_3_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_2473-9_0_3_node_76 | 0.4 | n |  | TRUE
52 | bus_LV_2473-9_0_3_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_2473-9_0_3_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_2473-9_0_3_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_2473-9_0_3_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_2473-9_0_3_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_2473-9_0_3_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_2473-9_0_3_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_2473-9_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_2473-9_0_3_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_2473-9_0_3_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_2473-9_0_3_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_2473-9_0_3_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_2473-9_0_3_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_2473-9_0_3_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_2473-9_0_3_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_2473-9_0_3_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_2473-9_0_3_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_2473-9_0_3_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_2473-9_0_3_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_2473-9_0_3_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_2473-9_0_3_node_56 | 0.4 | n |  | TRUE
73 | bus_MV_287_0_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2473-9_0_3_load_0 | 0 | 0.0014218 | 0.00035633 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2473-9_0_3_load_1 | 1 | 0.0014317 | 0.00035883 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2473-9_0_3_load_2 | 2 | 0.0014301 | 0.00035841 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2473-9_0_3_load_4 | 4 | 0.0014214 | 0.00035623 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2473-9_0_3_load_63 | 5 | 0.008285 | 0.0020764 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2473-9_0_3_load_5 | 9 | 0.0022369 | 0.00056062 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2473-9_0_3_load_6 | 10 | 0.0022288 | 0.00055859 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2473-9_0_3_load_7 | 11 | 0.0022194 | 0.00055624 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2473-9_0_3_load_8 | 12 | 0.0022371 | 0.00056066 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2473-9_0_3_load_10 | 14 | 0.0022203 | 0.00055646 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2473-9_0_3_load_23 | 15 | 0.0030127 | 0.00075504 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2473-9_0_3_load_21 | 16 | 0.0046468 | 0.0011646 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2473-9_0_3_load_11 | 17 | 0.0089115 | 0.0022334 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2473-9_0_3_load_26 | 18 | 0.019871 | 0.00498 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2473-9_0_3_load_30 | 20 | 0.0022406 | 0.00056155 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2473-9_0_3_load_41 | 22 | 0.0020664 | 0.00051789 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2473-9_0_3_load_37 | 23 | 0.0014269 | 0.00035761 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2473-9_0_3_load_50 | 25 | 0.0014312 | 0.00035868 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2473-9_0_3_load_36 | 27 | 0.0014191 | 0.00035567 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2473-9_0_3_load_72 | 28 | 0.0043102 | 0.0010802 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2473-9_0_3_load_48 | 29 | 0.0020682 | 0.00051834 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2473-9_0_3_load_15 | 30 | 0.0070473 | 0.0017662 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2473-9_0_3_load_40 | 33 | 0.0079038 | 0.0019809 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2473-9_0_3_load_62 | 34 | 0.015013 | 0.0037625 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2473-9_0_3_load_24 | 36 | 0.002534 | 0.00063508 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2473-9_0_3_load_25 | 37 | 0.0047855 | 0.0011994 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2473-9_0_3_load_58 | 38 | 0.002535 | 0.00063533 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2473-9_0_3_load_27 | 40 | 0.0032193 | 0.00080683 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2473-9_0_3_load_57 | 41 | 0.0053107 | 0.001331 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2473-9_0_3_load_69 | 42 | 0.010045 | 0.0025176 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2473-9_0_3_load_28 | 43 | 0.0024291 | 0.0006088 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2473-9_0_3_load_51 | 44 | 0.0010342 | 0.00025921 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2473-9_0_3_load_52 | 47 | 0.0034128 | 0.00085533 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2473-9_0_3_load_64 | 48 | 0.0082561 | 0.0020692 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2473-9_0_3_load_76 | 51 | 0.008281 | 0.0020754 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2473-9_0_3_load_74 | 52 | 0.008141 | 0.0020403 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2473-9_0_3_load_73 | 53 | 0.0081441 | 0.0020411 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2473-9_0_3_load_66 | 54 | 0.0093529 | 0.0023441 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2473-9_0_3_load_75 | 55 | 0.0081437 | 0.002041 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2473-9_0_3_load_34 | 56 | 0.0014259 | 0.00035738 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2473-9_0_3_load_35 | 57 | 0.0014261 | 0.00035742 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2473-9_0_3_load_38 | 58 | 0.0078841 | 0.0019759 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2473-9_0_3_load_42 | 59 | 0.0040717 | 0.0010205 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2473-9_0_3_load_45 | 62 | 0.0051774 | 0.0012976 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2473-9_0_3_load_54 | 63 | 0.0078716 | 0.0019728 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2473-9_0_3_load_55 | 64 | 0.007871 | 0.0019727 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2473-9_0_3_load_53 | 65 | 0.0044577 | 0.0011172 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2473-9_0_3_load_46 | 66 | 0.0020642 | 0.00051735 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2473-9_0_3_load_47 | 67 | 0.0020614 | 0.00051664 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2473-9_0_3_load_67 | 69 | 0.020468 | 0.0051298 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2473-9_0_3_load_60 | 70 | 0.011208 | 0.002809 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2473-9_0_3_load_59 | 71 | 0.0020594 | 0.00051613 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2473-9_0_3_load_56 | 72 | 0.0055642 | 0.0013945 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2473-9_0_3_line_0 |  | 0 | 1 | 0.0088082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2473-9_0_3_line_1 |  | 0 | 2 | 0.012806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2473-9_0_3_line_2 |  | 1 | 3 | 0.011072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2473-9_0_3_line_3 |  | 2 | 4 | 0.0087961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2473-9_0_3_line_4 |  | 3 | 5 | 0.040578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2473-9_0_3_line_5 |  | 4 | 6 | 0.011338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2473-9_0_3_line_6 |  | 6 | 7 | 0.030075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2473-9_0_3_line_7 |  | 6 | 8 | 0.005947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2473-9_0_3_line_8 |  | 7 | 22 | 0.0053833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2473-9_0_3_line_9 |  | 7 | 23 | 0.011011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2473-9_0_3_line_10 |  | 8 | 24 | 0.019496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2473-9_0_3_line_11 |  | 8 | 25 | 0.011768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2473-9_0_3_line_12 |  | 9 | 10 | 0.014136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2473-9_0_3_line_13 |  | 9 | 11 | 0.0084408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2473-9_0_3_line_14 |  | 10 | 12 | 0.0084364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2473-9_0_3_line_15 |  | 11 | 13 | 0.0051906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2473-9_0_3_line_16 |  | 12 | 14 | 0.013255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2473-9_0_3_line_17 |  | 13 | 15 | 0.024982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2473-9_0_3_line_18 |  | 13 | 16 | 0.018019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2473-9_0_3_line_19 |  | 14 | 17 | 0.0064335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2473-9_0_3_line_20 |  | 15 | 18 | 0.011901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2473-9_0_3_line_21 |  | 16 | 19 | 0.0041615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2473-9_0_3_line_22 |  | 17 | 20 | 0.0029589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2473-9_0_3_line_23 |  | 18 | 40 | 0.021836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2473-9_0_3_line_24 |  | 19 | 36 | 0.020248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2473-9_0_3_line_25 |  | 19 | 37 | 0.01946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2473-9_0_3_line_26 |  | 20 | 21 | 0.031284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2473-9_0_3_line_27 |  | 21 | 45 | 0.027175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2473-9_0_3_line_28 |  | 21 | 46 | 0.069717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2473-9_0_3_line_29 |  | 21 | 43 | 0.015216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2473-9_0_3_line_30 |  | 22 | 26 | 0.025994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2473-9_0_3_line_31 |  | 23 | 27 | 0.0087887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2473-9_0_3_line_32 |  | 24 | 28 | 0.0024265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2473-9_0_3_line_33 |  | 25 | 29 | 0.0088003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2473-9_0_3_line_34 |  | 26 | 33 | 0.021958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2473-9_0_3_line_35 |  | 26 | 58 | 0.014133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2473-9_0_3_line_36 |  | 27 | 56 | 0.011802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2473-9_0_3_line_37 |  | 29 | 66 | 0.014358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2473-9_0_3_line_38 |  | 30 | 31 | 0.032102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2473-9_0_3_line_39 |  | 31 | 32 | 0.030536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2473-9_0_3_line_40 |  | 32 | 33 | 0.008616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2473-9_0_3_line_41 |  | 34 | 35 | 0.044884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2473-9_0_3_line_42 |  | 35 | 71 | 0.018131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2473-9_0_3_line_43 |  | 35 | 64 | 0.015881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2473-9_0_3_line_44 |  | 36 | 38 | 0.00071226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2473-9_0_3_line_45 |  | 37 | 39 | 0.050051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2473-9_0_3_line_46 |  | 38 | 41 | 0.016571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2473-9_0_3_line_47 |  | 39 | 42 | 0.017003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2473-9_0_3_line_48 |  | 41 | 72 | 0.015022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2473-9_0_3_line_49 |  | 42 | 69 | 0.019004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_2473-9_0_3_line_50 |  | 43 | 44 | 0.036305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2473-9_0_3_line_51 |  | 44 | 47 | 0.027674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2473-9_0_3_line_52 |  | 45 | 48 | 0.02244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2473-9_0_3_line_53 |  | 46 | 52 | 0.071396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2473-9_0_3_line_54 |  | 46 | 53 | 0.021663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2473-9_0_3_line_55 |  | 48 | 50 | 0.0098449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2473-9_0_3_line_56 |  | 49 | 50 | 0.025062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2473-9_0_3_line_57 |  | 49 | 51 | 0.010956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2473-9_0_3_line_58 |  | 50 | 54 | 0.027881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2473-9_0_3_line_59 |  | 52 | 55 | 0.028244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2473-9_0_3_line_60 |  | 56 | 57 | 0.0088232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2473-9_0_3_line_61 |  | 59 | 60 | 0.026165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2473-9_0_3_line_62 |  | 60 | 61 | 0.017628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2473-9_0_3_line_63 |  | 60 | 62 | 0.030999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2473-9_0_3_line_64 |  | 61 | 65 | 0.07128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2473-9_0_3_line_65 |  | 63 | 64 | 0.00097136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2473-9_0_3_line_66 |  | 63 | 65 | 0.077473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2473-9_0_3_line_67 |  | 66 | 67 | 0.0088003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2473-9_0_3_line_68 |  | 67 | 68 | 0.013764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2473-9_0_3_line_69 |  | 68 | 69 | 0.02181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2473-9_0_3_line_70 |  | 68 | 70 | 0.011097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2473-9_0_3_line_71 |  | 70 | 71 | 0.028207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2473-9_0_3_trafo_67 | 0.63 MVA 20/0.4 kV | 73 | 69 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2612658.1754 | 1257841.4296 | 2612650.9379 | 1257836.4094
1 | 2612658.1754 | 1257841.4296 | 2612666.2107 | 1257847.0032 | 2612668.7461 | 1257848.6564
2 | 2612643.0752 | 1257828.7195 | 2612647.9936 | 1257834.3671 | 2612650.9379 | 1257836.4094
3 | 2612676.1142 | 1257853.4606 | 2612668.7461 | 1257848.6564
4 | 2612643.0752 | 1257828.7195 | 2612650.769 | 1257823.21 | 2612654.2022 | 1257818.2361 | 2612661.9721 | 1257801.8306 | 2612662.4814 | 1257799.8748 | 2612662.0998 | 1257794.9596
5 | 2612685.6113 | 1257859.653 | 2612676.1142 | 1257853.4606
6 | 2612685.6113 | 1257859.653 | 2612701.3394 | 1257833.9916
7 | 2612682.502 | 1257864.7276 | 2612685.6113 | 1257859.653
8 | 2612701.3394 | 1257833.9916 | 2612704.1533 | 1257829.4023
9 | 2612701.3394 | 1257833.9916 | 2612692.0171 | 1257828.1323
10 | 2612672.3042 | 1257881.3615 | 2612682.502 | 1257864.7276
11 | 2612682.502 | 1257864.7276 | 2612693.7243 | 1257868.2713
12 | 2612754.4368 | 1258003.7604 | 2612759.0322 | 1258010.6114 | 2612762.2951 | 1258015.5112
13 | 2612754.4368 | 1258003.7604 | 2612749.7349 | 1257996.7504
14 | 2612762.2951 | 1258015.5112 | 2612766.9712 | 1258022.5331
15 | 2612746.8435 | 1257992.4397 | 2612749.7349 | 1257996.7504
16 | 2612766.9712 | 1258022.5331 | 2612774.3183 | 1258033.5658
17 | 2612746.8435 | 1257992.4397 | 2612770.9046 | 1257985.7188
18 | 2612746.8435 | 1257992.4397 | 2612736.8011 | 1257977.4784
19 | 2612774.3183 | 1258033.5658 | 2612776.939 | 1258037.5012 | 2612777.7547 | 1258038.9988
20 | 2612770.9046 | 1257985.7188 | 2612777.8912 | 1257983.7672 | 2612780.5546 | 1257987.5755
21 | 2612734.4818 | 1257974.0231 | 2612736.8011 | 1257977.4784
22 | 2612779.17 | 1258041.5973 | 2612777.7547 | 1258038.9988
23 | 2612794.5314 | 1258003.7052 | 2612790.5925 | 1258001.9289 | 2612780.5546 | 1257987.5755
24 | 2612734.4818 | 1257974.0231 | 2612716.3334 | 1257983.0021
25 | 2612734.4818 | 1257974.0231 | 2612723.6387 | 1257957.8634
26 | 2612794.1344 | 1258069.0705 | 2612779.17 | 1258041.5973
27 | 2612804.5891 | 1258094.1543 | 2612798.3043 | 1258079.075 | 2612794.1344 | 1258069.0705
28 | 2612745.694 | 1258071.4792 | 2612771.3484 | 1258064.1293 | 2612775.3937 | 1258065.4945 | 2612779.7419 | 1258069.7289 | 2612787.3475 | 1258077.1168 | 2612790.0738 | 1258078.3346 | 2612798.3043 | 1258079.075 | 2612794.1344 | 1258069.0705
29 | 2612794.1344 | 1258069.0705 | 2612808.5109 | 1258064.0869
30 | 2612717.7409 | 1257807.242 | 2612704.1533 | 1257829.4023
31 | 2612684.5761 | 1257823.4554 | 2612692.0171 | 1257828.1323
32 | 2612672.3042 | 1257881.3615 | 2612670.8651 | 1257879.4079
33 | 2612693.7243 | 1257868.2713 | 2612702.1161 | 1257870.9212
34 | 2612717.7409 | 1257807.242 | 2612705.7009 | 1257793.3181 | 2612705.8743 | 1257789.7494
35 | 2612717.7409 | 1257807.242 | 2612727.6722 | 1257806.018 | 2612728.4876 | 1257801.9726
36 | 2612674.5839 | 1257817.1749 | 2612684.5761 | 1257823.4554
37 | 2612715.9849 | 1257874.4964 | 2612710.7912 | 1257873.6606 | 2612702.1161 | 1257870.9212
38 | 2612675.0697 | 1257775.9077 | 2612674.638 | 1257776.8185 | 2612671.6269 | 1257778.2575 | 2612644.0688 | 1257781.5709
39 | 2612697.5336 | 1257787.4967 | 2612691.5282 | 1257789.552 | 2612690.3521 | 1257789.5717 | 2612677.2271 | 1257782.3611 | 2612676.3631 | 1257780.9917 | 2612676.8178 | 1257776.334 | 2612675.0697 | 1257775.9077
40 | 2612705.8743 | 1257789.7494 | 2612697.5336 | 1257787.4967
41 | 2612742.5121 | 1257822.0606 | 2612743.3867 | 1257811.4442 | 2612747.0233 | 1257796.0861 | 2612747.2497 | 1257781.9104 | 2612746.6086 | 1257777.6877
42 | 2612742.5121 | 1257822.0606 | 2612741.0153 | 1257840.1293
43 | 2612742.5121 | 1257822.0606 | 2612758.3769 | 1257822.7854
44 | 2612715.695 | 1257983.3179 | 2612716.3334 | 1257983.0021
45 | 2612695.7507 | 1257916.3016 | 2612723.6387 | 1257957.8634
46 | 2612715.695 | 1257983.3179 | 2612706.9591 | 1257987.64 | 2612700.3756 | 1257989.4381
47 | 2612695.7507 | 1257916.3016 | 2612709.8952 | 1257906.8666
48 | 2612685.8844 | 1257993.3958 | 2612700.3756 | 1257989.4381
49 | 2612709.8952 | 1257906.8666 | 2612725.7045 | 1257896.3211
50 | 2612808.5109 | 1258064.0869 | 2612844.144 | 1258057.1341
51 | 2612840.8833 | 1258029.6559 | 2612843.7094 | 1258054.4564 | 2612844.144 | 1258057.1341
52 | 2612804.5891 | 1258094.1543 | 2612797.6622 | 1258097.1969 | 2612793.5186 | 1258099.5007 | 2612784.7894 | 1258104.6478
53 | 2612745.694 | 1258071.4792 | 2612721.782 | 1258078.3326 | 2612718.5936 | 1258078.1812 | 2612714.6098 | 1258076.2492 | 2612707.7965 | 1258068.4739 | 2612693.6925 | 1258043.6355
54 | 2612745.694 | 1258071.4792 | 2612733.7532 | 1258053.4044
55 | 2612776.3089 | 1258109.6483 | 2612784.7894 | 1258104.6478
56 | 2612759.1098 | 1258093.8786 | 2612766.0559 | 1258106.4464 | 2612776.3089 | 1258109.6483
57 | 2612749.5393 | 1258099.2617 | 2612759.1098 | 1258093.8786
58 | 2612776.3089 | 1258109.6483 | 2612771.3658 | 1258126.2155 | 2612762.2358 | 1258131.5861
59 | 2612693.6925 | 1258043.6355 | 2612686.3995 | 1258030.7918 | 2612696.4829 | 1258021.8541
60 | 2612674.5839 | 1257817.1749 | 2612667.1137 | 1257812.4796
61 | 2612892.5979 | 1257786.5046 | 2612918.2571 | 1257781.3827
62 | 2612893.601 | 1257768.906 | 2612892.5979 | 1257786.5046
63 | 2612892.5979 | 1257786.5046 | 2612893.3204 | 1257817.4955
64 | 2612893.601 | 1257768.906 | 2612883.4039 | 1257767.5052 | 2612864.9983 | 1257768.8997 | 2612853.3991 | 1257770.8981 | 2612834.4043 | 1257776.3052 | 2612824.2102 | 1257780.4638
65 | 2612758.3769 | 1257822.7854 | 2612759.3473 | 1257822.8297
66 | 2612759.3473 | 1257822.8297 | 2612824.2102 | 1257780.4638
67 | 2612715.9849 | 1257874.4964 | 2612724.6735 | 1257875.8945
68 | 2612737.64 | 1257879.2774 | 2612731.46 | 1257878.4414 | 2612729.4886 | 1257876.6693 | 2612724.6735 | 1257875.8945
69 | 2612737.64 | 1257879.2774 | 2612736.0205 | 1257885.6671 | 2612732.4037 | 1257891.8524 | 2612725.7045 | 1257896.3211
70 | 2612737.64 | 1257879.2774 | 2612737.8377 | 1257878.4884 | 2612738.6866 | 1257868.2403
71 | 2612741.0153 | 1257840.1293 | 2612738.6866 | 1257868.2403

## bus_geodata
| x | y | coords
0 | 2612658.1754 | 1257841.4296
1 | 2612650.9379 | 1257836.4094
2 | 2612668.7461 | 1257848.6564
3 | 2612643.0752 | 1257828.7195
4 | 2612676.1142 | 1257853.4606
5 | 2612662.0998 | 1257794.9596
6 | 2612685.6113 | 1257859.653
7 | 2612701.3394 | 1257833.9916
8 | 2612682.502 | 1257864.7276
9 | 2612754.4368 | 1258003.7604
10 | 2612762.2951 | 1258015.5112
11 | 2612749.7349 | 1257996.7504
12 | 2612766.9712 | 1258022.5331
13 | 2612746.8435 | 1257992.4397
14 | 2612774.3183 | 1258033.5658
15 | 2612770.9046 | 1257985.7188
16 | 2612736.8011 | 1257977.4784
17 | 2612777.7547 | 1258038.9988
18 | 2612780.5546 | 1257987.5755
19 | 2612734.4818 | 1257974.0231
20 | 2612779.17 | 1258041.5973
21 | 2612794.1344 | 1258069.0705
22 | 2612704.1533 | 1257829.4023
23 | 2612692.0171 | 1257828.1323
24 | 2612672.3042 | 1257881.3615
25 | 2612693.7243 | 1257868.2713
26 | 2612717.7409 | 1257807.242
27 | 2612684.5761 | 1257823.4554
28 | 2612670.8651 | 1257879.4079
29 | 2612702.1161 | 1257870.9212
30 | 2612644.0688 | 1257781.5709
31 | 2612675.0697 | 1257775.9077
32 | 2612697.5336 | 1257787.4967
33 | 2612705.8743 | 1257789.7494
34 | 2612746.6086 | 1257777.6877
35 | 2612742.5121 | 1257822.0606
36 | 2612716.3334 | 1257983.0021
37 | 2612723.6387 | 1257957.8634
38 | 2612715.695 | 1257983.3179
39 | 2612695.7507 | 1257916.3016
40 | 2612794.5314 | 1258003.7052
41 | 2612700.3756 | 1257989.4381
42 | 2612709.8952 | 1257906.8666
43 | 2612808.5109 | 1258064.0869
44 | 2612844.144 | 1258057.1341
45 | 2612804.5891 | 1258094.1543
46 | 2612745.694 | 1258071.4792
47 | 2612840.8833 | 1258029.6559
48 | 2612784.7894 | 1258104.6478
49 | 2612759.1098 | 1258093.8786
50 | 2612776.3089 | 1258109.6483
51 | 2612749.5393 | 1258099.2617
52 | 2612693.6925 | 1258043.6355
53 | 2612733.7532 | 1258053.4044
54 | 2612762.2358 | 1258131.5861
55 | 2612696.4829 | 1258021.8541
56 | 2612674.5839 | 1257817.1749
57 | 2612667.1137 | 1257812.4796
58 | 2612728.4876 | 1257801.9726
59 | 2612918.2571 | 1257781.3827
60 | 2612892.5979 | 1257786.5046
61 | 2612893.601 | 1257768.906
62 | 2612893.3204 | 1257817.4955
63 | 2612759.3473 | 1257822.8297
64 | 2612758.3769 | 1257822.7854
65 | 2612824.2102 | 1257780.4638
66 | 2612715.9849 | 1257874.4964
67 | 2612724.6735 | 1257875.8945
68 | 2612737.64 | 1257879.2774
69 | 2612725.7045 | 1257896.3211
70 | 2612738.6866 | 1257868.2403
71 | 2612741.0153 | 1257840.1293
72 | 2612685.8844 | 1257993.3958
73 | 2612737.64 | 1257879.2774

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99435 | -0.10865 | 0.0014218 | 0.00035633
1 | 0.99427 | -0.11016 | 0.0014317 | 0.00035883
2 | 0.99448 | -0.10613 | 0.0014301 | 0.00035841
3 | 0.99418 | -0.11177 | 0 | 0
4 | 0.99458 | -0.10418 | 0.0014214 | 0.00035623
5 | 0.99388 | -0.1177 | 0.008285 | 0.0020764
6 | 0.99472 | -0.10139 | 0 | 0
7 | 0.99388 | -0.11762 | 0 | 0
8 | 0.99496 | -0.096717 | 0 | 0
9 | 0.98522 | -0.28317 | 0.0022369 | 0.00056062
10 | 0.98423 | -0.30224 | 0.0022288 | 0.00055859
11 | 0.98582 | -0.27146 | 0.0022194 | 0.00055624
12 | 0.98367 | -0.3133 | 0.0022371 | 0.00056066
13 | 0.9862 | -0.26406 | 0 | 0
14 | 0.9828 | -0.33016 | 0.0022203 | 0.00055646
15 | 0.9856 | -0.27576 | 0.0030127 | 0.00075504
16 | 0.98796 | -0.23002 | 0.0046468 | 0.0011646
17 | 0.98239 | -0.3381 | 0.0089115 | 0.0022334
18 | 0.98535 | -0.28069 | 0.019871 | 0.00498
19 | 0.98838 | -0.22183 | 0 | 0
20 | 0.98223 | -0.34128 | 0.0022406 | 0.00056155
21 | 0.98057 | -0.37367 | 0 | 0
22 | 0.99376 | -0.11998 | 0.0020664 | 0.00051789
23 | 0.99382 | -0.11872 | 0.0014269 | 0.00035761
24 | 0.99489 | -0.098197 | 0 | 0
25 | 0.99549 | -0.086588 | 0.0014312 | 0.00035868
26 | 0.99322 | -0.13047 | 0 | 0
27 | 0.99379 | -0.11939 | 0.0014191 | 0.00035567
28 | 0.99488 | -0.098381 | 0.0043102 | 0.0010802
29 | 0.99589 | -0.0788 | 0.0020682 | 0.00051834
30 | 0.99246 | -0.14515 | 0.0070473 | 0.0017662
31 | 0.99267 | -0.14115 | 0 | 0
32 | 0.99286 | -0.13734 | 0 | 0
33 | 0.99292 | -0.13627 | 0.0079038 | 0.0019809
34 | 0.9946 | -0.10384 | 0.015013 | 0.0037625
35 | 0.99521 | -0.091979 | 0 | 0
36 | 0.98809 | -0.22759 | 0.002534 | 0.00063508
37 | 0.99065 | -0.17811 | 0.0047855 | 0.0011994
38 | 0.98808 | -0.22776 | 0.002535 | 0.00063533
39 | 0.99671 | -0.062381 | 0 | 0
40 | 0.98528 | -0.28195 | 0.0032193 | 0.00080683
41 | 0.98791 | -0.23098 | 0.0053107 | 0.001331
42 | 0.99876 | -0.023386 | 0.010045 | 0.0025176
43 | 0.98047 | -0.37556 | 0.0024291 | 0.0006088
44 | 0.98033 | -0.37849 | 0.0010342 | 0.00025921
45 | 0.97992 | -0.38643 | 0 | 0
46 | 0.97899 | -0.40459 | 0 | 0
47 | 0.98024 | -0.38021 | 0.0034128 | 0.00085533
48 | 0.97938 | -0.39698 | 0.0082561 | 0.0020692
49 | 0.97903 | -0.40391 | 0 | 0
50 | 0.97922 | -0.40014 | 0 | 0
51 | 0.97895 | -0.40556 | 0.008281 | 0.0020754
52 | 0.97791 | -0.42576 | 0.008141 | 0.0020403
53 | 0.97883 | -0.4078 | 0.0081441 | 0.0020411
54 | 0.97898 | -0.40488 | 0.0093529 | 0.0023441
55 | 0.9777 | -0.42996 | 0.0081437 | 0.002041
56 | 0.99376 | -0.11998 | 0.0014259 | 0.00035738
57 | 0.99375 | -0.1202 | 0.0014261 | 0.00035742
58 | 0.99312 | -0.13243 | 0.0078841 | 0.0019759
59 | 0.99295 | -0.13573 | 0.0040717 | 0.0010205
60 | 0.99305 | -0.13384 | 0 | 0
61 | 0.99319 | -0.13096 | 0 | 0
62 | 0.9929 | -0.13668 | 0.0051774 | 0.0012976
63 | 0.99477 | -0.10058 | 0.0078716 | 0.0019728
64 | 0.99478 | -0.10022 | 0.007871 | 0.0019727
65 | 0.9938 | -0.11932 | 0.0044577 | 0.0011172
66 | 0.99658 | -0.065584 | 0.0020642 | 0.00051735
67 | 0.99702 | -0.057175 | 0.0020614 | 0.00051664
68 | 0.99773 | -0.04354 | 0 | 0
69 | 1 | 0 | -0.25962 | -0.065688
70 | 0.99714 | -0.054765 | 0.011208 | 0.002809
71 | 0.99595 | -0.077801 | 0.0020594 | 0.00051613
72 | 0.98784 | -0.23247 | 0.0055642 | 0.0013945
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0097204 | 0.0024368 | -0.0097197 | -0.0024365 | 6.9894e-07 | 3.3308e-07 | 0.014547 | 0.014547 | 0.014547 | 0.99435 | -0.10865 | 0.99427 | -0.11016 | 3.9963
1 | -0.011142 | -0.0027931 | 0.011144 | 0.0027938 | 1.3351e-06 | 6.8836e-07 | 0.016674 | 0.016674 | 0.016674 | 0.99435 | -0.10865 | 0.99448 | -0.10613 | 4.5808
2 | 0.0082879 | 0.0020776 | -0.0082873 | -0.0020774 | 6.3884e-07 | 2.6527e-07 | 0.012404 | 0.012404 | 0.012404 | 0.99427 | -0.11016 | 0.99418 | -0.11177 | 3.4077
3 | -0.012574 | -0.0031522 | 0.012575 | 0.0031529 | 1.1676e-06 | 6.331e-07 | 0.018814 | 0.018814 | 0.018814 | 0.99448 | -0.10613 | 0.99458 | -0.10418 | 5.1687
4 | 0.0082873 | 0.0020774 | -0.008285 | -0.0020764 | 2.3412e-06 | 9.7238e-07 | 0.012404 | 0.012404 | 0.012404 | 0.99418 | -0.11177 | 0.99388 | -0.1177 | 3.4077
5 | -0.013996 | -0.0035091 | 0.013998 | 0.0035101 | 1.8643e-06 | 1.046e-06 | 0.02094 | 0.02094 | 0.02094 | 0.99458 | -0.10418 | 0.99472 | -0.10139 | 5.7529
6 | 0.030646 | 0.007696 | -0.030622 | -0.0076812 | 2.3708e-05 | 1.4783e-05 | 0.045849 | 0.045849 | 0.045849 | 0.99472 | -0.10139 | 0.99388 | -0.11762 | 12.596
7 | -0.044644 | -0.011206 | 0.044654 | 0.011212 | 9.9483e-06 | 6.2897e-06 | 0.06679 | 0.06679 | 0.06679 | 0.99472 | -0.10139 | 0.99496 | -0.096717 | 18.3488
8 | 0.024924 | 0.0062533 | -0.024921 | -0.0062516 | 2.8113e-06 | 1.7295e-06 | 0.037318 | 0.037318 | 0.037318 | 0.99388 | -0.11762 | 0.99376 | -0.11998 | 10.2521
9 | 0.0056986 | 0.0014279 | -0.0056983 | -0.0014278 | 3.0055e-07 | 4.967e-08 | 0.0085317 | 0.0085317 | 0.0085317 | 0.99388 | -0.11762 | 0.99382 | -0.11872 | 2.3439
10 | 0.0043106 | 0.0010802 | -0.0043102 | -0.0010802 | 3.0384e-07 | -5.8728e-08 | 0.0064466 | 0.0064467 | 0.0064467 | 0.99496 | -0.096717 | 0.99489 | -0.098197 | 1.7711
11 | -0.048965 | -0.012293 | 0.048988 | 0.012308 | 2.367e-05 | 1.4996e-05 | 0.073236 | 0.073236 | 0.073236 | 0.99496 | -0.096717 | 0.99549 | -0.086588 | 20.1198
12 | 0.075414 | 0.019043 | -0.075346 | -0.018999 | 6.8836e-05 | 4.3875e-05 | 0.11395 | 0.11395 | 0.11395 | 0.98522 | -0.28317 | 0.98423 | -0.30224 | 31.3057
13 | -0.077651 | -0.019604 | 0.077695 | 0.019631 | 4.3576e-05 | 2.7781e-05 | 0.11733 | 0.11733 | 0.11733 | 0.98522 | -0.28317 | 0.98582 | -0.27146 | 32.2338
14 | 0.073117 | 0.018441 | -0.073078 | -0.018416 | 3.8687e-05 | 2.4652e-05 | 0.11058 | 0.11058 | 0.11058 | 0.98423 | -0.30224 | 0.98367 | -0.3133 | 30.38
15 | -0.079914 | -0.020188 | 0.079943 | 0.020206 | 2.8348e-05 | 1.8077e-05 | 0.12068 | 0.12068 | 0.12068 | 0.98582 | -0.27146 | 0.9862 | -0.26406 | 33.1542
16 | 0.070841 | 0.017855 | -0.070784 | -0.017819 | 5.7122e-05 | 3.639e-05 | 0.1072 | 0.1072 | 0.1072 | 0.98367 | -0.3133 | 0.9828 | -0.33016 | 29.4503
17 | 0.026123 | 0.006554 | -0.026108 | -0.0065451 | 1.4556e-05 | 8.9971e-06 | 0.039417 | 0.039417 | 0.039417 | 0.9862 | -0.26406 | 0.9856 | -0.27576 | 10.8289
18 | -0.10607 | -0.02676 | 0.10624 | 0.02687 | 0.0001732 | 0.00011062 | 0.1601 | 0.1601 | 0.1601 | 0.9862 | -0.26406 | 0.98796 | -0.23002 | 43.9831
19 | 0.068564 | 0.017262 | -0.068538 | -0.017246 | 2.6013e-05 | 1.6567e-05 | 0.10384 | 0.10384 | 0.10384 | 0.9828 | -0.33016 | 0.98239 | -0.3381 | 28.5268
20 | 0.023095 | 0.00579 | -0.02309 | -0.0057867 | 5.4263e-06 | 3.3212e-06 | 0.034869 | 0.034869 | 0.034869 | 0.9856 | -0.27576 | 0.98535 | -0.28069 | 9.5794
21 | -0.11089 | -0.028035 | 0.11093 | 0.028063 | 4.3573e-05 | 2.7833e-05 | 0.1671 | 0.1671 | 0.1671 | 0.98796 | -0.23002 | 0.98838 | -0.22183 | 45.9058
22 | 0.059626 | 0.015012 | -0.059617 | -0.015007 | 9.0556e-06 | 5.7581e-06 | 0.090339 | 0.090339 | 0.090339 | 0.98239 | -0.3381 | 0.98223 | -0.34128 | 24.8185
23 | 0.0032195 | 0.00080667 | -0.0032193 | -0.00080683 | 1.9356e-07 | -1.5425e-07 | 0.0048618 | 0.0048619 | 0.0048619 | 0.98535 | -0.28069 | 0.98528 | -0.28195 | 1.3357
24 | 0.015951 | 0.0039995 | -0.015946 | -0.0039969 | 4.3788e-06 | 2.543e-06 | 0.024014 | 0.024014 | 0.024014 | 0.98838 | -0.22183 | 0.98809 | -0.22759 | 6.5973
25 | -0.12688 | -0.032062 | 0.12715 | 0.032233 | 0.00026654 | 0.00017033 | 0.19111 | 0.19111 | 0.19111 | 0.98838 | -0.22183 | 0.99065 | -0.17811 | 52.5031
26 | 0.057376 | 0.014445 | -0.057288 | -0.014389 | 8.8685e-05 | 5.6363e-05 | 0.086945 | 0.086945 | 0.086945 | 0.98223 | -0.34128 | 0.98057 | -0.37367 | 23.886
27 | 0.025926 | 0.0065099 | -0.02591 | -0.0065002 | 1.5777e-05 | 9.7547e-06 | 0.039347 | 0.039347 | 0.039347 | 0.98057 | -0.37367 | 0.97992 | -0.38643 | 10.8096
28 | 0.024484 | 0.0061555 | -0.024448 | -0.0061333 | 3.6105e-05 | 2.2229e-05 | 0.037162 | 0.037162 | 0.037162 | 0.98057 | -0.37367 | 0.97899 | -0.40459 | 10.2094
29 | 0.0068777 | 0.0017233 | -0.0068771 | -0.0017231 | 6.2152e-07 | 2.0586e-07 | 0.010437 | 0.010437 | 0.010437 | 0.98057 | -0.37367 | 0.98047 | -0.37556 | 2.8673
30 | 0.022855 | 0.0057337 | -0.022843 | -0.0057267 | 1.1417e-05 | 6.9704e-06 | 0.034224 | 0.034224 | 0.034224 | 0.99376 | -0.11998 | 0.99322 | -0.13047 | 9.4021
31 | 0.0042714 | 0.0010702 | -0.0042713 | -0.0010703 | 1.348e-07 | -2.7608e-08 | 0.0063953 | 0.0063953 | 0.0063953 | 0.99382 | -0.11872 | 0.99379 | -0.11939 | 1.757
32 | 0.0043102 | 0.0010802 | -0.0043102 | -0.0010802 | 3.7817e-08 | -7.3062e-09 | 0.0064467 | 0.0064467 | 0.0064467 | 0.99489 | -0.098197 | 0.99488 | -0.098381 | 1.7711
33 | -0.050419 | -0.012666 | 0.050438 | 0.012678 | 1.8749e-05 | 1.1885e-05 | 0.075375 | 0.075375 | 0.075375 | 0.99549 | -0.086588 | 0.99589 | -0.0788 | 20.7075
34 | 0.014958 | 0.0037505 | -0.014954 | -0.0037481 | 4.1356e-06 | 2.3627e-06 | 0.022411 | 0.022411 | 0.022411 | 0.99322 | -0.13047 | 0.99292 | -0.13627 | 6.1568
35 | 0.0078849 | 0.0019762 | -0.0078841 | -0.0019759 | 7.3959e-07 | 2.9045e-07 | 0.011813 | 0.011813 | 0.011813 | 0.99322 | -0.13047 | 0.99312 | -0.13243 | 3.2453
36 | 0.0028521 | 0.00071459 | -0.0028521 | -0.00071469 | 8.0714e-08 | -1.0126e-07 | 0.0042705 | 0.0042705 | 0.0042705 | 0.99379 | -0.11939 | 0.99376 | -0.11998 | 1.1732
37 | -0.052506 | -0.013196 | 0.052539 | 0.013218 | 3.315e-05 | 2.1029e-05 | 0.078466 | 0.078465 | 0.078466 | 0.99589 | -0.0788 | 0.99658 | -0.065584 | 21.5565
38 | -0.0070473 | -0.0017662 | 0.0070487 | 0.0017667 | 1.344e-06 | 4.4524e-07 | 0.010566 | 0.010566 | 0.010566 | 0.99246 | -0.14515 | 0.99267 | -0.14115 | 2.9028
39 | -0.0070487 | -0.0017667 | 0.00705 | 0.0017671 | 1.2784e-06 | 4.2334e-07 | 0.010566 | 0.010566 | 0.010566 | 0.99267 | -0.14115 | 0.99286 | -0.13734 | 2.9028
40 | -0.00705 | -0.0017671 | 0.0070503 | 0.0017672 | 3.6071e-07 | 1.1942e-07 | 0.010566 | 0.010566 | 0.010566 | 0.99286 | -0.13734 | 0.99292 | -0.13627 | 2.9027
41 | -0.015013 | -0.0037625 | 0.015021 | 0.0037674 | 8.4909e-06 | 4.8513e-06 | 0.022461 | 0.02246 | 0.022461 | 0.9946 | -0.10384 | 0.99521 | -0.091979 | 6.1705
42 | -0.044502 | -0.011165 | 0.044532 | 0.011184 | 3.0106e-05 | 1.9032e-05 | 0.066543 | 0.066543 | 0.066543 | 0.99521 | -0.091979 | 0.99595 | -0.077801 | 18.2811
43 | 0.029481 | 0.0073979 | -0.02947 | -0.0073907 | 1.1573e-05 | 7.2007e-06 | 0.044083 | 0.044083 | 0.044083 | 0.99521 | -0.091979 | 0.99478 | -0.10022 | 12.1107
44 | 0.013412 | 0.0033618 | -0.013412 | -0.0033618 | 1.0897e-07 | 6.0616e-08 | 0.020198 | 0.020198 | 0.020198 | 0.98809 | -0.22759 | 0.98808 | -0.22776 | 5.549
45 | -0.13193 | -0.033432 | 0.13267 | 0.033904 | 0.00073805 | 0.00047171 | 0.1983 | 0.1983 | 0.1983 | 0.99065 | -0.17811 | 0.99671 | -0.062381 | 54.4778
46 | 0.010877 | 0.0027264 | -0.010875 | -0.0027256 | 1.6674e-06 | 8.5494e-07 | 0.016381 | 0.016381 | 0.016381 | 0.98808 | -0.22776 | 0.98791 | -0.23098 | 4.5002
47 | -0.13267 | -0.033904 | 0.13292 | 0.034064 | 0.00025072 | 0.00016024 | 0.1983 | 0.1983 | 0.1983 | 0.99671 | -0.062381 | 0.99876 | -0.023386 | 54.4777
48 | 0.0055646 | 0.0013946 | -0.0055642 | -0.0013945 | 3.9574e-07 | 6.0944e-08 | 0.0083815 | 0.0083816 | 0.0083816 | 0.98791 | -0.23098 | 0.98784 | -0.23247 | 2.3026
49 | -0.14297 | -0.036582 | 0.14313 | 0.036685 | 0.00016206 | 0.00010322 | 0.21326 | 0.21326 | 0.21326 | 0.99876 | -0.023386 | 1 | 0 | 29.2946
50 | 0.004448 | 0.0011143 | -0.0044473 | -0.0011144 | 6.2037e-07 | -6.0772e-08 | 0.0067503 | 0.0067504 | 0.0067504 | 0.98047 | -0.37556 | 0.98033 | -0.37849 | 1.8545
51 | 0.0034131 | 0.00085516 | -0.0034128 | -0.00085533 | 2.7853e-07 | -1.7063e-07 | 0.0051806 | 0.0051807 | 0.0051807 | 0.98033 | -0.37849 | 0.98024 | -0.38021 | 1.4233
52 | 0.02591 | 0.0065002 | -0.025897 | -0.0064921 | 1.3028e-05 | 8.0554e-06 | 0.039347 | 0.039347 | 0.039347 | 0.97992 | -0.38643 | 0.97938 | -0.39698 | 10.8096
53 | 0.016303 | 0.0040917 | -0.016286 | -0.004082 | 1.6442e-05 | 9.6264e-06 | 0.024781 | 0.024782 | 0.024782 | 0.97899 | -0.40459 | 0.97791 | -0.42576 | 6.8082
54 | 0.0081454 | 0.0020416 | -0.0081441 | -0.0020411 | 1.2452e-06 | 5.2457e-07 | 0.012381 | 0.012381 | 0.012381 | 0.97899 | -0.40459 | 0.97883 | -0.4078 | 3.4013
55 | 0.017641 | 0.004423 | -0.017638 | -0.0044214 | 2.6522e-06 | 1.5736e-06 | 0.026803 | 0.026803 | 0.026803 | 0.97938 | -0.39698 | 0.97922 | -0.40014 | 7.3635
56 | -0.0082816 | -0.0020757 | 0.0082831 | 0.0020763 | 1.489e-06 | 6.3777e-07 | 0.012587 | 0.012587 | 0.012587 | 0.97903 | -0.40391 | 0.97922 | -0.40014 | 3.458
57 | 0.0082816 | 0.0020757 | -0.008281 | -0.0020754 | 6.5095e-07 | 2.7885e-07 | 0.012587 | 0.012587 | 0.012587 | 0.97903 | -0.40391 | 0.97895 | -0.40556 | 3.458
58 | 0.009355 | 0.0023451 | -0.0093529 | -0.0023441 | 2.113e-06 | 1.0017e-06 | 0.014216 | 0.014216 | 0.014216 | 0.97922 | -0.40014 | 0.97898 | -0.40488 | 3.9055
59 | 0.0081454 | 0.0020417 | -0.0081437 | -0.002041 | 1.6271e-06 | 6.8704e-07 | 0.012394 | 0.012394 | 0.012394 | 0.97791 | -0.42576 | 0.9777 | -0.42996 | 3.4051
60 | 0.0014261 | 0.00035731 | -0.0014261 | -0.00035742 | 1.5087e-08 | -1.0466e-07 | 0.0021354 | 0.0021354 | 0.0021354 | 0.99376 | -0.11998 | 0.99375 | -0.1202 | 0.58665
61 | -0.0040717 | -0.0010205 | 0.0040721 | 0.0010204 | 3.6532e-07 | -1.0468e-07 | 0.0061018 | 0.0061017 | 0.0061018 | 0.99295 | -0.13573 | 0.99305 | -0.13384 | 1.6763
62 | -0.0092502 | -0.002318 | 0.0092515 | 0.0023186 | 1.27e-06 | 5.8471e-07 | 0.013861 | 0.013861 | 0.013861 | 0.99305 | -0.13384 | 0.99319 | -0.13096 | 3.8079
63 | 0.0051781 | 0.0012976 | -0.0051774 | -0.0012976 | 6.9986e-07 | 4.6916e-08 | 0.0077591 | 0.0077592 | 0.0077592 | 0.99305 | -0.13384 | 0.9929 | -0.13668 | 2.1316
64 | -0.0092515 | -0.0023186 | 0.0092566 | 0.002321 | 5.1353e-06 | 2.3635e-06 | 0.013861 | 0.01386 | 0.013861 | 0.99319 | -0.13096 | 0.9938 | -0.11932 | 3.8079
65 | -0.021598 | -0.0054178 | 0.021599 | 0.005418 | 3.8025e-07 | 2.3075e-07 | 0.032309 | 0.032309 | 0.032309 | 0.99477 | -0.10058 | 0.99478 | -0.10022 | 8.8762
66 | 0.013727 | 0.003445 | -0.013714 | -0.0034382 | 1.2251e-05 | 6.8357e-06 | 0.020535 | 0.020535 | 0.020535 | 0.99477 | -0.10058 | 0.9938 | -0.11932 | 5.6415
67 | -0.054604 | -0.013735 | 0.054626 | 0.013749 | 2.1946e-05 | 1.3931e-05 | 0.081548 | 0.081548 | 0.081548 | 0.99658 | -0.065584 | 0.99702 | -0.057175 | 22.4032
68 | -0.056687 | -0.014265 | 0.056724 | 0.014289 | 3.6963e-05 | 2.3477e-05 | 0.084624 | 0.084624 | 0.084624 | 0.99702 | -0.057175 | 0.99773 | -0.04354 | 23.2484
69 | -0.11461 | -0.028851 | 0.11485 | 0.029003 | 0.00023907 | 0.00015272 | 0.17097 | 0.17097 | 0.17097 | 0.99773 | -0.04354 | 1 | 0 | 46.9696
70 | 0.057882 | 0.014562 | -0.057851 | -0.014542 | 3.1024e-05 | 1.9711e-05 | 0.086345 | 0.086345 | 0.086345 | 0.99773 | -0.04354 | 0.99714 | -0.054765 | 23.7212
71 | 0.046643 | 0.011733 | -0.046592 | -0.0117 | 5.1269e-05 | 3.2445e-05 | 0.06962 | 0.06962 | 0.06962 | 0.99714 | -0.054765 | 0.99595 | -0.077801 | 19.1263

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.28009 | 0.070818

## res_load
| p_mw | q_mvar
0 | 0.0014218 | 0.00035633
1 | 0.0014317 | 0.00035883
2 | 0.0014301 | 0.00035841
3 | 0.0014214 | 0.00035623
4 | 0.008285 | 0.0020764
5 | 0.0022369 | 0.00056062
6 | 0.0022288 | 0.00055859
7 | 0.0022194 | 0.00055624
8 | 0.0022371 | 0.00056066
9 | 0.0022203 | 0.00055646
10 | 0.0030127 | 0.00075504
11 | 0.0046468 | 0.0011646
12 | 0.0089115 | 0.0022334
13 | 0.019871 | 0.00498
14 | 0.0022406 | 0.00056155
15 | 0.0020664 | 0.00051789
16 | 0.0014269 | 0.00035761
17 | 0.0014312 | 0.00035868
18 | 0.0014191 | 0.00035567
19 | 0.0043102 | 0.0010802
20 | 0.0020682 | 0.00051834
21 | 0.0070473 | 0.0017662
22 | 0.0079038 | 0.0019809
23 | 0.015013 | 0.0037625
24 | 0.002534 | 0.00063508
25 | 0.0047855 | 0.0011994
26 | 0.002535 | 0.00063533
27 | 0.0032193 | 0.00080683
28 | 0.0053107 | 0.001331
29 | 0.010045 | 0.0025176
30 | 0.0024291 | 0.0006088
31 | 0.0010342 | 0.00025921
32 | 0.0034128 | 0.00085533
33 | 0.0082561 | 0.0020692
34 | 0.008281 | 0.0020754
35 | 0.008141 | 0.0020403
36 | 0.0081441 | 0.0020411
37 | 0.0093529 | 0.0023441
38 | 0.0081437 | 0.002041
39 | 0.0014259 | 0.00035738
40 | 0.0014261 | 0.00035742
41 | 0.0078841 | 0.0019759
42 | 0.0040717 | 0.0010205
43 | 0.0051774 | 0.0012976
44 | 0.0078716 | 0.0019728
45 | 0.007871 | 0.0019727
46 | 0.0044577 | 0.0011172
47 | 0.0020642 | 0.00051735
48 | 0.0020614 | 0.00051664
49 | 0.020468 | 0.0051298
50 | 0.011208 | 0.002809
51 | 0.0020594 | 0.00051613
52 | 0.0055642 | 0.0013945

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1