## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_249-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_249-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_249-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_249-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_249-6_0_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_249-6_0_3_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_249-6_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_249-6_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_249-6_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_249-6_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_249-6_0_3_node_76 | 0.4 | n |  | TRUE
11 | bus_LV_249-6_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_249-6_0_3_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_249-6_0_3_node_63 | 0.4 | n |  | TRUE
14 | bus_LV_249-6_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_249-6_0_3_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_249-6_0_3_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_249-6_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_249-6_0_3_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_249-6_0_3_node_59 | 0.4 | n |  | TRUE
20 | bus_LV_249-6_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_249-6_0_3_node_57 | 0.4 | n |  | TRUE
22 | bus_LV_249-6_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_249-6_0_3_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_249-6_0_3_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_249-6_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_249-6_0_3_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_249-6_0_3_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_249-6_0_3_node_69 | 0.4 | n |  | TRUE
29 | bus_LV_249-6_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_249-6_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_249-6_0_3_node_74 | 0.4 | n |  | TRUE
32 | bus_LV_249-6_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_249-6_0_3_node_72 | 0.4 | n |  | TRUE
34 | bus_LV_249-6_0_3_node_70 | 0.4 | n |  | TRUE
35 | bus_LV_249-6_0_3_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_249-6_0_3_node_73 | 0.4 | n |  | TRUE
37 | bus_LV_249-6_0_3_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_249-6_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_249-6_0_3_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_249-6_0_3_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_249-6_0_3_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_249-6_0_3_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_249-6_0_3_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_249-6_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_249-6_0_3_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_249-6_0_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_249-6_0_3_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_249-6_0_3_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_249-6_0_3_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_249-6_0_3_node_75 | 0.4 | n |  | TRUE
51 | bus_LV_249-6_0_3_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_249-6_0_3_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_249-6_0_3_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_249-6_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_249-6_0_3_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_249-6_0_3_node_23 | 0.4 | n |  | TRUE
57 | bus_LV_249-6_0_3_node_24 | 0.4 | n |  | TRUE
58 | bus_LV_249-6_0_3_node_25 | 0.4 | n |  | TRUE
59 | bus_LV_249-6_0_3_node_26 | 0.4 | n |  | TRUE
60 | bus_LV_249-6_0_3_node_27 | 0.4 | n |  | TRUE
61 | bus_LV_249-6_0_3_node_28 | 0.4 | n |  | TRUE
62 | bus_LV_249-6_0_3_node_33 | 0.4 | n |  | TRUE
63 | bus_LV_249-6_0_3_node_30 | 0.4 | n |  | TRUE
64 | bus_LV_249-6_0_3_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_249-6_0_3_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_249-6_0_3_node_29 | 0.4 | n |  | TRUE
67 | bus_LV_249-6_0_3_node_31 | 0.4 | n |  | TRUE
68 | bus_LV_249-6_0_3_node_32 | 0.4 | n |  | TRUE
69 | bus_LV_249-6_0_3_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_249-6_0_3_node_38 | 0.4 | n |  | TRUE
71 | bus_LV_249-6_0_3_node_40 | 0.4 | n |  | TRUE
72 | bus_LV_249-6_0_3_node_42 | 0.4 | n |  | TRUE
73 | bus_LV_249-6_0_3_node_65 | 0.4 | n |  | TRUE
74 | bus_MV_517_0_node_82 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_249-6_0_3_load_0 | 0 | 0.0023337 | 0.00058488 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_249-6_0_3_load_1 | 1 | 0.0033436 | 0.00083799 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_249-6_0_3_load_2 | 2 | 0.0031416 | 0.00078735 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_249-6_0_3_load_3 | 3 | 0.012144 | 0.0030436 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_249-6_0_3_load_4 | 7 | 0.0042684 | 0.0010698 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_249-6_0_3_load_5 | 8 | 0.005554 | 0.001392 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_249-6_0_3_load_76 | 10 | 0.0055728 | 0.0013967 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_249-6_0_3_load_63 | 13 | 0.018489 | 0.0046339 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_249-6_0_3_load_52 | 15 | 0.0022132 | 0.00055467 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_249-6_0_3_load_41 | 16 | 0.0037171 | 0.00093159 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_249-6_0_3_load_59 | 19 | 0.007213 | 0.0018078 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_249-6_0_3_load_57 | 21 | 0.009726 | 0.0024376 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_249-6_0_3_load_54 | 24 | 0.01136 | 0.0028471 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_249-6_0_3_load_69 | 28 | 0.029938 | 0.0075032 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_249-6_0_3_load_74 | 31 | 0.0033344 | 0.00083567 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_249-6_0_3_load_72 | 33 | 0.0046822 | 0.0011735 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_249-6_0_3_load_70 | 34 | 0.012259 | 0.0030725 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_249-6_0_3_load_73 | 36 | 0.022345 | 0.0056001 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_249-6_0_3_load_71 | 37 | 0.020385 | 0.0051091 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_249-6_0_3_load_35 | 38 | 0.022418 | 0.0056185 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_249-6_0_3_load_50 | 42 | 0.0036189 | 0.00090698 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_249-6_0_3_load_39 | 44 | 0.0099677 | 0.0024981 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_249-6_0_3_load_43 | 46 | 0.051279 | 0.012852 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_249-6_0_3_load_51 | 47 | 0.0024637 | 0.00061745 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_249-6_0_3_load_68 | 49 | 0.009094 | 0.0022792 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_249-6_0_3_load_75 | 50 | 0.034316 | 0.0086004 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_249-6_0_3_load_64 | 51 | 0.0083521 | 0.0020932 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_249-6_0_3_load_34 | 53 | 0.0048793 | 0.0012229 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_249-6_0_3_load_49 | 55 | 0.005655 | 0.0014173 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_249-6_0_3_load_23 | 56 | 0.00118 | 0.00029573 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_249-6_0_3_load_24 | 57 | 0.0024712 | 0.00061934 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_249-6_0_3_load_26 | 59 | 0.0013316 | 0.00033374 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_249-6_0_3_load_33 | 62 | 0.0017672 | 0.0004429 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_249-6_0_3_load_30 | 63 | 0.0029623 | 0.00074242 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_249-6_0_3_load_58 | 64 | 0.00054905 | 0.00013761 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_249-6_0_3_load_55 | 65 | 0.0017626 | 0.00044174 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_249-6_0_3_load_29 | 66 | 0.003262 | 0.00081754 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_249-6_0_3_load_32 | 68 | 0.0028534 | 0.00071513 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_249-6_0_3_load_56 | 69 | 0.00099753 | 0.00025 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_249-6_0_3_load_38 | 70 | 0.0048584 | 0.0012176 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_249-6_0_3_load_40 | 71 | 0.02452 | 0.0061454 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_249-6_0_3_load_42 | 72 | 0.017187 | 0.0043075 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_249-6_0_3_load_65 | 73 | 0.006505 | 0.0016303 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_249-6_0_3_line_0 |  | 0 | 1 | 0.010751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_249-6_0_3_line_1 |  | 0 | 2 | 0.0069449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_249-6_0_3_line_2 |  | 1 | 3 | 0.020669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_249-6_0_3_line_3 |  | 3 | 4 | 0.021309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_249-6_0_3_line_4 |  | 4 | 5 | 0.004729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_249-6_0_3_line_5 |  | 4 | 6 | 0.079649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_249-6_0_3_line_6 |  | 5 | 38 | 0.026746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_249-6_0_3_line_7 |  | 5 | 39 | 0.053804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_249-6_0_3_line_8 |  | 6 | 9 | 0.12382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_249-6_0_3_line_9 |  | 6 | 7 | 0.018516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_249-6_0_3_line_10 |  | 7 | 8 | 0.017682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_249-6_0_3_line_11 |  | 9 | 10 | 0.076705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_249-6_0_3_line_12 |  | 11 | 12 | 0.026569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_249-6_0_3_line_13 |  | 11 | 13 | 0.034733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_249-6_0_3_line_14 |  | 12 | 22 | 0.052575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_249-6_0_3_line_15 |  | 12 | 23 | 0.034535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_249-6_0_3_line_16 |  | 12 | 24 | 0.022514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_249-6_0_3_line_17 |  | 12 | 20 | 0.055353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_249-6_0_3_line_18 |  | 13 | 43 | 0.029452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_249-6_0_3_line_19 |  | 14 | 15 | 0.022058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_249-6_0_3_line_20 |  | 14 | 16 | 0.032674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_249-6_0_3_line_21 |  | 15 | 25 | 0.0031699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_249-6_0_3_line_22 |  | 16 | 44 | 0.02925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_249-6_0_3_line_23 |  | 17 | 18 | 0.011415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_249-6_0_3_line_24 |  | 17 | 19 | 0.034049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_249-6_0_3_line_25 |  | 18 | 41 | 0.014667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_249-6_0_3_line_26 |  | 19 | 45 | 0.030742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_249-6_0_3_line_27 |  | 20 | 21 | 0.012858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_249-6_0_3_line_28 |  | 22 | 27 | 0.008564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_249-6_0_3_line_29 |  | 22 | 28 | 0.039408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_249-6_0_3_line_30 |  | 23 | 46 | 0.026239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_249-6_0_3_line_31 |  | 25 | 26 | 0.047175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_249-6_0_3_line_32 |  | 26 | 47 | 0.022095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_249-6_0_3_line_33 |  | 27 | 36 | 0.026358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_249-6_0_3_line_34 |  | 27 | 48 | 0.037524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_249-6_0_3_line_35 |  | 28 | 49 | 0.022555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_249-6_0_3_line_36 |  | 29 | 30 | 0.022101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_249-6_0_3_line_37 |  | 29 | 31 | 0.019431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_249-6_0_3_line_38 |  | 30 | 32 | 0.028343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_249-6_0_3_line_39 |  | 30 | 33 | 0.033358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_249-6_0_3_line_40 |  | 31 | 50 | 0.0014824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_249-6_0_3_line_41 |  | 32 | 34 | 0.011244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_249-6_0_3_line_42 |  | 33 | 37 | 0.014372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_249-6_0_3_line_43 |  | 35 | 36 | 0.019579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_249-6_0_3_line_44 |  | 35 | 37 | 0.019868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_249-6_0_3_line_45 |  | 38 | 53 | 0.04758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_249-6_0_3_line_46 |  | 39 | 54 | 0.012183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_249-6_0_3_line_47 |  | 40 | 41 | 0.007966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_249-6_0_3_line_48 |  | 40 | 42 | 0.021458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_249-6_0_3_line_49 |  | 41 | 53 | 0.010872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_249-6_0_3_line_50 |  | 42 | 55 | 0.00042773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_249-6_0_3_line_51 |  | 43 | 52 | 0.0090371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_249-6_0_3_line_52 |  | 45 | 52 | 0.034175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_249-6_0_3_line_53 |  | 47 | 54 | 0.020121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_249-6_0_3_line_54 |  | 48 | 73 | 0.017062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_249-6_0_3_line_55 |  | 51 | 52 | 0.016707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_249-6_0_3_line_56 |  | 54 | 72 | 0.024657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_249-6_0_3_line_57 |  | 55 | 68 | 0.0316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_249-6_0_3_line_58 |  | 56 | 57 | 0.019342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_249-6_0_3_line_59 |  | 56 | 58 | 0.00098902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_249-6_0_3_line_60 |  | 57 | 59 | 0.018281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_249-6_0_3_line_61 |  | 58 | 60 | 0.009155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_249-6_0_3_line_62 |  | 58 | 61 | 0.090252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_249-6_0_3_line_63 |  | 59 | 62 | 0.0044911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_249-6_0_3_line_64 |  | 60 | 63 | 0.0058418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_249-6_0_3_line_65 |  | 61 | 64 | 0.060781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_249-6_0_3_line_66 |  | 62 | 65 | 0.023042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_249-6_0_3_line_67 |  | 63 | 66 | 0.031743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_249-6_0_3_line_68 |  | 65 | 69 | 0.00023089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_249-6_0_3_line_69 |  | 66 | 67 | 0.034359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_249-6_0_3_line_70 |  | 67 | 68 | 0.018566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_249-6_0_3_line_71 |  | 70 | 71 | 0.042899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_249-6_0_3_line_72 |  | 71 | 72 | 0.071775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_249-6_0_3_trafo_43 | 0.63 MVA 20/0.4 kV | 74 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2676398.9148 | 1252019.1312 | 2676394.1766 | 1252009.4802
1 | 2676401.9755 | 1252025.3653 | 2676398.9148 | 1252019.1312
2 | 2676385.0676 | 1251990.9265 | 2676394.1766 | 1252009.4802
3 | 2676375.6764 | 1251971.7981 | 2676385.0676 | 1251990.9265
4 | 2676375.6764 | 1251971.7981 | 2676373.3521 | 1251967.6763
5 | 2676375.6764 | 1251971.7981 | 2676447.1212 | 1251936.1709
6 | 2676373.3521 | 1251967.6763 | 2676349.2556 | 1251979.2831
7 | 2676346.9062 | 1251920.7789 | 2676373.3521 | 1251967.6763
8 | 2676447.1212 | 1251936.1709 | 2676471.5363 | 1251924.0103 | 2676501.3116 | 1251956.7408 | 2676517.572 | 1251974.6194 | 2676521.9254 | 1251979.4125 | 2676537.5054 | 1251994.458
9 | 2676447.1212 | 1251936.1709 | 2676454.9777 | 1251952.9376
10 | 2676462.4801 | 1251968.9487 | 2676454.9777 | 1251952.9376
11 | 2676537.5054 | 1251994.458 | 2676530.1014 | 1251998.5321 | 2676463.752 | 1252015.4103
12 | 2676252.8129 | 1251928.7511 | 2676247.8931 | 1251932.7574 | 2676258.4107 | 1251944.19 | 2676254.6387 | 1251946.9769
13 | 2676254.6387 | 1251946.9769 | 2676225.7359 | 1251966.239
14 | 2676216.0925 | 1251911.8442 | 2676221.0624 | 1251913.9096 | 2676220.8207 | 1251918.0317 | 2676221.9621 | 1251922.0049 | 2676224.3718 | 1251925.3606 | 2676227.4079 | 1251927.5568 | 2676230.9778 | 1251928.7369 | 2676234.7361 | 1251928.7742 | 2676238.3276 | 1251927.6862 | 2676241.4194 | 1251925.5578 | 2676247.8931 | 1251932.7574 | 2676252.8129 | 1251928.7511
15 | 2676277.7966 | 1251908.1575 | 2676260.169 | 1251917.2485 | 2676256.4111 | 1251920.7026 | 2676256.4917 | 1251924.9957 | 2676255.3381 | 1251926.6599 | 2676254.041 | 1251927.744 | 2676252.8129 | 1251928.7511
16 | 2676252.8129 | 1251928.7511 | 2676258.3423 | 1251937.1951 | 2676265.3253 | 1251947.4668
17 | 2676252.8129 | 1251928.7511 | 2676254.041 | 1251927.744 | 2676253.2775 | 1251923.153 | 2676254.1575 | 1251919.2837 | 2676255.5757 | 1251917.0003 | 2676243.6847 | 1251900.8577 | 2676245.6687 | 1251892.1435 | 2676253.8872 | 1251893.9728 | 2676255.7084 | 1251893.7961 | 2676258.2547 | 1251891.8274
18 | 2676207.6583 | 1251987.191 | 2676210.5754 | 1251976.3427 | 2676225.7359 | 1251966.239
19 | 2676381.3918 | 1251839.3969 | 2676376.6908 | 1251838.7136 | 2676372.9229 | 1251839.4211 | 2676366.1225 | 1251842.9249 | 2676361.0563 | 1251845.7973
20 | 2676381.3918 | 1251839.3969 | 2676385.4709 | 1251841.4843 | 2676390.1315 | 1251844.7134 | 2676393.8406 | 1251847.9748 | 2676406.0698 | 1251860.4694
21 | 2676358.2987 | 1251847.3607 | 2676361.0563 | 1251845.7973
22 | 2676406.0698 | 1251860.4694 | 2676426.529 | 1251881.3728
23 | 2676282.0962 | 1251983.3569 | 2676286.0055 | 1251991.0017 | 2676288.5719 | 1251989.8117
24 | 2676282.0962 | 1251983.3569 | 2676272.1234 | 1251987.6539 | 2676252.1834 | 1251999.493
25 | 2676296.1111 | 1252002.1733 | 2676293.3289 | 1251999.6134 | 2676291.4362 | 1251995.9642 | 2676288.5719 | 1251989.8117
26 | 2676226.9287 | 1252016.9717 | 2676235.5743 | 1252010.2336 | 2676250.6221 | 1252000.4199 | 2676252.1834 | 1251999.493
27 | 2676258.2547 | 1251891.8274 | 2676247.2974 | 1251885.0994
28 | 2676216.0925 | 1251911.8442 | 2676209.2607 | 1251906.6525
29 | 2676216.0925 | 1251911.8442 | 2676214.3856 | 1251917.7933 | 2676211.2826 | 1251922.5568 | 2676207.135 | 1251926.3841 | 2676201.1093 | 1251930.6987 | 2676189.0225 | 1251938.6712
30 | 2676277.7966 | 1251908.1575 | 2676290.0724 | 1251904.9688 | 2676296.5382 | 1251916.883
31 | 2676319.2363 | 1251873.9437 | 2676349.6019 | 1251853.9424 | 2676358.2987 | 1251847.3607
32 | 2676319.2363 | 1251873.9437 | 2676321.49 | 1251877.6977 | 2676330.6597 | 1251892.857
33 | 2676209.2607 | 1251906.6525 | 2676213.1184 | 1251900.72 | 2676217.3477 | 1251885.2742 | 2676218.0223 | 1251882.0772
34 | 2676180.2839 | 1251882.7069 | 2676209.2607 | 1251906.6525
35 | 2676170.194 | 1251951.0905 | 2676189.0225 | 1251938.6712
36 | 2676263.4087 | 1251809.8559 | 2676268.7154 | 1251810.3912 | 2676274.9267 | 1251811.0161 | 2676278.1667 | 1251817.3068 | 2676279.7424 | 1251820.3738
37 | 2676279.7424 | 1251820.3738 | 2676283.9835 | 1251828.6344 | 2676286.9328 | 1251828.7836 | 2676287.0154 | 1251835.9757
38 | 2676258.4701 | 1251784.2402 | 2676264.0741 | 1251788.66 | 2676263.4087 | 1251809.8559
39 | 2676263.4087 | 1251809.8559 | 2676260.5813 | 1251820.1715 | 2676256.1876 | 1251828.4432 | 2676248.0746 | 1251838.9761
40 | 2676287.0324 | 1251837.4579 | 2676287.0154 | 1251835.9757
41 | 2676258.4701 | 1251784.2402 | 2676253.5223 | 1251774.1433
42 | 2676239.0912 | 1251850.1948 | 2676247.3679 | 1251839.8937 | 2676248.0746 | 1251838.9761
43 | 2676229.2026 | 1251867.2912 | 2676221.1986 | 1251872.8368 | 2676219.0115 | 1251877.3898 | 2676218.0223 | 1251882.0772
44 | 2676229.2026 | 1251867.2912 | 2676232.6041 | 1251859.2736 | 2676239.0912 | 1251850.1948 | 2676239.0912 | 1251850.1948
45 | 2676349.2556 | 1251979.2831 | 2676306.3888 | 1251999.9311
46 | 2676346.9062 | 1251920.7789 | 2676341.074 | 1251910.0737
47 | 2676294.4183 | 1252009.9573 | 2676296.1111 | 1252002.1733
48 | 2676294.4183 | 1252009.9573 | 2676303.6027 | 1252029.3503
49 | 2676296.1111 | 1252002.1733 | 2676298.7775 | 1252002.5969 | 2676301.4075 | 1252002.3305 | 2676306.3888 | 1251999.9311
50 | 2676303.6027 | 1252029.3503 | 2676303.7858 | 1252029.7369
51 | 2676206.7145 | 1251992.4938 | 2676210.4629 | 1251991.5302 | 2676207.6583 | 1251987.191
52 | 2676206.7145 | 1251992.4938 | 2676210.4629 | 1251991.5302 | 2676226.9287 | 1252016.9717
53 | 2676341.074 | 1251910.0737 | 2676330.6597 | 1251892.857
54 | 2676180.2839 | 1251882.7069 | 2676185.0313 | 1251866.3189
55 | 2676206.7145 | 1251992.4938 | 2676197.4945 | 1251978.5618
56 | 2676341.074 | 1251910.0737 | 2676347.1214 | 1251907.016 | 2676354.9047 | 1251923.1142
57 | 2676303.7858 | 1252029.7369 | 2676317.3112 | 1252058.2963
58 | 2676404.8535 | 1252088.1618 | 2676420.8546 | 1252087.1429 | 2676424.1225 | 1252086.6265
59 | 2676404.8535 | 1252088.1618 | 2676403.8665 | 1252088.2247
60 | 2676442.1796 | 1252083.7727 | 2676424.1225 | 1252086.6265
61 | 2676403.8665 | 1252088.2247 | 2676394.6863 | 1252088.4176
62 | 2676403.8665 | 1252088.2247 | 2676418.9527 | 1252177.2068
63 | 2676446.6083 | 1252083.0269 | 2676442.5146 | 1252083.7198 | 2676442.1796 | 1252083.7727
64 | 2676394.6863 | 1252088.4176 | 2676388.8454 | 1252088.5181
65 | 2676418.9527 | 1252177.2068 | 2676447.2599 | 1252169.822 | 2676471.5266 | 1252165.5653 | 2676478.4041 | 1252165.1677
66 | 2676469.3274 | 1252079.1816 | 2676446.6083 | 1252083.0269
67 | 2676388.8454 | 1252088.5181 | 2676371.0501 | 1252088.8244 | 2676357.1987 | 1252087.212
68 | 2676469.5551 | 1252079.1431 | 2676469.3274 | 1252079.1816
69 | 2676325.294 | 1252075.0581 | 2676335.8261 | 1252080.6423 | 2676353.3252 | 1252086.7611 | 2676357.1987 | 1252087.212
70 | 2676325.294 | 1252075.0581 | 2676320.3112 | 1252064.6308 | 2676317.3112 | 1252058.2963
71 | 2676438.5782 | 1251936.5033 | 2676399.9061 | 1251955.0713
72 | 2676354.9047 | 1251923.1142 | 2676373.0503 | 1251960.645 | 2676375.1795 | 1251962.9297 | 2676377.3847 | 1251963.9922 | 2676380.0624 | 1251964.1268 | 2676383.1852 | 1251963.0996 | 2676399.9061 | 1251955.0713

## bus_geodata
| x | y | coords
0 | 2676398.9148 | 1252019.1312
1 | 2676394.1766 | 1252009.4802
2 | 2676401.9755 | 1252025.3653
3 | 2676385.0676 | 1251990.9265
4 | 2676375.6764 | 1251971.7981
5 | 2676373.3521 | 1251967.6763
6 | 2676447.1212 | 1251936.1709
7 | 2676454.9777 | 1251952.9376
8 | 2676462.4801 | 1251968.9487
9 | 2676537.5054 | 1251994.458
10 | 2676463.752 | 1252015.4103
11 | 2676254.6387 | 1251946.9769
12 | 2676252.8129 | 1251928.7511
13 | 2676225.7359 | 1251966.239
14 | 2676381.3918 | 1251839.3969
15 | 2676361.0563 | 1251845.7973
16 | 2676406.0698 | 1251860.4694
17 | 2676282.0962 | 1251983.3569
18 | 2676288.5719 | 1251989.8117
19 | 2676252.1834 | 1251999.493
20 | 2676258.2547 | 1251891.8274
21 | 2676247.2974 | 1251885.0994
22 | 2676216.0925 | 1251911.8442
23 | 2676277.7966 | 1251908.1575
24 | 2676265.3253 | 1251947.4668
25 | 2676358.2987 | 1251847.3607
26 | 2676319.2363 | 1251873.9437
27 | 2676209.2607 | 1251906.6525
28 | 2676189.0225 | 1251938.6712
29 | 2676279.7424 | 1251820.3738
30 | 2676263.4087 | 1251809.8559
31 | 2676287.0154 | 1251835.9757
32 | 2676258.4701 | 1251784.2402
33 | 2676248.0746 | 1251838.9761
34 | 2676253.5223 | 1251774.1433
35 | 2676229.2026 | 1251867.2912
36 | 2676218.0223 | 1251882.0772
37 | 2676239.0912 | 1251850.1948
38 | 2676349.2556 | 1251979.2831
39 | 2676346.9062 | 1251920.7789
40 | 2676294.4183 | 1252009.9573
41 | 2676296.1111 | 1252002.1733
42 | 2676303.6027 | 1252029.3503
43 | 2676207.6583 | 1251987.191
44 | 2676426.529 | 1251881.3728
45 | 2676226.9287 | 1252016.9717
46 | 2676296.5382 | 1251916.883
47 | 2676330.6597 | 1251892.857
48 | 2676180.2839 | 1251882.7069
49 | 2676170.194 | 1251951.0905
50 | 2676287.0324 | 1251837.4579
51 | 2676197.4945 | 1251978.5618
52 | 2676206.7145 | 1251992.4938
53 | 2676306.3888 | 1251999.9311
54 | 2676341.074 | 1251910.0737
55 | 2676303.7858 | 1252029.7369
56 | 2676404.8535 | 1252088.1618
57 | 2676424.1225 | 1252086.6265
58 | 2676403.8665 | 1252088.2247
59 | 2676442.1796 | 1252083.7727
60 | 2676394.6863 | 1252088.4176
61 | 2676418.9527 | 1252177.2068
62 | 2676446.6083 | 1252083.0269
63 | 2676388.8454 | 1252088.5181
64 | 2676478.4041 | 1252165.1677
65 | 2676469.3274 | 1252079.1816
66 | 2676357.1987 | 1252087.212
67 | 2676325.294 | 1252075.0581
68 | 2676317.3112 | 1252058.2963
69 | 2676469.5551 | 1252079.1431
70 | 2676438.5782 | 1251936.5033
71 | 2676399.9061 | 1251955.0713
72 | 2676354.9047 | 1251923.1142
73 | 2676185.0313 | 1251866.3189
74 | 2676277.7966 | 1251908.1575

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97711 | -0.43984 | 0.0023337 | 0.00058488
1 | 0.97717 | -0.43876 | 0.0033436 | 0.00083799
2 | 0.97709 | -0.44024 | 0.0031416 | 0.00078735
3 | 0.97734 | -0.43544 | 0.012144 | 0.0030436
4 | 0.97775 | -0.42729 | 0 | 0
5 | 0.97791 | -0.42415 | 0 | 0
6 | 0.97661 | -0.44968 | 0 | 0
7 | 0.97644 | -0.45301 | 0.0042684 | 0.0010698
8 | 0.97635 | -0.4548 | 0.005554 | 0.001392
9 | 0.97597 | -0.46231 | 0 | 0
10 | 0.97557 | -0.47014 | 0.0055728 | 0.0013967
11 | 0.99177 | -0.15616 | 0 | 0
12 | 0.99335 | -0.12621 | 0 | 0
13 | 0.98972 | -0.19545 | 0.018489 | 0.0046339
14 | 0.97221 | -0.53614 | 0 | 0
15 | 0.97249 | -0.53057 | 0.0022132 | 0.00055467
16 | 0.97179 | -0.54439 | 0.0037171 | 0.00093159
17 | 0.9827 | -0.33077 | 0 | 0
18 | 0.98215 | -0.34156 | 0 | 0
19 | 0.98436 | -0.29866 | 0.007213 | 0.0018078
20 | 0.99285 | -0.13573 | 0 | 0
21 | 0.99274 | -0.13794 | 0.009726 | 0.0024376
22 | 0.98989 | -0.19279 | 0 | 0
23 | 0.99713 | -0.054286 | 0 | 0
24 | 0.99311 | -0.13073 | 0.01136 | 0.0028471
25 | 0.97254 | -0.52964 | 0 | 0
26 | 0.97324 | -0.51583 | 0 | 0
27 | 0.98906 | -0.20862 | 0 | 0
28 | 0.98847 | -0.22019 | 0.029938 | 0.0075032
29 | 0.98093 | -0.36679 | 0 | 0
30 | 0.9817 | -0.35173 | 0 | 0
31 | 0.98025 | -0.38006 | 0.0033344 | 0.00083567
32 | 0.98138 | -0.35802 | 0 | 0
33 | 0.98324 | -0.32167 | 0.0046822 | 0.0011735
34 | 0.98125 | -0.36052 | 0.012259 | 0.0030725
35 | 0.98534 | -0.28075 | 0 | 0
36 | 0.9867 | -0.25443 | 0.022345 | 0.0056001
37 | 0.98396 | -0.30753 | 0.020385 | 0.0051091
38 | 0.97917 | -0.39949 | 0.022418 | 0.0056185
39 | 0.97465 | -0.48805 | 0 | 0
40 | 0.98122 | -0.35954 | 0 | 0
41 | 0.98143 | -0.35545 | 0 | 0
42 | 0.98066 | -0.37059 | 0.0036189 | 0.00090698
43 | 0.98815 | -0.22565 | 0 | 0
44 | 0.97152 | -0.54977 | 0.0099677 | 0.0024981
45 | 0.98592 | -0.26843 | 0 | 0
46 | 1 | 0 | -0.36279 | -0.092871
47 | 0.97357 | -0.50937 | 0.0024637 | 0.00061745
48 | 0.98884 | -0.21297 | 0 | 0
49 | 0.98829 | -0.22385 | 0.009094 | 0.0022792
50 | 0.98021 | -0.38098 | 0.034316 | 0.0086004
51 | 0.98754 | -0.23743 | 0.0083521 | 0.0020932
52 | 0.98766 | -0.23494 | 0 | 0
53 | 0.981 | -0.36388 | 0.0048793 | 0.0012229
54 | 0.97391 | -0.50257 | 0 | 0
55 | 0.98065 | -0.37078 | 0.005655 | 0.0014173
56 | 0.97876 | -0.40785 | 0.00118 | 0.00029573
57 | 0.97861 | -0.41078 | 0.0024712 | 0.00061934
58 | 0.97877 | -0.40768 | 0 | 0
59 | 0.97851 | -0.41273 | 0.0013316 | 0.00033374
60 | 0.97885 | -0.406 | 0 | 0
61 | 0.97872 | -0.40859 | 0 | 0
62 | 0.97849 | -0.4131 | 0.0017672 | 0.0004429
63 | 0.97891 | -0.40493 | 0.0029623 | 0.00074242
64 | 0.97869 | -0.4092 | 0.00054905 | 0.00013761
65 | 0.97843 | -0.41426 | 0.0017626 | 0.00044174
66 | 0.97929 | -0.39741 | 0.003262 | 0.00081754
67 | 0.97981 | -0.38725 | 0 | 0
68 | 0.98009 | -0.38176 | 0.0028534 | 0.00071513
69 | 0.97843 | -0.41427 | 0.00099753 | 0.00025
70 | 0.97068 | -0.56647 | 0.0048584 | 0.0012176
71 | 0.97087 | -0.56261 | 0.02452 | 0.0061454
72 | 0.97284 | -0.5237 | 0.017187 | 0.0043075
73 | 0.98874 | -0.21495 | 0.006505 | 0.0016303
74 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0054753 | -0.0013722 | 0.0054756 | 0.0013722 | 2.8031e-07 | 4.4723e-08 | 0.0083382 | 0.0083382 | 0.0083382 | 0.97711 | -0.43984 | 0.97717 | -0.43876 | 2.2907
1 | 0.0031416 | 0.0007873 | -0.0031416 | -0.00078735 | 5.9612e-08 | -4.8836e-08 | 0.0047843 | 0.0047843 | 0.0047843 | 0.97711 | -0.43984 | 0.97709 | -0.44024 | 1.3144
2 | -0.0088193 | -0.0022102 | 0.0088207 | 0.0022109 | 1.3979e-06 | 6.3572e-07 | 0.01343 | 0.01343 | 0.01343 | 0.97717 | -0.43876 | 0.97734 | -0.43544 | 3.6895
3 | -0.020965 | -0.0052545 | 0.020973 | 0.0052594 | 8.1416e-06 | 4.9435e-06 | 0.031919 | 0.031919 | 0.031919 | 0.97734 | -0.43544 | 0.97775 | -0.42729 | 8.7691
4 | -0.036392 | -0.0091292 | 0.036398 | 0.0091326 | 5.4403e-06 | 3.4225e-06 | 0.055387 | 0.055387 | 0.055387 | 0.97775 | -0.42729 | 0.97791 | -0.42415 | 15.2163
5 | 0.015419 | 0.0038698 | -0.015403 | -0.0038602 | 1.645e-05 | 9.5302e-06 | 0.023468 | 0.023468 | 0.023468 | 0.97775 | -0.42729 | 0.97661 | -0.44968 | 6.4473
6 | -0.10171 | -0.025644 | 0.10183 | 0.02572 | 0.00012019 | 7.6252e-05 | 0.15481 | 0.15481 | 0.15481 | 0.97791 | -0.42415 | 0.97917 | -0.39949 | 21.2656
7 | 0.065308 | 0.016511 | -0.065109 | -0.016384 | 0.00019946 | 0.00012698 | 0.099427 | 0.099427 | 0.099427 | 0.97791 | -0.42415 | 0.97465 | -0.48805 | 27.3151
8 | 0.0055782 | 0.0013976 | -0.0055749 | -0.001397 | 3.3544e-06 | 5.9843e-07 | 0.0084991 | 0.0084997 | 0.0084997 | 0.97661 | -0.44968 | 0.97597 | -0.46231 | 2.3351
9 | 0.0098245 | 0.0024626 | -0.0098229 | -0.0024618 | 1.5559e-06 | 7.6412e-07 | 0.014969 | 0.014969 | 0.014969 | 0.97661 | -0.44968 | 0.97644 | -0.45301 | 4.1124
10 | 0.0055545 | 0.001392 | -0.005554 | -0.001392 | 4.7508e-07 | 8.29e-08 | 0.0084645 | 0.0084646 | 0.0084646 | 0.97644 | -0.45301 | 0.97635 | -0.4548 | 2.3254
11 | 0.0055749 | 0.001397 | -0.0055728 | -0.0013967 | 2.0781e-06 | 3.7187e-07 | 0.0084997 | 0.0085 | 0.0085 | 0.97597 | -0.46231 | 0.97557 | -0.47014 | 2.3352
12 | -0.19354 | -0.049454 | 0.19382 | 0.049632 | 0.0002807 | 0.00017862 | 0.29072 | 0.29072 | 0.29072 | 0.99177 | -0.15616 | 0.99335 | -0.12621 | 26.623
13 | 0.19354 | 0.049454 | -0.19318 | -0.04922 | 0.00036696 | 0.00023351 | 0.29072 | 0.29072 | 0.29072 | 0.99177 | -0.15616 | 0.98972 | -0.19545 | 26.6231
14 | 0.14402 | 0.036544 | -0.14356 | -0.036252 | 0.00045953 | 0.00029274 | 0.21591 | 0.21591 | 0.21591 | 0.99335 | -0.12621 | 0.98989 | -0.19279 | 29.6574
15 | -0.35894 | -0.091465 | 0.36019 | 0.092264 | 0.0012506 | 0.00079902 | 0.53823 | 0.53823 | 0.53823 | 0.99335 | -0.12621 | 0.99713 | -0.054286 | 49.2882
16 | 0.011363 | 0.0028484 | -0.01136 | -0.0028471 | 2.4461e-06 | 1.2741e-06 | 0.017021 | 0.017021 | 0.017021 | 0.99335 | -0.12621 | 0.99311 | -0.13073 | 4.6762
17 | 0.0097314 | 0.0024402 | -0.009727 | -0.002438 | 4.4114e-06 | 2.1071e-06 | 0.014578 | 0.014578 | 0.014578 | 0.99335 | -0.12621 | 0.99285 | -0.13573 | 4.005
18 | 0.17469 | 0.044586 | -0.17443 | -0.044424 | 0.00025451 | 0.00016175 | 0.26293 | 0.26293 | 0.26293 | 0.98972 | -0.19545 | 0.98815 | -0.22565 | 24.0775
19 | -0.013693 | -0.003434 | 0.013696 | 0.0034361 | 3.6333e-06 | 2.0517e-06 | 0.020958 | 0.020958 | 0.020958 | 0.97221 | -0.53614 | 0.97249 | -0.53057 | 5.7577
20 | 0.013693 | 0.003434 | -0.013687 | -0.003431 | 5.382e-06 | 3.0395e-06 | 0.020958 | 0.020958 | 0.020958 | 0.97221 | -0.53614 | 0.97179 | -0.54439 | 5.7578
21 | -0.015909 | -0.0039908 | 0.01591 | 0.0039912 | 7.0449e-07 | 4.1154e-07 | 0.024344 | 0.024344 | 0.024344 | 0.97249 | -0.53057 | 0.97254 | -0.52964 | 6.688
22 | 0.0099702 | 0.0024994 | -0.0099677 | -0.0024981 | 2.5565e-06 | 1.2739e-06 | 0.015267 | 0.015267 | 0.015267 | 0.97179 | -0.54439 | 0.97152 | -0.54977 | 4.1942
23 | 0.15804 | 0.039996 | -0.15795 | -0.039944 | 8.1806e-05 | 5.1923e-05 | 0.23944 | 0.23944 | 0.23944 | 0.9827 | -0.33077 | 0.98215 | -0.34156 | 21.9267
24 | -0.15804 | -0.039996 | 0.15828 | 0.04015 | 0.00024401 | 0.00015487 | 0.23944 | 0.23944 | 0.23944 | 0.9827 | -0.33077 | 0.98436 | -0.29866 | 21.9267
25 | 0.15795 | 0.039944 | -0.15785 | -0.039877 | 0.00010511 | 6.6714e-05 | 0.23944 | 0.23944 | 0.23944 | 0.98215 | -0.34156 | 0.98143 | -0.35545 | 21.9267
26 | -0.16549 | -0.041958 | 0.16573 | 0.042111 | 0.00024083 | 0.00015296 | 0.25034 | 0.25034 | 0.25034 | 0.98436 | -0.29866 | 0.98592 | -0.26843 | 22.9252
27 | 0.009727 | 0.002438 | -0.009726 | -0.0024376 | 1.0247e-06 | 4.8957e-07 | 0.014578 | 0.014578 | 0.014578 | 0.99285 | -0.13573 | 0.99274 | -0.13794 | 4.005
28 | 0.10448 | 0.026436 | -0.1044 | -0.026386 | 7.9308e-05 | 5.0647e-05 | 0.15715 | 0.15715 | 0.15715 | 0.98989 | -0.19279 | 0.98906 | -0.20862 | 43.1721
29 | 0.039085 | 0.0098152 | -0.039034 | -0.0097831 | 5.1025e-05 | 3.215e-05 | 0.05876 | 0.05876 | 0.05876 | 0.98989 | -0.19279 | 0.98847 | -0.22019 | 16.1429
30 | -0.36019 | -0.092264 | 0.36114 | 0.092871 | 0.00095013 | 0.00060706 | 0.53823 | 0.53823 | 0.53823 | 0.99713 | -0.054286 | 1 | 0 | 49.2882
31 | -0.01591 | -0.0039912 | 0.015921 | 0.0039973 | 1.0484e-05 | 6.1241e-06 | 0.024344 | 0.024344 | 0.024344 | 0.97254 | -0.52964 | 0.97324 | -0.51583 | 6.688
32 | -0.015921 | -0.0039973 | 0.015926 | 0.0040002 | 4.9105e-06 | 2.868e-06 | 0.024344 | 0.024344 | 0.024344 | 0.97324 | -0.51583 | 0.97357 | -0.50937 | 6.688
33 | 0.097894 | 0.024755 | -0.097679 | -0.024618 | 0.00021463 | 0.00013703 | 0.14736 | 0.14736 | 0.14736 | 0.98906 | -0.20862 | 0.9867 | -0.25443 | 40.4827
34 | 0.0065069 | 0.0016309 | -0.0065056 | -0.0016305 | 1.3486e-06 | 3.8161e-07 | 0.0097895 | 0.0097897 | 0.0097897 | 0.98906 | -0.20862 | 0.98884 | -0.21297 | 2.6895
35 | 0.0090956 | 0.0022799 | -0.009094 | -0.0022792 | 1.5858e-06 | 7.2583e-07 | 0.013692 | 0.013692 | 0.013692 | 0.98847 | -0.22019 | 0.98829 | -0.22385 | 3.7617
36 | -0.037676 | -0.009452 | 0.037703 | 0.0094691 | 2.7074e-05 | 1.7048e-05 | 0.057156 | 0.057155 | 0.057156 | 0.98093 | -0.36679 | 0.9817 | -0.35173 | 15.7021
37 | 0.037676 | 0.009452 | -0.037652 | -0.0094371 | 2.3804e-05 | 1.4989e-05 | 0.057156 | 0.057156 | 0.057156 | 0.98093 | -0.36679 | 0.98025 | -0.38006 | 15.7021
38 | 0.012265 | 0.0030753 | -0.012261 | -0.0030733 | 3.6735e-06 | 1.9928e-06 | 0.018591 | 0.018591 | 0.018591 | 0.9817 | -0.35173 | 0.98138 | -0.35802 | 5.1074
39 | -0.049967 | -0.012544 | 0.050039 | 0.01259 | 7.177e-05 | 4.5511e-05 | 0.075746 | 0.075746 | 0.075746 | 0.9817 | -0.35173 | 0.98324 | -0.32167 | 20.8094
40 | 0.034318 | 0.0086014 | -0.034316 | -0.0086004 | 1.5086e-06 | 9.4679e-07 | 0.052094 | 0.052094 | 0.052094 | 0.98025 | -0.38006 | 0.98021 | -0.38098 | 14.3116
41 | 0.012261 | 0.0030733 | -0.012259 | -0.0030725 | 1.4573e-06 | 7.9062e-07 | 0.018591 | 0.018591 | 0.018591 | 0.98138 | -0.35802 | 0.98125 | -0.36052 | 5.1074
42 | -0.054721 | -0.013763 | 0.054758 | 0.013787 | 3.6979e-05 | 2.3484e-05 | 0.082832 | 0.082832 | 0.082832 | 0.98324 | -0.32167 | 0.98396 | -0.30753 | 22.756
43 | -0.07524 | -0.018957 | 0.075335 | 0.019018 | 9.485e-05 | 6.0454e-05 | 0.11366 | 0.11366 | 0.11366 | 0.98534 | -0.28075 | 0.9867 | -0.25443 | 31.2252
44 | 0.07524 | 0.018957 | -0.075144 | -0.018896 | 9.6248e-05 | 6.1346e-05 | 0.11366 | 0.11366 | 0.11366 | 0.98534 | -0.28075 | 0.98396 | -0.30753 | 31.2252
45 | -0.12424 | -0.031339 | 0.12446 | 0.031473 | 0.00021219 | 0.000134 | 0.18888 | 0.18888 | 0.18888 | 0.97917 | -0.39949 | 0.981 | -0.36388 | 17.2968
46 | 0.065109 | 0.016384 | -0.065064 | -0.016356 | 4.5164e-05 | 2.8753e-05 | 0.099427 | 0.099427 | 0.099427 | 0.97465 | -0.48805 | 0.97391 | -0.50257 | 27.3151
47 | -0.028456 | -0.0071448 | 0.028462 | 0.0071483 | 5.5641e-06 | 3.4604e-06 | 0.043158 | 0.043158 | 0.043158 | 0.98122 | -0.35954 | 0.98143 | -0.35545 | 11.8567
48 | 0.028456 | 0.0071448 | -0.028441 | -0.0071355 | 1.4988e-05 | 9.3215e-06 | 0.043158 | 0.043158 | 0.043158 | 0.98122 | -0.35954 | 0.98066 | -0.37059 | 11.8567
49 | 0.12939 | 0.032729 | -0.12934 | -0.032696 | 5.2359e-05 | 3.3098e-05 | 0.19628 | 0.19628 | 0.19628 | 0.98143 | -0.35545 | 0.981 | -0.36388 | 17.9745
50 | 0.024822 | 0.0062285 | -0.024822 | -0.0062284 | 2.2758e-07 | 1.4025e-07 | 0.037667 | 0.037667 | 0.037667 | 0.98066 | -0.37059 | 0.98065 | -0.37078 | 10.3481
51 | 0.17443 | 0.044424 | -0.17436 | -0.044375 | 7.8092e-05 | 4.9632e-05 | 0.26293 | 0.26293 | 0.26293 | 0.98815 | -0.22565 | 0.98766 | -0.23494 | 24.0775
52 | -0.16573 | -0.042111 | 0.166 | 0.042281 | 0.00026773 | 0.00017003 | 0.25034 | 0.25034 | 0.25034 | 0.98592 | -0.26843 | 0.98766 | -0.23494 | 22.9251
53 | -0.018389 | -0.0046176 | 0.018395 | 0.0046212 | 5.9621e-06 | 3.5654e-06 | 0.02811 | 0.02811 | 0.02811 | 0.97357 | -0.50937 | 0.97391 | -0.50257 | 7.7224
54 | 0.0065056 | 0.0016305 | -0.006505 | -0.0016303 | 6.1319e-07 | 1.7359e-07 | 0.0097897 | 0.0097898 | 0.0097898 | 0.98884 | -0.21297 | 0.98874 | -0.21495 | 2.6895
55 | -0.0083521 | -0.0020932 | 0.0083531 | 0.0020937 | 9.9224e-07 | 4.2126e-07 | 0.012585 | 0.012585 | 0.012585 | 0.98754 | -0.23743 | 0.98766 | -0.23494 | 3.4574
56 | 0.046668 | 0.011734 | -0.046621 | -0.011705 | 4.703e-05 | 2.9792e-05 | 0.071317 | 0.071317 | 0.071317 | 0.97391 | -0.50257 | 0.97284 | -0.5237 | 19.5927
57 | 0.019167 | 0.0048111 | -0.019157 | -0.0048051 | 1.0025e-05 | 6.0178e-06 | 0.029086 | 0.029086 | 0.029086 | 0.98065 | -0.37078 | 0.98009 | -0.38176 | 7.9908
58 | 0.008332 | 0.0020881 | -0.0083309 | -0.0020876 | 1.1639e-06 | 5.0182e-07 | 0.012667 | 0.012667 | 0.012667 | 0.97876 | -0.40785 | 0.97861 | -0.41078 | 3.48
59 | -0.009512 | -0.0023839 | 0.0095121 | 0.0023839 | 7.7561e-08 | 3.7209e-08 | 0.014461 | 0.014461 | 0.014461 | 0.97876 | -0.40785 | 0.97877 | -0.40768 | 3.9728
60 | 0.0058597 | 0.0014683 | -0.0058591 | -0.0014682 | 5.4422e-07 | 1.1864e-07 | 0.0089098 | 0.0089099 | 0.0089099 | 0.97861 | -0.41078 | 0.97851 | -0.41273 | 2.4478
61 | -0.010061 | -0.0025196 | 0.010062 | 0.00252 | 8.0316e-07 | 3.9895e-07 | 0.015295 | 0.015295 | 0.015295 | 0.97877 | -0.40768 | 0.97885 | -0.406 | 4.202
62 | 0.00054909 | 0.00013573 | -0.00054907 | -0.00013685 | 2.3558e-08 | -1.1192e-06 | 0.00083411 | 0.00083451 | 0.00083451 | 0.97877 | -0.40768 | 0.97872 | -0.40859 | 0.22926
63 | 0.0045275 | 0.0011344 | -0.0045274 | -0.0011344 | 7.9831e-08 | -5.3216e-09 | 0.0068849 | 0.0068849 | 0.0068849 | 0.97851 | -0.41273 | 0.97849 | -0.4131 | 1.8915
64 | -0.010062 | -0.00252 | 0.010063 | 0.0025203 | 5.125e-07 | 2.5456e-07 | 0.015295 | 0.015295 | 0.015295 | 0.97885 | -0.406 | 0.97891 | -0.40493 | 4.202
65 | 0.00054907 | 0.00013685 | -0.00054905 | -0.00013761 | 1.5878e-08 | -7.5364e-07 | 0.00083451 | 0.00083479 | 0.00083479 | 0.97872 | -0.40859 | 0.97869 | -0.4092 | 0.22934
66 | 0.0027603 | 0.00069155 | -0.0027601 | -0.00069174 | 1.5225e-07 | -1.9198e-07 | 0.0041975 | 0.0041976 | 0.0041976 | 0.97849 | -0.4131 | 0.97843 | -0.41426 | 1.1532
67 | -0.013025 | -0.0032627 | 0.013029 | 0.0032653 | 4.6658e-06 | 2.5869e-06 | 0.019798 | 0.019798 | 0.019798 | 0.97891 | -0.40493 | 0.97929 | -0.39741 | 5.439
68 | 0.00099753 | 0.00025 | -0.00099753 | -0.00025 | 1.9921e-10 | -2.7718e-09 | 0.0015171 | 0.0015171 | 0.0015171 | 0.97843 | -0.41426 | 0.97843 | -0.41427 | 0.41677
69 | -0.016291 | -0.0040828 | 0.016299 | 0.0040875 | 7.8954e-06 | 4.6205e-06 | 0.024755 | 0.024754 | 0.024755 | 0.97929 | -0.39741 | 0.97981 | -0.38725 | 6.8007
70 | -0.016299 | -0.0040875 | 0.016304 | 0.00409 | 4.2662e-06 | 2.4965e-06 | 0.024754 | 0.024754 | 0.024754 | 0.97981 | -0.38725 | 0.98009 | -0.38176 | 6.8007
71 | -0.0048584 | -0.0012176 | 0.0048593 | 0.0012177 | 8.9232e-07 | 4.0698e-08 | 0.0074478 | 0.0074476 | 0.0074478 | 0.97068 | -0.56647 | 0.97087 | -0.56261 | 2.0461
72 | -0.02938 | -0.007363 | 0.029434 | 0.0073971 | 5.4574e-05 | 3.4038e-05 | 0.045029 | 0.045029 | 0.045029 | 0.97087 | -0.56261 | 0.97284 | -0.5237 | 12.3706

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41407 | 0.10572

## res_load
| p_mw | q_mvar
0 | 0.0023337 | 0.00058488
1 | 0.0033436 | 0.00083799
2 | 0.0031416 | 0.00078735
3 | 0.012144 | 0.0030436
4 | 0.0042684 | 0.0010698
5 | 0.005554 | 0.001392
6 | 0.0055728 | 0.0013967
7 | 0.018489 | 0.0046339
8 | 0.0022132 | 0.00055467
9 | 0.0037171 | 0.00093159
10 | 0.007213 | 0.0018078
11 | 0.009726 | 0.0024376
12 | 0.01136 | 0.0028471
13 | 0.029938 | 0.0075032
14 | 0.0033344 | 0.00083567
15 | 0.0046822 | 0.0011735
16 | 0.012259 | 0.0030725
17 | 0.022345 | 0.0056001
18 | 0.020385 | 0.0051091
19 | 0.022418 | 0.0056185
20 | 0.0036189 | 0.00090698
21 | 0.0099677 | 0.0024981
22 | 0.051279 | 0.012852
23 | 0.0024637 | 0.00061745
24 | 0.009094 | 0.0022792
25 | 0.034316 | 0.0086004
26 | 0.0083521 | 0.0020932
27 | 0.0048793 | 0.0012229
28 | 0.005655 | 0.0014173
29 | 0.00118 | 0.00029573
30 | 0.0024712 | 0.00061934
31 | 0.0013316 | 0.00033374
32 | 0.0017672 | 0.0004429
33 | 0.0029623 | 0.00074242
34 | 0.00054905 | 0.00013761
35 | 0.0017626 | 0.00044174
36 | 0.003262 | 0.00081754
37 | 0.0028534 | 0.00071513
38 | 0.00099753 | 0.00025
39 | 0.0048584 | 0.0012176
40 | 0.02452 | 0.0061454
41 | 0.017187 | 0.0043075
42 | 0.006505 | 0.0016303

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1