## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2497-2_1_2_node_13 | 0.4 | n |  | TRUE
1 | bus_LV_2497-2_1_2_node_14 | 0.4 | n |  | TRUE
2 | bus_LV_2497-2_1_2_node_15 | 0.4 | n |  | TRUE
3 | bus_LV_2497-2_1_2_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_2497-2_1_2_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_2497-2_1_2_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_2497-2_1_2_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_2497-2_1_2_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_2497-2_1_2_node_82 | 0.4 | n |  | TRUE
9 | bus_LV_2497-2_1_2_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_2497-2_1_2_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_2497-2_1_2_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_2497-2_1_2_node_146 | 0.4 | n |  | TRUE
13 | bus_LV_2497-2_1_2_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_2497-2_1_2_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_2497-2_1_2_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_2497-2_1_2_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_2497-2_1_2_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_2497-2_1_2_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_2497-2_1_2_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_2497-2_1_2_node_176 | 0.4 | n |  | TRUE
21 | bus_LV_2497-2_1_2_node_141 | 0.4 | n |  | TRUE
22 | bus_LV_2497-2_1_2_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_2497-2_1_2_node_121 | 0.4 | n |  | TRUE
24 | bus_LV_2497-2_1_2_node_165 | 0.4 | n |  | TRUE
25 | bus_LV_2497-2_1_2_node_93 | 0.4 | n |  | TRUE
26 | bus_LV_2497-2_1_2_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_2497-2_1_2_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_2497-2_1_2_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_2497-2_1_2_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_2497-2_1_2_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_2497-2_1_2_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_2497-2_1_2_node_118 | 0.4 | n |  | TRUE
33 | bus_LV_2497-2_1_2_node_119 | 0.4 | n |  | TRUE
34 | bus_LV_2497-2_1_2_node_173 | 0.4 | n |  | TRUE
35 | bus_LV_2497-2_1_2_node_149 | 0.4 | n |  | TRUE
36 | bus_LV_2497-2_1_2_node_174 | 0.4 | n |  | TRUE
37 | bus_LV_2497-2_1_2_node_175 | 0.4 | n |  | TRUE
38 | bus_LV_2497-2_1_2_node_120 | 0.4 | n |  | TRUE
39 | bus_LV_2497-2_1_2_node_84 | 0.4 | n |  | TRUE
40 | bus_LV_2497-2_1_2_node_91 | 0.4 | n |  | TRUE
41 | bus_LV_2497-2_1_2_node_145 | 0.4 | n |  | TRUE
42 | bus_LV_2497-2_1_2_node_147 | 0.4 | n |  | TRUE
43 | bus_LV_2497-2_1_2_node_148 | 0.4 | n |  | TRUE
44 | bus_MV_291_1_node_109 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2497-2_1_2_load_13 | 0 | 0.0082021 | 0.0020556 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2497-2_1_2_load_14 | 1 | 0.0066586 | 0.0016688 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2497-2_1_2_load_16 | 3 | 0.012561 | 0.0031481 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2497-2_1_2_load_19 | 5 | 0.010284 | 0.0025774 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2497-2_1_2_load_21 | 6 | 0.0098541 | 0.0024697 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2497-2_1_2_load_22 | 7 | 0.00098778 | 0.00024756 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2497-2_1_2_load_82 | 8 | 0.0021655 | 0.00054272 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2497-2_1_2_load_20 | 9 | 0.0029859 | 0.00074834 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2497-2_1_2_load_50 | 10 | 0.0013902 | 0.00034843 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2497-2_1_2_load_26 | 11 | 0.0084629 | 0.002121 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2497-2_1_2_load_146 | 12 | 0.00069258 | 0.00017358 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2497-2_1_2_load_23 | 13 | 0.012973 | 0.0032514 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2497-2_1_2_load_24 | 14 | 0.0024946 | 0.00062522 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2497-2_1_2_load_27 | 16 | 0.011753 | 0.0029456 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2497-2_1_2_load_28 | 17 | 0.0026089 | 0.00065385 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2497-2_1_2_load_29 | 18 | 0.012132 | 0.0030405 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2497-2_1_2_load_176 | 20 | 0.019664 | 0.0049284 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2497-2_1_2_load_141 | 21 | 0.052451 | 0.013145 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2497-2_1_2_load_37 | 22 | 0.0033359 | 0.00083606 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2497-2_1_2_load_121 | 23 | 0.0027199 | 0.00068168 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2497-2_1_2_load_165 | 24 | 0.0010459 | 0.00026212 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2497-2_1_2_load_93 | 25 | 0.0011759 | 0.00029471 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2497-2_1_2_load_45 | 26 | 0.00057451 | 0.00014399 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2497-2_1_2_load_46 | 27 | 0.0022913 | 0.00057425 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2497-2_1_2_load_47 | 28 | 0.0013807 | 0.00034603 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2497-2_1_2_load_48 | 29 | 0.0031469 | 0.00078869 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2497-2_1_2_load_49 | 30 | 0.00060473 | 0.00015156 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2497-2_1_2_load_118 | 32 | 0.00092092 | 0.0002308 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2497-2_1_2_load_119 | 33 | 0.002932 | 0.00073483 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2497-2_1_2_load_173 | 34 | 0.00066818 | 0.00016746 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2497-2_1_2_load_149 | 35 | 0.00069234 | 0.00017352 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2497-2_1_2_load_174 | 36 | 0.00049135 | 0.00012314 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2497-2_1_2_load_175 | 37 | 0.010122 | 0.0025369 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2497-2_1_2_load_84 | 39 | 0.0010017 | 0.00025105 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2497-2_1_2_load_145 | 41 | 0.00053812 | 0.00013486 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2497-2_1_2_load_147 | 42 | 0.0004575 | 0.00011466 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2497-2_1_2_load_148 | 43 | 0.00073304 | 0.00018372 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2497-2_1_2_line_0 |  | 0 | 1 | 0.031094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2497-2_1_2_line_1 |  | 0 | 2 | 0.02415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2497-2_1_2_line_2 |  | 1 | 3 | 0.022361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2497-2_1_2_line_3 |  | 2 | 4 | 0.007972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2497-2_1_2_line_4 |  | 3 | 5 | 0.016365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2497-2_1_2_line_5 |  | 4 | 6 | 0.048254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2497-2_1_2_line_6 |  | 4 | 7 | 0.016453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2497-2_1_2_line_7 |  | 5 | 8 | 0.17712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2497-2_1_2_line_8 |  | 6 | 11 | 0.0023528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2497-2_1_2_line_9 |  | 7 | 12 | 0.0070893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2497-2_1_2_line_10 |  | 8 | 39 | 0.020878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2497-2_1_2_line_11 |  | 9 | 10 | 0.0070308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2497-2_1_2_line_12 |  | 10 | 29 | 0.016419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2497-2_1_2_line_13 |  | 11 | 14 | 0.0082398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2497-2_1_2_line_14 |  | 12 | 41 | 0.014988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2497-2_1_2_line_15 |  | 13 | 14 | 0.023924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2497-2_1_2_line_16 |  | 13 | 15 | 0.054292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2497-2_1_2_line_17 |  | 15 | 16 | 0.033356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2497-2_1_2_line_18 |  | 15 | 17 | 0.0097046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2497-2_1_2_line_19 |  | 16 | 18 | 0.028652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2497-2_1_2_line_20 |  | 17 | 19 | 0.039494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2497-2_1_2_line_21 |  | 18 | 20 | 0.015414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2497-2_1_2_line_22 |  | 19 | 21 | 0.058835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2497-2_1_2_line_23 |  | 22 | 23 | 0.0175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2497-2_1_2_line_24 |  | 23 | 33 | 0.018956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2497-2_1_2_line_25 |  | 24 | 25 | 0.018009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2497-2_1_2_line_26 |  | 25 | 40 | 0.013894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2497-2_1_2_line_27 |  | 26 | 27 | 0.016828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2497-2_1_2_line_28 |  | 26 | 28 | 0.001783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2497-2_1_2_line_29 |  | 27 | 29 | 0.0065105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2497-2_1_2_line_30 |  | 28 | 30 | 0.0086028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2497-2_1_2_line_31 |  | 30 | 31 | 0.0091227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2497-2_1_2_line_32 |  | 31 | 32 | 0.012591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2497-2_1_2_line_33 |  | 31 | 33 | 0.051771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2497-2_1_2_line_34 |  | 32 | 38 | 0.026271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2497-2_1_2_line_35 |  | 34 | 35 | 0.0045676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2497-2_1_2_line_36 |  | 34 | 36 | 0.016299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2497-2_1_2_line_37 |  | 35 | 43 | 0.017411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2497-2_1_2_line_38 |  | 36 | 37 | 0.014281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2497-2_1_2_line_39 |  | 37 | 38 | 0.037747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2497-2_1_2_line_40 |  | 39 | 40 | 0.023873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2497-2_1_2_line_41 |  | 41 | 42 | 0.010725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2497-2_1_2_line_42 |  | 42 | 43 | 0.010558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2497-2_1_2_trafo_23 | 0.63 MVA 20/0.4 kV | 44 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2638970.0361 | 1245398.3582 | 2638958.0031 | 1245396.3015 | 2638939.3959 | 1245393.0629
1 | 2638993.4995 | 1245403.9062 | 2638980.8012 | 1245400.1981 | 2638970.0361 | 1245398.3582
2 | 2638917.3862 | 1245389.1174 | 2638927.0024 | 1245390.9058 | 2638939.3959 | 1245393.0629
3 | 2638991.4015 | 1245411.5974 | 2638993.4995 | 1245403.9062
4 | 2638917.3862 | 1245389.1174 | 2638912.9974 | 1245388.3012 | 2638903.4028 | 1245387.1042 | 2638901.1778 | 1245387.2767
5 | 2638991.4015 | 1245411.5974 | 2638978.0398 | 1245457.9648
6 | 2638991.4015 | 1245411.5974 | 2639000.4028 | 1245413.4022 | 2639006.8709 | 1245416.7277
7 | 2638901.1778 | 1245387.2767 | 2638777.5758 | 1245260.4196
8 | 2638977.3883 | 1245460.2257 | 2638978.0398 | 1245457.9648
9 | 2639013.1757 | 1245419.9693 | 2639006.8709 | 1245416.7277
10 | 2638777.5758 | 1245260.4196 | 2638765.8998 | 1245268.2049 | 2638760.1389 | 1245271.9004
11 | 2639019.7497 | 1245370.7793 | 2639026.091 | 1245373.8157
12 | 2639040.9001 | 1245380.9067 | 2639026.091 | 1245373.8157
13 | 2638975.1069 | 1245468.1434 | 2638976.1633 | 1245464.4764 | 2638977.3883 | 1245460.2257
14 | 2639026.5543 | 1245426.7253 | 2639014.4002 | 1245420.5988 | 2639013.1757 | 1245419.9693
15 | 2638975.1069 | 1245468.1434 | 2638968.484 | 1245491.1325
16 | 2638953.1026 | 1245543.1989 | 2638956.3002 | 1245532.5462 | 2638962.5024 | 1245511.8956 | 2638968.484 | 1245491.1325
17 | 2638953.1026 | 1245543.1989 | 2638920.2894 | 1245537.2063
18 | 2638953.1026 | 1245543.1989 | 2638950.3011 | 1245552.4904
19 | 2638892.1033 | 1245532.0588 | 2638920.2894 | 1245537.2063
20 | 2638938.9002 | 1245590.3032 | 2638950.3011 | 1245552.4904
21 | 2638892.1033 | 1245532.0588 | 2638876.9402 | 1245529.2896
22 | 2638938.9002 | 1245590.3032 | 2638995.2451 | 1245607.2387
23 | 2639062.9775 | 1245338.8951 | 2639049.8901 | 1245327.277
24 | 2639062.9775 | 1245338.8951 | 2639075.599 | 1245350.0995 | 2639076.8163 | 1245351.785
25 | 2638729.9061 | 1245270.607 | 2638719.4244 | 1245255.9627
26 | 2638738.8971 | 1245281.0038 | 2638735.7012 | 1245278.7036 | 2638729.9061 | 1245270.607
27 | 2639061.2762 | 1245392.285 | 2639046.589 | 1245384.0717
28 | 2639061.2762 | 1245392.285 | 2639062.8325 | 1245393.1553
29 | 2639040.9001 | 1245380.9067 | 2639041.1032 | 1245381.004 | 2639046.589 | 1245384.0717
30 | 2639070.341 | 1245397.3541 | 2639062.8325 | 1245393.1553
31 | 2639078.3032 | 1245401.8067 | 2639070.341 | 1245397.3541
32 | 2639078.3032 | 1245401.8067 | 2639080.1024 | 1245402.797 | 2639089.4924 | 1245407.5793
33 | 2639078.3032 | 1245401.8067 | 2639079.5995 | 1245400.003 | 2639080.9989 | 1245396.2986 | 2639080.9016 | 1245360.5969 | 2639080.4969 | 1245357.8035 | 2639078.197 | 1245353.6968 | 2639076.8163 | 1245351.785
34 | 2639112.9019 | 1245419.5017 | 2639089.4924 | 1245407.5793
35 | 2639061.0372 | 1245444.2786 | 2639065.0843 | 1245446.3963
36 | 2639079.6002 | 1245453.8049 | 2639075.6011 | 1245451.8995 | 2639065.0843 | 1245446.3963
37 | 2639061.0372 | 1245444.2786 | 2639052.103 | 1245439.6035 | 2639045.56 | 1245436.3054
38 | 2639079.6002 | 1245453.8049 | 2639079.6002 | 1245453.8049 | 2639083.2976 | 1245454.4963 | 2639087.0997 | 1245454.1989 | 2639089.9991 | 1245453.3063 | 2639093.3036 | 1245451.7048
39 | 2639112.9019 | 1245419.5017 | 2639098.202 | 1245444.3989 | 2639095.6031 | 1245448.9959 | 2639093.3036 | 1245451.7048 | 2639093.3036 | 1245451.7048
40 | 2638738.8971 | 1245281.0038 | 2638741.4022 | 1245281.4982 | 2638744.2008 | 1245281.005 | 2638747.1979 | 1245280.2018 | 2638760.1389 | 1245271.9004
41 | 2639026.5543 | 1245426.7253 | 2639036.1317 | 1245431.5529
42 | 2639036.1317 | 1245431.5529 | 2639045.56 | 1245436.3054

## bus_geodata
| x | y | coords
0 | 2638970.0361 | 1245398.3582
1 | 2638939.3959 | 1245393.0629
2 | 2638993.4995 | 1245403.9062
3 | 2638917.3862 | 1245389.1174
4 | 2638991.4015 | 1245411.5974
5 | 2638901.1778 | 1245387.2767
6 | 2638978.0398 | 1245457.9648
7 | 2639006.8709 | 1245416.7277
8 | 2638777.5758 | 1245260.4196
9 | 2639019.7497 | 1245370.7793
10 | 2639026.091 | 1245373.8157
11 | 2638977.3883 | 1245460.2257
12 | 2639013.1757 | 1245419.9693
13 | 2638968.484 | 1245491.1325
14 | 2638975.1069 | 1245468.1434
15 | 2638953.1026 | 1245543.1989
16 | 2638920.2894 | 1245537.2063
17 | 2638950.3011 | 1245552.4904
18 | 2638892.1033 | 1245532.0588
19 | 2638938.9002 | 1245590.3032
20 | 2638876.9402 | 1245529.2896
21 | 2638995.2451 | 1245607.2387
22 | 2639049.8901 | 1245327.277
23 | 2639062.9775 | 1245338.8951
24 | 2638719.4244 | 1245255.9627
25 | 2638729.9061 | 1245270.607
26 | 2639061.2762 | 1245392.285
27 | 2639046.589 | 1245384.0717
28 | 2639062.8325 | 1245393.1553
29 | 2639040.9001 | 1245380.9067
30 | 2639070.341 | 1245397.3541
31 | 2639078.3032 | 1245401.8067
32 | 2639089.4924 | 1245407.5793
33 | 2639076.8163 | 1245351.785
34 | 2639065.0843 | 1245446.3963
35 | 2639061.0372 | 1245444.2786
36 | 2639079.6002 | 1245453.8049
37 | 2639093.3036 | 1245451.7048
38 | 2639112.9019 | 1245419.5017
39 | 2638760.1389 | 1245271.9004
40 | 2638738.8971 | 1245281.0038
41 | 2639026.5543 | 1245426.7253
42 | 2639036.1317 | 1245431.5529
43 | 2639045.56 | 1245436.3054
44 | 2638953.1026 | 1245543.1989

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99199 | -0.15362 | 0.0082021 | 0.0020556
1 | 0.991 | -0.17286 | 0.0066586 | 0.0016688
2 | 0.99295 | -0.1352 | 0 | 0
3 | 0.99042 | -0.18408 | 0.012561 | 0.0031481
4 | 0.99326 | -0.12913 | 0 | 0
5 | 0.99019 | -0.18864 | 0.010284 | 0.0025774
6 | 0.99683 | -0.060506 | 0.0098541 | 0.0024697
7 | 0.99269 | -0.14009 | 0.00098778 | 0.00024756
8 | 0.98931 | -0.20564 | 0.0021655 | 0.00054272
9 | 0.98762 | -0.23847 | 0.0029859 | 0.00074834
10 | 0.98764 | -0.2381 | 0.0013902 | 0.00034843
11 | 0.99703 | -0.056766 | 0.0084629 | 0.002121
12 | 0.99245 | -0.14469 | 0.00069258 | 0.00017358
13 | 1 | 0 | -0.20344 | -0.051185
14 | 0.99778 | -0.042459 | 0.0024946 | 0.00062522
15 | 0.9951 | -0.093777 | 0 | 0
16 | 0.99377 | -0.11938 | 0.011753 | 0.0029456
17 | 0.99461 | -0.10319 | 0.0026089 | 0.00065385
18 | 0.99294 | -0.13547 | 0.012132 | 0.0030405
19 | 0.99271 | -0.13976 | 0 | 0
20 | 0.99267 | -0.14083 | 0.019664 | 0.0049284
21 | 0.98989 | -0.19449 | 0.052451 | 0.013145
22 | 0.98753 | -0.24024 | 0.0033359 | 0.00083606
23 | 0.98758 | -0.2392 | 0.0027199 | 0.00068168
24 | 0.98916 | -0.20867 | 0.0010459 | 0.00026212
25 | 0.98918 | -0.20833 | 0.0011759 | 0.00029471
26 | 0.9879 | -0.23299 | 0.00057451 | 0.00014399
27 | 0.98775 | -0.23594 | 0.0022913 | 0.00057425
28 | 0.98792 | -0.23266 | 0.0013807 | 0.00034603
29 | 0.9877 | -0.23681 | 0.0031469 | 0.00078869
30 | 0.98801 | -0.23085 | 0.00060473 | 0.00015156
31 | 0.98811 | -0.22883 | 0 | 0
32 | 0.98836 | -0.22403 | 0.00092092 | 0.0002308
33 | 0.98768 | -0.23715 | 0.002932 | 0.00073483
34 | 0.99058 | -0.18084 | 0.00066818 | 0.00016746
35 | 0.99073 | -0.17812 | 0.00069234 | 0.00017352
36 | 0.99009 | -0.19037 | 0.00049135 | 0.00012314
37 | 0.98967 | -0.19861 | 0.010122 | 0.0025369
38 | 0.9889 | -0.21359 | 0 | 0
39 | 0.98925 | -0.20684 | 0.0010017 | 0.00025105
40 | 0.9892 | -0.20778 | 0 | 0
41 | 0.99196 | -0.15424 | 0.00053812 | 0.00013486
42 | 0.99161 | -0.16098 | 0.0004575 | 0.00011466
43 | 0.99127 | -0.16753 | 0.00073304 | 0.00018372
44 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.034948 | 0.0087761 | -0.034916 | -0.008756 | 3.2052e-05 | 2.0112e-05 | 0.052429 | 0.052429 | 0.052429 | 0.99199 | -0.15362 | 0.991 | -0.17286 | 14.4036
1 | -0.04315 | -0.010832 | 0.043188 | 0.010856 | 3.7948e-05 | 2.3974e-05 | 0.064732 | 0.064732 | 0.064732 | 0.99199 | -0.15362 | 0.99295 | -0.1352 | 17.7836
2 | 0.028257 | 0.0070872 | -0.028242 | -0.0070778 | 1.5097e-05 | 9.374e-06 | 0.042431 | 0.042431 | 0.042431 | 0.991 | -0.17286 | 0.99042 | -0.18408 | 11.6569
3 | -0.043188 | -0.010856 | 0.0432 | 0.010864 | 1.2527e-05 | 7.914e-06 | 0.064732 | 0.064732 | 0.064732 | 0.99295 | -0.1352 | 0.99326 | -0.12913 | 17.7835
4 | 0.015681 | 0.0039297 | -0.015677 | -0.0039277 | 3.4061e-06 | 1.9693e-06 | 0.023559 | 0.023559 | 0.023559 | 0.99042 | -0.18408 | 0.99019 | -0.18864 | 6.4723
5 | -0.081024 | -0.0204 | 0.081291 | 0.02057 | 0.00026676 | 0.0001701 | 0.12142 | 0.12142 | 0.12142 | 0.99326 | -0.12913 | 0.99683 | -0.060506 | 33.3559
6 | 0.037823 | 0.0095361 | -0.037803 | -0.0095236 | 1.9824e-05 | 1.2475e-05 | 0.056684 | 0.056684 | 0.056684 | 0.99326 | -0.12913 | 0.99269 | -0.14009 | 15.5724
7 | 0.0053937 | 0.0013504 | -0.0053893 | -0.0013498 | 4.3634e-06 | 5.1633e-07 | 0.0081049 | 0.0081057 | 0.0081057 | 0.99019 | -0.18864 | 0.98931 | -0.20564 | 2.2268
8 | -0.091145 | -0.02304 | 0.091161 | 0.02305 | 1.6349e-05 | 1.0433e-05 | 0.13612 | 0.13612 | 0.13612 | 0.99683 | -0.060506 | 0.99703 | -0.056766 | 37.397
9 | 0.036816 | 0.0092761 | -0.036808 | -0.009271 | 8.1014e-06 | 5.0933e-06 | 0.055203 | 0.055203 | 0.055203 | 0.99269 | -0.14009 | 0.99245 | -0.14469 | 15.1657
10 | 0.0032238 | 0.00080713 | -0.0032237 | -0.00080728 | 1.8406e-07 | -1.5026e-07 | 0.0048486 | 0.0048487 | 0.0048487 | 0.98931 | -0.20564 | 0.98925 | -0.20684 | 1.3321
11 | -0.0029859 | -0.00074834 | 0.002986 | 0.00074828 | 5.3361e-08 | -5.5819e-08 | 0.0044988 | 0.0044988 | 0.0044988 | 0.98762 | -0.23847 | 0.98764 | -0.2381 | 1.2359
12 | -0.0043762 | -0.0010967 | 0.0043765 | 0.0010967 | 2.6767e-07 | -3.8823e-08 | 0.0065934 | 0.0065933 | 0.0065934 | 0.98764 | -0.2381 | 0.9877 | -0.23681 | 1.8114
13 | -0.099624 | -0.025171 | 0.099692 | 0.025215 | 6.8374e-05 | 4.3652e-05 | 0.14876 | 0.14876 | 0.14876 | 0.99703 | -0.056766 | 0.99778 | -0.042459 | 40.8669
14 | 0.036115 | 0.0090974 | -0.036099 | -0.0090871 | 1.6489e-05 | 1.0359e-05 | 0.054165 | 0.054165 | 0.054165 | 0.99245 | -0.14469 | 0.99196 | -0.15424 | 14.8804
15 | 0.1024 | 0.025973 | -0.10219 | -0.02584 | 0.00020858 | 0.00013318 | 0.15248 | 0.15248 | 0.15248 | 1 | 0 | 0.99778 | -0.042459 | 41.8889
16 | 0.099392 | 0.025212 | -0.098946 | -0.024927 | 0.00044597 | 0.00028471 | 0.148 | 0.148 | 0.148 | 1 | 0 | 0.9951 | -0.093777 | 40.6604
17 | 0.043632 | 0.010966 | -0.043579 | -0.010933 | 5.3265e-05 | 3.3657e-05 | 0.065256 | 0.065256 | 0.065256 | 0.9951 | -0.093777 | 0.99377 | -0.11938 | 17.9275
18 | 0.055314 | 0.013961 | -0.055289 | -0.013945 | 2.4919e-05 | 1.5822e-05 | 0.082748 | 0.082748 | 0.082748 | 0.9951 | -0.093777 | 0.99461 | -0.10319 | 22.733
19 | 0.031826 | 0.0079871 | -0.031801 | -0.0079719 | 2.4404e-05 | 1.5247e-05 | 0.047658 | 0.047658 | 0.047658 | 0.99377 | -0.11938 | 0.99294 | -0.13547 | 13.0928
20 | 0.05268 | 0.013291 | -0.052588 | -0.013233 | 9.2069e-05 | 5.8413e-05 | 0.078845 | 0.078845 | 0.078845 | 0.99461 | -0.10319 | 0.99271 | -0.13976 | 21.6608
21 | 0.019669 | 0.0049314 | -0.019664 | -0.0049284 | 5.0224e-06 | 3.015e-06 | 0.029477 | 0.029477 | 0.029477 | 0.99294 | -0.13547 | 0.99267 | -0.14083 | 8.0981
22 | 0.052588 | 0.013233 | -0.052451 | -0.013145 | 0.00013716 | 8.7022e-05 | 0.078845 | 0.078845 | 0.078845 | 0.99271 | -0.13976 | 0.98989 | -0.19449 | 21.6608
23 | -0.0033359 | -0.00083606 | 0.0033361 | 0.00083595 | 1.6581e-07 | -1.1779e-07 | 0.0050266 | 0.0050265 | 0.0050266 | 0.98753 | -0.24024 | 0.98758 | -0.2392 | 1.3809
24 | -0.006056 | -0.0015176 | 0.0060566 | 0.0015178 | 5.9187e-07 | 1.3621e-07 | 0.0091248 | 0.0091247 | 0.0091248 | 0.98758 | -0.2392 | 0.98768 | -0.23715 | 2.5068
25 | -0.0010459 | -0.00026212 | 0.0010459 | 0.0002619 | 1.6716e-08 | -2.2048e-07 | 0.0015733 | 0.0015732 | 0.0015733 | 0.98916 | -0.20867 | 0.98918 | -0.20833 | 0.43223
26 | -0.0022218 | -0.00055661 | 0.0022218 | 0.00055647 | 5.8199e-08 | -1.4112e-07 | 0.0033421 | 0.0033421 | 0.0033421 | 0.98918 | -0.20833 | 0.9892 | -0.20778 | 0.91817
27 | 0.0098163 | 0.0024604 | -0.009815 | -0.0024597 | 1.3796e-06 | 6.6752e-07 | 0.014786 | 0.014786 | 0.014786 | 0.9879 | -0.23299 | 0.98775 | -0.23594 | 4.0621
28 | -0.010391 | -0.0026044 | 0.010391 | 0.0026045 | 1.6379e-07 | 8.1996e-08 | 0.015651 | 0.015651 | 0.015651 | 0.9879 | -0.23299 | 0.98792 | -0.23266 | 4.2998
29 | 0.0075237 | 0.0018855 | -0.0075234 | -0.0018854 | 3.1364e-07 | 1.174e-07 | 0.011334 | 0.011334 | 0.011334 | 0.98775 | -0.23594 | 0.9877 | -0.23681 | 3.1138
30 | -0.011772 | -0.0029505 | 0.011773 | 0.002951 | 1.0142e-06 | 5.3893e-07 | 0.017731 | 0.017731 | 0.017731 | 0.98792 | -0.23266 | 0.98801 | -0.23085 | 4.8711
31 | -0.012377 | -0.0031026 | 0.012379 | 0.0031032 | 1.1888e-06 | 6.44e-07 | 0.018642 | 0.018641 | 0.018642 | 0.98801 | -0.23085 | 0.98811 | -0.22883 | 5.1213
32 | -0.021371 | -0.0053574 | 0.021376 | 0.0053604 | 4.8906e-06 | 2.9686e-06 | 0.032183 | 0.032183 | 0.032183 | 0.98811 | -0.22883 | 0.98836 | -0.22403 | 8.8415
33 | 0.0089922 | 0.0022542 | -0.0089886 | -0.0022526 | 3.5602e-06 | 1.6156e-06 | 0.013542 | 0.013542 | 0.013542 | 0.98811 | -0.22883 | 0.98768 | -0.23715 | 3.7203
34 | -0.022297 | -0.0055912 | 0.022308 | 0.005598 | 1.1102e-05 | 6.7683e-06 | 0.03357 | 0.033569 | 0.03357 | 0.98836 | -0.22403 | 0.9889 | -0.21359 | 9.2224
35 | -0.033633 | -0.0084526 | 0.033638 | 0.0084553 | 4.3736e-06 | 2.7403e-06 | 0.050531 | 0.050531 | 0.050531 | 0.99058 | -0.18084 | 0.99073 | -0.17812 | 13.8821
36 | 0.032965 | 0.0082851 | -0.03295 | -0.0082757 | 1.4993e-05 | 9.3859e-06 | 0.049527 | 0.049527 | 0.049527 | 0.99058 | -0.18084 | 0.99009 | -0.19037 | 13.6064
37 | -0.03433 | -0.0086288 | 0.034347 | 0.0086397 | 1.7364e-05 | 1.0889e-05 | 0.051571 | 0.051571 | 0.051571 | 0.99073 | -0.17812 | 0.99127 | -0.16753 | 14.1678
38 | 0.032459 | 0.0081526 | -0.032446 | -0.0081446 | 1.2748e-05 | 7.975e-06 | 0.048789 | 0.048789 | 0.048789 | 0.99009 | -0.19037 | 0.98967 | -0.19861 | 13.4035
39 | 0.022324 | 0.0056077 | -0.022308 | -0.005598 | 1.5951e-05 | 9.7243e-06 | 0.033569 | 0.033569 | 0.033569 | 0.98967 | -0.19861 | 0.9889 | -0.21359 | 9.2224
40 | 0.0022219 | 0.00055622 | -0.0022218 | -0.00055647 | 9.999e-08 | -2.4249e-07 | 0.003342 | 0.0033421 | 0.0033421 | 0.98925 | -0.20684 | 0.9892 | -0.20778 | 0.91816
41 | 0.03556 | 0.0089522 | -0.035549 | -0.008945 | 1.1451e-05 | 7.1901e-06 | 0.053357 | 0.053358 | 0.053358 | 0.99196 | -0.15424 | 0.99161 | -0.16098 | 14.6587
42 | 0.035091 | 0.0088303 | -0.03508 | -0.0088234 | 1.0984e-05 | 6.8938e-06 | 0.052671 | 0.052671 | 0.052671 | 0.99161 | -0.16098 | 0.99127 | -0.16753 | 14.4701

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.21641 | 0.054436

## res_load
| p_mw | q_mvar
0 | 0.0082021 | 0.0020556
1 | 0.0066586 | 0.0016688
2 | 0.012561 | 0.0031481
3 | 0.010284 | 0.0025774
4 | 0.0098541 | 0.0024697
5 | 0.00098778 | 0.00024756
6 | 0.0021655 | 0.00054272
7 | 0.0029859 | 0.00074834
8 | 0.0013902 | 0.00034843
9 | 0.0084629 | 0.002121
10 | 0.00069258 | 0.00017358
11 | 0.012973 | 0.0032514
12 | 0.0024946 | 0.00062522
13 | 0.011753 | 0.0029456
14 | 0.0026089 | 0.00065385
15 | 0.012132 | 0.0030405
16 | 0.019664 | 0.0049284
17 | 0.052451 | 0.013145
18 | 0.0033359 | 0.00083606
19 | 0.0027199 | 0.00068168
20 | 0.0010459 | 0.00026212
21 | 0.0011759 | 0.00029471
22 | 0.00057451 | 0.00014399
23 | 0.0022913 | 0.00057425
24 | 0.0013807 | 0.00034603
25 | 0.0031469 | 0.00078869
26 | 0.00060473 | 0.00015156
27 | 0.00092092 | 0.0002308
28 | 0.002932 | 0.00073483
29 | 0.00066818 | 0.00016746
30 | 0.00069234 | 0.00017352
31 | 0.00049135 | 0.00012314
32 | 0.010122 | 0.0025369
33 | 0.0010017 | 0.00025105
34 | 0.00053812 | 0.00013486
35 | 0.0004575 | 0.00011466
36 | 0.00073304 | 0.00018372

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1