## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2497-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2497-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2497-3_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2497-3_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2497-3_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2497-3_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2497-3_0_2_node_117 | 0.4 | n |  | TRUE
7 | bus_LV_2497-3_0_2_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_2497-3_0_2_node_128 | 0.4 | n |  | TRUE
9 | bus_LV_2497-3_0_2_node_113 | 0.4 | n |  | TRUE
10 | bus_LV_2497-3_0_2_node_131 | 0.4 | n |  | TRUE
11 | bus_LV_2497-3_0_2_node_132 | 0.4 | n |  | TRUE
12 | bus_LV_2497-3_0_2_node_133 | 0.4 | n |  | TRUE
13 | bus_LV_2497-3_0_2_node_134 | 0.4 | n |  | TRUE
14 | bus_LV_2497-3_0_2_node_92 | 0.4 | n |  | TRUE
15 | bus_LV_2497-3_0_2_node_136 | 0.4 | n |  | TRUE
16 | bus_LV_2497-3_0_2_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_2497-3_0_2_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_2497-3_0_2_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_2497-3_0_2_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_2497-3_0_2_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_2497-3_0_2_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_2497-3_0_2_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_2497-3_0_2_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_2497-3_0_2_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_2497-3_0_2_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_2497-3_0_2_node_89 | 0.4 | n |  | TRUE
27 | bus_LV_2497-3_0_2_node_108 | 0.4 | n |  | TRUE
28 | bus_LV_2497-3_0_2_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_2497-3_0_2_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_2497-3_0_2_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_2497-3_0_2_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_2497-3_0_2_node_122 | 0.4 | n |  | TRUE
33 | bus_LV_2497-3_0_2_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_2497-3_0_2_node_78 | 0.4 | n |  | TRUE
35 | bus_LV_2497-3_0_2_node_79 | 0.4 | n |  | TRUE
36 | bus_LV_2497-3_0_2_node_80 | 0.4 | n |  | TRUE
37 | bus_LV_2497-3_0_2_node_81 | 0.4 | n |  | TRUE
38 | bus_LV_2497-3_0_2_node_94 | 0.4 | n |  | TRUE
39 | bus_LV_2497-3_0_2_node_82 | 0.4 | n |  | TRUE
40 | bus_LV_2497-3_0_2_node_120 | 0.4 | n |  | TRUE
41 | bus_LV_2497-3_0_2_node_85 | 0.4 | n |  | TRUE
42 | bus_LV_2497-3_0_2_node_86 | 0.4 | n |  | TRUE
43 | bus_LV_2497-3_0_2_node_87 | 0.4 | n |  | TRUE
44 | bus_LV_2497-3_0_2_node_88 | 0.4 | n |  | TRUE
45 | bus_LV_2497-3_0_2_node_90 | 0.4 | n |  | TRUE
46 | bus_LV_2497-3_0_2_node_91 | 0.4 | n |  | TRUE
47 | bus_LV_2497-3_0_2_node_93 | 0.4 | n |  | TRUE
48 | bus_LV_2497-3_0_2_node_95 | 0.4 | n |  | TRUE
49 | bus_LV_2497-3_0_2_node_105 | 0.4 | n |  | TRUE
50 | bus_LV_2497-3_0_2_node_114 | 0.4 | n |  | TRUE
51 | bus_LV_2497-3_0_2_node_115 | 0.4 | n |  | TRUE
52 | bus_LV_2497-3_0_2_node_116 | 0.4 | n |  | TRUE
53 | bus_LV_2497-3_0_2_node_125 | 0.4 | n |  | TRUE
54 | bus_LV_2497-3_0_2_node_118 | 0.4 | n |  | TRUE
55 | bus_LV_2497-3_0_2_node_119 | 0.4 | n |  | TRUE
56 | bus_LV_2497-3_0_2_node_121 | 0.4 | n |  | TRUE
57 | bus_MV_398_1_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2497-3_0_2_load_0 | 0 | 0.0015397 | 0.00038589 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2497-3_0_2_load_1 | 1 | 0.0015144 | 0.00037954 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2497-3_0_2_load_2 | 2 | 0.0015396 | 0.00038586 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2497-3_0_2_load_3 | 3 | 0.0022196 | 0.00055628 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2497-3_0_2_load_4 | 4 | 0.0015302 | 0.0003835 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2497-3_0_2_load_117 | 6 | 0.0077062 | 0.0019314 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2497-3_0_2_load_39 | 7 | 0.0015355 | 0.00038484 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2497-3_0_2_load_128 | 8 | 0.004977 | 0.0012474 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2497-3_0_2_load_113 | 9 | 0.0024922 | 0.0006246 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2497-3_0_2_load_131 | 10 | 0.0018026 | 0.00045178 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2497-3_0_2_load_132 | 11 | 0.0011433 | 0.00028655 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2497-3_0_2_load_133 | 12 | 0.0017788 | 0.0004458 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2497-3_0_2_load_92 | 14 | 0.0014621 | 0.00036643 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2497-3_0_2_load_136 | 15 | 0.0015137 | 0.00037936 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2497-3_0_2_load_22 | 16 | 0.0024694 | 0.00061888 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2497-3_0_2_load_23 | 17 | 0.0009045 | 0.00022669 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2497-3_0_2_load_25 | 19 | 0.0017815 | 0.00044648 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2497-3_0_2_load_27 | 21 | 0.0030625 | 0.00076753 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2497-3_0_2_load_28 | 22 | 0.001087 | 0.00027242 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2497-3_0_2_load_29 | 23 | 0.0013085 | 0.00032794 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2497-3_0_2_load_30 | 24 | 0.0025269 | 0.0006333 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2497-3_0_2_load_31 | 25 | 0.006626 | 0.0016606 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2497-3_0_2_load_108 | 27 | 0.0026362 | 0.0006607 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2497-3_0_2_load_32 | 28 | 0.016248 | 0.0040722 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2497-3_0_2_load_34 | 29 | 0.0023408 | 0.00058667 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2497-3_0_2_load_38 | 31 | 0.0017608 | 0.00044131 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2497-3_0_2_load_122 | 32 | 0.0020106 | 0.00050391 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2497-3_0_2_load_53 | 33 | 0.0065178 | 0.0016335 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2497-3_0_2_load_78 | 34 | 0.0023126 | 0.00057959 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2497-3_0_2_load_79 | 35 | 0.0015727 | 0.00039415 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2497-3_0_2_load_80 | 36 | 0.0014168 | 0.00035509 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2497-3_0_2_load_81 | 37 | 0.0028791 | 0.00072158 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2497-3_0_2_load_94 | 38 | 0.003694 | 0.00092581 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2497-3_0_2_load_82 | 39 | 0.0015936 | 0.00039939 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2497-3_0_2_load_120 | 40 | 0.0012784 | 0.00032039 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2497-3_0_2_load_85 | 41 | 0.0017609 | 0.00044132 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2497-3_0_2_load_86 | 42 | 0.00075297 | 0.00018871 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2497-3_0_2_load_88 | 44 | 0.0016946 | 0.0004247 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2497-3_0_2_load_90 | 45 | 0.0013882 | 0.00034792 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2497-3_0_2_load_91 | 46 | 0.0022956 | 0.00057534 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2497-3_0_2_load_93 | 47 | 0.0020422 | 0.00051183 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2497-3_0_2_load_95 | 48 | 0.0015944 | 0.0003996 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2497-3_0_2_load_105 | 49 | 0.0041147 | 0.0010312 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2497-3_0_2_load_114 | 50 | 0.00060374 | 0.00015131 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2497-3_0_2_load_115 | 51 | 0.00039792 | 9.9729e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2497-3_0_2_load_116 | 52 | 0.00055472 | 0.00013903 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2497-3_0_2_load_125 | 53 | 0.0042146 | 0.0010563 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2497-3_0_2_load_118 | 54 | 0.0036176 | 0.00090667 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2497-3_0_2_load_119 | 55 | 0.0019916 | 0.00049914 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2497-3_0_2_load_121 | 56 | 0.0054704 | 0.001371 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2497-3_0_2_line_0 |  | 0 | 1 | 0.0081496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2497-3_0_2_line_1 |  | 0 | 2 | 0.01765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2497-3_0_2_line_2 |  | 1 | 3 | 0.016001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2497-3_0_2_line_3 |  | 2 | 4 | 0.0080321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2497-3_0_2_line_4 |  | 3 | 5 | 0.024173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2497-3_0_2_line_5 |  | 3 | 6 | 0.082683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2497-3_0_2_line_6 |  | 5 | 7 | 0.013739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2497-3_0_2_line_7 |  | 6 | 24 | 0.0483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2497-3_0_2_line_8 |  | 7 | 30 | 0.033303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2497-3_0_2_line_9 |  | 8 | 9 | 0.094724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2497-3_0_2_line_10 |  | 9 | 50 | 0.025121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2497-3_0_2_line_11 |  | 9 | 44 | 0.029219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2497-3_0_2_line_12 |  | 10 | 11 | 0.030256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2497-3_0_2_line_13 |  | 11 | 12 | 0.0016108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2497-3_0_2_line_14 |  | 12 | 13 | 0.025963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2497-3_0_2_line_15 |  | 13 | 14 | 0.012752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2497-3_0_2_line_16 |  | 13 | 15 | 0.021317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2497-3_0_2_line_17 |  | 14 | 26 | 0.019507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2497-3_0_2_line_18 |  | 16 | 17 | 0.0002047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2497-3_0_2_line_19 |  | 16 | 18 | 0.03208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2497-3_0_2_line_20 |  | 17 | 19 | 0.017775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2497-3_0_2_line_21 |  | 18 | 20 | 0.00584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2497-3_0_2_line_22 |  | 18 | 21 | 0.032524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2497-3_0_2_line_23 |  | 19 | 22 | 0.019675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2497-3_0_2_line_24 |  | 20 | 23 | 0.018216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2497-3_0_2_line_25 |  | 20 | 24 | 0.031724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2497-3_0_2_line_26 |  | 21 | 25 | 0.038075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2497-3_0_2_line_27 |  | 23 | 26 | 0.032218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2497-3_0_2_line_28 |  | 25 | 27 | 0.0076356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2497-3_0_2_line_29 |  | 26 | 43 | 0.023843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2497-3_0_2_line_30 |  | 27 | 49 | 0.006834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2497-3_0_2_line_31 |  | 28 | 29 | 0.0075318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2497-3_0_2_line_32 |  | 29 | 30 | 0.01506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2497-3_0_2_line_33 |  | 30 | 31 | 0.014533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2497-3_0_2_line_34 |  | 31 | 32 | 0.020252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2497-3_0_2_line_35 |  | 32 | 56 | 0.010793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2497-3_0_2_line_36 |  | 33 | 34 | 0.021821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2497-3_0_2_line_37 |  | 34 | 35 | 0.010597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2497-3_0_2_line_38 |  | 35 | 36 | 1.4835e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2497-3_0_2_line_39 |  | 36 | 37 | 0.011502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2497-3_0_2_line_40 |  | 37 | 38 | 0.019378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2497-3_0_2_line_41 |  | 38 | 48 | 0.0098738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2497-3_0_2_line_42 |  | 39 | 40 | 0.013762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2497-3_0_2_line_43 |  | 40 | 54 | 0.0035084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2497-3_0_2_line_44 |  | 41 | 42 | 0.023946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2497-3_0_2_line_45 |  | 41 | 43 | 0.023118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2497-3_0_2_line_46 |  | 42 | 44 | 0.026544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2497-3_0_2_line_47 |  | 43 | 45 | 0.021296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2497-3_0_2_line_48 |  | 43 | 46 | 0.038053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2497-3_0_2_line_49 |  | 46 | 47 | 0.048063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2497-3_0_2_line_50 |  | 48 | 49 | 0.0092771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2497-3_0_2_line_51 |  | 50 | 51 | 0.032423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2497-3_0_2_line_52 |  | 51 | 52 | 0.031764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2497-3_0_2_line_53 |  | 51 | 53 | 0.078436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2497-3_0_2_line_54 |  | 54 | 55 | 0.018205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2497-3_0_2_line_55 |  | 55 | 56 | 0.010361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2497-3_0_2_trafo_30 | 0.63 MVA 20/0.4 kV | 57 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2638329.1096 | 1246092.7996 | 2638337.0041 | 1246093.1049 | 2638337.2533 | 1246093.1119
1 | 2638329.1096 | 1246092.7996 | 2638311.4724 | 1246092.1175
2 | 2638337.2533 | 1246093.1119 | 2638353.2477 | 1246093.5631
3 | 2638303.4463 | 1246091.8071 | 2638311.4724 | 1246092.1175
4 | 2638377.301 | 1246092.5982 | 2638368.7029 | 1246093.9991 | 2638353.2477 | 1246093.5631
5 | 2638365.5424 | 1246175.3273 | 2638353.2477 | 1246093.5631
6 | 2638377.301 | 1246092.5982 | 2638377.2974 | 1246091.9978 | 2638376.4645 | 1246078.886
7 | 2638365.5424 | 1246175.3273 | 2638413.7285 | 1246172.0158
8 | 2638375.6032 | 1246045.6009 | 2638376.0016 | 1246071.5983 | 2638376.4645 | 1246078.886
9 | 2638389.3787 | 1246314.245 | 2638332.3149 | 1246389.8512
10 | 2638389.3787 | 1246314.245 | 2638398.403 | 1246316.2036 | 2638412.4023 | 1246319.3962 | 2638413.9103 | 1246319.6432
11 | 2638393.4517 | 1246285.3112 | 2638389.3787 | 1246314.245
12 | 2638463.7581 | 1246287.8202 | 2638463.8033 | 1246287.1968 | 2638465.1987 | 1246271.2064 | 2638466.3533 | 1246257.6763
13 | 2638466.4902 | 1246256.0713 | 2638466.3533 | 1246257.6763
14 | 2638468.6976 | 1246230.2022 | 2638466.4902 | 1246256.0713
15 | 2638468.6976 | 1246230.2022 | 2638456.0854 | 1246228.316
16 | 2638468.6976 | 1246230.2022 | 2638489.714 | 1246233.7676
17 | 2638439.2683 | 1246220.7498 | 2638441.6406 | 1246224.1897 | 2638445.4615 | 1246226.7272 | 2638456.0854 | 1246228.316
18 | 2638478.2731 | 1246158.2642 | 2638478.0721 | 1246158.303
19 | 2638446.7295 | 1246165.1172 | 2638466.6491 | 1246160.5098 | 2638478.0721 | 1246158.303
20 | 2638478.2731 | 1246158.2642 | 2638484.8015 | 1246157.003 | 2638495.6018 | 1246154.3298
21 | 2638446.7295 | 1246165.1172 | 2638445.3858 | 1246170.8011
22 | 2638446.7295 | 1246165.1172 | 2638448.0993 | 1246158.8998 | 2638453.7199 | 1246133.3529
23 | 2638495.6018 | 1246154.3298 | 2638514.7003 | 1246149.6027
24 | 2638445.3858 | 1246170.8011 | 2638445.098 | 1246177.9039 | 2638443.3959 | 1246188.8802
25 | 2638445.3858 | 1246170.8011 | 2638437.487 | 1246170.383 | 2638413.7285 | 1246172.0158
26 | 2638453.7199 | 1246133.3529 | 2638457.9997 | 1246113.901 | 2638462.0436 | 1246096.1996
27 | 2638439.2683 | 1246220.7498 | 2638439.0042 | 1246217.2013 | 2638443.3959 | 1246188.8802
28 | 2638463.7442 | 1246088.7558 | 2638462.0436 | 1246096.1996
29 | 2638415.6983 | 1246224.4997 | 2638415.9022 | 1246224.501 | 2638426.5006 | 1246223.3022 | 2638435.7035 | 1246221.8052 | 2638439.2683 | 1246220.7498
30 | 2638465.2662 | 1246082.0935 | 2638463.7442 | 1246088.7558
31 | 2638375.2342 | 1246030.5455 | 2638375.0773 | 1246023.0154
32 | 2638375.6032 | 1246045.6009 | 2638375.4978 | 1246043.1986 | 2638375.2342 | 1246030.5455
33 | 2638375.6032 | 1246045.6009 | 2638361.0723 | 1246045.3473
34 | 2638361.0723 | 1246045.3473 | 2638341.1977 | 1246045.0004 | 2638340.8236 | 1246044.9895
35 | 2638340.8236 | 1246044.9895 | 2638330.0356 | 1246044.6747
36 | 2638479.2398 | 1246023.086 | 2638480.4982 | 1246018.0061 | 2638484.7054 | 1246001.9611
37 | 2638479.2398 | 1246023.086 | 2638476.6917 | 1246033.3717
38 | 2638476.6917 | 1246033.3717 | 2638476.6882 | 1246033.3861
39 | 2638476.6882 | 1246033.3861 | 2638473.9224 | 1246044.5504
40 | 2638473.9224 | 1246044.5504 | 2638472.3997 | 1246050.6973 | 2638469.5116 | 1246063.419
41 | 2638469.5116 | 1246063.419 | 2638467.3256 | 1246073.0478
42 | 2638284.2123 | 1246043.6925 | 2638297.9741 | 1246043.7865
43 | 2638301.4818 | 1246043.8413 | 2638300.1032 | 1246043.8011 | 2638297.9741 | 1246043.7865
44 | 2638412.2309 | 1246247.3561 | 2638410.7982 | 1246256.8003 | 2638408.398 | 1246270.9921
45 | 2638415.6983 | 1246224.4997 | 2638412.2309 | 1246247.3561
46 | 2638408.398 | 1246270.9921 | 2638406.6038 | 1246281.6006 | 2638405.2027 | 1246284.5045 | 2638403.9026 | 1246285.797 | 2638401.601 | 1246286.6048 | 2638399.4028 | 1246286.6017 | 2638394.4999 | 1246285.5026 | 2638393.4517 | 1246285.3112
47 | 2638415.6983 | 1246224.4997 | 2638412.5042 | 1246245.5546
48 | 2638415.6983 | 1246224.4997 | 2638390.304 | 1246226.5035 | 2638377.7358 | 1246227.0483
49 | 2638357.9032 | 1246264.3086 | 2638363.0989 | 1246235.2 | 2638363.9 | 1246232.8036 | 2638364.8999 | 1246231.1979 | 2638366.3008 | 1246229.5058 | 2638368.4004 | 1246228.3964 | 2638372.0032 | 1246227.2968 | 2638377.7358 | 1246227.0483
50 | 2638465.2662 | 1246082.0935 | 2638466.202 | 1246077.9973 | 2638467.3256 | 1246073.0478
51 | 2638413.9103 | 1246319.6432 | 2638427.1015 | 1246321.804 | 2638445.9555 | 1246324.5717
52 | 2638477.4633 | 1246328.5903 | 2638452.2998 | 1246325.5029 | 2638445.9555 | 1246324.5717
53 | 2638445.9555 | 1246324.5717 | 2638442.7115 | 1246402.9408
54 | 2638301.4818 | 1246043.8413 | 2638319.6793 | 1246044.3724
55 | 2638330.0356 | 1246044.6747 | 2638319.6793 | 1246044.3724

## bus_geodata
| x | y | coords
0 | 2638329.1096 | 1246092.7996
1 | 2638337.2533 | 1246093.1119
2 | 2638311.4724 | 1246092.1175
3 | 2638353.2477 | 1246093.5631
4 | 2638303.4463 | 1246091.8071
5 | 2638377.301 | 1246092.5982
6 | 2638365.5424 | 1246175.3273
7 | 2638376.4645 | 1246078.886
8 | 2638332.3149 | 1246389.8512
9 | 2638389.3787 | 1246314.245
10 | 2638463.7581 | 1246287.8202
11 | 2638466.3533 | 1246257.6763
12 | 2638466.4902 | 1246256.0713
13 | 2638468.6976 | 1246230.2022
14 | 2638456.0854 | 1246228.316
15 | 2638489.714 | 1246233.7676
16 | 2638478.0721 | 1246158.303
17 | 2638478.2731 | 1246158.2642
18 | 2638446.7295 | 1246165.1172
19 | 2638495.6018 | 1246154.3298
20 | 2638445.3858 | 1246170.8011
21 | 2638453.7199 | 1246133.3529
22 | 2638514.7003 | 1246149.6027
23 | 2638443.3959 | 1246188.8802
24 | 2638413.7285 | 1246172.0158
25 | 2638462.0436 | 1246096.1996
26 | 2638439.2683 | 1246220.7498
27 | 2638463.7442 | 1246088.7558
28 | 2638375.0773 | 1246023.0154
29 | 2638375.2342 | 1246030.5455
30 | 2638375.6032 | 1246045.6009
31 | 2638361.0723 | 1246045.3473
32 | 2638340.8236 | 1246044.9895
33 | 2638484.7054 | 1246001.9611
34 | 2638479.2398 | 1246023.086
35 | 2638476.6917 | 1246033.3717
36 | 2638476.6882 | 1246033.3861
37 | 2638473.9224 | 1246044.5504
38 | 2638469.5116 | 1246063.419
39 | 2638284.2123 | 1246043.6925
40 | 2638297.9741 | 1246043.7865
41 | 2638412.2309 | 1246247.3561
42 | 2638408.398 | 1246270.9921
43 | 2638415.6983 | 1246224.4997
44 | 2638393.4517 | 1246285.3112
45 | 2638412.5042 | 1246245.5546
46 | 2638377.7358 | 1246227.0483
47 | 2638357.9032 | 1246264.3086
48 | 2638467.3256 | 1246073.0478
49 | 2638465.2662 | 1246082.0935
50 | 2638413.9103 | 1246319.6432
51 | 2638445.9555 | 1246324.5716
52 | 2638477.4633 | 1246328.5903
53 | 2638442.7115 | 1246402.9408
54 | 2638301.4818 | 1246043.8413
55 | 2638319.6793 | 1246044.3724
56 | 2638330.0356 | 1246044.6747
57 | 2638445.3858 | 1246170.8011

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.994 | -0.11502 | 0.0015397 | 0.00038589
1 | 0.99404 | -0.11435 | 0.0015144 | 0.00037954
2 | 0.99396 | -0.11597 | 0.0015396 | 0.00038586
3 | 0.99413 | -0.11262 | 0.0022196 | 0.00055628
4 | 0.99394 | -0.11619 | 0.0015302 | 0.0003835
5 | 0.99329 | -0.12877 | 0 | 0
6 | 0.99762 | -0.045491 | 0.0077062 | 0.0019314
7 | 0.99282 | -0.13797 | 0.0015355 | 0.00038484
8 | 0.99404 | -0.11477 | 0.004977 | 0.0012474
9 | 0.99447 | -0.10646 | 0.0024922 | 0.0006246
10 | 0.99602 | -0.076463 | 0.0018026 | 0.00045178
11 | 0.99607 | -0.075505 | 0.0011433 | 0.00028655
12 | 0.99607 | -0.075422 | 0.0017788 | 0.0004458
13 | 0.99619 | -0.073266 | 0 | 0
14 | 0.99626 | -0.071868 | 0.0014621 | 0.00036643
15 | 0.99616 | -0.073833 | 0.0015137 | 0.00037936
16 | 0.99743 | -0.049368 | 0.0024694 | 0.00061888
17 | 0.99743 | -0.049382 | 0.0009045 | 0.00022669
18 | 0.99761 | -0.04586 | 0 | 0
19 | 0.99738 | -0.050275 | 0.0017815 | 0.00044648
20 | 0.99784 | -0.041496 | 0 | 0
21 | 0.99653 | -0.066634 | 0.0030625 | 0.00076753
22 | 0.99736 | -0.05065 | 0.001087 | 0.00027242
23 | 0.9973 | -0.051771 | 0.0013085 | 0.00032794
24 | 1 | 0 | -0.1311 | -0.032699
25 | 0.99537 | -0.088958 | 0.006626 | 0.0016606
26 | 0.9964 | -0.06923 | 0 | 0
27 | 0.99519 | -0.092551 | 0.0026362 | 0.0006607
28 | 0.99134 | -0.16651 | 0.016248 | 0.0040722
29 | 0.99145 | -0.16434 | 0.0023408 | 0.00058667
30 | 0.99171 | -0.15938 | 0 | 0
31 | 0.99147 | -0.16394 | 0.0017608 | 0.00044131
32 | 0.99118 | -0.16968 | 0.0020106 | 0.00050391
33 | 0.9941 | -0.11349 | 0.0065178 | 0.0016335
34 | 0.99423 | -0.11098 | 0.0023126 | 0.00057959
35 | 0.99432 | -0.10933 | 0.0015727 | 0.00039415
36 | 0.99432 | -0.10933 | 0.0014168 | 0.00035509
37 | 0.99444 | -0.10693 | 0.0028791 | 0.00072158
38 | 0.9947 | -0.10191 | 0.003694 | 0.00092581
39 | 0.99082 | -0.17657 | 0.0015936 | 0.00039939
40 | 0.99084 | -0.17618 | 0.0012784 | 0.00032039
41 | 0.99552 | -0.086038 | 0.0017609 | 0.00044132
42 | 0.99518 | -0.092651 | 0.00075297 | 0.00018871
43 | 0.99589 | -0.078942 | 0 | 0
44 | 0.99482 | -0.099635 | 0.0016946 | 0.0004247
45 | 0.99587 | -0.079462 | 0.0013882 | 0.00034792
46 | 0.99574 | -0.081845 | 0.0022956 | 0.00057534
47 | 0.99565 | -0.083571 | 0.0020422 | 0.00051183
48 | 0.99487 | -0.098715 | 0.0015944 | 0.0003996
49 | 0.99504 | -0.09545 | 0.0041147 | 0.0010312
50 | 0.99434 | -0.10901 | 0.00060374 | 0.00015131
51 | 0.99418 | -0.11197 | 0.00039792 | 9.9729e-05
52 | 0.99417 | -0.11228 | 0.00055472 | 0.00013903
53 | 0.99388 | -0.1178 | 0.0042146 | 0.0010563
54 | 0.99085 | -0.17601 | 0.0036176 | 0.00090667
55 | 0.99096 | -0.17391 | 0.0019916 | 0.00049914
56 | 0.99104 | -0.17235 | 0.0054704 | 0.001371
57 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0046097 | -0.001155 | 0.0046098 | 0.001155 | 1.4552e-07 | -1.2508e-08 | 0.0069005 | 0.0069005 | 0.0069005 | 0.994 | -0.11502 | 0.99404 | -0.11435 | 1.8958
1 | 0.0030699 | 0.00076913 | -0.0030698 | -0.00076927 | 1.3979e-07 | -1.3932e-07 | 0.0045956 | 0.0045957 | 0.0045957 | 0.994 | -0.11502 | 0.99396 | -0.11597 | 1.2625
2 | -0.0061242 | -0.0015346 | 0.0061247 | 0.0015347 | 5.0428e-07 | 1.1529e-07 | 0.0091675 | 0.0091674 | 0.0091675 | 0.99404 | -0.11435 | 0.99413 | -0.11262 | 2.5185
3 | 0.0015302 | 0.00038341 | -0.0015302 | -0.0003835 | 1.5806e-08 | -9.3988e-08 | 0.0022908 | 0.0022908 | 0.0022908 | 0.99396 | -0.11597 | 0.99394 | -0.11619 | 0.62934
4 | 0.037948 | 0.0095474 | -0.037919 | -0.009529 | 2.926e-05 | 1.8413e-05 | 0.056814 | 0.056814 | 0.056814 | 0.99413 | -0.11262 | 0.99329 | -0.12877 | 15.6082
5 | -0.046292 | -0.011638 | 0.046441 | 0.011733 | 0.00014892 | 9.4234e-05 | 0.069304 | 0.069303 | 0.069304 | 0.99413 | -0.11262 | 0.99762 | -0.045491 | 19.0394
6 | 0.037919 | 0.009529 | -0.037902 | -0.0095185 | 1.663e-05 | 1.0465e-05 | 0.056814 | 0.056814 | 0.056814 | 0.99329 | -0.12877 | 0.99282 | -0.13797 | 15.6082
7 | -0.054148 | -0.013664 | 0.054266 | 0.013739 | 0.00011824 | 7.5042e-05 | 0.080797 | 0.080797 | 0.080797 | 0.99762 | -0.045491 | 1 | 0 | 22.1971
8 | 0.036367 | 0.0091337 | -0.03633 | -0.0091104 | 3.7111e-05 | 2.3321e-05 | 0.054513 | 0.054513 | 0.054513 | 0.99282 | -0.13797 | 0.99171 | -0.15938 | 14.976
9 | -0.004977 | -0.0012474 | 0.004979 | 0.0012474 | 1.9716e-06 | 3.3357e-08 | 0.0074503 | 0.0074499 | 0.0074503 | 0.99404 | -0.11477 | 0.99447 | -0.10646 | 2.0468
10 | 0.0057736 | 0.0014458 | -0.0057729 | -0.0014457 | 7.03e-07 | 1.2403e-07 | 0.0086385 | 0.0086386 | 0.0086386 | 0.99447 | -0.10646 | 0.99434 | -0.10901 | 2.3733
11 | -0.013245 | -0.0033178 | 0.013249 | 0.0033202 | 4.3032e-06 | 2.3748e-06 | 0.019818 | 0.019817 | 0.019818 | 0.99447 | -0.10646 | 0.99482 | -0.099635 | 5.4444
12 | -0.0018026 | -0.00045178 | 0.0018027 | 0.00045143 | 8.228e-08 | -3.4114e-07 | 0.002693 | 0.0026929 | 0.002693 | 0.99602 | -0.076463 | 0.99607 | -0.075505 | 0.73984
13 | -0.002946 | -0.00073798 | 0.002946 | 0.00073797 | 1.17e-08 | -1.348e-08 | 0.0044009 | 0.0044009 | 0.0044009 | 0.99607 | -0.075505 | 0.99607 | -0.075422 | 1.209
14 | -0.0047248 | -0.0011838 | 0.0047253 | 0.0011837 | 4.8503e-07 | -2.7569e-08 | 0.0070582 | 0.0070581 | 0.0070582 | 0.99607 | -0.075422 | 0.99619 | -0.073266 | 1.9391
15 | -0.006239 | -0.0015629 | 0.0062394 | 0.001563 | 4.153e-07 | 9.9751e-08 | 0.009319 | 0.009319 | 0.009319 | 0.99619 | -0.073266 | 0.99626 | -0.071868 | 2.5602
16 | 0.0015137 | 0.00037911 | -0.0015137 | -0.00037936 | 4.0865e-08 | -2.5137e-07 | 0.002261 | 0.0022611 | 0.0022611 | 0.99619 | -0.073266 | 0.99616 | -0.073833 | 0.62117
17 | -0.0077015 | -0.0019294 | 0.0077025 | 0.0019298 | 9.679e-07 | 3.6541e-07 | 0.011503 | 0.011503 | 0.011503 | 0.99626 | -0.071868 | 0.9964 | -0.06923 | 3.1601
18 | 0.0037731 | 0.00094519 | -0.0037731 | -0.00094519 | 2.4316e-09 | -1.1155e-09 | 0.0056288 | 0.0056288 | 0.0056288 | 0.99743 | -0.049368 | 0.99743 | -0.049382 | 1.5464
19 | -0.0062425 | -0.0015641 | 0.0062435 | 0.0015643 | 1.0433e-06 | 2.4893e-07 | 0.0093127 | 0.0093126 | 0.0093127 | 0.99743 | -0.049368 | 0.99761 | -0.04586 | 2.5584
20 | 0.0028686 | 0.00071851 | -0.0028685 | -0.00071866 | 1.2207e-07 | -1.5386e-07 | 0.0042794 | 0.0042795 | 0.0042795 | 0.99743 | -0.049382 | 0.99738 | -0.050275 | 1.1757
21 | -0.042762 | -0.01075 | 0.042771 | 0.010756 | 8.9129e-06 | 5.628e-06 | 0.063795 | 0.063795 | 0.063795 | 0.99761 | -0.04586 | 0.99784 | -0.041496 | 17.5262
22 | 0.036519 | 0.0091861 | -0.036483 | -0.0091634 | 3.6204e-05 | 2.2746e-05 | 0.054483 | 0.054483 | 0.054483 | 0.99761 | -0.04586 | 0.99653 | -0.066634 | 14.9678
23 | 0.001087 | 0.00027217 | -0.001087 | -0.00027242 | 1.9403e-08 | -2.4435e-07 | 0.0016216 | 0.0016217 | 0.0016217 | 0.99738 | -0.050275 | 0.99736 | -0.05065 | 0.44552
24 | 0.032263 | 0.0081085 | -0.032248 | -0.0080986 | 1.5818e-05 | 9.8856e-06 | 0.048121 | 0.048121 | 0.048121 | 0.99784 | -0.041496 | 0.9973 | -0.051771 | 13.22
25 | -0.075035 | -0.018865 | 0.075184 | 0.01896 | 0.00014901 | 9.4949e-05 | 0.11192 | 0.11192 | 0.11192 | 0.99784 | -0.041496 | 1 | 0 | 30.7461
26 | 0.03342 | 0.0083958 | -0.033385 | -0.0083736 | 3.5567e-05 | 2.2267e-05 | 0.04991 | 0.04991 | 0.04991 | 0.99653 | -0.066634 | 0.99537 | -0.088958 | 13.7116
27 | 0.030939 | 0.0077707 | -0.030913 | -0.0077546 | 2.5752e-05 | 1.6062e-05 | 0.046168 | 0.046168 | 0.046168 | 0.9973 | -0.051771 | 0.9964 | -0.06923 | 12.6836
28 | 0.026759 | 0.0067129 | -0.026754 | -0.0067101 | 4.5824e-06 | 2.8335e-06 | 0.040005 | 0.040005 | 0.040005 | 0.99537 | -0.088958 | 0.99519 | -0.092551 | 10.9903
29 | 0.023211 | 0.0058249 | -0.0232 | -0.0058183 | 1.0745e-05 | 6.5663e-06 | 0.034666 | 0.034666 | 0.034666 | 0.9964 | -0.06923 | 0.99589 | -0.078942 | 9.5236
30 | 0.024118 | 0.0060494 | -0.024114 | -0.0060473 | 3.3329e-06 | 2.0443e-06 | 0.036063 | 0.036063 | 0.036063 | 0.99519 | -0.092551 | 0.99504 | -0.09545 | 9.9074
31 | -0.016248 | -0.0040722 | 0.01625 | 0.0040732 | 1.68e-06 | 9.7808e-07 | 0.024389 | 0.024389 | 0.024389 | 0.99134 | -0.16651 | 0.99145 | -0.16434 | 6.7002
32 | -0.018591 | -0.0046599 | 0.018595 | 0.0046625 | 4.3968e-06 | 2.6197e-06 | 0.027902 | 0.027902 | 0.027902 | 0.99145 | -0.16434 | 0.99171 | -0.15938 | 7.6654
33 | 0.017734 | 0.0044479 | -0.01773 | -0.0044456 | 3.8593e-06 | 2.2825e-06 | 0.026611 | 0.026611 | 0.026611 | 0.99171 | -0.15938 | 0.99147 | -0.16394 | 7.3107
34 | 0.01597 | 0.0040043 | -0.015965 | -0.0040018 | 4.3628e-06 | 2.5311e-06 | 0.023968 | 0.023968 | 0.023968 | 0.99147 | -0.16394 | 0.99118 | -0.16968 | 6.5847
35 | 0.013955 | 0.0034979 | -0.013953 | -0.0034969 | 1.7763e-06 | 9.9774e-07 | 0.02095 | 0.02095 | 0.02095 | 0.99118 | -0.16968 | 0.99104 | -0.17235 | 5.7554
36 | -0.0065178 | -0.0016335 | 0.0065186 | 0.0016337 | 7.7886e-07 | 2.1553e-07 | 0.0097562 | 0.0097561 | 0.0097562 | 0.9941 | -0.11349 | 0.99423 | -0.11098 | 2.6803
37 | -0.0088312 | -0.0022133 | 0.0088319 | 0.0022136 | 6.9419e-07 | 3.0685e-07 | 0.013217 | 0.013217 | 0.013217 | 0.99423 | -0.11098 | 0.99432 | -0.10933 | 3.6311
38 | -0.010405 | -0.0026078 | 0.010405 | 0.0026078 | 1.3484e-09 | 6.751e-10 | 0.015571 | 0.015571 | 0.015571 | 0.99432 | -0.10933 | 0.99432 | -0.10933 | 4.2777
39 | -0.011821 | -0.0029629 | 0.011823 | 0.0029636 | 1.3499e-06 | 7.1473e-07 | 0.017691 | 0.017691 | 0.017691 | 0.99432 | -0.10933 | 0.99444 | -0.10693 | 4.8602
40 | -0.014702 | -0.0036852 | 0.014705 | 0.0036872 | 3.5168e-06 | 1.9993e-06 | 0.021999 | 0.021999 | 0.021999 | 0.99444 | -0.10693 | 0.9947 | -0.10191 | 6.0437
41 | -0.018399 | -0.004613 | 0.018402 | 0.0046146 | 2.8053e-06 | 1.6672e-06 | 0.027525 | 0.027525 | 0.027525 | 0.9947 | -0.10191 | 0.99487 | -0.098715 | 7.5618
42 | -0.0015936 | -0.00039939 | 0.0015936 | 0.00039924 | 2.9559e-08 | -1.5834e-07 | 0.0023933 | 0.0023932 | 0.0023933 | 0.99082 | -0.17657 | 0.99084 | -0.17618 | 0.65749
43 | -0.002872 | -0.00071962 | 0.002872 | 0.00071959 | 2.4473e-08 | -2.9526e-08 | 0.004313 | 0.004313 | 0.004313 | 0.99084 | -0.17618 | 0.99085 | -0.17601 | 1.1849
44 | 0.015707 | 0.0039393 | -0.015702 | -0.0039365 | 4.9496e-06 | 2.8565e-06 | 0.023478 | 0.023478 | 0.023478 | 0.99552 | -0.086038 | 0.99518 | -0.092651 | 6.4499
45 | -0.017467 | -0.0043806 | 0.017473 | 0.0043841 | 5.9099e-06 | 3.4816e-06 | 0.02611 | 0.02611 | 0.02611 | 0.99552 | -0.086038 | 0.99589 | -0.078942 | 7.173
46 | 0.014949 | 0.0037477 | -0.014944 | -0.0037449 | 4.9732e-06 | 2.8381e-06 | 0.022352 | 0.022352 | 0.022352 | 0.99518 | -0.092651 | 0.99482 | -0.099635 | 6.1407
47 | 0.0013882 | 0.00034766 | -0.0013882 | -0.00034792 | 3.4358e-08 | -2.551e-07 | 0.0020742 | 0.0020742 | 0.0020742 | 0.99589 | -0.078942 | 0.99587 | -0.079462 | 0.56985
48 | 0.0043386 | 0.0010865 | -0.004338 | -0.0010866 | 5.9963e-07 | -1.113e-07 | 0.0064823 | 0.0064824 | 0.0064824 | 0.99589 | -0.078942 | 0.99574 | -0.081845 | 1.7809
49 | 0.0020424 | 0.00051131 | -0.0020422 | -0.00051183 | 1.6789e-07 | -5.1769e-07 | 0.0030519 | 0.0030521 | 0.0030521 | 0.99574 | -0.081845 | 0.99565 | -0.083571 | 0.8385
50 | -0.019997 | -0.0050142 | 0.02 | 0.0050161 | 3.1122e-06 | 1.8713e-06 | 0.02991 | 0.02991 | 0.02991 | 0.99487 | -0.098715 | 0.99504 | -0.09545 | 8.217
51 | 0.0051691 | 0.0012944 | -0.0051684 | -0.0012943 | 7.275e-07 | 4.51e-08 | 0.0077351 | 0.0077353 | 0.0077353 | 0.99434 | -0.10901 | 0.99418 | -0.11197 | 2.1251
52 | 0.00055473 | 0.00013862 | -0.00055472 | -0.00013903 | 8.21e-09 | -4.0663e-07 | 0.00083013 | 0.00083028 | 0.00083028 | 0.99418 | -0.11197 | 0.99417 | -0.11228 | 0.2281
53 | 0.0042157 | 0.001056 | -0.0042146 | -0.0010563 | 1.171e-06 | -2.6731e-07 | 0.0063096 | 0.0063099 | 0.0063099 | 0.99418 | -0.11197 | 0.99388 | -0.1178 | 1.7335
54 | -0.0064896 | -0.0016263 | 0.0064903 | 0.0016264 | 6.4842e-07 | 1.8047e-07 | 0.0097458 | 0.0097457 | 0.0097458 | 0.99085 | -0.17601 | 0.99096 | -0.17391 | 2.6774
55 | -0.0084819 | -0.0021256 | 0.0084825 | 0.0021258 | 6.3023e-07 | 2.6986e-07 | 0.012736 | 0.012736 | 0.012736 | 0.99096 | -0.17391 | 0.99104 | -0.17235 | 3.499

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.13363 | 0.033332

## res_load
| p_mw | q_mvar
0 | 0.0015397 | 0.00038589
1 | 0.0015144 | 0.00037954
2 | 0.0015396 | 0.00038586
3 | 0.0022196 | 0.00055628
4 | 0.0015302 | 0.0003835
5 | 0.0077062 | 0.0019314
6 | 0.0015355 | 0.00038484
7 | 0.004977 | 0.0012474
8 | 0.0024922 | 0.0006246
9 | 0.0018026 | 0.00045178
10 | 0.0011433 | 0.00028655
11 | 0.0017788 | 0.0004458
12 | 0.0014621 | 0.00036643
13 | 0.0015137 | 0.00037936
14 | 0.0024694 | 0.00061888
15 | 0.0009045 | 0.00022669
16 | 0.0017815 | 0.00044648
17 | 0.0030625 | 0.00076753
18 | 0.001087 | 0.00027242
19 | 0.0013085 | 0.00032794
20 | 0.0025269 | 0.0006333
21 | 0.006626 | 0.0016606
22 | 0.0026362 | 0.0006607
23 | 0.016248 | 0.0040722
24 | 0.0023408 | 0.00058667
25 | 0.0017608 | 0.00044131
26 | 0.0020106 | 0.00050391
27 | 0.0065178 | 0.0016335
28 | 0.0023126 | 0.00057959
29 | 0.0015727 | 0.00039415
30 | 0.0014168 | 0.00035509
31 | 0.0028791 | 0.00072158
32 | 0.003694 | 0.00092581
33 | 0.0015936 | 0.00039939
34 | 0.0012784 | 0.00032039
35 | 0.0017609 | 0.00044132
36 | 0.00075297 | 0.00018871
37 | 0.0016946 | 0.0004247
38 | 0.0013882 | 0.00034792
39 | 0.0022956 | 0.00057534
40 | 0.0020422 | 0.00051183
41 | 0.0015944 | 0.0003996
42 | 0.0041147 | 0.0010312
43 | 0.00060374 | 0.00015131
44 | 0.00039792 | 9.9729e-05
45 | 0.00055472 | 0.00013903
46 | 0.0042146 | 0.0010563
47 | 0.0036176 | 0.00090667
48 | 0.0019916 | 0.00049914
49 | 0.0054704 | 0.001371

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1