## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_250-20_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_250-20_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_250-20_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_250-20_0_4_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_250-20_0_4_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_250-20_0_4_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_250-20_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_250-20_0_4_node_42 | 0.4 | n |  | TRUE
8 | bus_LV_250-20_0_4_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_250-20_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_250-20_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_250-20_0_4_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_250-20_0_4_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_250-20_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_250-20_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_250-20_0_4_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_250-20_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_250-20_0_4_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_250-20_0_4_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_250-20_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_250-20_0_4_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_250-20_0_4_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_250-20_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_250-20_0_4_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_250-20_0_4_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_250-20_0_4_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_250-20_0_4_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_250-20_0_4_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_250-20_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_250-20_0_4_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_250-20_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_250-20_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_250-20_0_4_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_250-20_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_250-20_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_250-20_0_4_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_250-20_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_250-20_0_4_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_250-20_0_4_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_250-20_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_250-20_0_4_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_250-20_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_250-20_0_4_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_250-20_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_250-20_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_MV_388_0_node_150 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_250-20_0_4_load_0 | 0 | 0.035228 | 0.0088289 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_250-20_0_4_load_14 | 4 | 0.01475 | 0.0036968 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_250-20_0_4_load_15 | 5 | 0.021834 | 0.0054721 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_250-20_0_4_load_42 | 7 | 0.003452 | 0.00086516 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_250-20_0_4_load_41 | 8 | 0.0063769 | 0.0015982 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_250-20_0_4_load_26 | 11 | 0.015584 | 0.0039057 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_250-20_0_4_load_43 | 12 | 0.003416 | 0.00085613 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_250-20_0_4_load_29 | 15 | 0.0050108 | 0.0012558 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_250-20_0_4_load_27 | 17 | 0.012465 | 0.0031241 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_250-20_0_4_load_20 | 18 | 0.054113 | 0.013562 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_250-20_0_4_load_47 | 20 | 0.038862 | 0.0097398 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_250-20_0_4_load_28 | 23 | 0.0044866 | 0.0011244 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_250-20_0_4_load_34 | 24 | 0.015413 | 0.0038628 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_250-20_0_4_load_32 | 25 | 0.01406 | 0.0035238 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_250-20_0_4_load_31 | 28 | 0.016206 | 0.0040615 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_250-20_0_4_load_40 | 29 | 0.0051853 | 0.0012995 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_250-20_0_4_load_19 | 31 | 0.015765 | 0.0039511 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_250-20_0_4_load_16 | 32 | 0.03194 | 0.008005 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_250-20_0_4_load_46 | 35 | 0.0065782 | 0.0016487 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_250-20_0_4_load_45 | 38 | 0.0045206 | 0.001133 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_250-20_0_4_load_21 | 39 | 0.019118 | 0.0047914 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_250-20_0_4_load_35 | 40 | 0.0087316 | 0.0021884 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_250-20_0_4_load_36 | 41 | 0.0065785 | 0.0016487 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_250-20_0_4_load_38 | 42 | 0.0015693 | 0.0003933 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_250-20_0_4_load_30 | 43 | 0.01466 | 0.0036741 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_250-20_0_4_load_37 | 44 | 0.0071816 | 0.0017999 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_250-20_0_4_line_0 |  | 0 | 1 | 0.04634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_250-20_0_4_line_1 |  | 0 | 2 | 0.01946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_250-20_0_4_line_2 |  | 1 | 3 | 0.037021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_250-20_0_4_line_3 |  | 2 | 4 | 0.029486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_250-20_0_4_line_4 |  | 2 | 5 | 0.02257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_250-20_0_4_line_5 |  | 3 | 18 | 0.032597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_250-20_0_4_line_6 |  | 4 | 22 | 0.013062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_250-20_0_4_line_7 |  | 5 | 14 | 0.015384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_250-20_0_4_line_8 |  | 6 | 7 | 0.034239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_250-20_0_4_line_9 |  | 6 | 8 | 0.017524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_250-20_0_4_line_10 |  | 7 | 12 | 0.02879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_250-20_0_4_line_11 |  | 9 | 10 | 0.060822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_250-20_0_4_line_12 |  | 9 | 11 | 0.06178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_250-20_0_4_line_13 |  | 10 | 12 | 0.012163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_250-20_0_4_line_14 |  | 11 | 17 | 0.036065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_250-20_0_4_line_15 |  | 13 | 14 | 0.027983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_250-20_0_4_line_16 |  | 13 | 15 | 0.086973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_250-20_0_4_line_17 |  | 14 | 16 | 0.026567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_250-20_0_4_line_18 |  | 15 | 23 | 0.017062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_250-20_0_4_line_19 |  | 16 | 17 | 0.020932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_250-20_0_4_line_20 |  | 19 | 20 | 0.005104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_250-20_0_4_line_21 |  | 19 | 21 | 0.075964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_250-20_0_4_line_22 |  | 21 | 38 | 0.018835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_250-20_0_4_line_23 |  | 22 | 39 | 0.014711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_250-20_0_4_line_24 |  | 22 | 32 | 0.048402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_250-20_0_4_line_25 |  | 24 | 25 | 0.020293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_250-20_0_4_line_26 |  | 25 | 43 | 0.019876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_250-20_0_4_line_27 |  | 26 | 27 | 0.021477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_250-20_0_4_line_28 |  | 26 | 28 | 0.071587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_250-20_0_4_line_29 |  | 27 | 29 | 0.014834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_250-20_0_4_line_30 |  | 28 | 43 | 0.015317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_250-20_0_4_line_31 |  | 29 | 37 | 0.015335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_250-20_0_4_line_32 |  | 30 | 31 | 0.035198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_250-20_0_4_line_33 |  | 30 | 32 | 0.041764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_250-20_0_4_line_34 |  | 31 | 33 | 0.040695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_250-20_0_4_line_35 |  | 33 | 34 | 0.064911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_250-20_0_4_line_36 |  | 34 | 35 | 0.12743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_250-20_0_4_line_37 |  | 36 | 37 | 0.046702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_250-20_0_4_line_38 |  | 36 | 38 | 0.015367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_250-20_0_4_line_39 |  | 37 | 42 | 0.023351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_250-20_0_4_line_40 |  | 39 | 40 | 0.021682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_250-20_0_4_line_41 |  | 40 | 41 | 0.0047058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_250-20_0_4_line_42 |  | 41 | 44 | 0.004952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_250-20_0_4_line_43 |  | 42 | 44 | 0.010189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_250-20_0_4_trafo_44 | 0.63 MVA 20/0.4 kV | 45 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2674403.7244 | 1248998.3573 | 2674382.4616 | 1248978.9766 | 2674366.5614 | 1248971.5003
1 | 2674348.9657 | 1248963.1896 | 2674352.3585 | 1248964.8222 | 2674366.5614 | 1248971.5003
2 | 2674403.7244 | 1248998.3573 | 2674412.0948 | 1249009.5037 | 2674431.2184 | 1248996.5789
3 | 2674348.9657 | 1248963.1896 | 2674359.771 | 1248935.7546
4 | 2674348.9657 | 1248963.1896 | 2674340.289 | 1248959 | 2674328.3452 | 1248954.0357
5 | 2674431.2184 | 1248996.5789 | 2674428.9202 | 1248993.1809 | 2674409.7228 | 1248972.1239
6 | 2674364.5577 | 1248923.601 | 2674359.771 | 1248935.7546
7 | 2674314.1391 | 1248948.131 | 2674328.3452 | 1248954.0357
8 | 2674211.7362 | 1248935.3838 | 2674208.5133 | 1248934.0536 | 2674202.3874 | 1248939.6254 | 2674193.5093 | 1248938.2355 | 2674182.4542 | 1248945.9582
9 | 2674211.7362 | 1248935.3838 | 2674215.0133 | 1248936.6035 | 2674209.7317 | 1248949.5982
10 | 2674157.0482 | 1248945.9627 | 2674173.0093 | 1248952.556 | 2674182.4542 | 1248945.9582
11 | 2674145.8065 | 1248941.3188 | 2674156.0965 | 1248918.5867 | 2674156.9273 | 1248916.7624 | 2674159.007 | 1248914.1088 | 2674162.8905 | 1248910.9217 | 2674167.8749 | 1248909.0716 | 2674174.5064 | 1248909.566 | 2674176.4427 | 1248902.6853 | 2674178.2482 | 1248896.5924
12 | 2674178.2482 | 1248896.5924 | 2674236.0951 | 1248918.282
13 | 2674145.8065 | 1248941.3188 | 2674157.0482 | 1248945.9627
14 | 2674269.8645 | 1248930.9438 | 2674236.0951 | 1248918.282
15 | 2674307.4788 | 1248928.2555 | 2674305.0424 | 1248936.4753 | 2674302.9684 | 1248943.4877 | 2674314.1391 | 1248948.131
16 | 2674307.4788 | 1248928.2555 | 2674321.1654 | 1248884.0285 | 2674327.6687 | 1248845.3821 | 2674328.1708 | 1248843.9829
17 | 2674289.4638 | 1248938.2925 | 2674302.9684 | 1248943.4877 | 2674314.1391 | 1248948.131
18 | 2674328.1708 | 1248843.9829 | 2674333.9339 | 1248827.9237
19 | 2674289.4638 | 1248938.2925 | 2674269.8645 | 1248930.9438
20 | 2674264.3103 | 1248748.4852 | 2674262.867 | 1248753.3817
21 | 2674332.9529 | 1248779.3119 | 2674303.3633 | 1248759.638 | 2674266.6438 | 1248749.0815 | 2674264.3103 | 1248748.4852
22 | 2674332.9529 | 1248779.3119 | 2674332.0599 | 1248798.1254
23 | 2674364.5577 | 1248923.601 | 2674358.4294 | 1248916.1076 | 2674358.0542 | 1248911.0913
24 | 2674364.5577 | 1248923.601 | 2674400.843 | 1248891.5682
25 | 2674216.1077 | 1248834.6355 | 2674213.4544 | 1248814.5169
26 | 2674216.1077 | 1248834.6355 | 2674218.7063 | 1248854.3405
27 | 2674307.3018 | 1248878.5396 | 2674289.2357 | 1248890.2328
28 | 2674289.2357 | 1248890.2328 | 2674220.7091 | 1248869.5264
29 | 2674307.3018 | 1248878.5396 | 2674317.6193 | 1248867.8813
30 | 2674220.7091 | 1248869.5264 | 2674220.7091 | 1248869.5264 | 2674218.7063 | 1248854.3405
31 | 2674328.2873 | 1248856.8648 | 2674318.3722 | 1248867.1035 | 2674317.6193 | 1248867.8813
32 | 2674432.1522 | 1248863.9283 | 2674418.3404 | 1248834.4782 | 2674417.2878 | 1248832.0241
33 | 2674432.1522 | 1248863.9283 | 2674400.843 | 1248891.5682
34 | 2674401.2458 | 1248794.6238 | 2674417.2878 | 1248832.0241
35 | 2674456.1816 | 1248759.9106 | 2674445.2799 | 1248768.1018 | 2674411.1413 | 1248788.9773 | 2674401.2458 | 1248794.6238
36 | 2674456.1816 | 1248759.9106 | 2674466.6797 | 1248772.4181 | 2674479.3474 | 1248800.9644 | 2674489.0729 | 1248814.2517 | 2674507.7631 | 1248874.8969
37 | 2674339.5564 | 1248811.5401 | 2674328.2873 | 1248856.8648
38 | 2674339.5564 | 1248811.5401 | 2674332.0599 | 1248798.1254
39 | 2674328.2873 | 1248856.8648 | 2674343.9526 | 1248874.181
40 | 2674358.0542 | 1248911.0913 | 2674356.4371 | 1248889.4695
41 | 2674354.1101 | 1248885.4091 | 2674354.1101 | 1248885.4091 | 2674356.4184 | 1248889.2186 | 2674356.4371 | 1248889.4695
42 | 2674354.1101 | 1248885.4091 | 2674350.788 | 1248881.7369
43 | 2674343.9526 | 1248874.181 | 2674350.788 | 1248881.7369

## bus_geodata
| x | y | coords
0 | 2674366.5614 | 1248971.5003
1 | 2674403.7244 | 1248998.3573
2 | 2674348.9657 | 1248963.1896
3 | 2674431.2184 | 1248996.5789
4 | 2674359.771 | 1248935.7546
5 | 2674328.3452 | 1248954.0357
6 | 2674211.7362 | 1248935.3838
7 | 2674182.4542 | 1248945.9582
8 | 2674209.7317 | 1248949.5982
9 | 2674178.2482 | 1248896.5924
10 | 2674145.8065 | 1248941.3188
11 | 2674236.0951 | 1248918.282
12 | 2674157.0482 | 1248945.9627
13 | 2674307.4788 | 1248928.2555
14 | 2674314.1391 | 1248948.131
15 | 2674328.1708 | 1248843.9829
16 | 2674289.4638 | 1248938.2925
17 | 2674269.8645 | 1248930.9438
18 | 2674409.7228 | 1248972.1239
19 | 2674264.3103 | 1248748.4852
20 | 2674262.867 | 1248753.3817
21 | 2674332.9529 | 1248779.3119
22 | 2674364.5577 | 1248923.601
23 | 2674333.9339 | 1248827.9237
24 | 2674213.4544 | 1248814.5169
25 | 2674216.1077 | 1248834.6355
26 | 2674289.2357 | 1248890.2328
27 | 2674307.3018 | 1248878.5396
28 | 2674220.7091 | 1248869.5264
29 | 2674317.6193 | 1248867.8813
30 | 2674432.1522 | 1248863.9283
31 | 2674417.2878 | 1248832.0241
32 | 2674400.843 | 1248891.5682
33 | 2674401.2458 | 1248794.6238
34 | 2674456.1816 | 1248759.9106
35 | 2674507.7631 | 1248874.8969
36 | 2674339.5564 | 1248811.5401
37 | 2674328.2873 | 1248856.8648
38 | 2674332.0599 | 1248798.1254
39 | 2674358.0542 | 1248911.0913
40 | 2674356.4371 | 1248889.4695
41 | 2674354.1101 | 1248885.4091
42 | 2674343.9526 | 1248874.181
43 | 2674218.7063 | 1248854.3405
44 | 2674350.788 | 1248881.7369
45 | 2674289.2357 | 1248890.2328

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98622 | -0.26441 | 0.035228 | 0.0088289
1 | 0.9839 | -0.30946 | 0 | 0
2 | 0.98782 | -0.23331 | 0 | 0
3 | 0.98205 | -0.3456 | 0 | 0
4 | 0.99003 | -0.19075 | 0.01475 | 0.0036968
5 | 0.98631 | -0.26264 | 0.021834 | 0.0054721
6 | 0.98071 | -0.37202 | 0 | 0
7 | 0.98091 | -0.36806 | 0.003452 | 0.00086516
8 | 0.98061 | -0.37404 | 0.0063769 | 0.0015982
9 | 0.98207 | -0.34545 | 0 | 0
10 | 0.98132 | -0.36002 | 0 | 0
11 | 0.98282 | -0.33066 | 0.015584 | 0.0039057
12 | 0.98117 | -0.36294 | 0.003416 | 0.00085613
13 | 0.98535 | -0.28142 | 0 | 0
14 | 0.98559 | -0.27665 | 0 | 0
15 | 0.98459 | -0.29627 | 0.0050108 | 0.0012558
16 | 0.98458 | -0.29636 | 0 | 0
17 | 0.98378 | -0.31192 | 0.012465 | 0.0031241
18 | 0.98042 | -0.37753 | 0.054113 | 0.013562
19 | 0.9912 | -0.16876 | 0 | 0
20 | 0.99102 | -0.17227 | 0.038862 | 0.0097398
21 | 0.99391 | -0.11652 | 0 | 0
22 | 0.99074 | -0.17707 | 0 | 0
23 | 0.98452 | -0.29764 | 0.0044866 | 0.0011244
24 | 0.99344 | -0.12615 | 0.015413 | 0.0038628
25 | 0.99373 | -0.12063 | 0.01406 | 0.0035238
26 | 0.99882 | -0.022615 | 0 | 0
27 | 1 | 0 | -0.38899 | -0.098711
28 | 0.99488 | -0.098381 | 0.016206 | 0.0040615
29 | 0.99853 | -0.027861 | 0.0051853 | 0.0012995
30 | 0.98747 | -0.24052 | 0 | 0
31 | 0.98674 | -0.25459 | 0.015765 | 0.0039511
32 | 0.98832 | -0.22385 | 0.03194 | 0.008005
33 | 0.9865 | -0.25939 | 0 | 0
34 | 0.9861 | -0.26705 | 0 | 0
35 | 0.98533 | -0.28209 | 0.0065782 | 0.0016487
36 | 0.99519 | -0.091877 | 0 | 0
37 | 0.99704 | -0.056284 | 0 | 0
38 | 0.99458 | -0.10362 | 0.0045206 | 0.001133
39 | 0.99178 | -0.15698 | 0.019118 | 0.0047914
40 | 0.99345 | -0.12499 | 0.0087316 | 0.0021884
41 | 0.99382 | -0.11782 | 0.0065785 | 0.0016487
42 | 0.99507 | -0.093781 | 0.0015693 | 0.0003933
43 | 0.99426 | -0.11029 | 0.01466 | 0.0036741
44 | 0.99422 | -0.11009 | 0.0071816 | 0.0017999
45 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.054407 | 0.013748 | -0.05429 | -0.013674 | 0.00011722 | 7.4429e-05 | 0.08213 | 0.08213 | 0.08213 | 0.98622 | -0.26441 | 0.9839 | -0.30946 | 22.5631
1 | -0.089635 | -0.022577 | 0.089768 | 0.022663 | 0.00013355 | 8.5223e-05 | 0.13528 | 0.13528 | 0.13528 | 0.98622 | -0.26441 | 0.98782 | -0.23331 | 37.1653
2 | 0.05429 | 0.013674 | -0.054196 | -0.013614 | 9.3645e-05 | 5.9463e-05 | 0.08213 | 0.08213 | 0.08213 | 0.9839 | -0.30946 | 0.98205 | -0.3456 | 22.5632
3 | -0.16266 | -0.041028 | 0.16299 | 0.04124 | 0.00033217 | 0.00021183 | 0.24512 | 0.24512 | 0.24512 | 0.98782 | -0.23331 | 0.99003 | -0.19075 | 33.6698
4 | 0.072891 | 0.018366 | -0.072789 | -0.018301 | 0.0001021 | 6.5057e-05 | 0.10983 | 0.10984 | 0.10984 | 0.98782 | -0.23331 | 0.98631 | -0.26264 | 30.1745
5 | 0.054196 | 0.013614 | -0.054113 | -0.013562 | 8.2454e-05 | 5.2359e-05 | 0.08213 | 0.08213 | 0.08213 | 0.98205 | -0.3456 | 0.98042 | -0.37753 | 22.5632
6 | -0.17774 | -0.044937 | 0.17786 | 0.045011 | 0.00011665 | 7.4151e-05 | 0.26729 | 0.26729 | 0.26729 | 0.99003 | -0.19075 | 0.99074 | -0.17707 | 24.4767
7 | 0.050955 | 0.012828 | -0.050921 | -0.012807 | 3.4112e-05 | 2.1635e-05 | 0.076895 | 0.076895 | 0.076895 | 0.98631 | -0.26264 | 0.98559 | -0.27665 | 21.1249
8 | -0.0063775 | -0.0015984 | 0.0063787 | 0.0015987 | 1.2022e-06 | 3.373e-07 | 0.0096765 | 0.0096763 | 0.0096765 | 0.98071 | -0.37202 | 0.98091 | -0.36806 | 2.6584
9 | 0.0063775 | 0.0015984 | -0.0063769 | -0.0015982 | 6.1532e-07 | 1.7271e-07 | 0.0096765 | 0.0096766 | 0.0096766 | 0.98071 | -0.37202 | 0.98061 | -0.37404 | 2.6584
10 | -0.0098307 | -0.0024639 | 0.0098331 | 0.002465 | 2.4011e-06 | 1.1732e-06 | 0.014913 | 0.014913 | 0.014913 | 0.98091 | -0.36806 | 0.98117 | -0.36294 | 4.097
11 | 0.01326 | 0.0033273 | -0.013251 | -0.0033222 | 9.2085e-06 | 5.1245e-06 | 0.020093 | 0.020093 | 0.020093 | 0.98207 | -0.34545 | 0.98132 | -0.36002 | 5.5202
12 | -0.01326 | -0.0033273 | 0.01327 | 0.0033325 | 9.3533e-06 | 5.2038e-06 | 0.020093 | 0.020093 | 0.020093 | 0.98207 | -0.34545 | 0.98282 | -0.33066 | 5.5201
13 | 0.013251 | 0.0033222 | -0.013249 | -0.0033212 | 1.8416e-06 | 1.025e-06 | 0.020093 | 0.020093 | 0.020093 | 0.98132 | -0.36002 | 0.98117 | -0.36294 | 5.5202
14 | -0.028853 | -0.0072382 | 0.028879 | 0.0072543 | 2.5812e-05 | 1.6062e-05 | 0.043687 | 0.043687 | 0.043687 | 0.98282 | -0.33066 | 0.98378 | -0.31192 | 12.002
15 | -0.0095044 | -0.0023834 | 0.0095066 | 0.0023845 | 2.1619e-06 | 1.0271e-06 | 0.014354 | 0.014353 | 0.014354 | 0.98535 | -0.28142 | 0.98559 | -0.27665 | 3.9433
16 | 0.0095044 | 0.0023834 | -0.0094977 | -0.0023803 | 6.7196e-06 | 3.1936e-06 | 0.014354 | 0.014354 | 0.014354 | 0.98535 | -0.28142 | 0.98459 | -0.29627 | 3.9434
17 | 0.041414 | 0.010422 | -0.041375 | -0.010398 | 3.8968e-05 | 2.4601e-05 | 0.062541 | 0.062541 | 0.062541 | 0.98559 | -0.27665 | 0.98458 | -0.29636 | 17.1817
18 | 0.0044869 | 0.0011244 | -0.0044866 | -0.0011244 | 2.9421e-07 | -2.8685e-08 | 0.006781 | 0.0067811 | 0.0067811 | 0.98459 | -0.29627 | 0.98452 | -0.29764 | 1.8629
19 | 0.041375 | 0.010398 | -0.041345 | -0.010378 | 3.0702e-05 | 1.9383e-05 | 0.062541 | 0.062542 | 0.062542 | 0.98458 | -0.29636 | 0.98378 | -0.31192 | 17.1817
20 | 0.038869 | 0.0097439 | -0.038862 | -0.0097398 | 6.517e-06 | 4.1051e-06 | 0.058351 | 0.058352 | 0.058352 | 0.9912 | -0.16876 | 0.99102 | -0.17227 | 16.0306
21 | -0.038869 | -0.0097439 | 0.038966 | 0.009805 | 9.6993e-05 | 6.1094e-05 | 0.058351 | 0.058351 | 0.058351 | 0.9912 | -0.16876 | 0.99391 | -0.11652 | 16.0306
22 | -0.038966 | -0.009805 | 0.03899 | 0.0098201 | 2.4048e-05 | 1.5147e-05 | 0.058351 | 0.058351 | 0.058351 | 0.99391 | -0.11652 | 0.99458 | -0.10362 | 16.0305
23 | -0.2323 | -0.058715 | 0.23253 | 0.058858 | 0.00022407 | 0.00014284 | 0.34908 | 0.34908 | 0.34908 | 0.99074 | -0.17707 | 0.99178 | -0.15698 | 31.9672
24 | 0.054447 | 0.013704 | -0.054325 | -0.013627 | 0.00012144 | 7.7098e-05 | 0.081796 | 0.081796 | 0.081796 | 0.99074 | -0.17707 | 0.98832 | -0.22385 | 22.4714
25 | -0.015413 | -0.0038628 | 0.015417 | 0.0038651 | 4.0556e-06 | 2.3327e-06 | 0.023086 | 0.023085 | 0.023086 | 0.99344 | -0.12615 | 0.99373 | -0.12063 | 6.3422
26 | -0.029477 | -0.0073889 | 0.029491 | 0.007398 | 1.4521e-05 | 9.0361e-06 | 0.04414 | 0.044139 | 0.04414 | 0.99373 | -0.12063 | 0.99426 | -0.11029 | 12.1263
27 | -0.060601 | -0.015289 | 0.060667 | 0.01533 | 6.5697e-05 | 4.1765e-05 | 0.090317 | 0.090317 | 0.090317 | 0.99882 | -0.022615 | 1 | 0 | 24.8125
28 | 0.060601 | 0.015289 | -0.060382 | -0.015149 | 0.00021898 | 0.00013921 | 0.090317 | 0.090318 | 0.090318 | 0.99882 | -0.022615 | 0.99488 | -0.098381 | 24.8125
29 | 0.32667 | 0.08338 | -0.32623 | -0.0831 | 0.0004391 | 0.00028044 | 0.48663 | 0.48663 | 0.48663 | 1 | 0 | 0.99853 | -0.027861 | 44.563
30 | 0.044176 | 0.011088 | -0.044151 | -0.011072 | 2.5081e-05 | 1.5853e-05 | 0.066079 | 0.06608 | 0.06608 | 0.99488 | -0.098381 | 0.99426 | -0.11029 | 18.1537
31 | 0.32105 | 0.0818 | -0.32061 | -0.081519 | 0.00043963 | 0.00028076 | 0.4789 | 0.4789 | 0.4789 | 0.99853 | -0.027861 | 0.99704 | -0.056284 | 43.8554
32 | 0.022367 | 0.0056114 | -0.022352 | -0.0056023 | 1.4996e-05 | 9.1478e-06 | 0.033707 | 0.033707 | 0.033707 | 0.98747 | -0.24052 | 0.98674 | -0.25459 | 9.2601
33 | -0.022367 | -0.0056114 | 0.022385 | 0.0056223 | 1.7794e-05 | 1.0853e-05 | 0.033707 | 0.033706 | 0.033707 | 0.98747 | -0.24052 | 0.98832 | -0.22385 | 9.2601
34 | 0.0065868 | 0.0016512 | -0.0065853 | -0.0016508 | 1.5058e-06 | 4.4398e-07 | 0.0099331 | 0.0099333 | 0.0099333 | 0.98674 | -0.25459 | 0.9865 | -0.25939 | 2.7289
35 | 0.0065853 | 0.0016508 | -0.0065829 | -0.00165 | 2.4019e-06 | 7.0878e-07 | 0.0099333 | 0.0099336 | 0.0099336 | 0.9865 | -0.25939 | 0.9861 | -0.26705 | 2.729
36 | 0.0065829 | 0.00165 | -0.0065782 | -0.0016487 | 4.7155e-06 | 1.3936e-06 | 0.0099336 | 0.0099342 | 0.0099342 | 0.9861 | -0.26705 | 0.98533 | -0.28209 | 2.7292
37 | -0.043535 | -0.010969 | 0.043609 | 0.011015 | 7.4254e-05 | 4.6915e-05 | 0.065114 | 0.065114 | 0.065114 | 0.99519 | -0.091877 | 0.99704 | -0.056284 | 17.8886
38 | 0.043535 | 0.010969 | -0.04351 | -0.010953 | 2.4433e-05 | 1.5438e-05 | 0.065114 | 0.065114 | 0.065114 | 0.99519 | -0.091877 | 0.99458 | -0.10362 | 17.8886
39 | 0.277 | 0.070504 | -0.2765 | -0.070185 | 0.00049976 | 0.00031893 | 0.41379 | 0.41379 | 0.41379 | 0.99704 | -0.056284 | 0.99507 | -0.093781 | 37.8926
40 | -0.25165 | -0.06365 | 0.25203 | 0.063896 | 0.00038677 | 0.00024669 | 0.37776 | 0.37776 | 0.37776 | 0.99178 | -0.15698 | 0.99345 | -0.12499 | 34.5938
41 | -0.26077 | -0.066085 | 0.26086 | 0.066142 | 8.9856e-05 | 5.7325e-05 | 0.39084 | 0.39084 | 0.39084 | 0.99345 | -0.12499 | 0.99382 | -0.11782 | 35.7914
42 | -0.26743 | -0.067791 | 0.26753 | 0.067854 | 9.9382e-05 | 6.3412e-05 | 0.40069 | 0.40069 | 0.40069 | 0.99382 | -0.11782 | 0.99422 | -0.11009 | 36.6934
43 | 0.27493 | 0.069792 | -0.27471 | -0.069654 | 0.0002156 | 0.00013759 | 0.41144 | 0.41144 | 0.41144 | 0.99507 | -0.093781 | 0.99422 | -0.11009 | 37.6777

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38899 | 0.098711

## res_load
| p_mw | q_mvar
0 | 0.035228 | 0.0088289
1 | 0.01475 | 0.0036968
2 | 0.021834 | 0.0054721
3 | 0.003452 | 0.00086516
4 | 0.0063769 | 0.0015982
5 | 0.015584 | 0.0039057
6 | 0.003416 | 0.00085613
7 | 0.0050108 | 0.0012558
8 | 0.012465 | 0.0031241
9 | 0.054113 | 0.013562
10 | 0.038862 | 0.0097398
11 | 0.0044866 | 0.0011244
12 | 0.015413 | 0.0038628
13 | 0.01406 | 0.0035238
14 | 0.016206 | 0.0040615
15 | 0.0051853 | 0.0012995
16 | 0.015765 | 0.0039511
17 | 0.03194 | 0.008005
18 | 0.0065782 | 0.0016487
19 | 0.0045206 | 0.001133
20 | 0.019118 | 0.0047914
21 | 0.0087316 | 0.0021884
22 | 0.0065785 | 0.0016487
23 | 0.0015693 | 0.0003933
24 | 0.01466 | 0.0036741
25 | 0.0071816 | 0.0017999

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1