## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2500-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2500-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2500-7_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2500-7_0_3_node_135 | 0.4 | n |  | TRUE
4 | bus_LV_2500-7_0_3_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_2500-7_0_3_node_133 | 0.4 | n |  | TRUE
6 | bus_LV_2500-7_0_3_node_146 | 0.4 | n |  | TRUE
7 | bus_LV_2500-7_0_3_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_2500-7_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2500-7_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2500-7_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2500-7_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2500-7_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2500-7_0_3_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_2500-7_0_3_node_71 | 0.4 | n |  | TRUE
15 | bus_LV_2500-7_0_3_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_2500-7_0_3_node_72 | 0.4 | n |  | TRUE
17 | bus_LV_2500-7_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2500-7_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_2500-7_0_3_node_148 | 0.4 | n |  | TRUE
20 | bus_LV_2500-7_0_3_node_113 | 0.4 | n |  | TRUE
21 | bus_LV_2500-7_0_3_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_2500-7_0_3_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_2500-7_0_3_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_2500-7_0_3_node_79 | 0.4 | n |  | TRUE
25 | bus_LV_2500-7_0_3_node_80 | 0.4 | n |  | TRUE
26 | bus_LV_2500-7_0_3_node_123 | 0.4 | n |  | TRUE
27 | bus_LV_2500-7_0_3_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_2500-7_0_3_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_2500-7_0_3_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_2500-7_0_3_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_2500-7_0_3_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_2500-7_0_3_node_70 | 0.4 | n |  | TRUE
33 | bus_LV_2500-7_0_3_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_2500-7_0_3_node_95 | 0.4 | n |  | TRUE
35 | bus_LV_2500-7_0_3_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_2500-7_0_3_node_96 | 0.4 | n |  | TRUE
37 | bus_LV_2500-7_0_3_node_97 | 0.4 | n |  | TRUE
38 | bus_LV_2500-7_0_3_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_2500-7_0_3_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_2500-7_0_3_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_2500-7_0_3_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_2500-7_0_3_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_2500-7_0_3_node_106 | 0.4 | n |  | TRUE
44 | bus_LV_2500-7_0_3_node_69 | 0.4 | n |  | TRUE
45 | bus_LV_2500-7_0_3_node_116 | 0.4 | n |  | TRUE
46 | bus_LV_2500-7_0_3_node_104 | 0.4 | n |  | TRUE
47 | bus_LV_2500-7_0_3_node_112 | 0.4 | n |  | TRUE
48 | bus_LV_2500-7_0_3_node_154 | 0.4 | n |  | TRUE
49 | bus_LV_2500-7_0_3_node_152 | 0.4 | n |  | TRUE
50 | bus_LV_2500-7_0_3_node_73 | 0.4 | n |  | TRUE
51 | bus_LV_2500-7_0_3_node_76 | 0.4 | n |  | TRUE
52 | bus_LV_2500-7_0_3_node_77 | 0.4 | n |  | TRUE
53 | bus_LV_2500-7_0_3_node_78 | 0.4 | n |  | TRUE
54 | bus_LV_2500-7_0_3_node_138 | 0.4 | n |  | TRUE
55 | bus_LV_2500-7_0_3_node_131 | 0.4 | n |  | TRUE
56 | bus_LV_2500-7_0_3_node_118 | 0.4 | n |  | TRUE
57 | bus_LV_2500-7_0_3_node_119 | 0.4 | n |  | TRUE
58 | bus_LV_2500-7_0_3_node_93 | 0.4 | n |  | TRUE
59 | bus_LV_2500-7_0_3_node_128 | 0.4 | n |  | TRUE
60 | bus_LV_2500-7_0_3_node_130 | 0.4 | n |  | TRUE
61 | bus_LV_2500-7_0_3_node_127 | 0.4 | n |  | TRUE
62 | bus_LV_2500-7_0_3_node_122 | 0.4 | n |  | TRUE
63 | bus_LV_2500-7_0_3_node_129 | 0.4 | n |  | TRUE
64 | bus_LV_2500-7_0_3_node_121 | 0.4 | n |  | TRUE
65 | bus_LV_2500-7_0_3_node_102 | 0.4 | n |  | TRUE
66 | bus_LV_2500-7_0_3_node_103 | 0.4 | n |  | TRUE
67 | bus_LV_2500-7_0_3_node_105 | 0.4 | n |  | TRUE
68 | bus_LV_2500-7_0_3_node_114 | 0.4 | n |  | TRUE
69 | bus_LV_2500-7_0_3_node_115 | 0.4 | n |  | TRUE
70 | bus_LV_2500-7_0_3_node_158 | 0.4 | n |  | TRUE
71 | bus_LV_2500-7_0_3_node_153 | 0.4 | n |  | TRUE
72 | bus_LV_2500-7_0_3_node_120 | 0.4 | n |  | TRUE
73 | bus_MV_290_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2500-7_0_3_load_0 | 0 | 0.0034448 | 0.00086334 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2500-7_0_3_load_1 | 1 | 0.0075074 | 0.0018815 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2500-7_0_3_load_135 | 3 | 0.0080642 | 0.0020211 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2500-7_0_3_load_17 | 4 | 0.0075029 | 0.0018804 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2500-7_0_3_load_133 | 5 | 0.0076717 | 0.0019227 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2500-7_0_3_load_146 | 6 | 0.0025036 | 0.00062747 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2500-7_0_3_load_16 | 7 | 0.0066494 | 0.0016665 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2500-7_0_3_load_6 | 8 | 0.0018946 | 0.00047483 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2500-7_0_3_load_7 | 9 | 0.0021275 | 0.0005332 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2500-7_0_3_load_8 | 10 | 0.0024753 | 0.00062037 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2500-7_0_3_load_9 | 11 | 0.0024117 | 0.00060442 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2500-7_0_3_load_10 | 12 | 0.0015238 | 0.00038189 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2500-7_0_3_load_18 | 13 | 0.0015174 | 0.0003803 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2500-7_0_3_load_71 | 14 | 0.0022978 | 0.00057589 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2500-7_0_3_load_19 | 15 | 0.0015218 | 0.00038139 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2500-7_0_3_load_72 | 16 | 0.0015025 | 0.00037656 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2500-7_0_3_load_12 | 17 | 0.0035054 | 0.00087854 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2500-7_0_3_load_14 | 18 | 0.0028959 | 0.00072578 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2500-7_0_3_load_148 | 19 | 0.0022013 | 0.0005517 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2500-7_0_3_load_113 | 20 | 0.0024525 | 0.00061466 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2500-7_0_3_load_41 | 21 | 0.0025158 | 0.00063051 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2500-7_0_3_load_42 | 22 | 0.0010642 | 0.00026671 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2500-7_0_3_load_44 | 23 | 0.0013462 | 0.00033738 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2500-7_0_3_load_79 | 24 | 0.0023731 | 0.00059476 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2500-7_0_3_load_80 | 25 | 0.00099138 | 0.00024846 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2500-7_0_3_load_123 | 26 | 0.0023249 | 0.00058266 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2500-7_0_3_load_51 | 27 | 0.0023955 | 0.00060036 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2500-7_0_3_load_46 | 28 | 0.004491 | 0.0011256 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2500-7_0_3_load_47 | 29 | 0.0050545 | 0.0012668 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2500-7_0_3_load_70 | 32 | 0.0010801 | 0.00027069 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2500-7_0_3_load_50 | 33 | 0.0038401 | 0.00096242 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2500-7_0_3_load_68 | 35 | 0.0016625 | 0.00041667 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2500-7_0_3_load_96 | 36 | 0.0087739 | 0.002199 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2500-7_0_3_load_52 | 38 | 0.0018752 | 0.00046996 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2500-7_0_3_load_53 | 39 | 0.0021384 | 0.00053594 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2500-7_0_3_load_54 | 40 | 0.0026643 | 0.00066773 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2500-7_0_3_load_69 | 44 | 0.002914 | 0.00073032 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2500-7_0_3_load_116 | 45 | 0.0020216 | 0.00050666 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2500-7_0_3_load_104 | 46 | 0.00080448 | 0.00020162 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2500-7_0_3_load_152 | 49 | 0.010426 | 0.0026131 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2500-7_0_3_load_73 | 50 | 0.0016917 | 0.00042398 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2500-7_0_3_load_76 | 51 | 0.0019401 | 0.00048623 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2500-7_0_3_load_77 | 52 | 0.002068 | 0.00051829 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2500-7_0_3_load_78 | 53 | 0.0020544 | 0.00051487 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2500-7_0_3_load_131 | 55 | 0.0024514 | 0.00061437 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2500-7_0_3_load_118 | 56 | 0.0017155 | 0.00042994 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2500-7_0_3_load_119 | 57 | 0.0010953 | 0.00027451 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2500-7_0_3_load_93 | 58 | 0.011187 | 0.0028038 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2500-7_0_3_load_130 | 60 | 0.0064169 | 0.0016082 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2500-7_0_3_load_127 | 61 | 0.0093328 | 0.002339 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2500-7_0_3_load_122 | 62 | 0.0018073 | 0.00045295 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2500-7_0_3_load_121 | 64 | 0.0011016 | 0.00027608 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2500-7_0_3_load_102 | 65 | 0.0025208 | 0.00063177 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2500-7_0_3_load_103 | 66 | 0.0036446 | 0.00091342 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2500-7_0_3_load_105 | 67 | 0.0016047 | 0.00040219 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2500-7_0_3_load_158 | 70 | 0.0031378 | 0.00078641 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2500-7_0_3_load_153 | 71 | 0.010666 | 0.0026731 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2500-7_0_3_load_120 | 72 | 0.0018407 | 0.00046131 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2500-7_0_3_line_0 |  | 0 | 1 | 0.029567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2500-7_0_3_line_1 |  | 1 | 2 | 0.025228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2500-7_0_3_line_2 |  | 2 | 3 | 0.047477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2500-7_0_3_line_3 |  | 2 | 4 | 0.028251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2500-7_0_3_line_4 |  | 2 | 5 | 0.04614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2500-7_0_3_line_5 |  | 3 | 6 | 0.0065392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2500-7_0_3_line_6 |  | 4 | 7 | 0.020697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2500-7_0_3_line_7 |  | 6 | 54 | 0.014956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2500-7_0_3_line_8 |  | 8 | 9 | 0.0034968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2500-7_0_3_line_9 |  | 8 | 10 | 0.01221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2500-7_0_3_line_10 |  | 9 | 11 | 0.011844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2500-7_0_3_line_11 |  | 10 | 12 | 0.0020499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2500-7_0_3_line_12 |  | 11 | 13 | 0.019631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2500-7_0_3_line_13 |  | 12 | 14 | 0.012815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2500-7_0_3_line_14 |  | 13 | 15 | 0.015377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2500-7_0_3_line_15 |  | 14 | 16 | 0.0015565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2500-7_0_3_line_16 |  | 16 | 50 | 0.013726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2500-7_0_3_line_17 |  | 17 | 18 | 0.00044416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2500-7_0_3_line_18 |  | 18 | 19 | 0.012439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2500-7_0_3_line_19 |  | 19 | 20 | 0.029918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2500-7_0_3_line_20 |  | 20 | 68 | 0.029211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2500-7_0_3_line_21 |  | 21 | 22 | 0.026002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2500-7_0_3_line_22 |  | 22 | 23 | 0.015102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2500-7_0_3_line_23 |  | 23 | 24 | 0.0050473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2500-7_0_3_line_24 |  | 24 | 25 | 0.01227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2500-7_0_3_line_25 |  | 25 | 56 | 0.014776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2500-7_0_3_line_26 |  | 26 | 27 | 0.01101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2500-7_0_3_line_27 |  | 27 | 30 | 0.01318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2500-7_0_3_line_28 |  | 28 | 29 | 0.018554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2500-7_0_3_line_29 |  | 28 | 30 | 0.016875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2500-7_0_3_line_30 |  | 29 | 31 | 0.05075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2500-7_0_3_line_31 |  | 31 | 32 | 0.046224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2500-7_0_3_line_32 |  | 32 | 35 | 0.00016964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2500-7_0_3_line_33 |  | 33 | 34 | 0.014156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2500-7_0_3_line_34 |  | 34 | 36 | 0.038847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2500-7_0_3_line_35 |  | 34 | 37 | 0.027821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2500-7_0_3_line_36 |  | 35 | 44 | 0.030977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2500-7_0_3_line_37 |  | 36 | 42 | 0.043922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2500-7_0_3_line_38 |  | 37 | 62 | 0.013054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2500-7_0_3_line_39 |  | 37 | 63 | 0.024159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2500-7_0_3_line_40 |  | 38 | 39 | 0.0048624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2500-7_0_3_line_41 |  | 38 | 40 | 0.0082448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2500-7_0_3_line_42 |  | 39 | 41 | 0.017588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2500-7_0_3_line_43 |  | 40 | 42 | 0.025426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2500-7_0_3_line_44 |  | 41 | 43 | 0.023513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2500-7_0_3_line_45 |  | 42 | 44 | 0.0023074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2500-7_0_3_line_46 |  | 43 | 45 | 0.038592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2500-7_0_3_line_47 |  | 43 | 46 | 0.017095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2500-7_0_3_line_48 |  | 45 | 68 | 0.025134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2500-7_0_3_line_49 |  | 46 | 65 | 0.00026353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2500-7_0_3_line_50 |  | 47 | 48 | 0.037085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2500-7_0_3_line_51 |  | 47 | 49 | 0.020923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2500-7_0_3_line_52 |  | 48 | 60 | 0.051041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2500-7_0_3_line_53 |  | 49 | 71 | 0.02526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2500-7_0_3_line_54 |  | 50 | 51 | 0.0018052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2500-7_0_3_line_55 |  | 51 | 52 | 0.0052868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2500-7_0_3_line_56 |  | 52 | 53 | 0.011172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2500-7_0_3_line_57 |  | 53 | 54 | 0.016799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2500-7_0_3_line_58 |  | 54 | 55 | 0.036822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2500-7_0_3_line_59 |  | 55 | 63 | 0.0060516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2500-7_0_3_line_60 |  | 56 | 57 | 0.0090894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2500-7_0_3_line_61 |  | 57 | 72 | 0.0060099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2500-7_0_3_line_62 |  | 58 | 59 | 0.021726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2500-7_0_3_line_63 |  | 59 | 60 | 0.035946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2500-7_0_3_line_64 |  | 59 | 61 | 0.044742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2500-7_0_3_line_65 |  | 61 | 63 | 0.035292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_2500-7_0_3_line_66 |  | 62 | 64 | 0.012306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2500-7_0_3_line_67 |  | 64 | 72 | 0.0025939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2500-7_0_3_line_68 |  | 65 | 66 | 0.0029703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2500-7_0_3_line_69 |  | 66 | 67 | 0.012463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2500-7_0_3_line_70 |  | 68 | 69 | 0.010698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2500-7_0_3_line_71 |  | 69 | 70 | 0.012419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2500-7_0_3_trafo_127 | 0.63 MVA 20/0.4 kV | 73 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2634228.8997 | 1246245.7967 | 2634256.778 | 1246235.946
1 | 2634280.6906 | 1246227.9679 | 2634276.5605 | 1246228.9558 | 2634256.778 | 1246235.946
2 | 2634280.6906 | 1246227.9679 | 2634279.891 | 1246222.5375 | 2634278.3994 | 1246214.0011 | 2634276.3018 | 1246200.5025 | 2634274.8039 | 1246186.4958 | 2634274.5981 | 1246180.9249
3 | 2634280.6906 | 1246227.9679 | 2634285.183 | 1246227.0377 | 2634306.7438 | 1246217.2858
4 | 2634280.6906 | 1246227.9679 | 2634281.4029 | 1246232.8196 | 2634285.5978 | 1246253.3017 | 2634287.5988 | 1246265.1987 | 2634290.0006 | 1246273.1067
5 | 2634274.5981 | 1246180.9249 | 2634274.3566 | 1246174.3902
6 | 2634306.7438 | 1246217.2858 | 2634325.6021 | 1246208.7563
7 | 2634274.605 | 1246159.4548 | 2634274.0984 | 1246167.4015 | 2634274.3566 | 1246174.3902
8 | 2634349.8885 | 1246141.4954 | 2634353.2831 | 1246140.6558
9 | 2634349.8885 | 1246141.4954 | 2634338.0358 | 1246144.4271
10 | 2634353.2831 | 1246140.6558 | 2634358.6538 | 1246139.3274 | 2634364.6131 | 1246137.2476
11 | 2634336.0458 | 1246144.9194 | 2634338.0358 | 1246144.4271
12 | 2634364.6131 | 1246137.2476 | 2634366.927 | 1246136.44 | 2634374.32 | 1246132.9472 | 2634381.4355 | 1246127.43
13 | 2634323.6061 | 1246147.9963 | 2634336.0458 | 1246144.9194
14 | 2634393.5876 | 1246118.0076 | 2634381.4355 | 1246127.43
15 | 2634323.6061 | 1246147.9963 | 2634322.0951 | 1246148.37
16 | 2634322.0951 | 1246148.37 | 2634308.7711 | 1246151.6656
17 | 2634096.6849 | 1246015.1739 | 2634097.0016 | 1246014.8624
18 | 2634105.8692 | 1246006.1391 | 2634097.0016 | 1246014.8624
19 | 2634135.7455 | 1246007.7207 | 2634105.8692 | 1246006.1391
20 | 2634136.4341 | 1246036.212 | 2634137.3254 | 1246033.5932 | 2634137.9139 | 1246031.095 | 2634138.5443 | 1246027.8743 | 2634138.9209 | 1246024.1407 | 2634138.9059 | 1246021.4833 | 2634138.7708 | 1246018.7029 | 2634138.1097 | 1246015.4526 | 2634135.7455 | 1246007.7207
21 | 2634398.6773 | 1246072.5167 | 2634385.3851 | 1246075.8407 | 2634373.434 | 1246078.753
22 | 2634358.7615 | 1246082.3285 | 2634373.434 | 1246078.753
23 | 2634358.7615 | 1246082.3285 | 2634353.8577 | 1246083.5236
24 | 2634341.9369 | 1246086.4285 | 2634353.8577 | 1246083.5236
25 | 2634327.5809 | 1246089.9269 | 2634341.9369 | 1246086.4285
26 | 2634380.0721 | 1246057.1178 | 2634369.3891 | 1246059.7798
27 | 2634361.3841 | 1246053.9431 | 2634364.0167 | 1246061.1185 | 2634369.3891 | 1246059.7798
28 | 2634352.6648 | 1246019.6286 | 2634353.9987 | 1246026.1044 | 2634357.3738 | 1246037.5595
29 | 2634361.3841 | 1246053.9431 | 2634358.7995 | 1246042.3984 | 2634357.3738 | 1246037.5595
30 | 2634342.3408 | 1245970.2895 | 2634350.3056 | 1245998.554 | 2634349.7958 | 1246005.7002 | 2634352.6648 | 1246019.6286
31 | 2634342.3408 | 1245970.2895 | 2634301.8385 | 1245982.7747 | 2634298.1646 | 1245983.8956
32 | 2634298.0024 | 1245983.9451 | 2634298.1646 | 1245983.8956
33 | 2634297.4856 | 1246069.3282 | 2634304.9287 | 1246067.6367 | 2634311.2676 | 1246066.0992
34 | 2634297.4856 | 1246069.3282 | 2634296.1596 | 1246063.4945 | 2634295.2144 | 1246059.731 | 2634293.9208 | 1246056.1434 | 2634292.3313 | 1246052.7654 | 2634290.3957 | 1246049.1296 | 2634288.27 | 1246045.7374 | 2634284.283 | 1246040.233 | 2634280.7313 | 1246034.7675
35 | 2634285.9478 | 1246094.6558 | 2634297.4856 | 1246069.3282
36 | 2634298.0024 | 1245983.9451 | 2634287.3542 | 1245987.1939 | 2634270.297 | 1245992.3989 | 2634268.373 | 1245992.9832
37 | 2634266.1652 | 1245993.6536 | 2634270.2841 | 1246011.6336 | 2634271.9738 | 1246017.2914 | 2634274.2241 | 1246022.6635 | 2634276.6293 | 1246027.3804 | 2634280.1274 | 1246033.8382 | 2634280.7313 | 1246034.7675
38 | 2634285.9478 | 1246094.6558 | 2634289.17 | 1246096.5423 | 2634297.5434 | 1246097.2467 | 2634298.435 | 1246097.0294
39 | 2634285.9478 | 1246094.6558 | 2634277.655 | 1246111.3855 | 2634275.9177 | 1246116.6011
40 | 2634234.017 | 1246003.6605 | 2634229.3865 | 1246005.1443
41 | 2634234.017 | 1246003.6605 | 2634241.8685 | 1246001.1444
42 | 2634212.6372 | 1246010.5116 | 2634229.3865 | 1246005.1443
43 | 2634266.1652 | 1245993.6536 | 2634252.3095 | 1245997.7986 | 2634241.8685 | 1246001.1444
44 | 2634212.6372 | 1246010.5116 | 2634206.6491 | 1246006.1854 | 2634204.1276 | 1246004.592 | 2634201.821 | 1246003.7337 | 2634199.1876 | 1246003.2071 | 2634196.3165 | 1246003.2906 | 2634193.6325 | 1246003.6866 | 2634192.0588 | 1246004.1111 | 2634191.2492 | 1246004.3288
45 | 2634266.1652 | 1245993.6536 | 2634268.373 | 1245992.9832
46 | 2634191.2492 | 1246004.3288 | 2634182.8149 | 1246007.6269 | 2634175.4085 | 1246010.8196 | 2634168.4237 | 1246014.2706 | 2634163.0947 | 1246017.4753 | 2634161.3357 | 1246018.5882 | 2634159.4024 | 1246019.8112 | 2634156.8738 | 1246021.5914
47 | 2634191.2492 | 1246004.3288 | 2634180.4958 | 1245991.0398
48 | 2634136.4341 | 1246036.212 | 2634139.7121 | 1246033.6737 | 2634156.8738 | 1246021.5914
49 | 2634180.4958 | 1245991.0398 | 2634180.33 | 1245990.8349
50 | 2634167.2592 | 1246043.3495 | 2634171.6639 | 1246041.9183 | 2634174.1734 | 1246042.9668 | 2634182.2309 | 1246061.8143 | 2634184.4831 | 1246070.7998
51 | 2634167.2592 | 1246043.3495 | 2634167.7277 | 1246045.9428 | 2634166.8278 | 1246047.4163 | 2634151.8511 | 1246054.4847
52 | 2634184.4831 | 1246070.7998 | 2634189.0683 | 1246074.7621 | 2634201.6424 | 1246100.2623 | 2634186.8533 | 1246107.8265
53 | 2634129.0075 | 1246065.266 | 2634151.8511 | 1246054.4847
54 | 2634307.0187 | 1246152.0991 | 2634308.7711 | 1246151.6656
55 | 2634307.0187 | 1246152.0991 | 2634301.8866 | 1246153.3685
56 | 2634301.8866 | 1246153.3685 | 2634291.0411 | 1246156.0511
57 | 2634274.605 | 1246159.4548 | 2634282.2265 | 1246158.2313 | 2634291.0411 | 1246156.0511
58 | 2634274.605 | 1246159.4548 | 2634275.7324 | 1246122.6498
59 | 2634275.9177 | 1246116.6011 | 2634275.7324 | 1246122.6498
60 | 2634327.5809 | 1246089.9269 | 2634318.7499 | 1246092.0789
61 | 2634312.9109 | 1246093.5018 | 2634318.7499 | 1246092.0789
62 | 2634201.6062 | 1246140.6217 | 2634181.9502 | 1246149.8772
63 | 2634201.6062 | 1246140.6217 | 2634186.8533 | 1246107.8265
64 | 2634201.6062 | 1246140.6217 | 2634242.1484 | 1246121.6959
65 | 2634275.9177 | 1246116.6011 | 2634265.6385 | 1246114.963 | 2634261.3341 | 1246114.7269 | 2634257.7361 | 1246115.1175 | 2634253.506 | 1246116.3939 | 2634242.1484 | 1246121.6959
66 | 2634310.3907 | 1246094.1159 | 2634298.435 | 1246097.0294
67 | 2634312.9109 | 1246093.5018 | 2634310.3907 | 1246094.1159
68 | 2634180.33 | 1245990.8349 | 2634178.4615 | 1245988.5259
69 | 2634170.622 | 1245978.8379 | 2634178.4615 | 1245988.5259
70 | 2634136.4341 | 1246036.212 | 2634132.1463 | 1246039.6452 | 2634130.557 | 1246041.4706 | 2634129.7427 | 1246042.4999 | 2634129.1231 | 1246043.8528
71 | 2634121.8687 | 1246033.7601 | 2634124.2517 | 1246037.1093 | 2634127.219 | 1246041.3068 | 2634129.1231 | 1246043.8528

## bus_geodata
| x | y | coords
0 | 2634228.8997 | 1246245.7967
1 | 2634256.778 | 1246235.946
2 | 2634280.6906 | 1246227.9679
3 | 2634274.5981 | 1246180.9249
4 | 2634306.7438 | 1246217.2858
5 | 2634290.0006 | 1246273.1067
6 | 2634274.3566 | 1246174.3902
7 | 2634325.6021 | 1246208.7563
8 | 2634349.8885 | 1246141.4954
9 | 2634353.2831 | 1246140.6558
10 | 2634338.0358 | 1246144.4271
11 | 2634364.6131 | 1246137.2476
12 | 2634336.0458 | 1246144.9194
13 | 2634381.4355 | 1246127.43
14 | 2634323.6061 | 1246147.9963
15 | 2634393.5876 | 1246118.0076
16 | 2634322.0951 | 1246148.37
17 | 2634096.6849 | 1246015.1739
18 | 2634097.0016 | 1246014.8624
19 | 2634105.8692 | 1246006.1391
20 | 2634135.7455 | 1246007.7207
21 | 2634398.6773 | 1246072.5167
22 | 2634373.434 | 1246078.753
23 | 2634358.7615 | 1246082.3285
24 | 2634353.8577 | 1246083.5236
25 | 2634341.9369 | 1246086.4285
26 | 2634380.0721 | 1246057.1178
27 | 2634369.3891 | 1246059.7798
28 | 2634357.3738 | 1246037.5595
29 | 2634352.6648 | 1246019.6286
30 | 2634361.3841 | 1246053.9431
31 | 2634342.3408 | 1245970.2895
32 | 2634298.1646 | 1245983.8956
33 | 2634311.2676 | 1246066.0992
34 | 2634297.4856 | 1246069.3282
35 | 2634298.0024 | 1245983.9451
36 | 2634280.7313 | 1246034.7675
37 | 2634285.9478 | 1246094.6558
38 | 2634234.017 | 1246003.6605
39 | 2634229.3865 | 1246005.1443
40 | 2634241.8685 | 1246001.1444
41 | 2634212.6372 | 1246010.5116
42 | 2634266.1652 | 1245993.6536
43 | 2634191.2492 | 1246004.3288
44 | 2634268.373 | 1245992.9832
45 | 2634156.8738 | 1246021.5914
46 | 2634180.4958 | 1245991.0398
47 | 2634167.2592 | 1246043.3495
48 | 2634184.4831 | 1246070.7998
49 | 2634151.8511 | 1246054.4847
50 | 2634308.7711 | 1246151.6656
51 | 2634307.0187 | 1246152.0991
52 | 2634301.8866 | 1246153.3685
53 | 2634291.0411 | 1246156.0511
54 | 2634274.605 | 1246159.4548
55 | 2634275.7324 | 1246122.6498
56 | 2634327.5809 | 1246089.9269
57 | 2634318.7499 | 1246092.0789
58 | 2634181.9502 | 1246149.8772
59 | 2634201.6062 | 1246140.6217
60 | 2634186.8533 | 1246107.8265
61 | 2634242.1484 | 1246121.6959
62 | 2634298.435 | 1246097.0294
63 | 2634275.9177 | 1246116.6011
64 | 2634310.3907 | 1246094.1159
65 | 2634180.33 | 1245990.8349
66 | 2634178.4615 | 1245988.5259
67 | 2634170.622 | 1245978.8379
68 | 2634136.4341 | 1246036.212
69 | 2634129.1231 | 1246043.8528
70 | 2634121.8687 | 1246033.7601
71 | 2634129.0075 | 1246065.266
72 | 2634312.9109 | 1246093.5018
73 | 2634242.1484 | 1246121.6959

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99227 | -0.14853 | 0.0034448 | 0.00086334
1 | 0.99237 | -0.14673 | 0.0075074 | 0.0018815
2 | 0.99262 | -0.14184 | 0 | 0
3 | 0.99404 | -0.11435 | 0.0080642 | 0.0020211
4 | 0.99225 | -0.14892 | 0.0075029 | 0.0018804
5 | 0.9923 | -0.14811 | 0.0076717 | 0.0019227
6 | 0.99429 | -0.10964 | 0.0025036 | 0.00062747
7 | 0.99213 | -0.15135 | 0.0066494 | 0.0016665
8 | 0.9936 | -0.12284 | 0.0018946 | 0.00047483
9 | 0.99358 | -0.12331 | 0.0021275 | 0.0005332
10 | 0.99371 | -0.1208 | 0.0024753 | 0.00062037
11 | 0.99352 | -0.12445 | 0.0024117 | 0.00060442
12 | 0.99373 | -0.12036 | 0.0015238 | 0.00038189
13 | 0.99347 | -0.1255 | 0.0015174 | 0.0003803
14 | 0.99389 | -0.11732 | 0.0022978 | 0.00057589
15 | 0.99344 | -0.12591 | 0.0015218 | 0.00038139
16 | 0.99391 | -0.11688 | 0.0015025 | 0.00037656
17 | 0.98643 | -0.26147 | 0.0035054 | 0.00087854
18 | 0.98643 | -0.26144 | 0.0028959 | 0.00072578
19 | 0.9865 | -0.26002 | 0.0022013 | 0.0005517
20 | 0.98674 | -0.25541 | 0.0024525 | 0.00061466
21 | 0.99495 | -0.096643 | 0.0025158 | 0.00063051
22 | 0.99501 | -0.095491 | 0.0010642 | 0.00026671
23 | 0.99506 | -0.094539 | 0.0013462 | 0.00033738
24 | 0.99509 | -0.094102 | 0.0023731 | 0.00059476
25 | 0.99517 | -0.092525 | 0.00099138 | 0.00024846
26 | 0.98784 | -0.23403 | 0.0023249 | 0.00058266
27 | 0.98787 | -0.23357 | 0.0023955 | 0.00060036
28 | 0.988 | -0.23103 | 0.004491 | 0.0011256
29 | 0.98815 | -0.22798 | 0.0050545 | 0.0012668
30 | 0.98792 | -0.23246 | 0 | 0
31 | 0.98882 | -0.21507 | 0 | 0
32 | 0.98942 | -0.20331 | 0.0010801 | 0.00027069
33 | 0.99412 | -0.11264 | 0.0038401 | 0.00096242
34 | 0.99417 | -0.11168 | 0 | 0
35 | 0.98942 | -0.20327 | 0.0016625 | 0.00041667
36 | 0.99202 | -0.153 | 0.0087739 | 0.002199
37 | 0.9958 | -0.080325 | 0 | 0
38 | 0.989 | -0.21155 | 0.0018752 | 0.00046996
39 | 0.98888 | -0.21388 | 0.0021384 | 0.00053594
40 | 0.98922 | -0.20732 | 0.0026643 | 0.00066773
41 | 0.98848 | -0.22166 | 0 | 0
42 | 0.98995 | -0.19307 | 0 | 0
43 | 0.98794 | -0.23206 | 0 | 0
44 | 0.98991 | -0.19389 | 0.002914 | 0.00073032
45 | 0.98737 | -0.24325 | 0.0020216 | 0.00050666
46 | 0.98781 | -0.23468 | 0.00080448 | 0.00020162
47 | 0.99583 | -0.080156 | 0 | 0
48 | 0.99654 | -0.066416 | 0 | 0
49 | 0.99543 | -0.087915 | 0.010426 | 0.0026131
50 | 0.99413 | -0.1127 | 0.0016917 | 0.00042398
51 | 0.99416 | -0.1121 | 0.0019401 | 0.00048623
52 | 0.99426 | -0.11015 | 0.002068 | 0.00051829
53 | 0.99449 | -0.10562 | 0.0020544 | 0.00051487
54 | 0.99488 | -0.098215 | 0 | 0
55 | 0.99718 | -0.053977 | 0.0024514 | 0.00061437
56 | 0.99528 | -0.090369 | 0.0017155 | 0.00042994
57 | 0.99536 | -0.088768 | 0.0010953 | 0.00027451
58 | 0.9982 | -0.03448 | 0.011187 | 0.0028038
59 | 0.99842 | -0.03023 | 0 | 0
60 | 0.99752 | -0.047538 | 0.0064169 | 0.0016082
61 | 1 | 0 | -0.19232 | -0.048272
62 | 0.99561 | -0.083964 | 0.0018073 | 0.00045295
63 | 0.99757 | -0.046466 | 0 | 0
64 | 0.99545 | -0.087004 | 0.0011016 | 0.00027608
65 | 0.9878 | -0.23472 | 0.0025208 | 0.00063177
66 | 0.98779 | -0.235 | 0.0036446 | 0.00091342
67 | 0.98777 | -0.23535 | 0.0016047 | 0.00040219
68 | 0.98704 | -0.24963 | 0 | 0
69 | 0.98701 | -0.25023 | 0 | 0
70 | 0.98697 | -0.25093 | 0.0031378 | 0.00078641
71 | 0.99518 | -0.092656 | 0.010666 | 0.0026731
72 | 0.99542 | -0.087594 | 0.0018407 | 0.00046131
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0034448 | -0.00086334 | 0.003445 | 0.00086314 | 2.9587e-07 | -1.9261e-07 | 0.0051658 | 0.0051656 | 0.0051658 | 0.99227 | -0.14853 | 0.99237 | -0.14673 | 1.4192
1 | -0.010952 | -0.0027447 | 0.010955 | 0.002746 | 2.5515e-06 | 1.3069e-06 | 0.016423 | 0.016423 | 0.016423 | 0.99237 | -0.14673 | 0.99262 | -0.14184 | 4.5117
2 | -0.032787 | -0.0082194 | 0.03283 | 0.0082463 | 4.301e-05 | 2.6912e-05 | 0.049151 | 0.049151 | 0.049151 | 0.99262 | -0.14184 | 0.99404 | -0.11435 | 13.503
3 | 0.014158 | 0.0035498 | -0.014153 | -0.0035471 | 4.7725e-06 | 2.6893e-06 | 0.021224 | 0.021224 | 0.021224 | 0.99262 | -0.14184 | 0.99225 | -0.14892 | 5.8309
4 | 0.007674 | 0.0019236 | -0.0076717 | -0.0019227 | 2.2899e-06 | 8.6931e-07 | 0.011504 | 0.011504 | 0.011504 | 0.99262 | -0.14184 | 0.9923 | -0.14811 | 3.1605
5 | -0.040894 | -0.010267 | 0.040903 | 0.010273 | 9.1913e-06 | 5.7976e-06 | 0.061222 | 0.061222 | 0.061222 | 0.99404 | -0.11435 | 0.99429 | -0.10964 | 16.8193
6 | 0.0066502 | 0.0016667 | -0.0066494 | -0.0016665 | 7.7196e-07 | 2.2674e-07 | 0.0099729 | 0.009973 | 0.009973 | 0.99225 | -0.14892 | 0.99213 | -0.15135 | 2.7398
7 | -0.043407 | -0.010901 | 0.043431 | 0.010916 | 2.3674e-05 | 1.4957e-05 | 0.064969 | 0.064969 | 0.064969 | 0.99429 | -0.10964 | 0.99488 | -0.098215 | 17.8487
8 | 0.007579 | 0.0018991 | -0.0075788 | -0.001899 | 1.6893e-07 | 6.2825e-08 | 0.01135 | 0.01135 | 0.01135 | 0.9936 | -0.12284 | 0.99358 | -0.12331 | 3.1182
9 | -0.0094736 | -0.0023739 | 0.0094745 | 0.0023743 | 9.2162e-07 | 4.3168e-07 | 0.014187 | 0.014187 | 0.014187 | 0.9936 | -0.12284 | 0.99371 | -0.1208 | 3.8977
10 | 0.0054513 | 0.0013658 | -0.005451 | -0.0013658 | 2.9604e-07 | 3.6071e-08 | 0.0081639 | 0.008164 | 0.008164 | 0.99358 | -0.12331 | 0.99352 | -0.12445 | 2.2428
11 | -0.01195 | -0.0029947 | 0.01195 | 0.0029948 | 2.4614e-07 | 1.3097e-07 | 0.017894 | 0.017894 | 0.017894 | 0.99371 | -0.1208 | 0.99373 | -0.12036 | 4.9159
12 | 0.0030394 | 0.00076135 | -0.0030392 | -0.00076151 | 1.5254e-07 | -1.5658e-07 | 0.004552 | 0.0045521 | 0.0045521 | 0.99352 | -0.12445 | 0.99347 | -0.1255 | 1.2506
13 | -0.013474 | -0.0033767 | 0.013476 | 0.0033778 | 1.9561e-06 | 1.0859e-06 | 0.020176 | 0.020176 | 0.020176 | 0.99373 | -0.12036 | 0.99389 | -0.11732 | 5.5428
14 | 0.0015218 | 0.00038121 | -0.0015218 | -0.00038139 | 2.9958e-08 | -1.7993e-07 | 0.0022793 | 0.0022793 | 0.0022793 | 0.99347 | -0.1255 | 0.99344 | -0.12591 | 0.62619
15 | -0.015774 | -0.0039537 | 0.015774 | 0.0039539 | 3.2553e-07 | 1.8817e-07 | 0.023616 | 0.023616 | 0.023616 | 0.99389 | -0.11732 | 0.99391 | -0.11688 | 6.4879
16 | -0.017276 | -0.0043305 | 0.01728 | 0.0043325 | 3.4434e-06 | 2.0259e-06 | 0.025865 | 0.025865 | 0.025865 | 0.99391 | -0.11688 | 0.99413 | -0.1127 | 7.1058
17 | -0.0035054 | -0.00087854 | 0.0035054 | 0.00087853 | 4.6574e-09 | -2.6894e-09 | 0.0052878 | 0.0052878 | 0.0052878 | 0.98643 | -0.26147 | 0.98643 | -0.26144 | 1.4527
18 | -0.0064013 | -0.0016043 | 0.0064017 | 0.0016044 | 4.3495e-07 | 1.1956e-07 | 0.0096563 | 0.0096562 | 0.0096563 | 0.98643 | -0.26144 | 0.9865 | -0.26002 | 2.6528
19 | -0.0086031 | -0.0021561 | 0.0086049 | 0.002157 | 1.8892e-06 | 8.2703e-07 | 0.012977 | 0.012976 | 0.012977 | 0.9865 | -0.26002 | 0.98674 | -0.25541 | 3.565
20 | -0.011057 | -0.0027716 | 0.011061 | 0.0027732 | 3.0457e-06 | 1.576e-06 | 0.016675 | 0.016675 | 0.016675 | 0.98674 | -0.25541 | 0.98704 | -0.24963 | 4.581
21 | -0.0025158 | -0.00063051 | 0.0025159 | 0.00063026 | 1.3803e-07 | -2.4938e-07 | 0.0037625 | 0.0037624 | 0.0037625 | 0.99495 | -0.096643 | 0.99501 | -0.095491 | 1.0336
22 | -0.0035801 | -0.00089697 | 0.0035803 | 0.00089688 | 1.6232e-07 | -9.2277e-08 | 0.0053538 | 0.0053538 | 0.0053538 | 0.99501 | -0.095491 | 0.99506 | -0.094539 | 1.4708
23 | -0.0049264 | -0.0012343 | 0.0049265 | 0.0012343 | 1.0272e-07 | 1.7339e-10 | 0.0073668 | 0.0073668 | 0.0073668 | 0.99506 | -0.094539 | 0.99509 | -0.094102 | 2.0238
24 | -0.0072996 | -0.001829 | 0.0073002 | 0.0018292 | 5.482e-07 | 1.9145e-07 | 0.010915 | 0.010915 | 0.010915 | 0.99509 | -0.094102 | 0.99517 | -0.092525 | 2.9987
25 | -0.0082916 | -0.0020777 | 0.0082924 | 0.002078 | 8.5168e-07 | 3.5307e-07 | 0.012398 | 0.012398 | 0.012398 | 0.99517 | -0.092525 | 0.99528 | -0.090369 | 3.406
26 | -0.0023249 | -0.00058266 | 0.0023249 | 0.00058256 | 5.0633e-08 | -1.0855e-07 | 0.003502 | 0.003502 | 0.003502 | 0.98784 | -0.23403 | 0.98787 | -0.23357 | 0.96209
27 | -0.0047204 | -0.0011829 | 0.0047206 | 0.0011829 | 2.4987e-07 | -8.8345e-09 | 0.0071103 | 0.0071102 | 0.0071103 | 0.98787 | -0.23357 | 0.98792 | -0.23246 | 1.9534
28 | -0.009212 | -0.0023085 | 0.0092133 | 0.0023091 | 1.3393e-06 | 6.1948e-07 | 0.013874 | 0.013874 | 0.013874 | 0.988 | -0.23103 | 0.98815 | -0.22798 | 3.8115
29 | 0.004721 | 0.0011829 | -0.0047206 | -0.0011829 | 3.1992e-07 | -1.1344e-08 | 0.0071101 | 0.0071102 | 0.0071102 | 0.988 | -0.23103 | 0.98792 | -0.23246 | 1.9533
30 | -0.014268 | -0.0035758 | 0.014277 | 0.0035808 | 8.7851e-06 | 4.9719e-06 | 0.021485 | 0.021485 | 0.021485 | 0.98815 | -0.22798 | 0.98882 | -0.21507 | 5.9025
31 | -0.014277 | -0.0035808 | 0.014285 | 0.0035853 | 8.0014e-06 | 4.5276e-06 | 0.021485 | 0.021485 | 0.021485 | 0.98882 | -0.21507 | 0.98942 | -0.20331 | 5.9025
32 | -0.015365 | -0.003856 | 0.015365 | 0.0038561 | 3.3971e-08 | 1.9563e-08 | 0.023109 | 0.023109 | 0.023109 | 0.98942 | -0.20331 | 0.98942 | -0.20327 | 6.3487
33 | -0.0038401 | -0.00096242 | 0.0038403 | 0.00096234 | 1.7538e-07 | -7.1299e-08 | 0.0057479 | 0.0057479 | 0.0057479 | 0.99412 | -0.11264 | 0.99417 | -0.11168 | 1.5791
34 | 0.06048 | 0.015274 | -0.060361 | -0.015198 | 0.00011948 | 7.5967e-05 | 0.090565 | 0.090565 | 0.090565 | 0.99417 | -0.11168 | 0.99202 | -0.153 | 24.8805
35 | -0.06432 | -0.016237 | 0.064417 | 0.016298 | 9.6777e-05 | 6.1576e-05 | 0.096313 | 0.096313 | 0.096313 | 0.99417 | -0.11168 | 0.9958 | -0.080325 | 26.4595
36 | -0.017027 | -0.0042727 | 0.017035 | 0.0042772 | 7.6185e-06 | 4.4778e-06 | 0.025609 | 0.025609 | 0.025609 | 0.98942 | -0.20327 | 0.98991 | -0.19389 | 7.0356
37 | 0.051587 | 0.012999 | -0.051488 | -0.012937 | 9.8684e-05 | 6.2592e-05 | 0.077404 | 0.077404 | 0.077404 | 0.99202 | -0.153 | 0.98995 | -0.19307 | 21.265
38 | 0.015859 | 0.0039764 | -0.015857 | -0.0039749 | 2.7495e-06 | 1.5899e-06 | 0.023699 | 0.023699 | 0.023699 | 0.9958 | -0.080325 | 0.99561 | -0.083964 | 6.5107
39 | -0.080277 | -0.020275 | 0.080407 | 0.020358 | 0.00013048 | 8.3195e-05 | 0.12001 | 0.12001 | 0.12001 | 0.9958 | -0.080325 | 0.99757 | -0.046466 | 32.9702
40 | 0.026972 | 0.006774 | -0.026969 | -0.0067721 | 3.0036e-06 | 1.8599e-06 | 0.040586 | 0.040586 | 0.040586 | 0.989 | -0.21155 | 0.98888 | -0.21388 | 11.15
41 | -0.028847 | -0.0072439 | 0.028853 | 0.0072475 | 5.8256e-06 | 3.6225e-06 | 0.043407 | 0.043407 | 0.043407 | 0.989 | -0.21155 | 0.98922 | -0.20732 | 11.9251
42 | 0.02483 | 0.0062362 | -0.024821 | -0.0062305 | 9.21e-06 | 5.6688e-06 | 0.037368 | 0.037368 | 0.037368 | 0.98888 | -0.21388 | 0.98848 | -0.22166 | 10.266
43 | -0.031517 | -0.0079153 | 0.031539 | 0.0079287 | 2.1436e-05 | 1.3392e-05 | 0.047415 | 0.047415 | 0.047415 | 0.98922 | -0.20732 | 0.98995 | -0.19307 | 13.0261
44 | 0.024821 | 0.0062305 | -0.024809 | -0.0062229 | 1.2313e-05 | 7.5788e-06 | 0.037368 | 0.037368 | 0.037368 | 0.98848 | -0.22166 | 0.98794 | -0.23206 | 10.2661
45 | 0.01995 | 0.005008 | -0.019949 | -0.0050075 | 7.7821e-07 | 4.6839e-07 | 0.02999 | 0.02999 | 0.02999 | 0.98995 | -0.19307 | 0.98991 | -0.19389 | 8.2389
46 | 0.016233 | 0.0040736 | -0.016224 | -0.0040685 | 8.6528e-06 | 5.0439e-06 | 0.024452 | 0.024452 | 0.024452 | 0.98794 | -0.23206 | 0.98737 | -0.24325 | 6.7176
47 | 0.0085758 | 0.0021493 | -0.0085747 | -0.0021489 | 1.0695e-06 | 4.6564e-07 | 0.012917 | 0.012917 | 0.012917 | 0.98794 | -0.23206 | 0.98781 | -0.23468 | 3.5486
48 | 0.014203 | 0.0035619 | -0.014199 | -0.0035594 | 4.3186e-06 | 2.4425e-06 | 0.021405 | 0.021405 | 0.021405 | 0.98737 | -0.24325 | 0.98704 | -0.24963 | 5.8806
49 | 0.0077702 | 0.0019472 | -0.0077702 | -0.0019472 | 1.3539e-08 | 5.292e-09 | 0.011705 | 0.011705 | 0.011705 | 0.98781 | -0.23468 | 0.9878 | -0.23472 | 3.2156
50 | -0.021102 | -0.0052921 | 0.021116 | 0.0053005 | 1.3828e-05 | 8.3671e-06 | 0.031533 | 0.031533 | 0.031533 | 0.99583 | -0.080156 | 0.99654 | -0.066416 | 8.663
51 | 0.021102 | 0.0052921 | -0.021094 | -0.0052874 | 7.8017e-06 | 4.721e-06 | 0.031533 | 0.031533 | 0.031533 | 0.99583 | -0.080156 | 0.99543 | -0.087915 | 8.663
52 | -0.021116 | -0.0053005 | 0.021135 | 0.005312 | 1.9032e-05 | 1.1515e-05 | 0.031533 | 0.031533 | 0.031533 | 0.99654 | -0.066416 | 0.99752 | -0.047538 | 8.6629
53 | 0.010668 | 0.0026743 | -0.010666 | -0.0026731 | 2.4091e-06 | 1.2135e-06 | 0.015947 | 0.015948 | 0.015948 | 0.99543 | -0.087915 | 0.99518 | -0.092656 | 4.3812
54 | -0.018972 | -0.0047565 | 0.018972 | 0.0047568 | 5.4591e-07 | 3.2597e-07 | 0.028397 | 0.028397 | 0.028397 | 0.99413 | -0.1127 | 0.99416 | -0.1121 | 7.8015
55 | -0.020912 | -0.005243 | 0.020914 | 0.0052442 | 1.9424e-06 | 1.1746e-06 | 0.031301 | 0.031301 | 0.031301 | 0.99416 | -0.1121 | 0.99426 | -0.11015 | 8.5992
56 | -0.022982 | -0.0057625 | 0.022987 | 0.0057655 | 4.9567e-06 | 3.0274e-06 | 0.034396 | 0.034396 | 0.034396 | 0.99426 | -0.11015 | 0.99449 | -0.10562 | 9.4495
57 | -0.025041 | -0.0062804 | 0.02505 | 0.0062858 | 8.8448e-06 | 5.4426e-06 | 0.03747 | 0.03747 | 0.03747 | 0.99449 | -0.10562 | 0.99488 | -0.098215 | 10.2939
58 | -0.068481 | -0.017201 | 0.068626 | 0.017294 | 0.0001449 | 9.2257e-05 | 0.10244 | 0.10244 | 0.10244 | 0.99488 | -0.098215 | 0.99718 | -0.053977 | 28.1426
59 | -0.071077 | -0.017908 | 0.071103 | 0.017924 | 2.5545e-05 | 1.627e-05 | 0.1061 | 0.1061 | 0.1061 | 0.99718 | -0.053977 | 0.99757 | -0.046466 | 29.1475
60 | -0.010008 | -0.002508 | 0.010009 | 0.0025083 | 7.6308e-07 | 3.7024e-07 | 0.014962 | 0.014962 | 0.014962 | 0.99528 | -0.090369 | 0.99536 | -0.088768 | 4.1106
61 | -0.011104 | -0.0027828 | 0.011105 | 0.0027832 | 6.2102e-07 | 3.1933e-07 | 0.0166 | 0.0166 | 0.0166 | 0.99536 | -0.088768 | 0.99542 | -0.087594 | 4.5604
62 | -0.011187 | -0.0028038 | 0.011189 | 0.0028049 | 2.2658e-06 | 1.1661e-06 | 0.016677 | 0.016677 | 0.016677 | 0.9982 | -0.03448 | 0.99842 | -0.03023 | 4.5815
63 | 0.027575 | 0.0069343 | -0.027552 | -0.0069202 | 2.2776e-05 | 1.4107e-05 | 0.041105 | 0.041105 | 0.041105 | 0.99842 | -0.03023 | 0.99752 | -0.047538 | 11.2926
64 | -0.038764 | -0.0097393 | 0.03882 | 0.0097745 | 5.6017e-05 | 3.5265e-05 | 0.057781 | 0.057781 | 0.057781 | 0.99842 | -0.03023 | 1 | 0 | 15.874
65 | 0.15185 | 0.038498 | -0.15151 | -0.038282 | 0.0003383 | 0.00021559 | 0.22611 | 0.22611 | 0.22611 | 1 | 0 | 0.99757 | -0.046466 | 31.0588
66 | 0.014049 | 0.0035219 | -0.014047 | -0.0035208 | 2.0347e-06 | 1.1422e-06 | 0.020998 | 0.020998 | 0.020998 | 0.99561 | -0.083964 | 0.99545 | -0.087004 | 5.7687
67 | 0.012946 | 0.0032447 | -0.012945 | -0.0032445 | 3.6426e-07 | 1.994e-07 | 0.019351 | 0.019351 | 0.019351 | 0.99545 | -0.087004 | 0.99542 | -0.087594 | 5.3163
68 | 0.0052494 | 0.0013155 | -0.0052494 | -0.0013155 | 6.9651e-08 | 6.5533e-09 | 0.0079076 | 0.0079076 | 0.0079076 | 0.9878 | -0.23472 | 0.98779 | -0.235 | 2.1724
69 | 0.0016048 | 0.00040204 | -0.0016047 | -0.00040219 | 2.7311e-08 | -1.4205e-07 | 0.0024174 | 0.0024174 | 0.0024174 | 0.98779 | -0.235 | 0.98777 | -0.23535 | 0.66413
70 | 0.003138 | 0.00078624 | -0.0031379 | -0.00078632 | 8.9781e-08 | -7.9271e-08 | 0.0047307 | 0.0047307 | 0.0047307 | 0.98704 | -0.24963 | 0.98701 | -0.25023 | 1.2996
71 | 0.0031379 | 0.00078632 | -0.0031378 | -0.00078641 | 1.0423e-07 | -9.2012e-08 | 0.0047307 | 0.0047308 | 0.0047308 | 0.98701 | -0.25023 | 0.98697 | -0.25093 | 1.2997

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.20165 | 0.050611

## res_load
| p_mw | q_mvar
0 | 0.0034448 | 0.00086334
1 | 0.0075074 | 0.0018815
2 | 0.0080642 | 0.0020211
3 | 0.0075029 | 0.0018804
4 | 0.0076717 | 0.0019227
5 | 0.0025036 | 0.00062747
6 | 0.0066494 | 0.0016665
7 | 0.0018946 | 0.00047483
8 | 0.0021275 | 0.0005332
9 | 0.0024753 | 0.00062037
10 | 0.0024117 | 0.00060442
11 | 0.0015238 | 0.00038189
12 | 0.0015174 | 0.0003803
13 | 0.0022978 | 0.00057589
14 | 0.0015218 | 0.00038139
15 | 0.0015025 | 0.00037656
16 | 0.0035054 | 0.00087854
17 | 0.0028959 | 0.00072578
18 | 0.0022013 | 0.0005517
19 | 0.0024525 | 0.00061466
20 | 0.0025158 | 0.00063051
21 | 0.0010642 | 0.00026671
22 | 0.0013462 | 0.00033738
23 | 0.0023731 | 0.00059476
24 | 0.00099138 | 0.00024846
25 | 0.0023249 | 0.00058266
26 | 0.0023955 | 0.00060036
27 | 0.004491 | 0.0011256
28 | 0.0050545 | 0.0012668
29 | 0.0010801 | 0.00027069
30 | 0.0038401 | 0.00096242
31 | 0.0016625 | 0.00041667
32 | 0.0087739 | 0.002199
33 | 0.0018752 | 0.00046996
34 | 0.0021384 | 0.00053594
35 | 0.0026643 | 0.00066773
36 | 0.002914 | 0.00073032
37 | 0.0020216 | 0.00050666
38 | 0.00080448 | 0.00020162
39 | 0.010426 | 0.0026131
40 | 0.0016917 | 0.00042398
41 | 0.0019401 | 0.00048623
42 | 0.002068 | 0.00051829
43 | 0.0020544 | 0.00051487
44 | 0.0024514 | 0.00061437
45 | 0.0017155 | 0.00042994
46 | 0.0010953 | 0.00027451
47 | 0.011187 | 0.0028038
48 | 0.0064169 | 0.0016082
49 | 0.0093328 | 0.002339
50 | 0.0018073 | 0.00045295
51 | 0.0011016 | 0.00027608
52 | 0.0025208 | 0.00063177
53 | 0.0036446 | 0.00091342
54 | 0.0016047 | 0.00040219
55 | 0.0031378 | 0.00078641
56 | 0.010666 | 0.0026731
57 | 0.0018407 | 0.00046131

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1