## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2500-7_1_3_node_2 | 0.4 | n |  | TRUE
1 | bus_LV_2500-7_1_3_node_4 | 0.4 | n |  | TRUE
2 | bus_LV_2500-7_1_3_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_2500-7_1_3_node_98 | 0.4 | n |  | TRUE
4 | bus_LV_2500-7_1_3_node_125 | 0.4 | n |  | TRUE
5 | bus_LV_2500-7_1_3_node_59 | 0.4 | n |  | TRUE
6 | bus_LV_2500-7_1_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_2500-7_1_3_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_2500-7_1_3_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_2500-7_1_3_node_87 | 0.4 | n |  | TRUE
10 | bus_LV_2500-7_1_3_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_2500-7_1_3_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_2500-7_1_3_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_2500-7_1_3_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_2500-7_1_3_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_2500-7_1_3_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_2500-7_1_3_node_66 | 0.4 | n |  | TRUE
17 | bus_LV_2500-7_1_3_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_2500-7_1_3_node_84 | 0.4 | n |  | TRUE
19 | bus_LV_2500-7_1_3_node_81 | 0.4 | n |  | TRUE
20 | bus_LV_2500-7_1_3_node_149 | 0.4 | n |  | TRUE
21 | bus_LV_2500-7_1_3_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_2500-7_1_3_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_2500-7_1_3_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_2500-7_1_3_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_2500-7_1_3_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_2500-7_1_3_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_2500-7_1_3_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_2500-7_1_3_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_2500-7_1_3_node_100 | 0.4 | n |  | TRUE
30 | bus_LV_2500-7_1_3_node_88 | 0.4 | n |  | TRUE
31 | bus_LV_2500-7_1_3_node_74 | 0.4 | n |  | TRUE
32 | bus_LV_2500-7_1_3_node_147 | 0.4 | n |  | TRUE
33 | bus_LV_2500-7_1_3_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_2500-7_1_3_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_2500-7_1_3_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_2500-7_1_3_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_2500-7_1_3_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_2500-7_1_3_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_2500-7_1_3_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_2500-7_1_3_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_2500-7_1_3_node_60 | 0.4 | n |  | TRUE
42 | bus_LV_2500-7_1_3_node_157 | 0.4 | n |  | TRUE
43 | bus_LV_2500-7_1_3_node_150 | 0.4 | n |  | TRUE
44 | bus_LV_2500-7_1_3_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_2500-7_1_3_node_63 | 0.4 | n |  | TRUE
46 | bus_LV_2500-7_1_3_node_108 | 0.4 | n |  | TRUE
47 | bus_LV_2500-7_1_3_node_94 | 0.4 | n |  | TRUE
48 | bus_LV_2500-7_1_3_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_2500-7_1_3_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_2500-7_1_3_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_2500-7_1_3_node_124 | 0.4 | n |  | TRUE
52 | bus_LV_2500-7_1_3_node_75 | 0.4 | n |  | TRUE
53 | bus_LV_2500-7_1_3_node_82 | 0.4 | n |  | TRUE
54 | bus_LV_2500-7_1_3_node_83 | 0.4 | n |  | TRUE
55 | bus_LV_2500-7_1_3_node_126 | 0.4 | n |  | TRUE
56 | bus_LV_2500-7_1_3_node_132 | 0.4 | n |  | TRUE
57 | bus_LV_2500-7_1_3_node_85 | 0.4 | n |  | TRUE
58 | bus_LV_2500-7_1_3_node_86 | 0.4 | n |  | TRUE
59 | bus_LV_2500-7_1_3_node_89 | 0.4 | n |  | TRUE
60 | bus_LV_2500-7_1_3_node_145 | 0.4 | n |  | TRUE
61 | bus_LV_2500-7_1_3_node_90 | 0.4 | n |  | TRUE
62 | bus_LV_2500-7_1_3_node_91 | 0.4 | n |  | TRUE
63 | bus_LV_2500-7_1_3_node_92 | 0.4 | n |  | TRUE
64 | bus_LV_2500-7_1_3_node_155 | 0.4 | n |  | TRUE
65 | bus_LV_2500-7_1_3_node_99 | 0.4 | n |  | TRUE
66 | bus_LV_2500-7_1_3_node_107 | 0.4 | n |  | TRUE
67 | bus_LV_2500-7_1_3_node_109 | 0.4 | n |  | TRUE
68 | bus_LV_2500-7_1_3_node_110 | 0.4 | n |  | TRUE
69 | bus_LV_2500-7_1_3_node_136 | 0.4 | n |  | TRUE
70 | bus_LV_2500-7_1_3_node_137 | 0.4 | n |  | TRUE
71 | bus_LV_2500-7_1_3_node_140 | 0.4 | n |  | TRUE
72 | bus_LV_2500-7_1_3_node_139 | 0.4 | n |  | TRUE
73 | bus_LV_2500-7_1_3_node_141 | 0.4 | n |  | TRUE
74 | bus_LV_2500-7_1_3_node_143 | 0.4 | n |  | TRUE
75 | bus_LV_2500-7_1_3_node_151 | 0.4 | n |  | TRUE
76 | bus_LV_2500-7_1_3_node_144 | 0.4 | n |  | TRUE
77 | bus_MV_290_0_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2500-7_1_3_load_4 | 1 | 0.0034614 | 0.00086751 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2500-7_1_3_load_98 | 3 | 0.0053555 | 0.0013422 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2500-7_1_3_load_125 | 4 | 0.0041916 | 0.0010505 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2500-7_1_3_load_59 | 5 | 0.038366 | 0.0096155 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2500-7_1_3_load_11 | 6 | 0.0041627 | 0.0010433 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2500-7_1_3_load_15 | 8 | 0.0022986 | 0.00057607 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2500-7_1_3_load_21 | 10 | 0.0077682 | 0.0019469 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2500-7_1_3_load_24 | 13 | 0.0025521 | 0.00063962 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2500-7_1_3_load_25 | 14 | 0.0010348 | 0.00025933 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2500-7_1_3_load_66 | 16 | 0.0066347 | 0.0016628 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2500-7_1_3_load_84 | 18 | 0.0021215 | 0.00053169 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2500-7_1_3_load_81 | 19 | 0.0018611 | 0.00046643 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2500-7_1_3_load_149 | 20 | 0.0030623 | 0.00076748 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2500-7_1_3_load_28 | 21 | 0.00072633 | 0.00018204 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2500-7_1_3_load_29 | 22 | 0.0010466 | 0.00026229 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2500-7_1_3_load_32 | 25 | 0.0030145 | 0.00075551 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2500-7_1_3_load_33 | 26 | 0.0041898 | 0.0010501 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2500-7_1_3_load_34 | 27 | 0.0011895 | 0.00029813 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2500-7_1_3_load_35 | 28 | 0.0018295 | 0.00045851 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2500-7_1_3_load_100 | 29 | 0.0011688 | 0.00029293 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2500-7_1_3_load_88 | 30 | 0.00072953 | 0.00018284 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2500-7_1_3_load_74 | 31 | 0.0010741 | 0.00026919 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2500-7_1_3_load_147 | 32 | 0.0016129 | 0.00040423 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2500-7_1_3_load_36 | 33 | 0.0010308 | 0.00025835 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2500-7_1_3_load_37 | 34 | 0.0012131 | 0.00030404 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2500-7_1_3_load_38 | 35 | 0.004054 | 0.001016 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2500-7_1_3_load_39 | 36 | 0.0031616 | 0.00079238 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2500-7_1_3_load_40 | 37 | 0.0010375 | 0.00026001 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2500-7_1_3_load_57 | 39 | 0.01811 | 0.0045388 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2500-7_1_3_load_60 | 41 | 0.0013085 | 0.00032795 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2500-7_1_3_load_157 | 42 | 0.0011773 | 0.00029506 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2500-7_1_3_load_62 | 44 | 0.0010438 | 0.0002616 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2500-7_1_3_load_63 | 45 | 0.0020561 | 0.00051532 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2500-7_1_3_load_108 | 46 | 0.0019447 | 0.00048738 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2500-7_1_3_load_94 | 47 | 0.001946 | 0.00048771 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2500-7_1_3_load_64 | 48 | 0.0010395 | 0.00026053 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2500-7_1_3_load_65 | 49 | 0.0024872 | 0.00062336 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2500-7_1_3_load_67 | 50 | 0.0014336 | 0.0003593 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2500-7_1_3_load_124 | 51 | 0.0010385 | 0.00026026 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2500-7_1_3_load_75 | 52 | 0.010437 | 0.0026159 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2500-7_1_3_load_82 | 53 | 0.0023036 | 0.00057734 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2500-7_1_3_load_83 | 54 | 0.003724 | 0.00093333 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2500-7_1_3_load_132 | 56 | 0.0020559 | 0.00051526 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2500-7_1_3_load_85 | 57 | 0.0029892 | 0.00074917 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2500-7_1_3_load_86 | 58 | 0.0046932 | 0.0011762 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2500-7_1_3_load_145 | 60 | 0.0040899 | 0.001025 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2500-7_1_3_load_90 | 61 | 0.0021209 | 0.00053155 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2500-7_1_3_load_91 | 62 | 0.0018097 | 0.00045356 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2500-7_1_3_load_92 | 63 | 0.0025466 | 0.00063824 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2500-7_1_3_load_155 | 64 | 0.0086307 | 0.0021631 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2500-7_1_3_load_99 | 65 | 0.0038764 | 0.00097153 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2500-7_1_3_load_107 | 66 | 0.0022575 | 0.00056578 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2500-7_1_3_load_109 | 67 | 0.0022382 | 0.00056094 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2500-7_1_3_load_136 | 69 | 0.018292 | 0.0045844 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2500-7_1_3_load_139 | 72 | 0.00076291 | 0.0001912 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2500-7_1_3_load_151 | 75 | 0.0006463 | 0.00016198 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2500-7_1_3_load_144 | 76 | 0.0011836 | 0.00029664 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2500-7_1_3_line_0 |  | 0 | 1 | 0.028117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2500-7_1_3_line_1 |  | 0 | 2 | 0.04424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2500-7_1_3_line_2 |  | 1 | 3 | 0.0041277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2500-7_1_3_line_3 |  | 2 | 4 | 0.025339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_2500-7_1_3_line_4 |  | 2 | 5 | 0.056439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_2500-7_1_3_line_5 |  | 3 | 65 | 0.060289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2500-7_1_3_line_6 |  | 4 | 69 | 0.078595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2500-7_1_3_line_7 |  | 6 | 7 | 0.017648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2500-7_1_3_line_8 |  | 7 | 8 | 0.003773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2500-7_1_3_line_9 |  | 8 | 9 | 0.02067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2500-7_1_3_line_10 |  | 9 | 59 | 0.016872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2500-7_1_3_line_11 |  | 9 | 57 | 0.060965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2500-7_1_3_line_12 |  | 10 | 11 | 0.021555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_2500-7_1_3_line_13 |  | 10 | 12 | 0.0097791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2500-7_1_3_line_14 |  | 11 | 13 | 0.018632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2500-7_1_3_line_15 |  | 11 | 14 | 0.015398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_2500-7_1_3_line_16 |  | 12 | 15 | 0.015614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_2500-7_1_3_line_17 |  | 14 | 16 | 0.0014476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2500-7_1_3_line_18 |  | 15 | 20 | 0.079828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2500-7_1_3_line_19 |  | 16 | 48 | 0.0050847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2500-7_1_3_line_20 |  | 17 | 18 | 0.0084863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2500-7_1_3_line_21 |  | 17 | 19 | 0.006148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2500-7_1_3_line_22 |  | 18 | 56 | 0.020956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2500-7_1_3_line_23 |  | 19 | 53 | 0.0064715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2500-7_1_3_line_24 |  | 20 | 43 | 0.097619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2500-7_1_3_line_25 |  | 21 | 22 | 0.0022436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2500-7_1_3_line_26 |  | 21 | 23 | 0.011818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2500-7_1_3_line_27 |  | 22 | 24 | 0.01082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2500-7_1_3_line_28 |  | 23 | 25 | 0.012555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2500-7_1_3_line_29 |  | 23 | 26 | 0.011447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2500-7_1_3_line_30 |  | 24 | 27 | 0.010056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2500-7_1_3_line_31 |  | 24 | 28 | 0.0079845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2500-7_1_3_line_32 |  | 25 | 29 | 0.0031792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2500-7_1_3_line_33 |  | 26 | 30 | 0.0080828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2500-7_1_3_line_34 |  | 27 | 31 | 0.0069014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2500-7_1_3_line_35 |  | 28 | 32 | 0.0081435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2500-7_1_3_line_36 |  | 30 | 58 | 0.024625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2500-7_1_3_line_37 |  | 31 | 52 | 0.0074133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2500-7_1_3_line_38 |  | 32 | 76 | 0.015427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2500-7_1_3_line_39 |  | 33 | 34 | 0.017293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_2500-7_1_3_line_40 |  | 33 | 35 | 0.0040826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_2500-7_1_3_line_41 |  | 34 | 36 | 1.5932e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_2500-7_1_3_line_42 |  | 35 | 37 | 0.0024429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_2500-7_1_3_line_43 |  | 36 | 38 | 0.01758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_2500-7_1_3_line_44 |  | 38 | 44 | 0.012581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2500-7_1_3_line_45 |  | 38 | 45 | 0.0038723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2500-7_1_3_line_46 |  | 39 | 40 | 0.057559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2500-7_1_3_line_47 |  | 40 | 41 | 0.083641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_2500-7_1_3_line_48 |  | 40 | 42 | 0.047656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_2500-7_1_3_line_49 |  | 41 | 43 | 0.058059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_2500-7_1_3_line_50 |  | 42 | 74 | 0.0654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_2500-7_1_3_line_51 |  | 44 | 46 | 0.0028446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2500-7_1_3_line_52 |  | 45 | 47 | 0.018207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2500-7_1_3_line_53 |  | 46 | 66 | 0.019597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_2500-7_1_3_line_54 |  | 47 | 63 | 0.0091864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2500-7_1_3_line_55 |  | 48 | 49 | 0.016278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_2500-7_1_3_line_56 |  | 49 | 50 | 0.00068106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_2500-7_1_3_line_57 |  | 50 | 51 | 0.0083011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_2500-7_1_3_line_58 |  | 51 | 68 | 0.015104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_2500-7_1_3_line_59 |  | 53 | 54 | 0.010996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2500-7_1_3_line_60 |  | 54 | 55 | 0.0074548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2500-7_1_3_line_61 |  | 55 | 59 | 0.014897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2500-7_1_3_line_62 |  | 56 | 68 | 0.016363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2500-7_1_3_line_63 |  | 57 | 58 | 0.034527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2500-7_1_3_line_64 |  | 59 | 60 | 0.0031989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2500-7_1_3_line_65 |  | 61 | 62 | 0.0057084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2500-7_1_3_line_66 |  | 61 | 63 | 0.0089487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2500-7_1_3_line_67 |  | 62 | 64 | 0.038395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2500-7_1_3_line_68 |  | 66 | 67 | 0.001079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_2500-7_1_3_line_69 |  | 67 | 68 | 0.0053296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_2500-7_1_3_line_70 |  | 69 | 70 | 0.056728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_2500-7_1_3_line_71 |  | 70 | 71 | 0.036813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_2500-7_1_3_line_72 |  | 71 | 72 | 0.057567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_2500-7_1_3_line_73 |  | 72 | 73 | 0.038674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_2500-7_1_3_line_74 |  | 73 | 74 | 0.00872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_2500-7_1_3_line_75 |  | 74 | 75 | 0.020389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2500-7_1_3_trafo_40 | 0.63 MVA 20/0.4 kV | 77 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2634199.5859 | 1246255.2625 | 2634211.7928 | 1246280.5912
1 | 2634157.0754 | 1246267.9372 | 2634199.5859 | 1246255.2625
2 | 2634213.5848 | 1246284.3095 | 2634211.7928 | 1246280.5912
3 | 2634157.0754 | 1246267.9372 | 2634157.9032 | 1246271.0996 | 2634158.9029 | 1246275.8974 | 2634159.5982 | 1246282.4056 | 2634158.8029 | 1246286.7039 | 2634157.0026 | 1246292.6915
4 | 2634157.0754 | 1246267.9372 | 2634128.5274 | 1246274.8554 | 2634102.2228 | 1246281.2263
5 | 2634213.5848 | 1246284.3095 | 2634230.7726 | 1246319.9733 | 2634234.5911 | 1246325.8547 | 2634240.251 | 1246328.111 | 2634247.5438 | 1246325.9928
6 | 2634157.0026 | 1246292.6915 | 2634157.0009 | 1246292.6974 | 2634149.9036 | 1246306.5656 | 2634138.9979 | 1246324.6036 | 2634134.0038 | 1246336.6049 | 2634126.5021 | 1246351.2047 | 2634122.6039 | 1246363.1011
7 | 2634067.3232 | 1246041.1517 | 2634079.444 | 1246031.2482 | 2634080.922 | 1246029.9065
8 | 2634067.3232 | 1246041.1517 | 2634069.7778 | 1246044.0172
9 | 2634083.6566 | 1246059.3239 | 2634076.3203 | 1246051.6546 | 2634069.7778 | 1246044.0172
10 | 2634095.0141 | 1246071.8306 | 2634089.8047 | 1246066.0747 | 2634084.8128 | 1246060.5647 | 2634083.6566 | 1246059.3239
11 | 2634083.6566 | 1246059.3239 | 2634074.3217 | 1246062.9283 | 2634061.6119 | 1246067.5473 | 2634056.2229 | 1246069.3842 | 2634051.306 | 1246070.5457 | 2634046.1514 | 1246071.0276 | 2634039.6857 | 1246070.9126 | 2634031.2959 | 1246070.4309 | 2634024.7099 | 1246069.5723
12 | 2634036.8905 | 1246161.8447 | 2634029.6487 | 1246141.5425
13 | 2634026.3633 | 1246132.3319 | 2634029.6487 | 1246141.5425
14 | 2634036.8905 | 1246161.8447 | 2634043.0968 | 1246179.4122
15 | 2634036.8905 | 1246161.8447 | 2634051.0638 | 1246155.8281
16 | 2634020.3649 | 1246117.9103 | 2634026.3633 | 1246132.3319
17 | 2634051.0638 | 1246155.8281 | 2634052.3964 | 1246155.2624
18 | 2634020.3649 | 1246117.9103 | 2634008.197 | 1246125.5456 | 2633979.5046 | 1246143.0928 | 2633952.4107 | 1246159.7985
19 | 2634057.0768 | 1246153.2755 | 2634052.3964 | 1246155.2624
20 | 2634070.3422 | 1246107.4122 | 2634075.5248 | 1246114.1321
21 | 2634070.3422 | 1246107.4122 | 2634072.0435 | 1246105.8098 | 2634074.5344 | 1246102.9257
22 | 2634075.5248 | 1246114.1321 | 2634088.3227 | 1246130.7264
23 | 2634074.5344 | 1246102.9257 | 2634075.3591 | 1246101.9708 | 2634078.0649 | 1246097.7725 | 2634078.1484 | 1246097.5743
24 | 2633869.2973 | 1246210.9741 | 2633892.9614 | 1246196.8221 | 2633917.0424 | 1246181.1161 | 2633949.3105 | 1246161.71 | 2633952.4107 | 1246159.7985
25 | 2633954.605 | 1246093.2053 | 2633955.6692 | 1246095.1804
26 | 2633948.999 | 1246082.8013 | 2633954.605 | 1246093.2053
27 | 2633960.8015 | 1246104.7053 | 2633955.6692 | 1246095.1804
28 | 2633948.999 | 1246082.8013 | 2633937.8009 | 1246088.4785
29 | 2633948.999 | 1246082.8013 | 2633959.2358 | 1246077.6785
30 | 2633960.8015 | 1246104.7053 | 2633969.7951 | 1246100.2056
31 | 2633960.8015 | 1246104.7053 | 2633953.6584 | 1246108.273
32 | 2633937.8009 | 1246088.4785 | 2633935.597 | 1246089.5958 | 2633934.9678 | 1246089.9211
33 | 2633966.8128 | 1246074.8982 | 2633960.5974 | 1246076.9972 | 2633959.2358 | 1246077.6785
34 | 2633969.7951 | 1246100.2056 | 2633975.9671 | 1246097.1176
35 | 2633946.3731 | 1246111.9119 | 2633953.6584 | 1246108.273
36 | 2633990.3453 | 1246067.7724 | 2633990.3453 | 1246067.7724 | 2633983.652 | 1246069.1684 | 2633975.2959 | 1246072.0335 | 2633966.8128 | 1246074.8982
37 | 2633982.5969 | 1246093.8006 | 2633975.9671 | 1246097.1176
38 | 2633946.3731 | 1246111.9119 | 2633944.8017 | 1246112.6968 | 2633932.445 | 1246118.5441
39 | 2634092.1047 | 1246192.4941 | 2634076.5788 | 1246200.1102
40 | 2634072.9135 | 1246201.9082 | 2634076.5788 | 1246200.1102
41 | 2634092.119 | 1246192.4871 | 2634092.1047 | 1246192.4941
42 | 2634070.7203 | 1246202.9841 | 2634072.9135 | 1246201.9082
43 | 2634107.9021 | 1246184.7448 | 2634092.119 | 1246192.4871
44 | 2634107.9021 | 1246184.7448 | 2634103.851 | 1246172.8344
45 | 2634107.9021 | 1246184.7448 | 2634111.4054 | 1246183.0952
46 | 2633937.6505 | 1246313.0531 | 2633994.323 | 1246302.9916
47 | 2633923.9588 | 1246230.5433 | 2633928.3621 | 1246257.0747 | 2633937.6505 | 1246313.0531
48 | 2633937.6505 | 1246313.0531 | 2633963.5955 | 1246353.0275
49 | 2633869.2973 | 1246210.9741 | 2633923.9588 | 1246230.5433
50 | 2634004.2735 | 1246404.2381 | 2633963.5955 | 1246353.0275
51 | 2634103.851 | 1246172.8344 | 2634102.935 | 1246170.1413
52 | 2634111.4054 | 1246183.0952 | 2634127.8778 | 1246175.3388
53 | 2634096.6243 | 1246151.5878 | 2634102.935 | 1246170.1413
54 | 2634136.1889 | 1246171.4252 | 2634127.8778 | 1246175.3388
55 | 2634057.0768 | 1246153.2755 | 2634065.8853 | 1246149.5363 | 2634072.2694 | 1246147.4737
56 | 2634072.9175 | 1246147.2643 | 2634072.2694 | 1246147.4737
57 | 2634072.9175 | 1246147.2643 | 2634079.5455 | 1246145.1229 | 2634080.8319 | 1246144.7634
58 | 2634094.5606 | 1246145.5205 | 2634093.4067 | 1246143.8794 | 2634091.4936 | 1246142.9123 | 2634089.3121 | 1246142.6218 | 2634086.7561 | 1246143.1074 | 2634080.8319 | 1246144.7634
59 | 2634081.6882 | 1246087.1858 | 2634080.0178 | 1246093.1362 | 2634078.1484 | 1246097.5743
60 | 2634082.3684 | 1246079.7632 | 2634081.7067 | 1246087.1197 | 2634081.6882 | 1246087.1858
61 | 2634082.3684 | 1246079.7632 | 2634095.0141 | 1246071.8306
62 | 2634094.5606 | 1246145.5205 | 2634091.952 | 1246135.4322 | 2634088.3227 | 1246130.7264
63 | 2633990.3453 | 1246067.7724 | 2633997.495 | 1246067.1685 | 2634003.3413 | 1246067.2687 | 2634009.7979 | 1246067.6282 | 2634024.7099 | 1246069.5723
64 | 2634095.0141 | 1246071.8306 | 2634097.7485 | 1246070.1705
65 | 2634144.285 | 1246167.613 | 2634149.4495 | 1246165.1811
66 | 2634136.1889 | 1246171.4252 | 2634144.285 | 1246167.613
67 | 2634149.4495 | 1246165.1811 | 2634147.0821 | 1246126.8591
68 | 2634096.6243 | 1246151.5878 | 2634096.2768 | 1246150.5662
69 | 2634094.5606 | 1246145.5205 | 2634096.2768 | 1246150.5662
70 | 2634121.4023 | 1246419.6978 | 2634120.5999 | 1246391.0968 | 2634120.7042 | 1246378.2001 | 2634121.7043 | 1246369.8003 | 2634122.6039 | 1246363.1011
71 | 2634092.2962 | 1246439.7659 | 2634108.5993 | 1246432.7772 | 2634119.3607 | 1246425.3231 | 2634121.4023 | 1246419.6978
72 | 2634092.2962 | 1246439.7659 | 2634073.2558 | 1246438.0556 | 2634053.3226 | 1246436.5958 | 2634040.3248 | 1246434.9313 | 2634035.3012 | 1246433.065
73 | 2634002.8872 | 1246412.8469 | 2634013.5874 | 1246417.3778 | 2634022.965 | 1246424.6696 | 2634030.1114 | 1246431.137 | 2634035.3012 | 1246433.065
74 | 2634004.2735 | 1246404.2381 | 2634002.8872 | 1246412.8469
75 | 2634004.2735 | 1246404.2381 | 2634016.7334 | 1246406.1996 | 2634024.4377 | 1246407.2475

## bus_geodata
| x | y | coords
0 | 2634199.5859 | 1246255.2625
1 | 2634211.7928 | 1246280.5912
2 | 2634157.0754 | 1246267.9372
3 | 2634213.5848 | 1246284.3095
4 | 2634157.0026 | 1246292.6915
5 | 2634102.2228 | 1246281.2263
6 | 2634080.922 | 1246029.9065
7 | 2634067.3232 | 1246041.1517
8 | 2634069.7778 | 1246044.0172
9 | 2634083.6566 | 1246059.3239
10 | 2634029.6487 | 1246141.5425
11 | 2634036.8905 | 1246161.8447
12 | 2634026.3633 | 1246132.3319
13 | 2634043.0968 | 1246179.4122
14 | 2634051.0638 | 1246155.8281
15 | 2634020.3649 | 1246117.9103
16 | 2634052.3964 | 1246155.2624
17 | 2634070.3422 | 1246107.4122
18 | 2634075.5248 | 1246114.1321
19 | 2634074.5344 | 1246102.9257
20 | 2633952.4107 | 1246159.7985
21 | 2633954.605 | 1246093.2053
22 | 2633955.6692 | 1246095.1804
23 | 2633948.999 | 1246082.8013
24 | 2633960.8015 | 1246104.7053
25 | 2633937.8009 | 1246088.4785
26 | 2633959.2358 | 1246077.6785
27 | 2633969.7951 | 1246100.2056
28 | 2633953.6584 | 1246108.273
29 | 2633934.9678 | 1246089.9211
30 | 2633966.8128 | 1246074.8982
31 | 2633975.9671 | 1246097.1176
32 | 2633946.3731 | 1246111.9119
33 | 2634076.5788 | 1246200.1102
34 | 2634092.1047 | 1246192.4941
35 | 2634072.9135 | 1246201.9082
36 | 2634092.119 | 1246192.4871
37 | 2634070.7203 | 1246202.9841
38 | 2634107.9021 | 1246184.7448
39 | 2633994.323 | 1246302.9916
40 | 2633937.6505 | 1246313.0531
41 | 2633923.9588 | 1246230.5433
42 | 2633963.5955 | 1246353.0275
43 | 2633869.2973 | 1246210.9741
44 | 2634103.851 | 1246172.8344
45 | 2634111.4054 | 1246183.0952
46 | 2634102.935 | 1246170.1413
47 | 2634127.8778 | 1246175.3388
48 | 2634057.0768 | 1246153.2755
49 | 2634072.2694 | 1246147.4737
50 | 2634072.9175 | 1246147.2643
51 | 2634080.8319 | 1246144.7634
52 | 2633982.5969 | 1246093.8006
53 | 2634078.1484 | 1246097.5743
54 | 2634081.6882 | 1246087.1858
55 | 2634082.3684 | 1246079.7632
56 | 2634088.3227 | 1246130.7264
57 | 2634024.7099 | 1246069.5723
58 | 2633990.3453 | 1246067.7724
59 | 2634095.0141 | 1246071.8306
60 | 2634097.7485 | 1246070.1705
61 | 2634144.285 | 1246167.613
62 | 2634149.4495 | 1246165.1811
63 | 2634136.1889 | 1246171.4252
64 | 2634147.0821 | 1246126.8591
65 | 2634247.5438 | 1246325.9928
66 | 2634096.6243 | 1246151.5878
67 | 2634096.2768 | 1246150.5662
68 | 2634094.5606 | 1246145.5205
69 | 2634122.6039 | 1246363.1011
70 | 2634121.4023 | 1246419.6978
71 | 2634092.2962 | 1246439.7659
72 | 2634035.3012 | 1246433.065
73 | 2634002.8872 | 1246412.8469
74 | 2634004.2735 | 1246404.2381
75 | 2634024.4377 | 1246407.2475
76 | 2633932.445 | 1246118.5441
77 | 2634107.9021 | 1246184.7448

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97247 | -0.53072 | 0 | 0
1 | 0.97214 | -0.5373 | 0.0034614 | 0.00086751
2 | 0.97273 | -0.52554 | 0 | 0
3 | 0.9721 | -0.538 | 0.0053555 | 0.0013422
4 | 0.97313 | -0.5176 | 0.0041916 | 0.0010505
5 | 0.97172 | -0.54551 | 0.038366 | 0.0096155
6 | 0.98961 | -0.1987 | 0.0041627 | 0.0010433
7 | 0.98968 | -0.1974 | 0 | 0
8 | 0.98969 | -0.19712 | 0.0022986 | 0.00057607
9 | 0.98981 | -0.19474 | 0 | 0
10 | 0.99197 | -0.15243 | 0.0077682 | 0.0019469
11 | 0.99268 | -0.13889 | 0 | 0
12 | 0.99167 | -0.15813 | 0 | 0
13 | 0.99264 | -0.13973 | 0.0025521 | 0.00063962
14 | 0.9932 | -0.12899 | 0.0010348 | 0.00025933
15 | 0.9912 | -0.16723 | 0 | 0
16 | 0.99325 | -0.12806 | 0.0066347 | 0.0016628
17 | 0.99255 | -0.14191 | 0 | 0
18 | 0.99297 | -0.13375 | 0.0021215 | 0.00053169
19 | 0.99224 | -0.14782 | 0.0018611 | 0.00046643
20 | 0.98875 | -0.21394 | 0.0030623 | 0.00076748
21 | 0.98546 | -0.27931 | 0.00072633 | 0.00018204
22 | 0.98542 | -0.28005 | 0.0010466 | 0.00026229
23 | 0.98567 | -0.27526 | 0 | 0
24 | 0.98525 | -0.28342 | 0 | 0
25 | 0.98562 | -0.27621 | 0.0030145 | 0.00075551
26 | 0.98591 | -0.27048 | 0.0041898 | 0.0010501
27 | 0.98513 | -0.28571 | 0.0011895 | 0.00029813
28 | 0.98522 | -0.28408 | 0.0018295 | 0.00045851
29 | 0.98562 | -0.27627 | 0.0011688 | 0.00029293
30 | 0.98612 | -0.2665 | 0.00072953 | 0.00018284
31 | 0.98506 | -0.28714 | 0.0010741 | 0.00026919
32 | 0.9852 | -0.28449 | 0.0016129 | 0.00040423
33 | 0.99957 | -0.0081446 | 0.0010308 | 0.00025835
34 | 0.99844 | -0.029506 | 0.0012131 | 0.00030404
35 | 0.99984 | -0.0030842 | 0.004054 | 0.001016
36 | 0.99844 | -0.029525 | 0.0031616 | 0.00079238
37 | 1 | 0 | -0.22204 | -0.056449
38 | 0.99732 | -0.05084 | 0 | 0
39 | 0.98072 | -0.36911 | 0.01811 | 0.0045388
40 | 0.98169 | -0.35024 | 0 | 0
41 | 0.98413 | -0.30281 | 0.0013085 | 0.00032795
42 | 0.98056 | -0.37215 | 0.0011773 | 0.00029506
43 | 0.98586 | -0.26957 | 0 | 0
44 | 0.99658 | -0.064717 | 0.0010438 | 0.0002616
45 | 0.99725 | -0.052137 | 0.0020561 | 0.00051532
46 | 0.99642 | -0.06784 | 0.0019447 | 0.00048738
47 | 0.99697 | -0.057582 | 0.001946 | 0.00048771
48 | 0.99344 | -0.12456 | 0.0010395 | 0.00026053
49 | 0.99403 | -0.11329 | 0.0024872 | 0.00062336
50 | 0.99406 | -0.11281 | 0.0014336 | 0.0003593
51 | 0.99437 | -0.10687 | 0.0010385 | 0.00026026
52 | 0.98499 | -0.28853 | 0.010437 | 0.0026159
53 | 0.99193 | -0.15383 | 0.0023036 | 0.00057734
54 | 0.99143 | -0.16361 | 0.003724 | 0.00093333
55 | 0.99111 | -0.16975 | 0 | 0
56 | 0.99406 | -0.11286 | 0.0020559 | 0.00051526
57 | 0.9878 | -0.23375 | 0.0029892 | 0.00074917
58 | 0.98676 | -0.25406 | 0.0046932 | 0.0011762
59 | 0.99047 | -0.18204 | 0 | 0
60 | 0.99046 | -0.18227 | 0.0040899 | 0.001025
61 | 0.99674 | -0.061988 | 0.0021209 | 0.00053155
62 | 0.99668 | -0.063034 | 0.0018097 | 0.00045356
63 | 0.99684 | -0.060016 | 0.0025466 | 0.00063824
64 | 0.99638 | -0.06885 | 0.0086307 | 0.0021631
65 | 0.97188 | -0.54231 | 0.0038764 | 0.00097153
66 | 0.9953 | -0.08916 | 0.0022575 | 0.00056578
67 | 0.99524 | -0.090321 | 0.0022382 | 0.00056094
68 | 0.99494 | -0.095988 | 0 | 0
69 | 0.97449 | -0.49099 | 0.018292 | 0.0045844
70 | 0.97578 | -0.46549 | 0 | 0
71 | 0.97662 | -0.44898 | 0 | 0
72 | 0.97794 | -0.42321 | 0.00076291 | 0.0001912
73 | 0.97883 | -0.40576 | 0 | 0
74 | 0.97903 | -0.40183 | 0 | 0
75 | 0.97902 | -0.40207 | 0.0006463 | 0.00016198
76 | 0.98518 | -0.28482 | 0.0011836 | 0.00029664
77 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.012698 | 0.0031834 | -0.012694 | -0.0031812 | 3.9808e-06 | 2.199e-06 | 0.019431 | 0.019431 | 0.019431 | 0.97247 | -0.53072 | 0.97214 | -0.5373 | 5.3381
1 | -0.012698 | -0.0031834 | 0.012702 | 0.0031843 | 3.1317e-06 | 9.0624e-07 | 0.019431 | 0.01943 | 0.019431 | 0.97247 | -0.53072 | 0.97273 | -0.52554 | 2.669
2 | 0.009233 | 0.0023136 | -0.0092327 | -0.0023135 | 3.0916e-07 | 1.4669e-07 | 0.014133 | 0.014133 | 0.014133 | 0.97214 | -0.5373 | 0.9721 | -0.538 | 3.8826
3 | -0.051104 | -0.012822 | 0.051124 | 0.012833 | 1.9359e-05 | 1.1446e-05 | 0.078181 | 0.07818 | 0.078181 | 0.97273 | -0.52554 | 0.97313 | -0.5176 | 7.1594
4 | 0.038403 | 0.0096374 | -0.038366 | -0.0096155 | 3.6526e-05 | 2.1977e-05 | 0.05875 | 0.058751 | 0.058751 | 0.97273 | -0.52554 | 0.97172 | -0.54551 | 8.0702
5 | 0.0038772 | 0.00097129 | -0.0038764 | -0.00097153 | 7.9634e-07 | -2.3761e-07 | 0.0059348 | 0.0059351 | 0.0059351 | 0.9721 | -0.538 | 0.97188 | -0.54231 | 1.6305
6 | -0.055315 | -0.013884 | 0.055385 | 0.013926 | 7.0297e-05 | 4.2056e-05 | 0.08459 | 0.084588 | 0.08459 | 0.97313 | -0.5176 | 0.97449 | -0.49099 | 7.7463
7 | -0.0041627 | -0.0010433 | 0.004163 | 0.0010432 | 2.5928e-07 | -6.0825e-08 | 0.0062592 | 0.0062591 | 0.0062592 | 0.98961 | -0.1987 | 0.98968 | -0.1974 | 1.7196
8 | -0.004163 | -0.0010432 | 0.004163 | 0.0010432 | 5.543e-08 | -1.3008e-08 | 0.0062591 | 0.0062591 | 0.0062591 | 0.98968 | -0.1974 | 0.98969 | -0.19712 | 1.7195
9 | -0.0064616 | -0.0016193 | 0.0064623 | 0.0016195 | 7.3156e-07 | 2.0255e-07 | 0.009715 | 0.0097149 | 0.009715 | 0.98969 | -0.19712 | 0.98981 | -0.19474 | 2.669
10 | -0.042484 | -0.010698 | 0.04251 | 0.010714 | 2.5823e-05 | 1.6309e-05 | 0.063885 | 0.063885 | 0.063885 | 0.98981 | -0.19474 | 0.99047 | -0.18204 | 17.5509
11 | 0.036022 | 0.0090781 | -0.035955 | -0.009036 | 6.7086e-05 | 4.2153e-05 | 0.05417 | 0.054171 | 0.054171 | 0.98981 | -0.19474 | 0.9878 | -0.23375 | 14.882
12 | -0.10796 | -0.027641 | 0.10803 | 0.027685 | 7.0849e-05 | 4.4508e-05 | 0.16216 | 0.16216 | 0.16216 | 0.99197 | -0.15243 | 0.99268 | -0.13889 | 14.8496
13 | 0.10019 | 0.025694 | -0.10017 | -0.025677 | 2.7689e-05 | 1.7343e-05 | 0.15051 | 0.15051 | 0.15051 | 0.99197 | -0.15243 | 0.99167 | -0.15813 | 13.7825
14 | 0.0025522 | 0.00063945 | -0.0025521 | -0.00063962 | 1.0226e-07 | -1.7541e-07 | 0.0038257 | 0.0038258 | 0.0038258 | 0.99268 | -0.13889 | 0.99264 | -0.13973 | 1.051
15 | -0.11059 | -0.028325 | 0.11064 | 0.028358 | 5.3026e-05 | 3.3339e-05 | 0.16598 | 0.16598 | 0.16598 | 0.99268 | -0.13889 | 0.9932 | -0.12899 | 15.1999
16 | 0.10017 | 0.025677 | -0.10012 | -0.025649 | 4.4211e-05 | 2.7691e-05 | 0.15051 | 0.15051 | 0.15051 | 0.99167 | -0.15813 | 0.9912 | -0.16723 | 13.7826
17 | -0.11167 | -0.028618 | 0.11168 | 0.028621 | 5.0788e-06 | 3.1942e-06 | 0.16753 | 0.16753 | 0.16753 | 0.9932 | -0.12899 | 0.99325 | -0.12806 | 15.3419
18 | 0.10012 | 0.025649 | -0.099896 | -0.025507 | 0.00022603 | 0.00014158 | 0.15051 | 0.15051 | 0.15051 | 0.9912 | -0.16723 | 0.98875 | -0.21394 | 13.7827
19 | -0.11831 | -0.030284 | 0.11833 | 0.030296 | 2.0019e-05 | 1.2615e-05 | 0.17747 | 0.17747 | 0.17747 | 0.99325 | -0.12806 | 0.99344 | -0.12456 | 16.2521
20 | -0.054584 | -0.013776 | 0.054605 | 0.01379 | 2.1328e-05 | 1.354e-05 | 0.081865 | 0.081865 | 0.081865 | 0.99255 | -0.14191 | 0.99297 | -0.13375 | 22.4905
21 | 0.054584 | 0.013776 | -0.054568 | -0.013767 | 1.5451e-05 | 9.8094e-06 | 0.081865 | 0.081865 | 0.081865 | 0.99255 | -0.14191 | 0.99224 | -0.14782 | 22.4905
22 | -0.056727 | -0.014322 | 0.056783 | 0.014358 | 5.6837e-05 | 3.6104e-05 | 0.085044 | 0.085044 | 0.085044 | 0.99297 | -0.13375 | 0.99406 | -0.11286 | 23.3638
23 | 0.052707 | 0.0133 | -0.052692 | -0.013291 | 1.5174e-05 | 9.628e-06 | 0.079074 | 0.079074 | 0.079074 | 0.99224 | -0.14782 | 0.99193 | -0.15383 | 21.7237
24 | 0.096834 | 0.02474 | -0.096574 | -0.024577 | 0.00025975 | 0.00016249 | 0.1459 | 0.1459 | 0.1459 | 0.98875 | -0.21394 | 0.98586 | -0.26957 | 13.3608
25 | 0.01838 | 0.0046081 | -0.018379 | -0.0046078 | 6.4807e-07 | 3.8618e-07 | 0.027754 | 0.027754 | 0.027754 | 0.98546 | -0.27931 | 0.98542 | -0.28005 | 7.6247
26 | -0.019106 | -0.0047902 | 0.01911 | 0.0047924 | 3.6889e-06 | 2.2103e-06 | 0.028851 | 0.028851 | 0.028851 | 0.98546 | -0.27931 | 0.98567 | -0.27526 | 7.926
27 | 0.017333 | 0.0043455 | -0.01733 | -0.0043438 | 2.7795e-06 | 1.6411e-06 | 0.026174 | 0.026174 | 0.026174 | 0.98542 | -0.28005 | 0.98525 | -0.28342 | 7.1906
28 | 0.0041835 | 0.0010484 | -0.0041833 | -0.0010484 | 1.8779e-07 | -3.983e-08 | 0.0063156 | 0.0063156 | 0.0063156 | 0.98567 | -0.27526 | 0.98562 | -0.27621 | 1.7351
29 | -0.023294 | -0.0058407 | 0.023299 | 0.005844 | 5.3086e-06 | 3.2515e-06 | 0.035166 | 0.035166 | 0.035166 | 0.98567 | -0.27526 | 0.98591 | -0.27048 | 9.6611
30 | 0.012704 | 0.0031847 | -0.012702 | -0.0031839 | 1.3883e-06 | 7.6046e-07 | 0.019187 | 0.019187 | 0.019187 | 0.98525 | -0.28342 | 0.98513 | -0.28571 | 5.2711
31 | 0.0046262 | 0.0011591 | -0.0046261 | -0.0011591 | 1.4616e-07 | -8.1353e-09 | 0.0069868 | 0.0069869 | 0.0069869 | 0.98525 | -0.28342 | 0.98522 | -0.28408 | 1.9195
32 | 0.0011688 | 0.00029289 | -0.0011688 | -0.00029293 | 3.7121e-09 | -3.8142e-08 | 0.0017645 | 0.0017646 | 0.0017646 | 0.98562 | -0.27621 | 0.98562 | -0.27627 | 0.48477
33 | -0.027489 | -0.0068941 | 0.027494 | 0.0068973 | 5.2177e-06 | 3.2362e-06 | 0.04149 | 0.04149 | 0.04149 | 0.98591 | -0.27048 | 0.98612 | -0.2665 | 11.3983
34 | 0.011513 | 0.0028858 | -0.011512 | -0.0028854 | 7.8266e-07 | 4.1304e-07 | 0.01739 | 0.01739 | 0.01739 | 0.98513 | -0.28571 | 0.98506 | -0.28714 | 4.7775
35 | 0.0027966 | 0.00070062 | -0.0027965 | -0.00070069 | 5.4481e-08 | -6.8832e-08 | 0.0042237 | 0.0042238 | 0.0042238 | 0.98522 | -0.28408 | 0.9852 | -0.28449 | 1.1604
36 | -0.028223 | -0.0070801 | 0.02824 | 0.0070905 | 1.6751e-05 | 1.0406e-05 | 0.042591 | 0.04259 | 0.042591 | 0.98612 | -0.2665 | 0.98676 | -0.25406 | 11.7007
37 | 0.010438 | 0.0026162 | -0.010437 | -0.0026159 | 6.9116e-07 | 3.4798e-07 | 0.015768 | 0.015768 | 0.015768 | 0.98506 | -0.28714 | 0.98499 | -0.28853 | 4.3318
38 | 0.0011836 | 0.00029646 | -0.0011836 | -0.00029664 | 1.8489e-08 | -1.8461e-07 | 0.0017877 | 0.0017878 | 0.0017878 | 0.9852 | -0.28449 | 0.98518 | -0.28482 | 0.49114
39 | 0.21522 | 0.055119 | -0.215 | -0.054978 | 0.00022247 | 0.0001417 | 0.32081 | 0.32081 | 0.32081 | 0.99957 | -0.0081446 | 0.99844 | -0.029506 | 29.3779
40 | -0.21625 | -0.055378 | 0.2163 | 0.055411 | 5.3024e-05 | 3.3775e-05 | 0.32234 | 0.32234 | 0.32234 | 0.99957 | -0.0081446 | 0.99984 | -0.0030842 | 29.5184
41 | 0.21378 | 0.054674 | -0.21378 | -0.054673 | 2.0266e-07 | 1.2906e-07 | 0.319 | 0.319 | 0.319 | 0.99844 | -0.029506 | 0.99844 | -0.029525 | 29.2124
42 | -0.22036 | -0.056427 | 0.22039 | 0.056448 | 3.2927e-05 | 2.0977e-05 | 0.32837 | 0.32837 | 0.32837 | 0.99984 | -0.0030842 | 1 | 0 | 30.0709
43 | 0.21062 | 0.053881 | -0.21041 | -0.053743 | 0.00021706 | 0.00013823 | 0.31429 | 0.31429 | 0.31429 | 0.99844 | -0.029525 | 0.99732 | -0.05084 | 28.7809
44 | 0.19128 | 0.048947 | -0.19116 | -0.048865 | 0.00012841 | 8.1691e-05 | 0.28576 | 0.28576 | 0.28576 | 0.99732 | -0.05084 | 0.99658 | -0.064717 | 26.1682
45 | 0.019122 | 0.0047957 | -0.01912 | -0.004795 | 1.182e-06 | 7.0597e-07 | 0.028531 | 0.028531 | 0.028531 | 0.99732 | -0.05084 | 0.99725 | -0.052137 | 7.8382
46 | -0.01811 | -0.0045388 | 0.018126 | 0.0045485 | 1.6297e-05 | 9.7031e-06 | 0.027478 | 0.027478 | 0.027478 | 0.98072 | -0.36911 | 0.98169 | -0.35024 | 7.5489
47 | -0.094894 | -0.024017 | 0.095111 | 0.024153 | 0.00021656 | 0.00013542 | 0.14392 | 0.14392 | 0.14392 | 0.98169 | -0.35024 | 0.98413 | -0.30281 | 13.1798
48 | 0.076768 | 0.019469 | -0.076687 | -0.019419 | 8.0774e-05 | 4.989e-05 | 0.11645 | 0.11645 | 0.11645 | 0.98169 | -0.35024 | 0.98056 | -0.37215 | 10.6635
49 | -0.09642 | -0.024481 | 0.096574 | 0.024577 | 0.00015449 | 9.6654e-05 | 0.1459 | 0.1459 | 0.1459 | 0.98413 | -0.30281 | 0.98586 | -0.26957 | 13.3608
50 | 0.07551 | 0.019124 | -0.075402 | -0.019058 | 0.00010748 | 6.6314e-05 | 0.11466 | 0.11466 | 0.11466 | 0.98056 | -0.37215 | 0.97903 | -0.40183 | 10.5
51 | 0.19011 | 0.048604 | -0.19008 | -0.048586 | 2.8719e-05 | 1.8269e-05 | 0.2842 | 0.2842 | 0.2842 | 0.99658 | -0.064717 | 0.99642 | -0.06784 | 26.0255
52 | 0.017064 | 0.0042796 | -0.01706 | -0.004277 | 4.4268e-06 | 2.5957e-06 | 0.025463 | 0.025463 | 0.025463 | 0.99725 | -0.052137 | 0.99697 | -0.057582 | 6.9953
53 | 0.18814 | 0.048098 | -0.18794 | -0.047975 | 0.00019384 | 0.00012329 | 0.28129 | 0.28129 | 0.28129 | 0.99642 | -0.06784 | 0.9953 | -0.08916 | 25.7596
54 | 0.015114 | 0.0037893 | -0.015112 | -0.0037883 | 1.7531e-06 | 1.0022e-06 | 0.022559 | 0.022559 | 0.022559 | 0.99697 | -0.057582 | 0.99684 | -0.060016 | 6.1974
55 | -0.11937 | -0.030557 | 0.11944 | 0.030598 | 6.5218e-05 | 4.1107e-05 | 0.17903 | 0.17903 | 0.17903 | 0.99344 | -0.12456 | 0.99403 | -0.11329 | 16.3946
56 | -0.12192 | -0.031221 | 0.12193 | 0.031223 | 2.8433e-06 | 1.7932e-06 | 0.18275 | 0.18275 | 0.18275 | 0.99403 | -0.11329 | 0.99406 | -0.11281 | 16.7356
57 | -0.12336 | -0.031582 | 0.1234 | 0.031605 | 3.5474e-05 | 2.238e-05 | 0.1849 | 0.1849 | 0.1849 | 0.99406 | -0.11281 | 0.99437 | -0.10687 | 16.9321
58 | -0.12444 | -0.031865 | 0.1245 | 0.031906 | 6.5633e-05 | 4.1417e-05 | 0.18645 | 0.18645 | 0.18645 | 0.99437 | -0.10687 | 0.99494 | -0.095988 | 17.0744
59 | 0.050388 | 0.012713 | -0.050365 | -0.012698 | 2.3579e-05 | 1.4949e-05 | 0.075619 | 0.075619 | 0.075619 | 0.99193 | -0.15383 | 0.99143 | -0.16361 | 20.7744
60 | 0.046641 | 0.011765 | -0.046627 | -0.011756 | 1.371e-05 | 8.6781e-06 | 0.070029 | 0.070029 | 0.070029 | 0.99143 | -0.16361 | 0.99111 | -0.16975 | 19.2389
61 | 0.046627 | 0.011756 | -0.0466 | -0.011739 | 2.7396e-05 | 1.7342e-05 | 0.070029 | 0.07003 | 0.07003 | 0.99111 | -0.16975 | 0.99047 | -0.18204 | 19.2389
62 | -0.058839 | -0.014873 | 0.058887 | 0.014903 | 4.7649e-05 | 3.0283e-05 | 0.088122 | 0.088122 | 0.088122 | 0.99406 | -0.11286 | 0.99494 | -0.095988 | 24.2093
63 | 0.032965 | 0.0082868 | -0.032933 | -0.0082668 | 3.194e-05 | 2e-05 | 0.049668 | 0.049668 | 0.049668 | 0.9878 | -0.23375 | 0.98676 | -0.25406 | 13.645
64 | 0.0040899 | 0.001025 | -0.0040899 | -0.001025 | 4.5288e-08 | -1.2186e-08 | 0.0061444 | 0.0061444 | 0.0061444 | 0.99047 | -0.18204 | 0.99046 | -0.18227 | 1.688
65 | 0.010443 | 0.0026179 | -0.010443 | -0.0026177 | 5.2035e-07 | 2.5862e-07 | 0.015591 | 0.015591 | 0.015591 | 0.99674 | -0.061988 | 0.99668 | -0.063034 | 4.2832
66 | -0.012564 | -0.0031495 | 0.012565 | 0.0031501 | 1.1807e-06 | 6.3898e-07 | 0.018757 | 0.018757 | 0.018757 | 0.99674 | -0.061988 | 0.99684 | -0.060016 | 5.1531
67 | 0.0086331 | 0.0021641 | -0.0086307 | -0.0021631 | 2.392e-06 | 1.0306e-06 | 0.012889 | 0.012889 | 0.012889 | 0.99668 | -0.063034 | 0.99638 | -0.06885 | 3.541
68 | 0.18569 | 0.047409 | -0.18568 | -0.047403 | 1.0418e-05 | 6.6255e-06 | 0.27792 | 0.27792 | 0.27792 | 0.9953 | -0.08916 | 0.99524 | -0.090321 | 25.4505
69 | 0.18344 | 0.046842 | -0.18339 | -0.04681 | 5.0226e-05 | 3.1937e-05 | 0.27457 | 0.27457 | 0.27457 | 0.99524 | -0.090321 | 0.99494 | -0.095988 | 25.1441
70 | -0.073677 | -0.01851 | 0.073767 | 0.018565 | 8.9776e-05 | 5.5334e-05 | 0.11252 | 0.11252 | 0.11252 | 0.97449 | -0.49099 | 0.97578 | -0.46549 | 10.304
71 | -0.073767 | -0.018565 | 0.073825 | 0.018601 | 5.8259e-05 | 3.5905e-05 | 0.11252 | 0.11252 | 0.11252 | 0.97578 | -0.46549 | 0.97662 | -0.44898 | 10.3039
72 | -0.073825 | -0.018601 | 0.073917 | 0.018657 | 9.1102e-05 | 5.6141e-05 | 0.11252 | 0.11252 | 0.11252 | 0.97662 | -0.44898 | 0.97794 | -0.42321 | 10.3039
73 | -0.074679 | -0.018849 | 0.074742 | 0.018887 | 6.2471e-05 | 3.8525e-05 | 0.11368 | 0.11368 | 0.11368 | 0.97794 | -0.42321 | 0.97883 | -0.40576 | 10.4101
74 | -0.074742 | -0.018887 | 0.074756 | 0.018896 | 1.4086e-05 | 8.686e-06 | 0.11368 | 0.11368 | 0.11368 | 0.97883 | -0.40576 | 0.97903 | -0.40183 | 10.4101
75 | 0.00064631 | 0.00016173 | -0.0006463 | -0.00016198 | 7.377e-09 | -2.5166e-07 | 0.00098222 | 0.00098232 | 0.00098232 | 0.97903 | -0.40183 | 0.97902 | -0.40207 | 0.26987

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.22308 | 0.056709

## res_load
| p_mw | q_mvar
0 | 0.0034614 | 0.00086751
1 | 0.0053555 | 0.0013422
2 | 0.0041916 | 0.0010505
3 | 0.038366 | 0.0096155
4 | 0.0041627 | 0.0010433
5 | 0.0022986 | 0.00057607
6 | 0.0077682 | 0.0019469
7 | 0.0025521 | 0.00063962
8 | 0.0010348 | 0.00025933
9 | 0.0066347 | 0.0016628
10 | 0.0021215 | 0.00053169
11 | 0.0018611 | 0.00046643
12 | 0.0030623 | 0.00076748
13 | 0.00072633 | 0.00018204
14 | 0.0010466 | 0.00026229
15 | 0.0030145 | 0.00075551
16 | 0.0041898 | 0.0010501
17 | 0.0011895 | 0.00029813
18 | 0.0018295 | 0.00045851
19 | 0.0011688 | 0.00029293
20 | 0.00072953 | 0.00018284
21 | 0.0010741 | 0.00026919
22 | 0.0016129 | 0.00040423
23 | 0.0010308 | 0.00025835
24 | 0.0012131 | 0.00030404
25 | 0.004054 | 0.001016
26 | 0.0031616 | 0.00079238
27 | 0.0010375 | 0.00026001
28 | 0.01811 | 0.0045388
29 | 0.0013085 | 0.00032795
30 | 0.0011773 | 0.00029506
31 | 0.0010438 | 0.0002616
32 | 0.0020561 | 0.00051532
33 | 0.0019447 | 0.00048738
34 | 0.001946 | 0.00048771
35 | 0.0010395 | 0.00026053
36 | 0.0024872 | 0.00062336
37 | 0.0014336 | 0.0003593
38 | 0.0010385 | 0.00026026
39 | 0.010437 | 0.0026159
40 | 0.0023036 | 0.00057734
41 | 0.003724 | 0.00093333
42 | 0.0020559 | 0.00051526
43 | 0.0029892 | 0.00074917
44 | 0.0046932 | 0.0011762
45 | 0.0040899 | 0.001025
46 | 0.0021209 | 0.00053155
47 | 0.0018097 | 0.00045356
48 | 0.0025466 | 0.00063824
49 | 0.0086307 | 0.0021631
50 | 0.0038764 | 0.00097153
51 | 0.0022575 | 0.00056578
52 | 0.0022382 | 0.00056094
53 | 0.018292 | 0.0045844
54 | 0.00076291 | 0.0001912
55 | 0.0006463 | 0.00016198
56 | 0.0011836 | 0.00029664

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1