## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_251-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_251-2_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_251-2_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_251-2_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_251-2_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_251-2_0_6_node_58 | 0.4 | n |  | TRUE
6 | bus_LV_251-2_0_6_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_251-2_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_251-2_0_6_node_50 | 0.4 | n |  | TRUE
9 | bus_LV_251-2_0_6_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_251-2_0_6_node_65 | 0.4 | n |  | TRUE
11 | bus_LV_251-2_0_6_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_251-2_0_6_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_251-2_0_6_node_49 | 0.4 | n |  | TRUE
14 | bus_LV_251-2_0_6_node_55 | 0.4 | n |  | TRUE
15 | bus_LV_251-2_0_6_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_251-2_0_6_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_251-2_0_6_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_251-2_0_6_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_251-2_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_251-2_0_6_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_251-2_0_6_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_251-2_0_6_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_251-2_0_6_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_251-2_0_6_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_251-2_0_6_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_251-2_0_6_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_251-2_0_6_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_251-2_0_6_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_251-2_0_6_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_251-2_0_6_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_251-2_0_6_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_251-2_0_6_node_66 | 0.4 | n |  | TRUE
33 | bus_LV_251-2_0_6_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_251-2_0_6_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_251-2_0_6_node_60 | 0.4 | n |  | TRUE
36 | bus_LV_251-2_0_6_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_251-2_0_6_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_251-2_0_6_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_251-2_0_6_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_251-2_0_6_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_251-2_0_6_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_251-2_0_6_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_251-2_0_6_node_61 | 0.4 | n |  | TRUE
44 | bus_LV_251-2_0_6_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_251-2_0_6_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_251-2_0_6_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_251-2_0_6_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_251-2_0_6_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_251-2_0_6_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_251-2_0_6_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_251-2_0_6_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_251-2_0_6_node_26 | 0.4 | n |  | TRUE
53 | bus_LV_251-2_0_6_node_27 | 0.4 | n |  | TRUE
54 | bus_LV_251-2_0_6_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_251-2_0_6_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_251-2_0_6_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_251-2_0_6_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_251-2_0_6_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_251-2_0_6_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_251-2_0_6_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_251-2_0_6_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_251-2_0_6_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_251-2_0_6_node_63 | 0.4 | n |  | TRUE
64 | bus_MV_516_1_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_251-2_0_6_load_0 | 0 | 0.052016 | 0.013036 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_251-2_0_6_load_1 | 1 | 0.0047598 | 0.0011929 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_251-2_0_6_load_4 | 4 | 0.040954 | 0.010264 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_251-2_0_6_load_58 | 5 | 0.0035939 | 0.00090072 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_251-2_0_6_load_50 | 8 | 0.0099 | 0.0024812 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_251-2_0_6_load_54 | 9 | 0.0048796 | 0.0012229 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_251-2_0_6_load_65 | 10 | 0.0028199 | 0.00070674 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_251-2_0_6_load_34 | 11 | 0.0024171 | 0.00060577 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_251-2_0_6_load_49 | 13 | 0.0096131 | 0.0024093 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_251-2_0_6_load_55 | 14 | 0.0032022 | 0.00080255 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_251-2_0_6_load_6 | 15 | 0.0042346 | 0.0010613 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_251-2_0_6_load_7 | 16 | 0.0074325 | 0.0018628 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_251-2_0_6_load_9 | 18 | 0.0055791 | 0.0013982 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_251-2_0_6_load_11 | 19 | 0.01514 | 0.0037944 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_251-2_0_6_load_10 | 21 | 0.0037491 | 0.00093961 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_251-2_0_6_load_36 | 22 | 0.0078062 | 0.0019564 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_251-2_0_6_load_35 | 25 | 0.03766 | 0.0094386 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_251-2_0_6_load_32 | 26 | 0.0024097 | 0.00060392 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_251-2_0_6_load_62 | 30 | 0.0089287 | 0.0022377 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_251-2_0_6_load_64 | 31 | 0.0117 | 0.0029323 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_251-2_0_6_load_66 | 32 | 0.0012896 | 0.00032321 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_251-2_0_6_load_60 | 35 | 0.011069 | 0.0027742 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_251-2_0_6_load_56 | 37 | 0.008725 | 0.0021867 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_251-2_0_6_load_33 | 39 | 0.0025185 | 0.0006312 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_251-2_0_6_load_43 | 40 | 0.0025181 | 0.00063109 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_251-2_0_6_load_39 | 41 | 0.002819 | 0.0007065 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_251-2_0_6_load_57 | 42 | 0.0042772 | 0.001072 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_251-2_0_6_load_21 | 44 | 0.0017933 | 0.00044944 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_251-2_0_6_load_22 | 45 | 0.0037874 | 0.00094922 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_251-2_0_6_load_24 | 46 | 0.053885 | 0.013505 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_251-2_0_6_load_51 | 47 | 0.0021111 | 0.0005291 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_251-2_0_6_load_25 | 48 | 0.0023615 | 0.00059184 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_251-2_0_6_load_37 | 49 | 0.0021422 | 0.0005369 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_251-2_0_6_load_52 | 50 | 0.042262 | 0.010592 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_251-2_0_6_load_26 | 52 | 0.0024358 | 0.00061046 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_251-2_0_6_load_27 | 53 | 0.002389 | 0.00059873 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_251-2_0_6_load_29 | 54 | 0.010116 | 0.0025352 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_251-2_0_6_load_38 | 55 | 0.048543 | 0.012166 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_251-2_0_6_load_40 | 56 | 0.0032704 | 0.00081964 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_251-2_0_6_load_42 | 57 | 0.0033954 | 0.00085097 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_251-2_0_6_load_46 | 59 | 0.0051626 | 0.0012939 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_251-2_0_6_load_47 | 60 | 0.0032217 | 0.00080744 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_251-2_0_6_load_45 | 61 | 0.0034477 | 0.00086407 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_251-2_0_6_load_48 | 62 | 0.0096334 | 0.0024144 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_251-2_0_6_load_63 | 63 | 0.011745 | 0.0029436 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_251-2_0_6_line_0 |  | 0 | 1 | 0.00023339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_251-2_0_6_line_1 |  | 0 | 2 | 0.034263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_251-2_0_6_line_2 |  | 1 | 3 | 0.041579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_251-2_0_6_line_3 |  | 2 | 4 | 0.047307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_251-2_0_6_line_4 |  | 3 | 5 | 0.017328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_251-2_0_6_line_5 |  | 3 | 6 | 0.005295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_251-2_0_6_line_6 |  | 5 | 10 | 0.036789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_251-2_0_6_line_7 |  | 6 | 11 | 0.018427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_251-2_0_6_line_8 |  | 6 | 12 | 0.02719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_251-2_0_6_line_9 |  | 7 | 8 | 0.01379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_251-2_0_6_line_10 |  | 7 | 9 | 0.017758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_251-2_0_6_line_11 |  | 8 | 13 | 0.020002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_251-2_0_6_line_12 |  | 9 | 14 | 0.0008968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_251-2_0_6_line_13 |  | 10 | 32 | 0.01573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_251-2_0_6_line_14 |  | 11 | 39 | 0.025068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_251-2_0_6_line_15 |  | 12 | 51 | 0.023121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_251-2_0_6_line_16 |  | 12 | 52 | 0.019715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_251-2_0_6_line_17 |  | 13 | 62 | 0.028734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_251-2_0_6_line_18 |  | 14 | 60 | 0.02022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_251-2_0_6_line_19 |  | 15 | 16 | 0.001794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_251-2_0_6_line_20 |  | 15 | 17 | 0.023568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_251-2_0_6_line_21 |  | 16 | 18 | 0.014452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_251-2_0_6_line_22 |  | 17 | 19 | 0.019164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_251-2_0_6_line_23 |  | 18 | 20 | 0.036602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_251-2_0_6_line_24 |  | 19 | 23 | 0.025324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_251-2_0_6_line_25 |  | 20 | 36 | 0.008325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_251-2_0_6_line_26 |  | 21 | 22 | 0.0057348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_251-2_0_6_line_27 |  | 22 | 34 | 0.023046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_251-2_0_6_line_28 |  | 23 | 27 | 0.004835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_251-2_0_6_line_29 |  | 23 | 28 | 0.031654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_251-2_0_6_line_30 |  | 24 | 25 | 0.039882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_251-2_0_6_line_31 |  | 24 | 26 | 0.023227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_251-2_0_6_line_32 |  | 25 | 38 | 0.023479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_251-2_0_6_line_33 |  | 26 | 39 | 0.02586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_251-2_0_6_line_34 |  | 27 | 32 | 0.035189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_251-2_0_6_line_35 |  | 28 | 40 | 0.023134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_251-2_0_6_line_36 |  | 28 | 41 | 0.019351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_251-2_0_6_line_37 |  | 29 | 30 | 0.045482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_251-2_0_6_line_38 |  | 29 | 31 | 0.022464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_251-2_0_6_line_39 |  | 30 | 33 | 0.016166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_251-2_0_6_line_40 |  | 31 | 38 | 0.03588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_251-2_0_6_line_41 |  | 33 | 34 | 0.015746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_251-2_0_6_line_42 |  | 33 | 35 | 0.018291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_251-2_0_6_line_43 |  | 35 | 43 | 0.0777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_251-2_0_6_line_44 |  | 36 | 37 | 0.016459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_251-2_0_6_line_45 |  | 37 | 42 | 0.011921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_251-2_0_6_line_46 |  | 38 | 50 | 0.016084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_251-2_0_6_line_47 |  | 40 | 58 | 0.023732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_251-2_0_6_line_48 |  | 41 | 56 | 0.02123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_251-2_0_6_line_49 |  | 43 | 63 | 0.042446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_251-2_0_6_line_50 |  | 44 | 45 | 0.018149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_251-2_0_6_line_51 |  | 45 | 46 | 0.0083237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_251-2_0_6_line_52 |  | 46 | 47 | 0.026629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_251-2_0_6_line_53 |  | 47 | 50 | 0.017757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_251-2_0_6_line_54 |  | 48 | 49 | 0.015082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_251-2_0_6_line_55 |  | 49 | 51 | 0.020799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_251-2_0_6_line_56 |  | 51 | 55 | 0.025847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_251-2_0_6_line_57 |  | 52 | 53 | 0.025395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_251-2_0_6_line_58 |  | 53 | 54 | 0.028749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_251-2_0_6_line_59 |  | 56 | 57 | 0.011815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_251-2_0_6_line_60 |  | 58 | 61 | 0.02506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_251-2_0_6_line_61 |  | 59 | 60 | 0.0071945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_251-2_0_6_line_62 |  | 61 | 62 | 0.018553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_251-2_0_6_trafo_32 | 0.63 MVA 20/0.4 kV | 64 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2673626.8277 | 1251176.1723 | 2673626.7229 | 1251176.3808
1 | 2673642.1156 | 1251145.5118 | 2673640.8738 | 1251148.2428 | 2673626.8277 | 1251176.1723
2 | 2673608.0417 | 1251213.5268 | 2673626.7229 | 1251176.3808
3 | 2673642.1156 | 1251145.5118 | 2673684.7518 | 1251166.0091
4 | 2673608.0417 | 1251213.5268 | 2673594.6206 | 1251209.8797 | 2673591.2902 | 1251209.102
5 | 2673608.0417 | 1251213.5268 | 2673606.2737 | 1251218.5196
6 | 2673591.2902 | 1251209.102 | 2673555.4655 | 1251200.7362
7 | 2673606.2737 | 1251218.5196 | 2673588.3758 | 1251214.1344
8 | 2673597.2065 | 1251244.1589 | 2673606.2737 | 1251218.5196
9 | 2673596.4769 | 1251087.8143 | 2673583.0596 | 1251084.6284
10 | 2673596.4769 | 1251087.8143 | 2673592.518 | 1251105.1249
11 | 2673563.5986 | 1251080.0076 | 2673583.0596 | 1251084.6284
12 | 2673592.518 | 1251105.1249 | 2673592.3181 | 1251105.9991
13 | 2673555.4655 | 1251200.7362 | 2673540.1473 | 1251197.1591
14 | 2673564.0282 | 1251208.1691 | 2673588.3758 | 1251214.1344
15 | 2673597.2065 | 1251244.1589 | 2673587.2549 | 1251265.0394
16 | 2673597.2065 | 1251244.1589 | 2673592.1533 | 1251241.9946 | 2673578.3686 | 1251238.5104
17 | 2673546.1828 | 1251094.3377 | 2673547.5504 | 1251088.1405 | 2673549.0906 | 1251082.033 | 2673551.1919 | 1251079.9909 | 2673554.9687 | 1251077.9585 | 2673563.5986 | 1251080.0076
18 | 2673587.81 | 1251125.7107 | 2673592.3181 | 1251105.9991
19 | 2673462.9089 | 1251150.8156 | 2673462.5759 | 1251149.0527
20 | 2673466.1146 | 1251174.0707 | 2673466.2373 | 1251168.4348 | 2673462.9089 | 1251150.8156
21 | 2673462.5759 | 1251149.0527 | 2673459.8933 | 1251134.852
22 | 2673466.1146 | 1251174.0707 | 2673476.555 | 1251171.565 | 2673484.7139 | 1251173.6735
23 | 2673452.036 | 1251099.2531 | 2673453.6117 | 1251102.4528 | 2673456.1853 | 1251112.2251 | 2673459.4726 | 1251132.625 | 2673459.8933 | 1251134.852
24 | 2673507.0645 | 1251184.4637 | 2673497.1643 | 1251176.891 | 2673484.7139 | 1251173.6735
25 | 2673452.036 | 1251099.2531 | 2673448.8293 | 1251101.5706 | 2673445.1241 | 1251103.9153
26 | 2673414.6296 | 1251161.6795 | 2673420.2052 | 1251163.0214
27 | 2673392.2239 | 1251156.2869 | 2673414.6296 | 1251161.6795
28 | 2673505.8816 | 1251189.1525 | 2673507.0645 | 1251184.4637
29 | 2673507.0645 | 1251184.4637 | 2673511.9102 | 1251166.2551 | 2673514.4062 | 1251153.688
30 | 2673516.3509 | 1251196.4876 | 2673514.8985 | 1251200.3836 | 2673506.146 | 1251223.8031 | 2673499.9139 | 1251221.7466 | 2673496.5415 | 1251224.1814
31 | 2673516.3509 | 1251196.4876 | 2673538.9109 | 1251202.0151
32 | 2673477.5057 | 1251237.9249 | 2673496.5415 | 1251224.1814
33 | 2673564.0282 | 1251208.1691 | 2673538.9109 | 1251202.0151
34 | 2673505.8816 | 1251189.1525 | 2673518.0296 | 1251191.9941 | 2673540.1473 | 1251197.1591
35 | 2673514.4062 | 1251153.688 | 2673516.0971 | 1251145.1695 | 2673515.4163 | 1251130.736
36 | 2673514.4062 | 1251153.688 | 2673533.2053 | 1251158.2758
37 | 2673446.0425 | 1251189.3442 | 2673433.6757 | 1251187.712 | 2673420.724 | 1251176.6324 | 2673405.2098 | 1251172.8713
38 | 2673446.0425 | 1251189.3442 | 2673447.9657 | 1251195.5614 | 2673451.3047 | 1251202.6635 | 2673455.4149 | 1251209.6528
39 | 2673389.4991 | 1251169.0625 | 2673405.2098 | 1251172.8713
40 | 2673477.5057 | 1251237.9249 | 2673459.8162 | 1251215.0891 | 2673458.121 | 1251212.9999 | 2673456.4259 | 1251210.9107 | 2673455.4149 | 1251209.6528
41 | 2673389.4991 | 1251169.0625 | 2673391.3032 | 1251163.5808 | 2673393.4342 | 1251163.9964 | 2673392.2239 | 1251156.2869
42 | 2673389.4991 | 1251169.0625 | 2673386.4318 | 1251178.409 | 2673381.7626 | 1251185.4563
43 | 2673379.8099 | 1251240.1051 | 2673369.8057 | 1251226.9051 | 2673358.8823 | 1251214.7833 | 2673355.5326 | 1251204.8791 | 2673357.4076 | 1251199.1537 | 2673363.4125 | 1251195.7923 | 2673374.337 | 1251191.9914 | 2673381.7626 | 1251185.4563
44 | 2673445.1241 | 1251103.9153 | 2673431.2044 | 1251112.698
45 | 2673431.2044 | 1251112.698 | 2673428.7743 | 1251114.2313 | 2673420.8814 | 1251118.6548
46 | 2673477.5057 | 1251237.9249 | 2673487.3566 | 1251250.6387
47 | 2673514.2983 | 1251107.0306 | 2673515.4163 | 1251130.736
48 | 2673533.2053 | 1251158.2758 | 2673540.5204 | 1251160.061 | 2673543.5999 | 1251146.7118
49 | 2673379.8099 | 1251240.1051 | 2673398.1699 | 1251255.7549 | 2673412.4341 | 1251267.253
50 | 2673519.4861 | 1251292.4211 | 2673530.235 | 1251307.0444
51 | 2673514.5421 | 1251285.7251 | 2673514.9722 | 1251286.2801 | 2673519.4861 | 1251292.4211
52 | 2673514.5421 | 1251285.7251 | 2673498.2325 | 1251264.6755
53 | 2673498.2325 | 1251264.6755 | 2673487.3566 | 1251250.6387
54 | 2673578.3309 | 1251283.8271 | 2673571.8599 | 1251297.4505
55 | 2673587.2549 | 1251265.0394 | 2673578.3309 | 1251283.8271
56 | 2673587.2549 | 1251265.0394 | 2673611.9258 | 1251272.7486
57 | 2673578.3686 | 1251238.5104 | 2673553.7482 | 1251232.2874
58 | 2673532.0527 | 1251237.1452 | 2673535.6646 | 1251227.7165 | 2673553.7482 | 1251232.2874
59 | 2673555.013 | 1251149.7667 | 2673555.013 | 1251149.7667 | 2673543.5999 | 1251146.7118
60 | 2673514.2983 | 1251107.0306 | 2673528.7172 | 1251104.5077 | 2673538.8283 | 1251107.0335
61 | 2673586.2061 | 1251132.7241 | 2673587.81 | 1251125.7107
62 | 2673546.1828 | 1251094.3377 | 2673543.1431 | 1251108.1115 | 2673538.8283 | 1251107.0335

## bus_geodata
| x | y | coords
0 | 2673626.8277 | 1251176.1723
1 | 2673626.7229 | 1251176.3808
2 | 2673642.1156 | 1251145.5118
3 | 2673608.0417 | 1251213.5268
4 | 2673684.7518 | 1251166.0091
5 | 2673591.2902 | 1251209.102
6 | 2673606.2737 | 1251218.5196
7 | 2673596.4769 | 1251087.8143
8 | 2673583.0596 | 1251084.6284
9 | 2673592.518 | 1251105.1249
10 | 2673555.4655 | 1251200.7362
11 | 2673588.3758 | 1251214.1344
12 | 2673597.2065 | 1251244.1589
13 | 2673563.5986 | 1251080.0076
14 | 2673592.3181 | 1251105.9991
15 | 2673462.9089 | 1251150.8156
16 | 2673462.5759 | 1251149.0527
17 | 2673466.1146 | 1251174.0707
18 | 2673459.8933 | 1251134.852
19 | 2673484.7139 | 1251173.6735
20 | 2673452.036 | 1251099.2531
21 | 2673420.2052 | 1251163.0214
22 | 2673414.6296 | 1251161.6795
23 | 2673507.0645 | 1251184.4637
24 | 2673516.3509 | 1251196.4876
25 | 2673496.5415 | 1251224.1814
26 | 2673538.9109 | 1251202.0151
27 | 2673505.8816 | 1251189.1525
28 | 2673514.4062 | 1251153.688
29 | 2673446.0425 | 1251189.3442
30 | 2673405.2098 | 1251172.8713
31 | 2673455.4149 | 1251209.6528
32 | 2673540.1473 | 1251197.1591
33 | 2673389.4991 | 1251169.0625
34 | 2673392.2239 | 1251156.2869
35 | 2673381.7626 | 1251185.4563
36 | 2673445.1241 | 1251103.9153
37 | 2673431.2044 | 1251112.698
38 | 2673477.5057 | 1251237.9249
39 | 2673564.0282 | 1251208.1691
40 | 2673515.4163 | 1251130.736
41 | 2673533.2053 | 1251158.2758
42 | 2673420.8814 | 1251118.6548
43 | 2673379.8099 | 1251240.1051
44 | 2673530.235 | 1251307.0444
45 | 2673519.4861 | 1251292.4211
46 | 2673514.5421 | 1251285.7251
47 | 2673498.2325 | 1251264.6755
48 | 2673571.8599 | 1251297.4506
49 | 2673578.3309 | 1251283.8271
50 | 2673487.3566 | 1251250.6387
51 | 2673587.2549 | 1251265.0394
52 | 2673578.3686 | 1251238.5104
53 | 2673553.7482 | 1251232.2874
54 | 2673532.0527 | 1251237.1452
55 | 2673611.9258 | 1251272.7486
56 | 2673543.5999 | 1251146.7118
57 | 2673555.013 | 1251149.7667
58 | 2673514.2983 | 1251107.0306
59 | 2673586.2061 | 1251132.7241
60 | 2673587.81 | 1251125.7107
61 | 2673538.8283 | 1251107.0335
62 | 2673546.1828 | 1251094.3377
63 | 2673412.4341 | 1251267.253
64 | 2673516.3509 | 1251196.4876

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98971 | -0.19689 | 0.052016 | 0.013036
1 | 0.98973 | -0.1965 | 0.0047598 | 0.0011929
2 | 0.98842 | -0.22189 | 0 | 0
3 | 0.99346 | -0.12447 | 0 | 0
4 | 0.98664 | -0.25652 | 0.040954 | 0.010264
5 | 0.99163 | -0.15947 | 0.0035939 | 0.00090072
6 | 0.99398 | -0.11457 | 0 | 0
7 | 0.97475 | -0.48728 | 0 | 0
8 | 0.97496 | -0.48311 | 0.0099 | 0.0024812
9 | 0.97447 | -0.49264 | 0.0048796 | 0.0012229
10 | 0.98785 | -0.23185 | 0.0028199 | 0.00070674
11 | 0.99556 | -0.084286 | 0.0024171 | 0.00060577
12 | 0.99229 | -0.14724 | 0 | 0
13 | 0.97545 | -0.47345 | 0.0096131 | 0.0024093
14 | 0.97446 | -0.49284 | 0.0032022 | 0.00080255
15 | 0.98007 | -0.38305 | 0.0042346 | 0.0010613
16 | 0.98002 | -0.38389 | 0.0074325 | 0.0018628
17 | 0.98073 | -0.37012 | 0 | 0
18 | 0.97978 | -0.38877 | 0.0055791 | 0.0013982
19 | 0.98126 | -0.35962 | 0.01514 | 0.0037944
20 | 0.97933 | -0.39741 | 0 | 0
21 | 0.98907 | -0.21041 | 0.0037491 | 0.00093961
22 | 0.98909 | -0.21003 | 0.0078062 | 0.0019564
23 | 0.98233 | -0.33883 | 0 | 0
24 | 0.99861 | -0.026556 | 0 | 0
25 | 0.99622 | -0.072326 | 0.03766 | 0.0094386
26 | 1 | 0 | -0.48836 | -0.12406
27 | 0.9828 | -0.32954 | 0 | 0
28 | 0.98053 | -0.37381 | 0 | 0
29 | 0.99181 | -0.1572 | 0 | 0
30 | 0.99001 | -0.19216 | 0.0089287 | 0.0022377
31 | 0.9927 | -0.13998 | 0.0117 | 0.0029323
32 | 0.98628 | -0.26217 | 0.0012896 | 0.00032321
33 | 0.9895 | -0.20205 | 0 | 0
34 | 0.98933 | -0.20529 | 0 | 0
35 | 0.98911 | -0.20948 | 0.011069 | 0.0027742
36 | 0.97923 | -0.39938 | 0 | 0
37 | 0.97904 | -0.40327 | 0.008725 | 0.0021867
38 | 0.99451 | -0.10513 | 0 | 0
39 | 0.99774 | -0.042892 | 0.0025185 | 0.0006312
40 | 0.97942 | -0.39547 | 0.0025181 | 0.00063109
41 | 0.98036 | -0.37714 | 0.002819 | 0.0007065
42 | 0.97899 | -0.4042 | 0.0042772 | 0.001072
43 | 0.98828 | -0.22575 | 0 | 0
44 | 0.99046 | -0.18345 | 0.0017933 | 0.00044944
45 | 0.99049 | -0.18287 | 0.0037874 | 0.00094922
46 | 0.99054 | -0.18205 | 0.053885 | 0.013505
47 | 0.99198 | -0.15396 | 0.0021111 | 0.0005291
48 | 0.99105 | -0.17127 | 0.0023615 | 0.00059184
49 | 0.99108 | -0.17064 | 0.0021422 | 0.0005369
50 | 0.99299 | -0.13461 | 0.042262 | 0.010592
51 | 0.99116 | -0.16897 | 0 | 0
52 | 0.99202 | -0.15245 | 0.0024358 | 0.00061046
53 | 0.99173 | -0.15808 | 0.002389 | 0.00059873
54 | 0.99146 | -0.16323 | 0.010116 | 0.0025352
55 | 0.99001 | -0.19126 | 0.048543 | 0.012166
56 | 0.98023 | -0.37971 | 0.0032704 | 0.00081964
57 | 0.98019 | -0.38044 | 0.0033954 | 0.00085097
58 | 0.97834 | -0.41665 | 0 | 0
59 | 0.97427 | -0.49663 | 0.0051626 | 0.0012939
60 | 0.97431 | -0.49595 | 0.0032217 | 0.00080744
61 | 0.9772 | -0.43907 | 0.0034477 | 0.00086407
62 | 0.97641 | -0.45453 | 0.0096334 | 0.0024144
63 | 0.98782 | -0.23465 | 0.011745 | 0.0029436
64 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.093087 | -0.023374 | 0.093088 | 0.023375 | 1.7147e-06 | 1.0944e-06 | 0.13997 | 0.13997 | 0.13997 | 0.98971 | -0.19689 | 0.98973 | -0.1965 | 38.4533
1 | 0.041071 | 0.010338 | -0.041022 | -0.010307 | 4.9016e-05 | 3.093e-05 | 0.061765 | 0.061765 | 0.061765 | 0.98971 | -0.19689 | 0.98842 | -0.22189 | 16.9684
2 | -0.097848 | -0.024568 | 0.098186 | 0.024784 | 0.00033751 | 0.00021547 | 0.14713 | 0.14713 | 0.14713 | 0.98973 | -0.1965 | 0.99346 | -0.12447 | 40.4192
3 | 0.041022 | 0.010307 | -0.040954 | -0.010264 | 6.7677e-05 | 4.2708e-05 | 0.061765 | 0.061765 | 0.061765 | 0.98842 | -0.22189 | 0.98664 | -0.25652 | 16.9684
4 | 0.11574 | 0.029614 | -0.11554 | -0.029489 | 0.00019575 | 0.00012506 | 0.17357 | 0.17357 | 0.17357 | 0.99346 | -0.12447 | 0.99163 | -0.15947 | 47.6831
5 | -0.21392 | -0.054398 | 0.21402 | 0.054463 | 0.0001021 | 6.5209e-05 | 0.32069 | 0.32069 | 0.32069 | 0.99346 | -0.12447 | 0.99398 | -0.11457 | 44.0511
6 | 0.11195 | 0.028589 | -0.11156 | -0.028339 | 0.00039018 | 0.00024924 | 0.16817 | 0.16817 | 0.16817 | 0.99163 | -0.15947 | 0.98785 | -0.23185 | 46.2016
7 | -0.28223 | -0.071643 | 0.28265 | 0.071906 | 0.00041182 | 0.00026285 | 0.42283 | 0.42283 | 0.42283 | 0.99398 | -0.11457 | 0.99556 | -0.084286 | 38.7211
8 | 0.06821 | 0.01718 | -0.068104 | -0.017112 | 0.00010638 | 6.7731e-05 | 0.10214 | 0.10214 | 0.10214 | 0.99398 | -0.11457 | 0.99229 | -0.14724 | 28.0612
9 | -0.016472 | -0.0041299 | 0.016475 | 0.0041318 | 3.2699e-06 | 1.9208e-06 | 0.025146 | 0.025146 | 0.025146 | 0.97475 | -0.48728 | 0.97496 | -0.48311 | 6.9082
10 | 0.016472 | 0.0041299 | -0.016468 | -0.0041274 | 4.2107e-06 | 2.4735e-06 | 0.025146 | 0.025146 | 0.025146 | 0.97475 | -0.48728 | 0.97447 | -0.49264 | 6.9082
11 | -0.026375 | -0.006613 | 0.026387 | 0.0066205 | 1.2155e-05 | 7.5297e-06 | 0.040256 | 0.040255 | 0.040256 | 0.97496 | -0.48311 | 0.97545 | -0.47345 | 11.0592
12 | 0.011588 | 0.0029045 | -0.011588 | -0.0029044 | 1.053e-07 | 5.6219e-08 | 0.017695 | 0.017695 | 0.017695 | 0.97447 | -0.49264 | 0.97446 | -0.49284 | 4.8612
13 | 0.10874 | 0.027633 | -0.10858 | -0.027531 | 0.00015851 | 0.00010125 | 0.16393 | 0.16393 | 0.16393 | 0.98785 | -0.23185 | 0.98628 | -0.26217 | 45.0347
14 | -0.28506 | -0.072511 | 0.28563 | 0.072875 | 0.00056984 | 0.00036372 | 0.42645 | 0.42645 | 0.42645 | 0.99556 | -0.084286 | 0.99774 | -0.042892 | 39.0519
15 | 0.053154 | 0.013362 | -0.053099 | -0.013327 | 5.5107e-05 | 3.497e-05 | 0.079723 | 0.079724 | 0.079724 | 0.99229 | -0.14724 | 0.99116 | -0.16897 | 21.9021
16 | 0.01495 | 0.0037495 | -0.014946 | -0.0037474 | 3.7161e-06 | 2.1237e-06 | 0.022419 | 0.02242 | 0.02242 | 0.99229 | -0.14724 | 0.99202 | -0.15245 | 6.1592
17 | -0.036 | -0.0090298 | 0.036033 | 0.0090502 | 3.25e-05 | 2.0441e-05 | 0.05492 | 0.05492 | 0.05492 | 0.97545 | -0.47345 | 0.97641 | -0.45453 | 15.0879
18 | 0.0083857 | 0.0021019 | -0.0083845 | -0.0021013 | 1.2434e-06 | 5.4388e-07 | 0.012805 | 0.012805 | 0.012805 | 0.97446 | -0.49284 | 0.97431 | -0.49595 | 3.5179
19 | 0.026028 | 0.0065278 | -0.026027 | -0.0065272 | 1.0507e-06 | 6.4986e-07 | 0.03952 | 0.03952 | 0.03952 | 0.98007 | -0.38305 | 0.98002 | -0.38389 | 10.8571
20 | -0.030263 | -0.0075891 | 0.030282 | 0.0076008 | 1.866e-05 | 1.1645e-05 | 0.045949 | 0.045949 | 0.045949 | 0.98007 | -0.38305 | 0.98073 | -0.37012 | 12.6234
21 | 0.018595 | 0.0046644 | -0.01859 | -0.0046618 | 4.3204e-06 | 2.583e-06 | 0.028235 | 0.028235 | 0.028235 | 0.98002 | -0.38389 | 0.97978 | -0.38877 | 7.7568
22 | -0.030282 | -0.0076008 | 0.030297 | 0.0076102 | 1.5173e-05 | 9.4686e-06 | 0.045949 | 0.045949 | 0.045949 | 0.98073 | -0.37012 | 0.98126 | -0.35962 | 12.6234
23 | 0.013011 | 0.0032636 | -0.013006 | -0.0032606 | 5.3602e-06 | 2.9698e-06 | 0.019762 | 0.019762 | 0.019762 | 0.97978 | -0.38877 | 0.97933 | -0.39741 | 5.4291
24 | -0.045437 | -0.011405 | 0.045482 | 0.011433 | 4.5091e-05 | 2.8538e-05 | 0.068907 | 0.068907 | 0.068907 | 0.98126 | -0.35962 | 0.98233 | -0.33883 | 18.9306
25 | 0.013006 | 0.0032606 | -0.013005 | -0.00326 | 1.2192e-06 | 6.7554e-07 | 0.019762 | 0.019762 | 0.019762 | 0.97933 | -0.39741 | 0.97923 | -0.39938 | 5.4291
26 | -0.0037491 | -0.00093961 | 0.0037491 | 0.00093958 | 6.8417e-08 | -2.9815e-08 | 0.0056404 | 0.0056403 | 0.0056404 | 0.98907 | -0.21041 | 0.98909 | -0.21003 | 1.5495
27 | -0.011555 | -0.002896 | 0.011558 | 0.0028974 | 2.6117e-06 | 1.3757e-06 | 0.017384 | 0.017384 | 0.017384 | 0.98909 | -0.21003 | 0.98933 | -0.20529 | 4.7759
28 | -0.10689 | -0.026957 | 0.10694 | 0.026987 | 4.7572e-05 | 3.0385e-05 | 0.16198 | 0.16198 | 0.16198 | 0.98233 | -0.33883 | 0.9828 | -0.32954 | 44.5002
29 | 0.061412 | 0.015524 | -0.061309 | -0.015458 | 0.00010283 | 6.541e-05 | 0.093073 | 0.093074 | 0.093074 | 0.98233 | -0.33883 | 0.98053 | -0.37381 | 25.5697
30 | 0.19771 | 0.050014 | -0.19727 | -0.049738 | 0.00043315 | 0.00027565 | 0.29477 | 0.29477 | 0.29477 | 0.99861 | -0.026556 | 0.99622 | -0.072326 | 26.9932
31 | -0.19771 | -0.050014 | 0.19796 | 0.050175 | 0.00025227 | 0.00016054 | 0.29477 | 0.29476 | 0.29477 | 0.99861 | -0.026556 | 1 | 0 | 26.9931
32 | 0.15961 | 0.0403 | -0.15936 | -0.04014 | 0.00025044 | 0.00015967 | 0.23851 | 0.23851 | 0.23851 | 0.99622 | -0.072326 | 0.99451 | -0.10513 | 32.7629
33 | 0.28875 | 0.073888 | -0.28815 | -0.073506 | 0.00059826 | 0.00038187 | 0.4302 | 0.4302 | 0.4302 | 1 | 0 | 0.99774 | -0.042892 | 39.3958
34 | -0.10694 | -0.026987 | 0.10729 | 0.027208 | 0.00034623 | 0.00022114 | 0.16198 | 0.16198 | 0.16198 | 0.9828 | -0.32954 | 0.98628 | -0.26217 | 44.5002
35 | 0.051822 | 0.01308 | -0.051768 | -0.013046 | 5.37e-05 | 3.4076e-05 | 0.078676 | 0.078676 | 0.078676 | 0.98053 | -0.37381 | 0.97942 | -0.39547 | 21.6143
36 | 0.0094872 | 0.002378 | -0.0094857 | -0.0023773 | 1.5042e-06 | 7.1866e-07 | 0.014398 | 0.014398 | 0.014398 | 0.98053 | -0.37381 | 0.98036 | -0.37714 | 3.9554
37 | 0.043413 | 0.010922 | -0.043341 | -0.010876 | 7.2388e-05 | 4.5743e-05 | 0.065148 | 0.065148 | 0.065148 | 0.99181 | -0.1572 | 0.99001 | -0.19216 | 17.8978
38 | -0.043413 | -0.010922 | 0.043449 | 0.010945 | 3.5753e-05 | 2.2592e-05 | 0.065148 | 0.065148 | 0.065148 | 0.99181 | -0.1572 | 0.9927 | -0.13998 | 17.8977
39 | 0.034412 | 0.0086386 | -0.034396 | -0.0086285 | 1.6221e-05 | 1.0174e-05 | 0.051728 | 0.051728 | 0.051728 | 0.99001 | -0.19216 | 0.9895 | -0.20205 | 14.2109
40 | -0.055149 | -0.013877 | 0.055241 | 0.013935 | 9.199e-05 | 5.8409e-05 | 0.082685 | 0.082685 | 0.082685 | 0.9927 | -0.13998 | 0.99451 | -0.10513 | 22.7157
41 | 0.01156 | 0.0028983 | -0.011558 | -0.0028974 | 1.7845e-06 | 9.3983e-07 | 0.017384 | 0.017384 | 0.017384 | 0.9895 | -0.20205 | 0.98933 | -0.20529 | 4.7759
42 | 0.022836 | 0.0057302 | -0.022828 | -0.0057252 | 8.0902e-06 | 4.9429e-06 | 0.034344 | 0.034344 | 0.034344 | 0.9895 | -0.20205 | 0.98911 | -0.20948 | 9.4351
43 | 0.011759 | 0.0029511 | -0.01175 | -0.0029462 | 9.1201e-06 | 4.8404e-06 | 0.017692 | 0.017692 | 0.017692 | 0.98911 | -0.20948 | 0.98828 | -0.22575 | 4.8605
44 | 0.013005 | 0.00326 | -0.013002 | -0.0032586 | 2.4104e-06 | 1.3356e-06 | 0.019762 | 0.019762 | 0.019762 | 0.97923 | -0.39938 | 0.97904 | -0.40327 | 5.4291
45 | 0.0042774 | 0.0010719 | -0.0042772 | -0.001072 | 1.8894e-07 | -2.898e-08 | 0.0065011 | 0.0065011 | 0.0065011 | 0.97904 | -0.40327 | 0.97899 | -0.4042 | 1.786
46 | 0.10412 | 0.026205 | -0.10398 | -0.026111 | 0.00014646 | 9.3524e-05 | 0.15583 | 0.15583 | 0.15583 | 0.99451 | -0.10513 | 0.99299 | -0.13461 | 42.8102
47 | 0.04925 | 0.012415 | -0.0492 | -0.012383 | 4.986e-05 | 3.1612e-05 | 0.07485 | 0.074851 | 0.074851 | 0.97942 | -0.39547 | 0.97834 | -0.41665 | 20.5634
48 | 0.0066668 | 0.0016708 | -0.0066659 | -0.0016705 | 8.1517e-07 | 2.5406e-07 | 0.010119 | 0.010119 | 0.010119 | 0.98036 | -0.37714 | 0.98023 | -0.37971 | 2.78
49 | 0.01175 | 0.0029462 | -0.011745 | -0.0029436 | 4.9823e-06 | 2.6451e-06 | 0.017692 | 0.017692 | 0.017692 | 0.98828 | -0.22575 | 0.98782 | -0.23465 | 4.8605
50 | -0.0017933 | -0.00044944 | 0.0017933 | 0.00044924 | 4.9397e-08 | -2.0197e-07 | 0.0026941 | 0.002694 | 0.0026941 | 0.99046 | -0.18345 | 0.99049 | -0.18287 | 0.74014
51 | -0.0055807 | -0.0013985 | 0.005581 | 0.0013985 | 2.194e-07 | 3.3276e-08 | 0.0083839 | 0.0083838 | 0.0083839 | 0.99049 | -0.18287 | 0.99054 | -0.18205 | 2.3033
52 | -0.059466 | -0.014903 | 0.059546 | 0.014954 | 7.9689e-05 | 5.0658e-05 | 0.089332 | 0.089332 | 0.089332 | 0.99054 | -0.18205 | 0.99198 | -0.15396 | 24.5419
53 | -0.061657 | -0.015483 | 0.061714 | 0.015519 | 5.6974e-05 | 3.6234e-05 | 0.092499 | 0.092499 | 0.092499 | 0.99198 | -0.15396 | 0.99299 | -0.13461 | 25.4118
54 | -0.0023615 | -0.00059184 | 0.0023615 | 0.00059169 | 7.1101e-08 | -1.4884e-07 | 0.0035456 | 0.0035456 | 0.0035456 | 0.99105 | -0.17127 | 0.99108 | -0.17064 | 0.97407
55 | -0.0045038 | -0.0011286 | 0.0045041 | 0.0011285 | 3.5663e-07 | -3.9805e-08 | 0.0067619 | 0.0067618 | 0.0067619 | 0.99108 | -0.17064 | 0.99116 | -0.16897 | 1.8577
56 | 0.048595 | 0.012199 | -0.048543 | -0.012166 | 5.1599e-05 | 3.269e-05 | 0.072962 | 0.072962 | 0.072962 | 0.99116 | -0.16897 | 0.99001 | -0.19126 | 20.0444
57 | 0.01251 | 0.003137 | -0.012507 | -0.0031351 | 3.3536e-06 | 1.8186e-06 | 0.018766 | 0.018766 | 0.018766 | 0.99202 | -0.15245 | 0.99173 | -0.15808 | 5.1555
58 | 0.010118 | 0.0025364 | -0.010116 | -0.0025352 | 2.4848e-06 | 1.2194e-06 | 0.015182 | 0.015182 | 0.015182 | 0.99173 | -0.15808 | 0.99146 | -0.16323 | 4.1708
59 | 0.0033955 | 0.0008509 | -0.0033954 | -0.00085097 | 1.1772e-07 | -7.3592e-08 | 0.0051545 | 0.0051545 | 0.0051545 | 0.98023 | -0.37971 | 0.98019 | -0.38044 | 1.4161
60 | 0.0492 | 0.012383 | -0.049148 | -0.01235 | 5.265e-05 | 3.3382e-05 | 0.074851 | 0.074851 | 0.074851 | 0.97834 | -0.41665 | 0.9772 | -0.43907 | 20.5634
61 | -0.0051626 | -0.0012939 | 0.0051627 | 0.0012939 | 1.6773e-07 | 1.7753e-08 | 0.0078848 | 0.0078848 | 0.0078848 | 0.97427 | -0.49663 | 0.97431 | -0.49595 | 2.1662
62 | 0.0457 | 0.011486 | -0.045666 | -0.011465 | 3.3703e-05 | 2.1338e-05 | 0.069601 | 0.069601 | 0.069601 | 0.9772 | -0.43907 | 0.97641 | -0.45453 | 19.1211

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49077 | 0.12467

## res_load
| p_mw | q_mvar
0 | 0.052016 | 0.013036
1 | 0.0047598 | 0.0011929
2 | 0.040954 | 0.010264
3 | 0.0035939 | 0.00090072
4 | 0.0099 | 0.0024812
5 | 0.0048796 | 0.0012229
6 | 0.0028199 | 0.00070674
7 | 0.0024171 | 0.00060577
8 | 0.0096131 | 0.0024093
9 | 0.0032022 | 0.00080255
10 | 0.0042346 | 0.0010613
11 | 0.0074325 | 0.0018628
12 | 0.0055791 | 0.0013982
13 | 0.01514 | 0.0037944
14 | 0.0037491 | 0.00093961
15 | 0.0078062 | 0.0019564
16 | 0.03766 | 0.0094386
17 | 0.0024097 | 0.00060392
18 | 0.0089287 | 0.0022377
19 | 0.0117 | 0.0029323
20 | 0.0012896 | 0.00032321
21 | 0.011069 | 0.0027742
22 | 0.008725 | 0.0021867
23 | 0.0025185 | 0.0006312
24 | 0.0025181 | 0.00063109
25 | 0.002819 | 0.0007065
26 | 0.0042772 | 0.001072
27 | 0.0017933 | 0.00044944
28 | 0.0037874 | 0.00094922
29 | 0.053885 | 0.013505
30 | 0.0021111 | 0.0005291
31 | 0.0023615 | 0.00059184
32 | 0.0021422 | 0.0005369
33 | 0.042262 | 0.010592
34 | 0.0024358 | 0.00061046
35 | 0.002389 | 0.00059873
36 | 0.010116 | 0.0025352
37 | 0.048543 | 0.012166
38 | 0.0032704 | 0.00081964
39 | 0.0033954 | 0.00085097
40 | 0.0051626 | 0.0012939
41 | 0.0032217 | 0.00080744
42 | 0.0034477 | 0.00086407
43 | 0.0096334 | 0.0024144
44 | 0.011745 | 0.0029436

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1