## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_251-9_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_251-9_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_251-9_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_251-9_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_251-9_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_251-9_0_6_node_54 | 0.4 | n |  | TRUE
6 | bus_LV_251-9_0_6_node_53 | 0.4 | n |  | TRUE
7 | bus_LV_251-9_0_6_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_251-9_0_6_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_251-9_0_6_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_251-9_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_251-9_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_251-9_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_251-9_0_6_node_49 | 0.4 | n |  | TRUE
14 | bus_LV_251-9_0_6_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_251-9_0_6_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_251-9_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_251-9_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_251-9_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_251-9_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_251-9_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_251-9_0_6_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_251-9_0_6_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_251-9_0_6_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_251-9_0_6_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_251-9_0_6_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_251-9_0_6_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_251-9_0_6_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_251-9_0_6_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_251-9_0_6_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_251-9_0_6_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_251-9_0_6_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_251-9_0_6_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_251-9_0_6_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_251-9_0_6_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_251-9_0_6_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_251-9_0_6_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_251-9_0_6_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_251-9_0_6_node_66 | 0.4 | n |  | TRUE
39 | bus_LV_251-9_0_6_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_251-9_0_6_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_251-9_0_6_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_251-9_0_6_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_251-9_0_6_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_251-9_0_6_node_69 | 0.4 | n |  | TRUE
45 | bus_LV_251-9_0_6_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_251-9_0_6_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_251-9_0_6_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_251-9_0_6_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_251-9_0_6_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_251-9_0_6_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_251-9_0_6_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_251-9_0_6_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_251-9_0_6_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_251-9_0_6_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_251-9_0_6_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_251-9_0_6_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_251-9_0_6_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_251-9_0_6_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_251-9_0_6_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_251-9_0_6_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_251-9_0_6_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_251-9_0_6_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_251-9_0_6_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_251-9_0_6_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_251-9_0_6_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_251-9_0_6_node_57 | 0.4 | n |  | TRUE
67 | bus_MV_516_1_node_156 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_251-9_0_6_load_0 | 0 | 0.03054 | 0.007654 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_251-9_0_6_load_5 | 4 | 0.0082645 | 0.0020713 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_251-9_0_6_load_53 | 6 | 0.0024254 | 0.00060787 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_251-9_0_6_load_9 | 8 | 0.0020874 | 0.00052315 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_251-9_0_6_load_6 | 11 | 0.0083307 | 0.0020879 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_251-9_0_6_load_48 | 14 | 0.0087717 | 0.0021984 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_251-9_0_6_load_10 | 16 | 0.001564 | 0.00039199 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_251-9_0_6_load_11 | 17 | 0.0035309 | 0.00088492 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_251-9_0_6_load_12 | 18 | 0.0030454 | 0.00076324 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_251-9_0_6_load_14 | 20 | 0.0058934 | 0.001477 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_251-9_0_6_load_18 | 23 | 0.0085441 | 0.0021414 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_251-9_0_6_load_51 | 25 | 0.010951 | 0.0027446 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_251-9_0_6_load_23 | 26 | 0.0029577 | 0.00074126 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_251-9_0_6_load_17 | 29 | 0.0035457 | 0.00088863 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_251-9_0_6_load_15 | 30 | 0.0066028 | 0.0016548 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_251-9_0_6_load_16 | 31 | 0.0050778 | 0.0012726 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_251-9_0_6_load_60 | 32 | 0.09309 | 0.023331 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_251-9_0_6_load_63 | 35 | 0.005476 | 0.0013724 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_251-9_0_6_load_66 | 38 | 0.068399 | 0.017142 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_251-9_0_6_load_67 | 39 | 0.0011266 | 0.00028235 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_251-9_0_6_load_28 | 41 | 0.012851 | 0.0032208 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_251-9_0_6_load_50 | 42 | 0.0059053 | 0.00148 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_251-9_0_6_load_22 | 43 | 0.0026351 | 0.00066042 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_251-9_0_6_load_69 | 44 | 0.0076568 | 0.001919 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_251-9_0_6_load_24 | 45 | 0.0071401 | 0.0017895 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_251-9_0_6_load_25 | 46 | 0.0068578 | 0.0017187 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_251-9_0_6_load_26 | 47 | 0.025627 | 0.0064228 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_251-9_0_6_load_46 | 52 | 0.0013523 | 0.00033891 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_251-9_0_6_load_31 | 53 | 0.043321 | 0.010857 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_251-9_0_6_load_40 | 57 | 0.0013141 | 0.00032935 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_251-9_0_6_load_47 | 59 | 0.021294 | 0.0053369 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_251-9_0_6_load_45 | 60 | 0.014004 | 0.0035097 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_251-9_0_6_load_55 | 61 | 0.039661 | 0.0099401 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_251-9_0_6_load_68 | 62 | 0.0014619 | 0.00036638 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_251-9_0_6_load_43 | 64 | 0.046402 | 0.011629 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_251-9_0_6_load_58 | 65 | 0.036165 | 0.0090638 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_251-9_0_6_line_0 |  | 0 | 1 | 0.034612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_251-9_0_6_line_1 |  | 0 | 2 | 0.007778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_251-9_0_6_line_2 |  | 1 | 3 | 0.11461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_251-9_0_6_line_3 |  | 2 | 4 | 0.04112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_251-9_0_6_line_4 |  | 3 | 8 | 0.0031182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_251-9_0_6_line_5 |  | 4 | 12 | 0.023583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_251-9_0_6_line_6 |  | 5 | 6 | 0.020824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_251-9_0_6_line_7 |  | 5 | 7 | 0.084564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_251-9_0_6_line_8 |  | 7 | 58 | 0.034836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_251-9_0_6_line_9 |  | 7 | 62 | 0.026716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_251-9_0_6_line_10 |  | 9 | 10 | 0.036684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_251-9_0_6_line_11 |  | 9 | 11 | 0.01941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_251-9_0_6_line_12 |  | 10 | 13 | 0.024299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_251-9_0_6_line_13 |  | 11 | 12 | 0.020773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_251-9_0_6_line_14 |  | 13 | 15 | 0.003812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_251-9_0_6_line_15 |  | 13 | 14 | 0.022292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_251-9_0_6_line_16 |  | 15 | 61 | 0.048841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_251-9_0_6_line_17 |  | 15 | 55 | 0.015932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_251-9_0_6_line_18 |  | 16 | 17 | 0.018618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_251-9_0_6_line_19 |  | 16 | 18 | 0.0079823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_251-9_0_6_line_20 |  | 17 | 19 | 0.0086132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_251-9_0_6_line_21 |  | 18 | 20 | 0.026104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_251-9_0_6_line_22 |  | 19 | 21 | 0.018499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_251-9_0_6_line_23 |  | 19 | 22 | 0.029959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_251-9_0_6_line_24 |  | 20 | 23 | 0.022644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_251-9_0_6_line_25 |  | 21 | 24 | 0.058805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_251-9_0_6_line_26 |  | 21 | 25 | 0.027454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_251-9_0_6_line_27 |  | 22 | 26 | 0.014287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_251-9_0_6_line_28 |  | 23 | 29 | 0.034656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_251-9_0_6_line_29 |  | 24 | 42 | 0.044646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_251-9_0_6_line_30 |  | 24 | 40 | 0.04966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_251-9_0_6_line_31 |  | 25 | 27 | 0.051816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_251-9_0_6_line_32 |  | 26 | 43 | 0.015274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_251-9_0_6_line_33 |  | 27 | 28 | 0.010665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_251-9_0_6_line_34 |  | 28 | 44 | 0.025149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_251-9_0_6_line_35 |  | 29 | 31 | 0.025437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_251-9_0_6_line_36 |  | 30 | 31 | 0.024905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_251-9_0_6_line_37 |  | 32 | 33 | 0.0077513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_251-9_0_6_line_38 |  | 33 | 34 | 0.051364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_251-9_0_6_line_39 |  | 34 | 35 | 0.03424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_251-9_0_6_line_40 |  | 35 | 36 | 0.037801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_251-9_0_6_line_41 |  | 36 | 37 | 0.006868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_251-9_0_6_line_42 |  | 37 | 38 | 0.033803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_251-9_0_6_line_43 |  | 38 | 39 | 0.079152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_251-9_0_6_line_44 |  | 39 | 65 | 0.090647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_251-9_0_6_line_45 |  | 40 | 41 | 0.0094194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_251-9_0_6_line_46 |  | 44 | 50 | 0.019872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_251-9_0_6_line_47 |  | 45 | 46 | 0.00015036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_251-9_0_6_line_48 |  | 45 | 47 | 0.021853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_251-9_0_6_line_49 |  | 46 | 48 | 0.019621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_251-9_0_6_line_50 |  | 48 | 49 | 0.011437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_251-9_0_6_line_51 |  | 48 | 50 | 0.008023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_251-9_0_6_line_52 |  | 49 | 51 | 0.018524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_251-9_0_6_line_53 |  | 49 | 52 | 0.076695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_251-9_0_6_line_54 |  | 51 | 64 | 0.034858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_251-9_0_6_line_55 |  | 52 | 59 | 0.050129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_251-9_0_6_line_56 |  | 52 | 60 | 0.097952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_251-9_0_6_line_57 |  | 53 | 54 | 0.046995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_251-9_0_6_line_58 |  | 53 | 55 | 0.0422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_251-9_0_6_line_59 |  | 55 | 56 | 0.061281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_251-9_0_6_line_60 |  | 56 | 57 | 0.075073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_251-9_0_6_line_61 |  | 57 | 58 | 0.042139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_251-9_0_6_line_62 |  | 58 | 64 | 0.0060679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_251-9_0_6_line_63 |  | 61 | 63 | 0.043443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_251-9_0_6_line_64 |  | 63 | 66 | 0.006945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_251-9_0_6_line_65 |  | 65 | 66 | 0.12038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_251-9_0_6_trafo_32 | 0.63 MVA 20/0.4 kV | 67 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2674027.8227 | 1251913.108 | 2674000.9824 | 1251934.9616
1 | 2673994.9508 | 1251939.8725 | 2674000.9824 | 1251934.9616
2 | 2674027.8227 | 1251913.108 | 2674044.9841 | 1251912.0438 | 2674098.5223 | 1251939.533 | 2674112.7287 | 1251940.578 | 2674131.0153 | 1251926.1963
3 | 2673994.9508 | 1251939.8725 | 2674004.9558 | 1251950.9833 | 2674008.3696 | 1251976.767 | 2674008.2582 | 1251976.882
4 | 2674131.0153 | 1251926.1963 | 2674133.6216 | 1251924.4845
5 | 2673991.8465 | 1251993.8175 | 2674008.2582 | 1251976.882
6 | 2673889.4556 | 1251860.2873 | 2673874.9619 | 1251875.2393
7 | 2673825.049 | 1251870.1919 | 2673835.7321 | 1251863.2755 | 2673839.6912 | 1251859.9113 | 2673865.5365 | 1251837.9507 | 2673889.4556 | 1251860.2873
8 | 2673825.049 | 1251870.1919 | 2673793.8554 | 1251885.8815
9 | 2673825.049 | 1251870.1919 | 2673839.6536 | 1251892.5901
10 | 2673962.7423 | 1251966.1118 | 2673955.8798 | 1251971.6969 | 2673943.6876 | 1251981.0071 | 2673933.4974 | 1251988.352
11 | 2673962.7423 | 1251966.1118 | 2673976.8009 | 1251979.4949
12 | 2673914.1722 | 1252003.1551 | 2673933.4974 | 1251988.352
13 | 2673991.8465 | 1251993.8175 | 2673976.8009 | 1251979.4949
14 | 2673914.1722 | 1252003.1551 | 2673912.6193 | 1252006.6383
15 | 2673914.1722 | 1252003.1551 | 2673900.8964 | 1251985.2469
16 | 2673912.6193 | 1252006.6383 | 2673917.1453 | 1252015.301 | 2673940.2912 | 1252046.773
17 | 2673898.2797 | 1252011.4296 | 2673906.1111 | 1252006.2124 | 2673912.6193 | 1252006.6383
18 | 2673611.0055 | 1251951.6897 | 2673612.2215 | 1251933.1118
19 | 2673611.0055 | 1251951.6897 | 2673610.4841 | 1251959.655
20 | 2673617.2745 | 1251930.0065 | 2673612.4672 | 1251929.3574 | 2673612.2215 | 1251933.1118
21 | 2673610.4841 | 1251959.655 | 2673608.7792 | 1251985.703
22 | 2673617.2745 | 1251930.0065 | 2673616.3873 | 1251945.5179 | 2673616.2223 | 1251948.4736
23 | 2673619.1707 | 1251900.1083 | 2673618.0175 | 1251916.984 | 2673617.2745 | 1251930.0065
24 | 2673607.3002 | 1252008.2986 | 2673608.7792 | 1251985.703
25 | 2673612.3079 | 1252007.1454 | 2673612.6149 | 1252003.0907 | 2673614.5919 | 1251977.0185 | 2673616.2223 | 1251948.4736
26 | 2673616.2223 | 1251948.4736 | 2673643.6274 | 1251950.1179
27 | 2673619.1707 | 1251900.1083 | 2673605.1949 | 1251897.1418
28 | 2673605.0366 | 1252042.8803 | 2673607.3002 | 1252008.2986
29 | 2673612.3079 | 1252007.1454 | 2673609.8605 | 1252039.4941 | 2673609.1188 | 1252051.6768
30 | 2673612.3079 | 1252007.1454 | 2673612.6149 | 1252003.0907 | 2673646.2416 | 1252004.6874 | 2673647.099 | 1251992.7894
31 | 2673664.0326 | 1251917.7786 | 2673661.9492 | 1251951.177 | 2673650.8169 | 1251950.5493 | 2673643.6274 | 1251950.1179
32 | 2673605.1949 | 1251897.1418 | 2673590.2535 | 1251893.9703
33 | 2673664.0326 | 1251917.7786 | 2673674.7242 | 1251917.4335
34 | 2673674.7242 | 1251917.4335 | 2673693.8265 | 1251915.6586 | 2673699.8139 | 1251914.8769
35 | 2673605.0366 | 1252042.8803 | 2673603.924 | 1252059.8797 | 2673603.3505 | 1252068.261
36 | 2673601.6504 | 1252093.1078 | 2673603.3505 | 1252068.261
37 | 2673863.9235 | 1252306.7499 | 2673859.3517 | 1252300.4904
38 | 2673894.2502 | 1252348.2693 | 2673863.9235 | 1252306.7499
39 | 2673894.2502 | 1252348.2693 | 2673898.4501 | 1252354.0148 | 2673917.4951 | 1252339.7975 | 2673919.6713 | 1252337.2419
40 | 2673929.1011 | 1252303.0266 | 2673930.7523 | 1252317.6578 | 2673928.3253 | 1252327.0789 | 2673919.6713 | 1252337.2419
41 | 2673929.1011 | 1252303.0266 | 2673925.1106 | 1252297.4282
42 | 2673925.1106 | 1252297.4282 | 2673904.8273 | 1252270.3875
43 | 2673904.8273 | 1252270.3875 | 2673888.1411 | 1252248.1424 | 2673920.3832 | 1252223.293 | 2673930.9896 | 1252222.4803
44 | 2673870.614 | 1252154.8657 | 2673930.9896 | 1252222.4803
45 | 2673647.099 | 1251992.7894 | 2673648.6679 | 1251989.829 | 2673648.9591 | 1251983.767
46 | 2673719.5754 | 1251912.2874 | 2673699.8139 | 1251914.8769
47 | 2673724.3467 | 1251890.9536 | 2673724.3235 | 1251890.8051
48 | 2673730.3662 | 1251873.0598 | 2673723.5148 | 1251877.1553 | 2673722.7108 | 1251880.5033 | 2673724.3235 | 1251890.8051
49 | 2673727.3812 | 1251910.3387 | 2673724.3467 | 1251890.9536
50 | 2673738.4746 | 1251907.4301 | 2673727.3812 | 1251910.3387
51 | 2673719.5754 | 1251912.2874 | 2673727.3812 | 1251910.3387
52 | 2673738.4746 | 1251907.4301 | 2673756.0376 | 1251901.3887
53 | 2673738.4746 | 1251907.4301 | 2673744.2919 | 1251931.2198 | 2673748.4332 | 1251932.6168 | 2673755.9254 | 1251938.2697 | 2673757.6795 | 1251950.7562 | 2673756.6951 | 1251953.4348 | 2673754.8504 | 1251954.2902 | 2673734.1048 | 1251957.2272
54 | 2673756.0376 | 1251901.3887 | 2673778.5249 | 1251893.2627 | 2673788.3882 | 1251888.5138
55 | 2673734.1048 | 1251957.2272 | 2673700.2008 | 1251962.0271 | 2673697.8854 | 1251946.3103
56 | 2673734.1048 | 1251957.2272 | 2673739.6486 | 1252055.0227
57 | 2673827.963 | 1252066.3043 | 2673865.0113 | 1252037.392
58 | 2673898.2797 | 1252011.4296 | 2673865.0113 | 1252037.392
59 | 2673855.3021 | 1251969.8747 | 2673872.4786 | 1251977.8613 | 2673898.2797 | 1252011.4296
60 | 2673797.688 | 1251921.7442 | 2673855.3021 | 1251969.8747
61 | 2673793.8554 | 1251885.8815 | 2673805.8461 | 1251912.7281 | 2673804.1608 | 1251915.9317 | 2673800.4283 | 1251917.4641 | 2673797.688 | 1251921.7442
62 | 2673793.8554 | 1251885.8815 | 2673788.3882 | 1251888.5138
63 | 2673966.03 | 1252081.7705 | 2673940.2912 | 1252046.773
64 | 2673966.03 | 1252081.7705 | 2673970.1793 | 1252087.3485
65 | 2673970.1793 | 1252087.3485 | 2673930.3565 | 1252111.7806 | 2673870.614 | 1252154.8657

## bus_geodata
| x | y | coords
0 | 2674000.9824 | 1251934.9616
1 | 2674027.8227 | 1251913.108
2 | 2673994.9508 | 1251939.8725
3 | 2674131.0153 | 1251926.1962
4 | 2674008.2582 | 1251976.882
5 | 2673889.4556 | 1251860.2873
6 | 2673874.9619 | 1251875.2393
7 | 2673825.049 | 1251870.1919
8 | 2674133.6216 | 1251924.4845
9 | 2673962.7423 | 1251966.1118
10 | 2673933.4974 | 1251988.352
11 | 2673976.8009 | 1251979.4949
12 | 2673991.8465 | 1251993.8175
13 | 2673914.1722 | 1252003.1551
14 | 2673900.8964 | 1251985.2469
15 | 2673912.6193 | 1252006.6383
16 | 2673611.0055 | 1251951.6897
17 | 2673612.2215 | 1251933.1118
18 | 2673610.4841 | 1251959.655
19 | 2673617.2745 | 1251930.0065
20 | 2673608.7792 | 1251985.703
21 | 2673616.2223 | 1251948.4736
22 | 2673619.1707 | 1251900.1083
23 | 2673607.3002 | 1252008.2986
24 | 2673612.3079 | 1252007.1454
25 | 2673643.6274 | 1251950.1179
26 | 2673605.1949 | 1251897.1418
27 | 2673664.0326 | 1251917.7786
28 | 2673674.7242 | 1251917.4335
29 | 2673605.0366 | 1252042.8803
30 | 2673601.6504 | 1252093.1078
31 | 2673603.3505 | 1252068.261
32 | 2673859.3517 | 1252300.4904
33 | 2673863.9235 | 1252306.7499
34 | 2673894.2502 | 1252348.2693
35 | 2673919.6713 | 1252337.2419
36 | 2673929.1011 | 1252303.0266
37 | 2673925.1106 | 1252297.4282
38 | 2673904.8273 | 1252270.3875
39 | 2673930.9896 | 1252222.4803
40 | 2673647.099 | 1251992.7894
41 | 2673648.9591 | 1251983.767
42 | 2673609.1188 | 1252051.6768
43 | 2673590.2535 | 1251893.9703
44 | 2673699.8139 | 1251914.8769
45 | 2673724.3235 | 1251890.8051
46 | 2673724.3467 | 1251890.9536
47 | 2673730.3662 | 1251873.0598
48 | 2673727.3812 | 1251910.3387
49 | 2673738.4746 | 1251907.4301
50 | 2673719.5754 | 1251912.2874
51 | 2673756.0376 | 1251901.3887
52 | 2673734.1048 | 1251957.2272
53 | 2673865.0113 | 1252037.392
54 | 2673827.963 | 1252066.3043
55 | 2673898.2797 | 1252011.4296
56 | 2673855.3021 | 1251969.8747
57 | 2673797.688 | 1251921.7442
58 | 2673793.8554 | 1251885.8815
59 | 2673697.8854 | 1251946.3103
60 | 2673739.6486 | 1252055.0227
61 | 2673940.2912 | 1252046.773
62 | 2673839.6536 | 1251892.5901
63 | 2673966.03 | 1252081.7705
64 | 2673788.3882 | 1251888.5138
65 | 2673870.614 | 1252154.8657
66 | 2673970.1793 | 1252087.3485
67 | 2673898.2797 | 1252011.4296

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98329 | -0.3203 | 0.03054 | 0.007654
1 | 0.98323 | -0.3216 | 0 | 0
2 | 0.98353 | -0.31572 | 0 | 0
3 | 0.98301 | -0.32592 | 0 | 0
4 | 0.98477 | -0.29157 | 0.0082645 | 0.0020713
5 | 0.98398 | -0.30642 | 0 | 0
6 | 0.98393 | -0.30732 | 0.0024254 | 0.00060787
7 | 0.98417 | -0.30272 | 0 | 0
8 | 0.983 | -0.32604 | 0.0020874 | 0.00052315
9 | 0.98732 | -0.24192 | 0 | 0
10 | 0.98898 | -0.20969 | 0 | 0
11 | 0.98644 | -0.25902 | 0.0083307 | 0.0020879
12 | 0.98565 | -0.27425 | 0 | 0
13 | 0.99008 | -0.18839 | 0 | 0
14 | 0.98991 | -0.19187 | 0.0087717 | 0.0021984
15 | 0.99029 | -0.18446 | 0 | 0
16 | 0.97636 | -0.4552 | 0.001564 | 0.00039199
17 | 0.97696 | -0.44354 | 0.0035309 | 0.00088492
18 | 0.97612 | -0.45997 | 0.0030454 | 0.00076324
19 | 0.97726 | -0.43759 | 0 | 0
20 | 0.9754 | -0.47415 | 0.0058934 | 0.001477
21 | 0.978 | -0.42295 | 0 | 0
22 | 0.9771 | -0.44065 | 0 | 0
23 | 0.9749 | -0.48402 | 0.0085441 | 0.0021414
24 | 0.97698 | -0.44307 | 0 | 0
25 | 0.97959 | -0.3919 | 0.010951 | 0.0027446
26 | 0.97703 | -0.44211 | 0.0029577 | 0.00074126
27 | 0.98135 | -0.35755 | 0 | 0
28 | 0.9815 | -0.35473 | 0 | 0
29 | 0.97441 | -0.4937 | 0.0035457 | 0.00088863
30 | 0.97398 | -0.50218 | 0.0066028 | 0.0016548
31 | 0.97413 | -0.49916 | 0.0050778 | 0.0012726
32 | 0.97133 | -0.5532 | 0.09309 | 0.023331
33 | 0.97201 | -0.53988 | 0 | 0
34 | 0.97424 | -0.49588 | 0 | 0
35 | 0.97483 | -0.48418 | 0.005476 | 0.0013724
36 | 0.97553 | -0.47052 | 0 | 0
37 | 0.97566 | -0.46804 | 0 | 0
38 | 0.97628 | -0.45584 | 0.068399 | 0.017142
39 | 0.97874 | -0.40762 | 0.0011266 | 0.00028235
40 | 0.97639 | -0.45473 | 0 | 0
41 | 0.97628 | -0.45695 | 0.012851 | 0.0032208
42 | 0.97674 | -0.44789 | 0.0059053 | 0.00148
43 | 0.97699 | -0.44284 | 0.0026351 | 0.00066042
44 | 0.98184 | -0.34808 | 0.0076568 | 0.001919
45 | 0.98153 | -0.35408 | 0.0071401 | 0.0017895
46 | 0.98154 | -0.35399 | 0.0068578 | 0.0017187
47 | 0.98101 | -0.36421 | 0.025627 | 0.0064228
48 | 0.98226 | -0.33993 | 0 | 0
49 | 0.98251 | -0.33496 | 0 | 0
50 | 0.98213 | -0.34227 | 0 | 0
51 | 0.98305 | -0.32445 | 0 | 0
52 | 0.97991 | -0.38585 | 0.0013523 | 0.00033891
53 | 0.99518 | -0.091206 | 0.043321 | 0.010857
54 | 1 | 0 | -0.56571 | -0.14526
55 | 0.99118 | -0.16737 | 0 | 0
56 | 0.98881 | -0.21286 | 0 | 0
57 | 0.98591 | -0.26889 | 0.0013141 | 0.00032935
58 | 0.98429 | -0.30028 | 0 | 0
59 | 0.97892 | -0.40525 | 0.021294 | 0.0053369
60 | 0.97864 | -0.41079 | 0.014004 | 0.0035097
61 | 0.98807 | -0.22692 | 0.039661 | 0.0099401
62 | 0.98413 | -0.30342 | 0.0014619 | 0.00036638
63 | 0.98642 | -0.25866 | 0 | 0
64 | 0.98406 | -0.30472 | 0.046402 | 0.011629
65 | 0.98158 | -0.35232 | 0.036165 | 0.0090638
66 | 0.98616 | -0.26375 | 0 | 0
67 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.002088 | 0.00052158 | -0.0020878 | -0.00052194 | 1.2954e-07 | -3.561e-07 | 0.0031591 | 0.0031593 | 0.0031593 | 0.98329 | -0.3203 | 0.98323 | -0.3216 | 0.86793
1 | -0.032628 | -0.0081756 | 0.032635 | 0.00818 | 7.1107e-06 | 4.4521e-06 | 0.049375 | 0.049375 | 0.049375 | 0.98329 | -0.3203 | 0.98353 | -0.31572 | 13.5645
2 | 0.0020878 | 0.00052194 | -0.0020874 | -0.00052312 | 4.2905e-07 | -1.1787e-06 | 0.0031593 | 0.0031598 | 0.0031598 | 0.98323 | -0.3216 | 0.98301 | -0.32592 | 0.86807
3 | -0.032635 | -0.00818 | 0.032672 | 0.0082035 | 3.7592e-05 | 2.3536e-05 | 0.049375 | 0.049375 | 0.049375 | 0.98353 | -0.31572 | 0.98477 | -0.29157 | 13.5645
4 | 0.0020874 | 0.00052312 | -0.0020874 | -0.00052315 | 1.1675e-08 | -3.2058e-08 | 0.0031598 | 0.0031598 | 0.0031598 | 0.98301 | -0.32592 | 0.983 | -0.32604 | 0.86808
5 | -0.040937 | -0.010275 | 0.040971 | 0.010296 | 3.3844e-05 | 2.136e-05 | 0.061863 | 0.061862 | 0.061863 | 0.98477 | -0.29157 | 0.98565 | -0.27425 | 16.9952
6 | 0.0024255 | 0.00060767 | -0.0024254 | -0.00060787 | 1.0506e-07 | -1.9726e-07 | 0.0036679 | 0.003668 | 0.003668 | 0.98398 | -0.30642 | 0.98393 | -0.30732 | 1.0077
7 | -0.0024255 | -0.00060767 | 0.0024259 | 0.00060687 | 4.2658e-07 | -8.0135e-07 | 0.0036679 | 0.0036675 | 0.0036679 | 0.98398 | -0.30642 | 0.98417 | -0.30272 | 1.0077
8 | -0.0038879 | -0.00097294 | 0.0038883 | 0.00097279 | 4.5131e-07 | -1.5389e-07 | 0.0058778 | 0.0058776 | 0.0058778 | 0.98417 | -0.30272 | 0.98429 | -0.30028 | 1.6148
9 | 0.0014619 | 0.00036607 | -0.0014619 | -0.00036638 | 4.8945e-08 | -3.0815e-07 | 0.0022103 | 0.0022104 | 0.0022104 | 0.98417 | -0.30272 | 0.98413 | -0.30342 | 0.60725
10 | -0.049372 | -0.012428 | 0.049448 | 0.012477 | 7.6206e-05 | 4.8302e-05 | 0.074429 | 0.074429 | 0.074429 | 0.98732 | -0.24192 | 0.98898 | -0.20969 | 20.4475
11 | 0.049372 | 0.012428 | -0.049331 | -0.012403 | 4.0322e-05 | 2.5558e-05 | 0.074429 | 0.074429 | 0.074429 | 0.98732 | -0.24192 | 0.98644 | -0.25902 | 20.4475
12 | -0.049448 | -0.012477 | 0.049498 | 0.012509 | 5.0478e-05 | 3.1994e-05 | 0.074429 | 0.074429 | 0.074429 | 0.98898 | -0.20969 | 0.99008 | -0.18839 | 20.4474
13 | 0.041001 | 0.010315 | -0.040971 | -0.010296 | 2.9811e-05 | 1.8814e-05 | 0.061862 | 0.061862 | 0.061862 | 0.98644 | -0.25902 | 0.98565 | -0.27425 | 16.9952
14 | -0.058271 | -0.014708 | 0.058282 | 0.014715 | 1.0973e-05 | 6.9738e-06 | 0.087614 | 0.087614 | 0.087614 | 0.99008 | -0.18839 | 0.99029 | -0.18446 | 24.0698
15 | 0.0087732 | 0.002199 | -0.0087717 | -0.0021984 | 1.4534e-06 | 6.4353e-07 | 0.013185 | 0.013186 | 0.013186 | 0.99008 | -0.18839 | 0.98991 | -0.19187 | 3.6224
16 | 0.24695 | 0.063036 | -0.24644 | -0.062716 | 0.00050547 | 0.00032037 | 0.37147 | 0.37147 | 0.37147 | 0.99029 | -0.18446 | 0.98807 | -0.22692 | 20.4106
17 | -0.30523 | -0.077751 | 0.30548 | 0.077911 | 0.00025184 | 0.00016015 | 0.45909 | 0.45909 | 0.45909 | 0.99029 | -0.18446 | 0.99118 | -0.16737 | 25.2245
18 | -0.034323 | -0.0086197 | 0.034342 | 0.0086317 | 1.9108e-05 | 1.1996e-05 | 0.052316 | 0.052316 | 0.052316 | 0.97636 | -0.4552 | 0.97696 | -0.44354 | 14.3725
19 | 0.032759 | 0.0082278 | -0.032751 | -0.0082231 | 7.4632e-06 | 4.6766e-06 | 0.049932 | 0.049932 | 0.049932 | 0.97636 | -0.4552 | 0.97612 | -0.45997 | 13.7177
20 | -0.037873 | -0.0095167 | 0.037884 | 0.0095234 | 1.0751e-05 | 6.7729e-06 | 0.057694 | 0.057694 | 0.057694 | 0.97696 | -0.44354 | 0.97726 | -0.43759 | 15.8499
21 | 0.029706 | 0.0074598 | -0.029686 | -0.0074473 | 2.0079e-05 | 1.2524e-05 | 0.04529 | 0.04529 | 0.04529 | 0.97612 | -0.45997 | 0.9754 | -0.47415 | 12.4423
22 | -0.043478 | -0.010925 | 0.043508 | 0.010944 | 3.0412e-05 | 1.9232e-05 | 0.066211 | 0.066211 | 0.066211 | 0.97726 | -0.43759 | 0.978 | -0.42295 | 18.1899
23 | 0.0055941 | 0.0014018 | -0.0055933 | -0.0014016 | 8.1509e-07 | 1.4635e-07 | 0.0085177 | 0.0085178 | 0.0085178 | 0.97726 | -0.43759 | 0.9771 | -0.44065 | 2.3401
24 | 0.023793 | 0.0059703 | -0.023781 | -0.0059634 | 1.1189e-05 | 6.8783e-06 | 0.036299 | 0.036299 | 0.036299 | 0.9754 | -0.47415 | 0.9749 | -0.48402 | 9.9724
25 | 0.018784 | 0.0047166 | -0.018766 | -0.0047059 | 1.8017e-05 | 1.0794e-05 | 0.028583 | 0.028584 | 0.028584 | 0.978 | -0.42295 | 0.97698 | -0.44307 | 7.8526
26 | -0.062293 | -0.015661 | 0.062385 | 0.01572 | 9.2515e-05 | 5.8864e-05 | 0.094795 | 0.094795 | 0.094795 | 0.978 | -0.42295 | 0.97959 | -0.3919 | 26.0425
27 | 0.0055933 | 0.0014016 | -0.0055929 | -0.0014015 | 3.8872e-07 | 6.9843e-08 | 0.0085178 | 0.0085179 | 0.0085179 | 0.9771 | -0.44065 | 0.97703 | -0.44211 | 2.3401
28 | 0.015237 | 0.0038221 | -0.01523 | -0.003818 | 7.0301e-06 | 4.0674e-06 | 0.023258 | 0.023258 | 0.023258 | 0.9749 | -0.48402 | 0.97441 | -0.4937 | 6.3897
29 | 0.0059066 | 0.0014803 | -0.0059053 | -0.00148 | 1.355e-06 | 3.0829e-07 | 0.0089962 | 0.0089964 | 0.0089964 | 0.97698 | -0.44307 | 0.97674 | -0.44789 | 2.4716
30 | 0.01286 | 0.0032255 | -0.012853 | -0.0032216 | 7.1448e-06 | 3.9512e-06 | 0.019587 | 0.019588 | 0.019588 | 0.97698 | -0.44307 | 0.97639 | -0.45473 | 5.3812
31 | -0.073336 | -0.018465 | 0.073457 | 0.01854 | 0.00012063 | 7.5897e-05 | 0.11143 | 0.11143 | 0.11143 | 0.97959 | -0.3919 | 0.98135 | -0.35755 | 15.3063
32 | 0.0026352 | 0.00066029 | -0.0026351 | -0.00066042 | 9.2261e-08 | -1.3223e-07 | 0.0040134 | 0.0040134 | 0.0040134 | 0.97703 | -0.44211 | 0.97699 | -0.44284 | 1.1026
33 | -0.073457 | -0.01854 | 0.073467 | 0.018546 | 9.9316e-06 | 5.6824e-06 | 0.11143 | 0.11143 | 0.11143 | 0.98135 | -0.35755 | 0.9815 | -0.35473 | 6.1225
34 | -0.073467 | -0.018546 | 0.07349 | 0.01856 | 2.3419e-05 | 1.3399e-05 | 0.11143 | 0.11143 | 0.11143 | 0.9815 | -0.35473 | 0.98184 | -0.34808 | 6.1225
35 | 0.011685 | 0.0029294 | -0.011682 | -0.0029277 | 3.0372e-06 | 1.627e-06 | 0.017844 | 0.017844 | 0.017844 | 0.97441 | -0.4937 | 0.97413 | -0.49916 | 4.9022
36 | -0.0066028 | -0.0016548 | 0.0066037 | 0.0016551 | 9.5035e-07 | 2.9822e-07 | 0.010088 | 0.010087 | 0.010088 | 0.97398 | -0.50218 | 0.97413 | -0.49916 | 2.7713
37 | -0.09309 | -0.023331 | 0.09315 | 0.023368 | 5.9114e-05 | 3.7737e-05 | 0.14261 | 0.14261 | 0.14261 | 0.97133 | -0.5532 | 0.97201 | -0.53988 | 39.178
38 | -0.09315 | -0.023368 | 0.093345 | 0.023492 | 0.00019586 | 0.00012407 | 0.14261 | 0.14261 | 0.14261 | 0.97201 | -0.53988 | 0.97424 | -0.49588 | 19.589
39 | -0.093345 | -0.023492 | 0.093398 | 0.023524 | 5.2225e-05 | 3.1291e-05 | 0.14261 | 0.14261 | 0.14261 | 0.97424 | -0.49588 | 0.97483 | -0.48418 | 7.8356
40 | -0.098874 | -0.024896 | 0.098938 | 0.024935 | 6.4613e-05 | 3.8994e-05 | 0.15097 | 0.15096 | 0.15097 | 0.97483 | -0.48418 | 0.97553 | -0.47052 | 8.2948
41 | -0.098938 | -0.024935 | 0.09895 | 0.024942 | 1.1739e-05 | 7.0843e-06 | 0.15096 | 0.15096 | 0.15096 | 0.97553 | -0.47052 | 0.97566 | -0.46804 | 8.2948
42 | -0.09895 | -0.024942 | 0.099008 | 0.024977 | 5.7777e-05 | 3.4866e-05 | 0.15096 | 0.15096 | 0.15096 | 0.97566 | -0.46804 | 0.97628 | -0.45584 | 8.2948
43 | -0.16741 | -0.04212 | 0.16779 | 0.042362 | 0.00038667 | 0.0002425 | 0.25522 | 0.25521 | 0.25522 | 0.97628 | -0.45584 | 0.97874 | -0.40762 | 14.0228
44 | -0.16892 | -0.042644 | 0.16937 | 0.042926 | 0.00044878 | 0.00028151 | 0.25693 | 0.25692 | 0.25693 | 0.97874 | -0.40762 | 0.98158 | -0.35232 | 14.1169
45 | 0.012853 | 0.0032216 | -0.012851 | -0.0032208 | 1.3553e-06 | 7.4956e-07 | 0.019588 | 0.019588 | 0.019588 | 0.97639 | -0.45473 | 0.97628 | -0.45695 | 5.3812
46 | -0.081147 | -0.020479 | 0.08117 | 0.020492 | 2.256e-05 | 1.3181e-05 | 0.12303 | 0.12303 | 0.12303 | 0.98184 | -0.34808 | 0.98213 | -0.34227 | 6.76
47 | -0.03278 | -0.00822 | 0.03278 | 0.00822 | 1.3926e-07 | 8.7223e-08 | 0.049696 | 0.049696 | 0.049696 | 0.98153 | -0.35408 | 0.98154 | -0.35399 | 13.6528
48 | 0.02564 | 0.0064305 | -0.025627 | -0.0064228 | 1.2382e-05 | 7.6487e-06 | 0.038872 | 0.038872 | 0.038872 | 0.98153 | -0.35408 | 0.98101 | -0.36421 | 10.6791
49 | -0.039638 | -0.0099388 | 0.039664 | 0.0099555 | 2.657e-05 | 1.6757e-05 | 0.060093 | 0.060093 | 0.060093 | 0.98154 | -0.35399 | 0.98226 | -0.33993 | 16.509
50 | -0.12084 | -0.030453 | 0.12087 | 0.03047 | 2.8765e-05 | 1.7686e-05 | 0.18312 | 0.18312 | 0.18312 | 0.98226 | -0.33993 | 0.98251 | -0.33496 | 10.0618
51 | 0.081179 | 0.020497 | -0.08117 | -0.020492 | 9.1082e-06 | 5.3216e-06 | 0.12303 | 0.12303 | 0.12303 | 0.98226 | -0.33993 | 0.98213 | -0.34227 | 6.76
52 | -0.15765 | -0.039733 | 0.15773 | 0.039783 | 7.9251e-05 | 4.9547e-05 | 0.23884 | 0.23884 | 0.23884 | 0.98251 | -0.33496 | 0.98305 | -0.32445 | 13.123
53 | 0.036776 | 0.009263 | -0.036687 | -0.0092069 | 8.9275e-05 | 5.6167e-05 | 0.055714 | 0.055714 | 0.055714 | 0.98251 | -0.33496 | 0.97991 | -0.38585 | 15.3061
54 | -0.15773 | -0.039783 | 0.15788 | 0.039876 | 0.00014913 | 9.3231e-05 | 0.23884 | 0.23884 | 0.23884 | 0.98305 | -0.32445 | 0.98406 | -0.30472 | 13.123
55 | 0.021314 | 0.0053488 | -0.021294 | -0.0053369 | 1.9695e-05 | 1.1974e-05 | 0.032368 | 0.032369 | 0.032369 | 0.97991 | -0.38585 | 0.97892 | -0.40525 | 8.8925
56 | 0.01402 | 0.0035191 | -0.014004 | -0.0035097 | 1.6653e-05 | 9.4258e-06 | 0.021292 | 0.021293 | 0.021293 | 0.97991 | -0.38585 | 0.97864 | -0.41079 | 5.8497
57 | -0.56157 | -0.14367 | 0.56406 | 0.14526 | 0.0024912 | 0.0015913 | 0.84072 | 0.84072 | 0.84072 | 0.99518 | -0.091206 | 1 | 0 | 46.1933
58 | 0.51825 | 0.13281 | -0.51634 | -0.13159 | 0.0019056 | 0.0012169 | 0.77594 | 0.77594 | 0.77594 | 0.99518 | -0.091206 | 0.99118 | -0.16737 | 42.6343
59 | 0.21086 | 0.053681 | -0.2104 | -0.05339 | 0.00046144 | 0.00029138 | 0.31686 | 0.31686 | 0.31686 | 0.99118 | -0.16737 | 0.98881 | -0.21286 | 17.4099
60 | 0.2104 | 0.05339 | -0.20984 | -0.053033 | 0.0005653 | 0.00035699 | 0.31686 | 0.31686 | 0.31686 | 0.98881 | -0.21286 | 0.98591 | -0.26889 | 17.41
61 | 0.20852 | 0.052703 | -0.20821 | -0.052506 | 0.00031335 | 0.00019786 | 0.31488 | 0.31488 | 0.31488 | 0.98591 | -0.26889 | 0.98429 | -0.30028 | 17.301
62 | 0.20432 | 0.051533 | -0.20428 | -0.051505 | 4.3453e-05 | 2.7424e-05 | 0.309 | 0.309 | 0.309 | 0.98429 | -0.30028 | 0.98406 | -0.30472 | 16.9781
63 | 0.20678 | 0.052776 | -0.20646 | -0.052576 | 0.00031665 | 0.00019988 | 0.31174 | 0.31175 | 0.31175 | 0.98807 | -0.22692 | 0.98642 | -0.25866 | 17.1289
64 | 0.20646 | 0.052576 | -0.20641 | -0.052544 | 5.0621e-05 | 3.1955e-05 | 0.31175 | 0.31175 | 0.31175 | 0.98642 | -0.25866 | 0.98616 | -0.26375 | 17.1289
65 | -0.20553 | -0.05199 | 0.20641 | 0.052544 | 0.00087743 | 0.00055391 | 0.31175 | 0.31175 | 0.31175 | 0.98158 | -0.35232 | 0.98616 | -0.26375 | 17.1291

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.56571 | 0.14526

## res_load
| p_mw | q_mvar
0 | 0.03054 | 0.007654
1 | 0.0082645 | 0.0020713
2 | 0.0024254 | 0.00060787
3 | 0.0020874 | 0.00052315
4 | 0.0083307 | 0.0020879
5 | 0.0087717 | 0.0021984
6 | 0.001564 | 0.00039199
7 | 0.0035309 | 0.00088492
8 | 0.0030454 | 0.00076324
9 | 0.0058934 | 0.001477
10 | 0.0085441 | 0.0021414
11 | 0.010951 | 0.0027446
12 | 0.0029577 | 0.00074126
13 | 0.0035457 | 0.00088863
14 | 0.0066028 | 0.0016548
15 | 0.0050778 | 0.0012726
16 | 0.09309 | 0.023331
17 | 0.005476 | 0.0013724
18 | 0.068399 | 0.017142
19 | 0.0011266 | 0.00028235
20 | 0.012851 | 0.0032208
21 | 0.0059053 | 0.00148
22 | 0.0026351 | 0.00066042
23 | 0.0076568 | 0.001919
24 | 0.0071401 | 0.0017895
25 | 0.0068578 | 0.0017187
26 | 0.025627 | 0.0064228
27 | 0.0013523 | 0.00033891
28 | 0.043321 | 0.010857
29 | 0.0013141 | 0.00032935
30 | 0.021294 | 0.0053369
31 | 0.014004 | 0.0035097
32 | 0.039661 | 0.0099401
33 | 0.0014619 | 0.00036638
34 | 0.046402 | 0.011629
35 | 0.036165 | 0.0090638

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1