## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2513-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2513-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2513-12_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2513-12_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2513-12_0_4_node_81 | 0.4 | n |  | TRUE
5 | bus_LV_2513-12_0_4_node_76 | 0.4 | n |  | TRUE
6 | bus_LV_2513-12_0_4_node_72 | 0.4 | n |  | TRUE
7 | bus_LV_2513-12_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_2513-12_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2513-12_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2513-12_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2513-12_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2513-12_0_4_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_2513-12_0_4_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_2513-12_0_4_node_52 | 0.4 | n |  | TRUE
15 | bus_LV_2513-12_0_4_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_2513-12_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2513-12_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2513-12_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2513-12_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2513-12_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2513-12_0_4_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_2513-12_0_4_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_2513-12_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2513-12_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_2513-12_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_2513-12_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_2513-12_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_2513-12_0_4_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_2513-12_0_4_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_2513-12_0_4_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_2513-12_0_4_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_2513-12_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_2513-12_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_2513-12_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_2513-12_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_2513-12_0_4_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_2513-12_0_4_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_2513-12_0_4_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_2513-12_0_4_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_2513-12_0_4_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_2513-12_0_4_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_2513-12_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_2513-12_0_4_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_2513-12_0_4_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_2513-12_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_2513-12_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_2513-12_0_4_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_2513-12_0_4_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_2513-12_0_4_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_2513-12_0_4_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_2513-12_0_4_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_2513-12_0_4_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_2513-12_0_4_node_79 | 0.4 | n |  | TRUE
54 | bus_LV_2513-12_0_4_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_2513-12_0_4_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_2513-12_0_4_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_2513-12_0_4_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_2513-12_0_4_node_86 | 0.4 | n |  | TRUE
59 | bus_LV_2513-12_0_4_node_85 | 0.4 | n |  | TRUE
60 | bus_LV_2513-12_0_4_node_80 | 0.4 | n |  | TRUE
61 | bus_LV_2513-12_0_4_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_2513-12_0_4_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_2513-12_0_4_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_2513-12_0_4_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_2513-12_0_4_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_2513-12_0_4_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_2513-12_0_4_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_2513-12_0_4_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_2513-12_0_4_node_88 | 0.4 | n |  | TRUE
70 | bus_LV_2513-12_0_4_node_89 | 0.4 | n |  | TRUE
71 | bus_LV_2513-12_0_4_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_2513-12_0_4_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_2513-12_0_4_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_2513-12_0_4_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_2513-12_0_4_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_2513-12_0_4_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_2513-12_0_4_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_2513-12_0_4_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_2513-12_0_4_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_2513-12_0_4_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_2513-12_0_4_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_2513-12_0_4_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_2513-12_0_4_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_2513-12_0_4_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_2513-12_0_4_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_2513-12_0_4_node_71 | 0.4 | n |  | TRUE
87 | bus_MV_393_0_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2513-12_0_4_load_0 | 0 | 0.001801 | 0.00045138 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2513-12_0_4_load_1 | 1 | 0.0025752 | 0.00064541 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2513-12_0_4_load_3 | 3 | 0.0025036 | 0.00062747 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2513-12_0_4_load_72 | 6 | 0.0049551 | 0.0012419 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2513-12_0_4_load_4 | 7 | 0.026639 | 0.0066765 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2513-12_0_4_load_5 | 8 | 0.019188 | 0.0048089 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2513-12_0_4_load_6 | 9 | 0.0014873 | 0.00037275 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2513-12_0_4_load_7 | 10 | 0.022801 | 0.0057145 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2513-12_0_4_load_8 | 11 | 0.0010218 | 0.00025609 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2513-12_0_4_load_53 | 12 | 0.016673 | 0.0041786 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2513-12_0_4_load_23 | 13 | 0.0016892 | 0.00042335 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2513-12_0_4_load_52 | 14 | 0.014767 | 0.0037011 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2513-12_0_4_load_9 | 16 | 0.0032894 | 0.00082441 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2513-12_0_4_load_10 | 17 | 0.0018101 | 0.00045365 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2513-12_0_4_load_11 | 18 | 0.0026097 | 0.00065406 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2513-12_0_4_load_12 | 19 | 0.0021308 | 0.00053404 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2513-12_0_4_load_13 | 20 | 0.001397 | 0.00035012 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2513-12_0_4_load_37 | 21 | 0.0023996 | 0.0006014 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2513-12_0_4_load_14 | 23 | 0.002327 | 0.00058321 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2513-12_0_4_load_15 | 24 | 0.0016936 | 0.00042447 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2513-12_0_4_load_17 | 26 | 0.0014574 | 0.00036525 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2513-12_0_4_load_18 | 27 | 0.0019179 | 0.00048067 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2513-12_0_4_load_39 | 28 | 0.0017184 | 0.00043067 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2513-12_0_4_load_42 | 29 | 0.0015478 | 0.00038791 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2513-12_0_4_load_40 | 30 | 0.0017365 | 0.00043521 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2513-12_0_4_load_41 | 31 | 0.0016596 | 0.00041593 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2513-12_0_4_load_19 | 32 | 0.002587 | 0.00064836 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2513-12_0_4_load_20 | 33 | 0.0015668 | 0.00039269 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2513-12_0_4_load_21 | 34 | 0.001604 | 0.00040199 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2513-12_0_4_load_22 | 35 | 0.0011974 | 0.00030009 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2513-12_0_4_load_48 | 36 | 0.00095477 | 0.00023929 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2513-12_0_4_load_55 | 37 | 0.0013881 | 0.00034788 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2513-12_0_4_load_45 | 38 | 0.0016481 | 0.00041304 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2513-12_0_4_load_49 | 39 | 0.0018031 | 0.00045191 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2513-12_0_4_load_44 | 40 | 0.0016283 | 0.0004081 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2513-12_0_4_load_50 | 41 | 0.0025336 | 0.00063498 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2513-12_0_4_load_25 | 42 | 0.0018962 | 0.00047522 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2513-12_0_4_load_26 | 43 | 0.0037388 | 0.00093702 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2513-12_0_4_load_28 | 45 | 0.0014997 | 0.00037586 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2513-12_0_4_load_29 | 46 | 0.0025107 | 0.00062924 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2513-12_0_4_load_73 | 47 | 0.0015893 | 0.0003983 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2513-12_0_4_load_30 | 49 | 0.078307 | 0.019626 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2513-12_0_4_load_33 | 51 | 0.017049 | 0.0042729 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2513-12_0_4_load_79 | 53 | 0.019411 | 0.0048649 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2513-12_0_4_load_54 | 54 | 0.037932 | 0.0095067 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2513-12_0_4_load_35 | 55 | 0.0024266 | 0.00060816 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2513-12_0_4_load_86 | 58 | 0.017922 | 0.0044917 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2513-12_0_4_load_85 | 59 | 0.0054006 | 0.0013535 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2513-12_0_4_load_58 | 61 | 0.0017056 | 0.00042745 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2513-12_0_4_load_82 | 64 | 0.023512 | 0.0058927 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2513-12_0_4_load_75 | 65 | 0.0029548 | 0.00074055 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2513-12_0_4_load_46 | 66 | 0.00081327 | 0.00020383 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2513-12_0_4_load_47 | 67 | 0.0099098 | 0.0024836 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2513-12_0_4_load_51 | 68 | 0.0012505 | 0.00031342 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2513-12_0_4_load_88 | 69 | 0.0022789 | 0.00057113 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2513-12_0_4_load_89 | 70 | 0.0016607 | 0.00041622 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2513-12_0_4_load_61 | 71 | 0.0037541 | 0.00094086 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2513-12_0_4_load_59 | 72 | 0.0020464 | 0.00051286 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2513-12_0_4_load_60 | 73 | 0.0011789 | 0.00029547 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2513-12_0_4_load_77 | 75 | 0.0040481 | 0.0010146 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2513-12_0_4_load_78 | 76 | 0.0015666 | 0.00039262 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2513-12_0_4_load_64 | 77 | 0.006527 | 0.0016358 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2513-12_0_4_load_66 | 79 | 0.0019706 | 0.00049389 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2513-12_0_4_load_67 | 80 | 0.0043624 | 0.0010933 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2513-12_0_4_load_83 | 81 | 0.031415 | 0.0078733 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2513-12_0_4_load_84 | 82 | 0.027065 | 0.0067832 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2513-12_0_4_load_68 | 83 | 0.0043525 | 0.0010908 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2513-12_0_4_load_69 | 84 | 0.0040183 | 0.0010071 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2513-12_0_4_load_70 | 85 | 0.0037205 | 0.00093243 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2513-12_0_4_load_71 | 86 | 0.00048107 | 0.00012057 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2513-12_0_4_line_0 |  | 0 | 1 | 0.010847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2513-12_0_4_line_1 |  | 0 | 2 | 0.0071929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2513-12_0_4_line_2 |  | 2 | 3 | 0.0083353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2513-12_0_4_line_3 |  | 3 | 4 | 0.015472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2513-12_0_4_line_4 |  | 4 | 5 | 0.039302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2513-12_0_4_line_5 |  | 4 | 6 | 0.000844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2513-12_0_4_line_6 |  | 5 | 64 | 0.026264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2513-12_0_4_line_7 |  | 5 | 65 | 0.022331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2513-12_0_4_line_8 |  | 6 | 85 | 0.022081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2513-12_0_4_line_9 |  | 7 | 8 | 0.024864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2513-12_0_4_line_10 |  | 7 | 9 | 0.0029449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2513-12_0_4_line_11 |  | 8 | 10 | 0.0012163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2513-12_0_4_line_12 |  | 9 | 11 | 0.020294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2513-12_0_4_line_13 |  | 10 | 12 | 0.014808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2513-12_0_4_line_14 |  | 11 | 13 | 0.025828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2513-12_0_4_line_15 |  | 12 | 14 | 0.0025494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2513-12_0_4_line_16 |  | 13 | 15 | 0.010585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2513-12_0_4_line_17 |  | 14 | 54 | 0.018725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2513-12_0_4_line_18 |  | 15 | 38 | 0.013787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2513-12_0_4_line_19 |  | 15 | 39 | 0.015742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2513-12_0_4_line_20 |  | 16 | 17 | 0.0068652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2513-12_0_4_line_21 |  | 16 | 18 | 0.030856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2513-12_0_4_line_22 |  | 17 | 19 | 0.018024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2513-12_0_4_line_23 |  | 18 | 20 | 0.016056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2513-12_0_4_line_24 |  | 19 | 21 | 0.0038737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2513-12_0_4_line_25 |  | 21 | 22 | 0.015569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2513-12_0_4_line_26 |  | 22 | 30 | 0.010404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2513-12_0_4_line_27 |  | 23 | 24 | 0.0067171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2513-12_0_4_line_28 |  | 23 | 25 | 0.0057348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2513-12_0_4_line_29 |  | 24 | 26 | 0.012636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2513-12_0_4_line_30 |  | 25 | 27 | 0.012627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2513-12_0_4_line_31 |  | 26 | 28 | 0.017592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2513-12_0_4_line_32 |  | 27 | 29 | 0.0078147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2513-12_0_4_line_33 |  | 28 | 30 | 0.0013638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2513-12_0_4_line_34 |  | 29 | 31 | 0.0098969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2513-12_0_4_line_35 |  | 31 | 45 | 0.0071322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2513-12_0_4_line_36 |  | 32 | 33 | 0.0082635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2513-12_0_4_line_37 |  | 32 | 34 | 0.0062925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2513-12_0_4_line_38 |  | 33 | 35 | 0.0063878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2513-12_0_4_line_39 |  | 35 | 36 | 0.0085725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2513-12_0_4_line_40 |  | 36 | 37 | 0.025944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2513-12_0_4_line_41 |  | 37 | 63 | 0.018181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2513-12_0_4_line_42 |  | 38 | 40 | 0.022033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2513-12_0_4_line_43 |  | 39 | 41 | 0.013075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2513-12_0_4_line_44 |  | 40 | 66 | 3.834e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2513-12_0_4_line_45 |  | 41 | 68 | 0.014236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2513-12_0_4_line_46 |  | 42 | 43 | 0.0030116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2513-12_0_4_line_47 |  | 42 | 44 | 0.0153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2513-12_0_4_line_48 |  | 43 | 45 | 0.015601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2513-12_0_4_line_49 |  | 44 | 46 | 0.0086809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2513-12_0_4_line_50 |  | 46 | 47 | 0.021231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2513-12_0_4_line_51 |  | 47 | 48 | 0.015689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2513-12_0_4_line_52 |  | 48 | 61 | 0.035509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2513-12_0_4_line_53 |  | 48 | 52 | 0.008391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2513-12_0_4_line_54 |  | 49 | 50 | 0.018197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2513-12_0_4_line_55 |  | 50 | 51 | 0.010574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_2513-12_0_4_line_56 |  | 50 | 52 | 0.021149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_2513-12_0_4_line_57 |  | 51 | 53 | 0.023996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_2513-12_0_4_line_58 |  | 52 | 54 | 0.018594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_2513-12_0_4_line_59 |  | 53 | 60 | 0.0077058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_2513-12_0_4_line_60 |  | 55 | 56 | 0.016583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2513-12_0_4_line_61 |  | 56 | 62 | 0.084665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2513-12_0_4_line_62 |  | 56 | 63 | 0.012782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2513-12_0_4_line_63 |  | 57 | 58 | 0.014825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2513-12_0_4_line_64 |  | 57 | 59 | 0.00057775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2513-12_0_4_line_65 |  | 58 | 60 | 0.024518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2513-12_0_4_line_66 |  | 60 | 64 | 0.014196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2513-12_0_4_line_67 |  | 61 | 63 | 0.012171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2513-12_0_4_line_68 |  | 62 | 71 | 0.0074859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2513-12_0_4_line_69 |  | 65 | 79 | 0.029002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2513-12_0_4_line_70 |  | 66 | 67 | 0.0065881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2513-12_0_4_line_71 |  | 68 | 69 | 0.00063973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2513-12_0_4_line_72 |  | 69 | 70 | 0.0009479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2513-12_0_4_line_73 |  | 71 | 72 | 0.0056008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2513-12_0_4_line_74 |  | 72 | 73 | 3.5084e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2513-12_0_4_line_75 |  | 73 | 74 | 0.015783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2513-12_0_4_line_76 |  | 74 | 75 | 0.017499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2513-12_0_4_line_77 |  | 74 | 76 | 0.0063089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2513-12_0_4_line_78 |  | 77 | 78 | 0.024756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2513-12_0_4_line_79 |  | 78 | 79 | 0.018086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2513-12_0_4_line_80 |  | 78 | 80 | 0.021049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2513-12_0_4_line_81 |  | 80 | 81 | 0.0097522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2513-12_0_4_line_82 |  | 81 | 82 | 0.001997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2513-12_0_4_line_83 |  | 83 | 84 | 0.026624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2513-12_0_4_line_84 |  | 83 | 85 | 0.018733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2513-12_0_4_line_85 |  | 84 | 86 | 0.025605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2513-12_0_4_trafo_52 | 0.63 MVA 20/0.4 kV | 87 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2609048.3616 | 1226918.1507 | 2609042.0139 | 1226926.9461
1 | 2609052.5711 | 1226912.3182 | 2609048.3616 | 1226918.1507
2 | 2609052.5711 | 1226912.3182 | 2609059.4438 | 1226917.0345
3 | 2609072.2012 | 1226925.7892 | 2609059.4438 | 1226917.0345
4 | 2609087.0265 | 1226889.3791 | 2609076.1718 | 1226916.045 | 2609072.2012 | 1226925.7892
5 | 2609071.8828 | 1226926.5708 | 2609072.2012 | 1226925.7892
6 | 2609087.0265 | 1226889.3791 | 2609097.761 | 1226867.06 | 2609098.4485 | 1226865.7296
7 | 2609087.0265 | 1226889.3791 | 2609104.7336 | 1226902.9855
8 | 2609071.8828 | 1226926.5708 | 2609063.5533 | 1226947.0206
9 | 2609203.9604 | 1226855.7863 | 2609185.2227 | 1226839.4422
10 | 2609203.9604 | 1226855.7863 | 2609206.1797 | 1226857.722
11 | 2609184.3061 | 1226838.6427 | 2609185.2227 | 1226839.4422
12 | 2609206.1797 | 1226857.722 | 2609221.4729 | 1226871.0616
13 | 2609184.3061 | 1226838.6427 | 2609173.1466 | 1226828.9088
14 | 2609240.9367 | 1226888.039 | 2609221.4729 | 1226871.0616
15 | 2609171.2253 | 1226827.2329 | 2609173.1466 | 1226828.9088
16 | 2609248.9134 | 1226894.9967 | 2609240.9367 | 1226888.039
17 | 2609171.2253 | 1226827.2329 | 2609157.1141 | 1226814.9244
18 | 2609248.9134 | 1226894.9967 | 2609259.304 | 1226904.0585
19 | 2609248.9134 | 1226894.9967 | 2609239.5004 | 1226907.615
20 | 2609305.6543 | 1226871.5937 | 2609300.3183 | 1226867.2742
21 | 2609330.1755 | 1226885.6123 | 2609325.7989 | 1226887.9006 | 2609305.6543 | 1226871.5937
22 | 2609286.3092 | 1226855.9339 | 2609300.3183 | 1226867.2742
23 | 2609341.0842 | 1226874.3343 | 2609334.5969 | 1226883.3005 | 2609330.1755 | 1226885.6123
24 | 2609286.3092 | 1226855.9339 | 2609283.2984 | 1226853.4967
25 | 2609271.1973 | 1226843.7009 | 2609283.2984 | 1226853.4967
26 | 2609271.1973 | 1226843.7009 | 2609263.4595 | 1226836.7467
27 | 2609239.9627 | 1226815.6293 | 2609234.9668 | 1226811.1393
28 | 2609230.7015 | 1226807.3059 | 2609234.9668 | 1226811.1393
29 | 2609239.9627 | 1226815.6293 | 2609249.3609 | 1226824.0758
30 | 2609230.7015 | 1226807.3059 | 2609221.1666 | 1226799.0274
31 | 2609262.4452 | 1226835.8351 | 2609249.3609 | 1226824.0758
32 | 2609221.1666 | 1226799.0274 | 2609215.2657 | 1226793.904
33 | 2609262.4452 | 1226835.8351 | 2609263.4595 | 1226836.7467
34 | 2609207.7925 | 1226787.4156 | 2609215.2657 | 1226793.904
35 | 2609202.4069 | 1226782.7397 | 2609207.7925 | 1226787.4156
36 | 2609148.3864 | 1226717.4832 | 2609153.3909 | 1226710.9074
37 | 2609157.2018 | 1226705.9001 | 2609153.3909 | 1226710.9074
38 | 2609148.3864 | 1226717.4832 | 2609144.5179 | 1226722.5663
39 | 2609144.5179 | 1226722.5663 | 2609139.3262 | 1226729.3879
40 | 2609123.6143 | 1226750.0327 | 2609139.3262 | 1226729.3879
41 | 2609112.6038 | 1226764.4999 | 2609123.6143 | 1226750.0327
42 | 2609275.9096 | 1226918.5405 | 2609259.304 | 1226904.0585
43 | 2609239.5004 | 1226907.615 | 2609231.6826 | 1226918.0949
44 | 2609275.9385 | 1226918.5657 | 2609275.9096 | 1226918.5405
45 | 2609231.6826 | 1226918.0949 | 2609231.6826 | 1226918.0949 | 2609218.1897 | 1226922.6351
46 | 2609190.6265 | 1226772.5115 | 2609188.3525 | 1226770.5372
47 | 2609176.7997 | 1226760.5067 | 2609188.3525 | 1226770.5372
48 | 2609202.4069 | 1226782.7397 | 2609190.6265 | 1226772.5115
49 | 2609176.7997 | 1226760.5067 | 2609171.3748 | 1226767.2837
50 | 2609171.3748 | 1226767.2837 | 2609158.1074 | 1226783.8582
51 | 2609148.3032 | 1226796.1063 | 2609158.1074 | 1226783.8582
52 | 2609148.3032 | 1226796.1063 | 2609121.7169 | 1226772.5682
53 | 2609143.1019 | 1226802.7022 | 2609148.3032 | 1226796.1063
54 | 2609129.6178 | 1226819.0246 | 2609112.5532 | 1226812.706
55 | 2609129.6178 | 1226819.0246 | 2609122.883 | 1226827.1768
56 | 2609143.1019 | 1226802.7022 | 2609129.6178 | 1226819.0246
57 | 2609122.883 | 1226827.1768 | 2609110.8038 | 1226841.7983 | 2609108.4997 | 1226846.2702
58 | 2609143.1019 | 1226802.7022 | 2609157.1141 | 1226814.9244
59 | 2609104.9664 | 1226853.1183 | 2609107.9991 | 1226847.2416 | 2609108.4997 | 1226846.2702
60 | 2609103.5993 | 1226755.4031 | 2609094.8113 | 1226769.4658
61 | 2609103.5993 | 1226755.4031 | 2609086.7035 | 1226737.6003 | 2609102.2974 | 1226679.5009
62 | 2609112.6038 | 1226764.4999 | 2609103.5993 | 1226755.4031
63 | 2609076.9331 | 1226858.768 | 2609081.9029 | 1226844.8006
64 | 2609077.472 | 1226858.9763 | 2609076.9331 | 1226858.768
65 | 2609104.9664 | 1226853.1183 | 2609081.9029 | 1226844.8006
66 | 2609104.9664 | 1226853.1183 | 2609098.4485 | 1226865.7296
67 | 2609112.6038 | 1226764.4999 | 2609121.7169 | 1226772.5682
68 | 2609102.2974 | 1226679.5009 | 2609107.893 | 1226674.5282
69 | 2609127.7306 | 1226920.6568 | 2609104.7336 | 1226902.9855
70 | 2609280.9037 | 1226922.8959 | 2609275.9385 | 1226918.5657
71 | 2609217.5834 | 1226922.8391 | 2609218.1897 | 1226922.6351
72 | 2609216.685 | 1226923.1414 | 2609217.5834 | 1226922.8391
73 | 2609112.0795 | 1226670.8076 | 2609107.893 | 1226674.5282
74 | 2609112.1058 | 1226670.7843 | 2609112.0795 | 1226670.8076
75 | 2609123.9029 | 1226660.3003 | 2609112.1058 | 1226670.7843
76 | 2609123.9029 | 1226660.3003 | 2609112.1374 | 1226647.3472
77 | 2609123.9029 | 1226660.3003 | 2609128.8211 | 1226656.3488
78 | 2609142.0714 | 1226931.6766 | 2609161.7052 | 1226946.7563
79 | 2609142.0714 | 1226931.6766 | 2609127.7306 | 1226920.6568
80 | 2609142.0714 | 1226931.6766 | 2609155.6167 | 1226915.565
81 | 2609161.8923 | 1226908.1004 | 2609155.6167 | 1226915.565
82 | 2609163.1774 | 1226906.5718 | 2609161.8923 | 1226908.1004
83 | 2609053.5429 | 1226962.7927 | 2609038.5853 | 1226984.8173
84 | 2609053.5429 | 1226962.7927 | 2609062.5028 | 1226949.5996 | 2609063.5533 | 1226947.0206
85 | 2609021.3531 | 1227003.6444 | 2609035.1984 | 1226989.8043 | 2609038.5853 | 1226984.8173

## bus_geodata
| x | y | coords
0 | 2609048.3616 | 1226918.1507
1 | 2609042.0139 | 1226926.9461
2 | 2609052.5711 | 1226912.3182
3 | 2609059.4438 | 1226917.0345
4 | 2609072.2012 | 1226925.7892
5 | 2609087.0265 | 1226889.3791
6 | 2609071.8828 | 1226926.5708
7 | 2609203.9604 | 1226855.7863
8 | 2609185.2227 | 1226839.4422
9 | 2609206.1797 | 1226857.722
10 | 2609184.3061 | 1226838.6427
11 | 2609221.4729 | 1226871.0616
12 | 2609173.1466 | 1226828.9088
13 | 2609240.9367 | 1226888.039
14 | 2609171.2253 | 1226827.2329
15 | 2609248.9134 | 1226894.9967
16 | 2609305.6543 | 1226871.5937
17 | 2609300.3183 | 1226867.2742
18 | 2609330.1755 | 1226885.6123
19 | 2609286.3092 | 1226855.9339
20 | 2609341.0842 | 1226874.3343
21 | 2609283.2984 | 1226853.4967
22 | 2609271.1973 | 1226843.7009
23 | 2609234.9668 | 1226811.1393
24 | 2609239.9627 | 1226815.6293
25 | 2609230.7015 | 1226807.3059
26 | 2609249.3609 | 1226824.0758
27 | 2609221.1666 | 1226799.0274
28 | 2609262.4452 | 1226835.8351
29 | 2609215.2657 | 1226793.904
30 | 2609263.4595 | 1226836.7467
31 | 2609207.7925 | 1226787.4156
32 | 2609153.3909 | 1226710.9074
33 | 2609148.3864 | 1226717.4832
34 | 2609157.2018 | 1226705.9001
35 | 2609144.5179 | 1226722.5663
36 | 2609139.3262 | 1226729.3879
37 | 2609123.6143 | 1226750.0327
38 | 2609259.304 | 1226904.0585
39 | 2609239.5004 | 1226907.615
40 | 2609275.9096 | 1226918.5405
41 | 2609231.6826 | 1226918.0949
42 | 2609188.3524 | 1226770.5372
43 | 2609190.6265 | 1226772.5115
44 | 2609176.7997 | 1226760.5067
45 | 2609202.4069 | 1226782.7397
46 | 2609171.3748 | 1226767.2837
47 | 2609158.1074 | 1226783.8582
48 | 2609148.3032 | 1226796.1063
49 | 2609112.5532 | 1226812.706
50 | 2609129.6178 | 1226819.0246
51 | 2609122.883 | 1226827.1768
52 | 2609143.1019 | 1226802.7022
53 | 2609108.4997 | 1226846.2702
54 | 2609157.1141 | 1226814.9244
55 | 2609094.8113 | 1226769.4658
56 | 2609103.5993 | 1226755.4031
57 | 2609076.9331 | 1226858.768
58 | 2609081.9029 | 1226844.8006
59 | 2609077.472 | 1226858.9763
60 | 2609104.9664 | 1226853.1183
61 | 2609121.7169 | 1226772.5682
62 | 2609102.2974 | 1226679.5009
63 | 2609112.6038 | 1226764.4999
64 | 2609098.4485 | 1226865.7296
65 | 2609104.7336 | 1226902.9855
66 | 2609275.9385 | 1226918.5657
67 | 2609280.9037 | 1226922.8959
68 | 2609218.1897 | 1226922.6351
69 | 2609217.5834 | 1226922.8391
70 | 2609216.685 | 1226923.1414
71 | 2609107.893 | 1226674.5282
72 | 2609112.0795 | 1226670.8076
73 | 2609112.1058 | 1226670.7843
74 | 2609123.9029 | 1226660.3003
75 | 2609112.1374 | 1226647.3472
76 | 2609128.8211 | 1226656.3488
77 | 2609161.7052 | 1226946.7563
78 | 2609142.0714 | 1226931.6766
79 | 2609127.7306 | 1226920.6568
80 | 2609155.6167 | 1226915.565
81 | 2609161.8923 | 1226908.1004
82 | 2609163.1774 | 1226906.5718
83 | 2609053.5429 | 1226962.7927
84 | 2609038.5853 | 1226984.8173
85 | 2609063.5533 | 1226947.0206
86 | 2609021.3531 | 1227003.6444
87 | 2609165.3138 | 1226822.0766

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98704 | -0.24901 | 0.001801 | 0.00045138
1 | 0.98702 | -0.24951 | 0.0025752 | 0.00064541
2 | 0.98707 | -0.24845 | 0 | 0
3 | 0.9871 | -0.2478 | 0.0025036 | 0.00062747
4 | 0.9872 | -0.24589 | 0 | 0
5 | 0.98808 | -0.22875 | 0 | 0
6 | 0.98719 | -0.24616 | 0.0049551 | 0.0012419
7 | 0.99713 | -0.055172 | 0.026639 | 0.0066765
8 | 0.99836 | -0.031504 | 0.019188 | 0.0048089
9 | 0.99705 | -0.056604 | 0.0014873 | 0.00037275
10 | 0.99844 | -0.029939 | 0.022801 | 0.0057145
11 | 0.99657 | -0.065945 | 0.0010218 | 0.00025609
12 | 0.99974 | -0.0050239 | 0.016673 | 0.0041786
13 | 0.99598 | -0.077383 | 0.0016892 | 0.00042335
14 | 1 | 0 | -0.48127 | -0.12151
15 | 0.99575 | -0.08176 | 0 | 0
16 | 0.99086 | -0.17569 | 0.0032894 | 0.00082441
17 | 0.99091 | -0.1748 | 0.0018101 | 0.00045365
18 | 0.99075 | -0.17789 | 0.0026097 | 0.00065406
19 | 0.99106 | -0.17189 | 0.0021308 | 0.00053404
20 | 0.99073 | -0.17828 | 0.001397 | 0.00035012
21 | 0.9911 | -0.17111 | 0.0023996 | 0.0006014
22 | 0.99129 | -0.16735 | 0 | 0
23 | 0.99205 | -0.15256 | 0.002327 | 0.00058321
24 | 0.99193 | -0.15497 | 0.0016936 | 0.00042447
25 | 0.99217 | -0.15027 | 0 | 0
26 | 0.99172 | -0.15913 | 0.0014574 | 0.00036525
27 | 0.99243 | -0.14523 | 0.0019179 | 0.00048067
28 | 0.99144 | -0.16446 | 0.0017184 | 0.00043067
29 | 0.99261 | -0.14184 | 0.0015478 | 0.00038791
30 | 0.99142 | -0.16483 | 0.0017365 | 0.00043521
31 | 0.99284 | -0.13728 | 0.0016596 | 0.00041593
32 | 0.994 | -0.11493 | 0.002587 | 0.00064836
33 | 0.99404 | -0.11432 | 0.0015668 | 0.00039269
34 | 0.99399 | -0.11511 | 0.001604 | 0.00040199
35 | 0.99407 | -0.11367 | 0.0011974 | 0.00030009
36 | 0.99412 | -0.11262 | 0.00095477 | 0.00023929
37 | 0.99431 | -0.109 | 0.0013881 | 0.00034788
38 | 0.99557 | -0.085154 | 0.0016481 | 0.00041304
39 | 0.99561 | -0.084397 | 0.0018031 | 0.00045191
40 | 0.99533 | -0.089941 | 0.0016283 | 0.0004081
41 | 0.99552 | -0.086173 | 0.0025336 | 0.00063498
42 | 0.99353 | -0.12399 | 0.0018962 | 0.00047522
43 | 0.99344 | -0.12574 | 0.0037388 | 0.00093702
44 | 0.99402 | -0.11458 | 0 | 0
45 | 0.99302 | -0.13379 | 0.0014997 | 0.00037586
46 | 0.99429 | -0.10925 | 0.0025107 | 0.00062924
47 | 0.99502 | -0.09528 | 0.0015893 | 0.0003983
48 | 0.99558 | -0.084532 | 0 | 0
49 | 0.99309 | -0.13239 | 0.078307 | 0.019626
50 | 0.99439 | -0.10724 | 0 | 0
51 | 0.9938 | -0.11856 | 0.017049 | 0.0042729
52 | 0.99608 | -0.07495 | 0 | 0
53 | 0.99259 | -0.14187 | 0.019411 | 0.0048649
54 | 0.99792 | -0.039598 | 0.037932 | 0.0095067
55 | 0.99425 | -0.11011 | 0.0024266 | 0.00060816
56 | 0.99429 | -0.1094 | 0 | 0
57 | 0.99148 | -0.16335 | 0 | 0
58 | 0.99155 | -0.16193 | 0.017922 | 0.0044917
59 | 0.99147 | -0.16341 | 0.0054006 | 0.0013535
60 | 0.99207 | -0.1518 | 0 | 0
61 | 0.99473 | -0.1008 | 0.0017056 | 0.00042745
62 | 0.99332 | -0.12823 | 0 | 0
63 | 0.99446 | -0.10602 | 0 | 0
64 | 0.99048 | -0.18258 | 0.023512 | 0.0058927
65 | 0.98655 | -0.25841 | 0.0029548 | 0.00074055
66 | 0.99533 | -0.089948 | 0.00081327 | 0.00020383
67 | 0.99527 | -0.091097 | 0.0099098 | 0.0024836
68 | 0.99545 | -0.087473 | 0.0012505 | 0.00031342
69 | 0.99545 | -0.087517 | 0.0022789 | 0.00057113
70 | 0.99545 | -0.087545 | 0.0016607 | 0.00041622
71 | 0.99323 | -0.12989 | 0.0037541 | 0.00094086
72 | 0.99318 | -0.13077 | 0.0020464 | 0.00051286
73 | 0.99318 | -0.13077 | 0.0011789 | 0.00029547
74 | 0.9931 | -0.13234 | 0 | 0
75 | 0.99304 | -0.13359 | 0.0040481 | 0.0010146
76 | 0.99309 | -0.13251 | 0.0015666 | 0.00039262
77 | 0.98333 | -0.32103 | 0.006527 | 0.0016358
78 | 0.98348 | -0.31812 | 0 | 0
79 | 0.98464 | -0.29554 | 0.0019706 | 0.00049389
80 | 0.98226 | -0.34199 | 0.0043624 | 0.0010933
81 | 0.98173 | -0.35229 | 0.031415 | 0.0078733
82 | 0.98168 | -0.35327 | 0.027065 | 0.0067832
83 | 0.98678 | -0.25409 | 0.0043525 | 0.0010908
84 | 0.98667 | -0.25624 | 0.0040183 | 0.0010071
85 | 0.98693 | -0.25112 | 0.0037205 | 0.00093243
86 | 0.98666 | -0.25646 | 0.00048107 | 0.00012057
87 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0025753 | 0.00064531 | -0.0025752 | -0.00064541 | 6.1309e-08 | -9.9396e-08 | 0.0038823 | 0.0038824 | 0.0038824 | 0.98704 | -0.24901 | 0.98702 | -0.24951 | 1.0666
1 | -0.0043763 | -0.0010967 | 0.0043764 | 0.0010967 | 1.1741e-07 | -1.6799e-08 | 0.0065975 | 0.0065975 | 0.0065975 | 0.98704 | -0.24901 | 0.98707 | -0.24845 | 1.8125
2 | -0.0043764 | -0.0010967 | 0.0043766 | 0.0010967 | 1.3605e-07 | -1.9475e-08 | 0.0065975 | 0.0065974 | 0.0065975 | 0.98707 | -0.24845 | 0.9871 | -0.2478 | 1.8125
3 | -0.0068802 | -0.0017241 | 0.0068808 | 0.0017243 | 6.2412e-07 | 2.0163e-07 | 0.010372 | 0.010371 | 0.010372 | 0.9871 | -0.2478 | 0.9872 | -0.24589 | 2.8493
4 | -0.024413 | -0.0061191 | 0.024433 | 0.0061313 | 1.9957e-05 | 1.227e-05 | 0.036798 | 0.036798 | 0.036798 | 0.9872 | -0.24589 | 0.98808 | -0.22875 | 10.1094
5 | 0.017532 | 0.0043947 | -0.017532 | -0.0043946 | 2.2104e-07 | 1.3067e-07 | 0.026427 | 0.026427 | 0.026427 | 0.9872 | -0.24589 | 0.98719 | -0.24616 | 7.2601
6 | -0.099139 | -0.025013 | 0.099359 | 0.025153 | 0.00021971 | 0.00014028 | 0.14936 | 0.14936 | 0.14936 | 0.98808 | -0.22875 | 0.99048 | -0.18258 | 41.0326
7 | 0.074706 | 0.018881 | -0.0746 | -0.018814 | 0.0001061 | 6.7618e-05 | 0.11256 | 0.11256 | 0.11256 | 0.98808 | -0.22875 | 0.98655 | -0.25841 | 30.9233
8 | 0.012577 | 0.0031527 | -0.012574 | -0.0031511 | 2.976e-06 | 1.6224e-06 | 0.018958 | 0.018958 | 0.018958 | 0.98719 | -0.24616 | 0.98693 | -0.25112 | 5.2082
9 | -0.054404 | -0.013649 | 0.054466 | 0.013688 | 6.1466e-05 | 3.9013e-05 | 0.081192 | 0.081192 | 0.081192 | 0.99713 | -0.055172 | 0.99836 | -0.031504 | 22.3055
10 | 0.027765 | 0.0069722 | -0.027763 | -0.006971 | 1.8963e-06 | 1.1752e-06 | 0.041438 | 0.041438 | 0.041438 | 0.99713 | -0.055172 | 0.99705 | -0.056604 | 11.3841
11 | -0.073653 | -0.018497 | 0.073659 | 0.0185 | 5.4977e-06 | 3.5026e-06 | 0.10979 | 0.10979 | 0.10979 | 0.99836 | -0.031504 | 0.99844 | -0.029939 | 30.1622
12 | 0.026276 | 0.0065983 | -0.026264 | -0.006591 | 1.1705e-05 | 7.2267e-06 | 0.039218 | 0.039219 | 0.039219 | 0.99705 | -0.056604 | 0.99657 | -0.065945 | 10.7743
13 | -0.09646 | -0.024215 | 0.096575 | 0.024288 | 0.00011478 | 7.3268e-05 | 0.14377 | 0.14377 | 0.14377 | 0.99844 | -0.029939 | 0.99974 | -0.0050239 | 39.4977
14 | 0.025242 | 0.0063349 | -0.025228 | -0.0063265 | 1.3761e-05 | 8.4704e-06 | 0.037693 | 0.037693 | 0.037693 | 0.99657 | -0.065945 | 0.99598 | -0.077383 | 10.3552
15 | -0.11325 | -0.028466 | 0.11327 | 0.028484 | 2.7172e-05 | 1.7357e-05 | 0.16859 | 0.16859 | 0.16859 | 0.99974 | -0.0050239 | 1 | 0 | 46.3153
16 | 0.023539 | 0.0059031 | -0.023534 | -0.0059001 | 4.9095e-06 | 3.0044e-06 | 0.035169 | 0.035169 | 0.035169 | 0.99598 | -0.077383 | 0.99575 | -0.08176 | 9.6619
17 | 0.36635 | 0.093027 | -0.36565 | -0.092582 | 0.00069664 | 0.00044512 | 0.54556 | 0.54556 | 0.54556 | 1 | 0 | 0.99792 | -0.039598 | 49.9593
18 | 0.014005 | 0.0035116 | -0.014003 | -0.0035104 | 2.2647e-06 | 1.2701e-06 | 0.020929 | 0.020929 | 0.020929 | 0.99575 | -0.08176 | 0.99557 | -0.085154 | 5.7498
19 | 0.0095291 | 0.0023885 | -0.0095279 | -0.0023879 | 1.1971e-06 | 5.6139e-07 | 0.01424 | 0.01424 | 0.01424 | 0.99575 | -0.08176 | 0.99561 | -0.084397 | 3.9121
20 | -0.0072966 | -0.0018283 | 0.0072969 | 0.0018284 | 3.091e-07 | 1.0939e-07 | 0.010957 | 0.010957 | 0.010957 | 0.99086 | -0.17569 | 0.99091 | -0.1748 | 3.0103
21 | 0.0040072 | 0.0010039 | -0.0040067 | -0.001004 | 4.1901e-07 | -1.2923e-07 | 0.0060176 | 0.0060177 | 0.0060177 | 0.99086 | -0.17569 | 0.99075 | -0.17789 | 1.6532
22 | -0.009107 | -0.002282 | 0.0091083 | 0.0022826 | 1.2641e-06 | 5.7678e-07 | 0.013676 | 0.013675 | 0.013676 | 0.99091 | -0.1748 | 0.99106 | -0.17189 | 3.757
23 | 0.001397 | 0.00034993 | -0.001397 | -0.00035012 | 2.6507e-08 | -1.898e-07 | 0.0020981 | 0.0020982 | 0.0020982 | 0.99075 | -0.17789 | 0.99073 | -0.17828 | 0.57643
24 | -0.011239 | -0.0028166 | 0.01124 | 0.0028169 | 4.1365e-07 | 2.1482e-07 | 0.016875 | 0.016875 | 0.016875 | 0.99106 | -0.17189 | 0.9911 | -0.17111 | 4.6359
25 | -0.013639 | -0.0034183 | 0.013642 | 0.0034196 | 2.4482e-06 | 1.3662e-06 | 0.020478 | 0.020478 | 0.020478 | 0.9911 | -0.17111 | 0.99129 | -0.16735 | 5.6257
26 | -0.013642 | -0.0034196 | 0.013643 | 0.0034205 | 1.6359e-06 | 9.1286e-07 | 0.020478 | 0.020477 | 0.020478 | 0.99129 | -0.16735 | 0.99142 | -0.16483 | 5.6257
27 | 0.02026 | 0.0050824 | -0.020257 | -0.005081 | 2.3263e-06 | 1.4021e-06 | 0.03039 | 0.03039 | 0.03039 | 0.99205 | -0.15256 | 0.99193 | -0.15497 | 8.3489
28 | -0.022587 | -0.0056656 | 0.022589 | 0.0056672 | 2.4686e-06 | 1.5058e-06 | 0.03388 | 0.03388 | 0.03388 | 0.99205 | -0.15256 | 0.99217 | -0.15027 | 9.3078
29 | 0.018564 | 0.0046566 | -0.01856 | -0.0046544 | 3.6752e-06 | 2.189e-06 | 0.027849 | 0.027849 | 0.027849 | 0.99193 | -0.15497 | 0.99172 | -0.15913 | 7.6509
30 | -0.022589 | -0.0056672 | 0.022595 | 0.0056705 | 5.4355e-06 | 3.3156e-06 | 0.03388 | 0.03388 | 0.03388 | 0.99217 | -0.15027 | 0.99243 | -0.14523 | 9.3078
31 | 0.017103 | 0.0042891 | -0.017098 | -0.0042866 | 4.3446e-06 | 2.5536e-06 | 0.025663 | 0.025663 | 0.025663 | 0.99172 | -0.15913 | 0.99144 | -0.16446 | 7.0502
32 | -0.024513 | -0.0061511 | 0.024517 | 0.0061536 | 3.9591e-06 | 2.4328e-06 | 0.036756 | 0.036756 | 0.036756 | 0.99243 | -0.14523 | 0.99261 | -0.14184 | 10.0978
33 | 0.01538 | 0.0038559 | -0.01538 | -0.0038557 | 2.7252e-07 | 1.5682e-07 | 0.023084 | 0.023084 | 0.023084 | 0.99144 | -0.16446 | 0.99142 | -0.16483 | 6.3417
34 | -0.026064 | -0.0065415 | 0.02607 | 0.006545 | 5.667e-06 | 3.4989e-06 | 0.039076 | 0.039076 | 0.039076 | 0.99261 | -0.14184 | 0.99284 | -0.13728 | 10.7352
35 | -0.02773 | -0.0069609 | 0.027734 | 0.0069638 | 4.6204e-06 | 2.8648e-06 | 0.041563 | 0.041563 | 0.041563 | 0.99284 | -0.13728 | 0.99302 | -0.13379 | 11.4185
36 | -0.0041909 | -0.0010503 | 0.0041911 | 0.0010502 | 1.2197e-07 | -2.9058e-08 | 0.0062738 | 0.0062737 | 0.0062738 | 0.994 | -0.11493 | 0.99404 | -0.11432 | 1.7236
37 | 0.001604 | 0.00040192 | -0.001604 | -0.00040199 | 1.3605e-08 | -7.2859e-08 | 0.0024011 | 0.0024011 | 0.0024011 | 0.994 | -0.11493 | 0.99399 | -0.11511 | 0.65965
38 | -0.0057579 | -0.0014429 | 0.0057581 | 0.001443 | 1.7796e-07 | 3.1083e-08 | 0.0086192 | 0.0086192 | 0.0086192 | 0.99404 | -0.11432 | 0.99407 | -0.11367 | 2.3679
39 | -0.0069554 | -0.001743 | 0.0069558 | 0.0017432 | 3.4847e-07 | 1.1188e-07 | 0.010412 | 0.010411 | 0.010412 | 0.99407 | -0.11367 | 0.99412 | -0.11262 | 2.8603
40 | -0.0079106 | -0.0019824 | 0.0079119 | 0.001983 | 1.364e-06 | 5.365e-07 | 0.011841 | 0.01184 | 0.011841 | 0.99412 | -0.11262 | 0.99431 | -0.109 | 3.2529
41 | -0.0093 | -0.0023309 | 0.0093013 | 0.0023315 | 1.3206e-06 | 6.0934e-07 | 0.013918 | 0.013918 | 0.013918 | 0.99431 | -0.109 | 0.99446 | -0.10602 | 3.8236
42 | 0.012355 | 0.0030973 | -0.012352 | -0.0030958 | 2.8175e-06 | 1.5168e-06 | 0.018466 | 0.018466 | 0.018466 | 0.99557 | -0.085154 | 0.99533 | -0.089941 | 5.0731
43 | 0.0077247 | 0.001936 | -0.0077241 | -0.0019358 | 6.5353e-07 | 2.4824e-07 | 0.011545 | 0.011545 | 0.011545 | 0.99561 | -0.084397 | 0.99552 | -0.086173 | 3.1718
44 | 0.010724 | 0.0026877 | -0.010724 | -0.0026877 | 3.6946e-09 | 1.8653e-09 | 0.016032 | 0.016032 | 0.016032 | 0.99533 | -0.089941 | 0.99533 | -0.089948 | 4.4044
45 | 0.0051905 | 0.0013008 | -0.0051901 | -0.0013008 | 3.2133e-07 | 2.0564e-08 | 0.0077582 | 0.0077583 | 0.0077583 | 0.99552 | -0.086173 | 0.99545 | -0.087473 | 2.1314
46 | 0.032987 | 0.0082854 | -0.032984 | -0.0082836 | 2.7572e-06 | 1.7256e-06 | 0.049411 | 0.049411 | 0.049411 | 0.99353 | -0.12399 | 0.99344 | -0.12574 | 13.5744
47 | -0.034883 | -0.0087606 | 0.034898 | 0.0087704 | 1.5664e-05 | 9.8265e-06 | 0.052251 | 0.05225 | 0.052251 | 0.99353 | -0.12399 | 0.99402 | -0.11458 | 14.3545
48 | 0.029245 | 0.0073466 | -0.029234 | -0.0073396 | 1.1229e-05 | 6.9847e-06 | 0.043811 | 0.043811 | 0.043811 | 0.99344 | -0.12574 | 0.99302 | -0.13379 | 12.0359
49 | -0.034898 | -0.0087704 | 0.034907 | 0.008776 | 8.8874e-06 | 5.5754e-06 | 0.05225 | 0.05225 | 0.05225 | 0.99402 | -0.11458 | 0.99429 | -0.10925 | 14.3545
50 | -0.037418 | -0.0094052 | 0.037443 | 0.0094209 | 2.4974e-05 | 1.5708e-05 | 0.056008 | 0.056008 | 0.056008 | 0.99429 | -0.10925 | 0.99502 | -0.09528 | 15.3868
51 | -0.039032 | -0.0098192 | 0.039052 | 0.0098319 | 2.0055e-05 | 1.2631e-05 | 0.058384 | 0.058384 | 0.058384 | 0.99502 | -0.09528 | 0.99558 | -0.084532 | 16.0397
52 | 0.02607 | 0.0065476 | -0.026049 | -0.0065352 | 2.0221e-05 | 1.248e-05 | 0.038969 | 0.038969 | 0.038969 | 0.99558 | -0.084532 | 0.99473 | -0.1008 | 10.7059
53 | -0.065122 | -0.01638 | 0.065152 | 0.016398 | 2.9823e-05 | 1.8977e-05 | 0.097354 | 0.097354 | 0.097354 | 0.99558 | -0.084532 | 0.99608 | -0.07495 | 26.7455
54 | -0.078307 | -0.019626 | 0.078401 | 0.019685 | 9.3943e-05 | 5.9888e-05 | 0.11733 | 0.11733 | 0.11733 | 0.99309 | -0.13239 | 0.99439 | -0.10724 | 32.2342
55 | 0.1832 | 0.046377 | -0.1831 | -0.046314 | 9.9458e-05 | 6.3242e-05 | 0.27431 | 0.27431 | 0.27431 | 0.99439 | -0.10724 | 0.9938 | -0.11856 | 25.1199
56 | -0.2616 | -0.066063 | 0.26201 | 0.066321 | 0.00040549 | 0.00025869 | 0.39164 | 0.39164 | 0.39164 | 0.99439 | -0.10724 | 0.99608 | -0.07495 | 35.8646
57 | 0.16605 | 0.042041 | -0.16587 | -0.041923 | 0.00018565 | 0.00011788 | 0.24878 | 0.24878 | 0.24878 | 0.9938 | -0.11856 | 0.99259 | -0.14187 | 22.7822
58 | -0.32716 | -0.08272 | 0.32772 | 0.083075 | 0.00055575 | 0.00035495 | 0.48899 | 0.48899 | 0.48899 | 0.99608 | -0.07495 | 0.99792 | -0.039598 | 44.7797
59 | 0.14646 | 0.037058 | -0.14639 | -0.037014 | 6.9729e-05 | 4.4427e-05 | 0.21968 | 0.21968 | 0.21968 | 0.99259 | -0.14187 | 0.99207 | -0.1518 | 30.1761
60 | -0.0024266 | -0.00060816 | 0.0024267 | 0.000608 | 8.2014e-08 | -1.6258e-07 | 0.0036317 | 0.0036316 | 0.0036317 | 0.99425 | -0.11011 | 0.99429 | -0.1094 | 0.99771
61 | 0.012607 | 0.0031631 | -0.012596 | -0.003157 | 1.1304e-05 | 6.1377e-06 | 0.018869 | 0.018869 | 0.018869 | 0.99429 | -0.1094 | 0.99332 | -0.12823 | 5.1839
62 | -0.015034 | -0.0037711 | 0.015036 | 0.0037725 | 2.4267e-06 | 1.3873e-06 | 0.022501 | 0.0225 | 0.022501 | 0.99429 | -0.1094 | 0.99446 | -0.10602 | 6.1815
63 | -0.0054006 | -0.0013535 | 0.0054009 | 0.0013536 | 3.6522e-07 | 4.2534e-08 | 0.0081052 | 0.0081052 | 0.0081052 | 0.99148 | -0.16335 | 0.99155 | -0.16193 | 2.2267
64 | 0.0054006 | 0.0013535 | -0.0054006 | -0.0013535 | 1.4233e-08 | 1.6582e-09 | 0.0081052 | 0.0081052 | 0.0081052 | 0.99148 | -0.16335 | 0.99147 | -0.16341 | 2.2267
65 | -0.023323 | -0.0058453 | 0.023334 | 0.0058522 | 1.1263e-05 | 6.8921e-06 | 0.035001 | 0.035001 | 0.035001 | 0.99155 | -0.16193 | 0.99207 | -0.1518 | 9.6156
66 | 0.12305 | 0.031162 | -0.12287 | -0.031046 | 0.00018157 | 0.00011602 | 0.18468 | 0.18468 | 0.18468 | 0.99207 | -0.1518 | 0.99048 | -0.18258 | 50.7367
67 | 0.024344 | 0.0061077 | -0.024338 | -0.006104 | 6.0535e-06 | 3.7163e-06 | 0.036418 | 0.036418 | 0.036418 | 0.99473 | -0.1008 | 0.99446 | -0.10602 | 10.005
68 | 0.012596 | 0.003157 | -0.012595 | -0.0031564 | 9.9952e-07 | 5.428e-07 | 0.018869 | 0.018869 | 0.018869 | 0.99332 | -0.12823 | 0.99323 | -0.12989 | 5.1839
69 | 0.071645 | 0.018073 | -0.071518 | -0.017992 | 0.0001271 | 8.0975e-05 | 0.1081 | 0.1081 | 0.1081 | 0.98655 | -0.25841 | 0.98464 | -0.29554 | 29.6989
70 | 0.0099103 | 0.0024839 | -0.0099098 | -0.0024836 | 5.4232e-07 | 2.6147e-07 | 0.014816 | 0.014816 | 0.014816 | 0.99533 | -0.089948 | 0.99527 | -0.091097 | 4.0703
71 | 0.0039396 | 0.00098734 | -0.0039396 | -0.00098734 | 8.3198e-09 | -2.9921e-09 | 0.0058889 | 0.0058889 | 0.0058889 | 0.99545 | -0.087473 | 0.99545 | -0.087517 | 1.6178
72 | 0.0016607 | 0.00041621 | -0.0016607 | -0.00041622 | 2.1906e-09 | -1.0921e-08 | 0.0024825 | 0.0024825 | 0.0024825 | 0.99545 | -0.087517 | 0.99545 | -0.087545 | 0.682
73 | 0.008841 | 0.0022156 | -0.0088406 | -0.0022154 | 3.6847e-07 | 1.6333e-07 | 0.013245 | 0.013245 | 0.013245 | 0.99323 | -0.12989 | 0.99318 | -0.13077 | 3.6388
74 | 0.0067943 | 0.0017026 | -0.0067943 | -0.0017026 | 1.3622e-09 | 4.2084e-10 | 0.010179 | 0.010179 | 0.010179 | 0.99318 | -0.13077 | 0.99318 | -0.13077 | 2.7965
75 | 0.0056153 | 0.0014071 | -0.0056149 | -0.001407 | 4.189e-07 | 6.387e-08 | 0.008413 | 0.008413 | 0.008413 | 0.99318 | -0.13077 | 0.9931 | -0.13234 | 2.3113
76 | 0.0040483 | 0.0010145 | -0.0040481 | -0.0010146 | 2.4145e-07 | -7.1876e-08 | 0.0060658 | 0.0060659 | 0.0060659 | 0.9931 | -0.13234 | 0.99304 | -0.13359 | 1.6664
77 | 0.0015666 | 0.00039254 | -0.0015666 | -0.00039262 | 1.3035e-08 | -7.3288e-08 | 0.0023473 | 0.0023473 | 0.0023473 | 0.9931 | -0.13234 | 0.99309 | -0.13251 | 0.64486
78 | -0.006527 | -0.0016358 | 0.0065279 | 0.0016361 | 9.0563e-07 | 2.6551e-07 | 0.0098769 | 0.0098767 | 0.0098769 | 0.98333 | -0.32103 | 0.98348 | -0.31812 | 2.7134
79 | -0.069472 | -0.017451 | 0.069547 | 0.017498 | 7.4953e-05 | 4.774e-05 | 0.10513 | 0.10513 | 0.10513 | 0.98348 | -0.31812 | 0.98464 | -0.29554 | 28.8808
80 | 0.062944 | 0.015814 | -0.062873 | -0.015769 | 7.1612e-05 | 4.5565e-05 | 0.095249 | 0.095249 | 0.095249 | 0.98348 | -0.31812 | 0.98226 | -0.34199 | 26.1674
81 | 0.05851 | 0.014676 | -0.058482 | -0.014657 | 2.8734e-05 | 1.8267e-05 | 0.088641 | 0.088641 | 0.088641 | 0.98226 | -0.34199 | 0.98173 | -0.35229 | 24.3519
82 | 0.027067 | 0.006784 | -0.027065 | -0.0067832 | 1.2604e-06 | 7.8142e-07 | 0.041025 | 0.041025 | 0.041025 | 0.98173 | -0.35229 | 0.98168 | -0.35327 | 11.2707
83 | 0.0044998 | 0.0011273 | -0.0044994 | -0.0011273 | 4.5967e-07 | -4.5881e-08 | 0.0067853 | 0.0067855 | 0.0067855 | 0.98678 | -0.25409 | 0.98667 | -0.25624 | 1.8641
84 | -0.0088523 | -0.0022181 | 0.0088536 | 0.0022187 | 1.2517e-06 | 5.6175e-07 | 0.013349 | 0.013349 | 0.013349 | 0.98678 | -0.25409 | 0.98693 | -0.25112 | 3.6672
85 | 0.00048107 | 0.00012024 | -0.00048107 | -0.00012057 | 5.0533e-09 | -3.2379e-07 | 0.0007254 | 0.00072551 | 0.00072551 | 0.98667 | -0.25624 | 0.98666 | -0.25646 | 0.19932

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49604 | 0.12521

## res_load
| p_mw | q_mvar
0 | 0.001801 | 0.00045138
1 | 0.0025752 | 0.00064541
2 | 0.0025036 | 0.00062747
3 | 0.0049551 | 0.0012419
4 | 0.026639 | 0.0066765
5 | 0.019188 | 0.0048089
6 | 0.0014873 | 0.00037275
7 | 0.022801 | 0.0057145
8 | 0.0010218 | 0.00025609
9 | 0.016673 | 0.0041786
10 | 0.0016892 | 0.00042335
11 | 0.014767 | 0.0037011
12 | 0.0032894 | 0.00082441
13 | 0.0018101 | 0.00045365
14 | 0.0026097 | 0.00065406
15 | 0.0021308 | 0.00053404
16 | 0.001397 | 0.00035012
17 | 0.0023996 | 0.0006014
18 | 0.002327 | 0.00058321
19 | 0.0016936 | 0.00042447
20 | 0.0014574 | 0.00036525
21 | 0.0019179 | 0.00048067
22 | 0.0017184 | 0.00043067
23 | 0.0015478 | 0.00038791
24 | 0.0017365 | 0.00043521
25 | 0.0016596 | 0.00041593
26 | 0.002587 | 0.00064836
27 | 0.0015668 | 0.00039269
28 | 0.001604 | 0.00040199
29 | 0.0011974 | 0.00030009
30 | 0.00095477 | 0.00023929
31 | 0.0013881 | 0.00034788
32 | 0.0016481 | 0.00041304
33 | 0.0018031 | 0.00045191
34 | 0.0016283 | 0.0004081
35 | 0.0025336 | 0.00063498
36 | 0.0018962 | 0.00047522
37 | 0.0037388 | 0.00093702
38 | 0.0014997 | 0.00037586
39 | 0.0025107 | 0.00062924
40 | 0.0015893 | 0.0003983
41 | 0.078307 | 0.019626
42 | 0.017049 | 0.0042729
43 | 0.019411 | 0.0048649
44 | 0.037932 | 0.0095067
45 | 0.0024266 | 0.00060816
46 | 0.017922 | 0.0044917
47 | 0.0054006 | 0.0013535
48 | 0.0017056 | 0.00042745
49 | 0.023512 | 0.0058927
50 | 0.0029548 | 0.00074055
51 | 0.00081327 | 0.00020383
52 | 0.0099098 | 0.0024836
53 | 0.0012505 | 0.00031342
54 | 0.0022789 | 0.00057113
55 | 0.0016607 | 0.00041622
56 | 0.0037541 | 0.00094086
57 | 0.0020464 | 0.00051286
58 | 0.0011789 | 0.00029547
59 | 0.0040481 | 0.0010146
60 | 0.0015666 | 0.00039262
61 | 0.006527 | 0.0016358
62 | 0.0019706 | 0.00049389
63 | 0.0043624 | 0.0010933
64 | 0.031415 | 0.0078733
65 | 0.027065 | 0.0067832
66 | 0.0043525 | 0.0010908
67 | 0.0040183 | 0.0010071
68 | 0.0037205 | 0.00093243
69 | 0.00048107 | 0.00012057

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1