## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2513-13_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2513-13_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2513-13_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2513-13_0_6_node_30 | 0.4 | n |  | TRUE
4 | bus_LV_2513-13_0_6_node_62 | 0.4 | n |  | TRUE
5 | bus_LV_2513-13_0_6_node_58 | 0.4 | n |  | TRUE
6 | bus_LV_2513-13_0_6_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_2513-13_0_6_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_2513-13_0_6_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_2513-13_0_6_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_2513-13_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2513-13_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2513-13_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2513-13_0_6_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_2513-13_0_6_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_2513-13_0_6_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_2513-13_0_6_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_2513-13_0_6_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_2513-13_0_6_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_2513-13_0_6_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_2513-13_0_6_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2513-13_0_6_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_2513-13_0_6_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_2513-13_0_6_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_2513-13_0_6_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_2513-13_0_6_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_2513-13_0_6_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_2513-13_0_6_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_2513-13_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_2513-13_0_6_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_2513-13_0_6_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_2513-13_0_6_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_2513-13_0_6_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_2513-13_0_6_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_2513-13_0_6_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_2513-13_0_6_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_2513-13_0_6_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_2513-13_0_6_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_2513-13_0_6_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_2513-13_0_6_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_2513-13_0_6_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_2513-13_0_6_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_2513-13_0_6_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_2513-13_0_6_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_2513-13_0_6_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_2513-13_0_6_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_2513-13_0_6_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_2513-13_0_6_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_2513-13_0_6_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_2513-13_0_6_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_2513-13_0_6_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_2513-13_0_6_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_2513-13_0_6_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_2513-13_0_6_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_2513-13_0_6_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_2513-13_0_6_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_2513-13_0_6_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_2513-13_0_6_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_2513-13_0_6_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_2513-13_0_6_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_2513-13_0_6_node_64 | 0.4 | n |  | TRUE
61 | bus_MV_393_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2513-13_0_6_load_0 | 0 | 0.005246 | 0.0013148 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2513-13_0_6_load_62 | 4 | 0.0026992 | 0.00067648 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2513-13_0_6_load_58 | 5 | 0.033952 | 0.0085091 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2513-13_0_6_load_39 | 7 | 0.040277 | 0.010094 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2513-13_0_6_load_15 | 8 | 0.010553 | 0.0026447 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2513-13_0_6_load_4 | 9 | 0.011866 | 0.0029739 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2513-13_0_6_load_5 | 10 | 0.012235 | 0.0030663 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2513-13_0_6_load_6 | 11 | 0.010669 | 0.0026739 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2513-13_0_6_load_7 | 12 | 0.0080753 | 0.0020239 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2513-13_0_6_load_17 | 13 | 0.0075117 | 0.0018826 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2513-13_0_6_load_21 | 14 | 0.0019046 | 0.00047734 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2513-13_0_6_load_19 | 16 | 0.0030825 | 0.00077254 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2513-13_0_6_load_8 | 17 | 0.0014958 | 0.00037489 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2513-13_0_6_load_9 | 18 | 0.002101 | 0.00052656 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2513-13_0_6_load_10 | 19 | 0.00602 | 0.0015088 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2513-13_0_6_load_11 | 20 | 0.0026357 | 0.00066056 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2513-13_0_6_load_36 | 21 | 0.0015013 | 0.00037626 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2513-13_0_6_load_12 | 23 | 0.020587 | 0.0051596 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2513-13_0_6_load_13 | 24 | 0.039983 | 0.010021 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2513-13_0_6_load_53 | 26 | 0.029735 | 0.0074523 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2513-13_0_6_load_18 | 28 | 0.013285 | 0.0033296 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2513-13_0_6_load_43 | 31 | 0.003054 | 0.0007654 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2513-13_0_6_load_31 | 32 | 0.0030019 | 0.00075235 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2513-13_0_6_load_42 | 33 | 0.0030055 | 0.00075324 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2513-13_0_6_load_23 | 34 | 0.033778 | 0.0084656 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2513-13_0_6_load_29 | 38 | 0.037036 | 0.0092821 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2513-13_0_6_load_57 | 39 | 0.015313 | 0.0038379 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2513-13_0_6_load_56 | 40 | 0.018576 | 0.0046555 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2513-13_0_6_load_52 | 41 | 0.043975 | 0.011021 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2513-13_0_6_load_59 | 44 | 0.0060383 | 0.0015133 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2513-13_0_6_load_41 | 47 | 0.0020461 | 0.00051281 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2513-13_0_6_load_38 | 49 | 0.044344 | 0.011114 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2513-13_0_6_load_47 | 50 | 0.0023448 | 0.00058765 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2513-13_0_6_load_46 | 51 | 0.0047059 | 0.0011794 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2513-13_0_6_load_40 | 52 | 0.038505 | 0.0096503 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2513-13_0_6_load_44 | 53 | 0.00274 | 0.0006867 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2513-13_0_6_load_45 | 54 | 0.0024819 | 0.00062202 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2513-13_0_6_load_61 | 55 | 0.0029645 | 0.00074298 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2513-13_0_6_load_50 | 56 | 0.0054491 | 0.0013657 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2513-13_0_6_load_49 | 58 | 0.0053947 | 0.001352 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2513-13_0_6_load_63 | 59 | 0.0068129 | 0.0017075 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2513-13_0_6_load_64 | 60 | 0.002175 | 0.00054511 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2513-13_0_6_line_0 |  | 0 | 1 | 0.022208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2513-13_0_6_line_1 |  | 1 | 2 | 0.099786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2513-13_0_6_line_2 |  | 2 | 3 | 0.033579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2513-13_0_6_line_3 |  | 2 | 4 | 0.023507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2513-13_0_6_line_4 |  | 3 | 5 | 0.036876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2513-13_0_6_line_5 |  | 5 | 37 | 0.039844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2513-13_0_6_line_6 |  | 6 | 7 | 0.03279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2513-13_0_6_line_7 |  | 6 | 8 | 0.076166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_2513-13_0_6_line_8 |  | 7 | 49 | 0.011774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2513-13_0_6_line_9 |  | 8 | 24 | 0.0046852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_2513-13_0_6_line_10 |  | 9 | 10 | 0.0039285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2513-13_0_6_line_11 |  | 9 | 11 | 0.0064775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2513-13_0_6_line_12 |  | 11 | 12 | 0.0065483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2513-13_0_6_line_13 |  | 12 | 13 | 0.021717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2513-13_0_6_line_14 |  | 12 | 14 | 0.031255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2513-13_0_6_line_15 |  | 13 | 15 | 0.013725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2513-13_0_6_line_16 |  | 14 | 16 | 0.0098343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2513-13_0_6_line_17 |  | 15 | 25 | 0.012895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2513-13_0_6_line_18 |  | 15 | 23 | 0.027614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2513-13_0_6_line_19 |  | 16 | 28 | 0.018957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2513-13_0_6_line_20 |  | 17 | 18 | 0.0006941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2513-13_0_6_line_21 |  | 17 | 19 | 0.013658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2513-13_0_6_line_22 |  | 18 | 20 | 0.018979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2513-13_0_6_line_23 |  | 20 | 21 | 0.00077697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2513-13_0_6_line_24 |  | 21 | 22 | 0.015084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2513-13_0_6_line_25 |  | 22 | 50 | 0.041011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2513-13_0_6_line_26 |  | 23 | 24 | 0.016845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2513-13_0_6_line_27 |  | 25 | 26 | 0.030701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2513-13_0_6_line_28 |  | 26 | 27 | 0.021365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2513-13_0_6_line_29 |  | 27 | 38 | 0.034916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2513-13_0_6_line_30 |  | 27 | 41 | 0.017617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2513-13_0_6_line_31 |  | 29 | 30 | 0.027898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2513-13_0_6_line_32 |  | 29 | 31 | 0.016389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2513-13_0_6_line_33 |  | 30 | 32 | 0.039996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2513-13_0_6_line_34 |  | 31 | 33 | 0.0022004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2513-13_0_6_line_35 |  | 32 | 42 | 0.042787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2513-13_0_6_line_36 |  | 33 | 53 | 0.013873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2513-13_0_6_line_37 |  | 34 | 35 | 0.029885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2513-13_0_6_line_38 |  | 34 | 36 | 0.03645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2513-13_0_6_line_39 |  | 35 | 37 | 0.04059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2513-13_0_6_line_40 |  | 36 | 38 | 0.035004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2513-13_0_6_line_41 |  | 37 | 39 | 0.032999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2513-13_0_6_line_42 |  | 37 | 40 | 0.026263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2513-13_0_6_line_43 |  | 42 | 43 | 0.13501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2513-13_0_6_line_44 |  | 43 | 44 | 0.027769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2513-13_0_6_line_45 |  | 44 | 46 | 0.025633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_2513-13_0_6_line_46 |  | 45 | 46 | 0.049103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2513-13_0_6_line_47 |  | 45 | 47 | 0.037857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_2513-13_0_6_line_48 |  | 46 | 48 | 0.14246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2513-13_0_6_line_49 |  | 47 | 52 | 0.00039469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_2513-13_0_6_line_50 |  | 48 | 60 | 0.084598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2513-13_0_6_line_51 |  | 49 | 52 | 0.031187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2513-13_0_6_line_52 |  | 50 | 51 | 0.0013338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2513-13_0_6_line_53 |  | 51 | 57 | 0.015837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2513-13_0_6_line_54 |  | 53 | 54 | 0.027712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2513-13_0_6_line_55 |  | 54 | 55 | 0.0024278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2513-13_0_6_line_56 |  | 55 | 56 | 0.018264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2513-13_0_6_line_57 |  | 56 | 57 | 0.015726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2513-13_0_6_line_58 |  | 57 | 58 | 0.027366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2513-13_0_6_line_59 |  | 58 | 59 | 0.0078285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2513-13_0_6_trafo_15 | 0.63 MVA 20/0.4 kV | 61 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2609140.2284 | 1225541.9908 | 2609161.2414 | 1225534.8045
1 | 2609140.2284 | 1225541.9908 | 2609134.3508 | 1225544.0053 | 2609125.368 | 1225544.2584 | 2609132.9033 | 1225553.7088 | 2609143.0143 | 1225579.0835 | 2609149.1155 | 1225594.3795 | 2609159.7473 | 1225621.0559
2 | 2609159.7473 | 1225621.0559 | 2609173.1394 | 1225651.8611
3 | 2609159.7473 | 1225621.0559 | 2609181.7566 | 1225612.8003
4 | 2609173.1394 | 1225651.8611 | 2609209.2346 | 1225644.3124
5 | 2609248.2349 | 1225636.1561 | 2609209.2346 | 1225644.3124
6 | 2609144.5686 | 1225697.9333 | 2609140.624 | 1225709.9232 | 2609128.3062 | 1225725.8924
7 | 2609144.5686 | 1225697.9333 | 2609181.3187 | 1225725.6502 | 2609203.2969 | 1225746.2689
8 | 2609121.1151 | 1225735.2152 | 2609128.3062 | 1225725.8924
9 | 2609206.7138 | 1225749.4745 | 2609203.2969 | 1225746.2689
10 | 2609269.6096 | 1225802.0097 | 2609273.4781 | 1225801.3253
11 | 2609269.6096 | 1225802.0097 | 2609263.2312 | 1225803.1382
12 | 2609256.783 | 1225804.279 | 2609263.2312 | 1225803.1382
13 | 2609256.783 | 1225804.279 | 2609244.446 | 1225792.642 | 2609242.5993 | 1225790.9048 | 2609241.9078 | 1225788.793
14 | 2609256.783 | 1225804.279 | 2609270.7017 | 1225817.3971 | 2609274.294 | 1225828.9821
15 | 2609242.4565 | 1225775.3399 | 2609241.0284 | 1225782.2974 | 2609241.1206 | 1225786.3888 | 2609241.9078 | 1225788.793
16 | 2609277.2066 | 1225838.3752 | 2609274.294 | 1225828.9821
17 | 2609255.1029 | 1225778.0388 | 2609242.4565 | 1225775.3399
18 | 2609242.4565 | 1225775.3399 | 2609226.9379 | 1225767.378 | 2609219.1924 | 1225760.7839
19 | 2609277.2066 | 1225838.3752 | 2609282.821 | 1225856.4818
20 | 2609190.9363 | 1225830.2144 | 2609191.4378 | 1225829.7345
21 | 2609201.3053 | 1225820.2919 | 2609191.4378 | 1225829.7345
22 | 2609177.2244 | 1225843.3359 | 2609190.9363 | 1225830.2144
23 | 2609176.6631 | 1225843.8731 | 2609177.2244 | 1225843.3359
24 | 2609165.7652 | 1225854.3018 | 2609176.6631 | 1225843.8731
25 | 2609165.7652 | 1225854.3018 | 2609190.3285 | 1225887.1433
26 | 2609206.7138 | 1225749.4745 | 2609214.6142 | 1225756.8862 | 2609219.1924 | 1225760.7839
27 | 2609255.1029 | 1225778.0388 | 2609257.2329 | 1225768.1919 | 2609253.2282 | 1225747.9581
28 | 2609249.0801 | 1225726.9996 | 2609253.2282 | 1225747.9581
29 | 2609249.0801 | 1225726.9996 | 2609237.4865 | 1225724.6915 | 2609227.9041 | 1225720.7966 | 2609217.5434 | 1225713.3645
30 | 2609249.0801 | 1225726.9996 | 2609264.9463 | 1225725.9012 | 2609266.6215 | 1225725.5424
31 | 2609257.1572 | 1225979.0377 | 2609233.5997 | 1225994.0879
32 | 2609257.1572 | 1225979.0377 | 2609253.7346 | 1225971.9171 | 2609248.6503 | 1225965.1193
33 | 2609233.5997 | 1225994.0879 | 2609208.3799 | 1225963.0456
34 | 2609247.3323 | 1225963.3572 | 2609248.6503 | 1225965.1193
35 | 2609181.3999 | 1225929.8367 | 2609208.3799 | 1225963.0456
36 | 2609247.3323 | 1225963.3572 | 2609239.0231 | 1225952.2478
37 | 2609256.8223 | 1225675.826 | 2609227.6122 | 1225682.142
38 | 2609191.9854 | 1225689.8455 | 2609227.6122 | 1225682.142
39 | 2609248.2349 | 1225636.1561 | 2609256.8223 | 1225675.826
40 | 2609191.9854 | 1225689.8455 | 2609195.1009 | 1225694.6531 | 2609207.6353 | 1225706.2569 | 2609217.5434 | 1225713.3645
41 | 2609248.2349 | 1225636.1561 | 2609241.2581 | 1225603.9043
42 | 2609248.2349 | 1225636.1561 | 2609273.9403 | 1225630.7737
43 | 2609088.7799 | 1225853.5508 | 2609103.1515 | 1225863.1338 | 2609107.9911 | 1225855.659 | 2609108.6977 | 1225854.5594 | 2609109.7233 | 1225852.9823 | 2609138.2028 | 1225875.9947 | 2609154.6188 | 1225896.7763 | 2609181.3999 | 1225929.8367
44 | 2609088.7799 | 1225853.5508 | 2609086.0313 | 1225851.7122 | 2609072.0238 | 1225841.8964 | 2609069.2602 | 1225839.9577 | 2609065.9988 | 1225837.6729
45 | 2609045.0917 | 1225822.8445 | 2609049.7783 | 1225826.3091 | 2609065.9988 | 1225837.6729
46 | 2609045.0917 | 1225822.8445 | 2609053.2576 | 1225811.1055 | 2609062.6443 | 1225799.1237 | 2609073.0617 | 1225797.1939 | 2609078.704 | 1225790.1984
47 | 2609078.704 | 1225790.1984 | 2609101.8259 | 1225760.2224
48 | 2609045.0917 | 1225822.8445 | 2609026.8918 | 1225843.7404 | 2609010.4292 | 1225853.5325 | 2609011.0151 | 1225877.2362 | 2609007.183 | 1225900.3217 | 2608994.8412 | 1225947.2085
49 | 2609101.8259 | 1225760.2224 | 2609102.067 | 1225759.9099
50 | 2609074.3385 | 1225925.0375 | 2609051.5972 | 1225936.8323 | 2609020.0107 | 1225948.6471 | 2609005.9946 | 1225949.66 | 2608994.8412 | 1225947.2085
51 | 2609121.1151 | 1225735.2152 | 2609102.067 | 1225759.9099
52 | 2609191.1274 | 1225888.2113 | 2609190.3285 | 1225887.1433
53 | 2609200.613 | 1225900.8936 | 2609191.1274 | 1225888.2113
54 | 2609222.4254 | 1225930.0568 | 2609239.0231 | 1225952.2478
55 | 2609222.4254 | 1225930.0568 | 2609220.9713 | 1225928.1126
56 | 2609210.0319 | 1225913.4867 | 2609220.9713 | 1225928.1126
57 | 2609200.613 | 1225900.8936 | 2609210.0319 | 1225913.4867
58 | 2609200.613 | 1225900.8936 | 2609220.8788 | 1225882.5029
59 | 2609215.7337 | 1225876.6026 | 2609220.8788 | 1225882.5029

## bus_geodata
| x | y | coords
0 | 2609161.2414 | 1225534.8045
1 | 2609140.2284 | 1225541.9908
2 | 2609159.7473 | 1225621.0559
3 | 2609173.1394 | 1225651.8611
4 | 2609181.7566 | 1225612.8003
5 | 2609209.2346 | 1225644.3124
6 | 2609144.5686 | 1225697.9333
7 | 2609128.3062 | 1225725.8924
8 | 2609203.2969 | 1225746.2689
9 | 2609269.6096 | 1225802.0097
10 | 2609273.4781 | 1225801.3253
11 | 2609263.2312 | 1225803.1382
12 | 2609256.783 | 1225804.279
13 | 2609241.9078 | 1225788.793
14 | 2609274.294 | 1225828.9821
15 | 2609242.4565 | 1225775.3399
16 | 2609277.2066 | 1225838.3752
17 | 2609191.4378 | 1225829.7345
18 | 2609190.9363 | 1225830.2144
19 | 2609201.3053 | 1225820.2919
20 | 2609177.2244 | 1225843.3359
21 | 2609176.6631 | 1225843.8731
22 | 2609165.7652 | 1225854.3018
23 | 2609219.1924 | 1225760.7839
24 | 2609206.7138 | 1225749.4745
25 | 2609255.1029 | 1225778.0388
26 | 2609253.2282 | 1225747.9581
27 | 2609249.0801 | 1225726.9996
28 | 2609282.821 | 1225856.4818
29 | 2609257.1572 | 1225979.0377
30 | 2609233.5997 | 1225994.0879
31 | 2609248.6503 | 1225965.1193
32 | 2609208.3799 | 1225963.0456
33 | 2609247.3323 | 1225963.3572
34 | 2609227.6122 | 1225682.142
35 | 2609256.8223 | 1225675.826
36 | 2609191.9854 | 1225689.8455
37 | 2609248.2349 | 1225636.1561
38 | 2609217.5434 | 1225713.3645
39 | 2609241.2581 | 1225603.9043
40 | 2609273.9403 | 1225630.7737
41 | 2609266.6215 | 1225725.5424
42 | 2609181.3999 | 1225929.8367
43 | 2609088.7799 | 1225853.5508
44 | 2609065.9988 | 1225837.6729
45 | 2609078.704 | 1225790.1984
46 | 2609045.0917 | 1225822.8445
47 | 2609101.8259 | 1225760.2224
48 | 2608994.8412 | 1225947.2085
49 | 2609121.1151 | 1225735.2152
50 | 2609190.3285 | 1225887.1433
51 | 2609191.1274 | 1225888.2113
52 | 2609102.067 | 1225759.9099
53 | 2609239.0231 | 1225952.2478
54 | 2609222.4254 | 1225930.0568
55 | 2609220.9713 | 1225928.1126
56 | 2609210.0319 | 1225913.4867
57 | 2609200.613 | 1225900.8936
58 | 2609220.8788 | 1225882.5029
59 | 2609215.7337 | 1225876.6026
60 | 2609074.3385 | 1225925.0375
61 | 2609242.4565 | 1225775.3399

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97397 | -0.5029 | 0.005246 | 0.0013148
1 | 0.97408 | -0.50076 | 0 | 0
2 | 0.97457 | -0.49115 | 0 | 0
3 | 0.97482 | -0.48625 | 0 | 0
4 | 0.97451 | -0.49231 | 0.0026992 | 0.00067648
5 | 0.97509 | -0.48087 | 0.033952 | 0.0085091
6 | 0.99558 | -0.084068 | 0 | 0
7 | 0.99368 | -0.12049 | 0.040277 | 0.010094
8 | 1 | 0 | -0.54637 | -0.13887
9 | 0.99303 | -0.13334 | 0.011866 | 0.0029739
10 | 0.99299 | -0.13419 | 0.012235 | 0.0030663
11 | 0.99317 | -0.13058 | 0.010669 | 0.0026739
12 | 0.99338 | -0.12656 | 0.0080753 | 0.0020239
13 | 0.99459 | -0.10315 | 0.0075117 | 0.0018826
14 | 0.99286 | -0.13666 | 0.0019046 | 0.00047734
15 | 0.99545 | -0.086564 | 0 | 0
16 | 0.99271 | -0.1395 | 0.0030825 | 0.00077254
17 | 0.97052 | -0.56938 | 0.0014958 | 0.00037489
18 | 0.97053 | -0.56928 | 0.002101 | 0.00052656
19 | 0.97045 | -0.5709 | 0.00602 | 0.0015088
20 | 0.9707 | -0.5659 | 0.0026357 | 0.00066056
21 | 0.97071 | -0.56573 | 0.0015013 | 0.00037626
22 | 0.9709 | -0.56189 | 0 | 0
23 | 0.9979 | -0.039894 | 0.020587 | 0.0051596
24 | 0.9995 | -0.0095192 | 0.039983 | 0.010021
25 | 0.99458 | -0.10324 | 0 | 0
26 | 0.9925 | -0.14305 | 0.029735 | 0.0074523
27 | 0.99125 | -0.1671 | 0 | 0
28 | 0.99248 | -0.14396 | 0.013285 | 0.0033296
29 | 0.97564 | -0.46851 | 0 | 0
30 | 0.97701 | -0.44162 | 0 | 0
31 | 0.97483 | -0.48434 | 0.003054 | 0.0007654
32 | 0.97898 | -0.4032 | 0.0030019 | 0.00075235
33 | 0.97473 | -0.48635 | 0.0030055 | 0.00075324
34 | 0.98161 | -0.3532 | 0.033778 | 0.0084656
35 | 0.9795 | -0.39426 | 0 | 0
36 | 0.98531 | -0.28122 | 0 | 0
37 | 0.97664 | -0.45031 | 0 | 0
38 | 0.98888 | -0.21261 | 0.037036 | 0.0092821
39 | 0.97617 | -0.45955 | 0.015313 | 0.0038379
40 | 0.97619 | -0.45923 | 0.018576 | 0.0046555
41 | 0.99054 | -0.18085 | 0.043975 | 0.011021
42 | 0.9812 | -0.35994 | 0 | 0
43 | 0.98822 | -0.22471 | 0 | 0
44 | 0.98967 | -0.19714 | 0.0060383 | 0.0015133
45 | 0.99138 | -0.16448 | 0 | 0
46 | 0.99041 | -0.18306 | 0 | 0
47 | 0.99213 | -0.15018 | 0.0020461 | 0.00051281
48 | 0.99012 | -0.18858 | 0 | 0
49 | 0.99314 | -0.13081 | 0.044344 | 0.011114
50 | 0.97143 | -0.55147 | 0.0023448 | 0.00058765
51 | 0.97145 | -0.55107 | 0.0047059 | 0.0011794
52 | 0.99214 | -0.15002 | 0.038505 | 0.0096503
53 | 0.97412 | -0.49823 | 0.00274 | 0.0006867
54 | 0.97299 | -0.52061 | 0.0024819 | 0.00062202
55 | 0.9729 | -0.52246 | 0.0029645 | 0.00074298
56 | 0.97224 | -0.53541 | 0.0054491 | 0.0013657
57 | 0.97175 | -0.54498 | 0 | 0
58 | 0.97144 | -0.55115 | 0.0053947 | 0.001352
59 | 0.97139 | -0.55214 | 0.0068129 | 0.0017075
60 | 0.98995 | -0.19185 | 0.002175 | 0.00054511
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.005246 | -0.0013148 | 0.0052465 | 0.0013148 | 5.3494e-07 | 6.5948e-08 | 0.0080147 | 0.0080146 | 0.0080147 | 0.97397 | -0.5029 | 0.97408 | -0.50076 | 2.2018
1 | -0.0052465 | -0.0013148 | 0.0052489 | 0.0013151 | 2.4035e-06 | 2.9546e-07 | 0.0080146 | 0.0080141 | 0.0080146 | 0.97408 | -0.50076 | 0.97457 | -0.49115 | 2.2018
2 | -0.0079482 | -0.0019914 | 0.0079501 | 0.0019922 | 1.8544e-06 | 7.6832e-07 | 0.012136 | 0.012135 | 0.012136 | 0.97457 | -0.49115 | 0.97482 | -0.48625 | 3.3339
3 | 0.0026993 | 0.00067628 | -0.0026992 | -0.00067648 | 1.4973e-07 | -1.9706e-07 | 0.0041214 | 0.0041215 | 0.0041215 | 0.97457 | -0.49115 | 0.97451 | -0.49231 | 1.1323
4 | -0.0079501 | -0.0019922 | 0.0079521 | 0.001993 | 2.0365e-06 | 8.4348e-07 | 0.012135 | 0.012135 | 0.012135 | 0.97482 | -0.48625 | 0.97509 | -0.48087 | 3.3339
5 | -0.041904 | -0.010502 | 0.041965 | 0.010541 | 6.1098e-05 | 3.8605e-05 | 0.063946 | 0.063946 | 0.063946 | 0.97509 | -0.48087 | 0.97664 | -0.45031 | 17.5677
6 | 0.19066 | 0.048375 | -0.19032 | -0.048163 | 0.00033331 | 0.00021204 | 0.28517 | 0.28517 | 0.28517 | 0.99558 | -0.084068 | 0.99368 | -0.12049 | 26.1143
7 | -0.19066 | -0.048375 | 0.19143 | 0.048867 | 0.00077423 | 0.00049252 | 0.28517 | 0.28517 | 0.28517 | 0.99558 | -0.084068 | 1 | 0 | 26.1142
8 | 0.15005 | 0.038068 | -0.14997 | -0.038021 | 7.4411e-05 | 4.7166e-05 | 0.22485 | 0.22486 | 0.22486 | 0.99368 | -0.12049 | 0.99314 | -0.13081 | 20.5911
9 | 0.35329 | 0.090005 | -0.35313 | -0.089902 | 0.00016217 | 0.00010361 | 0.52622 | 0.52622 | 0.52622 | 1 | 0 | 0.9995 | -0.0095192 | 48.189
10 | 0.012235 | 0.0030665 | -0.012235 | -0.0030663 | 4.9518e-07 | 2.6609e-07 | 0.018334 | 0.018334 | 0.018334 | 0.99303 | -0.13334 | 0.99299 | -0.13419 | 5.0367
11 | -0.024101 | -0.0060404 | 0.024104 | 0.0060424 | 3.1681e-06 | 1.9438e-06 | 0.036114 | 0.036114 | 0.036114 | 0.99303 | -0.13334 | 0.99317 | -0.13058 | 9.9216
12 | -0.034773 | -0.0087163 | 0.03478 | 0.0087205 | 6.6654e-06 | 4.1811e-06 | 0.052099 | 0.052099 | 0.052099 | 0.99317 | -0.13058 | 0.99338 | -0.12656 | 14.313
13 | -0.061141 | -0.015332 | 0.06121 | 0.015375 | 6.8315e-05 | 4.344e-05 | 0.091589 | 0.091589 | 0.091589 | 0.99338 | -0.12656 | 0.99459 | -0.10315 | 25.1617
14 | 0.018286 | 0.0045876 | -0.018277 | -0.0045823 | 8.7951e-06 | 5.2245e-06 | 0.027393 | 0.027393 | 0.027393 | 0.99338 | -0.12656 | 0.99286 | -0.13666 | 7.5256
15 | -0.068721 | -0.017258 | 0.068776 | 0.017293 | 5.4419e-05 | 3.465e-05 | 0.10283 | 0.10283 | 0.10283 | 0.99459 | -0.10315 | 0.99545 | -0.086564 | 28.2492
16 | 0.016373 | 0.004105 | -0.016371 | -0.0041037 | 2.2207e-06 | 1.2941e-06 | 0.024539 | 0.024539 | 0.024539 | 0.99286 | -0.13666 | 0.99271 | -0.1395 | 6.7414
17 | 0.22267 | 0.056717 | -0.22249 | -0.056603 | 0.00017893 | 0.00011401 | 0.33318 | 0.33318 | 0.33318 | 0.99545 | -0.086564 | 0.99458 | -0.10324 | 30.5106
18 | -0.29145 | -0.07401 | 0.2921 | 0.074429 | 0.00065617 | 0.00041887 | 0.436 | 0.436 | 0.436 | 0.99545 | -0.086564 | 0.9979 | -0.039894 | 39.927
19 | 0.013288 | 0.0033312 | -0.013285 | -0.0033296 | 2.8204e-06 | 1.56e-06 | 0.019918 | 0.019918 | 0.019918 | 0.99271 | -0.1395 | 0.99248 | -0.14396 | 5.4721
20 | -0.0075163 | -0.0018838 | 0.0075163 | 0.0018838 | 3.4567e-08 | 1.3546e-08 | 0.011524 | 0.011524 | 0.011524 | 0.97052 | -0.56938 | 0.97053 | -0.56928 | 3.166
21 | 0.0060205 | 0.0015089 | -0.00602 | -0.0015088 | 4.3639e-07 | 1.1053e-07 | 0.0092306 | 0.0092307 | 0.0092307 | 0.97052 | -0.56938 | 0.97045 | -0.5709 | 2.5359
22 | -0.0096173 | -0.0024103 | 0.0096189 | 0.0024111 | 1.5474e-06 | 7.5577e-07 | 0.014745 | 0.014745 | 0.014745 | 0.97053 | -0.56928 | 0.9707 | -0.5659 | 4.0509
23 | -0.012255 | -0.0030716 | 0.012255 | 0.0030717 | 1.0282e-07 | 5.6201e-08 | 0.018786 | 0.018786 | 0.018786 | 0.9707 | -0.5659 | 0.97071 | -0.56573 | 5.1609
24 | -0.013756 | -0.003448 | 0.013758 | 0.0034494 | 2.5152e-06 | 1.4232e-06 | 0.021087 | 0.021087 | 0.021087 | 0.97071 | -0.56573 | 0.9709 | -0.56189 | 5.7931
25 | -0.013758 | -0.0034494 | 0.013765 | 0.0034533 | 6.8384e-06 | 3.8691e-06 | 0.021087 | 0.021087 | 0.021087 | 0.9709 | -0.56189 | 0.97143 | -0.55147 | 5.7931
26 | -0.31269 | -0.079588 | 0.31315 | 0.079881 | 0.00045864 | 0.00029287 | 0.4667 | 0.4667 | 0.4667 | 0.9979 | -0.039894 | 0.9995 | -0.0095192 | 42.7381
27 | 0.22249 | 0.056603 | -0.22207 | -0.056332 | 0.000426 | 0.00027145 | 0.33318 | 0.33318 | 0.33318 | 0.99458 | -0.10324 | 0.9925 | -0.14305 | 30.5107
28 | 0.19233 | 0.048879 | -0.19211 | -0.048738 | 0.00022243 | 0.00014153 | 0.2886 | 0.2886 | 0.2886 | 0.9925 | -0.14305 | 0.99125 | -0.1671 | 26.4282
29 | 0.14811 | 0.037698 | -0.14778 | -0.037492 | 0.00032421 | 0.0002066 | 0.22254 | 0.22254 | 0.22254 | 0.99125 | -0.1671 | 0.98888 | -0.21261 | 30.5683
30 | 0.044004 | 0.011039 | -0.043975 | -0.011021 | 2.8831e-05 | 1.8225e-05 | 0.06606 | 0.06606 | 0.06606 | 0.99125 | -0.1671 | 0.99054 | -0.18085 | 18.1484
31 | -0.05289 | -0.013324 | 0.052958 | 0.013367 | 6.8116e-05 | 4.3245e-05 | 0.08069 | 0.08069 | 0.08069 | 0.97564 | -0.46851 | 0.97701 | -0.44162 | 22.1677
32 | 0.05289 | 0.013324 | -0.05285 | -0.013298 | 4.0016e-05 | 2.5406e-05 | 0.08069 | 0.08069 | 0.08069 | 0.97564 | -0.46851 | 0.97483 | -0.48434 | 22.1677
33 | -0.052958 | -0.013367 | 0.053055 | 0.013429 | 9.7653e-05 | 6.1996e-05 | 0.08069 | 0.08069 | 0.08069 | 0.97701 | -0.44162 | 0.97898 | -0.4032 | 22.1676
34 | 0.049796 | 0.012533 | -0.049791 | -0.01253 | 4.7697e-06 | 3.0252e-06 | 0.076029 | 0.076029 | 0.076029 | 0.97483 | -0.48434 | 0.97473 | -0.48635 | 20.887
35 | -0.056057 | -0.014181 | 0.056174 | 0.014255 | 0.00011662 | 7.4096e-05 | 0.085253 | 0.085253 | 0.085253 | 0.97898 | -0.4032 | 0.9812 | -0.35994 | 23.4211
36 | 0.046785 | 0.011776 | -0.046759 | -0.01176 | 2.6552e-05 | 1.682e-05 | 0.071441 | 0.071441 | 0.071441 | 0.97473 | -0.48635 | 0.97412 | -0.49823 | 19.6266
37 | 0.076222 | 0.019268 | -0.076072 | -0.019172 | 0.00014977 | 9.5477e-05 | 0.1156 | 0.1156 | 0.1156 | 0.98161 | -0.3532 | 0.9795 | -0.39426 | 31.7593
38 | -0.11 | -0.027734 | 0.11038 | 0.027976 | 0.00038033 | 0.00024295 | 0.16681 | 0.16681 | 0.16681 | 0.98161 | -0.3532 | 0.98531 | -0.28122 | 45.8263
39 | 0.076072 | 0.019172 | -0.075869 | -0.019043 | 0.00020342 | 0.00012968 | 0.1156 | 0.1156 | 0.1156 | 0.9795 | -0.39426 | 0.97664 | -0.45031 | 31.7593
40 | -0.11038 | -0.027976 | 0.11075 | 0.02821 | 0.00036524 | 0.0002333 | 0.16681 | 0.16681 | 0.16681 | 0.98531 | -0.28122 | 0.98888 | -0.21261 | 45.8262
41 | 0.01532 | 0.0038418 | -0.015313 | -0.0038379 | 6.7426e-06 | 3.9025e-06 | 0.023342 | 0.023343 | 0.023343 | 0.97664 | -0.45031 | 0.97617 | -0.45955 | 6.4128
42 | 0.018584 | 0.0046603 | -0.018576 | -0.0046555 | 7.8961e-06 | 4.725e-06 | 0.028315 | 0.028315 | 0.028315 | 0.97664 | -0.45031 | 0.97619 | -0.45923 | 7.7789
43 | -0.056174 | -0.014255 | 0.056542 | 0.014489 | 0.00036797 | 0.00023378 | 0.085253 | 0.085252 | 0.085253 | 0.9812 | -0.35994 | 0.98822 | -0.22471 | 23.421
44 | -0.056542 | -0.014489 | 0.056617 | 0.014537 | 7.5684e-05 | 4.8081e-05 | 0.085252 | 0.085252 | 0.085252 | 0.98822 | -0.22471 | 0.98967 | -0.19714 | 23.4209
45 | -0.062656 | -0.01605 | 0.062699 | 0.016077 | 4.2767e-05 | 2.6712e-05 | 0.094331 | 0.09433 | 0.094331 | 0.98967 | -0.19714 | 0.99041 | -0.18306 | 12.9575
46 | 0.064933 | 0.016655 | -0.064874 | -0.01662 | 5.8465e-05 | 3.552e-05 | 0.097598 | 0.097599 | 0.097599 | 0.99138 | -0.16448 | 0.99041 | -0.18306 | 8.9376
47 | -0.064933 | -0.016655 | 0.064978 | 0.016683 | 4.5075e-05 | 2.7383e-05 | 0.097598 | 0.097597 | 0.097598 | 0.99138 | -0.16448 | 0.99213 | -0.15018 | 8.9375
48 | 0.0021759 | 0.00054277 | -0.0021754 | -0.00054424 | 5.7076e-07 | -1.4675e-06 | 0.0032683 | 0.0032689 | 0.0032689 | 0.99041 | -0.18306 | 0.99012 | -0.18858 | 0.89806
49 | -0.067024 | -0.017196 | 0.067025 | 0.017196 | 4.9996e-07 | 3.0468e-07 | 0.10067 | 0.10067 | 0.10067 | 0.99213 | -0.15018 | 0.99214 | -0.15002 | 9.2185
50 | 0.0021754 | 0.00054424 | -0.002175 | -0.00054511 | 3.3904e-07 | -8.7087e-07 | 0.0032689 | 0.0032693 | 0.0032693 | 0.99012 | -0.18858 | 0.98995 | -0.19185 | 0.89816
51 | 0.10563 | 0.026908 | -0.10553 | -0.026846 | 9.7833e-05 | 6.1404e-05 | 0.15842 | 0.15842 | 0.15842 | 0.99314 | -0.13081 | 0.99214 | -0.15002 | 14.5069
52 | -0.01611 | -0.0040409 | 0.01611 | 0.0040411 | 3.0461e-07 | 1.7844e-07 | 0.024678 | 0.024678 | 0.024678 | 0.97143 | -0.55147 | 0.97145 | -0.55107 | 6.7797
53 | -0.020816 | -0.0052205 | 0.020822 | 0.0052241 | 6.0384e-06 | 3.6684e-06 | 0.031886 | 0.031886 | 0.031886 | 0.97145 | -0.55107 | 0.97175 | -0.54498 | 8.76
54 | 0.044019 | 0.011073 | -0.043972 | -0.011043 | 4.7005e-05 | 2.9739e-05 | 0.067255 | 0.067255 | 0.067255 | 0.97412 | -0.49823 | 0.97299 | -0.52061 | 18.4767
55 | 0.04149 | 0.010421 | -0.041486 | -0.010419 | 3.6663e-06 | 2.3163e-06 | 0.06346 | 0.06346 | 0.06346 | 0.97299 | -0.52061 | 0.9729 | -0.52246 | 17.434
56 | 0.038522 | 0.0096759 | -0.038498 | -0.0096609 | 2.3782e-05 | 1.4994e-05 | 0.058926 | 0.058926 | 0.058926 | 0.9729 | -0.52246 | 0.97224 | -0.53541 | 16.1884
57 | 0.033049 | 0.0082952 | -0.033034 | -0.0082857 | 1.509e-05 | 9.463e-06 | 0.050586 | 0.050586 | 0.050586 | 0.97224 | -0.53541 | 0.97175 | -0.54498 | 13.8972
58 | 0.012212 | 0.0030616 | -0.012208 | -0.0030596 | 3.5885e-06 | 1.9577e-06 | 0.0187 | 0.0187 | 0.0187 | 0.97175 | -0.54498 | 0.97144 | -0.55115 | 5.1373
59 | 0.0068133 | 0.0017076 | -0.0068129 | -0.0017075 | 3.1974e-07 | 1.0772e-07 | 0.010436 | 0.010436 | 0.010436 | 0.97144 | -0.55115 | 0.97139 | -0.55214 | 2.8671

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.55693 | 0.14152

## res_load
| p_mw | q_mvar
0 | 0.005246 | 0.0013148
1 | 0.0026992 | 0.00067648
2 | 0.033952 | 0.0085091
3 | 0.040277 | 0.010094
4 | 0.010553 | 0.0026447
5 | 0.011866 | 0.0029739
6 | 0.012235 | 0.0030663
7 | 0.010669 | 0.0026739
8 | 0.0080753 | 0.0020239
9 | 0.0075117 | 0.0018826
10 | 0.0019046 | 0.00047734
11 | 0.0030825 | 0.00077254
12 | 0.0014958 | 0.00037489
13 | 0.002101 | 0.00052656
14 | 0.00602 | 0.0015088
15 | 0.0026357 | 0.00066056
16 | 0.0015013 | 0.00037626
17 | 0.020587 | 0.0051596
18 | 0.039983 | 0.010021
19 | 0.029735 | 0.0074523
20 | 0.013285 | 0.0033296
21 | 0.003054 | 0.0007654
22 | 0.0030019 | 0.00075235
23 | 0.0030055 | 0.00075324
24 | 0.033778 | 0.0084656
25 | 0.037036 | 0.0092821
26 | 0.015313 | 0.0038379
27 | 0.018576 | 0.0046555
28 | 0.043975 | 0.011021
29 | 0.0060383 | 0.0015133
30 | 0.0020461 | 0.00051281
31 | 0.044344 | 0.011114
32 | 0.0023448 | 0.00058765
33 | 0.0047059 | 0.0011794
34 | 0.038505 | 0.0096503
35 | 0.00274 | 0.0006867
36 | 0.0024819 | 0.00062202
37 | 0.0029645 | 0.00074298
38 | 0.0054491 | 0.0013657
39 | 0.0053947 | 0.001352
40 | 0.0068129 | 0.0017075
41 | 0.002175 | 0.00054511

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1