## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2513-19_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2513-19_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2513-19_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2513-19_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2513-19_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_2513-19_0_4_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_2513-19_0_4_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_2513-19_0_4_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_2513-19_0_4_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_2513-19_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_2513-19_0_4_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_2513-19_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_2513-19_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2513-19_0_4_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_2513-19_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2513-19_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_2513-19_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_2513-19_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2513-19_0_4_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_2513-19_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_2513-19_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2513-19_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2513-19_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2513-19_0_4_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_2513-19_0_4_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_2513-19_0_4_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_2513-19_0_4_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_2513-19_0_4_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_2513-19_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_2513-19_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_2513-19_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_MV_393_0_node_179 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2513-19_0_4_load_0 | 0 | 0.00014261 | 3.5742e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2513-19_0_4_load_20 | 5 | 7.6375e-05 | 1.9141e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2513-19_0_4_load_24 | 6 | 0.00030969 | 7.7616e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2513-19_0_4_load_31 | 8 | 0.0011198 | 0.00028066 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2513-19_0_4_load_4 | 10 | 0.00098794 | 0.0002476 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2513-19_0_4_load_5 | 11 | 0.00062565 | 0.0001568 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2513-19_0_4_load_7 | 12 | 0.00011539 | 2.892e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2513-19_0_4_load_32 | 13 | 0.0024089 | 0.00060374 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2513-19_0_4_load_11 | 15 | 0.00017258 | 4.3253e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2513-19_0_4_load_8 | 16 | 0.00011438 | 2.8666e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2513-19_0_4_load_10 | 17 | 0.00062555 | 0.00015678 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2513-19_0_4_load_25 | 18 | 0.00034624 | 8.6776e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2513-19_0_4_load_15 | 19 | 0.00060668 | 0.00015205 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2513-19_0_4_load_13 | 20 | 0.0028707 | 0.00071946 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2513-19_0_4_load_14 | 21 | 0.0066612 | 0.0016694 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2513-19_0_4_load_29 | 25 | 0.0747 | 0.018722 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2513-19_0_4_load_30 | 26 | 0.050904 | 0.012758 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2513-19_0_4_load_27 | 27 | 0.011201 | 0.0028071 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2513-19_0_4_load_17 | 29 | 0.0039656 | 0.00099387 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2513-19_0_4_load_23 | 30 | 0.028835 | 0.0072268 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2513-19_0_4_line_0 |  | 0 | 1 | 0.044767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2513-19_0_4_line_1 |  | 0 | 2 | 0.032122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2513-19_0_4_line_2 |  | 1 | 3 | 0.048682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2513-19_0_4_line_3 |  | 2 | 4 | 0.096799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2513-19_0_4_line_4 |  | 3 | 8 | 0.022267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2513-19_0_4_line_5 |  | 3 | 9 | 0.025209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2513-19_0_4_line_6 |  | 4 | 10 | 0.059801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2513-19_0_4_line_7 |  | 5 | 6 | 0.0092352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2513-19_0_4_line_8 |  | 5 | 7 | 0.10696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2513-19_0_4_line_9 |  | 7 | 29 | 0.082105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2513-19_0_4_line_10 |  | 9 | 13 | 0.068228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2513-19_0_4_line_11 |  | 9 | 14 | 0.12617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2513-19_0_4_line_12 |  | 10 | 11 | 0.0042317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2513-19_0_4_line_13 |  | 11 | 12 | 0.0020979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2513-19_0_4_line_14 |  | 14 | 15 | 0.0044192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2513-19_0_4_line_15 |  | 14 | 16 | 0.0079722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2513-19_0_4_line_16 |  | 15 | 18 | 0.07083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2513-19_0_4_line_17 |  | 16 | 17 | 0.035026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2513-19_0_4_line_18 |  | 18 | 19 | 0.18857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2513-19_0_4_line_19 |  | 19 | 20 | 0.010021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2513-19_0_4_line_20 |  | 20 | 21 | 0.012747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2513-19_0_4_line_21 |  | 21 | 22 | 0.034872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2513-19_0_4_line_22 |  | 22 | 23 | 0.017104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2513-19_0_4_line_23 |  | 23 | 26 | 0.028497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2513-19_0_4_line_24 |  | 23 | 28 | 0.048336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2513-19_0_4_line_25 |  | 24 | 25 | 0.047459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2513-19_0_4_line_26 |  | 24 | 26 | 0.027149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2513-19_0_4_line_27 |  | 24 | 27 | 0.070979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2513-19_0_4_line_28 |  | 28 | 30 | 0.044751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2513-19_0_4_line_29 |  | 28 | 29 | 0.0098322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2513-19_0_4_trafo_19 | 0.63 MVA 20/0.4 kV | 31 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2607285.5177 | 1227213.3445 | 2607292.9948 | 1227208.9732 | 2607316.5614 | 1227203.3097 | 2607319.9681 | 1227191.941
1 | 2607334.4256 | 1227163.6303 | 2607327.0771 | 1227174.2832 | 2607323.5084 | 1227180.1267 | 2607319.9681 | 1227191.941
2 | 2607285.5177 | 1227213.3445 | 2607302.4366 | 1227259.0031
3 | 2607334.4256 | 1227163.6303 | 2607361.8883 | 1227070.8093
4 | 2607312.7363 | 1227239.2484 | 2607302.4366 | 1227259.0031
5 | 2607302.4366 | 1227259.0031 | 2607307.3536 | 1227272.2835 | 2607317.1683 | 1227277.354
6 | 2607361.8883 | 1227070.8093 | 2607362.5524 | 1227054.6005 | 2607361.9257 | 1227040.3358 | 2607360.6382 | 1227027.3599 | 2607360.9158 | 1227017.3099 | 2607361.6887 | 1227011.1516
7 | 2607134.5299 | 1227364.8414 | 2607125.3774 | 1227363.6076
8 | 2607080.6897 | 1227435.9974 | 2607094.1013 | 1227417.4023 | 2607113.4034 | 1227409.3981 | 2607130.3335 | 1227401.7137 | 2607140.6347 | 1227392.6539 | 2607142.8226 | 1227381.6167 | 2607141.4469 | 1227372.3429 | 2607134.5299 | 1227364.8414
9 | 2607080.6897 | 1227435.9974 | 2607090.7512 | 1227443.6805 | 2607093.6955 | 1227446.5968 | 2607096.0935 | 1227450.0794 | 2607097.5514 | 1227453.8945 | 2607097.9257 | 1227457.7973 | 2607097.7978 | 1227463.456 | 2607097.3034 | 1227471.4157 | 2607094.1698 | 1227506.8662 | 2607093.6499 | 1227510.6746
10 | 2607344.8355 | 1227214.9622 | 2607317.1683 | 1227277.354
11 | 2607317.1683 | 1227277.354 | 2607307.3536 | 1227272.2835 | 2607317.3531 | 1227318.4451 | 2607321.8765 | 1227343.7322 | 2607323.1553 | 1227363.8345 | 2607322.4767 | 1227385.88
12 | 2607362.2157 | 1227006.9529 | 2607361.6887 | 1227011.1516
13 | 2607362.4769 | 1227004.8714 | 2607362.2157 | 1227006.9529
14 | 2607322.4767 | 1227385.88 | 2607321.9622 | 1227390.2691
15 | 2607322.4767 | 1227385.88 | 2607330.4385 | 1227386.2888
16 | 2607315.5731 | 1227460.8047 | 2607319.2096 | 1227417.9283 | 2607320.5011 | 1227402.732 | 2607321.9622 | 1227390.2691
17 | 2607349.0995 | 1227402.5001 | 2607350.2017 | 1227387.3036 | 2607330.4385 | 1227386.2888
18 | 2607154.6596 | 1227559.1132 | 2607315.5731 | 1227460.8047
19 | 2607154.6596 | 1227559.1132 | 2607148.4839 | 1227567.0054
20 | 2607139.1743 | 1227575.6268 | 2607139.1743 | 1227575.6268 | 2607146.4027 | 1227569.6652 | 2607148.4839 | 1227567.0054
21 | 2607105.9601 | 1227583.9589 | 2607118.8197 | 1227583.4183 | 2607132.236 | 1227579.8321 | 2607139.1743 | 1227575.6268
22 | 2607104.9725 | 1227566.8922 | 2607105.6685 | 1227574.2973 | 2607105.9601 | 1227583.9589
23 | 2607104.9725 | 1227566.8922 | 2607076.4808 | 1227566.3316
24 | 2607104.9725 | 1227566.8922 | 2607104.3813 | 1227560.6767 | 2607099.2085 | 1227539.269 | 2607092.3201 | 1227520.4165
25 | 2607049.8206 | 1227569.6621 | 2607046.7702 | 1227541.0306 | 2607029.3413 | 1227534.3488
26 | 2607049.8206 | 1227569.6621 | 2607062.8884 | 1227566.0642 | 2607076.4808 | 1227566.3316
27 | 2607049.8206 | 1227569.6621 | 2607053.4916 | 1227586.0205 | 2607069.7709 | 1227596.3902 | 2607070.1874 | 1227609.4651 | 2607057.4864 | 1227623.3917 | 2607054.8516 | 1227621.9946
28 | 2607068.0176 | 1227482.9768 | 2607085.7136 | 1227513.0265 | 2607092.3201 | 1227520.4165
29 | 2607092.3201 | 1227520.4165 | 2607093.6499 | 1227510.6746

## bus_geodata
| x | y | coords
0 | 2607319.9681 | 1227191.941
1 | 2607285.5177 | 1227213.3445
2 | 2607334.4256 | 1227163.6303
3 | 2607302.4366 | 1227259.0031
4 | 2607361.8883 | 1227070.8093
5 | 2607134.5299 | 1227364.8414
6 | 2607125.3774 | 1227363.6076
7 | 2607080.6897 | 1227435.9974
8 | 2607312.7363 | 1227239.2484
9 | 2607317.1683 | 1227277.354
10 | 2607361.6887 | 1227011.1516
11 | 2607362.2157 | 1227006.9529
12 | 2607362.4769 | 1227004.8714
13 | 2607344.8355 | 1227214.9622
14 | 2607322.4767 | 1227385.88
15 | 2607321.9622 | 1227390.2691
16 | 2607330.4385 | 1227386.2888
17 | 2607349.0995 | 1227402.5001
18 | 2607315.5731 | 1227460.8047
19 | 2607154.6596 | 1227559.1132
20 | 2607148.4839 | 1227567.0054
21 | 2607139.1743 | 1227575.6268
22 | 2607105.9601 | 1227583.9589
23 | 2607104.9725 | 1227566.8922
24 | 2607049.8206 | 1227569.6621
25 | 2607029.3413 | 1227534.3488
26 | 2607076.4808 | 1227566.3316
27 | 2607054.8516 | 1227621.9946
28 | 2607092.3201 | 1227520.4165
29 | 2607093.6499 | 1227510.6746
30 | 2607068.0176 | 1227482.9768
31 | 2607068.0176 | 1227482.9768

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99319 | -0.13094 | 0.00014261 | 3.5742e-05
1 | 0.99327 | -0.12945 | 0 | 0
2 | 0.99314 | -0.13192 | 0 | 0
3 | 0.99335 | -0.12783 | 0 | 0
4 | 0.99299 | -0.13489 | 0 | 0
5 | 0.9999 | -0.0020309 | 7.6375e-05 | 1.9141e-05
6 | 0.99989 | -0.0020808 | 0.00030969 | 7.7616e-05
7 | 0.99993 | -0.0013071 | 0 | 0
8 | 0.99333 | -0.12828 | 0.0011198 | 0.00028066
9 | 0.99342 | -0.1265 | 0 | 0
10 | 0.99289 | -0.13672 | 0.00098794 | 0.0002476
11 | 0.99289 | -0.13677 | 0.00062565 | 0.0001568
12 | 0.99289 | -0.13678 | 0.00011539 | 2.892e-05
13 | 0.99327 | -0.1294 | 0.0024089 | 0.00060374
14 | 0.99404 | -0.11444 | 0 | 0
15 | 0.99407 | -0.11396 | 0.00017258 | 4.3253e-05
16 | 0.99404 | -0.11454 | 0.00011438 | 2.8666e-05
17 | 0.99402 | -0.11493 | 0.00062555 | 0.00015678
18 | 0.99447 | -0.10605 | 0.00034624 | 8.6776e-05
19 | 0.99562 | -0.083862 | 0.00060668 | 0.00015205
20 | 0.99569 | -0.082577 | 0.0028707 | 0.00071946
21 | 0.9958 | -0.0803 | 0.0066612 | 0.0016694
22 | 0.99634 | -0.069992 | 0 | 0
23 | 0.9966 | -0.064939 | 0 | 0
24 | 0.99089 | -0.17491 | 0 | 0
25 | 0.98763 | -0.23806 | 0.0747 | 0.018722
26 | 0.99303 | -0.1336 | 0.050904 | 0.012758
27 | 0.99016 | -0.18904 | 0.011201 | 0.0028071
28 | 1 | 0 | -0.18984 | -0.047689
29 | 0.99996 | -0.00074694 | 0.0039656 | 0.00099387
30 | 0.99883 | -0.022518 | 0.028835 | 0.0072268
31 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0018721 | -0.00046685 | 0.0018722 | 0.00046635 | 1.3198e-07 | -4.9492e-07 | 0.002804 | 0.0028038 | 0.002804 | 0.99319 | -0.13094 | 0.99327 | -0.12945 | 0.77032
1 | 0.0017295 | 0.00043111 | -0.0017294 | -0.00043147 | 8.0827e-08 | -3.6395e-07 | 0.0025903 | 0.0025904 | 0.0025904 | 0.99319 | -0.13094 | 0.99314 | -0.13192 | 0.71166
2 | -0.0018722 | -0.00046635 | 0.0018724 | 0.00046582 | 1.435e-07 | -5.3832e-07 | 0.0028038 | 0.0028035 | 0.0028038 | 0.99327 | -0.12945 | 0.99335 | -0.12783 | 0.77026
3 | 0.0017294 | 0.00043147 | -0.0017291 | -0.00043257 | 2.4362e-07 | -1.0965e-06 | 0.0025904 | 0.0025909 | 0.0025909 | 0.99314 | -0.13192 | 0.99299 | -0.13489 | 0.71178
4 | 0.0011199 | 0.00028039 | -0.0011198 | -0.00028066 | 2.3497e-08 | -2.7321e-07 | 0.0016774 | 0.0016775 | 0.0016775 | 0.99335 | -0.12783 | 0.99333 | -0.12828 | 0.46086
5 | -0.0029922 | -0.0007462 | 0.0029924 | 0.000746 | 1.8981e-07 | -2.0488e-07 | 0.004481 | 0.0044808 | 0.004481 | 0.99335 | -0.12783 | 0.99342 | -0.1265 | 1.231
6 | 0.0017291 | 0.00043257 | -0.001729 | -0.00043324 | 1.5055e-07 | -6.7716e-07 | 0.0025909 | 0.0025912 | 0.0025912 | 0.99299 | -0.13489 | 0.99289 | -0.13672 | 0.71185
7 | 0.00030969 | 7.7495e-05 | -0.00030969 | -7.7616e-05 | 7.3553e-10 | -1.2066e-07 | 0.00046083 | 0.00046087 | 0.00046087 | 0.9999 | -0.0020309 | 0.99989 | -0.0020808 | 0.12661
8 | -0.00038607 | -9.6637e-05 | 0.00038608 | 9.5242e-05 | 1.3227e-08 | -1.3946e-06 | 0.00057449 | 0.000574 | 0.00057449 | 0.9999 | -0.0020309 | 0.99993 | -0.0013071 | 0.15783
9 | -0.00038608 | -9.5242e-05 | 0.00038609 | 9.4171e-05 | 1.0138e-08 | -1.0706e-06 | 0.000574 | 0.00057363 | 0.000574 | 0.99993 | -0.0013071 | 0.99996 | -0.00074694 | 0.15769
10 | 0.0024093 | 0.00060307 | -0.0024089 | -0.00060374 | 3.3319e-07 | -6.6999e-07 | 0.0036085 | 0.0036088 | 0.0036088 | 0.99342 | -0.1265 | 0.99327 | -0.1294 | 0.99144
11 | -0.0054017 | -0.0013491 | 0.0054048 | 0.0013494 | 3.0958e-06 | 3.4679e-07 | 0.0080894 | 0.0080888 | 0.0080894 | 0.99342 | -0.1265 | 0.99404 | -0.11444 | 2.2224
12 | 0.00074105 | 0.00018564 | -0.00074105 | -0.0001857 | 1.9572e-09 | -5.3477e-08 | 0.0011106 | 0.0011106 | 0.0011106 | 0.99289 | -0.13672 | 0.99289 | -0.13677 | 0.3051
13 | 0.00011539 | 2.8893e-05 | -0.00011539 | -2.892e-05 | 2.3549e-11 | -2.7118e-08 | 0.00017293 | 0.00017294 | 0.00017294 | 0.99289 | -0.13677 | 0.99289 | -0.13678 | 0.04751
14 | -0.0061447 | -0.0015343 | 0.0061449 | 0.0015343 | 1.4015e-07 | 3.2407e-08 | 0.0091962 | 0.0091962 | 0.0091962 | 0.99404 | -0.11444 | 0.99407 | -0.11396 | 2.5264
15 | 0.00073994 | 0.00018489 | -0.00073993 | -0.000185 | 3.6666e-09 | -1.01e-07 | 0.0011074 | 0.0011075 | 0.0011075 | 0.99404 | -0.11444 | 0.99404 | -0.11454 | 0.30425
16 | -0.0063174 | -0.0015776 | 0.0063198 | 0.0015782 | 2.3742e-06 | 6.0086e-07 | 0.0094546 | 0.0094542 | 0.0094546 | 0.99407 | -0.11396 | 0.99447 | -0.10605 | 2.5974
17 | 0.00062556 | 0.00015633 | -0.00062555 | -0.00015678 | 1.1516e-08 | -4.4667e-07 | 0.00093626 | 0.00093642 | 0.00093642 | 0.99404 | -0.11454 | 0.99402 | -0.11493 | 0.25726
18 | -0.0066661 | -0.001665 | 0.0066731 | 0.001667 | 7.0316e-06 | 2.0508e-06 | 0.0099723 | 0.0099714 | 0.0099723 | 0.99447 | -0.10605 | 0.99562 | -0.083862 | 2.7396
19 | -0.0072798 | -0.0018191 | 0.0072802 | 0.0018192 | 4.447e-07 | 1.5427e-07 | 0.010878 | 0.010878 | 0.010878 | 0.99562 | -0.083862 | 0.99569 | -0.082577 | 2.9885
20 | -0.010151 | -0.0025387 | 0.010152 | 0.0025392 | 1.0998e-06 | 5.3805e-07 | 0.015168 | 0.015168 | 0.015168 | 0.99569 | -0.082577 | 0.9958 | -0.0803 | 4.1671
21 | -0.016813 | -0.0042087 | 0.016821 | 0.0042135 | 8.2529e-06 | 4.8279e-06 | 0.025122 | 0.025122 | 0.025122 | 0.9958 | -0.0803 | 0.99634 | -0.069992 | 6.9016
22 | -0.016821 | -0.0042135 | 0.016825 | 0.0042159 | 4.0478e-06 | 2.3678e-06 | 0.025122 | 0.025122 | 0.025122 | 0.99634 | -0.069992 | 0.9966 | -0.064939 | 6.9016
23 | 0.13766 | 0.034832 | -0.13721 | -0.034543 | 0.00045198 | 0.0002889 | 0.20566 | 0.20566 | 0.20566 | 0.9966 | -0.064939 | 0.99303 | -0.1336 | 56.4992
24 | -0.15449 | -0.039048 | 0.15497 | 0.039355 | 0.00048268 | 0.00030765 | 0.23078 | 0.23078 | 0.23078 | 0.9966 | -0.064939 | 1 | 0 | 31.7004
25 | 0.074926 | 0.018865 | -0.0747 | -0.018722 | 0.00022544 | 0.00014367 | 0.11255 | 0.11255 | 0.11255 | 0.99089 | -0.17491 | 0.98763 | -0.23806 | 30.9196
26 | -0.086134 | -0.021676 | 0.086304 | 0.021785 | 0.00017042 | 0.00010872 | 0.12938 | 0.12938 | 0.12938 | 0.99089 | -0.17491 | 0.99303 | -0.1336 | 35.5438
27 | 0.011208 | 0.0028111 | -0.011201 | -0.0028071 | 7.5413e-06 | 3.9128e-06 | 0.016832 | 0.016832 | 0.016832 | 0.99089 | -0.17491 | 0.99016 | -0.18904 | 4.6243
28 | 0.028866 | 0.007246 | -0.028835 | -0.0072268 | 3.0968e-05 | 1.9233e-05 | 0.042957 | 0.042958 | 0.042958 | 1 | 0 | 0.99883 | -0.022518 | 11.8015
29 | 0.0043519 | 0.001088 | -0.0043517 | -0.001088 | 1.5457e-07 | -3.0062e-08 | 0.0064747 | 0.0064747 | 0.0064747 | 1 | 0 | 0.99996 | -0.00074694 | 1.7788

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.18984 | 0.047689

## res_load
| p_mw | q_mvar
0 | 0.00014261 | 3.5742e-05
1 | 7.6375e-05 | 1.9141e-05
2 | 0.00030969 | 7.7616e-05
3 | 0.0011198 | 0.00028066
4 | 0.00098794 | 0.0002476
5 | 0.00062565 | 0.0001568
6 | 0.00011539 | 2.892e-05
7 | 0.0024089 | 0.00060374
8 | 0.00017258 | 4.3253e-05
9 | 0.00011438 | 2.8666e-05
10 | 0.00062555 | 0.00015678
11 | 0.00034624 | 8.6776e-05
12 | 0.00060668 | 0.00015205
13 | 0.0028707 | 0.00071946
14 | 0.0066612 | 0.0016694
15 | 0.0747 | 0.018722
16 | 0.050904 | 0.012758
17 | 0.011201 | 0.0028071
18 | 0.0039656 | 0.00099387
19 | 0.028835 | 0.0072268

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1