## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2513-20_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2513-20_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2513-20_0_4_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_2513-20_0_4_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_2513-20_0_4_node_26 | 0.4 | n |  | TRUE
5 | bus_LV_2513-20_0_4_node_45 | 0.4 | n |  | TRUE
6 | bus_LV_2513-20_0_4_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_2513-20_0_4_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_2513-20_0_4_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_2513-20_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2513-20_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2513-20_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2513-20_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2513-20_0_4_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_2513-20_0_4_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_2513-20_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2513-20_0_4_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_2513-20_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_2513-20_0_4_node_61 | 0.4 | n |  | TRUE
19 | bus_LV_2513-20_0_4_node_83 | 0.4 | n |  | TRUE
20 | bus_LV_2513-20_0_4_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_2513-20_0_4_node_68 | 0.4 | n |  | TRUE
22 | bus_LV_2513-20_0_4_node_47 | 0.4 | n |  | TRUE
23 | bus_LV_2513-20_0_4_node_60 | 0.4 | n |  | TRUE
24 | bus_LV_2513-20_0_4_node_84 | 0.4 | n |  | TRUE
25 | bus_LV_2513-20_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2513-20_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2513-20_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_2513-20_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_2513-20_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2513-20_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_2513-20_0_4_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_2513-20_0_4_node_81 | 0.4 | n |  | TRUE
33 | bus_LV_2513-20_0_4_node_80 | 0.4 | n |  | TRUE
34 | bus_LV_2513-20_0_4_node_73 | 0.4 | n |  | TRUE
35 | bus_LV_2513-20_0_4_node_71 | 0.4 | n |  | TRUE
36 | bus_LV_2513-20_0_4_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_2513-20_0_4_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_2513-20_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_2513-20_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_2513-20_0_4_node_78 | 0.4 | n |  | TRUE
41 | bus_LV_2513-20_0_4_node_65 | 0.4 | n |  | TRUE
42 | bus_LV_2513-20_0_4_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_2513-20_0_4_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_2513-20_0_4_node_79 | 0.4 | n |  | TRUE
45 | bus_LV_2513-20_0_4_node_74 | 0.4 | n |  | TRUE
46 | bus_LV_2513-20_0_4_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_2513-20_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_2513-20_0_4_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_2513-20_0_4_node_70 | 0.4 | n |  | TRUE
50 | bus_LV_2513-20_0_4_node_69 | 0.4 | n |  | TRUE
51 | bus_LV_2513-20_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_2513-20_0_4_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_2513-20_0_4_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_2513-20_0_4_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_2513-20_0_4_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_2513-20_0_4_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_2513-20_0_4_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_2513-20_0_4_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_2513-20_0_4_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_2513-20_0_4_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_2513-20_0_4_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_2513-20_0_4_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_2513-20_0_4_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_2513-20_0_4_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_2513-20_0_4_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_2513-20_0_4_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_2513-20_0_4_node_76 | 0.4 | n |  | TRUE
68 | bus_LV_2513-20_0_4_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_2513-20_0_4_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_2513-20_0_4_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_2513-20_0_4_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_2513-20_0_4_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_2513-20_0_4_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_2513-20_0_4_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_2513-20_0_4_node_57 | 0.4 | n |  | TRUE
76 | bus_MV_393_0_node_46 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2513-20_0_4_load_0 | 0 | 0.00021027 | 5.2699e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2513-20_0_4_load_2 | 1 | 0.0010053 | 0.00025194 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2513-20_0_4_load_5 | 2 | 0.0013706 | 0.0003435 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2513-20_0_4_load_6 | 3 | 0.00071057 | 0.00017809 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2513-20_0_4_load_26 | 4 | 0.00057415 | 0.0001439 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2513-20_0_4_load_45 | 5 | 0.0013174 | 0.00033018 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2513-20_0_4_load_30 | 6 | 0.00023286 | 5.8361e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2513-20_0_4_load_7 | 9 | 0.0032343 | 0.0008106 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2513-20_0_4_load_10 | 11 | 0.0033046 | 0.00082821 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2513-20_0_4_load_11 | 12 | 0.0036182 | 0.00090681 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2513-20_0_4_load_25 | 13 | 0.0073292 | 0.0018369 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2513-20_0_4_load_31 | 14 | 0.00074914 | 0.00018775 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2513-20_0_4_load_83 | 19 | 0.01497 | 0.0037519 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2513-20_0_4_load_29 | 20 | 0.0018477 | 0.00046308 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2513-20_0_4_load_47 | 22 | 0.0032768 | 0.00082123 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2513-20_0_4_load_60 | 23 | 0.00080723 | 0.00020231 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2513-20_0_4_load_84 | 24 | 0.046091 | 0.011551 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2513-20_0_4_load_14 | 25 | 0.023072 | 0.0057825 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2513-20_0_4_load_15 | 26 | 0.032504 | 0.0081464 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2513-20_0_4_load_81 | 32 | 0.017597 | 0.0044103 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2513-20_0_4_load_80 | 33 | 0.0076456 | 0.0019162 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2513-20_0_4_load_73 | 34 | 0.019547 | 0.0048988 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2513-20_0_4_load_71 | 35 | 0.00094321 | 0.00023639 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2513-20_0_4_load_32 | 39 | 0.0030511 | 0.00076469 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2513-20_0_4_load_78 | 40 | 0.0076064 | 0.0019063 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2513-20_0_4_load_64 | 42 | 0.0023211 | 0.00058173 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2513-20_0_4_load_74 | 45 | 0.019677 | 0.0049315 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2513-20_0_4_load_72 | 46 | 0.0027706 | 0.00069437 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2513-20_0_4_load_70 | 49 | 0.005929 | 0.0014859 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2513-20_0_4_load_69 | 50 | 0.0084963 | 0.0021294 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2513-20_0_4_load_82 | 52 | 0.014714 | 0.0036876 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2513-20_0_4_load_75 | 56 | 0.0095049 | 0.0023821 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2513-20_0_4_load_67 | 58 | 0.016617 | 0.0041646 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2513-20_0_4_load_55 | 59 | 0.023765 | 0.0059562 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2513-20_0_4_load_63 | 60 | 0.016963 | 0.0042514 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2513-20_0_4_load_40 | 62 | 0.0056934 | 0.0014269 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2513-20_0_4_load_41 | 63 | 0.004903 | 0.0012288 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2513-20_0_4_load_43 | 65 | 0.010028 | 0.0025133 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2513-20_0_4_load_76 | 67 | 0.002084 | 0.0005223 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2513-20_0_4_load_46 | 68 | 0.00072599 | 0.00018195 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2513-20_0_4_load_48 | 69 | 0.0018582 | 0.0004657 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2513-20_0_4_load_51 | 70 | 0.0041064 | 0.0010292 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2513-20_0_4_load_54 | 71 | 0.015934 | 0.0039934 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2513-20_0_4_load_58 | 72 | 0.004774 | 0.0011965 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2513-20_0_4_load_62 | 74 | 0.040726 | 0.010207 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2513-20_0_4_load_57 | 75 | 0.022037 | 0.0055231 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2513-20_0_4_line_0 |  | 0 | 1 | 0.034634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2513-20_0_4_line_1 |  | 1 | 2 | 0.022764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2513-20_0_4_line_2 |  | 1 | 3 | 0.013716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2513-20_0_4_line_3 |  | 2 | 4 | 0.00012616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2513-20_0_4_line_4 |  | 3 | 5 | 0.0064949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2513-20_0_4_line_5 |  | 4 | 8 | 0.022476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2513-20_0_4_line_6 |  | 6 | 7 | 0.016226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2513-20_0_4_line_7 |  | 7 | 8 | 0.023485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2513-20_0_4_line_8 |  | 8 | 20 | 0.03596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2513-20_0_4_line_9 |  | 9 | 10 | 0.020393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2513-20_0_4_line_10 |  | 10 | 11 | 0.024006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2513-20_0_4_line_11 |  | 10 | 12 | 0.033916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2513-20_0_4_line_12 |  | 11 | 13 | 0.003832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2513-20_0_4_line_13 |  | 12 | 14 | 0.028291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2513-20_0_4_line_14 |  | 13 | 15 | 0.017653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2513-20_0_4_line_15 |  | 14 | 20 | 0.024891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2513-20_0_4_line_16 |  | 15 | 16 | 0.025014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2513-20_0_4_line_17 |  | 15 | 17 | 0.06277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2513-20_0_4_line_18 |  | 16 | 21 | 0.027371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2513-20_0_4_line_19 |  | 16 | 22 | 0.014696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2513-20_0_4_line_20 |  | 17 | 18 | 0.14259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2513-20_0_4_line_21 |  | 17 | 19 | 0.030668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2513-20_0_4_line_22 |  | 18 | 23 | 0.075401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2513-20_0_4_line_23 |  | 19 | 24 | 0.016707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2513-20_0_4_line_24 |  | 21 | 58 | 0.038254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2513-20_0_4_line_25 |  | 22 | 68 | 0.03356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2513-20_0_4_line_26 |  | 25 | 26 | 0.028479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2513-20_0_4_line_27 |  | 25 | 27 | 0.02518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2513-20_0_4_line_28 |  | 26 | 28 | 0.022247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2513-20_0_4_line_29 |  | 27 | 29 | 0.045064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2513-20_0_4_line_30 |  | 27 | 30 | 0.037322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2513-20_0_4_line_31 |  | 28 | 31 | 0.044127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2513-20_0_4_line_32 |  | 29 | 32 | 0.0052566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2513-20_0_4_line_33 |  | 29 | 33 | 0.016523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2513-20_0_4_line_34 |  | 30 | 34 | 0.026443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2513-20_0_4_line_35 |  | 30 | 35 | 0.010067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2513-20_0_4_line_36 |  | 31 | 45 | 0.0071941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2513-20_0_4_line_37 |  | 33 | 43 | 0.0075285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2513-20_0_4_line_38 |  | 35 | 46 | 0.014491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2513-20_0_4_line_39 |  | 36 | 37 | 0.007911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2513-20_0_4_line_40 |  | 36 | 38 | 0.018385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2513-20_0_4_line_41 |  | 36 | 39 | 0.013523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2513-20_0_4_line_42 |  | 37 | 40 | 0.012273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2513-20_0_4_line_43 |  | 38 | 41 | 0.027508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2513-20_0_4_line_44 |  | 38 | 42 | 0.014859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2513-20_0_4_line_45 |  | 40 | 47 | 0.015287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2513-20_0_4_line_46 |  | 41 | 48 | 0.030465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2513-20_0_4_line_47 |  | 41 | 49 | 0.027541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2513-20_0_4_line_48 |  | 42 | 51 | 0.0049915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2513-20_0_4_line_49 |  | 43 | 44 | 0.009261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2513-20_0_4_line_50 |  | 44 | 52 | 0.0035291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_2513-20_0_4_line_51 |  | 44 | 47 | 0.031332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_2513-20_0_4_line_52 |  | 47 | 53 | 0.024946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_2513-20_0_4_line_53 |  | 48 | 50 | 0.032123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2513-20_0_4_line_54 |  | 50 | 66 | 0.10102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2513-20_0_4_line_55 |  | 51 | 64 | 0.024938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2513-20_0_4_line_56 |  | 53 | 54 | 0.023216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_2513-20_0_4_line_57 |  | 54 | 55 | 0.015182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_2513-20_0_4_line_58 |  | 54 | 56 | 0.010555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2513-20_0_4_line_59 |  | 55 | 59 | 0.017045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2513-20_0_4_line_60 |  | 55 | 57 | 0.023633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2513-20_0_4_line_61 |  | 56 | 60 | 0.045869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2513-20_0_4_line_62 |  | 57 | 58 | 0.022474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2513-20_0_4_line_63 |  | 59 | 61 | 0.024555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2513-20_0_4_line_64 |  | 60 | 73 | 0.013541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2513-20_0_4_line_65 |  | 61 | 71 | 0.013613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2513-20_0_4_line_66 |  | 61 | 70 | 0.053563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2513-20_0_4_line_67 |  | 62 | 63 | 0.019118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2513-20_0_4_line_68 |  | 62 | 64 | 0.037885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2513-20_0_4_line_69 |  | 63 | 65 | 0.0058837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2513-20_0_4_line_70 |  | 66 | 67 | 0.051855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2513-20_0_4_line_71 |  | 68 | 69 | 0.011507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2513-20_0_4_line_72 |  | 71 | 72 | 0.015638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2513-20_0_4_line_73 |  | 72 | 75 | 0.0090158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2513-20_0_4_line_74 |  | 73 | 74 | 0.042727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2513-20_0_4_trafo_82 | 0.63 MVA 20/0.4 kV | 76 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2609572.4999 | 1225809.3002 | 2609590.4977 | 1225838.8911
1 | 2609572.4999 | 1225809.3002 | 2609590.444 | 1225795.293
2 | 2609572.4999 | 1225809.3002 | 2609565.1221 | 1225797.7379
3 | 2609590.444 | 1225795.293 | 2609590.5434 | 1225795.2154
4 | 2609565.1221 | 1225797.7379 | 2609561.6284 | 1225792.2626
5 | 2609608.2603 | 1225781.3855 | 2609590.5434 | 1225795.2154
6 | 2609616.944 | 1225801.9337 | 2609626.826 | 1225814.8038
7 | 2609616.944 | 1225801.9337 | 2609608.5926 | 1225791.5587 | 2609608.2603 | 1225781.3855
8 | 2609608.2603 | 1225781.3855 | 2609589.7416 | 1225763.3119 | 2609583.6331 | 1225755.2896
9 | 2609529.0033 | 1225688.1487 | 2609528.2772 | 1225672.8831 | 2609525.5419 | 1225668.5661
10 | 2609529.0033 | 1225688.1487 | 2609523.9185 | 1225687.3958 | 2609505.0614 | 1225686.8138
11 | 2609529.0033 | 1225688.1487 | 2609535.4024 | 1225691.8833 | 2609541.9922 | 1225699.5316 | 2609551.7076 | 1225712.7582
12 | 2609501.2312 | 1225686.6956 | 2609505.0614 | 1225686.8138
13 | 2609568.5766 | 1225735.469 | 2609561.0747 | 1225725.5106 | 2609551.7076 | 1225712.7582
14 | 2609483.8487 | 1225684.2637 | 2609492.4863 | 1225686.4231 | 2609495.4348 | 1225686.5167 | 2609501.2312 | 1225686.6956
15 | 2609583.6331 | 1225755.2896 | 2609571.8833 | 1225739.8585 | 2609568.5766 | 1225735.469
16 | 2609483.8487 | 1225684.2637 | 2609481.3031 | 1225693.0537 | 2609475.699 | 1225699.5375 | 2609469.7345 | 1225703.775
17 | 2609469.4318 | 1225626.7739 | 2609473.5716 | 1225630.8161 | 2609477.89 | 1225632.2015 | 2609478.2918 | 1225641.6966 | 2609480.0996 | 1225653.7288 | 2609482.6123 | 1225670.487 | 2609483.8487 | 1225684.2637
18 | 2609446.7592 | 1225718.7253 | 2609456.1443 | 1225713.1257 | 2609469.7345 | 1225703.775
19 | 2609469.7345 | 1225703.775 | 2609477.0968 | 1225716.4943
20 | 2609379.4988 | 1225576.503 | 2609412.3001 | 1225550.7059 | 2609428.1997 | 1225572.099 | 2609435.0201 | 1225582.7382 | 2609446.3555 | 1225599.8439 | 2609460.8777 | 1225610.0394 | 2609470.1033 | 1225614.3343 | 2609468.4535 | 1225617.4557 | 2609467.8857 | 1225621.8685 | 2609469.4318 | 1225626.7739
21 | 2609469.4318 | 1225626.7739 | 2609462.4871 | 1225627.6745 | 2609450.4756 | 1225630.8019 | 2609441.1258 | 1225637.0649
22 | 2609379.4988 | 1225576.503 | 2609424.0359 | 1225637.3454
23 | 2609426.9692 | 1225645.9293 | 2609436.749 | 1225639.9967 | 2609441.1258 | 1225637.0649
24 | 2609446.7592 | 1225718.7253 | 2609413.1262 | 1225736.9509
25 | 2609499.2453 | 1225735.1856 | 2609488.5038 | 1225736.2015 | 2609477.0968 | 1225716.4943
26 | 2609463.6186 | 1225855.1569 | 2609456.4987 | 1225827.5828
27 | 2609450.2036 | 1225803.2025 | 2609456.4987 | 1225827.5828
28 | 2609469.1806 | 1225876.6978 | 2609463.6186 | 1225855.1569
29 | 2609446.778 | 1225769.2883 | 2609461.6795 | 1225798.2399 | 2609450.2036 | 1225803.2025
30 | 2609450.2036 | 1225803.2025 | 2609461.6795 | 1225798.2399 | 2609484.457 | 1225788.3813
31 | 2609469.1806 | 1225876.6978 | 2609473.8288 | 1225894.6824 | 2609498.4958 | 1225888.0175
32 | 2609446.778 | 1225769.2883 | 2609444.3715 | 1225764.6148
33 | 2609446.778 | 1225769.2883 | 2609432.1701 | 1225777.0099
34 | 2609484.457 | 1225788.3813 | 2609497.3525 | 1225811.4663
35 | 2609484.457 | 1225788.3813 | 2609479.6658 | 1225779.5278
36 | 2609498.4958 | 1225888.0175 | 2609505.3555 | 1225885.85
37 | 2609425.5142 | 1225780.5281 | 2609432.1701 | 1225777.0099
38 | 2609479.6658 | 1225779.5278 | 2609472.7689 | 1225766.7831
39 | 2609399.6241 | 1225812.9064 | 2609391.7923 | 1225814.1727
40 | 2609391.7923 | 1225814.1727 | 2609394.7988 | 1225825.5062 | 2609397.0326 | 1225831.7801
41 | 2609391.7923 | 1225814.1727 | 2609388.3175 | 1225801.1038
42 | 2609399.6241 | 1225812.9064 | 2609396.686 | 1225800.9899
43 | 2609397.0326 | 1225831.7801 | 2609406.2618 | 1225857.6987
44 | 2609397.0326 | 1225831.7801 | 2609387.3498 | 1225834.0107 | 2609382.5533 | 1225835.1182
45 | 2609393.0263 | 1225786.147 | 2609396.686 | 1225800.9899
46 | 2609392.0112 | 1225882.3908 | 2609392.5584 | 1225876.6216 | 2609394.0606 | 1225870.9206 | 2609398.1288 | 1225862.5554 | 2609406.2618 | 1225857.6987
47 | 2609406.2618 | 1225857.6987 | 2609415.3651 | 1225876.8464 | 2609418.8565 | 1225882.1373
48 | 2609377.6898 | 1225836.2413 | 2609382.5533 | 1225835.1182
49 | 2609425.5142 | 1225780.5281 | 2609421.2219 | 1225772.3165
50 | 2609421.2219 | 1225772.3165 | 2609419.8171 | 1225769.0791
51 | 2609421.2219 | 1225772.3165 | 2609393.0263 | 1225786.147
52 | 2609380.5494 | 1225772.0637 | 2609389.1398 | 1225770.4206 | 2609393.0263 | 1225786.147
53 | 2609392.0112 | 1225882.3908 | 2609360.7602 | 1225889.8258
54 | 2609360.7602 | 1225889.8258 | 2609345.2521 | 1225989.6473
55 | 2609353.32 | 1225841.8509 | 2609377.6898 | 1225836.2413
56 | 2609366.4735 | 1225757.6888 | 2609369.2788 | 1225762.0179 | 2609374.5732 | 1225764.4943 | 2609378.7122 | 1225764.2118 | 2609380.5494 | 1225772.0637
57 | 2609372.6705 | 1225745.269 | 2609368.4896 | 1225748.0752 | 2609366.2925 | 1225752.2631 | 2609366.4735 | 1225757.6888
58 | 2609366.4735 | 1225757.6888 | 2609356.3858 | 1225760.794
59 | 2609372.6705 | 1225745.269 | 2609370.5673 | 1225737.828 | 2609367.9802 | 1225728.8822
60 | 2609372.6705 | 1225745.269 | 2609377.257 | 1225744.787 | 2609382.067 | 1225746.7735 | 2609385.1609 | 1225750.7584 | 2609393.3671 | 1225747.6583
61 | 2609311.9074 | 1225771.7942 | 2609327.2533 | 1225769.0454 | 2609355.4776 | 1225761.0736 | 2609356.3858 | 1225760.794
62 | 2609393.3671 | 1225747.6583 | 2609413.1262 | 1225736.9509
63 | 2609361.1586 | 1225705.2942 | 2609367.9802 | 1225728.8822
64 | 2609298.5787 | 1225774.1816 | 2609311.9074 | 1225771.7942
65 | 2609361.1586 | 1225705.2942 | 2609358.1147 | 1225692.0256
66 | 2609361.1586 | 1225705.2942 | 2609308.7836 | 1225716.512
67 | 2609320.7977 | 1225868.9592 | 2609316.4015 | 1225850.354
68 | 2609353.32 | 1225841.8509 | 2609348.9981 | 1225842.8448 | 2609316.4015 | 1225850.354
69 | 2609320.7977 | 1225868.9592 | 2609322.1507 | 1225874.6852
70 | 2609345.2521 | 1225989.6473 | 2609293.9085 | 1225982.3807
71 | 2609510.7008 | 1225734.1021 | 2609499.2453 | 1225735.1856
72 | 2609358.1147 | 1225692.0256 | 2609357.7933 | 1225690.6248 | 2609351.4907 | 1225677.8989
73 | 2609346.7537 | 1225670.2649 | 2609349.7537 | 1225674.3916 | 2609351.4907 | 1225677.8989
74 | 2609298.5787 | 1225774.1816 | 2609307.9659 | 1225815.8651

## bus_geodata
| x | y | coords
0 | 2609590.4977 | 1225838.8911
1 | 2609572.4999 | 1225809.3002
2 | 2609590.444 | 1225795.293
3 | 2609565.1221 | 1225797.7379
4 | 2609590.5434 | 1225795.2154
5 | 2609561.6284 | 1225792.2626
6 | 2609626.826 | 1225814.8038
7 | 2609616.944 | 1225801.9337
8 | 2609608.2603 | 1225781.3855
9 | 2609525.5419 | 1225668.5661
10 | 2609529.0033 | 1225688.1487
11 | 2609505.0614 | 1225686.8138
12 | 2609551.7076 | 1225712.7582
13 | 2609501.2312 | 1225686.6956
14 | 2609568.5766 | 1225735.469
15 | 2609483.8487 | 1225684.2637
16 | 2609469.7345 | 1225703.775
17 | 2609469.4318 | 1225626.7739
18 | 2609379.4988 | 1225576.503
19 | 2609441.1258 | 1225637.0649
20 | 2609583.6331 | 1225755.2896
21 | 2609446.7592 | 1225718.7253
22 | 2609477.0968 | 1225716.4943
23 | 2609424.0359 | 1225637.3454
24 | 2609426.9692 | 1225645.9292
25 | 2609456.4987 | 1225827.5828
26 | 2609463.6186 | 1225855.1569
27 | 2609450.2036 | 1225803.2025
28 | 2609469.1806 | 1225876.6978
29 | 2609446.778 | 1225769.2883
30 | 2609484.457 | 1225788.3813
31 | 2609498.4958 | 1225888.0175
32 | 2609444.3715 | 1225764.6148
33 | 2609432.1701 | 1225777.0099
34 | 2609497.3525 | 1225811.4663
35 | 2609479.6658 | 1225779.5278
36 | 2609391.7923 | 1225814.1727
37 | 2609399.6241 | 1225812.9064
38 | 2609397.0326 | 1225831.7801
39 | 2609388.3175 | 1225801.1038
40 | 2609396.686 | 1225800.9899
41 | 2609406.2618 | 1225857.6987
42 | 2609382.5533 | 1225835.1182
43 | 2609425.5142 | 1225780.5281
44 | 2609421.2219 | 1225772.3165
45 | 2609505.3555 | 1225885.85
46 | 2609472.7689 | 1225766.7831
47 | 2609393.0263 | 1225786.147
48 | 2609392.0112 | 1225882.3908
49 | 2609418.8565 | 1225882.1373
50 | 2609360.7602 | 1225889.8258
51 | 2609377.6898 | 1225836.2413
52 | 2609419.8171 | 1225769.0791
53 | 2609380.5494 | 1225772.0637
54 | 2609366.4735 | 1225757.6888
55 | 2609372.6705 | 1225745.269
56 | 2609356.3858 | 1225760.794
57 | 2609393.3671 | 1225747.6583
58 | 2609413.1262 | 1225736.9509
59 | 2609367.9802 | 1225728.8822
60 | 2609311.9074 | 1225771.7942
61 | 2609361.1586 | 1225705.2942
62 | 2609316.4015 | 1225850.354
63 | 2609320.7977 | 1225868.9592
64 | 2609353.32 | 1225841.8509
65 | 2609322.1507 | 1225874.6851
66 | 2609345.2521 | 1225989.6473
67 | 2609293.9085 | 1225982.3807
68 | 2609499.2453 | 1225735.1856
69 | 2609510.7008 | 1225734.1021
70 | 2609308.7836 | 1225716.512
71 | 2609358.1147 | 1225692.0256
72 | 2609351.4907 | 1225677.8989
73 | 2609298.5787 | 1225774.1816
74 | 2609307.9659 | 1225815.8651
75 | 2609346.7537 | 1225670.2649
76 | 2609421.2219 | 1225772.3165

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97918 | -0.40055 | 0.00021027 | 5.2699e-05
1 | 0.97918 | -0.40042 | 0.0010053 | 0.00025194
2 | 0.97925 | -0.39908 | 0.0013706 | 0.0003435
3 | 0.97916 | -0.40093 | 0.00071057 | 0.00017809
4 | 0.97925 | -0.39907 | 0.00057415 | 0.0001439
5 | 0.97915 | -0.40108 | 0.0013174 | 0.00033018
6 | 0.97935 | -0.39711 | 0.00023286 | 5.8361e-05
7 | 0.97935 | -0.39705 | 0 | 0
8 | 0.97936 | -0.39695 | 0 | 0
9 | 0.98022 | -0.38002 | 0.0032343 | 0.0008106
10 | 0.98028 | -0.37882 | 0 | 0
11 | 0.98061 | -0.37235 | 0.0033046 | 0.00082821
12 | 0.97992 | -0.38599 | 0.0036182 | 0.00090681
13 | 0.98068 | -0.37108 | 0.0073292 | 0.0018369
14 | 0.97971 | -0.39011 | 0.00074914 | 0.00018775
15 | 0.98109 | -0.36293 | 0 | 0
16 | 0.98312 | -0.32342 | 0 | 0
17 | 0.97748 | -0.43352 | 0 | 0
18 | 0.97738 | -0.43563 | 0 | 0
19 | 0.97574 | -0.46774 | 0.01497 | 0.0037519
20 | 0.97954 | -0.3934 | 0.0018477 | 0.00046308
21 | 0.98549 | -0.2775 | 0 | 0
22 | 0.98304 | -0.32498 | 0.0032768 | 0.00082123
23 | 0.97732 | -0.43674 | 0.00080723 | 0.00020231
24 | 0.97502 | -0.48185 | 0.046091 | 0.011551
25 | 0.99019 | -0.1884 | 0.023072 | 0.0057825
26 | 0.98883 | -0.21486 | 0.032504 | 0.0081464
27 | 0.99193 | -0.15478 | 0 | 0
28 | 0.98843 | -0.22266 | 0 | 0
29 | 0.996 | -0.076448 | 0 | 0
30 | 0.99113 | -0.17017 | 0 | 0
31 | 0.98763 | -0.23817 | 0 | 0
32 | 0.99591 | -0.078074 | 0.017597 | 0.0044103
33 | 0.99776 | -0.042797 | 0.0076456 | 0.0019162
34 | 0.99066 | -0.17934 | 0.019547 | 0.0048988
35 | 0.9911 | -0.17083 | 0.00094321 | 0.00023639
36 | 0.99603 | -0.075761 | 0 | 0
37 | 0.99634 | -0.069853 | 0 | 0
38 | 0.99537 | -0.088517 | 0 | 0
39 | 0.99599 | -0.076486 | 0.0030511 | 0.00076469
40 | 0.99681 | -0.060695 | 0.0076064 | 0.0019063
41 | 0.99496 | -0.096514 | 0 | 0
42 | 0.99506 | -0.094518 | 0.0023211 | 0.00058173
43 | 0.99861 | -0.026498 | 0 | 0
44 | 0.99966 | -0.0064854 | 0 | 0
45 | 0.9875 | -0.2407 | 0.019677 | 0.0049315
46 | 0.99106 | -0.17154 | 0.0027706 | 0.00069437
47 | 0.99751 | -0.047262 | 0 | 0
48 | 0.99466 | -0.10219 | 0 | 0
49 | 0.99481 | -0.09939 | 0.005929 | 0.0014859
50 | 0.99435 | -0.10819 | 0.0084963 | 0.0021294
51 | 0.99497 | -0.096331 | 0 | 0
52 | 1 | 0 | -0.42781 | -0.10858
53 | 0.99609 | -0.07436 | 0 | 0
54 | 0.99477 | -0.099648 | 0 | 0
55 | 0.9935 | -0.12381 | 0 | 0
56 | 0.99412 | -0.11215 | 0.0095049 | 0.0023821
57 | 0.9911 | -0.16978 | 0 | 0
58 | 0.98881 | -0.21369 | 0.016617 | 0.0041646
59 | 0.9924 | -0.14509 | 0.023765 | 0.0059562
60 | 0.99169 | -0.15893 | 0.016963 | 0.0042514
61 | 0.99135 | -0.16547 | 0 | 0
62 | 0.99378 | -0.11917 | 0.0056934 | 0.0014269
63 | 0.99352 | -0.12421 | 0.004903 | 0.0012288
64 | 0.9945 | -0.10539 | 0 | 0
65 | 0.99347 | -0.12525 | 0.010028 | 0.0025133
66 | 0.99416 | -0.1119 | 0 | 0
67 | 0.99406 | -0.11381 | 0.002084 | 0.0005223
68 | 0.98296 | -0.32654 | 0.00072599 | 0.00018195
69 | 0.98294 | -0.32693 | 0.0018582 | 0.0004657
70 | 0.99115 | -0.16938 | 0.0041064 | 0.0010292
71 | 0.99082 | -0.1758 | 0.015934 | 0.0039934
72 | 0.99043 | -0.18325 | 0.004774 | 0.0011965
73 | 0.99119 | -0.16871 | 0 | 0
74 | 0.9896 | -0.19963 | 0.040726 | 0.010207
75 | 0.99025 | -0.18678 | 0.022037 | 0.0055231
76 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00021027 | -5.2699e-05 | 0.00021027 | 5.2265e-05 | 1.3255e-09 | -4.3481e-07 | 0.00031954 | 0.00031939 | 0.00031954 | 0.97918 | -0.40055 | 0.97918 | -0.40042 | 0.087787
1 | -0.0032436 | -0.00081225 | 0.0032438 | 0.0008121 | 2.0738e-07 | -1.5364e-07 | 0.0049289 | 0.0049288 | 0.0049289 | 0.97918 | -0.40042 | 0.97925 | -0.39908 | 1.3541
2 | 0.0020281 | 0.00050805 | -0.002028 | -0.00050819 | 4.8852e-08 | -1.4126e-07 | 0.0030818 | 0.0030819 | 0.0030819 | 0.97918 | -0.40042 | 0.97916 | -0.40093 | 0.84668
3 | -0.0046144 | -0.0011556 | 0.0046144 | 0.0011556 | 2.3254e-09 | -9.8626e-11 | 0.0070115 | 0.0070115 | 0.0070115 | 0.97925 | -0.39908 | 0.97925 | -0.39907 | 1.9262
4 | 0.0013174 | 0.0003301 | -0.0013174 | -0.00033018 | 9.7626e-09 | -7.5445e-08 | 0.0020021 | 0.0020021 | 0.0020021 | 0.97916 | -0.40093 | 0.97915 | -0.40108 | 0.55003
5 | -0.0051885 | -0.0012995 | 0.0051891 | 0.0012996 | 5.2387e-07 | 5.2489e-08 | 0.0078839 | 0.0078838 | 0.0078839 | 0.97925 | -0.39907 | 0.97936 | -0.39695 | 2.1659
6 | -0.00023286 | -5.8361e-05 | 0.00023286 | 5.8157e-05 | 7.6155e-10 | -2.0369e-07 | 0.00035381 | 0.00035374 | 0.00035381 | 0.97935 | -0.39711 | 0.97935 | -0.39705 | 0.0972
7 | -0.00023286 | -5.8157e-05 | 0.00023286 | 5.7862e-05 | 1.1017e-09 | -2.9481e-07 | 0.00035374 | 0.00035363 | 0.00035374 | 0.97935 | -0.39705 | 0.97936 | -0.39695 | 0.09718
8 | -0.0054219 | -0.0013574 | 0.0054229 | 0.0013575 | 9.1501e-07 | 1.3303e-07 | 0.0082374 | 0.0082373 | 0.0082374 | 0.97936 | -0.39695 | 0.97954 | -0.3934 | 2.263
9 | -0.0032343 | -0.0008106 | 0.0032345 | 0.00081046 | 1.8435e-07 | -1.391e-07 | 0.0049099 | 0.0049098 | 0.0049099 | 0.98022 | -0.38002 | 0.98028 | -0.37882 | 1.3489
10 | -0.014879 | -0.0037288 | 0.014884 | 0.0037315 | 4.5922e-06 | 2.6362e-06 | 0.022586 | 0.022586 | 0.022586 | 0.98028 | -0.37882 | 0.98061 | -0.37235 | 6.2048
11 | 0.011645 | 0.0029184 | -0.011641 | -0.0029162 | 3.9738e-06 | 2.1158e-06 | 0.017676 | 0.017676 | 0.017676 | 0.98028 | -0.37882 | 0.97992 | -0.38599 | 4.856
12 | -0.018188 | -0.0045597 | 0.018189 | 0.0045603 | 1.0947e-06 | 6.5224e-07 | 0.0276 | 0.0276 | 0.0276 | 0.98061 | -0.37235 | 0.98068 | -0.37108 | 7.5824
13 | 0.0080224 | 0.0020094 | -0.0080208 | -0.0020088 | 1.5743e-06 | 6.5125e-07 | 0.012182 | 0.012182 | 0.012182 | 0.97992 | -0.38599 | 0.97971 | -0.39011 | 3.3467
14 | -0.025519 | -0.0063972 | 0.025529 | 0.0064033 | 9.925e-06 | 6.1291e-06 | 0.038721 | 0.038721 | 0.038721 | 0.98068 | -0.37108 | 0.98109 | -0.36293 | 10.6376
15 | 0.0072717 | 0.001821 | -0.0072706 | -0.0018206 | 1.1385e-06 | 4.1526e-07 | 0.011044 | 0.011044 | 0.011044 | 0.97971 | -0.39011 | 0.97954 | -0.3934 | 3.0341
16 | -0.087737 | -0.022123 | 0.087904 | 0.022229 | 0.00016622 | 0.00010607 | 0.13312 | 0.13312 | 0.13312 | 0.98109 | -0.36293 | 0.98312 | -0.32342 | 36.571
17 | 0.062209 | 0.01572 | -0.061999 | -0.015586 | 0.00020975 | 0.00013345 | 0.094398 | 0.094398 | 0.094398 | 0.98109 | -0.36293 | 0.97748 | -0.43352 | 25.9335
18 | -0.093765 | -0.023698 | 0.093972 | 0.02383 | 0.00020694 | 0.00013209 | 0.14199 | 0.14199 | 0.14199 | 0.98312 | -0.32342 | 0.98549 | -0.2775 | 39.0083
19 | 0.0058616 | 0.0014685 | -0.0058611 | -0.0014685 | 4.3377e-07 | 9.1272e-08 | 0.0088717 | 0.0088717 | 0.0088717 | 0.98312 | -0.32342 | 0.98304 | -0.32498 | 2.4373
20 | 0.00080736 | 0.00019966 | -0.00080727 | -0.00020139 | 8.0683e-08 | -1.7355e-06 | 0.0012281 | 0.0012287 | 0.0012287 | 0.97748 | -0.43352 | 0.97738 | -0.43563 | 0.33756
21 | 0.061192 | 0.015386 | -0.061092 | -0.015323 | 9.9833e-05 | 6.351e-05 | 0.09317 | 0.09317 | 0.09317 | 0.97748 | -0.43352 | 0.97574 | -0.46774 | 25.5962
22 | 0.00080727 | 0.00020139 | -0.00080723 | -0.00020231 | 4.27e-08 | -9.1757e-07 | 0.0012287 | 0.0012291 | 0.0012291 | 0.97738 | -0.43563 | 0.97732 | -0.43674 | 0.33765
23 | 0.046122 | 0.011571 | -0.046091 | -0.011551 | 3.0997e-05 | 1.963e-05 | 0.07034 | 0.07034 | 0.07034 | 0.97574 | -0.46774 | 0.97502 | -0.48185 | 19.3242
24 | -0.093972 | -0.02383 | 0.094261 | 0.024014 | 0.00028921 | 0.00018461 | 0.14199 | 0.14199 | 0.14199 | 0.98549 | -0.2775 | 0.98881 | -0.21369 | 39.0082
25 | 0.0025844 | 0.00064723 | -0.0025842 | -0.00064753 | 1.9258e-07 | -3.0219e-07 | 0.0039118 | 0.0039119 | 0.0039119 | 0.98304 | -0.32498 | 0.98296 | -0.32654 | 1.0747
26 | 0.052272 | 0.013134 | -0.052206 | -0.013092 | 6.5916e-05 | 4.182e-05 | 0.078563 | 0.078564 | 0.078564 | 0.99019 | -0.1884 | 0.98883 | -0.21486 | 21.5834
27 | -0.075344 | -0.018917 | 0.075465 | 0.018994 | 0.00012107 | 7.7163e-05 | 0.11324 | 0.11324 | 0.11324 | 0.99019 | -0.1884 | 0.99193 | -0.15478 | 31.1087
28 | 0.019701 | 0.0049461 | -0.019694 | -0.0049417 | 7.3343e-06 | 4.4087e-06 | 0.02965 | 0.02965 | 0.02965 | 0.98883 | -0.21486 | 0.98843 | -0.22266 | 8.1456
29 | -0.098751 | -0.024839 | 0.099122 | 0.025076 | 0.00037101 | 0.00023686 | 0.14817 | 0.14817 | 0.14817 | 0.99193 | -0.15478 | 0.996 | -0.076448 | 40.7063
30 | 0.023286 | 0.005845 | -0.023269 | -0.0058345 | 1.7082e-05 | 1.0451e-05 | 0.034935 | 0.034936 | 0.034936 | 0.99193 | -0.15478 | 0.99113 | -0.17017 | 9.5977
31 | 0.019694 | 0.0049417 | -0.019679 | -0.0049329 | 1.4547e-05 | 8.7452e-06 | 0.02965 | 0.02965 | 0.02965 | 0.98843 | -0.22266 | 0.98763 | -0.23817 | 8.1456
32 | 0.017598 | 0.0044111 | -0.017597 | -0.0044103 | 1.3627e-06 | 8.0371e-07 | 0.026292 | 0.026292 | 0.026292 | 0.996 | -0.076448 | 0.99591 | -0.078074 | 7.2231
33 | -0.11672 | -0.029487 | 0.11691 | 0.029607 | 0.00018859 | 0.00012048 | 0.17446 | 0.17446 | 0.17446 | 0.996 | -0.076448 | 0.99776 | -0.042797 | 47.9293
34 | 0.019555 | 0.004904 | -0.019547 | -0.0048988 | 8.5476e-06 | 5.1298e-06 | 0.02936 | 0.02936 | 0.02936 | 0.99113 | -0.17017 | 0.99066 | -0.17934 | 8.0659
35 | 0.003714 | 0.00093058 | -0.0037139 | -0.00093063 | 1.1737e-07 | -5.4618e-08 | 0.0055758 | 0.0055759 | 0.0055759 | 0.99113 | -0.17017 | 0.9911 | -0.17083 | 1.5318
36 | 0.019679 | 0.0049329 | -0.019677 | -0.0049315 | 2.3717e-06 | 1.4258e-06 | 0.02965 | 0.02965 | 0.02965 | 0.98763 | -0.23817 | 0.9875 | -0.2407 | 8.1457
37 | -0.12455 | -0.031523 | 0.12465 | 0.031586 | 9.753e-05 | 6.2321e-05 | 0.18587 | 0.18587 | 0.18587 | 0.99776 | -0.042797 | 0.99861 | -0.026498 | 51.0618
38 | 0.0027707 | 0.00069424 | -0.0027706 | -0.00069437 | 9.4033e-08 | -1.2656e-07 | 0.0041598 | 0.0041598 | 0.0041598 | 0.9911 | -0.17083 | 0.99106 | -0.17154 | 1.1428
39 | -0.042579 | -0.010694 | 0.042591 | 0.010702 | 1.2007e-05 | 7.5813e-06 | 0.063618 | 0.063618 | 0.063618 | 0.99603 | -0.075761 | 0.99634 | -0.069853 | 17.4775
40 | 0.039527 | 0.0099296 | -0.039503 | -0.0099144 | 2.4048e-05 | 1.5152e-05 | 0.05906 | 0.05906 | 0.05906 | 0.99603 | -0.075761 | 0.99537 | -0.088517 | 16.2252
41 | 0.0030512 | 0.00076458 | -0.0030511 | -0.00076469 | 1.0537e-07 | -1.0856e-07 | 0.0045583 | 0.0045584 | 0.0045584 | 0.99603 | -0.075761 | 0.99599 | -0.076486 | 1.2523
42 | -0.042591 | -0.010702 | 0.042609 | 0.010713 | 1.8628e-05 | 1.1762e-05 | 0.063618 | 0.063618 | 0.063618 | 0.99634 | -0.069853 | 0.99681 | -0.060695 | 17.4775
43 | 0.016523 | 0.0041428 | -0.016517 | -0.0041391 | 6.2941e-06 | 3.6708e-06 | 0.024701 | 0.024701 | 0.024701 | 0.99537 | -0.088517 | 0.99496 | -0.096514 | 6.7861
44 | 0.02298 | 0.0057716 | -0.022974 | -0.0057676 | 6.578e-06 | 4.0168e-06 | 0.034359 | 0.034359 | 0.034359 | 0.99537 | -0.088517 | 0.99506 | -0.094518 | 9.4392
45 | -0.050216 | -0.01262 | 0.050248 | 0.01264 | 3.2223e-05 | 2.0423e-05 | 0.074973 | 0.074973 | 0.074973 | 0.99681 | -0.060695 | 0.99751 | -0.047262 | 20.5969
46 | 0.010587 | 0.002653 | -0.010584 | -0.0026516 | 2.864e-06 | 1.4374e-06 | 0.015833 | 0.015833 | 0.015833 | 0.99496 | -0.096514 | 0.99466 | -0.10219 | 4.3498
47 | 0.0059298 | 0.0014861 | -0.005929 | -0.0014859 | 8.1227e-07 | 1.6223e-07 | 0.0088684 | 0.0088685 | 0.0088685 | 0.99496 | -0.096514 | 0.99481 | -0.09939 | 2.4364
48 | 0.020653 | 0.0051859 | -0.020651 | -0.0051848 | 1.7858e-06 | 1.0781e-06 | 0.030888 | 0.030888 | 0.030888 | 0.99506 | -0.094518 | 0.99497 | -0.096331 | 8.4856
49 | -0.12465 | -0.031586 | 0.12477 | 0.031662 | 0.00011997 | 7.6662e-05 | 0.18587 | 0.18587 | 0.18587 | 0.99861 | -0.026498 | 0.99966 | -0.0064854 | 51.0618
50 | -0.42603 | -0.1085 | 0.42616 | 0.10858 | 0.00013331 | 8.5132e-05 | 0.63476 | 0.63476 | 0.63476 | 0.99966 | -0.0064854 | 1 | 0 | 43.5963
51 | 0.30126 | 0.076833 | -0.30066 | -0.076456 | 0.00059191 | 0.00037718 | 0.4489 | 0.4489 | 0.4489 | 0.99966 | -0.0064854 | 0.99751 | -0.047262 | 30.8309
52 | 0.25042 | 0.063816 | -0.25009 | -0.063608 | 0.00032699 | 0.00020798 | 0.37393 | 0.37393 | 0.37393 | 0.99751 | -0.047262 | 0.99609 | -0.07436 | 25.6818
53 | 0.010584 | 0.0026516 | -0.010581 | -0.0026501 | 3.0199e-06 | 1.5159e-06 | 0.015833 | 0.015833 | 0.015833 | 0.99466 | -0.10219 | 0.99435 | -0.10819 | 4.3498
54 | 0.0020846 | 0.00052068 | -0.0020842 | -0.00052175 | 3.6854e-07 | -1.0743e-06 | 0.0031189 | 0.0031193 | 0.0031193 | 0.99435 | -0.10819 | 0.99416 | -0.1119 | 0.85695
55 | 0.020651 | 0.0051848 | -0.020642 | -0.0051794 | 8.9221e-06 | 5.3864e-06 | 0.030888 | 0.030888 | 0.030888 | 0.99497 | -0.096331 | 0.9945 | -0.10539 | 8.4857
56 | 0.25009 | 0.063608 | -0.24978 | -0.063414 | 0.00030432 | 0.00019356 | 0.37393 | 0.37393 | 0.37393 | 0.99609 | -0.07436 | 0.99477 | -0.099648 | 25.6818
57 | 0.18234 | 0.046416 | -0.18213 | -0.046281 | 0.00021217 | 0.0001354 | 0.27301 | 0.27301 | 0.27301 | 0.99477 | -0.099648 | 0.9935 | -0.12381 | 37.5014
58 | 0.067443 | 0.016998 | -0.067402 | -0.016972 | 4.031e-05 | 2.5661e-05 | 0.10092 | 0.10092 | 0.10092 | 0.99477 | -0.099648 | 0.99412 | -0.11215 | 27.7245
59 | 0.070769 | 0.017794 | -0.070698 | -0.017748 | 7.1839e-05 | 4.5756e-05 | 0.10601 | 0.10602 | 0.10602 | 0.9935 | -0.12381 | 0.9924 | -0.14509 | 29.125
60 | 0.11136 | 0.028487 | -0.11111 | -0.028329 | 0.00024715 | 0.00015787 | 0.167 | 0.167 | 0.167 | 0.9935 | -0.12381 | 0.9911 | -0.16978 | 45.878
61 | 0.057897 | 0.01459 | -0.057768 | -0.014508 | 0.00012927 | 8.2138e-05 | 0.08669 | 0.08669 | 0.08669 | 0.99412 | -0.11215 | 0.99169 | -0.15893 | 23.8161
62 | 0.11111 | 0.028329 | -0.11088 | -0.028179 | 0.00023503 | 0.00015013 | 0.167 | 0.167 | 0.167 | 0.9911 | -0.16978 | 0.98881 | -0.21369 | 45.878
63 | 0.046932 | 0.011792 | -0.046887 | -0.011763 | 4.5612e-05 | 2.8875e-05 | 0.070381 | 0.070381 | 0.070381 | 0.9924 | -0.14509 | 0.99135 | -0.16547 | 19.3355
64 | 0.040805 | 0.010257 | -0.040786 | -0.010245 | 1.9042e-05 | 1.2012e-05 | 0.061237 | 0.061237 | 0.061237 | 0.99169 | -0.15893 | 0.99119 | -0.16871 | 16.8234
65 | 0.042779 | 0.010734 | -0.042758 | -0.010721 | 2.1052e-05 | 1.3298e-05 | 0.064217 | 0.064217 | 0.064217 | 0.99135 | -0.16547 | 0.99082 | -0.1758 | 17.6419
66 | 0.0041071 | 0.001029 | -0.0041064 | -0.0010292 | 7.6336e-07 | -2.0191e-07 | 0.0061647 | 0.0061649 | 0.0061649 | 0.99135 | -0.16547 | 0.99115 | -0.16938 | 1.6937
67 | 0.014935 | 0.0037443 | -0.014931 | -0.0037423 | 3.5853e-06 | 2.047e-06 | 0.022363 | 0.022363 | 0.022363 | 0.99378 | -0.11917 | 0.99352 | -0.12421 | 6.1437
68 | -0.020628 | -0.0051713 | 0.020642 | 0.0051794 | 1.3554e-05 | 8.1835e-06 | 0.030888 | 0.030888 | 0.030888 | 0.99378 | -0.11917 | 0.9945 | -0.10539 | 8.4857
69 | 0.010029 | 0.0025135 | -0.010028 | -0.0025133 | 4.9776e-07 | 2.4238e-07 | 0.01502 | 0.01502 | 0.01502 | 0.99352 | -0.12421 | 0.99347 | -0.12525 | 4.1264
70 | 0.0020842 | 0.00052175 | -0.002084 | -0.0005223 | 1.8922e-07 | -5.5121e-07 | 0.0031193 | 0.0031196 | 0.0031196 | 0.99416 | -0.1119 | 0.99406 | -0.11381 | 0.85702
71 | 0.0018582 | 0.00046558 | -0.0018582 | -0.0004657 | 3.4143e-08 | -1.24e-07 | 0.0028129 | 0.002813 | 0.002813 | 0.98296 | -0.32654 | 0.98294 | -0.32693 | 0.7728
72 | 0.026825 | 0.0067277 | -0.026815 | -0.0067218 | 9.5182e-06 | 5.8903e-06 | 0.040287 | 0.040287 | 0.040287 | 0.99082 | -0.1758 | 0.99043 | -0.18325 | 11.0679
73 | 0.022041 | 0.0055253 | -0.022037 | -0.0055231 | 3.7075e-06 | 2.2568e-06 | 0.033115 | 0.033115 | 0.033115 | 0.99043 | -0.18325 | 0.99025 | -0.18678 | 9.0975
74 | 0.040786 | 0.010245 | -0.040726 | -0.010207 | 6.0086e-05 | 3.7905e-05 | 0.061237 | 0.061238 | 0.061238 | 0.99119 | -0.16871 | 0.9896 | -0.19963 | 16.8235

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44253 | 0.11227

## res_load
| p_mw | q_mvar
0 | 0.00021027 | 5.2699e-05
1 | 0.0010053 | 0.00025194
2 | 0.0013706 | 0.0003435
3 | 0.00071057 | 0.00017809
4 | 0.00057415 | 0.0001439
5 | 0.0013174 | 0.00033018
6 | 0.00023286 | 5.8361e-05
7 | 0.0032343 | 0.0008106
8 | 0.0033046 | 0.00082821
9 | 0.0036182 | 0.00090681
10 | 0.0073292 | 0.0018369
11 | 0.00074914 | 0.00018775
12 | 0.01497 | 0.0037519
13 | 0.0018477 | 0.00046308
14 | 0.0032768 | 0.00082123
15 | 0.00080723 | 0.00020231
16 | 0.046091 | 0.011551
17 | 0.023072 | 0.0057825
18 | 0.032504 | 0.0081464
19 | 0.017597 | 0.0044103
20 | 0.0076456 | 0.0019162
21 | 0.019547 | 0.0048988
22 | 0.00094321 | 0.00023639
23 | 0.0030511 | 0.00076469
24 | 0.0076064 | 0.0019063
25 | 0.0023211 | 0.00058173
26 | 0.019677 | 0.0049315
27 | 0.0027706 | 0.00069437
28 | 0.005929 | 0.0014859
29 | 0.0084963 | 0.0021294
30 | 0.014714 | 0.0036876
31 | 0.0095049 | 0.0023821
32 | 0.016617 | 0.0041646
33 | 0.023765 | 0.0059562
34 | 0.016963 | 0.0042514
35 | 0.0056934 | 0.0014269
36 | 0.004903 | 0.0012288
37 | 0.010028 | 0.0025133
38 | 0.002084 | 0.0005223
39 | 0.00072599 | 0.00018195
40 | 0.0018582 | 0.0004657
41 | 0.0041064 | 0.0010292
42 | 0.015934 | 0.0039934
43 | 0.004774 | 0.0011965
44 | 0.040726 | 0.010207
45 | 0.022037 | 0.0055231

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1