## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2513-21_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2513-21_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2513-21_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2513-21_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2513-21_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2513-21_0_2_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_2513-21_0_2_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_2513-21_0_2_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_2513-21_0_2_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_2513-21_0_2_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_2513-21_0_2_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_2513-21_0_2_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_2513-21_0_2_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_2513-21_0_2_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_2513-21_0_2_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_2513-21_0_2_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2513-21_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_2513-21_0_2_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_2513-21_0_2_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_2513-21_0_2_node_6 | 0.4 | n |  | TRUE
20 | bus_LV_2513-21_0_2_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2513-21_0_2_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_2513-21_0_2_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_2513-21_0_2_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_2513-21_0_2_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_2513-21_0_2_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_2513-21_0_2_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_2513-21_0_2_node_5 | 0.4 | n |  | TRUE
28 | bus_LV_2513-21_0_2_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_2513-21_0_2_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_2513-21_0_2_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_2513-21_0_2_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_2513-21_0_2_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_2513-21_0_2_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_2513-21_0_2_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_2513-21_0_2_node_34 | 0.4 | n |  | TRUE
36 | bus_MV_394_0_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2513-21_0_2_load_0 | 0 | 0.0055795 | 0.0013984 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2513-21_0_2_load_1 | 1 | 0.00030389 | 7.6161e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2513-21_0_2_load_3 | 3 | 0.0011367 | 0.00028488 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2513-21_0_2_load_32 | 6 | 0.0029882 | 0.00074891 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2513-21_0_2_load_33 | 10 | 0.0039383 | 0.00098702 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2513-21_0_2_load_37 | 14 | 0.0014494 | 0.00036326 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2513-21_0_2_load_36 | 17 | 0.0010358 | 0.00025961 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2513-21_0_2_load_23 | 18 | 0.014044 | 0.0035197 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2513-21_0_2_load_6 | 19 | 0.0016 | 0.000401 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2513-21_0_2_load_24 | 21 | 0.0010774 | 0.00027001 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2513-21_0_2_load_25 | 23 | 0.0010117 | 0.00025355 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2513-21_0_2_load_26 | 24 | 0.00028941 | 7.2534e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2513-21_0_2_load_28 | 26 | 0.0038188 | 0.00095709 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2513-21_0_2_load_5 | 27 | 0.02997 | 0.0075111 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2513-21_0_2_load_19 | 28 | 0.0052635 | 0.0013192 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2513-21_0_2_load_30 | 29 | 0.00044906 | 0.00011254 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2513-21_0_2_load_29 | 30 | 0.00019361 | 4.8523e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2513-21_0_2_load_35 | 33 | 0.014786 | 0.0037058 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2513-21_0_2_load_34 | 35 | 0.006763 | 0.001695 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2513-21_0_2_line_0 |  | 0 | 1 | 0.056616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2513-21_0_2_line_1 |  | 0 | 2 | 0.03747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2513-21_0_2_line_2 |  | 1 | 3 | 0.013407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2513-21_0_2_line_3 |  | 2 | 4 | 0.093475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2513-21_0_2_line_4 |  | 3 | 5 | 0.034137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2513-21_0_2_line_5 |  | 4 | 6 | 0.055879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2513-21_0_2_line_6 |  | 5 | 7 | 0.10161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2513-21_0_2_line_7 |  | 5 | 8 | 0.14221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2513-21_0_2_line_8 |  | 7 | 25 | 0.084411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2513-21_0_2_line_9 |  | 7 | 26 | 0.0058583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2513-21_0_2_line_10 |  | 8 | 24 | 0.0064613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2513-21_0_2_line_11 |  | 8 | 13 | 0.006938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2513-21_0_2_line_12 |  | 9 | 10 | 0.044502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2513-21_0_2_line_13 |  | 9 | 11 | 0.41197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2513-21_0_2_line_14 |  | 10 | 31 | 0.012881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2513-21_0_2_line_15 |  | 11 | 23 | 0.1051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2513-21_0_2_line_16 |  | 11 | 16 | 0.027525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2513-21_0_2_line_17 |  | 12 | 13 | 0.048551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2513-21_0_2_line_18 |  | 12 | 14 | 0.007062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2513-21_0_2_line_19 |  | 12 | 15 | 0.29485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2513-21_0_2_line_20 |  | 15 | 18 | 0.010818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2513-21_0_2_line_21 |  | 15 | 19 | 0.026334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2513-21_0_2_line_22 |  | 16 | 17 | 0.016198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2513-21_0_2_line_23 |  | 18 | 21 | 0.0046637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2513-21_0_2_line_24 |  | 19 | 27 | 0.0062973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2513-21_0_2_line_25 |  | 20 | 21 | 0.028956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2513-21_0_2_line_26 |  | 20 | 22 | 0.029883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2513-21_0_2_line_27 |  | 22 | 28 | 0.024357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2513-21_0_2_line_28 |  | 25 | 35 | 0.019023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2513-21_0_2_line_29 |  | 26 | 30 | 0.045707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2513-21_0_2_line_30 |  | 28 | 34 | 0.017474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2513-21_0_2_line_31 |  | 29 | 30 | 0.013413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2513-21_0_2_line_32 |  | 31 | 32 | 0.10735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2513-21_0_2_line_33 |  | 32 | 33 | 0.015047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2513-21_0_2_line_34 |  | 32 | 34 | 0.098962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2513-21_0_2_trafo_6 | 0.63 MVA 20/0.4 kV | 36 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2609118.9975 | 1227288.7852 | 2609118.9975 | 1227288.7852 | 2609123.2712 | 1227259.0742 | 2609114.2768 | 1227243.7848 | 2609112.2514 | 1227235.1589
1 | 2609094.834 | 1227202.5198 | 2609109.8949 | 1227225.1227 | 2609112.2514 | 1227235.1589
2 | 2609118.9975 | 1227288.7852 | 2609122.7592 | 1227301.6541 | 2609122.7592 | 1227301.6541
3 | 2609094.834 | 1227202.5198 | 2609084.3525 | 1227198.3459 | 2609073.2638 | 1227199.8411 | 2609047.8003 | 1227215.9788 | 2609028.6479 | 1227228.0459 | 2609016.1771 | 1227241.5907
4 | 2609122.0555 | 1227335.7842 | 2609122.7592 | 1227301.6541
5 | 2609016.1771 | 1227241.5907 | 2609026.885 | 1227236.3037 | 2609033.4197 | 1227234.5681 | 2609041.1121 | 1227239.0045 | 2609057.3204 | 1227262.1985
6 | 2609122.0555 | 1227335.7842 | 2609114.1395 | 1227333.9822 | 2609109.4894 | 1227332.263 | 2609127.6294 | 1227372.8146 | 2609135.7863 | 1227390.5375 | 2609141.4102 | 1227414.4824
7 | 2609122.0555 | 1227335.7842 | 2609124.17 | 1227340.5903 | 2609167.5701 | 1227368.7398 | 2609214.9458 | 1227398.3633 | 2609229.8145 | 1227407.347 | 2609236.5599 | 1227411.4154 | 2609239.9891 | 1227413.6664
8 | 2609062.4365 | 1227444.2022 | 2609129.8995 | 1227419.6679 | 2609141.4102 | 1227414.4824
9 | 2609141.4102 | 1227414.4824 | 2609143.8872 | 1227419.7913
10 | 2609239.9891 | 1227413.6664 | 2609237.0428 | 1227417.7198 | 2609238.2619 | 1227418.5052
11 | 2609245.8029 | 1227417.4777 | 2609239.9891 | 1227413.6664
12 | 2609618.663 | 1227222.8388 | 2609638.605 | 1227224.7164 | 2609663.0468 | 1227227.513
13 | 2609618.663 | 1227222.8388 | 2609625.9754 | 1227166.4729 | 2609633.8989 | 1227121.3034 | 2609634.9008 | 1227115.6017 | 2609637.8008 | 1227098.1961 | 2609644.2995 | 1227062.5967 | 2609647.7679 | 1227040.567 | 2609648.5027 | 1227036.0767 | 2609649.6984 | 1227032.3653 | 2609650.8776 | 1227029.5544 | 2609652.7541 | 1227026.6224 | 2609655.4935 | 1227024.3032 | 2609664.603 | 1227019.3039 | 2609678.9965 | 1227013.0234 | 2609691.9987 | 1227009.4757 | 2609707.2526 | 1227005.398 | 2609728.0764 | 1227001.3738 | 2609762.6129 | 1226995.0485 | 2609785.8392 | 1226990.9062 | 2609819.2351 | 1226982.4225 | 2609834.2837 | 1226978.8673 | 2609853.3492 | 1226975.0186 | 2609854.3353 | 1226979.0337
14 | 2609663.0468 | 1227227.513 | 2609675.8814 | 1227228.979
15 | 2609854.3353 | 1226979.0337 | 2609856.9423 | 1227006.5876 | 2609857.5073 | 1227008.6231 | 2609859.1308 | 1227012.1612 | 2609861.0431 | 1227015.1994 | 2609861.906 | 1227015.8346 | 2609863.7613 | 1227016.6158 | 2609867.389 | 1227017.9782 | 2609869.2981 | 1227018.3371 | 2609872.3675 | 1227018.2087 | 2609884.0399 | 1227016.9384 | 2609927.627 | 1227010.1506
16 | 2609854.3353 | 1226979.0337 | 2609862.7124 | 1226981.7491 | 2609863.8255 | 1226982.2957 | 2609869.0064 | 1226983.8607 | 2609871.4591 | 1226985.4324 | 2609874.3964 | 1226987.2716 | 2609879.9335 | 1226988.8484
17 | 2609253.2315 | 1227391.3404 | 2609256.8801 | 1227393.8141 | 2609258.3001 | 1227391.9041 | 2609261.6731 | 1227391.2867 | 2609264.496 | 1227393.6036 | 2609264.6205 | 1227396.4165 | 2609254.6551 | 1227411.5767 | 2609249.1564 | 1227419.6619 | 2609245.8029 | 1227417.4777
18 | 2609249.441 | 1227397.3047 | 2609253.2315 | 1227391.3404
19 | 2609253.2315 | 1227391.3404 | 2609244.8065 | 1227385.4906 | 2609230.7498 | 1227375.7298 | 2609234.2205 | 1227370.7767 | 2609242.2085 | 1227360.2495 | 2609255.3714 | 1227360.003 | 2609269.8096 | 1227358.2465 | 2609290.5949 | 1227353.6426 | 2609335.967 | 1227341.2169 | 2609388.0192 | 1227326.2561 | 2609405.9089 | 1227322.3041 | 2609423.1362 | 1227320.3744 | 2609437.1873 | 1227319.1736 | 2609451.0041 | 1227317.6056 | 2609485.2514 | 1227320.2613
20 | 2609485.2514 | 1227320.2613 | 2609496.0515 | 1227320.8847
21 | 2609485.2514 | 1227320.2613 | 2609484.3093 | 1227326.5635 | 2609483.0398 | 1227329.1297 | 2609476.6807 | 1227334.7452 | 2609474.5995 | 1227337.877 | 2609473.7561 | 1227342.6575
22 | 2609884.1969 | 1227004.4757 | 2609879.9335 | 1226988.8484
23 | 2609500.7074 | 1227321.1535 | 2609496.0515 | 1227320.8847
24 | 2609474.2735 | 1227348.7383 | 2609473.2308 | 1227345.635 | 2609473.7561 | 1227342.6575
25 | 2609529.6152 | 1227322.8221 | 2609500.7074 | 1227321.1535
26 | 2609529.6152 | 1227322.8221 | 2609545.2986 | 1227324.4147 | 2609547.8368 | 1227324.6522 | 2609559.3686 | 1227325.5822
27 | 2609559.3686 | 1227325.5822 | 2609583.6465 | 1227327.5437
28 | 2609060.5741 | 1227463.1105 | 2609061.9294 | 1227453.7849 | 2609062.4365 | 1227444.2022
29 | 2609143.8872 | 1227419.7913 | 2609150.655 | 1227434.2971 | 2609159.2834 | 1227445.8726 | 2609169.0514 | 1227457.6002
30 | 2609601.0637 | 1227328.9509 | 2609583.6465 | 1227327.5437
31 | 2609177.6359 | 1227467.9066 | 2609169.0514 | 1227457.6002
32 | 2609675.8814 | 1227228.979 | 2609696.8076 | 1227231.3698 | 2609695.2848 | 1227245.2088 | 2609691.6856 | 1227277.7889 | 2609690.3935 | 1227289.516 | 2609662.7466 | 1227286.7474
33 | 2609662.7466 | 1227286.7474 | 2609664.5287 | 1227271.8082
34 | 2609601.0637 | 1227328.9509 | 2609603.2205 | 1227307.1304 | 2609603.8814 | 1227301.3614 | 2609607.1048 | 1227294.8516 | 2609613.5593 | 1227281.8321 | 2609662.7466 | 1227286.7474

## bus_geodata
| x | y | coords
0 | 2609112.2514 | 1227235.1589
1 | 2609118.9975 | 1227288.7852
2 | 2609094.834 | 1227202.5198
3 | 2609122.7592 | 1227301.6541
4 | 2609016.1771 | 1227241.5907
5 | 2609122.0555 | 1227335.7842
6 | 2609057.3204 | 1227262.1985
7 | 2609141.4102 | 1227414.4824
8 | 2609239.9891 | 1227413.6664
9 | 2609618.663 | 1227222.8388
10 | 2609663.0468 | 1227227.513
11 | 2609854.3353 | 1226979.0337
12 | 2609253.2315 | 1227391.3404
13 | 2609245.8029 | 1227417.4777
14 | 2609249.441 | 1227397.3047
15 | 2609485.2514 | 1227320.2613
16 | 2609879.9335 | 1226988.8484
17 | 2609884.1969 | 1227004.4757
18 | 2609496.0515 | 1227320.8847
19 | 2609473.7561 | 1227342.6575
20 | 2609529.6152 | 1227322.8221
21 | 2609500.7074 | 1227321.1535
22 | 2609559.3686 | 1227325.5822
23 | 2609927.627 | 1227010.1506
24 | 2609238.2619 | 1227418.5052
25 | 2609062.4365 | 1227444.2022
26 | 2609143.8872 | 1227419.7913
27 | 2609474.2735 | 1227348.7384
28 | 2609583.6465 | 1227327.5437
29 | 2609177.6359 | 1227467.9066
30 | 2609169.0514 | 1227457.6002
31 | 2609675.8814 | 1227228.979
32 | 2609662.7466 | 1227286.7474
33 | 2609664.5287 | 1227271.8082
34 | 2609601.0637 | 1227328.9509
35 | 2609060.5741 | 1227463.1105
36 | 2609485.2514 | 1227320.2613

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9875 | -0.24069 | 0.0055795 | 0.0013984
1 | 0.98794 | -0.23202 | 0.00030389 | 7.6161e-05
2 | 0.98739 | -0.2427 | 0 | 0
3 | 0.98805 | -0.22989 | 0.0011367 | 0.00028488
4 | 0.98714 | -0.2477 | 0 | 0
5 | 0.98837 | -0.22379 | 0 | 0
6 | 0.98698 | -0.25069 | 0.0029882 | 0.00074891
7 | 0.98732 | -0.24417 | 0 | 0
8 | 0.99114 | -0.17002 | 0 | 0
9 | 0.99301 | -0.13457 | 0 | 0
10 | 0.9931 | -0.13295 | 0.0039383 | 0.00098702
11 | 0.99224 | -0.14958 | 0 | 0
12 | 0.99224 | -0.14883 | 0 | 0
13 | 0.99128 | -0.16736 | 0 | 0
14 | 0.99223 | -0.14901 | 0.0014494 | 0.00036326
15 | 0.99846 | -0.02951 | 0 | 0
16 | 0.99222 | -0.15009 | 0 | 0
17 | 0.9922 | -0.15038 | 0.0010358 | 0.00025961
18 | 0.99805 | -0.037303 | 0.014044 | 0.0035197
19 | 1 | 0 | -0.096193 | -0.023841
20 | 0.99725 | -0.052737 | 0 | 0
21 | 0.99794 | -0.039519 | 0.0010774 | 0.00027001
22 | 0.99654 | -0.066398 | 0 | 0
23 | 0.99215 | -0.15147 | 0.0010117 | 0.00025355
24 | 0.99114 | -0.17005 | 0.00028941 | 7.2534e-05
25 | 0.98679 | -0.25439 | 0 | 0
26 | 0.98729 | -0.24464 | 0.0038188 | 0.00095709
27 | 0.99983 | -0.00329 | 0.02997 | 0.0075111
28 | 0.99596 | -0.077546 | 0.0052635 | 0.0013192
29 | 0.98726 | -0.24528 | 0.00044906 | 0.00011254
30 | 0.98727 | -0.24517 | 0.00019361 | 4.8523e-05
31 | 0.99317 | -0.13158 | 0 | 0
32 | 0.99375 | -0.12019 | 0 | 0
33 | 0.99355 | -0.12412 | 0.014786 | 0.0037058
34 | 0.99563 | -0.083935 | 0 | 0
35 | 0.98667 | -0.25669 | 0.006763 | 0.001695
36 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0085691 | -0.0021458 | 0.0085726 | 0.0021473 | 3.5394e-06 | 1.5406e-06 | 0.012912 | 0.012911 | 0.012912 | 0.9875 | -0.24069 | 0.98794 | -0.23202 | 3.5472
1 | 0.0029896 | 0.00074743 | -0.0029893 | -0.00074773 | 2.8509e-07 | -2.9686e-07 | 0.0045043 | 0.0045044 | 0.0045044 | 0.9875 | -0.24069 | 0.98739 | -0.2427 | 1.2375
2 | -0.0088765 | -0.0022235 | 0.0088774 | 0.0022239 | 8.9864e-07 | 4.0343e-07 | 0.013369 | 0.013369 | 0.013369 | 0.98794 | -0.23202 | 0.98805 | -0.22989 | 3.6729
3 | 0.0029893 | 0.00074773 | -0.0029886 | -0.00074847 | 7.1129e-07 | -7.4006e-07 | 0.0045044 | 0.0045049 | 0.0045049 | 0.98739 | -0.2427 | 0.98714 | -0.2477 | 1.2376
4 | -0.010014 | -0.0025088 | 0.010017 | 0.0025102 | 2.9115e-06 | 1.426e-06 | 0.015081 | 0.015081 | 0.015081 | 0.98805 | -0.22989 | 0.98837 | -0.22379 | 4.1431
5 | 0.0029886 | 0.00074847 | -0.0029882 | -0.00074891 | 4.2528e-07 | -4.4207e-07 | 0.0045049 | 0.0045051 | 0.0045051 | 0.98714 | -0.2477 | 0.98698 | -0.25069 | 1.2377
6 | 0.01124 | 0.0028193 | -0.011229 | -0.0028136 | 1.0912e-05 | 5.6826e-06 | 0.016922 | 0.016923 | 0.016923 | 0.98837 | -0.22379 | 0.98732 | -0.24417 | 4.6491
7 | -0.021257 | -0.0053295 | 0.021311 | 0.0053626 | 5.4617e-05 | 3.3127e-05 | 0.032003 | 0.032003 | 0.032003 | 0.98837 | -0.22379 | 0.99114 | -0.17002 | 8.7921
8 | 0.006767 | 0.0016962 | -0.0067637 | -0.0016952 | 3.2926e-06 | 1.0284e-06 | 0.010199 | 0.010199 | 0.010199 | 0.98732 | -0.24417 | 0.98679 | -0.25439 | 2.802
9 | 0.0044616 | 0.0011174 | -0.0044615 | -0.0011174 | 9.9324e-08 | -1.135e-08 | 0.006724 | 0.006724 | 0.006724 | 0.98732 | -0.24417 | 0.98729 | -0.24464 | 1.8473
10 | 0.00028941 | 7.2451e-05 | -0.00028941 | -7.2534e-05 | 4.574e-10 | -8.298e-08 | 0.00043447 | 0.0004345 | 0.0004345 | 0.99114 | -0.17002 | 0.99114 | -0.17005 | 0.11937
11 | -0.021601 | -0.0054351 | 0.021603 | 0.0054367 | 2.7375e-06 | 1.6625e-06 | 0.032437 | 0.032437 | 0.032437 | 0.99114 | -0.17002 | 0.99128 | -0.16736 | 8.9113
12 | -0.0020491 | -0.00050692 | 0.0020493 | 0.00050645 | 1.5709e-07 | -4.7521e-07 | 0.0030682 | 0.003068 | 0.0030682 | 0.99301 | -0.13457 | 0.9931 | -0.13295 | 0.84291
13 | 0.0020491 | 0.00050692 | -0.0020476 | -0.00051132 | 1.4552e-06 | -4.394e-06 | 0.0030682 | 0.0030701 | 0.0030701 | 0.99301 | -0.13457 | 0.99224 | -0.14958 | 0.84343
14 | -0.0059875 | -0.0014935 | 0.0059879 | 0.0014936 | 3.8856e-07 | 8.2003e-08 | 0.0089689 | 0.0089689 | 0.0089689 | 0.9931 | -0.13295 | 0.99317 | -0.13158 | 2.464
15 | 0.0010118 | 0.00025225 | -0.0010117 | -0.00025355 | 9.0705e-08 | -1.2993e-06 | 0.0015168 | 0.0015173 | 0.0015173 | 0.99224 | -0.14958 | 0.99215 | -0.15147 | 0.41684
16 | 0.0010359 | 0.00025907 | -0.0010359 | -0.00025941 | 2.4905e-08 | -3.3958e-07 | 0.0015533 | 0.0015534 | 0.0015534 | 0.99224 | -0.14958 | 0.99222 | -0.15009 | 0.42676
17 | 0.021622 | 0.0054484 | -0.021603 | -0.0054367 | 1.9156e-05 | 1.1633e-05 | 0.032437 | 0.032437 | 0.032437 | 0.99224 | -0.14883 | 0.99128 | -0.16736 | 8.9113
18 | 0.0014494 | 0.00036318 | -0.0014494 | -0.00036326 | 1.2512e-08 | -8.3207e-08 | 0.0021736 | 0.0021737 | 0.0021737 | 0.99224 | -0.14883 | 0.99223 | -0.14901 | 0.59716
19 | -0.023072 | -0.0058115 | 0.023204 | 0.0058925 | 0.00013244 | 8.093e-05 | 0.03461 | 0.034609 | 0.03461 | 0.99224 | -0.14883 | 0.99846 | -0.02951 | 9.5083
20 | 0.041273 | 0.010377 | -0.041257 | -0.010367 | 1.5354e-05 | 9.6852e-06 | 0.061521 | 0.061521 | 0.061521 | 0.99846 | -0.02951 | 0.99805 | -0.037303 | 16.9013
21 | -0.064477 | -0.016269 | 0.064568 | 0.016327 | 9.1255e-05 | 5.8058e-05 | 0.09613 | 0.09613 | 0.09613 | 0.99846 | -0.02951 | 1 | 0 | 26.4093
22 | 0.0010359 | 0.00025941 | -0.0010358 | -0.00025961 | 1.4658e-08 | -1.9983e-07 | 0.0015534 | 0.0015535 | 0.0015535 | 0.99222 | -0.15009 | 0.9922 | -0.15038 | 0.42678
23 | 0.027213 | 0.0068473 | -0.027211 | -0.0068455 | 2.8803e-06 | 1.7825e-06 | 0.040583 | 0.040583 | 0.040583 | 0.99805 | -0.037303 | 0.99794 | -0.039519 | 11.1491
24 | 0.029974 | 0.007514 | -0.02997 | -0.0075111 | 4.698e-06 | 2.9241e-06 | 0.044603 | 0.044603 | 0.044603 | 1 | 0 | 0.99983 | -0.00329 | 12.2536
25 | -0.026117 | -0.0065653 | 0.026133 | 0.0065755 | 1.6496e-05 | 1.0179e-05 | 0.038976 | 0.038976 | 0.038976 | 0.99725 | -0.052737 | 0.99794 | -0.039519 | 10.7078
26 | 0.026117 | 0.0065653 | -0.0261 | -0.0065548 | 1.7024e-05 | 1.0506e-05 | 0.038976 | 0.038976 | 0.038976 | 0.99725 | -0.052737 | 0.99654 | -0.066398 | 10.7078
27 | 0.0261 | 0.0065548 | -0.026086 | -0.0065463 | 1.3876e-05 | 8.5634e-06 | 0.038976 | 0.038977 | 0.038977 | 0.99654 | -0.066398 | 0.99596 | -0.077546 | 10.7079
28 | 0.0067637 | 0.0016952 | -0.006763 | -0.001695 | 7.4207e-07 | 2.3194e-07 | 0.010199 | 0.010199 | 0.010199 | 0.98679 | -0.25439 | 0.98667 | -0.25669 | 2.802
29 | 0.00064269 | 0.00016032 | -0.00064267 | -0.0001609 | 1.6076e-08 | -5.742e-07 | 0.00096837 | 0.00096858 | 0.00096858 | 0.98729 | -0.24464 | 0.98727 | -0.24517 | 0.26609
30 | 0.020822 | 0.0052271 | -0.020816 | -0.0052233 | 6.343e-06 | 3.8322e-06 | 0.031113 | 0.031113 | 0.031113 | 0.99596 | -0.077546 | 0.99563 | -0.083935 | 8.5474
31 | -0.00044906 | -0.00011254 | 0.00044906 | 0.00011237 | 2.304e-09 | -1.7004e-07 | 0.00067683 | 0.00067677 | 0.00067683 | 0.98726 | -0.24528 | 0.98727 | -0.24517 | 0.18594
32 | -0.0059879 | -0.0014936 | 0.0059911 | 0.0014942 | 3.238e-06 | 6.8235e-07 | 0.0089689 | 0.0089684 | 0.0089689 | 0.99317 | -0.13158 | 0.99375 | -0.12019 | 2.464
33 | 0.014789 | 0.0037073 | -0.014786 | -0.0037058 | 2.7671e-06 | 1.576e-06 | 0.022145 | 0.022145 | 0.022145 | 0.99375 | -0.12019 | 0.99355 | -0.12412 | 6.0837
34 | -0.02078 | -0.0052016 | 0.020816 | 0.0052233 | 3.5924e-05 | 2.1707e-05 | 0.031113 | 0.031113 | 0.031113 | 0.99375 | -0.12019 | 0.99563 | -0.083935 | 8.5476

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.097793 | 0.024242

## res_load
| p_mw | q_mvar
0 | 0.0055795 | 0.0013984
1 | 0.00030389 | 7.6161e-05
2 | 0.0011367 | 0.00028488
3 | 0.0029882 | 0.00074891
4 | 0.0039383 | 0.00098702
5 | 0.0014494 | 0.00036326
6 | 0.0010358 | 0.00025961
7 | 0.014044 | 0.0035197
8 | 0.0016 | 0.000401
9 | 0.0010774 | 0.00027001
10 | 0.0010117 | 0.00025355
11 | 0.00028941 | 7.2534e-05
12 | 0.0038188 | 0.00095709
13 | 0.02997 | 0.0075111
14 | 0.0052635 | 0.0013192
15 | 0.00044906 | 0.00011254
16 | 0.00019361 | 4.8523e-05
17 | 0.014786 | 0.0037058
18 | 0.006763 | 0.001695

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1