## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2513-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2513-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2513-8_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2513-8_0_3_node_60 | 0.4 | n |  | TRUE
4 | bus_LV_2513-8_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2513-8_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2513-8_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2513-8_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_2513-8_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_2513-8_0_3_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_2513-8_0_3_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_2513-8_0_3_node_69 | 0.4 | n |  | TRUE
12 | bus_LV_2513-8_0_3_node_111 | 0.4 | n |  | TRUE
13 | bus_LV_2513-8_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2513-8_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_2513-8_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2513-8_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_2513-8_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_2513-8_0_3_node_87 | 0.4 | n |  | TRUE
19 | bus_LV_2513-8_0_3_node_76 | 0.4 | n |  | TRUE
20 | bus_LV_2513-8_0_3_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_2513-8_0_3_node_113 | 0.4 | n |  | TRUE
22 | bus_LV_2513-8_0_3_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_2513-8_0_3_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_2513-8_0_3_node_78 | 0.4 | n |  | TRUE
25 | bus_LV_2513-8_0_3_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_2513-8_0_3_node_62 | 0.4 | n |  | TRUE
27 | bus_LV_2513-8_0_3_node_84 | 0.4 | n |  | TRUE
28 | bus_LV_2513-8_0_3_node_67 | 0.4 | n |  | TRUE
29 | bus_LV_2513-8_0_3_node_68 | 0.4 | n |  | TRUE
30 | bus_LV_2513-8_0_3_node_70 | 0.4 | n |  | TRUE
31 | bus_LV_2513-8_0_3_node_77 | 0.4 | n |  | TRUE
32 | bus_LV_2513-8_0_3_node_98 | 0.4 | n |  | TRUE
33 | bus_LV_2513-8_0_3_node_80 | 0.4 | n |  | TRUE
34 | bus_LV_2513-8_0_3_node_82 | 0.4 | n |  | TRUE
35 | bus_LV_2513-8_0_3_node_117 | 0.4 | n |  | TRUE
36 | bus_LV_2513-8_0_3_node_97 | 0.4 | n |  | TRUE
37 | bus_LV_2513-8_0_3_node_94 | 0.4 | n |  | TRUE
38 | bus_LV_2513-8_0_3_node_89 | 0.4 | n |  | TRUE
39 | bus_LV_2513-8_0_3_node_88 | 0.4 | n |  | TRUE
40 | bus_LV_2513-8_0_3_node_115 | 0.4 | n |  | TRUE
41 | bus_LV_2513-8_0_3_node_120 | 0.4 | n |  | TRUE
42 | bus_LV_2513-8_0_3_node_95 | 0.4 | n |  | TRUE
43 | bus_LV_2513-8_0_3_node_96 | 0.4 | n |  | TRUE
44 | bus_LV_2513-8_0_3_node_123 | 0.4 | n |  | TRUE
45 | bus_LV_2513-8_0_3_node_99 | 0.4 | n |  | TRUE
46 | bus_LV_2513-8_0_3_node_100 | 0.4 | n |  | TRUE
47 | bus_LV_2513-8_0_3_node_112 | 0.4 | n |  | TRUE
48 | bus_LV_2513-8_0_3_node_114 | 0.4 | n |  | TRUE
49 | bus_LV_2513-8_0_3_node_121 | 0.4 | n |  | TRUE
50 | bus_MV_393_0_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2513-8_0_3_load_0 | 0 | 0.0099527 | 0.0024944 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2513-8_0_3_load_1 | 1 | 0.0042164 | 0.0010567 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2513-8_0_3_load_3 | 2 | 0.0019157 | 0.00048012 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2513-8_0_3_load_60 | 3 | 0.010559 | 0.0026463 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2513-8_0_3_load_5 | 4 | 0.0057322 | 0.0014366 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2513-8_0_3_load_6 | 5 | 0.0094259 | 0.0023624 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2513-8_0_3_load_7 | 6 | 0.0091558 | 0.0022947 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2513-8_0_3_load_27 | 9 | 0.0044863 | 0.0011244 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2513-8_0_3_load_28 | 10 | 0.0068197 | 0.0017092 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2513-8_0_3_load_69 | 11 | 0.0033262 | 0.00083363 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2513-8_0_3_load_10 | 13 | 0.0012311 | 0.00030856 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2513-8_0_3_load_11 | 14 | 0.0015976 | 0.00040039 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2513-8_0_3_load_12 | 15 | 0.0037413 | 0.00093765 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2513-8_0_3_load_13 | 16 | 0.0017417 | 0.00043652 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2513-8_0_3_load_14 | 17 | 0.0015993 | 0.00040083 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2513-8_0_3_load_76 | 19 | 0.0066321 | 0.0016622 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2513-8_0_3_load_49 | 20 | 0.0043942 | 0.0011013 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2513-8_0_3_load_113 | 21 | 0.0012336 | 0.00030916 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2513-8_0_3_load_50 | 22 | 0.0022832 | 0.00057223 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2513-8_0_3_load_51 | 23 | 0.0026673 | 0.00066848 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2513-8_0_3_load_78 | 24 | 0.0090029 | 0.0022563 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2513-8_0_3_load_61 | 25 | 0.0072142 | 0.0018081 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2513-8_0_3_load_62 | 26 | 0.010406 | 0.002608 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2513-8_0_3_load_67 | 28 | 0.012262 | 0.0030732 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2513-8_0_3_load_68 | 29 | 0.0012011 | 0.00030101 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2513-8_0_3_load_98 | 32 | 0.0060657 | 0.0015202 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2513-8_0_3_load_80 | 33 | 0.011517 | 0.0028865 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2513-8_0_3_load_82 | 34 | 0.001786 | 0.00044761 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2513-8_0_3_load_117 | 35 | 0.0021959 | 0.00055035 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2513-8_0_3_load_97 | 36 | 0.0074877 | 0.0018766 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2513-8_0_3_load_94 | 37 | 0.003485 | 0.00087342 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2513-8_0_3_load_89 | 38 | 0.0015263 | 0.00038253 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2513-8_0_3_load_115 | 40 | 0.005575 | 0.0013972 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2513-8_0_3_load_120 | 41 | 0.00083477 | 0.00020921 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2513-8_0_3_load_95 | 42 | 0.020474 | 0.0051314 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2513-8_0_3_load_96 | 43 | 0.018048 | 0.0045232 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2513-8_0_3_load_123 | 44 | 0.020357 | 0.005102 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2513-8_0_3_load_99 | 45 | 0.0060581 | 0.0015183 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2513-8_0_3_load_100 | 46 | 0.0058359 | 0.0014626 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2513-8_0_3_load_112 | 47 | 0.0021959 | 0.00055035 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2513-8_0_3_load_114 | 48 | 0.001632 | 0.00040902 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2513-8_0_3_load_121 | 49 | 0.0088844 | 0.0022266 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2513-8_0_3_line_0 |  | 0 | 1 | 0.01337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2513-8_0_3_line_1 |  | 1 | 2 | 0.0040268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2513-8_0_3_line_2 |  | 2 | 3 | 0.010024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2513-8_0_3_line_3 |  | 3 | 25 | 0.063478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2513-8_0_3_line_4 |  | 4 | 5 | 0.026303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2513-8_0_3_line_5 |  | 4 | 6 | 0.003075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2513-8_0_3_line_6 |  | 5 | 7 | 0.024564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2513-8_0_3_line_7 |  | 6 | 8 | 0.028598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2513-8_0_3_line_8 |  | 7 | 9 | 0.020621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2513-8_0_3_line_9 |  | 7 | 10 | 0.0054737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2513-8_0_3_line_10 |  | 8 | 11 | 0.047616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2513-8_0_3_line_11 |  | 8 | 12 | 0.00856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2513-8_0_3_line_12 |  | 9 | 20 | 0.022105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2513-8_0_3_line_13 |  | 10 | 21 | 0.014855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2513-8_0_3_line_14 |  | 11 | 29 | 0.0033957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2513-8_0_3_line_15 |  | 12 | 47 | 0.023024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2513-8_0_3_line_16 |  | 12 | 36 | 0.019756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2513-8_0_3_line_17 |  | 13 | 14 | 0.026102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2513-8_0_3_line_18 |  | 13 | 15 | 0.031394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2513-8_0_3_line_19 |  | 14 | 16 | 0.023252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2513-8_0_3_line_20 |  | 15 | 17 | 0.012584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2513-8_0_3_line_21 |  | 16 | 18 | 0.01802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2513-8_0_3_line_22 |  | 17 | 19 | 0.022822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2513-8_0_3_line_23 |  | 18 | 38 | 0.029022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2513-8_0_3_line_24 |  | 19 | 31 | 0.0214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2513-8_0_3_line_25 |  | 20 | 22 | 0.0015006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2513-8_0_3_line_26 |  | 21 | 48 | 0.0094458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2513-8_0_3_line_27 |  | 22 | 23 | 0.021472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2513-8_0_3_line_28 |  | 23 | 24 | 0.0049219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2513-8_0_3_line_29 |  | 24 | 31 | 0.021182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2513-8_0_3_line_30 |  | 25 | 26 | 0.015845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2513-8_0_3_line_31 |  | 26 | 27 | 0.0047377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2513-8_0_3_line_32 |  | 27 | 36 | 0.023753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2513-8_0_3_line_33 |  | 27 | 37 | 0.011023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2513-8_0_3_line_34 |  | 28 | 29 | 0.017283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2513-8_0_3_line_35 |  | 30 | 31 | 0.005652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2513-8_0_3_line_36 |  | 30 | 32 | 0.019875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2513-8_0_3_line_37 |  | 32 | 45 | 0.01373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2513-8_0_3_line_38 |  | 33 | 34 | 0.010776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2513-8_0_3_line_39 |  | 34 | 35 | 0.011952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2513-8_0_3_line_40 |  | 35 | 47 | 0.0065841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2513-8_0_3_line_41 |  | 37 | 42 | 0.022052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2513-8_0_3_line_42 |  | 39 | 40 | 0.0021232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2513-8_0_3_line_43 |  | 39 | 41 | 0.013206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2513-8_0_3_line_44 |  | 40 | 48 | 0.010754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2513-8_0_3_line_45 |  | 41 | 49 | 0.033019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2513-8_0_3_line_46 |  | 42 | 43 | 0.022781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2513-8_0_3_line_47 |  | 43 | 44 | 0.070663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2513-8_0_3_line_48 |  | 45 | 46 | 0.019845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2513-8_0_3_trafo_69 | 0.63 MVA 20/0.4 kV | 50 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2608782.795 | 1225434.5229 | 2608784.2889 | 1225435.9188 | 2608789.6029 | 1225440.8962 | 2608792.6793 | 1225443.5219
1 | 2608795.7422 | 1225446.1361 | 2608792.6793 | 1225443.5219
2 | 2608803.3666 | 1225452.6436 | 2608795.7422 | 1225446.1361
3 | 2608803.3666 | 1225452.6436 | 2608803.9039 | 1225453.1021 | 2608818.0016 | 1225464.296 | 2608829.8995 | 1225476.5985 | 2608847.9042 | 1225495.803 | 2608848.7055 | 1225496.8656
4 | 2608835.7821 | 1225569.9998 | 2608820.0718 | 1225591.0957
5 | 2608835.7821 | 1225569.9998 | 2608837.6188 | 1225567.5336
6 | 2608805.4004 | 1225610.7967 | 2608820.0718 | 1225591.0957
7 | 2608854.6997 | 1225544.5972 | 2608837.6188 | 1225567.5336
8 | 2608805.4004 | 1225610.7967 | 2608789.0973 | 1225598.1693
9 | 2608805.4004 | 1225610.7967 | 2608802.07 | 1225615.1407
10 | 2608854.6997 | 1225544.5972 | 2608844.5362 | 1225538.5786 | 2608813.7411 | 1225520.3142
11 | 2608862.1597 | 1225548.8329 | 2608854.6997 | 1225544.5972
12 | 2608771.7703 | 1225584.4433 | 2608788.0999 | 1225597.3968 | 2608789.0973 | 1225598.1693
13 | 2608793.032 | 1225626.9295 | 2608802.07 | 1225615.1407
14 | 2608810.8204 | 1225518.582 | 2608813.7411 | 1225520.3142
15 | 2608862.1597 | 1225548.8329 | 2608881.9268 | 1225560.6392
16 | 2608862.1597 | 1225548.8329 | 2608872.3507 | 1225536.2739 | 2608873.9852 | 1225533.0856
17 | 2608707.8291 | 1225628.4021 | 2608726.1438 | 1225646.9997
18 | 2608707.8291 | 1225628.4021 | 2608696.2028 | 1225616.5963 | 2608703.7357 | 1225603.828
19 | 2608742.4586 | 1225663.5666 | 2608726.1438 | 1225646.9997
20 | 2608710.1303 | 1225592.9892 | 2608703.7357 | 1225603.828
21 | 2608755.1026 | 1225676.4059 | 2608742.4586 | 1225663.5666
22 | 2608721.7268 | 1225573.3332 | 2608710.1303 | 1225592.9892
23 | 2608755.1026 | 1225676.4059 | 2608776.3515 | 1225696.1732
24 | 2608732.6007 | 1225554.9019 | 2608721.7268 | 1225573.3332
25 | 2608771.7703 | 1225584.4433 | 2608770.5947 | 1225583.5108
26 | 2608793.032 | 1225626.9295 | 2608787.2849 | 1225634.4258
27 | 2608753.7727 | 1225570.1666 | 2608770.5947 | 1225583.5108
28 | 2608753.7727 | 1225570.1666 | 2608751.8036 | 1225568.6046 | 2608749.8431 | 1225567.2056
29 | 2608732.6007 | 1225554.9019 | 2608749.8431 | 1225567.2056
30 | 2608848.7055 | 1225496.8656 | 2608858.2455 | 1225509.5167
31 | 2608861.098 | 1225513.2994 | 2608858.2455 | 1225509.5167
32 | 2608861.098 | 1225513.2994 | 2608872.6038 | 1225529.1813 | 2608873.9852 | 1225533.0856
33 | 2608861.098 | 1225513.2994 | 2608869.7032 | 1225506.9973 | 2608869.9539 | 1225506.7429
34 | 2608795.9549 | 1225509.7653 | 2608810.8204 | 1225518.582
35 | 2608727.9968 | 1225551.6044 | 2608732.6007 | 1225554.9019
36 | 2608727.9968 | 1225551.6044 | 2608737.934 | 1225534.3916
37 | 2608737.934 | 1225534.3916 | 2608744.7987 | 1225522.5007
38 | 2608907.117 | 1225575.6279 | 2608902.2983 | 1225572.8064 | 2608897.8406 | 1225570.1439
39 | 2608897.8406 | 1225570.1439 | 2608887.5794 | 1225564.0153
40 | 2608887.5794 | 1225564.0153 | 2608881.9268 | 1225560.6392
41 | 2608869.9539 | 1225506.7429 | 2608885.435 | 1225491.0381
42 | 2608779.4501 | 1225644.6451 | 2608780.7419 | 1225642.9602
43 | 2608779.4501 | 1225644.6451 | 2608789.7871 | 1225652.8635
44 | 2608787.2849 | 1225634.4258 | 2608780.7419 | 1225642.9602
45 | 2608814.5085 | 1225664.3637 | 2608810.6353 | 1225669.4387 | 2608789.7871 | 1225652.8635
46 | 2608900.1033 | 1225473.7006 | 2608900.1033 | 1225473.7006 | 2608898.2035 | 1225476.8997 | 2608890.0028 | 1225486.4042 | 2608885.435 | 1225491.0381
47 | 2608900.1033 | 1225473.7006 | 2608900.4029 | 1225470.9995 | 2608899.4983 | 1225467.5962 | 2608896.2973 | 1225464.0004 | 2608854.9842 | 1225421.0294
48 | 2608761.7022 | 1225532.8981 | 2608744.7987 | 1225522.5007 | 2608744.7987 | 1225522.5007

## bus_geodata
| x | y | coords
0 | 2608782.795 | 1225434.5229
1 | 2608792.6793 | 1225443.522
2 | 2608795.7422 | 1225446.1361
3 | 2608803.3666 | 1225452.6436
4 | 2608835.7821 | 1225569.9998
5 | 2608820.0718 | 1225591.0957
6 | 2608837.6188 | 1225567.5336
7 | 2608805.4004 | 1225610.7967
8 | 2608854.6997 | 1225544.5972
9 | 2608789.0973 | 1225598.1693
10 | 2608802.07 | 1225615.1407
11 | 2608813.7411 | 1225520.3142
12 | 2608862.1597 | 1225548.8329
13 | 2608707.8291 | 1225628.4021
14 | 2608726.1438 | 1225646.9997
15 | 2608703.7357 | 1225603.828
16 | 2608742.4586 | 1225663.5666
17 | 2608710.1303 | 1225592.9892
18 | 2608755.1026 | 1225676.4059
19 | 2608721.7268 | 1225573.3332
20 | 2608771.7703 | 1225584.4433
21 | 2608793.032 | 1225626.9295
22 | 2608770.5947 | 1225583.5108
23 | 2608753.7727 | 1225570.1666
24 | 2608749.8431 | 1225567.2056
25 | 2608848.7055 | 1225496.8656
26 | 2608858.2455 | 1225509.5167
27 | 2608861.098 | 1225513.2994
28 | 2608795.9549 | 1225509.7653
29 | 2608810.8204 | 1225518.582
30 | 2608727.9968 | 1225551.6044
31 | 2608732.6007 | 1225554.9019
32 | 2608737.934 | 1225534.3916
33 | 2608907.117 | 1225575.6279
34 | 2608897.8406 | 1225570.1439
35 | 2608887.5794 | 1225564.0153
36 | 2608873.9852 | 1225533.0856
37 | 2608869.9539 | 1225506.7429
38 | 2608776.3515 | 1225696.1732
39 | 2608779.4501 | 1225644.6451
40 | 2608780.7419 | 1225642.9602
41 | 2608789.7871 | 1225652.8635
42 | 2608885.435 | 1225491.0381
43 | 2608900.1033 | 1225473.7006
44 | 2608854.9842 | 1225421.0294
45 | 2608744.7987 | 1225522.5007
46 | 2608761.7022 | 1225532.8981
47 | 2608881.9268 | 1225560.6392
48 | 2608787.2849 | 1225634.4258
49 | 2608814.5085 | 1225664.3637
50 | 2608854.6997 | 1225544.5972

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98675 | -0.25469 | 0.0099527 | 0.0024944
1 | 0.98687 | -0.25231 | 0.0042164 | 0.0010567
2 | 0.98693 | -0.25128 | 0.0019157 | 0.00048012
3 | 0.98707 | -0.2484 | 0.010559 | 0.0026463
4 | 0.99162 | -0.16015 | 0.0057322 | 0.0014366
5 | 0.98936 | -0.20375 | 0.0094259 | 0.0023624
6 | 0.9919 | -0.15476 | 0.0091558 | 0.0022947
7 | 0.98746 | -0.24049 | 0 | 0
8 | 0.99475 | -0.10011 | 0 | 0
9 | 0.98635 | -0.26222 | 0.0044863 | 0.0011244
10 | 0.98734 | -0.24294 | 0.0068197 | 0.0017092
11 | 1 | 0 | -0.25795 | -0.065337
12 | 0.99371 | -0.12001 | 0 | 0
13 | 0.98243 | -0.33866 | 0.0012311 | 0.00030856
14 | 0.98231 | -0.34096 | 0.0015976 | 0.00040039
15 | 0.9826 | -0.33521 | 0.0037413 | 0.00093765
16 | 0.98224 | -0.34233 | 0.0017417 | 0.00043652
17 | 0.98272 | -0.33297 | 0.0015993 | 0.00040083
18 | 0.98221 | -0.34283 | 0 | 0
19 | 0.98296 | -0.32826 | 0.0066321 | 0.0016622
20 | 0.98524 | -0.28378 | 0.0043942 | 0.0011013
21 | 0.98709 | -0.24776 | 0.0012336 | 0.00030916
22 | 0.98517 | -0.28513 | 0.0022832 | 0.00057223
23 | 0.98422 | -0.30354 | 0.0026673 | 0.00066848
24 | 0.98402 | -0.30753 | 0.0090029 | 0.0022563
25 | 0.98863 | -0.21819 | 0.0072142 | 0.0018081
26 | 0.98912 | -0.20863 | 0.010406 | 0.002608
27 | 0.98931 | -0.20489 | 0 | 0
28 | 0.99977 | -0.0044919 | 0.012262 | 0.0030732
29 | 0.99996 | -0.00079691 | 0.0012011 | 0.00030101
30 | 0.98322 | -0.32311 | 0 | 0
31 | 0.98331 | -0.32128 | 0 | 0
32 | 0.98289 | -0.32955 | 0.0060657 | 0.0015202
33 | 0.99299 | -0.13401 | 0.011517 | 0.0028865
34 | 0.9931 | -0.13182 | 0.001786 | 0.00044761
35 | 0.99325 | -0.12901 | 0.0021959 | 0.00055035
36 | 0.99164 | -0.15989 | 0.0074877 | 0.0018766
37 | 0.98868 | -0.21714 | 0.003485 | 0.00087342
38 | 0.98217 | -0.34363 | 0.0015263 | 0.00038253
39 | 0.98677 | -0.25394 | 0 | 0
40 | 0.98679 | -0.25357 | 0.005575 | 0.0013972
41 | 0.98666 | -0.25624 | 0.00083477 | 0.00020921
42 | 0.98749 | -0.24032 | 0.020474 | 0.0051314
43 | 0.98668 | -0.25598 | 0.018048 | 0.0045232
44 | 0.98536 | -0.28176 | 0.020357 | 0.005102
45 | 0.98274 | -0.3325 | 0.0060581 | 0.0015183
46 | 0.98263 | -0.33459 | 0.0058359 | 0.0014626
47 | 0.99334 | -0.12721 | 0.0021959 | 0.00055035
48 | 0.98694 | -0.25062 | 0.001632 | 0.00040902
49 | 0.98639 | -0.26149 | 0.0088844 | 0.0022266
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0099527 | -0.0024944 | 0.0099538 | 0.0024949 | 1.1294e-06 | 5.5201e-07 | 0.015009 | 0.015009 | 0.015009 | 0.98675 | -0.25469 | 0.98687 | -0.25231 | 4.1233
1 | -0.01417 | -0.0035517 | 0.014171 | 0.0035521 | 6.8935e-07 | 3.8973e-07 | 0.021366 | 0.021366 | 0.021366 | 0.98687 | -0.25231 | 0.98693 | -0.25128 | 5.8698
2 | -0.016087 | -0.0040322 | 0.016089 | 0.0040335 | 2.2113e-06 | 1.2871e-06 | 0.024254 | 0.024254 | 0.024254 | 0.98693 | -0.25128 | 0.98707 | -0.2484 | 6.6633
3 | -0.026648 | -0.0066798 | 0.026686 | 0.0067035 | 3.8414e-05 | 2.3773e-05 | 0.040172 | 0.040172 | 0.040172 | 0.98707 | -0.2484 | 0.98863 | -0.21819 | 11.0362
4 | 0.093843 | 0.023737 | -0.093647 | -0.023612 | 0.00019581 | 0.00012498 | 0.1409 | 0.1409 | 0.1409 | 0.99162 | -0.16015 | 0.98936 | -0.20375 | 38.708
5 | -0.099575 | -0.025173 | 0.099601 | 0.02519 | 2.5773e-05 | 1.6455e-05 | 0.1495 | 0.1495 | 0.1495 | 0.99162 | -0.16015 | 0.9919 | -0.15476 | 41.0711
6 | 0.084221 | 0.02125 | -0.084073 | -0.021155 | 0.00014792 | 9.4352e-05 | 0.12672 | 0.12672 | 0.12672 | 0.98936 | -0.20375 | 0.98746 | -0.24049 | 34.8133
7 | -0.10876 | -0.027485 | 0.10904 | 0.027667 | 0.00028575 | 0.00018251 | 0.16323 | 0.16323 | 0.16323 | 0.9919 | -0.15476 | 0.99475 | -0.10011 | 44.8445
8 | 0.059079 | 0.014886 | -0.059018 | -0.014847 | 6.1329e-05 | 3.8987e-05 | 0.089055 | 0.089055 | 0.089055 | 0.98746 | -0.24049 | 0.98635 | -0.26222 | 24.4656
9 | 0.024994 | 0.0062689 | -0.024991 | -0.0062671 | 2.9121e-06 | 1.7937e-06 | 0.037666 | 0.037666 | 0.037666 | 0.98746 | -0.24049 | 0.98734 | -0.24294 | 10.3478
10 | -0.24166 | -0.061214 | 0.24283 | 0.061961 | 0.0011682 | 0.00074639 | 0.36172 | 0.36172 | 0.36172 | 0.99475 | -0.10011 | 1 | 0 | 49.6874
11 | 0.13262 | 0.033547 | -0.13249 | -0.033467 | 0.00012647 | 8.0829e-05 | 0.19849 | 0.19849 | 0.19849 | 0.99475 | -0.10011 | 0.99371 | -0.12001 | 54.5303
12 | 0.054531 | 0.013723 | -0.054475 | -0.013687 | 5.6128e-05 | 3.564e-05 | 0.082287 | 0.082287 | 0.082287 | 0.98635 | -0.26222 | 0.98524 | -0.28378 | 22.6062
13 | 0.018172 | 0.0045579 | -0.018168 | -0.0045554 | 4.1785e-06 | 2.4843e-06 | 0.027388 | 0.027388 | 0.027388 | 0.98734 | -0.24294 | 0.98709 | -0.24776 | 7.5242
14 | 0.013466 | 0.0033757 | -0.013466 | -0.0033754 | 5.1129e-07 | 2.8268e-07 | 0.020038 | 0.020038 | 0.020038 | 1 | 0 | 0.99996 | -0.00079691 | 5.5049
15 | 0.017705 | 0.0044408 | -0.017699 | -0.0044372 | 6.0697e-06 | 3.5865e-06 | 0.026514 | 0.026514 | 0.026514 | 0.99371 | -0.12001 | 0.99334 | -0.12721 | 7.2841
16 | 0.11479 | 0.029026 | -0.11457 | -0.028886 | 0.00021912 | 0.00013998 | 0.17198 | 0.17198 | 0.17198 | 0.99371 | -0.12001 | 0.99164 | -0.15989 | 47.2463
17 | 0.0048665 | 0.0012188 | -0.0048659 | -0.0012187 | 5.3176e-07 | 9.8588e-09 | 0.0073706 | 0.0073707 | 0.0073707 | 0.98243 | -0.33866 | 0.98231 | -0.34096 | 2.0249
18 | -0.0060976 | -0.0015273 | 0.0060986 | 0.0015276 | 1.0041e-06 | 2.4504e-07 | 0.0092354 | 0.0092352 | 0.0092354 | 0.98243 | -0.33866 | 0.9826 | -0.33521 | 2.5372
19 | 0.0032684 | 0.00081836 | -0.0032682 | -0.00081852 | 2.1371e-07 | -1.5755e-07 | 0.0049507 | 0.0049508 | 0.0049508 | 0.98231 | -0.34096 | 0.98224 | -0.34233 | 1.3601
20 | -0.0098399 | -0.0024652 | 0.0098409 | 0.0024657 | 1.0478e-06 | 5.1118e-07 | 0.014901 | 0.014901 | 0.014901 | 0.9826 | -0.33521 | 0.98272 | -0.33297 | 4.0936
21 | 0.0015264 | 0.000382 | -0.0015264 | -0.0003822 | 3.6128e-08 | -2.0496e-07 | 0.0023122 | 0.0023123 | 0.0023123 | 0.98224 | -0.34233 | 0.98221 | -0.34283 | 0.63524
22 | -0.01144 | -0.0028665 | 0.011443 | 0.0028679 | 2.568e-06 | 1.3543e-06 | 0.017322 | 0.017322 | 0.017322 | 0.98272 | -0.33297 | 0.98296 | -0.32826 | 4.7589
23 | 0.0015264 | 0.0003822 | -0.0015263 | -0.00038253 | 5.8192e-08 | -3.3006e-07 | 0.0023123 | 0.0023124 | 0.0023124 | 0.98221 | -0.34283 | 0.98217 | -0.34363 | 0.63528
24 | -0.018075 | -0.0045301 | 0.018081 | 0.0045336 | 6.0082e-06 | 3.5739e-06 | 0.027362 | 0.027362 | 0.027362 | 0.98296 | -0.32826 | 0.98331 | -0.32128 | 7.5171
25 | 0.050081 | 0.012586 | -0.050078 | -0.012584 | 3.2204e-06 | 2.0419e-06 | 0.07565 | 0.07565 | 0.07565 | 0.98524 | -0.28378 | 0.98517 | -0.28513 | 20.783
26 | 0.016934 | 0.0042463 | -0.016932 | -0.0042449 | 2.3084e-06 | 1.3567e-06 | 0.025528 | 0.025528 | 0.025528 | 0.98709 | -0.24776 | 0.98694 | -0.25062 | 7.0133
27 | 0.047794 | 0.012012 | -0.047752 | -0.011985 | 4.1976e-05 | 2.6591e-05 | 0.072201 | 0.072202 | 0.072202 | 0.98517 | -0.28513 | 0.98422 | -0.30354 | 19.8356
28 | 0.045085 | 0.011317 | -0.045077 | -0.011311 | 8.5771e-06 | 5.4268e-06 | 0.068169 | 0.068169 | 0.068169 | 0.98422 | -0.30354 | 0.98402 | -0.30753 | 18.7278
29 | 0.036074 | 0.0090549 | -0.03605 | -0.00904 | 2.3641e-05 | 1.4862e-05 | 0.054555 | 0.054555 | 0.054555 | 0.98402 | -0.30753 | 0.98331 | -0.32128 | 14.9877
30 | -0.0339 | -0.0085116 | 0.033916 | 0.0085213 | 1.5473e-05 | 9.6994e-06 | 0.05103 | 0.05103 | 0.05103 | 0.98863 | -0.21819 | 0.98912 | -0.20863 | 14.0192
31 | -0.044322 | -0.011129 | 0.04433 | 0.011134 | 7.9003e-06 | 4.9954e-06 | 0.066685 | 0.066685 | 0.066685 | 0.98912 | -0.20863 | 0.98931 | -0.20489 | 18.3199
32 | -0.10685 | -0.026862 | 0.10708 | 0.027009 | 0.00023015 | 0.00014699 | 0.16074 | 0.16074 | 0.16074 | 0.98931 | -0.20489 | 0.99164 | -0.15989 | 44.1596
33 | 0.06252 | 0.015728 | -0.062483 | -0.015705 | 3.6569e-05 | 2.3263e-05 | 0.094056 | 0.094057 | 0.094057 | 0.98931 | -0.20489 | 0.98868 | -0.21714 | 25.8397
34 | -0.012262 | -0.0030732 | 0.012264 | 0.0030744 | 2.1588e-06 | 1.155e-06 | 0.018251 | 0.018251 | 0.018251 | 0.99977 | -0.0044919 | 0.99996 | -0.00079691 | 5.014
35 | -0.017968 | -0.0045054 | 0.017969 | 0.0045064 | 1.5673e-06 | 9.3138e-07 | 0.027193 | 0.027193 | 0.027193 | 0.98322 | -0.32311 | 0.98331 | -0.32128 | 7.4706
36 | 0.017968 | 0.0045054 | -0.017962 | -0.0045022 | 5.5114e-06 | 3.2753e-06 | 0.027193 | 0.027193 | 0.027193 | 0.98322 | -0.32311 | 0.98289 | -0.32955 | 7.4707
37 | 0.011896 | 0.002982 | -0.011895 | -0.0029811 | 1.6701e-06 | 8.9488e-07 | 0.01801 | 0.01801 | 0.01801 | 0.98289 | -0.32955 | 0.98274 | -0.3325 | 4.9479
38 | -0.011517 | -0.0028865 | 0.011518 | 0.0028871 | 1.2037e-06 | 6.3096e-07 | 0.017259 | 0.017259 | 0.017259 | 0.99299 | -0.13401 | 0.9931 | -0.13182 | 4.7414
39 | -0.013304 | -0.0033347 | 0.013306 | 0.0033357 | 1.7811e-06 | 9.8526e-07 | 0.019935 | 0.019935 | 0.019935 | 0.9931 | -0.13182 | 0.99325 | -0.12901 | 5.4766
40 | -0.015502 | -0.0038861 | 0.015503 | 0.0038868 | 1.3318e-06 | 7.671e-07 | 0.023225 | 0.023225 | 0.023225 | 0.99325 | -0.12901 | 0.99334 | -0.12721 | 6.3804
41 | 0.058998 | 0.014831 | -0.058933 | -0.01479 | 6.5226e-05 | 4.1462e-05 | 0.088811 | 0.088812 | 0.088812 | 0.98868 | -0.21714 | 0.98749 | -0.24032 | 24.3988
42 | -0.0097224 | -0.0024374 | 0.0097226 | 0.0024374 | 1.7114e-07 | 8.2408e-08 | 0.014661 | 0.014661 | 0.014661 | 0.98677 | -0.25394 | 0.98679 | -0.25357 | 4.0278
43 | 0.0097224 | 0.0024374 | -0.0097214 | -0.0024368 | 1.0645e-06 | 5.126e-07 | 0.014661 | 0.014661 | 0.014661 | 0.98677 | -0.25394 | 0.98666 | -0.25624 | 4.0278
44 | -0.015298 | -0.0038347 | 0.0153 | 0.0038359 | 2.1459e-06 | 1.236e-06 | 0.023068 | 0.023068 | 0.023068 | 0.98679 | -0.25357 | 0.98694 | -0.25062 | 6.3373
45 | 0.0088866 | 0.0022276 | -0.0088844 | -0.0022266 | 2.2241e-06 | 1.0019e-06 | 0.013402 | 0.013403 | 0.013403 | 0.98666 | -0.25624 | 0.98639 | -0.26149 | 3.682
46 | 0.038459 | 0.0096584 | -0.03843 | -0.0096403 | 2.8698e-05 | 1.8075e-05 | 0.057959 | 0.057959 | 0.057959 | 0.98749 | -0.24032 | 0.98668 | -0.25598 | 15.9229
47 | 0.020382 | 0.0051171 | -0.020357 | -0.005102 | 2.5043e-05 | 1.5126e-05 | 0.030742 | 0.030742 | 0.030742 | 0.98668 | -0.25598 | 0.98536 | -0.28176 | 8.4456
48 | 0.0058365 | 0.0014627 | -0.0058359 | -0.0014626 | 5.8122e-07 | 1.2056e-07 | 0.0088374 | 0.0088375 | 0.0088375 | 0.98274 | -0.3325 | 0.98263 | -0.33459 | 2.4279

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.26127 | 0.06617

## res_load
| p_mw | q_mvar
0 | 0.0099527 | 0.0024944
1 | 0.0042164 | 0.0010567
2 | 0.0019157 | 0.00048012
3 | 0.010559 | 0.0026463
4 | 0.0057322 | 0.0014366
5 | 0.0094259 | 0.0023624
6 | 0.0091558 | 0.0022947
7 | 0.0044863 | 0.0011244
8 | 0.0068197 | 0.0017092
9 | 0.0033262 | 0.00083363
10 | 0.0012311 | 0.00030856
11 | 0.0015976 | 0.00040039
12 | 0.0037413 | 0.00093765
13 | 0.0017417 | 0.00043652
14 | 0.0015993 | 0.00040083
15 | 0.0066321 | 0.0016622
16 | 0.0043942 | 0.0011013
17 | 0.0012336 | 0.00030916
18 | 0.0022832 | 0.00057223
19 | 0.0026673 | 0.00066848
20 | 0.0090029 | 0.0022563
21 | 0.0072142 | 0.0018081
22 | 0.010406 | 0.002608
23 | 0.012262 | 0.0030732
24 | 0.0012011 | 0.00030101
25 | 0.0060657 | 0.0015202
26 | 0.011517 | 0.0028865
27 | 0.001786 | 0.00044761
28 | 0.0021959 | 0.00055035
29 | 0.0074877 | 0.0018766
30 | 0.003485 | 0.00087342
31 | 0.0015263 | 0.00038253
32 | 0.005575 | 0.0013972
33 | 0.00083477 | 0.00020921
34 | 0.020474 | 0.0051314
35 | 0.018048 | 0.0045232
36 | 0.020357 | 0.005102
37 | 0.0060581 | 0.0015183
38 | 0.0058359 | 0.0014626
39 | 0.0021959 | 0.00055035
40 | 0.001632 | 0.00040902
41 | 0.0088844 | 0.0022266

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1