## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2517-10_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2517-10_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2517-10_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2517-10_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2517-10_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2517-10_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2517-10_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2517-10_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2517-10_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_2517-10_0_4_node_80 | 0.4 | n |  | TRUE
10 | bus_LV_2517-10_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_2517-10_0_4_node_53 | 0.4 | n |  | TRUE
12 | bus_LV_2517-10_0_4_node_81 | 0.4 | n |  | TRUE
13 | bus_LV_2517-10_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2517-10_0_4_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_2517-10_0_4_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_2517-10_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2517-10_0_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_2517-10_0_4_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_2517-10_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2517-10_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2517-10_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2517-10_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2517-10_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_2517-10_0_4_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_2517-10_0_4_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_2517-10_0_4_node_85 | 0.4 | n |  | TRUE
27 | bus_LV_2517-10_0_4_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_2517-10_0_4_node_79 | 0.4 | n |  | TRUE
29 | bus_LV_2517-10_0_4_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_2517-10_0_4_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_2517-10_0_4_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_2517-10_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_2517-10_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_2517-10_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_2517-10_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_2517-10_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_2517-10_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_2517-10_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_2517-10_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_2517-10_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_2517-10_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_2517-10_0_4_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_2517-10_0_4_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_2517-10_0_4_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_2517-10_0_4_node_63 | 0.4 | n |  | TRUE
46 | bus_LV_2517-10_0_4_node_78 | 0.4 | n |  | TRUE
47 | bus_LV_2517-10_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_2517-10_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_2517-10_0_4_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_2517-10_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_2517-10_0_4_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_2517-10_0_4_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_2517-10_0_4_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_2517-10_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_2517-10_0_4_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_2517-10_0_4_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_2517-10_0_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_2517-10_0_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_2517-10_0_4_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_2517-10_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_2517-10_0_4_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_2517-10_0_4_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_2517-10_0_4_node_86 | 0.4 | n |  | TRUE
64 | bus_LV_2517-10_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_2517-10_0_4_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_2517-10_0_4_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_2517-10_0_4_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_2517-10_0_4_node_84 | 0.4 | n |  | TRUE
69 | bus_LV_2517-10_0_4_node_88 | 0.4 | n |  | TRUE
70 | bus_LV_2517-10_0_4_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_2517-10_0_4_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_2517-10_0_4_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_2517-10_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_2517-10_0_4_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_2517-10_0_4_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_2517-10_0_4_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_2517-10_0_4_node_87 | 0.4 | n |  | TRUE
78 | bus_LV_2517-10_0_4_node_89 | 0.4 | n |  | TRUE
79 | bus_LV_2517-10_0_4_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_2517-10_0_4_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_2517-10_0_4_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_2517-10_0_4_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_2517-10_0_4_node_90 | 0.4 | n |  | TRUE
84 | bus_LV_2517-10_0_4_node_91 | 0.4 | n |  | TRUE
85 | bus_LV_2517-10_0_4_node_93 | 0.4 | n |  | TRUE
86 | bus_MV_392_0_node_182 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2517-10_0_4_load_0 | 0 | 0.0016153 | 0.00040483 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2517-10_0_4_load_1 | 1 | 0.0036299 | 0.00090974 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2517-10_0_4_load_3 | 3 | 0.0044982 | 0.0011274 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2517-10_0_4_load_4 | 4 | 0.0018 | 0.00045113 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2517-10_0_4_load_5 | 5 | 0.0017971 | 0.0004504 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2517-10_0_4_load_6 | 6 | 0.0056541 | 0.001417 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2517-10_0_4_load_7 | 7 | 0.0013982 | 0.00035041 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2517-10_0_4_load_8 | 8 | 0.0030005 | 0.00075201 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2517-10_0_4_load_80 | 9 | 0.0051894 | 0.0013006 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2517-10_0_4_load_9 | 10 | 0.0011118 | 0.00027863 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2517-10_0_4_load_81 | 12 | 0.0027321 | 0.00068472 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2517-10_0_4_load_10 | 13 | 0.0013069 | 0.00032755 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2517-10_0_4_load_54 | 14 | 0.0034225 | 0.00085776 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2517-10_0_4_load_52 | 15 | 0.014513 | 0.0036374 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2517-10_0_4_load_11 | 16 | 0.0083753 | 0.002099 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2517-10_0_4_load_18 | 17 | 0.0019377 | 0.00048562 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2517-10_0_4_load_12 | 19 | 0.0016428 | 0.00041173 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2517-10_0_4_load_13 | 20 | 0.0058432 | 0.0014644 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2517-10_0_4_load_14 | 21 | 0.043398 | 0.010877 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2517-10_0_4_load_36 | 24 | 0.01368 | 0.0034286 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2517-10_0_4_load_61 | 25 | 0.0024199 | 0.00060649 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2517-10_0_4_load_85 | 26 | 0.0017236 | 0.00043196 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2517-10_0_4_load_37 | 27 | 0.0042455 | 0.001064 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2517-10_0_4_load_79 | 28 | 0.017846 | 0.0044727 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2517-10_0_4_load_34 | 29 | 0.0013106 | 0.00032847 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2517-10_0_4_load_32 | 31 | 0.0023639 | 0.00059244 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2517-10_0_4_load_20 | 32 | 0.0036699 | 0.00091976 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2517-10_0_4_load_21 | 33 | 0.0045421 | 0.0011384 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2517-10_0_4_load_24 | 36 | 0.0043503 | 0.0010903 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2517-10_0_4_load_25 | 37 | 0.001411 | 0.00035362 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2517-10_0_4_load_26 | 38 | 0.0052228 | 0.001309 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2517-10_0_4_load_27 | 39 | 0.0042364 | 0.0010617 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2517-10_0_4_load_28 | 40 | 0.0079216 | 0.0019854 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2517-10_0_4_load_29 | 41 | 0.001436 | 0.00035991 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2517-10_0_4_load_62 | 43 | 0.0056696 | 0.0014209 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2517-10_0_4_load_30 | 47 | 0.0015203 | 0.00038102 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2517-10_0_4_load_31 | 48 | 0.0049722 | 0.0012461 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2517-10_0_4_load_33 | 49 | 0.0013942 | 0.00034941 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2517-10_0_4_load_35 | 50 | 0.0017696 | 0.00044351 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2517-10_0_4_load_67 | 51 | 0.0019509 | 0.00048894 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2517-10_0_4_load_38 | 53 | 0.0013868 | 0.00034758 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2517-10_0_4_load_40 | 54 | 0.0024472 | 0.00061333 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2517-10_0_4_load_41 | 55 | 0.0024493 | 0.00061385 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2517-10_0_4_load_76 | 56 | 0.00092517 | 0.00023187 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2517-10_0_4_load_42 | 57 | 0.034306 | 0.0085979 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2517-10_0_4_load_43 | 58 | 0.03074 | 0.0077041 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2517-10_0_4_load_46 | 60 | 0.0082621 | 0.0020707 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2517-10_0_4_load_47 | 61 | 0.070127 | 0.017575 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2517-10_0_4_load_49 | 62 | 0.0096891 | 0.0024283 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2517-10_0_4_load_56 | 64 | 0.0018015 | 0.00045151 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2517-10_0_4_load_57 | 65 | 0.0021225 | 0.00053195 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2517-10_0_4_load_59 | 66 | 0.0015664 | 0.00039259 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2517-10_0_4_load_60 | 67 | 0.0020833 | 0.00052213 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2517-10_0_4_load_84 | 68 | 0.0016665 | 0.00041765 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2517-10_0_4_load_88 | 69 | 0.011606 | 0.0029088 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2517-10_0_4_load_68 | 71 | 0.0090307 | 0.0022633 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2517-10_0_4_load_69 | 72 | 0.0098264 | 0.0024627 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2517-10_0_4_load_70 | 73 | 0.013909 | 0.003486 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2517-10_0_4_load_71 | 74 | 0.0011928 | 0.00029893 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2517-10_0_4_load_72 | 75 | 0.011735 | 0.0029411 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2517-10_0_4_load_73 | 76 | 0.0014654 | 0.00036727 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2517-10_0_4_load_89 | 78 | 0.011375 | 0.0028508 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2517-10_0_4_load_75 | 79 | 0.0054556 | 0.0013673 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2517-10_0_4_load_77 | 80 | 0.0025128 | 0.00062977 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2517-10_0_4_load_82 | 81 | 0.005453 | 0.0013667 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2517-10_0_4_load_83 | 82 | 0.0017995 | 0.00045099 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2517-10_0_4_load_91 | 84 | 0.00054223 | 0.0001359 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2517-10_0_4_load_93 | 85 | 0.00091555 | 0.00022946 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2517-10_0_4_line_0 |  | 0 | 1 | 0.0088708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2517-10_0_4_line_1 |  | 0 | 2 | 0.0082368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2517-10_0_4_line_2 |  | 1 | 3 | 0.017705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2517-10_0_4_line_3 |  | 2 | 4 | 0.020659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2517-10_0_4_line_4 |  | 2 | 5 | 0.014396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_2517-10_0_4_line_5 |  | 3 | 6 | 0.00095554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2517-10_0_4_line_6 |  | 4 | 7 | 0.013455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2517-10_0_4_line_7 |  | 5 | 8 | 0.00095531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_2517-10_0_4_line_8 |  | 6 | 9 | 0.019136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2517-10_0_4_line_9 |  | 7 | 10 | 0.0058911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2517-10_0_4_line_10 |  | 8 | 11 | 0.045135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_2517-10_0_4_line_11 |  | 9 | 12 | 0.0026954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2517-10_0_4_line_12 |  | 10 | 13 | 0.0089872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2517-10_0_4_line_13 |  | 11 | 14 | 0.054479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2517-10_0_4_line_14 |  | 11 | 15 | 0.0080173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_2517-10_0_4_line_15 |  | 12 | 81 | 0.0088994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2517-10_0_4_line_16 |  | 13 | 16 | 0.016886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2517-10_0_4_line_17 |  | 14 | 54 | 0.016663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2517-10_0_4_line_18 |  | 15 | 39 | 0.056434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_2517-10_0_4_line_19 |  | 16 | 17 | 0.023576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2517-10_0_4_line_20 |  | 17 | 18 | 0.021035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2517-10_0_4_line_21 |  | 18 | 28 | 0.022246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2517-10_0_4_line_22 |  | 18 | 29 | 0.011253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2517-10_0_4_line_23 |  | 19 | 20 | 0.014665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2517-10_0_4_line_24 |  | 19 | 21 | 0.0088718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2517-10_0_4_line_25 |  | 20 | 22 | 0.02396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2517-10_0_4_line_26 |  | 22 | 23 | 0.071563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2517-10_0_4_line_27 |  | 23 | 24 | 0.025188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2517-10_0_4_line_28 |  | 24 | 27 | 0.022453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2517-10_0_4_line_29 |  | 25 | 26 | 0.011138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2517-10_0_4_line_30 |  | 26 | 68 | 0.00043761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2517-10_0_4_line_31 |  | 27 | 53 | 0.0070677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2517-10_0_4_line_32 |  | 28 | 30 | 0.014697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2517-10_0_4_line_33 |  | 29 | 31 | 0.017324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2517-10_0_4_line_34 |  | 30 | 63 | 0.051997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2517-10_0_4_line_35 |  | 31 | 47 | 0.0059476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2517-10_0_4_line_36 |  | 32 | 33 | 0.0010469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_2517-10_0_4_line_37 |  | 32 | 34 | 0.011883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_2517-10_0_4_line_38 |  | 33 | 35 | 0.011845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_2517-10_0_4_line_39 |  | 34 | 36 | 0.01577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_2517-10_0_4_line_40 |  | 34 | 37 | 0.003917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2517-10_0_4_line_41 |  | 35 | 38 | 0.012912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_2517-10_0_4_line_42 |  | 35 | 39 | 0.0095678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_2517-10_0_4_line_43 |  | 36 | 40 | 0.028006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_2517-10_0_4_line_44 |  | 37 | 41 | 0.054564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2517-10_0_4_line_45 |  | 38 | 42 | 0.017494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_2517-10_0_4_line_46 |  | 40 | 43 | 0.0036315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_2517-10_0_4_line_47 |  | 41 | 44 | 0.022594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2517-10_0_4_line_48 |  | 43 | 45 | 0.044488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_2517-10_0_4_line_49 |  | 44 | 46 | 0.059426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2517-10_0_4_line_50 |  | 45 | 62 | 0.026082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_2517-10_0_4_line_51 |  | 46 | 56 | 0.032164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2517-10_0_4_line_52 |  | 46 | 55 | 0.043917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2517-10_0_4_line_53 |  | 47 | 48 | 0.02288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2517-10_0_4_line_54 |  | 48 | 49 | 0.011831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2517-10_0_4_line_55 |  | 49 | 50 | 0.019153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2517-10_0_4_line_56 |  | 50 | 51 | 0.0038626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2517-10_0_4_line_57 |  | 51 | 52 | 0.03742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2517-10_0_4_line_58 |  | 52 | 67 | 0.017082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2517-10_0_4_line_59 |  | 53 | 54 | 0.034627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2517-10_0_4_line_60 |  | 56 | 79 | 1.4473e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2517-10_0_4_line_61 |  | 57 | 58 | 0.014923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2517-10_0_4_line_62 |  | 57 | 59 | 0.026017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2517-10_0_4_line_63 |  | 59 | 60 | 0.021879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2517-10_0_4_line_64 |  | 59 | 61 | 0.033883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2517-10_0_4_line_65 |  | 60 | 62 | 0.030217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_2517-10_0_4_line_66 |  | 63 | 70 | 0.004028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2517-10_0_4_line_67 |  | 63 | 69 | 0.037636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2517-10_0_4_line_68 |  | 64 | 65 | 0.022518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2517-10_0_4_line_69 |  | 65 | 66 | 0.030356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2517-10_0_4_line_70 |  | 66 | 67 | 0.021944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2517-10_0_4_line_71 |  | 68 | 82 | 0.012698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2517-10_0_4_line_72 |  | 70 | 77 | 0.072343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2517-10_0_4_line_73 |  | 70 | 75 | 0.017324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2517-10_0_4_line_74 |  | 71 | 72 | 0.015694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2517-10_0_4_line_75 |  | 71 | 73 | 0.02149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2517-10_0_4_line_76 |  | 72 | 74 | 0.0099361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2517-10_0_4_line_77 |  | 73 | 75 | 0.0010188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2517-10_0_4_line_78 |  | 74 | 76 | 0.012707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2517-10_0_4_line_79 |  | 77 | 78 | 0.02533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2517-10_0_4_line_80 |  | 78 | 83 | 0.040525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2517-10_0_4_line_81 |  | 79 | 80 | 0.00020294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2517-10_0_4_line_82 |  | 81 | 82 | 0.010334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2517-10_0_4_line_83 |  | 83 | 84 | 0.029059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2517-10_0_4_line_84 |  | 84 | 85 | 0.0031328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2517-10_0_4_trafo_55 | 0.63 MVA 20/0.4 kV | 86 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2611312.3198 | 1227426.9824 | 2611309.7533 | 1227435.4738
1 | 2611314.7029 | 1227419.0979 | 2611312.3198 | 1227426.9824
2 | 2611309.7533 | 1227435.4738 | 2611304.6308 | 1227452.4216
3 | 2611314.7029 | 1227419.0979 | 2611321.0776 | 1227399.4473
4 | 2611314.7029 | 1227419.0979 | 2611300.9571 | 1227414.8215
5 | 2611304.6308 | 1227452.4216 | 2611304.3544 | 1227453.3363
6 | 2611325.2294 | 1227386.6492 | 2611321.0776 | 1227399.4473
7 | 2611300.9571 | 1227414.8215 | 2611300.0449 | 1227414.5378
8 | 2611298.8179 | 1227471.654 | 2611304.3544 | 1227453.3363
9 | 2611325.2294 | 1227386.6492 | 2611327.0473 | 1227381.0456
10 | 2611265.8469 | 1227392.4566 | 2611269.3999 | 1227405.004 | 2611300.0449 | 1227414.5378
11 | 2611298.8179 | 1227471.654 | 2611298.0381 | 1227474.2341
12 | 2611329.8205 | 1227372.497 | 2611327.0473 | 1227381.0456
13 | 2611265.8469 | 1227392.4566 | 2611222.985 | 1227426.0848 | 2611222.985 | 1227426.0848
14 | 2611265.8469 | 1227392.4566 | 2611263.6611 | 1227384.743
15 | 2611298.0381 | 1227474.2341 | 2611295.4633 | 1227482.7529
16 | 2611329.8205 | 1227372.497 | 2611335.0312 | 1227356.4347
17 | 2611206.5159 | 1227423.5524 | 2611206.5159 | 1227423.5524 | 2611222.985 | 1227426.0848
18 | 2611263.6611 | 1227384.743 | 2611253.9004 | 1227350.2981 | 2611236.4589 | 1227339.2746
19 | 2611342.3062 | 1227334.009 | 2611335.0312 | 1227356.4347
20 | 2611348.7972 | 1227314.0004 | 2611342.3062 | 1227334.009
21 | 2611348.7972 | 1227314.0004 | 2611331.1543 | 1227300.4502
22 | 2611348.7972 | 1227314.0004 | 2611357.214 | 1227321.4701
23 | 2611216.2626 | 1227510.3949 | 2611205.456 | 1227520.3088
24 | 2611222.8001 | 1227504.3974 | 2611216.2626 | 1227510.3949
25 | 2611187.8 | 1227536.5064 | 2611205.456 | 1227520.3088
26 | 2611140.5628 | 1227483.1089 | 2611150.8097 | 1227498.3036 | 2611160.1332 | 1227508.8161 | 2611173.2353 | 1227520.6698 | 2611187.8 | 1227536.5064
27 | 2611140.5628 | 1227483.1089 | 2611161.2495 | 1227468.7387
28 | 2611178.0415 | 1227454.0093 | 2611169.5012 | 1227463.0065 | 2611161.2495 | 1227468.7387
29 | 2611288.7588 | 1227505.2352 | 2611287.7155 | 1227516.3241
30 | 2611288.7998 | 1227504.7996 | 2611288.7588 | 1227505.2352
31 | 2611182.9073 | 1227448.8832 | 2611178.0415 | 1227454.0093
32 | 2611319.4986 | 1227291.4983 | 2611331.1543 | 1227300.4502
33 | 2611357.214 | 1227321.4701 | 2611361.0374 | 1227324.8634 | 2611369.2193 | 1227333.9287
34 | 2611319.4986 | 1227291.4983 | 2611322.2939 | 1227287.9681 | 2611347.8411 | 1227254.7636 | 2611350.9116 | 1227250.0222
35 | 2611369.2193 | 1227333.9287 | 2611369.2193 | 1227333.9287 | 2611372.3168 | 1227339.006
36 | 2611217.4731 | 1227327.2753 | 2611218.358 | 1227327.8346
37 | 2611207.4282 | 1227320.9269 | 2611217.4731 | 1227327.2753
38 | 2611228.371 | 1227334.1628 | 2611218.358 | 1227327.8346
39 | 2611207.4282 | 1227320.9269 | 2611216.3318 | 1227307.911
40 | 2611207.4282 | 1227320.9269 | 2611204.1171 | 1227318.834
41 | 2611228.371 | 1227334.1628 | 2611236.1214 | 1227323.8353
42 | 2611228.371 | 1227334.1628 | 2611236.4589 | 1227339.2746
43 | 2611232.1438 | 1227284.7959 | 2611216.3318 | 1227307.911
44 | 2611204.1171 | 1227318.834 | 2611157.994 | 1227289.6801
45 | 2611247.8246 | 1227317.2894 | 2611243.3595 | 1227314.1903 | 2611236.1214 | 1227323.8353
46 | 2611232.1438 | 1227284.7959 | 2611234.1942 | 1227281.7985
47 | 2611137.6519 | 1227280.2726 | 2611148.7014 | 1227283.8064 | 2611157.994 | 1227289.6801
48 | 2611259.312 | 1227245.0795 | 2611234.1942 | 1227281.7985
49 | 2611137.6519 | 1227280.2726 | 2611131.7524 | 1227339.3965
50 | 2611259.312 | 1227245.0795 | 2611238.6591 | 1227229.151
51 | 2611131.7524 | 1227339.3965 | 2611163.7199 | 1227342.9457
52 | 2611131.7524 | 1227339.3965 | 2611127.3933 | 1227383.0971
53 | 2611381.7568 | 1227359.7678 | 2611375.935 | 1227344.9368 | 2611372.3168 | 1227339.006
54 | 2611384.6131 | 1227371.2492 | 2611381.7568 | 1227359.7678 | 2611381.7568 | 1227359.7678
55 | 2611384.6131 | 1227371.2492 | 2611389.237 | 1227389.836
56 | 2611390.1695 | 1227393.5843 | 2611389.237 | 1227389.836
57 | 2611399.2034 | 1227429.898 | 2611390.1695 | 1227393.5843
58 | 2611399.2034 | 1227429.898 | 2611382.4862 | 1227433.4094
59 | 2611206.5159 | 1227423.5524 | 2611186.3036 | 1227445.3052 | 2611182.9073 | 1227448.8832
60 | 2611163.7343 | 1227342.9473 | 2611163.7199 | 1227342.9457
61 | 2611167.5805 | 1227213.3444 | 2611181.7272 | 1227218.0959
62 | 2611197.4068 | 1227197.3352 | 2611181.7272 | 1227218.0959
63 | 2611197.4068 | 1227197.3352 | 2611214.732 | 1227210.6972
64 | 2611170.5287 | 1227176.606 | 2611197.4068 | 1227197.3352
65 | 2611214.732 | 1227210.6972 | 2611238.6591 | 1227229.151
66 | 2611353.1988 | 1227246.7023 | 2611350.9116 | 1227250.0222
67 | 2611350.9116 | 1227250.0222 | 2611322.7841 | 1227225.0156
68 | 2611348.5089 | 1227493.915 | 2611355.2439 | 1227472.4281
69 | 2611355.2439 | 1227472.4281 | 2611364.3235 | 1227443.4615
70 | 2611382.4862 | 1227433.4094 | 2611372.5043 | 1227435.506 | 2611364.999 | 1227441.3063 | 2611364.3235 | 1227443.4615
71 | 2611292.4735 | 1227492.6449 | 2611288.7998 | 1227504.7996 | 2611288.7998 | 1227504.7996
72 | 2611395.0273 | 1227187.7582 | 2611389.2039 | 1227193.6061 | 2611353.1988 | 1227246.7023
73 | 2611353.1988 | 1227246.7023 | 2611366.8485 | 1227257.3696
74 | 2611384.5842 | 1227271.2302 | 2611396.9501 | 1227280.8942
75 | 2611384.5842 | 1227271.2302 | 2611367.6513 | 1227257.997
76 | 2611396.9501 | 1227280.8942 | 2611404.779 | 1227287.0126
77 | 2611367.6513 | 1227257.997 | 2611366.8485 | 1227257.3696
78 | 2611414.7908 | 1227294.8368 | 2611404.779 | 1227287.0126
79 | 2611395.0273 | 1227187.7582 | 2611409.8977 | 1227194.4127 | 2611416.3993 | 1227188.1339
80 | 2611445.5496 | 1227159.9827 | 2611416.3993 | 1227188.1339
81 | 2611163.936 | 1227342.9697 | 2611163.7343 | 1227342.9473
82 | 2611292.4735 | 1227492.6449 | 2611295.4633 | 1227482.7529
83 | 2611445.5496 | 1227159.9827 | 2611447.7974 | 1227165.4569 | 2611454.1512 | 1227175.5416 | 2611459.5862 | 1227178.6317 | 2611464.3231 | 1227180.1364
84 | 2611464.3231 | 1227180.1364 | 2611465.607 | 1227180.5443 | 2611467.3623 | 1227180.8722

## bus_geodata
| x | y | coords
0 | 2611312.3198 | 1227426.9824
1 | 2611309.7533 | 1227435.4738
2 | 2611314.7029 | 1227419.0979
3 | 2611304.6308 | 1227452.4216
4 | 2611321.0776 | 1227399.4473
5 | 2611300.9571 | 1227414.8215
6 | 2611304.3544 | 1227453.3363
7 | 2611325.2294 | 1227386.6492
8 | 2611300.0449 | 1227414.5378
9 | 2611298.8179 | 1227471.654
10 | 2611327.0473 | 1227381.0456
11 | 2611265.8469 | 1227392.4566
12 | 2611298.0381 | 1227474.2341
13 | 2611329.8205 | 1227372.497
14 | 2611222.985 | 1227426.0848
15 | 2611263.6611 | 1227384.743
16 | 2611335.0312 | 1227356.4347
17 | 2611342.3062 | 1227334.009
18 | 2611348.7972 | 1227314.0004
19 | 2611216.2626 | 1227510.3949
20 | 2611205.456 | 1227520.3088
21 | 2611222.8001 | 1227504.3974
22 | 2611187.8 | 1227536.5064
23 | 2611140.5628 | 1227483.1089
24 | 2611161.2495 | 1227468.7387
25 | 2611287.7155 | 1227516.3241
26 | 2611288.7588 | 1227505.2352
27 | 2611178.0415 | 1227454.0093
28 | 2611331.1543 | 1227300.4502
29 | 2611357.214 | 1227321.4701
30 | 2611319.4986 | 1227291.4983
31 | 2611369.2193 | 1227333.9287
32 | 2611217.4731 | 1227327.2753
33 | 2611218.358 | 1227327.8346
34 | 2611207.4282 | 1227320.9269
35 | 2611228.371 | 1227334.1628
36 | 2611216.3318 | 1227307.911
37 | 2611204.1171 | 1227318.834
38 | 2611236.1214 | 1227323.8353
39 | 2611236.4589 | 1227339.2746
40 | 2611232.1438 | 1227284.7959
41 | 2611157.994 | 1227289.6801
42 | 2611247.8246 | 1227317.2894
43 | 2611234.1942 | 1227281.7985
44 | 2611137.6519 | 1227280.2726
45 | 2611259.312 | 1227245.0795
46 | 2611131.7524 | 1227339.3965
47 | 2611372.3168 | 1227339.006
48 | 2611381.7568 | 1227359.7678
49 | 2611384.6131 | 1227371.2492
50 | 2611389.237 | 1227389.836
51 | 2611390.1695 | 1227393.5843
52 | 2611399.2034 | 1227429.898
53 | 2611182.9073 | 1227448.8832
54 | 2611206.5159 | 1227423.5524
55 | 2611127.3933 | 1227383.0971
56 | 2611163.7199 | 1227342.9457
57 | 2611181.7272 | 1227218.0959
58 | 2611167.5805 | 1227213.3444
59 | 2611197.4068 | 1227197.3352
60 | 2611214.732 | 1227210.6972
61 | 2611170.5287 | 1227176.606
62 | 2611238.6591 | 1227229.151
63 | 2611350.9116 | 1227250.0222
64 | 2611348.5089 | 1227493.915
65 | 2611355.2439 | 1227472.4281
66 | 2611364.3235 | 1227443.4615
67 | 2611382.4862 | 1227433.4094
68 | 2611288.7998 | 1227504.7996
69 | 2611322.7841 | 1227225.0156
70 | 2611353.1988 | 1227246.7023
71 | 2611384.5842 | 1227271.2302
72 | 2611396.9501 | 1227280.8942
73 | 2611367.6512 | 1227257.997
74 | 2611404.779 | 1227287.0126
75 | 2611366.8485 | 1227257.3696
76 | 2611414.7908 | 1227294.8368
77 | 2611395.0273 | 1227187.7582
78 | 2611416.3993 | 1227188.1339
79 | 2611163.7343 | 1227342.9473
80 | 2611163.936 | 1227342.9697
81 | 2611295.4633 | 1227482.7529
82 | 2611292.4735 | 1227492.6449
83 | 2611445.5496 | 1227159.9827
84 | 2611464.3231 | 1227180.1364
85 | 2611467.3623 | 1227180.8722
86 | 2611264.2163 | 1227296.6303

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98914 | -0.20673 | 0.0016153 | 0.00040483
1 | 0.98885 | -0.21222 | 0.0036299 | 0.00090974
2 | 0.98941 | -0.20139 | 0 | 0
3 | 0.98835 | -0.22206 | 0.0044982 | 0.0011274
4 | 0.98818 | -0.22501 | 0.0018 | 0.00045113
5 | 0.99051 | -0.18031 | 0.0017971 | 0.0004504
6 | 0.98832 | -0.22251 | 0.0056541 | 0.001417
7 | 0.98739 | -0.2402 | 0.0013982 | 0.00035041
8 | 0.99055 | -0.17961 | 0.0030005 | 0.00075201
9 | 0.98795 | -0.22968 | 0.0051894 | 0.0013006
10 | 0.9867 | -0.25338 | 0.0011118 | 0.00027863
11 | 0.99232 | -0.14571 | 0 | 0
12 | 0.98792 | -0.23044 | 0.0027321 | 0.00068472
13 | 0.98566 | -0.27334 | 0.0013069 | 0.00032755
14 | 0.98848 | -0.21935 | 0.0034225 | 0.00085776
15 | 0.99278 | -0.137 | 0.014513 | 0.0036374
16 | 0.98373 | -0.31057 | 0.0083753 | 0.002099
17 | 0.98122 | -0.35921 | 0.0019377 | 0.00048562
18 | 0.97902 | -0.40208 | 0 | 0
19 | 0.97699 | -0.44279 | 0.0016428 | 0.00041173
20 | 0.97761 | -0.43074 | 0.0058432 | 0.0014644
21 | 0.97664 | -0.44983 | 0.043398 | 0.010877
22 | 0.97874 | -0.40853 | 0 | 0
23 | 0.98212 | -0.3425 | 0 | 0
24 | 0.98331 | -0.31937 | 0.01368 | 0.0034286
25 | 0.98764 | -0.23575 | 0.0024199 | 0.00060649
26 | 0.98767 | -0.23527 | 0.0017236 | 0.00043196
27 | 0.98465 | -0.29327 | 0.0042455 | 0.001064
28 | 0.97717 | -0.43833 | 0.017846 | 0.0044727
29 | 0.97878 | -0.40676 | 0.0013106 | 0.00032847
30 | 0.97618 | -0.45756 | 0 | 0
31 | 0.97844 | -0.41355 | 0.0023639 | 0.00059244
32 | 0.99619 | -0.072174 | 0.0036699 | 0.00091976
33 | 0.99624 | -0.071305 | 0.0045421 | 0.0011384
34 | 0.99569 | -0.081846 | 0 | 0
35 | 0.99676 | -0.061248 | 0 | 0
36 | 0.99507 | -0.093711 | 0.0043503 | 0.0010903
37 | 0.99564 | -0.082823 | 0.001411 | 0.00035362
38 | 0.99813 | -0.03536 | 0.0052228 | 0.001309
39 | 0.99618 | -0.072344 | 0.0042364 | 0.0010617
40 | 0.99399 | -0.11428 | 0.0079216 | 0.0019854
41 | 0.995 | -0.095097 | 0.001436 | 0.00035991
42 | 1 | 0 | -0.47188 | -0.12066
43 | 0.99386 | -0.11683 | 0.0056696 | 0.0014209
44 | 0.99477 | -0.099612 | 0 | 0
45 | 0.99229 | -0.14693 | 0 | 0
46 | 0.99415 | -0.1115 | 0 | 0
47 | 0.97833 | -0.41563 | 0.0015203 | 0.00038102
48 | 0.97796 | -0.42299 | 0.0049722 | 0.0012461
49 | 0.97782 | -0.42573 | 0.0013942 | 0.00034941
50 | 0.97762 | -0.42968 | 0.0017696 | 0.00044351
51 | 0.97758 | -0.43035 | 0.0019509 | 0.00048894
52 | 0.97732 | -0.43552 | 0 | 0
53 | 0.98511 | -0.28453 | 0.0013868 | 0.00034758
54 | 0.98736 | -0.24097 | 0.0024472 | 0.00061333
55 | 0.99405 | -0.11339 | 0.0024493 | 0.00061385
56 | 0.99389 | -0.11654 | 0.00092517 | 0.00023187
57 | 0.98509 | -0.28628 | 0.034306 | 0.0085979
58 | 0.98467 | -0.29452 | 0.03074 | 0.0077041
59 | 0.98665 | -0.25593 | 0 | 0
60 | 0.98938 | -0.20313 | 0.0082621 | 0.0020707
61 | 0.98446 | -0.29857 | 0.070127 | 0.017575
62 | 0.99137 | -0.16462 | 0.0096891 | 0.0024283
63 | 0.97271 | -0.52591 | 0 | 0
64 | 0.97694 | -0.443 | 0.0018015 | 0.00045151
65 | 0.97698 | -0.44226 | 0.0021225 | 0.00053195
66 | 0.97709 | -0.44008 | 0.0015664 | 0.00039259
67 | 0.9772 | -0.43788 | 0.0020833 | 0.00052213
68 | 0.98767 | -0.23524 | 0.0016665 | 0.00041765
69 | 0.9723 | -0.53396 | 0.011606 | 0.0029088
70 | 0.97248 | -0.53036 | 0 | 0
71 | 0.97126 | -0.55464 | 0.0090307 | 0.0022633
72 | 0.97107 | -0.55826 | 0.0098264 | 0.0024627
73 | 0.97169 | -0.5461 | 0.013909 | 0.003486
74 | 0.97105 | -0.55875 | 0.0011928 | 0.00029893
75 | 0.97172 | -0.54543 | 0.011735 | 0.0029411
76 | 0.97103 | -0.55909 | 0.0014654 | 0.00036727
77 | 0.97162 | -0.54749 | 0 | 0
78 | 0.97131 | -0.5535 | 0.011375 | 0.0028508
79 | 0.99389 | -0.11654 | 0.0054556 | 0.0013673
80 | 0.99389 | -0.11655 | 0.0025128 | 0.00062977
81 | 0.98781 | -0.23251 | 0.005453 | 0.0013667
82 | 0.98774 | -0.23392 | 0.0017995 | 0.00045099
83 | 0.97126 | -0.55459 | 0 | 0
84 | 0.97122 | -0.55537 | 0.00054223 | 0.0001359
85 | 0.97122 | -0.55542 | 0.00091555 | 0.00022946
86 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0348 | 0.008734 | -0.034791 | -0.0087282 | 9.1188e-06 | 5.7222e-06 | 0.052357 | 0.052357 | 0.052357 | 0.98914 | -0.20673 | 0.98885 | -0.21222 | 14.3837
1 | -0.036416 | -0.0091388 | 0.036425 | 0.0091446 | 9.2713e-06 | 5.8279e-06 | 0.054787 | 0.054787 | 0.054787 | 0.98914 | -0.20673 | 0.98941 | -0.20139 | 15.0513
2 | 0.031161 | 0.0078185 | -0.031147 | -0.0078094 | 1.4601e-05 | 9.1174e-06 | 0.046894 | 0.046894 | 0.046894 | 0.98885 | -0.21222 | 0.98835 | -0.22206 | 12.8831
3 | 0.12996 | 0.033235 | -0.12981 | -0.033141 | 0.00014833 | 9.4404e-05 | 0.19569 | 0.19569 | 0.19569 | 0.98941 | -0.20139 | 0.98818 | -0.22501 | 26.8805
4 | -0.16638 | -0.04238 | 0.16655 | 0.042488 | 0.00016934 | 0.00010801 | 0.25048 | 0.25048 | 0.25048 | 0.98941 | -0.20139 | 0.99051 | -0.18031 | 34.406
5 | 0.026649 | 0.006682 | -0.026648 | -0.0066817 | 5.7683e-07 | 3.5693e-07 | 0.040122 | 0.040122 | 0.040122 | 0.98835 | -0.22206 | 0.98832 | -0.22251 | 11.0226
6 | 0.12801 | 0.03269 | -0.12792 | -0.03263 | 9.3951e-05 | 5.9784e-05 | 0.19298 | 0.19298 | 0.19298 | 0.98818 | -0.22501 | 0.98739 | -0.2402 | 26.5082
7 | -0.16835 | -0.042938 | 0.16836 | 0.042942 | 5.7406e-06 | 3.6248e-06 | 0.25318 | 0.25318 | 0.25318 | 0.99051 | -0.18031 | 0.99055 | -0.17961 | 17.3884
8 | 0.020994 | 0.0052646 | -0.020987 | -0.0052603 | 7.17e-06 | 4.3437e-06 | 0.031609 | 0.031609 | 0.031609 | 0.98832 | -0.22251 | 0.98795 | -0.22968 | 8.6839
9 | 0.12652 | 0.032279 | -0.12644 | -0.032228 | 8.0485e-05 | 5.1435e-05 | 0.19087 | 0.19087 | 0.19087 | 0.98739 | -0.2402 | 0.9867 | -0.25338 | 52.4375
10 | -0.17136 | -0.043694 | 0.17164 | 0.043871 | 0.00028096 | 0.00017749 | 0.25768 | 0.25768 | 0.25768 | 0.99055 | -0.17961 | 0.99232 | -0.14571 | 17.698
11 | 0.015797 | 0.0039597 | -0.015797 | -0.0039593 | 5.7222e-07 | 3.3171e-07 | 0.023793 | 0.023793 | 0.023793 | 0.98795 | -0.22968 | 0.98792 | -0.23044 | 6.5367
12 | 0.12533 | 0.031949 | -0.12521 | -0.031872 | 0.00012064 | 7.7093e-05 | 0.1892 | 0.1892 | 0.1892 | 0.9867 | -0.25338 | 0.98566 | -0.27334 | 51.9769
13 | 0.076986 | 0.019649 | -0.076714 | -0.019475 | 0.00027287 | 0.00017393 | 0.11557 | 0.11557 | 0.11557 | 0.99232 | -0.14571 | 0.98848 | -0.21935 | 31.7501
14 | -0.24862 | -0.06352 | 0.24873 | 0.063587 | 0.00010471 | 6.6603e-05 | 0.37325 | 0.37325 | 0.37325 | 0.99232 | -0.14571 | 0.99278 | -0.137 | 25.6355
15 | 0.013065 | 0.0032746 | -0.013063 | -0.0032739 | 1.2923e-06 | 7.1315e-07 | 0.019678 | 0.019678 | 0.019678 | 0.98792 | -0.23044 | 0.98781 | -0.23251 | 5.4061
16 | 0.1239 | 0.031545 | -0.12368 | -0.031403 | 0.00022197 | 0.00014184 | 0.18722 | 0.18722 | 0.18722 | 0.98566 | -0.27334 | 0.98373 | -0.31057 | 51.4349
17 | 0.073291 | 0.018617 | -0.073215 | -0.018569 | 7.6183e-05 | 4.8543e-05 | 0.11042 | 0.11042 | 0.11042 | 0.98848 | -0.21935 | 0.98736 | -0.24097 | 30.3347
18 | -0.26324 | -0.067224 | 0.26407 | 0.06775 | 0.0008255 | 0.00052539 | 0.395 | 0.395 | 0.395 | 0.99278 | -0.137 | 0.99618 | -0.072344 | 27.1295
19 | 0.1153 | 0.029304 | -0.11503 | -0.029132 | 0.00026938 | 0.00017211 | 0.17455 | 0.17455 | 0.17455 | 0.98373 | -0.31057 | 0.98122 | -0.35921 | 47.9546
20 | 0.1131 | 0.028646 | -0.11286 | -0.028498 | 0.00023232 | 0.00014842 | 0.17162 | 0.17162 | 0.17162 | 0.98122 | -0.35921 | 0.97902 | -0.40208 | 47.1474
21 | 0.089979 | 0.022754 | -0.089823 | -0.022655 | 0.00015619 | 9.9685e-05 | 0.13683 | 0.13683 | 0.13683 | 0.97902 | -0.40208 | 0.97717 | -0.43833 | 37.5915
22 | 0.022883 | 0.0057433 | -0.022878 | -0.0057402 | 5.1058e-06 | 3.1262e-06 | 0.034783 | 0.034784 | 0.034784 | 0.97902 | -0.40208 | 0.97878 | -0.40676 | 9.5559
23 | -0.045056 | -0.011298 | 0.045082 | 0.011314 | 2.5898e-05 | 1.6391e-05 | 0.068624 | 0.068624 | 0.068624 | 0.97699 | -0.44279 | 0.97761 | -0.43074 | 18.8528
24 | 0.043413 | 0.010886 | -0.043398 | -0.010877 | 1.4546e-05 | 9.1983e-06 | 0.066122 | 0.066122 | 0.066122 | 0.97699 | -0.44279 | 0.97664 | -0.44983 | 18.1655
25 | -0.050925 | -0.012778 | 0.050979 | 0.012813 | 5.3992e-05 | 3.4254e-05 | 0.077518 | 0.077518 | 0.077518 | 0.97761 | -0.43074 | 0.97874 | -0.40853 | 21.2962
26 | -0.050979 | -0.012813 | 0.05114 | 0.012915 | 0.00016126 | 0.0001023 | 0.077518 | 0.077518 | 0.077518 | 0.97874 | -0.40853 | 0.98212 | -0.3425 | 21.2962
27 | -0.05114 | -0.012915 | 0.051197 | 0.012951 | 5.6758e-05 | 3.6006e-05 | 0.077518 | 0.077518 | 0.077518 | 0.98212 | -0.3425 | 0.98331 | -0.31937 | 21.2961
28 | -0.064877 | -0.01638 | 0.064958 | 0.016431 | 8.1226e-05 | 5.1699e-05 | 0.09822 | 0.09822 | 0.09822 | 0.98331 | -0.31937 | 0.98465 | -0.29327 | 26.9835
29 | -0.0024199 | -0.00060649 | 0.00242 | 0.00060638 | 5.5519e-08 | -1.07e-07 | 0.0036459 | 0.0036459 | 0.0036459 | 0.98764 | -0.23575 | 0.98767 | -0.23527 | 1.0016
30 | -0.0041435 | -0.0010383 | 0.0041435 | 0.0010383 | 6.395e-09 | -1.5075e-09 | 0.0062426 | 0.0062426 | 0.0062426 | 0.98767 | -0.23527 | 0.98767 | -0.23524 | 1.715
31 | -0.069204 | -0.017495 | 0.069233 | 0.017514 | 2.9018e-05 | 1.8481e-05 | 0.10464 | 0.10464 | 0.10464 | 0.98465 | -0.29327 | 0.98511 | -0.28453 | 28.746
32 | 0.071977 | 0.018182 | -0.071911 | -0.01814 | 6.6271e-05 | 4.223e-05 | 0.10966 | 0.10966 | 0.10966 | 0.97717 | -0.43833 | 0.97618 | -0.45756 | 30.1256
33 | 0.021568 | 0.0054117 | -0.021561 | -0.0054074 | 6.9853e-06 | 4.2529e-06 | 0.032791 | 0.032791 | 0.032791 | 0.97878 | -0.40676 | 0.97844 | -0.41355 | 9.0086
34 | 0.071911 | 0.01814 | -0.071676 | -0.01799 | 0.00023447 | 0.00014941 | 0.10966 | 0.10966 | 0.10966 | 0.97618 | -0.45756 | 0.97271 | -0.52591 | 30.1256
35 | 0.019197 | 0.004815 | -0.019195 | -0.0048138 | 1.9012e-06 | 1.1421e-06 | 0.029196 | 0.029196 | 0.029196 | 0.97844 | -0.41355 | 0.97833 | -0.41563 | 8.0209
36 | -0.19053 | -0.048363 | 0.19053 | 0.048368 | 7.9612e-06 | 5.0406e-06 | 0.28481 | 0.28481 | 0.28481 | 0.99619 | -0.072174 | 0.99624 | -0.071305 | 19.5609
37 | 0.18686 | 0.047443 | -0.18677 | -0.047388 | 8.6919e-05 | 5.501e-05 | 0.27933 | 0.27933 | 0.27933 | 0.99619 | -0.072174 | 0.99569 | -0.081846 | 19.1845
38 | -0.19508 | -0.049506 | 0.19517 | 0.049566 | 9.4419e-05 | 5.9811e-05 | 0.29159 | 0.29159 | 0.29159 | 0.99624 | -0.071305 | 0.99676 | -0.061248 | 20.0269
39 | 0.17256 | 0.043822 | -0.17246 | -0.04376 | 9.8478e-05 | 6.2206e-05 | 0.25809 | 0.25809 | 0.25809 | 0.99569 | -0.081846 | 0.99507 | -0.093711 | 17.7259
40 | 0.014209 | 0.0035659 | -0.014209 | -0.0035655 | 6.6248e-07 | 3.7305e-07 | 0.021237 | 0.021237 | 0.021237 | 0.99569 | -0.081846 | 0.99564 | -0.082823 | 5.8343
41 | -0.46362 | -0.11847 | 0.4642 | 0.11884 | 0.00058122 | 0.00037131 | 0.69292 | 0.69292 | 0.69292 | 0.99676 | -0.061248 | 0.99813 | -0.03536 | 47.5908
42 | 0.26845 | 0.068904 | -0.2683 | -0.068812 | 0.00014447 | 9.1965e-05 | 0.40133 | 0.40133 | 0.40133 | 0.99676 | -0.061248 | 0.99618 | -0.072344 | 27.564
43 | 0.16811 | 0.042669 | -0.16795 | -0.042565 | 0.00016618 | 0.0001049 | 0.25158 | 0.25158 | 0.25158 | 0.99507 | -0.093711 | 0.99399 | -0.11428 | 17.2791
44 | 0.012798 | 0.0032119 | -0.01279 | -0.0032078 | 7.4868e-06 | 4.0824e-06 | 0.019128 | 0.019128 | 0.019128 | 0.99564 | -0.082823 | 0.995 | -0.095097 | 5.2551
45 | -0.46942 | -0.12015 | 0.47023 | 0.12066 | 0.00080526 | 0.00051445 | 0.70071 | 0.70071 | 0.70071 | 0.99813 | -0.03536 | 1 | 0 | 48.1256
46 | 0.16002 | 0.040579 | -0.16 | -0.040567 | 1.9566e-05 | 1.2334e-05 | 0.23973 | 0.23973 | 0.23973 | 0.99399 | -0.11428 | 0.99386 | -0.11683 | 16.4647
47 | 0.011354 | 0.0028479 | -0.011352 | -0.0028467 | 2.4432e-06 | 1.2702e-06 | 0.016981 | 0.016981 | 0.016981 | 0.995 | -0.095097 | 0.99477 | -0.099612 | 4.6651
48 | 0.15433 | 0.039146 | -0.15411 | -0.039005 | 0.00022301 | 0.00014043 | 0.23124 | 0.23124 | 0.23124 | 0.99386 | -0.11683 | 0.99229 | -0.14693 | 15.8817
49 | 0.011352 | 0.0028467 | -0.011345 | -0.0028433 | 6.426e-06 | 3.3416e-06 | 0.016981 | 0.016981 | 0.016981 | 0.99477 | -0.099612 | 0.99415 | -0.1115 | 4.6652
50 | 0.15411 | 0.039005 | -0.15398 | -0.038923 | 0.00013075 | 8.2331e-05 | 0.23124 | 0.23124 | 0.23124 | 0.99229 | -0.14693 | 0.99137 | -0.16462 | 15.8818
51 | 0.0088958 | 0.0022299 | -0.0088936 | -0.002229 | 2.1384e-06 | 9.5165e-07 | 0.013315 | 0.013315 | 0.013315 | 0.99415 | -0.1115 | 0.99389 | -0.11654 | 3.658
52 | 0.0024495 | 0.00061343 | -0.0024493 | -0.00061385 | 2.2137e-07 | -4.2771e-07 | 0.0036662 | 0.0036664 | 0.0036664 | 0.99415 | -0.1115 | 0.99405 | -0.11339 | 1.0073
53 | 0.017675 | 0.0044328 | -0.017669 | -0.0044291 | 6.2012e-06 | 3.6815e-06 | 0.026884 | 0.026884 | 0.026884 | 0.97833 | -0.41563 | 0.97796 | -0.42299 | 7.3857
54 | 0.012696 | 0.003183 | -0.012695 | -0.0031821 | 1.6558e-06 | 9.113e-07 | 0.019319 | 0.019319 | 0.019319 | 0.97796 | -0.42299 | 0.97782 | -0.42573 | 5.3073
55 | 0.011301 | 0.0028327 | -0.011298 | -0.0028316 | 2.1241e-06 | 1.1192e-06 | 0.017197 | 0.017197 | 0.017197 | 0.97782 | -0.42573 | 0.97762 | -0.42968 | 4.7245
56 | 0.0095288 | 0.002388 | -0.0095285 | -0.0023879 | 3.0469e-07 | 1.4657e-07 | 0.014504 | 0.014504 | 0.014504 | 0.97762 | -0.42968 | 0.97758 | -0.43035 | 3.9845
57 | 0.0075776 | 0.001899 | -0.0075757 | -0.0018982 | 1.8669e-06 | 7.2574e-07 | 0.011534 | 0.011534 | 0.011534 | 0.97758 | -0.43035 | 0.97732 | -0.43552 | 3.1687
58 | 0.0075757 | 0.0018982 | -0.0075748 | -0.0018979 | 8.5221e-07 | 3.3139e-07 | 0.011534 | 0.011534 | 0.011534 | 0.97732 | -0.43552 | 0.9772 | -0.43788 | 3.1688
59 | -0.07062 | -0.017861 | 0.070768 | 0.017956 | 0.00014792 | 9.4226e-05 | 0.10673 | 0.10673 | 0.10673 | 0.98511 | -0.28453 | 0.98736 | -0.24097 | 29.3215
60 | 0.0079685 | 0.0019971 | -0.0079685 | -0.0019971 | 7.7209e-10 | 3.0636e-10 | 0.01193 | 0.01193 | 0.01193 | 0.99389 | -0.11654 | 0.99389 | -0.11654 | 3.2775
61 | 0.030752 | 0.0077117 | -0.03074 | -0.0077041 | 1.2076e-05 | 7.5389e-06 | 0.046453 | 0.046454 | 0.046454 | 0.98509 | -0.28628 | 0.98467 | -0.29452 | 12.762
62 | -0.065058 | -0.01631 | 0.065152 | 0.01637 | 9.4222e-05 | 5.9971e-05 | 0.098274 | 0.098273 | 0.098274 | 0.98509 | -0.28628 | 0.98665 | -0.25593 | 26.9982
63 | -0.13542 | -0.034036 | 0.13576 | 0.034255 | 0.00034235 | 0.00021883 | 0.20427 | 0.20427 | 0.20427 | 0.98665 | -0.25593 | 0.98938 | -0.20313 | 56.118
64 | 0.070269 | 0.017666 | -0.070127 | -0.017575 | 0.00014276 | 9.0932e-05 | 0.106 | 0.106 | 0.106 | 0.98665 | -0.25593 | 0.98446 | -0.29857 | 29.1199
65 | -0.14403 | -0.036325 | 0.14429 | 0.036495 | 0.00026604 | 0.00016949 | 0.2167 | 0.2167 | 0.2167 | 0.98938 | -0.20313 | 0.99137 | -0.16462 | 29.7659
66 | 0.060065 | 0.015079 | -0.060053 | -0.015071 | 1.2756e-05 | 8.1137e-06 | 0.091895 | 0.091895 | 0.091895 | 0.97271 | -0.52591 | 0.97248 | -0.53036 | 25.2459
67 | 0.011611 | 0.0029112 | -0.011606 | -0.0029088 | 4.4529e-06 | 2.3829e-06 | 0.017762 | 0.017762 | 0.017762 | 0.97271 | -0.52591 | 0.9723 | -0.53396 | 4.8798
68 | -0.0018015 | -0.00045151 | 0.0018016 | 0.00045127 | 6.3579e-08 | -2.4127e-07 | 0.002744 | 0.0027439 | 0.002744 | 0.97694 | -0.443 | 0.97698 | -0.44226 | 0.75385
69 | -0.0039241 | -0.00098322 | 0.0039245 | 0.0009831 | 4.0662e-07 | -1.1994e-07 | 0.0059766 | 0.0059765 | 0.0059766 | 0.97698 | -0.44226 | 0.97709 | -0.44008 | 1.6419
70 | -0.005491 | -0.0013757 | 0.0054915 | 0.0013758 | 5.7539e-07 | 9.3372e-08 | 0.008362 | 0.008362 | 0.008362 | 0.97709 | -0.44008 | 0.9772 | -0.43788 | 2.2973
71 | -0.00581 | -0.001456 | 0.0058103 | 0.0014561 | 3.6483e-07 | 7.0978e-08 | 0.0087532 | 0.0087532 | 0.0087532 | 0.98767 | -0.23524 | 0.98774 | -0.23392 | 2.4047
72 | 0.012847 | 0.0032232 | -0.012836 | -0.0032174 | 1.0484e-05 | 5.8131e-06 | 0.019659 | 0.019659 | 0.019659 | 0.97248 | -0.53036 | 0.97162 | -0.54749 | 5.4008
73 | 0.047206 | 0.011848 | -0.047172 | -0.011826 | 3.3899e-05 | 2.148e-05 | 0.072237 | 0.072237 | 0.072237 | 0.97248 | -0.53036 | 0.97172 | -0.54543 | 19.8452
74 | 0.012487 | 0.0031299 | -0.012485 | -0.0031287 | 2.1539e-06 | 1.1843e-06 | 0.019131 | 0.019131 | 0.019131 | 0.97126 | -0.55464 | 0.97107 | -0.55826 | 5.2557
75 | -0.021517 | -0.0053932 | 0.021526 | 0.0053985 | 8.7581e-06 | 5.3391e-06 | 0.032966 | 0.032966 | 0.032966 | 0.97126 | -0.55464 | 0.97169 | -0.5461 | 9.0566
76 | 0.0026583 | 0.00066598 | -0.0026582 | -0.00066606 | 6.1822e-08 | -8.3353e-08 | 0.0040733 | 0.0040733 | 0.0040733 | 0.97107 | -0.55826 | 0.97105 | -0.55875 | 1.119
77 | -0.035436 | -0.0088845 | 0.035437 | 0.0088853 | 1.1251e-06 | 7.0746e-07 | 0.054266 | 0.054266 | 0.054266 | 0.97169 | -0.5461 | 0.97172 | -0.54543 | 14.9084
78 | 0.0014655 | 0.00036713 | -0.0014654 | -0.00036727 | 2.4029e-08 | -1.4181e-07 | 0.0022456 | 0.0022456 | 0.0022456 | 0.97105 | -0.55875 | 0.97103 | -0.55909 | 0.61694
79 | 0.012836 | 0.0032174 | -0.012833 | -0.0032153 | 3.671e-06 | 2.0358e-06 | 0.019659 | 0.019659 | 0.019659 | 0.97162 | -0.54749 | 0.97131 | -0.5535 | 5.4008
80 | 0.0014579 | 0.00036454 | -0.0014578 | -0.00036499 | 7.5792e-08 | -4.5305e-07 | 0.0022332 | 0.0022333 | 0.0022333 | 0.97131 | -0.5535 | 0.97126 | -0.55459 | 0.61356
81 | 0.0025128 | 0.00062977 | -0.0025128 | -0.00062977 | 1.0772e-09 | -1.9402e-09 | 0.0037621 | 0.0037621 | 0.0037621 | 0.99389 | -0.11654 | 0.99389 | -0.11655 | 1.0335
82 | 0.0076103 | 0.0019073 | -0.0076098 | -0.0019071 | 5.093e-07 | 1.9367e-07 | 0.011464 | 0.011464 | 0.011464 | 0.98781 | -0.23251 | 0.98774 | -0.23392 | 3.1495
83 | 0.0014578 | 0.00036499 | -0.0014578 | -0.00036532 | 5.4357e-08 | -3.2484e-07 | 0.0022333 | 0.0022335 | 0.0022335 | 0.97126 | -0.55459 | 0.97122 | -0.55537 | 0.61359
84 | 0.00091555 | 0.00022942 | -0.00091555 | -0.00022946 | 2.3116e-09 | -3.7289e-08 | 0.0014027 | 0.0014027 | 0.0014027 | 0.97122 | -0.55537 | 0.97122 | -0.55542 | 0.38537

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.47188 | 0.12066

## res_load
| p_mw | q_mvar
0 | 0.0016153 | 0.00040483
1 | 0.0036299 | 0.00090974
2 | 0.0044982 | 0.0011274
3 | 0.0018 | 0.00045113
4 | 0.0017971 | 0.0004504
5 | 0.0056541 | 0.001417
6 | 0.0013982 | 0.00035041
7 | 0.0030005 | 0.00075201
8 | 0.0051894 | 0.0013006
9 | 0.0011118 | 0.00027863
10 | 0.0027321 | 0.00068472
11 | 0.0013069 | 0.00032755
12 | 0.0034225 | 0.00085776
13 | 0.014513 | 0.0036374
14 | 0.0083753 | 0.002099
15 | 0.0019377 | 0.00048562
16 | 0.0016428 | 0.00041173
17 | 0.0058432 | 0.0014644
18 | 0.043398 | 0.010877
19 | 0.01368 | 0.0034286
20 | 0.0024199 | 0.00060649
21 | 0.0017236 | 0.00043196
22 | 0.0042455 | 0.001064
23 | 0.017846 | 0.0044727
24 | 0.0013106 | 0.00032847
25 | 0.0023639 | 0.00059244
26 | 0.0036699 | 0.00091976
27 | 0.0045421 | 0.0011384
28 | 0.0043503 | 0.0010903
29 | 0.001411 | 0.00035362
30 | 0.0052228 | 0.001309
31 | 0.0042364 | 0.0010617
32 | 0.0079216 | 0.0019854
33 | 0.001436 | 0.00035991
34 | 0.0056696 | 0.0014209
35 | 0.0015203 | 0.00038102
36 | 0.0049722 | 0.0012461
37 | 0.0013942 | 0.00034941
38 | 0.0017696 | 0.00044351
39 | 0.0019509 | 0.00048894
40 | 0.0013868 | 0.00034758
41 | 0.0024472 | 0.00061333
42 | 0.0024493 | 0.00061385
43 | 0.00092517 | 0.00023187
44 | 0.034306 | 0.0085979
45 | 0.03074 | 0.0077041
46 | 0.0082621 | 0.0020707
47 | 0.070127 | 0.017575
48 | 0.0096891 | 0.0024283
49 | 0.0018015 | 0.00045151
50 | 0.0021225 | 0.00053195
51 | 0.0015664 | 0.00039259
52 | 0.0020833 | 0.00052213
53 | 0.0016665 | 0.00041765
54 | 0.011606 | 0.0029088
55 | 0.0090307 | 0.0022633
56 | 0.0098264 | 0.0024627
57 | 0.013909 | 0.003486
58 | 0.0011928 | 0.00029893
59 | 0.011735 | 0.0029411
60 | 0.0014654 | 0.00036727
61 | 0.011375 | 0.0028508
62 | 0.0054556 | 0.0013673
63 | 0.0025128 | 0.00062977
64 | 0.005453 | 0.0013667
65 | 0.0017995 | 0.00045099
66 | 0.00054223 | 0.0001359
67 | 0.00091555 | 0.00022946

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1