## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2517-11_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2517-11_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2517-11_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2517-11_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2517-11_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2517-11_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2517-11_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2517-11_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2517-11_0_3_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_2517-11_0_3_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_2517-11_0_3_node_69 | 0.4 | n |  | TRUE
11 | bus_LV_2517-11_0_3_node_61 | 0.4 | n |  | TRUE
12 | bus_LV_2517-11_0_3_node_50 | 0.4 | n |  | TRUE
13 | bus_LV_2517-11_0_3_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_2517-11_0_3_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_2517-11_0_3_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_2517-11_0_3_node_62 | 0.4 | n |  | TRUE
17 | bus_LV_2517-11_0_3_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_2517-11_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_2517-11_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_2517-11_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_2517-11_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_2517-11_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_2517-11_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_2517-11_0_3_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_2517-11_0_3_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_2517-11_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2517-11_0_3_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_2517-11_0_3_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_2517-11_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_2517-11_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_2517-11_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_2517-11_0_3_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_2517-11_0_3_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_2517-11_0_3_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_2517-11_0_3_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_2517-11_0_3_node_78 | 0.4 | n |  | TRUE
37 | bus_LV_2517-11_0_3_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_2517-11_0_3_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_2517-11_0_3_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_2517-11_0_3_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_2517-11_0_3_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_2517-11_0_3_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_2517-11_0_3_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_2517-11_0_3_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_2517-11_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_2517-11_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_2517-11_0_3_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_2517-11_0_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_2517-11_0_3_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_2517-11_0_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_2517-11_0_3_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_2517-11_0_3_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_2517-11_0_3_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_2517-11_0_3_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_2517-11_0_3_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_2517-11_0_3_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_2517-11_0_3_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_2517-11_0_3_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_2517-11_0_3_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_2517-11_0_3_node_76 | 0.4 | n |  | TRUE
61 | bus_LV_2517-11_0_3_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_2517-11_0_3_node_74 | 0.4 | n |  | TRUE
63 | bus_LV_2517-11_0_3_node_70 | 0.4 | n |  | TRUE
64 | bus_LV_2517-11_0_3_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_2517-11_0_3_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_2517-11_0_3_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_2517-11_0_3_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_2517-11_0_3_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_2517-11_0_3_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_2517-11_0_3_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_2517-11_0_3_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_2517-11_0_3_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_2517-11_0_3_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_2517-11_0_3_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_2517-11_0_3_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_2517-11_0_3_node_67 | 0.4 | n |  | TRUE
77 | bus_MV_392_0_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2517-11_0_3_load_0 | 0 | 0.0033461 | 0.00083861 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2517-11_0_3_load_3 | 3 | 0.0024296 | 0.00060892 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2517-11_0_3_load_4 | 4 | 0.0053387 | 0.001338 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2517-11_0_3_load_5 | 5 | 0.0026883 | 0.00067376 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2517-11_0_3_load_6 | 6 | 0.0064712 | 0.0016218 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2517-11_0_3_load_7 | 7 | 0.0025469 | 0.00063831 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2517-11_0_3_load_31 | 8 | 0.0019891 | 0.00049851 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2517-11_0_3_load_38 | 9 | 0.002489 | 0.00062379 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2517-11_0_3_load_69 | 10 | 0.0015149 | 0.00037966 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2517-11_0_3_load_50 | 12 | 0.00559 | 0.001401 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2517-11_0_3_load_32 | 13 | 0.0023764 | 0.00059558 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2517-11_0_3_load_39 | 14 | 0.0043786 | 0.0010974 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2517-11_0_3_load_45 | 15 | 0.0017565 | 0.00044021 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2517-11_0_3_load_62 | 16 | 0.0055362 | 0.0013875 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2517-11_0_3_load_8 | 18 | 0.0025105 | 0.00062918 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2517-11_0_3_load_9 | 19 | 0.003212 | 0.00080501 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2517-11_0_3_load_11 | 21 | 0.0022873 | 0.00057326 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2517-11_0_3_load_13 | 23 | 0.002738 | 0.0006862 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2517-11_0_3_load_46 | 24 | 0.0050152 | 0.0012569 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2517-11_0_3_load_60 | 25 | 0.0071884 | 0.0018016 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2517-11_0_3_load_15 | 26 | 0.0066749 | 0.0016729 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2517-11_0_3_load_14 | 28 | 0.0068114 | 0.0017071 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2517-11_0_3_load_26 | 30 | 0.010755 | 0.0026955 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2517-11_0_3_load_24 | 31 | 0.0067091 | 0.0016815 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2517-11_0_3_load_18 | 34 | 0.01362 | 0.0034134 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2517-11_0_3_load_54 | 35 | 0.012737 | 0.0031922 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2517-11_0_3_load_78 | 36 | 0.014305 | 0.0035851 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2517-11_0_3_load_52 | 37 | 0.0018652 | 0.00046745 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2517-11_0_3_load_49 | 38 | 0.0045209 | 0.001133 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2517-11_0_3_load_19 | 39 | 0.006664 | 0.0016702 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2517-11_0_3_load_22 | 42 | 0.0092992 | 0.0023306 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2517-11_0_3_load_23 | 43 | 0.0012345 | 0.0003094 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2517-11_0_3_load_63 | 44 | 0.011568 | 0.0028993 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2517-11_0_3_load_40 | 45 | 0.0030336 | 0.00076028 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2517-11_0_3_load_64 | 47 | 0.0072717 | 0.0018225 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2517-11_0_3_load_37 | 49 | 0.0038131 | 0.00095564 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2517-11_0_3_load_35 | 50 | 0.0075677 | 0.0018966 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2517-11_0_3_load_27 | 51 | 0.0032654 | 0.00081839 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2517-11_0_3_load_28 | 52 | 0.0028924 | 0.00072491 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2517-11_0_3_load_29 | 53 | 0.0024066 | 0.00060315 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2517-11_0_3_load_30 | 54 | 0.0034749 | 0.00087089 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2517-11_0_3_load_75 | 56 | 0.012717 | 0.0031873 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2517-11_0_3_load_33 | 58 | 0.0021627 | 0.00054203 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2517-11_0_3_load_34 | 59 | 0.0038605 | 0.00096754 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2517-11_0_3_load_77 | 61 | 0.0023998 | 0.00060143 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2517-11_0_3_load_74 | 62 | 0.0079547 | 0.0019936 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2517-11_0_3_load_70 | 63 | 0.0096276 | 0.0024129 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2517-11_0_3_load_71 | 64 | 0.0035479 | 0.00088919 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2517-11_0_3_load_68 | 65 | 0.002622 | 0.00065714 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2517-11_0_3_load_55 | 67 | 0.0076212 | 0.0019101 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2517-11_0_3_load_43 | 68 | 0.0059288 | 0.0014859 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2517-11_0_3_load_65 | 70 | 0.014546 | 0.0036456 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2517-11_0_3_load_51 | 72 | 0.0042316 | 0.0010605 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2517-11_0_3_load_59 | 73 | 0.0041136 | 0.001031 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2517-11_0_3_load_72 | 75 | 0.0036324 | 0.00091037 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2517-11_0_3_load_67 | 76 | 0.002227 | 0.00055814 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2517-11_0_3_line_0 |  | 0 | 1 | 0.016794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_2517-11_0_3_line_1 |  | 0 | 2 | 0.013613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_2517-11_0_3_line_2 |  | 1 | 3 | 0.026632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2517-11_0_3_line_3 |  | 1 | 4 | 0.02662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_2517-11_0_3_line_4 |  | 1 | 5 | 0.0087352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2517-11_0_3_line_5 |  | 2 | 6 | 0.022705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2517-11_0_3_line_6 |  | 2 | 7 | 0.013892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2517-11_0_3_line_7 |  | 3 | 8 | 0.0031367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2517-11_0_3_line_8 |  | 4 | 9 | 0.023092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2517-11_0_3_line_9 |  | 5 | 10 | 0.013639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2517-11_0_3_line_10 |  | 6 | 11 | 0.011529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2517-11_0_3_line_11 |  | 7 | 12 | 0.018223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2517-11_0_3_line_12 |  | 8 | 13 | 0.028033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2517-11_0_3_line_13 |  | 9 | 14 | 0.010101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2517-11_0_3_line_14 |  | 10 | 15 | 0.0016746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2517-11_0_3_line_15 |  | 11 | 16 | 0.015204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2517-11_0_3_line_16 |  | 12 | 17 | 0.020481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_2517-11_0_3_line_17 |  | 13 | 58 | 0.034287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2517-11_0_3_line_18 |  | 13 | 59 | 0.017583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2517-11_0_3_line_19 |  | 14 | 65 | 0.0061659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2517-11_0_3_line_20 |  | 15 | 69 | 0.067618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2517-11_0_3_line_21 |  | 17 | 38 | 0.01596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2517-11_0_3_line_22 |  | 17 | 34 | 0.013002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2517-11_0_3_line_23 |  | 18 | 19 | 0.034978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2517-11_0_3_line_24 |  | 18 | 20 | 0.0065291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2517-11_0_3_line_25 |  | 19 | 21 | 0.013416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2517-11_0_3_line_26 |  | 20 | 22 | 0.019935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2517-11_0_3_line_27 |  | 20 | 23 | 0.018675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2517-11_0_3_line_28 |  | 21 | 24 | 0.011359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2517-11_0_3_line_29 |  | 22 | 25 | 0.017589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2517-11_0_3_line_30 |  | 22 | 26 | 0.019525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2517-11_0_3_line_31 |  | 24 | 27 | 0.022047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2517-11_0_3_line_32 |  | 26 | 28 | 0.030445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2517-11_0_3_line_33 |  | 27 | 66 | 0.038559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2517-11_0_3_line_34 |  | 27 | 46 | 0.038799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2517-11_0_3_line_35 |  | 28 | 32 | 0.025412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_2517-11_0_3_line_36 |  | 29 | 30 | 0.0013853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2517-11_0_3_line_37 |  | 29 | 31 | 0.021127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2517-11_0_3_line_38 |  | 30 | 48 | 0.019075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_2517-11_0_3_line_39 |  | 32 | 33 | 0.014128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2517-11_0_3_line_40 |  | 32 | 34 | 0.018916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_2517-11_0_3_line_41 |  | 33 | 35 | 0.024707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2517-11_0_3_line_42 |  | 33 | 36 | 0.042668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2517-11_0_3_line_43 |  | 35 | 37 | 0.0098768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2517-11_0_3_line_44 |  | 37 | 72 | 0.021355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2517-11_0_3_line_45 |  | 38 | 70 | 0.014603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2517-11_0_3_line_46 |  | 39 | 40 | 0.014825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2517-11_0_3_line_47 |  | 40 | 41 | 0.0115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2517-11_0_3_line_48 |  | 40 | 42 | 0.023104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2517-11_0_3_line_49 |  | 40 | 43 | 0.049119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2517-11_0_3_line_50 |  | 41 | 44 | 0.028567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2517-11_0_3_line_51 |  | 42 | 45 | 0.0082912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2517-11_0_3_line_52 |  | 44 | 47 | 0.0036651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2517-11_0_3_line_53 |  | 46 | 47 | 0.01818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2517-11_0_3_line_54 |  | 48 | 49 | 0.014828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_2517-11_0_3_line_55 |  | 48 | 50 | 0.018028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2517-11_0_3_line_56 |  | 49 | 63 | 0.0080336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_2517-11_0_3_line_57 |  | 51 | 52 | 0.024387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2517-11_0_3_line_58 |  | 51 | 53 | 0.020266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2517-11_0_3_line_59 |  | 52 | 54 | 0.024221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2517-11_0_3_line_60 |  | 54 | 55 | 0.013407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2517-11_0_3_line_61 |  | 55 | 56 | 0.025901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2517-11_0_3_line_62 |  | 55 | 57 | 0.014118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2517-11_0_3_line_63 |  | 57 | 73 | 0.05005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2517-11_0_3_line_64 |  | 57 | 67 | 0.037019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_2517-11_0_3_line_65 |  | 60 | 61 | 0.020155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2517-11_0_3_line_66 |  | 60 | 62 | 0.036663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2517-11_0_3_line_67 |  | 62 | 74 | 0.009782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2517-11_0_3_line_68 |  | 63 | 64 | 0.0087377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_2517-11_0_3_line_69 |  | 64 | 65 | 0.018171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_2517-11_0_3_line_70 |  | 66 | 67 | 0.051079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_2517-11_0_3_line_71 |  | 68 | 69 | 0.069903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2517-11_0_3_line_72 |  | 70 | 71 | 0.013209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2517-11_0_3_line_73 |  | 71 | 76 | 0.0083416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2517-11_0_3_line_74 |  | 73 | 74 | 0.0089535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2517-11_0_3_line_75 |  | 74 | 75 | 0.017633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2517-11_0_3_trafo_24 | 0.63 MVA 20/0.4 kV | 77 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2611025.1978 | 1227592.2041 | 2611014.818 | 1227579.0016
1 | 2611006.4043 | 1227568.2998 | 2611014.818 | 1227579.0016
2 | 2611025.1978 | 1227592.2041 | 2611026.8106 | 1227618.7876
3 | 2611025.1978 | 1227592.2041 | 2611004.6104 | 1227609.0794
4 | 2611025.1978 | 1227592.2041 | 2611033.9173 | 1227592.7277
5 | 2611006.4043 | 1227568.2998 | 2610989.014 | 1227582.8971
6 | 2611006.4043 | 1227568.2998 | 2610997.291 | 1227557.8145
7 | 2611026.8106 | 1227618.7876 | 2611027.0006 | 1227621.9186
8 | 2610986.7517 | 1227623.718 | 2611004.6104 | 1227609.0794
9 | 2611047.5322 | 1227593.5453 | 2611033.9173 | 1227592.7277
10 | 2610980.1838 | 1227590.3091 | 2610989.014 | 1227582.8971
11 | 2610985.3369 | 1227544.0606 | 2610997.291 | 1227557.8145
12 | 2611028.6982 | 1227649.9002 | 2611027.0006 | 1227621.9186
13 | 2610986.7517 | 1227623.718 | 2610978.9396 | 1227630.1215
14 | 2611049.2038 | 1227593.6457 | 2611047.5322 | 1227593.5453
15 | 2610980.1838 | 1227590.3091 | 2610973.1518 | 1227586.2494 | 2610966.5033 | 1227583.8024
16 | 2610971.9012 | 1227528.6019 | 2610985.3369 | 1227544.0606
17 | 2611028.6982 | 1227649.9002 | 2611030.2662 | 1227684.151
18 | 2611028.6982 | 1227649.9002 | 2611046.2333 | 1227651.1928
19 | 2610974.171 | 1227634.0303 | 2610978.9396 | 1227630.1215
20 | 2611116.7002 | 1227597.6989 | 2611049.2038 | 1227593.6457
21 | 2610971.9012 | 1227528.6019 | 2610959.7395 | 1227538.9367
22 | 2610971.9012 | 1227528.6019 | 2610964.0315 | 1227518.2521
23 | 2610876.1459 | 1227570.5389 | 2610867.6798 | 1227578.7969 | 2610860.4224 | 1227590.335 | 2610857.1489 | 1227599.2749
24 | 2610880.8197 | 1227565.9799 | 2610876.1459 | 1227570.5389
25 | 2610852.536 | 1227611.8728 | 2610857.1489 | 1227599.2749
26 | 2610880.8197 | 1227565.9799 | 2610895.847 | 1227552.8328
27 | 2610880.8197 | 1227565.9799 | 2610893.0579 | 1227580.0861
28 | 2610852.536 | 1227611.8728 | 2610848.6302 | 1227622.5396
29 | 2610907.3556 | 1227566.1617 | 2610895.847 | 1227552.8328
30 | 2610895.847 | 1227552.8328 | 2610910.5418 | 1227539.9764
31 | 2610841.0495 | 1227643.2423 | 2610848.6302 | 1227622.5396
32 | 2610910.5418 | 1227539.9764 | 2610933.4549 | 1227519.9299
33 | 2610841.0495 | 1227643.2423 | 2610839.953 | 1227646.1754 | 2610836.2749 | 1227656.2747 | 2610839.5847 | 1227657.0811 | 2610842.5292 | 1227658.7875 | 2610844.8813 | 1227661.2488 | 2610846.4368 | 1227664.2756 | 2610847.0748 | 1227667.6232 | 2610846.7504 | 1227671.0135 | 2610845.258 | 1227674.9909
34 | 2610806.3413 | 1227649.5721 | 2610814.1704 | 1227652.8438 | 2610824.247 | 1227653.5179 | 2610832.7004 | 1227650.9539 | 2610836.5479 | 1227647.8035 | 2610841.0495 | 1227643.2423
35 | 2610952.5796 | 1227503.196 | 2610940.4968 | 1227513.769 | 2610933.4549 | 1227519.9299
36 | 2610923.4139 | 1227615.0754 | 2610924.3215 | 1227616.1219
37 | 2610923.4139 | 1227615.0754 | 2610939.4356 | 1227601.304
38 | 2610936.8203 | 1227630.5313 | 2610924.3215 | 1227616.1219
39 | 2610952.5796 | 1227503.196 | 2610948.9205 | 1227498.5754 | 2610943.8023 | 1227492.1067
40 | 2610952.5796 | 1227503.196 | 2610955.0213 | 1227506.4023 | 2610964.0315 | 1227518.2521
41 | 2610943.8023 | 1227492.1067 | 2610919.152 | 1227493.7715
42 | 2610943.8023 | 1227492.1067 | 2610940.1 | 1227478.0027 | 2610942.6822 | 1227450.0356
43 | 2610909.2976 | 1227494.4371 | 2610919.152 | 1227493.7715
44 | 2610887.9888 | 1227495.8387 | 2610895.3985 | 1227495.3758 | 2610909.2976 | 1227494.4371
45 | 2610948.6117 | 1227548.393 | 2610959.7395 | 1227538.9367
46 | 2610804.3162 | 1227600.306 | 2610801.6502 | 1227595.4317 | 2610794.5864 | 1227589.4294
47 | 2610808.3279 | 1227611.0863 | 2610804.3162 | 1227600.306
48 | 2610804.3162 | 1227600.306 | 2610793.9929 | 1227606.1242 | 2610784.1202 | 1227611.5256
49 | 2610804.3162 | 1227600.306 | 2610810.601 | 1227594.4139 | 2610815.5004 | 1227587.7855 | 2610820.1893 | 1227580.2562 | 2610831.0052 | 1227559.515
50 | 2610808.3279 | 1227611.0863 | 2610822.1201 | 1227618.7602 | 2610816.0548 | 1227630.0137
51 | 2610776.8465 | 1227615.5051 | 2610784.1202 | 1227611.5256
52 | 2610816.0548 | 1227630.0137 | 2610814.6312 | 1227632.6549 | 2610814.3157 | 1227633.2398
53 | 2610806.3413 | 1227649.5721 | 2610812.1147 | 1227637.3198 | 2610814.3157 | 1227633.2398
54 | 2610936.8203 | 1227630.5313 | 2610946.5358 | 1227641.7332
55 | 2610936.8203 | 1227630.5313 | 2610950.7535 | 1227619.0914
56 | 2610946.5358 | 1227641.7332 | 2610951.7995 | 1227647.8022
57 | 2610900.48 | 1227665.2744 | 2610884.6535 | 1227646.72
58 | 2610871.5019 | 1227631.3016 | 2610884.6535 | 1227646.72
59 | 2610916.1983 | 1227683.702 | 2610900.48 | 1227665.2744
60 | 2610924.899 | 1227693.9025 | 2610916.1983 | 1227683.702
61 | 2610924.899 | 1227693.9025 | 2610931.9343 | 1227687.8229 | 2610948.1808 | 1227691.5325
62 | 2610927.1101 | 1227707.1366 | 2610928.1236 | 1227699.8563 | 2610924.899 | 1227693.9025
63 | 2610927.1101 | 1227707.1366 | 2610938.5915 | 1227710.3039 | 2610975.146 | 1227721.1846
64 | 2610927.1101 | 1227707.1366 | 2610892.0656 | 1227695.2094
65 | 2611028.4787 | 1227736.0952 | 2611026.111 | 1227750.3548 | 2611025.3537 | 1227756.0045
66 | 2611028.4787 | 1227736.0952 | 2611016.7464 | 1227733.4609 | 2610993.1111 | 1227726.5018
67 | 2610983.7274 | 1227723.7389 | 2610993.1111 | 1227726.5018
68 | 2610960.1175 | 1227645.5498 | 2610959.1977 | 1227646.3037 | 2610951.7995 | 1227647.8022 | 2610951.7995 | 1227647.8022
69 | 2610974.171 | 1227634.0303 | 2610960.1175 | 1227645.5498
70 | 2610845.258 | 1227674.9909 | 2610853.7074 | 1227678.7751 | 2610875.3514 | 1227689.5208 | 2610892.0656 | 1227695.2094
71 | 2611116.7002 | 1227597.6989 | 2611113.4027 | 1227586.1971 | 2611079.5791 | 1227539.1572
72 | 2610938.5462 | 1227556.9465 | 2610948.6117 | 1227548.393
73 | 2610938.5462 | 1227556.9465 | 2610943.5459 | 1227563.6237
74 | 2610983.7274 | 1227723.7389 | 2610975.146 | 1227721.1846
75 | 2610983.7274 | 1227723.7389 | 2610981.0673 | 1227741.1698

## bus_geodata
| x | y | coords
0 | 2611014.818 | 1227579.0016
1 | 2611025.1978 | 1227592.2041
2 | 2611006.4043 | 1227568.2998
3 | 2611026.8106 | 1227618.7876
4 | 2611004.6104 | 1227609.0794
5 | 2611033.9173 | 1227592.7277
6 | 2610989.014 | 1227582.8971
7 | 2610997.291 | 1227557.8145
8 | 2611027.0006 | 1227621.9186
9 | 2610986.7517 | 1227623.718
10 | 2611047.5322 | 1227593.5453
11 | 2610980.1838 | 1227590.3091
12 | 2610985.3369 | 1227544.0606
13 | 2611028.6982 | 1227649.9002
14 | 2610978.9396 | 1227630.1215
15 | 2611049.2038 | 1227593.6457
16 | 2610966.5033 | 1227583.8024
17 | 2610971.9012 | 1227528.6019
18 | 2610876.1459 | 1227570.5389
19 | 2610857.1489 | 1227599.2749
20 | 2610880.8197 | 1227565.9799
21 | 2610852.536 | 1227611.8728
22 | 2610895.847 | 1227552.8328
23 | 2610893.0579 | 1227580.0861
24 | 2610848.6302 | 1227622.5396
25 | 2610907.3556 | 1227566.1617
26 | 2610910.5418 | 1227539.9764
27 | 2610841.0495 | 1227643.2423
28 | 2610933.4549 | 1227519.9299
29 | 2610923.4139 | 1227615.0754
30 | 2610924.3215 | 1227616.1219
31 | 2610939.4356 | 1227601.304
32 | 2610952.5796 | 1227503.196
33 | 2610943.8023 | 1227492.1067
34 | 2610964.0315 | 1227518.2521
35 | 2610919.152 | 1227493.7715
36 | 2610942.6822 | 1227450.0356
37 | 2610909.2976 | 1227494.4371
38 | 2610959.7395 | 1227538.9367
39 | 2610794.5864 | 1227589.4294
40 | 2610804.3162 | 1227600.306
41 | 2610808.3279 | 1227611.0863
42 | 2610784.1202 | 1227611.5256
43 | 2610831.0052 | 1227559.515
44 | 2610816.0548 | 1227630.0137
45 | 2610776.8465 | 1227615.5051
46 | 2610806.3413 | 1227649.5721
47 | 2610814.3157 | 1227633.2398
48 | 2610936.8203 | 1227630.5313
49 | 2610946.5358 | 1227641.7332
50 | 2610950.7535 | 1227619.0914
51 | 2610884.6535 | 1227646.72
52 | 2610900.48 | 1227665.2744
53 | 2610871.5019 | 1227631.3016
54 | 2610916.1983 | 1227683.702
55 | 2610924.899 | 1227693.9025
56 | 2610948.1808 | 1227691.5325
57 | 2610927.1101 | 1227707.1366
58 | 2611030.2662 | 1227684.151
59 | 2611046.2333 | 1227651.1928
60 | 2611028.4787 | 1227736.0952
61 | 2611025.3537 | 1227756.0045
62 | 2610993.1111 | 1227726.5018
63 | 2610951.7995 | 1227647.8022
64 | 2610960.1175 | 1227645.5498
65 | 2610974.171 | 1227634.0303
66 | 2610845.258 | 1227674.9909
67 | 2610892.0656 | 1227695.2094
68 | 2611079.5791 | 1227539.1572
69 | 2611116.7002 | 1227597.6989
70 | 2610948.6117 | 1227548.393
71 | 2610938.5462 | 1227556.9465
72 | 2610887.9888 | 1227495.8387
73 | 2610975.146 | 1227721.1846
74 | 2610983.7274 | 1227723.7389
75 | 2610981.0673 | 1227741.1698
76 | 2610943.5459 | 1227563.6237
77 | 2610944.6716 | 1227596.8035

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98607 | -0.26551 | 0.0033461 | 0.00083861
1 | 0.9872 | -0.2437 | 0 | 0
2 | 0.98516 | -0.28295 | 0 | 0
3 | 0.98689 | -0.24981 | 0.0024296 | 0.00060892
4 | 0.98919 | -0.20532 | 0.0053387 | 0.001338
5 | 0.9871 | -0.24556 | 0.0026883 | 0.00067376
6 | 0.98491 | -0.28785 | 0.0064712 | 0.0016218
7 | 0.98429 | -0.29979 | 0.0025469 | 0.00063831
8 | 0.98686 | -0.25039 | 0.0019891 | 0.00049851
9 | 0.99096 | -0.17143 | 0.002489 | 0.00062379
10 | 0.98699 | -0.2478 | 0.0015149 | 0.00037966
11 | 0.98485 | -0.289 | 0 | 0
12 | 0.98317 | -0.32163 | 0.00559 | 0.001401
13 | 0.98664 | -0.25461 | 0.0023764 | 0.00059558
14 | 0.99175 | -0.15649 | 0.0043786 | 0.0010974
15 | 0.98698 | -0.24803 | 0.0017565 | 0.00044021
16 | 0.98478 | -0.29051 | 0.0055362 | 0.0013875
17 | 0.98193 | -0.34555 | 0 | 0
18 | 0.97664 | -0.44889 | 0.0025105 | 0.00062918
19 | 0.97555 | -0.47024 | 0.003212 | 0.00080501
20 | 0.97685 | -0.44481 | 0 | 0
21 | 0.97514 | -0.47818 | 0.0022873 | 0.00057326
22 | 0.9775 | -0.43203 | 0 | 0
23 | 0.9768 | -0.44575 | 0.002738 | 0.0006862
24 | 0.97481 | -0.48475 | 0.0050152 | 0.0012569
25 | 0.97738 | -0.43434 | 0.0071884 | 0.0018016
26 | 0.97818 | -0.41868 | 0.0066749 | 0.0016729
27 | 0.9742 | -0.49683 | 0 | 0
28 | 0.97931 | -0.39667 | 0.0068114 | 0.0017071
29 | 0.99809 | -0.035966 | 0 | 0
30 | 0.99797 | -0.03833 | 0.010755 | 0.0026955
31 | 1 | 0 | -0.29936 | -0.076655
32 | 0.9803 | -0.37729 | 0 | 0
33 | 0.97987 | -0.38578 | 0 | 0
34 | 0.98124 | -0.3591 | 0.01362 | 0.0034134
35 | 0.97944 | -0.39423 | 0.012737 | 0.0031922
36 | 0.97931 | -0.39687 | 0.014305 | 0.0035851
37 | 0.97938 | -0.39533 | 0.0018652 | 0.00046745
38 | 0.98162 | -0.3517 | 0.0045209 | 0.001133
39 | 0.97116 | -0.55675 | 0.006664 | 0.0016702
40 | 0.97125 | -0.55492 | 0 | 0
41 | 0.97147 | -0.55063 | 0 | 0
42 | 0.97099 | -0.56019 | 0.0092992 | 0.0023306
43 | 0.9712 | -0.55605 | 0.0012345 | 0.0003094
44 | 0.97201 | -0.53996 | 0.011568 | 0.0028993
45 | 0.97096 | -0.56066 | 0.0030336 | 0.00076028
46 | 0.97278 | -0.52471 | 0 | 0
47 | 0.97212 | -0.53781 | 0.0072717 | 0.0018225
48 | 0.99631 | -0.069728 | 0 | 0
49 | 0.99505 | -0.09355 | 0.0038131 | 0.00095564
50 | 0.99618 | -0.072124 | 0.0075677 | 0.0018966
51 | 0.97125 | -0.55502 | 0.0032654 | 0.00081839
52 | 0.97138 | -0.55246 | 0.0028924 | 0.00072491
53 | 0.9712 | -0.55592 | 0.0024066 | 0.00060315
54 | 0.97157 | -0.54863 | 0.0034749 | 0.00087089
55 | 0.97172 | -0.54565 | 0 | 0
56 | 0.97141 | -0.55173 | 0.012717 | 0.0031873
57 | 0.97205 | -0.5392 | 0 | 0
58 | 0.98657 | -0.25594 | 0.0021627 | 0.00054203
59 | 0.98658 | -0.25582 | 0.0038605 | 0.00096754
60 | 0.97091 | -0.56174 | 0 | 0
61 | 0.97086 | -0.56264 | 0.0023998 | 0.00060143
62 | 0.97099 | -0.56012 | 0.0079547 | 0.0019936
63 | 0.99438 | -0.1063 | 0.0096276 | 0.0024129
64 | 0.99368 | -0.11969 | 0.0035479 | 0.00088919
65 | 0.99223 | -0.14723 | 0.002622 | 0.00065714
66 | 0.97359 | -0.50875 | 0 | 0
67 | 0.97279 | -0.52458 | 0.0076212 | 0.0019101
68 | 0.98623 | -0.26264 | 0.0059288 | 0.0014859
69 | 0.98661 | -0.25521 | 0 | 0
70 | 0.98139 | -0.35613 | 0.014546 | 0.0036456
71 | 0.98137 | -0.35666 | 0 | 0
72 | 0.9793 | -0.39697 | 0.0042316 | 0.0010605
73 | 0.9712 | -0.55593 | 0.0041136 | 0.001031
74 | 0.97108 | -0.55824 | 0 | 0
75 | 0.97103 | -0.55943 | 0.0036324 | 0.00091037
76 | 0.98135 | -0.357 | 0.002227 | 0.00055814
77 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.21946 | -0.055728 | 0.21969 | 0.055875 | 0.0002306 | 0.00014694 | 0.33143 | 0.33143 | 0.33143 | 0.98607 | -0.26551 | 0.9872 | -0.2437 | 30.3509
1 | 0.21611 | 0.05489 | -0.21593 | -0.054774 | 0.00018127 | 0.00011549 | 0.32638 | 0.32638 | 0.32638 | 0.98607 | -0.26551 | 0.98516 | -0.28295 | 29.8885
2 | 0.012824 | 0.0032151 | -0.012821 | -0.003213 | 3.732e-06 | 2.0481e-06 | 0.019331 | 0.019331 | 0.019331 | 0.9872 | -0.2437 | 0.98689 | -0.24981 | 5.3107
3 | -0.24441 | -0.062072 | 0.24486 | 0.06236 | 0.00045231 | 0.00028846 | 0.36869 | 0.36869 | 0.36869 | 0.9872 | -0.2437 | 0.98919 | -0.20532 | 33.7629
4 | 0.011895 | 0.0029815 | -0.011894 | -0.0029809 | 1.053e-06 | 5.6224e-07 | 0.017929 | 0.017929 | 0.017929 | 0.9872 | -0.2437 | 0.9871 | -0.24556 | 4.9256
5 | 0.012011 | 0.003011 | -0.012008 | -0.0030095 | 2.8023e-06 | 1.5044e-06 | 0.018142 | 0.018142 | 0.018142 | 0.98516 | -0.28295 | 0.98491 | -0.28785 | 4.9841
6 | 0.20392 | 0.051763 | -0.20375 | -0.051658 | 0.00016499 | 0.00010506 | 0.30824 | 0.30824 | 0.30824 | 0.98516 | -0.28295 | 0.98429 | -0.29979 | 28.2272
7 | 0.010391 | 0.0026041 | -0.010391 | -0.002604 | 2.8874e-07 | 1.4472e-07 | 0.015668 | 0.015668 | 0.015668 | 0.98689 | -0.24981 | 0.98686 | -0.25039 | 4.3043
8 | -0.2502 | -0.063698 | 0.25061 | 0.06396 | 0.00040964 | 0.00026128 | 0.37672 | 0.37672 | 0.37672 | 0.98919 | -0.20532 | 0.99096 | -0.17143 | 34.4983
9 | 0.0092053 | 0.0023071 | -0.0092043 | -0.0023067 | 9.8492e-07 | 4.5602e-07 | 0.013877 | 0.013877 | 0.013877 | 0.9871 | -0.24556 | 0.98699 | -0.2478 | 3.8123
10 | 0.0055369 | 0.0013876 | -0.0055366 | -0.0013876 | 3.0253e-07 | 4.691e-08 | 0.0083652 | 0.0083653 | 0.0083653 | 0.98491 | -0.28785 | 0.98485 | -0.289 | 2.2982
11 | 0.20121 | 0.05102 | -0.201 | -0.050886 | 0.00021105 | 0.00013438 | 0.30439 | 0.30439 | 0.30439 | 0.98429 | -0.29979 | 0.98317 | -0.32163 | 27.8746
12 | 0.0084017 | 0.0021055 | -0.0084001 | -0.0021047 | 1.6871e-06 | 7.2167e-07 | 0.012668 | 0.012668 | 0.012668 | 0.98686 | -0.25039 | 0.98664 | -0.25461 | 3.4804
13 | -0.2531 | -0.064583 | 0.25328 | 0.0647 | 0.00018277 | 0.00011658 | 0.38046 | 0.38046 | 0.38046 | 0.99096 | -0.17143 | 0.99175 | -0.15649 | 34.8405
14 | 0.0076895 | 0.001927 | -0.0076894 | -0.001927 | 8.4398e-08 | 3.2613e-08 | 0.011593 | 0.011593 | 0.011593 | 0.98699 | -0.2478 | 0.98698 | -0.24803 | 3.1849
15 | 0.0055366 | 0.0013876 | -0.0055362 | -0.0013875 | 3.9899e-07 | 6.1896e-08 | 0.0083653 | 0.0083654 | 0.0083654 | 0.98485 | -0.289 | 0.98478 | -0.29051 | 2.2982
16 | 0.19541 | 0.049485 | -0.19518 | -0.049342 | 0.00022421 | 0.00014271 | 0.29593 | 0.29593 | 0.29593 | 0.98317 | -0.32163 | 0.98193 | -0.34555 | 27.0999
17 | 0.0021629 | 0.00054168 | -0.0021627 | -0.00054203 | 1.368e-07 | -3.5029e-07 | 0.0032618 | 0.003262 | 0.003262 | 0.98664 | -0.25461 | 0.98657 | -0.25594 | 0.89615
18 | 0.0038608 | 0.00096746 | -0.0038605 | -0.00096754 | 2.2354e-07 | -8.1467e-08 | 0.0058226 | 0.0058227 | 0.0058227 | 0.98664 | -0.25461 | 0.98658 | -0.25582 | 1.5996
19 | -0.25766 | -0.065797 | 0.25777 | 0.065871 | 0.00011545 | 7.3649e-05 | 0.38703 | 0.38703 | 0.38703 | 0.99175 | -0.15649 | 0.99223 | -0.14723 | 35.4421
20 | 0.0059329 | 0.0014868 | -0.0059309 | -0.0014864 | 2.0288e-06 | 4.3463e-07 | 0.0089448 | 0.0089451 | 0.0089451 | 0.98698 | -0.24803 | 0.98661 | -0.25521 | 2.4574
21 | 0.021304 | 0.0053425 | -0.021298 | -0.0053387 | 6.2382e-06 | 3.7907e-06 | 0.032285 | 0.032285 | 0.032285 | 0.98193 | -0.34555 | 0.98162 | -0.3517 | 8.8695
22 | 0.17388 | 0.043999 | -0.17377 | -0.043928 | 0.00011297 | 7.1807e-05 | 0.26365 | 0.26365 | 0.26365 | 0.98193 | -0.34555 | 0.98124 | -0.3591 | 24.1434
23 | 0.10051 | 0.025353 | -0.10041 | -0.025288 | 0.00010262 | 6.4364e-05 | 0.1532 | 0.1532 | 0.1532 | 0.97664 | -0.44889 | 0.97555 | -0.47024 | 14.0295
24 | -0.10302 | -0.025982 | 0.10304 | 0.025994 | 2.0124e-05 | 1.2634e-05 | 0.15703 | 0.15703 | 0.15703 | 0.97664 | -0.44889 | 0.97685 | -0.44481 | 14.3797
25 | 0.097198 | 0.024483 | -0.097162 | -0.02446 | 3.6883e-05 | 2.3103e-05 | 0.1483 | 0.1483 | 0.1483 | 0.97555 | -0.47024 | 0.97514 | -0.47818 | 13.5808
26 | -0.10578 | -0.026681 | 0.10585 | 0.026721 | 6.475e-05 | 4.0691e-05 | 0.1612 | 0.1612 | 0.1612 | 0.97685 | -0.44481 | 0.9775 | -0.43203 | 14.7616
27 | 0.0027381 | 0.00068604 | -0.002738 | -0.0006862 | 1.2183e-07 | -1.5581e-07 | 0.0041708 | 0.0041709 | 0.0041709 | 0.97685 | -0.44481 | 0.9768 | -0.44575 | 1.1459
28 | 0.094874 | 0.023887 | -0.094844 | -0.023868 | 2.9777e-05 | 1.8632e-05 | 0.14481 | 0.14481 | 0.14481 | 0.97514 | -0.47818 | 0.97481 | -0.48475 | 13.2612
29 | 0.0071892 | 0.0018019 | -0.0071884 | -0.0018016 | 7.9e-07 | 2.8514e-07 | 0.010944 | 0.010944 | 0.010944 | 0.9775 | -0.43203 | 0.97738 | -0.43434 | 3.0066
30 | -0.11304 | -0.028523 | 0.11311 | 0.028569 | 7.2321e-05 | 4.5551e-05 | 0.17214 | 0.17214 | 0.17214 | 0.9775 | -0.43203 | 0.97818 | -0.41868 | 15.7638
31 | 0.089829 | 0.022611 | -0.089777 | -0.022579 | 5.1844e-05 | 3.2356e-05 | 0.13716 | 0.13716 | 0.13716 | 0.97481 | -0.48475 | 0.9742 | -0.49683 | 12.5602
32 | -0.11978 | -0.030242 | 0.11991 | 0.030321 | 0.00012646 | 7.9789e-05 | 0.18229 | 0.18229 | 0.18229 | 0.97818 | -0.41868 | 0.97931 | -0.39667 | 16.6936
33 | 0.050608 | 0.012727 | -0.050579 | -0.01271 | 2.8812e-05 | 1.7e-05 | 0.077316 | 0.077316 | 0.077316 | 0.9742 | -0.49683 | 0.97359 | -0.50875 | 7.0802
34 | 0.039169 | 0.0098525 | -0.039117 | -0.0098197 | 5.2103e-05 | 3.2863e-05 | 0.059842 | 0.059842 | 0.059842 | 0.9742 | -0.49683 | 0.97278 | -0.52471 | 16.44
35 | -0.12672 | -0.032028 | 0.12684 | 0.032103 | 0.00011789 | 7.4486e-05 | 0.19264 | 0.19264 | 0.19264 | 0.97931 | -0.39667 | 0.9803 | -0.37729 | 17.6413
36 | 0.29719 | 0.076322 | -0.29715 | -0.076301 | 3.4092e-05 | 2.1765e-05 | 0.44372 | 0.44372 | 0.44372 | 0.99809 | -0.035966 | 0.99797 | -0.03833 | 40.6337
37 | -0.29719 | -0.076322 | 0.29771 | 0.076654 | 0.00051995 | 0.00033194 | 0.44372 | 0.44372 | 0.44372 | 0.99809 | -0.035966 | 1 | 0 | 40.6337
38 | 0.2864 | 0.073605 | -0.28596 | -0.073327 | 0.00043613 | 0.00027838 | 0.42768 | 0.42768 | 0.42768 | 0.99797 | -0.03833 | 0.99631 | -0.069728 | 39.1653
39 | 0.033168 | 0.0083225 | -0.033154 | -0.0083141 | 1.3431e-05 | 8.4175e-06 | 0.050349 | 0.050349 | 0.050349 | 0.9803 | -0.37729 | 0.97987 | -0.38578 | 13.8321
40 | -0.16001 | -0.040425 | 0.16015 | 0.040514 | 0.00013962 | 8.8638e-05 | 0.24299 | 0.24299 | 0.24299 | 0.9803 | -0.37729 | 0.98124 | -0.3591 | 22.252
41 | 0.018842 | 0.0047247 | -0.018834 | -0.0047202 | 7.5858e-06 | 4.5438e-06 | 0.028614 | 0.028614 | 0.028614 | 0.97987 | -0.38578 | 0.97944 | -0.39423 | 7.861
42 | 0.014312 | 0.0035894 | -0.014305 | -0.0035851 | 7.5589e-06 | 4.3005e-06 | 0.021735 | 0.021735 | 0.021735 | 0.97987 | -0.38578 | 0.97931 | -0.39687 | 5.9712
43 | 0.0060975 | 0.001528 | -0.0060971 | -0.0015279 | 3.1784e-07 | 7.9118e-08 | 0.0092635 | 0.0092636 | 0.0092636 | 0.97944 | -0.39423 | 0.97938 | -0.39533 | 2.5449
44 | 0.004232 | 0.0010605 | -0.0042316 | -0.0010605 | 3.3107e-07 | -5.6819e-08 | 0.0064297 | 0.0064298 | 0.0064298 | 0.97938 | -0.39533 | 0.9793 | -0.39697 | 1.7664
45 | 0.016777 | 0.0042056 | -0.016773 | -0.0042036 | 3.5419e-06 | 2.0823e-06 | 0.025432 | 0.025432 | 0.025432 | 0.98162 | -0.3517 | 0.98139 | -0.35613 | 6.9868
46 | -0.006664 | -0.0016702 | 0.0066646 | 0.0016704 | 5.7962e-07 | 1.875e-07 | 0.010211 | 0.010211 | 0.010211 | 0.97116 | -0.55675 | 0.97125 | -0.55492 | 2.8051
47 | -0.020235 | -0.0050717 | 0.020239 | 0.0050742 | 4.1447e-06 | 2.5103e-06 | 0.031002 | 0.031001 | 0.031002 | 0.97125 | -0.55492 | 0.97147 | -0.55063 | 8.5169
48 | 0.012336 | 0.0030925 | -0.012333 | -0.0030908 | 3.0947e-06 | 1.6948e-06 | 0.0189 | 0.0189 | 0.0189 | 0.97125 | -0.55492 | 0.97099 | -0.56019 | 5.1923
49 | 0.0012346 | 0.00030883 | -0.0012345 | -0.0003094 | 6.589e-08 | -5.6569e-07 | 0.0018912 | 0.0018914 | 0.0018914 | 0.97125 | -0.55492 | 0.9712 | -0.55605 | 0.51963
50 | -0.020239 | -0.0050742 | 0.02025 | 0.0050804 | 1.0296e-05 | 6.2354e-06 | 0.031001 | 0.031001 | 0.031001 | 0.97147 | -0.55063 | 0.97201 | -0.53996 | 8.5169
51 | 0.0030336 | 0.00076022 | -0.0030336 | -0.00076028 | 6.7198e-08 | -5.9544e-08 | 0.0046489 | 0.004649 | 0.004649 | 0.97099 | -0.56019 | 0.97096 | -0.56066 | 1.2772
52 | -0.031818 | -0.0079798 | 0.031821 | 0.0079818 | 3.2611e-06 | 2.0417e-06 | 0.048711 | 0.048711 | 0.048711 | 0.97201 | -0.53996 | 0.97212 | -0.53781 | 13.3821
53 | 0.039117 | 0.0098197 | -0.039093 | -0.0098043 | 2.4414e-05 | 1.5399e-05 | 0.059842 | 0.059842 | 0.059842 | 0.97278 | -0.52471 | 0.97212 | -0.53781 | 16.44
54 | 0.27839 | 0.07143 | -0.27807 | -0.071225 | 0.00032135 | 0.00020509 | 0.41638 | 0.41638 | 0.41638 | 0.99631 | -0.069728 | 0.99505 | -0.09355 | 38.1301
55 | 0.0075685 | 0.001897 | -0.0075677 | -0.0018966 | 8.6384e-07 | 3.1812e-07 | 0.011304 | 0.011304 | 0.011304 | 0.99631 | -0.069728 | 0.99618 | -0.072124 | 3.1055
56 | 0.27426 | 0.070269 | -0.27409 | -0.070161 | 0.00016937 | 0.00010808 | 0.41068 | 0.41068 | 0.41068 | 0.99505 | -0.09355 | 0.99438 | -0.1063 | 37.608
57 | -0.0056721 | -0.0014214 | 0.0056728 | 0.0014215 | 6.9061e-07 | 1.4014e-07 | 0.00869 | 0.0086899 | 0.00869 | 0.97125 | -0.55502 | 0.97138 | -0.55246 | 2.3874
58 | 0.0024067 | 0.00060297 | -0.0024066 | -0.00060315 | 1.0332e-07 | -1.8466e-07 | 0.0036872 | 0.0036872 | 0.0036872 | 0.97125 | -0.55502 | 0.9712 | -0.55592 | 1.013
59 | -0.0085653 | -0.0021464 | 0.0085668 | 0.0021471 | 1.5636e-06 | 7.0082e-07 | 0.013121 | 0.013121 | 0.013121 | 0.97138 | -0.55246 | 0.97157 | -0.54863 | 3.6046
60 | -0.012042 | -0.003018 | 0.012043 | 0.0030189 | 1.7101e-06 | 9.2838e-07 | 0.018443 | 0.018443 | 0.018443 | 0.97157 | -0.54863 | 0.97172 | -0.54565 | 5.0667
61 | 0.012721 | 0.0031893 | -0.012717 | -0.0031873 | 3.6859e-06 | 2.0382e-06 | 0.01948 | 0.01948 | 0.01948 | 0.97172 | -0.54565 | 0.97141 | -0.55173 | 5.3518
62 | -0.024764 | -0.0062082 | 0.024772 | 0.0062129 | 7.6139e-06 | 4.6979e-06 | 0.037923 | 0.037923 | 0.037923 | 0.97172 | -0.54565 | 0.97205 | -0.5392 | 10.4184
63 | 0.018118 | 0.0045458 | -0.018103 | -0.0045371 | 1.4439e-05 | 8.6213e-06 | 0.027737 | 0.027737 | 0.027737 | 0.97205 | -0.5392 | 0.9712 | -0.55593 | 7.62
64 | -0.04289 | -0.010759 | 0.04292 | 0.010777 | 2.9924e-05 | 1.8233e-05 | 0.06566 | 0.065659 | 0.06566 | 0.97205 | -0.5392 | 0.97279 | -0.52458 | 9.0192
65 | 0.0023999 | 0.00060125 | -0.0023998 | -0.00060143 | 1.0224e-07 | -1.8381e-07 | 0.0036779 | 0.003678 | 0.003678 | 0.97091 | -0.56174 | 0.97086 | -0.56264 | 1.0104
66 | -0.0023999 | -0.00060125 | 0.0024 | 0.00060092 | 1.8597e-07 | -3.3443e-07 | 0.0036779 | 0.0036778 | 0.0036779 | 0.97091 | -0.56174 | 0.97099 | -0.56012 | 1.0104
67 | -0.010355 | -0.0025946 | 0.010356 | 0.002595 | 9.2365e-07 | 4.7013e-07 | 0.015868 | 0.015868 | 0.015868 | 0.97099 | -0.56012 | 0.97108 | -0.55824 | 4.3594
68 | 0.26446 | 0.067748 | -0.26429 | -0.067639 | 0.00017151 | 0.00010943 | 0.39627 | 0.39627 | 0.39627 | 0.99438 | -0.1063 | 0.99368 | -0.11969 | 36.2887
69 | 0.26074 | 0.06675 | -0.2604 | -0.066528 | 0.00034719 | 0.00022149 | 0.39096 | 0.39096 | 0.39096 | 0.99368 | -0.11969 | 0.99223 | -0.14723 | 35.8022
70 | 0.050579 | 0.01271 | -0.050541 | -0.012687 | 3.8168e-05 | 2.2523e-05 | 0.077316 | 0.077317 | 0.077317 | 0.97359 | -0.50875 | 0.97279 | -0.52458 | 7.0803
71 | -0.0059288 | -0.0014859 | 0.0059309 | 0.0014864 | 2.0975e-06 | 4.5009e-07 | 0.0089454 | 0.0089451 | 0.0089454 | 0.98623 | -0.26264 | 0.98661 | -0.25521 | 2.4575
72 | 0.0022271 | 0.00055793 | -0.002227 | -0.00055806 | 5.648e-08 | -1.3075e-07 | 0.0033767 | 0.0033768 | 0.0033768 | 0.98139 | -0.35613 | 0.98137 | -0.35666 | 0.92768
73 | 0.002227 | 0.00055806 | -0.002227 | -0.00055814 | 3.5669e-08 | -8.2566e-08 | 0.0033768 | 0.0033768 | 0.0033768 | 0.98137 | -0.35666 | 0.98135 | -0.357 | 0.92769
74 | 0.01399 | 0.0035062 | -0.013988 | -0.0035053 | 1.5426e-06 | 8.7647e-07 | 0.021434 | 0.021434 | 0.021434 | 0.9712 | -0.55593 | 0.97108 | -0.55824 | 5.8886
75 | 0.0036326 | 0.00091028 | -0.0036324 | -0.00091037 | 2.0488e-07 | -8.7011e-08 | 0.0055663 | 0.0055664 | 0.0055664 | 0.97108 | -0.55824 | 0.97103 | -0.55943 | 1.5292

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.30607 | 0.078336

## res_load
| p_mw | q_mvar
0 | 0.0033461 | 0.00083861
1 | 0.0024296 | 0.00060892
2 | 0.0053387 | 0.001338
3 | 0.0026883 | 0.00067376
4 | 0.0064712 | 0.0016218
5 | 0.0025469 | 0.00063831
6 | 0.0019891 | 0.00049851
7 | 0.002489 | 0.00062379
8 | 0.0015149 | 0.00037966
9 | 0.00559 | 0.001401
10 | 0.0023764 | 0.00059558
11 | 0.0043786 | 0.0010974
12 | 0.0017565 | 0.00044021
13 | 0.0055362 | 0.0013875
14 | 0.0025105 | 0.00062918
15 | 0.003212 | 0.00080501
16 | 0.0022873 | 0.00057326
17 | 0.002738 | 0.0006862
18 | 0.0050152 | 0.0012569
19 | 0.0071884 | 0.0018016
20 | 0.0066749 | 0.0016729
21 | 0.0068114 | 0.0017071
22 | 0.010755 | 0.0026955
23 | 0.0067091 | 0.0016815
24 | 0.01362 | 0.0034134
25 | 0.012737 | 0.0031922
26 | 0.014305 | 0.0035851
27 | 0.0018652 | 0.00046745
28 | 0.0045209 | 0.001133
29 | 0.006664 | 0.0016702
30 | 0.0092992 | 0.0023306
31 | 0.0012345 | 0.0003094
32 | 0.011568 | 0.0028993
33 | 0.0030336 | 0.00076028
34 | 0.0072717 | 0.0018225
35 | 0.0038131 | 0.00095564
36 | 0.0075677 | 0.0018966
37 | 0.0032654 | 0.00081839
38 | 0.0028924 | 0.00072491
39 | 0.0024066 | 0.00060315
40 | 0.0034749 | 0.00087089
41 | 0.012717 | 0.0031873
42 | 0.0021627 | 0.00054203
43 | 0.0038605 | 0.00096754
44 | 0.0023998 | 0.00060143
45 | 0.0079547 | 0.0019936
46 | 0.0096276 | 0.0024129
47 | 0.0035479 | 0.00088919
48 | 0.002622 | 0.00065714
49 | 0.0076212 | 0.0019101
50 | 0.0059288 | 0.0014859
51 | 0.014546 | 0.0036456
52 | 0.0042316 | 0.0010605
53 | 0.0041136 | 0.001031
54 | 0.0036324 | 0.00091037
55 | 0.002227 | 0.00055814

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1