## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2517-14_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2517-14_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2517-14_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2517-14_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2517-14_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2517-14_0_5_node_49 | 0.4 | n |  | TRUE
6 | bus_LV_2517-14_0_5_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_2517-14_0_5_node_62 | 0.4 | n |  | TRUE
8 | bus_LV_2517-14_0_5_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_2517-14_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2517-14_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2517-14_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2517-14_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2517-14_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2517-14_0_5_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_2517-14_0_5_node_60 | 0.4 | n |  | TRUE
16 | bus_LV_2517-14_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2517-14_0_5_node_54 | 0.4 | n |  | TRUE
18 | bus_LV_2517-14_0_5_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_2517-14_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2517-14_0_5_node_89 | 0.4 | n |  | TRUE
21 | bus_LV_2517-14_0_5_node_91 | 0.4 | n |  | TRUE
22 | bus_LV_2517-14_0_5_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_2517-14_0_5_node_61 | 0.4 | n |  | TRUE
24 | bus_LV_2517-14_0_5_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_2517-14_0_5_node_73 | 0.4 | n |  | TRUE
26 | bus_LV_2517-14_0_5_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_2517-14_0_5_node_92 | 0.4 | n |  | TRUE
28 | bus_LV_2517-14_0_5_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_2517-14_0_5_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_2517-14_0_5_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_2517-14_0_5_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_2517-14_0_5_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_2517-14_0_5_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_2517-14_0_5_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_2517-14_0_5_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_2517-14_0_5_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_2517-14_0_5_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_2517-14_0_5_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_2517-14_0_5_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_2517-14_0_5_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_2517-14_0_5_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_2517-14_0_5_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_2517-14_0_5_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_2517-14_0_5_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_2517-14_0_5_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_2517-14_0_5_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_2517-14_0_5_node_75 | 0.4 | n |  | TRUE
48 | bus_LV_2517-14_0_5_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_2517-14_0_5_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_2517-14_0_5_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_2517-14_0_5_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_2517-14_0_5_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_2517-14_0_5_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_2517-14_0_5_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_2517-14_0_5_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_2517-14_0_5_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_2517-14_0_5_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_2517-14_0_5_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_2517-14_0_5_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_2517-14_0_5_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_2517-14_0_5_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_2517-14_0_5_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_2517-14_0_5_node_84 | 0.4 | n |  | TRUE
64 | bus_LV_2517-14_0_5_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_2517-14_0_5_node_85 | 0.4 | n |  | TRUE
66 | bus_LV_2517-14_0_5_node_93 | 0.4 | n |  | TRUE
67 | bus_LV_2517-14_0_5_node_83 | 0.4 | n |  | TRUE
68 | bus_LV_2517-14_0_5_node_94 | 0.4 | n |  | TRUE
69 | bus_LV_2517-14_0_5_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_2517-14_0_5_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_2517-14_0_5_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_2517-14_0_5_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_2517-14_0_5_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_2517-14_0_5_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_2517-14_0_5_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_2517-14_0_5_node_81 | 0.4 | n |  | TRUE
77 | bus_LV_2517-14_0_5_node_88 | 0.4 | n |  | TRUE
78 | bus_LV_2517-14_0_5_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_2517-14_0_5_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_2517-14_0_5_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_2517-14_0_5_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_2517-14_0_5_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_2517-14_0_5_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_2517-14_0_5_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_2517-14_0_5_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_2517-14_0_5_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_2517-14_0_5_node_95 | 0.4 | n |  | TRUE
88 | bus_LV_2517-14_0_5_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_2517-14_0_5_node_78 | 0.4 | n |  | TRUE
90 | bus_MV_392_0_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2517-14_0_5_load_0 | 0 | 0.0061412 | 0.0015391 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2517-14_0_5_load_1 | 1 | 0.0021497 | 0.00053878 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2517-14_0_5_load_3 | 3 | 0.0013825 | 0.0003465 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2517-14_0_5_load_4 | 4 | 0.001125 | 0.00028194 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2517-14_0_5_load_49 | 5 | 0.0061053 | 0.0015301 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2517-14_0_5_load_62 | 7 | 0.0025906 | 0.00064925 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2517-14_0_5_load_36 | 8 | 0.0030434 | 0.00076274 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2517-14_0_5_load_5 | 9 | 0.0023851 | 0.00059777 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2517-14_0_5_load_6 | 10 | 0.004521 | 0.0011331 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2517-14_0_5_load_22 | 14 | 0.0039693 | 0.00099481 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2517-14_0_5_load_54 | 17 | 0.011095 | 0.0027807 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2517-14_0_5_load_46 | 18 | 0.0048914 | 0.0012259 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2517-14_0_5_load_89 | 20 | 0.0077506 | 0.0019425 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2517-14_0_5_load_91 | 21 | 0.0025762 | 0.00064565 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2517-14_0_5_load_61 | 23 | 0.0024254 | 0.00060786 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2517-14_0_5_load_27 | 24 | 0.0095955 | 0.0024048 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2517-14_0_5_load_73 | 25 | 0.0071335 | 0.0017878 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2517-14_0_5_load_92 | 27 | 0.0046473 | 0.0011647 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2517-14_0_5_load_12 | 28 | 0.0021005 | 0.00052643 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2517-14_0_5_load_13 | 29 | 0.0016614 | 0.00041638 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2517-14_0_5_load_14 | 30 | 0.0016445 | 0.00041215 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2517-14_0_5_load_15 | 31 | 0.001587 | 0.00039775 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2517-14_0_5_load_16 | 32 | 0.0012448 | 0.00031197 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2517-14_0_5_load_34 | 34 | 0.0016853 | 0.00042237 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2517-14_0_5_load_23 | 35 | 0.001399 | 0.00035062 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2517-14_0_5_load_35 | 36 | 0.0018858 | 0.00047263 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2517-14_0_5_load_17 | 37 | 0.00057812 | 0.00014489 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2517-14_0_5_load_18 | 38 | 0.0068648 | 0.0017205 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2517-14_0_5_load_20 | 39 | 0.00095286 | 0.00023881 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2517-14_0_5_load_21 | 40 | 0.0059915 | 0.0015016 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2517-14_0_5_load_41 | 43 | 0.0032078 | 0.00080394 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2517-14_0_5_load_24 | 44 | 0.0010872 | 0.00027248 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2517-14_0_5_load_75 | 47 | 0.0010467 | 0.00026232 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2517-14_0_5_load_29 | 50 | 0.0012258 | 0.0003072 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2517-14_0_5_load_47 | 51 | 0.0012296 | 0.00030816 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2517-14_0_5_load_74 | 52 | 0.0061772 | 0.0015482 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2517-14_0_5_load_28 | 53 | 0.010503 | 0.0026323 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2517-14_0_5_load_52 | 54 | 0.0032046 | 0.00080315 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2517-14_0_5_load_32 | 55 | 0.0031417 | 0.00078738 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2517-14_0_5_load_31 | 56 | 0.0046708 | 0.0011706 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2517-14_0_5_load_50 | 57 | 0.0032036 | 0.0008029 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2517-14_0_5_load_37 | 58 | 0.0012877 | 0.00032272 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2517-14_0_5_load_38 | 59 | 0.0025057 | 0.00062798 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2517-14_0_5_load_40 | 60 | 0.0020654 | 0.00051764 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2517-14_0_5_load_66 | 61 | 0.0036394 | 0.00091213 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2517-14_0_5_load_67 | 62 | 0.0023195 | 0.00058133 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2517-14_0_5_load_82 | 64 | 0.084443 | 0.021163 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2517-14_0_5_load_93 | 66 | 0.021843 | 0.0054744 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2517-14_0_5_load_83 | 67 | 0.0037425 | 0.00093796 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2517-14_0_5_load_94 | 68 | 0.014669 | 0.0036763 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2517-14_0_5_load_63 | 69 | 0.001206 | 0.00030224 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2517-14_0_5_load_51 | 70 | 0.0032044 | 0.00080309 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2517-14_0_5_load_53 | 71 | 0.0032056 | 0.0008034 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2517-14_0_5_load_55 | 72 | 0.0066635 | 0.00167 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2517-14_0_5_load_81 | 76 | 0.0093029 | 0.0023315 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2517-14_0_5_load_88 | 77 | 0.0031525 | 0.00079008 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2517-14_0_5_load_69 | 78 | 0.013834 | 0.0034671 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2517-14_0_5_load_68 | 80 | 0.036355 | 0.0091114 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2517-14_0_5_load_80 | 85 | 0.04815 | 0.012068 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2517-14_0_5_load_86 | 86 | 0.08179 | 0.020498 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2517-14_0_5_load_95 | 87 | 0.012181 | 0.003053 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2517-14_0_5_load_76 | 88 | 0.0072666 | 0.0018212 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2517-14_0_5_load_78 | 89 | 0.0054444 | 0.0013645 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2517-14_0_5_line_0 |  | 0 | 1 | 0.014208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_2517-14_0_5_line_1 |  | 0 | 2 | 0.0060659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_2517-14_0_5_line_2 |  | 1 | 3 | 0.017012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_2517-14_0_5_line_3 |  | 2 | 4 | 0.03281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_2517-14_0_5_line_4 |  | 3 | 5 | 0.0027358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_2517-14_0_5_line_5 |  | 4 | 6 | 0.028606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_2517-14_0_5_line_6 |  | 5 | 7 | 0.016278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2517-14_0_5_line_7 |  | 6 | 8 | 0.0031702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_2517-14_0_5_line_8 |  | 7 | 69 | 0.013871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2517-14_0_5_line_9 |  | 8 | 36 | 0.013159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_2517-14_0_5_line_10 |  | 9 | 10 | 0.0058983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2517-14_0_5_line_11 |  | 9 | 11 | 0.014434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2517-14_0_5_line_12 |  | 10 | 12 | 0.0079578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2517-14_0_5_line_13 |  | 11 | 13 | 0.047364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2517-14_0_5_line_14 |  | 12 | 14 | 0.029401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_2517-14_0_5_line_15 |  | 12 | 15 | 0.046056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_2517-14_0_5_line_16 |  | 13 | 19 | 0.018416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2517-14_0_5_line_17 |  | 13 | 20 | 0.020104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2517-14_0_5_line_18 |  | 14 | 22 | 0.016516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_2517-14_0_5_line_19 |  | 15 | 23 | 0.015602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2517-14_0_5_line_20 |  | 15 | 24 | 0.03396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_2517-14_0_5_line_21 |  | 16 | 17 | 0.017704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2517-14_0_5_line_22 |  | 16 | 18 | 0.038618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2517-14_0_5_line_23 |  | 17 | 25 | 0.022582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2517-14_0_5_line_24 |  | 18 | 26 | 0.0072096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2517-14_0_5_line_25 |  | 19 | 21 | 0.015376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2517-14_0_5_line_26 |  | 21 | 27 | 0.0094675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2517-14_0_5_line_27 |  | 22 | 40 | 0.023079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2517-14_0_5_line_28 |  | 22 | 37 | 0.0064661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_2517-14_0_5_line_29 |  | 23 | 62 | 0.0016139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2517-14_0_5_line_30 |  | 24 | 33 | 0.041366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_2517-14_0_5_line_31 |  | 26 | 43 | 0.036142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2517-14_0_5_line_32 |  | 28 | 29 | 0.026537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_2517-14_0_5_line_33 |  | 28 | 30 | 0.0032434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_2517-14_0_5_line_34 |  | 29 | 31 | 0.001095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_2517-14_0_5_line_35 |  | 30 | 32 | 0.020625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_2517-14_0_5_line_36 |  | 31 | 33 | 0.015152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_2517-14_0_5_line_37 |  | 32 | 34 | 0.00087149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_2517-14_0_5_line_38 |  | 33 | 35 | 0.026518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2517-14_0_5_line_39 |  | 34 | 36 | 0.017722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_2517-14_0_5_line_40 |  | 35 | 44 | 0.021813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2517-14_0_5_line_41 |  | 37 | 38 | 0.082694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_2517-14_0_5_line_42 |  | 38 | 39 | 0.046811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_2517-14_0_5_line_43 |  | 39 | 41 | 0.027525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_2517-14_0_5_line_44 |  | 41 | 42 | 0.048165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_2517-14_0_5_line_45 |  | 41 | 43 | 0.051289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2517-14_0_5_line_46 |  | 42 | 63 | 0.015601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_2517-14_0_5_line_47 |  | 42 | 64 | 0.040151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_2517-14_0_5_line_48 |  | 45 | 46 | 0.025031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2517-14_0_5_line_49 |  | 45 | 47 | 0.021989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2517-14_0_5_line_50 |  | 46 | 51 | 0.018956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2517-14_0_5_line_51 |  | 46 | 48 | 0.021368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2517-14_0_5_line_52 |  | 47 | 52 | 0.019012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2517-14_0_5_line_53 |  | 48 | 49 | 0.098692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2517-14_0_5_line_54 |  | 48 | 50 | 0.02357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2517-14_0_5_line_55 |  | 49 | 54 | 0.035613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2517-14_0_5_line_56 |  | 49 | 55 | 0.014892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2517-14_0_5_line_57 |  | 50 | 53 | 0.00040083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2517-14_0_5_line_58 |  | 52 | 69 | 0.010875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2517-14_0_5_line_59 |  | 54 | 57 | 0.013205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2517-14_0_5_line_60 |  | 55 | 56 | 0.015565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2517-14_0_5_line_61 |  | 57 | 70 | 0.015502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2517-14_0_5_line_62 |  | 58 | 59 | 0.020854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2517-14_0_5_line_63 |  | 59 | 60 | 0.0075785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2517-14_0_5_line_64 |  | 60 | 61 | 0.012445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2517-14_0_5_line_65 |  | 61 | 62 | 0.026263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2517-14_0_5_line_66 |  | 63 | 65 | 0.005135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_2517-14_0_5_line_67 |  | 63 | 66 | 0.029264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2517-14_0_5_line_68 |  | 64 | 67 | 0.0084039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_2517-14_0_5_line_69 |  | 65 | 87 | 0.025874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2517-14_0_5_line_70 |  | 65 | 83 | 0.048086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_2517-14_0_5_line_71 |  | 66 | 68 | 0.065373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2517-14_0_5_line_72 |  | 67 | 88 | 0.063726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2517-14_0_5_line_73 |  | 70 | 71 | 0.013199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2517-14_0_5_line_74 |  | 72 | 73 | 0.035939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2517-14_0_5_line_75 |  | 73 | 74 | 0.070387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2517-14_0_5_line_76 |  | 74 | 78 | 0.075439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2517-14_0_5_line_77 |  | 75 | 76 | 0.020948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2517-14_0_5_line_78 |  | 75 | 77 | 0.039749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2517-14_0_5_line_79 |  | 76 | 79 | 0.010064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2517-14_0_5_line_80 |  | 78 | 80 | 0.0043402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2517-14_0_5_line_81 |  | 79 | 85 | 0.035298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2517-14_0_5_line_82 |  | 79 | 89 | 0.019968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2517-14_0_5_line_83 |  | 80 | 81 | 0.010126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2517-14_0_5_line_84 |  | 81 | 82 | 0.016015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2517-14_0_5_line_85 |  | 81 | 83 | 0.02457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2517-14_0_5_line_86 |  | 82 | 84 | 0.031675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2517-14_0_5_line_87 |  | 83 | 85 | 0.024573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2517-14_0_5_line_88 |  | 84 | 86 | 0.026427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2517-14_0_5_trafo_83 | 0.63 MVA 20/0.4 kV | 90 | 67 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2611503.0874 | 1227023.5758 | 2611496.9588 | 1227036.394
1 | 2611505.7039 | 1227018.1032 | 2611503.0874 | 1227023.5758
2 | 2611496.9588 | 1227036.394 | 2611489.6209 | 1227051.7415
3 | 2611505.7039 | 1227018.1032 | 2611478.6714 | 1226999.5086
4 | 2611488.4408 | 1227054.2097 | 2611489.6209 | 1227051.7415
5 | 2611455.103 | 1226983.2967 | 2611478.6714 | 1226999.5086
6 | 2611488.4408 | 1227054.2097 | 2611481.4194 | 1227068.8951
7 | 2611455.103 | 1226983.2967 | 2611453.2801 | 1226985.8904
8 | 2611475.5082 | 1227081.4397 | 2611475.8473 | 1227080.5494 | 2611481.4194 | 1227068.8951
9 | 2611453.2801 | 1226985.8904 | 2611445.714 | 1226996.6564
10 | 2611315.143 | 1226958.8065 | 2611318.02 | 1226963.9556
11 | 2611308.1028 | 1226946.2063 | 2611315.143 | 1226958.8065
12 | 2611321.9015 | 1226970.9025 | 2611318.02 | 1226963.9556
13 | 2611308.1028 | 1226946.2063 | 2611340.4393 | 1226918.1732 | 2611339.1897 | 1226913.7794
14 | 2611321.9015 | 1226970.9025 | 2611303.4193 | 1226993.7685
15 | 2611321.9015 | 1226970.9025 | 2611334.3244 | 1226989.7261 | 2611348.3992 | 1227008.5972
16 | 2611350.8994 | 1226909.0988 | 2611340.4393 | 1226918.1732 | 2611339.1897 | 1226913.7794
17 | 2611339.1897 | 1226913.7794 | 2611319.9372 | 1226919.5675
18 | 2611293.0368 | 1227006.6135 | 2611303.4193 | 1226993.7685
19 | 2611348.3992 | 1227008.5972 | 2611359.949 | 1226998.1071
20 | 2611348.3992 | 1227008.5972 | 2611362.818 | 1227025.857 | 2611370.1732 | 1227034.6587
21 | 2611251.4983 | 1226915.3148 | 2611260.6365 | 1226928.0172 | 2611260.6984 | 1226930.0721
22 | 2611251.4983 | 1226915.3148 | 2611239.4075 | 1226925.1867 | 2611221.5848 | 1226939.7388
23 | 2611261.3783 | 1226952.6442 | 2611260.6984 | 1226930.0721
24 | 2611216.0003 | 1226944.2985 | 2611221.5848 | 1226939.7388
25 | 2611350.8994 | 1226909.0988 | 2611361.2998 | 1226920.4239
26 | 2611367.7037 | 1226927.3971 | 2611361.2998 | 1226920.4239
27 | 2611293.0368 | 1227006.6135 | 2611311.4664 | 1227020.5054
28 | 2611293.0368 | 1227006.6135 | 2611288.9698 | 1227011.6404
29 | 2611359.949 | 1226998.1071 | 2611361.1436 | 1226997.0221
30 | 2611396.6985 | 1227066.4009 | 2611370.1732 | 1227034.6587
31 | 2611216.0003 | 1226944.2985 | 2611204.0897 | 1226963.2207 | 2611200.3881 | 1226976.4972
32 | 2611421.2992 | 1227031.3963 | 2611406.0406 | 1227053.1079
33 | 2611421.2992 | 1227031.3963 | 2611423.1641 | 1227028.7427
34 | 2611405.411 | 1227054.0038 | 2611406.0406 | 1227053.1079
35 | 2611435.0231 | 1227011.8686 | 2611423.1641 | 1227028.7427
36 | 2611396.6985 | 1227066.4009 | 2611405.411 | 1227054.0038
37 | 2611435.5242 | 1227011.1555 | 2611435.0231 | 1227011.8686
38 | 2611396.6985 | 1227066.4009 | 2611414.7312 | 1227085.8437
39 | 2611445.714 | 1226996.6564 | 2611435.5242 | 1227011.1555
40 | 2611414.7312 | 1227085.8437 | 2611429.5646 | 1227101.8371
41 | 2611288.9698 | 1227011.6404 | 2611285.6004 | 1227015.8049 | 2611284.1439 | 1227024.6518 | 2611293.5607 | 1227026.1705 | 2611288.6561 | 1227055.0671 | 2611259.5019 | 1227050.4174
42 | 2611225.4563 | 1227031.6893 | 2611233.1882 | 1227032.8274 | 2611232.3182 | 1227040.0856 | 2611235.1858 | 1227046.5393 | 2611259.5019 | 1227050.4174
43 | 2611198.2247 | 1227027.6811 | 2611225.4563 | 1227031.6893
44 | 2611190.8995 | 1227074.7062 | 2611193.7239 | 1227067.8297 | 2611194.9191 | 1227064.9302 | 2611197.2992 | 1227056.4963 | 2611198.2247 | 1227027.6811
45 | 2611198.2247 | 1227027.6811 | 2611199.8019 | 1226978.5995 | 2611200.3881 | 1226976.4972
46 | 2611190.8995 | 1227074.7062 | 2611182.3422 | 1227087.7646
47 | 2611190.8995 | 1227074.7062 | 2611221.0016 | 1227101.2764
48 | 2611454.2036 | 1227128.4028 | 2611473.6259 | 1227144.2605
49 | 2611454.2036 | 1227128.4028 | 2611461.597 | 1227117.9664 | 2611464.8709 | 1227109.37
50 | 2611473.6259 | 1227144.2605 | 2611480.7019 | 1227126.6743
51 | 2611490.2033 | 1227157.8003 | 2611473.6259 | 1227144.2605
52 | 2611464.8709 | 1227109.37 | 2611471.6377 | 1227091.6024
53 | 2611490.2033 | 1227157.8003 | 2611529.3035 | 1227178.5989 | 2611545.7645 | 1227126.7445
54 | 2611490.2033 | 1227157.8003 | 2611498.4365 | 1227135.7155
55 | 2611545.7645 | 1227126.7445 | 2611554.098 | 1227100.5007 | 2611556.3789 | 1227092.7517
56 | 2611545.7645 | 1227126.7445 | 2611531.5361 | 1227122.3471
57 | 2611498.5765 | 1227135.3399 | 2611498.4365 | 1227135.7155
58 | 2611475.5082 | 1227081.4397 | 2611471.6377 | 1227091.6024
59 | 2611560.1076 | 1227080.0839 | 2611556.3789 | 1227092.7517
60 | 2611531.5361 | 1227122.3471 | 2611516.6652 | 1227117.7511
61 | 2611560.1076 | 1227080.0839 | 2611564.4848 | 1227065.2131
62 | 2611395.4075 | 1226965.9018 | 2611410.8449 | 1226951.8807
63 | 2611389.7975 | 1226970.997 | 2611395.4075 | 1226965.9018
64 | 2611389.7975 | 1226970.997 | 2611380.5851 | 1226979.3642
65 | 2611361.1436 | 1226997.0221 | 2611380.5851 | 1226979.3642
66 | 2611179.0686 | 1227091.7275 | 2611182.3422 | 1227087.7646
67 | 2611182.3422 | 1227087.7646 | 2611175.5978 | 1227079.6027 | 2611181.8764 | 1227062.0141
68 | 2611221.0016 | 1227101.2764 | 2611227.3022 | 1227106.8377
69 | 2611179.0686 | 1227091.7275 | 2611158.5237 | 1227075.9242
70 | 2611179.0686 | 1227091.7275 | 2611163.7946 | 1227110.221 | 2611149.1408 | 1227129.4161
71 | 2611181.8764 | 1227062.0141 | 2611185.6993 | 1227051.3049 | 2611180.7007 | 1227033.4962 | 2611182.104 | 1227012.4975 | 2611186.2176 | 1227013.2167 | 2611186.6142 | 1227002.9405
72 | 2611227.3022 | 1227106.8377 | 2611259.4553 | 1227161.857
73 | 2611568.2119 | 1227052.5509 | 2611564.4848 | 1227065.2131
74 | 2611048.5029 | 1227191.8996 | 2611050.897 | 1227167.6008 | 2611049.0632 | 1227156.2255
75 | 2611099.8284 | 1227232.6742 | 2611062.0999 | 1227215.3052 | 2611053.6982 | 1227209.9977 | 2611049.6004 | 1227200.7958 | 2611048.5029 | 1227191.8996
76 | 2611099.8284 | 1227232.6742 | 2611106.06 | 1227219.0444 | 2611121.2007 | 1227186.4199 | 2611131.2601 | 1227164.0958
77 | 2611074.2028 | 1227079.7032 | 2611089.066 | 1227094.4647
78 | 2611074.2028 | 1227079.7032 | 2611096.8988 | 1227047.0704
79 | 2611096.2069 | 1227101.5568 | 2611089.066 | 1227094.4647
80 | 2611133.0431 | 1227160.1388 | 2611131.2601 | 1227164.0958
81 | 2611096.2069 | 1227101.5568 | 2611127.0916 | 1227118.6476
82 | 2611096.2069 | 1227101.5568 | 2611079.5191 | 1227112.5225
83 | 2611137.2033 | 1227150.9065 | 2611133.0431 | 1227160.1388
84 | 2611137.2033 | 1227150.9065 | 2611149.9085 | 1227160.7026
85 | 2611149.1408 | 1227129.4161 | 2611141.7958 | 1227142.6324 | 2611137.2033 | 1227150.9065
86 | 2611149.9085 | 1227160.7026 | 2611154.1687 | 1227163.9903 | 2611170.5287 | 1227176.606 | 2611174.5903 | 1227172.7002
87 | 2611149.1408 | 1227129.4161 | 2611143.2648 | 1227126.9481 | 2611138.2976 | 1227124.8488 | 2611127.0916 | 1227118.6476
88 | 2611174.5903 | 1227172.7002 | 2611192.202 | 1227152.9967

## bus_geodata
| x | y | coords
0 | 2611503.0874 | 1227023.5758
1 | 2611496.9588 | 1227036.394
2 | 2611505.7039 | 1227018.1032
3 | 2611489.6209 | 1227051.7415
4 | 2611478.6714 | 1226999.5086
5 | 2611488.4408 | 1227054.2097
6 | 2611455.103 | 1226983.2967
7 | 2611481.4194 | 1227068.8951
8 | 2611453.2801 | 1226985.8904
9 | 2611315.143 | 1226958.8065
10 | 2611318.02 | 1226963.9556
11 | 2611308.1028 | 1226946.2063
12 | 2611321.9015 | 1226970.9025
13 | 2611339.1897 | 1226913.7794
14 | 2611303.4193 | 1226993.7685
15 | 2611348.3992 | 1227008.5972
16 | 2611251.4983 | 1226915.3148
17 | 2611260.6984 | 1226930.0721
18 | 2611221.5848 | 1226939.7388
19 | 2611350.8994 | 1226909.0988
20 | 2611319.9372 | 1226919.5675
21 | 2611361.2998 | 1226920.4239
22 | 2611293.0368 | 1227006.6135
23 | 2611359.949 | 1226998.1071
24 | 2611370.1732 | 1227034.6587
25 | 2611261.3783 | 1226952.6442
26 | 2611216.0003 | 1226944.2985
27 | 2611367.7037 | 1226927.3971
28 | 2611421.2992 | 1227031.3963
29 | 2611406.0406 | 1227053.1079
30 | 2611423.1641 | 1227028.7427
31 | 2611405.411 | 1227054.0038
32 | 2611435.0231 | 1227011.8686
33 | 2611396.6985 | 1227066.4009
34 | 2611435.5242 | 1227011.1555
35 | 2611414.7312 | 1227085.8437
36 | 2611445.714 | 1226996.6564
37 | 2611288.9698 | 1227011.6404
38 | 2611259.5019 | 1227050.4174
39 | 2611225.4563 | 1227031.6893
40 | 2611311.4664 | 1227020.5054
41 | 2611198.2247 | 1227027.6811
42 | 2611190.8995 | 1227074.7062
43 | 2611200.3881 | 1226976.4972
44 | 2611429.5646 | 1227101.8371
45 | 2611454.2036 | 1227128.4028
46 | 2611473.6259 | 1227144.2605
47 | 2611464.8709 | 1227109.37
48 | 2611490.2033 | 1227157.8003
49 | 2611545.7645 | 1227126.7445
50 | 2611498.4365 | 1227135.7155
51 | 2611480.7019 | 1227126.6743
52 | 2611471.6377 | 1227091.6024
53 | 2611498.5765 | 1227135.3399
54 | 2611556.3789 | 1227092.7517
55 | 2611531.5361 | 1227122.3471
56 | 2611516.6652 | 1227117.7511
57 | 2611560.1076 | 1227080.0839
58 | 2611410.8449 | 1226951.8807
59 | 2611395.4075 | 1226965.9018
60 | 2611389.7975 | 1226970.997
61 | 2611380.5851 | 1226979.3642
62 | 2611361.1436 | 1226997.0221
63 | 2611182.3422 | 1227087.7646
64 | 2611221.0016 | 1227101.2764
65 | 2611179.0686 | 1227091.7275
66 | 2611181.8764 | 1227062.0141
67 | 2611227.3022 | 1227106.8377
68 | 2611186.6142 | 1227002.9405
69 | 2611475.5082 | 1227081.4397
70 | 2611564.4848 | 1227065.2131
71 | 2611568.2119 | 1227052.5509
72 | 2611049.0632 | 1227156.2255
73 | 2611048.5029 | 1227191.8996
74 | 2611099.8284 | 1227232.6742
75 | 2611074.2028 | 1227079.7032
76 | 2611089.066 | 1227094.4647
77 | 2611096.8988 | 1227047.0704
78 | 2611131.2601 | 1227164.0958
79 | 2611096.2069 | 1227101.5568
80 | 2611133.0431 | 1227160.1388
81 | 2611137.2033 | 1227150.9065
82 | 2611149.9085 | 1227160.7026
83 | 2611149.1408 | 1227129.4161
84 | 2611174.5903 | 1227172.7002
85 | 2611127.0916 | 1227118.6476
86 | 2611192.202 | 1227152.9967
87 | 2611158.5237 | 1227075.9242
88 | 2611259.4553 | 1227161.857
89 | 2611079.5191 | 1227112.5225
90 | 2611245.7503 | 1227122.7707

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98152 | -0.35538 | 0.0061412 | 0.0015391
1 | 0.98134 | -0.35887 | 0.0021497 | 0.00053878
2 | 0.98161 | -0.35372 | 0 | 0
3 | 0.98114 | -0.36288 | 0.0013825 | 0.0003465
4 | 0.98207 | -0.34477 | 0.001125 | 0.00028194
5 | 0.98111 | -0.36351 | 0.0061053 | 0.0015301
6 | 0.98247 | -0.33682 | 0 | 0
7 | 0.98077 | -0.37009 | 0.0025906 | 0.00064925
8 | 0.98252 | -0.33594 | 0.0030434 | 0.00076274
9 | 0.98641 | -0.26029 | 0.0023851 | 0.00059777
10 | 0.98651 | -0.25846 | 0.004521 | 0.0011331
11 | 0.98622 | -0.26417 | 0 | 0
12 | 0.98667 | -0.25534 | 0 | 0
13 | 0.98556 | -0.27689 | 0 | 0
14 | 0.98752 | -0.23895 | 0.0039693 | 0.00099481
15 | 0.98558 | -0.27654 | 0 | 0
16 | 0.99043 | -0.18312 | 0 | 0
17 | 0.99014 | -0.18885 | 0.011095 | 0.0027807
18 | 0.99108 | -0.17062 | 0.0048914 | 0.0012259
19 | 0.98544 | -0.27927 | 0 | 0
20 | 0.98542 | -0.27968 | 0.0077506 | 0.0019425
21 | 0.98534 | -0.28127 | 0.0025762 | 0.00064565
22 | 0.98801 | -0.22946 | 0 | 0
23 | 0.98537 | -0.28053 | 0.0024254 | 0.00060786
24 | 0.98488 | -0.29003 | 0.0095955 | 0.0024048
25 | 0.98999 | -0.19172 | 0.0071335 | 0.0017878
26 | 0.99123 | -0.16766 | 0 | 0
27 | 0.9853 | -0.28206 | 0.0046473 | 0.0011647
28 | 0.98339 | -0.31903 | 0.0021005 | 0.00052643
29 | 0.98384 | -0.31028 | 0.0016614 | 0.00041638
30 | 0.98333 | -0.32007 | 0.0016445 | 0.00041215
31 | 0.98386 | -0.30992 | 0.001587 | 0.00039775
32 | 0.983 | -0.32652 | 0.0012448 | 0.00031197
33 | 0.98412 | -0.30471 | 0 | 0
34 | 0.98299 | -0.32679 | 0.0016853 | 0.00042237
35 | 0.98406 | -0.30589 | 0.001399 | 0.00035062
36 | 0.98272 | -0.3321 | 0.0018858 | 0.00047263
37 | 0.98821 | -0.22558 | 0.00057812 | 0.00014489
38 | 0.99079 | -0.17583 | 0.0068648 | 0.0017205
39 | 0.99232 | -0.14636 | 0.00095286 | 0.00023881
40 | 0.98788 | -0.23193 | 0.0059915 | 0.0015016
41 | 0.99323 | -0.12895 | 0 | 0
42 | 0.99511 | -0.092993 | 0 | 0
43 | 0.99199 | -0.15285 | 0.0032078 | 0.00080394
44 | 0.98404 | -0.30632 | 0.0010872 | 0.00027248
45 | 0.97852 | -0.41412 | 0 | 0
46 | 0.97774 | -0.42944 | 0 | 0
47 | 0.9792 | -0.40068 | 0.0010467 | 0.00026232
48 | 0.97709 | -0.44206 | 0 | 0
49 | 0.9752 | -0.47931 | 0 | 0
50 | 0.97684 | -0.44711 | 0.0012258 | 0.0003072
51 | 0.97771 | -0.42986 | 0.0012296 | 0.00030816
52 | 0.97982 | -0.38871 | 0.0061772 | 0.0015482
53 | 0.97683 | -0.44718 | 0.010503 | 0.0026323
54 | 0.97477 | -0.48768 | 0.0032046 | 0.00080315
55 | 0.97509 | -0.48144 | 0.0031417 | 0.00078738
56 | 0.97502 | -0.48278 | 0.0046708 | 0.0011706
57 | 0.97466 | -0.49001 | 0.0032036 | 0.0008029
58 | 0.98501 | -0.28766 | 0.0012877 | 0.00032272
59 | 0.98503 | -0.28718 | 0.0025057 | 0.00062798
60 | 0.98506 | -0.28666 | 0.0020654 | 0.00051764
61 | 0.98512 | -0.28535 | 0.0036394 | 0.00091213
62 | 0.98535 | -0.28087 | 0.0023195 | 0.00058133
63 | 0.9942 | -0.11041 | 0 | 0
64 | 0.99902 | -0.018592 | 0.084443 | 0.021163
65 | 0.99395 | -0.11532 | 0 | 0
66 | 0.99323 | -0.12927 | 0.021843 | 0.0054744
67 | 1 | 0 | -0.52195 | -0.13266
68 | 0.99235 | -0.14622 | 0.014669 | 0.0036763
69 | 0.98023 | -0.38066 | 0.001206 | 0.00030224
70 | 0.97456 | -0.49183 | 0.0032044 | 0.00080309
71 | 0.97452 | -0.49261 | 0.0032056 | 0.0008034
72 | 0.98454 | -0.29708 | 0.0066635 | 0.00167
73 | 0.98476 | -0.29277 | 0 | 0
74 | 0.98519 | -0.28434 | 0 | 0
75 | 0.98716 | -0.24621 | 0 | 0
76 | 0.98722 | -0.24502 | 0.0093029 | 0.0023315
77 | 0.98705 | -0.24845 | 0.0031525 | 0.00079008
78 | 0.98565 | -0.27531 | 0.013834 | 0.0034671
79 | 0.98734 | -0.24278 | 0 | 0
80 | 0.98573 | -0.27372 | 0.036355 | 0.0091114
81 | 0.98626 | -0.26339 | 0 | 0
82 | 0.98505 | -0.28689 | 0 | 0
83 | 0.98941 | -0.20255 | 0 | 0
84 | 0.98266 | -0.33354 | 0 | 0
85 | 0.98792 | -0.23149 | 0.04815 | 0.012068
86 | 0.98066 | -0.37264 | 0.08179 | 0.020498
87 | 0.99366 | -0.12088 | 0.012181 | 0.003053
88 | 0.99958 | -0.0080756 | 0.0072666 | 0.0018212
89 | 0.98724 | -0.24473 | 0.0054444 | 0.0013645
90 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.054452 | 0.01372 | -0.054443 | -0.013715 | 9.0829e-06 | 5.0949e-06 | 0.082577 | 0.082577 | 0.082577 | 0.98152 | -0.35538 | 0.98134 | -0.35887 | 5.6715
1 | -0.060593 | -0.015259 | 0.060598 | 0.015262 | 4.8015e-06 | 2.7663e-06 | 0.091887 | 0.091887 | 0.091887 | 0.98152 | -0.35538 | 0.98161 | -0.35372 | 6.3109
2 | 0.052293 | 0.013176 | -0.052283 | -0.013171 | 1.0034e-05 | 5.562e-06 | 0.079318 | 0.079318 | 0.079318 | 0.98134 | -0.35887 | 0.98114 | -0.36288 | 5.4477
3 | -0.060598 | -0.015262 | 0.060624 | 0.015277 | 2.5971e-05 | 1.4962e-05 | 0.091887 | 0.091887 | 0.091887 | 0.98161 | -0.35372 | 0.98207 | -0.34477 | 6.3109
4 | 0.050901 | 0.012824 | -0.050899 | -0.012823 | 1.5294e-06 | 8.4062e-07 | 0.077221 | 0.077221 | 0.077221 | 0.98114 | -0.36288 | 0.98111 | -0.36351 | 5.3037
5 | -0.061749 | -0.015559 | 0.061772 | 0.015573 | 2.3491e-05 | 1.3586e-05 | 0.093591 | 0.093591 | 0.093591 | 0.98207 | -0.34477 | 0.98247 | -0.33682 | 6.428
6 | 0.044794 | 0.011293 | -0.04478 | -0.011285 | 1.4097e-05 | 8.6109e-06 | 0.067962 | 0.067962 | 0.067962 | 0.98111 | -0.36351 | 0.98077 | -0.37009 | 9.3354
7 | -0.061772 | -0.015573 | 0.061775 | 0.015574 | 2.6033e-06 | 1.5055e-06 | 0.093591 | 0.09359 | 0.093591 | 0.98247 | -0.33682 | 0.98252 | -0.33594 | 6.4279
8 | 0.042189 | 0.010635 | -0.042168 | -0.010622 | 2.1326e-05 | 1.3474e-05 | 0.064031 | 0.064031 | 0.064031 | 0.98077 | -0.37009 | 0.98023 | -0.38066 | 17.591
9 | -0.064818 | -0.016337 | 0.06483 | 0.016344 | 1.1896e-05 | 6.9468e-06 | 0.0982 | 0.098199 | 0.0982 | 0.98252 | -0.33594 | 0.98272 | -0.3321 | 6.7445
10 | -0.017374 | -0.0043584 | 0.017375 | 0.0043593 | 1.5195e-06 | 8.9716e-07 | 0.02621 | 0.02621 | 0.02621 | 0.98641 | -0.26029 | 0.98651 | -0.25846 | 7.2005
11 | 0.014989 | 0.0037606 | -0.014986 | -0.003759 | 2.7675e-06 | 1.587e-06 | 0.022612 | 0.022612 | 0.022612 | 0.98641 | -0.26029 | 0.98622 | -0.26417 | 6.2121
12 | -0.021896 | -0.0054923 | 0.0219 | 0.0054943 | 3.2555e-06 | 1.9819e-06 | 0.033029 | 0.033029 | 0.033029 | 0.98651 | -0.25846 | 0.98667 | -0.25534 | 9.074
13 | 0.014986 | 0.003759 | -0.014977 | -0.0037538 | 9.0817e-06 | 5.2083e-06 | 0.022612 | 0.022612 | 0.022612 | 0.98622 | -0.26417 | 0.98556 | -0.27689 | 6.2122
14 | -0.12518 | -0.031586 | 0.12528 | 0.031648 | 9.832e-05 | 6.1421e-05 | 0.18886 | 0.18886 | 0.18886 | 0.98667 | -0.25534 | 0.98752 | -0.23895 | 12.9715
15 | 0.10328 | 0.026092 | -0.10318 | -0.026027 | 0.00010486 | 6.4758e-05 | 0.15584 | 0.15584 | 0.15584 | 0.98667 | -0.25534 | 0.98558 | -0.27654 | 10.7031
16 | 0.0072252 | 0.0018109 | -0.0072244 | -0.0018106 | 8.2182e-07 | 2.9132e-07 | 0.010909 | 0.010909 | 0.010909 | 0.98556 | -0.27689 | 0.98544 | -0.27927 | 2.9969
17 | 0.0077516 | 0.0019429 | -0.0077506 | -0.0019425 | 1.0326e-06 | 4.0473e-07 | 0.011703 | 0.011704 | 0.011704 | 0.98556 | -0.27689 | 0.98542 | -0.27968 | 3.2153
18 | -0.12925 | -0.032643 | 0.12931 | 0.032679 | 5.8785e-05 | 3.6777e-05 | 0.19485 | 0.19485 | 0.19485 | 0.98752 | -0.23895 | 0.98801 | -0.22946 | 13.3822
19 | 0.014249 | 0.0035721 | -0.014246 | -0.0035705 | 2.7078e-06 | 1.5342e-06 | 0.021513 | 0.021513 | 0.021513 | 0.98558 | -0.27654 | 0.98537 | -0.28053 | 5.9101
20 | 0.088929 | 0.022455 | -0.088871 | -0.02242 | 5.7445e-05 | 3.5035e-05 | 0.13432 | 0.13432 | 0.13432 | 0.98558 | -0.27654 | 0.98488 | -0.29003 | 9.2256
21 | 0.018234 | 0.0045718 | -0.018229 | -0.0045688 | 4.9828e-06 | 2.9612e-06 | 0.027396 | 0.027396 | 0.027396 | 0.99043 | -0.18312 | 0.99014 | -0.18885 | 7.5264
22 | -0.018234 | -0.0045718 | 0.018245 | 0.0045783 | 1.0869e-05 | 6.4589e-06 | 0.027396 | 0.027396 | 0.027396 | 0.99043 | -0.18312 | 0.99108 | -0.17062 | 7.5264
23 | 0.0071345 | 0.0017882 | -0.0071335 | -0.0017878 | 9.7355e-07 | 3.3266e-07 | 0.010722 | 0.010722 | 0.010722 | 0.99014 | -0.18885 | 0.98999 | -0.19172 | 2.9456
24 | -0.023137 | -0.0058041 | 0.02314 | 0.0058061 | 3.2628e-06 | 1.9953e-06 | 0.03474 | 0.03474 | 0.03474 | 0.99108 | -0.17062 | 0.99123 | -0.16766 | 9.5439
25 | 0.0072244 | 0.0018106 | -0.0072237 | -0.0018104 | 6.8618e-07 | 2.4328e-07 | 0.010909 | 0.010909 | 0.010909 | 0.98544 | -0.27927 | 0.98534 | -0.28127 | 2.997
26 | 0.0046475 | 0.0011647 | -0.0046473 | -0.0011647 | 1.7489e-07 | -8.6604e-09 | 0.0070185 | 0.0070185 | 0.0070185 | 0.98534 | -0.28127 | 0.9853 | -0.28206 | 1.9282
27 | 0.0059922 | 0.0015018 | -0.0059915 | -0.0015016 | 7.0489e-07 | 1.5561e-07 | 0.0090248 | 0.0090249 | 0.0090249 | 0.98801 | -0.22946 | 0.98788 | -0.23193 | 2.4794
28 | -0.1353 | -0.034181 | 0.13533 | 0.034197 | 2.5195e-05 | 1.5794e-05 | 0.20387 | 0.20387 | 0.20387 | 0.98801 | -0.22946 | 0.98821 | -0.22558 | 14.0021
29 | 0.01182 | 0.0029627 | -0.01182 | -0.0029626 | 1.9284e-07 | 1.0286e-07 | 0.01785 | 0.01785 | 0.01785 | 0.98537 | -0.28053 | 0.98535 | -0.28087 | 4.9039
30 | 0.079276 | 0.020015 | -0.07922 | -0.019982 | 5.5684e-05 | 3.3534e-05 | 0.11983 | 0.11983 | 0.11983 | 0.98488 | -0.29003 | 0.98412 | -0.30471 | 8.2299
31 | -0.02314 | -0.0058061 | 0.023156 | 0.0058161 | 1.6356e-05 | 1.0002e-05 | 0.03474 | 0.03474 | 0.03474 | 0.99123 | -0.16766 | 0.99199 | -0.15285 | 9.5439
32 | -0.073434 | -0.018515 | 0.073465 | 0.018533 | 3.0739e-05 | 1.8326e-05 | 0.11116 | 0.11116 | 0.11116 | 0.98339 | -0.31903 | 0.98384 | -0.31028 | 7.6344
33 | 0.071334 | 0.017988 | -0.07133 | -0.017986 | 3.5452e-06 | 2.1044e-06 | 0.10798 | 0.10798 | 0.10798 | 0.98339 | -0.31903 | 0.98333 | -0.32007 | 7.4161
34 | -0.075126 | -0.018949 | 0.075127 | 0.01895 | 1.3264e-06 | 7.933e-07 | 0.11367 | 0.11367 | 0.11367 | 0.98384 | -0.31028 | 0.98386 | -0.30992 | 7.8069
35 | 0.069686 | 0.017574 | -0.069664 | -0.017561 | 2.1517e-05 | 1.2724e-05 | 0.10549 | 0.10549 | 0.10549 | 0.98333 | -0.32007 | 0.983 | -0.32652 | 7.2452
36 | -0.076715 | -0.019348 | 0.076734 | 0.019359 | 1.9137e-05 | 1.1478e-05 | 0.11607 | 0.11607 | 0.11607 | 0.98386 | -0.30992 | 0.98412 | -0.30471 | 7.9718
37 | 0.068419 | 0.017249 | -0.068418 | -0.017249 | 8.77e-07 | 5.1709e-07 | 0.10361 | 0.10361 | 0.10361 | 0.983 | -0.32652 | 0.98299 | -0.32679 | 7.1158
38 | 0.0024864 | 0.00062259 | -0.0024862 | -0.00062284 | 1.4054e-07 | -2.4698e-07 | 0.0037592 | 0.0037594 | 0.0037594 | 0.98412 | -0.30471 | 0.98406 | -0.30589 | 1.0328
39 | 0.066733 | 0.016826 | -0.066716 | -0.016816 | 1.6966e-05 | 9.9601e-06 | 0.10105 | 0.10105 | 0.10105 | 0.98299 | -0.32679 | 0.98272 | -0.3321 | 6.9406
40 | 0.0010872 | 0.00027221 | -0.0010872 | -0.00027248 | 2.2107e-08 | -2.6297e-07 | 0.0016439 | 0.001644 | 0.001644 | 0.98406 | -0.30589 | 0.98404 | -0.30632 | 0.45165
41 | -0.1359 | -0.034342 | 0.13623 | 0.034546 | 0.00032497 | 0.00020373 | 0.20474 | 0.20474 | 0.20474 | 0.98821 | -0.22558 | 0.99079 | -0.17583 | 14.0618
42 | -0.14309 | -0.036266 | 0.1433 | 0.036394 | 0.00020295 | 0.00012747 | 0.21505 | 0.21505 | 0.21505 | 0.99079 | -0.17583 | 0.99232 | -0.14636 | 14.7698
43 | -0.14425 | -0.036632 | 0.14437 | 0.036708 | 0.00012093 | 7.5969e-05 | 0.21648 | 0.21648 | 0.21648 | 0.99232 | -0.14636 | 0.99323 | -0.12895 | 14.8679
44 | -0.17076 | -0.043347 | 0.17106 | 0.043534 | 0.00029599 | 0.00018693 | 0.25603 | 0.25603 | 0.25603 | 0.99323 | -0.12895 | 0.99511 | -0.092993 | 17.5843
45 | 0.026394 | 0.0066387 | -0.026364 | -0.0066201 | 3.0087e-05 | 1.8593e-05 | 0.039551 | 0.039551 | 0.039551 | 0.99323 | -0.12895 | 0.99199 | -0.15285 | 10.8657
46 | 0.25554 | 0.064871 | -0.25532 | -0.064735 | 0.00021388 | 0.00013607 | 0.3824 | 0.3824 | 0.3824 | 0.99511 | -0.092993 | 0.9942 | -0.11041 | 26.264
47 | -0.4266 | -0.10841 | 0.42813 | 0.10938 | 0.0015342 | 0.00097982 | 0.63843 | 0.63843 | 0.63843 | 0.99511 | -0.092993 | 0.99902 | -0.018592 | 43.8482
48 | 0.033681 | 0.0084732 | -0.033656 | -0.0084577 | 2.4635e-05 | 1.5452e-05 | 0.051229 | 0.051229 | 0.051229 | 0.97852 | -0.41412 | 0.97774 | -0.42944 | 14.074
49 | -0.033681 | -0.0084732 | 0.033702 | 0.0084868 | 2.164e-05 | 1.3573e-05 | 0.051229 | 0.051229 | 0.051229 | 0.97852 | -0.41412 | 0.9792 | -0.40068 | 14.074
50 | 0.0012296 | 0.00030794 | -0.0012296 | -0.00030816 | 2.4892e-08 | -2.2181e-07 | 0.0018712 | 0.0018713 | 0.0018713 | 0.97774 | -0.42944 | 0.97771 | -0.42986 | 0.5141
51 | 0.032426 | 0.0081498 | -0.032407 | -0.0081376 | 1.9522e-05 | 1.2226e-05 | 0.049358 | 0.049358 | 0.049358 | 0.97774 | -0.42944 | 0.97709 | -0.44206 | 13.56
52 | -0.034749 | -0.0087491 | 0.034769 | 0.0087616 | 1.9891e-05 | 1.2491e-05 | 0.05282 | 0.05282 | 0.05282 | 0.9792 | -0.40068 | 0.97982 | -0.38871 | 14.5109
53 | 0.020675 | 0.0051965 | -0.020639 | -0.0051743 | 3.6704e-05 | 2.2257e-05 | 0.031492 | 0.031492 | 0.031492 | 0.97709 | -0.44206 | 0.9752 | -0.47931 | 8.6517
54 | 0.011732 | 0.002941 | -0.011729 | -0.0029395 | 2.8214e-06 | 1.5105e-06 | 0.017866 | 0.017867 | 0.017867 | 0.97709 | -0.44206 | 0.97684 | -0.44711 | 4.9084
55 | 0.012825 | 0.003216 | -0.01282 | -0.0032131 | 5.1147e-06 | 2.8293e-06 | 0.01957 | 0.01957 | 0.01957 | 0.9752 | -0.47931 | 0.97477 | -0.48768 | 5.3764
56 | 0.0078135 | 0.0019583 | -0.0078127 | -0.001958 | 7.9382e-07 | 3.2226e-07 | 0.011922 | 0.011922 | 0.011922 | 0.9752 | -0.47931 | 0.97509 | -0.48144 | 3.2754
57 | 0.010503 | 0.0026323 | -0.010503 | -0.0026323 | 3.8477e-08 | 1.9607e-08 | 0.015999 | 0.015999 | 0.015999 | 0.97684 | -0.44711 | 0.97683 | -0.44718 | 4.3954
58 | -0.040946 | -0.01031 | 0.040962 | 0.01032 | 1.5778e-05 | 9.9607e-06 | 0.062201 | 0.062201 | 0.062201 | 0.97982 | -0.38871 | 0.98023 | -0.38066 | 17.0881
59 | 0.0096154 | 0.00241 | -0.0096143 | -0.0024095 | 1.0669e-06 | 5.1822e-07 | 0.014678 | 0.014678 | 0.014678 | 0.97477 | -0.48768 | 0.97466 | -0.49001 | 4.0325
60 | 0.004671 | 0.0011706 | -0.0046708 | -0.0011706 | 2.9657e-07 | -4.3334e-09 | 0.0071281 | 0.0071282 | 0.0071282 | 0.97509 | -0.48144 | 0.97502 | -0.48278 | 1.9583
61 | 0.0064107 | 0.0016066 | -0.0064101 | -0.0016064 | 5.5683e-07 | 1.632e-07 | 0.0097872 | 0.0097873 | 0.0097873 | 0.97466 | -0.49001 | 0.97456 | -0.49183 | 2.6888
62 | -0.0012877 | -0.00032272 | 0.0012877 | 0.00032247 | 2.959e-08 | -2.4652e-07 | 0.0019452 | 0.0019451 | 0.0019452 | 0.98501 | -0.28766 | 0.98503 | -0.28718 | 0.53441
63 | -0.0037934 | -0.00095045 | 0.0037935 | 0.00095042 | 9.3318e-08 | -3.6749e-08 | 0.0057303 | 0.0057303 | 0.0057303 | 0.98503 | -0.28718 | 0.98506 | -0.28666 | 1.5743
64 | -0.0058589 | -0.0014681 | 0.0058593 | 0.0014681 | 3.6554e-07 | 7.5509e-08 | 0.0088503 | 0.0088502 | 0.0088503 | 0.98506 | -0.28666 | 0.98512 | -0.28535 | 2.4314
65 | -0.0094987 | -0.0023803 | 0.0095007 | 0.0023812 | 2.0274e-06 | 9.6306e-07 | 0.014348 | 0.014347 | 0.014348 | 0.98512 | -0.28535 | 0.98535 | -0.28087 | 3.9416
66 | 0.21877 | 0.055557 | -0.21871 | -0.055524 | 5.1692e-05 | 3.2816e-05 | 0.32768 | 0.32768 | 0.32768 | 0.9942 | -0.11041 | 0.99395 | -0.11532 | 22.5058
67 | 0.036557 | 0.0091781 | -0.036524 | -0.0091575 | 3.2858e-05 | 2.065e-05 | 0.05472 | 0.05472 | 0.05472 | 0.9942 | -0.11041 | 0.99323 | -0.12927 | 15.0329
68 | -0.51257 | -0.13055 | 0.51303 | 0.13084 | 0.00046012 | 0.00029404 | 0.7642 | 0.7642 | 0.7642 | 0.99902 | -0.018592 | 1 | 0 | 52.4865
69 | 0.012185 | 0.0030547 | -0.012181 | -0.003053 | 3.2287e-06 | 1.7311e-06 | 0.018242 | 0.018242 | 0.018242 | 0.99395 | -0.11532 | 0.99366 | -0.12088 | 5.0115
70 | 0.20653 | 0.052469 | -0.20567 | -0.051918 | 0.00086334 | 0.00055129 | 0.30944 | 0.30944 | 0.30944 | 0.99395 | -0.11532 | 0.98941 | -0.20255 | 42.5059
71 | 0.014681 | 0.0036831 | -0.014669 | -0.0036763 | 1.186e-05 | 6.7453e-06 | 0.021995 | 0.021996 | 0.021996 | 0.99323 | -0.12927 | 0.99235 | -0.14622 | 6.0427
72 | 0.0072694 | 0.0018221 | -0.0072666 | -0.0018212 | 2.7963e-06 | 9.5394e-07 | 0.010817 | 0.010817 | 0.010817 | 1 | 0 | 0.99958 | -0.0080756 | 2.9718
73 | 0.0032057 | 0.00080331 | -0.0032056 | -0.0008034 | 1.1858e-07 | -8.8568e-08 | 0.0048946 | 0.0048947 | 0.0048947 | 0.97456 | -0.49183 | 0.97452 | -0.49261 | 1.3447
74 | -0.0066635 | -0.00167 | 0.0066648 | 0.0016704 | 1.3669e-06 | 4.1769e-07 | 0.010071 | 0.010071 | 0.010071 | 0.98454 | -0.29708 | 0.98476 | -0.29277 | 2.7668
75 | -0.0066648 | -0.0016704 | 0.0066675 | 0.0016713 | 2.677e-06 | 8.1739e-07 | 0.010071 | 0.010071 | 0.010071 | 0.98476 | -0.29277 | 0.98519 | -0.28434 | 2.7667
76 | -0.0066675 | -0.0016713 | 0.0066704 | 0.0016721 | 2.8689e-06 | 8.7506e-07 | 0.010071 | 0.01007 | 0.010071 | 0.98519 | -0.28434 | 0.98565 | -0.27531 | 2.7666
77 | -0.0031528 | -0.00078979 | 0.003153 | 0.00078963 | 1.7741e-07 | -1.5429e-07 | 0.0047523 | 0.0047522 | 0.0047523 | 0.98716 | -0.24621 | 0.98722 | -0.24502 | 1.3056
78 | 0.0031528 | 0.00078979 | -0.0031525 | -0.00079008 | 3.3665e-07 | -2.9266e-07 | 0.0047523 | 0.0047525 | 0.0047525 | 0.98716 | -0.24621 | 0.98705 | -0.24845 | 1.3056
79 | -0.012456 | -0.0031212 | 0.012457 | 0.0031219 | 1.3303e-06 | 7.2267e-07 | 0.018774 | 0.018774 | 0.018774 | 0.98722 | -0.24502 | 0.98734 | -0.24278 | 5.1578
80 | -0.020504 | -0.0051393 | 0.020506 | 0.0051402 | 1.5596e-06 | 9.428e-07 | 0.030955 | 0.030955 | 0.030955 | 0.98565 | -0.27531 | 0.98573 | -0.27372 | 8.5042
81 | -0.017902 | -0.0044865 | 0.017912 | 0.0044922 | 9.6354e-06 | 5.715e-06 | 0.02698 | 0.02698 | 0.02698 | 0.98734 | -0.24278 | 0.98792 | -0.23149 | 7.4121
82 | 0.0054449 | 0.0013646 | -0.0054444 | -0.0013645 | 5.0424e-07 | 6.7362e-08 | 0.008206 | 0.0082061 | 0.0082061 | 0.98734 | -0.24278 | 0.98724 | -0.24473 | 2.2544
83 | -0.056861 | -0.014252 | 0.056889 | 0.014269 | 2.7977e-05 | 1.7776e-05 | 0.085834 | 0.085834 | 0.085834 | 0.98573 | -0.27372 | 0.98626 | -0.26339 | 23.5809
84 | 0.082218 | 0.020771 | -0.082125 | -0.020712 | 9.2498e-05 | 5.8995e-05 | 0.1241 | 0.1241 | 0.1241 | 0.98626 | -0.26339 | 0.98505 | -0.28689 | 34.0946
85 | -0.13911 | -0.035041 | 0.13951 | 0.0353 | 0.00040609 | 0.00025958 | 0.20994 | 0.20994 | 0.20994 | 0.98626 | -0.26339 | 0.98941 | -0.20255 | 57.6754
86 | 0.082125 | 0.020712 | -0.081942 | -0.020596 | 0.00018295 | 0.00011668 | 0.1241 | 0.1241 | 0.1241 | 0.98505 | -0.28689 | 0.98266 | -0.33354 | 34.0947
87 | 0.066153 | 0.016618 | -0.066062 | -0.01656 | 9.1239e-05 | 5.8078e-05 | 0.099504 | 0.099504 | 0.099504 | 0.98941 | -0.20255 | 0.98792 | -0.23149 | 27.3364
88 | 0.081942 | 0.020596 | -0.08179 | -0.020498 | 0.00015264 | 9.7354e-05 | 0.1241 | 0.1241 | 0.1241 | 0.98266 | -0.33354 | 0.98066 | -0.37264 | 34.0947

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5257 | 0.1336

## res_load
| p_mw | q_mvar
0 | 0.0061412 | 0.0015391
1 | 0.0021497 | 0.00053878
2 | 0.0013825 | 0.0003465
3 | 0.001125 | 0.00028194
4 | 0.0061053 | 0.0015301
5 | 0.0025906 | 0.00064925
6 | 0.0030434 | 0.00076274
7 | 0.0023851 | 0.00059777
8 | 0.004521 | 0.0011331
9 | 0.0039693 | 0.00099481
10 | 0.011095 | 0.0027807
11 | 0.0048914 | 0.0012259
12 | 0.0077506 | 0.0019425
13 | 0.0025762 | 0.00064565
14 | 0.0024254 | 0.00060786
15 | 0.0095955 | 0.0024048
16 | 0.0071335 | 0.0017878
17 | 0.0046473 | 0.0011647
18 | 0.0021005 | 0.00052643
19 | 0.0016614 | 0.00041638
20 | 0.0016445 | 0.00041215
21 | 0.001587 | 0.00039775
22 | 0.0012448 | 0.00031197
23 | 0.0016853 | 0.00042237
24 | 0.001399 | 0.00035062
25 | 0.0018858 | 0.00047263
26 | 0.00057812 | 0.00014489
27 | 0.0068648 | 0.0017205
28 | 0.00095286 | 0.00023881
29 | 0.0059915 | 0.0015016
30 | 0.0032078 | 0.00080394
31 | 0.0010872 | 0.00027248
32 | 0.0010467 | 0.00026232
33 | 0.0012258 | 0.0003072
34 | 0.0012296 | 0.00030816
35 | 0.0061772 | 0.0015482
36 | 0.010503 | 0.0026323
37 | 0.0032046 | 0.00080315
38 | 0.0031417 | 0.00078738
39 | 0.0046708 | 0.0011706
40 | 0.0032036 | 0.0008029
41 | 0.0012877 | 0.00032272
42 | 0.0025057 | 0.00062798
43 | 0.0020654 | 0.00051764
44 | 0.0036394 | 0.00091213
45 | 0.0023195 | 0.00058133
46 | 0.084443 | 0.021163
47 | 0.021843 | 0.0054744
48 | 0.0037425 | 0.00093796
49 | 0.014669 | 0.0036763
50 | 0.001206 | 0.00030224
51 | 0.0032044 | 0.00080309
52 | 0.0032056 | 0.0008034
53 | 0.0066635 | 0.00167
54 | 0.0093029 | 0.0023315
55 | 0.0031525 | 0.00079008
56 | 0.013834 | 0.0034671
57 | 0.036355 | 0.0091114
58 | 0.04815 | 0.012068
59 | 0.08179 | 0.020498
60 | 0.012181 | 0.003053
61 | 0.0072666 | 0.0018212
62 | 0.0054444 | 0.0013645

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1