## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2517-5_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2517-5_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2517-5_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2517-5_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2517-5_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2517-5_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2517-5_0_2_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_2517-5_0_2_node_70 | 0.4 | n |  | TRUE
8 | bus_LV_2517-5_0_2_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_2517-5_0_2_node_140 | 0.4 | n |  | TRUE
10 | bus_LV_2517-5_0_2_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_2517-5_0_2_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_2517-5_0_2_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_2517-5_0_2_node_61 | 0.4 | n |  | TRUE
14 | bus_LV_2517-5_0_2_node_128 | 0.4 | n |  | TRUE
15 | bus_LV_2517-5_0_2_node_120 | 0.4 | n |  | TRUE
16 | bus_LV_2517-5_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_2517-5_0_2_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_2517-5_0_2_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_2517-5_0_2_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_2517-5_0_2_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_2517-5_0_2_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_2517-5_0_2_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_2517-5_0_2_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_2517-5_0_2_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_2517-5_0_2_node_118 | 0.4 | n |  | TRUE
26 | bus_LV_2517-5_0_2_node_116 | 0.4 | n |  | TRUE
27 | bus_LV_2517-5_0_2_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_2517-5_0_2_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_2517-5_0_2_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_2517-5_0_2_node_147 | 0.4 | n |  | TRUE
31 | bus_LV_2517-5_0_2_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_2517-5_0_2_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_2517-5_0_2_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_2517-5_0_2_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_2517-5_0_2_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_2517-5_0_2_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_2517-5_0_2_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_2517-5_0_2_node_99 | 0.4 | n |  | TRUE
39 | bus_LV_2517-5_0_2_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_2517-5_0_2_node_100 | 0.4 | n |  | TRUE
41 | bus_LV_2517-5_0_2_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_2517-5_0_2_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_2517-5_0_2_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_2517-5_0_2_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_2517-5_0_2_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_2517-5_0_2_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_2517-5_0_2_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_2517-5_0_2_node_90 | 0.4 | n |  | TRUE
49 | bus_LV_2517-5_0_2_node_89 | 0.4 | n |  | TRUE
50 | bus_LV_2517-5_0_2_node_91 | 0.4 | n |  | TRUE
51 | bus_LV_2517-5_0_2_node_136 | 0.4 | n |  | TRUE
52 | bus_LV_2517-5_0_2_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_2517-5_0_2_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_2517-5_0_2_node_88 | 0.4 | n |  | TRUE
55 | bus_LV_2517-5_0_2_node_92 | 0.4 | n |  | TRUE
56 | bus_LV_2517-5_0_2_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_2517-5_0_2_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_2517-5_0_2_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_2517-5_0_2_node_142 | 0.4 | n |  | TRUE
60 | bus_LV_2517-5_0_2_node_102 | 0.4 | n |  | TRUE
61 | bus_LV_2517-5_0_2_node_80 | 0.4 | n |  | TRUE
62 | bus_LV_2517-5_0_2_node_81 | 0.4 | n |  | TRUE
63 | bus_LV_2517-5_0_2_node_82 | 0.4 | n |  | TRUE
64 | bus_LV_2517-5_0_2_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_2517-5_0_2_node_84 | 0.4 | n |  | TRUE
66 | bus_LV_2517-5_0_2_node_131 | 0.4 | n |  | TRUE
67 | bus_LV_2517-5_0_2_node_101 | 0.4 | n |  | TRUE
68 | bus_LV_2517-5_0_2_node_134 | 0.4 | n |  | TRUE
69 | bus_LV_2517-5_0_2_node_103 | 0.4 | n |  | TRUE
70 | bus_LV_2517-5_0_2_node_93 | 0.4 | n |  | TRUE
71 | bus_LV_2517-5_0_2_node_129 | 0.4 | n |  | TRUE
72 | bus_LV_2517-5_0_2_node_130 | 0.4 | n |  | TRUE
73 | bus_LV_2517-5_0_2_node_153 | 0.4 | n |  | TRUE
74 | bus_LV_2517-5_0_2_node_152 | 0.4 | n |  | TRUE
75 | bus_LV_2517-5_0_2_node_105 | 0.4 | n |  | TRUE
76 | bus_LV_2517-5_0_2_node_111 | 0.4 | n |  | TRUE
77 | bus_LV_2517-5_0_2_node_112 | 0.4 | n |  | TRUE
78 | bus_LV_2517-5_0_2_node_113 | 0.4 | n |  | TRUE
79 | bus_LV_2517-5_0_2_node_114 | 0.4 | n |  | TRUE
80 | bus_LV_2517-5_0_2_node_121 | 0.4 | n |  | TRUE
81 | bus_LV_2517-5_0_2_node_126 | 0.4 | n |  | TRUE
82 | bus_LV_2517-5_0_2_node_125 | 0.4 | n |  | TRUE
83 | bus_LV_2517-5_0_2_node_127 | 0.4 | n |  | TRUE
84 | bus_MV_392_0_node_177 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2517-5_0_2_load_0 | 0 | 0.0020003 | 0.00050131 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2517-5_0_2_load_1 | 1 | 0.0032443 | 0.0008131 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2517-5_0_2_load_3 | 3 | 0.0025764 | 0.0006457 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2517-5_0_2_load_4 | 4 | 0.0018054 | 0.00045248 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2517-5_0_2_load_70 | 7 | 0.0025876 | 0.00064851 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2517-5_0_2_load_140 | 9 | 0.0020974 | 0.00052566 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2517-5_0_2_load_35 | 10 | 0.0028982 | 0.00072636 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2517-5_0_2_load_47 | 11 | 0.0019558 | 0.00049016 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2517-5_0_2_load_64 | 12 | 0.0042669 | 0.0010694 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2517-5_0_2_load_61 | 13 | 0.0014604 | 0.00036601 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2517-5_0_2_load_128 | 14 | 0.0027439 | 0.00068769 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2517-5_0_2_load_120 | 15 | 0.0013932 | 0.00034916 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2517-5_0_2_load_13 | 16 | 0.0013394 | 0.00033567 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2517-5_0_2_load_16 | 19 | 0.0018972 | 0.00047549 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2517-5_0_2_load_17 | 20 | 0.0043733 | 0.0010961 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2517-5_0_2_load_18 | 21 | 0.0063501 | 0.0015915 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2517-5_0_2_load_46 | 23 | 0.002937 | 0.00073609 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2517-5_0_2_load_56 | 24 | 0.0043739 | 0.0010962 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2517-5_0_2_load_118 | 25 | 0.0043733 | 0.001096 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2517-5_0_2_load_116 | 26 | 0.010529 | 0.0026389 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2517-5_0_2_load_34 | 27 | 0.0041653 | 0.0010439 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2517-5_0_2_load_31 | 28 | 0.0018622 | 0.0004667 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2517-5_0_2_load_55 | 29 | 0.0043721 | 0.0010958 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2517-5_0_2_load_147 | 30 | 0.0058895 | 0.001476 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2517-5_0_2_load_32 | 31 | 0.0026486 | 0.0006638 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2517-5_0_2_load_20 | 32 | 0.0026242 | 0.00065769 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2517-5_0_2_load_21 | 33 | 0.0016176 | 0.00040541 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2517-5_0_2_load_22 | 34 | 0.0010642 | 0.0002667 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2517-5_0_2_load_23 | 35 | 0.0033591 | 0.00084188 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2517-5_0_2_load_24 | 36 | 0.0016787 | 0.00042072 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2517-5_0_2_load_53 | 37 | 0.002657 | 0.0006659 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2517-5_0_2_load_99 | 38 | 0.001913 | 0.00047945 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2517-5_0_2_load_100 | 40 | 0.0046201 | 0.0011579 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2517-5_0_2_load_57 | 41 | 0.001907 | 0.00047793 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2517-5_0_2_load_25 | 42 | 0.0025507 | 0.00063926 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2517-5_0_2_load_26 | 43 | 0.0030609 | 0.00076713 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2517-5_0_2_load_29 | 46 | 0.0015153 | 0.00037976 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2517-5_0_2_load_30 | 47 | 0.0030631 | 0.00076769 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2517-5_0_2_load_90 | 48 | 0.002945 | 0.00073809 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2517-5_0_2_load_89 | 49 | 0.0015294 | 0.0003833 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2517-5_0_2_load_91 | 50 | 0.0023153 | 0.00058027 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2517-5_0_2_load_65 | 53 | 0.0030912 | 0.00077472 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2517-5_0_2_load_88 | 54 | 0.0028266 | 0.00070842 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2517-5_0_2_load_92 | 55 | 0.0015952 | 0.00039979 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2517-5_0_2_load_58 | 56 | 0.0014786 | 0.00037057 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2517-5_0_2_load_59 | 57 | 0.0017409 | 0.00043631 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2517-5_0_2_load_142 | 59 | 0.0018055 | 0.00045249 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2517-5_0_2_load_102 | 60 | 0.0028763 | 0.00072088 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2517-5_0_2_load_80 | 61 | 0.0017304 | 0.00043368 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2517-5_0_2_load_81 | 62 | 0.0019166 | 0.00048035 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2517-5_0_2_load_82 | 63 | 0.0030853 | 0.00077324 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2517-5_0_2_load_83 | 64 | 0.0020034 | 0.00050211 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2517-5_0_2_load_84 | 65 | 0.0022673 | 0.00056823 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2517-5_0_2_load_131 | 66 | 0.0018599 | 0.00046614 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2517-5_0_2_load_134 | 68 | 0.00074637 | 0.00018706 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2517-5_0_2_load_103 | 69 | 0.0028117 | 0.00070469 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2517-5_0_2_load_93 | 70 | 0.0014514 | 0.00036375 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2517-5_0_2_load_129 | 71 | 0.002082 | 0.00052181 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2517-5_0_2_load_130 | 72 | 0.0018973 | 0.00047551 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2517-5_0_2_load_153 | 73 | 0.0060215 | 0.0015091 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2517-5_0_2_load_152 | 74 | 0.0016148 | 0.0004047 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2517-5_0_2_load_105 | 75 | 0.0048521 | 0.0012161 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2517-5_0_2_load_111 | 76 | 0.0020371 | 0.00051054 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2517-5_0_2_load_112 | 77 | 0.0019943 | 0.00049981 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2517-5_0_2_load_113 | 78 | 0.0019839 | 0.00049722 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2517-5_0_2_load_121 | 80 | 0.0018968 | 0.00047538 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2517-5_0_2_load_126 | 81 | 0.0020021 | 0.00050177 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2517-5_0_2_load_125 | 82 | 0.0019254 | 0.00048256 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2517-5_0_2_load_127 | 83 | 0.0015536 | 0.00038937 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2517-5_0_2_line_0 |  | 0 | 1 | 0.025576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2517-5_0_2_line_1 |  | 0 | 2 | 0.017927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2517-5_0_2_line_2 |  | 1 | 3 | 0.0085819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2517-5_0_2_line_3 |  | 2 | 4 | 0.023089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2517-5_0_2_line_4 |  | 2 | 5 | 0.015049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2517-5_0_2_line_5 |  | 3 | 6 | 0.011127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2517-5_0_2_line_6 |  | 4 | 7 | 0.034606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2517-5_0_2_line_7 |  | 5 | 8 | 0.01865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2517-5_0_2_line_8 |  | 5 | 9 | 0.017586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2517-5_0_2_line_9 |  | 6 | 10 | 0.013459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2517-5_0_2_line_10 |  | 7 | 11 | 0.02163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2517-5_0_2_line_11 |  | 8 | 12 | 0.015992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2517-5_0_2_line_12 |  | 8 | 13 | 0.0083175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2517-5_0_2_line_13 |  | 9 | 14 | 0.0083383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2517-5_0_2_line_14 |  | 10 | 15 | 0.02892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2517-5_0_2_line_15 |  | 11 | 23 | 0.0050515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2517-5_0_2_line_16 |  | 12 | 54 | 0.011303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2517-5_0_2_line_17 |  | 13 | 52 | 0.010083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2517-5_0_2_line_18 |  | 14 | 83 | 0.017242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2517-5_0_2_line_19 |  | 16 | 17 | 0.020074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2517-5_0_2_line_20 |  | 16 | 18 | 0.024775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2517-5_0_2_line_21 |  | 17 | 19 | 0.01937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2517-5_0_2_line_22 |  | 17 | 20 | 0.0093776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2517-5_0_2_line_23 |  | 18 | 21 | 0.03559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2517-5_0_2_line_24 |  | 18 | 22 | 0.006668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2517-5_0_2_line_25 |  | 19 | 23 | 0.024174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2517-5_0_2_line_26 |  | 20 | 24 | 0.014283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2517-5_0_2_line_27 |  | 21 | 25 | 0.014665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2517-5_0_2_line_28 |  | 21 | 26 | 0.031893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2517-5_0_2_line_29 |  | 22 | 27 | 0.019711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2517-5_0_2_line_30 |  | 22 | 28 | 0.047739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2517-5_0_2_line_31 |  | 24 | 29 | 0.022944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2517-5_0_2_line_32 |  | 27 | 30 | 0.014256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2517-5_0_2_line_33 |  | 28 | 31 | 0.027474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2517-5_0_2_line_34 |  | 29 | 37 | 0.12251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2517-5_0_2_line_35 |  | 32 | 33 | 0.016432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2517-5_0_2_line_36 |  | 32 | 34 | 0.0081013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2517-5_0_2_line_37 |  | 33 | 35 | 0.015829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2517-5_0_2_line_38 |  | 34 | 36 | 0.018154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2517-5_0_2_line_39 |  | 35 | 38 | 0.01889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2517-5_0_2_line_40 |  | 36 | 39 | 0.032973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2517-5_0_2_line_41 |  | 37 | 39 | 0.032969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2517-5_0_2_line_42 |  | 38 | 40 | 0.019104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2517-5_0_2_line_43 |  | 39 | 41 | 0.015805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2517-5_0_2_line_44 |  | 42 | 43 | 0.0010936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2517-5_0_2_line_45 |  | 43 | 44 | 0.02048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2517-5_0_2_line_46 |  | 44 | 48 | 0.016432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2517-5_0_2_line_47 |  | 44 | 49 | 0.0079448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2517-5_0_2_line_48 |  | 45 | 46 | 0.023175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2517-5_0_2_line_49 |  | 45 | 47 | 0.013513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2517-5_0_2_line_50 |  | 46 | 50 | 0.0039177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2517-5_0_2_line_51 |  | 47 | 51 | 0.010723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2517-5_0_2_line_52 |  | 48 | 51 | 0.015519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2517-5_0_2_line_53 |  | 49 | 54 | 0.007877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2517-5_0_2_line_54 |  | 50 | 55 | 0.011408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2517-5_0_2_line_55 |  | 52 | 53 | 0.024403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2517-5_0_2_line_56 |  | 53 | 58 | 0.012424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2517-5_0_2_line_57 |  | 55 | 70 | 0.0039531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2517-5_0_2_line_58 |  | 56 | 57 | 0.020212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2517-5_0_2_line_59 |  | 57 | 58 | 0.031016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2517-5_0_2_line_60 |  | 58 | 59 | 0.013533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2517-5_0_2_line_61 |  | 59 | 60 | 0.022717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2517-5_0_2_line_62 |  | 60 | 67 | 0.010287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2517-5_0_2_line_63 |  | 61 | 62 | 0.016718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2517-5_0_2_line_64 |  | 61 | 63 | 0.001023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2517-5_0_2_line_65 |  | 62 | 64 | 0.00093526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2517-5_0_2_line_66 |  | 63 | 65 | 0.018339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2517-5_0_2_line_67 |  | 64 | 66 | 0.017398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2517-5_0_2_line_68 |  | 65 | 67 | 0.01337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2517-5_0_2_line_69 |  | 66 | 68 | 0.016387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2517-5_0_2_line_70 |  | 67 | 69 | 0.018494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2517-5_0_2_line_71 |  | 69 | 73 | 0.014805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2517-5_0_2_line_72 |  | 70 | 71 | 0.024206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2517-5_0_2_line_73 |  | 71 | 72 | 0.017942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2517-5_0_2_line_74 |  | 72 | 75 | 0.0038452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2517-5_0_2_line_75 |  | 73 | 74 | 0.0064393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2517-5_0_2_line_76 |  | 76 | 77 | 0.011412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2517-5_0_2_line_77 |  | 76 | 78 | 0.02009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2517-5_0_2_line_78 |  | 77 | 79 | 0.021472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2517-5_0_2_line_79 |  | 79 | 80 | 0.005442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2517-5_0_2_line_80 |  | 80 | 81 | 0.024415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2517-5_0_2_line_81 |  | 81 | 82 | 0.0037544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2517-5_0_2_line_82 |  | 82 | 83 | 0.0037841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2517-5_0_2_trafo_147 | 0.63 MVA 20/0.4 kV | 84 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2611407.044 | 1227474.499 | 2611402.6159 | 1227449.3096
1 | 2611410.148 | 1227492.1556 | 2611407.044 | 1227474.499
2 | 2611402.6159 | 1227449.3096 | 2611401.13 | 1227440.8573
3 | 2611410.148 | 1227492.1556 | 2611418.6321 | 1227489.6036 | 2611431.3406 | 1227483.2037
4 | 2611412.5975 | 1227507.0024 | 2611410.148 | 1227492.1556
5 | 2611399.2034 | 1227429.898 | 2611401.13 | 1227440.8573
6 | 2611463.3993 | 1227471.1842 | 2611460.079 | 1227471.1053 | 2611447.7732 | 1227474.9284 | 2611431.3406 | 1227483.2037
7 | 2611412.5975 | 1227507.0024 | 2611414.9036 | 1227525.5066
8 | 2611412.5975 | 1227507.0024 | 2611397.3825 | 1227515.8221
9 | 2611399.2034 | 1227429.898 | 2611395.9541 | 1227416.8367
10 | 2611484.6613 | 1227468.6748 | 2611474.3242 | 1227471.4439 | 2611463.3993 | 1227471.1842
11 | 2611414.9036 | 1227525.5066 | 2611430.8956 | 1227525.3874
12 | 2611414.9036 | 1227525.5066 | 2611415.8058 | 1227533.7751
13 | 2611390.1685 | 1227520.0038 | 2611397.3825 | 1227515.8221
14 | 2611395.9541 | 1227416.8367 | 2611388.9722 | 1227388.7717
15 | 2611484.6613 | 1227468.6748 | 2611489.5408 | 1227467.3678
16 | 2611430.8956 | 1227525.3874 | 2611442.1982 | 1227525.3031
17 | 2611416.8995 | 1227543.799 | 2611415.8058 | 1227533.7751
18 | 2611375.2517 | 1227528.6506 | 2611390.1685 | 1227520.0038
19 | 2611531.6024 | 1227456.1005 | 2611535.3665 | 1227475.8188
20 | 2611540.0119 | 1227500.1539 | 2611535.3665 | 1227475.8188
21 | 2611531.6024 | 1227456.1005 | 2611512.8916 | 1227461.1127
22 | 2611531.6024 | 1227456.1005 | 2611529.4333 | 1227446.9772
23 | 2611540.0119 | 1227500.1539 | 2611575.1835 | 1227494.0849
24 | 2611540.4992 | 1227506.8032 | 2611540.0119 | 1227500.1539
25 | 2611512.8916 | 1227461.1127 | 2611489.5408 | 1227467.3678
26 | 2611526.1295 | 1227433.0817 | 2611529.4333 | 1227446.9772
27 | 2611575.1835 | 1227494.0849 | 2611589.8294 | 1227494.8359
28 | 2611575.1835 | 1227494.0849 | 2611574.6767 | 1227517.0864 | 2611572.9322 | 1227525.7993
29 | 2611540.4992 | 1227506.8032 | 2611521.236 | 1227510.9789
30 | 2611540.4992 | 1227506.8032 | 2611542.8412 | 1227530.0437 | 2611542.0442 | 1227554.4114
31 | 2611520.1107 | 1227410.9543 | 2611523.4017 | 1227421.6088 | 2611526.1295 | 1227433.0817
32 | 2611507.3033 | 1227513.9991 | 2611521.236 | 1227510.9789
33 | 2611541.146 | 1227581.8706 | 2611542.0442 | 1227554.4114
34 | 2611520.1107 | 1227410.9543 | 2611500.3481 | 1227290.0516
35 | 2611551.269 | 1227272.7975 | 2611567.1578 | 1227276.986
36 | 2611543.4353 | 1227270.7324 | 2611551.269 | 1227272.7975
37 | 2611582.4641 | 1227281.0209 | 2611567.1578 | 1227276.986
38 | 2611543.4353 | 1227270.7324 | 2611525.8806 | 1227266.1047
39 | 2611582.4641 | 1227281.0209 | 2611600.7302 | 1227285.8361
40 | 2611493.9973 | 1227257.6999 | 2611525.8806 | 1227266.1047
41 | 2611493.9973 | 1227257.6999 | 2611500.3481 | 1227290.0516
42 | 2611619.2027 | 1227290.7057 | 2611600.7302 | 1227285.8361
43 | 2611493.9973 | 1227257.6999 | 2611490.7641 | 1227242.2294
44 | 2611461.6358 | 1227541.3616 | 2611460.5618 | 1227541.1555
45 | 2611441.3041 | 1227541.0996 | 2611445.2424 | 1227538.2165 | 2611460.5618 | 1227541.1555
46 | 2611441.3041 | 1227541.0996 | 2611443.5567 | 1227557.3769
47 | 2611441.3041 | 1227541.0996 | 2611441.7531 | 1227533.1675
48 | 2611468.892 | 1227565.767 | 2611476.398 | 1227563.5023 | 2611491.7077 | 1227562.6286
49 | 2611468.892 | 1227565.767 | 2611455.9519 | 1227569.6599
50 | 2611491.7077 | 1227562.6286 | 2611495.619 | 1227562.4054
51 | 2611445.684 | 1227572.7489 | 2611455.9519 | 1227569.6599
52 | 2611445.684 | 1227572.7489 | 2611443.5567 | 1227557.3769
53 | 2611441.7531 | 1227533.1675 | 2611442.1982 | 1227525.3031 | 2611442.1982 | 1227525.3031
54 | 2611495.619 | 1227562.4054 | 2611500.8986 | 1227562.1041 | 2611504.6284 | 1227566.9555
55 | 2611416.8995 | 1227543.799 | 2611418.8866 | 1227568.1214
56 | 2611419.8982 | 1227580.5042 | 2611418.8866 | 1227568.1214
57 | 2611504.6284 | 1227566.9555 | 2611506.1972 | 1227568.9961 | 2611506.1215 | 1227570.3731
58 | 2611371.44 | 1227597.1195 | 2611390.5593 | 1227590.5639
59 | 2611419.8982 | 1227580.5042 | 2611390.5593 | 1227590.5639
60 | 2611419.8982 | 1227580.5042 | 2611420.4519 | 1227594.0261
61 | 2611421.3814 | 1227616.7237 | 2611420.4519 | 1227594.0261
62 | 2611421.8023 | 1227627.002 | 2611421.3814 | 1227616.7237
63 | 2611422.759 | 1227659.7198 | 2611423.2476 | 1227676.431
64 | 2611422.7291 | 1227658.6972 | 2611422.759 | 1227659.7198
65 | 2611423.2476 | 1227676.431 | 2611423.275 | 1227677.3659
66 | 2611422.7291 | 1227658.6972 | 2611422.1931 | 1227640.366
67 | 2611423.7835 | 1227694.756 | 2611423.275 | 1227677.3659
68 | 2611421.8023 | 1227627.002 | 2611422.1931 | 1227640.366
69 | 2611424.2625 | 1227711.1359 | 2611423.7835 | 1227694.756
70 | 2611421.8023 | 1227627.002 | 2611403.7738 | 1227631.1261
71 | 2611403.7738 | 1227631.1261 | 2611389.3411 | 1227634.4276
72 | 2611504.7934 | 1227594.5422 | 2611506.1215 | 1227570.3731
73 | 2611503.809 | 1227612.4575 | 2611504.7934 | 1227594.5422
74 | 2611503.809 | 1227612.4575 | 2611503.598 | 1227616.2968 | 2611503.598 | 1227616.2968
75 | 2611389.3411 | 1227634.4276 | 2611383.064 | 1227635.8635
76 | 2611343.7504 | 1227514.5313 | 2611343.4547 | 1227525.9398
77 | 2611343.7504 | 1227514.5313 | 2611343.904 | 1227508.606 | 2611348.1401 | 1227495.0917
78 | 2611342.8984 | 1227547.4048 | 2611343.4547 | 1227525.9398
79 | 2611342.8984 | 1227547.4048 | 2611347.6065 | 1227544.6757
80 | 2611347.6065 | 1227544.6757 | 2611368.7297 | 1227532.4312
81 | 2611371.9779 | 1227530.5483 | 2611368.7297 | 1227532.4312
82 | 2611375.2517 | 1227528.6506 | 2611371.9779 | 1227530.5483

## bus_geodata
| x | y | coords
0 | 2611407.044 | 1227474.499
1 | 2611402.6159 | 1227449.3096
2 | 2611410.148 | 1227492.1556
3 | 2611401.13 | 1227440.8573
4 | 2611431.3406 | 1227483.2037
5 | 2611412.5975 | 1227507.0024
6 | 2611399.2034 | 1227429.898
7 | 2611463.3993 | 1227471.1842
8 | 2611414.9036 | 1227525.5066
9 | 2611397.3825 | 1227515.8221
10 | 2611395.9541 | 1227416.8367
11 | 2611484.6613 | 1227468.6748
12 | 2611430.8956 | 1227525.3874
13 | 2611415.8058 | 1227533.7751
14 | 2611390.1685 | 1227520.0038
15 | 2611388.9722 | 1227388.7717
16 | 2611535.3665 | 1227475.8188
17 | 2611531.6024 | 1227456.1005
18 | 2611540.0119 | 1227500.1539
19 | 2611512.8916 | 1227461.1127
20 | 2611529.4333 | 1227446.9773
21 | 2611575.1835 | 1227494.0849
22 | 2611540.4992 | 1227506.8032
23 | 2611489.5408 | 1227467.3678
24 | 2611526.1295 | 1227433.0817
25 | 2611589.8294 | 1227494.8359
26 | 2611572.9322 | 1227525.7993
27 | 2611521.236 | 1227510.9789
28 | 2611542.0442 | 1227554.4114
29 | 2611520.1107 | 1227410.9543
30 | 2611507.3033 | 1227513.9991
31 | 2611541.146 | 1227581.8706
32 | 2611551.269 | 1227272.7975
33 | 2611567.1578 | 1227276.986
34 | 2611543.4353 | 1227270.7324
35 | 2611582.4641 | 1227281.0209
36 | 2611525.8806 | 1227266.1047
37 | 2611500.3481 | 1227290.0516
38 | 2611600.7302 | 1227285.8361
39 | 2611493.9973 | 1227257.6999
40 | 2611619.2027 | 1227290.7057
41 | 2611490.7641 | 1227242.2294
42 | 2611461.6358 | 1227541.3616
43 | 2611460.5618 | 1227541.1555
44 | 2611441.3041 | 1227541.0996
45 | 2611468.892 | 1227565.767
46 | 2611491.7077 | 1227562.6286
47 | 2611455.9519 | 1227569.6599
48 | 2611443.5567 | 1227557.3769
49 | 2611441.7531 | 1227533.1675
50 | 2611495.619 | 1227562.4054
51 | 2611445.684 | 1227572.7489
52 | 2611416.8995 | 1227543.799
53 | 2611418.8866 | 1227568.1214
54 | 2611442.1982 | 1227525.3031
55 | 2611504.6284 | 1227566.9555
56 | 2611371.44 | 1227597.1195
57 | 2611390.5593 | 1227590.5639
58 | 2611419.8982 | 1227580.5042
59 | 2611420.4519 | 1227594.0261
60 | 2611421.3814 | 1227616.7237
61 | 2611422.759 | 1227659.7198
62 | 2611423.2476 | 1227676.431
63 | 2611422.7291 | 1227658.6972
64 | 2611423.275 | 1227677.3659
65 | 2611422.1931 | 1227640.366
66 | 2611423.7835 | 1227694.756
67 | 2611421.8023 | 1227627.002
68 | 2611424.2625 | 1227711.1359
69 | 2611403.7738 | 1227631.1261
70 | 2611506.1215 | 1227570.3731
71 | 2611504.7934 | 1227594.5422
72 | 2611503.809 | 1227612.4575
73 | 2611389.3411 | 1227634.4276
74 | 2611383.064 | 1227635.8635
75 | 2611503.598 | 1227616.2968
76 | 2611343.7504 | 1227514.5313
77 | 2611343.4547 | 1227525.9398
78 | 2611348.1401 | 1227495.0917
79 | 2611342.8984 | 1227547.4048
80 | 2611347.6065 | 1227544.6757
81 | 2611368.7297 | 1227532.4312
82 | 2611371.9779 | 1227530.5483
83 | 2611375.2517 | 1227528.6506
84 | 2611540.4992 | 1227506.8032

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98059 | -0.37211 | 0.0020003 | 0.00050131
1 | 0.98035 | -0.3768 | 0.0032443 | 0.0008131
2 | 0.98079 | -0.36817 | 0 | 0
3 | 0.9803 | -0.37787 | 0.0025764 | 0.0006457
4 | 0.983 | -0.32525 | 0.0018054 | 0.00045248
5 | 0.97953 | -0.39294 | 0 | 0
6 | 0.98026 | -0.37874 | 0 | 0
7 | 0.98636 | -0.26016 | 0.0025876 | 0.00064851
8 | 0.97827 | -0.41753 | 0 | 0
9 | 0.97923 | -0.39877 | 0.0020974 | 0.00052566
10 | 0.9802 | -0.37978 | 0.0028982 | 0.00072636
11 | 0.98851 | -0.2187 | 0.0019558 | 0.00049016
12 | 0.97774 | -0.42801 | 0.0042669 | 0.0010694
13 | 0.97799 | -0.42306 | 0.0014604 | 0.00036601
14 | 0.9791 | -0.40122 | 0.0027439 | 0.00068769
15 | 0.98016 | -0.38052 | 0.0013932 | 0.00034916
16 | 0.99497 | -0.095326 | 0.0013394 | 0.00033567
17 | 0.99359 | -0.12162 | 0 | 0
18 | 0.99669 | -0.062683 | 0 | 0
19 | 0.99154 | -0.16069 | 0.0018972 | 0.00047549
20 | 0.99329 | -0.12735 | 0.0043733 | 0.0010961
21 | 0.996 | -0.075964 | 0.0063501 | 0.0015915
22 | 0.99722 | -0.052674 | 0 | 0
23 | 0.98903 | -0.20887 | 0.002937 | 0.00073609
24 | 0.9929 | -0.13497 | 0.0043739 | 0.0010962
25 | 0.99594 | -0.077091 | 0.0043733 | 0.001096
26 | 0.9957 | -0.081866 | 0.010529 | 0.0026389
27 | 0.99882 | -0.022373 | 0.0041653 | 0.0010439
28 | 0.99702 | -0.056451 | 0.0018622 | 0.0004667
29 | 0.99236 | -0.14545 | 0.0043721 | 0.0010958
30 | 1 | 0 | -0.18424 | -0.046817
31 | 0.99696 | -0.057727 | 0.0026486 | 0.0006638
32 | 0.98851 | -0.21997 | 0.0026242 | 0.00065769
33 | 0.98834 | -0.22334 | 0.0016176 | 0.00040541
34 | 0.98862 | -0.21793 | 0.0010642 | 0.0002667
35 | 0.98819 | -0.22614 | 0.0033591 | 0.00084188
36 | 0.98887 | -0.21301 | 0.0016787 | 0.00042072
37 | 0.98995 | -0.19207 | 0.002657 | 0.0006659
38 | 0.98808 | -0.22834 | 0.001913 | 0.00047945
39 | 0.98938 | -0.20309 | 0 | 0
40 | 0.988 | -0.22992 | 0.0046201 | 0.0011579
41 | 0.98935 | -0.20363 | 0.001907 | 0.00047793
42 | 0.97688 | -0.4448 | 0.0025507 | 0.00063926
43 | 0.97688 | -0.44475 | 0.0030609 | 0.00076713
44 | 0.97699 | -0.44265 | 0 | 0
45 | 0.976 | -0.46206 | 0 | 0
46 | 0.97567 | -0.46873 | 0.0015153 | 0.00037976
47 | 0.9762 | -0.45818 | 0.0030631 | 0.00076769
48 | 0.97666 | -0.44917 | 0.002945 | 0.00073809
49 | 0.97719 | -0.43869 | 0.0015294 | 0.0003833
50 | 0.97561 | -0.46975 | 0.0023153 | 0.00058027
51 | 0.97639 | -0.4545 | 0 | 0
52 | 0.97766 | -0.42951 | 0 | 0
53 | 0.97686 | -0.44512 | 0.0030912 | 0.00077472
54 | 0.9774 | -0.43454 | 0.0028266 | 0.00070842
55 | 0.97549 | -0.47223 | 0.0015952 | 0.00039979
56 | 0.97638 | -0.45475 | 0.0014786 | 0.00037057
57 | 0.9764 | -0.4542 | 0.0017409 | 0.00043631
58 | 0.9765 | -0.45238 | 0 | 0
59 | 0.97613 | -0.45949 | 0.0018055 | 0.00045249
60 | 0.97557 | -0.47069 | 0.0028763 | 0.00072088
61 | 0.97496 | -0.48253 | 0.0017304 | 0.00043368
62 | 0.97486 | -0.48453 | 0.0019166 | 0.00048035
63 | 0.97497 | -0.48237 | 0.0030853 | 0.00077324
64 | 0.97486 | -0.48461 | 0.0020034 | 0.00050211
65 | 0.97517 | -0.47856 | 0.0022673 | 0.00056823
66 | 0.97482 | -0.48544 | 0.0018599 | 0.00046614
67 | 0.97534 | -0.47522 | 0 | 0
68 | 0.97481 | -0.48566 | 0.00074637 | 0.00018706
69 | 0.97516 | -0.47876 | 0.0028117 | 0.00070469
70 | 0.97545 | -0.47297 | 0.0014514 | 0.00036375
71 | 0.97525 | -0.47689 | 0.002082 | 0.00052181
72 | 0.97514 | -0.47911 | 0.0018973 | 0.00047551
73 | 0.97505 | -0.48084 | 0.0060215 | 0.0015091
74 | 0.97504 | -0.48103 | 0.0016148 | 0.0004047
75 | 0.97512 | -0.47945 | 0.0048521 | 0.0012161
76 | 0.97844 | -0.41421 | 0.0020371 | 0.00051054
77 | 0.97849 | -0.41337 | 0.0019943 | 0.00049981
78 | 0.97841 | -0.41493 | 0.0019839 | 0.00049722
79 | 0.97861 | -0.41102 | 0 | 0
80 | 0.97864 | -0.41043 | 0.0018968 | 0.00047538
81 | 0.97882 | -0.40691 | 0.0020021 | 0.00050177
82 | 0.97885 | -0.40623 | 0.0019254 | 0.00048256
83 | 0.97889 | -0.40542 | 0.0015536 | 0.00038937
84 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.010115 | 0.0025352 | -0.010113 | -0.002534 | 2.2596e-06 | 1.1236e-06 | 0.015349 | 0.015349 | 0.015349 | 0.98059 | -0.37211 | 0.98035 | -0.3768 | 4.2169
1 | -0.012115 | -0.0030365 | 0.012118 | 0.0030377 | 2.2722e-06 | 1.228e-06 | 0.018385 | 0.018385 | 0.018385 | 0.98059 | -0.37211 | 0.98079 | -0.36817 | 5.0507
2 | 0.0068685 | 0.0017209 | -0.0068682 | -0.0017208 | 3.4977e-07 | 1.1565e-07 | 0.010425 | 0.010425 | 0.010425 | 0.98035 | -0.3768 | 0.9803 | -0.37787 | 2.8641
3 | -0.10318 | -0.025996 | 0.10339 | 0.026131 | 0.00021231 | 0.00013558 | 0.15659 | 0.15659 | 0.15659 | 0.98079 | -0.36817 | 0.983 | -0.32525 | 43.0195
4 | 0.091064 | 0.022958 | -0.090956 | -0.022889 | 0.00010779 | 6.8799e-05 | 0.13821 | 0.13821 | 0.13821 | 0.98079 | -0.36817 | 0.97953 | -0.39294 | 37.9688
5 | 0.0042918 | 0.0010751 | -0.0042916 | -0.0010752 | 1.7709e-07 | -2.6947e-08 | 0.0065144 | 0.0065145 | 0.0065145 | 0.9803 | -0.37787 | 0.98026 | -0.37874 | 1.7897
6 | -0.1052 | -0.026584 | 0.10553 | 0.026794 | 0.00032941 | 0.00021038 | 0.15932 | 0.15932 | 0.15932 | 0.983 | -0.32525 | 0.98636 | -0.26016 | 43.7702
7 | 0.072709 | 0.018312 | -0.072623 | -0.018258 | 8.5373e-05 | 5.4404e-05 | 0.11049 | 0.11049 | 0.11049 | 0.97953 | -0.39294 | 0.97827 | -0.41753 | 30.3531
8 | 0.018247 | 0.0045765 | -0.018242 | -0.0045735 | 5.0679e-06 | 3.0222e-06 | 0.027721 | 0.027721 | 0.027721 | 0.97953 | -0.39294 | 0.97923 | -0.39877 | 7.6157
9 | 0.0042916 | 0.0010752 | -0.0042914 | -0.0010752 | 2.142e-07 | -3.2575e-08 | 0.0065145 | 0.0065146 | 0.0065146 | 0.98026 | -0.37874 | 0.9802 | -0.37978 | 1.7897
10 | -0.10812 | -0.027442 | 0.10833 | 0.027581 | 0.0002161 | 0.00013803 | 0.16323 | 0.16323 | 0.16323 | 0.98636 | -0.26016 | 0.98851 | -0.2187 | 44.8426
11 | 0.036018 | 0.0090505 | -0.036 | -0.0090391 | 1.8006e-05 | 1.1323e-05 | 0.054794 | 0.054795 | 0.054795 | 0.97827 | -0.41753 | 0.97774 | -0.42801 | 15.0535
12 | 0.036605 | 0.0092076 | -0.036595 | -0.0092015 | 9.6737e-06 | 6.0868e-06 | 0.055691 | 0.055691 | 0.055691 | 0.97827 | -0.41753 | 0.97799 | -0.42306 | 15.2997
13 | 0.016145 | 0.0040478 | -0.016143 | -0.0040467 | 1.8821e-06 | 1.0997e-06 | 0.024534 | 0.024534 | 0.024534 | 0.97923 | -0.39877 | 0.9791 | -0.40122 | 6.7401
14 | 0.0013932 | 0.00034883 | -0.0013932 | -0.00034916 | 4.8511e-08 | -3.3348e-07 | 0.0021149 | 0.002115 | 0.002115 | 0.9802 | -0.37978 | 0.98016 | -0.38052 | 0.58105
15 | -0.11029 | -0.028071 | 0.11034 | 0.028104 | 5.2307e-05 | 3.3412e-05 | 0.16617 | 0.16617 | 0.16617 | 0.98851 | -0.2187 | 0.98903 | -0.20887 | 45.6514
16 | 0.031733 | 0.0079698 | -0.031723 | -0.0079636 | 9.8885e-06 | 6.1869e-06 | 0.048301 | 0.048301 | 0.048301 | 0.97774 | -0.42801 | 0.9774 | -0.43454 | 13.2695
17 | 0.035135 | 0.0088355 | -0.035124 | -0.0088287 | 1.081e-05 | 6.7922e-06 | 0.053469 | 0.053469 | 0.053469 | 0.97799 | -0.42306 | 0.97766 | -0.42951 | 14.6893
18 | 0.013399 | 0.003359 | -0.013396 | -0.0033575 | 2.6812e-06 | 1.4992e-06 | 0.020364 | 0.020364 | 0.020364 | 0.9791 | -0.40122 | 0.97889 | -0.40542 | 5.5945
19 | 0.15052 | 0.038472 | -0.15033 | -0.03835 | 0.00019118 | 0.00012183 | 0.22537 | 0.22537 | 0.22537 | 0.99497 | -0.095326 | 0.99359 | -0.12162 | 30.9574
20 | -0.15186 | -0.038808 | 0.1521 | 0.038961 | 0.00024015 | 0.00015305 | 0.22737 | 0.22737 | 0.22737 | 0.99497 | -0.095326 | 0.99669 | -0.062683 | 31.2325
21 | 0.11566 | 0.029624 | -0.11544 | -0.029484 | 0.0002185 | 0.00013959 | 0.17344 | 0.17344 | 0.17344 | 0.99359 | -0.12162 | 0.99154 | -0.16069 | 47.6475
22 | 0.034669 | 0.0087265 | -0.034659 | -0.0087206 | 9.4846e-06 | 5.9487e-06 | 0.051934 | 0.051934 | 0.051934 | 0.99359 | -0.12162 | 0.99329 | -0.12735 | 14.2675
23 | 0.021269 | 0.005336 | -0.021256 | -0.0053278 | 1.3459e-05 | 8.1502e-06 | 0.031756 | 0.031756 | 0.031756 | 0.99669 | -0.062683 | 0.996 | -0.075964 | 8.7242
24 | -0.17337 | -0.044297 | 0.17345 | 0.04435 | 8.3951e-05 | 5.3555e-05 | 0.25913 | 0.25913 | 0.25913 | 0.99669 | -0.062683 | 0.99722 | -0.052674 | 35.5945
25 | 0.11354 | 0.029009 | -0.11328 | -0.02884 | 0.00026381 | 0.00016853 | 0.17059 | 0.17059 | 0.17059 | 0.99154 | -0.16069 | 0.98903 | -0.20887 | 46.8653
26 | 0.030286 | 0.0076245 | -0.030275 | -0.0076176 | 1.1031e-05 | 6.8751e-06 | 0.045382 | 0.045382 | 0.045382 | 0.99329 | -0.12735 | 0.9929 | -0.13497 | 12.4676
27 | 0.0043735 | 0.001096 | -0.0043733 | -0.001096 | 2.3479e-07 | -4.0588e-08 | 0.0065339 | 0.006534 | 0.006534 | 0.996 | -0.075964 | 0.99594 | -0.077091 | 1.795
28 | 0.010532 | 0.0026403 | -0.010529 | -0.0026389 | 2.9612e-06 | 1.4802e-06 | 0.015735 | 0.015735 | 0.015735 | 0.996 | -0.075964 | 0.9957 | -0.081866 | 4.3229
29 | -0.17796 | -0.045481 | 0.17822 | 0.045647 | 0.00026122 | 0.00016667 | 0.26586 | 0.26586 | 0.26586 | 0.99722 | -0.052674 | 0.99882 | -0.022373 | 36.5192
30 | 0.0045117 | 0.0011301 | -0.0045109 | -0.0011302 | 8.1136e-07 | -1.0343e-07 | 0.006732 | 0.0067323 | 0.0067323 | 0.99722 | -0.052674 | 0.99702 | -0.056451 | 1.8495
31 | 0.025901 | 0.0065214 | -0.025888 | -0.0065134 | 1.2971e-05 | 8.0049e-06 | 0.038827 | 0.038827 | 0.038827 | 0.9929 | -0.13497 | 0.99236 | -0.14545 | 10.6669
32 | -0.18239 | -0.046691 | 0.18259 | 0.046817 | 0.00019786 | 0.00012626 | 0.27207 | 0.27207 | 0.27207 | 0.99882 | -0.022373 | 1 | 0 | 37.3716
33 | 0.0026488 | 0.00066355 | -0.0026486 | -0.0006638 | 1.61e-07 | -2.5523e-07 | 0.0039531 | 0.0039532 | 0.0039532 | 0.99702 | -0.056451 | 0.99696 | -0.057727 | 1.086
34 | 0.021516 | 0.0054177 | -0.021468 | -0.0053886 | 4.7845e-05 | 2.9042e-05 | 0.032271 | 0.032272 | 0.032272 | 0.99236 | -0.14545 | 0.98995 | -0.19207 | 8.8659
35 | 0.011514 | 0.0028864 | -0.011512 | -0.0028855 | 1.8511e-06 | 9.7412e-07 | 0.017333 | 0.017333 | 0.017333 | 0.98851 | -0.21997 | 0.98834 | -0.22334 | 4.7617
36 | -0.014138 | -0.0035441 | 0.01414 | 0.0035449 | 1.3761e-06 | 7.7683e-07 | 0.021283 | 0.021283 | 0.021283 | 0.98851 | -0.21997 | 0.98862 | -0.21793 | 5.8469
37 | 0.0098947 | 0.0024801 | -0.0098933 | -0.0024794 | 1.3173e-06 | 6.4028e-07 | 0.014897 | 0.014897 | 0.014897 | 0.98834 | -0.22334 | 0.98819 | -0.22614 | 4.0927
38 | -0.015204 | -0.0038116 | 0.015207 | 0.0038137 | 3.5653e-06 | 2.0489e-06 | 0.022885 | 0.022884 | 0.022885 | 0.98862 | -0.21793 | 0.98887 | -0.21301 | 6.287
39 | 0.0065342 | 0.0016375 | -0.0065335 | -0.0016373 | 6.8578e-07 | 1.9692e-07 | 0.0098391 | 0.0098392 | 0.0098392 | 0.98819 | -0.22614 | 0.98808 | -0.22834 | 2.7031
40 | -0.016886 | -0.0042344 | 0.016894 | 0.0042391 | 7.9838e-06 | 4.6864e-06 | 0.02541 | 0.02541 | 0.02541 | 0.98887 | -0.21301 | 0.98938 | -0.20309 | 6.9809
41 | 0.018811 | 0.0047227 | -0.018801 | -0.0047168 | 9.8866e-06 | 5.9038e-06 | 0.028278 | 0.028278 | 0.028278 | 0.98995 | -0.19207 | 0.98938 | -0.20309 | 7.7688
42 | 0.0046205 | 0.0011579 | -0.0046201 | -0.0011579 | 3.4686e-07 | -2.2676e-08 | 0.0069583 | 0.0069583 | 0.0069583 | 0.98808 | -0.22834 | 0.988 | -0.22992 | 1.9116
43 | 0.001907 | 0.00047776 | -0.001907 | -0.00047793 | 4.8754e-08 | -1.7176e-07 | 0.0028681 | 0.0028681 | 0.0028681 | 0.98938 | -0.20309 | 0.98935 | -0.20363 | 0.78795
44 | -0.0025507 | -0.00063926 | 0.0025507 | 0.00063925 | 6.1907e-09 | -9.7297e-09 | 0.0038853 | 0.0038853 | 0.0038853 | 0.97688 | -0.4448 | 0.97688 | -0.44475 | 1.0674
45 | -0.0056116 | -0.0014064 | 0.0056121 | 0.0014065 | 5.611e-07 | 1.0268e-07 | 0.0085477 | 0.0085476 | 0.0085477 | 0.97688 | -0.44475 | 0.97699 | -0.44265 | 2.3483
46 | 0.021744 | 0.0054586 | -0.021738 | -0.0054545 | 6.76e-06 | 4.1207e-06 | 0.033121 | 0.033121 | 0.033121 | 0.97699 | -0.44265 | 0.97666 | -0.44917 | 9.0992
47 | -0.027356 | -0.0068651 | 0.027362 | 0.0068683 | 5.1729e-06 | 3.2112e-06 | 0.041669 | 0.041669 | 0.041669 | 0.97699 | -0.44265 | 0.97719 | -0.43869 | 11.4475
48 | 0.015718 | 0.0039422 | -0.015714 | -0.0039393 | 4.9914e-06 | 2.905e-06 | 0.023965 | 0.023966 | 0.023966 | 0.976 | -0.46206 | 0.97567 | -0.46873 | 6.5839
49 | -0.015718 | -0.0039422 | 0.015721 | 0.0039439 | 2.9104e-06 | 1.6937e-06 | 0.023965 | 0.023965 | 0.023965 | 0.976 | -0.46206 | 0.9762 | -0.45818 | 6.5839
50 | 0.014198 | 0.0035595 | -0.014198 | -0.0035591 | 6.8891e-07 | 3.9198e-07 | 0.021655 | 0.021655 | 0.021655 | 0.97567 | -0.46873 | 0.97561 | -0.46975 | 5.9491
51 | -0.018785 | -0.0047116 | 0.018788 | 0.0047135 | 3.2969e-06 | 1.9759e-06 | 0.028634 | 0.028634 | 0.028634 | 0.9762 | -0.45818 | 0.97639 | -0.4545 | 7.8666
52 | 0.018793 | 0.0047164 | -0.018788 | -0.0047135 | 4.7715e-06 | 2.8596e-06 | 0.028634 | 0.028634 | 0.028634 | 0.97666 | -0.44917 | 0.97639 | -0.4545 | 7.8666
53 | -0.028891 | -0.0072516 | 0.028897 | 0.0072552 | 5.7181e-06 | 3.5609e-06 | 0.043998 | 0.043998 | 0.043998 | 0.97719 | -0.43869 | 0.9774 | -0.43454 | 12.0872
54 | 0.011882 | 0.0029788 | -0.011881 | -0.0029781 | 1.4051e-06 | 7.5682e-07 | 0.018123 | 0.018123 | 0.018123 | 0.97561 | -0.46975 | 0.97549 | -0.47223 | 4.9789
55 | 0.035124 | 0.0088287 | -0.035098 | -0.0088123 | 2.6163e-05 | 1.6439e-05 | 0.053469 | 0.053469 | 0.053469 | 0.97766 | -0.42951 | 0.97686 | -0.44512 | 14.6893
56 | 0.032007 | 0.0080376 | -0.031996 | -0.0080306 | 1.1077e-05 | 6.934e-06 | 0.04876 | 0.048761 | 0.048761 | 0.97686 | -0.44512 | 0.9765 | -0.45238 | 13.3958
57 | 0.010286 | 0.0025783 | -0.010285 | -0.0025781 | 3.6493e-07 | 1.8421e-07 | 0.01569 | 0.01569 | 0.01569 | 0.97549 | -0.47223 | 0.97545 | -0.47297 | 4.3104
58 | -0.0014786 | -0.00037057 | 0.0014786 | 0.00037035 | 3.8487e-08 | -2.2816e-07 | 0.0022534 | 0.0022533 | 0.0022534 | 0.97638 | -0.45475 | 0.9764 | -0.4542 | 0.61908
59 | -0.0032195 | -0.00080666 | 0.0032198 | 0.00080645 | 2.7998e-07 | -2.0877e-07 | 0.0049064 | 0.0049063 | 0.0049064 | 0.9764 | -0.4542 | 0.9765 | -0.45238 | 1.3479
60 | 0.028776 | 0.0072242 | -0.028766 | -0.0072181 | 9.7601e-06 | 6.0773e-06 | 0.043854 | 0.043854 | 0.043854 | 0.9765 | -0.45238 | 0.97613 | -0.45949 | 12.0479
61 | 0.026961 | 0.0067656 | -0.026946 | -0.0067567 | 1.4391e-05 | 8.9267e-06 | 0.041102 | 0.041102 | 0.041102 | 0.97613 | -0.45949 | 0.97557 | -0.47069 | 11.2918
62 | 0.02407 | 0.0060358 | -0.024065 | -0.0060326 | 5.2e-06 | 3.1996e-06 | 0.036715 | 0.036715 | 0.036715 | 0.97557 | -0.47069 | 0.97534 | -0.47522 | 10.0865
63 | 0.0065271 | 0.0016355 | -0.0065264 | -0.0016353 | 6.2214e-07 | 1.897e-07 | 0.0099616 | 0.0099617 | 0.0099617 | 0.97496 | -0.48253 | 0.97486 | -0.48453 | 2.7367
64 | -0.0082575 | -0.0020692 | 0.0082575 | 0.0020692 | 6.0931e-08 | 2.6238e-08 | 0.012603 | 0.012603 | 0.012603 | 0.97496 | -0.48253 | 0.97497 | -0.48237 | 3.4623
65 | 0.0046098 | 0.001155 | -0.0046098 | -0.001155 | 1.7364e-08 | -5.4807e-10 | 0.0070362 | 0.0070362 | 0.0070362 | 0.97486 | -0.48453 | 0.97486 | -0.48461 | 1.933
66 | -0.011343 | -0.0028424 | 0.011345 | 0.0028435 | 2.061e-06 | 1.0903e-06 | 0.017311 | 0.017311 | 0.017311 | 0.97497 | -0.48237 | 0.97517 | -0.47856 | 4.7559
67 | 0.0026064 | 0.00065285 | -0.0026063 | -0.000653 | 1.0325e-07 | -1.5082e-07 | 0.0039782 | 0.0039783 | 0.0039783 | 0.97486 | -0.48461 | 0.97482 | -0.48544 | 1.0929
68 | -0.013612 | -0.0034118 | 0.013614 | 0.003413 | 2.163e-06 | 1.2175e-06 | 0.020771 | 0.020771 | 0.020771 | 0.97517 | -0.47856 | 0.97534 | -0.47522 | 5.7063
69 | 0.00074638 | 0.00018686 | -0.00074637 | -0.00018706 | 7.9762e-09 | -1.9919e-07 | 0.0011392 | 0.0011393 | 0.0011393 | 0.97482 | -0.48544 | 0.97481 | -0.48566 | 0.313
70 | 0.010451 | 0.0026197 | -0.010449 | -0.0026188 | 1.7631e-06 | 8.9759e-07 | 0.015944 | 0.015944 | 0.015944 | 0.97534 | -0.47522 | 0.97516 | -0.47876 | 4.3803
71 | 0.0076371 | 0.0019141 | -0.0076363 | -0.0019138 | 7.5401e-07 | 2.9788e-07 | 0.011654 | 0.011654 | 0.011654 | 0.97516 | -0.47876 | 0.97505 | -0.48084 | 3.2016
72 | 0.0088339 | 0.0022144 | -0.0088323 | -0.0022136 | 1.6484e-06 | 7.529e-07 | 0.013476 | 0.013476 | 0.013476 | 0.97545 | -0.47297 | 0.97525 | -0.47689 | 3.7022
73 | 0.0067502 | 0.0016918 | -0.0067495 | -0.0016916 | 7.1373e-07 | 2.3293e-07 | 0.010299 | 0.010299 | 0.010299 | 0.97525 | -0.47689 | 0.97514 | -0.47911 | 2.8295
74 | 0.0048522 | 0.0012161 | -0.0048521 | -0.0012161 | 7.9051e-08 | 2.6249e-09 | 0.0074043 | 0.0074043 | 0.0074043 | 0.97514 | -0.47911 | 0.97512 | -0.47945 | 2.0341
75 | 0.0016148 | 0.00040463 | -0.0016148 | -0.0004047 | 1.4664e-08 | -7.093e-08 | 0.0024643 | 0.0024643 | 0.0024643 | 0.97505 | -0.48084 | 0.97504 | -0.48103 | 0.67701
76 | -0.0040211 | -0.0010076 | 0.0040212 | 0.0010075 | 1.6004e-07 | -4.0919e-08 | 0.0061152 | 0.0061151 | 0.0061152 | 0.97844 | -0.41421 | 0.97849 | -0.41337 | 1.68
77 | 0.001984 | 0.00049701 | -0.0019839 | -0.00049722 | 6.8584e-08 | -2.0842e-07 | 0.0030172 | 0.0030173 | 0.0030173 | 0.97844 | -0.41421 | 0.97841 | -0.41493 | 0.82892
78 | -0.0060155 | -0.0015073 | 0.0060162 | 0.0015075 | 6.7382e-07 | 1.615e-07 | 0.0091479 | 0.0091478 | 0.0091479 | 0.97849 | -0.41337 | 0.97861 | -0.41102 | 2.5132
79 | -0.0060162 | -0.0015075 | 0.0060163 | 0.0015075 | 1.7077e-07 | 4.0919e-08 | 0.0091478 | 0.0091477 | 0.0091478 | 0.97861 | -0.41102 | 0.97864 | -0.41043 | 2.5131
80 | -0.0079131 | -0.0019829 | 0.0079145 | 0.0019834 | 1.3254e-06 | 5.4144e-07 | 0.012032 | 0.012032 | 0.012032 | 0.97864 | -0.41043 | 0.97882 | -0.40691 | 3.3054
81 | -0.0099165 | -0.0024852 | 0.0099169 | 0.0024854 | 3.1997e-07 | 1.5759e-07 | 0.015075 | 0.015075 | 0.015075 | 0.97882 | -0.40691 | 0.97885 | -0.40623 | 4.1416
82 | -0.011842 | -0.0029679 | 0.011843 | 0.0029682 | 4.5989e-07 | 2.4676e-07 | 0.018002 | 0.018002 | 0.018002 | 0.97885 | -0.40623 | 0.97889 | -0.40542 | 4.9457

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.19012 | 0.048294

## res_load
| p_mw | q_mvar
0 | 0.0020003 | 0.00050131
1 | 0.0032443 | 0.0008131
2 | 0.0025764 | 0.0006457
3 | 0.0018054 | 0.00045248
4 | 0.0025876 | 0.00064851
5 | 0.0020974 | 0.00052566
6 | 0.0028982 | 0.00072636
7 | 0.0019558 | 0.00049016
8 | 0.0042669 | 0.0010694
9 | 0.0014604 | 0.00036601
10 | 0.0027439 | 0.00068769
11 | 0.0013932 | 0.00034916
12 | 0.0013394 | 0.00033567
13 | 0.0018972 | 0.00047549
14 | 0.0043733 | 0.0010961
15 | 0.0063501 | 0.0015915
16 | 0.002937 | 0.00073609
17 | 0.0043739 | 0.0010962
18 | 0.0043733 | 0.001096
19 | 0.010529 | 0.0026389
20 | 0.0041653 | 0.0010439
21 | 0.0018622 | 0.0004667
22 | 0.0043721 | 0.0010958
23 | 0.0058895 | 0.001476
24 | 0.0026486 | 0.0006638
25 | 0.0026242 | 0.00065769
26 | 0.0016176 | 0.00040541
27 | 0.0010642 | 0.0002667
28 | 0.0033591 | 0.00084188
29 | 0.0016787 | 0.00042072
30 | 0.002657 | 0.0006659
31 | 0.001913 | 0.00047945
32 | 0.0046201 | 0.0011579
33 | 0.001907 | 0.00047793
34 | 0.0025507 | 0.00063926
35 | 0.0030609 | 0.00076713
36 | 0.0015153 | 0.00037976
37 | 0.0030631 | 0.00076769
38 | 0.002945 | 0.00073809
39 | 0.0015294 | 0.0003833
40 | 0.0023153 | 0.00058027
41 | 0.0030912 | 0.00077472
42 | 0.0028266 | 0.00070842
43 | 0.0015952 | 0.00039979
44 | 0.0014786 | 0.00037057
45 | 0.0017409 | 0.00043631
46 | 0.0018055 | 0.00045249
47 | 0.0028763 | 0.00072088
48 | 0.0017304 | 0.00043368
49 | 0.0019166 | 0.00048035
50 | 0.0030853 | 0.00077324
51 | 0.0020034 | 0.00050211
52 | 0.0022673 | 0.00056823
53 | 0.0018599 | 0.00046614
54 | 0.00074637 | 0.00018706
55 | 0.0028117 | 0.00070469
56 | 0.0014514 | 0.00036375
57 | 0.002082 | 0.00052181
58 | 0.0018973 | 0.00047551
59 | 0.0060215 | 0.0015091
60 | 0.0016148 | 0.0004047
61 | 0.0048521 | 0.0012161
62 | 0.0020371 | 0.00051054
63 | 0.0019943 | 0.00049981
64 | 0.0019839 | 0.00049722
65 | 0.0018968 | 0.00047538
66 | 0.0020021 | 0.00050177
67 | 0.0019254 | 0.00048256
68 | 0.0015536 | 0.00038937

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1