## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2517-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2517-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2517-8_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2517-8_0_4_node_67 | 0.4 | n |  | TRUE
4 | bus_LV_2517-8_0_4_node_66 | 0.4 | n |  | TRUE
5 | bus_LV_2517-8_0_4_node_81 | 0.4 | n |  | TRUE
6 | bus_LV_2517-8_0_4_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_2517-8_0_4_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_2517-8_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_2517-8_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2517-8_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2517-8_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2517-8_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2517-8_0_4_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_2517-8_0_4_node_83 | 0.4 | n |  | TRUE
15 | bus_LV_2517-8_0_4_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_2517-8_0_4_node_82 | 0.4 | n |  | TRUE
17 | bus_LV_2517-8_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2517-8_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2517-8_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2517-8_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2517-8_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2517-8_0_4_node_75 | 0.4 | n |  | TRUE
23 | bus_LV_2517-8_0_4_node_74 | 0.4 | n |  | TRUE
24 | bus_LV_2517-8_0_4_node_71 | 0.4 | n |  | TRUE
25 | bus_LV_2517-8_0_4_node_72 | 0.4 | n |  | TRUE
26 | bus_LV_2517-8_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_2517-8_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_2517-8_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_2517-8_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_2517-8_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_2517-8_0_4_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_2517-8_0_4_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_2517-8_0_4_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_2517-8_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_2517-8_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_2517-8_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_2517-8_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_2517-8_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_2517-8_0_4_node_76 | 0.4 | n |  | TRUE
40 | bus_LV_2517-8_0_4_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_2517-8_0_4_node_77 | 0.4 | n |  | TRUE
42 | bus_LV_2517-8_0_4_node_79 | 0.4 | n |  | TRUE
43 | bus_LV_2517-8_0_4_node_80 | 0.4 | n |  | TRUE
44 | bus_LV_2517-8_0_4_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_2517-8_0_4_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_2517-8_0_4_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_2517-8_0_4_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_2517-8_0_4_node_63 | 0.4 | n |  | TRUE
49 | bus_LV_2517-8_0_4_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_2517-8_0_4_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_2517-8_0_4_node_61 | 0.4 | n |  | TRUE
52 | bus_LV_2517-8_0_4_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_2517-8_0_4_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_2517-8_0_4_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_2517-8_0_4_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_2517-8_0_4_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_2517-8_0_4_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_2517-8_0_4_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_2517-8_0_4_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_2517-8_0_4_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_2517-8_0_4_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_2517-8_0_4_node_37 | 0.4 | n |  | TRUE
63 | bus_LV_2517-8_0_4_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_2517-8_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_2517-8_0_4_node_36 | 0.4 | n |  | TRUE
66 | bus_LV_2517-8_0_4_node_38 | 0.4 | n |  | TRUE
67 | bus_LV_2517-8_0_4_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_2517-8_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_2517-8_0_4_node_43 | 0.4 | n |  | TRUE
70 | bus_LV_2517-8_0_4_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_2517-8_0_4_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_2517-8_0_4_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_2517-8_0_4_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_2517-8_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_2517-8_0_4_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_2517-8_0_4_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_2517-8_0_4_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_2517-8_0_4_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_2517-8_0_4_node_70 | 0.4 | n |  | TRUE
80 | bus_MV_392_0_node_176 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2517-8_0_4_load_0 | 0 | 0.015709 | 0.003937 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2517-8_0_4_load_1 | 1 | 0.004129 | 0.0010348 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2517-8_0_4_load_67 | 3 | 0.0088625 | 0.0022212 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2517-8_0_4_load_66 | 4 | 0.0055178 | 0.0013829 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2517-8_0_4_load_81 | 5 | 0.0031171 | 0.00078122 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2517-8_0_4_load_3 | 7 | 0.0023404 | 0.00058656 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2517-8_0_4_load_4 | 8 | 0.0011533 | 0.00028904 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2517-8_0_4_load_6 | 10 | 0.0015064 | 0.00037755 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2517-8_0_4_load_7 | 11 | 0.0012201 | 0.00030579 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2517-8_0_4_load_8 | 12 | 0.0090907 | 0.0022783 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2517-8_0_4_load_30 | 13 | 0.0024446 | 0.00061267 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2517-8_0_4_load_83 | 14 | 0.010936 | 0.0027407 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2517-8_0_4_load_9 | 17 | 0.012122 | 0.0030382 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2517-8_0_4_load_10 | 18 | 0.0058768 | 0.0014729 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2517-8_0_4_load_11 | 19 | 0.0031429 | 0.0007877 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2517-8_0_4_load_75 | 22 | 0.00155 | 0.00038846 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2517-8_0_4_load_71 | 24 | 0.0058894 | 0.001476 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2517-8_0_4_load_72 | 25 | 0.016517 | 0.0041395 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2517-8_0_4_load_14 | 26 | 0.0023139 | 0.00057992 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2517-8_0_4_load_15 | 27 | 0.001666 | 0.00041755 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2517-8_0_4_load_16 | 28 | 0.002687 | 0.00067343 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2517-8_0_4_load_17 | 29 | 0.00088336 | 0.00022139 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2517-8_0_4_load_18 | 30 | 0.0020719 | 0.00051928 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2517-8_0_4_load_45 | 31 | 0.0033742 | 0.00084565 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2517-8_0_4_load_47 | 32 | 0.0041761 | 0.0010466 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2517-8_0_4_load_40 | 33 | 0.0020307 | 0.00050895 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2517-8_0_4_load_19 | 34 | 0.0034309 | 0.00085986 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2517-8_0_4_load_20 | 35 | 0.0017451 | 0.00043736 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2517-8_0_4_load_22 | 37 | 0.0048766 | 0.0012222 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2517-8_0_4_load_23 | 38 | 0.0039109 | 0.00098015 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2517-8_0_4_load_76 | 39 | 0.0042837 | 0.0010736 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2517-8_0_4_load_77 | 41 | 0.0076297 | 0.0019122 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2517-8_0_4_load_79 | 42 | 0.0012993 | 0.00032565 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2517-8_0_4_load_80 | 43 | 0.0079839 | 0.002001 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2517-8_0_4_load_48 | 44 | 0.0017918 | 0.00044906 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2517-8_0_4_load_24 | 45 | 0.0076657 | 0.0019212 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2517-8_0_4_load_29 | 47 | 0.0025349 | 0.00063529 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2517-8_0_4_load_65 | 50 | 0.023709 | 0.005942 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2517-8_0_4_load_61 | 51 | 0.0037272 | 0.00093413 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2517-8_0_4_load_54 | 52 | 0.0025289 | 0.00063381 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2517-8_0_4_load_49 | 53 | 0.0071127 | 0.0017826 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2517-8_0_4_load_59 | 54 | 0.0035077 | 0.00087911 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2517-8_0_4_load_32 | 55 | 0.0054216 | 0.0013588 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2517-8_0_4_load_33 | 56 | 0.017939 | 0.0044958 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2517-8_0_4_load_34 | 57 | 0.0056955 | 0.0014274 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2517-8_0_4_load_42 | 61 | 0.005687 | 0.0014253 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2517-8_0_4_load_37 | 62 | 0.0025014 | 0.00062692 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2517-8_0_4_load_56 | 64 | 0.0079163 | 0.001984 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2517-8_0_4_load_36 | 65 | 0.0062073 | 0.0015557 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2517-8_0_4_load_38 | 66 | 0.0056933 | 0.0014269 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2517-8_0_4_load_41 | 67 | 0.0025543 | 0.00064017 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2517-8_0_4_load_43 | 69 | 0.030176 | 0.0075629 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2517-8_0_4_load_44 | 70 | 0.0050071 | 0.0012549 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2517-8_0_4_load_52 | 72 | 0.003266 | 0.00081853 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2517-8_0_4_load_53 | 73 | 0.0034695 | 0.00086953 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2517-8_0_4_load_64 | 74 | 0.0043152 | 0.0010815 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2517-8_0_4_load_69 | 76 | 0.025449 | 0.0063781 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2517-8_0_4_load_55 | 77 | 0.003105 | 0.00077819 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2517-8_0_4_load_60 | 78 | 0.0022156 | 0.00055528 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2517-8_0_4_load_70 | 79 | 0.0067389 | 0.0016889 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2517-8_0_4_line_0 |  | 0 | 1 | 0.0044517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2517-8_0_4_line_1 |  | 1 | 2 | 0.019801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2517-8_0_4_line_2 |  | 2 | 3 | 0.017997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2517-8_0_4_line_3 |  | 2 | 4 | 0.020188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2517-8_0_4_line_4 |  | 3 | 5 | 0.015759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2517-8_0_4_line_5 |  | 4 | 6 | 0.0026103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2517-8_0_4_line_6 |  | 6 | 48 | 0.00337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2517-8_0_4_line_7 |  | 7 | 8 | 0.006383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2517-8_0_4_line_8 |  | 7 | 9 | 0.012247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2517-8_0_4_line_9 |  | 8 | 10 | 0.018038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2517-8_0_4_line_10 |  | 9 | 11 | 0.0138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2517-8_0_4_line_11 |  | 9 | 12 | 0.025532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2517-8_0_4_line_12 |  | 10 | 13 | 0.0073281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2517-8_0_4_line_13 |  | 12 | 14 | 0.033885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2517-8_0_4_line_14 |  | 13 | 15 | 0.032088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2517-8_0_4_line_15 |  | 14 | 16 | 0.034229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2517-8_0_4_line_16 |  | 15 | 33 | 0.019594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2517-8_0_4_line_17 |  | 15 | 30 | 0.006227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2517-8_0_4_line_18 |  | 16 | 23 | 0.031945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2517-8_0_4_line_19 |  | 17 | 18 | 0.0087728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2517-8_0_4_line_20 |  | 17 | 19 | 0.0075395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2517-8_0_4_line_21 |  | 18 | 20 | 0.03685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2517-8_0_4_line_22 |  | 19 | 21 | 0.017347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2517-8_0_4_line_23 |  | 20 | 22 | 0.077924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2517-8_0_4_line_24 |  | 21 | 23 | 0.011356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2517-8_0_4_line_25 |  | 21 | 24 | 0.039556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2517-8_0_4_line_26 |  | 24 | 25 | 0.020133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2517-8_0_4_line_27 |  | 26 | 27 | 0.018291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2517-8_0_4_line_28 |  | 26 | 28 | 0.0063687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2517-8_0_4_line_29 |  | 27 | 29 | 0.0082958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2517-8_0_4_line_30 |  | 28 | 30 | 0.00028928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2517-8_0_4_line_31 |  | 29 | 31 | 0.0098053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2517-8_0_4_line_32 |  | 31 | 32 | 0.003175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2517-8_0_4_line_33 |  | 32 | 40 | 0.019782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2517-8_0_4_line_34 |  | 33 | 54 | 0.019381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2517-8_0_4_line_35 |  | 34 | 35 | 0.0031168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2517-8_0_4_line_36 |  | 34 | 36 | 0.017975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2517-8_0_4_line_37 |  | 35 | 37 | 0.020753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2517-8_0_4_line_38 |  | 36 | 38 | 0.030247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2517-8_0_4_line_39 |  | 37 | 39 | 0.069085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2517-8_0_4_line_40 |  | 38 | 40 | 0.0021315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2517-8_0_4_line_41 |  | 39 | 41 | 0.0059769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2517-8_0_4_line_42 |  | 40 | 44 | 0.040164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2517-8_0_4_line_43 |  | 41 | 42 | 0.010428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2517-8_0_4_line_44 |  | 42 | 43 | 0.00085489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2517-8_0_4_line_45 |  | 45 | 46 | 0.015976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2517-8_0_4_line_46 |  | 46 | 47 | 0.017829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2517-8_0_4_line_47 |  | 47 | 49 | 0.02427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2517-8_0_4_line_48 |  | 48 | 50 | 0.038821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2517-8_0_4_line_49 |  | 48 | 51 | 0.041837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2517-8_0_4_line_50 |  | 49 | 52 | 0.0069152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2517-8_0_4_line_51 |  | 49 | 53 | 0.023758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2517-8_0_4_line_52 |  | 51 | 63 | 0.0043252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2517-8_0_4_line_53 |  | 52 | 75 | 0.039702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2517-8_0_4_line_54 |  | 53 | 71 | 0.016363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2517-8_0_4_line_55 |  | 54 | 68 | 0.017114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2517-8_0_4_line_56 |  | 55 | 56 | 0.01918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2517-8_0_4_line_57 |  | 55 | 57 | 0.019128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2517-8_0_4_line_58 |  | 57 | 58 | 0.01806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2517-8_0_4_line_59 |  | 58 | 59 | 0.010099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2517-8_0_4_line_60 |  | 58 | 60 | 0.026045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_2517-8_0_4_line_61 |  | 59 | 61 | 0.01786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2517-8_0_4_line_62 |  | 59 | 62 | 0.01183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2517-8_0_4_line_63 |  | 60 | 63 | 0.010934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2517-8_0_4_line_64 |  | 60 | 64 | 0.015743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_2517-8_0_4_line_65 |  | 61 | 67 | 0.021949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2517-8_0_4_line_66 |  | 62 | 65 | 0.0061444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2517-8_0_4_line_67 |  | 63 | 74 | 0.018947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2517-8_0_4_line_68 |  | 64 | 77 | 0.024639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_2517-8_0_4_line_69 |  | 65 | 66 | 0.0063492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2517-8_0_4_line_70 |  | 67 | 69 | 0.024614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2517-8_0_4_line_71 |  | 68 | 78 | 0.015285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2517-8_0_4_line_72 |  | 68 | 77 | 0.0010561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_2517-8_0_4_line_73 |  | 69 | 70 | 0.00025067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2517-8_0_4_line_74 |  | 71 | 72 | 0.020606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2517-8_0_4_line_75 |  | 71 | 73 | 0.043864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2517-8_0_4_line_76 |  | 72 | 74 | 0.016542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2517-8_0_4_line_77 |  | 75 | 76 | 0.014423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2517-8_0_4_line_78 |  | 78 | 79 | 0.014385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2517-8_0_4_trafo_35 | 0.63 MVA 20/0.4 kV | 80 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2610976.558 | 1227430.012 | 2610980.421 | 1227432.2243
1 | 2610997.6041 | 1227442.0646 | 2610980.421 | 1227432.2243
2 | 2610997.6041 | 1227442.0646 | 2610988.3339 | 1227457.4907
3 | 2610997.6041 | 1227442.0646 | 2611007.3795 | 1227424.4015
4 | 2610980.0131 | 1227470.8654 | 2610981.9007 | 1227468.1957 | 2610988.3339 | 1227457.4907
5 | 2611008.6435 | 1227422.1176 | 2611007.3795 | 1227424.4015
6 | 2611008.6435 | 1227422.1176 | 2611010.422 | 1227419.2525
7 | 2611130.5368 | 1227351.5834 | 2611129.9032 | 1227357.9349
8 | 2611131.7524 | 1227339.3965 | 2611130.5368 | 1227351.5834
9 | 2611129.9032 | 1227357.9349 | 2611128.1128 | 1227375.8836
10 | 2611131.7524 | 1227339.3965 | 2611145.4677 | 1227340.9193
11 | 2611131.7524 | 1227339.3965 | 2611134.2875 | 1227313.9906
12 | 2611127.3855 | 1227383.1755 | 2611128.1128 | 1227375.8836
13 | 2611137.6519 | 1227280.2726 | 2611134.2875 | 1227313.9906
14 | 2611124.2005 | 1227415.105 | 2611127.3855 | 1227383.1755
15 | 2611137.6519 | 1227280.2726 | 2611138.3041 | 1227271.8688 | 2611138.7079 | 1227266.6332 | 2611137.2279 | 1227259.7375 | 2611132.5513 | 1227256.26 | 2611125.2965 | 1227253.6895
16 | 2611124.2005 | 1227415.105 | 2611106.7324 | 1227406.229
17 | 2611124.2005 | 1227415.105 | 2611123.9758 | 1227421.3279
18 | 2611095.1034 | 1227243.0049 | 2611100.6467 | 1227244.9719 | 2611109.0602 | 1227247.9448 | 2611125.2965 | 1227253.6895
19 | 2611077.2225 | 1227222.2672 | 2611069.2537 | 1227218.5986
20 | 2611077.2225 | 1227222.2672 | 2611084.0711 | 1227225.4201
21 | 2611048.5029 | 1227191.8996 | 2611049.6004 | 1227200.7958 | 2611053.6982 | 1227209.9977 | 2611062.0999 | 1227215.3052 | 2611069.2537 | 1227218.5986
22 | 2611099.8284 | 1227232.6742 | 2611084.0711 | 1227225.4201
23 | 2611048.5029 | 1227191.8996 | 2610974.496 | 1227167.5046
24 | 2611095.1034 | 1227243.0049 | 2611099.8284 | 1227232.6742
25 | 2611099.8284 | 1227232.6742 | 2611106.06 | 1227219.0444 | 2611116.4027 | 1227196.7585
26 | 2611116.4027 | 1227196.7585 | 2611121.2007 | 1227186.4199 | 2611124.7895 | 1227178.4555
27 | 2611124.0399 | 1227446.1953 | 2611123.2421 | 1227441.5299 | 2611123.7352 | 1227427.9815
28 | 2611123.9654 | 1227421.6169 | 2611123.7851 | 1227426.611 | 2611123.7352 | 1227427.9815
29 | 2611124.0399 | 1227446.1953 | 2611125.4382 | 1227454.3724
30 | 2611123.9758 | 1227421.3279 | 2611123.9654 | 1227421.6169
31 | 2611128.6826 | 1227463.583 | 2611125.8057 | 1227456.5213 | 2611125.4382 | 1227454.3724
32 | 2611129.8804 | 1227466.5234 | 2611128.6826 | 1227463.583
33 | 2611140.5628 | 1227483.1089 | 2611130.9049 | 1227469.0382 | 2611129.8804 | 1227466.5234
34 | 2611089.4541 | 1227397.4496 | 2611106.7324 | 1227406.229
35 | 2611145.7127 | 1227524.2079 | 2611147.8437 | 1227521.9334
36 | 2611160.1332 | 1227508.8161 | 2611147.8437 | 1227521.9334
37 | 2611145.7127 | 1227524.2079 | 2611131.5241 | 1227539.3523
38 | 2611160.1332 | 1227508.8161 | 2611150.8097 | 1227498.3036 | 2611141.7546 | 1227484.8761
39 | 2611131.5241 | 1227539.3523 | 2611065.3804 | 1227519.4105
40 | 2611140.5628 | 1227483.1089 | 2611141.7546 | 1227484.8761
41 | 2611065.3804 | 1227519.4105 | 2611061.8911 | 1227514.5578
42 | 2611140.5628 | 1227483.1089 | 2611169.5012 | 1227463.0065 | 2611172.8941 | 1227459.4322
43 | 2611061.8911 | 1227514.5578 | 2611055.8034 | 1227506.0914
44 | 2611055.3043 | 1227505.3973 | 2611055.8034 | 1227506.0914
45 | 2610942.2559 | 1227401.3391 | 2610942.9314 | 1227417.3009
46 | 2610942.2559 | 1227401.3391 | 2610941.499 | 1227383.5257
47 | 2610940.4687 | 1227359.2777 | 2610941.499 | 1227383.5257
48 | 2611010.422 | 1227419.2525 | 2610975.4988 | 1227402.2991
49 | 2611010.422 | 1227419.2525 | 2611017.072 | 1227408.6252 | 2611030.6824 | 1227382.6777
50 | 2610940.4687 | 1227359.2777 | 2610940.1756 | 1227352.3687
51 | 2610940.4687 | 1227359.2777 | 2610964.2165 | 1227358.5839
52 | 2611032.6914 | 1227378.8475 | 2611030.6824 | 1227382.6777
53 | 2610938.4928 | 1227312.7021 | 2610940.1756 | 1227352.3687
54 | 2610980.5722 | 1227358.106 | 2610964.2165 | 1227358.5839
55 | 2611074.1972 | 1227389.6972 | 2611089.4541 | 1227397.4496
56 | 2611023.5375 | 1227310.4608 | 2611016.0003 | 1227328.0979 | 2611016.0003 | 1227328.0979
57 | 2611032.8804 | 1227337.0957 | 2611016.0003 | 1227328.0979
58 | 2611048.8176 | 1227345.5909 | 2611032.8804 | 1227337.0957
59 | 2611052.9721 | 1227336.382 | 2611048.8176 | 1227345.5909
60 | 2611038.1043 | 1227369.3407 | 2611048.8176 | 1227345.5909
61 | 2611052.9721 | 1227336.382 | 2611060.3182 | 1227320.1026
62 | 2611052.9721 | 1227336.382 | 2611063.6407 | 1227341.4946
63 | 2611038.1043 | 1227369.3407 | 2611035.2764 | 1227374.1939 | 2611032.6914 | 1227378.8475
64 | 2611038.1043 | 1227369.3407 | 2611041.5259 | 1227371.2704 | 2611051.8164 | 1227377.0743
65 | 2611069.3462 | 1227300.0962 | 2611060.3182 | 1227320.1026
66 | 2611063.6407 | 1227341.4946 | 2611069.1817 | 1227344.1499 | 2611069.1817 | 1227344.1499
67 | 2611032.6914 | 1227378.8475 | 2611015.0875 | 1227371.8418
68 | 2611073.2772 | 1227389.1784 | 2611051.8164 | 1227377.0743
69 | 2611070.9346 | 1227350.2524 | 2611069.1817 | 1227344.1499
70 | 2611069.3462 | 1227300.0962 | 2611079.4702 | 1227277.6609
71 | 2611074.1972 | 1227389.6972 | 2611066.8334 | 1227403.0914
72 | 2611074.1972 | 1227389.6972 | 2611073.2772 | 1227389.1784
73 | 2611079.5733 | 1227277.4325 | 2611079.4702 | 1227277.6609
74 | 2610980.5722 | 1227358.106 | 2610999.7176 | 1227365.7252
75 | 2610980.5722 | 1227358.106 | 2610991.6979 | 1227332.4891 | 2610990.8414 | 1227316.5766
76 | 2610999.7176 | 1227365.7252 | 2611015.0875 | 1227371.8418
77 | 2610938.4928 | 1227312.7021 | 2610937.8826 | 1227298.2925
78 | 2611059.903 | 1227415.6972 | 2611066.8334 | 1227403.0914

## bus_geodata
| x | y | coords
0 | 2610976.558 | 1227430.012
1 | 2610980.421 | 1227432.2243
2 | 2610997.6041 | 1227442.0646
3 | 2610988.3339 | 1227457.4907
4 | 2611007.3795 | 1227424.4015
5 | 2610980.0131 | 1227470.8654
6 | 2611008.6435 | 1227422.1176
7 | 2611130.5368 | 1227351.5834
8 | 2611129.9032 | 1227357.9349
9 | 2611131.7524 | 1227339.3965
10 | 2611128.1128 | 1227375.8836
11 | 2611145.4677 | 1227340.9193
12 | 2611134.2875 | 1227313.9906
13 | 2611127.3855 | 1227383.1755
14 | 2611137.6519 | 1227280.2726
15 | 2611124.2005 | 1227415.105
16 | 2611125.2965 | 1227253.6895
17 | 2611077.2225 | 1227222.2672
18 | 2611069.2537 | 1227218.5986
19 | 2611084.0711 | 1227225.4201
20 | 2611048.5029 | 1227191.8996
21 | 2611099.8284 | 1227232.6742
22 | 2610974.496 | 1227167.5046
23 | 2611095.1034 | 1227243.0049
24 | 2611116.4027 | 1227196.7585
25 | 2611124.7895 | 1227178.4555
26 | 2611123.7352 | 1227427.9815
27 | 2611124.0399 | 1227446.1953
28 | 2611123.9654 | 1227421.617
29 | 2611125.4382 | 1227454.3724
30 | 2611123.9758 | 1227421.3279
31 | 2611128.6826 | 1227463.583
32 | 2611129.8804 | 1227466.5234
33 | 2611106.7324 | 1227406.229
34 | 2611147.8437 | 1227521.9334
35 | 2611145.7127 | 1227524.2079
36 | 2611160.1332 | 1227508.8161
37 | 2611131.5241 | 1227539.3523
38 | 2611141.7546 | 1227484.8761
39 | 2611065.3804 | 1227519.4105
40 | 2611140.5628 | 1227483.1089
41 | 2611061.8911 | 1227514.5578
42 | 2611055.8033 | 1227506.0914
43 | 2611055.3043 | 1227505.3973
44 | 2611172.8941 | 1227459.4322
45 | 2610942.9314 | 1227417.3009
46 | 2610942.2559 | 1227401.3391
47 | 2610941.499 | 1227383.5257
48 | 2611010.422 | 1227419.2525
49 | 2610940.4687 | 1227359.2777
50 | 2610975.4988 | 1227402.2991
51 | 2611030.6824 | 1227382.6777
52 | 2610940.1756 | 1227352.3687
53 | 2610964.2165 | 1227358.5839
54 | 2611089.4541 | 1227397.4496
55 | 2611016.0003 | 1227328.0979
56 | 2611023.5375 | 1227310.4608
57 | 2611032.8803 | 1227337.0957
58 | 2611048.8176 | 1227345.5909
59 | 2611052.9721 | 1227336.382
60 | 2611038.1043 | 1227369.3407
61 | 2611060.3182 | 1227320.1026
62 | 2611063.6407 | 1227341.4946
63 | 2611032.6914 | 1227378.8475
64 | 2611051.8164 | 1227377.0743
65 | 2611069.1817 | 1227344.1499
66 | 2611070.9346 | 1227350.2524
67 | 2611069.3462 | 1227300.0962
68 | 2611074.1972 | 1227389.6972
69 | 2611079.4702 | 1227277.6609
70 | 2611079.5733 | 1227277.4325
71 | 2610980.5722 | 1227358.106
72 | 2610999.7176 | 1227365.7252
73 | 2610990.8414 | 1227316.5766
74 | 2611015.0875 | 1227371.8418
75 | 2610938.4928 | 1227312.7021
76 | 2610937.8826 | 1227298.2925
77 | 2611073.2772 | 1227389.1784
78 | 2611066.8334 | 1227403.0914
79 | 2611059.903 | 1227415.6972
80 | 2611052.9721 | 1227336.382

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99169 | -0.15929 | 0.015709 | 0.003937
1 | 0.99176 | -0.15805 | 0.004129 | 0.0010348
2 | 0.99212 | -0.15109 | 0 | 0
3 | 0.99192 | -0.15491 | 0.0088625 | 0.0022212
4 | 0.9927 | -0.13972 | 0.0055178 | 0.0013829
5 | 0.99187 | -0.15578 | 0.0031171 | 0.00078122
6 | 0.99279 | -0.138 | 0 | 0
7 | 0.98283 | -0.32898 | 0.0023404 | 0.00058656
8 | 0.98324 | -0.32107 | 0.0011533 | 0.00028904
9 | 0.98208 | -0.34365 | 0 | 0
10 | 0.98441 | -0.29838 | 0.0015064 | 0.00037755
11 | 0.98206 | -0.34396 | 0.0012201 | 0.00030579
12 | 0.98053 | -0.37375 | 0.0090907 | 0.0022783
13 | 0.98489 | -0.28898 | 0.0024446 | 0.00061267
14 | 0.97877 | -0.40824 | 0.010936 | 0.0027407
15 | 0.98709 | -0.24652 | 0 | 0
16 | 0.97733 | -0.43638 | 0 | 0
17 | 0.97501 | -0.482 | 0.012122 | 0.0030382
18 | 0.97495 | -0.48319 | 0.0058768 | 0.0014729
19 | 0.97515 | -0.47929 | 0.0031429 | 0.0007877
20 | 0.9749 | -0.48424 | 0 | 0
21 | 0.97551 | -0.47208 | 0 | 0
22 | 0.97478 | -0.48646 | 0.00155 | 0.00038846
23 | 0.97599 | -0.4627 | 0 | 0
24 | 0.97469 | -0.48833 | 0.0058894 | 0.001476
25 | 0.97438 | -0.49443 | 0.016517 | 0.0041395
26 | 0.98648 | -0.25845 | 0.0023139 | 0.00057992
27 | 0.98568 | -0.27388 | 0.001666 | 0.00041755
28 | 0.98677 | -0.25282 | 0.002687 | 0.00067343
29 | 0.98534 | -0.28064 | 0.00088336 | 0.00022139
30 | 0.98678 | -0.25256 | 0.0020719 | 0.00051928
31 | 0.98493 | -0.28848 | 0.0033742 | 0.00084565
32 | 0.98481 | -0.29083 | 0.0041761 | 0.0010466
33 | 0.98941 | -0.20179 | 0.0020307 | 0.00050895
34 | 0.98268 | -0.33249 | 0.0034309 | 0.00085986
35 | 0.9826 | -0.33405 | 0.0017451 | 0.00043736
36 | 0.98319 | -0.32235 | 0 | 0
37 | 0.9821 | -0.34383 | 0.0048766 | 0.0012222
38 | 0.98407 | -0.30532 | 0.0039109 | 0.00098015
39 | 0.98074 | -0.37033 | 0.0042837 | 0.0010736
40 | 0.98414 | -0.30397 | 0 | 0
41 | 0.98065 | -0.37216 | 0.0076297 | 0.0019122
42 | 0.98056 | -0.37391 | 0.0012993 | 0.00032565
43 | 0.98055 | -0.37404 | 0.0079839 | 0.002001
44 | 0.98407 | -0.30527 | 0.0017918 | 0.00044906
45 | 0.99084 | -0.17571 | 0.0076657 | 0.0019212
46 | 0.99095 | -0.17353 | 0 | 0
47 | 0.99108 | -0.17111 | 0.0025349 | 0.00063529
48 | 0.99291 | -0.13577 | 0 | 0
49 | 0.9913 | -0.16671 | 0 | 0
50 | 0.99207 | -0.15206 | 0.023709 | 0.005942
51 | 0.99524 | -0.090723 | 0.0037272 | 0.00093413
52 | 0.99113 | -0.17015 | 0.0025289 | 0.00063381
53 | 0.99214 | -0.15064 | 0.0071127 | 0.0017826
54 | 0.99175 | -0.15705 | 0.0035077 | 0.00087911
55 | 0.99912 | -0.01695 | 0.0054216 | 0.0013588
56 | 0.99881 | -0.022959 | 0.017939 | 0.0044958
57 | 0.99952 | -0.0091509 | 0.0056955 | 0.0014274
58 | 1 | 0 | -0.36673 | -0.092903
59 | 0.99947 | -0.010185 | 0 | 0
60 | 0.99671 | -0.06253 | 0 | 0
61 | 0.99876 | -0.023727 | 0.005687 | 0.0014253
62 | 0.99931 | -0.013158 | 0.0025014 | 0.00062692
63 | 0.9955 | -0.085794 | 0 | 0
64 | 0.99559 | -0.083746 | 0.0079163 | 0.001984
65 | 0.99925 | -0.014434 | 0.0062073 | 0.0015557
66 | 0.99922 | -0.015065 | 0.0056933 | 0.0014269
67 | 0.99801 | -0.038211 | 0.0025543 | 0.00064017
68 | 0.99386 | -0.11665 | 0 | 0
69 | 0.99722 | -0.053377 | 0.030176 | 0.0075629
70 | 0.99722 | -0.053399 | 0.0050071 | 0.0012549
71 | 0.99281 | -0.13752 | 0 | 0
72 | 0.99373 | -0.11977 | 0.003266 | 0.00081853
73 | 0.99267 | -0.14021 | 0.0034695 | 0.00086953
74 | 0.99452 | -0.10459 | 0.0043152 | 0.0010815
75 | 0.9902 | -0.18809 | 0 | 0
76 | 0.98987 | -0.19462 | 0.025449 | 0.0063781
77 | 0.99393 | -0.11533 | 0.003105 | 0.00077819
78 | 0.99374 | -0.11907 | 0.0022156 | 0.00055528
79 | 0.99365 | -0.12078 | 0.0067389 | 0.0016889
80 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.015709 | -0.003937 | 0.01571 | 0.0039375 | 9.2747e-07 | 5.3614e-07 | 0.023571 | 0.023571 | 0.023571 | 0.99169 | -0.15929 | 0.99176 | -0.15805 | 6.4755
1 | -0.019839 | -0.0049723 | 0.019845 | 0.0049763 | 6.5789e-06 | 3.9549e-06 | 0.029766 | 0.029766 | 0.029766 | 0.99176 | -0.15805 | 0.99212 | -0.15109 | 8.1774
2 | 0.011982 | 0.0030034 | -0.01198 | -0.0030023 | 2.1797e-06 | 1.1626e-06 | 0.017971 | 0.017971 | 0.017971 | 0.99212 | -0.15109 | 0.99192 | -0.15491 | 4.9372
3 | -0.031827 | -0.0079797 | 0.031844 | 0.0079905 | 1.7251e-05 | 1.078e-05 | 0.047737 | 0.047737 | 0.047737 | 0.99212 | -0.15109 | 0.9927 | -0.13972 | 13.1145
4 | 0.0031172 | 0.0007811 | -0.0031171 | -0.00078122 | 1.2923e-07 | -1.207e-07 | 0.0046762 | 0.0046763 | 0.0046763 | 0.99192 | -0.15491 | 0.99187 | -0.15578 | 1.2847
5 | -0.037362 | -0.0093734 | 0.037365 | 0.0093753 | 3.0706e-06 | 1.9314e-06 | 0.056008 | 0.056007 | 0.056008 | 0.9927 | -0.13972 | 0.99279 | -0.138 | 15.3867
6 | -0.037365 | -0.0093753 | 0.037369 | 0.0093778 | 3.9642e-06 | 2.4935e-06 | 0.056007 | 0.056007 | 0.056007 | 0.99279 | -0.138 | 0.99291 | -0.13577 | 15.3867
7 | -0.06909 | -0.017469 | 0.069116 | 0.017485 | 2.6218e-05 | 1.6699e-05 | 0.10466 | 0.10466 | 0.10466 | 0.98283 | -0.32898 | 0.98324 | -0.32107 | 28.7523
8 | 0.06675 | 0.016882 | -0.066703 | -0.016852 | 4.6957e-05 | 2.9898e-05 | 0.10111 | 0.10111 | 0.10111 | 0.98283 | -0.32898 | 0.98208 | -0.34365 | 27.7788
9 | -0.07027 | -0.017774 | 0.070346 | 0.017823 | 7.6582e-05 | 4.8783e-05 | 0.1064 | 0.1064 | 0.1064 | 0.98324 | -0.32107 | 0.98441 | -0.29838 | 29.2317
10 | 0.0012201 | 0.00030563 | -0.0012201 | -0.00030579 | 1.7686e-08 | -1.6329e-07 | 0.0018487 | 0.0018487 | 0.0018487 | 0.98208 | -0.34365 | 0.98206 | -0.34396 | 0.50789
11 | 0.065483 | 0.016547 | -0.065388 | -0.016487 | 9.4345e-05 | 6.0058e-05 | 0.099266 | 0.099266 | 0.099266 | 0.98208 | -0.34365 | 0.98053 | -0.37375 | 27.271
12 | -0.071853 | -0.018201 | 0.071885 | 0.018221 | 3.2458e-05 | 2.068e-05 | 0.10868 | 0.10868 | 0.10868 | 0.98441 | -0.29838 | 0.98489 | -0.28898 | 29.8573
13 | 0.056298 | 0.014208 | -0.056205 | -0.014149 | 9.2828e-05 | 5.8983e-05 | 0.085471 | 0.085471 | 0.085471 | 0.98053 | -0.37375 | 0.97877 | -0.40824 | 23.481
14 | -0.07433 | -0.018834 | 0.074482 | 0.018931 | 0.00015195 | 9.6839e-05 | 0.11237 | 0.11237 | 0.11237 | 0.98489 | -0.28898 | 0.98709 | -0.24652 | 30.8719
15 | 0.045269 | 0.011409 | -0.045208 | -0.01137 | 6.0838e-05 | 3.8507e-05 | 0.068846 | 0.068846 | 0.068846 | 0.97877 | -0.40824 | 0.97733 | -0.43638 | 18.9137
16 | -0.12882 | -0.032627 | 0.12909 | 0.032804 | 0.00027742 | 0.0001773 | 0.19431 | 0.19431 | 0.19431 | 0.98709 | -0.24652 | 0.98941 | -0.20179 | 53.3818
17 | 0.054335 | 0.013696 | -0.054319 | -0.013686 | 1.5677e-05 | 9.9536e-06 | 0.081936 | 0.081936 | 0.081936 | 0.98709 | -0.24652 | 0.98678 | -0.25256 | 22.5099
18 | 0.045208 | 0.01137 | -0.045152 | -0.011334 | 5.6779e-05 | 3.5939e-05 | 0.068846 | 0.068846 | 0.068846 | 0.97733 | -0.43638 | 0.97599 | -0.4627 | 18.9137
19 | 0.0074274 | 0.0018602 | -0.007427 | -0.00186 | 4.2268e-07 | 1.6111e-07 | 0.011335 | 0.011335 | 0.011335 | 0.97501 | -0.482 | 0.97495 | -0.48319 | 3.114
20 | -0.01955 | -0.0048984 | 0.019552 | 0.0048999 | 2.5168e-06 | 1.5167e-06 | 0.029836 | 0.029836 | 0.029836 | 0.97501 | -0.482 | 0.97515 | -0.47929 | 8.1966
21 | 0.0015502 | 0.00038719 | -0.0015502 | -0.0003876 | 7.7333e-08 | -4.1001e-07 | 0.0023656 | 0.0023657 | 0.0023657 | 0.97495 | -0.48319 | 0.9749 | -0.48424 | 0.64992
22 | -0.022695 | -0.0056876 | 0.022703 | 0.0056924 | 7.8018e-06 | 4.7767e-06 | 0.034631 | 0.034631 | 0.034631 | 0.97515 | -0.47929 | 0.97551 | -0.47208 | 9.5141
23 | 0.0015502 | 0.0003876 | -0.00155 | -0.00038846 | 1.6357e-07 | -8.6683e-07 | 0.0023657 | 0.0023661 | 0.0023661 | 0.9749 | -0.48424 | 0.97478 | -0.48646 | 0.65002
24 | -0.045132 | -0.011321 | 0.045152 | 0.011334 | 2.0184e-05 | 1.2776e-05 | 0.068846 | 0.068846 | 0.068846 | 0.97551 | -0.47208 | 0.97599 | -0.4627 | 18.9137
25 | 0.022428 | 0.005629 | -0.022411 | -0.0056184 | 1.7365e-05 | 1.062e-05 | 0.034214 | 0.034215 | 0.034215 | 0.97551 | -0.47208 | 0.97469 | -0.48833 | 9.3996
26 | 0.016522 | 0.0041423 | -0.016517 | -0.0041395 | 4.8036e-06 | 2.8234e-06 | 0.025224 | 0.025224 | 0.025224 | 0.97469 | -0.48833 | 0.97438 | -0.49443 | 6.9296
27 | 0.047232 | 0.011904 | -0.047197 | -0.011882 | 3.4839e-05 | 2.2064e-05 | 0.071269 | 0.07127 | 0.07127 | 0.98648 | -0.25845 | 0.98568 | -0.27388 | 19.5795
28 | -0.049546 | -0.012484 | 0.049559 | 0.012493 | 1.3348e-05 | 8.4614e-06 | 0.07476 | 0.07476 | 0.07476 | 0.98648 | -0.25845 | 0.98677 | -0.25282 | 20.5384
29 | 0.045531 | 0.011465 | -0.045517 | -0.011456 | 1.4706e-05 | 9.306e-06 | 0.068754 | 0.068754 | 0.068754 | 0.98568 | -0.27388 | 0.98534 | -0.28064 | 18.8886
30 | -0.052246 | -0.013166 | 0.052247 | 0.013167 | 6.738e-07 | 4.2754e-07 | 0.078812 | 0.078812 | 0.078812 | 0.98677 | -0.25282 | 0.98678 | -0.25256 | 21.6516
31 | 0.044633 | 0.011234 | -0.044616 | -0.011224 | 1.6714e-05 | 1.0572e-05 | 0.06742 | 0.06742 | 0.06742 | 0.98534 | -0.28064 | 0.98493 | -0.28848 | 18.5221
32 | 0.041242 | 0.010378 | -0.041238 | -0.010375 | 4.6246e-06 | 2.9193e-06 | 0.062323 | 0.062323 | 0.062323 | 0.98493 | -0.28848 | 0.98481 | -0.29083 | 17.1217
33 | 0.037062 | 0.0093284 | -0.037038 | -0.0093138 | 2.3274e-05 | 1.4644e-05 | 0.056013 | 0.056013 | 0.056013 | 0.98481 | -0.29083 | 0.98414 | -0.30397 | 15.3882
34 | -0.13112 | -0.033313 | 0.13141 | 0.033494 | 0.0002831 | 0.00018093 | 0.19736 | 0.19736 | 0.19736 | 0.98941 | -0.20179 | 0.99175 | -0.15705 | 54.2208
35 | 0.027862 | 0.0069983 | -0.02786 | -0.006997 | 2.081e-06 | 1.2924e-06 | 0.042195 | 0.042195 | 0.042195 | 0.98268 | -0.33249 | 0.9826 | -0.33405 | 11.5921
36 | -0.031293 | -0.0078582 | 0.031308 | 0.0078676 | 1.5138e-05 | 9.4607e-06 | 0.04739 | 0.04739 | 0.04739 | 0.98268 | -0.33249 | 0.98319 | -0.32235 | 13.0194
37 | 0.026115 | 0.0065597 | -0.026102 | -0.0065521 | 1.2175e-05 | 7.529e-06 | 0.039552 | 0.039553 | 0.039553 | 0.9826 | -0.33405 | 0.9821 | -0.34383 | 10.8661
38 | -0.031308 | -0.0078676 | 0.031333 | 0.0078835 | 2.5474e-05 | 1.5919e-05 | 0.04739 | 0.04739 | 0.04739 | 0.98319 | -0.32235 | 0.98407 | -0.30532 | 13.0193
39 | 0.021226 | 0.0053299 | -0.021199 | -0.0053136 | 2.6801e-05 | 1.628e-05 | 0.032164 | 0.032164 | 0.032164 | 0.9821 | -0.34383 | 0.98074 | -0.37033 | 8.8363
40 | -0.035244 | -0.0088637 | 0.035246 | 0.0088651 | 2.2711e-06 | 1.4264e-06 | 0.053304 | 0.053304 | 0.053304 | 0.98407 | -0.30532 | 0.98414 | -0.30397 | 14.6439
41 | 0.016915 | 0.00424 | -0.016914 | -0.0042392 | 1.4763e-06 | 8.6943e-07 | 0.025665 | 0.025665 | 0.025665 | 0.98074 | -0.37033 | 0.98065 | -0.37216 | 7.0508
42 | 0.0017919 | 0.00044862 | -0.0017918 | -0.00044906 | 1.1055e-07 | -4.3955e-07 | 0.0027092 | 0.0027094 | 0.0027094 | 0.98414 | -0.30397 | 0.98407 | -0.30527 | 0.74433
43 | 0.0092841 | 0.002327 | -0.0092833 | -0.0023266 | 7.7607e-07 | 3.6513e-07 | 0.014088 | 0.014088 | 0.014088 | 0.98065 | -0.37216 | 0.98056 | -0.37391 | 3.8702
44 | 0.007984 | 0.002001 | -0.0079839 | -0.002001 | 4.706e-08 | 1.9334e-08 | 0.012116 | 0.012116 | 0.012116 | 0.98056 | -0.37391 | 0.98055 | -0.37404 | 3.3285
45 | -0.0076657 | -0.0019212 | 0.0076665 | 0.0019215 | 7.9399e-07 | 3.0235e-07 | 0.011512 | 0.011512 | 0.011512 | 0.99084 | -0.17571 | 0.99095 | -0.17353 | 3.1627
46 | -0.0076665 | -0.0019215 | 0.0076674 | 0.0019219 | 8.8609e-07 | 3.3737e-07 | 0.011512 | 0.011512 | 0.011512 | 0.99095 | -0.17353 | 0.99108 | -0.17111 | 3.1627
47 | -0.010202 | -0.0025571 | 0.010204 | 0.0025582 | 2.1355e-06 | 1.0539e-06 | 0.015318 | 0.015318 | 0.015318 | 0.99108 | -0.17111 | 0.9913 | -0.16671 | 4.2082
48 | 0.023727 | 0.0059532 | -0.023709 | -0.005942 | 1.8409e-05 | 1.128e-05 | 0.035561 | 0.035561 | 0.035561 | 0.99291 | -0.13577 | 0.99207 | -0.15206 | 9.7695
49 | -0.061096 | -0.015331 | 0.061228 | 0.015415 | 0.00013155 | 8.3648e-05 | 0.091568 | 0.091568 | 0.091568 | 0.99291 | -0.13577 | 0.99524 | -0.090723 | 25.1561
50 | 0.028012 | 0.0070331 | -0.028008 | -0.0070302 | 4.5859e-06 | 2.8458e-06 | 0.042053 | 0.042053 | 0.042053 | 0.9913 | -0.16671 | 0.99113 | -0.17015 | 11.553
51 | -0.038217 | -0.0095913 | 0.038246 | 0.0096098 | 2.9324e-05 | 1.8461e-05 | 0.05737 | 0.05737 | 0.05737 | 0.9913 | -0.16671 | 0.99214 | -0.15064 | 15.7611
52 | -0.064955 | -0.016349 | 0.06497 | 0.016359 | 1.5305e-05 | 9.7391e-06 | 0.097141 | 0.097141 | 0.097141 | 0.99524 | -0.090723 | 0.9955 | -0.085794 | 26.687
53 | 0.025479 | 0.0063964 | -0.025457 | -0.006383 | 2.179e-05 | 1.3434e-05 | 0.038256 | 0.038256 | 0.038256 | 0.99113 | -0.17015 | 0.9902 | -0.18809 | 10.5099
54 | -0.045359 | -0.011392 | 0.045387 | 0.01141 | 2.8405e-05 | 1.7967e-05 | 0.068038 | 0.068038 | 0.068038 | 0.99214 | -0.15064 | 0.99281 | -0.13752 | 18.6918
55 | -0.13492 | -0.034373 | 0.13518 | 0.034542 | 0.00026349 | 0.00016841 | 0.20263 | 0.20263 | 0.20263 | 0.99175 | -0.15705 | 0.99386 | -0.11665 | 55.6666
56 | 0.017944 | 0.0044989 | -0.017939 | -0.0044958 | 5.1369e-06 | 3.0365e-06 | 0.026725 | 0.026725 | 0.026725 | 0.99912 | -0.01695 | 0.99881 | -0.022959 | 7.342
57 | -0.023365 | -0.0058576 | 0.023374 | 0.005863 | 8.6866e-06 | 5.3088e-06 | 0.034799 | 0.034799 | 0.034799 | 0.99912 | -0.01695 | 0.99952 | -0.0091509 | 9.5602
58 | -0.029069 | -0.0072904 | 0.029082 | 0.0072983 | 1.2685e-05 | 7.8815e-06 | 0.043278 | 0.043278 | 0.043278 | 0.99952 | -0.0091509 | 1 | 0 | 11.8896
59 | 0.057937 | 0.014562 | -0.057909 | -0.014544 | 2.8157e-05 | 1.7888e-05 | 0.086226 | 0.086226 | 0.086226 | 1 | 0 | 0.99947 | -0.010185 | 23.6886
60 | 0.27806 | 0.071043 | -0.27722 | -0.070507 | 0.00083797 | 0.00053562 | 0.41424 | 0.41424 | 0.41424 | 1 | 0 | 0.99671 | -0.06253 | 56.9012
61 | 0.043504 | 0.010933 | -0.043476 | -0.010916 | 2.8106e-05 | 1.7754e-05 | 0.06478 | 0.06478 | 0.06478 | 0.99947 | -0.010185 | 0.99876 | -0.023727 | 17.7967
62 | 0.014405 | 0.003611 | -0.014403 | -0.0036099 | 2.0405e-06 | 1.1509e-06 | 0.021446 | 0.021446 | 0.021446 | 0.99947 | -0.010185 | 0.99931 | -0.013158 | 5.8919
63 | 0.12167 | 0.030707 | -0.12154 | -0.030621 | 0.00013541 | 8.6519e-05 | 0.18173 | 0.18173 | 0.18173 | 0.99671 | -0.06253 | 0.9955 | -0.085794 | 49.9247
64 | 0.15555 | 0.0398 | -0.15539 | -0.039698 | 0.00015958 | 0.00010172 | 0.23252 | 0.23252 | 0.23252 | 0.99671 | -0.06253 | 0.99559 | -0.083746 | 31.9389
65 | 0.037789 | 0.0094903 | -0.037763 | -0.0094739 | 2.6096e-05 | 1.6415e-05 | 0.056307 | 0.056307 | 0.056307 | 0.99876 | -0.023727 | 0.99801 | -0.038211 | 15.4691
66 | 0.011901 | 0.002983 | -0.011901 | -0.0029826 | 7.2364e-07 | 3.8263e-07 | 0.017722 | 0.017722 | 0.017722 | 0.99931 | -0.013158 | 0.99925 | -0.014434 | 4.8686
67 | 0.056568 | 0.014262 | -0.056517 | -0.01423 | 5.0834e-05 | 3.2288e-05 | 0.084585 | 0.084585 | 0.084585 | 0.9955 | -0.085794 | 0.99452 | -0.10459 | 23.2377
68 | 0.14747 | 0.037714 | -0.14725 | -0.037571 | 0.00022499 | 0.00014335 | 0.22068 | 0.22068 | 0.22068 | 0.99559 | -0.083746 | 0.99393 | -0.11533 | 30.3137
69 | 0.0056934 | 0.0014269 | -0.0056933 | -0.0014269 | 1.7115e-07 | 2.6365e-08 | 0.0084783 | 0.0084783 | 0.0084783 | 0.99925 | -0.014434 | 0.99922 | -0.015065 | 2.3292
70 | 0.035209 | 0.0088337 | -0.035183 | -0.0088178 | 2.544e-05 | 1.596e-05 | 0.052499 | 0.052499 | 0.052499 | 0.99801 | -0.038211 | 0.99722 | -0.053377 | 14.4228
71 | 0.008956 | 0.0022448 | -0.008955 | -0.0022444 | 1.0306e-06 | 4.6155e-07 | 0.013409 | 0.013409 | 0.013409 | 0.99386 | -0.11665 | 0.99374 | -0.11907 | 3.6838
72 | -0.14413 | -0.036786 | 0.14414 | 0.036792 | 9.2421e-06 | 5.8876e-06 | 0.21604 | 0.21604 | 0.21604 | 0.99386 | -0.11665 | 0.99393 | -0.11533 | 29.6752
73 | 0.0050071 | 0.0012549 | -0.0050071 | -0.0012549 | 5.2475e-09 | 8.7769e-11 | 0.0074714 | 0.0074714 | 0.0074714 | 0.99722 | -0.053377 | 0.99722 | -0.053399 | 2.0526
74 | -0.048857 | -0.01228 | 0.048898 | 0.012306 | 4.1448e-05 | 2.626e-05 | 0.073239 | 0.073238 | 0.073239 | 0.99281 | -0.13752 | 0.99373 | -0.11977 | 20.1205
75 | 0.0034699 | 0.00086925 | -0.0034695 | -0.00086953 | 4.4489e-07 | -2.8242e-07 | 0.0052005 | 0.0052007 | 0.0052007 | 0.99281 | -0.13752 | 0.99267 | -0.14021 | 1.4288
76 | -0.052164 | -0.013124 | 0.052202 | 0.013148 | 3.7866e-05 | 2.402e-05 | 0.078129 | 0.078129 | 0.078129 | 0.99373 | -0.11977 | 0.99452 | -0.10459 | 21.464
77 | 0.025457 | 0.006383 | -0.025449 | -0.0063781 | 7.9155e-06 | 4.8804e-06 | 0.038256 | 0.038256 | 0.038256 | 0.9902 | -0.18809 | 0.98987 | -0.19462 | 10.51
78 | 0.0067394 | 0.0016891 | -0.0067389 | -0.0016889 | 5.4937e-07 | 1.6525e-07 | 0.010092 | 0.010092 | 0.010092 | 0.99374 | -0.11907 | 0.99365 | -0.12078 | 2.7724

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36673 | 0.092903

## res_load
| p_mw | q_mvar
0 | 0.015709 | 0.003937
1 | 0.004129 | 0.0010348
2 | 0.0088625 | 0.0022212
3 | 0.0055178 | 0.0013829
4 | 0.0031171 | 0.00078122
5 | 0.0023404 | 0.00058656
6 | 0.0011533 | 0.00028904
7 | 0.0015064 | 0.00037755
8 | 0.0012201 | 0.00030579
9 | 0.0090907 | 0.0022783
10 | 0.0024446 | 0.00061267
11 | 0.010936 | 0.0027407
12 | 0.012122 | 0.0030382
13 | 0.0058768 | 0.0014729
14 | 0.0031429 | 0.0007877
15 | 0.00155 | 0.00038846
16 | 0.0058894 | 0.001476
17 | 0.016517 | 0.0041395
18 | 0.0023139 | 0.00057992
19 | 0.001666 | 0.00041755
20 | 0.002687 | 0.00067343
21 | 0.00088336 | 0.00022139
22 | 0.0020719 | 0.00051928
23 | 0.0033742 | 0.00084565
24 | 0.0041761 | 0.0010466
25 | 0.0020307 | 0.00050895
26 | 0.0034309 | 0.00085986
27 | 0.0017451 | 0.00043736
28 | 0.0048766 | 0.0012222
29 | 0.0039109 | 0.00098015
30 | 0.0042837 | 0.0010736
31 | 0.0076297 | 0.0019122
32 | 0.0012993 | 0.00032565
33 | 0.0079839 | 0.002001
34 | 0.0017918 | 0.00044906
35 | 0.0076657 | 0.0019212
36 | 0.0025349 | 0.00063529
37 | 0.023709 | 0.005942
38 | 0.0037272 | 0.00093413
39 | 0.0025289 | 0.00063381
40 | 0.0071127 | 0.0017826
41 | 0.0035077 | 0.00087911
42 | 0.0054216 | 0.0013588
43 | 0.017939 | 0.0044958
44 | 0.0056955 | 0.0014274
45 | 0.005687 | 0.0014253
46 | 0.0025014 | 0.00062692
47 | 0.0079163 | 0.001984
48 | 0.0062073 | 0.0015557
49 | 0.0056933 | 0.0014269
50 | 0.0025543 | 0.00064017
51 | 0.030176 | 0.0075629
52 | 0.0050071 | 0.0012549
53 | 0.003266 | 0.00081853
54 | 0.0034695 | 0.00086953
55 | 0.0043152 | 0.0010815
56 | 0.025449 | 0.0063781
57 | 0.003105 | 0.00077819
58 | 0.0022156 | 0.00055528
59 | 0.0067389 | 0.0016889

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1