## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2532-6_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2532-6_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2532-6_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2532-6_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2532-6_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2532-6_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2532-6_0_2_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_2532-6_0_2_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_2532-6_0_2_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_2532-6_0_2_node_56 | 0.4 | n |  | TRUE
10 | bus_LV_2532-6_0_2_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_2532-6_0_2_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_2532-6_0_2_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_2532-6_0_2_node_48 | 0.4 | n |  | TRUE
14 | bus_LV_2532-6_0_2_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_2532-6_0_2_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_2532-6_0_2_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_2532-6_0_2_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2532-6_0_2_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2532-6_0_2_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_2532-6_0_2_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_2532-6_0_2_node_57 | 0.4 | n |  | TRUE
22 | bus_LV_2532-6_0_2_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_2532-6_0_2_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_2532-6_0_2_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_2532-6_0_2_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_2532-6_0_2_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_2532-6_0_2_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_2532-6_0_2_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_2532-6_0_2_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_2532-6_0_2_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_2532-6_0_2_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_2532-6_0_2_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_2532-6_0_2_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_2532-6_0_2_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_2532-6_0_2_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_2532-6_0_2_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_2532-6_0_2_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_2532-6_0_2_node_59 | 0.4 | n |  | TRUE
39 | bus_LV_2532-6_0_2_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_2532-6_0_2_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_2532-6_0_2_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_2532-6_0_2_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_2532-6_0_2_node_63 | 0.4 | n |  | TRUE
44 | bus_LV_2532-6_0_2_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_2532-6_0_2_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_2532-6_0_2_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_2532-6_0_2_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_2532-6_0_2_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_2532-6_0_2_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_2532-6_0_2_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_2532-6_0_2_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_2532-6_0_2_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_2532-6_0_2_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_2532-6_0_2_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_2532-6_0_2_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_2532-6_0_2_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_2532-6_0_2_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_2532-6_0_2_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_2532-6_0_2_node_58 | 0.4 | n |  | TRUE
60 | bus_MV_392_1_node_168 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2532-6_0_2_load_0 | 0 | 0.0021182 | 0.00053088 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2532-6_0_2_load_1 | 1 | 0.00092333 | 0.00023141 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2532-6_0_2_load_4 | 4 | 0.001795 | 0.00044986 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2532-6_0_2_load_29 | 6 | 0.0013924 | 0.00034898 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2532-6_0_2_load_11 | 7 | 0.0012259 | 0.00030725 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2532-6_0_2_load_49 | 8 | 0.00066214 | 0.00016595 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2532-6_0_2_load_55 | 10 | 0.0016904 | 0.00042365 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2532-6_0_2_load_28 | 11 | 0.0019959 | 0.00050022 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2532-6_0_2_load_12 | 12 | 0.0017369 | 0.0004353 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2532-6_0_2_load_48 | 13 | 0.0022494 | 0.00056375 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2532-6_0_2_load_6 | 14 | 0.0011093 | 0.00027801 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2532-6_0_2_load_7 | 15 | 0.00089228 | 0.00022363 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2532-6_0_2_load_8 | 16 | 0.00034815 | 8.7254e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2532-6_0_2_load_10 | 18 | 0.00090916 | 0.00022786 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2532-6_0_2_load_50 | 19 | 0.0017204 | 0.00043118 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2532-6_0_2_load_57 | 21 | 0.0013436 | 0.00033673 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2532-6_0_2_load_42 | 24 | 0.0022755 | 0.00057029 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2532-6_0_2_load_41 | 25 | 0.0013547 | 0.00033952 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2532-6_0_2_load_13 | 26 | 0.00083077 | 0.00020821 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2532-6_0_2_load_26 | 32 | 0.0041616 | 0.001043 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2532-6_0_2_load_32 | 35 | 0.0011752 | 0.00029454 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2532-6_0_2_load_38 | 36 | 0.00037076 | 9.2922e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2532-6_0_2_load_25 | 37 | 0.00080431 | 0.00020158 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2532-6_0_2_load_59 | 38 | 0.0050447 | 0.0012643 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2532-6_0_2_load_36 | 40 | 0.00099526 | 0.00024944 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2532-6_0_2_load_62 | 41 | 0.00099724 | 0.00024993 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2532-6_0_2_load_61 | 42 | 0.00099928 | 0.00025044 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2532-6_0_2_load_63 | 43 | 0.0023084 | 0.00057855 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2532-6_0_2_load_60 | 44 | 0.0027436 | 0.00068762 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2532-6_0_2_load_34 | 45 | 0.0074883 | 0.0018768 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2532-6_0_2_load_37 | 48 | 0.041129 | 0.010308 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2532-6_0_2_load_33 | 49 | 0.07751 | 0.019426 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2532-6_0_2_load_24 | 50 | 0.0014632 | 0.00036672 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2532-6_0_2_load_39 | 51 | 0.0054455 | 0.0013648 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2532-6_0_2_load_31 | 52 | 0.0013582 | 0.0003404 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2532-6_0_2_load_43 | 53 | 0.00052583 | 0.00013179 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2532-6_0_2_load_44 | 54 | 0.0010174 | 0.00025497 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2532-6_0_2_load_45 | 55 | 0.001949 | 0.00048846 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2532-6_0_2_load_46 | 56 | 0.0023492 | 0.00058877 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2532-6_0_2_load_47 | 57 | 0.0067511 | 0.001692 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2532-6_0_2_load_54 | 58 | 0.00126 | 0.00031578 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2532-6_0_2_load_58 | 59 | 0.0022238 | 0.00055733 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2532-6_0_2_line_0 |  | 0 | 1 | 0.0089599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_2532-6_0_2_line_1 |  | 0 | 2 | 0.016094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2532-6_0_2_line_2 |  | 1 | 3 | 0.010056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_2532-6_0_2_line_3 |  | 2 | 4 | 0.0030538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2532-6_0_2_line_4 |  | 2 | 5 | 0.010215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_2532-6_0_2_line_5 |  | 3 | 6 | 0.0059313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2532-6_0_2_line_6 |  | 4 | 7 | 0.024984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2532-6_0_2_line_7 |  | 5 | 8 | 0.023321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2532-6_0_2_line_8 |  | 5 | 9 | 0.009319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2532-6_0_2_line_9 |  | 6 | 11 | 0.012623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2532-6_0_2_line_10 |  | 7 | 12 | 0.022799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2532-6_0_2_line_11 |  | 8 | 13 | 0.01432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2532-6_0_2_line_12 |  | 9 | 10 | 0.016205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2532-6_0_2_line_13 |  | 10 | 58 | 0.0016178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2532-6_0_2_line_14 |  | 11 | 46 | 0.011001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_2532-6_0_2_line_15 |  | 12 | 24 | 0.031242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2532-6_0_2_line_16 |  | 12 | 25 | 0.016469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2532-6_0_2_line_17 |  | 13 | 17 | 0.019427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2532-6_0_2_line_18 |  | 14 | 15 | 0.0236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_2532-6_0_2_line_19 |  | 14 | 16 | 0.027016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2532-6_0_2_line_20 |  | 15 | 17 | 0.01697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2532-6_0_2_line_21 |  | 16 | 18 | 0.018393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_2532-6_0_2_line_22 |  | 17 | 19 | 0.037105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2532-6_0_2_line_23 |  | 18 | 20 | 0.044679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_2532-6_0_2_line_24 |  | 19 | 21 | 0.027923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2532-6_0_2_line_25 |  | 20 | 22 | 0.063357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2532-6_0_2_line_26 |  | 20 | 23 | 0.1348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_2532-6_0_2_line_27 |  | 21 | 59 | 0.019805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2532-6_0_2_line_28 |  | 22 | 38 | 0.035406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2532-6_0_2_line_29 |  | 23 | 42 | 0.079297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2532-6_0_2_line_30 |  | 26 | 27 | 0.23021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2532-6_0_2_line_31 |  | 26 | 28 | 0.0068995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2532-6_0_2_line_32 |  | 27 | 29 | 0.24392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2532-6_0_2_line_33 |  | 28 | 30 | 0.045269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2532-6_0_2_line_34 |  | 29 | 31 | 0.19363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2532-6_0_2_line_35 |  | 30 | 32 | 0.028703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2532-6_0_2_line_36 |  | 31 | 36 | 0.0353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2532-6_0_2_line_37 |  | 31 | 33 | 0.14686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2532-6_0_2_line_38 |  | 32 | 37 | 0.015386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2532-6_0_2_line_39 |  | 33 | 34 | 0.14198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2532-6_0_2_line_40 |  | 33 | 35 | 0.051327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_2532-6_0_2_line_41 |  | 34 | 43 | 0.02589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2532-6_0_2_line_42 |  | 35 | 46 | 0.0088685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_2532-6_0_2_line_43 |  | 36 | 51 | 0.04069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2532-6_0_2_line_44 |  | 37 | 50 | 0.03105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2532-6_0_2_line_45 |  | 38 | 44 | 0.014001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2532-6_0_2_line_46 |  | 39 | 40 | 0.0074149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2532-6_0_2_line_47 |  | 39 | 41 | 0.010755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_2532-6_0_2_line_48 |  | 40 | 45 | 0.094588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_2532-6_0_2_line_49 |  | 41 | 42 | 0.0071784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_2532-6_0_2_line_50 |  | 45 | 49 | 0.051545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_2532-6_0_2_line_51 |  | 46 | 52 | 0.047045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2532-6_0_2_line_52 |  | 47 | 48 | 0.069027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_2532-6_0_2_line_53 |  | 47 | 49 | 0.0021548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_2532-6_0_2_line_54 |  | 53 | 54 | 0.0038646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2532-6_0_2_line_55 |  | 53 | 55 | 0.016488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2532-6_0_2_line_56 |  | 54 | 56 | 0.00051403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2532-6_0_2_line_57 |  | 55 | 57 | 0.0099288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2532-6_0_2_line_58 |  | 56 | 58 | 0.015505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2532-6_0_2_trafo_37 | 0.63 MVA 20/0.4 kV | 60 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2613377.3258 | 1226736.9723 | 2613384.2426 | 1226742.6678
1 | 2613364.9018 | 1226726.742 | 2613377.3258 | 1226736.9723
2 | 2613392.0057 | 1226749.0603 | 2613384.2426 | 1226742.6678
3 | 2613364.9018 | 1226726.742 | 2613362.9578 | 1226729.0971
4 | 2613371.4748 | 1226718.9076 | 2613364.9018 | 1226726.742
5 | 2613392.0057 | 1226749.0603 | 2613396.5461 | 1226752.8767
6 | 2613347.0529 | 1226748.365 | 2613362.9578 | 1226729.0971
7 | 2613371.4748 | 1226718.9076 | 2613353.7067 | 1226703.8022
8 | 2613371.4748 | 1226718.9076 | 2613379.254 | 1226724.0725
9 | 2613396.5461 | 1226752.8767 | 2613406.2089 | 1226760.999
10 | 2613331.524 | 1226764.9678 | 2613338.3278 | 1226758.935 | 2613347.0529 | 1226748.365
11 | 2613342.7968 | 1226694.5273 | 2613353.7067 | 1226703.8022
12 | 2613379.254 | 1226724.0725 | 2613389.8023 | 1226711.77
13 | 2613390.8553 | 1226710.5419 | 2613389.8023 | 1226711.77
14 | 2613414.6304 | 1226768.0778 | 2613406.2089 | 1226760.999
15 | 2613331.524 | 1226764.9678 | 2613320.6349 | 1226774.6381 | 2613305.9986 | 1226782.6361
16 | 2613331.524 | 1226764.9678 | 2613344.3319 | 1226775.3211
17 | 2613327.9957 | 1226681.9443 | 2613342.7968 | 1226694.5273
18 | 2613353.9508 | 1226650.7658 | 2613339.1733 | 1226668.7726 | 2613338.9756 | 1226669.0055
19 | 2613353.9508 | 1226650.7658 | 2613371.0897 | 1226629.8817
20 | 2613327.9957 | 1226681.9443 | 2613338.9756 | 1226669.0055
21 | 2613371.0897 | 1226629.8817 | 2613382.7577 | 1226615.6639
22 | 2613327.9957 | 1226681.9443 | 2613303.9865 | 1226710.2351
23 | 2613411.1017 | 1226581.1263 | 2613382.7577 | 1226615.6639
24 | 2613303.9865 | 1226710.2351 | 2613285.9189 | 1226731.5246
25 | 2613396.5209 | 1226523.3484 | 2613399.3995 | 1226534.0945 | 2613402.2855 | 1226544.8963 | 2613402.2676 | 1226552.8676 | 2613400.073 | 1226561.5567 | 2613399.5152 | 1226566.9808 | 2613401.6781 | 1226572.4222 | 2613411.1017 | 1226581.1263
26 | 2613411.1017 | 1226581.1263 | 2613414.4546 | 1226576.3643 | 2613425.1292 | 1226561.1793 | 2613428.3453 | 1226556.6172 | 2613442.3386 | 1226535.136 | 2613474.2465 | 1226474.1052 | 2613483.6194 | 1226478.44
27 | 2613285.9189 | 1226731.5246 | 2613276.8502 | 1226742.2105 | 2613273.1032 | 1226746.6242
28 | 2613396.5209 | 1226523.3484 | 2613361.4951 | 1226528.5203
29 | 2613483.6194 | 1226478.44 | 2613504.1084 | 1226443.4101 | 2613518.6409 | 1226407.5266
30 | 2613687.9179 | 1227112.2783 | 2613708.2509 | 1227101.8855 | 2613749.5431 | 1227075.8427 | 2613799.8259 | 1227038.8812 | 2613865.1403 | 1226993.9058 | 2613880.6153 | 1226987.2378
31 | 2613885.9174 | 1226991.6527 | 2613880.6153 | 1226987.2378
32 | 2613584.8817 | 1226891.1905 | 2613615.394 | 1226956.8209 | 2613648.4461 | 1227028.3496 | 2613687.9179 | 1227112.2783
33 | 2613885.9174 | 1226991.6527 | 2613908.4954 | 1226980.7988 | 2613925.9265 | 1226970.5556
34 | 2613584.8817 | 1226891.1905 | 2613509.5022 | 1226923.6944 | 2613502.3901 | 1226925.3348 | 2613496.0863 | 1226924.7425 | 2613486.2596 | 1226920.3399 | 2613480.1279 | 1226914.0223 | 2613474.2643 | 1226892.9634 | 2613505.9867 | 1226846.2296
35 | 2613925.9265 | 1226970.5556 | 2613910.2251 | 1226946.5285
36 | 2613505.9867 | 1226846.2296 | 2613538.2783 | 1226831.9701
37 | 2613458.7851 | 1226733.3677 | 2613466.9951 | 1226749.0954 | 2613473.6671 | 1226764.6085 | 2613476.4671 | 1226786.5389 | 2613474.7035 | 1226802.3887 | 2613468.2992 | 1226822.764 | 2613468.2441 | 1226830.424 | 2613472.812 | 1226834.6145 | 2613479.7096 | 1226837.4318 | 2613493.2471 | 1226849.7362 | 2613505.9867 | 1226846.2296
38 | 2613901.8086 | 1226933.649 | 2613910.2251 | 1226946.5285
39 | 2613458.7851 | 1226733.3677 | 2613455.1769 | 1226723.6316 | 2613453.055 | 1226710.1411 | 2613453.8998 | 1226651.3305 | 2613483.4861 | 1226638.2117 | 2613509.4426 | 1226631.6886
40 | 2613458.7851 | 1226733.3677 | 2613452.1978 | 1226737.4441 | 2613449.9579 | 1226749.4128 | 2613445.7804 | 1226753.5614 | 2613430.644 | 1226761.2319 | 2613422.785 | 1226764.5917
41 | 2613509.4426 | 1226631.6886 | 2613534.8877 | 1226636.8492
42 | 2613414.6304 | 1226768.0778 | 2613422.785 | 1226764.5917
43 | 2613538.2783 | 1226831.9701 | 2613547.9676 | 1226827.6914 | 2613552.0946 | 1226835.8278 | 2613571.4554 | 1226827.759
44 | 2613901.8086 | 1226933.649 | 2613884.8233 | 1226907.6572
45 | 2613347.6442 | 1226530.5656 | 2613361.4951 | 1226528.5203
46 | 2613525.3725 | 1226390.905 | 2613532.7482 | 1226390.1445
47 | 2613525.3725 | 1226390.905 | 2613521.3355 | 1226400.8731
48 | 2613619.6487 | 1226404.9156 | 2613611.3844 | 1226398.3824 | 2613606.3829 | 1226391.4447 | 2613590.3623 | 1226384.204 | 2613532.7482 | 1226390.1445
49 | 2613518.6409 | 1226407.5266 | 2613521.3355 | 1226400.8731
50 | 2613619.6487 | 1226404.9156 | 2613620.1148 | 1226405.2841 | 2613612.878 | 1226418.0863 | 2613604.6711 | 1226453.3897
51 | 2613414.6304 | 1226768.0778 | 2613371.1354 | 1226786.0055
52 | 2613604.1832 | 1226455.4885 | 2613592.4792 | 1226496.386 | 2613589.7333 | 1226497.4359 | 2613566.8968 | 1226491.3916
53 | 2613604.1832 | 1226455.4885 | 2613604.6711 | 1226453.3897
54 | 2613403.7975 | 1226695.4474 | 2613401.282 | 1226698.3812
55 | 2613403.7975 | 1226695.4474 | 2613414.5296 | 1226682.9304
56 | 2613400.9474 | 1226698.7714 | 2613401.282 | 1226698.3812
57 | 2613420.9923 | 1226675.3929 | 2613414.5296 | 1226682.9304
58 | 2613390.8553 | 1226710.5419 | 2613400.9474 | 1226698.7714

## bus_geodata
| x | y | coords
0 | 2613377.3258 | 1226736.9723
1 | 2613384.2426 | 1226742.6678
2 | 2613364.9018 | 1226726.742
3 | 2613392.0057 | 1226749.0603
4 | 2613362.9578 | 1226729.0971
5 | 2613371.4748 | 1226718.9076
6 | 2613396.5461 | 1226752.8767
7 | 2613347.0529 | 1226748.365
8 | 2613353.7067 | 1226703.8022
9 | 2613379.254 | 1226724.0725
10 | 2613389.8023 | 1226711.77
11 | 2613406.2089 | 1226760.999
12 | 2613331.524 | 1226764.9678
13 | 2613342.7968 | 1226694.5273
14 | 2613353.9508 | 1226650.7658
15 | 2613338.9756 | 1226669.0055
16 | 2613371.0897 | 1226629.8817
17 | 2613327.9957 | 1226681.9443
18 | 2613382.7577 | 1226615.6639
19 | 2613303.9865 | 1226710.2351
20 | 2613411.1017 | 1226581.1263
21 | 2613285.9189 | 1226731.5246
22 | 2613396.5209 | 1226523.3484
23 | 2613483.6194 | 1226478.44
24 | 2613305.9986 | 1226782.6361
25 | 2613344.3319 | 1226775.3211
26 | 2613880.6153 | 1226987.2378
27 | 2613687.9179 | 1227112.2783
28 | 2613885.9174 | 1226991.6527
29 | 2613584.8817 | 1226891.1905
30 | 2613925.9265 | 1226970.5556
31 | 2613505.9867 | 1226846.2296
32 | 2613910.2251 | 1226946.5285
33 | 2613458.7851 | 1226733.3677
34 | 2613509.4426 | 1226631.6886
35 | 2613422.785 | 1226764.5917
36 | 2613538.2783 | 1226831.9701
37 | 2613901.8086 | 1226933.649
38 | 2613361.4951 | 1226528.5203
39 | 2613525.3725 | 1226390.905
40 | 2613532.7482 | 1226390.1445
41 | 2613521.3355 | 1226400.8731
42 | 2613518.6409 | 1226407.5266
43 | 2613534.8877 | 1226636.8492
44 | 2613347.6442 | 1226530.5656
45 | 2613619.6487 | 1226404.9156
46 | 2613414.6304 | 1226768.0778
47 | 2613604.1832 | 1226455.4885
48 | 2613566.8968 | 1226491.3916
49 | 2613604.6711 | 1226453.3897
50 | 2613884.8233 | 1226907.6572
51 | 2613571.4554 | 1226827.759
52 | 2613371.1354 | 1226786.0055
53 | 2613403.7975 | 1226695.4474
54 | 2613401.282 | 1226698.3812
55 | 2613414.5296 | 1226682.9304
56 | 2613400.9474 | 1226698.7714
57 | 2613420.9923 | 1226675.3929
58 | 2613390.8553 | 1226710.5419
59 | 2613273.1032 | 1226746.6242
60 | 2613604.1832 | 1226455.4885

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97722 | -0.43891 | 0.0021182 | 0.00053088
1 | 0.97713 | -0.44073 | 0.00092333 | 0.00023141
2 | 0.97741 | -0.43533 | 0 | 0
3 | 0.97703 | -0.44269 | 0 | 0
4 | 0.97738 | -0.43579 | 0.001795 | 0.00044986
5 | 0.97756 | -0.43227 | 0 | 0
6 | 0.97697 | -0.44385 | 0.0013924 | 0.00034898
7 | 0.97723 | -0.4388 | 0.0012259 | 0.00030725
8 | 0.97808 | -0.422 | 0.00066214 | 0.00016595
9 | 0.97743 | -0.43491 | 0 | 0
10 | 0.97719 | -0.43951 | 0.0016904 | 0.00042365
11 | 0.97686 | -0.44615 | 0.0019959 | 0.00050022
12 | 0.97712 | -0.44104 | 0.0017369 | 0.0004353
13 | 0.97841 | -0.41561 | 0.0022494 | 0.00056375
14 | 0.97995 | -0.38552 | 0.0011093 | 0.00027801
15 | 0.97932 | -0.39782 | 0.00089228 | 0.00022363
16 | 0.98068 | -0.37117 | 0.00034815 | 8.7254e-05
17 | 0.97887 | -0.40655 | 0 | 0
18 | 0.98118 | -0.36136 | 0.00090916 | 0.00022786
19 | 0.97869 | -0.41012 | 0.0017204 | 0.00043118
20 | 0.98242 | -0.3372 | 0 | 0
21 | 0.9786 | -0.41193 | 0.0013436 | 0.00033673
22 | 0.98197 | -0.34612 | 0 | 0
23 | 0.98665 | -0.25527 | 0 | 0
24 | 0.97705 | -0.44233 | 0.0022755 | 0.00057029
25 | 0.97709 | -0.44144 | 0.0013547 | 0.00033952
26 | 0.9709 | -0.56355 | 0.00083077 | 0.00020821
27 | 0.97247 | -0.53267 | 0 | 0
28 | 0.97086 | -0.56437 | 0 | 0
29 | 0.97412 | -0.50002 | 0 | 0
30 | 0.97059 | -0.56976 | 0 | 0
31 | 0.97543 | -0.47415 | 0 | 0
32 | 0.97042 | -0.57318 | 0.0041616 | 0.001043
33 | 0.97633 | -0.45654 | 0 | 0
34 | 0.97602 | -0.46254 | 0 | 0
35 | 0.97669 | -0.4493 | 0.0011752 | 0.00029454
36 | 0.97524 | -0.47792 | 0.00037076 | 9.2922e-05
37 | 0.97039 | -0.57382 | 0.00080431 | 0.00020158
38 | 0.98171 | -0.35111 | 0.0050447 | 0.0012643
39 | 0.98971 | -0.19634 | 0 | 0
40 | 0.98995 | -0.19175 | 0.00099526 | 0.00024944
41 | 0.98936 | -0.203 | 0.00099724 | 0.00024993
42 | 0.98913 | -0.20739 | 0.00099928 | 0.00025044
43 | 0.97597 | -0.46363 | 0.0023084 | 0.00057855
44 | 0.98168 | -0.3518 | 0.0027436 | 0.00068762
45 | 0.99305 | -0.13254 | 0.0074883 | 0.0018768
46 | 0.97676 | -0.44795 | 0 | 0
47 | 0.99506 | -0.094077 | 0 | 0
48 | 1 | 0 | -0.15906 | -0.040148
49 | 0.99491 | -0.097029 | 0.07751 | 0.019426
50 | 0.97034 | -0.57466 | 0.0014632 | 0.00036672
51 | 0.97504 | -0.48198 | 0.0054455 | 0.0013648
52 | 0.9767 | -0.44912 | 0.0013582 | 0.0003404
53 | 0.97695 | -0.44423 | 0.00052583 | 0.00013179
54 | 0.97699 | -0.44358 | 0.0010174 | 0.00025497
55 | 0.97682 | -0.44685 | 0.001949 | 0.00048846
56 | 0.97699 | -0.44348 | 0.0023492 | 0.00058877
57 | 0.97676 | -0.44808 | 0.0067511 | 0.001692
58 | 0.97717 | -0.43992 | 0.00126 | 0.00031578
59 | 0.97856 | -0.41273 | 0.0022238 | 0.00055733
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.022293 | 0.0055919 | -0.022291 | -0.0055909 | 1.936e-06 | 1.0146e-06 | 0.033947 | 0.033947 | 0.033947 | 0.97722 | -0.43891 | 0.97713 | -0.44073 | 4.6631
1 | -0.024411 | -0.0061228 | 0.024415 | 0.006125 | 4.1697e-06 | 2.2653e-06 | 0.037173 | 0.037172 | 0.037173 | 0.97722 | -0.43891 | 0.97741 | -0.43533 | 5.1061
2 | 0.021368 | 0.0053595 | -0.021366 | -0.0053584 | 1.9967e-06 | 1.026e-06 | 0.032541 | 0.032541 | 0.032541 | 0.97713 | -0.44073 | 0.97703 | -0.44269 | 4.47
3 | 0.0083899 | 0.0021022 | -0.0083897 | -0.0021021 | 1.8683e-07 | 8.1296e-08 | 0.012773 | 0.012773 | 0.012773 | 0.97741 | -0.43533 | 0.97738 | -0.43579 | 3.509
4 | -0.032805 | -0.0082272 | 0.03281 | 0.00823 | 4.7778e-06 | 2.8017e-06 | 0.049945 | 0.049945 | 0.049945 | 0.97741 | -0.43533 | 0.97756 | -0.43227 | 6.8606
5 | 0.021366 | 0.0053584 | -0.021365 | -0.0053578 | 1.1777e-06 | 6.0515e-07 | 0.032541 | 0.032541 | 0.032541 | 0.97703 | -0.44269 | 0.97697 | -0.44385 | 4.47
6 | 0.0065947 | 0.0016522 | -0.0065938 | -0.001652 | 9.4442e-07 | 2.9136e-07 | 0.01004 | 0.01004 | 0.01004 | 0.97738 | -0.43579 | 0.97723 | -0.4388 | 2.7583
7 | -0.048362 | -0.012131 | 0.048386 | 0.012145 | 2.3699e-05 | 1.4583e-05 | 0.073619 | 0.073619 | 0.073619 | 0.97756 | -0.43227 | 0.97808 | -0.422 | 10.1126
8 | 0.015552 | 0.0039006 | -0.01555 | -0.0038995 | 1.9587e-06 | 1.1367e-06 | 0.023674 | 0.023674 | 0.023674 | 0.97756 | -0.43227 | 0.97743 | -0.43491 | 6.504
9 | 0.019972 | 0.0050089 | -0.01997 | -0.0050078 | 2.1903e-06 | 1.0857e-06 | 0.030421 | 0.030421 | 0.030421 | 0.97697 | -0.44385 | 0.97686 | -0.44615 | 4.1787
10 | 0.0053678 | 0.0013447 | -0.0053673 | -0.0013446 | 5.7115e-07 | 7.9929e-08 | 0.0081733 | 0.0081734 | 0.0081734 | 0.97723 | -0.4388 | 0.97712 | -0.44104 | 2.2454
11 | -0.049048 | -0.012311 | 0.049063 | 0.01232 | 1.4953e-05 | 9.2101e-06 | 0.074627 | 0.074626 | 0.074627 | 0.97808 | -0.422 | 0.97841 | -0.41561 | 10.2509
12 | 0.01555 | 0.0038995 | -0.015547 | -0.0038975 | 3.4061e-06 | 1.9768e-06 | 0.023674 | 0.023675 | 0.023675 | 0.97743 | -0.43491 | 0.97719 | -0.43951 | 6.504
13 | 0.013857 | 0.0034738 | -0.013856 | -0.0034737 | 2.7011e-07 | 1.526e-07 | 0.0211 | 0.021101 | 0.021101 | 0.97719 | -0.43951 | 0.97717 | -0.43992 | 5.7968
14 | 0.017974 | 0.0045076 | -0.017972 | -0.0045068 | 1.5464e-06 | 7.1428e-07 | 0.02738 | 0.02738 | 0.02738 | 0.97686 | -0.44615 | 0.97676 | -0.44795 | 3.761
15 | 0.0022756 | 0.00056999 | -0.0022755 | -0.00057029 | 1.407e-07 | -3.0126e-07 | 0.0034654 | 0.0034655 | 0.0034655 | 0.97712 | -0.44104 | 0.97705 | -0.44233 | 0.95207
16 | 0.0013547 | 0.00033933 | -0.0013547 | -0.00033952 | 2.6285e-08 | -1.8946e-07 | 0.002063 | 0.0020631 | 0.0020631 | 0.97712 | -0.44104 | 0.97709 | -0.44144 | 0.56678
17 | -0.051313 | -0.012884 | 0.051335 | 0.012898 | 2.2188e-05 | 1.3712e-05 | 0.078047 | 0.078047 | 0.078047 | 0.97841 | -0.41561 | 0.97887 | -0.40655 | 10.7208
18 | 0.057574 | 0.014482 | -0.05754 | -0.014461 | 3.3834e-05 | 2.106e-05 | 0.087443 | 0.087443 | 0.087443 | 0.97995 | -0.38552 | 0.97932 | -0.39782 | 12.0114
19 | -0.058683 | -0.01476 | 0.058723 | 0.014785 | 4.0239e-05 | 2.5072e-05 | 0.089127 | 0.089127 | 0.089127 | 0.97995 | -0.38552 | 0.98068 | -0.37117 | 12.2427
20 | 0.056647 | 0.014238 | -0.056624 | -0.014223 | 2.358e-05 | 1.4665e-05 | 0.086087 | 0.086087 | 0.086087 | 0.97932 | -0.39782 | 0.97887 | -0.40655 | 11.8252
21 | -0.059071 | -0.014873 | 0.059099 | 0.01489 | 2.772e-05 | 1.7276e-05 | 0.089655 | 0.089655 | 0.089655 | 0.98068 | -0.37117 | 0.98118 | -0.36136 | 12.3152
22 | 0.005289 | 0.001325 | -0.0052881 | -0.0013249 | 8.9945e-07 | 1.0929e-07 | 0.0080399 | 0.00804 | 0.00804 | 0.97887 | -0.40655 | 0.97869 | -0.41012 | 2.2088
23 | -0.060008 | -0.015118 | 0.060077 | 0.015161 | 6.9424e-05 | 4.3301e-05 | 0.091034 | 0.091033 | 0.091034 | 0.98118 | -0.36136 | 0.98242 | -0.3372 | 12.5046
24 | 0.0035677 | 0.00089371 | -0.0035674 | -0.00089386 | 3.0809e-07 | -1.5367e-07 | 0.0054243 | 0.0054244 | 0.0054244 | 0.97869 | -0.41012 | 0.9786 | -0.41193 | 1.4902
25 | 0.0077936 | 0.0019539 | -0.0077903 | -0.0019526 | 3.3109e-06 | 1.3171e-06 | 0.011805 | 0.011805 | 0.011805 | 0.98242 | -0.3372 | 0.98197 | -0.34612 | 3.2431
26 | -0.067871 | -0.017115 | 0.068138 | 0.017282 | 0.0002673 | 0.00016764 | 0.10284 | 0.10284 | 0.10284 | 0.98242 | -0.3372 | 0.98665 | -0.25527 | 14.1261
27 | 0.0022239 | 0.00055714 | -0.0022238 | -0.00055733 | 8.4922e-08 | -1.9446e-07 | 0.0033814 | 0.0033815 | 0.0033815 | 0.9786 | -0.41193 | 0.97856 | -0.41273 | 0.92899
28 | 0.0077903 | 0.0019526 | -0.0077884 | -0.0019518 | 1.8503e-06 | 7.3642e-07 | 0.011805 | 0.011805 | 0.011805 | 0.98197 | -0.34612 | 0.98171 | -0.35111 | 3.2432
29 | -0.068138 | -0.017282 | 0.068296 | 0.017381 | 0.00015723 | 9.86e-05 | 0.10284 | 0.10284 | 0.10284 | 0.98665 | -0.25527 | 0.98913 | -0.20739 | 14.1259
30 | -0.007263 | -0.0018199 | 0.0072737 | 0.0018239 | 1.0695e-05 | 3.9935e-06 | 0.011131 | 0.01113 | 0.011131 | 0.9709 | -0.56355 | 0.97247 | -0.53267 | 3.058
31 | 0.0064322 | 0.0016117 | -0.0064319 | -0.0016116 | 2.5143e-07 | 7.5594e-08 | 0.0098579 | 0.0098579 | 0.0098579 | 0.9709 | -0.56355 | 0.97086 | -0.56437 | 2.7082
32 | -0.0072737 | -0.0018239 | 0.007285 | 0.0018281 | 1.133e-05 | 4.2199e-06 | 0.01113 | 0.011129 | 0.01113 | 0.97247 | -0.53267 | 0.97412 | -0.50002 | 3.0577
33 | 0.0064319 | 0.0016116 | -0.0064303 | -0.0016111 | 1.6497e-06 | 4.962e-07 | 0.0098579 | 0.0098581 | 0.0098581 | 0.97086 | -0.56437 | 0.97059 | -0.56976 | 2.7083
34 | -0.007285 | -0.0018281 | 0.007294 | 0.0018315 | 8.9928e-06 | 3.3416e-06 | 0.011129 | 0.011128 | 0.011129 | 0.97412 | -0.50002 | 0.97543 | -0.47415 | 3.0574
35 | 0.0064303 | 0.0016111 | -0.0064292 | -0.0016108 | 1.046e-06 | 3.1479e-07 | 0.0098581 | 0.0098583 | 0.0098583 | 0.97059 | -0.56976 | 0.97042 | -0.57318 | 2.7083
36 | 0.0058183 | 0.0014581 | -0.0058173 | -0.0014579 | 1.0429e-06 | 2.2688e-07 | 0.0088758 | 0.008876 | 0.008876 | 0.97543 | -0.47415 | 0.97524 | -0.47792 | 2.4385
37 | -0.013112 | -0.0032895 | 0.013123 | 0.0032929 | 1.1018e-05 | 3.3819e-06 | 0.020004 | 0.020003 | 0.020004 | 0.97543 | -0.47415 | 0.97633 | -0.45654 | 2.7478
38 | 0.0022676 | 0.0005678 | -0.0022676 | -0.00056795 | 6.9752e-08 | -1.4544e-07 | 0.003477 | 0.003477 | 0.003477 | 0.97042 | -0.57318 | 0.97039 | -0.57382 | 0.95523
39 | 0.0023092 | 0.00057695 | -0.0023085 | -0.0005783 | 6.5939e-07 | -1.353e-06 | 0.0035188 | 0.0035194 | 0.0035194 | 0.97633 | -0.45654 | 0.97602 | -0.46254 | 0.96688
40 | -0.015433 | -0.0038699 | 0.015438 | 0.003872 | 5.3243e-06 | 2.1233e-06 | 0.023521 | 0.023521 | 0.023521 | 0.97633 | -0.45654 | 0.97669 | -0.4493 | 3.231
41 | 0.0023085 | 0.0005783 | -0.0023084 | -0.00057855 | 1.2026e-07 | -2.4658e-07 | 0.0035194 | 0.0035196 | 0.0035196 | 0.97602 | -0.46254 | 0.97597 | -0.46363 | 0.96691
42 | -0.016613 | -0.0041665 | 0.016614 | 0.004167 | 1.0653e-06 | 4.5982e-07 | 0.025311 | 0.025311 | 0.025311 | 0.97669 | -0.4493 | 0.97676 | -0.44795 | 3.4769
43 | 0.0054465 | 0.0013649 | -0.0054455 | -0.0013648 | 1.0538e-06 | 1.6682e-07 | 0.0083103 | 0.0083104 | 0.0083104 | 0.97524 | -0.47792 | 0.97504 | -0.48198 | 2.2831
44 | 0.0014633 | 0.00036637 | -0.0014632 | -0.00036672 | 5.8619e-08 | -3.4605e-07 | 0.0022437 | 0.0022438 | 0.0022438 | 0.97039 | -0.57382 | 0.97034 | -0.57466 | 0.61644
45 | 0.0027437 | 0.0006875 | -0.0027436 | -0.00068762 | 9.0806e-08 | -1.189e-07 | 0.0041587 | 0.0041588 | 0.0041588 | 0.98171 | -0.35111 | 0.98168 | -0.3518 | 1.1425
46 | -0.070329 | -0.017905 | 0.070345 | 0.017915 | 1.5574e-05 | 9.7766e-06 | 0.10584 | 0.10584 | 0.10584 | 0.98971 | -0.19634 | 0.98995 | -0.19175 | 14.5383
47 | 0.070329 | 0.017905 | -0.070307 | -0.017891 | 2.2588e-05 | 1.418e-05 | 0.10584 | 0.10584 | 0.10584 | 0.98971 | -0.19634 | 0.98936 | -0.203 | 14.5383
48 | -0.07134 | -0.018164 | 0.071545 | 0.018292 | 0.00020432 | 0.00012833 | 0.10733 | 0.10733 | 0.10733 | 0.98995 | -0.19175 | 0.99305 | -0.13254 | 14.7438
49 | 0.06931 | 0.017641 | -0.069295 | -0.017632 | 1.4653e-05 | 9.1935e-06 | 0.10434 | 0.10434 | 0.10434 | 0.98936 | -0.203 | 0.98913 | -0.20739 | 14.3323
50 | -0.079033 | -0.020169 | 0.079169 | 0.020255 | 0.00013584 | 8.56e-05 | 0.11855 | 0.11855 | 0.11855 | 0.99305 | -0.13254 | 0.99491 | -0.097029 | 16.285
51 | 0.0013583 | 0.00033986 | -0.0013582 | -0.0003404 | 7.5529e-08 | -5.4047e-07 | 0.002069 | 0.0020692 | 0.0020692 | 0.97676 | -0.44795 | 0.9767 | -0.44912 | 0.56847
52 | -0.1567 | -0.039695 | 0.15741 | 0.040148 | 0.00071159 | 0.00045361 | 0.23448 | 0.23448 | 0.23448 | 0.99506 | -0.094077 | 1 | 0 | 32.2087
53 | 0.1567 | 0.039695 | -0.15668 | -0.03968 | 2.2213e-05 | 1.416e-05 | 0.23448 | 0.23448 | 0.23448 | 0.99506 | -0.094077 | 0.99491 | -0.097029 | 32.2087
54 | -0.0092274 | -0.0023128 | 0.0092276 | 0.002313 | 2.8626e-07 | 1.3482e-07 | 0.014054 | 0.014054 | 0.014054 | 0.97695 | -0.44423 | 0.97699 | -0.44358 | 3.8611
55 | 0.0087015 | 0.0021811 | -0.0087004 | -0.0021806 | 1.0861e-06 | 4.8867e-07 | 0.013254 | 0.013254 | 0.013254 | 0.97695 | -0.44423 | 0.97682 | -0.44685 | 3.6411
56 | -0.010245 | -0.0025679 | 0.010245 | 0.002568 | 4.6934e-08 | 2.3601e-08 | 0.015604 | 0.015604 | 0.015604 | 0.97699 | -0.44358 | 0.97699 | -0.44348 | 4.2868
57 | 0.0067515 | 0.0016921 | -0.0067511 | -0.001692 | 3.9383e-07 | 1.2777e-07 | 0.010285 | 0.010285 | 0.010285 | 0.97682 | -0.44685 | 0.97676 | -0.44808 | 2.8255
58 | -0.012594 | -0.0031567 | 0.012596 | 0.0031579 | 2.1393e-06 | 1.175e-06 | 0.019182 | 0.019182 | 0.019182 | 0.97699 | -0.44348 | 0.97717 | -0.43992 | 5.2698

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.20019 | 0.050456

## res_load
| p_mw | q_mvar
0 | 0.0021182 | 0.00053088
1 | 0.00092333 | 0.00023141
2 | 0.001795 | 0.00044986
3 | 0.0013924 | 0.00034898
4 | 0.0012259 | 0.00030725
5 | 0.00066214 | 0.00016595
6 | 0.0016904 | 0.00042365
7 | 0.0019959 | 0.00050022
8 | 0.0017369 | 0.0004353
9 | 0.0022494 | 0.00056375
10 | 0.0011093 | 0.00027801
11 | 0.00089228 | 0.00022363
12 | 0.00034815 | 8.7254e-05
13 | 0.00090916 | 0.00022786
14 | 0.0017204 | 0.00043118
15 | 0.0013436 | 0.00033673
16 | 0.0022755 | 0.00057029
17 | 0.0013547 | 0.00033952
18 | 0.00083077 | 0.00020821
19 | 0.0041616 | 0.001043
20 | 0.0011752 | 0.00029454
21 | 0.00037076 | 9.2922e-05
22 | 0.00080431 | 0.00020158
23 | 0.0050447 | 0.0012643
24 | 0.00099526 | 0.00024944
25 | 0.00099724 | 0.00024993
26 | 0.00099928 | 0.00025044
27 | 0.0023084 | 0.00057855
28 | 0.0027436 | 0.00068762
29 | 0.0074883 | 0.0018768
30 | 0.041129 | 0.010308
31 | 0.07751 | 0.019426
32 | 0.0014632 | 0.00036672
33 | 0.0054455 | 0.0013648
34 | 0.0013582 | 0.0003404
35 | 0.00052583 | 0.00013179
36 | 0.0010174 | 0.00025497
37 | 0.001949 | 0.00048846
38 | 0.0023492 | 0.00058877
39 | 0.0067511 | 0.001692
40 | 0.00126 | 0.00031578
41 | 0.0022238 | 0.00055733

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1