## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2534-8_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2534-8_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2534-8_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2534-8_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2534-8_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2534-8_0_8_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2534-8_0_8_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2534-8_0_8_node_60 | 0.4 | n |  | TRUE
8 | bus_LV_2534-8_0_8_node_61 | 0.4 | n |  | TRUE
9 | bus_LV_2534-8_0_8_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_2534-8_0_8_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2534-8_0_8_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2534-8_0_8_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_2534-8_0_8_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_2534-8_0_8_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_2534-8_0_8_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_2534-8_0_8_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_2534-8_0_8_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_2534-8_0_8_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_2534-8_0_8_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_2534-8_0_8_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_2534-8_0_8_node_62 | 0.4 | n |  | TRUE
22 | bus_LV_2534-8_0_8_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2534-8_0_8_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_2534-8_0_8_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_2534-8_0_8_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2534-8_0_8_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2534-8_0_8_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_2534-8_0_8_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_2534-8_0_8_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_2534-8_0_8_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_2534-8_0_8_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_2534-8_0_8_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_2534-8_0_8_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_2534-8_0_8_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_2534-8_0_8_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_2534-8_0_8_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_2534-8_0_8_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_2534-8_0_8_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_2534-8_0_8_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_2534-8_0_8_node_59 | 0.4 | n |  | TRUE
41 | bus_LV_2534-8_0_8_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_2534-8_0_8_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_2534-8_0_8_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_2534-8_0_8_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_2534-8_0_8_node_71 | 0.4 | n |  | TRUE
46 | bus_LV_2534-8_0_8_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_2534-8_0_8_node_72 | 0.4 | n |  | TRUE
48 | bus_LV_2534-8_0_8_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_2534-8_0_8_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_2534-8_0_8_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_2534-8_0_8_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_2534-8_0_8_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_2534-8_0_8_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_2534-8_0_8_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_2534-8_0_8_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_2534-8_0_8_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_2534-8_0_8_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_2534-8_0_8_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_2534-8_0_8_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_2534-8_0_8_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_2534-8_0_8_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_2534-8_0_8_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_2534-8_0_8_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_2534-8_0_8_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_2534-8_0_8_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_2534-8_0_8_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_2534-8_0_8_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_2534-8_0_8_node_65 | 0.4 | n |  | TRUE
69 | bus_MV_393_0_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2534-8_0_8_load_0 | 0 | 0.014965 | 0.0037507 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2534-8_0_8_load_3 | 3 | 0.034636 | 0.0086806 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2534-8_0_8_load_4 | 4 | 0.019462 | 0.0048777 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2534-8_0_8_load_5 | 5 | 0.0195 | 0.0048871 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2534-8_0_8_load_60 | 7 | 0.0011193 | 0.00028052 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2534-8_0_8_load_61 | 8 | 0.0083325 | 0.0020883 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2534-8_0_8_load_18 | 9 | 0.00092186 | 0.00023104 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2534-8_0_8_load_7 | 10 | 0.014082 | 0.0035294 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2534-8_0_8_load_9 | 11 | 0.0045136 | 0.0011312 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2534-8_0_8_load_24 | 12 | 0.021837 | 0.005473 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2534-8_0_8_load_22 | 13 | 0.023825 | 0.0059712 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2534-8_0_8_load_15 | 14 | 0.00045932 | 0.00011512 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2534-8_0_8_load_17 | 15 | 0.00057038 | 0.00014295 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2534-8_0_8_load_13 | 16 | 0.0015214 | 0.00038129 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2534-8_0_8_load_26 | 17 | 0.003906 | 0.00097894 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2534-8_0_8_load_63 | 19 | 0.00079676 | 0.00019969 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2534-8_0_8_load_55 | 20 | 0.0044767 | 0.001122 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2534-8_0_8_load_62 | 21 | 0.0046044 | 0.001154 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2534-8_0_8_load_11 | 22 | 0.00032237 | 8.0794e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2534-8_0_8_load_10 | 23 | 0.0012545 | 0.0003144 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2534-8_0_8_load_14 | 25 | 0.00030111 | 7.5465e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2534-8_0_8_load_16 | 26 | 0.00062875 | 0.00015758 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2534-8_0_8_load_19 | 27 | 0.0013605 | 0.00034097 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2534-8_0_8_load_20 | 28 | 0.025008 | 0.0062675 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2534-8_0_8_load_54 | 30 | 0.00094764 | 0.0002375 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2534-8_0_8_load_57 | 31 | 0.045982 | 0.011524 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2534-8_0_8_load_39 | 32 | 0.011127 | 0.0027886 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2534-8_0_8_load_44 | 33 | 0.0040823 | 0.0010231 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2534-8_0_8_load_51 | 36 | 0.0018063 | 0.00045271 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2534-8_0_8_load_52 | 37 | 0.0007939 | 0.00019897 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2534-8_0_8_load_53 | 38 | 0.00091055 | 0.00022821 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2534-8_0_8_load_58 | 39 | 0.0069098 | 0.0017318 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2534-8_0_8_load_59 | 40 | 0.0067833 | 0.0017001 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2534-8_0_8_load_27 | 41 | 0.01263 | 0.0031654 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2534-8_0_8_load_73 | 43 | 0.012272 | 0.0030756 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2534-8_0_8_load_30 | 44 | 0.032434 | 0.0081288 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2534-8_0_8_load_31 | 46 | 0.0033807 | 0.00084728 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2534-8_0_8_load_72 | 47 | 0.009071 | 0.0022734 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2534-8_0_8_load_70 | 48 | 0.0031341 | 0.00078549 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2534-8_0_8_load_33 | 50 | 0.032596 | 0.0081693 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2534-8_0_8_load_56 | 51 | 0.051339 | 0.012867 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2534-8_0_8_load_35 | 52 | 0.0018374 | 0.00046051 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2534-8_0_8_load_38 | 54 | 0.0011416 | 0.00028612 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2534-8_0_8_load_41 | 56 | 0.0056302 | 0.0014111 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2534-8_0_8_load_42 | 57 | 0.0020723 | 0.00051936 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2534-8_0_8_load_43 | 58 | 0.0013633 | 0.00034168 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2534-8_0_8_load_45 | 59 | 0.0033823 | 0.00084768 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2534-8_0_8_load_46 | 60 | 0.015832 | 0.003968 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2534-8_0_8_load_47 | 61 | 0.0052038 | 0.0013042 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2534-8_0_8_load_48 | 62 | 0.0012936 | 0.00032419 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2534-8_0_8_load_49 | 64 | 0.0018282 | 0.00045818 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2534-8_0_8_load_66 | 65 | 0.0035873 | 0.00089907 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2534-8_0_8_load_50 | 66 | 0.0013206 | 0.00033098 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2534-8_0_8_load_64 | 67 | 0.0038386 | 0.00096204 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2534-8_0_8_load_65 | 68 | 0.0019891 | 0.00049852 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2534-8_0_8_line_0 |  | 0 | 1 | 0.0033141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2534-8_0_8_line_1 |  | 0 | 2 | 0.014503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2534-8_0_8_line_2 |  | 1 | 3 | 0.025717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2534-8_0_8_line_3 |  | 1 | 4 | 0.025502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2534-8_0_8_line_4 |  | 2 | 5 | 0.043771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2534-8_0_8_line_5 |  | 2 | 6 | 0.066896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2534-8_0_8_line_6 |  | 3 | 10 | 0.0235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2534-8_0_8_line_7 |  | 5 | 11 | 0.0055253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2534-8_0_8_line_8 |  | 6 | 12 | 0.085341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2534-8_0_8_line_9 |  | 6 | 13 | 0.07991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2534-8_0_8_line_10 |  | 7 | 8 | 0.0016384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2534-8_0_8_line_11 |  | 7 | 9 | 0.015385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2534-8_0_8_line_12 |  | 8 | 21 | 0.021329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2534-8_0_8_line_13 |  | 9 | 15 | 0.0068959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2534-8_0_8_line_14 |  | 12 | 17 | 0.10145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2534-8_0_8_line_15 |  | 13 | 18 | 0.011418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_2534-8_0_8_line_16 |  | 14 | 15 | 0.00063478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2534-8_0_8_line_17 |  | 14 | 16 | 0.006746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2534-8_0_8_line_18 |  | 16 | 22 | 0.016587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2534-8_0_8_line_19 |  | 18 | 29 | 0.09844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_2534-8_0_8_line_20 |  | 19 | 20 | 0.0029081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2534-8_0_8_line_21 |  | 19 | 21 | 0.011436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2534-8_0_8_line_22 |  | 20 | 30 | 0.023665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2534-8_0_8_line_23 |  | 22 | 23 | 0.0070791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2534-8_0_8_line_24 |  | 23 | 24 | 0.016363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2534-8_0_8_line_25 |  | 24 | 25 | 0.0048931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2534-8_0_8_line_26 |  | 25 | 26 | 0.012039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2534-8_0_8_line_27 |  | 26 | 27 | 0.0060957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2534-8_0_8_line_28 |  | 27 | 28 | 0.0054066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2534-8_0_8_line_29 |  | 29 | 31 | 0.015611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_2534-8_0_8_line_30 |  | 30 | 37 | 0.0086133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2534-8_0_8_line_31 |  | 31 | 35 | 0.065858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_2534-8_0_8_line_32 |  | 32 | 33 | 0.0097517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_2534-8_0_8_line_33 |  | 32 | 34 | 0.031615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_2534-8_0_8_line_34 |  | 33 | 39 | 0.017915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_2534-8_0_8_line_35 |  | 34 | 54 | 0.032361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_2534-8_0_8_line_36 |  | 34 | 52 | 0.011624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2534-8_0_8_line_37 |  | 35 | 51 | 0.02322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_2534-8_0_8_line_38 |  | 36 | 37 | 0.023289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2534-8_0_8_line_39 |  | 36 | 38 | 0.0032158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2534-8_0_8_line_40 |  | 38 | 66 | 0.0083561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2534-8_0_8_line_41 |  | 39 | 40 | 0.019198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_2534-8_0_8_line_42 |  | 40 | 47 | 0.023243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_2534-8_0_8_line_43 |  | 41 | 42 | 0.038114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_2534-8_0_8_line_44 |  | 41 | 43 | 0.11874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_2534-8_0_8_line_45 |  | 42 | 44 | 0.010526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_2534-8_0_8_line_46 |  | 43 | 45 | 0.023925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_2534-8_0_8_line_47 |  | 44 | 46 | 0.040893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_2534-8_0_8_line_48 |  | 45 | 47 | 0.014015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_2534-8_0_8_line_49 |  | 45 | 48 | 0.033276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2534-8_0_8_line_50 |  | 46 | 49 | 0.026906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_2534-8_0_8_line_51 |  | 49 | 50 | 0.014813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_2534-8_0_8_line_52 |  | 50 | 51 | 0.0059022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_2534-8_0_8_line_53 |  | 52 | 53 | 0.019561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2534-8_0_8_line_54 |  | 53 | 55 | 0.044059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2534-8_0_8_line_55 |  | 53 | 56 | 0.058177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2534-8_0_8_line_56 |  | 53 | 57 | 0.019458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2534-8_0_8_line_57 |  | 54 | 58 | 0.0055558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_2534-8_0_8_line_58 |  | 55 | 59 | 0.0017118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2534-8_0_8_line_59 |  | 56 | 60 | 0.010936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2534-8_0_8_line_60 |  | 57 | 61 | 0.015548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2534-8_0_8_line_61 |  | 58 | 62 | 0.002968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_2534-8_0_8_line_62 |  | 60 | 63 | 0.027485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2534-8_0_8_line_63 |  | 62 | 64 | 0.019096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_2534-8_0_8_line_64 |  | 63 | 65 | 0.0072558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2534-8_0_8_line_65 |  | 64 | 66 | 0.010705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2534-8_0_8_line_66 |  | 65 | 67 | 0.010154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2534-8_0_8_line_67 |  | 67 | 68 | 0.00064005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2534-8_0_8_trafo_57 | 0.63 MVA 20/0.4 kV | 69 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2608252.1603 | 1228315.4579 | 2608252.0627 | 1228318.7705
1 | 2608251.6357 | 1228333.2677 | 2608252.0627 | 1228318.7705
2 | 2608252.1603 | 1228315.4579 | 2608256.8471 | 1228290.1716
3 | 2608252.1603 | 1228315.4579 | 2608227.0893 | 1228310.7873
4 | 2608251.6357 | 1228333.2677 | 2608248.3463 | 1228350.6846 | 2608222.7472 | 1228345.8794
5 | 2608251.6357 | 1228333.2677 | 2608263.5884 | 1228335.441 | 2608275.541 | 1228337.6144 | 2608269.0428 | 1228368.8683 | 2608279.7098 | 1228369.3055
6 | 2608256.8471 | 1228290.1716 | 2608249.991 | 1228278.6776 | 2608240.0526 | 1228276.79
7 | 2608222.7472 | 1228345.8794 | 2608217.3167 | 1228344.86
8 | 2608279.7098 | 1228369.3055 | 2608311.526 | 1228372.7183 | 2608326.1372 | 1228375.429 | 2608332.4235 | 1228376.972 | 2608338.3308 | 1228378.6479 | 2608351.2806 | 1228382.8128 | 2608362.8421 | 1228386.9095
9 | 2608279.7098 | 1228369.3055 | 2608284.2083 | 1228348.7663 | 2608296.0979 | 1228291.0949
10 | 2608297.9433 | 1228101.4583 | 2608296.3354 | 1228101.1439
11 | 2608281.2361 | 1228098.1906 | 2608296.3354 | 1228101.1439
12 | 2608318.876 | 1228105.5526 | 2608297.9433 | 1228101.4583
13 | 2608281.2361 | 1228098.1906 | 2608274.4684 | 1228096.8669
14 | 2608445.3346 | 1228443.2751 | 2608431.6605 | 1228430.0088 | 2608423.2845 | 1228422.159 | 2608415.5907 | 1228414.1213 | 2608412.352 | 1228411.2928 | 2608408.3484 | 1228408.2076 | 2608403.2771 | 1228404.7206 | 2608396.9332 | 1228401.054 | 2608390.657 | 1228397.7655 | 2608383.5775 | 1228394.6427 | 2608366.2745 | 1228388.1257 | 2608362.8421 | 1228386.9095
15 | 2608298.4034 | 1228279.9118 | 2608296.0979 | 1228291.0949
16 | 2608274.4684 | 1228096.8669 | 2608273.8454 | 1228096.745
17 | 2608273.8454 | 1228096.745 | 2608272.0252 | 1228096.389 | 2608267.3408 | 1228094.9814
18 | 2608267.3408 | 1228094.9814 | 2608251.456 | 1228090.2079
19 | 2608298.4034 | 1228279.9118 | 2608303.0468 | 1228258.7613 | 2608298.8051 | 1228257.8882 | 2608300.9632 | 1228247.8853 | 2608302.0489 | 1228240.7715 | 2608345.8825 | 1228249.5153 | 2608356.0903 | 1228247.9397
20 | 2608332.9535 | 1228108.306 | 2608330.0995 | 1228107.7477
21 | 2608318.876 | 1228105.5526 | 2608330.0995 | 1228107.7477
22 | 2608356.2165 | 1228112.6482 | 2608336.486 | 1228108.9969 | 2608332.9535 | 1228108.306
23 | 2608245.3446 | 1228086.6542 | 2608251.137 | 1228090.1121 | 2608251.456 | 1228090.2079
24 | 2608231.2946 | 1228078.2667 | 2608245.3446 | 1228086.6542
25 | 2608231.2946 | 1228078.2667 | 2608226.7871 | 1228076.3626
26 | 2608215.6972 | 1228071.678 | 2608226.7871 | 1228076.3626
27 | 2608215.6972 | 1228071.678 | 2608210.082 | 1228069.3059
28 | 2608205.1016 | 1228067.2021 | 2608210.082 | 1228069.3059
29 | 2608356.0903 | 1228247.9397 | 2608371.4001 | 1228250.9909
30 | 2608364.686 | 1228114.2156 | 2608356.2165 | 1228112.6482
31 | 2608431.7046 | 1228269.4694 | 2608431.4954 | 1228267.3567 | 2608430.4079 | 1228264.8871 | 2608427.6532 | 1228262.6152 | 2608424.571 | 1228261.588 | 2608371.4001 | 1228250.9909
32 | 2608490.975 | 1228159.5439 | 2608496.5984 | 1228162.1753 | 2608500.0409 | 1228163.0134
33 | 2608467.196 | 1228138.7977 | 2608484.6374 | 1228155.043 | 2608490.6168 | 1228159.3763 | 2608490.975 | 1228159.5439
34 | 2608500.0409 | 1228163.0134 | 2608517.4473 | 1228167.2509
35 | 2608467.196 | 1228138.7977 | 2608436.1194 | 1228129.7703
36 | 2608467.196 | 1228138.7977 | 2608471.1851 | 1228127.8796
37 | 2608431.7046 | 1228269.4694 | 2608454.4719 | 1228274.0306
38 | 2608387.5864 | 1228118.4535 | 2608364.686 | 1228114.2156
39 | 2608387.5864 | 1228118.4535 | 2608390.7486 | 1228119.0387
40 | 2608390.7486 | 1228119.0387 | 2608398.9651 | 1228120.5593
41 | 2608517.4473 | 1228167.2509 | 2608536.1008 | 1228171.7921
42 | 2608558.6843 | 1228177.2901 | 2608536.1008 | 1228171.7921
43 | 2608540.5025 | 1228307.7016 | 2608560.1962 | 1228306.0176 | 2608575.436 | 1228303.6268 | 2608578.3205 | 1228303.1567
44 | 2608595.6788 | 1228185.6944 | 2608578.3205 | 1228303.1567
45 | 2608540.5025 | 1228307.7016 | 2608530.2024 | 1228305.5325
46 | 2608572.3011 | 1228180.6051 | 2608595.6788 | 1228185.6944
47 | 2608530.2024 | 1228305.5325 | 2608490.1873 | 1228297.1057
48 | 2608572.3011 | 1228180.6051 | 2608558.6843 | 1228177.2901
49 | 2608572.3011 | 1228180.6051 | 2608585.908 | 1228150.2384
50 | 2608463.8586 | 1228291.5611 | 2608490.1873 | 1228297.1057
51 | 2608463.8586 | 1228291.5611 | 2608460.3998 | 1228283.596 | 2608458.0075 | 1228277.9531
52 | 2608458.0075 | 1228277.9531 | 2608456.5184 | 1228274.4406 | 2608454.4719 | 1228274.0306
53 | 2608477.8979 | 1228109.5066 | 2608471.1851 | 1228127.8796
54 | 2608477.8979 | 1228109.5066 | 2608480.8732 | 1228100.4721 | 2608491.6939 | 1228067.6569
55 | 2608477.8979 | 1228109.5066 | 2608437.1968 | 1228092.5058 | 2608423.484 | 1228089.3668
56 | 2608477.8979 | 1228109.5066 | 2608491.562 | 1228112.5833 | 2608496.8814 | 1228113.7777
57 | 2608430.7841 | 1228128.2205 | 2608436.1194 | 1228129.7703
58 | 2608491.6939 | 1228067.6569 | 2608492.239 | 1228066.0342
59 | 2608423.484 | 1228089.3668 | 2608412.8241 | 1228086.9267
60 | 2608512.0512 | 1228117.1879 | 2608499.8332 | 1228114.4405 | 2608496.8814 | 1228113.7777
61 | 2608430.7841 | 1228128.2205 | 2608427.934 | 1228127.3926
62 | 2608386.032 | 1228080.7937 | 2608412.8241 | 1228086.9267
63 | 2608427.934 | 1228127.3926 | 2608413.9685 | 1228123.3358 | 2608409.4915 | 1228122.5073
64 | 2608386.032 | 1228080.7937 | 2608378.9674 | 1228079.139
65 | 2608398.9651 | 1228120.5593 | 2608409.4915 | 1228122.5073
66 | 2608369.0807 | 1228076.8232 | 2608378.9674 | 1228079.139
67 | 2608369.0807 | 1228076.8232 | 2608368.4575 | 1228076.6772

## bus_geodata
| x | y | coords
0 | 2608252.0627 | 1228318.7705
1 | 2608252.1603 | 1228315.4579
2 | 2608251.6357 | 1228333.2677
3 | 2608256.8471 | 1228290.1716
4 | 2608227.0893 | 1228310.7873
5 | 2608222.7472 | 1228345.8794
6 | 2608279.7098 | 1228369.3055
7 | 2608296.3354 | 1228101.1439
8 | 2608297.9433 | 1228101.4583
9 | 2608281.2361 | 1228098.1906
10 | 2608240.0526 | 1228276.79
11 | 2608217.3167 | 1228344.86
12 | 2608362.8421 | 1228386.9095
13 | 2608296.0979 | 1228291.0949
14 | 2608273.8454 | 1228096.745
15 | 2608274.4684 | 1228096.8669
16 | 2608267.3409 | 1228094.9814
17 | 2608445.3346 | 1228443.2751
18 | 2608298.4034 | 1228279.9118
19 | 2608330.0995 | 1228107.7477
20 | 2608332.9535 | 1228108.306
21 | 2608318.876 | 1228105.5526
22 | 2608251.456 | 1228090.2079
23 | 2608245.3446 | 1228086.6542
24 | 2608231.2946 | 1228078.2667
25 | 2608226.7871 | 1228076.3626
26 | 2608215.6972 | 1228071.678
27 | 2608210.082 | 1228069.3059
28 | 2608205.1016 | 1228067.2021
29 | 2608356.0903 | 1228247.9397
30 | 2608356.2165 | 1228112.6482
31 | 2608371.4001 | 1228250.9909
32 | 2608490.975 | 1228159.5439
33 | 2608500.0409 | 1228163.0134
34 | 2608467.196 | 1228138.7977
35 | 2608431.7046 | 1228269.4694
36 | 2608387.5864 | 1228118.4535
37 | 2608364.686 | 1228114.2156
38 | 2608390.7486 | 1228119.0387
39 | 2608517.4473 | 1228167.2509
40 | 2608536.1008 | 1228171.7921
41 | 2608578.3205 | 1228303.1567
42 | 2608540.5025 | 1228307.7016
43 | 2608595.6788 | 1228185.6944
44 | 2608530.2024 | 1228305.5325
45 | 2608572.3011 | 1228180.6051
46 | 2608490.1873 | 1228297.1057
47 | 2608558.6843 | 1228177.2901
48 | 2608585.908 | 1228150.2384
49 | 2608463.8586 | 1228291.5611
50 | 2608458.0075 | 1228277.9531
51 | 2608454.4719 | 1228274.0306
52 | 2608471.1851 | 1228127.8796
53 | 2608477.8979 | 1228109.5066
54 | 2608436.1194 | 1228129.7703
55 | 2608491.6939 | 1228067.6569
56 | 2608423.484 | 1228089.3668
57 | 2608496.8814 | 1228113.7777
58 | 2608430.7841 | 1228128.2205
59 | 2608492.239 | 1228066.0342
60 | 2608412.8241 | 1228086.9267
61 | 2608512.0512 | 1228117.1879
62 | 2608427.934 | 1228127.3926
63 | 2608386.032 | 1228080.7937
64 | 2608409.4915 | 1228122.5073
65 | 2608378.9674 | 1228079.139
66 | 2608398.9651 | 1228120.5593
67 | 2608369.0807 | 1228076.8232
68 | 2608368.4575 | 1228076.6772
69 | 2608356.0903 | 1228247.9397

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97739 | -0.4344 | 0.014965 | 0.0037507
1 | 0.97718 | -0.43853 | 0 | 0
2 | 0.97851 | -0.41243 | 0 | 0
3 | 0.97602 | -0.46143 | 0.034636 | 0.0086806
4 | 0.97672 | -0.44759 | 0.019462 | 0.0048777
5 | 0.97754 | -0.43158 | 0.0195 | 0.0048871
6 | 0.98517 | -0.28281 | 0 | 0
7 | 0.97266 | -0.52765 | 0.0011193 | 0.00028052
8 | 0.97271 | -0.52664 | 0.0083325 | 0.0020883
9 | 0.9722 | -0.53683 | 0.00092186 | 0.00023104
10 | 0.97571 | -0.46748 | 0.014082 | 0.0035294
11 | 0.97752 | -0.43204 | 0.0045136 | 0.0011312
12 | 0.98315 | -0.32235 | 0.021837 | 0.005473
13 | 0.99503 | -0.093963 | 0.023825 | 0.0059712
14 | 0.97198 | -0.54119 | 0.00045932 | 0.00011512
15 | 0.97199 | -0.54082 | 0.00057038 | 0.00014295
16 | 0.97179 | -0.54497 | 0.0015214 | 0.00038129
17 | 0.98278 | -0.32951 | 0.003906 | 0.00097894
18 | 0.99586 | -0.078223 | 0 | 0
19 | 0.97404 | -0.50048 | 0.00079676 | 0.00019969
20 | 0.97417 | -0.49796 | 0.0044767 | 0.001122
21 | 0.97355 | -0.51023 | 0.0046044 | 0.001154
22 | 0.97134 | -0.55381 | 0.00032237 | 8.0794e-05
23 | 0.97115 | -0.55755 | 0.0012545 | 0.0003144
24 | 0.97073 | -0.56581 | 0 | 0
25 | 0.97061 | -0.56828 | 0.00030111 | 7.5465e-05
26 | 0.9703 | -0.57429 | 0.00062875 | 0.00015758
27 | 0.97015 | -0.57727 | 0.0013605 | 0.00034097
28 | 0.97003 | -0.57977 | 0.025008 | 0.0062675
29 | 0.99943 | -0.010669 | 0 | 0
30 | 0.97531 | -0.47552 | 0.00094764 | 0.0002375
31 | 1 | 0 | -0.45791 | -0.11715
32 | 0.97998 | -0.38419 | 0.011127 | 0.0027886
33 | 0.98025 | -0.37898 | 0.0040823 | 0.0010231
34 | 0.9792 | -0.39947 | 0 | 0
35 | 0.99556 | -0.084253 | 0 | 0
36 | 0.9769 | -0.44447 | 0.0018063 | 0.00045271
37 | 0.97574 | -0.46722 | 0.0007939 | 0.00019897
38 | 0.97706 | -0.44122 | 0.00091055 | 0.00022821
39 | 0.98076 | -0.3691 | 0.0069098 | 0.0017318
40 | 0.98133 | -0.35792 | 0.0067833 | 0.0017001
41 | 0.98776 | -0.23346 | 0.01263 | 0.0031654
42 | 0.98929 | -0.20414 | 0 | 0
43 | 0.98335 | -0.31863 | 0.012272 | 0.0030756
44 | 0.98971 | -0.19606 | 0.032434 | 0.0081288
45 | 0.98253 | -0.33455 | 0 | 0
46 | 0.99165 | -0.15885 | 0.0033807 | 0.00084728
47 | 0.98206 | -0.3437 | 0.009071 | 0.0022734
48 | 0.98244 | -0.33644 | 0.0031341 | 0.00078549
49 | 0.99295 | -0.13404 | 0 | 0
50 | 0.99366 | -0.12041 | 0.032596 | 0.0081693
51 | 0.99399 | -0.11414 | 0.051339 | 0.012867
52 | 0.97873 | -0.40864 | 0.0018374 | 0.00046051
53 | 0.97798 | -0.42344 | 0 | 0
54 | 0.97872 | -0.40875 | 0.0011416 | 0.00028612
55 | 0.97784 | -0.42616 | 0 | 0
56 | 0.97631 | -0.45623 | 0.0056302 | 0.0014111
57 | 0.97785 | -0.42602 | 0.0020723 | 0.00051936
58 | 0.97864 | -0.41032 | 0.0013633 | 0.00034168
59 | 0.97783 | -0.42626 | 0.0033823 | 0.00084768
60 | 0.97605 | -0.46128 | 0.015832 | 0.003968
61 | 0.97777 | -0.42749 | 0.0052038 | 0.0013042
62 | 0.9786 | -0.41114 | 0.0012936 | 0.00032419
63 | 0.97581 | -0.46602 | 0 | 0
64 | 0.97807 | -0.42145 | 0.0018282 | 0.00045818
65 | 0.97575 | -0.46727 | 0.0035873 | 0.00089907
66 | 0.9775 | -0.43266 | 0.0013206 | 0.00033098
67 | 0.97569 | -0.46835 | 0.0038386 | 0.00096204
68 | 0.97569 | -0.46838 | 0.0019891 | 0.00049852
69 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.06826 | 0.017137 | -0.068246 | -0.017129 | 1.3424e-05 | 8.5499e-06 | 0.10393 | 0.10393 | 0.10393 | 0.97739 | -0.4344 | 0.97718 | -0.43853 | 28.5526
1 | -0.083225 | -0.020888 | 0.083312 | 0.020944 | 8.733e-05 | 5.5709e-05 | 0.12672 | 0.12672 | 0.12672 | 0.97739 | -0.4344 | 0.97851 | -0.41243 | 34.8119
2 | 0.048776 | 0.012246 | -0.048723 | -0.012212 | 5.3213e-05 | 3.3734e-05 | 0.074282 | 0.074282 | 0.074282 | 0.97718 | -0.43853 | 0.97602 | -0.46143 | 20.4071
3 | 0.019471 | 0.0048827 | -0.019462 | -0.0048777 | 8.4074e-06 | 5.0614e-06 | 0.02965 | 0.02965 | 0.02965 | 0.97718 | -0.43853 | 0.97672 | -0.44759 | 8.1456
4 | 0.024035 | 0.0060318 | -0.024013 | -0.0060183 | 2.1931e-05 | 1.3487e-05 | 0.036553 | 0.036553 | 0.036553 | 0.97851 | -0.41243 | 0.97754 | -0.43158 | 10.0421
5 | -0.10735 | -0.026975 | 0.10802 | 0.027403 | 0.0006687 | 0.00042712 | 0.16327 | 0.16327 | 0.16327 | 0.97851 | -0.41243 | 0.98517 | -0.28281 | 44.8539
6 | 0.014087 | 0.0035317 | -0.014082 | -0.0035294 | 4.0646e-06 | 2.3077e-06 | 0.021476 | 0.021477 | 0.021477 | 0.97602 | -0.46143 | 0.97571 | -0.46748 | 5.9001
7 | 0.0045137 | 0.0011312 | -0.0045136 | -0.0011312 | 9.7814e-08 | -6.6656e-09 | 0.0068708 | 0.0068708 | 0.0068708 | 0.97754 | -0.43158 | 0.97752 | -0.43204 | 1.8876
8 | 0.025793 | 0.0064815 | -0.025745 | -0.0064515 | 4.8589e-05 | 3.0012e-05 | 0.038965 | 0.038965 | 0.038965 | 0.98517 | -0.28281 | 0.98315 | -0.32235 | 10.7046
9 | -0.13381 | -0.033884 | 0.13504 | 0.034667 | 0.0012256 | 0.00078333 | 0.20223 | 0.20223 | 0.20223 | 0.98517 | -0.28281 | 0.99503 | -0.093963 | 55.5584
10 | -0.033539 | -0.0084325 | 0.033541 | 0.0084335 | 1.6181e-06 | 1.0152e-06 | 0.051319 | 0.051319 | 0.051319 | 0.97266 | -0.52765 | 0.97271 | -0.52664 | 14.0986
11 | 0.03242 | 0.008152 | -0.032406 | -0.0081431 | 1.4198e-05 | 8.8958e-06 | 0.049607 | 0.049607 | 0.049607 | 0.97266 | -0.52765 | 0.9722 | -0.53683 | 13.6282
12 | -0.041873 | -0.010522 | 0.041906 | 0.010543 | 3.2829e-05 | 2.0746e-05 | 0.064066 | 0.064066 | 0.064066 | 0.97271 | -0.52664 | 0.97355 | -0.51023 | 17.6005
13 | 0.031484 | 0.007912 | -0.031478 | -0.0079083 | 6.0068e-06 | 3.7589e-06 | 0.048196 | 0.048196 | 0.048196 | 0.9722 | -0.53683 | 0.97199 | -0.54082 | 13.2406
14 | 0.0039073 | 0.0009785 | -0.003906 | -0.00097894 | 1.3305e-06 | -4.3446e-07 | 0.0059136 | 0.005914 | 0.005914 | 0.98315 | -0.32235 | 0.98278 | -0.32951 | 1.6247
15 | -0.15886 | -0.040639 | 0.15898 | 0.040716 | 0.00012113 | 7.7225e-05 | 0.23786 | 0.23786 | 0.23786 | 0.99503 | -0.093963 | 0.99586 | -0.078223 | 32.6732
16 | -0.030907 | -0.007765 | 0.030907 | 0.0077653 | 5.3308e-07 | 3.333e-07 | 0.047323 | 0.047323 | 0.047323 | 0.97198 | -0.54119 | 0.97199 | -0.54082 | 13.0007
17 | 0.030447 | 0.0076499 | -0.030442 | -0.0076464 | 5.4981e-06 | 3.4352e-06 | 0.046619 | 0.046619 | 0.046619 | 0.97198 | -0.54119 | 0.97179 | -0.54497 | 12.8075
18 | 0.028921 | 0.0072651 | -0.028908 | -0.0072575 | 1.2201e-05 | 7.6033e-06 | 0.04429 | 0.04429 | 0.04429 | 0.97179 | -0.54497 | 0.97134 | -0.55381 | 12.1676
19 | -0.15898 | -0.040716 | 0.1595 | 0.041045 | 0.00052214 | 0.00032903 | 0.23786 | 0.23786 | 0.23786 | 0.99586 | -0.078223 | 0.99943 | -0.010669 | 16.3366
20 | -0.047329 | -0.01191 | 0.047335 | 0.011914 | 5.7039e-06 | 3.6143e-06 | 0.07232 | 0.07232 | 0.07232 | 0.97404 | -0.50048 | 0.97417 | -0.49796 | 19.8682
21 | 0.046532 | 0.01171 | -0.04651 | -0.011697 | 2.1681e-05 | 1.3734e-05 | 0.071103 | 0.071103 | 0.071103 | 0.97404 | -0.50048 | 0.97355 | -0.51023 | 19.5339
22 | -0.051811 | -0.013036 | 0.051867 | 0.013071 | 5.5607e-05 | 3.5293e-05 | 0.079158 | 0.079158 | 0.079158 | 0.97417 | -0.49796 | 0.97531 | -0.47552 | 21.7468
23 | 0.028586 | 0.0071767 | -0.028581 | -0.0071736 | 5.0919e-06 | 3.1712e-06 | 0.043796 | 0.043796 | 0.043796 | 0.97134 | -0.55381 | 0.97115 | -0.55755 | 12.0319
24 | 0.027326 | 0.0068592 | -0.027316 | -0.0068525 | 1.0759e-05 | 6.6836e-06 | 0.041874 | 0.041874 | 0.041874 | 0.97115 | -0.55755 | 0.97073 | -0.56581 | 11.5039
25 | 0.027316 | 0.0068525 | -0.027312 | -0.0068505 | 3.2174e-06 | 1.9987e-06 | 0.041874 | 0.041874 | 0.041874 | 0.97073 | -0.56581 | 0.97061 | -0.56828 | 11.5039
26 | 0.027011 | 0.006775 | -0.027004 | -0.0067702 | 7.7424e-06 | 4.8064e-06 | 0.041413 | 0.041413 | 0.041413 | 0.97061 | -0.56828 | 0.9703 | -0.57429 | 11.3771
27 | 0.026375 | 0.0066126 | -0.026371 | -0.0066103 | 3.7399e-06 | 2.3182e-06 | 0.040448 | 0.040448 | 0.040448 | 0.9703 | -0.57429 | 0.97015 | -0.57727 | 11.1122
28 | 0.025011 | 0.0062694 | -0.025008 | -0.0062675 | 2.9837e-06 | 1.8428e-06 | 0.038362 | 0.038362 | 0.038362 | 0.97015 | -0.57727 | 0.97003 | -0.57977 | 10.5389
29 | -0.1595 | -0.041045 | 0.15959 | 0.041097 | 8.2801e-05 | 5.2174e-05 | 0.23786 | 0.23786 | 0.23786 | 0.99943 | -0.010669 | 1 | 0 | 16.3365
30 | -0.052815 | -0.013308 | 0.052836 | 0.013322 | 2.0985e-05 | 1.3323e-05 | 0.080604 | 0.080604 | 0.080604 | 0.97531 | -0.47552 | 0.97574 | -0.46722 | 22.144
31 | 0.29667 | 0.076053 | -0.29546 | -0.075284 | 0.0012065 | 0.00076871 | 0.44205 | 0.44205 | 0.44205 | 1 | 0 | 0.99556 | -0.084253 | 30.3607
32 | -0.11817 | -0.029832 | 0.1182 | 0.029851 | 2.9457e-05 | 1.8361e-05 | 0.1795 | 0.1795 | 0.1795 | 0.97998 | -0.38419 | 0.98025 | -0.37898 | 12.3284
33 | 0.10704 | 0.027044 | -0.10696 | -0.026995 | 7.8369e-05 | 4.8564e-05 | 0.16261 | 0.16261 | 0.16261 | 0.97998 | -0.38419 | 0.9792 | -0.39947 | 11.1681
34 | -0.12228 | -0.030874 | 0.12234 | 0.03091 | 5.7916e-05 | 3.6162e-05 | 0.1857 | 0.1857 | 0.1857 | 0.98025 | -0.37898 | 0.98076 | -0.3691 | 12.754
35 | 0.06348 | 0.016059 | -0.063451 | -0.016042 | 2.8263e-05 | 1.6461e-05 | 0.096519 | 0.09652 | 0.09652 | 0.9792 | -0.39947 | 0.97872 | -0.40875 | 6.6291
36 | 0.043481 | 0.010936 | -0.043462 | -0.010924 | 1.9039e-05 | 1.2039e-05 | 0.066089 | 0.066089 | 0.066089 | 0.9792 | -0.39947 | 0.97873 | -0.40864 | 18.1563
37 | 0.29546 | 0.075284 | -0.29504 | -0.075013 | 0.00042538 | 0.00027104 | 0.44205 | 0.44205 | 0.44205 | 0.99556 | -0.084253 | 0.99399 | -0.11414 | 30.3608
38 | 0.053688 | 0.013558 | -0.053629 | -0.013521 | 5.8459e-05 | 3.7122e-05 | 0.081815 | 0.081815 | 0.081815 | 0.9769 | -0.44447 | 0.97574 | -0.46722 | 22.4766
39 | -0.055494 | -0.01401 | 0.055503 | 0.014016 | 8.6242e-06 | 5.4792e-06 | 0.084566 | 0.084566 | 0.084566 | 0.9769 | -0.44447 | 0.97706 | -0.44122 | 23.2324
40 | -0.056413 | -0.014244 | 0.056437 | 0.014259 | 2.315e-05 | 1.4711e-05 | 0.085953 | 0.085953 | 0.085953 | 0.97706 | -0.44122 | 0.9775 | -0.43266 | 23.6134
41 | -0.12925 | -0.032642 | 0.12931 | 0.032685 | 6.9271e-05 | 4.3364e-05 | 0.19618 | 0.19618 | 0.19618 | 0.98076 | -0.3691 | 0.98133 | -0.35792 | 13.474
42 | -0.1361 | -0.034385 | 0.13619 | 0.034443 | 9.2889e-05 | 5.8274e-05 | 0.20647 | 0.20647 | 0.20647 | 0.98133 | -0.35792 | 0.98206 | -0.3437 | 14.1804
43 | -0.17414 | -0.044271 | 0.17438 | 0.044427 | 0.00024631 | 0.00015569 | 0.26255 | 0.26255 | 0.26255 | 0.98776 | -0.23346 | 0.98929 | -0.20414 | 18.0324
44 | 0.16151 | 0.041106 | -0.16085 | -0.040689 | 0.00066016 | 0.00041645 | 0.24352 | 0.24353 | 0.24353 | 0.98776 | -0.23346 | 0.98335 | -0.31863 | 16.7257
45 | -0.17438 | -0.044427 | 0.17445 | 0.04447 | 6.8023e-05 | 4.2994e-05 | 0.26255 | 0.26255 | 0.26255 | 0.98929 | -0.20414 | 0.98971 | -0.19606 | 18.0323
46 | 0.14857 | 0.037614 | -0.14846 | -0.037542 | 0.00011351 | 7.1432e-05 | 0.22496 | 0.22496 | 0.22496 | 0.98335 | -0.31863 | 0.98253 | -0.33455 | 15.4504
47 | -0.20688 | -0.052598 | 0.20726 | 0.052834 | 0.00037155 | 0.00023569 | 0.31131 | 0.31131 | 0.31131 | 0.98971 | -0.19606 | 0.99165 | -0.15885 | 21.3815
48 | 0.14533 | 0.036757 | -0.14526 | -0.036717 | 6.3713e-05 | 4.0067e-05 | 0.22021 | 0.22021 | 0.22021 | 0.98253 | -0.33455 | 0.98206 | -0.3437 | 15.1244
49 | 0.0031344 | 0.00078525 | -0.0031341 | -0.00078549 | 2.8118e-07 | -2.4144e-07 | 0.0047469 | 0.004747 | 0.004747 | 0.98253 | -0.33455 | 0.98244 | -0.33644 | 1.3041
50 | -0.21064 | -0.053681 | 0.21089 | 0.053842 | 0.0002525 | 0.00016021 | 0.31639 | 0.31639 | 0.31639 | 0.99165 | -0.15885 | 0.99295 | -0.13404 | 21.7298
51 | -0.21089 | -0.053842 | 0.21103 | 0.05393 | 0.00013901 | 8.8199e-05 | 0.31639 | 0.31639 | 0.31639 | 0.99295 | -0.13404 | 0.99366 | -0.12041 | 21.7298
52 | -0.24362 | -0.062099 | 0.2437 | 0.062146 | 7.3797e-05 | 4.6924e-05 | 0.3652 | 0.3652 | 0.3652 | 0.99366 | -0.12041 | 0.99399 | -0.11414 | 25.0823
53 | 0.041625 | 0.010464 | -0.041595 | -0.010445 | 2.9388e-05 | 1.8562e-05 | 0.063295 | 0.063295 | 0.063295 | 0.97873 | -0.40864 | 0.97798 | -0.42344 | 17.3888
54 | 0.0033828 | 0.0008474 | -0.0033823 | -0.00084767 | 4.3768e-07 | -2.7265e-07 | 0.0051468 | 0.005147 | 0.005147 | 0.97798 | -0.42344 | 0.97784 | -0.42616 | 1.414
55 | 0.030935 | 0.007774 | -0.030887 | -0.0077438 | 4.8348e-05 | 3.0214e-05 | 0.047076 | 0.047076 | 0.047076 | 0.97798 | -0.42344 | 0.97631 | -0.45623 | 12.933
56 | 0.0072773 | 0.0018239 | -0.0072764 | -0.0018236 | 8.9462e-07 | 3.2843e-07 | 0.011073 | 0.011073 | 0.011073 | 0.97798 | -0.42344 | 0.97785 | -0.42602 | 3.042
57 | 0.06231 | 0.015756 | -0.062305 | -0.015753 | 4.6794e-06 | 2.7155e-06 | 0.094784 | 0.094784 | 0.094784 | 0.97872 | -0.40875 | 0.97864 | -0.41032 | 6.5099
58 | 0.0033823 | 0.00084767 | -0.0033823 | -0.00084768 | 1.7006e-08 | -1.059e-08 | 0.005147 | 0.005147 | 0.005147 | 0.97784 | -0.42616 | 0.97783 | -0.42626 | 1.414
59 | 0.025257 | 0.0063327 | -0.02525 | -0.006329 | 6.077e-06 | 3.7526e-06 | 0.038495 | 0.038495 | 0.038495 | 0.97631 | -0.45623 | 0.97605 | -0.46128 | 10.5756
60 | 0.0052042 | 0.0013042 | -0.0052038 | -0.0013042 | 3.6567e-07 | 3.9e-08 | 0.0079193 | 0.0079194 | 0.0079194 | 0.97785 | -0.42602 | 0.97777 | -0.42749 | 2.1756
61 | 0.060942 | 0.015412 | -0.060939 | -0.01541 | 2.3916e-06 | 1.3815e-06 | 0.092711 | 0.092711 | 0.092711 | 0.97864 | -0.41032 | 0.9786 | -0.41114 | 6.3675
62 | 0.009418 | 0.002361 | -0.0094159 | -0.00236 | 2.1249e-06 | 1.0165e-06 | 0.014358 | 0.014358 | 0.014358 | 0.97605 | -0.46128 | 0.97581 | -0.46602 | 3.9446
63 | 0.059646 | 0.015086 | -0.059616 | -0.015068 | 2.9483e-05 | 1.839e-05 | 0.090744 | 0.090744 | 0.090744 | 0.9786 | -0.41114 | 0.97807 | -0.42145 | 12.4649
64 | 0.0094159 | 0.00236 | -0.0094153 | -0.0023597 | 5.6095e-07 | 2.6837e-07 | 0.014358 | 0.014358 | 0.014358 | 0.97581 | -0.46602 | 0.97575 | -0.46727 | 3.9446
65 | 0.057788 | 0.01461 | -0.057757 | -0.01459 | 3.1062e-05 | 1.9745e-05 | 0.087963 | 0.087963 | 0.087963 | 0.97807 | -0.42145 | 0.9775 | -0.43266 | 24.1657
66 | 0.005828 | 0.0014606 | -0.0058277 | -0.0014606 | 3.0079e-07 | 6.5677e-08 | 0.0088877 | 0.0088877 | 0.0088877 | 0.97575 | -0.46727 | 0.97569 | -0.46835 | 2.4417
67 | 0.0019891 | 0.00049851 | -0.0019891 | -0.00049852 | 2.2089e-09 | -6.58e-09 | 0.0030336 | 0.0030336 | 0.0030336 | 0.97569 | -0.46835 | 0.97569 | -0.46838 | 0.8334

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50389 | 0.12867

## res_load
| p_mw | q_mvar
0 | 0.014965 | 0.0037507
1 | 0.034636 | 0.0086806
2 | 0.019462 | 0.0048777
3 | 0.0195 | 0.0048871
4 | 0.0011193 | 0.00028052
5 | 0.0083325 | 0.0020883
6 | 0.00092186 | 0.00023104
7 | 0.014082 | 0.0035294
8 | 0.0045136 | 0.0011312
9 | 0.021837 | 0.005473
10 | 0.023825 | 0.0059712
11 | 0.00045932 | 0.00011512
12 | 0.00057038 | 0.00014295
13 | 0.0015214 | 0.00038129
14 | 0.003906 | 0.00097894
15 | 0.00079676 | 0.00019969
16 | 0.0044767 | 0.001122
17 | 0.0046044 | 0.001154
18 | 0.00032237 | 8.0794e-05
19 | 0.0012545 | 0.0003144
20 | 0.00030111 | 7.5465e-05
21 | 0.00062875 | 0.00015758
22 | 0.0013605 | 0.00034097
23 | 0.025008 | 0.0062675
24 | 0.00094764 | 0.0002375
25 | 0.045982 | 0.011524
26 | 0.011127 | 0.0027886
27 | 0.0040823 | 0.0010231
28 | 0.0018063 | 0.00045271
29 | 0.0007939 | 0.00019897
30 | 0.00091055 | 0.00022821
31 | 0.0069098 | 0.0017318
32 | 0.0067833 | 0.0017001
33 | 0.01263 | 0.0031654
34 | 0.012272 | 0.0030756
35 | 0.032434 | 0.0081288
36 | 0.0033807 | 0.00084728
37 | 0.009071 | 0.0022734
38 | 0.0031341 | 0.00078549
39 | 0.032596 | 0.0081693
40 | 0.051339 | 0.012867
41 | 0.0018374 | 0.00046051
42 | 0.0011416 | 0.00028612
43 | 0.0056302 | 0.0014111
44 | 0.0020723 | 0.00051936
45 | 0.0013633 | 0.00034168
46 | 0.0033823 | 0.00084768
47 | 0.015832 | 0.003968
48 | 0.0052038 | 0.0013042
49 | 0.0012936 | 0.00032419
50 | 0.0018282 | 0.00045818
51 | 0.0035873 | 0.00089907
52 | 0.0013206 | 0.00033098
53 | 0.0038386 | 0.00096204
54 | 0.0019891 | 0.00049852

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1