## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2542-1_1_3_node_30 | 0.4 | n |  | TRUE
1 | bus_LV_2542-1_1_3_node_34 | 0.4 | n |  | TRUE
2 | bus_LV_2542-1_1_3_node_13 | 0.4 | n |  | TRUE
3 | bus_LV_2542-1_1_3_node_72 | 0.4 | n |  | TRUE
4 | bus_LV_2542-1_1_3_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_2542-1_1_3_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_2542-1_1_3_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_2542-1_1_3_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_2542-1_1_3_node_50 | 0.4 | n |  | TRUE
9 | bus_LV_2542-1_1_3_node_73 | 0.4 | n |  | TRUE
10 | bus_LV_2542-1_1_3_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_2542-1_1_3_node_42 | 0.4 | n |  | TRUE
12 | bus_LV_2542-1_1_3_node_120 | 0.4 | n |  | TRUE
13 | bus_LV_2542-1_1_3_node_48 | 0.4 | n |  | TRUE
14 | bus_LV_2542-1_1_3_node_74 | 0.4 | n |  | TRUE
15 | bus_LV_2542-1_1_3_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_2542-1_1_3_node_40 | 0.4 | n |  | TRUE
17 | bus_LV_2542-1_1_3_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_2542-1_1_3_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_2542-1_1_3_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_2542-1_1_3_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_2542-1_1_3_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_2542-1_1_3_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_2542-1_1_3_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_2542-1_1_3_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_2542-1_1_3_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_2542-1_1_3_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_2542-1_1_3_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_2542-1_1_3_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_2542-1_1_3_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_2542-1_1_3_node_78 | 0.4 | n |  | TRUE
31 | bus_LV_2542-1_1_3_node_98 | 0.4 | n |  | TRUE
32 | bus_LV_2542-1_1_3_node_117 | 0.4 | n |  | TRUE
33 | bus_LV_2542-1_1_3_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_2542-1_1_3_node_99 | 0.4 | n |  | TRUE
35 | bus_LV_2542-1_1_3_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_2542-1_1_3_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_2542-1_1_3_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_2542-1_1_3_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_2542-1_1_3_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_2542-1_1_3_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_2542-1_1_3_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_2542-1_1_3_node_110 | 0.4 | n |  | TRUE
43 | bus_LV_2542-1_1_3_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_2542-1_1_3_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_2542-1_1_3_node_61 | 0.4 | n |  | TRUE
46 | bus_LV_2542-1_1_3_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_2542-1_1_3_node_66 | 0.4 | n |  | TRUE
48 | bus_LV_2542-1_1_3_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_2542-1_1_3_node_67 | 0.4 | n |  | TRUE
50 | bus_LV_2542-1_1_3_node_88 | 0.4 | n |  | TRUE
51 | bus_LV_2542-1_1_3_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_2542-1_1_3_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_2542-1_1_3_node_87 | 0.4 | n |  | TRUE
54 | bus_LV_2542-1_1_3_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_2542-1_1_3_node_71 | 0.4 | n |  | TRUE
56 | bus_LV_2542-1_1_3_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_2542-1_1_3_node_95 | 0.4 | n |  | TRUE
58 | bus_LV_2542-1_1_3_node_93 | 0.4 | n |  | TRUE
59 | bus_LV_2542-1_1_3_node_92 | 0.4 | n |  | TRUE
60 | bus_LV_2542-1_1_3_node_91 | 0.4 | n |  | TRUE
61 | bus_LV_2542-1_1_3_node_79 | 0.4 | n |  | TRUE
62 | bus_LV_2542-1_1_3_node_80 | 0.4 | n |  | TRUE
63 | bus_LV_2542-1_1_3_node_81 | 0.4 | n |  | TRUE
64 | bus_LV_2542-1_1_3_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_2542-1_1_3_node_86 | 0.4 | n |  | TRUE
66 | bus_LV_2542-1_1_3_node_100 | 0.4 | n |  | TRUE
67 | bus_LV_2542-1_1_3_node_94 | 0.4 | n |  | TRUE
68 | bus_LV_2542-1_1_3_node_97 | 0.4 | n |  | TRUE
69 | bus_LV_2542-1_1_3_node_101 | 0.4 | n |  | TRUE
70 | bus_LV_2542-1_1_3_node_119 | 0.4 | n |  | TRUE
71 | bus_LV_2542-1_1_3_node_90 | 0.4 | n |  | TRUE
72 | bus_LV_2542-1_1_3_node_96 | 0.4 | n |  | TRUE
73 | bus_MV_292_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2542-1_1_3_load_30 | 0 | 0.00088751 | 0.00022243 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2542-1_1_3_load_34 | 1 | 0.00027916 | 6.9963e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2542-1_1_3_load_13 | 2 | 0.0026945 | 0.00067531 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2542-1_1_3_load_72 | 3 | 0.013285 | 0.0033294 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2542-1_1_3_load_15 | 4 | 0.013247 | 0.00332 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2542-1_1_3_load_73 | 9 | 0.0018975 | 0.00047556 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2542-1_1_3_load_42 | 11 | 0.00050874 | 0.0001275 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2542-1_1_3_load_120 | 12 | 0.0050295 | 0.0012605 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2542-1_1_3_load_74 | 14 | 0.003329 | 0.00083432 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2542-1_1_3_load_33 | 15 | 0.00015818 | 3.9644e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2542-1_1_3_load_40 | 16 | 0.00050969 | 0.00012774 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2542-1_1_3_load_29 | 17 | 0.0002778 | 6.9624e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2542-1_1_3_load_32 | 18 | 0.014625 | 0.0036654 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2542-1_1_3_load_45 | 19 | 0.00079249 | 0.00019862 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2542-1_1_3_load_36 | 20 | 0.00010961 | 2.747e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2542-1_1_3_load_38 | 21 | 0.00034985 | 8.768e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2542-1_1_3_load_39 | 22 | 0.00023884 | 5.986e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2542-1_1_3_load_44 | 23 | 0.0003506 | 8.7868e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2542-1_1_3_load_41 | 24 | 0.0002446 | 6.1301e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2542-1_1_3_load_43 | 25 | 0.0027149 | 0.00068042 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2542-1_1_3_load_46 | 26 | 0.0053579 | 0.0013428 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2542-1_1_3_load_47 | 27 | 0.0010136 | 0.00025404 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2542-1_1_3_load_78 | 30 | 0.0031494 | 0.00078932 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2542-1_1_3_load_98 | 31 | 0.0093693 | 0.0023482 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2542-1_1_3_load_117 | 32 | 0.026264 | 0.0065823 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2542-1_1_3_load_99 | 34 | 0.016993 | 0.0042588 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2542-1_1_3_load_85 | 35 | 0.0066836 | 0.0016751 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2542-1_1_3_load_54 | 36 | 0.0040418 | 0.001013 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2542-1_1_3_load_55 | 37 | 0.0028255 | 0.00070814 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2542-1_1_3_load_56 | 38 | 0.0049175 | 0.0012324 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2542-1_1_3_load_57 | 39 | 0.0095439 | 0.0023919 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2542-1_1_3_load_58 | 40 | 0.0034072 | 0.00085393 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2542-1_1_3_load_75 | 41 | 0.0029733 | 0.00074519 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2542-1_1_3_load_110 | 42 | 0.0018191 | 0.00045592 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2542-1_1_3_load_64 | 43 | 0.0013173 | 0.00033014 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2542-1_1_3_load_59 | 44 | 0.00092564 | 0.00023199 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2542-1_1_3_load_65 | 48 | 0.0025108 | 0.00062927 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2542-1_1_3_load_88 | 50 | 0.0012711 | 0.00031857 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2542-1_1_3_load_70 | 51 | 0.0042926 | 0.0010758 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2542-1_1_3_load_68 | 52 | 0.00073715 | 0.00018475 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2542-1_1_3_load_87 | 53 | 0.023214 | 0.0058179 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2542-1_1_3_load_69 | 54 | 0.0036 | 0.00090225 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2542-1_1_3_load_71 | 55 | 0.00063384 | 0.00015886 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2542-1_1_3_load_95 | 57 | 0.0033853 | 0.00084843 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2542-1_1_3_load_93 | 58 | 0.0090838 | 0.0022766 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2542-1_1_3_load_79 | 61 | 0.0023539 | 0.00058995 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2542-1_1_3_load_82 | 64 | 0.0053123 | 0.0013314 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2542-1_1_3_load_97 | 68 | 0.011209 | 0.0028092 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2542-1_1_3_load_119 | 70 | 0.0028525 | 0.00071489 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2542-1_1_3_load_90 | 71 | 0.009683 | 0.0024268 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2542-1_1_3_load_96 | 72 | 0.019317 | 0.0048413 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2542-1_1_3_line_0 |  | 0 | 1 | 0.037349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2542-1_1_3_line_1 |  | 1 | 20 | 0.02839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2542-1_1_3_line_2 |  | 1 | 15 | 0.030232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2542-1_1_3_line_3 |  | 2 | 3 | 0.067833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2542-1_1_3_line_4 |  | 3 | 4 | 0.045679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2542-1_1_3_line_5 |  | 4 | 5 | 0.097159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2542-1_1_3_line_6 |  | 5 | 6 | 0.082673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2542-1_1_3_line_7 |  | 5 | 7 | 0.051085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2542-1_1_3_line_8 |  | 6 | 8 | 0.03834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2542-1_1_3_line_9 |  | 6 | 9 | 0.029458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2542-1_1_3_line_10 |  | 7 | 10 | 0.030907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2542-1_1_3_line_11 |  | 7 | 11 | 0.075777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2542-1_1_3_line_12 |  | 8 | 12 | 0.032565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2542-1_1_3_line_13 |  | 8 | 13 | 0.016179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2542-1_1_3_line_14 |  | 9 | 14 | 0.032566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_2542-1_1_3_line_15 |  | 10 | 15 | 0.017051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2542-1_1_3_line_16 |  | 11 | 16 | 0.018268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2542-1_1_3_line_17 |  | 13 | 28 | 0.015922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2542-1_1_3_line_18 |  | 13 | 26 | 0.040676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2542-1_1_3_line_19 |  | 14 | 41 | 0.023708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2542-1_1_3_line_20 |  | 16 | 24 | 0.030978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2542-1_1_3_line_21 |  | 17 | 18 | 0.039436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2542-1_1_3_line_22 |  | 18 | 19 | 0.068635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2542-1_1_3_line_23 |  | 19 | 23 | 0.0044699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2542-1_1_3_line_24 |  | 20 | 21 | 0.00085706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2542-1_1_3_line_25 |  | 21 | 22 | 0.028223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2542-1_1_3_line_26 |  | 22 | 23 | 0.016623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2542-1_1_3_line_27 |  | 24 | 25 | 0.0075722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2542-1_1_3_line_28 |  | 26 | 27 | 0.026285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2542-1_1_3_line_29 |  | 28 | 32 | 0.037518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2542-1_1_3_line_30 |  | 29 | 30 | 0.013527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2542-1_1_3_line_31 |  | 29 | 31 | 0.018789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2542-1_1_3_line_32 |  | 30 | 33 | 0.012394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2542-1_1_3_line_33 |  | 33 | 56 | 0.014179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2542-1_1_3_line_34 |  | 33 | 55 | 0.03545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2542-1_1_3_line_35 |  | 34 | 35 | 0.0018541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2542-1_1_3_line_36 |  | 35 | 63 | 0.019181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2542-1_1_3_line_37 |  | 36 | 37 | 0.046263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2542-1_1_3_line_38 |  | 36 | 38 | 0.050632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_2542-1_1_3_line_39 |  | 37 | 39 | 0.040229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_2542-1_1_3_line_40 |  | 38 | 40 | 0.037794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_2542-1_1_3_line_41 |  | 39 | 41 | 0.00078099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_2542-1_1_3_line_42 |  | 40 | 42 | 0.0031895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_2542-1_1_3_line_43 |  | 42 | 43 | 0.018226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_2542-1_1_3_line_44 |  | 43 | 45 | 0.013739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_2542-1_1_3_line_45 |  | 44 | 45 | 0.012069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2542-1_1_3_line_46 |  | 45 | 46 | 0.009577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2542-1_1_3_line_47 |  | 46 | 47 | 0.028159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_2542-1_1_3_line_48 |  | 46 | 48 | 0.016842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2542-1_1_3_line_49 |  | 47 | 51 | 0.01896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_2542-1_1_3_line_50 |  | 47 | 49 | 0.049334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2542-1_1_3_line_51 |  | 49 | 50 | 0.018059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2542-1_1_3_line_52 |  | 50 | 53 | 0.074332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2542-1_1_3_line_53 |  | 51 | 52 | 0.046406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_2542-1_1_3_line_54 |  | 52 | 54 | 0.0016732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_2542-1_1_3_line_55 |  | 54 | 55 | 0.026492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_2542-1_1_3_line_56 |  | 56 | 57 | 0.0065877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2542-1_1_3_line_57 |  | 56 | 58 | 0.039762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2542-1_1_3_line_58 |  | 57 | 59 | 0.0065836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2542-1_1_3_line_59 |  | 58 | 60 | 0.024351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2542-1_1_3_line_60 |  | 59 | 72 | 0.01639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2542-1_1_3_line_61 |  | 59 | 71 | 0.024119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2542-1_1_3_line_62 |  | 60 | 67 | 0.002043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2542-1_1_3_line_63 |  | 61 | 62 | 0.026588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2542-1_1_3_line_64 |  | 61 | 63 | 0.027158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2542-1_1_3_line_65 |  | 62 | 64 | 0.02516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2542-1_1_3_line_66 |  | 63 | 65 | 0.041803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2542-1_1_3_line_67 |  | 64 | 66 | 0.016313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2542-1_1_3_line_68 |  | 65 | 67 | 0.017337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2542-1_1_3_line_69 |  | 65 | 68 | 0.026427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2542-1_1_3_line_70 |  | 66 | 69 | 0.036853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2542-1_1_3_line_71 |  | 69 | 70 | 0.018868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2542-1_1_3_trafo_71 | 0.63 MVA 20/0.4 kV | 73 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2604275.07 | 1228670.8237 | 2604287.8908 | 1228635.7445
1 | 2604275.07 | 1228670.8237 | 2604247.7962 | 1228662.9395
2 | 2604304.1131 | 1228679.2193 | 2604275.07 | 1228670.8237
3 | 2604148.4876 | 1228713.7122 | 2604087.7505 | 1228683.5068
4 | 2604148.4876 | 1228713.7122 | 2604192.7192 | 1228725.1188
5 | 2604286.8061 | 1228743.6325 | 2604282.9035 | 1228745.1195 | 2604278.645 | 1228746.2505 | 2604273.4405 | 1228745.9356 | 2604192.7192 | 1228725.1188
6 | 2604286.8061 | 1228743.6325 | 2604296.2896 | 1228745.8739 | 2604295.7652 | 1228748.2194 | 2604295.6953 | 1228750.6208 | 2604296.5033 | 1228754.3124 | 2604298.3646 | 1228757.6046 | 2604301.1204 | 1228760.197 | 2604304.5208 | 1228761.867 | 2604301.7715 | 1228771.5152 | 2604296.0684 | 1228790.667 | 2604289.901 | 1228812.7979
7 | 2604286.8061 | 1228743.6325 | 2604296.2896 | 1228745.8739 | 2604297.8753 | 1228742.662 | 2604300.3015 | 1228740.0066 | 2604303.3786 | 1228738.1522 | 2604306.8491 | 1228737.2208 | 2604310.4476 | 1228737.29 | 2604312.7889 | 1228726.2074 | 2604315.1989 | 1228714.4021
8 | 2604279.4278 | 1228849.679 | 2604281.0684 | 1228843.7544 | 2604283.6738 | 1228833.9727 | 2604284.836 | 1228829.6154 | 2604289.901 | 1228812.7979
9 | 2604289.901 | 1228812.7979 | 2604269.6547 | 1228807.2803 | 2604261.4815 | 1228805.0437
10 | 2604320.4935 | 1228683.9545 | 2604315.1989 | 1228714.4021
11 | 2604315.1989 | 1228714.4021 | 2604242.4598 | 1228693.1598
12 | 2604279.4278 | 1228849.679 | 2604305.6111 | 1228869.1425
13 | 2604279.4278 | 1228849.679 | 2604274.1745 | 1228864.9844
14 | 2604261.4815 | 1228805.0437 | 2604230.0701 | 1228796.448
15 | 2604320.4935 | 1228683.9545 | 2604304.1131 | 1228679.2193
16 | 2604224.9239 | 1228688.0387 | 2604242.4598 | 1228693.1598
17 | 2604287.4789 | 1228873.7879 | 2604274.1745 | 1228864.9844
18 | 2604274.1745 | 1228864.9844 | 2604262.639 | 1228861.5631 | 2604234.9566 | 1228854.2035
19 | 2604230.0701 | 1228796.448 | 2604207.2033 | 1228790.1905
20 | 2604224.9239 | 1228688.0387 | 2604213.497 | 1228684.7017 | 2604207.2023 | 1228683.1964 | 2604195.0927 | 1228679.708
21 | 2604179.8259 | 1228553.4789 | 2604164.7045 | 1228589.9007
22 | 2604199.597 | 1228649.0042 | 2604164.7045 | 1228589.9007
23 | 2604199.597 | 1228649.0042 | 2604203.4449 | 1228650.1187 | 2604203.8906 | 1228650.2475
24 | 2604246.9729 | 1228662.7015 | 2604247.7962 | 1228662.9395
25 | 2604219.8599 | 1228654.8638 | 2604246.9729 | 1228662.7015
26 | 2604219.8599 | 1228654.8638 | 2604203.8906 | 1228650.2475
27 | 2604187.8164 | 1228677.612 | 2604195.0927 | 1228679.708
28 | 2604234.9566 | 1228854.2035 | 2604221.4647 | 1228850.6166 | 2604218.3359 | 1228850.6144 | 2604216.9406 | 1228852.5257 | 2604215.6257 | 1228859.2267
29 | 2604287.4789 | 1228873.7879 | 2604281.5966 | 1228900.1882 | 2604291.7446 | 1228902.7649
30 | 2604201.732 | 1228923.5461 | 2604188.2319 | 1228922.6955
31 | 2604201.732 | 1228923.5461 | 2604201.0357 | 1228942.3226
32 | 2604175.8621 | 1228921.9161 | 2604188.2319 | 1228922.6955
33 | 2604175.8621 | 1228921.9161 | 2604172.6784 | 1228935.7332
34 | 2604175.8621 | 1228921.9161 | 2604173.5006 | 1228918.8015 | 2604164.0597 | 1228888.7061
35 | 2604233.0706 | 1228997.5057 | 2604233.6456 | 1228995.743
36 | 2604227.1219 | 1229015.7406 | 2604233.0706 | 1228997.5057
37 | 2604123.0252 | 1228767.1552 | 2604167.6479 | 1228779.3662
38 | 2604123.0252 | 1228767.1552 | 2604116.1812 | 1228765.2824 | 2604106.5976 | 1228765.3982 | 2604098.8771 | 1228766.3046 | 2604092.5571 | 1228768.8796 | 2604086.5462 | 1228773.5672 | 2604080.2996 | 1228783.4979
39 | 2604167.6479 | 1228779.3662 | 2604206.45 | 1228789.9844
40 | 2604080.2996 | 1228783.4979 | 2604075.1171 | 1228791.7369 | 2604061.7996 | 1228812.8961 | 2604060.2307 | 1228815.5224
41 | 2604206.45 | 1228789.9844 | 2604207.2033 | 1228790.1905
42 | 2604058.595 | 1228818.2605 | 2604060.2307 | 1228815.5224
43 | 2604049.2479 | 1228833.9073 | 2604058.595 | 1228818.2605
44 | 2604042.2017 | 1228845.7024 | 2604049.2479 | 1228833.9073
45 | 2604042.2017 | 1228845.7024 | 2604035.9962 | 1228856.0535
46 | 2604042.2017 | 1228845.7024 | 2604045.0799 | 1228846.5826 | 2604051.2299 | 1228848.9548
47 | 2604078.3992 | 1228856.4997 | 2604057.0921 | 1228851.2156 | 2604051.2299 | 1228848.9548
48 | 2604051.2299 | 1228848.9548 | 2604041.7276 | 1228862.8603
49 | 2604078.3992 | 1228856.4997 | 2604096.6463 | 1228861.6504
50 | 2604080.1008 | 1228905.7967 | 2604078.3992 | 1228856.4997
51 | 2604080.1008 | 1228905.7967 | 2604091.6885 | 1228899.3007 | 2604096.2912 | 1228900.5715
52 | 2604117.6643 | 1228957.0748 | 2604122.6681 | 1228940.2126 | 2604115.4276 | 1228937.5283 | 2604118.2642 | 1228921.5541 | 2604108.4808 | 1228903.9371 | 2604096.2912 | 1228900.5715
53 | 2604141.3073 | 1228874.2571 | 2604096.6463 | 1228861.6504
54 | 2604141.3073 | 1228874.2571 | 2604142.9176 | 1228874.7117
55 | 2604142.9176 | 1228874.7117 | 2604154.2031 | 1228877.8973 | 2604160.2298 | 1228883.1712 | 2604163.9006 | 1228888.199 | 2604164.0597 | 1228888.7061
56 | 2604172.6784 | 1228935.7332 | 2604166.4061 | 1228937.7473
57 | 2604172.6784 | 1228935.7332 | 2604193.2799 | 1228942.0067 | 2604190.9708 | 1228950.7325 | 2604192.0976 | 1228959.8633
58 | 2604160.1378 | 1228939.7602 | 2604166.4061 | 1228937.7473
59 | 2604191.7888 | 1228983.7304 | 2604190.1458 | 1228971.4887 | 2604192.5378 | 1228963.43 | 2604192.0976 | 1228959.8633
60 | 2604160.1378 | 1228939.7602 | 2604143.9018 | 1228937.5183
61 | 2604160.1378 | 1228939.7602 | 2604157.1533 | 1228950.3645 | 2604159.093 | 1228960.8832 | 2604158.4253 | 1228963.1953
62 | 2604192.6891 | 1228985.5654 | 2604191.7888 | 1228983.7304
63 | 2604210.9957 | 1229066.9931 | 2604212.5062 | 1229062.6249 | 2604213.3336 | 1229060.2351 | 2604219.5886 | 1229041.8318
64 | 2604227.1219 | 1229015.7406 | 2604219.8013 | 1229041.2061 | 2604219.5886 | 1229041.8318
65 | 2604210.9957 | 1229066.9931 | 2604213.5981 | 1229072.1202 | 2604215.1186 | 1229075.1675 | 2604219.3433 | 1229078.7392 | 2604224.3568 | 1229080.8217 | 2604229.1843 | 1229082.2822
66 | 2604187.5943 | 1229002.1384 | 2604218.4121 | 1229012.7439 | 2604227.1219 | 1229015.7406
67 | 2604244.7988 | 1229087.0064 | 2604229.1843 | 1229082.2822
68 | 2604187.5943 | 1229002.1384 | 2604192.6891 | 1228985.5654
69 | 2604187.5943 | 1229002.1384 | 2604180.172 | 1228999.5762 | 2604177.9446 | 1229018.017
70 | 2604244.7988 | 1229087.0064 | 2604240.1293 | 1229123.5581
71 | 2604240.1293 | 1229123.5581 | 2604221.4764 | 1229120.7202

## bus_geodata
| x | y | coords
0 | 2604287.8908 | 1228635.7445
1 | 2604275.07 | 1228670.8237
2 | 2604087.7505 | 1228683.5068
3 | 2604148.4876 | 1228713.7122
4 | 2604192.7192 | 1228725.1188
5 | 2604286.8061 | 1228743.6325
6 | 2604289.901 | 1228812.7979
7 | 2604315.1989 | 1228714.4021
8 | 2604279.4278 | 1228849.679
9 | 2604261.4815 | 1228805.0437
10 | 2604320.4935 | 1228683.9545
11 | 2604242.4598 | 1228693.1598
12 | 2604305.6111 | 1228869.1425
13 | 2604274.1745 | 1228864.9844
14 | 2604230.0701 | 1228796.448
15 | 2604304.1131 | 1228679.2193
16 | 2604224.9239 | 1228688.0387
17 | 2604179.8259 | 1228553.4789
18 | 2604164.7045 | 1228589.9007
19 | 2604199.597 | 1228649.0042
20 | 2604247.7962 | 1228662.9395
21 | 2604246.9729 | 1228662.7015
22 | 2604219.8599 | 1228654.8638
23 | 2604203.8906 | 1228650.2475
24 | 2604195.0927 | 1228679.708
25 | 2604187.8164 | 1228677.612
26 | 2604234.9566 | 1228854.2035
27 | 2604215.6257 | 1228859.2267
28 | 2604287.4789 | 1228873.7879
29 | 2604201.732 | 1228923.5461
30 | 2604188.2319 | 1228922.6955
31 | 2604201.0357 | 1228942.3226
32 | 2604291.7446 | 1228902.7649
33 | 2604175.8621 | 1228921.9161
34 | 2604233.6456 | 1228995.743
35 | 2604233.0706 | 1228997.5057
36 | 2604123.0252 | 1228767.1552
37 | 2604167.6479 | 1228779.3662
38 | 2604080.2996 | 1228783.4979
39 | 2604206.45 | 1228789.9844
40 | 2604060.2307 | 1228815.5224
41 | 2604207.2033 | 1228790.1905
42 | 2604058.595 | 1228818.2605
43 | 2604049.2479 | 1228833.9073
44 | 2604035.9962 | 1228856.0535
45 | 2604042.2017 | 1228845.7024
46 | 2604051.2299 | 1228848.9548
47 | 2604078.3992 | 1228856.4997
48 | 2604041.7276 | 1228862.8603
49 | 2604080.1008 | 1228905.7967
50 | 2604096.2912 | 1228900.5715
51 | 2604096.6463 | 1228861.6504
52 | 2604141.3073 | 1228874.2571
53 | 2604117.6643 | 1228957.0748
54 | 2604142.9176 | 1228874.7117
55 | 2604164.0597 | 1228888.7061
56 | 2604172.6783 | 1228935.7332
57 | 2604166.4061 | 1228937.7473
58 | 2604192.0976 | 1228959.8633
59 | 2604160.1378 | 1228939.7602
60 | 2604191.7888 | 1228983.7304
61 | 2604219.5886 | 1229041.8318
62 | 2604210.9957 | 1229066.9931
63 | 2604227.1219 | 1229015.7406
64 | 2604229.1843 | 1229082.2822
65 | 2604187.5943 | 1229002.1384
66 | 2604244.7988 | 1229087.0064
67 | 2604192.6891 | 1228985.5654
68 | 2604177.9446 | 1229018.017
69 | 2604240.1293 | 1229123.5581
70 | 2604221.4764 | 1229120.7202
71 | 2604158.4253 | 1228963.1953
72 | 2604143.9018 | 1228937.5183
73 | 2604175.8621 | 1228921.9161

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97222 | -0.53483 | 0.00088751 | 0.00022243
1 | 0.97225 | -0.53422 | 0.00027916 | 6.9963e-05
2 | 0.97059 | -0.56711 | 0.0026945 | 0.00067531
3 | 0.97076 | -0.56372 | 0.013285 | 0.0033294
4 | 0.97144 | -0.55023 | 0.013247 | 0.00332
5 | 0.9741 | -0.49792 | 0 | 0
6 | 0.97607 | -0.45905 | 0 | 0
7 | 0.97357 | -0.50828 | 0 | 0
8 | 0.97473 | -0.48551 | 0 | 0
9 | 0.9773 | -0.4351 | 0.0018975 | 0.00047556
10 | 0.97305 | -0.51856 | 0 | 0
11 | 0.97329 | -0.51383 | 0.00050874 | 0.0001275
12 | 0.97458 | -0.48851 | 0.0050295 | 0.0012605
13 | 0.97424 | -0.4952 | 0 | 0
14 | 0.97868 | -0.40814 | 0.003329 | 0.00083432
15 | 0.97276 | -0.52423 | 0.00015818 | 3.9644e-05
16 | 0.97323 | -0.51499 | 0.00050969 | 0.00012774
17 | 0.97009 | -0.5771 | 0.0002778 | 6.9624e-05
18 | 0.9701 | -0.5769 | 0.014625 | 0.0036654
19 | 0.97105 | -0.55797 | 0.00079249 | 0.00019862
20 | 0.97181 | -0.54299 | 0.00010961 | 2.747e-05
21 | 0.9718 | -0.54325 | 0.00034985 | 8.768e-05
22 | 0.97137 | -0.55174 | 0.00023884 | 5.986e-05
23 | 0.97112 | -0.55667 | 0.0003506 | 8.7868e-05
24 | 0.97314 | -0.51668 | 0.0002446 | 6.1301e-05
25 | 0.97312 | -0.51706 | 0.0027149 | 0.00068042
26 | 0.974 | -0.49996 | 0.0053579 | 0.0013428
27 | 0.97397 | -0.50045 | 0.0010136 | 0.00025404
28 | 0.97385 | -0.50288 | 0 | 0
29 | 0.99652 | -0.066566 | 0 | 0
30 | 0.99664 | -0.064342 | 0.0031494 | 0.00078932
31 | 0.99636 | -0.069657 | 0.0093693 | 0.0023482
32 | 0.97293 | -0.52101 | 0.026264 | 0.0065823
33 | 0.99678 | -0.061619 | 0 | 0
34 | 0.9901 | -0.19054 | 0.016993 | 0.0042588
35 | 0.99013 | -0.18998 | 0.0066836 | 0.0016751
36 | 0.98412 | -0.30254 | 0.0040418 | 0.001013
37 | 0.98175 | -0.34825 | 0.0028255 | 0.00070814
38 | 0.9868 | -0.25092 | 0.0049175 | 0.0012324
39 | 0.97975 | -0.38715 | 0.0095439 | 0.0023919
40 | 0.98888 | -0.21092 | 0.0034072 | 0.00085393
41 | 0.97972 | -0.38784 | 0.0029733 | 0.00074519
42 | 0.98906 | -0.20746 | 0.0018191 | 0.00045592
43 | 0.99011 | -0.18738 | 0.0013173 | 0.00033014
44 | 0.9909 | -0.17232 | 0.00092564 | 0.00023199
45 | 0.99091 | -0.17212 | 0 | 0
46 | 0.99147 | -0.16142 | 0 | 0
47 | 0.99316 | -0.12939 | 0 | 0
48 | 0.99144 | -0.16217 | 0.0025108 | 0.00062927
49 | 0.99205 | -0.15077 | 0 | 0
50 | 0.99165 | -0.1586 | 0.0012711 | 0.00031857
51 | 0.9945 | -0.1038 | 0.0042926 | 0.0010758
52 | 0.99789 | -0.039703 | 0.00073715 | 0.00018475
53 | 0.99007 | -0.18923 | 0.023214 | 0.0058179
54 | 0.99801 | -0.037389 | 0.0036 | 0.00090225
55 | 1 | 0 | -0.26645 | -0.067829
56 | 0.99566 | -0.083255 | 0 | 0
57 | 0.99546 | -0.087007 | 0.0033853 | 0.00084843
58 | 0.99367 | -0.12143 | 0.0090838 | 0.0022766
59 | 0.99529 | -0.090366 | 0 | 0
60 | 0.99266 | -0.14097 | 0 | 0
61 | 0.99028 | -0.18699 | 0.0023539 | 0.00058995
62 | 0.99009 | -0.19085 | 0 | 0
63 | 0.99055 | -0.18191 | 0 | 0
64 | 0.9899 | -0.19451 | 0.0053123 | 0.0013314
65 | 0.99186 | -0.15655 | 0 | 0
66 | 0.98986 | -0.19534 | 0 | 0
67 | 0.99258 | -0.14261 | 0 | 0
68 | 0.99158 | -0.1618 | 0.011209 | 0.0028092
69 | 0.98976 | -0.19721 | 0 | 0
70 | 0.98971 | -0.19816 | 0.0028525 | 0.00071489
71 | 0.99507 | -0.094476 | 0.009683 | 0.0024268
72 | 0.995 | -0.095938 | 0.019317 | 0.0048413
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00088751 | -0.00022243 | 0.00088753 | 0.00022198 | 2.5839e-08 | -4.4662e-07 | 0.0013584 | 0.0013582 | 0.0013584 | 0.97222 | -0.53483 | 0.97225 | -0.53422 | 0.37318
1 | 0.016776 | 0.0042147 | -0.016769 | -0.0042106 | 7.0207e-06 | 4.1413e-06 | 0.025679 | 0.02568 | 0.02568 | 0.97225 | -0.53422 | 0.97181 | -0.54299 | 7.0548
2 | -0.017943 | -0.0045066 | 0.017952 | 0.0045117 | 8.5517e-06 | 5.098e-06 | 0.027465 | 0.027465 | 0.027465 | 0.97225 | -0.53422 | 0.97276 | -0.52423 | 7.5453
3 | -0.0026945 | -0.00067531 | 0.002695 | 0.00067475 | 4.3406e-07 | -5.607e-07 | 0.004131 | 0.0041307 | 0.004131 | 0.97059 | -0.56711 | 0.97076 | -0.56372 | 1.1349
4 | -0.01598 | -0.0040042 | 0.01599 | 0.0040102 | 1.0277e-05 | 6.0119e-06 | 0.024494 | 0.024494 | 0.024494 | 0.97076 | -0.56372 | 0.97144 | -0.55023 | 6.729
5 | -0.029237 | -0.0073302 | 0.02931 | 0.0073757 | 7.3074e-05 | 4.5561e-05 | 0.044784 | 0.044784 | 0.044784 | 0.97144 | -0.55023 | 0.9741 | -0.49792 | 12.3034
6 | -0.051424 | -0.012937 | 0.051519 | 0.012997 | 9.5696e-05 | 5.9183e-05 | 0.078572 | 0.078571 | 0.078572 | 0.9741 | -0.49792 | 0.97607 | -0.45905 | 10.7928
7 | 0.022114 | 0.0055616 | -0.022103 | -0.0055559 | 1.0935e-05 | 5.7273e-06 | 0.033788 | 0.033788 | 0.033788 | 0.9741 | -0.49792 | 0.97357 | -0.50828 | 4.6413
8 | 0.037762 | 0.0094993 | -0.037714 | -0.0094693 | 4.7669e-05 | 3.003e-05 | 0.05758 | 0.057581 | 0.057581 | 0.97607 | -0.45905 | 0.97473 | -0.48551 | 15.8188
9 | -0.089281 | -0.022496 | 0.089384 | 0.022561 | 0.00010239 | 6.4792e-05 | 0.13615 | 0.13615 | 0.13615 | 0.97607 | -0.45905 | 0.9773 | -0.4351 | 18.7021
10 | 0.018123 | 0.0045596 | -0.018115 | -0.0045543 | 8.8972e-06 | 5.3101e-06 | 0.027706 | 0.027707 | 0.027707 | 0.97357 | -0.50828 | 0.97305 | -0.51856 | 7.6117
11 | 0.0039794 | 0.00099629 | -0.0039784 | -0.00099656 | 1.0512e-06 | -2.6927e-07 | 0.0060819 | 0.0060822 | 0.0060822 | 0.97357 | -0.50828 | 0.97329 | -0.51383 | 1.6709
12 | 0.0050302 | 0.0012606 | -0.0050295 | -0.0012605 | 7.2011e-07 | 5.5025e-08 | 0.007679 | 0.0076791 | 0.0076791 | 0.97473 | -0.48551 | 0.97458 | -0.48851 | 2.1097
13 | 0.032684 | 0.0082088 | -0.032669 | -0.0081993 | 1.5108e-05 | 9.4677e-06 | 0.049902 | 0.049902 | 0.049902 | 0.97473 | -0.48551 | 0.97424 | -0.4952 | 13.7093
14 | -0.091281 | -0.023036 | 0.091399 | 0.023111 | 0.00011805 | 7.4732e-05 | 0.13904 | 0.13904 | 0.13904 | 0.9773 | -0.4351 | 0.97868 | -0.40814 | 19.099
15 | 0.018115 | 0.0045543 | -0.01811 | -0.0045514 | 4.9086e-06 | 2.9297e-06 | 0.027707 | 0.027707 | 0.027707 | 0.97305 | -0.51856 | 0.97276 | -0.52423 | 7.6117
16 | 0.0034697 | 0.00086906 | -0.0034695 | -0.00086916 | 1.9276e-07 | -1.0366e-07 | 0.0053044 | 0.0053045 | 0.0053045 | 0.97329 | -0.51383 | 0.97323 | -0.51499 | 1.4573
17 | 0.026296 | 0.0066023 | -0.026286 | -0.0065964 | 9.6336e-06 | 5.9673e-06 | 0.040168 | 0.040168 | 0.040168 | 0.97424 | -0.4952 | 0.97385 | -0.50288 | 11.0351
18 | 0.006373 | 0.001597 | -0.0063716 | -0.0015966 | 1.4453e-06 | 4.186e-07 | 0.0097338 | 0.009734 | 0.009734 | 0.97424 | -0.4952 | 0.974 | -0.49996 | 2.6742
19 | -0.094728 | -0.023945 | 0.09482 | 0.024004 | 9.2305e-05 | 5.8479e-05 | 0.1441 | 0.1441 | 0.1441 | 0.97868 | -0.40814 | 0.97972 | -0.38784 | 19.7942
20 | 0.0029598 | 0.00074142 | -0.0029595 | -0.00074166 | 2.3789e-07 | -2.3266e-07 | 0.0045252 | 0.0045254 | 0.0045254 | 0.97323 | -0.51499 | 0.97314 | -0.51668 | 1.2432
21 | -0.0002778 | -6.9624e-05 | 0.00027781 | 6.9139e-05 | 2.6842e-09 | -4.8517e-07 | 0.00042613 | 0.00042595 | 0.00042613 | 0.97009 | -0.5771 | 0.9701 | -0.5769 | 0.11707
22 | -0.014903 | -0.0037345 | 0.014916 | 0.0037423 | 1.3449e-05 | 7.7591e-06 | 0.022859 | 0.022859 | 0.022859 | 0.9701 | -0.5769 | 0.97105 | -0.55797 | 6.28
23 | -0.015709 | -0.0039409 | 0.01571 | 0.0039415 | 9.714e-07 | 5.664e-07 | 0.024073 | 0.024073 | 0.024073 | 0.97105 | -0.55797 | 0.97112 | -0.55667 | 6.6135
24 | 0.01666 | 0.0041831 | -0.016659 | -0.004183 | 2.0918e-07 | 1.2326e-07 | 0.025512 | 0.025512 | 0.025512 | 0.97181 | -0.54299 | 0.9718 | -0.54325 | 7.0087
25 | 0.01631 | 0.0040953 | -0.016303 | -0.0040914 | 6.6022e-06 | 3.8759e-06 | 0.024976 | 0.024976 | 0.024976 | 0.9718 | -0.54325 | 0.97137 | -0.55174 | 6.8616
26 | 0.016064 | 0.0040315 | -0.01606 | -0.0040293 | 3.7755e-06 | 2.2106e-06 | 0.02461 | 0.02461 | 0.02461 | 0.97137 | -0.55174 | 0.97112 | -0.55667 | 6.7611
27 | 0.0027149 | 0.00068035 | -0.0027149 | -0.00068042 | 4.8937e-08 | -6.2756e-08 | 0.0041513 | 0.0041514 | 0.0041514 | 0.97314 | -0.51668 | 0.97312 | -0.51706 | 1.1405
28 | 0.0010136 | 0.00025373 | -0.0010136 | -0.00025404 | 2.3636e-08 | -3.12e-07 | 0.0015485 | 0.0015486 | 0.0015486 | 0.974 | -0.49996 | 0.97397 | -0.50045 | 0.42544
29 | 0.026286 | 0.0065964 | -0.026264 | -0.0065823 | 2.27e-05 | 1.4062e-05 | 0.040168 | 0.040168 | 0.040168 | 0.97385 | -0.50288 | 0.97293 | -0.52101 | 11.0352
30 | -0.0093706 | -0.0023488 | 0.0093716 | 0.0023493 | 9.9314e-07 | 4.5936e-07 | 0.013992 | 0.013992 | 0.013992 | 0.99652 | -0.066566 | 0.99664 | -0.064342 | 3.8441
31 | 0.0093706 | 0.0023488 | -0.0093693 | -0.0023482 | 1.3795e-06 | 6.3814e-07 | 0.013992 | 0.013992 | 0.013992 | 0.99652 | -0.066566 | 0.99636 | -0.069657 | 3.8441
32 | -0.012521 | -0.0031386 | 0.012523 | 0.0031395 | 1.6244e-06 | 8.7805e-07 | 0.018695 | 0.018694 | 0.018695 | 0.99664 | -0.064342 | 0.99678 | -0.061619 | 5.1359
33 | 0.087217 | 0.021987 | -0.087127 | -0.02193 | 9.0198e-05 | 5.7542e-05 | 0.13024 | 0.13024 | 0.13024 | 0.99678 | -0.061619 | 0.99566 | -0.083255 | 35.7815
34 | -0.09974 | -0.025127 | 0.10003 | 0.025315 | 0.00029489 | 0.00018827 | 0.14894 | 0.14894 | 0.14894 | 0.99678 | -0.061619 | 1 | 0 | 40.9173
35 | -0.016993 | -0.0042588 | 0.016993 | 0.0042591 | 4.5348e-07 | 2.6638e-07 | 0.025539 | 0.025539 | 0.025539 | 0.9901 | -0.19054 | 0.99013 | -0.18998 | 7.0161
36 | -0.023677 | -0.0059342 | 0.023686 | 0.0059398 | 9.1071e-06 | 5.5818e-06 | 0.035583 | 0.035583 | 0.035583 | 0.99013 | -0.18998 | 0.99055 | -0.18191 | 9.7756
37 | 0.11061 | 0.028133 | -0.11037 | -0.027978 | 0.00024306 | 0.00015439 | 0.16739 | 0.16739 | 0.16739 | 0.98412 | -0.30254 | 0.98175 | -0.34825 | 22.9937
38 | -0.11465 | -0.029146 | 0.11494 | 0.029327 | 0.0002858 | 0.00018162 | 0.17351 | 0.1735 | 0.17351 | 0.98412 | -0.30254 | 0.9868 | -0.25092 | 23.8331
39 | 0.10754 | 0.02727 | -0.10734 | -0.027143 | 0.00020068 | 0.00012742 | 0.16311 | 0.16311 | 0.16311 | 0.98175 | -0.34825 | 0.97975 | -0.38715 | 22.4055
40 | -0.11986 | -0.03056 | 0.12009 | 0.030707 | 0.00023195 | 0.00014748 | 0.18092 | 0.18092 | 0.18092 | 0.9868 | -0.25092 | 0.98888 | -0.21092 | 24.8517
41 | 0.097797 | 0.024751 | -0.097794 | -0.024749 | 3.2343e-06 | 2.0503e-06 | 0.14862 | 0.14862 | 0.14862 | 0.97975 | -0.38715 | 0.97972 | -0.38784 | 20.4145
42 | -0.12349 | -0.031561 | 0.12352 | 0.031575 | 2.07e-05 | 1.3166e-05 | 0.18605 | 0.18605 | 0.18605 | 0.98888 | -0.21092 | 0.98906 | -0.20746 | 25.5559
43 | -0.12533 | -0.03203 | 0.12546 | 0.032108 | 0.00012179 | 7.7479e-05 | 0.18878 | 0.18878 | 0.18878 | 0.98906 | -0.20746 | 0.99011 | -0.18738 | 25.9318
44 | -0.12677 | -0.032438 | 0.12687 | 0.032498 | 9.3747e-05 | 5.9644e-05 | 0.19076 | 0.19076 | 0.19076 | 0.99011 | -0.18738 | 0.99091 | -0.17212 | 26.2037
45 | -0.00092564 | -0.00023199 | 0.00092565 | 0.00023184 | 8.7441e-09 | -1.4987e-07 | 0.00139 | 0.00139 | 0.00139 | 0.9909 | -0.17232 | 0.99091 | -0.17212 | 0.38187
46 | -0.12779 | -0.03273 | 0.12786 | 0.032772 | 6.6302e-05 | 4.2186e-05 | 0.19215 | 0.19215 | 0.19215 | 0.99091 | -0.17212 | 0.99147 | -0.16142 | 26.3946
47 | -0.13037 | -0.033401 | 0.13057 | 0.03353 | 0.00020267 | 0.00012898 | 0.19592 | 0.19592 | 0.19592 | 0.99147 | -0.16142 | 0.99316 | -0.12939 | 26.9122
48 | 0.0025109 | 0.00062911 | -0.0025108 | -0.00062927 | 8.9688e-08 | -1.598e-07 | 0.0037683 | 0.0037684 | 0.0037684 | 0.99147 | -0.16142 | 0.99144 | -0.16217 | 1.0353
49 | -0.15513 | -0.039708 | 0.15532 | 0.039831 | 0.00019253 | 0.00012273 | 0.23272 | 0.23272 | 0.23272 | 0.99316 | -0.12939 | 0.9945 | -0.1038 | 31.9664
50 | 0.024553 | 0.0061782 | -0.024528 | -0.0061628 | 2.5048e-05 | 1.5393e-05 | 0.036795 | 0.036796 | 0.036796 | 0.99316 | -0.12939 | 0.99205 | -0.15077 | 10.1087
51 | 0.024528 | 0.0061628 | -0.024519 | -0.0061572 | 9.169e-06 | 5.6351e-06 | 0.036796 | 0.036796 | 0.036796 | 0.99205 | -0.15077 | 0.99165 | -0.1586 | 10.1087
52 | 0.023247 | 0.0058386 | -0.023214 | -0.0058179 | 3.3929e-05 | 2.0757e-05 | 0.034888 | 0.034889 | 0.034889 | 0.99165 | -0.1586 | 0.99007 | -0.18923 | 9.5848
53 | -0.15961 | -0.040907 | 0.16011 | 0.041224 | 0.00049759 | 0.00031725 | 0.23914 | 0.23914 | 0.23914 | 0.9945 | -0.1038 | 0.99789 | -0.039703 | 32.8487
54 | -0.16085 | -0.041409 | 0.16086 | 0.04142 | 1.8106e-05 | 1.1544e-05 | 0.24024 | 0.24024 | 0.24024 | 0.99789 | -0.039703 | 0.99801 | -0.037389 | 32.9996
55 | -0.16446 | -0.042322 | 0.16476 | 0.042513 | 0.00029963 | 0.00019107 | 0.2456 | 0.2456 | 0.2456 | 0.99801 | -0.037389 | 1 | 0 | 33.7369
56 | 0.032403 | 0.008127 | -0.032397 | -0.0081234 | 5.7939e-06 | 3.6224e-06 | 0.048429 | 0.048429 | 0.048429 | 0.99566 | -0.083255 | 0.99546 | -0.087007 | 13.3046
57 | 0.054724 | 0.013803 | -0.054624 | -0.013739 | 9.981e-05 | 6.3363e-05 | 0.081816 | 0.081816 | 0.081816 | 0.99566 | -0.083255 | 0.99367 | -0.12143 | 22.477
58 | 0.029012 | 0.007275 | -0.029007 | -0.0072721 | 4.6434e-06 | 2.8862e-06 | 0.043368 | 0.043368 | 0.043368 | 0.99546 | -0.087007 | 0.99529 | -0.090366 | 11.9144
59 | 0.04554 | 0.011463 | -0.045498 | -0.011436 | 4.2491e-05 | 2.6879e-05 | 0.068213 | 0.068213 | 0.068213 | 0.99367 | -0.12143 | 0.99266 | -0.14097 | 18.74
60 | 0.019322 | 0.0048444 | -0.019317 | -0.0048413 | 5.1294e-06 | 3.0699e-06 | 0.028889 | 0.028889 | 0.028889 | 0.99529 | -0.090366 | 0.995 | -0.095938 | 7.9365
61 | 0.0096849 | 0.0024277 | -0.009683 | -0.0024268 | 1.8963e-06 | 9.0026e-07 | 0.01448 | 0.01448 | 0.01448 | 0.99529 | -0.090366 | 0.99507 | -0.094476 | 3.978
62 | 0.045498 | 0.011436 | -0.045494 | -0.011434 | 3.5648e-06 | 2.2551e-06 | 0.068213 | 0.068213 | 0.068213 | 0.99266 | -0.14097 | 0.99258 | -0.14261 | 18.74
63 | 0.0081682 | 0.0020469 | -0.0081667 | -0.0020463 | 1.502e-06 | 6.1926e-07 | 0.012273 | 0.012274 | 0.012274 | 0.99028 | -0.18699 | 0.99009 | -0.19085 | 3.3719
64 | -0.010522 | -0.0026368 | 0.010525 | 0.0026381 | 2.5458e-06 | 1.2798e-06 | 0.015811 | 0.01581 | 0.015811 | 0.99028 | -0.18699 | 0.99055 | -0.18191 | 4.3436
65 | 0.0081667 | 0.0020463 | -0.0081652 | -0.0020457 | 1.4213e-06 | 5.8613e-07 | 0.012274 | 0.012274 | 0.012274 | 0.99009 | -0.19085 | 0.9899 | -0.19451 | 3.3719
66 | -0.034211 | -0.0085779 | 0.034252 | 0.0086038 | 4.1404e-05 | 2.596e-05 | 0.051393 | 0.051393 | 0.051393 | 0.99055 | -0.18191 | 0.99186 | -0.15655 | 14.1191
67 | 0.002853 | 0.00071429 | -0.0028528 | -0.00071442 | 1.125e-07 | -1.3771e-07 | 0.0042883 | 0.0042884 | 0.0042884 | 0.9899 | -0.19451 | 0.98986 | -0.19534 | 1.1781
68 | -0.045464 | -0.011414 | 0.045494 | 0.011434 | 3.0251e-05 | 1.9137e-05 | 0.068214 | 0.068213 | 0.068214 | 0.99186 | -0.15655 | 0.99258 | -0.14261 | 18.74
69 | 0.011212 | 0.0028106 | -0.011209 | -0.0028092 | 2.8038e-06 | 1.4535e-06 | 0.01682 | 0.01682 | 0.01682 | 0.99186 | -0.15655 | 0.99158 | -0.1618 | 4.621
70 | 0.0028528 | 0.00071442 | -0.0028526 | -0.00071474 | 2.5416e-07 | -3.1102e-07 | 0.0042884 | 0.0042886 | 0.0042886 | 0.98986 | -0.19534 | 0.98976 | -0.19721 | 1.1782
71 | 0.0028526 | 0.00071474 | -0.0028525 | -0.00071489 | 1.3013e-07 | -1.5919e-07 | 0.0042886 | 0.0042886 | 0.0042886 | 0.98976 | -0.19721 | 0.98971 | -0.19816 | 1.1782

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.26708 | 0.067987

## res_load
| p_mw | q_mvar
0 | 0.00088751 | 0.00022243
1 | 0.00027916 | 6.9963e-05
2 | 0.0026945 | 0.00067531
3 | 0.013285 | 0.0033294
4 | 0.013247 | 0.00332
5 | 0.0018975 | 0.00047556
6 | 0.00050874 | 0.0001275
7 | 0.0050295 | 0.0012605
8 | 0.003329 | 0.00083432
9 | 0.00015818 | 3.9644e-05
10 | 0.00050969 | 0.00012774
11 | 0.0002778 | 6.9624e-05
12 | 0.014625 | 0.0036654
13 | 0.00079249 | 0.00019862
14 | 0.00010961 | 2.747e-05
15 | 0.00034985 | 8.768e-05
16 | 0.00023884 | 5.986e-05
17 | 0.0003506 | 8.7868e-05
18 | 0.0002446 | 6.1301e-05
19 | 0.0027149 | 0.00068042
20 | 0.0053579 | 0.0013428
21 | 0.0010136 | 0.00025404
22 | 0.0031494 | 0.00078932
23 | 0.0093693 | 0.0023482
24 | 0.026264 | 0.0065823
25 | 0.016993 | 0.0042588
26 | 0.0066836 | 0.0016751
27 | 0.0040418 | 0.001013
28 | 0.0028255 | 0.00070814
29 | 0.0049175 | 0.0012324
30 | 0.0095439 | 0.0023919
31 | 0.0034072 | 0.00085393
32 | 0.0029733 | 0.00074519
33 | 0.0018191 | 0.00045592
34 | 0.0013173 | 0.00033014
35 | 0.00092564 | 0.00023199
36 | 0.0025108 | 0.00062927
37 | 0.0012711 | 0.00031857
38 | 0.0042926 | 0.0010758
39 | 0.00073715 | 0.00018475
40 | 0.023214 | 0.0058179
41 | 0.0036 | 0.00090225
42 | 0.00063384 | 0.00015886
43 | 0.0033853 | 0.00084843
44 | 0.0090838 | 0.0022766
45 | 0.0023539 | 0.00058995
46 | 0.0053123 | 0.0013314
47 | 0.011209 | 0.0028092
48 | 0.0028525 | 0.00071489
49 | 0.009683 | 0.0024268
50 | 0.019317 | 0.0048413

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1